## Northern_Substation_List_Matrix
|  | PGaE North of Greater Bay Interconnetion Area Constraints | [9 empty] | PGaE Greater Bay Interconnection Area Constraints | [20 empty] | PGaE Kern Interconnection Area Constraints | [9 empty] | PGaE Fresno Interconnection Area Constraints
POI | Number of Constraints | Santa Rosa-Corona 115 kV line | Vaca Dixon-Tesla 500kV Line | Woodland- Davis 115kV line | Cortina-Eagle Rock 115 kV line | Bell-Placer 115kV Line | Carberry-Round Mountain 230kV Line | Rocklin-Pleaseant grove 115kV line | Bellota-Weber 230kV line | Rio Oso-Brighton 230kV line | Rio Oso-Lockeford 230kV line | Dumbarton-Newark 115 kV line | Eastshore-San Mateo 230 kV line | Lakeville-Ignacio 230 kV line | Sobrante-Moraga 230 kV line | Windmaster-Delta pumps 230 kV line | Contra Costa- Windmaster 230 kV line | Tesla-Tracy-Pump 230 kV line #2 | Contra Costa #1 115kV Line | Kasson Jct-Heinz 115 kV line | Newark-Newark Distribution 115 kV line | Tesla-Bellota 230 kV line | Eight Mile-Tesla 230 kV line | Grant - Eastshore #2 line 115 kV | Salado-Crow Creek Sw Sta 60 kV line | Tesla-Salado 115 kV line | Los Esteros-Silicon Valley 230 kV | Los Esteros-Nortech 115 kV line | Newark-Los Esteros 230 kV line | Morganhill-Metcalf 115kV Line | Tesla-Tracy Pump 230 kV Line #1 | Birds Landing-Contra Costa 230kV Line | Oceano-Calendar 115kV line | Midway-Q2005 230kV Line | Smyrna -Q1984 115kV line | Kern 230/115kV TB #4 | Maricopa-Copus 70 kV line | Midway-Taft 115 kV line | Kern-Tevis-Stockdale-Lamont 115kV line | Midway 230/115kV TB #3 | Semitropic-Midway 115kV Line | Midway-Q2011 230 kV Line | Gates 500/230kV TB #12 | Gates 500/230kV TB #11 | Gates 230/70kV TB #5 | Tranquility-Helm 230kV Line | Dairyland-Chowchilla 115kV Line | Chowchilla-Le grand 115kV Line | Panoche-Los Banos 230kV line #2 | Dos Amigos-Los Banos 230kV line | Los Banos 500/230kV TB | Schindler 115/70kV TB #1 | Panoche- Mendota 115 kV line | Coalinga #1-Coalinga #2 70 kV line | Panoche-Oro Loma 115kV Line | Borden-Storey #1 230kV line | Merced 115/70kV TB#2 | Helm 230/70kV TB #1 | Oro Loma-El Nido 115kV Line | Q2008-Gates 500 kV line | Mustang-Henrietta 230 kV line | Gates-Panoche 230 kV #1 and #2 Lines | Moss Landing-Las Aguilas 230 kV Line | Jacksson-WaukenaCorcoran 115kV line
Transmission Plan Capability |  | 3995 | 1044 | 76 | 1575 | 630 | 14 | 92 | 2382 | 423 | 935 | 2248 | 2897 | 1378 | 4597 | 710 | 1233 | 4776 | 29 | 91 | 3822 | 4065 | 3738 | 961 | 76 | 1087 | 605 | 639 | 4758 | 314 | 4177 | 836 | 937 | 1099 | 144 | 1869 | 51 | 263 | 109 | 1370 | 255 | 438 | 3213 | 3684 | 272 | 2229 | 2865 | 699 | 6573 | 6883 | 8861 | 0 | 1798 | 1660 | 3661 | 300 | 247 | 4 | 1410 | 5203 | 10302 | 7440 | Off-Pk | Off-Pk
Allocated TPD |  | 253.684 | 1044 | 60.139 | 43.834 | 65.811 | 14 | 66.8064 | 249.316 | 72.8719 | 123.4924 | 205.838 | 205.062 | 2.45 | 261.472 | 710 | 524.842 | 1615.7511 | 0 | 91 | 783.9104 | 343.316 | 326.7884 | 5.838 | 18.4 | 210.504 | 203 | 203 | 767.177 | 214.751 | 1117.1755 | 590.78 | 937 | 1099 | 50.556 | 72.6069 | 6.85 | 18.5759 | 0 | 269.7319 | 50.556 | 267.6 | 2144.1146 | 3053.6733 | 29.7483 | 161.234 | 768.5 | 699 | 900.824 | 900.824 | 2467.3043 | 0 | 400 | 564.7 | 400.1 | 300 | 0 | 4 | 768.5 | 1000 | 1876.9728 | 3723.695
Available TPD |  | 3741.316 | 0 | 15.861 | 1531.166 | 564.189 | 0 | 25.1936 | 2132.684 | 350.1281 | 811.5076 | 2042.162 | 2691.938 | 1375.55 | 4335.528 | 0 | 708.158 | 3160.2489 | 29 | 0 | 3038.0896 | 3721.684 | 3411.2116 | 955.162 | 57.6 | 876.496 | 402 | 436 | 3990.823 | 99.249 | 3059.8245 | 245.22 | 0 | 0 | 93.444 | 1796.3931 | 44.15 | 244.4241 | 109 | 1100.2681 | 204.444 | 170.4 | 1068.8854 | 630.3267 | 242.2517 | 2067.766 | 2096.5 | 0 | 5672.176 | 5982.176 | 6393.6957 | 0 | 1398 | 1095.3 | 3260.9 | 0 | 247 | 0 | 641.5 | 4203 | 8425.0272 | 3716.305
1-Number of POI behind Constraint |  | 25 | 89 | 7 | 11 | 15 | 3 | 15 | 77 | 22 | 24 | 10 | 15 | 6 | 44 | 38 | 38 | 93 | 1 | 11 | 20 | 106 | 35 | 8 | 2 | 6 | 2 | 2 | 24 | 12 | 60 | 32 | 29 | 89 | 6 | 19 | 3 | 8 | 2 | 23 | 20 | 6 | 93 | 100 | 10 | 36 | 23 | 22 | 27 | 28 | 66 | 9 | 30 | 6 | 16 | 29 | 6 | 2 | 21 | 2 | 24 | 19 | 32 | 4
7th Standard 115 kV | 6 | [32 empty] | √ |  | √ |  |  |  | √ | √ |  | √ | √
Agnew/River Oaks 115 kV | 1 | [32 empty] | √
Alpaugh 115 kV | 8 | [31 empty] | √ | √ | √ | √ |  |  |  | √ | √ |  | √ | √
Arco 230 kV | 5 | [32 empty] | √ | [8 empty] | √ | √ | [16 empty] | √ | √
Arco 70 kV | 4 | [32 empty] | √ | [8 empty] | √ | √ | [16 empty] | √
Arco-Carneras 70 kV | 4 | [32 empty] | √ | [8 empty] | √ | √ | [16 empty] | √
Atlantic 230 kV | 7 |  | √ |  |  | √ |  |  | √ | √ | √ | [10 empty] | √ | √
Atlantic 60 kV | 7 |  | √ |  |  | √ |  |  | √ | √ | √ | [10 empty] | √ | √
Avenal 70 kV | 10 | [31 empty] | √ | √ | [8 empty] | √ | √ | √ | √ | √ |  |  |  | √ |  | √ | [7 empty] | √
Bahia 230 kV | 6 |  | √ | [11 empty] | √ |  |  | √ |  |  |  | √ | [8 empty] | √ | √
Bakersfield 230 kV | 3 | [32 empty] | √ | [8 empty] | √ | √
Bear Mountain - Bear Mountain Tap 115 kV line | 5 | [32 empty] | √ |  | √ |  |  |  |  | √ |  | √ | √
Bellota 115 kV | 6 | [7 empty] | √ | [10 empty] | √ |  | √ | √ | [27 empty] | √ | [7 empty] | √
Bellota-Warnerville 230 kV | 12 | [7 empty] | √ | [12 empty] | √ | √ | [20 empty] | √ |  | √ | √ | √ |  |  | √ |  | √ |  | √ | √ |  |  | √
Bellota-Warnerville and Bellota-Cottle Lines 230 kV | 12 | [7 empty] | √ | [12 empty] | √ | √ | [20 empty] | √ |  | √ | √ | √ |  |  | √ |  | √ |  | √ | √ |  |  | √
Berrenda "C" Tap 70 kV | 4 | [32 empty] | √ | [8 empty] | √ | √ | [16 empty] | √
Birds Landing 230 kV | 8 |  | √ | [12 empty] | √ | √ | √ |  |  | √ | √ | [8 empty] | √ | √
Borden 230 kV | 15 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ | √ | √ | √ | √ | √ |  | √ |  | √ | √ |  |  | √ |  |  |  | √
Borden 70 kV | 1 | [61 empty] | √
Brentwood 230 kV | 7 |  | √ | [12 empty] | √ | √ | √ |  |  | √ | √ | [8 empty] | √
Caliente 230 kV | 5 | [31 empty] | √ | √ | [8 empty] | √ | √ | [17 empty] | √
California Flats 230 kV | 9 | [31 empty] | √ | √ | [8 empty] | √ | √ | √ | [5 empty] | √ |  | √ | √ | [7 empty] | √
Callender 115 kV | 4 | [32 empty] | √ | [5 empty] | √ | [13 empty] | √ | [7 empty] | √
Callender SW STA 115 kV | 3 | [41 empty] | √ | √ | [8 empty] | √
Cantua 115 kV Bus | 1 | [61 empty] | √
Cayetano 230 kV | 7 |  | √ | [12 empty] | √ | √ | √ |  |  | √ | √ | [8 empty] | √
Cayuma 70 kV | 5 | [32 empty] | √ |  | √ |  |  |  | √ |  |  | √ | √
Cherokee 60 kV | 4 | [7 empty] | √ | [12 empty] | √ | √ | [27 empty] | √
Chowchilla 115 kV | 15 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ | √ | √ | √ | √ | √ |  | √ |  | √ | √ | √ |  | √
Christie 60 kV | 12 | √ | √ | [8 empty] | √ | √ |  | √ | √ | √ | √ |  |  | √ | √ |  | √ | [6 empty] | √
Cloverdale 115 kV | 7 | √ | √ |  | √ | [9 empty] | √ |  | √ | √ | [13 empty] | √
Coburn 230 kV | 10 | [16 empty] | √ |  |  |  | √ | [6 empty] | √ | [13 empty] | √ | √ |  |  |  |  | √ | √ | √ | [9 empty] | √ |  | √
Coburn-Basic Energy 60 kV Line | 9 | [16 empty] | √ |  |  |  | √ | [6 empty] | √ | [13 empty] | √ | √ |  |  |  |  | √ | √ | √ | [9 empty] | √
Contra Costa 230 kV | 6 | [14 empty] | √ | √ | √ |  |  | √ | √ | [9 empty] | √
Contra Costa PP - Contra Costa 230 kV Line | 6 |  | √ | [12 empty] | √ | √ | √ |  |  |  | √ | [8 empty] | √
Contra Costa PP 230 kV | 5 | [14 empty] | √ | √ | √ |  |  |  | √ | [8 empty] | √
Contra Costa-Delta 230 kV Line | 4 |  | √ | [12 empty] | √ |  | √ | [12 empty] | √
Cooley Landing 60 kV | 2 | [16 empty] | √ | [12 empty] | √
Corcoran 115 kV | 2 | [61 empty] | √ | √
Corcoran 70 kV | 12 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ |  | √ | √ | √ | √ |  |  |  |  | √ | [6 empty] | √ | √
Corcoran-Olive 115 kV Line | 8 | [31 empty] | √ | √ | √ | √ |  |  |  | √ | √ |  | √ | √
Corning 60 kV | 2 |  | √ | [28 empty] | √
Corral 60 kV | 4 | [7 empty] | √ | [12 empty] | √ | √ | [27 empty] | √
Cortina 115 kV | 4 | √ | √ | [14 empty] | √ | [13 empty] | √
Cortina 60 kV | 3 | √ | [15 empty] | √ | [13 empty] | √
Cortina-Mendocino and Cortina - Eagle Rock Transmission Lines | 5 | √ | √ | [13 empty] | √ | √ | [13 empty] | √
Cottle 230 kV | 13 | [7 empty] | √ | [12 empty] | √ | √ | [19 empty] | √ | √ |  | √ | √ | √ |  |  | √ |  | √ |  | √ | √ |  |  | √
Cottonwood-Delevan #1 and #2 230 kV | 2 |  | √ | [28 empty] | √
Crazy Horse Canyon - Hollister 115 lV | 6 | [16 empty] | √ |  |  |  | √ | [6 empty] | √ | √ | [20 empty] | √ | [9 empty] | √
Crescent 70 kV | 11 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ |  |  | √ | √ | √ |  |  |  |  | √ |  | √ |  |  |  |  | √
Crow Creek 60 kV | 7 | [7 empty] | √ | [8 empty] | √ |  | √ |  | √ |  |  | √ | √ |  |  |  |  | √
Crows Landing 60 kV | 7 | [7 empty] | √ | [8 empty] | √ |  | √ |  | √ |  |  | √ | √ |  |  |  |  | √
Cuyama 70 kV | 5 | [31 empty] | √ | √ |  |  |  | √ |  |  |  |  | √ | √
Del Mar 60 kV | 7 |  | √ |  |  | √ |  |  | √ | √ | √ | [10 empty] | √ | √
Delevan 230 kV | 4 |  | √ | [5 empty] | √ | [8 empty] | √ | [13 empty] | √
Delta Switching Yard-Tesla 230 kV line | 3 |  | √ | [14 empty] | √ | [12 empty] | √
Diablo Canyon 500 kV | 4 |  | √ | [56 empty] | √ | √ | √
Diablo-Gates 500 kV Line | 3 | [58 empty] | √ | √ | √
Dixon Landing - McKee 115 kV line | 3 | [16 empty] | √ |  |  |  | √ | [6 empty] | √
Dixon Landing 115 kV | 3 | [16 empty] | √ |  |  |  | √ | [6 empty] | √
Donnells-Curtis 115 kV Line | 5 | [7 empty] | √ | [8 empty] | √ |  | √ |  | √ | [8 empty] | √
Dos Pals 70 kV | 13 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ | √ | √ | √ | √ | √ |  | √ |  | √ | √
Dumbarton-Newark 115 kV line | 5 | [10 empty] | √ | √ |  | √ |  |  | √ | [12 empty] | √
El Nido 115 kV | 15 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ | √ | √ | √ | √ | √ |  | √ |  | √ | √ | √ |  | √
Elk Hills 70 kV | 7 | [31 empty] | √ | √ |  | √ |  | √ |  | √ |  |  | √ | √
Evergreen 115 kV | 4 | [16 empty] | √ |  |  |  | √ | [6 empty] | √ | √
Excelsior 115 kV | 12 | [32 empty] | √ | [8 empty] | √ | √ | √ | √ | √ |  | √ | √ | √ | √ | √ | [9 empty] | √
Fairway 115 kV | 4 | [32 empty] | √ | [9 empty] | √ | [8 empty] | √ | [8 empty] | √
Fibreboard tap 115 kV | 9 |  | √ | [12 empty] | √ | √ | √ | √ |  | √ | √ | [8 empty] | √ | √
Five Points 70 kV | 1 | [61 empty] | √
FMC 115 kV | 4 | [16 empty] | √ |  |  |  | √ | [6 empty] | √ | √
Fulton 115 kV | 11 | √ | √ |  | √ | [8 empty] | √ | √ | √ | √ | √ |  |  |  | √ | [8 empty] | √ | √
Fulton 230 kV | 9 | √ |  |  | √ | [9 empty] | √ | √ | √ | √ |  |  | √ | √ | [9 empty] | √
Ganso 115 kV | 6 | [31 empty] | √ | √ | [5 empty] | √ | √ |  | √ | √
Gates - Midway 230 kV line | 5 | [32 empty] | √ | [8 empty] | √ | √ | [16 empty] | √ | √
Gates 230 kV | 11 | [31 empty] | √ | √ | [8 empty] | √ | √ |  | √ |  |  | √ | √ | √ | [9 empty] | √ | √ | √
Gates 500 kV | 2 | [32 empty] | √ | [9 empty] | √
Gates-Midway line 230 kV | 6 | [31 empty] | √ | [9 empty] | √ | √ | [6 empty] | √ | [9 empty] | √ | √
Gates-Templeton 230 kV | 9 | [31 empty] | √ | √ | [8 empty] | √ | √ | √ | [5 empty] | √ |  | √ | √ | [7 empty] | √
Geyers #12-Fulton 230 kV line | 11 | √ | √ |  | √ | [9 empty] | √ | √ | √ | √ |  |  | √ | √ | [8 empty] | √ | √
Geysers #3-Cloverdale 115 kV | 7 | √ | √ |  | √ | [9 empty] | √ |  | √ | √ | [13 empty] | √
Giffen 70 kV | 11 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ |  |  | √ | √ | √ |  |  |  |  | √ |  | √ |  |  |  |  | √
Gold Hill-Eight Mile Road 230 kV | 6 |  | √ | [5 empty] | √ | √ | √ | [10 empty] | √ | √
Goldhill 60 kV | 6 |  | √ | [5 empty] | √ | √ | √ | [10 empty] | √ | √
Gonzales 60 kV | 6 | [16 empty] | √ |  |  |  | √ | [6 empty] | √ | √ | [20 empty] | √ | [9 empty] | √
Grant-Eastshore #1 115 kV line | 7 |  | √ | [9 empty] | √ |  | √ | √ |  | √ | [5 empty] | √ | [6 empty] | √
Grant-Eastshore #2 115 kV line | 8 |  | √ | [8 empty] | √ | √ |  | √ | √ |  | √ | [5 empty] | √ | [6 empty] | √
Green Valley 115 kV | 6 | [13 empty] | √ |  |  | √ |  |  |  | √ | [6 empty] | √ | √ | [30 empty] | √
Greenleaf #1 115 kV Tap | 9 |  | √ | √ |  | √ |  | √ | √ | √ | √ | [10 empty] | √ | √
Gregg 230 kV | 16 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ | √ | √ | √ | √ | √ | √ | √ |  | √ | √ |  |  | √ |  |  |  | √
Guernsey - Henrietta 70 kV line | 7 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ |  |  |  |  | √ |  |  |  |  | √
Guernsey 70 kV | 7 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ |  |  |  |  | √ | [11 empty] | √
GWF Hanford 115 kV | 11 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ |  | √ | √ | √ | √ |  |  |  |  | √ | [6 empty] | √
Helm 230 kV | 16 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ | √ | √ | √ | √ | √ | √ | √ |  | √ | √ |  |  | √ |  |  |  | √
Henrietta 70 kV | 8 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ |  |  |  |  | √ |  |  |  |  | √ | [6 empty] | √
Henrietta-Lemoore NAS 70 kV | 8 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ |  |  |  |  | √ |  |  |  |  | √ | [6 empty] | √
Higgins 115 kV | 7 |  | √ |  |  | √ |  |  | √ | √ | √ | [10 empty] | √ | √
Hollister 115 kV | 6 | [16 empty] | √ |  |  |  | √ | [6 empty] | √ | √ | [20 empty] | √ | [9 empty] | √
Honcut 115 kV | 7 |  | √ |  |  |  |  | √ | √ | √ | √ | [10 empty] | √ | √
Huron 70 kV | 11 | [31 empty] | √ | √ | [8 empty] | √ | √ | √ | √ | √ |  |  |  | √ |  | √ | [7 empty] | √ |  | √
Ignacio 115 kV | 10 | √ | √ |  | √ | [7 empty] | √ |  | √ | √ | √ | √ |  |  |  | √ | [8 empty] | √
Jacksson 115 kV | 1 | [62 empty] | √
Jessup 115 kV | 1 |  | √
Kearney 230 kV | 14 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ | √ | √ | √ | √ | √ |  | √ |  | √ | √ |  |  | √
Kelso - Tesla Tap 230 kV | 3 |  | √ | [14 empty] | √ | [12 empty] | √
Kelso 230 kV | 4 |  | √ | [12 empty] | √ |  | √ | [12 empty] | √
KEN-OKJ 60 kV | 4 | [16 empty] | √ |  |  |  | √ | [6 empty] | √ |  | √
Kent SW STA 70 kV | 1 | [61 empty] | √
Kent -Tulare Lake 70 kV | 7 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ |  |  |  |  | √ |  |  |  |  | √
Kern - Old River #1 70 kV line | 8 | [32 empty] | √ |  | √ | √ | √ |  | √ | √ |  | √ | √
Kern - Old River #2 70 kV line | 8 | [32 empty] | √ |  | √ | √ | √ |  | √ | √ |  | √ | √
Kern PP 115 kV | 6 | [32 empty] | √ |  | √ |  | √ |  |  | √ |  | √ | √
Kern PP 230 kV | 5 | [31 empty] | √ | √ | [6 empty] | √ |  | √ | √
Konocti 60 kV | 7 | √ | √ |  | √ | [9 empty] | √ |  | √ | √ | [13 empty] | √
Lakeview 70 kV | 4 | [32 empty] | √ | [7 empty] | √ | √ | √
Lakeville 115 kV | 11 | √ | √ |  | √ | [8 empty] | √ | √ | √ | √ | √ |  |  |  | √ | [8 empty] | √ | √
Lakeville 60 kV | 8 | [12 empty] | √ | √ | √ | √ | √ |  |  |  | √ | [8 empty] | √ | √
Lambie 230 kV | 8 |  | √ | [12 empty] | √ | √ | √ |  |  | √ | √ | [8 empty] | √ | √
Lammers 115 kV | 6 | [7 empty] | √ | [8 empty] | √ |  | √ |  | √ |  |  |  | √ |  |  |  |  | √
Lamont 115 kV | 7 | [32 empty] | √ |  | √ |  | √ | √ |  | √ |  | √ | √
Le Grand 115 kV | 16 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ | √ | √ | √ | √ | √ |  | √ |  | √ | √ | √ |  | √ |  |  |  | √
Lincoln 115 kV | 9 |  | √ | √ |  | √ |  | √ | √ | √ | √ | [10 empty] | √ | √
Line tap at Tranquillity 8 Gen-tie 230 kV | 8 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ |  |  |  | √ | √ |  |  |  |  | √
Live Oak 60 kV | 7 |  | √ |  |  |  |  | √ | √ | √ | √ | [10 empty] | √ | √
Llagas 115 kV | 5 | [13 empty] | √ |  |  | √ |  |  |  | √ | [6 empty] | √ | √
Llagas-Hollister 115 kV Line | 5 | [13 empty] | √ |  |  | √ |  |  |  | √ | [6 empty] | √ | √
Lockeford 115 kV | 4 | [7 empty] | √ | [12 empty] | √ | √ | [27 empty] | √
Logan Creek-Delevan 230 kV | 2 |  | √ | [28 empty] | √
Los Banos - Midway #2 500 kV | 3 |  | √ | [57 empty] | √ | √
Los Banos 230 kV | 4 | [41 empty] | √ | √ | [6 empty] | √ | [11 empty] | √
Los Banos 500 kV | 3 |  | √ | [30 empty] | √ | [26 empty] | √
Los Banos 70 kV | 4 | [41 empty] | √ | √ | [6 empty] | √ | [11 empty] | √
Los Banos-Panoche #1 230 kV | 1 | [61 empty] | √
Los Esteros 115 kV | 6 | [16 empty] | √ |  |  |  | √ |  |  |  |  | √ | √ | √ |  | √
Los Esteros 230 kV | 7 | [13 empty] | √ |  |  | √ |  |  |  | √ |  |  |  |  | √ | √ | √ |  | √
Lower Lake-Homestake 115 kV | 7 | √ | √ |  | √ | [9 empty] | √ |  | √ | √ | [13 empty] | √
Madison 115 kV | 5 |  | √ | [12 empty] | √ | √ | √ | [13 empty] | √
Magunden 115 kV | 5 | [32 empty] | √ |  | √ |  |  |  |  | √ |  | √ | √
Malin 500 kV | 1 |  | √
Martin 115 kV | 3 | [13 empty] | √ |  |  | √ | [12 empty] | √
McArthur 60 kV | 2 |  | √ |  |  |  | √
McCall 230 kV | 16 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ |  | √ | √ |  |  | √
Mendocino 115 kV | 7 | √ | √ |  | √ | [9 empty] | √ |  | √ | √ | [13 empty] | √
Mendota 115 kV | 17 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ |  |  | √ | √ |  | √ |  |  |  | √
Merced 115 kV | 15 | [7 empty] | √ | [12 empty] | √ | [11 empty] | √ | [8 empty] | √ | √ |  | √ | √ | √ | √ | √ | √ |  | √ |  | √ | √ |  |  | √
Mercy Springs 70 kV | 4 | [41 empty] | √ | √ | [6 empty] | √ | [11 empty] | √
Mesa 230 kV | 8 | [31 empty] | √ | √ | [5 empty] | √ |  |  | √ | √ | [8 empty] | √ | √ | [7 empty] | √
Metcalf 230 kV | 5 | [13 empty] | √ |  |  | √ |  |  |  | √ | [6 empty] | √ | √
Midway 115 kV | 6 | [31 empty] | √ | √ | [5 empty] | √ | √ |  | √ | √
Midway 230 kV | 3 | [32 empty] | √ | [8 empty] | √ | √
Midway 500 kV | 1 | [60 empty] | √
Midway- Wheeler Ridge #2 - 230 kV Line | 4 | [32 empty] | √ | [7 empty] | √ | √ | √
Midway-Tupman-Rio Bravo-Renfro 115 kV | 5 | [31 empty] | √ | √ | [5 empty] | √ |  |  | √ | √
Midway-Wheeler Ridge #1 230 kV Line | 4 | [32 empty] | √ | [7 empty] | √ | √ | √
Millbrae 60 KV | 3 | [13 empty] | √ |  |  | √ | [12 empty] | √
Miller #1 115 kV line | 5 | [7 empty] | √ | [8 empty] | √ |  | √ |  | √ | [8 empty] | √
Monta Vista 230 kV | 3 | [13 empty] | √ | [6 empty] | √ | [6 empty] | √
Moraga 230 kV | 9 |  | √ | [9 empty] | √ |  | √ | √ | √ | √ |  |  |  | √ |  | √ | [6 empty] | √
Morgan Hill 115 kV | 4 | [13 empty] | √ |  |  | √ |  |  |  | √ | [6 empty] | √
Morro Bay 230 kV | 9 | [31 empty] | √ | √ | [8 empty] | √ | √ | √ | [5 empty] | √ |  | √ | √ | [7 empty] | √
Moss Landing 115 kV | 6 | [16 empty] | √ |  |  |  | √ | [6 empty] | √ | √ | [20 empty] | √ | [9 empty] | √
Moss Landing 500 kV | 9 |  | √ | [5 empty] | √ | [5 empty] | √ |  |  | √ |  |  |  | √ | [6 empty] | √ |  |  |  |  | √ | [16 empty] | √ | [9 empty] | √
Mustang 230 kV | 9 | [32 empty] | √ | [8 empty] | √ | √ |  | √ |  |  |  |  | √ |  |  |  |  | √ |  |  |  |  | √ | √ | √
Newark 230 kV | 4 | [13 empty] | √ |  |  | √ |  |  |  | √ | [8 empty] | √
Novato 60 kV | 10 | √ | √ | [9 empty] | √ |  | √ | √ | √ | √ |  |  | √ | √ | [8 empty] | √
Oakland C 115 kV | 12 | √ | √ | [8 empty] | √ | √ |  | √ | √ | √ | √ |  |  | √ | √ |  | √ | [6 empty] | √
Oakland J - Grant 115 kV line | 9 |  | √ | [8 empty] | √ | √ |  | √ | √ | √ | √ | [5 empty] | √ | [6 empty] | √
Oakland J 1 115 kV | 1 | [16 empty] | √
Oakland J 115 kV | 3 |  | √ | [11 empty] | √ | [15 empty] | √
Old River 70 kV | 9 | [31 empty] | √ | √ |  | √ | √ | √ |  | √ | √ |  | √ | √
Olema 60 kV | 10 | √ | √ | [9 empty] | √ |  | √ | √ | √ | √ |  |  | √ | √ | [8 empty] | √
Olive 115 kV | 8 | [31 empty] | √ | √ | √ | √ |  |  |  | √ | √ |  | √ | √
Olive Switch Station - Smyrna 115 kV line | 8 | [31 empty] | √ | √ | √ | √ |  |  |  | √ | √ |  | √ | √
Olivehurst 115 kV | 9 |  | √ | √ |  | √ |  | √ | √ | √ | √ | [10 empty] | √ | √
Orland B 60 kV | 2 |  | √ | [28 empty] | √
Ortiga 70 kV | 4 | [41 empty] | √ | √ | [6 empty] | √ | [11 empty] | √
Palermo 115 kV | 8 |  | √ |  |  | √ |  | √ | √ | √ | √ | [10 empty] | √ | √
Panoche - Tranquility #1 230 kV line | 14 | [32 empty] | √ | [8 empty] | √ | √ |  | √ | √ | √ | √ | √ | √ | √ | √ |  | √ | √ |  |  | √
Panoche 115 kV | 14 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | [5 empty] | √
Panoche 230 kV | 6 | [41 empty] | √ | √ |  |  |  |  | √ | √ | √ | [11 empty] | √
Peabody 230 kV | 6 |  | √ | [12 empty] | √ | √ | √ | [12 empty] | √ | √
Pease 115 kV | 7 |  | √ |  |  |  |  | √ | √ | √ | √ | [10 empty] | √ | √
Pease-Harter 60 kV Line | 7 |  | √ |  |  |  |  | √ | √ | √ | √ | [10 empty] | √ | √
Peoria 115 kV | 5 | [7 empty] | √ | [8 empty] | √ |  | √ |  | √ | [8 empty] | √
Piercy 115 kV | 4 | [16 empty] | √ |  |  |  | √ | [6 empty] | √ | √
Pit 1 230 kV | 2 |  | √ |  |  |  | √
Pit 1-Cottonwood 230 kV Line | 2 |  | √ |  |  |  | √
Pittsburg 115 kV | 9 | √ | √ | [8 empty] | √ | √ |  | √ | √ |  | √ |  |  |  | √ | [8 empty] | √
Pittsburg 230 kV | 11 | √ | √ | [8 empty] | √ | √ |  | √ | √ | √ | √ |  |  | √ | √ | [8 empty] | √
Pittsburg-Kirker-Columbia Steel 115 kV Line | 10 | √ | √ | [8 empty] | √ | √ |  | √ | √ |  | √ |  |  | √ | √ | [8 empty] | √
Pittsburg-Tesla #1 230 kV line | 4 | [13 empty] | √ |  |  | √ |  |  |  | √ | [8 empty] | √
Placerville 115 kV | 6 |  | √ | [5 empty] | √ | √ | √ | [10 empty] | √ | √
Pleasant Grove 115 kV | 7 |  | √ |  |  | √ |  |  | √ | √ | √ | [10 empty] | √ | √
Plumas 60 kV | 9 |  | √ | √ |  | √ |  | √ | √ | √ | √ | [10 empty] | √ | √
Poso Mt 115 kV | 6 | [32 empty] | √ |  | √ |  |  |  | √ | √ |  | √ | √
Putah Creek 115 kV | 5 |  | √ | [12 empty] | √ | √ | √ | [13 empty] | √
Quinto 230 kV | 2 | [42 empty] | √ | [6 empty] | √
Quinto-Westley 230 kV transmission line | 2 | [42 empty] | √ | [6 empty] | √
Rancho Seco-Bellota #1 230 kV | 5 | [7 empty] | √ | [12 empty] | √ | √ | [27 empty] | √ | [7 empty] | √
Red Bluff 60 kV | 1 |  | √
Richmond 115 kV | 12 | √ | √ | [8 empty] | √ | √ |  | √ | √ | √ | √ |  |  | √ | √ |  | √ | [6 empty] | √
Rio Oso 115 kV | 9 |  | √ | √ |  | √ |  | √ | √ | √ | √ | [10 empty] | √ | √
Rio Oso-Atlantic 230 kV/Rio Oso-Gold Hill 230 kV | 8 |  | √ |  |  | √ |  | √ | √ | √ | √ | [10 empty] | √ | √
Ripon 115 kV | 6 | [7 empty] | √ | [8 empty] | √ |  | √ |  | √ |  |  |  | √ |  |  |  |  | √
Round Mountain 230 kV | 1 |  | √
San Benito - Hollister 115 kV line | 6 | [16 empty] | √ |  |  |  | √ | [6 empty] | √ | √ | [20 empty] | √ | [9 empty] | √
Sanger 115 kV | 13 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ | √ | √ | √ | √ | √ |  | √ |  |  | √ |  |  | √
Santa Nella - Livingston 70 kV line | 4 | [41 empty] | √ | √ | [6 empty] | √ | [11 empty] | √
Santa Rosa-Corona 115 kV line | 11 | √ | √ |  | √ | [8 empty] | √ | √ | √ | √ | √ |  |  |  | √ | [8 empty] | √ | √
Santa Teresa 115 kV | 3 | [16 empty] | √ |  |  |  | √ | [6 empty] | √
Saratoga 230 kV | 4 | [13 empty] | √ |  |  | √ |  |  |  | √ | [6 empty] | √
Schindler 115 kV | 1 | [61 empty] | √
Schulte 115 kV | 5 | [7 empty] | √ | [10 empty] | √ |  | √ |  |  |  | √ |  |  |  |  | √
Semitropic - Midway #1 115 kV | 6 | [31 empty] | √ | √ | [5 empty] | √ | √ |  | √ | √
Shafter 115 kV | 5 | [31 empty] | √ | √ | [5 empty] | √ |  |  | √ | √
Smyrna 115 kV | 8 | [31 empty] | √ | √ | √ | √ |  |  |  | √ | √ |  | √ | √
Sobrante - Standard Oil Switching Stn #1 115 kV Line | 12 | √ | √ | [8 empty] | √ | √ |  | √ | √ | √ | √ |  |  | √ | √ |  | √ | [6 empty] | √
Solar 230 kV | 5 | [31 empty] | √ | √ | [8 empty] | √ | √ | [17 empty] | √
Stagg 230 kV | 6 |  | √ | [5 empty] | √ | [12 empty] | √ | √ | [7 empty] | √ | [19 empty] | √
Stroud 70 kV | 1 | [61 empty] | √
Surf 115 kV | 6 | [31 empty] | √ | √ | [5 empty] | √ |  |  | √ | √ | [17 empty] | √
Symrna-Semitropic-Midway 115 kV Line | 8 | [31 empty] | √ | √ | √ | √ |  |  |  | √ | √ |  | √ | √
Table Mountain 115 kV | 3 |  | √ | [5 empty] | √ | [12 empty] | √
Table Mtn-Rio Oso 230 kV | 8 |  | √ |  |  | √ |  | √ | √ | √ | √ | [10 empty] | √ | √
Taft 115 kV | 7 | [31 empty] | √ | √ |  | √ |  | √ |  | √ |  |  | √ | √
Tassajara - Newark 230 kV | 7 |  | √ | [11 empty] | √ | √ |  | √ |  |  | √ | √ | [8 empty] | √
Templeton 230 kV | 9 | [31 empty] | √ | √ | [8 empty] | √ | √ | √ | [5 empty] | √ |  | √ | √ | [7 empty] | √
Tesla 230 kV | 4 | [16 empty] | √ |  |  | √ | √ | [8 empty] | √
Tesla-Newark #1 230 kV Line | 4 | [16 empty] | √ |  |  | √ | √ | [8 empty] | √
Tesla-Schulte #1 115 kV Line | 4 | [16 empty] | √ |  |  | √ | √ | [8 empty] | √
Tesla-Tracy #1 230 kV line | 3 | [20 empty] | √ | [8 empty] | √ |  |  | √
Tevis 115 kV | 6 | [32 empty] | √ |  | √ |  |  | √ |  | √ |  | √ | √
Tranquility 230 kV | 16 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ | √ | √ | √ | √ | √ | √ | √ |  | √ | √ |  |  | √ |  |  |  | √
Tres Vista 60 kV | 5 |  | √ | [5 empty] | √ |  | √ | [10 empty] | √ | √
Tulucay 60 kV | 9 | √ | √ | [10 empty] | √ | √ | √ | √ | √ | [12 empty] | √ | √
Tupman 115 kV | 5 | [31 empty] | √ | √ | [5 empty] | √ |  |  | √ | √
Twissleman 70 kV | 4 | [32 empty] | √ | [8 empty] | √ | √ | [16 empty] | √
Tyler 60 kV | 1 |  | √
UltraPower Chinese 115 kV | 5 | [7 empty] | √ | [8 empty] | √ |  | √ |  | √ | [8 empty] | √
Vaca Dixon 115 kV | 5 |  | √ | [12 empty] | √ | √ | √ | [13 empty] | √
Vaca-Dixon 230 kV | 5 |  | √ | [12 empty] | √ | √ | √ | [13 empty] | √
Vaca-Dixon 500 kV | 6 |  | √ | [5 empty] | √ | [7 empty] | √ | √ | [13 empty] | √ |  | √
Vaca-Lakeville #1 230 kV line | 9 | √ | √ | [10 empty] | √ | √ | √ | √ | √ | [12 empty] | √ | √
Valley Springs 60 kV | 4 | [7 empty] | √ | [12 empty] | √ | √ | [27 empty] | √
Vierra 115 kV | 6 | [7 empty] | √ | [8 empty] | √ |  | √ |  | √ |  |  |  | √ |  |  |  |  | √
Waukena 115 kV | 1 | [62 empty] | √
Weber 230 kV | 1 | [7 empty] | √
Weber 60 kV | 4 | [7 empty] | √ | [12 empty] | √ | √ | [27 empty] | √
West Fresno 115 kV | 12 | [7 empty] | √ | [24 empty] | √ | [8 empty] | √ | √ |  | √ | √ | √ | √ | √ | √ |  |  |  |  | √ |  |  | √
Westly-Quinto 230 kV | 2 | [42 empty] | √ | [6 empty] | √
Wheatland 60 kV | 9 |  | √ | √ |  | √ |  | √ | √ | √ | √ | [10 empty] | √ | √
Wheeler Ridge 230 kV | 4 | [32 empty] | √ | [7 empty] | √ | √ | √
Wheeler Ridge 70 kV | 4 | [32 empty] | √ | [7 empty] | √ | √ | √
Wheeler Ridge-Tejon 70 kV Line | 4 | [32 empty] | √ | [7 empty] | √ | √ | √
Wilson 115 kV | 10 | [7 empty] | √ | [12 empty] | √ | [20 empty] | √ | √ |  | √ |  |  | √ | √ | √ |  | √ |  |  |  | √
Wilson 230 kV | 17 | [7 empty] | √ | [12 empty] | √ | [11 empty] | √ | [8 empty] | √ | √ |  | √ | √ | √ | √ | √ | √ | √ | √ |  | √ | √ | √ |  | √
Woodland-Davis 115 kV Line | 8 |  | √ | √ |  | √ |  | √ | √ |  | √ | [10 empty] | √ | √
Wyandotte 115 kV | 7 |  | √ |  |  |  |  | √ | √ | √ | √ | [10 empty] | √ | √

## Southern_Substation_List_Matrix
|  | SCE Northern Interconnection Area Constraints | [7 empty] | SCE Metro Interconnection Area Constraints |  |  | SCE North of Lugo (NOL) Interconnection Area Constraints |  |  |  |  | SCE Eastern Interconnection Area Constraints | [7 empty] | East of Pisgah Interconnection Area Constraints |  |  | SDG&E Interconnection Area Constraints
POI | Number of Constraints | Antelope-Neenach Area Deliverability Constraint | Antelope-Vincent Area Deliverability Constraint | Moorpark-Pardee Area Deliverability Constraint | North of Magunden Area Deliverability Constraint | Pardee-Sylmar Area Deliverability Constraint | South of Magunden Area Deliverability Constraint | Vincent-Lugo Area Deliverability Constraint | Windhub Area Deliverability Constraint | Del Amo - Barre Area Deliverability Constraint | Hinson - Del Amo Area Deliverability Constraint | SCE Metro Area Default Constraint | Calcite to Lugo Area Constraint | Control to Inyokern Constraint | Kramer to Victor Area Constraint | Lugo Transformer Constraint | Victor to Lugo Area Constraint | Colorado River 500/230 kV Area Deliverability Constraints | Colorado River-Red Bluff Area Deliverability Constraint | DCRT Area Deliverability Constraint | Devers-Red Bluff Area Deliverability Constraint | Eagle Mountain Area Deliverability Constraint | Etiwanda-Rancho Vista Area Deliverability Constraint | Red Bluff 500/230 kV Area Deliverability Constraint | Serrano-Alberhill-Valley Area Deliverability Constraint | GLW - VEA Area Deliverability Constraints | Lugo – Victorville Area Deliverability Constraint | VEA 138kV Area Deliverability Constraints | Capistrano-San Onofre 230 kV Deliverability Constraints | Chicarita 138 kV Deliverability Constraints | East of Miguel Area Deliverability Constraint | El Cajon 69 kV Deliverability Constraints | Internal San Diego Area On-Peak/Off-Peak Constraint | Miguel 69 kV Deliverability Constraints | Encina-San Luis Rey Deliverability Constraints | San Luis Rey-San Onofre Deliverability Constraints | Ocean Ranch 69 kV Deliverability Constraints | Otay Mesa 230 kV Deliverability Constraints | Silvergate-Bay Boulevard Deliverability Constraints | Silvergate-Old Town 230 kV Deliverability Constraints | Talega 230 kV Deliverability Constraints | Trabuco-Capistrano 138 kV Deliverability Constraints
Transmission Plan Capability |  | 0 | 7395.5253 | 3792.0845 | 1387.2112 | 4884.0951 | 837 | 9184.1629 | 2543 | 6700.6667 | 3544 | 13731 | 548 | 24 | 2505.5147 | 2762.9147 | 2570.9147 | 1035.5616 | 10874.8962 | 2299.8686 | 8428.5371 | 0 | 7734.0507 | 838 | 9396.3869 | 2185 | 9313 | 1627 | 1500 | 360 | 3750.8865 | 406 | 1937.5 | 231 | 2668.095 | 2837.095 | 274 | 1425.495 | 796.095 | 1221.1 | 1205 | 501
Allocated TPD |  | 0 | 5704 | 919 | 767 | 2138 | 837 | 6426 | 2543 | 1258 | 0 | 0 | 186 | 32 | 1105 | 1352 | 1166 | 944 | 6090 | 1149 | 7428 | 0 | 4314 | 838 | 6496 | 2117 | 9313 | 0 | 500 | 360 | 986 | 62 | 942 | 0 | 1854 | 1894 | 28 | 493 | 620 | 515 | 486 | 350
Available TPD |  | 0 | 1691.5253 | 2873.0845 | 620.2112 | 2746.0951 | 0 | 2758.1629 | 0 | 5442.6667 | 3544 | 13731 | 362 | 56 | 1400.5147 | 1410.9147 | 1404.9147 | 91.5616 | 4784.8962 | 1150.8686 | 1000.5371 | 0 | 3420.0507 | 0 | 2900.3869 | 68 | 0 | 1627 | 1000 | 0 | 2764.8865 | 344 | 995.5 | 231 | 814.095 | 943.095 | 246 | 932.495 | 176.095 | 706.1 | 719 | 151
1-Number of POI behind Constraint |  | 3 | 31 | 12 | 12 | 42 | 22 | 19 | 4 | 27 | 16 | 39 | 3 | 3 | 17 | 21 | 19 | 1 | 45 | 3 | 51 | 4 | 31 | 1 | 53 | 21 | 83 | 11 | 24 | 18 | 29 | 15 | 32 | 18 | 63 | 76 | 9 | 3 | 24 | 25 | 34 | 7
Alamitos Substation 230 kV | 3 | [8 empty] | √ | √ | √
Alberhill 115 kV | 2 | [21 empty] | √ |  | √
Alberhill 500 kV | 2 | [21 empty] | √ |  | √
Alpine Substation 69 kV | 3 | [28 empty] | √ |  | √ |  | √
Antelope – Magunden #2 230 kV line | 4 |  | √ |  |  | √ | √ | √
Antelope - Ritter Ranch #1 66 kV | 3 |  | √ |  |  | √ |  | √
Antelope Substation 230 kV | 3 |  | √ |  |  | √ |  | √
Antelope Substation 500 kV | 2 |  | √ |  |  |  |  | √
Appgen 66 kV Substation | 1 |  |  |  |  | √
Archline 66 kV (Etiwanda) | 2 | [21 empty] | √ |  | √
ArcoGen Substation 230 kV | 3 | [8 empty] | √ | √ | √
Artesian Substation 230 kV | 5 | [27 empty] | √ |  |  |  | √ |  | √ | √ |  |  |  |  | √
Ash Substation 69 kV | 1 | [31 empty] | √
Avocado Substation 69 kV | 5 | [27 empty] | √ |  |  |  | √ |  |  | √ | √ |  |  |  | √
Bailey Substation 230 kV | 5 | √ | √ |  |  | √ | √ | [19 empty] | √
Banning – Maraschino 115 kV (El Casco) | 2 | [21 empty] | √ |  | √
Barre Substation 230 kV | 1 | [10 empty] | √
Bay Boulevard Substation 230 kV | 5 | [31 empty] | √ |  | √ | √ |  |  | √ | √
Beatty Substation 138 kV | 5 | [17 empty] | √ |  | √ |  |  |  |  | √ | √ | √
Big Creek Substation 230 kV | 5 |  | √ |  | √ | √ | √ | [19 empty] | √
Bliss 66kV Substation | 4 |  | √ |  | √ | √ | √
Bloomington-Colton-Colton Cement 66 kV line (Vista Subtrans) | 2 | [21 empty] | √ |  | √
Blythe 161kV - Colorado River 230kV | 1 | [25 empty] | √
BlytheSC 161 kV Substation 161 kV | 2 | [29 empty] | √ |  |  |  |  | √
Bond Tap 138 kV | 3 | [24 empty] | √ | √ | √
Border - Border Tap 69 kV | 6 | [30 empty] | √ |  | √ | √ | √ |  |  | √ | √
Border Substation 69 kV | 7 | [30 empty] | √ | √ | √ | √ | √ |  |  | √ | √
Borrego Substation 69 kV | 3 | [27 empty] | √ | [5 empty] | √ | √
Boulevard East Substation 138 kV | 8 | [17 empty] | √ |  | √ |  |  |  | √ | [5 empty] | √ |  |  |  | √ | √ |  |  | √ | √
Boulevard East Substation 69 kV | 9 | [17 empty] | √ |  | √ |  |  |  | √ |  | √ |  |  |  | √ |  |  |  | √ | √ |  |  | √ | √
Boulevard Substation 138 kV | 5 | [29 empty] | √ |  |  |  | √ | √ |  |  | √ | √
Calcite Substation 230kV | 2 | [11 empty] | √ |  |  | √
Calden Substation 66 kV | 1 | [8 empty] | √
Caldwell Substation 66 kV | 1 | [8 empty] | √
Cameron Substation 69 kV | 6 | [28 empty] | √ |  | √ |  | √ | √ | √ |  |  |  | √
Capistrano Substation 12 kV | 1 | [39 empty] | √
Capistrano Substation 138 kV | 2 | [27 empty] | √ | [11 empty] | √
Capistrano Substation 230 kV | 2 | [27 empty] | √ | [11 empty] | √
Capistrano Substation 69 kV | 1 | [39 empty] | √
Cardiff 66 kV (San Bernardino) | 2 | [21 empty] | √ |  | √
Carpenter Canyon (Gamebird) Substation 138 kV | 4 | [17 empty] | √ |  | √ |  |  |  |  | √ | √
Carpenter Canyon (Gamebird) Substation 230 kV | 4 | [17 empty] | √ |  | √ |  |  |  |  | √ | √
Carpinteria Substation 66 kV | 3 |  |  | √ |  | √ | [20 empty] | √
Carrizo Gorge Switchyard - East County Boulevard 138 kV | 5 | [29 empty] | √ |  |  |  | √ | √ |  |  | √ | √
Carrizo Gorge Switchyard 138 kV | 4 | [17 empty] | √ |  | √ |  |  |  | √ |  | √
Casa Diablo Substation 33 kV | 4 | [12 empty] | √ | √ | √ | √
Center Substation 230 kV | 2 | [8 empty] | √ |  | √
Charleston Substation 138 kV | 2 | [24 empty] | √ | √
Chevmain Substation 230 kV | 3 | [8 empty] | √ | √ | √
Chicarita Substation 138 kV | 4 | [28 empty] | √ |  |  | √ |  | √ | √
Chino Substation 230 kV | 1 | [10 empty] | √
Cielo Azul Substation 500 kV | 6 | [17 empty] | √ | √ | √ |  |  |  | √ |  | √ |  |  |  | √
Clairemont Substation 69 kV | 2 | [33 empty] | √ | √
Colorado River – Delaney 500 kV Line | 5 | [17 empty] | √ | √ | √ |  |  |  | √ |  | √
Colorado River – Palo Verde 500 kV Line | 5 | [17 empty] | √ |  | √ |  | √ |  | √ |  | √
Colorado River Substation 230 kV | 6 | [16 empty] | √ | √ |  | √ |  | √ |  | √ |  | √
Colorado River Substation 500 kV | 5 | [17 empty] | √ |  | √ |  | √ |  | √ |  | √
Control Substation 115 kV | 4 | [12 empty] | √ | √ | √ | √
Coolwater Substation 115 kV | 3 | [13 empty] | √ | √ | √
Coolwater Substation 230 kV | 3 | [13 empty] | √ | √ | √
Creelman Substation 69 kV | 7 | [27 empty] | √ | √ |  | √ |  | √ | √ | √ |  |  |  |  | √
Del Amo Substation 230 kV | 3 | [8 empty] | √ | √ | √
Del Sur 66kV (System ID is Antelope 220/66) | 3 |  | √ |  |  | √ |  | √
Delaney Substation 500 kV | 6 | [17 empty] | √ | √ | √ |  |  |  | √ |  | √ |  |  |  | √
Desert View Substation 230 kV | 4 | [17 empty] | √ |  | √ |  |  |  |  | √ | √
Devers Substation 230 kV | 2 | [21 empty] | √ |  | √
Devers Substation 500 kV | 2 | [21 empty] | √ |  | √
Devers-Garnet 115 kV Line Tap | 2 | [21 empty] | √ |  | √
Devers-San Bernardino line 230 kV | 2 | [21 empty] | √ |  | √
Eagle Mountain Substation 230 kV | 5 | [19 empty] | √ | √ | √ |  | √ |  | √
Eagle Rock Substation 230 kV | 1 | [10 empty] | √
East County Blvd - New Switchyard 138 kV | 5 | [29 empty] | √ |  |  |  | √ | √ |  |  | √ | √
East County Substation 500 kV | 4 | [17 empty] | √ |  | √ |  |  |  | √ |  |  |  |  | √
ECO Substation 138 kV | 10 | [17 empty] | √ |  | √ |  |  |  | √ |  | √ |  |  |  | √ |  | √ |  | √ | √ |  |  | √ | √
ECO Substation 230 kV | 10 | [17 empty] | √ |  | √ |  |  |  | √ |  | √ |  |  |  | √ |  | √ |  | √ | √ |  |  | √ | √
ECO Substation 500 kV | 10 | [17 empty] | √ |  | √ |  |  |  | √ |  | √ |  |  |  | √ |  | √ |  | √ | √ |  |  | √ | √
El Cajon Substation 69 kV | 6 | [28 empty] | √ |  | √ | √ | √ | √ | √
El Casco Substation 230 kV | 2 | [21 empty] | √ |  | √
El Centro Substation 161 kV | 2 | [29 empty] | √ |  |  |  |  | √
El Centro Substation 230 kV | 2 | [29 empty] | √ |  |  |  |  | √
El Nido Substation 230 kV | 3 | [8 empty] | √ | √ | √
El Segundo Substation 230 kV | 3 | [8 empty] | √ | √ | √
Eldorado Substation 230 kV | 3 | [17 empty] | √ |  | √ | [5 empty] | √
Eldorado Substation 230 kV (SCE portion) | 2 | [17 empty] | √ |  | √
Eldorado Substation 500 kV | 3 | [17 empty] | √ |  | √ | [5 empty] | √
Elizabeth Lake Substation 66 kV | 2 |  |  |  |  | √ | [20 empty] | √
Elliot Substation 69 kV | 3 | [31 empty] | √ |  | √ | √
Ellis Substation 230 kV | 1 | [10 empty] | √
Encina Substation 138 kV | 2 | [33 empty] | √ | √
Encina Substation 230 kV | 2 | [33 empty] | √ | √
Esco Substation 69 kV | 5 | [27 empty] | √ | [5 empty] | √ | √ | √ |  |  |  | √
Escondido Substation 230 kV | 6 | [27 empty] | √ |  |  |  | √ |  | √ | √ | √ |  |  |  | √
Escondido Substation 69 kV | 3 | [33 empty] | √ | √ |  |  |  |  | √
Etiwanda Substation 230 kV | 2 | [21 empty] | √ |  | √
Etiwanda-Ameron 66 kV Line | 2 | [21 empty] | √ |  | √
Etiwanda-Randall 66 kV Line | 2 | [21 empty] | √ |  | √
Fremont 66 kV Substation | 2 | [8 empty] | √ | √
Friars Substation 138 kV | 2 | [33 empty] | √ | √
Gold Mine Substation 161 kV | 2 | [29 empty] | √ |  |  |  |  | √
Goleta Substation 230 kV | 4 |  |  | √ |  | √ | √ | [19 empty] | √
Goodrich Substation 230 kV | 1 | [10 empty] | √
Gould Substation 230k kV | 1 | [10 empty] | √
Growers Substation 66 kV | 4 |  | √ |  | √ | √ | √
Harborgen Substation 230 kV | 3 | [8 empty] | √ | √ | √
Harry Allen – Eldorado 500 kV | 3 | [17 empty] | √ |  | √ | [5 empty] | √
Harry Allen Substation 500 kV | 3 | [17 empty] | √ |  | √ | [5 empty] | √
Harvard 33 kV Bus/Gale 115 kV Bus | 3 | [13 empty] | √ | √ | √
Hassayampa Substation 500 kV | 5 | [17 empty] | √ |  | √ |  |  |  | √ |  | √ |  |  |  | √
Highgrove 115 kV (Vista) | 2 | [21 empty] | √ |  | √
Hinson Substation 230 kV | 3 | [8 empty] | √ | √ | √
Hoodoo Wash - Hassayampa 500 kV Line | 7 | [17 empty] | √ |  | √ |  |  |  | √ |  | √ |  |  |  | √ |  |  |  | √ | √
Hoodoo Wash - North Gila 500 kV | 7 | [17 empty] | √ |  | √ |  |  |  | √ |  | √ |  |  |  | √ |  |  |  | √ | √
Hoodoo Wash Substation 500kV | 7 | [17 empty] | √ |  | √ |  |  |  | √ |  | √ |  |  |  | √ |  |  |  | √ | √
Hoodoo Wash Switchyard 500 kV | 4 | [17 empty] | √ |  | √ |  |  |  | √ |  | √
Huntington Beach Substation 230 kV | 1 | [10 empty] | √
Imperial Valley Substation 230 kV | 12 | [17 empty] | √ |  | √ |  |  |  | √ |  | √ |  |  | √ | √ |  | √ |  | √ | √ |  | √ | √ | √
Imperial Valley Substation 500 kV | 11 | [17 empty] | √ |  | √ |  |  |  | √ |  | √ |  |  |  | √ |  | √ |  | √ | √ |  | √ | √ | √
Indigo 115 kV (Devers) | 2 | [21 empty] | √ |  | √
Innovation – Desert View 230 kV Line | 4 | [17 empty] | √ |  | √ |  |  |  |  | √ | √
Innovation Substation 138 kV | 5 | [17 empty] | √ |  | √ |  |  |  |  | √ | √ | √
Innovation Substation 230 kV | 4 | [17 empty] | √ |  | √ |  |  |  |  | √ | √
Inyokern 33 kV Bus/Inyokern 115 kV | 3 | [13 empty] | √ | √ | √
Inyokern Substation 115 kV | 4 | [12 empty] | √ | √ | √ | √
IS Tap 138 kV | 3 | [24 empty] | √ | √ | √
Isla Vista Substation 66 kV | 2 |  |  | √ |  | √
Ivanpah Substation 230 kV | 1 | [25 empty] | √
Jackass (DOE) Substation 138 kV | 3 | [24 empty] | √ | √ | √
Jamacha - Miguel 69 kV | 5 | [30 empty] | √ |  | √ | √ | √ |  |  |  | √
Jamacha Substation 69 kV | 2 | [31 empty] | √ | √
Johanna Substation 230 kV | 1 | [10 empty] | √
Julian Hinds Substation 230 kV | 4 | [19 empty] | √ | √ | √ |  | √
Kearny 69 kV | 2 | [33 empty] | √ | √
Knob Substation 161 kV | 2 | [29 empty] | √ |  |  |  |  | √
Kramer Junction Substation 230kV | 2 | [13 empty] | √ |  | √
Kramer Substation 115 kV | 3 | [13 empty] | √ | √ | √
Kramer Substation 230kV | 3 | [13 empty] | √ | √ | √
Kramer-Victor #1 230 kV line | 2 | [13 empty] | √ |  | √
Kramer-Victor No.1 220 kV T/L | 3 | [13 empty] | √ | √ | √
La Cienega Substation 230 kV | 3 | [8 empty] | √ | √ | √
La Fresa Substation 230 kV | 3 | [8 empty] | √ | √ | √
Laguna Bell Substation 230 kV | 2 | [8 empty] | √ |  | √
Lathrop Substation 138 kV | 5 | [17 empty] | √ |  | √ |  |  |  |  | √ | √ | √
Lewis Substation 230 kV | 1 | [10 empty] | √
Lighthipe Substation 230 kV | 3 | [8 empty] | √ | √ | √
Lilac Substation 69 kV | 6 | [27 empty] | √ |  |  |  | √ |  | √ | √ | √ |  |  |  | √
Little Rock - Sparkle - Wilsona 66 kV | 3 |  | √ |  |  | √ |  | √
Long Beach - Seabright 66 kV | 2 | [8 empty] | √ | √
Long Beach Generating Station 66 kV | 2 | [8 empty] | √ | √
Los Coches Substation 138 kV | 5 | [28 empty] | √ |  | √ |  | √ | √ | √
Loveland - Alpine 69 kV | 7 | [28 empty] | √ |  | √ |  | √ | √ | √ |  |  | √ | √
Loveland Substation 69 kV | 3 | [28 empty] | √ |  | √ |  | √
Lugo Substation 230 kV | 1 | [14 empty] | √
Lugo Substation 500 kV | 1 | [10 empty] | √
Lugo-Pisgah No.2 230 kV T/L | 2 | [11 empty] | √ |  |  | √
Magunden Substation 230 kV | 6 |  | √ |  | √ | √ | √ | √ | [18 empty] | √
Mandalay Switchyard 230kV | 4 |  |  | √ |  | √ | √ | [19 empty] | √
Margarita Substation 138 kV | 3 | [27 empty] | √ | [11 empty] | √ | √
Mascot Substation 66 kV | 5 |  | √ |  | √ | √ | √ | [19 empty] | √
McCullough (LDWP) Substation 500 kV | 1 | [25 empty] | √
Mead Substation 230 kV | 1 | [25 empty] | √
Melrose Substation 69 kV | 4 | [27 empty] | √ | [6 empty] | √ | √ |  |  |  | √
Mercry Switch 138 kV | 3 | [24 empty] | √ | √ | √
Mesa Substation 230 kV | 2 | [8 empty] | √ |  | √
Mesa Substation 500 kV | 2 | [8 empty] | √ |  | √
Miguel Substation 230 kV | 9 | [28 empty] | √ |  | √ | √ | √ | √ | √ |  |  | √ | √ | √
Miguel Substation 500 kV | 10 | [25 empty] | √ |  |  | √ |  | √ | √ | √ | √ | √ |  |  | √ | √ | √
Miguel Substation 69 kV | 6 | [30 empty] | √ |  | √ | √ | √ |  |  | √ | √
Mira Loma Substation 230 kV | 1 | [10 empty] | √
Mira Loma Substation 500 kV | 1 | [10 empty] | √
Mirage Substation 115 kV | 4 | [19 empty] | √ | √ | √ |  | √
Mirage Substation 220 kV | 4 | [19 empty] | √ | √ | √ |  | √
Miramar GT Switchyard 69 kV | 3 | [33 empty] | √ | √ |  |  |  |  | √
Mission Substation 230 kV | 3 | [31 empty] | √ |  | √ | √
Mohave 500kV | 1 | [25 empty] | √
Monolith Substation 12kV | 3 |  | √ |  |  |  |  | √ | √
Monserate Substation 69 kV | 4 | [27 empty] | √ | [6 empty] | √ | √ |  |  |  | √
Moorpark 230 kV | 4 |  |  | √ |  | √ | √ | [19 empty] | √
Moorpark Substation 66 kV | 2 |  |  | √ |  | √
Murray Substation 69 kV | 1 | [31 empty] | √
Neenach 66 kV | 4 | √ | √ |  |  | √ | [20 empty] | √
New Sub - North Gila - IV (Proposed) Substation 500 kV | 3 | [29 empty] | √ |  |  |  | √ | √
New Sub - Suncrest - Ocotillo (Proposed) Substation 500 kV | 4 | [29 empty] | √ |  |  |  | √ | √ |  |  | √
Niland Substation 161 kV | 2 | [29 empty] | √ |  |  |  |  | √
North City Metering Substation 138 kV | 1 | [31 empty] | √
North Gila – Imperial Valley 500 kV Line | 8 | [17 empty] | √ |  | √ |  |  |  | √ |  | √ |  |  |  | √ |  |  |  | √ | √ |  |  |  | √
North Gila Substation 500 kV | 7 | [17 empty] | √ |  | √ |  |  |  | √ |  | √ |  |  |  | √ |  |  |  | √ | √
Oak Grove Substation, 66KV | 4 |  | √ |  | √ | √ | √
Ocean Ranch Substation 69 kV | 4 | [27 empty] | √ | [6 empty] | √ | √ |  |  |  | √
Ocotillo Express Substation 500 kV | 8 | [17 empty] | √ |  | √ |  |  |  | √ |  | √ |  |  |  | √ |  |  |  | √ | √ |  |  | √
Octol Substation 66 kV | 5 |  | √ |  | √ | √ | √ | [19 empty] | √
Old Town Substation 230 kV | 2 | [33 empty] | √ | √
Olinda Substation 230 kV | 1 | [10 empty] | √
Ormond Beach Substation 230 kV | 4 |  |  | √ |  | √ | √ | [19 empty] | √
Otay Lake Substation 69 kV | 1 | [32 empty] | √
Otay Mesa Substation 230 kV | 8 | [28 empty] | √ |  |  | √ |  | √ | √ |  | √ | √ | √ | √
Otay Substation 69 kV | 4 | [32 empty] | √ |  | √ |  |  | √ | √
Pahrump Substation 138 kV | 5 | [17 empty] | √ |  | √ |  |  |  |  | √ | √ | √
Pahrump Substation 230 kV | 5 | [17 empty] | √ |  | √ |  |  |  |  | √ | √ | √
Pala Substation 69 kV | 6 | [27 empty] | √ |  |  |  | √ |  | √ | √ | √ |  |  |  | √
Palo Verde Substation 500 kV | 5 | [17 empty] | √ |  | √ |  |  |  | √ |  | √ |  |  |  | √
Palomar Energy Substation 230 kV | 5 | [27 empty] | √ |  |  |  | √ |  | √ | √ |  |  |  |  | √
Paradise Substation 69 kV | 5 | [30 empty] | √ |  |  | √ | √ |  |  | √ | √
Pardee Substation 230 kV | 3 |  |  |  |  | √ | √ | [19 empty] | √
Pastoria Substation 230kV | 5 | √ | √ |  |  | √ | √ | [19 empty] | √
Pauda Substation 230 kV | 1 | [10 empty] | √
Penasquitos Substation 230 kV | 2 | [33 empty] | √ | √
Pendleton Substation 69 kV | 3 | [27 empty] | √ | [6 empty] | √ |  |  |  |  | √
Pilot Knob Substation 161 kV | 2 | [29 empty] | √ |  |  |  |  | √
Pisgah Substation 230 kV Bus | 2 | [11 empty] | √ |  |  | √
Piute Substation 66 kV | 3 |  | √ |  |  | √ |  | √
Poco 33 kV line/Tortilla 115 kV | 3 | [13 empty] | √ | √ | √
Point Loma Substation 69 kV | 3 | [31 empty] | √ |  | √ | √
Pomerado Substation 69 kV | 5 | [27 empty] | √ |  |  |  | √ |  | √ | √ |  |  |  |  | √
Poplar-Terra Bella 70 kV line | 4 |  | √ |  | √ | √ | √
Primm Substation 230 kV | 1 | [25 empty] | √
Q1806 Switchyard Substation 138 kV | 3 | [27 empty] | √ | [11 empty] | √ | √
Quartz Hill Substation 66 kV | 3 |  | √ |  |  | √ |  | √
Rancho Mission Viejo Substation 138 kV | 3 | [27 empty] | √ | [11 empty] | √ | √
Rancho Vista Substation 230 kV | 1 | [10 empty] | √
Rancho Vista Substation 500 kV | 1 | [10 empty] | √
Ransburg Substation 115 kV | 3 | [13 empty] | √ | √ | √
Rector 230 kV | 5 |  | √ |  | √ | √ | √ | [19 empty] | √
Red Bluff Substation 230 kV | 4 | [19 empty] | √ |  | √ | √ | √
Red Bluff Substation 500 kV | 4 | [19 empty] | √ |  | √ |  | √ |  | √
Redondo 230 kV | 3 | [8 empty] | √ | √ | √
Rio Hondo Substation 230kV | 2 | [8 empty] | √ |  | √
Rio Hondo Substation 66kV | 1 | [8 empty] | √
Roadway Substation 115kV | 3 | [13 empty] | √ | √ | √
Rosamond 66kV | 3 |  | √ |  |  | √ |  | √
Rosamond/CalCement circuit 66kV | 3 |  | √ |  |  | √ |  | √
Royal Substation 66 kV | 3 |  |  | √ |  | √ | [20 empty] | √
Salt Creek Substation 69 kV | 7 | [30 empty] | √ | √ | √ | √ | √ |  |  | √ | √
San Bernardino 230 kV | 2 | [21 empty] | √ |  | √
San Luis Rey Substation 230 kV | 3 | [33 empty] | √ | √ |  |  |  |  | √
San Onofre Substation 230 kV | 0
San Ysidro Substation 69 kV | 1 | [32 empty] | √
Sandlot Substation 230 kV | 3 | [13 empty] | √ | √ | √
Sandy Substation 138 kV | 2 | [24 empty] | √ | √
Santa Clara Substation 230 kV | 4 |  |  | √ |  | √ | √ | [19 empty] | √
Santa Fe Springs - Murphy 66 kV line | 1 | [8 empty] | √
Santa Fe Springs - Nietos 66 kV line | 1 | [8 empty] | √
Santee Substation 138 kV | 4 | [28 empty] | √ |  |  | √ |  | √ | √
Santiago Substation 230 kV | 1 | [10 empty] | √
Saugus Substation 230 kV | 1 | [25 empty] | √
SC / Gonzales 66kV | 2 |  |  | √ |  | √
Scripps Substation 69 kV | 3 | [33 empty] | √ | √ |  |  |  |  | √
Serrano Substation 230 kV | 1 | [10 empty] | √
Serrano Substation 500 kV | 1 | [10 empty] | √
Shadowridge Substation 138 kV | 1 | [31 empty] | √
Silvergate Substation 230 kV | 4 | [31 empty] | √ |  | √ | √ |  |  |  | √
Skylark 115 kV (Valley) | 2 | [21 empty] | √ |  | √
Sloan Canyon Substation 230 kV | 4 | [17 empty] | √ |  | √ |  |  |  |  | √ | √
Springville 230 kV | 5 |  | √ |  | √ | √ | √ | [19 empty] | √
Suncrest - Ocotillo 500 kV Line | 4 | [17 empty] | √ |  | √ |  |  |  | √ |  | √
Suncrest Substation 230 kV | 6 | [17 empty] | √ |  | √ | [8 empty] | √ |  |  |  |  | √ | √ |  |  | √
Suncrest Substation 500 kV | 6 | [17 empty] | √ |  | √ | [5 empty] | √ |  |  | √ |  |  |  |  | √ | √
Sycamore Canyon Substation 138 kV | 5 | [28 empty] | √ |  |  | √ |  | √ | √ |  |  |  |  | √
Sycamore Canyon Substation 230 kV | 6 | [27 empty] | √ | √ |  |  | √ |  | √ | √ |  |  |  |  | √
Sylmar – Gould 230 kV line | 2 |  |  |  |  | √ | [20 empty] | √
Sylmar Substation 230 kV | 1 | [25 empty] | √
Talega Substation 138 kV | 3 | [27 empty] | √ | [11 empty] | √ | √
Talega Substation 230 kV | 3 | [27 empty] | √ | [11 empty] | √ | √
Thousandaire Substation 138 kV | 2 | [24 empty] | √ | √
Torrance - La Fresa 66 kV Line | 2 | [8 empty] | √ | √
Tortilla 115 kV Bus | 3 | [13 empty] | √ | √ | √
Trabuco - Capistrano Line 138 kV | 3 | [27 empty] | √ | [11 empty] | √ | √
Trabuco Substation 138 kV | 3 | [27 empty] | √ | [11 empty] | √ | √
Trout Canyon Substation 230 kV | 4 | [17 empty] | √ |  | √ |  |  |  |  | √ | √
Trout Canyon Switching Station 230 kV | 2 | [17 empty] | √ |  | √
Valley Center Substation 69 kV | 4 | [33 empty] | √ | √ | √ |  |  |  | √
Valley Substation 138 kV | 3 | [21 empty] | √ |  | √ |  | √
Valley Substation 500 kV | 2 | [21 empty] | √ |  | √
Valley Switch 138 kV | 3 | [24 empty] | √ | √ | √
Vestal Substation 230 kV | 5 |  | √ |  | √ | √ | √ | [19 empty] | √
Vestal Substation 66 kV | 4 |  | √ |  | √ | √ | √
Victor Substation 115 kV | 2 | [14 empty] | √ | √
Victor Substation 230 kV | 2 | [14 empty] | √ | √
Victorville (LDWP) Substation 500 kV | 1 | [25 empty] | √
Viejo Substation 230 kV | 1 | [10 empty] | √
Villa Park Substation 230 kV | 1 | [10 empty] | √
Vincent Substation 230 kV | 2 |  |  |  |  | √ |  | √
Vincent Substation 500 kV | 1 | [6 empty] | √
Vista Substation 138 kV | 3 | [24 empty] | √ | √ | √
Vista Substation 230 kV | 2 | [21 empty] | √ |  | √
Wakefield 66 kV bus | 2 |  |  | √ |  | √
Wakefield 66/16 KV | 2 |  |  | √ |  | √
Walnut Substation 230 kV | 2 | [8 empty] | √ |  | √
Warne Substation 230 kV | 3 |  |  |  |  | √ | √ | [19 empty] | √
Whirlwind Substation 230 kV | 2 |  | √ |  |  |  |  | √
Whirlwind Substation 500 kV | 2 |  | √ |  |  |  |  | √
Whirlwind-Windhub 500 kV line | 3 |  | √ |  |  |  |  | √ | √
Wildlife Substation 230 kV | 2 | [21 empty] | √ |  | √
Windhub Substation 230 kV | 3 |  | √ |  |  |  |  | √ | √
Windhub Substation 500 kV | 3 |  | √ |  |  |  |  | √ | √