**May 9, 2018 Exceptional Dispatch CPM Designation Report**

**Designation Summary:**

The California ISO issued an Exceptional Dispatch Capacity Procurement Mechanism (CPM) designation to ENCINA\_7\_EA3 for a non-system reliability need. The designation is effective May 9, 2018 for a duration of 60 days

**Duration and Cost:**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| RESOURCE\_ID | MW | ED Code | Accepted offer price | TAC |
| ENCINA\_7\_EA3 | 20 | Local Reliability Issue | $6.31/kW-month | SDGE |

**Reason for CPM:**

The ISO issued an Exceptional Dispatch CPM designation to ENCINA\_7\_EA3 to address an Exceptional Dispatch Non-System Reliability Need. The Exceptional Dispatch was issued to address a potential thermal overload on a 138 kV line in the San Diego Area for the next contingency event. The designation amount reflects the minimum amount of capacity the ISO could designate to mitigate the reliability need posed by the potential thermal overload.

Prior CPM report information is available to download at: <http://www.caiso.com/market/Pages/ReportsBulletins/Default.aspx>