## ConsolidatedWorkSheet22-23
2022-2023 Transmission Plan High Voltage Transmission Access Charge Capital Costs ($ millions - current dollars)
2023 | Forward | [8 empty] | SCE
Delete Projects(strike-through) if project was completed in 2022 and costs are in rate base | [9 empty] | PG&E
SDG&E
Note that the estimates provided below are approximate, and were provided by various project sponsors to support the TAC estimating exercise. | [9 empty] | VEA
This data should not be relied upon for any other purpose. | [9 empty] | GLW
Other/competitive solicitation
OnHold Projects
Reliability Projects - to be updated with total capital cost including AFUDC at year of capitalization (commissioning)
- For projects without CWIP-in-ratebase, total project cost in year of commissioning
- For projects with CWIP-in-ratebase, total project cost and capital expenditures in each year up to and including year of commissioning (no AFUDC)
Project Name | CWIP-in-Rate Base? | Total(21-22) | Already reflected in rates ** | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | Comments
*Estrella Substation Project - 230 kV |  | 55 |  | 2025: 55
Gates 500 kV Dynamic Reactive Support Project*** |  | 250 |  | 2023: 100; 2024: 100; 2025: 50
Phasor measurement units (assumed all high voltage for simplicity) |  | 11 |  | 2025: 11
Round Mountain 500 kV Dynamic Reactive Support Project*** |  | 190 |  | 2023: 95; 2024: 95
Gamebird 230/138 kV Transformer Upgrade*** |  | 15 | 14 | bar: 2023 to 2037
Garberville area reinforcement project |  | 204 |  | 2029: 51; 2030: 51; 2031: 51; 2032: 51
Tulucay-Napa #2 60 kV line resonductoring project |  | 4.6 |  | 2027: 2.3; 2028: 2.3
Santa Rosa 115 kV lines reconductoring project |  | 74 |  | 2025: 18.5; 2026: 18.5; 2027: 18.5; 2028: 18.5
Tesla 115 kV Bus Reconfiguration Project |  | 54.9 |  | 2028: 18.3; 2029: 18.3; 2030: 18.3
Banta ring bus project |  | 17.5 |  | 2023: 8.75; 2024: 8.75
Metcalf 230/115 kV Transformers Circuit Breaker Addition |  | 15 |  | 2025: 7.5; 2026: 7.5
South Bay Area Limiting Elements Upgrade |  | 11 |  | 2025: 3.66; 2026: 3.67; 2027: 3.67
Redwood City Area 115 kV System Reinforcement |  | 110.8 |  | 2026: 22.16; 2027: 22.16; 2028: 22.16; 2029: 22.16; 2030: 22.16
Lone Tree – Cayetano – Newark Corridor Series Compensation |  | 25 |  | 2026: 12.5; 2027: 12.5
Los Banos 70 kV Area Reinforcement Project |  | 60 |  | 2028: 30; 2029: 30
North East Kern 115 kV Line Reconductoring Project |  | 256 |  | 2028: 51.2; 2029: 51.2; 2030: 51.2; 2031: 51.2; 2032: 51.2
Wheeler Ridge Junction project |  | 517 |  | 2026: 86.15; 2027: 86.17; 2028: 86.17; 2029: 86.17; 2030: 86.17; 2031: 86.17
Mesa 230/115kV spare transformer |  | 24 |  | 2024: 8; 2025: 8; 2026: 8
*Estrella Substation Project - 230 kV (PG&E Project Component) |  | 19.4 |  | 2027: 19.4
Gates 500 kV Dynamic Reactive Support Project (PG&E Project Component) |  | 95.4 |  | 2024: 95.4; 2025: 0
Round Mountain 500 kV Dynamic Reactive Support Project (PG&E Project Component) |  | 78 |  | 2024: 78; 2025: 0
*Glenn 230/60 kV Transformer No. 1 Replacement |  | 8.3 |  | 2023: 8.3
*Pittsburg 230/115 kV Transformer Capacity Increase |  | 7.8 |  | 2026: 7.8
*Rio Oso 230/115 kV Transformer Upgrades |  | 15.6 |  | 2024: 15.6; 2025: 0
*Wilson 115 kV Reinforcement |  | 23 |  | 2028: 23
East Shore 230 kV Bus Terminals Reconfiguration*** |  | 2.6 |  | 2027: 2.6
GoldHill 230/115 kV T/F Addition Project*** |  | 11.4 |  | 2029: 11.4
Lockeford-Lodi Area 230 kV Development |  | 90 |  | 2028: 90
Martin 230 kV Bus Extension |  | 261 |  | 2025: 261
Midway-Kern PP #2 230 kV Line |  | 7.1 |  | 2027: 7.1
Monta Vista 230 kV Bus Upgrade |  | 60.2 |  | 2025: 60.2
Moraga 230 kV Bus Upgrade*** |  | 19 |  | 2028: 19
Moraga-Castro Valley 230 kV Line Capacity Increase Project |  | 4.5 |  | 2025: 4.5
Newark 230/115 kV Transformer Bank #7 Circuit Breaker Addition*** |  | 4.6 |  | 2027: 4.6
Rio Oso Area 230 kV Voltage Support |  | 44 |  | 2025: 44
Tesla 230 kV Bus Series Reactor Project (Central Valley Area)*** |  | 25 |  | 2023: 25; 2024: 0
Jefferson 230 kV Bus Upgrade*** |  | 16 |  | 2027: 16
Vaca Dixon-Lakeville 230 kV Corridor Series Compensation |  | 20 |  | 2029: 20
Cottonwood 230/115 kV Transformers 1 and 4 Replacement Project |  | 17.4 |  | 2025: 17.4
Midway-Kern PP Nos. 1,3 and 4 230 kV Lines Capacity Increase |  | 0 |  | 2027: 0
Ravenswood 230/115 kV transformer #1 Limiting Facility Upgrade |  | 1 | bar: 2025
Contra Costa 230 kV Line Terminals Reconfiguration |  | 30 |  | 2023: 5; 2024: 15; 2025: 10
Vasona-Metcalf 230 kV Line Limiting Elements Removal Project (Greater Bay Area) |  | 1.2 |  | 2026: 1.2
Cortina 230/115/60 kV Bank #1 Replacement (Sacramento Division) |  | 12.6 |  | 2028: 12.6
San Jose Area HVDC Line (Newark - NRS) |  | 510 |  | 2027: 127.5; 2028: 127.5; 2029: 127.5; 2030: 127.5
San Jose Area HVDC Line (Metcalf – San Jose) |  | 615 |  | 2027: 153.75; 2028: 153.75; 2029: 153.75; 2030: 153.75
San Jose Area HVDC Line (Newark - NRS) (PG&E Project Component) |  | 6 |  | 2030: 6
San Jose Area HVDC Line (Metcalf – San Jose) (PG&E Project Component) |  | 90 |  | 2030: 90
Metcalf 230 kV Substation Circuit Breaker #No 292 Upgrade |  | 0 |  | 2026: 0
Table Mountain second 500/230 kV transformer |  | 75 |  | 2028: 0; 2029: 75
Atlantic 230/60 kV transformer voltage regulator |  | 0 |  | 2027: 0; 2028: 0
Alberhill | Yes | 235.2896 | 43.18 | 2024: 12.2076; 2025: 77.068; 2026: 100.1476; 2027: 2.6864; 2028: 0
Lugo Substation Install new 500 kV CBs for AA Banks | No | 12.5971 | 0 | 2024: 12.5971; 2025: 0
Lugo - Victorville 500kV Transmission Line Upgrades-SCE portion | No | 11.3872 | 1.2213 | 2024: 10.1659
Mesa Loop-in | Yes | 564.9179 | 560.4 | 2024: 0.58222; 2025: 3.9357
Method of Service for Wildlife 230/66 kV Substation | Yes | 438.5377 | 276.49 | 2024: 120.0689; 2025: 20.7653; 2026: 21.2135; 2027: 0; 2028: 0
Moorpark-Pardee 4th 230 kV circuit+A59 | No | 65.8891 | 65.8891 | 2024: 0
Pardee-Sylmar 230 kV Line Rating Increase Project*** | No | 20.8595 | 20.8595 | 2023: 0; 2024: 0; 2025: 0
Devers 230 kV Reconfiguration Project | No | 2.7515 |  | 2024: 0; 2025: 0; 2028: 2.7515
Victor 230 kV Switchrack Reconfiguration | No | 8.2765 |  | 2024: 0; 2025: 0; 2028: 8.2765
Barre 230 kV Switchrack Conversion to Breaker-and a-Half |  | 45 |  | 2024: 15; 2025: 15; 2026: 15
Mira Loma 500 kV Circuit Breaker Upgrade |  | 10 |  | 2024: 3; 2025: 3; 2026: 4
Serrano 4AA 500/230 kV Transformer Bank Addition |  | 120 |  | 2024: 30; 2025: 30; 2026: 30; 2027: 30
Sylmar Transformer Replace |  | 23 |  | 2024: 8; 2025: 8; 2026: 7
Antelope-Whirlwind 500 kV Line Upgrade Project |  | 6 |  | 2024: 3; 2025: 3
Coolwater 1A 230/115kV Bank Project |  | 47 |  | 2024: 16; 2025: 16; 2026: 15
Control 115kV Shunt Reactor |  | 4 |  | 2026: 4
Miguel-Sycamore Canyon 230 kV line Loop-in to Suncrest Project |  | 375 |  | 2028: 75; 2029: 75; 2030: 75; 2031: 75; 2032: 75
Artesian 230 kV Sub & loop-in TL23051 |  | 124.8855 | 124.6538 | 2023: 0.23175
Southern Orange County Reliability Upgrade Project - Alternative 3 |  | 311.5558 | 213.3426 | 2023: 91.8594; 2024: 6.3537
*Wheeler Ridge Junction Station (On Hold) |  | 517 |  | 2026: 87; 2027: 86; 2028: 86; 2029: 86; 2030: 86; 2031: 86
TOTAL ($M) |  | 7009.8473 | 1320.0364 | 334.1411 | 653.7254 | 728.529 | 450.8411 | 594.9364 | 826.5079 | 807.48 | 767.08 | 349.37 | 177.2 | 0 | 0 | 0 | 0 | 0
Policy and economic (RTPP) to be updated with total capital cost including AFUDC at year of capitalization (commissioning)
- For projects without CWIP-in-ratebase, total project cost in year of commissioning
- For projects with CWIP-in-ratebase, total project cost and capital expenditures in each year up to and including year of commissioning (no AFUDC)
Project Name | CWIP-in-Rate Base? | Total(21-22) | Already reflected in rates ** | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037
IID S-Line Upgrade |  | 50 |  | 2025: 50
Delaney-Colorado River 500 kV line (Ten West Link) and terminations |  | 380 |  | 2023: 190; 2024: 190
Harry Allen-Eldorado 500 kV line |  | 205 |  | 2023: 100; 2024: 105
Henrietta 230/115 kV Bank 3 replacement |  | 20 |  | 2030: 6.66; 2031: 6.67; 2032: 6.67
Borden-Story #1&2 230 kV lines reconductor |  | 50 |  | 2030: 16.66; 2031: 16.67; 2032: 16.67
Warnerville-Bellota 230 kV Line Reconductoring |  | 107 |  | 2025: 88; 2026: 19
Moss Landing-Panoche 230 kV Path Upgrade |  | 2 |  | 2023: 2
Reconductor Delevan-Cortina 230kV line |  | 35.4 |  | 2028: 35.4
New Collinsville 500 kV substation |  | 675 |  | 2027: 168.75; 2028: 168.75; 2029: 168.75; 2030: 168.75
New Manning 500 kV substation |  | 485 |  | 2027: 121.25; 2028: 121.25; 2029: 121.25; 2030: 121.25
New Collinsville 500 kV substation (PG&E Project Component) |  | 90 |  | 2030: 90
New Manning 500 kV substation (PG&E Project Component) |  | 200 |  | 2030: 200
Installing 10 ohms series reactors on the PG&E’s Moss Landing – Las Aguilas 230 kV line |  | 20 |  | 2027: 10; 2028: 10
Beatty 230 kV |  | 155 |  | 2024: 38; 2025: 39; 2026: 39; 2027: 39
Lugo–Victor–Kramer 230 kV Upgrade |  | 482 |  | 2027: 80; 2028: 80; 2029: 80; 2030: 80; 2031: 80; 2032: 82
Colorado River-Red Bluff 500 kV 1 Line Upgrade |  | 50 |  | 2026: 16; 2027: 17; 2028: 17
Devers-Red Bluff 500 kV 1 and 2 Line Upgrade |  | 140 |  | 2025: 35; 2026: 35; 2027: 35; 2028: 35
Devers-Valley 500 kV 1 Line Upgrade |  | 40 |  | 2026: 13; 2027: 13; 2028: 14
Serrano-Alberhill-Valley 500 kV 1 Line Upgrade |  | 60 |  | 2026: 20; 2027: 20; 2028: 20
San Bernardino-Etiwanda 230 kV 1 Line Upgrade |  | 65 |  | 2029: 21; 2030: 22; 2031: 22
San Bernardino-Vista 230 kV 1 Line Upgrade |  | 18 |  | 2027: 9; 2028: 9
Vista-Etiwanda 230 kV 1 Line Upgrade |  | 13 |  | 2030: 6.5; 2031: 6.5
Mira Loma-Mesa 500 kV Underground Third Cable |  | 30 |  | 2024: 10; 2025: 10; 2026: 10
Imperial Valley–North of SONGS 500 kV Line and Substation |  | 2288 | [5 empty] | 228 | 228 | 229 | 229 | 229 | 229 | 229 | 229 | 229 | 229
North of SONGS–Serrano 500 kV line |  | 503 |  | 2027: 83; 2028: 84; 2029: 84; 2030: 84; 2031: 84; 2032: 84
Serrano–Del Amo–Mesa 500 kV Transmission Reinforcement |  | 1125 |  | 2027: 187; 2028: 187; 2029: 187; 2030: 188; 2031: 188; 2032: 188
North Gila–Imperial Valley 500 kV line |  | 340 |  | 2029: 85; 2030: 85; 2031: 85; 2032: 85
Upgrade series capacitors on HW-NG and HA-NG to 2739 MVA |  | 27 |  | 2026: 9; 2027: 9; 2028: 9
Rearrange TL23013 PQ-OT and TL6959 PQ-Mira Sorrento |  | 21 |  | 2030: 7; 2031: 7; 2032: 7
Reconductor TL680C San Marcos-Melrose Tap |  | 28 |  | 2030: 9; 2031: 9; 2032: 10
3 ohm series reactor on Sycamore-Penasquitos 230 kV line |  | 8 |  | 2031: 4; 2032: 4
Upgrade TL13820 Sycamore-Chicarita 138 kV |  | 60 |  | 2030: 20; 2031: 20; 2032: 20
Lugo – Eldorado-Mohave series cap and terminal equipment upgrade | Yes | 235.4239 | 233.16 | 2024: 0.75465; 2025: 0.75465; 2026: 0.75465; 2027: 0
TRTP Environmental Restoration/ Remediation | Yes | 0 | 0 | 2024: 0; 2025: 0; 2026: 0; 2027: 0; 2028: 0; 2029: 0; 2030: 0; 2031: 0
Laguna Bell-Mesa No. 1 230 kV Line Rating Increase Project | No | 19.1242 | 19.1242 | 2024: 0; 2025: 0
GLW/VEA area upgrades |  | 278 |  | 2023: 51.5; 2024: 92.9; 2025: 133.6
TOTAL ($M) |  | 8007.8239 | 233.16 | 343.5 | 436.6547 | 356.3546 | 161.7546 | 1020 | 1018.4 | 976 | 1333.82 | 757.84 | 732.34 | 229 | 229 | 229 | 229 | 0
Non-RTPP Driven Projects - to be updated with total capital cost including AFUDC at year of capitalization (commissioning)
- For projects without CWIP-in-ratebase, total project cost in year of commissioning
- For projects with CWIP-in-ratebase, total project cost and capital expenditures in each year up to and including year of commissioning (no AFUDC)
Project Name | CWIP-in-Rate Base? | Total | Already reflected in rates ** | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037
Colorado River Substation Expansion | Yes | 24.85 | 24.85 | 2024: 0
Red Bluff 2nd 'AA' Bank | No | 23.9955 | 23.9955 | 2024: 0
Calcite | Yes | 44.0619 | 23.34 | 2024: 20.7219; 2025: 0
TOTAL ($M) |  | 92.9074 | 72.1855 | 0 | 20.7219 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FOR ALL CATEGORIES ($M) |  | 15110.5787 | 1625.3819 | 677.6411 | 1111.102 | 1084.8836 | 612.5957 | 1614.9364 | 1844.9079 | 1783.48 | 2100.9 | 1107.21 | 909.54 | 229 | 229 | 229 | 229 | 0
* Consists of above and below 200 kV components
** Based on Annualy Filed PTO TRR Data on ISO Website-CAISO January 01, 2020 TAC Rates (updated as of January 16, 2020)-SCE( Based on SCE's TO2021 Formula Annual Update, Effective 1/1/2021)
***Costs based on high range of the approved request window submissions.