## Details
|  | Operating Procedure Attachment |  |  | Procedure No. |  |  |  |  | 3140A
[5 empty] | Version No. |  |  |  |  | 6.5
[5 empty] | Effective Date |  |  |  |  | 2025-03-12
TOP-003 TOP - BA Data Request and Specifications for Data Provision |  |  |  |  | Distribution Restriction: None
|  |  |  | TOP-003 R1 | [7 empty] | Data Transfer Methods | [5 empty] | IRO-010 R3 and the CFR
Section | Category | Request Number | Responsible Party | Adjacent/ Shared Facility (TOP) | Dynamic Transfer | Neighbor Entity (BA) | Within CAISO BAA | Within CAISO TOP Area | N/A | Data Request Effective Date | Data Item | To CAISO and its PTOs from each other | To CAISO and its PTOs from entities within CAISO BA/ TOP area | To CAISO and its PTOs from entities within RC West area | To CAISO and its PTOs from entities within Adjacent RC area | Data Update Frequency | Notes | Responsible for Submission to RC | Supporting Entity & Task(s) | Last Revision Date
1 | Real-time Network Measurement Data | 1.1 | Transmission Operator | Yes |  |  |  | Yes |  | 2019-07-01 | Real-time status points for all BES equipment and other non-BES equipment that impact the BES | ICCP | ICCP | ICCP | ICCP | By exception |  | Single - PTO |  | 2019-07-01
1 | Real-time Network Measurement Data | 1.2 | Transmission Operator | Yes | Yes |  |  | Yes |  | 2019-07-01 | Real-time MW measurements, or ampere if MW not available, for all BES equipment and other non-BES equipment that impact the BES | ICCP | ICCP | ICCP | ICCP | 10 sec |  | Single - PTO |  | 2019-07-01
1 | Real-time Network Measurement Data | 1.3 | Transmission Operator | Yes | Yes |  |  | Yes |  | 2019-07-01 | Real-time Mvar measurements for all BES equipment and other non-BES equipment that impact the BES | ICCP | ICCP | ICCP | ICCP | 10 sec |  | Single - PTO |  | 2019-07-01
1 | Real-time Network Measurement Data | 1.4 | Transmission Operator | Yes |  |  |  | Yes |  | 2019-07-01 | Voltage measurements for all busses associated with BES equipment and other busses associated with non-BES equipment that impact the BES | ICCP | ICCP | ICCP | ICCP | 10 sec |  | Single - PTO |  | 2019-07-01
1 | Real-time Network Measurement Data | 1.5 | Transmission Operator | Yes | [5 empty] | 2019-07-01 | Designated WECC Transfer Path data 1) Actual MW 2) Scheduled MW, Total Transfer Capability (TTC) | ICCP | N/A | ICCP | ICCP | 10 sec |  | Single - CAISO | Data PTO provides for 1.1 and 1.2 supports this calculation | 2019-07-01
1 | Real-time Network Measurement Data | 1.6 | Transmission Operator | Yes |  |  |  | Yes |  | 2019-07-01 | LTC tap position measurements for LTCs with high side voltage > 100 kV | ICCP | ICCP | ICCP | ICCP | 10 sec |  | Single - PTO |  | 2019-07-01
1 | Real-time Network Measurement Data | 1.7 | Transmission Operator | Yes |  |  |  | Yes |  | 2019-07-01 | Phase shifter phase tap position | ICCP | ICCP | ICCP | ICCP | 10 sec |  | Single - PTO |  | 2019-07-01
1 | Real-time Network Measurement Data | 1.8 | Transmission Operator | Yes |  |  |  | Yes |  | 2019-07-01 | MW/Mvar measurements for measured loads. These loads may be equivalent representations of your distribution system. | ICCP | ICCP | ICCP | ICCP | 10 sec |  | Single - PTO |  | 2019-07-01
1 | Real-time Network Measurement Data | 1.9 | Transmission Operator | Yes |  |  |  | Yes |  | 2019-07-01 | RAS Arming Status for all schemes that have an impact to the BES. An armed RAS implies that it is 1) In service and 2) Ready to perform an action (trip a unit for example) if a specific condition occurs on the power system. | ICCP (preferred, if available) or phone notification to the Reliability Coordinator System Operator upon status change | ICCP (preferred, if available) or phone notification to the CAISO Transmission Dispatcher upon status change | ICCP (preferred, if available) or phone notification to the CAISO Transmission Dispatcher upon status if there is an impact to adjacent/ shared facilities | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West, and the RC will contact RC West if there is an impact to adjacent/ shared facilities | ICCP – 10 sec, or if ICCP unavailable then Phone Notification – as soon as practicable |  | Split - ICCP - PTO/ Phone - CAISO | If ICCP is unavailable, then PTO notifies the CAISO via phone, and the CAISO notifies the RC | 2019-07-01
1 | Real-time Network Measurement Data | 1.1 | Transmission Operator | Yes |  |  |  | Yes |  | 2019-07-01 | RAS in-service status for all schemes that have an impact to the BES | ICCP (preferred, if available) or phone notification to the Reliability Coordinator System Operator upon status change | ICCP (preferred, if available) or phone notification to the CAISO Transmission Dispatcher upon status change | ICCP (preferred, if available) or phone notification to the CAISO Transmission Dispatcher upon status if there is an impact to adjacent/ shared facilities | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West, and the RC will contact RC West if there is an impact to adjacent/ shared facilities | ICCP – 10 sec, or if ICCP unavailable then Phone Notification – as soon as practicable |  | ICCP - Single - PTO/ Phone - Single - CAISO | If ICCP is unavailable, then PTO notifies the CAISO via phone, and the CAISO notifies the RC | 2019-07-01
1 | Real-time Network Measurement Data | 1.11 | Transmission Operator | Yes |  |  |  | Yes |  | 2019-07-01 | RAS associated analog arming values (e.g. Amp, MW, Mvar). | ICCP (preferred, if available) or phone notification to the Reliability Coordinator System Operator upon status change | ICCP (preferred, if available) or phone notification to the CAISO Transmission Dispatcher upon status change | ICCP (preferred, if available) or phone notification to the CAISO Transmission Dispatcher upon status if there is an impact to adjacent/ shared facilities | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West, and the RC will contact RC West if there is an impact to adjacent/ shared facilities | ICCP – 10 sec, or if ICCP unavailable then Phone Notification – as soon as practicable |  | ICCP - Single - PTO/ Phone - Single - CAISO | If ICCP is unavailable, then PTO notifies the CAISO via phone, and the CAISO notifies the RC | 2019-07-01
1 | Real-time Network Measurement Data | 1.13 | Transmission Operator | Yes |  |  |  | Yes |  | 2025-07-01 | Dynamic line and transformer ratings that vary with real-time system or ambient conditions, as applicable to FERC 881 | ICCP | ICCP | ICCP | ICCP | At least hourly or on demand with temperature changes |  | Single - PTO |  | 2023-10-12
1 | Real-time Network Measurement Data | 1.14 | Transmission Operator | Yes |  |  |  | Yes |  | 2019-07-01 | Any TOP-provided stability limitation that the RC, in collaboration with the TOP, determines to require submission in Real-time. | ICCP | ICCP | ICCP | ICCP | 10 sec |  | Single - CAISO |  | 2019-07-01
1 | Real-time Network Measurement Data | 1.15 | Transmission Operator | Yes |  |  |  | Yes |  | 2020-01-01 | Real-time Voltage Magnitude and Angle, Current Magnitude and Angle, Frequency and Rate of Change of Frequency measurements and the C37.118 STAT word from existing PMU installations communicating to PDCs on the WISP network, for RC wide area stability and oscillation monitoring. | PMU | PMU | PMU | PMU | 30 samples per second |  | Single - PTO | IRO-002-7 D.A.7.2. | 2024-07-08
2 | Real-time Balancing Authority Data | 2.1 | Balancing Authority | [5 empty] | Yes | 2019-07-01 | Instantaneous BA Area Load | ICCP | N/A | N/A | N/A | 10 sec |  | Single - CAISO |  | 2019-07-01
2 | Real-time Balancing Authority Data | 2.2 | Balancing Authority | [5 empty] | Yes | 2019-07-01 | BA Net Actual Interchange (as used in ACE calculation) | ICCP | N/A | N/A | N/A | 10 sec |  | Single - CAISO |  | 2019-07-01
2 | Real-time Balancing Authority Data | 2.3 | Balancing Authority | [5 empty] | Yes | 2019-07-01 | BA Net Scheduled Interchange (as used in ACE calculation) | ICCP | N/A | N/A | N/A | 10 sec |  | Single - CAISO |  | 2019-07-01
2 | Real-time Balancing Authority Data | 2.4 | Balancing Authority |  |  | Yes |  |  |  | 2019-07-01 | BA Instantaneous ACE that is used for NERC reporting requirements | ICCP | N/A | ICCP | ICCP | 10 sec |  | Single - CAISO |  | 2019-07-01
2 | Real-time Balancing Authority Data | 2.5 | Balancing Authority | [5 empty] | Yes | 2019-07-01 | BAAL high and low limits instantaneous or if unable then one minute average values | ICCP | N/A | N/A | N/A | 10 sec for instantaneous or 1 min |  | Single - CAISO |  | 2019-07-01
2 | Real-time Balancing Authority Data | 2.6 | Balancing Authority |  |  |  | Yes |  |  | 2020-01-01 | System frequency at multiple locations within the BA as requested by the RC | PMU (preferred, if available) or ICCP | N/A | PMU (preferred, if available) or ICCP | PMU (preferred, if available) or ICCP | PMU - 30 samples per second or if via ICCP - 10 sec |  | Single - CAISO |  | 2019-07-01
2 | Real-time Balancing Authority Data | 2.7 | Balancing Authority | [5 empty] | Yes | 2019-07-01 | BA Scheduled frequency | ICCP | N/A | N/A | N/A | 10 sec |  | Single - CAISO |  | 2019-07-01
2 | Real-time Balancing Authority Data | 2.8 | Balancing Authority | [5 empty] | Yes | 2019-07-01 | BA Area (BAA) Contingency Reserve obligation (as defined in the NERC Glossary and WECC Regional Standards) or, if the BAA is part of a Reserve Sharing Group (RSG), the BAA's allocated obligation as defined by the RSG. 1) Total Required, 2) Total Actual Available, 3) Spinning Required, 4) Spinning Actual Available | ICCP | N/A | N/A | N/A | 10 sec |  | Single - CAISO |  | 2019-07-01
2 | Real-time Balancing Authority Data | 2.9 | Balancing Authority | [5 empty] | Yes | 2019-07-01 | BA Area Actual Generation Total | ICCP | N/A | N/A | N/A | 10 sec |  | Single - CAISO |  | 2019-07-01
2 | Real-time Balancing Authority Data | 2.1 | Balancing Authority | [5 empty] | Yes | 2019-07-01 | Actual Most Severe Single Contingency (MSSC) of your Balancing Authority. This value should not be a static PMax of the largest generator, rather the actual MW output. This is NOT a request for the RSG MSSC. | ICCP | N/A | N/A | N/A | 10 sec |  | Single - CAISO |  | 2019-07-01
2 | Real-time Balancing Authority Data | 2.11 | Balancing Authority or Generator Operator |  | Yes |  | Yes |  |  | 2019-07-01 | Real-time status points (UCON status point designating unit is or is not connected to the network) for units 10 MW or greater, or those units with automatic voltage control or black start capability | ICCP | Direct telemetry from a RIG/ real-time device | ICCP | ICCP | By exception |  | Single - CAISO |  | 2019-07-01
2 | Real-time Balancing Authority Data | 2.12 | Balancing Authority or Generator Operator |  | Yes |  | Yes |  |  | 2019-07-01 | All generators - real-time net MW output | ICCP | Direct telemetry from a RIG/ real-time device | ICCP | ICCP | 10 sec |  | Single - CAISO |  | 2024-04-01
2 | Real-time Balancing Authority Data | 2.13 | Balancing Authority or Generator Operator |  | Yes |  | Yes |  |  | 2019-07-01 | All generators - real-time net Mvar output | ICCP | Direct telemetry from a RIG/ real-time device | ICCP | ICCP | 10 sec |  | Single - CAISO |  | 2024-04-01
2 | Real-time Balancing Authority Data | 2.14 | Balancing Authority |  | Yes | Yes |  |  |  | 2019-07-01 | Dynamic Schedule real-time dynamic signal used in ACE calculation for each dynamic schedule. This is not the anticipated energy on the tag, rather a real-time calculation of MWs associated with the dynamic schedule. | ICCP | ICCP | ICCP | ICCP | 10 sec | Dynamic scheduling data submitted by host BA | Single - CAISO | Per TOP-003 Data Request, Dynamic scheduling data submitted by host BA | 2019-07-01
2 | Real-time Balancing Authority Data | 2.15 | Balancing Authority |  | Yes | Yes |  |  |  | 2019-07-01 | Pseudo tie real-time dynamic signal. This is a real-time calculation of MWs associated with each pseudo tie used in ACE calculation. Note: This is not an alternate method for inclusion in congestion management procedures. | ICCP | ICCP | ICCP | ICCP | 10 sec |  | Single - CAISO |  | 2024-04-01
2 | Real-time Balancing Authority Data | 2.16 | Balancing Authority | [5 empty] | Yes | 2019-07-01 | Balancing Authority total wind MW output. This is a single value - summation of all wind generation currently online. This value should represent wind generation at the BES level. | ICCP | N/A | N/A | N/A | 10 sec |  | Single - CAISO |  | 2019-07-01
2 | Real-time Balancing Authority Data | 2.17 | Balancing Authority | [5 empty] | Yes | 2019-07-01 | Balancing Authority total solar MW output. This is a single value - summation of all solar generation currently online. This value should represent solar generation at the BES level. | ICCP | N/A | N/A | N/A | 10 sec |  | Single - CAISO |  | 2019-07-01
2 | Real-time Balancing Authority Data | 2.18 | Balancing Authority | [5 empty] | Yes | 2019-07-01 | ATEC component of ACE | ICCP | N/A | N/A | N/A | 10 sec |  | Single - CAISO |  | 2019-07-01
2 | Real-time Balancing Authority Data | 2.19 | Balancing Authority | [5 empty] | Yes | 2019-07-01 | BA frequency bias if a dynamic bias is used | ICCP | N/A | N/A | N/A | 10 sec |  | Single - CAISO |  | 2019-07-01
2 | Real-time Balancing Authority Data | 2.2 | Balancing Authority | [5 empty] | Yes | 2019-07-01 | Meter error component of ACE | ICCP | N/A | N/A | N/A | 10 sec |  | Single - CAISO |  | 2019-07-01
2 | Real-time Balancing Authority Data | 2.21 | Balancing Authority or Generator Operator |  |  |  | Yes | Yes |  | 2019-07-01 | Actual change in status of BES generating unit Automatic Voltage Regulators (AVR), BES Power System Stabilizers (PSS) or BES alternative voltage controlling device lasting for 30 minutes or longer. | ICCP (Preferred if available) or phone notification to the Reliability Coordinator System Operator | Direct telemetry and/or GOP - Notifies Scheduling Coordinator and PTO Grid Control Center PTO – Notifies CAISO Trans Dispatcher Scheduling Coordinator – Notifies CAISO Gen Dispatcher and submits outage card to the CAISO | ICCP (preferred, if available) or phone notification to the CAISO Transmission Dispatcher upon status if there is an impact to adjacent/ shared facilities | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West, and the RC will contact RC West if there is an impact to adjacent/ shared facilities | As soon as practicable |  | Single - CAISO | GOP - Notifies Scheduling Coordinator and PTO Grid Control Center PTO – Notifies CAISO Trans Dispatcher Scheduling Coordinator – Notifies CAISO Gen Dispatcher and submits outage card to the CAISO | 2019-07-01
2 | Real-time Balancing Authority Data | 2.22 | Balancing Authority | [5 empty] | Yes | January 1,2021 | Balancing Authority total storage MW output. This is a single value - summation of all storage production and consumption online. This value should represent storage at the BES level. | ICCP | N/A | N/A | N/A | 10 sec |  | Single - CAISO |  | 2020-11-02
2 | Real-time Balancing Authority Data | 2.23 | Balancing Authority | [5 empty] | Yes | January 1,2021 | Balancing Authority total storage State of Charge. This is a single value - summation of the current MWh available within all storage. This value should represent storage at the BES level. | ICCP | N/A | N/A | N/A | 10 sec |  | Single - CAISO |  | 2020-11-02
2 | Real-time Balancing Authority Data | 2.24 | Balancing Authority | [5 empty] | Yes | 2024-01-01 | Balancing Authority gross storage charging MW. This is a single value - summation of all storage consumption online. This value should represent storage at the BES level. | ICCP | N/A | N/A | N/A | 10 sec |  | Single - CAISO |  | 2023-10-12
2 | Real-time Balancing Authority Data | 2.25 | Balancing Authority or Generator Operator |  | Yes |  | Yes |  |  | 2024-08-01 | All BES connected and BES impacting storage generators with SCADA - real-time State of Charge | ICCP | Direct telemetry from a RIG/ real-time device | ICCP | ICCP | 10 sec |  | Single - CAISO |  | 2024-04-01
2 | Real-time Balancing Authority Data | 2.26 | Balancing Authority or Generator Operator |  | Yes |  | Yes |  |  | 2024-08-01 | All BES connected and BES impacting hybrid generators with SCADA - real-time MW and State of Charge for each component of the hybrid resource, if applicable. | ICCP | Direct telemetry from a RIG/ real-time device | ICCP | ICCP | 10 sec |  | Single - CAISO |  | 2024-04-02
3 | Forecast Data | 3.2 | Balancing Authority | [5 empty] | Yes | 2019-07-01 | Hourly Total Contingency Reserve forecast of the BA Area (BAA) for the next calendar day, or, if the BAA is part of a Reserve Sharing Group (RSG), the BAA's forecast allocated obligation for the next calendar day as defined by the RSG. 1) Contingency Reserve Availability 2) Contingency Reserve Requirement | Market Results | N/A | N/A | N/A | Daily submission by 10AM Pacific Prevailing Time |  | Single - CAISO |  | 2019-07-01
3 | Forecast Data | 3.3 | Balancing Authority |  |  | Yes |  |  |  | 2019-07-01 | Hourly BAA load forecast. Required each day for the current day through the next four calendar days, not to exceed 7 days. | ALFS | N/A | Submit in accordance with the RC West IRO-010 request, and the RC will make available via Next Day Study report and CMRI | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | Daily submission by 9:45 AM Pacific Prevailing Time |  | Single - CAISO |  | 2019-07-01
3 | Forecast Data | 3.4 | Balancing Authority | [5 empty] | Yes | 2019-07-01 | Hourly BAA load forecast. Required each hour for the next 4 hours. | ALFS | N/A | N/A | N/A | If changed, hourly submission received 10 min prior to the hour |  | Single - CAISO |  | 2019-07-01
3 | Forecast Data | 3.5 | Balancing Authority | [5 empty] | Yes | 2019-07-01 | Hourly Resource Dispatch MW for all BAA generation that qualifies per the BES definition and any non-BES generation (As determined the RC) that are necessary to support the accuracy of Operational Planning Analyses and to determine SOL exceedance on BES Facilities. Required each day for the next four calendar days, not to exceed 7 days. | Market Results | N/A | N/A | N/A | Daily submission by 10AM Pacific Prevailing Time |  | Single - CAISO |  | 2019-07-01
3 | Forecast Data | 3.8 | Balancing Authority | [5 empty] | Yes | 2019-07-01 | Hourly Resource Dispatch MW for all BAA generation that qualifies per the BES definition and any non-BES generation (as determined by the BA and RC) that is necessary to support the accuracy of Operational Planning Analyses and to determine SOL exceedance on BES Facilities. Required each hour for the next four hours. | Market Results | N/A | N/A | N/A | If changed, hourly submission received 10 min prior to the hour |  | Single - CAISO |  | 2019-07-01
4 | Documentation and Procedures | 4.1 | Balancing Authority and Transmission Operator |  |  | Yes | Yes | Yes |  | 2019-07-01 | Emergency Operations Plans EOP-011-4, plus more specific Capacity, Energy, Transmission Emergency and Emergency Assistance procedures | 1) For RC review - upload to RC Portal > Plan Review Submissions library or email procedurecontrol@caiso.com 2) After RC review - upload to BA/TOP Procedures library and add sharing with and applicable PTO(s) | 1) For RC review - upload to RC Portal > Plan Review Submissions library or email procedurecontrol@caiso.com 2) After RC review - upload to BA/TOP Procedures library and add sharing with and applicable PTO(s) | 1) For RC review - upload to RC Portal > Plan Review Submissions library or email procedurecontrol@caiso.com 2) After RC review - upload to BA/TOP Procedures library and add sharing with and applicable PTO(s) | Email document to procctrldesk@caiso.com and submit in accordance with your RC's IRO-010 request | Anytime the plan is updated |  | Each - CAISO and PTO |  | 2024-04-01
4 | Documentation and Procedures | 4.2 | Transmission Operator | Yes |  |  | Yes | Yes |  | 2019-07-01 | Restoration Plans EOP-005-3, especially as related to Adjacent or Shared Facilities | 1) For RC review - upload to RC Portal > Plan Review Submissions library or email procedurecontrol@caiso.com 2) After RC review - upload to BA/TOP Procedures library and add sharing with and applicable PTO(s) | 1) For RC review - upload to RC Portal > Plan Review Submissions library or email procedurecontrol@caiso.com 2) After RC review - upload to BA/TOP Procedures library and add sharing with and applicable PTO(s) | 1) For RC review - upload to RC Portal > Plan Review Submissions library or email procedurecontrol@caiso.com 2) After RC review - upload to BA/TOP Procedures library and add sharing with and applicable PTO(s) | Email document to procctrldesk@caiso.com and submit in accordance with your RC's IRO-010 request | Annually and/or anytime the plan is updated |  | Single - CAISO | PTO submits to RC Portal > Plan Review Submissions library for CAISO TOP review prior to submission to RC West for review | 2024-04-01
4 | Documentation and Procedures | 4.3 | Transmission Operator and designated Distribution Providers | Yes |  |  | Yes | Yes |  | 2019-07-01 | Under voltage and under frequency load shed Plans PRC-006-WECC-CRT-3.1 related plus any specifically related to Adjacent or Shared Facilities | Upload to RC Portal > BA/ TOP Procedures library | Upload to RC Portal > BA/ TOP Procedures library and add sharing with and applicable PTO(s) | Upload to RC Portal > BA/ TOP Procedures library and add sharing with and applicable PTO(s) | Email document to procctrldesk@caiso.com and submit in accordance with your RC's IRO-010 request | Anytime the plan is updated |  | Each - CAISO and PTO |  | 2019-07-01
4 | Documentation and Procedures | 4.4 | Transmission Operator | Yes |  |  | Yes | Yes |  | 2019-07-01 | Path procedures (for WECC Paths that impact SOL/IROL, neighboring RCs), especially as related to Adjacent or Shared Facilities | Upload to RC Portal > BA/ TOP Procedures library | Upload to RC Portal > BA/ TOP Procedures library and add sharing with and applicable PTO(s) | Upload to RC Portal > BA/ TOP Procedures library and add sharing with and applicable PTO(s) | Email document to procctrldesk@caiso.com and submit in accordance with your RC's IRO-010 request | Anytime the plan is updated |  | Single - CAISO |  | 2019-07-01
4 | Documentation and Procedures | 4.5 | Transmission Operator | Yes |  |  | Yes | Yes |  | 2019-07-01 | Geomagnetic Disturbance Operating Procedures EOP-010-1, especially as related to Adjacent or Shared Facilities | 1) For RC review - upload to RC Portal > Plan Review Submissions library or email procedurecontrol@caiso.com 2) After RC review - upload to BA/TOP Procedures library | 1) For RC review - upload to RC Portal > Plan Review Submissions library or email procedurecontrol@caiso.com 2) After RC review - upload to BA/TOP Procedures library and add sharing with and applicable PTO(s) | 1) For RC review - upload to RC Portal > Plan Review Submissions library or email procedurecontrol@caiso.com 2) After RC review - upload to BA/TOP Procedures library and add sharing with and applicable PTO(s) | Email document to procctrldesk@caiso.com and submit in accordance with your RC's IRO-010 request | Anytime the plan is updated |  | Each - CAISO and PTO |  | 2024-04-01
4 | Documentation and Procedures | 4.6 | Balancing Authority and Transmission Operator | Yes |  | Yes | Yes | Yes |  | 2019-07-01 | Area specific Operating Plans, Procedures or Processes for mitigating SOLs, IROLs or other stability limitations | Upload to RC Portal > BA/ TOP Procedures library | Upload to RC Portal > BA/ TOP Procedures library and add sharing with and applicable PTO(s) | Upload to RC Portal > BA/ TOP Procedures library and add sharing with and applicable PTO(s) | Email document to procctrldesk@caiso.com and submit in accordance with your RC's IRO-010 request | Anytime the plan is updated |  | Each - CAISO and PTO |  | 2019-07-01
4 | Documentation and Procedures | 4.7 | Balancing Authority and Transmission Operator |  |  | Yes | Yes | Yes |  | 2019-07-01 | Loss of Control Center Functionality procedures, which may include protocols for evacuation, back up communications and back up control center. Note: These documents should not include CIP sensitive materials. | Upload to RC Portal > BA/ TOP Procedures library | Upload to RC Portal > BA/ TOP Procedures library and add sharing with and applicable PTO(s) | Upload to RC Portal > BA/ TOP Procedures library and add sharing with and applicable PTO(s) | Email document to procctrldesk@caiso.com and submit in accordance with your RC's IRO-010 request | Anytime the plan is updated |  | Each - CAISO and PTO |  | 2020-01-01
4 | Documentation and Procedures | 4.8 | Balancing Authority and Transmission Operator | Yes |  | Yes | Yes | Yes |  | 2019-07-01 | Other Plans, Procedures, Protocols or Process documents as requested by CAISO or its PTOs, including fire/weather mitigation and/or regulatory limitations that could cause inability to follow Operating Instructions. | Upload to RC Portal > BA/ TOP Procedures library | Upload to RC Portal > BA/ TOP Procedures library and add sharing with and applicable PTO(s) | Upload to RC Portal > BA/ TOP Procedures library and add sharing with and applicable PTO(s) | Email document to procctrldesk@caiso.com and submit in accordance with your RC's IRO-010 request | Anytime the plan is updated |  | Each - CAISO and PTO |  | 2019-07-01
4 | Documentation and Procedures | 4.9 | Generator Operator |  |  |  |  | Yes |  | 2019-07-01 | Related to VAR-501-WECC-4 R1 - Each Generator Owner shall provide to the CAISO and the interconnected PTO (its Transmission Operator), the Generator Owner’s written Operating Procedure or other document(s) describing those known circumstances during which the Generator Owner’s PSS will not be providing an active signal to the Automatic Voltage Regulator (AVR). | As applicable 1. Upload to RC Portal > SOL Methodology 2. Or if included in procedures, then upload to BA/TOP Procedure library or email procedurecontrol@caiso.com | Email to CAISO and applicable PTO (see notes) | N/A | N/A | Within 180 days of any of the following events: The effective date of this standard; The PSS’s Commercial Operation date; or Any changes to the PSS operating specifications. | Email to the CAISO at procedurecontrol@caiso.com; email to applicable PTOs: PGAE - TSODocumentsandProcedures@pge.com SCE - gridopsdocs@sce.com SDG&E - GCCProcedureCtrl@semprautilities.com TBC VEA LST GRID LSPGC | Single - PTO |  | 2020-01-01
4 | Documentation and Procedures | 4.1 | Transmission Operator |  |  |  |  | Yes |  | 2019-07-01 | System voltage limits and stability limitations. These documents include: Voltage Limit Tables, Transient Stability Limit Tables, Credible Multiple Contingency Lists, and Regionally Critical Multiple Contingencies.​​​​​​ | 1) Upload to RIMS 2) Share with TOPs via RC Portal > SOL Methodology library | As applicable 1) Upload to RIMS 2) Upload to RC Portal > SOL Methodology | 1) Upload to RIMS 2) Share with TOPs via RC Portal > SOL Methodology library | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | Consistent with SOL Methodology |  | Single - CAISO |  | 2023-04-01
4 | Documentation and Procedures | 4.11 | Transmission Operator and Transmission Owner | Yes |  | Yes | Yes | Yes |  | 2019-07-01 | List of BES exceptions, which should include the list of facilities that are “Not in the normal bright line 100kV” in accordance with NERC’s BES definition and guidelines. The list should include all facilities < 100 kV that are considered BES as well as the list of all facilities > 100 kV that are considered NOT BES. | 1) Upload to RIMS 2) Share with TOPs via RC Portal > TOP-003 Reference Data library | 1) Upload to RIMS 2) Share with TOPs via RC Portal > TOP-003 Reference Data library | 1) Upload to RIMS 2) Share with TOPs via RC Portal > TOP-003 Reference Data library | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | One initial list; updates as necessary to reflect any changes to the list |  | Single - PTO | PTO Transmission Planners coordinate with CAISO Planning Coordinator | 2024-04-01
5 | Scheduled and Unscheduled Outage Information | 5.1 | Balancing Authority, Generator Operator and Transmission Operator | Yes | Yes | Yes | Yes | Yes |  | 2019-07-01 | For Outages identified prior to Real-time/ Same-day study window - forced generation and transmission outages, 30 minutes or more in duration, on Facilities/equipment identified in the In-Scope Outage Categories section of the CAISO Outage Coordination Process in CAISO Operating Procedures 3210 and 3220 | webOMS, even if submitted after the fact (via user interface or API) | Submit to webOMS as identified in accordance with CAISO Operating Procedures 3210 Transmission Outages and 3220 Generation Outages | webOMS, even if submitted after the fact (via user interface or API) | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | As soon as practicable |  | Single - CAISO | PTO – Notifies CAISO Trans Dispatcher and submits outage card to the CAISO GOP - Notifies Scheduling Coordinator Scheduling Coordinator - Notifies CAISO Gen Dispatcher and submits outage card to the CAISO | 2024-04-01
5 | Scheduled and Unscheduled Outage Information | 5.2 | Balancing Authority or Generator Operator |  | Yes |  | Yes |  |  | 2019-07-01 | For Outages identified prior to Real-time/ Same-day study window - any planned individual generating unit, or based on plant configuration, derate of > 50 MW reduction of available capacity (30 minutes or more in duration) shall be submitted per the instructions of the webOMS Manual and per the Short-Range Study Window Process Outage Submission Timeline | webOMS via user interface or API | Submit to webOMS as identified in accordance with CAISO Operating Procedure 3220 Generation Outages | webOMS via user interface or API | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | In accordance with CAISO Operating Procedure 3220 Generation Outages; Short-Range Submittal Timeline specified in the CAISO Outage Coordination Process |  | Single - CAISO | GOP - Notifies Scheduling Coordinator Scheduling Coordinator – submits outage card to the CAISO | 2019-07-01
5 | Scheduled and Unscheduled Outage Information | 5.3 | Balancing Authority or Generator Operator |  | Yes |  | Yes |  |  | 2019-07-01 | For Outages identified prior to Real-time/ Same-day study window - any generating unit, or based on plant configuration, derate of > 50 MW reduction of available capacity (other than planned derates, and 30 minutes or more in duration), shall be submitted per the instructions of the webOMS Manual | webOMS via user interface or API | Submit to webOMS as identified in accordance with CAISO Operating Procedure 3220 Generation Outages | webOMS via user interface or API | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | As soon as practicable and in accordance with CAISO Operating Procedure 3220 Generation Outages |  | Single - CAISO | GOP - Notifies Scheduling Coordinator Scheduling Coordinator - Notifies CAISO Gen Dispatcher and submits outage card to the CAISO | 2019-07-01
5 | Scheduled and Unscheduled Outage Information | 5.4 | Balancing Authority or Generator Operator |  | Yes |  | Yes |  |  | 2019-07-01 | For Outages identified prior to Real-time/ Same-day study window - any Forced generating unit, or based on plant configuration, derate of > 50 MW reduction of available capacity (30 minutes or more in duration) | webOMS, even if submitted after the fact (via user interface or API) | Submit to webOMS as identified in accordance with CAISO Operating Procedure 3220 Generation Outages | webOMS, even if submitted after the fact (via user interface or API) | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | As soon as practicable and in accordance with CAISO Operating Procedure 3220 Generation Outages |  | Single - CAISO | GOP - Notifies Scheduling Coordinator Scheduling Coordinator - Notifies CAISO Gen Dispatcher and submits outage card to the CAISO | 2019-07-01
5 | Scheduled and Unscheduled Outage Information | 5.5 | Balancing Authority, Generator Operator and Transmission Operator |  | Yes |  | Yes |  |  | 2019-07-01 | For Outages identified prior to Real-time/ Same-day study window - any planned Automatic Voltage Regulator (AVR) or Power System Stabilizer (PSS) outage (30 minutes or more in duration) on a BES facility | webOMS via user interface or API | Submit to webOMS as identified in accordance with CAISO Operating Procedure 3220 Generation Outages | webOMS via user interface or API | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | As soon as practicable and in accordance with CAISO Operating Procedure 3220 Generation Outages; Short-Range Submittal Timeline specified in the CAISO Outage Coordination Process |  | Single - CAISO | GOP - Notifies Scheduling Coordinator and PTO Grid Control Center Scheduling Coordinator – Notifies CAISO Gen Dispatcher and submits outage card to the CAISO | 2019-07-01
5 | Scheduled and Unscheduled Outage Information | 5.6 | Balancing Authority, Generator Operator and Transmission Operator |  | Yes |  | Yes |  |  | 2019-07-01 | For Outages identified prior to Real-time/ Same-day study window - any Automatic Voltage Regulator (AVR) or Power System Stabilizer (PSS) outage (other than planned outages, and 30 minutes or more in duration) on a BES facility | webOMS via user interface or API | GOP - Notifies Scheduling Coordinator and PTO Grid Control Center PTO – Notifies CAISO Trans Dispatcher Scheduling Coordinator – Notifies CAISO Gen Dispatcher and submits outage card to the CAISO | webOMS via user interface or API | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | As soon as practicable and in accordance with CAISO Operating Procedure 3210 Transmission Outages and 3220 Generation Outages |  | Single - CAISO | GOP - Notifies Scheduling Coordinator and PTO Grid Control Center PTO – Notifies CAISO Trans Dispatcher Scheduling Coordinator – Notifies CAISO Gen Dispatcher and submits outage card to the CAISO | 2019-07-01
5 | Scheduled and Unscheduled Outage Information | 5.7 | Transmission Operator | Yes | [5 empty] | 2019-07-01 | For Outages identified prior to Real-time/ Same-day study window - Total Transfer Capability (TTC) values for WECC Paths that impact SOL, IROLs, neighboring RCs adjusted to account for planned outages or operating conditions. See path listing in RC0120 - Guidelines for IRO-010 RC Data Specification and Collection. | webOMS via user interface or API | Submit to webOMS as identified in accordance with CAISO Operating Procedures 3210 Transmission Outages | PLC via user interface | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | In accordance with the Short-Range Submittal Timeline specified in the RC West Outage Coordination Process |  | Single - CAISO |  | 2020-01-01
5 | Scheduled and Unscheduled Outage Information | 5.8 | Transmission Operator | Yes | [5 empty] | 2019-07-01 | For Outages identified prior to Real-time/ Same-day study window - Total Transfer Capability (TTC) values for WECC Paths that impact SOL, IROLs, neighboring RCs adjusted to account for unplanned outages or operating conditions. See path listing in RC0120 - Guidelines for IRO-010 RC Data Specification and Collection. | webOMS via user interface or API | Submit to webOMS as identified in accordance with CAISO Operating Procedures 3210 Transmission Outages | PLC via user interface | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | As soon as practicable |  | Single - CAISO |  | 2020-01-01
5 | Scheduled and Unscheduled Outage Information | 5.9 | Transmission Operator | Yes | [5 empty] | 2019-07-01 | For Outages identified prior to Real-time/ Same-day study window - Total Transfer Capability (TTC) adjustments for WECC Paths that impact SOL/IROL, neighboring RCs due to a Forced outage. See path listing in RC0120 - Guidelines for IRO-010 RC Data Specification and Collection. | webOMS, even if submitted after the fact (via user interface or API) | Submit to webOMS as identified in accordance with CAISO Operating Procedures 3210 Transmission Outages | PLC via user interface | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | As soon as practicable |  | Single - CAISO |  | 2020-01-01
5 | Scheduled and Unscheduled Outage Information | 5.1 | Balancing Authority and Transmission Operator | Yes | Yes | Yes | Yes | Yes |  | 2019-07-01 | For Outages identified prior to Real-time/ Same-day study window - planned outages of telemetering and control equipment of 30 minutes or more in duration, with potential impacts to SE results, SOLs, IROLs, RAS visibility, or could lead to loss of visibility for an area, or communication channels impacting system protection that may result in EMS alarms | webOMS via user interface or API | Submit to webOMS as identified in accordance with CAISO Operating Procedures 3210 Transmission Outages | webOMS via user interface or API | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | As soon as practicable AND WT, WB - in accordance with CAISO Operating Procedure 3210 Transmission Outages and 3220 Generation Outages |  | Single - CAISO | PTO –Submits outage card to the CAISO GOP - Notifies Scheduling Coordinator Scheduling Coordinator - Submits outage card to the CAISO | 2020-01-01
5 | Scheduled and Unscheduled Outage Information | 5.11 | Balancing Authority and Transmission Operator | Yes | Yes | Yes | Yes | Yes |  | 2019-07-01 | For Outages identified prior to Real-time/ Same-day study window - unplanned telemetering and control equipment outages of 30 minutes or more in duration, with potential impacts to SE results, SOLs, IROLs, RAS visibility, or could lead to loss of visibility for an area, or communication channels impacting system protection that may result in EMS alarms. | webOMS (via user interface or API); include Grid Messaging System (GMS) if impacts adjacent entities | Submit to webOMS as identified in accordance with CAISO Operating Procedures 3210 Transmission Outages | webOMS (via user interface or API); include Grid Messaging System (GMS) if impacts adjacent entities | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | As soon as practicable AND WT, WB - in accordance with CAISO Operating Procedure 3210 Transmission Outages and 3220 Generation Outages |  | Single - CAISO | PTO – Notifies CAISO Trans Dispatcher and submits outage card to the CAISO GOP - Notifies Scheduling Coordinator Scheduling Coordinator - Notifies CAISO Gen Dispatcher and submits outage card to the CAISO | 2019-07-01
5 | Scheduled and Unscheduled Outage Information | 5.13 | Transmission Operator | Yes | [5 empty] | 2019-07-01 | Operational Planning Analysis and Operating Plan(s) for next-day operations | Upload to RC Portal > Entity Studies library Operating Plan(s) to webOMS outage cards as applicable | N/A | Upload to RC Portal > Entity Studies library | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | When Operational Planning Analysis is completed and when Operating Plans have been identified |  | Single - CAISO |  | 2020-01-01
5 | Scheduled and Unscheduled Outage Information | 5.15 | Balancing Authority | [5 empty] | Yes | 2019-07-01 | Deliverability capability constraints for capacity and energy reserve requirements shall be communicated to the RC | Upload to RC Portal > Entity Studies library | N/A | N/A | N/A | When next-day studies identify constraints |  | Single - CAISO |  | 2019-07-01
5 | Scheduled and Unscheduled Outage Information | 5.16 | Transmission Operator | Yes | Yes |  | Yes | Yes |  | 2019-07-01 | For Outages identified prior to OPA and Real-time timeframes - any planned Transmission outages on Facilities/equipment identified in the In-Scope Outage Categories section of the CAISO Outage Coordination Process in CAISO Operating Procedures 3210 and 3220 | webOMS via user interface or API | Submit to webOMS as identified in accordance with CAISO Operating Procedures 3210 Transmission Outages | webOMS via user interface or API | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | As soon as practicable |  | Single - CAISO | PTO also provides to CAISO | 2024-04-01
6 | Power System Modeling Information | 6.1 | Transmission Owner | Yes |  |  | Yes | Yes |  | 2020-01-01 | Network topology changes (additions, changes, removals) for generation, transmission, and load equipment and facilities plus ICCP SCADA mapping | CIM file or equivalent file(s) with sufficient model details uploaded to MPP > RIMS; if modeling method may impact SE solution (i.e. double modeling), submit required switch positions via WebOMS until facility is placed into service | 1) Upload to RIMS, or 2) submit through TOP, or 3) email to MPAI@caiso.com | 1) CIM file or equivalent file with sufficient model details uploaded to RIMS; if modeling method may impact SE solution (i.e. double modeling), submit required switch positions via WebOMS until facility is placed into service, or 2) submit through TOP, or 3) email to MPAI@caiso.com | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | In accordance with Full Network Model Schedule posted on caiso.com > Market Operations > Network and Resource Modeling |  | Single - PTO |  | 2020-11-02
6 | Power System Modeling Information | 6.8.1 | Generator Owner |  | Yes |  | Yes |  |  | 2019-07-01 | Generators: connectivity, gross and net MW maximum and reactive capability curves (at least three positive Mvar points, and three negative Mvar points), which extend from the minimum MW output to maximum MW output of the unit. For CIM entities, the maximum and minimum MW must reflect the maxOperatingP and minOperatingP defined on the thermal generating unit. The minQ and maxQ on the synchronous machine must reflect the maximum and minimum Mvar data in the curve. If no curve available, estimate of the reactive capability curve based on engineering judgement is acceptable. List of units normally on AVR- a list shall include voltage set point(s) with High and Low range representing voltage regulation criteria. | CIM file or equivalent file with sufficient model details uploaded to MPP > RIMS | Submit according New Resource Implementation process and requirements | 1) CIM file or equivalent file with sufficient model details uploaded to RIMS, or 2) submit through BA, or 3) email to NRI@caiso.com | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | In accordance with Full Network Model Schedule posted on caiso.com > Market Operations > Network and Resource Modeling; 10 business days for existing resources |  | Single - CAISO | GO or their designee provides to CAISO via Master File Resource Data Template submissions for new resources; via CIDI for existing resources | 2024-07-08
6 | Power System Modeling Information | 6.8.2 | Generator Owner |  | Yes |  | Yes |  |  | 2023-12-01 | Generating unit(s) minimum: 1. Design temperature; or 2. Historical operating temperature; or 3. Current cold weather performance temperature determined by an engineering analysis. Extreme Cold Weather Temperature (ECWT), if known. All temperatures will be communicated in degrees Fahrenheit (F). If Generator Cold Weather Critical Component freeze protection measures will be implemented prior to upcoming winter season. Net Winter Capacity (MW), of the plant, at or below ECWT, or for which Cold Weather Critical Components have been identified, including potentially due to a CAP or Generator Cold Weather Reliability Event. | CIDI ticket | CIDI ticket | 1) CIM file or equivalent file with sufficient model details uploaded to RIMS, or 2) submit through BA, or 3) email to RDT@caiso.com | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | Before approval of commercial operation for new resources; 10 business days for existing resources. |  | Single - CAISO | GO or their designee provides to CAISO via CIDI | 2024-07-08
6 | Power System Modeling Information | 6.10.1 | Transmission Owner | Yes |  | Yes |  | Yes |  | 2020-01-01 | Seasonal Facility Ratings and overload relay trip settings (including time-delay) on those Facilities (transformers and transmission lines) that are part of Bulk Electric System and their overload trip settings are below 125% of the highest Facility rating | Maintain in Transmission Registry | CIM file or equivalent file with sufficient model details, plus RC Data Gathering Template for additional ratings - uploaded to RIMS; if between model builds then submit via equipment rating change in webOMS | 1) CIM file or equivalent file with sufficient model details, plus RC Data Gathering Template for additional ratings - uploaded to RIMS; if between model builds then submit via equipment rating change in webOMS, or 2) submit through TOP, or 3) email to MPAI@caiso.com | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | In accordance with Full Network Model Schedule posted on caiso.com > Market Operations > Network and Resource Modeling; if between model builds then same day via webOMS | Note: It is advantageous for TOs to provide the highest available short- term Facility Rating for monitoring in contingency analysis. Any post-contingency facility rating exceedance beyond the highest available Facility Rating is considered an SOL exceedance. In addition to providing the Facility Ratings, TOs must provide the time duration that the facility can be operated within the long -term and short- term ratings | Single - PTO | PTO updates in Transmission Registry | 2023-10-12
6 | Power System Modeling Information | 6.10.2 | Transmission Owner | Yes |  | Yes |  | Yes |  | 2025-07-01 | Dynamic Facility Ratings on those Facilities (transformers and transmission lines) that are part of Bulk Electric System, as applicable to FERC 881 | Upload to MPP > RIMS | 1) Upload to RIMS, or 2) submit through BA/TOP, or 3) email to MPAI@caiso.com | FERC 881 Dynamic MVA ICCP Template uploaded to RIMS | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | In accordance with Full Network Model Schedule posted on caiso.com > Market Operations > Network and Resource Modeling |  | Single - PTO | PTO updates in Transmission Registry | 2023-10-12
6 | Power System Modeling Information | 6.11 | Transmission Owner | Yes |  | Yes | Yes | Yes |  | 2019-07-01 | Spreadsheet of all transmission and generation ICCP object ID data available for the entities Area. Also include SCADA definition relating to each object ID. | RC Portal > TOP-003 Reference library | 1) Upload to RC Portal > TOP-003 Reference library or 2) email procedurecontrol@caiso.com and applicable PTOs | 1) Upload to RC Portal > TOP-003 library, or 2) submit through TOP, or 3) email to MPAI@caiso.com | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | Periodic update of ICCP points available (monthly updates when the point list has changed) |  | Split - 1. PTO - Transmission ICCP object IDs 2. CAISO - Generation ICCP object IDs |  | 2020-09-15
6 | Power System Modeling Information | 6.12 | Transmission Owner | Yes |  |  |  | Yes |  | 2019-07-01 | As-built diagrams. Dated BES station single line drawings and RC requested Non-BES station single line drawings. | RC Portal > TOP-003 Reference library | 1) Upload to RC Portal > TOP-003 Reference library or 2) email procedurecontrol@caiso.com and applicable PTOs | 1) Upload to RC Portal > TOP-003 library, or 2) submit through TOP, or 3) email to MPAI@caiso.com | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | Initial provision and then whenever changes occur | Email questions to SystemOperatingDia@caiso.com AF, SF - Upon request WT - Initial provision and then whenever changes occur | Single - PTO |  | 2020-09-15
6 | Power System Modeling Information | 6.13 | Generator Owner and Transmission Owner |  |  |  | Yes | Yes |  | 2019-07-01 | Longitude and latitude for each substation with voltage levels > 100 kV or with total plant generation >= 50 MW | Upload to MPP > RIMS | Transmission: 1) Upload to RIMS, or 2) submit through BA/TOP, or 3) email to MPAI@caiso.com Generation: Submit through New Resource Implementation process | Transmission: 1) Upload to RIMS, or 2) submit through TOP, or 3) email to MPAI@caiso.com Generation: 1) Upload to RIMS, or 2) submit through BA, or 3) email to NRI@caiso.com | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | In accordance with Full Network Model Schedule posted on caiso.com > Market Operations > Network and Resource Modeling |  | Single - PTO |  | 2024-04-01
6 | Power System Modeling Information | 6.14 | Transmission Owner |  |  |  |  | Yes |  | 2019-07-01 | Line routing for all lines 100 kV and above | Upload to MPP > RIMS | 1) Shapefile or RC Data Gathering Template uploaded to RIMS, or 2) submit through TOP, or 3) email to MPAI@caiso.com | 1) Shapefile or RC Data Gathering Template uploaded to RIMS, or 2) submit through TOP, or 3) email to MPAI@caiso.com | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | In accordance with Full Network Model Schedule posted on caiso.com > Market Operations > Network and Resource Modeling |  | Single - PTO |  | 2020-09-15
6 | Power System Modeling Information | 6.15 | Transmission Owner |  |  |  |  | Yes |  | 2019-07-01 | List of shunt devices normally on AVR. These shunts are those that can automatically connect/disconnect at a specified voltage set point without operator intervention. The list shall include the voltage set point(s) and any time delays prior to automatic switching. | Upload to MPP > RIMS | 1) Upload to RC Portal > TOP-003 library, or 2) submit through TOP, or 3) email to MPAI@caiso.com | 1) Upload to RC Portal > TOP-003 library, or 2) submit through TOP, or 3) email to MPAI@caiso.com | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | In accordance with Full Network Model Schedule posted on caiso.com > Market Operations > Network and Resource Modeling |  | Single - PTO |  | 2020-09-15
6 | Power System Modeling Information | 6.16 | Balancing Authority | [5 empty] | Yes | 2021-04-01 | List of all pseudo ties and jointly owned units by the owner BA. List of all Dynamic Schedules by the owner BA as requested by the RC. | Upload to MPP > RIMS | N/A | Upload to RIMS | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | In accordance with Full Network Model Schedule posted on caiso.com > Market Operations > Network and Resource Modeling |  | Single - CAISO |  | 2024-04-01
6 | Power System Modeling Information | 6.17 | Transmission Owner |  |  |  |  | Yes |  | 2019-07-01 | List of all normally open circuit breakers, disconnects and switches that control the connectivity of transmission branch elements and Facilities; list shall include unique status for all applicable seasons. The list is applicable to BES Facilities/elements and non-BES Facilities/elements that impact the BES, and non-BES Facilities/elements specifically requested by the RC. Examples of applicable switching devices include those associated with: * Transmission lines * Transformers * Series Compensation * Station bus switches including auxiliary buses and bus tie switches Examples of non-applicable devices include: Shunt devices | Upload to MPP > RIMS | 1) Upload to RIMS, or 2) submit through TOP, or 3) email to MPAI@caiso.com | 1) Upload to RIMS, or 2) submit through TOP, or 3) email to MPAI@caiso.com | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | In accordance with Full Network Model Schedule posted on caiso.com > Market Operations > Network and Resource Modeling |  | Single - PTO |  | 2020-09-15
6 | Power System Modeling Information | 6.18 | Transmission Owner |  |  |  |  | Yes |  | 2019-07-01 | RAS scheme information for all schemes or at the discretion of the RC. This requires logic diagrams and documentation on the function of each RAS. | Upload to RC Portal > BA/TOP Procedures library | 1) RC Portal > BA/TOP Procedures library and share with applicable PTO(s); or 2) email procedurecontrol@caiso.com and applicable PTOs | 1) RC Portal > BA/TOP Procedures library and share with applicable PTO(s) or 2) submit through TOP | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | 60 days prior to or at the discretion of the RC |  | Single - PTO |  | 2020-09-15
6 | Power System Modeling Information | 6.19 | Transmission Owner |  |  |  |  | Yes |  | 2019-07-01 | Description and modeling information for all non-RAS automatic post-contingency actions based on certain parameters such as under voltage or overloaded facilities. This may include, but is not limited to, certain generator run-back schemes or under voltage facility tripping schemes. | Upload to RC Portal > BA/TOP Procedures library | 1) RC Portal > BA/TOP Procedures library and share with applicable PTO(s); or 2) email procedurecontrol@caiso.com and applicable PTOs | 1) RC Portal > BA/TOP Procedures library and share with applicable PTO(s) or 2) submit through TOP | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | 60 days prior to document effective date |  | Single - PTO |  | 2020-09-15
6 | Power System Modeling Information | 6.23 | Transmission Owner | [5 empty] | Yes | 2019-07-01 | Equipment Long Name to RDFID mapping | Upload to MPP > RIMS | N/A | 1) Upload to RIMS, or 2) submit through TOP, or 3) email to MPAI@caiso.com | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | In accordance with Full Network Model Schedule posted on caiso.com > Market Operations > Network and Resource Modeling |  | Single - CAISO | Based on modeling data PTO provides, CAISO maintains the mapping in the model | 2020-01-01
6 | Power System Modeling Information | 6.24 | Transmission Operator or Balancing Authority | Yes |  |  |  | Yes |  | 2020-01-01 | Contingency definition additions, modifications, and deletions | Upload to MPP > RIMS | Upload to RIMS | Upload to RIMS | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | In accordance with Full Network Model Schedule posted on caiso.com > Market Operations > Network and Resource Modeling; 10 business days for existing resources | RIMS User Guide, Modeling Submission Checklist | Single - CAISO |  | 2020-01-01
6 | Power System Modeling Information | 6.25 | Transmission Operator or Balancing Authority | [5 empty] | Yes | 2020-09-11 | Dynamic Model for Transient Stability Analysis in the same GE PSLF format that is being submitted to WECC base case development. Additionally, include mapping between the EMS model and the GE PSLF dynamic model. | Upload to MPP > RIMS | N/A | Upload to RIMS | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | In accordance with Full Network Model Schedule posted on caiso.com > Market Operations > Network and Resource Modeling |  | Single - CAISO | Based on modeling data PTO provides, CAISO maintains the mapping in the model | 2020-06-26
6 | Power System Modeling Information | 6.26 | Transmission Operator or Balancing Authority |  |  |  |  | Yes |  | 2020-09-11 | EMS screenshot of the RAS display used by TOP or BA System Operators showing the RAS points, if available | Upload to MPP >RIMS via RAS Manual | Upload to MPP >RIMS via RAS Manual | Upload to RIMS | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | In accordance with Full Network Model Schedule posted on caiso.com > Market Operations > Network and Resource Modeling |  | Single - PTO |  | 2020-06-26
6 | Power System Modeling Information | 6.27 | Transmission Owner, Generator Owner, Distribution Provider, Transmission Operator or Balancing Authority | Yes |  |  |  | Yes |  | 2021-01-01 | RAS information outlined in RC0690 | See RC0690 | See RC0690 | See RC0690 | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West | See RC0690 |  | Single - PTO |  | 2020-09-15
7 | Other Operational Information | 7.6 | Balancing Authority and Transmission Operator | [5 empty] | Yes | 2019-07-01 | See RC Operating Procedure RC0130 Notification Requirements for Real-time Events for full list of requirements. This procedure addresses real-time transmission and balancing area events and outages identified in the OPA or Real-time timeframes that require immediate notification to the RC operator by phone, the Grid Messaging System (GMS) and/or CAISO Outage Management System (OMS). | See RC0130 | See RC0130 | See RC0130 | See RC0130 | See RC0130 |  | Single - CAISO | As applicable, GOP - Notifies Scheduling Coordinator, Scheduling Coordinator – Notifies CAISO Gen Dispatcher PTO – Notifies CAISO Trans Dispatcher | 2019-07-01
7 | Other Operational Information | 7.7 | Balancing Authority, Generator Operator and Transmission Operator | Yes | Yes | Yes | Yes | Yes |  | 2019-07-01 | Real-Time events and adverse operating conditions with impacts to BES facilities or non-BES facilities with BES impacts. Significant events impacting the BA or TOP such as loss of control center functionality, communications, real-time monitoring and assessment capabilities. | GMS and/or phone notification | GMS and/or phone notification | GMS and/or phone notification if there is an impact to adjacent/ shared facilities | Submit in accordance with your RC's IRO-010 request, data will be shared with RC West, and the RC will contact RC West if there is an impact to adjacent/ shared facilities | As soon as practicable |  | Single - CAISO | As applicable, GOP - Notifies Scheduling Coordinator, Scheduling Coordinator – Notifies CAISO Gen Dispatcher PTO – Notifies CAISO Trans Dispatcher | 2019-07-01

## Entity Matrix
[5 empty] | Operating Procedure Attachment |  | Procedure No. |  | 3140A
[7 empty] | Version No. |  | 6.5
[7 empty] | Effective Date |  | 2025-03-12
TOP-003 TOP - BA Data Request and Specifications for Data Provision | [6 empty] | Distribution Restriction: None
Neighboring Entities (BA), Adjacent and Shared Facilities (TOP) in accordance with CAISO's OP3120 Balancing Authority Area and Related Transmission Jurisdiction
CAISO Area | CAISO | GRID | LSPGC | LST | PG&E | SCE | SDG&E | TBC | VEA
AEPCO | WB, AF, SF |  |  |  |  | AF, SF
APS | NE, AF, SF |  |  |  |  | NE, AF, SF | NE, AF, SF
BANC | NE |  |  |  | NE
BPA | NE, AF, SF |  |  |  | NE, AF, SF
CDWR | WB |  |  |  | AF, SF | AF, SF
CENACE | NE, AF, SF | [5 empty] | NE, AF, SF
GRID | WB, WT |  |  |  |  | AF, SF
HHWP | WB, AF, SF |  |  |  | AF, SF
IID | NE, AF, SF |  |  |  |  | NE, AF, SF | NE, AF, SF
LADWP | NE, AF, SF |  |  |  |  | NE, AF, SF
LSPGC | WB, WT |  |  |  | AF, SF
LST | WB, WT | [5 empty] | AF, SF
MID | AF, SF |  |  |  | AF, SF
NVE | NE, AF, SF |  |  |  | NE, AF, SF | NE, AF, SF |  |  | NE, AF, SF
PACE- PACW | NE, AF, SF |  |  |  | NE, AF, SF
PG&E | WB, WT |  |  |  |  | AF, SF |  | AF, SF
SCE | WB, WT |  |  |  | AF, SF |  | AF, SF
SDG&E | WB, WT |  |  | AF, SF |  | AF, SF
SMUD | AF, SF |  |  |  | AF, SF
SRP | NE, AF, SF |  |  |  |  | NE, AF, SF | NE, AF, SF
SVP | WB, AF, SF |  |  |  | AF, SF
TBC | WB, WT |  |  |  | AF, SF
TID | NE, AF, SF |  |  |  | NE, AF, SF
VEA | WB, WT
WALC | NE, AF, SF |  |  |  |  | NE, AF, SF |  |  | NE, AF, SF
WASN | AF, SF |  |  |  | AF, SF

## Exceptions
| Operating Procedure Attachment | Procedure No. | 3140A
|  | Version No. | 6.5
|  | Effective Date | 2025-03-12
TOP-003 TOP - BA Data Request and Specifications for Data Provision |  |  | Distribution Restriction: None
Category | Request Number | Entity | Exclusion Rationale
Real-time Network Measurement Data | 1.1 - 1.4 | TBC | Per the agreement between TBC and the CAISO, the CAISO shall transmit all applicable real-time measurement data to the RC on TBC’s behalf.
Real-time Network Measurement Data | 1.2 | LST | Not applicable to LST area.
Real-time Network Measurement Data | 1.4 | LST | Not applicable to LST area.
Real-time Network Measurement Data | 1.5 | LSPGC, HHWP, TBC, VEA | These entities are not part of a WECC Transfer Path.
Real-time Network Measurement Data | 1.6 | GRID, HHWP, LSPGC, LST, TBC | TBC’s Transformer tap changers are only used to regulate the 180.5 kV voltage for the HVDC Converter System, not the 230 kV and 115 kV buses in Pittsburg and Potrero, respectively as used in typical AC systems.
Real-time Network Measurement Data | 1.7 | GRID, HHWP, LSPGC, LST, TBC | These entities do not have phase shifter tap positions.
Real-time Network Measurement Data | 1.8 | GRID, LSPGC, LST, TBC | These entities do not supply load.
Real-time Network Measurement Data | 1.9, 1.10, 1.11 | GRID, HHWP, LSPGC, LST, TBC, VEA | These entities do not own or operate a Remedial Action Scheme.
Real-time Network Measurement Data | 1.13 | GRID, HHWP, LST, TBC, VEA | These entities do not have dynamic line ratings.
Real-time Network Measurement Data | 1.14 | GRID, HHWP, LSPGC, LST, TBC | These entities do not have any stability limitations.
Real-time Network Measurement Data | 1.15 | GRID, HHWP, LSPGC, LST | These entities do not have RC identified PMU installations on the WISP network.
Real-time Balancing Authority Data | 2.6, 2.11, 2.12, 2.13, 2.21 | CDWR | CDWR uses the RIG (DNP3 Protocol) to send this data.
Real-time Balancing Authority Data | 2.26 | HHWP | HHWP does not have hybrid resources.
Documentation and Procedures | 4.3 | GRID, HHWP, LSPGC, LST, TBC | These entities do not have UVLS or UFLS. HHWP provides OPS-07 plan to address load shedding.
Documentation and Procedures | 4.4 | LSPGC, HHWP | This entity does not have any path procedures.
Scheduled and Forced Outage Information | 5.8, 5.9 | LSPGC, TBC, VEA | These entities are not part of a WECC Transfer Path.
Power System Modeling Information | All | GRID | DCRT is provided by GRID.
Power System Modeling Information | All | LST | LST is provided by HZWT.
Power System Modeling Information | 6.11 | TBC | CAISO will provide information on behalf of TBC.
Power System Modeling Information | 6.15 | HHWP, LSPGC, TBC, VEA | These entities do not have shunt devices.
Power System Modeling Information | 6.18 | HHWP, LSPGC, TBC | These entities do not own or operate RAS.
Power System Modeling Information | 6.19 | HHWP, LSPGC, TBC, VEA | These entities do not own or operate non-RAS automatic post-contingency devices.
Other Operational Information | 7.2 | TBC | TBC does not perform Real-Time Assessments.

## Version History
| Operating Procedure Attachment | Procedure No. | 3140A
|  | Version No. | 6.5
|  | Effective Date | 2025-03-12
TOP-003 TOP - BA Data Request and Specifications for Data Provision |  | Distribution Restriction: None
Operationally Affected Parties
AEPCO, APS, BANC, BPA, CDWR, CENACE, GRID, HHWP, IID, LADWP, LSPGC, LST, MID, NVE, PACE-PACW, PGAE, the RC, SCE, SDG&E, SMUD, SRP, SVP, TBC, TID, VEA, WALC, and WASN; WECC CDMS Export (PCCs); Public and RC West.
Version History
Version | Change |  | Date
4.1 | Added Lone Star Transmission (LST) to Entity Matrix Tab and as an Operationally Affected Party in Version History Tab. |  | 2020-02-29
4.2 | Section 6 - Added requirement 6.25, 6.26, and 6.27. |  | 2020-06-26
4.3 | Section 6 - 6.8.1, 6.13 - Updated data transfer method for generators. 6.1, 6.11, 6.12, 6.14, 6.15, 6.17, 6.18, 6.19 - Updated data transfer method for entities that do not have access to RIMS or RC Portal via BA/TOP or via email. 6.27 - Updated applicability to include TO, GO, and DP. |  | 2020-09-15
5 | Periodic Review: Section 2 - Added requests 2.22 and 2.23. Section 6 - Updated 6.1 data transfer method and CAISO guidance document to include webOMS for instances such as double modeling. Exceptions tab updated for consistency with 3130A and RC0120A. Replaced Peak Reliability with RC West in Details tab and replaced Peak RC with the RC in Exceptions tab. Minor format and grammar edits. |  | 2020-11-02
6 | Annual Review: Merging content from 3130A for consolidation. Replaced instances of ISO with CAISO and minor formatting. |  | 2021-08-06
6.1 | Annual Review: Updated Operationally Affected Parties to include WECC CDMS Export for notification clarification in Version History tab to align with 3140. Section 4 - Updated data transfer method on 4.10 to match SOL methodology. Updated notes to add PTO emails when the data transfer method is via email. Section 6 - Added data request 6.8.2. Updated reference of EOP-011-2 to EOP-011-2 due to standard update. |  | 2023-04-01
6.2 | Updated data request 6.8.2 from discussions with DEWG on 9/13/23 and Joint Cold Weather Task Force, per NERC Alert 3, and email for data request from NRI to RDT team. Updated data requests 1.13, 6.10.1, and 6.10.2 in preparation of FERC Order 881 on dynamic ratings. Added request 2.24 based on feedback regarding battery storage ICCP data. Minor punctuation edits on Exceptions tab. 10/17/23 - Errata Change: Updated data requests 1.13 and 6.10.2 to mention " as applicable to FERC 881". |  | 2023-10-12
6.3 | Annual Review: Requests 2.12 and 2.13 - Added "or Generator Operator" and changed methodology from ICCP to direct telemetry to align with BPM. Request 2.15 – Updated language for clarity. Added new data requests 2.25 and 2.26 for storage and hybrid resources. Requests 4.1, 4.2, 4.5, 4.11 and 6.14 updated to match RC0120A request. Requests 5.1 and 5.16 - Added “in CAISO Operating Procedures 3210 and 3220” for clarity. Request 6.13 - Added "and" for both parties applicability. Request 6.16 - Added effective date to align with RC0120A. Un-hid (made visible) column I for clarity on Within Transmission Operator area (WT) applicability throughout document. Throughout document replaced instances of Transmission "Desk" with "Dispatcher" and updated formatting for consistency. Removed history prior to five years. |  | 2024-04-01
6.4 | Updated data request 1.15 for existing PMU installations to match language with RC0120A. Updated data request 6.8.1 for Mvar data to include more data for reactive capability curves. Existing resources to send this data through their designee via CIDI. Updated data request 6.8.2 to extreme weather template to remove NERC Alert 3 language. Added Gridforce (GRID) in all instances where applicable and added to Operationally Affected Parties. Updated Exceptions tab for HHWP. |  | 2024-07-08
6.5 | Annual Review: Updated versions for EOP-011, PRC-006-WECC-CRT, and VAR-501-WECC standards. Added LS Power Grid California (LSPGC) in all instances where applicable and added to CDWR and LSPGC to Operationally Affected Parties. Included column with Last Revision Date in main Details tab. Removed history prior to five years. |  | 2025-03-12