Entities submitting a Resource Test Request Form should be aware that the CAISO will not change the resource data characteristics based on the test results. The CAISO will notify the Scheduling Coordinator of the test results via email once it concludes its analysis of test results (which may take up to ten business days). The CAISO will request the Scheduling Coordinator to respond within two business days acknowledging such notification and setting forth any comments or concerns.

Please complete all information in the following Sections:

| Requestor Information | Scheduling Coordinator |  | Provider of Curtailable Demand |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Organization: |  |  |  | SC ID: |  | Phone: |  |
|  | Principal Contact Name: Plant Contact Name: Contact Emails separated by semicolon (;) |  |  |  |  |  |  |  |
| Resource Data | Site Name: |  |  |  |  | Resource ID: |  |  |
|  | Fuel Type: |  |  |  |  | Controlling bus voltage (kV): |  |  |
|  | Configuration: 1X1 (Example Shown) |  |  |  |  | Segment: |  |  |
| Curtailable Demand | Minimum is greater than 1.0 MW? |  |  |  |  | Can be interrupted for at least 2.0 hrs? |  |  |
|  | Load monitored by: | CAISO |  | SC |  | Other? (specify) |  |  |
| Test Type | (Click “Select” for selection option) |  |  |  |  |  |  |  |
| OMS# | Only Required for PDR/RDRR Testing: |  |  |  |  |  |  |  |

Requested Test Date (pending approval):

- Enter the desired test parameters below:

- REGULATION, SPIN, NON-SPIN:

Enter the High end of the MW Range in item “a”.

Enter the Low end of the MW Range in item “b”.

Enter the desired Ramp Rate Stated Value in item “c”.

- For SPIN and NON-SPIN Complete Section 2.

Note: For SPIN and NON-SPIN go to Section 2 below and complete.

- PMax: enter the desired PMax value in item “a” and leave other fields blank

- PMin: enter the desired PMin value in item “b” and leave other fields blank

- MW Range High/PMax:

- MW Range Low/PMin:

- Ramp Rate Stated Value:	      MW/min

- This section must be completed in order to be tested for Spin only.

Attestation of Governor or Minimum Frequency Responsive Device Performance compliance.

Name of resource owner providing attestation that the control device for the demand resource requesting certification meets the requirements for governor or minimum frequency responsive device performance set forth in Part B of Appendix K to the CAISO Tariff.

By entering my name and date below, I attest to the above statement:

(Signature and date required)

| NAME: | DATE: |
| --- | --- |

Provision of documentation of Governor or other control system.

Resource Owner shall provide information in notes section, or attach documentation, describing Governor or other control system in place to meet the requirements for frequency responsive performance.

This Section Must Be Completed In Order To Be Tested for Spin or Non-Spin

|  | Governor Deadband: + Hz to - Hz | Unit has block loading capability? |
| --- | --- | --- |
|  | Droop Characteristic: % | RTU or SCADA MW and MVar data to CAISO? |

- This section must be completed for curtailable demands only.

Curtailable Demand (for Curtailable Demand only):

Is this Curtailable Demand on an Interruptible Rate Tariff?  (Click “Select” for selection option)

Stated Value:	      MW

NOTES

##### Version History

| Version | Change | Date |
| --- | --- | --- |
| 7.1 | In Section 4: Added a section for “Attestation of Governor of Minimum Frequency Responsive Device Performance compliance. Added a section for “Provision of documentation of governor or other control system. Added a Version History section. Added a Technical Review section. | 4/15/15 |
| 7.2 | In Section 4: Changed Spin/Non-Spin to Spin only. Added the statement: “This Section Must Be Completed In Order To Be Tested For Spin or Non-Spin. | 4/29/15 |
| 7.3 | Updated formatting and grammar. | 10/18/17 |
| 7.4 | Minor improvements for clarity, formatting and grammar throughout. | 11/21/17 |
| 8.0 | Periodic Review: No content changes, removed Technical Review section and minor formatting. | 7/24/20 |
| 8.1 | Periodic Review: Updated instances of ISO to CAISO and minor formatting only. | 12/11/23 |