## Curtailed
Report Generated on : 07/15/2021 07:30:00 (PPT)
Trade Date: 07/15/2021
Curtailed and Non-Operational Generator AM Report
Resource ID |  | Resource Name |  |  | Outage Type | Capacity (MW) | Curtailed (MW) | Zone Name | BA
CARBOU_7_PL4X5 |  | CARIBOU PH 2 UNIT 4 &amp; 5 AGGREGATE |  |  | Forced | 120.00 | 120.00 | PGAE North | CISO
GWFPWR_1_UNITS |  | Hanford Peaker Plant |  |  | Forced | 98.46 | 6.42 | PGAE Gen | CISO
DAIRLD_1_MD2BM1 |  | Madera Digester Genset 2 |  |  | Forced | 0.80 | 0.80 | PGAE Gen | CISO
DELTA_2_PL1X4 |  | DELTA ENERGY CENTER AGGREGATE |  |  | Forced | 880.00 | 27.00 | PGAE Gen | CISO
DONPEDRO_6_UNIT1 |  | Don Pedro Unit 1 |  |  | Planned | 55.00 | 55.00 | TID Gen | TIDC
DONPEDRO_6_UNIT4 |  | Don Pedro Unit 4 |  |  | Planned | 38.00 | 38.00 | TID Gen | TIDC
DOUBLC_1_UNITS |  | DOUBLE C LIMITED |  |  | Forced | 52.23 | 2.43 | PGAE South | CISO
DREWS_6_PL1X4 |  | Drews Generating Plant |  |  | Forced | 41.40 | 20.70 | SCE Gen | CISO
DRUM_7_PL1X2 |  | Drum PH 1 Units 1 &amp; 2 Aggregate |  |  | Forced | 26.00 | 26.00 | PGAE North | CISO
DRUM_7_PL3X4 |  | Drum PH 1 Units 3 &amp; 4 Aggregate |  |  | Forced | 28.90 | 28.90 | PGAE North | CISO
DRUM_7_UNIT 5 |  | DRUM PH 2 UNIT 5 |  |  | Forced | 50.00 | 2.00 | PGAE North | CISO
DUANE_1_PL1X3 |  | DONALD VON RAESFELD POWER PROJECT |  |  | Forced | 147.80 | 9.80 | PGAE South | CISO
DUTCH1_7_UNIT 1 |  | DUTCH FLAT 1 PH |  |  | Forced | 22.00 | 6.00 | PGAE North | CISO
DUTCH2_7_UNIT 1 |  | DUTCH FLAT 2 PH |  |  | Forced | 26.00 | 26.00 | PGAE North | CISO
ELKCRK_6_STONYG |  | STONEY GORGE HYDRO AGGREGATE |  |  | Forced | 4.90 | 4.90 | PGAE Gen | CISO
ELKHIL_2_PL1X3 |  | ELK HILLS COMBINED CYCLE (AGGREGATE) |  |  | Forced | 551.70 | 32.70 | PGAE Gen | CISO
ELSEGN_2_UN1011 |  | El Segundo Energy Center 5/6 |  |  | Forced | 272.70 | 0.03 | SCE Gen | CISO
ESCO_6_GLMQF |  | Goal Line Cogen |  |  | Forced | 49.90 | 49.90 | SDGE Gen | CISO
ETIWND_2_FONTNA |  | FONTANALYTLE CREEK POWERHOUSE P |  |  | Forced | 2.56 | 1.86 | SCE Gen | CISO
ETIWND_2_UNIT1 |  | ETIWND_2_UNIT1 |  |  | Planned | 33.60 | 31.60 | SCE Gen | CISO
EXCHEC_7_UNIT 1 |  | EXCHEQUER HYDRO |  |  | Forced | 94.50 | 22.50 | PGAE South | CISO
FLOWD2_2_FPLWND |  | DIABLO WINDS |  |  | Forced | 18.00 | 4.64 | PGAE Gen | CISO
FORKBU_6_UNIT |  | HYPOWER, INC. (FORKS OF BUTTE) |  |  | Forced | 14.30 | 14.30 | PGAE Gen | CISO
FROGTN_1_UTICAM |  | Murphys Powerhouse |  |  | Forced | 3.60 | 2.70 | PGAE Gen | CISO
GARLND_2_GASLR |  | Garland B |  |  | Forced | 180.00 | 11.30 | SCE Gen | CISO
GARNET_1_SOLAR2 |  | Garnet Solar Power Generation Station 1 |  |  | Forced | 4.00 | 1.30 | SCE Gen | CISO
GARNET_2_HYDRO |  | Whitewater Hydro |  |  | Forced | 1.00 | 1.00 | SCE Gen | CISO
GARNET_2_WIND2 |  | Karen Avenue Wind Farm |  |  | Planned | 11.70 | 3.00 | SCE Gen | CISO
GARNET_2_WPMWD6 |  | WINTEC PALM |  |  | Forced | 5.93 | 5.93 | SCE Gen | CISO
GATEWY_2_GESBT1 |  | Gateway Energy Stroage |  |  | Planned | 250.00 | 65.50 | SDGE Gen | CISO
GATWAY_2_PL1X3 |  | GATEWAY GENERATING STATION |  |  | Forced | 585.00 | 65.00 | PGAE South | CISO
GEYS11_7_UNIT11 |  | GEYSERS UNIT 11 (HEALDSBURG) |  |  | Forced | 86.80 | 13.80 | PGAE Gen | CISO
GEYS12_7_UNIT12 |  | GEYSERS UNIT 12 (HEALDSBURG) |  |  | Forced | 57.00 | 16.00 | PGAE Gen | CISO
GEYS13_7_UNIT13 |  | GEYSERS UNIT 13 (HEALDSBURG) |  |  | Forced | 73.00 | 26.00 | PGAE Gen | CISO
GEYS14_7_UNIT14 |  | GEYSERS UNIT 14 (HEALDSBURG) |  |  | Forced | 70.00 | 12.00 | PGAE Gen | CISO
GEYS16_7_UNIT16 |  | GEYSERS UNIT 16 (HEALDSBURG) |  |  | Forced | 63.00 | 19.00 | PGAE Gen | CISO
GEYS17_7_UNIT17 |  | GEYSERS UNIT 17 (HEALDSBURG) |  |  | Forced | 75.50 | 17.50 | PGAE Gen | CISO
GEYS18_7_UNIT18 |  | GEYSERS UNIT 18 (HEALDSBURG) |  |  | Forced | 72.00 | 28.00 | PGAE Gen | CISO
GEYS20_7_UNIT20 |  | GEYSERS UNIT 20 (HEALDSBURG) |  |  | Forced | 50.00 | 14.00 | PGAE Gen | CISO
GILROY_1_UNIT |  | GILROY COGEN AGGREGATE |  |  | Forced | 120.00 | 120.00 | PGAE South | CISO
GLNARM_7_UNIT 1 |  | GLEN ARM UNIT 1 |  |  | Forced | 22.07 | 4.07 | SCE Gen | CISO
GLNARM_7_UNIT 2 |  | GLEN ARM UNIT 2 |  |  | Forced | 20.00 | 1.20 | SCE Gen | CISO
GOLETA_6_EXGEN |  | EXXON COMPANY USA |  |  | Forced | 48.20 | 48.20 | SCE Gen | CISO
GRIZLY_1_UNIT 1 |  | GRIZZLY HYDRO |  |  | Forced | 20.00 | 20.00 | PGAE North | CISO
GRSCRK_6_BGCKWW |  | BIG CREEK WATER WORKS - CEDAR FLAT |  |  | Forced | 5.00 | 5.00 | PGAE Gen | CISO
ADLIN_1_UNITS |  | GEYSERS AIDLIN AGGREGATE |  |  | Forced | 22.00 | 10.00 | PGAE Gen | CISO
ADMEST_6_SOLAR |  | Adams East |  |  | Forced | 19.00 | 1.00 | PGAE Gen | CISO
ALAMIT_2_PL1X3 |  | Alamitos Energy Center Unit 7 |  |  | Forced | 674.70 | 3.70 | SCE Gen | CISO
ALAMIT_7_UNIT 3 |  | ALAMITOS GEN STA. UNIT 3 |  |  | Forced | 326.76 | 146.76 | SCE Gen | CISO
ALAMIT_7_UNIT 5 |  | ALAMITOS GEN STA. UNIT 5 |  |  | Forced | 480.00 | 19.00 | SCE Gen | CISO
ALMEGT_1_UNIT 1 |  | ALAMEDA GT UNIT 1 |  |  | Forced | 25.00 | 3.00 | PGAE South | CISO
ALMEGT_1_UNIT 2 |  | ALAMEDA GT UNIT 2 |  |  | Forced | 25.00 | 3.00 | PGAE South | CISO
ALTA3A_2_CPCE5 |  | Alta Wind 5 |  |  | Forced | 168.00 | 9.00 | SCE Gen | CISO
ALTA4A_2_CPCW1 |  | Alta Wind 1 |  |  | Forced | 150.00 | 3.00 | SCE Gen | CISO
ALTA4B_2_CPCW2 |  | Alta Wind 2 |  |  | Forced | 150.00 | 3.00 | SCE Gen | CISO
ALTA4B_2_CPCW3 |  | Alta Wind 3 |  |  | Forced | 150.00 | 9.00 | SCE Gen | CISO
ALTA6B_2_WIND11 |  | Alta Wind 11 |  |  | Forced | 88.15 | 27.55 | SCE Gen | CISO
ALTA6E_2_WIND10 |  | Alta Wind 10 |  |  | Forced | 134.84 | 6.59 | SCE Gen | CISO
ALTWD_2_AT3WD3 |  | Altech 3 |  |  | Planned/Forced | 9.80 | 9.40 | SCE Gen | CISO
APXGS_5_CC |  | Apex Generating Station Combined Cycle |  |  | Forced | 578.00 | 85.00 | LADWP Gen | LADWP
ARCOGN_2_UNITS |  | WATSON COGENERATION |  |  | Forced | 416.60 | 241.60 | SCE Gen | CISO
BALCHS_7_UNIT 1 |  | BALCH 1 PH UNIT 1 |  |  | Planned | 31.00 | 31.00 | PGAE South | CISO
BDGRCK_1_UNITS |  | BADGER CREEK LIMITED |  |  | Forced | 48.08 | 4.58 | PGAE South | CISO
BEARMT_1_UNIT |  | Bear Mountain Limited |  |  | Forced | 49.21 | 5.21 | PGAE Gen | CISO
BELDEN_7_UNIT 1 |  | BELDEN HYDRO |  |  | Forced | 119.00 | 119.00 | PGAE Gen | CISO
BGSKYN_2_AS2SR1 |  | Antelope Solar 2 |  |  | Forced | 105.00 | 6.00 | SCE Gen | CISO
BIGCRK_2_EXESWD |  | BIG CREEK HYDRO PROJECT PSP |  |  | Planned/Forced | 820.00 | 439.00 | SCE Gen | CISO
BIGSKY_2_SOLAR1 |  | Antelope Big Sky Ranch |  |  | Planned/Forced | 20.00 | 4.00 | SCE Gen | CISO
BIGSKY_2_SOLAR2 |  | Big Sky Solar 4 |  |  | Forced | 40.00 | 4.00 | SCE Gen | CISO
BIGSKY_2_SOLAR7 |  | Big Sky Solar 1 |  |  | Forced | 50.00 | 2.00 | SCE Gen | CISO
BIOMAS_1_UNIT 1 |  | WOODLAND BIOMASS |  |  | Forced | 25.50 | 25.50 | PGAE North | CISO
BISHOP_1_ALAMO |  | BISHOP CREEK PLANT 2 AND 6 |  |  | Planned/Forced | 13.40 | 9.65 | SCE Gen | CISO
BISHOP_1_UNITS |  | BISHOP CREEK PLANT 3 AND 4 |  |  | Planned/Forced | 15.80 | 4.80 | SCE Gen | CISO
BNNIEN_7_ALTAPH |  | ALTA POWER HOUSE |  |  | Forced | 1.00 | 0.28 | PGAE Gen | CISO
BRDSLD_2_HIWIND |  | High Winds Energy Center |  |  | Forced | 162.00 | 35.00 | PGAE Gen | CISO
BRDSLD_2_MTZUM2 |  | NextEra Energy Montezuma Wind II |  |  | Forced | 78.20 | 6.90 | PGAE Gen | CISO
BRDSLD_2_SHILO2 |  | SHILOH WIND PROJECT 2 |  |  | Forced | 150.00 | 12.00 | PGAE Gen | CISO
BRDSLD_2_SHLO3A |  | Shiloh III Wind Project, LLC |  |  | Forced | 102.50 | 2.05 | PGAE Gen | CISO
BRDSLD_2_SHLO3B |  | Shiloh IV Wind Project |  |  | Forced | 100.00 | 1.60 | PGAE Gen | CISO
BRODIE_2_WIND |  | Coram Brodie Wind Project |  |  | Planned/Forced | 102.00 | 6.00 | SCE Gen | CISO
BUCKCK_7_OAKFLT |  | Oak Flat |  |  | Planned | 1.30 | 1.30 | PGAE Gen | CISO
BUCKCK_7_PL1X2 |  | BUCKS CREEK AGGREGATE |  |  | Planned/Forced | 57.25 | 47.25 | PGAE Gen | CISO
BUTTVL_7_UNIT 1 |  | BUTT VALLEY HYDRO |  |  | Forced | 39.50 | 39.50 | PGAE North | CISO
CALGEN_1_UNITS |  | Coso Navy 1 |  |  | Forced | 80.00 | 30.00 | SCE Gen | CISO
CAMCHE_1_PL1X3 |  | CAMANCHE UNITS 1, 2 &amp; 3 AGGREGATE |  |  | Forced | 9.99 | 9.99 | PGAE Gen | CISO
CARBOU_7_PL2X3 |  | CARIBOU PH 1 UNIT 2 &amp; 3 AGGREGATE |  |  | Forced | 49.00 | 49.00 | PGAE North | CISO
CARBOU_7_UNIT 1 |  | CARIBOU PH 1 UNIT 1 |  |  | Planned/Forced | 24.00 | 24.00 | PGAE North | CISO
CARLS1_2_CARCT1 |  | Carlsbad 1 |  |  | Forced | 422.00 | 0.69 | SDGE Gen | CISO
CARLS2_1_CARCT1 |  | Carlsbad 2 |  |  | Forced | 105.50 | 1.36 | SDGE Gen | CISO
CASPP_2_UNIT_1 |  | Castaic Power Plant UNIT 1 |  |  | Forced | 265.00 | 27.00 | LADWP Gen | LADWP
CASPP_2_UNIT_2 |  | Castaic Power Plant UNIT 2 |  |  | Forced | 265.00 | 27.00 | LADWP Gen | LADWP
CASPP_2_UNIT_3 |  | Castaic Power Plant UNIT 3 |  |  | Planned/Forced | 265.00 | 27.00 | LADWP Gen | LADWP
CASPP_2_UNIT_4 |  | Castaic Power Plant UNIT 4 |  |  | Planned/Forced | 265.00 | 27.00 | LADWP Gen | LADWP
CASPP_2_UNIT_5 |  | Castaic Power Plant UNIT 5 |  |  | Planned/Forced | 265.00 | 265.00 | LADWP Gen | LADWP
CASPP_2_UNIT_6 |  | Castaic Power Plant UNIT 6 |  |  | Forced | 265.00 | 27.00 | LADWP Gen | LADWP
CASPP_2_UNIT_7 |  | Castaic Power Plant UNIT 7 |  |  | Forced | 56.00 | 56.00 | LADWP Gen | LADWP
CENTER_2_RHONDO |  | MWD Rio Hondo Hydroelectric Recovery Pla |  |  | Forced | 1.91 | 1.91 | SCE Gen | CISO
CENTRY_6_PL1X4 |  | CENTURY GENERATING PLANT (AGGREGATE) |  |  | Forced | 41.40 | 10.20 | SCE Gen | CISO
CHALK_1_UNIT |  | CHALK CLIFF LIMITED |  |  | Forced | 48.67 | 5.17 | PGAE Gen | CISO
CHINO_2_SOLAR2 |  | Kona Solar - Terra Francesca |  |  | Forced | 1.49 | 1.49 | SCE Gen | CISO
CHINO_7_MILIKN |  | MN Milliken Genco LLC |  |  | Forced | 1.90 | 1.90 | SCE Gen | CISO
CIG_6_PL |  | Carson ICE CoGen |  |  | Forced | 61.00 | 6.00 | BANC Gen | BANC
CIG_6_PL |  | Carson ICE CoGen |  |  | Forced | 61.00 | 6.00 | EIM SMUD | BANC
CLOVER_2_UNIT |  | Clover Creek |  |  | Forced | 0.99 | 0.99 | PGAE Gen | CISO
COCOPP_2_CTG1 |  | Marsh Landing 1 |  |  | Forced | 204.20 | 5.37 | PGAE South | CISO
COCOPP_2_CTG2 |  | Marsh Landing 2 |  |  | Forced | 202.70 | 4.66 | PGAE South | CISO
COCOPP_2_CTG3 |  | Marsh Landing 3 |  |  | Forced | 208.96 | 11.70 | PGAE South | CISO
COCOPP_2_CTG4 |  | Marsh Landing 4 |  |  | Forced | 204.29 | 5.66 | PGAE South | CISO
COCOSB_6_SOLAR |  | Oakley Solar Project |  |  | Forced | 1.50 | 0.50 | PGAE Gen | CISO
COLGAT_7_UNIT 1 |  | Colgate Powerhouse Unit 1 |  |  | Planned/Forced | 176.72 | 30.72 | PGAE North | CISO
COLGAT_7_UNIT 2 |  | Colgate Powerhouse Unit 2 |  |  | Planned/Forced | 175.67 | 29.67 | PGAE North | CISO
COLTON_6_AGUAM1 |  | AGUA MANSA UNIT 1 (CITY OF COLTON) |  |  | Planned | 43.00 | 2.00 | SCE Gen | CISO
COLUSA_2_PL1X3 |  | Colusa Generating Station |  |  | Forced | 641.00 | 57.00 | PGAE North | CISO
CONTRL_1_CASAD2 |  | Mammoth G2 |  |  | Forced | 10.50 | 3.80 | SCE Gen | CISO
CONTRL_1_LUNDY |  | LUNDY |  |  | Planned/Forced | 3.00 | 2.10 | SCE Gen | CISO
CONTRL_1_OXBOW |  | Dixie Valley Geo |  |  | Forced | 60.00 | 5.00 | SCE Gen | CISO
CONTRL_1_POOLE |  | POOLE HYDRO PLANT 1 |  |  | Planned/Forced | 10.90 | 9.95 | SCE Gen | CISO
CONTRL_1_RUSHCK |  | RUSH CREEK |  |  | Planned/Forced | 11.94 | 0.08 | SCE Gen | CISO
CORCAN_1_SOLAR1 |  | CID Solar |  |  | Planned/Forced | 20.00 | 20.00 | PGAE Gen | CISO
COVERD_2_HCKHY1 |  | HATCHET CREEK |  |  | Forced | 6.89 | 6.89 | PGAE Gen | CISO
COVERD_2_RCKHY1 |  | ROARING CREEK |  |  | Forced | 2.00 | 2.00 | PGAE Gen | CISO
COWCRK_2_UNIT |  | Cow Creek Hydro |  |  | Forced | 2.00 | 2.00 | PGAE Gen | CISO
CPP_2_PL |  | Cosumnes Power Plant |  |  | Forced | 612.00 | 42.00 | BANC Gen | BANC
CPP_2_PL |  | Cosumnes Power Plant |  |  | Forced | 612.00 | 42.00 | EIM SMUD | BANC
CRESTA_7_PL1X2 |  | CRESTA PH UNIT 1 &amp; 2 AGGREGATE |  |  | Forced | 70.40 | 70.40 | PGAE North | CISO
CRNEVL_6_SJQN 2 |  | SAN JOAQUIN 2 |  |  | Planned | 3.20 | 3.20 | PGAE Gen | CISO
CRNEVL_6_SJQN 3 |  | SAN JOAQUIN 3 |  |  | Forced | 4.20 | 4.20 | PGAE Gen | CISO
CRSTWD_6_KUMYAY |  | Kumeyaay Wind Farm |  |  | Forced | 50.00 | 4.00 | SDGE Gen | CISO
CSCCOG_1_UNIT 1 |  | SANTA CLARA CO-GEN |  |  | Forced | 7.00 | 3.50 | PGAE South | CISO
CSCGNR_1_UNIT 1 |  | GIANERA PEAKER UNIT 1 |  |  | Planned | 24.75 | 24.75 | PGAE South | CISO
CSCGNR_1_UNIT 2 |  | GIANERA PEAKER UNIT 2 |  |  | Forced | 24.75 | 1.75 | PGAE South | CISO
CSG_2_PL |  | Campbell Soup Power Plant |  |  | Forced | 171.00 | 1.00 | BANC Gen | BANC
CSG_2_PL |  | Campbell Soup Power Plant |  |  | Forced | 171.00 | 1.00 | EIM SMUD | BANC
CSTRVL_7_PL1X2 |  | Marina Land Fill Gas |  |  | Forced | 4.53 | 0.13 | PGAE South | CISO
GYS5X6_7_UNITS |  | GEYSERS UNITS 5 &amp; 6 AGGREGATE |  |  | Forced | 98.43 | 14.43 | PGAE Gen | CISO
GYS7X8_7_UNITS |  | GEYSERS UNITS 7 &amp; 8 AGGREGATE |  |  | Forced | 95.80 | 17.80 | PGAE Gen | CISO
HALSEY_6_UNIT |  | HALSEY HYDRO |  |  | Forced | 13.50 | 10.25 | PGAE Gen | CISO
HARBGN_7_UNITS |  | HARBOR COGEN COMBINED CYCLE |  |  | Forced | 109.01 | 39.01 | SCE Gen | CISO
HARGS_1_UNIT_13 |  | Harbor Generating Station UNIT 13 |  |  | Forced | 47.00 | 47.00 | LADWP Gen | LADWP
HATCR2_7_UNIT |  | Hat Creek #2 |  |  | Planned | 8.50 | 8.50 | PGAE North | CISO
HATLOS_6_BWDHY1 |  | Bidwell Ditch |  |  | Forced | 2.00 | 0.70 | PGAE Gen | CISO
HATLOS_6_LSCRK |  | Lost Creek 1 &amp; 2 Hydro Conversion |  |  | Forced | 1.70 | 0.75 | PGAE Gen | CISO
HAYGS_2_CC8_9_10 |  | Haynes Generating Station Combined Cycle |  |  | Forced | 575.00 | 33.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_1 |  | Haynes Generating Station UNIT 1 |  |  | Planned | 222.00 | 10.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_13 |  | Haynes Generating Station UNIT 13 |  |  | Forced | 96.00 | 96.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_2 |  | Haynes Generating Station UNIT 2 |  |  | Forced | 222.00 | 34.00 | LADWP Gen | LADWP
HENRTA_6_UNITA1 |  | GWF HENRIETTA PEAKER PLANT UNIT 1 |  |  | Forced | 49.98 | 4.27 | PGAE South | CISO
HENRTA_6_UNITA2 |  | GWF HENRIETTA PEAKER PLANT UNIT 2 |  |  | Forced | 49.42 | 4.20 | PGAE South | CISO
HENRTS_1_SOLAR |  | Henrietta Solar Project |  |  | Forced | 100.00 | 12.00 | PGAE South | CISO
HIDSRT_2_UNITS |  | HIGH DESERT POWER PROJECT AGGREGATE |  |  | Forced | 830.00 | 38.00 | SCE Gen | CISO
HINSON_6_SERRGN |  | Southeast Resource Recovery |  |  | Forced | 34.00 | 10.00 | SCE Gen | CISO
HOVRPP_2_PP |  | Hoover Power Plant |  |  | Forced | 491.00 | 107.00 | LADWP Gen | LADWP
HUMBPP_6_UNITS |  | Humboldt Bay Generating Station 1 |  |  | Planned | 97.62 | 32.54 | PGAE North | CISO
HYTTHM_2_UNITS |  | HYATT-THERMALITO PUMP-GEN (AGGREGATE) |  |  | Planned/Forced | 933.10 | 771.10 | PGAE Gen | CISO
INDIGO_1_UNIT 1 |  | INDIGO PEAKER UNIT 1 |  |  | Forced | 45.00 | 3.80 | SCE Gen | CISO
INDIGO_1_UNIT 2 |  | INDIGO PEAKER UNIT 2 |  |  | Forced | 45.00 | 5.10 | SCE Gen | CISO
INDIGO_1_UNIT 3 |  | INDIGO PEAKER UNIT 3 |  |  | Forced | 45.00 | 5.50 | SCE Gen | CISO
INTKEP_2_UNITS |  | CCSF Hetch_Hetchy Hydro Aggregate |  |  | Forced | 405.00 | 177.00 | PGAE Gen | CISO
IVANPA_1_UNIT1 |  | Ivanpah 1 |  |  | Forced | 126.00 | 126.00 | SCE Gen | CISO
IVANPA_1_UNIT3 |  | Ivanpah 3 |  |  | Forced | 133.00 | 133.00 | SCE Gen | CISO
JAWBNE_2_NSRWND |  | North Sky River Wind Project |  |  | Forced | 160.00 | 3.00 | SCE Gen | CISO
JAY_2_UNIT1 |  | Jaybird Powerhouse Unit 1 |  |  | Forced | 76.00 | 10.00 | BANC Gen | BANC
JAY_2_UNIT1 |  | Jaybird Powerhouse Unit 1 |  |  | Forced | 76.00 | 10.00 | EIM SMUD | BANC
JAY_2_UNIT2 |  | Jaybird Powerhouse Unit 2 |  |  | Forced | 76.00 | 10.00 | BANC Gen | BANC
JAY_2_UNIT2 |  | Jaybird Powerhouse Unit 2 |  |  | Forced | 76.00 | 10.00 | EIM SMUD | BANC
MIRLOM_2_TEMESC |  | MWD Temescal Hydroelectric Recovery Plan |  |  | Forced | 2.85 | 2.85 | SCE Gen | CISO
MIRLOM_6_PEAKER |  | Mira Loma Peaker |  |  | Forced | 46.00 | 1.40 | SCE Gen | CISO
MKTRCK_1_UNIT 1 |  | MCKITTRICK LIMITED |  |  | Forced | 47.49 | 3.99 | PGAE South | CISO
MNDALY_6_MCGRTH |  | McGrath Beach Peaker |  |  | Forced | 47.20 | 4.18 | SCE Gen | CISO
MONLTH_6_BATTRY |  | Tehachapi Storage Project |  |  | Forced | 7.99 | 7.99 | SCE Gen | CISO
MONTPH_7_UNITS |  | MONTICELLO HYDRO AGGREGATE |  |  | Forced | 12.50 | 5.90 | PGAE Gen | CISO
MOSSLD_2_PSP2 |  | MOSS LANDING POWER BLOCK 2 |  |  | Forced | 510.00 | 5.00 | PGAE South | CISO
MRCHNT_2_PL1X3 |  | Desert Star Energy Center |  |  | Forced | 494.58 | 49.58 | SDGE Gen | CISO
MSOLAR_2_SOLAR1 |  | Mesquite Solar 1 |  |  | Forced | 165.00 | 10.50 | SDGE Gen | CISO
MSOLAR_2_SOLAR3 |  | Mesquite Solar 3, LLC |  |  | Forced | 152.00 | 1.69 | SDGE Gen | CISO
MSTANG_2_SOLAR |  | Mustang |  |  | Forced | 30.00 | 3.00 | PGAE Gen | CISO
MSTANG_2_SOLAR3 |  | Mustang 3 |  |  | Forced | 40.00 | 10.00 | PGAE Gen | CISO
MSTANG_2_SOLAR4 |  | Mustang 4 |  |  | Forced | 30.00 | 10.00 | PGAE Gen | CISO
MTNPOS_1_UNIT |  | MT.POSO COGENERATION CO. |  |  | Forced | 46.64 | 46.64 | PGAE South | CISO
MTWIND_1_UNIT 2 |  | Mountain View Power Project II |  |  | Forced | 22.20 | 1.20 | SCE Gen | CISO
MTWIND_1_UNIT 3 |  | Mountain View Power Project III |  |  | Forced | 22.44 | 1.32 | SCE Gen | CISO
NAROW1_2_UNIT |  | NARROWS PH 1 UNIT |  |  | Planned | 12.00 | 1.60 | PGAE North | CISO
NAROW2_2_UNIT |  | Narrows Powerhouse Unit 2 |  |  | Planned/Forced | 55.00 | 53.30 | PGAE North | CISO
NAVYII_2_UNITS |  | COSO POWER DEVELOPER (NAVY II) AGGREGATE |  |  | Forced | 90.00 | 50.00 | SCE Gen | CISO
NCPA_7_GP2UN3 |  | NCPA GEO PLANT 2 UNIT 3 |  |  | Forced | 42.42 | 42.42 | PGAE Gen | CISO
NWCSTL_7_UNIT 1 |  | NEWCASTLE HYDRO |  |  | Forced | 12.00 | 12.00 | PGAE Gen | CISO
OAK C_7_UNIT 1 |  | OAKLAND STATION C GT UNIT 1 |  |  | Forced | 55.00 | 28.00 | PGAE South | CISO
OAK C_7_UNIT 3 |  | OAKLAND STATION C GT UNIT 3 |  |  | Planned/Forced | 55.00 | 1.00 | PGAE South | CISO
OILFLD_7_QFUNTS |  | Nacimiento Hydroelectric Plant |  |  | Forced | 3.80 | 3.80 | PGAE South | CISO
OLDRV1_6_SOLAR |  | Old River One |  |  | Forced | 20.00 | 0.70 | PGAE Gen | CISO
OLINDA_2_COYCRK |  | MWD Coyote Creek Hydroelectric Recovery |  |  | Forced | 3.13 | 3.13 | SCE Gen | CISO
OMAR_2_UNIT 2 |  | KERN RIVER COGENERATION CO. UNIT 2 |  |  | Forced | 75.00 | 75.00 | SCE Gen | CISO
ORLND_6_HIGHLI |  | High Line Canal Hydro |  |  | Forced | 0.50 | 0.50 | PGAE Gen | CISO
ORMOND_7_UNIT 1 |  | ORMOND BEACH GEN STA. UNIT 1 |  |  | Forced | 741.27 | 741.27 | SCE Gen | CISO
ORMOND_7_UNIT 2 |  | ORMOND BEACH GEN STA. UNIT 2 |  |  | Forced | 750.00 | 250.00 | SCE Gen | CISO
OROVIL_6_UNIT |  | Oroville Cogeneration, LP |  |  | Forced | 7.50 | 1.50 | PGAE Gen | CISO
OTMESA_2_PL1X3 |  | OTAY MESA ENERGY CENTER |  |  | Forced | 603.68 | 35.68 | SDGE Gen | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 6.80 | PGAE North | CISO
PADUA_2_ONTARO |  | ONTARIO/SIERRA HYDRO PSP |  |  | Forced | 1.92 | 1.22 | SCE Gen | CISO
PALALT_7_COBUG |  | Cooperatively Owned Back Up Generator |  |  | Planned | 4.50 | 4.50 | PGAE Gen | CISO
PARDEB_6_UNITS |  | Pardee Power House |  |  | Forced | 30.00 | 30.00 | PGAE Gen | CISO
PGCC_1_PDRP07 |  | CBP PGCC_1_PDRP07 |  |  | Forced | 0.71 | 0.71 | PGAE Gen | CISO
PINFLT_7_UNITS |  | PINE FLAT HYDRO AGGREGATE |  |  | Planned | 198.51 | 177.51 | PGAE Gen | CISO
PIOPIC_2_CTG1 |  | Pio Pico Unit 1 |  |  | Forced | 111.30 | 6.36 | SDGE Gen | CISO
PIOPIC_2_CTG2 |  | Pio Pico Unit 2 |  |  | Forced | 112.70 | 4.95 | SDGE Gen | CISO
PIOPIC_2_CTG3 |  | Pio Pico Unit 3 |  |  | Forced | 112.00 | 5.88 | SDGE Gen | CISO
PIT1_7_UNIT 1 |  | PIT PH 1 UNIT 1 |  |  | Planned/Forced | 32.00 | 32.00 | PGAE North | CISO
PIT3_7_PL1X3 |  | PIT PH 3 UNITS 1, 2 &amp; 3 AGGREGATE |  |  | Forced | 70.60 | 1.60 | PGAE North | CISO
PIT6_7_UNIT 1 |  | PIT PH 6 UNIT 1 |  |  | Forced | 39.00 | 2.14 | PGAE North | CISO
PIT6_7_UNIT 2 |  | PIT PH 6 UNIT 2 |  |  | Forced | 40.00 | 3.14 | PGAE North | CISO
PIT7_7_UNIT 1 |  | PIT PH 7 UNIT 1 |  |  | Forced | 55.70 | 3.85 | PGAE North | CISO
PIT7_7_UNIT 2 |  | PIT PH 7 UNIT 2 |  |  | Forced | 54.60 | 2.75 | PGAE North | CISO
PLACVL_1_CHILIB |  | Chili Bar Powerhouse |  |  | Forced | 8.40 | 8.40 | PGAE Gen | CISO
PLAINV_6_BSOLAR |  | Western Antelope Blue Sky Ranch A |  |  | Forced | 20.00 | 2.00 | SCE Gen | CISO
PLAINV_6_SOLAR3 |  | Sierra Solar Greenworks LLC |  |  | Forced | 20.00 | 1.00 | SCE Gen | CISO
PLMSSR_6_HISIER |  | High Sierra Cogeneration Aggregate |  |  | Forced | 6.00 | 6.00 | PGAE Gen | CISO
PNCHPP_1_PL1X2 |  | Midway Peaking Aggregate |  |  | Forced | 119.91 | 3.91 | PGAE Gen | CISO
PNOCHE_1_PL1X2 |  | Panoche Peaker |  |  | Forced | 49.97 | 0.60 | PGAE South | CISO
SCHD_1_PDRP65 |  | CBP-DO-H-LTOAV1 |  |  | Forced | 0.10 | 0.10 | SCE Gen | CISO
SCHLTE_1_PL1X3 |  | Tracy Combined Cycle Power Plant |  |  | Forced | 336.04 | 20.12 | PGAE Gen | CISO
SCHNDR_1_OS2BM2 |  | Open Sky Digester Genset 2 |  |  | Forced | 0.80 | 0.25 | PGAE Gen | CISO
SCHNDR_1_WSTSDE |  | Westside Solar Station |  |  | Forced | 15.00 | 5.00 | PGAE Gen | CISO
SCNW_6_PDRP57 |  | CBP-DA-NW-LNEI1 |  |  | Forced | 1.12 | 1.12 | SCE Gen | CISO
SENTNL_2_CTG1 |  | Sentinel Unit 1 |  |  | Forced | 107.68 | 5.02 | SCE Gen | CISO
SENTNL_2_CTG2 |  | Sentinel Unit 2 |  |  | Forced | 102.50 | 5.02 | SCE Gen | CISO
SENTNL_2_CTG3 |  | Sentinel Unit 3 |  |  | Forced | 105.69 | 5.02 | SCE Gen | CISO
SENTNL_2_CTG4 |  | Sentinel Unit 4 |  |  | Forced | 106.55 | 5.02 | SCE Gen | CISO
SENTNL_2_CTG5 |  | Sentinel Unit 5 |  |  | Forced | 107.52 | 5.02 | SCE Gen | CISO
SENTNL_2_CTG6 |  | Sentinel Unit 6 |  |  | Forced | 105.00 | 5.02 | SCE Gen | CISO
SENTNL_2_CTG7 |  | Sentinel Unit 7 |  |  | Forced | 106.73 | 5.02 | SCE Gen | CISO
SENTNL_2_CTG8 |  | Sentinel Unit 8 |  |  | Forced | 106.85 | 5.02 | SCE Gen | CISO
SIERRA_1_UNITS |  | HIGH SIERRA LIMITED |  |  | Forced | 52.43 | 2.63 | PGAE Gen | CISO
SLUISP_2_UNITS |  | SAN LUIS (GIANELLI) PUMP-GEN (AGGREGATE) |  |  | Planned/Forced | 374.43 | 248.43 | PGAE Gen | CISO
SLYCRK_1_UNIT 1 |  | SLY CREEK HYDRO |  |  | Forced | 13.00 | 3.00 | PGAE North | CISO
SMUDGO_7_UNIT 1 |  | SONOMA POWER PLANT |  |  | Forced | 64.80 | 8.80 | PGAE Gen | CISO
SNCLRA_2_UNIT1 |  | New Indy Oxnard |  |  | Planned | 27.80 | 16.80 | SCE Gen | CISO
SPAULD_6_UNIT 3 |  | SPAULDING HYDRO PH 3 UNIT |  |  | Planned | 6.50 | 6.50 | PGAE North | CISO
SPQUIN_6_SRPCQU |  | Quincy Biomass |  |  | Forced | 24.00 | 24.00 | PGAE North | CISO
SPRGAP_1_UNIT 1 |  | SPRING GAP HYDRO |  |  | Forced | 7.00 | 7.00 | PGAE North | CISO
SPRGVL_2_TULESC |  | TULE RIVER HYDRO PLANT (SCE) |  |  | Forced | 2.50 | 2.50 | SCE Gen | CISO
STANIS_7_UNIT 1 |  | STANISLAUS HYDRO |  |  | Forced | 91.00 | 91.00 | PGAE North | CISO
STIGCT_2_LODI |  | LODI STIG UNIT |  |  | Forced | 49.90 | 1.90 | PGAE Gen | CISO
STNRES_1_UNIT |  | Covanta Stanislaus |  |  | Forced | 19.90 | 11.40 | PGAE North | CISO
STROUD_6_SOLAR |  | Stroud Solar Station |  |  | Forced | 20.00 | 2.00 | PGAE South | CISO
STROUD_6_WWHSR1 |  | Winter Wheat Solar Farm |  |  | Forced | 1.50 | 1.50 | PG&amp;E South | CISO
SUMWHT_6_SWSSR1 |  | Summer Wheat Solar Farm |  |  | Forced | 18.50 | 5.30 | PGAE Gen | CISO
SUNRIS_2_PL1X3 |  | Sunrise Power Project AGGREGATE II |  |  | Forced | 586.02 | 76.02 | PGAE Gen | CISO
SUNSET_2_UNITS |  | MIDWAY SUNSET COGENERATION PLANT |  |  | Forced | 248.00 | 95.00 | PGAE South | CISO
SWIFT_1_NAS |  | YERBA BUENA BATTERY |  |  | Forced | 4.80 | 4.80 | PGAE South | CISO
TERMEX_2_PL1X3 |  | TDM |  |  | Forced | 625.00 | 355.00 | SDGE Gen | CISO
TIFFNY_1_DILLON |  | TIFFNY_1_DILLON |  |  | Forced | 45.00 | 2.00 | SCE Gen | CISO
TOPAZ_2_SOLAR |  | Topaz Solar Farms |  |  | Forced | 550.00 | 35.00 | PGAE South | CISO
TRNQL8_2_ROJSR1 |  | Tranquillity 8 Rojo |  |  | Forced | 100.00 | 11.25 | PGAE Gen | CISO
TRNQL8_2_VERSR1 |  | Tranquillity 8 Verde |  |  | Forced | 60.00 | 5.00 | PGAE Gen | CISO
TRNSWD_1_QF |  | FPL Energy C Wind |  |  | Forced | 38.97 | 23.97 | SCE Gen | CISO
ULTPCH_1_UNIT 1 |  | Pacific Ultrapower Chinese Station |  |  | Forced | 18.00 | 18.00 | PGAE North | CISO
UNCHEM_1_UNIT |  | CONTRA COSTA CARBON PLANT |  |  | Forced | 19.00 | 19.00 | PGAE Gen | CISO
UNV_2_UNIT |  | Union Valley Powerhouse |  |  | Forced | 46.00 | 8.00 | BANC Gen | BANC
UNV_2_UNIT |  | Union Valley Powerhouse |  |  | Forced | 46.00 | 8.00 | EIM SMUD | BANC
USWND2_1_WIND1 |  | Golden Hills A |  |  | Forced | 42.96 | 5.37 | PGAE Gen | CISO
USWND2_1_WIND3 |  | Golden Hills C |  |  | Forced | 46.00 | 29.90 | PGAE Gen | CISO
USWNDR_2_SMUD |  | SOLANO WIND FARM |  |  | Forced | 102.18 | 6.00 | PGAE Gen | CISO
USWNDR_2_SMUD2 |  | Solano Wind Project Phase 3 |  |  | Forced | 127.80 | 4.80 | PGAE Gen | CISO
USWPJR_2_UNITS |  | Vasco Wind |  |  | Forced | 78.20 | 7.20 | PGAE Gen | CISO
VACADX_1_NAS |  | VACA-DIXON BATTERY |  |  | Forced | 0.70 | 0.70 | PGAE North | CISO
VALLEY_5_PERRIS |  | MWD Perris Hydroelectric Recovery Plant |  |  | Forced | 7.94 | 7.94 | SCE Gen | CISO
VEDDER_1_SEKERN |  | TEXACO EXPLORATION &amp; PROD (SE KERN RIVER |  |  | Forced | 34.47 | 12.47 | PGAE Gen | CISO
VERNON_6_GONZL1 |  | H. Gonzales Unit #1 |  |  | Forced | 5.75 | 5.75 | SCE Gen | CISO
VESTAL_2_KERN |  | KERN RIVER PH 3 UNITS 1 &amp; 2 AGGREGATE |  |  | Forced | 36.80 | 36.40 | SCE Gen | CISO
VESTAL_6_QF |  | Isabella Hydro Dam 1 |  |  | Forced | 11.95 | 11.95 | SCE Gen | CISO
VICTOR_1_CREST |  | Victor Aggregate Solar Resources |  |  | Forced | 24.50 | 3.00 | SCE Gen | CISO
VILLPK_2_VALLYV |  | MWD Valley View Hydroelectric Recovery P |  |  | Forced | 4.10 | 4.10 | SCE Gen | CISO
VSTAES_6_VESBT1 |  | Vista Energy Storage |  |  | Forced | 40.00 | 4.10 | SDGE Gen | CISO
WHTWTR_1_WINDA1 |  | Whitewater Hill Wind Project |  |  | Forced | 61.50 | 26.50 | SCE Gen | CISO
WHT_2_UNIT1 |  | White Rock Powerhouse Unit 1 |  |  | Forced | 116.00 | 8.00 | BANC Gen | BANC
WHT_2_UNIT1 |  | White Rock Powerhouse Unit 1 |  |  | Forced | 116.00 | 8.00 | EIM SMUD | BANC
WHT_2_UNIT2 |  | White Rock Powerhouse Unit 2 |  |  | Forced | 133.00 | 9.00 | BANC Gen | BANC
WHT_2_UNIT2 |  | White Rock Powerhouse Unit 2 |  |  | Forced | 133.00 | 9.00 | EIM SMUD | BANC
WISE_1_UNIT 1 |  | Wise Hydro Unit 1 |  |  | Forced | 14.50 | 10.83 | PGAE Gen | CISO
WISHON_6_UNITS |  | Wishon/San Joaquin #1-A AGGREGATE |  |  | Forced | 18.40 | 18.40 | PGAE Gen | CISO
WNDMAS_2_UNIT 1 |  | BUENA VISTA ENERGY, LLC |  |  | Forced | 38.00 | 3.00 | PGAE Gen | CISO
YUBACT_6_UNITA1 |  | Yuba City Energy Center (Calpine) |  |  | Forced | 47.60 | 2.00 | PGAE North | CISO
ZOND_6_UNIT |  | ZOND WINDSYSTEMS INC. |  |  | Forced | 17.10 | 17.10 | PGAE Gen | CISO
APLHIL_1_SFKHY1 |  | South Fork Powerhouse |  |  | Forced | 2.68 | 2.68 |  | CISO
BIGSKY_2_ASLBT2 |  | Antelope Solar 2 Luna |  |  | Forced | 100.00 | 96.50 |  | CISO
BLKDIA_2_BDEBT1 |  | Black Diamond Energy Storage |  |  | Planned | 200.00 | 200.00 |  | CISO
DONPEDRO_6_MIDUNIT1 |  | Don Pedro Generation Station Unit 1 |  |  | Forced | 55.00 | 55.00 |  | BANC
DONPEDRO_6_MIDUNIT2 |  | Don Pedro Generation Station Unit 2 |  |  | Forced | 55.00 | 55.00 |  | BANC
DONPEDRO_6_MIDUNIT3 |  | Don Pedro Generation Station Unit 3 |  |  | Forced | 55.00 | 7.00 |  | BANC
DONPEDRO_6_MIDUNIT4 |  | Don Pedro Generation Station Unit 4 |  |  | Forced | 38.00 | 38.00 |  | BANC
ELKHRN_1_EESX3 |  | Elkhorn Energy Storage |  |  | Planned | 182.50 | 182.50 |  | CISO
FOLSOM_7_UNITS |  | Folsom and Nimbus Aggregation |  |  | Forced | 224.00 | 60.00 |  | BANC
HARDWK_6_STWBM1 |  | Still Water Ranch Dairy |  |  | Forced | 1.00 | 0.20 |  | CISO
HIGHDS_2_H5SBT1 |  | High 5 Solar BESS |  |  | Forced | 50.00 | 50.00 |  | CISO
HIGHDS_2_H5SSR1 |  | High 5 Solar |  |  | Forced | 100.00 | 100.00 |  | CISO
LTBEAR_1_LB4SR5 |  | Little Bear 4 Solar 5 |  |  | Forced | 50.00 | 30.00 |  | CISO
MELONP_7_UNITS |  | New Melones Aggregation |  |  | Forced | 380.00 | 50.00 |  | BANC
RDGPOWER_1_UNIT1 |  | REDDING GT 1 |  |  | Forced | 16.50 | 0.50 |  | BANC
RDGPOWER_1_UNIT2 |  | REDDING GT 2 |  |  | Forced | 24.50 | 1.50 |  | BANC
RDGPOWER_1_UNIT3 |  | REDDING GT 3 |  |  | Forced | 24.50 | 1.50 |  | BANC
RDGPOWER_1_UNIT4-6 |  | REDDING CC 4-6 |  |  | Forced | 126.00 | 18.00 |  | BANC
REP_6_UNITS |  | Roseville Energy Park |  |  | Forced | 168.00 | 88.00 |  | BANC
RPP2_6_CTG2 |  | Roseville Power Plant 2 CT2 |  |  | Forced | 24.00 | 1.99 |  | BANC
SHASTRD_7_UNITS |  | Shasta and Trinity River Division Agg |  |  | Planned/Forced | 1265.00 | 315.00 |  | BANC
SUTTER_2_CISO |  | Sutter Power Plant Pseudo-CISO |  |  | Forced | 275.00 | 1.00 |  | CISO
SUTTER_2_PSEUDOBANC |  | SUTTER_2_PSEUDOBANC |  |  | Forced | 275.00 | 17.00 |  | BANC
VISTRA_5_DALBT2 |  | Dallas Energy Storage 2 |  |  | Forced | 100.00 | 5.00 |  | CISO
VISTRA_5_DALBT3 |  | Dallas Energy Storage 3 |  |  | Forced | 100.00 | 10.00 |  | CISO
VISTRA_5_DALBT4 |  | Dallas Energy Storage 4 |  |  | Forced | 100.00 | 100.00 |  | CISO
VOLTA_7_PONHY1 |  | VOLTA_7_PONHY1 |  |  | Forced | 1.25 | 1.25 |  | CISO
WHSKYTWN_2_UNIT9 |  | WHISKEYTOWN 9 |  |  | Forced | 3.50 | 3.50 |  | BANC
WOODLAND_6_WGSUNIT1 |  | Woodland Generation Station Unit 1 |  |  | Forced | 45.00 | 1.50 |  | BANC
POEPH_7_UNIT 1 |  | POE HYDRO UNIT 1 |  |  | Forced | 69.00 | 69.00 | PGAE North | CISO
POEPH_7_UNIT 2 |  | POE HYDRO UNIT 2 |  |  | Forced | 68.50 | 68.50 | PGAE North | CISO
POTTER_6_UNITS |  | Potter Valley |  |  | Planned/Forced | 10.10 | 10.10 | PGAE North | CISO
PP_1_PP |  | PP1 UNIT 1A |  |  | Forced | 61.00 | 61.00 | LADWP Gen | LADWP
PTRPP_2_SOLAR |  | Pine Tree Solar Power Plant |  |  | Forced | 10.00 | 10.00 | LADWP Gen | LADWP
PWEST_1_UNIT |  | PACIFIC WEST 1 WIND GENERATION |  |  | Forced | 2.10 | 2.10 | SCE Gen | CISO
RAMON_2_SCEDYN |  | RAMON_2_SCEDYN |  |  | Forced | 106.18 | 90.18 | SCE Gen | CISO
RCKCRK_7_UNIT 1 |  | ROCK CREEK HYDRO UNIT 1 |  |  | Forced | 57.00 | 57.00 | PGAE North | CISO
RCKCRK_7_UNIT 2 |  | ROCK CREEK HYDRO UNIT 2 |  |  | Forced | 56.90 | 42.90 | PGAE North | CISO
RECTOR_2_KAWEAH |  | KAWEAH PH 2 &amp; 3 PSP AGGREGATE |  |  | Forced | 6.55 | 6.55 | SCE Gen | CISO
RECTOR_2_KAWH 1 |  | KAWEAH PH 1 UNIT 1 |  |  | Forced | 2.25 | 2.25 | SCE Gen | CISO
REDOND_7_UNIT 5 |  | REDONDO GEN STA. UNIT 5 |  |  | Forced | 178.87 | 38.87 | SCE Gen | CISO
REDOND_7_UNIT 6 |  | REDONDO GEN STA. UNIT 6 |  |  | Forced | 175.00 | 15.00 | SCE Gen | CISO
REDOND_7_UNIT 8 |  | REDONDO GEN STA. UNIT 8 |  |  | Forced | 480.00 | 130.00 | SCE Gen | CISO
RICHMN_7_BAYENV |  | BAY ENVIRONMENTAL (NOVE POWER) |  |  | Forced | 2.50 | 1.95 | PGAE Gen | CISO
RIOBRV_6_UNIT 1 |  | RIO BRAVO HYDRO |  |  | Forced | 14.00 | 14.00 | PGAE Gen | CISO
ROB_6_UNIT |  | Robbs Peak Powerhouse |  |  | Forced | 26.00 | 26.00 | BANC Gen | BANC
ROB_6_UNIT |  | Robbs Peak Powerhouse |  |  | Forced | 26.00 | 26.00 | EIM SMUD | BANC
ROSMDW_2_WIND1 |  | Pacific Wind - Phase 1 |  |  | Planned | 140.00 | 2.00 | SCE Gen | CISO
RTEDDY_2_SOLAR2 |  | Rosamond West Solar 2 |  |  | Forced | 54.00 | 10.00 | SCE Gen | CISO
RUSCTY_2_UNITS |  | Russell City Energy Center |  |  | Forced | 615.18 | 615.18 | PGAE South | CISO
RVSIDE_6_SOLAR1 |  | Tequesquite Landfill Solar Project |  |  | Forced | 7.50 | 1.50 | SCE Gen | CISO
SALIRV_2_UNIT |  | Salinas River Cogeneration |  |  | Forced | 39.00 | 39.00 | PGAE South | CISO
SANTFG_7_UNITS |  | GEYSERS CALISTOGA AGGREGATE |  |  | Forced | 72.00 | 34.00 | PGAE Gen | CISO
SANTGO_2_LNDFL1 |  | Bowerman Power |  |  | Forced | 19.60 | 3.10 | SCE Gen | CISO
SANWD_1_QF |  | San Gorgonio Farms Wind Farm |  |  | Planned | 31.00 | 4.20 | SCE Gen | CISO
SAUGUS_6_MWDFTH |  | Foothill Hydroelectric Recovery Plant |  |  | Forced | 9.10 | 9.10 | SCE Gen | CISO
SBERDO_2_PSP3 |  | Mountainview Gen Sta. Unit 3 |  |  | Forced | 555.00 | 7.00 | SCE Gen | CISO
SBERDO_2_PSP4 |  | Mountainview Gen Sta. Unit 4 |  |  | Forced | 555.00 | 7.00 | SCE Gen | CISO
SBERDO_2_SNTANA |  | SANTA ANA PSP |  |  | Forced | 6.95 | 6.95 | SCE Gen | CISO
SBERDO_6_MILLCK |  | MILL CREEK PSP |  |  | Forced | 3.93 | 2.73 | SCE Gen | CISO
SCAGS_1_UNIT_1 |  | Scattergood Generating Station UNIT 1 |  |  | Forced | 174.00 | 79.00 | LADWP Gen | LADWP
SCAGS_1_UNIT_2 |  | Scattergood Generating Station UNIT 2 |  |  | Forced | 177.00 | 177.00 | LADWP Gen | LADWP
SCEC_1_PDRP15 |  | CBP-DA-C-LCRLL |  |  | Forced | 1.52 | 1.52 | SCE Gen | CISO
SCEC_1_PDRP16 |  | CBP-DA-C-LSCE |  |  | Forced | 4.57 | 4.57 | SCE Gen | CISO
SCEC_1_PDRP17 |  | CBP-DO-C-LSCE |  |  | Forced | 4.80 | 4.80 | SCE Gen | CISO
SCEC_1_PDRP24 |  | CBP-DA-C-LNEI1 |  |  | Forced | 2.22 | 2.22 | SCE Gen | CISO
SCEC_1_PDRP35 |  | CBP-DO-C-LSEL1 |  |  | Forced | 1.42 | 1.42 | SCE Gen | CISO
SCEN_6_PDRP28 |  | CBP-DA-N-LNEI1 |  |  | Forced | 1.65 | 1.65 | SCE Gen | CISO
SCEW_2_PDRP12 |  | CBP-DA-W-LNEI1 |  |  | Forced | 1.61 | 1.61 | SCE Gen | CISO
SCEW_2_PDRP13 |  | CBP-DO-W-LSEL1 |  |  | Forced | 1.36 | 1.36 | SCE Gen | CISO
SCEW_2_PDRP14 |  | CBP-DO-W-LNEI1 |  |  | Forced | 1.14 | 1.14 | SCE Gen | CISO
SCEW_2_PDRP35 |  | CBP-DO-W-LSCE |  |  | Forced | 1.61 | 1.61 | SCE Gen | CISO
SCEW_2_PDRP36 |  | CBP-DA-W-LSCE |  |  | Forced | 1.13 | 1.13 | SCE Gen | CISO
SCHD_1_PDRP52 |  | CBP-DA-H-LNEI1 |  |  | Forced | 1.15 | 1.15 | SCE Gen | CISO
KEKAWK_6_UNIT |  | STS HYDROPOWER LTD. (KEKAWAKA) |  |  | Forced | 5.50 | 5.50 | PGAE Gen | CISO
KELSO_2_UNITS |  | Mariposa Energy |  |  | Forced | 198.03 | 2.83 | PGAE Gen | CISO
KERNFT_1_UNITS |  | KERN FRONT LIMITED |  |  | Forced | 52.40 | 2.60 | PGAE South | CISO
KERRGN_1_UNIT 1 |  | KERN RIVER HYDRO UNITS 1-4 AGGREGATE |  |  | Forced | 25.60 | 13.10 | SCE Gen | CISO
KRAMER_2_SEGS 8 |  | KRAMER JUNCTION 8 |  |  | Forced | 80.00 | 44.00 | SCE Gen | CISO
KYCORA_6_KMSBT1 |  | Kearny Mesa Storage |  |  | Forced | 1.00 | 0.50 | SDGE Gen | CISO
LAMONT_1_SOLAR5 |  | Redcrest Solar Farm |  |  | Forced | 16.66 | 4.66 | PGAE Gen | CISO
LAPLMA_2_UNIT 1 |  | La Paloma Generating Plant Unit #1 |  |  | Forced | 267.00 | 12.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 2 |  | La Paloma Generating Plant Unit #2 |  |  | Forced | 266.00 | 20.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 3 |  | La Paloma Generating Plant Unit #3 |  |  | Forced | 266.00 | 9.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 4 |  | LA PALOMA GENERATING PLANT, UNIT #4 |  |  | Forced | 267.00 | 26.00 | PGAE Gen | CISO
LARKSP_6_UNIT 1 |  | LARKSPUR PEAKER UNIT 1 |  |  | Forced | 46.10 | 2.10 | SDGE Gen | CISO
LARKSP_6_UNIT 2 |  | LARKSPUR PEAKER UNIT 2 |  |  | Forced | 47.98 | 2.58 | SDGE Gen | CISO
LAROA2_2_UNITA1 |  | LR2 |  |  | Forced | 322.00 | 22.00 | SDGE Gen | CISO
LASSEN_6_UNITS |  | Honey Lake Power |  |  | Forced | 30.00 | 30.00 | PGAE North | CISO
LEBECS_2_UNITS |  | Pastoria Energy Facility |  |  | Planned/Forced | 799.47 | 20.47 | SCE Gen | CISO
LECEF_1_UNITS |  | LOS ESTEROS ENERGY FACILITY AGGREGATE |  |  | Forced | 309.84 | 10.84 | PGAE South | CISO
LIVOAK_1_UNIT 1 |  | LIVE OAK LIMITED |  |  | Forced | 49.70 | 8.70 | PGAE South | CISO
LMBEPK_2_UNITA1 |  | Lambie Energy Center, Unit #1 |  |  | Forced | 47.50 | 1.50 | PGAE Gen | CISO
LMEC_1_PL1X3 |  | Los Medanos Energy Center AGGREGATE |  |  | Forced | 580.00 | 308.00 | PGAE Gen | CISO
LNL_6_UNIT |  | Loon Lake Powerhouse |  |  | Forced | 79.00 | 5.00 | BANC Gen | BANC
LNL_6_UNIT |  | Loon Lake Powerhouse |  |  | Forced | 79.00 | 5.00 | EIM SMUD | BANC
LODI25_2_UNIT 1 |  | LODI GAS TURBINE |  |  | Forced | 25.00 | 3.00 | PGAE Gen | CISO
LODIEC_2_PL1X2 |  | Lodi Energy Center |  |  | Forced | 302.58 | 14.58 | PGAE Gen | CISO
MAGNLA_6_CERRITOS |  | Magnolia Power Plant Cerritos |  |  | Forced | 12.00 | 2.00 | SCE Gen | CISO
MAGNLA_6_COLTON |  | Magnolia Power Project |  |  | Forced | 12.00 | 2.00 | SCE Gen | CISO
MALCHQ_7_UNIT 1 |  | MALACHA HYDRO L.P. |  |  | Forced | 32.50 | 32.50 | PGAE Gen | CISO
MANZNA_2_WIND |  | Manzana Wind |  |  | Forced | 189.00 | 10.00 | SCE Gen | CISO
MCCALL_1_QF |  | Fish Water |  |  | Forced | 0.52 | 0.52 | PGAE Gen | CISO
MCSWAN_6_UNITS |  | MC SWAIN HYDRO |  |  | Forced | 10.00 | 4.80 | PGAE South | CISO
MERCFL_6_UNIT |  | Merced Falls Powerhouse |  |  | Forced | 3.50 | 1.30 | PGAE South | CISO
METEC_2_PL1X3 |  | Metcalf Energy Center |  |  | Forced | 593.16 | 3.16 | PGAE Gen | CISO
MIDWY3_2_MDSSR1 |  | Midway South Solar Farm |  |  | Forced | 20.00 | 20.00 | SCE Gen | CISO
MIRLOM_2_CORONA |  | MWD Corona Hydroelectric Recovery Plant |  |  | Forced | 2.85 | 2.85 | SCE Gen | CISO
Count of Resource ID | Outage Type Counts
BA | Forced |  | Planned | Planned/Forced
BANC | 35 |  | 0 | 1
LADWP | 14 |  | 1 | 3
CISO | 295 |  | 19 | 21
TIDC | 0 |  | 2 | 0
Grand Total | 344 |  | 22 | 25
BA | Sum of Capacity (MW) |  | Sum of Curtailed (MW)
BANC | 5571 |  | 963.49
CISO | 35527.75 |  | 9974.96
LADWP | 4299 |  | 1195
TIDC | 93 |  | 93
Grand Total | 45490.75 |  | 12226.45
The content of these pages is subject to change without notice. Decisions based on information contained within the California ISO web site are the visitor's sole responsibility.