## Curtailed
Report Generated on : 07/17/2022 07:30:06 (PPT)
Trade Date: 07/17/2022
Curtailed and Non-Operational Generator AM Report
Resource ID |  | Resource Name |  |  | Outage Type | Capacity (MW) | Curtailed (MW) | Zone Name | BA
COCOPP_2_CTG2 |  | Marsh Landing 2 |  |  | Forced | 202.70 | 6.14 | PGAE South | CISO
GATWAY_2_PL1X3 |  | GATEWAY GENERATING STATION |  |  | Forced | 585.00 | 67.40 | PGAE South | CISO
GEYS11_7_UNIT11 |  | GEYSERS UNIT 11 (HEALDSBURG) |  |  | Forced | 86.80 | 11.80 | PGAE Gen | CISO
GEYS12_7_UNIT12 |  | GEYSERS UNIT 12 (HEALDSBURG) |  |  | Forced | 57.00 | 14.00 | PGAE Gen | CISO
GEYS13_7_UNIT13 |  | GEYSERS UNIT 13 (HEALDSBURG) |  |  | Forced | 73.00 | 24.00 | PGAE Gen | CISO
GEYS14_7_UNIT14 |  | GEYSERS UNIT 14 (HEALDSBURG) |  |  | Forced | 70.00 | 11.00 | PGAE Gen | CISO
GEYS16_7_UNIT16 |  | GEYSERS UNIT 16 (HEALDSBURG) |  |  | Forced | 63.00 | 15.00 | PGAE Gen | CISO
GEYS17_7_UNIT17 |  | GEYSERS UNIT 17 (HEALDSBURG) |  |  | Forced | 75.50 | 11.50 | PGAE Gen | CISO
GEYS18_7_UNIT18 |  | GEYSERS UNIT 18 (HEALDSBURG) |  |  | Forced | 72.00 | 30.00 | PGAE Gen | CISO
GEYS20_7_UNIT20 |  | GEYSERS UNIT 20 (HEALDSBURG) |  |  | Forced | 50.00 | 17.00 | PGAE Gen | CISO
GILROY_1_UNIT |  | GILROY COGEN AGGREGATE |  |  | Forced | 120.00 | 14.00 | PGAE South | CISO
GRIZLY_1_UNIT 1 |  | GRIZZLY HYDRO |  |  | Forced | 20.00 | 20.00 | PGAE North | CISO
GRSCRK_6_BGCKWW |  | BIG CREEK WATER WORKS - CEDAR FLAT |  |  | Forced | 5.00 | 5.00 | PGAE Gen | CISO
GWFPWR_1_UNITS |  | Hanford Peaker Plant |  |  | Forced | 98.46 | 6.90 | PGAE Gen | CISO
GYS5X6_7_UNITS |  | GEYSERS UNITS 5 &amp; 6 AGGREGATE |  |  | Forced | 98.43 | 15.43 | PGAE Gen | CISO
GYS7X8_7_UNITS |  | GEYSERS UNITS 7 &amp; 8 AGGREGATE |  |  | Forced | 95.80 | 9.80 | PGAE Gen | CISO
HALSEY_6_UNIT |  | HALSEY HYDRO |  |  | Planned | 13.50 | 13.50 | PGAE Gen | CISO
HARBGN_7_UNITS |  | HARBOR COGEN COMBINED CYCLE |  |  | Forced | 109.01 | 21.01 | SCE Gen | CISO
HATLOS_6_LSCRK |  | Lost Creek 1 &amp; 2 Hydro Conversion |  |  | Forced | 1.70 | 0.84 | PGAE Gen | CISO
HAYPRS_6_HAYHD1 |  | Haypress Lower |  |  | Forced | 5.80 | 5.80 | PGAE Gen | CISO
HAYPRS_6_HAYHD2 |  | Haypress Middle |  |  | Forced | 6.70 | 6.70 | PGAE Gen | CISO
HENRTA_6_UNITA1 |  | GWF HENRIETTA PEAKER PLANT UNIT 1 |  |  | Forced | 49.98 | 4.51 | PGAE South | CISO
HENRTA_6_UNITA2 |  | GWF HENRIETTA PEAKER PLANT UNIT 2 |  |  | Forced | 49.42 | 4.44 | PGAE South | CISO
HIDSRT_2_UNITS |  | HIGH DESERT POWER PROJECT AGGREGATE |  |  | Forced | 830.00 | 57.00 | SCE Gen | CISO
HIGHDS_2_H5SBT1 |  | High 5 Solar BESS |  |  | Forced | 50.00 | 17.20 | SDGE Gen | CISO
HNTGBH_2_PL1X3 |  | Huntington Beach Energy |  |  | Forced | 673.80 | 1.80 | SCE Gen | CISO
HUMBPP_1_UNITS3 |  | Humboldt Bay Generating Station 3 |  |  | Planned/Forced | 65.08 | 65.08 | PGAE North | CISO
HUMBPP_6_UNITS |  | Humboldt Bay Generating Station 1 |  |  | Planned/Forced | 97.62 | 32.54 | PGAE North | CISO
HYTTHM_2_UNITS |  | HYATT-THERMALITO PUMP-GEN (AGGREGATE) |  |  | Planned | 933.10 | 308.10 | PGAE Gen | CISO
INDIGO_1_UNIT 1 |  | INDIGO PEAKER UNIT 1 |  |  | Forced | 45.30 | 3.30 | SCE Gen | CISO
INDIGO_1_UNIT 2 |  | INDIGO PEAKER UNIT 2 |  |  | Forced | 45.30 | 4.30 | SCE Gen | CISO
INDIGO_1_UNIT 3 |  | INDIGO PEAKER UNIT 3 |  |  | Forced | 45.30 | 4.80 | SCE Gen | CISO
INTKEP_2_UNITS |  | CCSF Hetch_Hetchy Hydro Aggregate |  |  | Planned/Forced | 405.00 | 100.00 | PGAE Gen | CISO
IVANPA_1_UNIT3 |  | Ivanpah 3 |  |  | Forced | 133.00 | 133.00 | SCE Gen | CISO
IVSLRP_2_SOLAR1 |  | Silver Ridge Mount Signal |  |  | Forced | 200.00 | 64.00 | SDGE Gen | CISO
JAWBNE_2_NSRWND |  | North Sky River Wind Project |  |  | Forced | 160.00 | 8.00 | SCE Gen | CISO
JAWBNE_2_SRWND |  | Sky River Wind Repower A |  |  | Forced | 30.00 | 3.00 | SCE Gen | CISO
JAWBNE_2_SRWWD2 |  | Sky River Wind Repower B |  |  | Forced | 30.20 | 5.30 | SDGE Gen | CISO
KEKAWK_6_UNIT |  | STS HYDROPOWER LTD. (KEKAWAKA) |  |  | Forced | 5.50 | 5.50 | PGAE Gen | CISO
KELSO_2_UNITS |  | Mariposa Energy |  |  | Forced | 198.03 | 3.13 | PGAE Gen | CISO
KERNFT_1_UNITS |  | KERN FRONT LIMITED |  |  | Forced | 52.40 | 4.40 | PGAE South | CISO
KERRGN_1_UNIT 1 |  | KERN RIVER HYDRO UNITS 1-4 AGGREGATE |  |  | Forced | 25.60 | 8.60 | SCE Gen | CISO
KNTSTH_6_SOLAR |  | Kent South |  |  | Forced | 20.00 | 1.50 | PGAE South | CISO
KYCORA_6_KMSBT1 |  | Kearny Mesa Storage |  |  | Forced | 1.00 | 0.50 | SDGE Gen | CISO
LAKHDG_6_UNIT 1 |  | Lake Hodges Pumped Storage-Unit1 |  |  | Planned | 20.00 | 20.00 | SDGE Gen | CISO
LAKHDG_6_UNIT 2 |  | Lake Hodges Pumped Storage-Unit2 |  |  | Planned | 20.00 | 20.00 | SDGE Gen | CISO
LAMONT_1_SOLAR3 |  | Woodmere Solar Farm |  |  | Forced | 14.99 | 1.69 | PGAE Gen | CISO
LAMONT_1_SOLAR4 |  | Hayworth Solar Farm |  |  | Forced | 26.66 | 4.86 | PGAE South | CISO
LAMONT_1_SOLAR5 |  | Redcrest Solar Farm |  |  | Forced | 16.66 | 3.36 | PGAE Gen | CISO
LAPLMA_2_UNIT 1 |  | La Paloma Generating Plant Unit #1 |  |  | Forced | 267.00 | 16.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 2 |  | La Paloma Generating Plant Unit #2 |  |  | Forced | 266.00 | 24.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 3 |  | La Paloma Generating Plant Unit #3 |  |  | Forced | 266.00 | 14.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 4 |  | LA PALOMA GENERATING PLANT, UNIT #4 |  |  | Forced | 267.00 | 30.00 | PGAE Gen | CISO
LARKSP_6_UNIT 1 |  | LARKSPUR PEAKER UNIT 1 |  |  | Forced | 46.10 | 1.90 | SDGE Gen | CISO
LARKSP_6_UNIT 2 |  | LARKSPUR PEAKER UNIT 2 |  |  | Forced | 47.06 | 1.46 | SDGE Gen | CISO
LAROA2_2_UNITA1 |  | LR2 |  |  | Forced | 322.00 | 17.00 | SDGE Gen | CISO
LASSEN_6_UNITS |  | Honey Lake Power |  |  | Forced | 30.00 | 30.00 | PGAE North | CISO
LEBECS_2_UNITS |  | Pastoria Energy Facility |  |  | Forced | 799.47 | 11.47 | SCE Gen | CISO
LECEF_1_UNITS |  | LOS ESTEROS ENERGY FACILITY AGGREGATE |  |  | Forced | 309.84 | 11.84 | PGAE South | CISO
LITLRK_6_SOLAR1 |  | Lancaster Little Rock C |  |  | Forced | 5.00 | 4.00 | SCE Gen | CISO
LIVOAK_1_UNIT 1 |  | LIVE OAK LIMITED |  |  | Forced | 49.70 | 7.70 | PGAE South | CISO
LMEC_1_PL1X3 |  | Los Medanos Energy Center AGGREGATE |  |  | Forced | 580.00 | 9.00 | PGAE Gen | CISO
LODI25_2_UNIT 1 |  | LODI GAS TURBINE |  |  | Forced | 25.00 | 3.00 | PGAE Gen | CISO
LODIEC_2_PL1X2 |  | Lodi Energy Center |  |  | Forced | 302.58 | 77.58 | PGAE Gen | CISO
LOWGAP_7_QFUNTS |  | Matthews Dam Hydro |  |  | Forced | 1.35 | 1.15 | PGAE North | CISO
MAGNLA_6_CERRITOS |  | Magnolia Power Plant Cerritos |  |  | Planned/Forced | 12.00 | 2.00 | SCE Gen | CISO
MAGNLA_6_COLTON |  | Magnolia Power Project |  |  | Planned/Forced | 12.00 | 2.00 | SCE Gen | CISO
WRGTSR_2_WSFSR1 |  | Wright Solar Freeman |  |  | Planned/Forced | 200.00 | 6.00 | PGAE Gen | CISO
ZOND_6_UNIT |  | ZOND WINDSYSTEMS INC. |  |  | Forced | 17.10 | 17.10 | PGAE Gen | CISO
ARLNTN_2_ASUSR1 |  | Arlington Solar Unit 1 |  |  | Planned | 131.00 | 131.00 |  | CISO
BIGSKY_2_AS2BT1 |  | Antelope Solar 2 LAB |  |  | Forced | 127.00 | 127.00 |  | CISO
CASADB_1_CD4GT1 |  | Casa Diablo 4 |  |  | Forced | 40.00 | 10.00 |  | CISO
CRIMSN_2_CRMBT1 |  | Crimson |  |  | Forced | 200.00 | 50.00 |  | CISO
DSRTSN_2_DS2X2 |  | Desert Sunlight PV II Storage |  |  | Planned | 230.00 | 230.00 |  | CISO
LECONT_2_LESBT1 |  | LeConte Energy Storage |  |  | Forced | 125.00 | 105.00 |  | CISO
OTAY_6_ECVBT2 |  | Chula Vista 2 |  |  | Forced | 3.00 | 3.00 |  | CISO
SUNCAT_2_A1ABT1 |  | Arlington Solar Unit 1A BESS |  |  | Forced | 47.00 | 47.00 |  | CISO
SUNCAT_2_A1BBT1 |  | Arlington Solar Unit 1B BESS |  |  | Forced | 63.00 | 63.00 |  | CISO
WILLMS_6_ARBBM1 |  | Abel Road Bioenergy |  |  | Forced | 3.00 | 3.00 |  | CISO
COCOPP_2_CTG3 |  | Marsh Landing 3 |  |  | Forced | 208.96 | 13.18 | PGAE South | CISO
MAGUND_1_BKSSR2 |  | Bakersfield Solar 1 |  |  | Forced | 5.25 | 1.00 | PGAE Gen | CISO
SCHLTE_1_PL1X3 |  | Tracy Combined Cycle Power Plant |  |  | Forced | 336.04 | 24.48 | PGAE Gen | CISO
SCHNDR_1_WSTSDE |  | Westside Solar Station |  |  | Forced | 15.00 | 3.00 | PGAE Gen | CISO
SENTNL_2_CTG1 |  | Sentinel Unit 1 |  |  | Forced | 107.68 | 4.09 | SCE Gen | CISO
SENTNL_2_CTG2 |  | Sentinel Unit 2 |  |  | Forced | 104.19 | 5.78 | SCE Gen | CISO
SENTNL_2_CTG3 |  | Sentinel Unit 3 |  |  | Forced | 105.69 | 4.09 | SCE Gen | CISO
SENTNL_2_CTG4 |  | Sentinel Unit 4 |  |  | Forced | 106.55 | 4.09 | SCE Gen | CISO
SENTNL_2_CTG5 |  | Sentinel Unit 5 |  |  | Forced | 107.52 | 4.09 | SCE Gen | CISO
SENTNL_2_CTG6 |  | Sentinel Unit 6 |  |  | Forced | 105.00 | 4.09 | SCE Gen | CISO
SENTNL_2_CTG7 |  | Sentinel Unit 7 |  |  | Forced | 106.73 | 4.09 | SCE Gen | CISO
SENTNL_2_CTG8 |  | Sentinel Unit 8 |  |  | Forced | 106.85 | 4.09 | SCE Gen | CISO
SIERRA_1_UNITS |  | HIGH SIERRA LIMITED |  |  | Forced | 52.43 | 2.63 | PGAE Gen | CISO
SLATE_2_SLASR4 |  | SLATE_4 |  |  | Forced | 63.00 | 2.26 | PGAE Gen | CISO
SLUISP_2_UNITS |  | SAN LUIS (GIANELLI) PUMP-GEN (AGGREGATE) |  |  | Planned | 374.43 | 258.43 | PGAE Gen | CISO
SMUDGO_7_UNIT 1 |  | SONOMA POWER PLANT |  |  | Forced | 64.80 | 11.80 | PGAE Gen | CISO
SNCLRA_2_HOWLNG |  | Houwelings Nurseries Oxnard, Inc |  |  | Forced | 13.00 | 8.80 | SCE Gen | CISO
SNCLRA_2_UNIT1 |  | New Indy Oxnard |  |  | Planned | 27.80 | 16.80 | SCE Gen | CISO
SPAULD_6_UNIT 3 |  | SPAULDING HYDRO PH 3 UNIT |  |  | Forced | 6.50 | 6.50 | PGAE North | CISO
SPBURN_7_SNOWMT |  | Burney Creek Hydro |  |  | Forced | 3.00 | 3.00 | PGAE North | CISO
SPIFBD_1_PL1X2 |  | SIERRA PACIFIC IND. (SONORA) |  |  | Forced | 7.50 | 7.50 | PGAE Gen | CISO
SPRGAP_1_UNIT 1 |  | SPRING GAP HYDRO |  |  | Forced | 7.00 | 7.00 | PGAE North | CISO
SPRGVL_2_TULESC |  | TULE RIVER HYDRO PLANT (SCE) |  |  | Forced | 2.50 | 2.50 | SCE Gen | CISO
STANTN_2_STAGT2 |  | Stanton 2 |  |  | Forced | 49.65 | 0.85 | SCE Gen | CISO
STIGCT_2_LODI |  | LODI STIG UNIT |  |  | Forced | 49.90 | 3.90 | PGAE Gen | CISO
STOILS_1_UNITS |  | Chevron Richmond Refinery |  |  | Forced | 56.20 | 56.20 | PGAE Gen | CISO
STROUD_6_WWHSR1 |  | Winter Wheat Solar Farm |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
SUMWHT_6_SWSSR1 |  | Summer Wheat Solar Farm |  |  | Forced | 18.50 | 2.90 | PGAE Gen | CISO
SUNRIS_2_PL1X3 |  | Sunrise Power Project AGGREGATE II |  |  | Forced | 586.02 | 48.02 | PGAE Gen | CISO
SUNSET_2_UNITS |  | MIDWAY SUNSET COGENERATION PLANT |  |  | Planned/Forced | 248.00 | 92.00 | PGAE South | CISO
SUTTER_2_CISO |  | Sutter Power Plant Pseudo-CISO |  |  | Forced | 275.00 | 5.00 | PGAE Gen | CISO
TERMEX_2_PL1X3 |  | TDM |  |  | Forced | 625.00 | 26.00 | SDGE Gen | CISO
TIFFNY_1_DILLON |  | TIFFNY_1_DILLON |  |  | Forced | 45.00 | 2.00 | SCE Gen | CISO
TRNQLT_2_SOLAR |  | Tranquillity |  |  | Forced | 200.00 | 1.80 | PGAE Gen | CISO
TRNSWD_1_QF |  | FPL Energy C Wind |  |  | Forced | 38.97 | 30.47 | SCE Gen | CISO
ULTPFR_1_UNIT 1 |  | Rio Bravo Fresno |  |  | Forced | 24.30 | 2.30 | PGAE South | CISO
UNCHEM_1_UNIT |  | CONTRA COSTA CARBON PLANT |  |  | Forced | 19.00 | 12.00 | PGAE Gen | CISO
USWND2_1_WIND1 |  | Golden Hills A |  |  | Forced | 42.96 | 5.46 | PGAE Gen | CISO
USWND2_1_WIND2 |  | Golden Hills B |  |  | Forced | 42.96 | 1.79 | PGAE Gen | CISO
USWND2_1_WIND3 |  | Golden Hills C |  |  | Forced | 46.00 | 13.80 | PGAE Gen | CISO
USWNDR_2_SMUD |  | SOLANO WIND FARM |  |  | Forced | 102.18 | 10.32 | PGAE Gen | CISO
USWPJR_2_UNITS |  | Vasco Wind |  |  | Forced | 78.20 | 2.30 | PGAE Gen | CISO
VACADX_1_UNITA1 |  | CalPeak Power Vaca Dixon Unit 1 |  |  | Forced | 50.61 | 50.61 | PGAE Gen | CISO
VALLEY_5_PERRIS |  | MWD Perris Hydroelectric Recovery Plant |  |  | Forced | 7.94 | 7.94 | SCE Gen | CISO
VEDDER_1_SEKERN |  | TEXACO EXPLORATION &amp; PROD (SE KERN RIVER |  |  | Forced | 34.47 | 34.47 | PGAE Gen | CISO
VERNON_6_GONZL1 |  | H. Gonzales Unit #1 |  |  | Forced | 5.75 | 5.75 | SCE Gen | CISO
VESTAL_2_KERN |  | KERN RIVER PH 3 UNITS 1 &amp; 2 AGGREGATE |  |  | Forced | 36.80 | 36.30 | SCE Gen | CISO
VESTAL_6_QF |  | Isabella Hydro Dam 1 |  |  | Forced | 11.95 | 10.45 | SCE Gen | CISO
VILLPK_2_VALLYV |  | MWD Valley View Hydroelectric Recovery P |  |  | Forced | 4.10 | 4.10 | SCE Gen | CISO
VISTRA_5_DALBT1 |  | Dallas Energy Storage |  |  | Forced | 100.00 | 3.00 | PGAE Gen | CISO
VISTRA_5_DALBT3 |  | Dallas Energy Storage 3 |  |  | Forced | 100.00 | 3.00 | PGAE Gen | CISO
VISTRA_5_DALBT4 |  | Dallas Energy Storage 4 |  |  | Forced | 100.00 | 11.00 | PGAE Gen | CISO
VLCNTR_6_VCEBT2 |  | Valley Center Energy Storage B |  |  | Forced | 85.00 | 10.00 | SDGE Gen | CISO
VOLTA_2_UNIT 1 |  | VOLTA HYDRO UNIT 1 |  |  | Forced | 9.10 | 9.10 | PGAE North | CISO
VOLTA_6_BAILCK |  | Bailey Creek Ranch |  |  | Forced | 0.63 | 0.57 | PGAE Gen | CISO
VOLTA_7_PONHY1 |  | Ponderosa Bailey Hydroelectric |  |  | Forced | 1.25 | 1.25 | PGAE Gen | CISO
WFRESN_1_SOLAR |  | Joya Del Sol |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
WHTWTR_1_WINDA1 |  | Whitewater Hill Wind Project |  |  | Forced | 61.50 | 11.50 | SCE Gen | CISO
WISE_1_UNIT 1 |  | Wise Hydro Unit 1 |  |  | Forced | 14.50 | 10.28 | PGAE Gen | CISO
WISE_1_UNIT 2 |  | WISE HYDRO UNIT 2 |  |  | Forced | 3.20 | 3.20 | PGAE North | CISO
WISHON_6_UNITS |  | Wishon/San Joaquin #1-A AGGREGATE |  |  | Planned/Forced | 18.40 | 18.40 | PGAE Gen | CISO
METEC_2_PL1X3 |  | Metcalf Energy Center |  |  | Forced | 597.05 | 19.05 | PGAE Gen | CISO
MIRLOM_6_PEAKER |  | Mira Loma Peaker |  |  | Forced | 47.18 | 2.46 | SCE Gen | CISO
MKTRCK_1_UNIT 1 |  | MCKITTRICK LIMITED |  |  | Forced | 47.49 | 9.89 | PGAE South | CISO
MNDALY_6_MCGRTH |  | McGrath Beach Peaker |  |  | Forced | 48.56 | 5.37 | SCE Gen | CISO
MNDOTA_1_SOLAR1 |  | North Star Solar 1 |  |  | Forced | 60.00 | 2.40 | PGAE Gen | CISO
MONLTH_6_BATTRY |  | Tehachapi Storage Project |  |  | Forced | 7.99 | 7.99 | SCE Gen | CISO
MONTPH_7_UNITS |  | MONTICELLO HYDRO AGGREGATE |  |  | Forced | 12.50 | 1.10 | PGAE Gen | CISO
MRCHNT_2_PL1X3 |  | Desert Star Energy Center |  |  | Forced | 494.58 | 69.58 | SDGE Gen | CISO
MRGT_6_TGEBT1 |  | Top Gun Energy Storage |  |  | Forced | 30.00 | 14.00 | SDGE Gen | CISO
MSOLAR_2_SOLAR1 |  | Mesquite Solar 1 |  |  | Planned | 165.00 | 10.50 | SDGE Gen | CISO
MSTANG_2_MTGBT1 |  | Mustang 1 BESS |  |  | Forced | 75.00 | 3.00 | PGAE Gen | CISO
MTWIND_1_UNIT 3 |  | Mountain View Power Project III |  |  | Forced | 22.44 | 1.98 | SCE Gen | CISO
NAROW1_2_UNIT |  | NARROWS PH 1 UNIT |  |  | Forced | 12.00 | 1.60 | PGAE North | CISO
NAROW2_2_UNIT |  | Narrows Powerhouse Unit 2 |  |  | Forced | 55.00 | 39.70 | PGAE North | CISO
NCPA_7_GP2UN3 |  | NCPA GEO PLANT 2 UNIT 3 |  |  | Forced | 42.42 | 42.42 | PGAE Gen | CISO
NWCSTL_7_UNIT 1 |  | NEWCASTLE HYDRO |  |  | Forced | 12.00 | 12.00 | PGAE Gen | CISO
OAK C_7_UNIT 1 |  | OAKLAND STATION C GT UNIT 1 |  |  | Forced | 55.00 | 28.00 | PGAE South | CISO
OAK C_7_UNIT 3 |  | OAKLAND STATION C GT UNIT 3 |  |  | Forced | 55.00 | 1.00 | PGAE South | CISO
OASIS_6_SOLAR2 |  | Oasis Solar |  |  | Forced | 20.00 | 6.00 | SCE Gen | CISO
OCTILO_5_WIND |  | Ocotillo Wind Energy Facility |  |  | Forced | 265.00 | 72.00 | SDGE Gen | CISO
OILFLD_7_QFUNTS |  | Nacimiento Hydroelectric Plant |  |  | Forced | 3.80 | 3.80 | PGAE South | CISO
OLINDA_2_COYCRK |  | MWD Coyote Creek Hydroelectric Recovery |  |  | Forced | 3.13 | 3.13 | SCE Gen | CISO
ORLND_6_HIGHLI |  | High Line Canal Hydro |  |  | Forced | 0.50 | 0.50 | PGAE Gen | CISO
OROVIL_6_UNIT |  | Oroville Cogeneration, LP |  |  | Forced | 7.50 | 3.49 | PGAE Gen | CISO
OTMESA_2_PL1X3 |  | OTAY MESA ENERGY CENTER |  |  | Forced | 603.68 | 25.68 | SDGE Gen | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 6.80 | PGAE Gen | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 6.80 | PGAE North | CISO
PADUA_2_ONTARO |  | ONTARIO/SIERRA HYDRO PSP |  |  | Forced | 1.92 | 1.32 | SCE Gen | CISO
PALALT_7_COBUG |  | Cooperatively Owned Back Up Generator |  |  | Forced | 4.50 | 4.50 | PGAE Gen | CISO
PARDEB_6_UNITS |  | Pardee Power House |  |  | Forced | 30.00 | 30.00 | PGAE Gen | CISO
PINFLT_7_UNITS |  | PINE FLAT HYDRO AGGREGATE |  |  | Forced | 198.51 | 150.51 | PGAE Gen | CISO
PIOPIC_2_CTG1 |  | Pio Pico Unit 1 |  |  | Forced | 111.30 | 7.45 | SDGE Gen | CISO
PIOPIC_2_CTG2 |  | Pio Pico Unit 2 |  |  | Forced | 112.70 | 6.08 | SDGE Gen | CISO
PIOPIC_2_CTG3 |  | Pio Pico Unit 3 |  |  | Forced | 112.00 | 7.02 | SDGE Gen | CISO
PIT1_7_UNIT 1 |  | PIT PH 1 UNIT 1 |  |  | Planned | 32.00 | 32.00 | PGAE North | CISO
PIT6_7_UNIT 1 |  | PIT PH 6 UNIT 1 |  |  | Forced | 39.00 | 1.00 | PGAE North | CISO
PIT6_7_UNIT 2 |  | PIT PH 6 UNIT 2 |  |  | Forced | 40.00 | 2.00 | PGAE North | CISO
PIT7_7_UNIT 1 |  | PIT PH 7 UNIT 1 |  |  | Forced | 55.70 | 55.70 | PGAE North | CISO
PIT7_7_UNIT 2 |  | PIT PH 7 UNIT 2 |  |  | Planned/Forced | 54.60 | 54.60 | PGAE North | CISO
PLAINV_6_SOLAR3 |  | Sierra Solar Greenworks LLC |  |  | Forced | 20.00 | 2.00 | SCE Gen | CISO
PMDLET_6_SOLAR1 |  | SEPV Palmdale East, LLC |  |  | Forced | 10.00 | 2.00 | SCE Gen | CISO
PNCHEG_2_PL1X4 |  | PANOCHE ENERGY CENTER (Aggregated) |  |  | Forced | 417.00 | 111.00 | PGAE Gen | CISO
PNCHPP_1_PL1X2 |  | Midway Peaking Aggregate |  |  | Forced | 119.91 | 5.91 | PGAE Gen | CISO
PNOCHE_1_PL1X2 |  | Panoche Peaker |  |  | Forced | 49.97 | 1.32 | PGAE South | CISO
POEPH_7_UNIT 1 |  | POE HYDRO UNIT 1 |  |  | Forced | 68.00 | 66.00 | PGAE North | CISO
POEPH_7_UNIT 2 |  | POE HYDRO UNIT 2 |  |  | Forced | 68.50 | 66.50 | PGAE North | CISO
POTTER_6_UNITS |  | Potter Valley |  |  | Forced | 10.10 | 10.10 | PGAE North | CISO
PRCTVY_1_MIGBT1 |  | Miguel BESS |  |  | Forced | 2.00 | 2.00 | SDGE Gen | CISO
PWEST_1_UNIT |  | PACIFIC WEST 1 WIND GENERATION |  |  | Forced | 2.10 | 2.10 | SCE Gen | CISO
RAMON_2_SCEDYN |  | RAMON_2_SCEDYN |  |  | Forced | 106.18 | 51.18 | SCE Gen | CISO
RCKCRK_7_UNIT 1 |  | ROCK CREEK HYDRO UNIT 1 |  |  | Forced | 57.00 | 57.00 | PGAE North | CISO
RCKCRK_7_UNIT 2 |  | ROCK CREEK HYDRO UNIT 2 |  |  | Forced | 56.90 | 56.90 | PGAE North | CISO
RECTOR_2_KAWEAH |  | KAWEAH PH 2 &amp; 3 PSP AGGREGATE |  |  | Forced | 6.55 | 6.55 | SCE Gen | CISO
RECTOR_2_KAWH 1 |  | KAWEAH PH 1 UNIT 1 |  |  | Forced | 2.25 | 2.25 | SCE Gen | CISO
RICHMN_7_BAYENV |  | BAY ENVIRONMENTAL (NOVE POWER) |  |  | Forced | 2.50 | 2.50 | PGAE Gen | CISO
ROLLIN_6_UNIT |  | ROLLINS HYDRO |  |  | Forced | 13.50 | 7.68 | PGAE North | CISO
ROSMDW_2_WIND1 |  | Pacific Wind - Phase 1 |  |  | Forced | 140.00 | 8.00 | SCE Gen | CISO
RUSCTY_2_UNITS |  | Russell City Energy Center |  |  | Forced | 615.18 | 7.18 | PGAE South | CISO
SANBRN_2_ESBBT1 |  | EdSan 1B |  |  | Forced | 100.00 | 7.60 | SCE Gen | CISO
SANTFG_7_UNITS |  | GEYSERS CALISTOGA AGGREGATE |  |  | Forced | 72.00 | 14.00 | PGAE Gen | CISO
SBERDO_2_PSP3 |  | Mountainview Gen Sta. Unit 3 |  |  | Forced | 555.00 | 12.72 | SCE Gen | CISO
SBERDO_2_PSP4 |  | Mountainview Gen Sta. Unit 4 |  |  | Forced | 555.00 | 18.72 | SCE Gen | CISO
SBERDO_2_SNTANA |  | SANTA ANA PSP |  |  | Forced | 6.95 | 6.95 | SCE Gen | CISO
SBERDO_6_MILLCK |  | MILL CREEK PSP |  |  | Planned/Forced | 3.93 | 2.43 | SCE Gen | CISO
COCOPP_2_CTG4 |  | Marsh Landing 4 |  |  | Forced | 204.29 | 7.15 | PGAE South | CISO
COLGAT_7_UNIT 1 |  | Colgate Powerhouse Unit 1 |  |  | Planned/Forced | 176.72 | 176.72 | PGAE North | CISO
COLGAT_7_UNIT 2 |  | Colgate Powerhouse Unit 2 |  |  | Planned/Forced | 175.67 | 175.67 | PGAE North | CISO
COLTON_6_AGUAM1 |  | AGUA MANSA UNIT 1 (CITY OF COLTON) |  |  | Forced | 43.00 | 2.00 | SCE Gen | CISO
COLUSA_2_PL1X3 |  | Colusa Generating Station |  |  | Forced | 641.00 | 26.80 | PGAE North | CISO
CONTRL_1_LUNDY |  | LUNDY |  |  | Forced | 3.00 | 1.30 | SCE Gen | CISO
CONTRL_1_OXBOW |  | Dixie Valley Geo |  |  | Forced | 60.00 | 4.00 | SCE Gen | CISO
CONTRL_1_POOLE |  | POOLE HYDRO PLANT 1 |  |  | Forced | 10.90 | 10.30 | SCE Gen | CISO
CONTRL_1_RUSHCK |  | RUSH CREEK |  |  | Forced | 11.94 | 11.84 | SCE Gen | CISO
COVERD_2_HCKHY1 |  | HATCHET CREEK |  |  | Planned | 6.89 | 6.89 | PGAE Gen | CISO
COVERD_2_MCKHY1 |  | Montgomery Creek Hydro |  |  | Planned/Forced | 2.80 | 2.80 | PGAE Gen | CISO
COVERD_2_QFUNTS |  | Cove Hydroelectric Project |  |  | Planned | 5.50 | 5.50 | PGAE North | CISO
COVERD_2_RCKHY1 |  | ROARING CREEK |  |  | Planned | 2.00 | 2.00 | PGAE Gen | CISO
CRESTA_7_PL1X2 |  | CRESTA PH UNIT 1 &amp; 2 AGGREGATE |  |  | Forced | 70.40 | 70.40 | PGAE North | CISO
CRNEVL_6_CRNVA |  | Crane Valley |  |  | Planned/Forced | 0.90 | 0.90 | PGAE Gen | CISO
CRNEVL_6_SJQN 2 |  | SAN JOAQUIN 2 |  |  | Planned/Forced | 3.20 | 3.20 | PGAE Gen | CISO
CRNEVL_6_SJQN 3 |  | SAN JOAQUIN 3 |  |  | Planned | 4.20 | 4.20 | PGAE Gen | CISO
CRSTWD_6_KUMYAY |  | Kumeyaay Wind Farm |  |  | Forced | 50.00 | 2.00 | SDGE Gen | CISO
CSCCOG_1_UNIT 1 |  | SANTA CLARA CO-GEN |  |  | Planned/Forced | 7.00 | 7.00 | PGAE South | CISO
CSCGNR_1_UNIT 2 |  | GIANERA PEAKER UNIT 2 |  |  | Forced | 24.75 | 2.74 | PGAE South | CISO
CSTRVL_7_PL1X2 |  | Marina Land Fill Gas |  |  | Forced | 4.53 | 0.13 | PGAE South | CISO
DAIRLD_1_MD2BM1 |  | Madera Digester Genset 2 |  |  | Planned | 0.80 | 0.80 | PGAE Gen | CISO
DEADCK_1_UNIT |  | DEADCK_1_UNIT |  |  | Forced | 1.96 | 1.96 | PGAE Gen | CISO
DELSUR_6_SOLAR1 |  | Summer Solar North |  |  | Forced | 6.50 | 1.00 | SCE Gen | CISO
DELTA_2_PL1X4 |  | DELTA ENERGY CENTER AGGREGATE |  |  | Forced | 880.00 | 39.00 | PGAE Gen | CISO
DEXZEL_1_UNIT |  | Western Power and Steam Cogeneration |  |  | Forced | 17.45 | 17.45 | PGAE Gen | CISO
DOUBLC_1_UNITS |  | DOUBLE C LIMITED |  |  | Forced | 52.23 | 2.43 | PGAE South | CISO
DRACKR_2_DSUBT1 |  | Dracker Solar Unit 1 BESS |  |  | Forced | 63.00 | 14.00 | SCE Gen | CISO
DRACKR_2_DSUBT2 |  | Dracker Solar Unit 2 BESS |  |  | Forced | 115.00 | 52.00 | SCE Gen | CISO
DRACKR_2_DSUBT3 |  | Dracker Solar Unit 3 BESS |  |  | Forced | 115.00 | 100.20 | SCE Gen | CISO
DREWSR_2_BHSSR1 |  | Blue Hornet Solar |  |  | Forced | 100.00 | 100.00 | SDGE Gen | CISO
DREWS_6_PL1X4 |  | Drews Generating Plant |  |  | Forced | 41.40 | 14.40 | SCE Gen | CISO
DRUM_7_PL1X2 |  | Drum PH 1 Units 1 &amp; 2 Aggregate |  |  | Forced | 26.00 | 26.00 | PGAE North | CISO
DRUM_7_PL3X4 |  | Drum PH 1 Units 3 &amp; 4 Aggregate |  |  | Forced | 28.90 | 28.90 | PGAE North | CISO
DRUM_7_UNIT 5 |  | DRUM PH 2 UNIT 5 |  |  | Forced | 50.00 | 47.50 | PGAE North | CISO
DSRTHV_2_DH2BT1 |  | Desert Harvest BESS |  |  | Forced | 35.00 | 11.22 | SCE Gen | CISO
DUANE_1_PL1X3 |  | DONALD VON RAESFELD POWER PROJECT |  |  | Forced | 147.80 | 7.80 | PGAE South | CISO
DUTCH1_7_UNIT 1 |  | DUTCH FLAT 1 PH |  |  | Forced | 22.00 | 22.00 | PGAE North | CISO
DUTCH2_7_UNIT 1 |  | DUTCH FLAT 2 PH |  |  | Forced | 26.00 | 26.00 | PGAE North | CISO
EDMONS_2_NSPIN |  | EDMONS_2_NSPIN |  |  | Forced | 775.80 | 60.00 | SCE Gen | CISO
EDWARD_2_E21SB1 |  | EdSan 2 Edwards 1A |  |  | Forced | 166.00 | 56.00 | SCE Gen | CISO
ELKCRK_6_STONYG |  | STONEY GORGE HYDRO AGGREGATE |  |  | Forced | 4.90 | 4.90 | PGAE Gen | CISO
ELKHIL_2_PL1X3 |  | ELK HILLS COMBINED CYCLE (AGGREGATE) |  |  | Forced | 551.70 | 50.70 | PGAE Gen | CISO
ELNIDP_6_BIOMAS |  | El Nido Biomass to Energy |  |  | Forced | 10.50 | 10.50 | PGAE South | CISO
ELSEGN_2_UN1011 |  | El Segundo Energy Center 5/6 |  |  | Forced | 274.31 | 0.01 | SCE Gen | CISO
ESCNDO_6_EB1BT1 |  | Escondido BESS 1 |  |  | Forced | 10.00 | 2.50 | SDGE Gen | CISO
ESCNDO_6_EB2BT2 |  | Escondido BESS 2 |  |  | Forced | 10.00 | 1.50 | SDGE Gen | CISO
ESCNDO_6_EB3BT3 |  | Escondido BESS 3 |  |  | Forced | 10.00 | 1.00 | SDGE Gen | CISO
ESCO_6_GLMQF |  | Goal Line Cogen |  |  | Forced | 49.90 | 3.93 | SDGE Gen | CISO
ESNHWR_2_WC1BT1 |  | Wildcat I BESS |  |  | Forced | 3.00 | 1.00 | SCE Gen | CISO
ETIWND_2_FONTNA |  | FONTANALYTLE CREEK POWERHOUSE P |  |  | Forced | 2.56 | 2.06 | SCE Gen | CISO
ETIWND_2_UNIT1 |  | ETIWND_2_UNIT1 |  |  | Planned | 33.60 | 31.60 | SCE Gen | CISO
ETIWND_6_GRPLND |  | Grapeland Peaker |  |  | Forced | 45.64 | 0.23 | SCE Gen | CISO
EXCHEC_7_UNIT 1 |  | EXCHEQUER HYDRO |  |  | Forced | 94.50 | 21.50 | PGAE South | CISO
FLOWD2_2_FPLWND |  | DIABLO WINDS |  |  | Forced | 18.00 | 1.80 | PGAE Gen | CISO
FORKBU_6_UNIT |  | HYPOWER, INC. (FORKS OF BUTTE) |  |  | Forced | 14.30 | 14.30 | PGAE Gen | CISO
GARLND_2_GARBT1 |  | Garland B BESS |  |  | Forced | 88.00 | 28.00 | SCE Gen | CISO
GARLND_2_GASLR |  | Garland B |  |  | Planned/Forced | 180.00 | 30.10 | SCE Gen | CISO
GARNET_1_SOLAR2 |  | Garnet Solar Power Generation Station 1 |  |  | Forced | 4.00 | 2.00 | SCE Gen | CISO
GARNET_1_WINDS |  | Garnet Winds Aggregation |  |  | Forced | 22.50 | 1.50 | SCE Gen | CISO
GARNET_2_HYDRO |  | Whitewater Hydro |  |  | Forced | 1.00 | 1.00 | SCE Gen | CISO
GARNET_2_WIND2 |  | Karen Avenue Wind Farm |  |  | Forced | 11.70 | 1.95 | SCE Gen | CISO
GARNET_2_WPMWD6 |  | WINTEC PALM |  |  | Forced | 5.93 | 5.93 | SCE Gen | CISO
GASKW1_2_GW1SR1 |  | Gaskell West 1 |  |  | Forced | 20.00 | 3.20 | SCE Gen | CISO
ADLIN_1_UNITS |  | GEYSERS AIDLIN AGGREGATE |  |  | Forced | 22.00 | 10.00 | PGAE Gen | CISO
ADMEST_6_SOLAR |  | Adams East |  |  | Forced | 19.00 | 1.48 | PGAE Gen | CISO
AGRICO_6_PL3N5 |  | Fresno Peaker |  |  | Forced | 22.69 | 0.41 | PGAE South | CISO
ALAMIT_7_ES1 |  | Alamitos Energy Storage |  |  | Forced | 100.45 | 22.45 | SCE Gen | CISO
ALAMIT_7_UNIT 3 |  | ALAMITOS GEN STA. UNIT 3 |  |  | Forced | 326.76 | 326.76 | SCE Gen | CISO
ALMEGT_1_UNIT 1 |  | ALAMEDA GT UNIT 1 |  |  | Forced | 25.00 | 2.00 | PGAE South | CISO
ALMEGT_1_UNIT 2 |  | ALAMEDA GT UNIT 2 |  |  | Forced | 25.00 | 2.00 | PGAE South | CISO
ALTA3A_2_CPCE5 |  | Alta Wind 5 |  |  | Forced | 168.00 | 6.00 | SCE Gen | CISO
ALTA3A_2_CPCE8 |  | Alta Wind 8 |  |  | Forced | 150.00 | 33.00 | SCE Gen | CISO
ALTA4A_2_CPCW1 |  | Alta Wind 1 |  |  | Forced | 150.00 | 1.50 | SCE Gen | CISO
ALTA4B_2_CPCW2 |  | Alta Wind 2 |  |  | Forced | 150.00 | 3.00 | SCE Gen | CISO
ALTA4B_2_CPCW3 |  | Alta Wind 3 |  |  | Forced | 150.00 | 3.00 | SCE Gen | CISO
ALTA6E_2_WIND10 |  | Alta Wind 10 |  |  | Forced | 134.84 | 5.70 | SCE Gen | CISO
AQUAWS_2_AQWSR1 |  | Aquamarine Westside |  |  | Forced | 250.00 | 3.00 | PGAE Gen | CISO
BARRE_6_PEAKER |  | Barre Peaker |  |  | Forced | 49.00 | 3.81 | SCE Gen | CISO
BDGRCK_1_UNITS |  | BADGER CREEK LIMITED |  |  | Forced | 48.08 | 2.08 | PGAE South | CISO
BEARMT_1_UNIT |  | Bear Mountain Limited |  |  | Forced | 49.21 | 3.21 | PGAE Gen | CISO
BELDEN_7_UNIT 1 |  | BELDEN HYDRO |  |  | Forced | 119.00 | 117.00 | PGAE Gen | CISO
BGSKYN_2_AS2SR1 |  | Antelope Solar 2 |  |  | Forced | 105.00 | 15.00 | SCE Gen | CISO
BGSKYN_2_ASPSR2 |  | Antelope Solar 2 San Pablo |  |  | Forced | 100.00 | 61.00 | SCE Gen | CISO
BGSKYN_2_BS3SR3 |  | Big Sky Solar 3 |  |  | Forced | 20.00 | 2.00 | SCE Gen | CISO
BIGCRK_2_EXESWD |  | BIG CREEK HYDRO PROJECT PSP |  |  | Planned/Forced | 820.00 | 127.00 | SCE Gen | CISO
BIGSKY_2_ASLBT2 |  | Antelope Solar 2 Luna |  |  | Forced | 100.00 | 90.00 | SCE Gen | CISO
BIGSKY_2_SOLAR1 |  | Antelope Big Sky Ranch |  |  | Forced | 20.00 | 2.00 | SCE Gen | CISO
BIGSKY_2_SOLAR6 |  | Solverde 1 |  |  | Forced | 85.00 | 10.00 | SCE Gen | CISO
BISHOP_1_ALAMO |  | BISHOP CREEK PLANT 2 AND 6 |  |  | Forced | 13.40 | 8.70 | SCE Gen | CISO
BISHOP_1_UNITS |  | BISHOP CREEK PLANT 3 AND 4 |  |  | Forced | 15.80 | 8.10 | SCE Gen | CISO
BKRFLD_2_SOLAR1 |  | Bakersfield 111 |  |  | Forced | 1.38 | 1.38 | PGAE Gen | CISO
BLKCRK_2_GMCBT1 |  | Genesis McCoy Bess |  |  | Forced | 230.00 | 214.90 | SCE Gen | CISO
BLKDIA_2_BDEBT1 |  | Black Diamond Energy Storage |  |  | Forced | 200.00 | 150.00 | PGAE Gen | CISO
BLM W_2_COSBT1 |  | Coso Battery Storage |  |  | Forced | 60.00 | 20.30 | SCE Gen | CISO
BLYTHE_1_SOLAR1 |  | Blythe Solar 1 Project |  |  | Forced | 21.00 | 0.50 | SCE Gen | CISO
BNNIEN_7_ALTAPH |  | ALTA POWER HOUSE |  |  | Forced | 1.00 | 1.00 | PGAE Gen | CISO
BOGUE_1_UNITA1 |  | Feather River Energy Center, Unit #1 |  |  | Forced | 47.38 | 1.38 | PGAE Gen | CISO
BOGUE_1_UNITA1 |  | Feather River Energy Center, Unit #1 |  |  | Forced | 47.38 | 1.38 | PGAE North | CISO
BRDSLD_2_HIWIND |  | High Winds Energy Center |  |  | Forced | 162.00 | 32.40 | PGAE Gen | CISO
BRDSLD_2_MTZUM2 |  | NextEra Energy Montezuma Wind II |  |  | Forced | 78.20 | 2.20 | PGAE Gen | CISO
BRDSLD_2_SHILO2 |  | SHILOH WIND PROJECT 2 |  |  | Forced | 150.00 | 4.00 | PGAE Gen | CISO
BUCKCK_7_OAKFLT |  | Oak Flat |  |  | Planned/Forced | 1.30 | 1.30 | PGAE Gen | CISO
BUCKCK_7_PL1X2 |  | BUCKS CREEK AGGREGATE |  |  | Planned | 57.25 | 24.25 | PGAE Gen | CISO
BUCKWD_1_QF |  | Buckwind Re-powering project |  |  | Forced | 16.50 | 1.50 | SCE Gen | CISO
BUCKWD_7_WINTCV |  | Wintec Energy, Ltd. |  |  | Forced | 1.32 | 0.66 | SCE Gen | CISO
CABALO_2_M2WSR2 |  | Mustang 2 Whirlaway Solar |  |  | Forced | 100.00 | 8.00 | PGAE Gen | CISO
CAMCHE_1_PL1X3 |  | CAMANCHE UNITS 1, 2 &amp; 3 AGGREGATE |  |  | Planned/Forced | 9.99 | 9.18 | PGAE Gen | CISO
CAMLOT_2_SOLAR1 |  | Camelot |  |  | Forced | 45.00 | 6.59 | SCE Gen | CISO
CARBOU_7_PL2X3 |  | CARIBOU PH 1 UNIT 2 &amp; 3 AGGREGATE |  |  | Forced | 49.00 | 49.00 | PGAE North | CISO
CARBOU_7_PL4X5 |  | CARIBOU PH 2 UNIT 4 &amp; 5 AGGREGATE |  |  | Forced | 120.00 | 120.00 | PGAE North | CISO
CARBOU_7_UNIT 1 |  | CARIBOU PH 1 UNIT 1 |  |  | Planned/Forced | 24.00 | 24.00 | PGAE North | CISO
CARLS1_2_CARCT1 |  | Carlsbad 1 |  |  | Forced | 422.00 | 4.70 | SDGE Gen | CISO
CARLS2_1_CARCT1 |  | Carlsbad 2 |  |  | Forced | 105.50 | 2.36 | SDGE Gen | CISO
CENTER_2_RHONDO |  | MWD Rio Hondo Hydroelectric Recovery Pla |  |  | Forced | 1.91 | 1.91 | SCE Gen | CISO
CENTRY_6_PL1X4 |  | CENTURY GENERATING PLANT (AGGREGATE) |  |  | Forced | 41.40 | 14.40 | SCE Gen | CISO
CHALK_1_UNIT |  | CHALK CLIFF LIMITED |  |  | Forced | 48.67 | 2.77 | PGAE Gen | CISO
CHICPK_7_UNIT 1 |  | Chicago Park Powerhouse |  |  | Forced | 42.00 | 42.00 | PGAE North | CISO
CHWCHL_1_BIOMAS |  | Chow II Biomass to Energy |  |  | Forced | 10.80 | 5.80 | PGAE South | CISO
CLOVDL_1_SOLAR |  | Cloverdale Solar I |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
COCOPP_2_CTG1 |  | Marsh Landing 1 |  |  | Forced | 204.20 | 6.86 | PGAE South | CISO
Count of Resource ID | Outage Type Counts
BA | Forced |  | Planned | Planned/Forced
CISO | 287 |  | 17 | 21
Grand Total | 287 |  | 17 | 21
BA | Sum of Capacity (MW) |  | Sum of Curtailed (MW)
CISO | 34018.65 |  | 7510.09
Grand Total | 34018.65 |  | 7510.09
The content of these pages is subject to change without notice. Decisions based on information contained within the California ISO web site are the visitor's sole responsibility.