## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report February 15, 2023
Chart 1: Table of Exceptional Dispatches for Period 01/December/2022 - 31/December/2022
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Fast Start Unit Management | PGAE | Fresno | 2022-12-03 | 0 | No | INC | 2 | 44898.9167 | 44899
2 | RT | Fast Start Unit Management | PGAE | Fresno | 2022-12-04 | 0 | No | INC | 2 | 44899 | 44899.0521
3 | RT | Fast Start Unit Management | SCE | LA Basin | 2022-12-03 | 0 | No | INC | 2 | 44898.9167 | 44898.9688
4 | RT | Fast Start Unit Management | SDGE | San Diego-IV | 2022-12-03 | 0 | No | INC | 1 | 44898.9271 | 44898.9688
5 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2022-12-18 | 20 | Yes | DEC | 2 | 44913.875 | 44913.9583
6 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2022-12-18 | 20 | Yes | INC | 5 | 44913.7917 | 44914
7 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2022-12-19 | 20 | No | DEC | 1 | 44914.2083 | 44914.25
8 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2022-12-19 | 20 | No | INC | 7 | 44914 | 44914.2917
9 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2022-12-20 | 202 | No | INC | 2 | 44915.3507 | 44915.4167
10 | RT | Load Forecast Uncertainty | PGAE | Big Creek-Ventura | 2022-12-20 | 62 | No | INC | 2 | 44915.3403 | 44915.3854
11 | RT | Load Forecast Uncertainty | PGAE | Humboldt | 2022-12-27 | 45 | No | INC | 6 | 44922.5694 | 44922.7812
12 | RT | Load Forecast Uncertainty | PGAE | NA | 2022-12-20 | 62 - 417 | No | INC | 1 | 44915.3542 | 44915.3854
13 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2022-12-20 | 25 - 111 | Yes | INC | 2 | 44915.3507 | 44915.4167
14 | RT | Other Reliability Requirement | SCE | LA Basin | 2022-12-29 | 46 | No | INC | 2 | 44924.375 | 44924.4271
15 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-12-03 | 54 | No | DEC | 12 | 44898.25 | 44898.75
16 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-12-04 | 54 | No | INC | 12 | 44899.25 | 44899.75
17 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-01 | 45 | No | DEC | 6 | 44896.625 | 44896.875
18 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-01 | 30 - 60 | No | INC | 24 | 44896 | 44897
19 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-02 | 30 - 45 | No | DEC | 16 | 44897.25 | 44897.9167
20 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-02 | 30 - 60 | No | INC | 24 | 44897 | 44898
21 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-03 | 30 - 45 | No | DEC | 24 | 44898 | 44899
22 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-03 | 30 - 45 | No | INC | 7 | 44898.375 | 44898.6667
23 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-04 | 30 - 45 | No | DEC | 24 | 44899 | 44900
24 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-04 | 45 | No | INC | 2 | 44899.9167 | 44900
25 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-05 | 28 - 42 | No | DEC | 23 | 44900 | 44900.9583
26 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-05 | 28 - 45 | No | INC | 24 | 44900 | 44901
27 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-06 | 30 - 42 | No | DEC | 8 | 44901.5833 | 44901.9167
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-06 | 30 - 42 | No | INC | 24 | 44901 | 44902
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-07 | 30 - 45 | No | DEC | 6 | 44902.6667 | 44902.9167
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-07 | 30 - 45 | No | INC | 24 | 44902 | 44903
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-08 | 15 - 45 | No | DEC | 17 | 44903.1458 | 44903.8333
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-08 | 30 - 45 | No | INC | 24 | 44903 | 44904
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-09 | 15 - 45 | No | DEC | 8 | 44904.6667 | 44905
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-09 | 30 - 45 | No | INC | 24 | 44904 | 44905
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-10 | 15 | No | DEC | 2 | 44905 | 44905.059
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-10 | 30 - 60 | No | INC | 10 | 44905 | 44905.4167
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-11 | 30 - 45 | No | DEC | 2 | 44906.8958 | 44906.9583
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-11 | 30 - 45 | No | INC | 2 | 44906.9167 | 44907
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-12 | 30 - 45 | No | DEC | 24 | 44907 | 44908
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-12 | 30 - 45 | No | INC | 16 | 44907 | 44907.6667
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-13 | 15 - 45 | No | DEC | 24 | 44908 | 44909
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-13 | 30 - 45 | No | INC | 15 | 44908.0417 | 44908.6354
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-14 | 30 | No | DEC | 5 | 44909.6667 | 44909.875
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-14 | 30 - 60 | No | INC | 24 | 44909 | 44910
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-15 | 30 - 45 | No | DEC | 24 | 44910 | 44911
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-16 | 30 - 45 | No | DEC | 24 | 44911 | 44912
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-16 | 30 - 45 | No | INC | 24 | 44911 | 44912
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-17 | 30 - 45 | No | DEC | 24 | 44912 | 44913
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-17 | 30 - 45 | No | INC | 22 | 44912.0833 | 44913
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-18 | 30 | No | DEC | 6 | 44913.7083 | 44913.9583
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-18 | 30 - 45 | No | INC | 24 | 44913 | 44914
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-19 | 15 - 45 | No | DEC | 24 | 44914 | 44915
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-19 | 30 - 45 | No | INC | 15 | 44914 | 44914.625
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-20 | 30 | No | INC | 6 | 44915 | 44915.2292
55 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-12-21 | 60 - 62 | No | DEC | 12 | 44916.3194 | 44916.8125
56 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-14 | 20 | Yes | INC | 4 | 44909.4444 | 44909.5729
57 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-15 | 20 | No | DEC | 4 | 44910.8576 | 44911
58 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-16 | 20 | No | DEC | 1 | 44911.2083 | 44911.25
59 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-16 | 20 | No | INC | 8 | 44911 | 44911.3333
60 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-19 | 20 | No | DEC | 7 | 44914.7083 | 44915
61 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-19 | 20 | No | INC | 9 | 44914.3403 | 44914.7083
62 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-20 | 20 | No | DEC | 1 | 44915.875 | 44915.9167
63 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-20 | 20 - 42 | No | INC | 24 | 44915 | 44916
64 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-21 | 20 | Yes | DEC | 24 | 44916 | 44917
65 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-21 | 20 | No | INC | 9 | 44916.3576 | 44916.7083
66 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-22 | 20 | No | DEC | 2 | 44917.875 | 44917.9583
67 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-22 | 20 | No | INC | 24 | 44917 | 44918
68 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-23 | 20 | No | DEC | 24 | 44918 | 44919
69 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-23 | 20 | No | INC | 15 | 44918.25 | 44918.875
70 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-24 | 20 | No | DEC | 2 | 44919.875 | 44919.9583
71 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-24 | 20 | Yes | INC | 24 | 44919 | 44920
72 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-25 | 20 | No | INC | 24 | 44920 | 44921
73 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-26 | 20 | No | DEC | 1 | 44921.875 | 44921.9167
74 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-26 | 20 | No | INC | 24 | 44921 | 44922
75 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-27 | 20 | No | INC | 24 | 44922 | 44923
76 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-28 | 20 | No | INC | 24 | 44923 | 44924
77 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-29 | 20 | No | DEC | 1 | 44924.375 | 44924.4167
78 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-29 | 20 | Yes | INC | 24 | 44924 | 44925
79 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-30 | 20 | No | DEC | 1 | 44925.875 | 44925.9167
80 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-30 | 20 | No | INC | 24 | 44925 | 44926
81 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-31 | 20 | Yes | INC | 7 | 44926 | 44926.2917
82 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2022-12-15 | 725 | No | DEC | 2 | 44910.3611 | 44910.4062
83 | RT | Planned Transmission Outage | SCE | LA Basin | 2022-12-20 | 0 - 46 | No | DEC | 12 | 44915.25 | 44915.75
84 | RT | Planned Transmission Outage | SCE | LA Basin | 2022-12-20 | 0 - 46 | No | INC | 12 | 44915.1667 | 44915.6667
85 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-12-05 | 155 | No | INC | 5 | 44900.4167 | 44900.625
86 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-12-19 | 0 | No | INC | 1 | 44914.8299 | 44914.8333
87 | RT | Ramping Capacity | PGAE | NA | 2022-12-05 | 48.95 | No | DEC | 5 | 44900.625 | 44900.8333
88 | RT | Reliability Assessment | PGAE | Fresno | 2022-12-21 | -330 | No | INC | 2 | 44916.4097 | 44916.4583
89 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-11 | 30 - 45 | No | DEC | 4 | 44906.75 | 44906.9062
90 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-11 | 30 - 45 | No | INC | 18 | 44906.0174 | 44906.75
91 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-21 | 30 - 45 | No | DEC | 5 | 44916.7396 | 44916.9167
92 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-21 | 30 - 45 | No | INC | 1 | 44916.9965 | 44917
93 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-22 | 30 - 45 | No | INC | 8 | 44917 | 44917.3125
94 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-26 | 15 | No | DEC | 1 | 44921.9792 | 44922
95 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-26 | 30 | No | INC | 2 | 44921.9236 | 44921.9792
96 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-27 | 15 - 45 | No | INC | 14 | 44922 | 44922.5833
97 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-28 | 15 | No | DEC | 4 | 44923.6111 | 44923.75
98 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-28 | 15 - 30 | No | INC | 6 | 44923.75 | 44924
99 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-29 | 15 - 30 | No | INC | 24 | 44924 | 44925
100 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-30 | 15 | No | DEC | 16 | 44925.3333 | 44926
101 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-30 | 15 - 30 | No | INC | 24 | 44925 | 44926
102 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-31 | 15 | No | DEC | 24 | 44926 | 44927
103 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-31 | 15 | No | INC | 24 | 44926 | 44927
104 | RT | Reliability Assessment | PGAE | Sierra | 2022-12-12 | 20 | No | INC | 6 | 44907.6042 | 44907.8542
105 | RT | Reliability Assessment | PGAE | NA | 2022-12-22 | 111 | No | DEC | 3 | 44917.8264 | 44917.9167
106 | RT | Reliability Assessment | PGAE | NA | 2022-12-22 | 111 | No | INC | 2 | 44917.9167 | 44918
107 | RT | Reliability Assessment | PGAE | NA | 2022-12-23 | 105 | No | DEC | 13 | 44918.3125 | 44918.8333
108 | RT | Reliability Assessment | PGAE | NA | 2022-12-23 | 105 - 111 | No | INC | 15 | 44918 | 44918.625
109 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2022-12-05 | 10 | No | INC | 10 | 44900.1806 | 44900.5833
110 | RT | Reliability Assessment | SCE | NA | 2022-12-11 | 460 | No | DEC | 4 | 44906.7396 | 44906.9062
111 | RT | Reliability Assessment | SCE | NA | 2022-12-16 | 475.01 | No | INC | 1 | 44911.3646 | 44911.3958
112 | RT | Reliability Assessment | SCE | NA | 2022-12-25 | 410 - 450 | No | DEC | 8 | 44920.7014 | 44921
113 | RT | Reliability Assessment | SCE | NA | 2022-12-26 | 440 | No | DEC | 1 | 44921 | 44921.0312
114 | RT | Software Limitation | PGAE | Fresno | 2022-12-03 | 14 - 35 | No | INC | 1 | 44898.8542 | 44898.8889
115 | RT | Software Limitation | PGAE | Fresno | 2022-12-08 | 35 | No | INC | 1 | 44903.7153 | 44903.7535
116 | RT | Software Limitation | PGAE | Fresno | 2022-12-09 | 0 | No | INC | 1 | 44904.1875 | 44904.2292
117 | RT | Software Limitation | SCE | Big Creek-Ventura | 2022-12-30 | 0 | No | INC | 2 | 44925.9167 | 44926
118 | RT | Software Limitation | SCE | Big Creek-Ventura | 2022-12-31 | 0 | No | INC | 12 | 44926 | 44926.5
119 | RT | Software Limitation | SCE | LA Basin | 2022-12-03 | 5 - 96.65 | No | INC | 1 | 44898.8542 | 44898.8889
120 | RT | Software Limitation | SCE | LA Basin | 2022-12-08 | 5 - 5.75 | No | INC | 1 | 44903.7153 | 44903.7535
121 | RT | Software Limitation | SDGE | San Diego-IV | 2022-12-03 | 30 | No | INC | 1 | 44898.8542 | 44898.8889
122 | RT | Software Limitation | SDGE | San Diego-IV | 2022-12-08 | 0 - 30 | No | INC | 7 | 44903.7153 | 44904
123 | RT | Software Limitation | SDGE | San Diego-IV | 2022-12-09 | 0 | No | INC | 1 | 44904 | 44904.0208
124 | RT | Unit Testing | SCE | LA Basin | 2022-12-10 | 90.56 | No | INC | 1 | 44905.7118 | 44905.7431
125 | RT | Unit Testing | SDGE | San Diego-IV | 2022-12-16 | 510 | No | DEC | 1 | 44911.309 | 44911.3333
126 | RT | Unit Testing | SDGE | San Diego-IV | 2022-12-16 | 510 | No | INC | 1 | 44911.3333 | 44911.3368
127 | RT | Unplanned Outage | PGAE | Humboldt | 2022-12-27 | 45 - 48 | No | INC | 6 | 44922.7812 | 44923
128 | RT | Unplanned Outage | PGAE | Humboldt | 2022-12-28 | 15 | No | DEC | 1 | 44923.7396 | 44923.75
129 | RT | Unplanned Outage | PGAE | Humboldt | 2022-12-28 | 15 - 60 | No | INC | 19 | 44923 | 44923.7708
130 | RT | Voltage Support | PGAE | Fresno | 2022-12-02 | -330 | No | DEC | 3 | 44897.1667 | 44897.2917
131 | RT | Voltage Support | PGAE | Fresno | 2022-12-02 | -330 | No | INC | 1 | 44897.1319 | 44897.1667
132 | RT | Voltage Support | PGAE | Fresno | 2022-12-07 | -330 | No | DEC | 2 | 44902.1458 | 44902.2083
133 | RT | Voltage Support | PGAE | Fresno | 2022-12-10 | -330 | No | DEC | 3 | 44905.0486 | 44905.1667
134 | RT | Voltage Support | PGAE | Fresno | 2022-12-10 | 83 | No | INC | 1 | 44905.1875 | 44905.2083
135 | RT | Voltage Support | PGAE | Fresno | 2022-12-11 | -330 | No | DEC | 9 | 44906.0208 | 44906.375
136 | RT | Voltage Support | PGAE | Fresno | 2022-12-12 | -330 | No | INC | 4 | 44907.0625 | 44907.2083
137 | RT | Voltage Support | PGAE | Fresno | 2022-12-16 | -330 | No | DEC | 1 | 44911.9965 | 44912
138 | RT | Voltage Support | PGAE | Fresno | 2022-12-17 | -330 | No | DEC | 8 | 44912 | 44912.3333
139 | RT | Voltage Support | PGAE | Fresno | 2022-12-19 | -330 | No | DEC | 1 | 44914.1667 | 44914.2083
140 | RT | Voltage Support | PGAE | Fresno | 2022-12-20 | -330 | No | DEC | 4 | 44915.0868 | 44915.2188
141 | RT | Voltage Support | PGAE | Fresno | 2022-12-21 | -330 | No | DEC | 3 | 44916.1667 | 44916.2917
142 | RT | Voltage Support | PGAE | Fresno | 2022-12-22 | -330 | No | DEC | 6 | 44917.0556 | 44917.2917
143 | RT | Voltage Support | PGAE | Fresno | 2022-12-23 | -330 | No | DEC | 23 | 44918.0694 | 44919
144 | RT | Voltage Support | PGAE | Fresno | 2022-12-24 | -330 | No | DEC | 24 | 44919 | 44920
145 | RT | Voltage Support | PGAE | Fresno | 2022-12-25 | -330 | No | DEC | 24 | 44920 | 44921
146 | RT | Voltage Support | PGAE | Fresno | 2022-12-26 | -330 | No | DEC | 15 | 44921 | 44921.625
147 | RT | Voltage Support | PGAE | Fresno | 2022-12-27 | -330 | No | DEC | 9 | 44922.0417 | 44922.4167
148 | RT | Voltage Support | PGAE | Fresno | 2022-12-28 | -330 | No | DEC | 6 | 44923 | 44923.25
149 | RT | Voltage Support | PGAE | Fresno | 2022-12-28 | 83 | No | INC | 1 | 44923.9896 | 44924
150 | RT | Voltage Support | PGAE | Fresno | 2022-12-29 | -330 | No | DEC | 23 | 44924.0417 | 44925
151 | RT | Voltage Support | PGAE | Fresno | 2022-12-29 | 83 | No | INC | 1 | 44924 | 44924.0208
152 | RT | Voltage Support | PGAE | Fresno | 2022-12-30 | -330 | No | DEC | 7 | 44925 | 44925.2917
153 | RT | Voltage Support | PGAE | Fresno | 2022-12-31 | -330 | No | DEC | 24 | 44926.0312 | 44927
154 | RT | Voltage Support | PGAE | Humboldt | 2022-12-22 | 15 - 45 | No | DEC | 9 | 44917.5833 | 44917.9583
155 | RT | Voltage Support | PGAE | Humboldt | 2022-12-22 | 15 - 45 | No | INC | 17 | 44917.2951 | 44918
156 | RT | Voltage Support | PGAE | Humboldt | 2022-12-23 | 15 - 30 | No | DEC | 24 | 44918 | 44919
157 | RT | Voltage Support | PGAE | Humboldt | 2022-12-23 | 30 | No | INC | 1 | 44918.375 | 44918.4167
158 | RT | Voltage Support | PGAE | Humboldt | 2022-12-24 | 15 | No | DEC | 24 | 44919 | 44920
159 | RT | Voltage Support | PGAE | Humboldt | 2022-12-24 | 30 | No | INC | 4 | 44919.3264 | 44919.4688
160 | RT | Voltage Support | PGAE | Humboldt | 2022-12-25 | 15 | No | DEC | 24 | 44920 | 44921
161 | RT | Voltage Support | PGAE | Humboldt | 2022-12-26 | 15 | No | DEC | 2 | 44921.3333 | 44921.3785
162 | RT | Voltage Support | PGAE | Humboldt | 2022-12-26 | 15 - 60 | No | INC | 24 | 44921 | 44922
163 | RT | Voltage Support | PGAE | Humboldt | 2022-12-27 | 45 - 60 | No | INC | 20 | 44922 | 44922.8229
164 | RT | Voltage Support | PGAE | Kern | 2022-12-26 | 32 | No | INC | 14 | 44921.0903 | 44921.6667
165 | RT | Voltage Support | PGAE | Kern | 2022-12-31 | 32 | Yes | INC | 22 | 44926.1146 | 44927
166 | RT | Voltage Support | PGAE | Sierra | 2022-12-03 | 20 | No | DEC | 23 | 44898.0347 | 44898.9583
167 | RT | Voltage Support | PGAE | Sierra | 2022-12-03 | 20 | No | INC | 18 | 44898.25 | 44899
168 | RT | Voltage Support | PGAE | Sierra | 2022-12-04 | 20 | Yes | INC | 18 | 44899 | 44899.75
169 | RT | Voltage Support | PGAE | Sierra | 2022-12-05 | 20 | Yes | DEC | 1 | 44900.2083 | 44900.25
170 | RT | Voltage Support | PGAE | Sierra | 2022-12-05 | 20 | Yes | INC | 24 | 44900 | 44901
171 | RT | Voltage Support | PGAE | Sierra | 2022-12-06 | 20 | No | DEC | 1 | 44901.3681 | 44901.375
172 | RT | Voltage Support | PGAE | Sierra | 2022-12-06 | 20 | No | INC | 24 | 44901 | 44902
173 | RT | Voltage Support | PGAE | Sierra | 2022-12-07 | 20 | No | INC | 24 | 44902 | 44903
174 | RT | Voltage Support | PGAE | Sierra | 2022-12-08 | 20 | Yes | DEC | 1 | 44903.2083 | 44903.25
175 | RT | Voltage Support | PGAE | Sierra | 2022-12-08 | 20 | Yes | INC | 24 | 44903 | 44904
176 | RT | Voltage Support | PGAE | Sierra | 2022-12-09 | 20 | No | DEC | 2 | 44904.8924 | 44904.9583
177 | RT | Voltage Support | PGAE | Sierra | 2022-12-09 | 20 | No | INC | 24 | 44904 | 44905
178 | RT | Voltage Support | PGAE | Sierra | 2022-12-10 | 20 | No | DEC | 1 | 44905.875 | 44905.9167
179 | RT | Voltage Support | PGAE | Sierra | 2022-12-10 | 20 | Yes | INC | 24 | 44905 | 44906
180 | RT | Voltage Support | PGAE | Sierra | 2022-12-11 | 20 | No | DEC | 1 | 44906.875 | 44906.9167
181 | RT | Voltage Support | PGAE | Sierra | 2022-12-11 | 20 | No | INC | 24 | 44906 | 44907
182 | RT | Voltage Support | PGAE | Sierra | 2022-12-12 | 20 | No | INC | 8 | 44907 | 44907.3333
183 | RT | Voltage Support | PGAE | Sierra | 2022-12-15 | 20 | No | DEC | 5 | 44910.1181 | 44910.2917
184 | RT | Voltage Support | PGAE | Sierra | 2022-12-15 | 20 | No | INC | 3 | 44910.5556 | 44910.6667
185 | RT | Voltage Support | PGAE | Sierra | 2022-12-16 | 20 | No | DEC | 3 | 44911.875 | 44912
186 | RT | Voltage Support | PGAE | Sierra | 2022-12-16 | 20 | No | INC | 13 | 44911.3333 | 44911.875
187 | RT | Voltage Support | PGAE | Sierra | 2022-12-17 | 20 | No | DEC | 24 | 44912 | 44913
188 | RT | Voltage Support | PGAE | Sierra | 2022-12-17 | 20 | No | INC | 15 | 44912.25 | 44912.875
189 | RT | Voltage Support | PGAE | Sierra | 2022-12-18 | 20 | No | INC | 9 | 44913 | 44913.375
190 | RT | Voltage Support | PGAE | NA | 2022-12-11 | 48.95 | No | INC | 9 | 44906.1458 | 44906.5
191 | RT | Voltage Support | PGAE | NA | 2022-12-18 | 49 | No | INC | 9 | 44913.2604 | 44913.625
192 | RT | Voltage Support | SCE | LA Basin | 2022-12-19 | 46 | No | DEC | 12 | 44914.25 | 44914.75
193 | RT | Voltage Support | SCE | LA Basin | 2022-12-19 | 46 | No | INC | 12 | 44914.1875 | 44914.6667