## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report March 15, 2022
Chart 1: Table of Exceptional Dispatches for Period 01/January/2022 - 31/January/2022
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Incomplete or Inaccurate Transmission | PGAE | NCNB | 2022-01-18 | 60 | No | DEC | 2 | 44579.3611 | 44579.4062
2 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-01-28 | 46 | No | INC | 2 | 44589.7083 | 44589.7917
3 | RT | Market Disruption | PGAE | Bay Area | 2022-01-14 | 295 | No | DEC | 1 | 44575.0035 | 44575.0417
4 | RT | Market Disruption | PGAE | Bay Area | 2022-01-14 | 585 | No | INC | 1 | 44575.0069 | 44575.0417
5 | RT | Market Disruption | PGAE | Bay Area | 2022-01-28 | 120 | No | INC | 2 | 44589.7083 | 44589.7917
6 | RT | Market Disruption | SCE | LA Basin | 2022-01-28 | 46 - 49 | No | INC | 2 | 44589.7083 | 44589.7917
7 | RT | Market Disruption | SDGE | San Diego-IV | 2022-01-28 | 50 | No | INC | 2 | 44589.7118 | 44589.7917
8 | RT | Other Reliability Requirement | PGAE | Fresno | 2022-01-28 | 0 | No | DEC | 2 | 44589.75 | 44589.8333
9 | RT | Other Reliability Requirement | PGAE | Fresno | 2022-01-28 | 0 | No | INC | 7 | 44589.7326 | 44590
10 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-01-28 | 0 | No | DEC | 4 | 44589.7153 | 44589.875
11 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-01-28 | 0 | No | INC | 3 | 44589.875 | 44590
12 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-01-29 | 0 | No | DEC | 5 | 44590.7083 | 44590.9167
13 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-01-29 | 0 | No | INC | 15 | 44590.3924 | 44591
14 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-01-30 | 0 | No | DEC | 17 | 44591.2917 | 44592
15 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-01-30 | 0 | No | INC | 24 | 44591 | 44592
16 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-01-31 | 0 | No | INC | 11 | 44592 | 44592.4375
17 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-01-31 | 23 | No | INC | 3 | 44592.7292 | 44592.8542
18 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-10 | 15 | No | DEC | 2 | 44571.9167 | 44572
19 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-10 | 15 | No | INC | 1 | 44571.9583 | 44572
20 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-11 | 15 | No | DEC | 24 | 44572 | 44573
21 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-11 | 15 - 30 | No | INC | 24 | 44572 | 44573
22 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-12 | 15 - 30 | No | DEC | 24 | 44573 | 44574
23 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-12 | 15 - 45 | No | INC | 24 | 44573 | 44574
24 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-13 | 15 | No | DEC | 20 | 44574 | 44574.8333
25 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-13 | 15 - 30 | No | INC | 24 | 44574 | 44575
26 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-14 | 15 | No | INC | 2 | 44575 | 44575.0729
27 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-18 | 15 | No | DEC | 8 | 44579.0208 | 44579.3542
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-18 | 30 - 45 | No | INC | 17 | 44579.2917 | 44580
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-19 | 15 - 45 | No | DEC | 19 | 44580.1458 | 44580.9167
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-19 | 30 - 45 | No | INC | 24 | 44580 | 44581
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-20 | 15 - 45 | No | INC | 24 | 44581 | 44582
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-21 | 15 - 45 | No | INC | 24 | 44582 | 44583
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-22 | 15 - 45 | No | INC | 24 | 44583 | 44584
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-23 | 30 | No | DEC | 4 | 44584.7083 | 44584.875
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-23 | 15 - 30 | No | INC | 24 | 44584 | 44585
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-24 | 15 | No | DEC | 6 | 44585.0104 | 44585.2361
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-24 | 30 - 45 | No | INC | 24 | 44585 | 44586
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-25 | 15 | No | DEC | 4 | 44586.0729 | 44586.2292
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-25 | 30 - 45 | No | INC | 24 | 44586 | 44587
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-26 | 30 - 45 | No | INC | 24 | 44587 | 44588
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-27 | 15 | No | DEC | 7 | 44588.7083 | 44589
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-27 | 15 - 45 | No | INC | 24 | 44588 | 44589
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-28 | 15 | No | DEC | 22 | 44589 | 44589.9167
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-28 | 15 - 30 | No | INC | 24 | 44589 | 44590
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-29 | 15 - 30 | No | INC | 24 | 44590 | 44591
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-30 | 30 | No | INC | 24 | 44591 | 44592
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-31 | 15 - 60 | No | DEC | 19 | 44592.2083 | 44593
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-31 | 15 - 60 | No | INC | 24 | 44592 | 44593
49 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-01-01 | 18 - 44 | No | DEC | 21 | 44562.125 | 44563
50 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-01-01 | 18 - 44 | No | INC | 24 | 44562 | 44563
51 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-01-02 | 18 - 44 | No | DEC | 14 | 44563.125 | 44563.6979
52 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-01-02 | 18 - 44 | No | INC | 15 | 44563 | 44563.625
53 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-01-28 | 40 | No | DEC | 11 | 44589.309 | 44589.75
54 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-01-28 | 40 | No | INC | 11 | 44589.3333 | 44589.7917
55 | RT | Planned Transmission Outage | SCE | NA | 2022-01-27 | 200 | No | INC | 8 | 44588.6667 | 44589
56 | RT | Planned Transmission Outage | SCE | NA | 2022-01-28 | 200 | No | DEC | 8 | 44589.625 | 44589.9583
57 | RT | Planned Transmission Outage | SCE | NA | 2022-01-28 | 200 | No | INC | 15 | 44589.375 | 44590
58 | RT | Planned Transmission Outage | SCE | NA | 2022-01-29 | 200 | No | DEC | 14 | 44590.2083 | 44590.7917
59 | RT | Planned Transmission Outage | SCE | NA | 2022-01-29 | 200 | No | INC | 24 | 44590 | 44591
60 | RT | Planned Transmission Outage | SCE | NA | 2022-01-31 | 200 | No | DEC | 5 | 44592.6667 | 44592.875
61 | RT | Planned Transmission Outage | SCE | NA | 2022-01-31 | 200 | No | INC | 9 | 44592.625 | 44593
62 | RT | Ramping Capacity | SCE | LA Basin | 2022-01-02 | 194 | No | INC | 5 | 44563.7292 | 44563.9167
63 | RT | Ramping Capacity | SDGE | San Diego-IV | 2022-01-27 | 24 | No | DEC | 5 | 44588.6632 | 44588.8333
64 | RT | Reliability Assessment | PGAE | Bay Area | 2022-01-05 | 580 | No | DEC | 1 | 44566.1146 | 44566.125
65 | RT | Reliability Assessment | PGAE | Fresno | 2022-01-23 | 20 | No | DEC | 5 | 44584.4861 | 44584.6667
66 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-01 | 15 - 30 | No | INC | 24 | 44562 | 44563
67 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-02 | 14 - 45 | No | INC | 24 | 44563 | 44564
68 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-03 | 45 | No | DEC | 1 | 44564.6771 | 44564.6875
69 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-03 | 15 - 45 | No | INC | 16 | 44564 | 44564.6667
70 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-07 | 30 | No | INC | 1 | 44568.2812 | 44568.3021
71 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-08 | 15 | No | DEC | 1 | 44569.6667 | 44569.6944
72 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-08 | 15 - 30 | No | INC | 12 | 44569.4167 | 44569.8958
73 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-13 | 15 | No | DEC | 4 | 44574.8403 | 44575
74 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-14 | 15 - 30 | No | DEC | 21 | 44575 | 44575.875
75 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-14 | 15 - 30 | No | INC | 22 | 44575.0625 | 44575.9479
76 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-16 | 15 | No | INC | 3 | 44577.9028 | 44578
77 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-17 | 15 | No | DEC | 10 | 44578.3438 | 44578.7604
78 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-17 | 15 - 30 | No | INC | 24 | 44578 | 44579
79 | RT | Reliability Assessment | PGAE | NA | 2022-01-02 | 0 | No | INC | 1 | 44563.3993 | 44563.441
80 | RT | Reliability Assessment | SCE | LA Basin | 2022-01-04 | 19 | No | INC | 2 | 44565.6667 | 44565.75
81 | RT | Reliability Assessment | SCE | NA | 2022-01-10 | 25 | No | INC | 1 | 44571.3889 | 44571.4167
82 | RT | Reliability Assessment | SCE | NA | 2022-01-12 | 195 | No | DEC | 1 | 44573.4549 | 44573.4792
83 | RT | Reliability Assessment | SCE | NA | 2022-01-13 | 75 - 250 | No | INC | 1 | 44574.3993 | 44574.4201
84 | RT | Software Limitation | PGAE | Bay Area | 2022-01-05 | 580 | No | DEC | 1 | 44566.0764 | 44566.1076
85 | RT | Software Limitation | PGAE | Bay Area | 2022-01-18 | 235 | No | INC | 3 | 44579.6528 | 44579.7396
86 | RT | Software Limitation | SDGE | San Diego-IV | 2022-01-27 | 0 | No | INC | 1 | 44588.8507 | 44588.8889
87 | RT | Unit Testing | Intertie | NA | 2022-01-06 | 40 | No | INC | 1 | 44567.0833 | 44567.125
88 | RT | Unit Testing | PGAE | Sierra | 2022-01-11 | 16 | No | DEC | 1 | 44572.6007 | 44572.6042
89 | RT | Unit Testing | PGAE | Sierra | 2022-01-11 | 32 | No | INC | 1 | 44572.6042 | 44572.6319
90 | RT | Unit Testing | PGAE | Sierra | 2022-01-14 | 33 | No | INC | 1 | 44575.6111 | 44575.6215
91 | RT | Unit Testing | PGAE | Stockton | 2022-01-07 | 65 | No | INC | 1 | 44568.0556 | 44568.0833
92 | RT | Unit Testing | PGAE | NA | 2022-01-28 | 39.5 | No | INC | 1 | 44589.1944 | 44589.2188
93 | RT | Unit Testing | SCE | LA Basin | 2022-01-06 | 96 | No | INC | 1 | 44567.9444 | 44567.9722
94 | RT | Voltage Support | PGAE | Fresno | 2022-01-01 | -320 | No | DEC | 6 | 44562.125 | 44562.375
95 | RT | Voltage Support | PGAE | Fresno | 2022-01-02 | -320 | No | DEC | 8 | 44563.0764 | 44563.375
96 | RT | Voltage Support | PGAE | Humboldt | 2022-01-03 | 15 - 45 | No | DEC | 8 | 44564.6667 | 44565
97 | RT | Voltage Support | PGAE | Humboldt | 2022-01-03 | 30 - 45 | No | INC | 17 | 44564.3299 | 44565
98 | RT | Voltage Support | PGAE | Humboldt | 2022-01-04 | 15 - 30 | No | DEC | 11 | 44565.5208 | 44565.9583
99 | RT | Voltage Support | PGAE | Humboldt | 2022-01-04 | 15 - 30 | No | INC | 24 | 44565 | 44566
100 | RT | Voltage Support | PGAE | Humboldt | 2022-01-05 | 15 | No | DEC | 21 | 44566.0625 | 44566.9167
101 | RT | Voltage Support | PGAE | Humboldt | 2022-01-05 | 15 - 30 | No | INC | 24 | 44566 | 44567
102 | RT | Voltage Support | PGAE | Humboldt | 2022-01-06 | 15 | No | DEC | 22 | 44567 | 44567.9167
103 | RT | Voltage Support | PGAE | Humboldt | 2022-01-06 | 15 | No | INC | 15 | 44567.375 | 44568
104 | RT | Voltage Support | PGAE | Humboldt | 2022-01-07 | 15 - 30 | No | INC | 24 | 44568 | 44569
105 | RT | Voltage Support | PGAE | Humboldt | 2022-01-08 | 15 - 30 | No | INC | 24 | 44569 | 44570
106 | RT | Voltage Support | PGAE | Humboldt | 2022-01-09 | 30 | No | INC | 24 | 44570 | 44571
107 | RT | Voltage Support | PGAE | Humboldt | 2022-01-10 | 45 | No | DEC | 6 | 44571.6667 | 44571.9167
108 | RT | Voltage Support | PGAE | Humboldt | 2022-01-10 | 30 - 45 | No | INC | 16 | 44571 | 44571.6667
109 | RT | Voltage Support | PGAE | Humboldt | 2022-01-14 | 15 | No | DEC | 2 | 44575.934 | 44576
110 | RT | Voltage Support | PGAE | Humboldt | 2022-01-15 | 15 | No | DEC | 22 | 44576 | 44576.9167
111 | RT | Voltage Support | PGAE | Humboldt | 2022-01-15 | 15 | No | INC | 15 | 44576.3924 | 44577
112 | RT | Voltage Support | PGAE | Humboldt | 2022-01-16 | 15 - 30 | No | INC | 22 | 44577 | 44577.9167
113 | RT | Voltage Support | PGAE | Humboldt | 2022-01-17 | 15 | No | DEC | 7 | 44578.7431 | 44579
114 | RT | Voltage Support | PGAE | Humboldt | 2022-01-17 | 15 | No | INC | 1 | 44578.9826 | 44579
115 | RT | Voltage Support | PGAE | Humboldt | 2022-01-18 | 15 | No | DEC | 1 | 44579 | 44579.0208
116 | RT | Voltage Support | PGAE | Humboldt | 2022-01-18 | 15 | No | INC | 7 | 44579 | 44579.2917
117 | RT | Voltage Support | PGAE | Sierra | 2022-01-03 | 20 | No | DEC | 1 | 44564.875 | 44564.9167
118 | RT | Voltage Support | PGAE | Sierra | 2022-01-03 | 20 | No | INC | 5 | 44564.7917 | 44565
119 | RT | Voltage Support | PGAE | Sierra | 2022-01-04 | 20 - 40 | No | DEC | 19 | 44565.2083 | 44566
120 | RT | Voltage Support | PGAE | Sierra | 2022-01-04 | 20 - 40 | No | INC | 21 | 44565 | 44565.875
121 | RT | Voltage Support | PGAE | Sierra | 2022-01-05 | 20 | No | DEC | 5 | 44566.7708 | 44566.9583
122 | RT | Voltage Support | PGAE | Sierra | 2022-01-05 | 20 | No | INC | 24 | 44566 | 44567
123 | RT | Voltage Support | PGAE | Sierra | 2022-01-06 | 20 | No | INC | 6 | 44567 | 44567.25
124 | RT | Voltage Support | PGAE | Sierra | 2022-01-16 | 20 | No | INC | 5 | 44577.1076 | 44577.2917
125 | RT | Voltage Support | PGAE | Sierra | 2022-01-17 | 20 | No | INC | 6 | 44578.0799 | 44578.2917
126 | RT | Voltage Support | PGAE | Sierra | 2022-01-22 | 20 | No | INC | 13 | 44583.4861 | 44584
127 | RT | Voltage Support | PGAE | Sierra | 2022-01-23 | 20 | No | DEC | 4 | 44584.6667 | 44584.8333
128 | RT | Voltage Support | PGAE | Sierra | 2022-01-23 | 20 | No | INC | 24 | 44584 | 44585
129 | RT | Voltage Support | PGAE | Sierra | 2022-01-24 | 20 | No | INC | 7 | 44585 | 44585.2917
130 | RT | Voltage Support | PGAE | Sierra | 2022-01-28 | 20 | No | DEC | 1 | 44589.875 | 44589.9167
131 | RT | Voltage Support | PGAE | Sierra | 2022-01-28 | 20 | No | INC | 5 | 44589.7917 | 44590
132 | RT | Voltage Support | PGAE | Sierra | 2022-01-29 | 20 | No | INC | 12 | 44590 | 44590.5
133 | RT | Voltage Support | PGAE | NA | 2022-01-22 | 50 | No | INC | 6 | 44583.0764 | 44583.2917