## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report November 15, 2022
Chart 1: Table of Exceptional Dispatches for Period 01/September/2022 - 30/September/2022
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Bridging Schedules | SCE | NA | 2022-10-24 | 200 | No | DEC | 1 | 44858.6667 | 44858.7083
2 | RT | Bridging Schedules | SCE | NA | 2022-10-24 | 200 | No | INC | 8 | 44858.3333 | 44858.6667
3 | RT | Fast Start Unit Management | SCE | LA Basin | 2022-10-09 | 0 | No | INC | 2 | 44843.9062 | 44843.9688
4 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-10-05 | 10 | Yes | INC | 1 | 44839.9583 | 44840
5 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-10-06 | 10 | Yes | INC | 1 | 44840.9583 | 44841
6 | RT | Market Disruption | PGAE | Bay Area | 2022-10-31 | 150 | No | INC | 1 | 44865.8785 | 44865.8958
7 | RT | Market Disruption | PGAE | NA | 2022-10-10 | 205 | No | DEC | 2 | 44844.816 | 44844.875
8 | RT | Market Disruption | SDGE | San Diego-IV | 2022-10-31 | 150 | No | INC | 1 | 44865.8785 | 44865.8958
9 | RT | Other Reliability Requirement | PGAE | Bay Area | 2022-10-31 | 120 | No | INC | 1 | 44865.8958 | 44865.9201
10 | RT | Other Reliability Requirement | PGAE | Fresno | 2022-10-22 | 20 | No | DEC | 1 | 44856.3785 | 44856.4062
11 | RT | Other Reliability Requirement | PGAE | Fresno | 2022-10-22 | 20 | No | INC | 1 | 44856.3785 | 44856.4062
12 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-10-06 | 22 | No | INC | 2 | 44840.9306 | 44841
13 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-10-07 | 22 | No | INC | 2 | 44841 | 44841.0833
14 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-10-17 | 400 | No | DEC | 4 | 44851.5208 | 44851.6667
15 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-10-19 | 425 | No | DEC | 9 | 44853.3229 | 44853.6875
16 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-10-28 | 0 | No | DEC | 2 | 44862.9375 | 44863
17 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-10-29 | 0 | No | DEC | 12 | 44863 | 44863.5
18 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-01 | 30 | No | INC | 24 | 44835 | 44836
19 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-02 | 30 | No | INC | 24 | 44836 | 44837
20 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-03 | 15 - 30 | No | DEC | 15 | 44837.3507 | 44837.9583
21 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-03 | 15 - 30 | No | INC | 24 | 44837 | 44838
22 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-04 | 30 | No | DEC | 9 | 44838.5833 | 44838.9583
23 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-04 | 30 | No | INC | 24 | 44838 | 44839
24 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-05 | 15 - 30 | No | DEC | 18 | 44839.2083 | 44839.9583
25 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-05 | 15 - 30 | No | INC | 24 | 44839 | 44840
26 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-06 | 15 - 30 | No | INC | 24 | 44840 | 44841
27 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-07 | 30 | No | DEC | 12 | 44841.5 | 44842
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-07 | 15 - 30 | No | INC | 12 | 44841 | 44841.5
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-08 | 15 - 30 | No | DEC | 22 | 44842 | 44842.9167
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-08 | 15 - 30 | No | INC | 24 | 44842 | 44843
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-09 | 15 - 45 | No | DEC | 24 | 44843 | 44844
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-09 | 15 - 45 | No | INC | 24 | 44843 | 44844
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-10 | 15 - 30 | No | DEC | 24 | 44844 | 44845
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-10 | 15 - 45 | No | INC | 24 | 44844 | 44845
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-11 | 15 - 45 | No | DEC | 22 | 44845 | 44845.9167
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-11 | 15 - 45 | No | INC | 24 | 44845 | 44846
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-12 | 15 - 45 | No | DEC | 9 | 44846.625 | 44847
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-12 | 15 - 45 | No | INC | 24 | 44846 | 44847
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-13 | 15 - 60 | No | DEC | 22 | 44847 | 44847.9167
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-13 | 15 - 60 | No | INC | 24 | 44847 | 44848
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-14 | 15 - 60 | No | DEC | 8 | 44848.625 | 44848.9583
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-14 | 15 - 60 | No | INC | 24 | 44848 | 44849
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-15 | 15 | No | DEC | 6 | 44849.75 | 44850
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-15 | 15 - 45 | No | INC | 24 | 44849 | 44850
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-16 | 15 - 30 | No | DEC | 22 | 44850.0417 | 44850.9583
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-16 | 15 - 30 | No | INC | 24 | 44850 | 44851
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-17 | 15 - 30 | No | DEC | 20 | 44851.1667 | 44852
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-17 | 15 - 45 | No | INC | 24 | 44851 | 44852
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-18 | 15 - 45 | No | DEC | 23 | 44852 | 44852.9583
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-18 | 15 - 45 | No | INC | 24 | 44852 | 44853
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-19 | 15 - 45 | No | DEC | 18 | 44853.25 | 44854
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-19 | 15 - 45 | No | INC | 14 | 44853 | 44853.5833
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-20 | 15 - 30 | No | DEC | 24 | 44854 | 44855
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-21 | 15 - 30 | No | DEC | 24 | 44855 | 44856
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-21 | 30 | No | INC | 21 | 44855 | 44855.8438
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-22 | 15 | No | DEC | 24 | 44856 | 44857
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-23 | 15 - 30 | No | DEC | 23 | 44857 | 44857.9583
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-23 | 30 | No | INC | 16 | 44857.3576 | 44858
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-24 | 15 - 30 | No | DEC | 17 | 44858.309 | 44859
60 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-24 | 30 | No | INC | 24 | 44858 | 44859
61 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-25 | 15 | No | DEC | 21 | 44859 | 44859.875
62 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-25 | 30 | No | INC | 24 | 44859 | 44860
63 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-26 | 30 - 45 | No | INC | 24 | 44860 | 44861
64 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-27 | 15 | No | DEC | 6 | 44861.7188 | 44861.9375
65 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-27 | 30 - 45 | No | INC | 24 | 44861 | 44862
66 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-28 | 15 | No | DEC | 13 | 44862.2708 | 44862.7812
67 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-28 | 30 | No | INC | 24 | 44862 | 44863
68 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-29 | 30 | No | DEC | 9 | 44863.625 | 44864
69 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-29 | 30 | No | INC | 16 | 44863 | 44863.6667
70 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-30 | 30 | No | INC | 24 | 44864 | 44865
71 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-31 | 14 | No | DEC | 4 | 44865.8333 | 44866
72 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-31 | 15 - 30 | No | INC | 24 | 44865 | 44866
73 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-10-18 | 55 | No | DEC | 1 | 44852.9757 | 44853
74 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-10-19 | 55 | No | DEC | 16 | 44853 | 44853.6667
75 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-10-20 | 57 - 70 | No | DEC | 14 | 44854.2847 | 44854.8333
76 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-10-20 | 65 | No | INC | 1 | 44854.4583 | 44854.5
77 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-10-21 | 57 - 65 | No | DEC | 14 | 44855.3333 | 44855.9167
78 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-10-21 | 57 - 60 | No | INC | 1 | 44855.6667 | 44855.7083
79 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-10-25 | 54 - 65 | No | DEC | 11 | 44859.4167 | 44859.8542
80 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-10-30 | 45 | No | DEC | 6 | 44864.2986 | 44864.5417
81 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-10-01 | 20 | No | DEC | 3 | 44835.75 | 44835.875
82 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-10-01 | 20 - 40 | No | INC | 5 | 44835.7153 | 44835.9167
83 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-10-02 | 0 | No | DEC | 1 | 44836.7743 | 44836.8125
84 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-10-05 | 6 | No | DEC | 2 | 44839.8438 | 44839.9167
85 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-10-14 | 20 - 42 | No | INC | 6 | 44848.3333 | 44848.5833
86 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-10-25 | 20 - 45 | No | DEC | 12 | 44859.3333 | 44859.8229
87 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-10-25 | 20 - 45 | No | INC | 10 | 44859.2917 | 44859.7083
88 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-10-03 | 89 | No | DEC | 1 | 44837.3229 | 44837.3333
89 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-10-03 | 89 | No | INC | 1 | 44837.3333 | 44837.375
90 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-10-04 | 89 | No | DEC | 1 | 44838.3299 | 44838.3333
91 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-10-04 | 89 | No | INC | 1 | 44838.3333 | 44838.375
92 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-10-05 | 25 - 88.8 | No | INC | 8 | 44839.0556 | 44839.375
93 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-10-06 | 25 - 89 | No | INC | 13 | 44840.066 | 44840.5833
94 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-10-07 | 89 | No | INC | 3 | 44841.4271 | 44841.5417
95 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-10-08 | 88.8 - 250 | No | INC | 17 | 44842.2708 | 44842.9583
96 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-10-27 | 30 - 60 | No | INC | 2 | 44861.3021 | 44861.3854
97 | RT | Planned Transmission Outage | PGAE | NA | 2022-10-28 | 19 | No | INC | 15 | 44862.3785 | 44863
98 | RT | Planned Transmission Outage | PGAE | NA | 2022-10-29 | 19 | No | INC | 2 | 44863 | 44863.0625
99 | RT | Planned Transmission Outage | PGAE | NA | 2022-10-31 | 17 | No | DEC | 1 | 44865.2431 | 44865.2708
100 | RT | Planned Transmission Outage | SCE | NA | 2022-10-05 | 460 | No | DEC | 1 | 44839.7083 | 44839.7292
101 | RT | Planned Transmission Outage | SCE | NA | 2022-10-05 | 460 | No | INC | 3 | 44839.6076 | 44839.7083
102 | RT | Ramping Capacity | PGAE | NCNB | 2022-10-20 | 67 - 70 | No | DEC | 1 | 44854.2812 | 44854.3125
103 | RT | Ramping Capacity | SCE | LA Basin | 2022-10-03 | 194 | No | INC | 5 | 44837.6979 | 44837.875
104 | RT | Ramping Capacity | SCE | LA Basin | 2022-10-05 | 194 | No | INC | 5 | 44839.6667 | 44839.875
105 | RT | Reliability Assessment | PGAE | Bay Area | 2022-10-06 | 22 | No | INC | 5 | 44840.4688 | 44840.6667
106 | RT | Reliability Assessment | PGAE | Fresno | 2022-10-26 | 325 | No | DEC | 1 | 44860.7535 | 44860.7917
107 | RT | Reliability Assessment | PGAE | Fresno | 2022-10-26 | 325 | No | INC | 2 | 44860.7535 | 44860.8333
108 | RT | Reliability Assessment | PGAE | NCNB | 2022-10-07 | 30 - 63 | No | DEC | 11 | 44841.3958 | 44841.8333
109 | RT | Reliability Assessment | PGAE | NCNB | 2022-10-10 | 60 - 65 | No | DEC | 6 | 44844.7708 | 44845
110 | RT | Reliability Assessment | PGAE | NCNB | 2022-10-11 | 65 - 70 | No | DEC | 1 | 44845 | 44845.0417
111 | RT | Reliability Assessment | PGAE | NCNB | 2022-10-22 | 67 - 70 | No | DEC | 12 | 44856.3646 | 44856.8333
112 | RT | Reliability Assessment | PGAE | NCNB | 2022-10-22 | 77 - 80 | No | INC | 12 | 44856.3646 | 44856.8333
113 | RT | Reliability Assessment | PGAE | Sierra | 2022-10-02 | 20 | No | INC | 4 | 44836.7153 | 44836.875
114 | RT | Reliability Assessment | PGAE | Sierra | 2022-10-05 | 20 | No | DEC | 2 | 44839.75 | 44839.8333
115 | RT | Reliability Assessment | PGAE | Sierra | 2022-10-05 | 20 | No | INC | 1 | 44839.7326 | 44839.75
116 | RT | Reliability Assessment | PGAE | Sierra | 2022-10-06 | 20 | No | DEC | 1 | 44840.75 | 44840.7917
117 | RT | Reliability Assessment | PGAE | Sierra | 2022-10-06 | 20 | No | INC | 7 | 44840.6562 | 44840.9167
118 | RT | Reliability Assessment | PGAE | Sierra | 2022-10-07 | 20 | No | INC | 3 | 44841.7882 | 44841.875
119 | RT | Reliability Assessment | PGAE | Sierra | 2022-10-08 | 20 | No | INC | 2 | 44842.8299 | 44842.875
120 | RT | Reliability Assessment | PGAE | Sierra | 2022-10-13 | 20 | No | INC | 6 | 44847.684 | 44847.9167
121 | RT | Reliability Assessment | PGAE | Sierra | 2022-10-14 | 42 | No | INC | 10 | 44848.5069 | 44848.9167
122 | RT | Reliability Assessment | PGAE | Stockton | 2022-10-06 | 191.1 | No | DEC | 4 | 44840.7604 | 44840.9167
123 | RT | Reliability Assessment | PGAE | Stockton | 2022-10-06 | 15 - 25 | No | INC | 5 | 44840.7188 | 44840.9167
124 | RT | Reliability Assessment | PGAE | Stockton | 2022-10-07 | 200 | No | DEC | 4 | 44841.6875 | 44841.8333
125 | RT | Reliability Assessment | SCE | NA | 2022-10-05 | 460 | No | DEC | 2 | 44839.7118 | 44839.7917
126 | RT | Reliability Assessment | SCE | NA | 2022-10-17 | 25 | No | DEC | 5 | 44851.7083 | 44851.9167
127 | RT | Reliability Assessment | SCE | NA | 2022-10-17 | 25 | No | INC | 18 | 44851.2847 | 44852
128 | RT | Reliability Assessment | SCE | NA | 2022-10-18 | 25 | No | INC | 12 | 44852 | 44852.5
129 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-10-18 | 25 | No | DEC | 2 | 44852.75 | 44852.8333
130 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-10-18 | 25 | No | INC | 16 | 44852.3542 | 44853
131 | RT | Software Limitation | PGAE | Bay Area | 2022-10-06 | 22 | No | INC | 1 | 44840.6736 | 44840.7083
132 | RT | Software Limitation | PGAE | Bay Area | 2022-10-31 | 0 - 198 | No | INC | 3 | 44865.8785 | 44865.9722
133 | RT | Software Limitation | PGAE | Fresno | 2022-10-09 | 83 | No | DEC | 2 | 44843.75 | 44843.8333
134 | RT | Software Limitation | PGAE | Fresno | 2022-10-09 | 83 | No | INC | 2 | 44843.6979 | 44843.75
135 | RT | Software Limitation | PGAE | Fresno | 2022-10-31 | 398 - 404 | No | INC | 1 | 44865.875 | 44865.8854
136 | RT | Software Limitation | PGAE | Stockton | 2022-10-06 | 0 | No | INC | 1 | 44840.941 | 44840.9826
137 | RT | Software Limitation | PGAE | NA | 2022-10-09 | 200 | No | DEC | 1 | 44843.7083 | 44843.75
138 | RT | Software Limitation | PGAE | NA | 2022-10-09 | 200 | No | INC | 1 | 44843.6944 | 44843.7083
139 | RT | Software Limitation | PGAE | NA | 2022-10-31 | 0 - 200 | No | DEC | 3 | 44865.8785 | 44865.9896
140 | RT | Software Limitation | SCE | LA Basin | 2022-10-09 | 5 - 90.58 | No | INC | 1 | 44843.8333 | 44843.8715
141 | RT | Software Limitation | SCE | LA Basin | 2022-10-16 | 0 - 90.58 | No | INC | 5 | 44850.8264 | 44851
142 | RT | Software Limitation | SCE | LA Basin | 2022-10-17 | 0 | No | INC | 1 | 44851 | 44851.0139
143 | RT | Unit Testing | PGAE | NA | 2022-10-20 | 234 | No | INC | 3 | 44854.3403 | 44854.4583
144 | RT | Unit Testing | SCE | Big Creek-Ventura | 2022-10-04 | 127 | No | INC | 1 | 44838.0174 | 44838.0451
145 | RT | Unit Testing | SCE | Big Creek-Ventura | 2022-10-05 | 19.27 | No | INC | 1 | 44839.3125 | 44839.3403
146 | RT | Unit Testing | SCE | Big Creek-Ventura | 2022-10-15 | 127 | No | INC | 1 | 44849.3229 | 44849.3507
147 | RT | Unit Testing | SCE | LA Basin | 2022-10-04 | 459.83 | No | DEC | 1 | 44838.5278 | 44838.5556
148 | RT | Unit Testing | SCE | LA Basin | 2022-10-04 | 48.24 - 49.65 | No | INC | 1 | 44838.566 | 44838.5972
149 | RT | Unit Testing | SCE | NA | 2022-10-05 | 17 | No | DEC | 1 | 44839.7188 | 44839.75
150 | RT | Unit Testing | SDGE | NA | 2022-10-31 | 1 | No | INC | 1 | 44865.625 | 44865.6667
151 | RT | Unplanned Outage | PGAE | Fresno | 2022-10-16 | 83 - 140 | No | INC | 1 | 44850.8333 | 44850.875
152 | RT | Unplanned Outage | PGAE | Fresno | 2022-10-29 | 404 - 407 | No | INC | 1 | 44863.8507 | 44863.8542
153 | RT | Unplanned Outage | PGAE | NA | 2022-10-16 | 196 | No | DEC | 1 | 44850.8438 | 44850.8854
154 | RT | Unplanned Outage | PGAE | NA | 2022-10-16 | 417 | No | INC | 1 | 44850.8299 | 44850.8438
155 | RT | Unplanned Outage | SDGE | San Diego-IV | 2022-10-16 | 400 | No | INC | 1 | 44850.8403 | 44850.8819
156 | RT | Voltage Support | PGAE | Fresno | 2022-10-02 | -340 | No | DEC | 3 | 44836.2326 | 44836.3333
157 | RT | Voltage Support | PGAE | Fresno | 2022-10-03 | -340 | No | DEC | 3 | 44837.1632 | 44837.2708
158 | RT | Voltage Support | PGAE | Fresno | 2022-10-16 | -340 | No | DEC | 4 | 44850.2049 | 44850.3333
159 | RT | Voltage Support | PGAE | Fresno | 2022-10-17 | -340 | No | DEC | 20 | 44851.1667 | 44852
160 | RT | Voltage Support | PGAE | Fresno | 2022-10-17 | 0 | No | INC | 1 | 44851.9167 | 44851.9583
161 | RT | Voltage Support | PGAE | Fresno | 2022-10-18 | -340 | No | DEC | 24 | 44852 | 44853
162 | RT | Voltage Support | PGAE | Fresno | 2022-10-19 | -340 | No | DEC | 11 | 44853 | 44853.4375
163 | RT | Voltage Support | PGAE | Fresno | 2022-10-19 | 22.37 | No | INC | 6 | 44853.066 | 44853.2917
164 | RT | Voltage Support | PGAE | Fresno | 2022-10-20 | -340 | No | DEC | 24 | 44854.0243 | 44855
165 | RT | Voltage Support | PGAE | Fresno | 2022-10-20 | 0 | No | INC | 23 | 44854.0417 | 44854.9792
166 | RT | Voltage Support | PGAE | Fresno | 2022-10-21 | -340 | No | DEC | 24 | 44855 | 44856
167 | RT | Voltage Support | PGAE | Fresno | 2022-10-22 | -340 | No | DEC | 24 | 44856 | 44857
168 | RT | Voltage Support | PGAE | Fresno | 2022-10-22 | 0 | No | INC | 1 | 44856.9167 | 44856.9375
169 | RT | Voltage Support | PGAE | Fresno | 2022-10-23 | -340 | No | DEC | 24 | 44857 | 44858
170 | RT | Voltage Support | PGAE | Fresno | 2022-10-23 | 0 - 83 | No | INC | 13 | 44857.441 | 44857.9479
171 | RT | Voltage Support | PGAE | Fresno | 2022-10-24 | -340 | No | DEC | 24 | 44858 | 44859
172 | RT | Voltage Support | PGAE | Fresno | 2022-10-25 | -340 | No | DEC | 9 | 44859 | 44859.3438
173 | RT | Voltage Support | PGAE | Fresno | 2022-10-26 | -330 | No | INC | 6 | 44860.0833 | 44860.3333
174 | RT | Voltage Support | PGAE | Fresno | 2022-10-28 | -340 | No | DEC | 5 | 44862.8229 | 44863
175 | RT | Voltage Support | PGAE | Fresno | 2022-10-28 | -330 | No | INC | 4 | 44862.1979 | 44862.3333
176 | RT | Voltage Support | PGAE | Fresno | 2022-10-29 | -340 | No | DEC | 24 | 44863 | 44864
177 | RT | Voltage Support | PGAE | Fresno | 2022-10-29 | 0 | No | INC | 2 | 44863.875 | 44863.9375
178 | RT | Voltage Support | PGAE | Fresno | 2022-10-30 | -340 | No | DEC | 16 | 44864 | 44864.6667
179 | RT | Voltage Support | PGAE | Fresno | 2022-10-30 | -330 | No | INC | 3 | 44864.9062 | 44865
180 | RT | Voltage Support | PGAE | Fresno | 2022-10-31 | -330 | No | INC | 7 | 44865 | 44865.2917
181 | RT | Voltage Support | PGAE | Humboldt | 2022-10-28 | 15 | No | DEC | 2 | 44862.7812 | 44862.8542
182 | RT | Voltage Support | PGAE | Sierra | 2022-10-03 | 20 | No | INC | 1 | 44837.9896 | 44838
183 | RT | Voltage Support | PGAE | Sierra | 2022-10-04 | 20 | Yes | INC | 7 | 44838 | 44838.2917
184 | RT | Voltage Support | PGAE | Sierra | 2022-10-13 | 20 | No | INC | 3 | 44847.1458 | 44847.25
185 | RT | Voltage Support | PGAE | Sierra | 2022-10-15 | 20 | No | INC | 14 | 44849.1319 | 44849.6875
186 | RT | Voltage Support | PGAE | Sierra | 2022-10-16 | 20 | No | INC | 14 | 44850.0938 | 44850.6667
187 | RT | Voltage Support | PGAE | Sierra | 2022-10-17 | 20 | No | INC | 5 | 44851.0903 | 44851.2917
188 | RT | Voltage Support | PGAE | Sierra | 2022-10-22 | 20 | No | DEC | 4 | 44856.75 | 44856.9167
189 | RT | Voltage Support | PGAE | Sierra | 2022-10-22 | 20 | No | INC | 20 | 44856.1667 | 44857
190 | RT | Voltage Support | PGAE | Sierra | 2022-10-23 | 20 | No | DEC | 3 | 44857.75 | 44857.875
191 | RT | Voltage Support | PGAE | Sierra | 2022-10-23 | 20 | No | INC | 24 | 44857 | 44858
192 | RT | Voltage Support | PGAE | Sierra | 2022-10-24 | 20 | No | INC | 24 | 44858 | 44859
193 | RT | Voltage Support | PGAE | Sierra | 2022-10-25 | 20 | Yes | INC | 24 | 44859 | 44860
194 | RT | Voltage Support | PGAE | Sierra | 2022-10-26 | 45 | No | DEC | 11 | 44860.3229 | 44860.75
195 | RT | Voltage Support | PGAE | Sierra | 2022-10-26 | 20 - 45 | Yes | INC | 17 | 44860 | 44860.7083
196 | RT | Voltage Support | PGAE | Sierra | 2022-10-27 | 20 | No | INC | 20 | 44861.1771 | 44862
197 | RT | Voltage Support | PGAE | Sierra | 2022-10-28 | 20 | Yes | INC | 24 | 44862 | 44863
198 | RT | Voltage Support | PGAE | Sierra | 2022-10-29 | 20 | Yes | INC | 24 | 44863 | 44864
199 | RT | Voltage Support | PGAE | Sierra | 2022-10-30 | 20 | No | DEC | 4 | 44864.7986 | 44864.9583
200 | RT | Voltage Support | PGAE | Sierra | 2022-10-30 | 20 | No | INC | 24 | 44864 | 44865
201 | RT | Voltage Support | PGAE | Sierra | 2022-10-31 | 20 | Yes | INC | 7 | 44865 | 44865.2917
202 | RT | Voltage Support | PGAE | NA | 2022-10-17 | 49 | No | INC | 3 | 44851.1806 | 44851.2917
203 | RT | Voltage Support | PGAE | NA | 2022-10-19 | 48.95 | No | DEC | 5 | 44853.0972 | 44853.2917
204 | RT | Voltage Support | PGAE | NA | 2022-10-28 | 195.8 | No | DEC | 2 | 44862.9375 | 44863
205 | RT | Voltage Support | PGAE | NA | 2022-10-29 | 147 - 307 | No | DEC | 24 | 44863 | 44864
206 | RT | Voltage Support | PGAE | NA | 2022-10-29 | 19 | No | INC | 23 | 44863.0625 | 44864
207 | RT | Voltage Support | PGAE | NA | 2022-10-30 | 19 - 49 | No | DEC | 18 | 44864.25 | 44865
208 | RT | Voltage Support | PGAE | NA | 2022-10-30 | 19 | No | INC | 6 | 44864 | 44864.25
209 | RT | Voltage Support | PGAE | NA | 2022-10-31 | 49 | No | DEC | 6 | 44865 | 44865.25