## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report November 15, 2022
Chart 1: Table of Exceptional Dispatches for Period 01/September/2022 - 30/September/2022
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Bridging Schedules | SCE | Big Creek-Ventura | 2022-09-01 | 50 | No | INC | 13 | 44805 | 44805.5417
2 | RT | Bridging Schedules | SCE | LA Basin | 2022-09-20 | 10 | Yes | INC | 1 | 44824.9583 | 44825
3 | RT | Bridging Schedules | SCE | LA Basin | 2022-09-30 | 20 | Yes | INC | 1 | 44834.9583 | 44835
4 | RT | Conditions beyond the control of the CAISO | SCE | LA Basin | 2022-09-10 | 400 | No | DEC | 7 | 44814.4306 | 44814.7083
5 | RT | Fast Start Unit Management | PGAE | Fresno | 2022-09-06 | 100 | No | DEC | 4 | 44810.5451 | 44810.7083
6 | RT | Fast Start Unit Management | PGAE | Sierra | 2022-09-07 | 20 | No | DEC | 13 | 44811.4583 | 44812
7 | RT | Fast Start Unit Management | PGAE | Sierra | 2022-09-07 | 20 | No | INC | 1 | 44811.4479 | 44811.4583
8 | RT | Fast Start Unit Management | PGAE | NA | 2022-09-01 | 50 | No | DEC | 9 | 44805.4792 | 44805.8542
9 | RT | Fast Start Unit Management | PGAE | NA | 2022-09-06 | 307 | No | DEC | 3 | 44810.5486 | 44810.6458
10 | RT | Fast Start Unit Management | PGAE | NA | 2022-09-07 | 307 | No | DEC | 16 | 44811.2708 | 44811.9167
11 | RT | Fast Start Unit Management | PGAE | NA | 2022-09-07 | 307 | No | INC | 11 | 44811.3333 | 44811.7917
12 | RT | Fast Start Unit Management | SCE | LA Basin | 2022-09-06 | 151 | No | INC | 2 | 44810.4444 | 44810.5
13 | RT | Fast Start Unit Management | SCE | LA Basin | 2022-09-07 | 0 | No | INC | 1 | 44811.7326 | 44811.75
14 | RT | Fast Start Unit Management | SCE | LA Basin | 2022-09-09 | 20 - 50 | No | DEC | 7 | 44813.6146 | 44813.875
15 | RT | Fast Start Unit Management | SCE | LA Basin | 2022-09-20 | 0 | No | INC | 3 | 44824.25 | 44824.3472
16 | RT | Gas Limitations | SDGE | San Diego-IV | 2022-09-01 | 160 | No | DEC | 1 | 44805.5833 | 44805.6146
17 | RT | Gas Limitations | SDGE | San Diego-IV | 2022-09-01 | 160 | No | INC | 1 | 44805.566 | 44805.5833
18 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2022-09-01 | 20 | No | DEC | 11 | 44805.4896 | 44805.9167
19 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2022-09-04 | 20 | Yes | DEC | 5 | 44808.7535 | 44808.9583
20 | RT | Incomplete or Inaccurate Transmission | PGAE | Stockton | 2022-09-09 | 30 - 45 | No | DEC | 6 | 44813.6007 | 44813.8333
21 | RT | Incomplete or Inaccurate Transmission | PGAE | Stockton | 2022-09-09 | 30 - 55 | No | INC | 7 | 44813.625 | 44813.9167
22 | RT | Incomplete or Inaccurate Transmission | SDGE | San Diego-IV | 2022-09-02 | 37 | No | DEC | 5 | 44806.625 | 44806.8333
23 | RT | Incomplete or Inaccurate Transmission | SDGE | San Diego-IV | 2022-09-02 | 37 | No | INC | 3 | 44806.5278 | 44806.625
24 | RT | Incomplete or Inaccurate Transmission | SDGE | San Diego-IV | 2022-09-04 | 37 - 39 | No | DEC | 7 | 44808.625 | 44808.9167
25 | RT | Incomplete or Inaccurate Transmission | SDGE | San Diego-IV | 2022-09-04 | 37 - 39 | No | INC | 14 | 44808.4375 | 44809
26 | RT | Incomplete or Inaccurate Transmission | SDGE | San Diego-IV | 2022-09-09 | 200 | No | DEC | 1 | 44813.5 | 44813.5417
27 | RT | Incomplete or Inaccurate Transmission | SDGE | San Diego-IV | 2022-09-09 | 200 | No | INC | 1 | 44813.4896 | 44813.5
28 | RT | Intertie Emergency Assistance | Intertie | NA | 2022-09-06 | 24 - 43 | No | DEC | 4 | 44810.7083 | 44810.875
29 | RT | Intertie Emergency Assistance | Intertie | NA | 2022-09-07 | 75 | No | INC | 5 | 44811.6667 | 44811.875
30 | RT | Intertie Emergency Assistance | Intertie | NA | 2022-09-08 | 0.01 | No | DEC | 1 | 44812.6007 | 44812.625
31 | RT | Intertie Emergency Assistance | Intertie | NA | 2022-09-08 | 185 | No | INC | 1 | 44812.5903 | 44812.6146
32 | RT | Load Forecast Uncertainty | Intertie | NA | 2022-09-01 | 25 | No | INC | 1 | 44805.7708 | 44805.7917
33 | RT | Load Forecast Uncertainty | Intertie | NA | 2022-09-06 | 91 - 317 | No | INC | 5 | 44810.6667 | 44810.875
34 | RT | Load Forecast Uncertainty | Intertie | NA | 2022-09-07 | 14 | No | DEC | 1 | 44811.7083 | 44811.75
35 | RT | Load Forecast Uncertainty | Intertie | NA | 2022-09-07 | 50 - 363 | No | INC | 3 | 44811.75 | 44811.875
36 | RT | Load Forecast Uncertainty | Intertie | NA | 2022-09-08 | 21 - 576 | No | INC | 5 | 44812.6667 | 44812.875
37 | RT | Load Forecast Uncertainty | Intertie | NA | 2022-09-09 | 28 - 338 | No | INC | 4 | 44813.6667 | 44813.8333
38 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2022-09-01 | 585 | No | INC | 3 | 44805.75 | 44805.875
39 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2022-09-06 | 816 | No | DEC | 1 | 44810.7917 | 44810.8333
40 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2022-09-06 | 816 | No | INC | 4 | 44810.7639 | 44810.9167
41 | RT | Load Forecast Uncertainty | PGAE | Fresno | 2022-09-06 | 386 | No | INC | 1 | 44810.7708 | 44810.7951
42 | RT | Load Forecast Uncertainty | PGAE | Fresno | 2022-09-08 | 49 - 50 | No | DEC | 5 | 44812.6701 | 44812.875
43 | RT | Load Forecast Uncertainty | PGAE | NA | 2022-09-01 | 641 | No | INC | 3 | 44805.75 | 44805.875
44 | RT | Load Forecast Uncertainty | PGAE | NA | 2022-09-06 | 388 | No | DEC | 2 | 44810.8333 | 44810.9167
45 | RT | Load Forecast Uncertainty | PGAE | NA | 2022-09-06 | 388 - 400 | No | INC | 2 | 44810.7778 | 44810.8333
46 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-09-01 | 100 | No | DEC | 13 | 44805.4583 | 44806
47 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-09-01 | 74 - 100 | No | INC | 18 | 44805.1042 | 44805.8542
48 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-09-03 | 100 | No | INC | 3 | 44807.875 | 44808
49 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-09-05 | 50 | No | DEC | 2 | 44809.9167 | 44810
50 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-09-05 | 50 | No | INC | 7 | 44809.25 | 44809.5417
51 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-09-08 | 3 | No | DEC | 10 | 44812.5312 | 44812.9167
52 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-09-09 | 741 - 750 | No | INC | 6 | 44813.5833 | 44813.8229
53 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-09-11 | 50 | No | INC | 13 | 44815.4583 | 44816
54 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-09-26 | 405 | No | DEC | 6 | 44830.6667 | 44830.9167
55 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-09-02 | 10 | No | INC | 6 | 44806 | 44806.25
56 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-09-03 | 10 | No | INC | 1 | 44807.9583 | 44808
57 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-09-04 | 133 | No | DEC | 12 | 44808.5 | 44809
58 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-09-04 | 10 - 133 | Yes | INC | 18 | 44808.2743 | 44809
59 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-09-05 | 242 | No | DEC | 4 | 44809.7951 | 44809.9583
60 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-09-07 | 10 | Yes | INC | 1 | 44811.9583 | 44812
61 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-09-08 | 70 | No | INC | 8 | 44812.7049 | 44813
62 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-09-09 | 172 - 480 | No | INC | 7 | 44813.5833 | 44813.875
63 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-09-25 | 10 | No | INC | 21 | 44829.125 | 44830
64 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-09-26 | 10-20 | Yes | INC | 1 | 44830.9583 | 44831
65 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-09-27 | 70 - 130 | No | INC | 23 | 44831.0417 | 44832
66 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-09-28 | 70 | No | INC | 1 | 44832 | 44832.0417
67 | RT | Load Forecast Uncertainty | SCE | NA | 2022-09-01 | 410 | No | DEC | 2 | 44805.7917 | 44805.875
68 | RT | Load Forecast Uncertainty | SCE | NA | 2022-09-01 | 410 | No | INC | 1 | 44805.75 | 44805.7917
69 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2022-09-01 | 20 - 565 | No | INC | 4 | 44805.7292 | 44805.8958
70 | RT | Market Disruption | PGAE | Bay Area | 2022-09-01 | 0 | No | INC | 1 | 44805.0139 | 44805.0417
71 | RT | Market Disruption | PGAE | Fresno | 2022-09-01 | 83 - 400 | No | INC | 1 | 44805.0139 | 44805.0521
72 | RT | Market Disruption | PGAE | Fresno | 2022-09-29 | 384 | No | INC | 1 | 44833.8333 | 44833.8438
73 | RT | Market Disruption | SCE | Big Creek-Ventura | 2022-09-01 | 650 | No | INC | 1 | 44805.0174 | 44805.0417
74 | RT | Market Disruption | SCE | NA | 2022-09-01 | 200 | No | INC | 1 | 44805.0174 | 44805.0417
75 | RT | Other Reliability Requirement | PGAE | Bay Area | 2022-09-05 | 64 - 296 | No | DEC | 11 | 44809.4306 | 44809.875
76 | RT | Other Reliability Requirement | PGAE | Bay Area | 2022-09-05 | 296 - 510 | No | INC | 5 | 44809.6806 | 44809.875
77 | RT | Other Reliability Requirement | PGAE | Bay Area | 2022-09-06 | -914 | No | DEC | 13 | 44810.3438 | 44810.875
78 | RT | Other Reliability Requirement | PGAE | Bay Area | 2022-09-06 | 296 - 814 | No | INC | 5 | 44810.625 | 44810.8333
79 | RT | Other Reliability Requirement | PGAE | Bay Area | 2022-09-07 | 0 - 64 | No | DEC | 9 | 44811.3021 | 44811.6667
80 | RT | Other Reliability Requirement | PGAE | Bay Area | 2022-09-07 | 0 | No | INC | 3 | 44811.5694 | 44811.6875
81 | RT | Other Reliability Requirement | PGAE | Fresno | 2022-09-07 | 0 - 44 | No | DEC | 6 | 44811.625 | 44811.875
82 | RT | Other Reliability Requirement | PGAE | Fresno | 2022-09-07 | 44 | No | INC | 1 | 44811.6146 | 44811.625
83 | RT | Other Reliability Requirement | PGAE | Fresno | 2022-09-20 | 200 | No | INC | 1 | 44824.0938 | 44824.1042
84 | RT | Other Reliability Requirement | PGAE | NA | 2022-09-05 | 60 | No | INC | 4 | 44809.7465 | 44809.875
85 | RT | Other Reliability Requirement | PGAE | NA | 2022-09-05 | 2.6495 - 29.36 | No | INC | 5 | 44809.7708 | 44809.9722
86 | RT | Other Reliability Requirement | PGAE | NA | 2022-09-06 | -60 | No | DEC | 1 | 44810.691 | 44810.7083
87 | RT | Other Reliability Requirement | PGAE | NA | 2022-09-06 | 60 - 259 | No | INC | 8 | 44810.5833 | 44810.9167
88 | RT | Other Reliability Requirement | PGAE | NA | 2022-09-06 | 0.6 - 29.3 | No | INC | 5 | 44810.7083 | 44810.9132
89 | RT | Other Reliability Requirement | PGAE | NA | 2022-09-07 | -110 | No | DEC | 9 | 44811.5 | 44811.875
90 | RT | Other Reliability Requirement | PGAE | NA | 2022-09-07 | 0 - 50 | No | INC | 8 | 44811.5451 | 44811.875
91 | RT | Other Reliability Requirement | PGAE | NA | 2022-09-07 | 1.9295 - 29.59 | No | INC | 5 | 44811.7604 | 44811.9618
92 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2022-09-05 | 741 | No | DEC | 4 | 44809.7083 | 44809.875
93 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2022-09-05 | 741 - 750 | No | INC | 6 | 44809.625 | 44809.875
94 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2022-09-06 | 53.9 - 741 | No | DEC | 6 | 44810.625 | 44810.875
95 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2022-09-06 | 741 - 750 | No | INC | 7 | 44810.5833 | 44810.875
96 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2022-09-07 | 53.9 - 741 | No | DEC | 5 | 44811.6667 | 44811.875
97 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2022-09-07 | 0 - 750 | No | INC | 7 | 44811.5833 | 44811.875
98 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2022-09-08 | 741 - 750 | No | INC | 6 | 44812.625 | 44812.875
99 | RT | Other Reliability Requirement | SCE | LA Basin | 2022-09-02 | 96.6 - 674.7 | No | INC | 6 | 44806.625 | 44806.875
100 | RT | Other Reliability Requirement | SCE | LA Basin | 2022-09-03 | 96.6 - 674.7 | Yes | INC | 6 | 44807.625 | 44807.875
101 | RT | Other Reliability Requirement | SCE | LA Basin | 2022-09-04 | 96.6 - 674.7 | Yes | INC | 6 | 44808.625 | 44808.875
102 | RT | Other Reliability Requirement | SCE | LA Basin | 2022-09-05 | 96.6 - 674.7 | No | INC | 6 | 44809.625 | 44809.875
103 | RT | Other Reliability Requirement | SCE | LA Basin | 2022-09-06 | 96.65 - 674.7 | No | INC | 6 | 44810.625 | 44810.875
104 | RT | Other Reliability Requirement | SCE | LA Basin | 2022-09-07 | 33 | No | DEC | 6 | 44811.6562 | 44811.875
105 | RT | Other Reliability Requirement | SCE | LA Basin | 2022-09-07 | 0 - 674.7 | Yes | INC | 7 | 44811.5903 | 44811.875
106 | RT | Other Reliability Requirement | SCE | LA Basin | 2022-09-08 | -10 | No | DEC | 1 | 44812.5208 | 44812.5417
107 | RT | Other Reliability Requirement | SCE | LA Basin | 2022-09-08 | 480 | No | INC | 6 | 44812.625 | 44812.875
108 | RT | Other Reliability Requirement | SCE | LA Basin | 2022-09-09 | 20 | No | DEC | 6 | 44813.625 | 44813.8646
109 | RT | Other Reliability Requirement | SCE | LA Basin | 2022-09-09 | 20 | No | INC | 3 | 44813.566 | 44813.6667
110 | RT | Other Reliability Requirement | SCE | NA | 2022-09-01 | -100 | No | DEC | 1 | 44805.7222 | 44805.75
111 | RT | Other Reliability Requirement | SCE | NA | 2022-09-02 | 250 | No | INC | 6 | 44806.625 | 44806.875
112 | RT | Other Reliability Requirement | SCE | NA | 2022-09-03 | 250 | No | INC | 5 | 44807.625 | 44807.8125
113 | RT | Other Reliability Requirement | SCE | NA | 2022-09-04 | 250 | No | INC | 5 | 44808.625 | 44808.8021
114 | RT | Other Reliability Requirement | SCE | NA | 2022-09-05 | 250 | No | INC | 6 | 44809.625 | 44809.875
115 | RT | Other Reliability Requirement | SCE | NA | 2022-09-05 | 0.26 - 158.41 | No | INC | 5 | 44809.7708 | 44809.9722
116 | RT | Other Reliability Requirement | SCE | NA | 2022-09-06 | -10 | No | DEC | 2 | 44810.6944 | 44810.7396
117 | RT | Other Reliability Requirement | SCE | NA | 2022-09-06 | 250 | No | INC | 6 | 44810.625 | 44810.875
118 | RT | Other Reliability Requirement | SCE | NA | 2022-09-06 | 0.28 - 158.42 | No | INC | 5 | 44810.7083 | 44810.9132
119 | RT | Other Reliability Requirement | SCE | NA | 2022-09-07 | -50 | No | DEC | 5 | 44811.5104 | 44811.6875
120 | RT | Other Reliability Requirement | SCE | NA | 2022-09-07 | 0 - 250 | No | INC | 8 | 44811.5729 | 44811.875
121 | RT | Other Reliability Requirement | SCE | NA | 2022-09-07 | 0.29 - 157.76 | No | INC | 5 | 44811.7604 | 44811.9618
122 | RT | Other Reliability Requirement | SCE | NA | 2022-09-08 | -39.6 | No | DEC | 1 | 44812.4688 | 44812.4896
123 | RT | Other Reliability Requirement | SCE | NA | 2022-09-09 | 0 | No | INC | 1 | 44813.5208 | 44813.5417
124 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-09-02 | 37.2 | No | INC | 6 | 44806.625 | 44806.875
125 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-09-03 | 37.2 | No | INC | 6 | 44807.625 | 44807.875
126 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-09-04 | 37.2 | No | INC | 6 | 44808.625 | 44808.875
127 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-09-05 | 37.2 | Yes | INC | 6 | 44809.625 | 44809.875
128 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-09-06 | 37.2 | No | INC | 6 | 44810.625 | 44810.875
129 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-09-07 | 0 - 37.2 | No | INC | 8 | 44811.5764 | 44811.875
130 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-09-08 | 0 | No | INC | 1 | 44812.5729 | 44812.5938
131 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-09-09 | 25 | No | DEC | 7 | 44813.6181 | 44813.875
132 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-09-09 | 0 | No | INC | 1 | 44813.5104 | 44813.5417
133 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-01 | 30 - 42 | No | DEC | 24 | 44805 | 44806
134 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-01 | 42 | No | INC | 1 | 44805.125 | 44805.1667
135 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-02 | 30 | No | DEC | 12 | 44806.4583 | 44806.9583
136 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-02 | 30 | No | INC | 24 | 44806 | 44807
137 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-03 | 30 | No | DEC | 13 | 44807.4583 | 44808
138 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-03 | 30 | No | INC | 11 | 44807 | 44807.4583
139 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-04 | 30 | No | DEC | 24 | 44808 | 44809
140 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-04 | 30 | No | INC | 6 | 44808.25 | 44808.5
141 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-05 | 15 - 30 | No | DEC | 24 | 44809 | 44810
142 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-05 | 15 - 30 | No | INC | 23 | 44809.0417 | 44810
143 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-06 | 15 - 30 | No | DEC | 24 | 44810 | 44811
144 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-07 | 15 - 30 | No | DEC | 24 | 44811 | 44812
145 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-07 | 15 - 30 | No | INC | 24 | 44811 | 44812
146 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-08 | 15 - 30 | No | DEC | 24 | 44812 | 44813
147 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-09 | 15 - 30 | No | DEC | 22 | 44813 | 44813.9167
148 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-09 | 15 - 30 | No | INC | 24 | 44813 | 44814
149 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-10 | 15 - 30 | No | DEC | 8 | 44814.6667 | 44815
150 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-10 | 15 - 30 | No | INC | 17 | 44814 | 44814.7083
151 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-11 | 15 - 30 | No | DEC | 24 | 44815 | 44816
152 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-11 | 15 - 30 | No | INC | 24 | 44815 | 44816
153 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-12 | 15 - 30 | No | DEC | 24 | 44816 | 44817
154 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-12 | 15 - 30 | No | INC | 15 | 44816.0417 | 44816.6667
155 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-13 | 30 | No | DEC | 1 | 44817 | 44817.0417
156 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-13 | 15 - 30 | No | INC | 24 | 44817 | 44818
157 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-14 | 30 | No | INC | 24 | 44818 | 44819
158 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-15 | 30 - 45 | No | INC | 24 | 44819 | 44820
159 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-16 | 30 | No | INC | 24 | 44820 | 44821
160 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-17 | 30 | No | INC | 24 | 44821 | 44822
161 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-18 | 30 | No | INC | 24 | 44822 | 44823
162 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-19 | 15 | No | DEC | 4 | 44823.8438 | 44824
163 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-19 | 30 | No | INC | 21 | 44823 | 44823.8438
164 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-20 | 15 | No | DEC | 2 | 44824 | 44824.0833
165 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-22 | 15 | No | DEC | 17 | 44826.3021 | 44827
166 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-23 | 15 - 30 | No | DEC | 24 | 44827 | 44828
167 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-23 | 30 | No | INC | 9 | 44827.3056 | 44827.6667
168 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-24 | 15 | No | DEC | 24 | 44828 | 44829
169 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-25 | 15 | No | DEC | 24 | 44829 | 44830
170 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-26 | 15 - 30 | No | DEC | 24 | 44830 | 44831
171 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-26 | 30 | No | INC | 6 | 44830.3021 | 44830.5417
172 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-27 | 15 - 56 | No | DEC | 24 | 44831 | 44832
173 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-28 | 30 | No | DEC | 10 | 44832.5417 | 44832.9583
174 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-28 | 15 - 45 | No | INC | 24 | 44832 | 44833
175 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-29 | 30 - 45 | No | INC | 24 | 44833 | 44834
176 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-09-30 | 15 - 45 | No | INC | 24 | 44834 | 44835
177 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-09-15 | 10 - 70 | No | DEC | 1 | 44819.5035 | 44819.5417
178 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-09-16 | 70 | No | DEC | 1 | 44820.441 | 44820.4792
179 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-09-22 | 64 | No | DEC | 2 | 44826.2083 | 44826.2708
180 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-09-06 | 42 - 45 | No | DEC | 9 | 44810.5417 | 44810.9167
181 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-09-06 | 20 - 47 | No | INC | 17 | 44810.3056 | 44811
182 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-09-07 | 47 | No | DEC | 2 | 44811 | 44811.0833
183 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-09-08 | 42 | No | DEC | 11 | 44812.5 | 44812.9583
184 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-09-08 | 42 | No | INC | 1 | 44812.4965 | 44812.5
185 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-09-10 | 42 | No | INC | 8 | 44814.625 | 44814.9583
186 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-09-25 | 20 | No | INC | 2 | 44829.8819 | 44829.9583
187 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-09-26 | 20 | No | DEC | 1 | 44830.6875 | 44830.7083
188 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-09-26 | 4 - 42 | No | INC | 6 | 44830.625 | 44830.875
189 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-09-28 | 20 | No | DEC | 4 | 44832.7778 | 44832.9167
190 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-09-28 | 20 | No | INC | 4 | 44832.7882 | 44832.9167
191 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-09-10 | 30 | No | DEC | 3 | 44814.6458 | 44814.7708
192 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-09-15 | 65 - 89 | No | INC | 7 | 44819.7083 | 44820
193 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-09-16 | 89 | No | DEC | 4 | 44820.75 | 44820.9167
194 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-09-16 | 65 - 89 | No | INC | 18 | 44820 | 44820.75
195 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-09-17 | 88.8 | No | DEC | 4 | 44821.75 | 44821.9167
196 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-09-17 | 88.8 | No | INC | 18 | 44821 | 44821.75
197 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-09-21 | 89 | No | INC | 17 | 44825.2917 | 44826
198 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-09-22 | 89 | No | INC | 24 | 44826 | 44827
199 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-09-25 | 240 | No | INC | 1 | 44829.9965 | 44830
200 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-09-26 | 89 | No | DEC | 1 | 44830.3229 | 44830.3333
201 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-09-26 | 89 - 240 | No | INC | 9 | 44830 | 44830.375
202 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-09-27 | 89 | No | INC | 1 | 44831.3021 | 44831.3333
203 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-09-28 | 15 | No | DEC | 11 | 44832.375 | 44832.8333
204 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-09-28 | 89 | No | INC | 2 | 44832.9479 | 44833
205 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-09-29 | 89 | No | DEC | 1 | 44833.9444 | 44833.9583
206 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-09-29 | 89 | No | INC | 24 | 44833 | 44834
207 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-09-30 | 50 | No | INC | 2 | 44834.9444 | 44835
208 | RT | Planned Transmission Outage | PGAE | NA | 2022-09-28 | 15 | No | DEC | 2 | 44832.4167 | 44832.5
209 | RT | Planned Transmission Outage | PGAE | NA | 2022-09-28 | 15 | No | INC | 11 | 44832.375 | 44832.8333
210 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-09-13 | -18 | No | DEC | 9 | 44817.4306 | 44817.7708
211 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-09-13 | -18 | No | INC | 5 | 44817.4583 | 44817.6667
212 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-09-14 | -3 | No | DEC | 4 | 44818.625 | 44818.7604
213 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-09-14 | -45 | No | INC | 7 | 44818.4306 | 44818.7083
214 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-09-23 | 6 | No | DEC | 2 | 44827.7049 | 44827.75
215 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-09-23 | 6 | No | INC | 2 | 44827.75 | 44827.8125
216 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-09-24 | -2 | No | DEC | 4 | 44828.5833 | 44828.7292
217 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-09-24 | -2 | No | INC | 3 | 44828.4861 | 44828.5833
218 | RT | Pump Management | PGAE | Fresno | 2022-09-17 | -325 | No | DEC | 3 | 44821.5799 | 44821.6875
219 | RT | Ramping Capacity | PGAE | Bay Area | 2022-09-09 | 138 | No | DEC | 7 | 44813.5833 | 44813.875
220 | RT | Ramping Capacity | PGAE | Bay Area | 2022-09-09 | 138 | No | INC | 1 | 44813.5729 | 44813.5833
221 | RT | Ramping Capacity | PGAE | Fresno | 2022-09-06 | 100 | No | DEC | 1 | 44810.5312 | 44810.5451
222 | RT | Ramping Capacity | PGAE | Sierra | 2022-09-22 | 20 | No | INC | 3 | 44826.7743 | 44826.875
223 | RT | Ramping Capacity | PGAE | Sierra | 2022-09-23 | 20 | No | DEC | 2 | 44827.75 | 44827.8333
224 | RT | Ramping Capacity | PGAE | Sierra | 2022-09-23 | 20 | No | INC | 6 | 44827.7396 | 44827.9583
225 | RT | Ramping Capacity | PGAE | NA | 2022-09-09 | 49 | No | DEC | 6 | 44813.6458 | 44813.875
226 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-09-01 | 401 | No | DEC | 4 | 44805.7083 | 44805.875
227 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-09-01 | 401 | No | INC | 2 | 44805.625 | 44805.7083
228 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-09-02 | 401 | No | DEC | 2 | 44806.75 | 44806.8333
229 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-09-02 | 401 | No | INC | 3 | 44806.625 | 44806.75
230 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-09-03 | 70 - 401 | No | DEC | 4 | 44807.7396 | 44807.875
231 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-09-03 | 401 | No | INC | 6 | 44807.625 | 44807.875
232 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-09-04 | 401 | No | INC | 3 | 44808.7708 | 44808.875
233 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-09-05 | 401 | No | DEC | 1 | 44809.875 | 44809.9167
234 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-09-05 | 401 | No | INC | 2 | 44809.5417 | 44809.625
235 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-09-06 | 401 | No | DEC | 1 | 44810.875 | 44810.9167
236 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-09-06 | 401 | No | INC | 2 | 44810.5 | 44810.5833
237 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-09-07 | 401 | No | DEC | 1 | 44811.875 | 44811.9167
238 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-09-07 | 401 | No | INC | 2 | 44811.5 | 44811.5833
239 | RT | Ramping Capacity | SCE | LA Basin | 2022-09-01 | 190 - 194 | No | DEC | 6 | 44805.625 | 44805.875
240 | RT | Ramping Capacity | SCE | LA Basin | 2022-09-02 | 190 - 194 | No | DEC | 5 | 44806.625 | 44806.8333
241 | RT | Ramping Capacity | SCE | LA Basin | 2022-09-04 | 240 | No | INC | 4 | 44808.7083 | 44808.875
242 | RT | Ramping Capacity | SCE | LA Basin | 2022-09-05 | 65 - 241 | No | DEC | 9 | 44809.5417 | 44809.9167
243 | RT | Ramping Capacity | SCE | LA Basin | 2022-09-06 | 65 - 241 | No | DEC | 10 | 44810.5 | 44810.9167
244 | RT | Ramping Capacity | SCE | LA Basin | 2022-09-06 | 65 - 190 | No | INC | 1 | 44810.5 | 44810.5417
245 | RT | Ramping Capacity | SCE | LA Basin | 2022-09-07 | 65 - 240 | No | DEC | 10 | 44811.5 | 44811.9167
246 | RT | Ramping Capacity | SCE | LA Basin | 2022-09-07 | 65 - 194 | No | INC | 2 | 44811.5 | 44811.5833
247 | RT | Ramping Capacity | SCE | LA Basin | 2022-09-09 | 49 | No | DEC | 6 | 44813.6458 | 44813.875
248 | RT | Ramping Capacity | SCE | LA Basin | 2022-09-11 | 194 | No | INC | 6 | 44815.6667 | 44815.9167
249 | RT | Reliability Assessment | Intertie | NA | 2022-09-08 | 17 | No | INC | 1 | 44812.75 | 44812.7917
250 | RT | Reliability Assessment | Intertie | NA | 2022-09-09 | 20 - 40 | No | INC | 3 | 44813.7083 | 44813.8333
251 | RT | Reliability Assessment | PGAE | Bay Area | 2022-09-05 | 50 | No | INC | 4 | 44809.75 | 44809.8958
252 | RT | Reliability Assessment | PGAE | Bay Area | 2022-09-06 | 150 | No | DEC | 2 | 44810.5417 | 44810.625
253 | RT | Reliability Assessment | PGAE | Bay Area | 2022-09-07 | 95 | No | DEC | 3 | 44811.7951 | 44811.9167
254 | RT | Reliability Assessment | PGAE | Fresno | 2022-09-05 | 20 | No | DEC | 2 | 44809.8542 | 44809.9167
255 | RT | Reliability Assessment | PGAE | Fresno | 2022-09-06 | 0 - 83 | No | DEC | 10 | 44810.5417 | 44810.9583
256 | RT | Reliability Assessment | PGAE | Fresno | 2022-09-06 | 83 | No | INC | 2 | 44810.5312 | 44810.5833
257 | RT | Reliability Assessment | PGAE | Fresno | 2022-09-15 | 108 | No | DEC | 1 | 44819.25 | 44819.2917
258 | RT | Reliability Assessment | PGAE | Fresno | 2022-09-15 | 108 | No | INC | 1 | 44819.2361 | 44819.25
259 | RT | Reliability Assessment | PGAE | Humboldt | 2022-09-01 | 15 | No | DEC | 24 | 44805 | 44806
260 | RT | Reliability Assessment | PGAE | Humboldt | 2022-09-02 | 15 | No | DEC | 10 | 44806.5417 | 44806.9583
261 | RT | Reliability Assessment | PGAE | Humboldt | 2022-09-02 | 15 | No | INC | 24 | 44806 | 44807
262 | RT | Reliability Assessment | PGAE | Humboldt | 2022-09-03 | 15 | No | DEC | 14 | 44807.375 | 44807.9583
263 | RT | Reliability Assessment | PGAE | Humboldt | 2022-09-03 | 15 | No | INC | 24 | 44807 | 44808
264 | RT | Reliability Assessment | PGAE | Humboldt | 2022-09-04 | 15 | No | DEC | 24 | 44808 | 44809
265 | RT | Reliability Assessment | PGAE | Humboldt | 2022-09-05 | 15 | No | INC | 3 | 44809 | 44809.1146
266 | RT | Reliability Assessment | PGAE | Humboldt | 2022-09-20 | 15 | No | DEC | 17 | 44824.2292 | 44824.9062
267 | RT | Reliability Assessment | PGAE | Humboldt | 2022-09-20 | 15 | No | INC | 15 | 44824.3056 | 44824.9062
268 | RT | Reliability Assessment | PGAE | Humboldt | 2022-09-21 | 15 | No | INC | 16 | 44825.2812 | 44825.9167
269 | RT | Reliability Assessment | PGAE | Kern | 2022-09-16 | 32 | No | INC | 21 | 44820.1597 | 44821
270 | RT | Reliability Assessment | PGAE | Kern | 2022-09-17 | 32 | Yes | INC | 24 | 44821 | 44822
271 | RT | Reliability Assessment | PGAE | Kern | 2022-09-18 | 32 | No | INC | 24 | 44822 | 44823
272 | RT | Reliability Assessment | PGAE | Kern | 2022-09-19 | 32 | No | INC | 16 | 44823 | 44823.6667
273 | RT | Reliability Assessment | PGAE | Kern | 2022-09-29 | 32 | No | INC | 4 | 44833.8368 | 44834
274 | RT | Reliability Assessment | PGAE | Kern | 2022-09-30 | 32 | No | INC | 1 | 44834 | 44834.0035
275 | RT | Reliability Assessment | PGAE | NCNB | 2022-09-05 | 59 - 65 | No | DEC | 4 | 44809.8056 | 44809.9583
276 | RT | Reliability Assessment | PGAE | NCNB | 2022-09-06 | 10 - 75 | No | DEC | 13 | 44810.4514 | 44810.9583
277 | RT | Reliability Assessment | PGAE | NCNB | 2022-09-16 | 60 - 65 | No | DEC | 1 | 44820.4201 | 44820.4583
278 | RT | Reliability Assessment | PGAE | NCNB | 2022-09-22 | 50 - 67 | No | DEC | 9 | 44826.2083 | 44826.5625
279 | RT | Reliability Assessment | PGAE | NCNB | 2022-09-23 | 45 - 56 | No | DEC | 7 | 44827.5521 | 44827.8333
280 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-01 | 21 - 43 | No | DEC | 1 | 44805.7986 | 44805.8333
281 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-03 | 20 - 100 | Yes | DEC | 6 | 44807.6667 | 44807.9167
282 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-03 | 42 | Yes | INC | 8 | 44807.6181 | 44807.9167
283 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-05 | 23 - 26 | No | INC | 2 | 44809.684 | 44809.75
284 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-06 | 53 | No | DEC | 2 | 44810.7535 | 44810.8333
285 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-06 | 53 | No | INC | 2 | 44810.8333 | 44810.9167
286 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-07 | 42 | Yes | DEC | 10 | 44811.5417 | 44811.9583
287 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-07 | 42 | Yes | INC | 15 | 44811.3958 | 44812
288 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-08 | 45 | No | DEC | 11 | 44812.4896 | 44812.9167
289 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-08 | 33 - 49 | No | INC | 7 | 44812.6111 | 44812.875
290 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-09 | 20 - 40 | No | DEC | 11 | 44813.4167 | 44813.875
291 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-09 | 20 - 40 | No | INC | 20 | 44813.0903 | 44813.9167
292 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-10 | 20 - 100 | No | DEC | 9 | 44814.6562 | 44815
293 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-10 | 30 - 100 | No | INC | 4 | 44814.8542 | 44815
294 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-11 | 20 - 100 | No | DEC | 23 | 44815 | 44815.9583
295 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-11 | 42 - 100 | No | INC | 17 | 44815.0417 | 44815.75
296 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-12 | 20 - 35 | No | INC | 2 | 44816.6701 | 44816.75
297 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-13 | 20 | No | INC | 16 | 44817.3542 | 44818
298 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-14 | 25 | No | DEC | 1 | 44818.9062 | 44818.9167
299 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-14 | 20 - 25 | No | INC | 23 | 44818 | 44818.9375
300 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-20 | 42 | No | INC | 2 | 44824.8333 | 44824.9062
301 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-25 | 10 - 30 | No | INC | 5 | 44829.7326 | 44829.9167
302 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-27 | 20 | No | DEC | 9 | 44831.5833 | 44831.9583
303 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-27 | 20 - 42 | No | INC | 16 | 44831.3333 | 44832
304 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-28 | 42 | No | INC | 7 | 44832.6319 | 44832.9167
305 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-29 | 20 - 47 | No | DEC | 5 | 44833.7083 | 44833.9167
306 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-29 | 20 - 47 | Yes | INC | 8 | 44833.6042 | 44833.9167
307 | RT | Reliability Assessment | PGAE | Sierra | 2022-09-30 | 20 | No | INC | 2 | 44834.7569 | 44834.8333
308 | RT | Reliability Assessment | PGAE | Stockton | 2022-09-02 | 30 - 40 | No | INC | 4 | 44806.7569 | 44806.9167
309 | RT | Reliability Assessment | PGAE | Stockton | 2022-09-04 | 10 - 45 | No | DEC | 4 | 44808.684 | 44808.8333
310 | RT | Reliability Assessment | PGAE | Stockton | 2022-09-04 | 45 | No | INC | 3 | 44808.8333 | 44808.9583
311 | RT | Reliability Assessment | PGAE | Stockton | 2022-09-05 | 30 | No | DEC | 1 | 44809.7188 | 44809.75
312 | RT | Reliability Assessment | PGAE | Stockton | 2022-09-05 | 20 - 35 | No | INC | 2 | 44809.6076 | 44809.6667
313 | RT | Reliability Assessment | PGAE | Stockton | 2022-09-06 | 15 - 30 | No | DEC | 8 | 44810.5 | 44810.8333
314 | RT | Reliability Assessment | PGAE | Stockton | 2022-09-06 | 30 | No | INC | 10 | 44810.5278 | 44810.9167
315 | RT | Reliability Assessment | PGAE | Stockton | 2022-09-07 | 20 | No | DEC | 9 | 44811.5556 | 44811.9167
316 | RT | Reliability Assessment | PGAE | Stockton | 2022-09-08 | 20 - 36 | No | DEC | 7 | 44812.6076 | 44812.875
317 | RT | Reliability Assessment | PGAE | Stockton | 2022-09-08 | 36 - 40 | No | INC | 4 | 44812.8333 | 44812.9792
318 | RT | Reliability Assessment | PGAE | Stockton | 2022-09-09 | 20 | No | INC | 2 | 44813.8681 | 44813.9167
319 | RT | Reliability Assessment | PGAE | Stockton | 2022-09-10 | 30 | No | DEC | 7 | 44814.6493 | 44814.9167
320 | RT | Reliability Assessment | PGAE | Stockton | 2022-09-16 | 75 | No | DEC | 1 | 44820.3264 | 44820.3333
321 | RT | Reliability Assessment | PGAE | Stockton | 2022-09-16 | 75 - 85 | No | INC | 4 | 44820.3333 | 44820.5
322 | RT | Reliability Assessment | PGAE | Stockton | 2022-09-20 | 89 | No | INC | 2 | 44824.9236 | 44825
323 | RT | Reliability Assessment | PGAE | NA | 2022-09-03 | 41 | No | DEC | 2 | 44807.7604 | 44807.8333
324 | RT | Reliability Assessment | PGAE | NA | 2022-09-04 | 33 - 110 | No | DEC | 3 | 44808.8889 | 44809
325 | RT | Reliability Assessment | PGAE | NA | 2022-09-05 | 28 | No | DEC | 11 | 44809.5417 | 44810
326 | RT | Reliability Assessment | PGAE | NA | 2022-09-05 | 28 | No | INC | 2 | 44809.75 | 44809.8333
327 | RT | Reliability Assessment | PGAE | NA | 2022-09-06 | 100 - 195 | No | DEC | 3 | 44810.6458 | 44810.7708
328 | RT | Reliability Assessment | PGAE | NA | 2022-09-06 | 110 | No | INC | 1 | 44810.3194 | 44810.3229
329 | RT | Reliability Assessment | PGAE | NA | 2022-09-08 | 30 | No | DEC | 2 | 44812.9236 | 44812.9792
330 | RT | Reliability Assessment | PGAE | NA | 2022-09-09 | 10 | No | DEC | 5 | 44813.7257 | 44813.9167
331 | RT | Reliability Assessment | PGAE | NA | 2022-09-16 | 35 | No | DEC | 4 | 44820.5417 | 44820.7083
332 | RT | Reliability Assessment | PGAE | NA | 2022-09-16 | 35 | No | INC | 1 | 44820.7083 | 44820.7292
333 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2022-09-01 | 462 - 600 | No | DEC | 8 | 44805.5938 | 44805.9167
334 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2022-09-08 | 401 - 460 | No | DEC | 11 | 44812.4722 | 44812.9167
335 | RT | Reliability Assessment | SCE | LA Basin | 2022-09-07 | 0 | No | INC | 1 | 44811.316 | 44811.3333
336 | RT | Reliability Assessment | SCE | LA Basin | 2022-09-08 | 190 - 240 | No | DEC | 7 | 44812.625 | 44812.9167
337 | RT | Reliability Assessment | SCE | LA Basin | 2022-09-08 | 100 - 240 | No | INC | 5 | 44812.7396 | 44812.934
338 | RT | Reliability Assessment | SCE | NA | 2022-09-07 | 480 | No | DEC | 6 | 44811.7292 | 44811.9583
339 | RT | Reliability Assessment | SCE | NA | 2022-09-24 | 470 | No | DEC | 5 | 44828.7465 | 44828.9167
340 | RT | Reliability Assessment | SCE | NA | 2022-09-28 | 435 | No | INC | 8 | 44832.6667 | 44833
341 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-09-01 | 40 | No | DEC | 1 | 44805.9028 | 44805.9167
342 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-09-01 | 21 - 40 | No | INC | 24 | 44805.0208 | 44806
343 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-09-03 | 18.2 - 44 | No | DEC | 6 | 44807.7083 | 44807.9583
344 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-09-03 | 18.2 - 44 | No | INC | 9 | 44807.6528 | 44808
345 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-09-04 | 20 - 25 | No | DEC | 3 | 44808.7812 | 44808.875
346 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-09-04 | 20 - 25 | No | INC | 24 | 44808 | 44809
347 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-09-06 | 24.87 | No | DEC | 10 | 44810.5 | 44810.9167
348 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-09-07 | 21 | No | INC | 1 | 44811.4132 | 44811.4271
349 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-09-08 | 24.87 - 44 | No | DEC | 11 | 44812.4965 | 44812.9167
350 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-09-08 | 21 - 51 | No | INC | 11 | 44812.4896 | 44812.9167
351 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-09-09 | 20 - 25 | No | DEC | 11 | 44813.4965 | 44813.9167
352 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-09-11 | 24.87 | No | DEC | 4 | 44815.625 | 44815.7917
353 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-09-11 | 24.87 | No | INC | 8 | 44815.5799 | 44815.875
354 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-09-13 | 25 | No | INC | 2 | 44817.7986 | 44817.875
355 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-09-19 | 18.2 | No | INC | 4 | 44823.6944 | 44823.8333
356 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-09-27 | 25 | No | INC | 1 | 44831.5312 | 44831.5417
357 | RT | Reverse Commitment Instruction | SCE | Big Creek-Ventura | 2022-09-07 | 0 | No | INC | 1 | 44811.6285 | 44811.6354
358 | RT | Reverse Commitment Instruction | SCE | LA Basin | 2022-09-07 | 0 | No | DEC | 6 | 44811.7812 | 44812
359 | RT | Reverse Commitment Instruction | SCE | LA Basin | 2022-09-08 | 0 | No | INC | 11 | 44812 | 44812.4514
360 | RT | Software Limitation | PGAE | Bay Area | 2022-09-07 | 0 | No | INC | 1 | 44811.6667 | 44811.6875
361 | RT | Software Limitation | PGAE | Bay Area | 2022-09-08 | 0 | No | DEC | 1 | 44812.625 | 44812.6667
362 | RT | Software Limitation | PGAE | Bay Area | 2022-09-08 | 0 | No | INC | 3 | 44812.5694 | 44812.6667
363 | RT | Software Limitation | PGAE | Bay Area | 2022-09-09 | 0 | No | DEC | 1 | 44813.625 | 44813.6667
364 | RT | Software Limitation | PGAE | Bay Area | 2022-09-09 | 0 | No | INC | 4 | 44813.5069 | 44813.6667
365 | RT | Software Limitation | PGAE | Fresno | 2022-09-06 | 14 - 35 | No | INC | 1 | 44810.7257 | 44810.75
366 | RT | Software Limitation | PGAE | Fresno | 2022-09-07 | -50 | No | DEC | 5 | 44811.5069 | 44811.6875
367 | RT | Software Limitation | PGAE | Fresno | 2022-09-07 | 14 - 99.92 | No | INC | 1 | 44811.7882 | 44811.809
368 | RT | Software Limitation | PGAE | Fresno | 2022-09-08 | 0 | No | INC | 3 | 44812.5764 | 44812.6667
369 | RT | Software Limitation | PGAE | Fresno | 2022-09-09 | 0 | No | DEC | 2 | 44813.5833 | 44813.6667
370 | RT | Software Limitation | PGAE | Fresno | 2022-09-09 | 0 | No | INC | 5 | 44813.4931 | 44813.6667
371 | RT | Software Limitation | PGAE | Sierra | 2022-09-09 | 0 | No | DEC | 1 | 44813.5035 | 44813.5417
372 | RT | Software Limitation | PGAE | Sierra | 2022-09-09 | 0 | No | INC | 3 | 44813.5417 | 44813.6667
373 | RT | Software Limitation | PGAE | NA | 2022-09-06 | -60 | No | DEC | 1 | 44810.7118 | 44810.7292
374 | RT | Software Limitation | PGAE | NA | 2022-09-07 | -60 | No | DEC | 1 | 44811.5243 | 44811.5278
375 | RT | Software Limitation | PGAE | NA | 2022-09-07 | 0 | No | INC | 1 | 44811.6667 | 44811.6875
376 | RT | Software Limitation | PGAE | NA | 2022-09-09 | -60 | No | DEC | 7 | 44813.3924 | 44813.6667
377 | RT | Software Limitation | PGAE | NA | 2022-09-09 | 0 | No | INC | 4 | 44813.5174 | 44813.6667
378 | RT | Software Limitation | SCE | Big Creek-Ventura | 2022-09-06 | -100 | No | DEC | 1 | 44810.6944 | 44810.7292
379 | RT | Software Limitation | SCE | Big Creek-Ventura | 2022-09-06 | 38.77 | No | INC | 1 | 44810.7257 | 44810.75
380 | RT | Software Limitation | SCE | Big Creek-Ventura | 2022-09-07 | 0 - 38.77 | No | INC | 4 | 44811.6667 | 44811.809
381 | RT | Software Limitation | SCE | Big Creek-Ventura | 2022-09-08 | 0 | No | INC | 3 | 44812.5764 | 44812.6667
382 | RT | Software Limitation | SCE | Big Creek-Ventura | 2022-09-09 | 0 | No | DEC | 2 | 44813.5833 | 44813.6667
383 | RT | Software Limitation | SCE | Big Creek-Ventura | 2022-09-09 | 0 | No | INC | 4 | 44813.5 | 44813.6667
384 | RT | Software Limitation | SCE | LA Basin | 2022-09-01 | 16 | No | INC | 1 | 44805.6389 | 44805.6667
385 | RT | Software Limitation | SCE | LA Basin | 2022-09-06 | 5 - 48.29 | No | INC | 1 | 44810.7257 | 44810.75
386 | RT | Software Limitation | SCE | LA Basin | 2022-09-07 | 0 - 38.85 | No | INC | 4 | 44811.6667 | 44811.809
387 | RT | Software Limitation | SCE | LA Basin | 2022-09-08 | -45 | No | DEC | 10 | 44812.5243 | 44812.9167
388 | RT | Software Limitation | SCE | LA Basin | 2022-09-08 | 20 | No | INC | 6 | 44812.6875 | 44812.9167
389 | RT | Software Limitation | SCE | LA Basin | 2022-09-09 | 0 | No | DEC | 2 | 44813.5833 | 44813.6667
390 | RT | Software Limitation | SCE | LA Basin | 2022-09-09 | 0 | No | INC | 5 | 44813.4965 | 44813.6667
391 | RT | Software Limitation | SCE | LA Basin | 2022-09-20 | 5 - 90.58 | No | INC | 1 | 44824.0938 | 44824.1319
392 | RT | Software Limitation | SCE | San Diego-IV | 2022-09-08 | -5.5 | No | DEC | 6 | 44812.4375 | 44812.6667
393 | RT | Software Limitation | SCE | San Diego-IV | 2022-09-09 | 0 | No | INC | 5 | 44813.4965 | 44813.6667
394 | RT | Software Limitation | SCE | NA | 2022-09-01 | -140 | No | DEC | 4 | 44805.6007 | 44805.75
395 | RT | Software Limitation | SCE | NA | 2022-09-06 | -10 | No | DEC | 1 | 44810.7118 | 44810.7292
396 | RT | Software Limitation | SCE | NA | 2022-09-07 | 0 | No | DEC | 1 | 44811.6701 | 44811.6875
397 | RT | Software Limitation | SCE | NA | 2022-09-07 | 0 | No | INC | 3 | 44811.5938 | 44811.6875
398 | RT | Software Limitation | SCE | NA | 2022-09-08 | -85 | No | DEC | 5 | 44812.4792 | 44812.6667
399 | RT | Software Limitation | SCE | NA | 2022-09-08 | 0 | No | INC | 3 | 44812.566 | 44812.6667
400 | RT | Software Limitation | SCE | NA | 2022-09-09 | -230 | No | DEC | 6 | 44813.4444 | 44813.6667
401 | RT | Software Limitation | SCE | NA | 2022-09-09 | -50 | No | INC | 5 | 44813.4826 | 44813.6667
402 | RT | Software Limitation | SDGE | San Diego-IV | 2022-09-01 | -250 | No | DEC | 2 | 44805.6319 | 44805.7083
403 | RT | Software Limitation | SDGE | San Diego-IV | 2022-09-01 | 37 | No | INC | 1 | 44805.5 | 44805.5417
404 | RT | Software Limitation | SDGE | San Diego-IV | 2022-09-02 | -54 | No | DEC | 4 | 44806.5903 | 44806.7292
405 | RT | Software Limitation | SDGE | San Diego-IV | 2022-09-04 | -95 | No | DEC | 2 | 44808.625 | 44808.7083
406 | RT | Software Limitation | SDGE | San Diego-IV | 2022-09-07 | -5 | No | DEC | 4 | 44811.5035 | 44811.6667
407 | RT | Software Limitation | SDGE | San Diego-IV | 2022-09-07 | 0 | No | INC | 1 | 44811.6667 | 44811.6875
408 | RT | Software Limitation | SDGE | San Diego-IV | 2022-09-08 | -49.5 | No | DEC | 5 | 44812.4861 | 44812.6667
409 | RT | Software Limitation | SDGE | San Diego-IV | 2022-09-08 | 0 | No | INC | 3 | 44812.5729 | 44812.6667
410 | RT | Software Limitation | SDGE | San Diego-IV | 2022-09-09 | -54 | No | DEC | 7 | 44813.3854 | 44813.6667
411 | RT | Software Limitation | SDGE | San Diego-IV | 2022-09-09 | 0 | No | INC | 5 | 44813.4965 | 44813.6667
412 | RT | Software Limitation | SDGE | San Diego-IV | 2022-09-10 | 410 - 485 | No | DEC | 5 | 44814.5903 | 44814.7708
413 | RT | Software Limitation | SDGE | San Diego-IV | 2022-09-10 | 485 | No | INC | 4 | 44814.4201 | 44814.5833
414 | RT | Unit Testing | Intertie | NA | 2022-09-21 | 5 | No | INC | 1 | 44825.8125 | 44825.8403
415 | RT | Unit Testing | PGAE | Stockton | 2022-09-09 | 285 | No | INC | 3 | 44813.4167 | 44813.5417
416 | RT | Unit Testing | SCE | NA | 2022-09-10 | 32.13 | No | INC | 1 | 44814.3576 | 44814.3854
417 | RT | Unit Testing | SCE | NA | 2022-09-14 | 1 | No | INC | 1 | 44818.6215 | 44818.6632
418 | RT | Voltage Support | PGAE | Fresno | 2022-09-02 | 49 | No | DEC | 4 | 44806.7569 | 44806.9167
419 | RT | Voltage Support | PGAE | Fresno | 2022-09-02 | 49 | No | INC | 1 | 44806.9167 | 44806.9583
420 | RT | Voltage Support | PGAE | Fresno | 2022-09-03 | 0 | No | INC | 9 | 44807.2882 | 44807.6354
421 | RT | Voltage Support | PGAE | Fresno | 2022-09-06 | 83 | No | DEC | 5 | 44810.7083 | 44810.9167
422 | RT | Voltage Support | PGAE | Fresno | 2022-09-06 | 83 | No | INC | 7 | 44810.6042 | 44810.875
423 | RT | Voltage Support | PGAE | Fresno | 2022-09-25 | -340 | No | DEC | 6 | 44829.1458 | 44829.375
424 | RT | Voltage Support | PGAE | Fresno | 2022-09-25 | -340 | No | INC | 1 | 44829.375 | 44829.4167
425 | RT | Voltage Support | PGAE | Sierra | 2022-09-15 | 20 | No | DEC | 3 | 44819.75 | 44819.875
426 | RT | Voltage Support | PGAE | Sierra | 2022-09-15 | 20 | No | INC | 23 | 44819.0521 | 44820
427 | RT | Voltage Support | PGAE | Sierra | 2022-09-16 | 20 | No | INC | 6 | 44820 | 44820.25
428 | RT | Voltage Support | PGAE | Sierra | 2022-09-17 | 20 | No | INC | 14 | 44821.4514 | 44822
429 | RT | Voltage Support | PGAE | Sierra | 2022-09-18 | 20 | No | INC | 24 | 44822 | 44823
430 | RT | Voltage Support | PGAE | Sierra | 2022-09-19 | 20 | Yes | INC | 6 | 44823 | 44823.25
431 | RT | Voltage Support | PGAE | Sierra | 2022-09-20 | 20 | No | INC | 7 | 44824 | 44824.2917
432 | RT | Voltage Support | PGAE | Sierra | 2022-09-23 | 100 | No | INC | 1 | 44827.5417 | 44827.5833
433 | RT | Voltage Support | PGAE | Sierra | 2022-09-25 | 20 | No | INC | 7 | 44829.1458 | 44829.4167
434 | RT | Voltage Support | PGAE | Sierra | 2022-09-26 | 20 | No | INC | 6 | 44830.0486 | 44830.2917