## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report October 15, 2022
Chart 1: Table of Exceptional Dispatches for Period 01/August/2022 - 31/August/2022
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Bridging Schedules | SCE | Big Creek-Ventura | 2022-08-31 | 50 | No | INC | 1 | 44804.9583 | 44805
2 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2022-08-15 | 20 | No | DEC | 2 | 44788.8819 | 44788.9583
3 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2022-08-15 | 20 | No | INC | 3 | 44788.9132 | 44789
4 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2022-08-17 | 20 | No | DEC | 1 | 44790.9167 | 44790.9583
5 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2022-08-17 | 20 | No | INC | 2 | 44790.934 | 44791
6 | RT | Incomplete or Inaccurate Transmission | PGAE | Stockton | 2022-08-16 | 35 | No | DEC | 2 | 44789.75 | 44789.8333
7 | RT | Incomplete or Inaccurate Transmission | PGAE | Stockton | 2022-08-16 | 35 | No | INC | 5 | 44789.7222 | 44789.9167
8 | RT | Load Forecast Uncertainty | Intertie | NA | 2022-08-16 | 0.01 | No | DEC | 1 | 44789.75 | 44789.7917
9 | RT | Load Forecast Uncertainty | Intertie | NA | 2022-08-16 | 80 | No | INC | 1 | 44789.75 | 44789.7917
10 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2022-08-16 | 20 | No | DEC | 5 | 44789.6667 | 44789.875
11 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2022-08-16 | 20 | No | INC | 2 | 44789.5972 | 44789.6667
12 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2022-08-17 | 20 | No | DEC | 4 | 44790.7083 | 44790.875
13 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2022-08-17 | 20 | No | INC | 3 | 44790.6146 | 44790.7083
14 | RT | Load Forecast Uncertainty | PGAE | Stockton | 2022-08-22 | 88.8 | No | INC | 9 | 44795.5729 | 44795.9167
15 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-08-14 | 50 - 400.1 | No | INC | 12 | 44787.5 | 44788
16 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-08-15 | 50 - 100 | No | INC | 16 | 44788.3333 | 44789
17 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-08-16 | 50 - 100 | No | INC | 24 | 44789 | 44790
18 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-08-18 | 50 - 100 | No | INC | 14 | 44791 | 44791.5833
19 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-08-19 | 50 | No | INC | 24 | 44792 | 44793
20 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-08-23 | 50 | No | INC | 12 | 44796.5208 | 44797
21 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-08-29 | 100 | No | INC | 8 | 44802.6667 | 44803
22 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-08-30 | 50 | No | INC | 3 | 44803.4583 | 44803.5833
23 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-08-31 | 100 - 750 | No | INC | 19 | 44804.1667 | 44804.9583
24 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-08-10 | 10 | No | INC | 2 | 44783.7083 | 44783.7917
25 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-08-12 | 10 | No | INC | 1 | 44785.9583 | 44786
26 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-08-13 | 10 | No | INC | 1 | 44786.9583 | 44787
27 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-08-14 | 130 - 194 | No | INC | 9 | 44787.625 | 44788
28 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-08-15 | 70 | No | INC | 15 | 44788.375 | 44789
29 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-08-16 | 10 - 20 | No | INC | 1 | 44789.9583 | 44790
30 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-08-17 | 10 | Yes | INC | 1 | 44790.9583 | 44791
31 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-08-22 | 10 | No | INC | 1 | 44795.9583 | 44796
32 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-08-23 | 10 | Yes | INC | 24 | 44796 | 44797
33 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-08-24 | 10 | Yes | INC | 1 | 44797.9583 | 44798
34 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-08-25 | 10 | No | INC | 1 | 44798.9583 | 44799
35 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-08-30 | 70 - 130 | No | INC | 5 | 44803.5417 | 44803.75
36 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-08-31 | 326 - 334 | No | DEC | 6 | 44804.625 | 44804.875
37 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-08-31 | 6 - 480 | No | INC | 7 | 44804.625 | 44804.9167
38 | RT | Market Disruption | PGAE | Bay Area | 2022-08-24 | 27 - 192 | No | INC | 3 | 44797.7674 | 44797.875
39 | RT | Market Disruption | PGAE | Fresno | 2022-08-24 | 83 | No | DEC | 1 | 44797.809 | 44797.8333
40 | RT | Market Disruption | PGAE | Fresno | 2022-08-24 | 75 - 96 | No | INC | 2 | 44797.7986 | 44797.875
41 | RT | Market Disruption | PGAE | NA | 2022-08-24 | 410 | No | INC | 3 | 44797.7639 | 44797.875
42 | RT | Market Disruption | SCE | Big Creek-Ventura | 2022-08-24 | 54 | No | INC | 2 | 44797.7604 | 44797.8333
43 | RT | Market Disruption | SCE | LA Basin | 2022-08-24 | 155 | No | INC | 1 | 44797.7917 | 44797.8333
44 | RT | Market Disruption | SDGE | San Diego-IV | 2022-08-24 | 50 - 68 | No | DEC | 1 | 44797.8021 | 44797.8333
45 | RT | Market Disruption | SDGE | San Diego-IV | 2022-08-24 | 53 - 422 | No | INC | 2 | 44797.7708 | 44797.8333
46 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2022-08-24 | 405 | No | INC | 6 | 44797.6736 | 44797.9167
47 | RT | Other Reliability Requirement | SCE | LA Basin | 2022-08-24 | 190 - 194 | No | INC | 8 | 44797.6181 | 44797.9167
48 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-08-01 | 20 | No | INC | 3 | 44774.6389 | 44774.7292
49 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-08-03 | 460 | No | DEC | 3 | 44776.5625 | 44776.6667
50 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-08-13 | 175 | No | INC | 1 | 44786.9583 | 44787
51 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-08-14 | 175 | No | INC | 15 | 44787 | 44787.625
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-01 | 30 | No | DEC | 6 | 44774.6667 | 44774.9167
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-01 | 30 - 45 | No | INC | 24 | 44774 | 44775
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-02 | 30 - 45 | No | DEC | 5 | 44775.6667 | 44775.875
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-02 | 30 - 45 | No | INC | 24 | 44775 | 44776
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-03 | 45 - 60 | No | INC | 7 | 44776 | 44776.2812
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-06 | 30 | No | DEC | 4 | 44779.8194 | 44779.9583
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-06 | 30 | No | INC | 1 | 44779.9583 | 44780
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-07 | 15 - 30 | No | DEC | 13 | 44780.4583 | 44781
60 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-07 | 15 - 30 | No | INC | 16 | 44780 | 44780.6667
61 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-08 | 15 - 60 | No | DEC | 16 | 44781.3333 | 44782
62 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-08 | 15 - 45 | No | INC | 24 | 44781 | 44782
63 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-09 | 45 | No | DEC | 6 | 44782.6667 | 44782.9167
64 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-09 | 15 - 45 | No | INC | 24 | 44782 | 44783
65 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-10 | 15 - 30 | No | DEC | 9 | 44783.5417 | 44783.9167
66 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-10 | 15 - 30 | No | INC | 22 | 44783.1007 | 44784
67 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-11 | 15 - 30 | No | DEC | 13 | 44784.4583 | 44785
68 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-11 | 15 - 30 | No | INC | 24 | 44784 | 44785
69 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-12 | 15 - 45 | No | DEC | 24 | 44785 | 44786
70 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-12 | 15 - 45 | No | INC | 24 | 44785 | 44786
71 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-13 | 15 | No | DEC | 24 | 44786 | 44787
72 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-13 | 30 - 45 | No | INC | 24 | 44786 | 44787
73 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-14 | 15 - 45 | No | DEC | 24 | 44787 | 44788
74 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-14 | 30 - 45 | No | INC | 24 | 44787 | 44788
75 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-15 | 15 - 45 | No | DEC | 24 | 44788 | 44789
76 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-15 | 45 | No | INC | 24 | 44788 | 44789
77 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-16 | 15 - 45 | No | DEC | 24 | 44789 | 44790
78 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-16 | 45 | No | INC | 12 | 44789 | 44789.5
79 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-17 | 15 - 45 | No | DEC | 24 | 44790 | 44791
80 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-17 | 45 | No | INC | 24 | 44790 | 44791
81 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-18 | 16 - 45 | No | DEC | 24 | 44791 | 44792
82 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-18 | 45 | No | INC | 24 | 44791 | 44792
83 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-19 | 16 | No | DEC | 24 | 44792 | 44793
84 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-19 | 45 | No | INC | 24 | 44792 | 44793
85 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-20 | 16 - 30 | No | DEC | 22 | 44793 | 44793.9167
86 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-20 | 30 - 45 | No | INC | 24 | 44793 | 44794
87 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-21 | 15 | No | DEC | 18 | 44794.0104 | 44794.7604
88 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-21 | 30 | No | INC | 24 | 44794 | 44795
89 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-22 | 30 | No | DEC | 5 | 44795.7083 | 44795.9167
90 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-22 | 15 - 30 | No | INC | 24 | 44795 | 44796
91 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-23 | 30 | No | DEC | 8 | 44796.5833 | 44796.9167
92 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-23 | 15 - 30 | No | INC | 24 | 44796 | 44797
93 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-24 | 15 - 30 | No | INC | 24 | 44797 | 44798
94 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-25 | 15 - 30 | No | DEC | 24 | 44798 | 44799
95 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-25 | 15 - 30 | No | INC | 24 | 44798 | 44799
96 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-26 | 15 | No | DEC | 24 | 44799 | 44800
97 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-26 | 30 | No | INC | 24 | 44799 | 44800
98 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-27 | 15 | No | DEC | 24 | 44800 | 44801
99 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-27 | 30 | No | INC | 24 | 44800 | 44801
100 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-28 | 15 - 30 | No | DEC | 24 | 44801 | 44802
101 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-28 | 30 | No | INC | 24 | 44801 | 44802
102 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-29 | 15 - 30 | No | DEC | 24 | 44802 | 44803
103 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-29 | 30 | No | INC | 16 | 44802 | 44802.6667
104 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-30 | 15 - 45 | No | DEC | 23 | 44803 | 44803.9583
105 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-30 | 30 - 45 | No | INC | 23 | 44803.0417 | 44804
106 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-31 | 42 | No | DEC | 11 | 44804.5 | 44804.9583
107 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-08-31 | 30 - 45 | No | INC | 24 | 44804 | 44805
108 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-08-05 | 61 - 64 | No | DEC | 6 | 44778.3264 | 44778.5729
109 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-08-22 | 42 | No | DEC | 2 | 44795.75 | 44795.8333
110 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-08-22 | 42 | No | INC | 7 | 44795.625 | 44795.9167
111 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-08-23 | 42 | No | DEC | 3 | 44796.75 | 44796.875
112 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-08-23 | 42 | No | INC | 9 | 44796.625 | 44797
113 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-08-30 | 17 - 45 | No | DEC | 3 | 44803.2743 | 44803.3958
114 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-08-15 | 40 | No | DEC | 1 | 44788.7917 | 44788.8333
115 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-08-15 | 20 - 40 | No | INC | 4 | 44788.7292 | 44788.875
116 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-08-22 | 88.8 | No | INC | 4 | 44795.3021 | 44795.4375
117 | RT | Planned Transmission Outage | PGAE | NA | 2022-08-14 | 111 - 351 | No | INC | 10 | 44787.0417 | 44787.4583
118 | RT | Planned Transmission Outage | SCE | LA Basin | 2022-08-14 | 133 - 140 | No | INC | 6 | 44787.2917 | 44787.5417
119 | RT | Ramping Capacity | PGAE | Bay Area | 2022-08-02 | 95 | No | INC | 4 | 44775.7708 | 44775.9167
120 | RT | Ramping Capacity | PGAE | Bay Area | 2022-08-16 | -130 | No | DEC | 3 | 44789.6424 | 44789.75
121 | RT | Ramping Capacity | PGAE | Bay Area | 2022-08-17 | -189 | No | DEC | 7 | 44790.6042 | 44790.875
122 | RT | Ramping Capacity | PGAE | Fresno | 2022-08-01 | 23 | No | INC | 14 | 44774.3472 | 44774.9167
123 | RT | Ramping Capacity | PGAE | Fresno | 2022-08-16 | 26 | No | INC | 5 | 44789.6667 | 44789.875
124 | RT | Ramping Capacity | PGAE | Sierra | 2022-08-22 | 20 | No | INC | 1 | 44795.875 | 44795.9167
125 | RT | Ramping Capacity | PGAE | Stockton | 2022-08-24 | 5 | No | INC | 2 | 44797.941 | 44798
126 | RT | Ramping Capacity | PGAE | Stockton | 2022-08-25 | 5 | No | INC | 1 | 44798 | 44798.0104
127 | RT | Ramping Capacity | PGAE | NA | 2022-08-01 | 196 | No | DEC | 6 | 44774.6667 | 44774.9167
128 | RT | Ramping Capacity | PGAE | NA | 2022-08-01 | 49 - 196 | No | INC | 6 | 44774.4444 | 44774.6667
129 | RT | Ramping Capacity | PGAE | NA | 2022-08-30 | 103 - 390 | No | DEC | 4 | 44803.7569 | 44803.9167
130 | RT | Ramping Capacity | PGAE | NA | 2022-08-30 | 390 | No | INC | 1 | 44803.7812 | 44803.7917
131 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-08-01 | 401 | No | INC | 6 | 44774.6667 | 44774.9167
132 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-08-02 | 15 | No | DEC | 4 | 44775.75 | 44775.9167
133 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-08-02 | 15 | No | INC | 2 | 44775.6944 | 44775.75
134 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-08-08 | 400 | No | INC | 4 | 44781.6667 | 44781.8333
135 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-08-15 | 405 | No | INC | 7 | 44788.625 | 44788.9167
136 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-08-16 | 250 - 750 | No | INC | 9 | 44789.5833 | 44789.9583
137 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-08-17 | 405 - 750 | No | INC | 9 | 44790.5833 | 44790.9583
138 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-08-18 | 405 | No | INC | 7 | 44791.625 | 44791.9167
139 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-08-19 | 405 | No | INC | 7 | 44792.625 | 44792.9167
140 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-08-30 | 400 | No | INC | 7 | 44803.6458 | 44803.9167
141 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-01 | 190 - 194 | No | INC | 6 | 44774.6667 | 44774.9167
142 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-02 | 190 - 194 | No | INC | 7 | 44775.625 | 44775.9167
143 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-03 | 190 - 194 | No | INC | 7 | 44776.625 | 44776.9167
144 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-08 | 194 | No | DEC | 2 | 44781.75 | 44781.8333
145 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-09 | 190 | No | DEC | 4 | 44782.6667 | 44782.8333
146 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-11 | 170 - 190 | No | DEC | 6 | 44784.625 | 44784.875
147 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-11 | 150 - 194 | No | INC | 7 | 44784.625 | 44784.9167
148 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-12 | 194 | No | DEC | 5 | 44785.6667 | 44785.875
149 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-12 | 170 - 194 | No | INC | 6 | 44785.6667 | 44785.9167
150 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-15 | 190 - 240 | No | DEC | 6 | 44788.625 | 44788.875
151 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-15 | 65 - 240 | No | INC | 8 | 44788.5833 | 44788.9167
152 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-16 | 65 - 400 | No | DEC | 7 | 44789.625 | 44789.9167
153 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-16 | 65 - 480 | No | INC | 8 | 44789.625 | 44789.9583
154 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-17 | 65 - 194 | No | DEC | 7 | 44790.625 | 44790.9167
155 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-17 | 65 - 480 | No | INC | 9 | 44790.5833 | 44790.9583
156 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-18 | 65 - 240 | No | INC | 7 | 44791.625 | 44791.9167
157 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-19 | 65 - 194 | No | INC | 7 | 44792.625 | 44792.9167
158 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-22 | 190 | No | INC | 6 | 44795.6667 | 44795.9167
159 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-23 | 190 - 194 | No | INC | 5 | 44796.7083 | 44796.9167
160 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-29 | 190 - 194 | No | INC | 6 | 44802.625 | 44802.875
161 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-30 | 190 - 194 | No | DEC | 6 | 44803.625 | 44803.875
162 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-30 | 190 - 241 | No | INC | 7 | 44803.625 | 44803.9167
163 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-31 | 147 - 270 | No | DEC | 4 | 44804.6736 | 44804.8333
164 | RT | Ramping Capacity | SCE | LA Basin | 2022-08-31 | 270 - 272 | No | INC | 3 | 44804.7292 | 44804.8542
165 | RT | Reliability Assessment | PGAE | Bay Area | 2022-08-02 | 20 - 40 | No | INC | 7 | 44775.625 | 44775.9167
166 | RT | Reliability Assessment | PGAE | Bay Area | 2022-08-03 | 20 | No | INC | 7 | 44776.6528 | 44776.9167
167 | RT | Reliability Assessment | PGAE | Bay Area | 2022-08-16 | 80 | No | DEC | 2 | 44789.8299 | 44789.875
168 | RT | Reliability Assessment | PGAE | Bay Area | 2022-08-16 | 80 | No | INC | 1 | 44789.875 | 44789.9167
169 | RT | Reliability Assessment | PGAE | Bay Area | 2022-08-17 | 60 | No | INC | 1 | 44790.6042 | 44790.625
170 | RT | Reliability Assessment | PGAE | Fresno | 2022-08-24 | 83 | No | INC | 3 | 44797.1424 | 44797.25
171 | RT | Reliability Assessment | PGAE | Fresno | 2022-08-25 | 83 | No | INC | 6 | 44798.0312 | 44798.25
172 | RT | Reliability Assessment | PGAE | Fresno | 2022-08-30 | 300 | No | DEC | 1 | 44803.8333 | 44803.8542
173 | RT | Reliability Assessment | PGAE | Fresno | 2022-08-30 | 250 - 350 | No | INC | 2 | 44803.7778 | 44803.8542
174 | RT | Reliability Assessment | PGAE | Fresno | 2022-08-31 | 83 | No | INC | 4 | 44804.1354 | 44804.2917
175 | RT | Reliability Assessment | PGAE | Humboldt | 2022-08-03 | 30 | No | DEC | 7 | 44776.5833 | 44776.875
176 | RT | Reliability Assessment | PGAE | Humboldt | 2022-08-03 | 30 | No | INC | 18 | 44776.2639 | 44777
177 | RT | Reliability Assessment | PGAE | Humboldt | 2022-08-04 | 15 - 30 | No | DEC | 17 | 44777.316 | 44778
178 | RT | Reliability Assessment | PGAE | Humboldt | 2022-08-04 | 30 | No | INC | 24 | 44777 | 44778
179 | RT | Reliability Assessment | PGAE | Humboldt | 2022-08-05 | 15 - 30 | No | DEC | 24 | 44778 | 44779
180 | RT | Reliability Assessment | PGAE | Humboldt | 2022-08-05 | 30 | No | INC | 24 | 44778 | 44779
181 | RT | Reliability Assessment | PGAE | Humboldt | 2022-08-06 | 15 - 30 | No | DEC | 20 | 44779 | 44779.8333
182 | RT | Reliability Assessment | PGAE | Humboldt | 2022-08-06 | 15 - 30 | No | INC | 16 | 44779 | 44779.6667
183 | RT | Reliability Assessment | PGAE | Humboldt | 2022-08-10 | 45 | No | INC | 3 | 44783.0069 | 44783.1146
184 | RT | Reliability Assessment | PGAE | Humboldt | 2022-08-30 | 0 | No | DEC | 1 | 44803.8229 | 44803.8646
185 | RT | Reliability Assessment | PGAE | Humboldt | 2022-08-31 | 15 | No | DEC | 2 | 44804.8854 | 44804.9583
186 | RT | Reliability Assessment | PGAE | Humboldt | 2022-08-31 | 15 | No | INC | 1 | 44804.9583 | 44805
187 | RT | Reliability Assessment | PGAE | Kern | 2022-08-01 | 5 | No | DEC | 3 | 44774.6667 | 44774.7917
188 | RT | Reliability Assessment | PGAE | Kern | 2022-08-02 | 0 | No | DEC | 4 | 44775.6701 | 44775.8333
189 | RT | Reliability Assessment | PGAE | Kern | 2022-08-02 | 0 | No | INC | 4 | 44775.8333 | 44776
190 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-01 | 20 | No | DEC | 1 | 44774.875 | 44774.8958
191 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-02 | 0 - 47 | No | DEC | 11 | 44775.5 | 44775.9583
192 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-02 | 0 - 47 | No | INC | 15 | 44775.3229 | 44775.9167
193 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-03 | 0 - 47 | No | DEC | 10 | 44776.5 | 44776.9167
194 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-03 | 20 - 47 | No | INC | 22 | 44776.0382 | 44776.9167
195 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-04 | 0 - 27 | No | DEC | 6 | 44777.7188 | 44777.9583
196 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-04 | 10 - 36 | No | INC | 1 | 44777.5694 | 44777.5833
197 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-05 | 26 - 90 | No | DEC | 1 | 44778.9896 | 44779
198 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-06 | 90 | No | DEC | 1 | 44779 | 44779.0417
199 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-06 | 26 - 90 | No | INC | 2 | 44779 | 44779.0833
200 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-08 | 20 | No | DEC | 8 | 44781.625 | 44781.9583
201 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-08 | 20 | No | INC | 9 | 44781.625 | 44782
202 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-09 | 20 | No | DEC | 2 | 44782.7569 | 44782.8333
203 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-09 | 20 | No | INC | 2 | 44782.8333 | 44782.8958
204 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-11 | 20 | No | DEC | 7 | 44784.6875 | 44784.9583
205 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-11 | 20 | No | INC | 6 | 44784.6944 | 44784.9375
206 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-12 | 20 | No | DEC | 6 | 44785.7014 | 44785.9167
207 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-13 | 20 | No | INC | 8 | 44786.6944 | 44787
208 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-14 | 10 - 30 | No | DEC | 4 | 44787.7674 | 44787.9167
209 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-14 | 5 - 39 | No | INC | 4 | 44787.7743 | 44787.9167
210 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-16 | 0 - 44 | No | DEC | 5 | 44789.7188 | 44789.9167
211 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-16 | 0 - 47 | No | INC | 3 | 44789.7083 | 44789.8333
212 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-18 | 20 - 47 | No | DEC | 10 | 44791.559 | 44791.9583
213 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-18 | 20 - 47 | No | INC | 11 | 44791.5208 | 44791.9688
214 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-19 | 20 - 60 | No | DEC | 5 | 44792.6667 | 44792.875
215 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-19 | 20 - 45 | No | INC | 21 | 44792.0035 | 44792.875
216 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-20 | 42 - 44 | No | DEC | 8 | 44793.6354 | 44793.9583
217 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-20 | 42 - 47 | No | INC | 10 | 44793.6146 | 44794
218 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-21 | 20 | No | DEC | 6 | 44794.7361 | 44794.9583
219 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-21 | 20 - 42 | Yes | INC | 9 | 44794.625 | 44794.9792
220 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-22 | 4 - 9 | No | DEC | 3 | 44795.8021 | 44795.9167
221 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-23 | 10 - 55 | No | DEC | 6 | 44796.7222 | 44796.9583
222 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-23 | 40 | No | INC | 1 | 44796.875 | 44796.9167
223 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-24 | 10 - 70 | No | DEC | 7 | 44797.6354 | 44797.9167
224 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-24 | 20 - 46 | No | INC | 9 | 44797.6458 | 44798
225 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-25 | 42 | Yes | INC | 7 | 44798.625 | 44798.9167
226 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-26 | 42 | No | INC | 7 | 44799.625 | 44799.9167
227 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-28 | 47 | No | DEC | 4 | 44801.7083 | 44801.875
228 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-28 | 20 - 47 | No | INC | 8 | 44801.691 | 44802
229 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-29 | 20 - 42 | No | DEC | 5 | 44802.7708 | 44802.9583
230 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-29 | 20 - 42 | Yes | INC | 24 | 44802 | 44803
231 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-30 | 20 - 42 | Yes | DEC | 6 | 44803.7083 | 44803.9583
232 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-30 | 20 - 42 | Yes | INC | 9 | 44803.625 | 44804
233 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-31 | 20 - 47 | No | DEC | 6 | 44804.6667 | 44804.9167
234 | RT | Reliability Assessment | PGAE | Sierra | 2022-08-31 | 42 | No | INC | 8 | 44804.625 | 44804.9583
235 | RT | Reliability Assessment | PGAE | Stockton | 2022-08-02 | 40 | No | DEC | 1 | 44775.7917 | 44775.8333
236 | RT | Reliability Assessment | PGAE | Stockton | 2022-08-02 | 30 - 40 | No | INC | 3 | 44775.6667 | 44775.7917
237 | RT | Reliability Assessment | PGAE | Stockton | 2022-08-03 | 25 | No | DEC | 2 | 44776.75 | 44776.8333
238 | RT | Reliability Assessment | PGAE | Stockton | 2022-08-03 | 15 - 25 | No | INC | 5 | 44776.7083 | 44776.9167
239 | RT | Reliability Assessment | PGAE | Stockton | 2022-08-04 | 15 - 230 | No | DEC | 8 | 44777.6042 | 44777.9167
240 | RT | Reliability Assessment | PGAE | Stockton | 2022-08-04 | 15 | No | INC | 1 | 44777.7431 | 44777.75
241 | RT | Reliability Assessment | PGAE | Stockton | 2022-08-15 | 20 | No | INC | 1 | 44788.8854 | 44788.9167
242 | RT | Reliability Assessment | PGAE | Stockton | 2022-08-18 | 10 | No | DEC | 1 | 44791.7917 | 44791.8333
243 | RT | Reliability Assessment | PGAE | Stockton | 2022-08-18 | 5 - 10 | No | INC | 5 | 44791.6944 | 44791.875
244 | RT | Reliability Assessment | PGAE | Stockton | 2022-08-19 | 5 | No | DEC | 2 | 44792.75 | 44792.8333
245 | RT | Reliability Assessment | PGAE | Stockton | 2022-08-19 | 5 | No | INC | 4 | 44792.7083 | 44792.875
246 | RT | Reliability Assessment | PGAE | Stockton | 2022-08-20 | 10 - 60 | No | DEC | 3 | 44793.75 | 44793.875
247 | RT | Reliability Assessment | PGAE | Stockton | 2022-08-20 | 5 - 70 | No | INC | 6 | 44793.7118 | 44793.9583
248 | RT | Reliability Assessment | PGAE | Stockton | 2022-08-22 | 88.8 | No | INC | 4 | 44795.4306 | 44795.5833
249 | RT | Reliability Assessment | PGAE | Stockton | 2022-08-24 | 50 | No | DEC | 2 | 44797.75 | 44797.8333
250 | RT | Reliability Assessment | PGAE | Stockton | 2022-08-24 | 10 - 50 | No | INC | 5 | 44797.7326 | 44797.941
251 | RT | Reliability Assessment | PGAE | NA | 2022-08-01 | 49 | No | INC | 3 | 44774.3438 | 44774.4444
252 | RT | Reliability Assessment | PGAE | NA | 2022-08-02 | 0 | No | DEC | 4 | 44775.6736 | 44775.8333
253 | RT | Reliability Assessment | PGAE | NA | 2022-08-02 | 0 | No | INC | 4 | 44775.8333 | 44776
254 | RT | Reliability Assessment | PGAE | NA | 2022-08-03 | 0 | No | DEC | 6 | 44776.6007 | 44776.8125
255 | RT | Reliability Assessment | PGAE | NA | 2022-08-04 | 0 | No | DEC | 5 | 44777.6597 | 44777.8333
256 | RT | Reliability Assessment | PGAE | NA | 2022-08-04 | 0 | No | INC | 1 | 44777.8333 | 44777.875
257 | RT | Reliability Assessment | PGAE | NA | 2022-08-16 | 0 | No | DEC | 4 | 44789.75 | 44789.8958
258 | RT | Reliability Assessment | PGAE | NA | 2022-08-18 | 50 | No | DEC | 1 | 44791.7396 | 44791.7708
259 | RT | Reliability Assessment | SCE | NA | 2022-08-15 | 475 | No | INC | 5 | 44788.8264 | 44789
260 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-08-02 | 21 - 26 | No | INC | 6 | 44775.7396 | 44775.9583
261 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-08-30 | 24.87 | No | DEC | 5 | 44803.6667 | 44803.875
262 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-08-30 | 24.87 | No | INC | 2 | 44803.6076 | 44803.6667
263 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-08-31 | 19 - 47 | No | DEC | 7 | 44804.5833 | 44804.875
264 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-08-31 | 19 - 47 | No | INC | 14 | 44804.4444 | 44805
265 | RT | Software Limitation | PGAE | Bay Area | 2022-08-31 | 297 | No | INC | 3 | 44804.75 | 44804.875
266 | RT | Software Limitation | PGAE | Fresno | 2022-08-31 | -50 | No | DEC | 3 | 44804.5868 | 44804.7083
267 | RT | Software Limitation | PGAE | NA | 2022-08-31 | -84.95 | No | DEC | 13 | 44804.2049 | 44804.7083
268 | RT | Software Limitation | PGAE | NA | 2022-08-31 | 48.95 - 409 | No | INC | 13 | 44804.3333 | 44804.8542
269 | RT | Software Limitation | SCE | Big Creek-Ventura | 2022-08-08 | 0 | No | INC | 10 | 44781.5833 | 44782
270 | RT | Software Limitation | SCE | Big Creek-Ventura | 2022-08-09 | 0 | No | INC | 14 | 44782 | 44782.5833
271 | RT | Software Limitation | SCE | Big Creek-Ventura | 2022-08-31 | 74 | No | INC | 4 | 44804.7118 | 44804.875
272 | RT | Software Limitation | SCE | NA | 2022-08-02 | 33 | No | DEC | 1 | 44775.4757 | 44775.4792
273 | RT | Software Limitation | SCE | NA | 2022-08-31 | -40 | No | DEC | 3 | 44804.5938 | 44804.7083
274 | RT | Unit Testing | PGAE | NA | 2022-08-30 | 4.01 | No | INC | 1 | 44803.8056 | 44803.8333
275 | RT | Unit Testing | SCE | LA Basin | 2022-08-02 | 10 | No | INC | 1 | 44775.2986 | 44775.3264
276 | RT | Unit Testing | SCE | LA Basin | 2022-08-06 | 18.67 | No | INC | 1 | 44779.7153 | 44779.7431
277 | RT | Unit Testing | SCE | NA | 2022-08-19 | -68.2 | No | INC | 1 | 44792.6806 | 44792.7083
278 | RT | Unit Testing | SCE | NA | 2022-08-20 | 40 | No | INC | 1 | 44793.6944 | 44793.7222
279 | RT | Unit Testing | SDGE | San Diego-IV | 2022-08-18 | 114.97 | No | INC | 1 | 44791.9549 | 44791.9826
280 | RT | Unplanned Outage | SCE | Big Creek-Ventura | 2022-08-31 | 500 | No | INC | 2 | 44804.941 | 44805
281 | RT | Verbal Exceptional Dispatch | SDGE | San Diego-IV | 2022-08-31 | 25 | No | DEC | 3 | 44804.7847 | 44804.875
282 | RT | Verbal Exceptional Dispatch | SDGE | San Diego-IV | 2022-08-31 | 25 | No | INC | 1 | 44804.875 | 44804.9167
283 | RT | Voltage Support | PGAE | Fresno | 2022-08-03 | 83 | No | DEC | 3 | 44776.75 | 44776.875
284 | RT | Voltage Support | PGAE | Fresno | 2022-08-03 | 83 | No | INC | 1 | 44776.7361 | 44776.75
285 | RT | Voltage Support | PGAE | Fresno | 2022-08-04 | 83 | No | DEC | 3 | 44777.7674 | 44777.875
286 | RT | Voltage Support | PGAE | Fresno | 2022-08-04 | 83 | No | INC | 7 | 44777.6285 | 44777.9167
287 | RT | Voltage Support | PGAE | Fresno | 2022-08-24 | 83 | No | INC | 1 | 44797.6701 | 44797.6979