## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report April 15, 2022
Chart 1: Table of Exceptional Dispatches for Period 01/February/2022 - 28/February/2022
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Fast Start Unit Management | PGAE | Bay Area | 2022-02-23 | 0 | No | INC | 1 | 44615.8542 | 44615.8854
2 | RT | Market Disruption | PGAE | Bay Area | 2022-02-23 | 500 | No | DEC | 1 | 44615.7083 | 44615.7118
3 | RT | Market Disruption | PGAE | Bay Area | 2022-02-23 | 201 - 500 | No | INC | 2 | 44615.684 | 44615.7292
4 | RT | Market Disruption | PGAE | NA | 2022-02-10 | 615 | No | INC | 3 | 44602.7396 | 44602.8333
5 | RT | Market Disruption | PGAE | NA | 2022-02-23 | 306 | No | DEC | 1 | 44615.7083 | 44615.7292
6 | RT | Market Disruption | PGAE | NA | 2022-02-23 | 306 | No | INC | 1 | 44615.691 | 44615.7083
7 | RT | Market Disruption | SCE | LA Basin | 2022-02-23 | 674 | No | DEC | 1 | 44615.7083 | 44615.7292
8 | RT | Market Disruption | SCE | LA Basin | 2022-02-23 | 15 - 674 | No | INC | 5 | 44615.6875 | 44615.8611
9 | RT | Market Disruption | SDGE | San Diego-IV | 2022-02-23 | 400 - 500 | No | DEC | 1 | 44615.691 | 44615.7153
10 | RT | Market Disruption | SDGE | San Diego-IV | 2022-02-23 | 95 - 400 | No | INC | 2 | 44615.6875 | 44615.7361
11 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-03 | 23 | No | INC | 4 | 44595.75 | 44595.9167
12 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-07 | 15 - 27 | No | INC | 12 | 44599.2708 | 44599.7708
13 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-09 | 23 | No | INC | 5 | 44601.7465 | 44601.9167
14 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-11 | 20 | No | INC | 8 | 44603.6111 | 44603.9167
15 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-12 | 20 | No | INC | 6 | 44604.7708 | 44605
16 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-13 | 20 | Yes | INC | 21 | 44605 | 44605.875
17 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-15 | 23 | No | INC | 4 | 44607.7708 | 44607.9167
18 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-17 | 20 | No | DEC | 12 | 44609.4028 | 44609.8958
19 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-17 | 380 | No | INC | 11 | 44609.2917 | 44609.75
20 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-18 | 20 - 22 | No | INC | 16 | 44610.3507 | 44611
21 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-19 | 20 | No | INC | 1 | 44611.9583 | 44612
22 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-20 | 20 | No | INC | 6 | 44612.4201 | 44612.6667
23 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-24 | 20 | No | DEC | 2 | 44616.25 | 44616.3333
24 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-24 | 20 | No | INC | 6 | 44616 | 44616.25
25 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-25 | 20 | No | DEC | 1 | 44617.6111 | 44617.625
26 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-25 | 20 | No | INC | 9 | 44617.625 | 44618
27 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-26 | 20 | No | INC | 16 | 44618.3438 | 44619
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-01 | 15 | No | DEC | 6 | 44593 | 44593.2292
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-01 | 15 - 30 | No | INC | 10 | 44593 | 44593.3958
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-03 | 15 - 30 | No | DEC | 16 | 44595.3507 | 44596
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-03 | 30 | No | INC | 17 | 44595.3125 | 44596
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-04 | 15 | No | DEC | 24 | 44596 | 44597
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-04 | 15 - 45 | No | INC | 24 | 44596 | 44597
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-05 | 15 | No | DEC | 24 | 44597 | 44598
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-05 | 15 | No | INC | 24 | 44597 | 44598
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-06 | 15 | No | DEC | 22 | 44598 | 44598.9167
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-06 | 15 | No | INC | 24 | 44598 | 44599
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-07 | 15 | No | DEC | 21 | 44599.1562 | 44600
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-07 | 15 - 30 | No | INC | 24 | 44599 | 44600
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-08 | 15 | No | DEC | 8 | 44600 | 44600.2951
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-08 | 15 - 45 | No | INC | 24 | 44600 | 44601
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-09 | 15 | No | DEC | 7 | 44601.0104 | 44601.2951
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-09 | 15 - 30 | No | INC | 24 | 44601 | 44602
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-10 | 15 - 30 | No | INC | 24 | 44602 | 44603
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-11 | 15 | No | DEC | 10 | 44603.6042 | 44604
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-11 | 15 - 30 | No | INC | 24 | 44603 | 44604
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-12 | 15 | No | DEC | 24 | 44604 | 44605
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-12 | 15 | No | INC | 24 | 44604 | 44605
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-13 | 15 | No | DEC | 24 | 44605 | 44606
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-13 | 15 | No | INC | 22 | 44605 | 44605.9167
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-14 | 15 | No | DEC | 8 | 44606 | 44606.3021
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-16 | 15 | No | DEC | 10 | 44608.3958 | 44608.8021
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-16 | 15 - 30 | No | INC | 15 | 44608.2535 | 44608.8646
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-23 | 30 | No | INC | 16 | 44615.3715 | 44616
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-24 | 15 - 30 | No | DEC | 21 | 44616.125 | 44617
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-24 | 30 | No | INC | 24 | 44616 | 44617
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-25 | 15 - 30 | No | DEC | 24 | 44617 | 44618
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-25 | 15 - 30 | No | INC | 16 | 44617 | 44617.6667
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-26 | 15 | No | DEC | 24 | 44618 | 44619
60 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-26 | 15 | No | INC | 14 | 44618.3542 | 44618.9167
61 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-27 | 15 | No | DEC | 11 | 44619 | 44619.4583
62 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-27 | 15 | No | INC | 3 | 44619.4583 | 44619.5625
63 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-02-19 | 44642 | No | INC | 7 | 44611.1875 | 44611.4792
64 | RT | Planned Transmission Outage | PGAE | NA | 2022-02-24 | 43 | No | INC | 11 | 44616 | 44616.4375
65 | RT | Planned Transmission Outage | SCE | LA Basin | 2022-02-04 | 46 | No | INC | 2 | 44596.3611 | 44596.4167
66 | RT | Planned Transmission Outage | SCE | LA Basin | 2022-02-18 | 46 | Yes | INC | 5 | 44610.3507 | 44610.5312
67 | RT | Planned Transmission Outage | SCE | NA | 2022-02-03 | 20 | No | DEC | 1 | 44595.3438 | 44595.375
68 | RT | Planned Transmission Outage | SCE | NA | 2022-02-23 | 190 | No | DEC | 2 | 44615.816 | 44615.8611
69 | RT | Planned Transmission Outage | SCE | NA | 2022-02-23 | 250 - 325 | No | INC | 4 | 44615.8611 | 44616
70 | RT | Planned Transmission Outage | SCE | NA | 2022-02-24 | 325 | No | INC | 10 | 44616 | 44616.4062
71 | RT | Planned Transmission Outage | SCE | NA | 2022-02-25 | 330 | No | INC | 12 | 44617.2465 | 44617.7292
72 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-02-25 | 44 | No | INC | 2 | 44617.8472 | 44617.9167
73 | RT | Reliability Assessment | PGAE | Fresno | 2022-02-08 | 5 | No | DEC | 2 | 44600.3403 | 44600.4062
74 | RT | Reliability Assessment | PGAE | Fresno | 2022-02-21 | 5 | No | DEC | 1 | 44613.3472 | 44613.375
75 | RT | Reliability Assessment | PGAE | Humboldt | 2022-02-06 | 15 | No | DEC | 2 | 44598.9167 | 44598.9688
76 | RT | Reliability Assessment | PGAE | Humboldt | 2022-02-14 | 30 | No | INC | 1 | 44606.2847 | 44606.3125
77 | RT | Reliability Assessment | PGAE | Humboldt | 2022-02-15 | 15 | No | DEC | 21 | 44607 | 44607.8646
78 | RT | Reliability Assessment | PGAE | Humboldt | 2022-02-15 | 15 - 30 | No | INC | 14 | 44607.3056 | 44607.8542
79 | RT | Reliability Assessment | PGAE | Sierra | 2022-02-02 | 40 | No | INC | 9 | 44594.3368 | 44594.7083
80 | RT | Reliability Assessment | PGAE | NA | 2022-02-14 | 38 | No | INC | 8 | 44606.6667 | 44607
81 | RT | Reliability Assessment | PGAE | NA | 2022-02-15 | 38 | No | INC | 24 | 44607 | 44608
82 | RT | Reliability Assessment | PGAE | NA | 2022-02-16 | 38 | No | INC | 10 | 44608 | 44608.4167
83 | RT | Reliability Assessment | PGAE | NA | 2022-02-20 | 35 - 43 | No | INC | 24 | 44612.0382 | 44613
84 | RT | Reliability Assessment | PGAE | NA | 2022-02-21 | 43 | No | INC | 24 | 44613 | 44614
85 | RT | Reliability Assessment | PGAE | NA | 2022-02-22 | 43 | No | INC | 24 | 44614 | 44615
86 | RT | Reliability Assessment | PGAE | NA | 2022-02-23 | 43 | No | INC | 24 | 44615 | 44616
87 | RT | Reliability Assessment | SCE | NA | 2022-02-08 | 50 | No | DEC | 2 | 44600.4236 | 44600.4792
88 | RT | Reliability Assessment | SCE | NA | 2022-02-08 | 50 | No | INC | 2 | 44600.4167 | 44600.4792
89 | RT | Software Limitation | PGAE | Bay Area | 2022-02-23 | 0 | No | INC | 1 | 44615.8854 | 44615.8993
90 | RT | Software Limitation | PGAE | NA | 2022-02-11 | 20 | No | DEC | 1 | 44603.9583 | 44604
91 | RT | Software Limitation | PGAE | NA | 2022-02-12 | 20 | No | DEC | 1 | 44604 | 44604.0312
92 | RT | Unit Testing | SCE | LA Basin | 2022-02-02 | 29.57 | No | INC | 1 | 44594.8472 | 44594.875
93 | RT | Unit Testing | SCE | LA Basin | 2022-02-08 | 48 | No | INC | 6 | 44600.7639 | 44601
94 | RT | Voltage Support | PGAE | Humboldt | 2022-02-01 | 15 | No | DEC | 15 | 44593.3958 | 44594
95 | RT | Voltage Support | PGAE | Humboldt | 2022-02-01 | 15 - 30 | No | INC | 19 | 44593.2292 | 44594
96 | RT | Voltage Support | PGAE | Humboldt | 2022-02-02 | 15 - 45 | No | DEC | 22 | 44594 | 44594.9167
97 | RT | Voltage Support | PGAE | Humboldt | 2022-02-02 | 15 - 45 | No | INC | 24 | 44594 | 44595
98 | RT | Voltage Support | PGAE | Humboldt | 2022-02-03 | 30 | No | INC | 8 | 44595 | 44595.3125
99 | RT | Voltage Support | PGAE | Humboldt | 2022-02-14 | 15 | No | DEC | 1 | 44606.9792 | 44607
100 | RT | Voltage Support | PGAE | Humboldt | 2022-02-14 | 30 | No | INC | 17 | 44606.3021 | 44606.9792
101 | RT | Voltage Support | PGAE | Humboldt | 2022-02-15 | 15 | No | DEC | 4 | 44607.8472 | 44608
102 | RT | Voltage Support | PGAE | Humboldt | 2022-02-15 | 15 | No | INC | 3 | 44607.875 | 44608
103 | RT | Voltage Support | PGAE | Humboldt | 2022-02-16 | 15 | No | DEC | 24 | 44608 | 44608.9792
104 | RT | Voltage Support | PGAE | Humboldt | 2022-02-16 | 15 | No | INC | 4 | 44608.8646 | 44609
105 | RT | Voltage Support | PGAE | Humboldt | 2022-02-17 | 14 | No | DEC | 10 | 44609.3403 | 44609.7396
106 | RT | Voltage Support | PGAE | Humboldt | 2022-02-17 | 14 - 30 | No | INC | 24 | 44609 | 44610
107 | RT | Voltage Support | PGAE | Humboldt | 2022-02-18 | 15 | No | DEC | 6 | 44610.0417 | 44610.2674
108 | RT | Voltage Support | PGAE | Humboldt | 2022-02-18 | 15 - 30 | No | INC | 24 | 44610 | 44611
109 | RT | Voltage Support | PGAE | Humboldt | 2022-02-19 | 15 | No | DEC | 3 | 44611.875 | 44612
110 | RT | Voltage Support | PGAE | Humboldt | 2022-02-19 | 15 - 30 | No | INC | 24 | 44611 | 44612
111 | RT | Voltage Support | PGAE | Humboldt | 2022-02-20 | 15 | No | DEC | 24 | 44612 | 44613
112 | RT | Voltage Support | PGAE | Humboldt | 2022-02-20 | 15 | No | INC | 24 | 44612 | 44613
113 | RT | Voltage Support | PGAE | Humboldt | 2022-02-21 | 15 | No | DEC | 24 | 44613 | 44614
114 | RT | Voltage Support | PGAE | Humboldt | 2022-02-21 | 15 | No | INC | 24 | 44613 | 44614
115 | RT | Voltage Support | PGAE | Humboldt | 2022-02-22 | 14 - 15 | No | DEC | 24 | 44614 | 44615
116 | RT | Voltage Support | PGAE | Humboldt | 2022-02-22 | 14 - 28 | No | INC | 18 | 44614.2882 | 44615
117 | RT | Voltage Support | PGAE | Humboldt | 2022-02-23 | 14 | No | DEC | 15 | 44615 | 44615.625
118 | RT | Voltage Support | PGAE | Humboldt | 2022-02-27 | 15 | No | INC | 7 | 44619.7188 | 44620
119 | RT | Voltage Support | PGAE | Humboldt | 2022-02-28 | 15 - 45 | No | INC | 24 | 44620 | 44621
120 | RT | Voltage Support | PGAE | Sierra | 2022-02-03 | 20 | No | DEC | 13 | 44595.3056 | 44595.8333
121 | RT | Voltage Support | PGAE | Sierra | 2022-02-03 | 20 | No | INC | 10 | 44595.3125 | 44595.7083
122 | RT | Voltage Support | PGAE | Sierra | 2022-02-04 | 40 | No | INC | 14 | 44596.2917 | 44596.875
123 | RT | Voltage Support | PGAE | Sierra | 2022-02-05 | 40 | No | DEC | 1 | 44597.2396 | 44597.25
124 | RT | Voltage Support | PGAE | Sierra | 2022-02-05 | 40 | No | INC | 15 | 44597.25 | 44597.875
125 | RT | Voltage Support | PGAE | Sierra | 2022-02-06 | 45 | No | DEC | 1 | 44598.2396 | 44598.25
126 | RT | Voltage Support | PGAE | Sierra | 2022-02-06 | 45 | No | INC | 15 | 44598.25 | 44598.875
127 | RT | Voltage Support | PGAE | Sierra | 2022-02-08 | 40 | No | DEC | 1 | 44600.2431 | 44600.25
128 | RT | Voltage Support | PGAE | Sierra | 2022-02-08 | 40 | No | INC | 1 | 44600.25 | 44600.2917
129 | RT | Voltage Support | PGAE | Sierra | 2022-02-10 | 40 | No | DEC | 1 | 44602.2361 | 44602.25
130 | RT | Voltage Support | PGAE | Sierra | 2022-02-10 | 40 | No | INC | 8 | 44602.25 | 44602.5833
131 | RT | Voltage Support | PGAE | Sierra | 2022-02-12 | 40 | No | INC | 11 | 44604.25 | 44604.7083
132 | RT | Voltage Support | PGAE | Sierra | 2022-02-13 | 40 | No | DEC | 18 | 44605.2396 | 44605.9583
133 | RT | Voltage Support | PGAE | Sierra | 2022-02-13 | 20 - 40 | No | INC | 24 | 44605.0208 | 44606
134 | RT | Voltage Support | PGAE | Sierra | 2022-02-14 | 20 | No | INC | 9 | 44606 | 44606.375
135 | RT | Voltage Support | PGAE | Sierra | 2022-02-16 | 20 | No | INC | 6 | 44608.4583 | 44608.7083
136 | RT | Voltage Support | PGAE | Sierra | 2022-02-20 | 40 | No | DEC | 1 | 44612.2396 | 44612.25
137 | RT | Voltage Support | PGAE | Sierra | 2022-02-20 | 20 - 40 | No | INC | 18 | 44612.25 | 44613
138 | RT | Voltage Support | PGAE | Sierra | 2022-02-21 | 20 | No | INC | 24 | 44613 | 44614
139 | RT | Voltage Support | PGAE | Sierra | 2022-02-22 | 20 | No | INC | 7 | 44614 | 44614.2917
140 | RT | Voltage Support | PGAE | Sierra | 2022-02-24 | 20 | No | DEC | 1 | 44616.875 | 44616.9167
141 | RT | Voltage Support | PGAE | Sierra | 2022-02-24 | 20 | No | INC | 14 | 44616.2917 | 44616.875
142 | RT | Voltage Support | PGAE | Sierra | 2022-02-25 | 20 | No | INC | 10 | 44617.3229 | 44617.7083
143 | RT | Voltage Support | PGAE | Sierra | 2022-02-26 | 40 | No | INC | 11 | 44618.25 | 44618.7083
144 | RT | Voltage Support | PGAE | Sierra | 2022-02-27 | 40 | No | INC | 15 | 44619.25 | 44619.875