## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report April 15, 2024
Chart 1: Table of Exceptional Dispatches for Period 01/February/2024 - 29/February/2024
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Fast Start Unit Management | PGAE | Fresno | 2024-02-15 | 0 | No | INC | 1 | 45337.3333 | 45337.375
2 | RT | Fast Start Unit Management | PGAE | NA | 2024-02-24 | 49 | No | INC | 5 | 45346.4896 | 45346.6667
3 | RT | Fast Start Unit Management | PGAE | NA | 2024-02-27 | 0 | No | INC | 1 | 45349.4583 | 45349.5
4 | RT | Fast Start Unit Management | SCE | Big Creek-Ventura | 2024-02-17 | 0 | No | INC | 3 | 45339.8681 | 45339.9792
5 | RT | Fast Start Unit Management | SCE | LA Basin | 2024-02-09 | 0 | No | INC | 1 | 45331.2083 | 45331.2361
6 | RT | Fast Start Unit Management | SCE | LA Basin | 2024-02-17 | 0 | No | INC | 3 | 45339.8681 | 45339.9792
7 | RT | Other Reliability Requirement | PGAE | Fresno | 2024-02-13 | 83 | No | DEC | 1 | 45335.7083 | 45335.75
8 | RT | Other Reliability Requirement | PGAE | Fresno | 2024-02-13 | 83 - 400 | No | INC | 4 | 45335.6076 | 45335.75
9 | RT | Other Reliability Requirement | SCE | LA Basin | 2024-02-13 | 46 - 95 | No | INC | 4 | 45335.6042 | 45335.75
10 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-02-08 | 15 | Yes | INC | 13 | 45330.3368 | 45330.8542
11 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-02-25 | 30 | No | INC | 5 | 45347.8125 | 45348
12 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-02-26 | 30 | No | DEC | 7 | 45348.6667 | 45348.9583
13 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-02-26 | 15 - 30 | No | INC | 24 | 45348 | 45349
14 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-02-27 | 15 - 45 | No | INC | 24 | 45349 | 45350
15 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-02-28 | 15 - 45 | No | INC | 17 | 45350 | 45350.7083
16 | RT | Planned Transmission Outage | PGAE | Sierra | 2024-02-01 | 20 | No | INC | 12 | 45323.3333 | 45323.8333
17 | RT | Planned Transmission Outage | PGAE | Sierra | 2024-02-02 | 20 | No | INC | 10 | 45324.3333 | 45324.7188
18 | RT | Planned Transmission Outage | PGAE | Sierra | 2024-02-06 | 20 | Yes | INC | 10 | 45328.4271 | 45328.8333
19 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-02-06 | 55 | No | DEC | 4 | 45328.7083 | 45328.8542
20 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-02-06 | 20 - 55 | No | INC | 3 | 45328.5972 | 45328.7083
21 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-02-07 | 45 | No | DEC | 1 | 45329.7292 | 45329.7361
22 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-02-07 | 56 - 89 | No | INC | 9 | 45329.4583 | 45329.8333
23 | RT | Planned Transmission Outage | SCE | NA | 2024-02-27 | 5 - 12 | No | DEC | 16 | 45349.2188 | 45349.875
24 | RT | Planned Transmission Outage | SCE | NA | 2024-02-27 | 5 - 7 | No | INC | 13 | 45349.2917 | 45349.8333
25 | RT | Planned Transmission Outage | SCE | NA | 2024-02-28 | 5 - 12 | No | DEC | 18 | 45350.1667 | 45350.9062
26 | RT | Planned Transmission Outage | SCE | NA | 2024-02-28 | 5 | No | INC | 18 | 45350.1667 | 45350.9062
27 | RT | Ramping Capacity | PGAE | Fresno | 2024-02-17 | 83 | No | DEC | 4 | 45339.7083 | 45339.875
28 | RT | Ramping Capacity | PGAE | Fresno | 2024-02-17 | 83 | No | INC | 13 | 45339.4896 | 45340
29 | RT | Reliability Assessment | PGAE | Fresno | 2024-02-16 | 350 | No | INC | 1 | 45338.684 | 45338.7083
30 | RT | Reliability Assessment | PGAE | Fresno | 2024-02-17 | 83 - 300 | No | INC | 1 | 45339.6528 | 45339.6875
31 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-01 | 15 | No | DEC | 2 | 45323.8993 | 45323.9583
32 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-01 | 15 | No | INC | 1 | 45323.9583 | 45324
33 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-02 | 15 - 30 | No | INC | 24 | 45324 | 45325
34 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-03 | 30 | No | INC | 24 | 45325 | 45326
35 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-04 | 30 | No | DEC | 8 | 45326.5833 | 45326.9167
36 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-04 | 15 - 30 | No | INC | 24 | 45326 | 45327
37 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-05 | 15 - 30 | No | DEC | 18 | 45327.2083 | 45327.9583
38 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-05 | 15 - 30 | No | INC | 24 | 45327 | 45328
39 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-06 | 15 - 30 | No | DEC | 19 | 45328.2083 | 45329
40 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-06 | 15 - 30 | No | INC | 24 | 45328 | 45329
41 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-07 | 15 - 30 | No | DEC | 24 | 45329 | 45330
42 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-08 | 15 - 30 | No | DEC | 23 | 45330 | 45330.9583
43 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-08 | 15 - 45 | No | INC | 24 | 45330 | 45331
44 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-09 | 15 | No | DEC | 7 | 45331 | 45331.2604
45 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-09 | 15 - 45 | No | INC | 24 | 45331 | 45332
46 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-10 | 45 | No | INC | 22 | 45332 | 45332.9167
47 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-11 | 15 | No | INC | 23 | 45333.0799 | 45334
48 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-12 | 15 - 30 | No | DEC | 9 | 45334.625 | 45335
49 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-12 | 15 - 30 | No | INC | 15 | 45334 | 45334.625
50 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-13 | 15 - 45 | No | INC | 24 | 45335 | 45336
51 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-14 | 15 - 30 | No | DEC | 10 | 45336.5833 | 45337
52 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-14 | 15 - 30 | No | INC | 24 | 45336 | 45337
53 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-15 | 15 | No | DEC | 24 | 45337 | 45338
54 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-15 | 15 | No | INC | 24 | 45337 | 45338
55 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-16 | 15 | No | DEC | 24 | 45338 | 45339
56 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-16 | 15 | No | INC | 24 | 45338 | 45339
57 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-17 | 15 | No | DEC | 23 | 45339 | 45339.9583
58 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-17 | 15 | No | INC | 24 | 45339 | 45340
59 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-18 | 15 | No | DEC | 22 | 45340 | 45340.9167
60 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-18 | 15 - 30 | No | INC | 24 | 45340 | 45341
61 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-19 | 15 | No | DEC | 8 | 45341 | 45341.3333
62 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-19 | 15 - 30 | No | INC | 16 | 45341.3333 | 45342
63 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-20 | 30 | No | INC | 24 | 45342 | 45343
64 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-21 | 30 | No | INC | 24 | 45343 | 45344
65 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-22 | 30 | No | DEC | 9 | 45344 | 45344.375
66 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-22 | 15 - 30 | No | INC | 15 | 45344.375 | 45345
67 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-23 | 30 | No | INC | 24 | 45345 | 45346
68 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-24 | 15 - 30 | No | INC | 24 | 45346 | 45347
69 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-25 | 15 | No | DEC | 2 | 45347.7083 | 45347.7917
70 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-25 | 15 - 30 | No | INC | 24 | 45347 | 45348
71 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-26 | 30 | No | DEC | 6 | 45348.6667 | 45348.9028
72 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-26 | 15 - 30 | No | INC | 22 | 45348 | 45348.9028
73 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-27 | 15 - 30 | No | INC | 9 | 45349.6319 | 45350
74 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-28 | 15 - 30 | No | INC | 24 | 45350 | 45351
75 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-29 | 15 - 30 | No | INC | 24 | 45351 | 45352
76 | RT | Reliability Assessment | PGAE | Stockton | 2024-02-05 | 5 - 195 | No | DEC | 8 | 45327.4167 | 45327.7396
77 | RT | Reliability Assessment | PGAE | Stockton | 2024-02-05 | 50 - 195 | No | INC | 6 | 45327.4583 | 45327.7083
78 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2024-02-23 | 60 | No | INC | 6 | 45345.5174 | 45345.75
79 | RT | Reliability Assessment | SCE | NA | 2024-02-26 | 0 | No | DEC | 2 | 45348.5243 | 45348.5833
80 | RT | Reliability Assessment | SDGE | San Diego-IV | 2024-02-17 | 96 - 400 | No | INC | 2 | 45339.6562 | 45339.7083
81 | RT | Software Limitation | PGAE | Fresno | 2024-02-16 | 0 | No | INC | 1 | 45338.9375 | 45338.9792
82 | RT | Software Limitation | PGAE | Fresno | 2024-02-17 | 83 | No | INC | 3 | 45339.5521 | 45339.6528
83 | RT | Software Limitation | SCE | Big Creek-Ventura | 2024-02-17 | 44.79 | No | INC | 1 | 45339.6562 | 45339.6944
84 | RT | Software Limitation | SCE | LA Basin | 2024-02-09 | 96.6 - 97.32 | No | INC | 1 | 45331.1389 | 45331.1771
85 | RT | Software Limitation | SCE | LA Basin | 2024-02-17 | 46.25 - 97.32 | No | INC | 1 | 45339.6562 | 45339.6944
86 | RT | System Emergency | PGAE | NA | 2024-02-04 | 3.9495 - 3.95 | No | INC | 5 | 45326.7188 | 45326.9201
87 | RT | Unit Testing | PGAE | Bay Area | 2024-02-02 | 42.14 | No | INC | 2 | 45324.2812 | 45324.3264
88 | RT | Unit Testing | PGAE | Fresno | 2024-02-13 | -302 | No | DEC | 1 | 45335.375 | 45335.4167
89 | RT | Unit Testing | PGAE | NA | 2024-02-02 | 78.71 | No | DEC | 1 | 45324.6667 | 45324.6944
90 | RT | Unit Testing | PGAE | NA | 2024-02-02 | 78.71 | No | INC | 1 | 45324.6632 | 45324.6667
91 | RT | Unit Testing | PGAE | NA | 2024-02-28 | 82 | No | INC | 2 | 45350.5035 | 45350.5625
92 | RT | Unit Testing | SCE | Big Creek-Ventura | 2024-02-27 | 0 | No | INC | 1 | 45349.5347 | 45349.5625
93 | RT | Unit Testing | SCE | LA Basin | 2024-02-14 | -45.8 | No | INC | 1 | 45336.4792 | 45336.5069
94 | RT | Unit Testing | SDGE | San Diego-IV | 2024-02-06 | 597 | No | INC | 3 | 45328.6215 | 45328.7292
95 | RT | Unplanned Outage | PGAE | Stockton | 2024-02-04 | 60 | No | DEC | 5 | 45326.7222 | 45326.9167
96 | RT | Unplanned Outage | PGAE | Stockton | 2024-02-04 | 60 - 89 | No | INC | 4 | 45326.8333 | 45327
97 | RT | Unplanned Outage | PGAE | Stockton | 2024-02-05 | 89 | No | INC | 4 | 45327 | 45327.1667
98 | RT | Voltage Support | PGAE | Fresno | 2024-02-01 | -315 | No | DEC | 24 | 45323 | 45324
99 | RT | Voltage Support | PGAE | Fresno | 2024-02-02 | -315 | No | DEC | 6 | 45324 | 45324.2292
100 | RT | Voltage Support | PGAE | Fresno | 2024-02-02 | 83 | No | INC | 2 | 45324.9167 | 45325
101 | RT | Voltage Support | PGAE | Fresno | 2024-02-03 | 83 | No | DEC | 1 | 45325 | 45325.0417
102 | RT | Voltage Support | PGAE | Fresno | 2024-02-03 | 83 | No | INC | 4 | 45325.0417 | 45325.2083
103 | RT | Voltage Support | PGAE | Fresno | 2024-02-04 | -15 | No | DEC | 23 | 45326.066 | 45327
104 | RT | Voltage Support | PGAE | Fresno | 2024-02-05 | -300 | No | DEC | 24 | 45327 | 45328
105 | RT | Voltage Support | PGAE | Fresno | 2024-02-06 | -300 | No | DEC | 5 | 45328 | 45328.1875
106 | RT | Voltage Support | PGAE | Fresno | 2024-02-06 | 83 | Yes | INC | 2 | 45328.9167 | 45329
107 | RT | Voltage Support | PGAE | Fresno | 2024-02-07 | -383 | No | DEC | 20 | 45329.1667 | 45330
108 | RT | Voltage Support | PGAE | Fresno | 2024-02-07 | 83 | No | INC | 3 | 45329.0625 | 45329.1667
109 | RT | Voltage Support | PGAE | Fresno | 2024-02-08 | -300 | No | DEC | 6 | 45330 | 45330.2292
110 | RT | Voltage Support | PGAE | Fresno | 2024-02-09 | -315 | No | DEC | 23 | 45331.0521 | 45332
111 | RT | Voltage Support | PGAE | Fresno | 2024-02-10 | -315 | No | DEC | 24 | 45332 | 45333
112 | RT | Voltage Support | PGAE | Fresno | 2024-02-10 | 83 | No | INC | 10 | 45332.2917 | 45332.7083
113 | RT | Voltage Support | PGAE | Fresno | 2024-02-11 | -315 | No | DEC | 24 | 45333 | 45334
114 | RT | Voltage Support | PGAE | Fresno | 2024-02-12 | -398 | No | DEC | 23 | 45334 | 45334.9583
115 | RT | Voltage Support | PGAE | Fresno | 2024-02-12 | 83 | No | INC | 1 | 45334.9583 | 45335
116 | RT | Voltage Support | PGAE | Fresno | 2024-02-13 | 83 | No | DEC | 18 | 45335.2083 | 45335.9583
117 | RT | Voltage Support | PGAE | Fresno | 2024-02-13 | 83 | No | INC | 24 | 45335 | 45336
118 | RT | Voltage Support | PGAE | Fresno | 2024-02-14 | 83 | No | DEC | 3 | 45336.1667 | 45336.2917
119 | RT | Voltage Support | PGAE | Fresno | 2024-02-14 | 83 | Yes | INC | 24 | 45336 | 45337
120 | RT | Voltage Support | PGAE | Fresno | 2024-02-15 | 22.37 - 83 | No | INC | 7 | 45337 | 45337.2917
121 | RT | Voltage Support | PGAE | Fresno | 2024-02-16 | -4 | No | DEC | 24 | 45338.0208 | 45339
122 | RT | Voltage Support | PGAE | Fresno | 2024-02-17 | -319 | No | DEC | 5 | 45339 | 45339.2083
123 | RT | Voltage Support | PGAE | Humboldt | 2024-02-01 | 15 | No | DEC | 16 | 45323.25 | 45323.9167
124 | RT | Voltage Support | PGAE | Humboldt | 2024-02-01 | 15 | No | INC | 9 | 45323 | 45323.375
125 | RT | Voltage Support | PGAE | NA | 2024-02-01 | 62 | No | INC | 7 | 45323 | 45323.2917
126 | RT | Voltage Support | PGAE | NA | 2024-02-02 | 62 - 65 | No | INC | 23 | 45324.0417 | 45325
127 | RT | Voltage Support | PGAE | NA | 2024-02-03 | 65 | No | INC | 24 | 45325 | 45326
128 | RT | Voltage Support | PGAE | NA | 2024-02-04 | 65 | No | INC | 18 | 45326 | 45326.75
129 | RT | Voltage Support | PGAE | NA | 2024-02-05 | 62 | No | INC | 5 | 45327.0104 | 45327.2083
130 | RT | Voltage Support | PGAE | NA | 2024-02-10 | 142 | No | INC | 5 | 45332.4931 | 45332.6667
131 | RT | Voltage Support | PGAE | NA | 2024-02-12 | 65 | No | DEC | 5 | 45334.8299 | 45335
132 | RT | Voltage Support | PGAE | NA | 2024-02-13 | 65 | No | INC | 24 | 45335 | 45336
133 | RT | Voltage Support | PGAE | NA | 2024-02-14 | 65 | No | INC | 7 | 45336 | 45336.2917
134 | RT | Voltage Support | PGAE | NA | 2024-02-15 | 62 - 65 | No | INC | 24 | 45337 | 45338
135 | RT | Voltage Support | PGAE | NA | 2024-02-16 | 62 - 65 | No | INC | 24 | 45338 | 45339
136 | RT | Voltage Support | PGAE | NA | 2024-02-17 | 62 - 65 | No | INC | 24 | 45339 | 45340
137 | RT | Voltage Support | PGAE | NA | 2024-02-18 | 62 - 95 | No | INC | 24 | 45340 | 45341
138 | RT | Voltage Support | PGAE | NA | 2024-02-19 | 60 - 65 | No | INC | 24 | 45341 | 45342
139 | RT | Voltage Support | PGAE | NA | 2024-02-20 | 62 - 65 | No | INC | 24 | 45342 | 45343
140 | RT | Voltage Support | PGAE | NA | 2024-02-21 | 62 - 65 | No | INC | 24 | 45343 | 45344
141 | RT | Voltage Support | PGAE | NA | 2024-02-22 | 62 - 65 | No | INC | 24 | 45344 | 45345
142 | RT | Voltage Support | PGAE | NA | 2024-02-23 | 62 - 65 | No | INC | 24 | 45345 | 45346
143 | RT | Voltage Support | PGAE | NA | 2024-02-24 | 49 - 103 | No | DEC | 21 | 45346.1285 | 45347
144 | RT | Voltage Support | PGAE | NA | 2024-02-24 | 60 - 103 | No | INC | 24 | 45346 | 45347
145 | RT | Voltage Support | PGAE | NA | 2024-02-25 | 49 - 142 | No | DEC | 24 | 45347 | 45348
146 | RT | Voltage Support | PGAE | NA | 2024-02-25 | 49 - 142 | No | INC | 24 | 45347 | 45348
147 | RT | Voltage Support | PGAE | NA | 2024-02-26 | 95 - 142 | No | DEC | 23 | 45348 | 45348.9583
148 | RT | Voltage Support | PGAE | NA | 2024-02-26 | 62 - 142 | No | INC | 24 | 45348 | 45349
149 | RT | Voltage Support | PGAE | NA | 2024-02-27 | 49 | No | DEC | 5 | 45349.1354 | 45349.3333
150 | RT | Voltage Support | PGAE | NA | 2024-02-27 | 49 - 142 | No | INC | 24 | 45349 | 45350
151 | RT | Voltage Support | PGAE | NA | 2024-02-28 | 62 - 65 | No | INC | 24 | 45350 | 45351
152 | RT | Voltage Support | PGAE | NA | 2024-02-29 | 62 - 65 | No | INC | 24 | 45351 | 45352
153 | RT | Voltage Support | SCE | LA Basin | 2024-02-21 | 46 | Yes | INC | 2 | 45343.3333 | 45343.4167