## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report September 15, 2022
Chart 1: Table of Exceptional Dispatches for Period 01/July/2022 - 31/July/2022
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Bridging Schedules | SCE | LA Basin | 2022-07-10 | 10 - 20 | Yes | INC | 1 | 44752.9583 | 44753
2 | RT | Bridging Schedules | SCE | LA Basin | 2022-07-11 | 10 | No | INC | 1 | 44753.9583 | 44754
3 | RT | Bridging Schedules | SCE | LA Basin | 2022-07-14 | 10 | Yes | INC | 1 | 44756.9583 | 44757
4 | RT | Conditions beyond the control of the CAISO | PGAE | Fresno | 2022-07-31 | 83 - 350 | No | INC | 1 | 44773.7396 | 44773.7812
5 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2022-07-06 | 133 | No | INC | 8 | 44748.5833 | 44748.9167
6 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-07-13 | 50 | No | INC | 21 | 44755.125 | 44756
7 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-07-18 | 50 | No | DEC | 1 | 44760.7917 | 44760.8333
8 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-07-18 | 50 | No | INC | 14 | 44760.4167 | 44761
9 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-07-19 | 50 | No | INC | 24 | 44761 | 44762
10 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-07-20 | 50 | No | INC | 24 | 44762 | 44763
11 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-07-21 | 50 | No | INC | 24 | 44763 | 44764
12 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-07-18 | 70 | No | INC | 14 | 44760.4167 | 44761
13 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-07-19 | 10 - 70 | Yes | INC | 24 | 44761 | 44762
14 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-07-20 | 70 | No | INC | 24 | 44762 | 44763
15 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-07-21 | 70 | No | INC | 24 | 44763 | 44764
16 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-07-22 | 10 | Yes | INC | 1 | 44764.9583 | 44765
17 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2022-07-11 | 161 | Yes | INC | 9 | 44753.625 | 44754
18 | RT | Market Disruption | PGAE | Fresno | 2022-07-01 | 400 | No | INC | 1 | 44743.0312 | 44743.0521
19 | RT | Market Disruption | PGAE | NA | 2022-07-08 | 400 | No | DEC | 1 | 44750.7951 | 44750.8333
20 | RT | Market Disruption | SCE | LA Basin | 2022-07-19 | 289 | No | DEC | 1 | 44761.3611 | 44761.375
21 | RT | Market Disruption | SCE | LA Basin | 2022-07-20 | 325 | No | DEC | 1 | 44762.4757 | 44762.4896
22 | RT | Other Reliability Requirement | PGAE | Fresno | 2022-07-06 | 83 | No | INC | 2 | 44748.9236 | 44749
23 | RT | Other Reliability Requirement | PGAE | Fresno | 2022-07-07 | 83 | No | INC | 1 | 44749 | 44749.0104
24 | RT | Other Reliability Requirement | PGAE | Humboldt | 2022-07-14 | 45 - 60 | No | INC | 8 | 44756.6875 | 44757
25 | RT | Other Reliability Requirement | PGAE | Humboldt | 2022-07-15 | 45 - 60 | No | INC | 24 | 44757 | 44758
26 | RT | Other Reliability Requirement | PGAE | Humboldt | 2022-07-16 | 30 - 45 | No | INC | 8 | 44758 | 44758.3125
27 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-07-27 | 175 | No | INC | 4 | 44769.3125 | 44769.4583
28 | RT | Planned Transmission Outage | PGAE | Fresno | 2022-07-08 | 83 | No | INC | 2 | 44750.9201 | 44751
29 | RT | Planned Transmission Outage | PGAE | Fresno | 2022-07-09 | 83 | Yes | INC | 2 | 44751 | 44751.0833
30 | RT | Planned Transmission Outage | PGAE | Fresno | 2022-07-17 | 83 | No | INC | 1 | 44759.9688 | 44760
31 | RT | Planned Transmission Outage | PGAE | Fresno | 2022-07-18 | 83 | No | INC | 2 | 44760 | 44760.0833
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-07-01 | 15 - 45 | No | INC | 19 | 44743 | 44743.7604
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-07-14 | 30 | No | DEC | 2 | 44756.625 | 44756.6979
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-07-14 | 30 | No | INC | 9 | 44756.2847 | 44756.625
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-07-26 | 45 | No | DEC | 7 | 44768.625 | 44768.9167
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-07-26 | 45 | No | INC | 11 | 44768.5764 | 44769
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-07-27 | 45 | No | DEC | 6 | 44769.6667 | 44769.9167
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-07-27 | 30 - 45 | No | INC | 24 | 44769 | 44770
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-07-28 | 15 - 30 | No | DEC | 16 | 44770.3368 | 44771
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-07-28 | 30 - 45 | No | INC | 24 | 44770 | 44771
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-07-29 | 15 - 30 | No | DEC | 24 | 44771 | 44772
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-07-29 | 30 | No | INC | 24 | 44771 | 44772
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-07-30 | 15 - 30 | No | DEC | 24 | 44772 | 44773
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-07-30 | 30 | No | INC | 24 | 44772 | 44773
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-07-31 | 15 - 30 | No | DEC | 23 | 44773 | 44773.9583
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-07-31 | 15 - 30 | No | INC | 24 | 44773 | 44774
47 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-07-14 | 57 | No | DEC | 12 | 44756.316 | 44756.7917
48 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-07-30 | 65 - 70 | No | DEC | 4 | 44772.309 | 44772.4479
49 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-07-05 | 20 | No | DEC | 3 | 44747.7917 | 44747.9167
50 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-07-05 | 20 | No | INC | 6 | 44747.7882 | 44748
51 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-07-19 | 20 - 45 | No | DEC | 7 | 44761.625 | 44761.8924
52 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-07-19 | 45 | No | INC | 8 | 44761.2917 | 44761.625
53 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-07-27 | 1 | No | DEC | 1 | 44769.5104 | 44769.5312
54 | RT | Planned Transmission Outage | PGAE | NA | 2022-07-06 | 39 | No | INC | 8 | 44748.6111 | 44748.9167
55 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-07-06 | 75 - 105 | No | INC | 4 | 44748.375 | 44748.5208
56 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-07-19 | 405 | No | INC | 6 | 44761.6667 | 44761.9167
57 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-07-20 | 405 | No | INC | 5 | 44762.6667 | 44762.875
58 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-07-21 | 405 | No | INC | 5 | 44763.6667 | 44763.875
59 | RT | Ramping Capacity | SCE | LA Basin | 2022-07-11 | 194 | No | DEC | 4 | 44753.7083 | 44753.875
60 | RT | Ramping Capacity | SCE | LA Basin | 2022-07-11 | 65 - 194 | No | INC | 7 | 44753.6667 | 44753.9583
61 | RT | Ramping Capacity | SCE | LA Basin | 2022-07-15 | 194 | No | INC | 3 | 44757.7917 | 44757.9167
62 | RT | Ramping Capacity | SCE | LA Basin | 2022-07-16 | 194 | No | INC | 5 | 44758.7153 | 44758.9167
63 | RT | Ramping Capacity | SCE | LA Basin | 2022-07-19 | 194 | No | DEC | 5 | 44761.6667 | 44761.875
64 | RT | Ramping Capacity | SCE | LA Basin | 2022-07-19 | 190 - 245 | No | INC | 5 | 44761.6667 | 44761.875
65 | RT | Ramping Capacity | SCE | LA Basin | 2022-07-20 | 190 | No | DEC | 5 | 44762.6667 | 44762.875
66 | RT | Ramping Capacity | SCE | LA Basin | 2022-07-20 | 65 - 245 | No | INC | 5 | 44762.6667 | 44762.875
67 | RT | Ramping Capacity | SCE | LA Basin | 2022-07-21 | 65 | No | DEC | 5 | 44763.6667 | 44763.875
68 | RT | Ramping Capacity | SCE | LA Basin | 2022-07-21 | 190 - 240 | No | INC | 5 | 44763.6667 | 44763.875
69 | RT | Ramping Capacity | SCE | LA Basin | 2022-07-22 | 190 - 194 | No | INC | 5 | 44764.6667 | 44764.875
70 | RT | Ramping Capacity | SCE | LA Basin | 2022-07-24 | 190 - 194 | No | INC | 5 | 44766.6667 | 44766.875
71 | RT | Reliability Assessment | PGAE | Bay Area | 2022-07-09 | 360 | No | INC | 5 | 44751.8125 | 44752
72 | RT | Reliability Assessment | PGAE | Bay Area | 2022-07-10 | 360 | No | INC | 16 | 44752 | 44752.6667
73 | RT | Reliability Assessment | PGAE | Bay Area | 2022-07-21 | 20 | No | INC | 8 | 44763.5833 | 44763.9167
74 | RT | Reliability Assessment | PGAE | Bay Area | 2022-07-22 | 20 | No | INC | 2 | 44764.7951 | 44764.875
75 | RT | Reliability Assessment | PGAE | Fresno | 2022-07-01 | 83 - 85 | No | INC | 2 | 44743 | 44743.0833
76 | RT | Reliability Assessment | PGAE | Fresno | 2022-07-09 | 84 | No | INC | 2 | 44751.9167 | 44752
77 | RT | Reliability Assessment | PGAE | Fresno | 2022-07-10 | 84 | No | INC | 3 | 44752 | 44752.1146
78 | RT | Reliability Assessment | PGAE | Fresno | 2022-07-21 | 8 | No | DEC | 9 | 44763.4201 | 44763.7917
79 | RT | Reliability Assessment | PGAE | Fresno | 2022-07-21 | 8 | No | INC | 10 | 44763.4167 | 44763.8333
80 | RT | Reliability Assessment | PGAE | Fresno | 2022-07-23 | 83 | No | INC | 3 | 44765.0035 | 44765.1146
81 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-01 | 15 - 30 | No | INC | 7 | 44743.7465 | 44744
82 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-02 | 15 - 30 | No | INC | 24 | 44744 | 44745
83 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-03 | 15 | No | DEC | 23 | 44745 | 44745.9271
84 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-03 | 15 | No | INC | 9 | 44745.2917 | 44745.6667
85 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-05 | 15 | No | DEC | 16 | 44747.3646 | 44748
86 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-06 | 15 | No | DEC | 16 | 44748.3194 | 44748.9792
87 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-07 | 15 | No | DEC | 15 | 44749.3472 | 44749.9583
88 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-08 | 15 | No | DEC | 15 | 44750.3021 | 44750.9167
89 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-11 | 15 - 60 | No | INC | 17 | 44753.3125 | 44754
90 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-12 | 15 | No | DEC | 10 | 44754.5833 | 44755
91 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-12 | 15 - 30 | No | INC | 14 | 44754 | 44754.5833
92 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-13 | 15 | No | DEC | 9 | 44755.625 | 44756
93 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-13 | 15 | No | INC | 15 | 44755 | 44755.625
94 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-14 | 15 | No | INC | 8 | 44756 | 44756.3021
95 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-16 | 30 | No | DEC | 12 | 44758.4583 | 44758.9583
96 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-16 | 30 | No | INC | 17 | 44758.3021 | 44759
97 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-17 | 30 | No | DEC | 12 | 44759.4583 | 44759.9583
98 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-17 | 30 | No | INC | 24 | 44759 | 44760
99 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-18 | 30 | No | DEC | 7 | 44760.6667 | 44760.9583
100 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-18 | 30 | No | INC | 24 | 44760 | 44761
101 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-19 | 30 | No | DEC | 6 | 44761.7083 | 44761.9583
102 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-19 | 30 | No | INC | 24 | 44761 | 44762
103 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-20 | 30 | No | DEC | 8 | 44762.625 | 44762.9583
104 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-20 | 30 | No | INC | 24 | 44762 | 44763
105 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-21 | 30 | No | DEC | 9 | 44763.5833 | 44763.9583
106 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-21 | 30 | No | INC | 24 | 44763 | 44764
107 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-22 | 30 | No | DEC | 8 | 44764.625 | 44764.9583
108 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-22 | 30 | No | INC | 24 | 44764 | 44765
109 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-23 | 30 | No | INC | 24 | 44765 | 44766
110 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-24 | 30 | No | INC | 24 | 44766 | 44767
111 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-25 | 45 | No | DEC | 7 | 44767.625 | 44767.9167
112 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-25 | 30 - 45 | No | INC | 24 | 44767 | 44768
113 | RT | Reliability Assessment | PGAE | Humboldt | 2022-07-26 | 30 - 45 | No | INC | 15 | 44768 | 44768.5938
114 | RT | Reliability Assessment | PGAE | NCNB | 2022-07-12 | 55 | No | DEC | 9 | 44754.2396 | 44754.5833
115 | RT | Reliability Assessment | PGAE | NCNB | 2022-07-13 | 55 | No | DEC | 8 | 44755.2778 | 44755.5833
116 | RT | Reliability Assessment | PGAE | NCNB | 2022-07-15 | 60 | No | DEC | 3 | 44757.4167 | 44757.5417
117 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-01 | 20 | No | DEC | 4 | 44743.75 | 44743.9167
118 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-01 | 20 - 40 | No | INC | 24 | 44743 | 44744
119 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-05 | 20 | No | INC | 16 | 44747.2778 | 44747.9167
120 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-06 | 20 | No | DEC | 4 | 44748.75 | 44748.9167
121 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-06 | 20 | No | INC | 1 | 44748.7326 | 44748.75
122 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-07 | 20 | No | DEC | 5 | 44749.7153 | 44749.9167
123 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-08 | 20 | No | DEC | 4 | 44750.8021 | 44750.9583
124 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-09 | 20 | No | INC | 5 | 44751.8194 | 44752
125 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-10 | 20 - 30 | No | DEC | 5 | 44752.7083 | 44752.9167
126 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-10 | 20 - 35 | No | INC | 9 | 44752.6354 | 44753
127 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-11 | 20 | No | DEC | 6 | 44753.7083 | 44753.9583
128 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-11 | 20 - 40 | No | INC | 24 | 44753 | 44754
129 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-12 | 20 - 110 | No | DEC | 8 | 44754.625 | 44754.9583
130 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-12 | 20 - 110 | Yes | INC | 24 | 44754 | 44755
131 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-13 | 40 | No | DEC | 4 | 44755.7083 | 44755.875
132 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-13 | 20 - 40 | Yes | INC | 24 | 44755 | 44756
133 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-14 | 20 - 47 | No | DEC | 8 | 44756.6111 | 44756.9167
134 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-14 | 10 - 47 | Yes | INC | 23 | 44756 | 44756.9583
135 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-15 | 20 - 47 | No | DEC | 10 | 44757.5694 | 44757.9583
136 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-15 | 20 - 42 | Yes | INC | 9 | 44757.625 | 44758
137 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-16 | 8 - 46 | No | DEC | 5 | 44758.7014 | 44758.875
138 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-16 | 8 - 19 | No | INC | 6 | 44758.7014 | 44758.9375
139 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-17 | 47 | No | DEC | 1 | 44759.8333 | 44759.875
140 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-17 | 20 - 47 | No | INC | 10 | 44759.5938 | 44760
141 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-18 | 20 | No | DEC | 8 | 44760.6146 | 44760.9167
142 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-18 | 20 - 47 | No | INC | 11 | 44760.5764 | 44761
143 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-19 | 20 - 42 | No | DEC | 6 | 44761.6979 | 44761.9167
144 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-19 | 20 - 47 | No | INC | 24 | 44761 | 44762
145 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-20 | 20 - 42 | No | DEC | 5 | 44762.7083 | 44762.9167
146 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-20 | 20 - 42 | Yes | INC | 24 | 44762 | 44763
147 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-21 | 0 - 76.4 | No | DEC | 5 | 44763.7083 | 44763.9167
148 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-21 | 0 - 57 | No | INC | 24 | 44763 | 44764
149 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-22 | 20 - 40 | No | DEC | 7 | 44764.6667 | 44764.9583
150 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-22 | 20 - 40 | Yes | INC | 24 | 44764 | 44765
151 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-23 | 20 | No | DEC | 7 | 44765.6528 | 44765.9167
152 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-23 | 20 | No | INC | 18 | 44765 | 44765.75
153 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-24 | 5 - 47 | No | DEC | 7 | 44766.6667 | 44766.9583
154 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-24 | 20 - 47 | No | INC | 9 | 44766.625 | 44767
155 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-25 | 5 - 85 | No | DEC | 3 | 44767.75 | 44767.8542
156 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-25 | 85 | No | INC | 1 | 44767.7604 | 44767.7917
157 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-27 | 0 - 65 | No | DEC | 7 | 44769.6528 | 44769.9167
158 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-27 | 9 - 47 | No | INC | 11 | 44769.5694 | 44770
159 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-28 | 0 - 60 | No | DEC | 10 | 44770.5174 | 44770.9167
160 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-28 | 20 - 47 | No | INC | 11 | 44770.5417 | 44771
161 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-29 | 0 - 85 | No | DEC | 4 | 44771.7326 | 44771.875
162 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-29 | 9 - 50 | No | INC | 24 | 44771 | 44772
163 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-30 | 9 - 80 | No | DEC | 4 | 44772.7222 | 44772.875
164 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-30 | 5 - 47 | No | INC | 10 | 44772.6007 | 44773
165 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-31 | 20 | No | DEC | 9 | 44773.6354 | 44774
166 | RT | Reliability Assessment | PGAE | Sierra | 2022-07-31 | 20 | No | INC | 2 | 44773.9167 | 44774
167 | RT | Reliability Assessment | PGAE | Stockton | 2022-07-18 | 35 | No | DEC | 4 | 44760.75 | 44760.9167
168 | RT | Reliability Assessment | PGAE | Stockton | 2022-07-18 | 35 | No | INC | 2 | 44760.6701 | 44760.75
169 | RT | Reliability Assessment | PGAE | Stockton | 2022-07-19 | 10 - 35 | No | DEC | 5 | 44761.691 | 44761.875
170 | RT | Reliability Assessment | PGAE | Stockton | 2022-07-19 | 30 - 35 | No | INC | 6 | 44761.6944 | 44761.9167
171 | RT | Reliability Assessment | PGAE | Stockton | 2022-07-20 | 60 | No | DEC | 3 | 44762.75 | 44762.875
172 | RT | Reliability Assessment | PGAE | Stockton | 2022-07-20 | 60 | No | INC | 4 | 44762.7014 | 44762.8333
173 | RT | Reliability Assessment | PGAE | Stockton | 2022-07-21 | 55 | No | DEC | 1 | 44763.8333 | 44763.875
174 | RT | Reliability Assessment | PGAE | Stockton | 2022-07-21 | 55 | No | INC | 3 | 44763.7396 | 44763.8333
175 | RT | Reliability Assessment | PGAE | Stockton | 2022-07-22 | 50 | No | DEC | 2 | 44764.7917 | 44764.875
176 | RT | Reliability Assessment | PGAE | Stockton | 2022-07-22 | 40 - 60 | No | INC | 5 | 44764.7257 | 44764.9167
177 | RT | Reliability Assessment | PGAE | Stockton | 2022-07-29 | 5 | No | DEC | 1 | 44771.7361 | 44771.7431
178 | RT | Reliability Assessment | PGAE | Stockton | 2022-07-29 | 50 | No | INC | 6 | 44771.7431 | 44771.9583
179 | RT | Reliability Assessment | PGAE | NA | 2022-07-05 | 75 | No | INC | 1 | 44747.6667 | 44747.7083
180 | RT | Reliability Assessment | PGAE | NA | 2022-07-11 | 20 - 90 | No | DEC | 11 | 44753.4826 | 44753.9167
181 | RT | Reliability Assessment | PGAE | NA | 2022-07-11 | 20 | No | INC | 1 | 44753.875 | 44753.9167
182 | RT | Reliability Assessment | PGAE | NA | 2022-07-18 | 5 - 20 | No | DEC | 3 | 44760.7778 | 44760.875
183 | RT | Reliability Assessment | PGAE | NA | 2022-07-18 | 20 | No | INC | 1 | 44760.7778 | 44760.7917
184 | RT | Reliability Assessment | PGAE | NA | 2022-07-21 | 92.6 | No | DEC | 3 | 44763.816 | 44763.9167
185 | RT | Reliability Assessment | PGAE | NA | 2022-07-21 | 20 | No | INC | 1 | 44763.7639 | 44763.7708
186 | RT | Reliability Assessment | PGAE | NA | 2022-07-27 | 100 | No | DEC | 4 | 44769.7257 | 44769.875
187 | RT | Reliability Assessment | PGAE | NA | 2022-07-28 | 50 | No | DEC | 3 | 44770.7535 | 44770.875
188 | RT | Reliability Assessment | PGAE | NA | 2022-07-29 | 5 - 80 | No | DEC | 5 | 44771.7014 | 44771.875
189 | RT | Reliability Assessment | PGAE | NA | 2022-07-29 | 5 | No | INC | 3 | 44771.7917 | 44771.9167
190 | RT | Reliability Assessment | PGAE | NA | 2022-07-30 | 45 - 60 | No | DEC | 2 | 44772.7812 | 44772.8646
191 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2022-07-28 | 49 | No | INC | 4 | 44770.7778 | 44770.9167
192 | RT | Reliability Assessment | SCE | NA | 2022-07-25 | 15 | No | INC | 1 | 44767.7604 | 44767.7917
193 | RT | Software Limitation | PGAE | Fresno | 2022-07-01 | 83 | No | INC | 3 | 44743 | 44743.125
194 | RT | Software Limitation | SCE | LA Basin | 2022-07-19 | 289 | No | DEC | 1 | 44761.375 | 44761.3958
195 | RT | Software Limitation | SCE | LA Basin | 2022-07-20 | 325 | No | DEC | 1 | 44762.4896 | 44762.5
196 | RT | Unit Testing | Intertie | NA | 2022-07-01 | 20 | No | INC | 15 | 44743.2083 | 44743.8333
197 | RT | Unit Testing | Intertie | NA | 2022-07-02 | 20 | No | INC | 14 | 44744.2083 | 44744.7917
198 | RT | Unit Testing | Intertie | NA | 2022-07-03 | 20 | No | INC | 14 | 44745.2083 | 44745.7917
199 | RT | Unit Testing | Intertie | NA | 2022-07-04 | 20 | No | INC | 14 | 44746.2083 | 44746.7917
200 | RT | Unit Testing | Intertie | NA | 2022-07-05 | 10 - 20 | No | INC | 12 | 44747.25 | 44747.75
201 | RT | Unit Testing | Intertie | NA | 2022-07-06 | 10 - 20 | No | INC | 12 | 44748.2917 | 44748.7917
202 | RT | Unit Testing | Intertie | NA | 2022-07-07 | 10 - 20 | No | INC | 12 | 44749.2917 | 44749.7917
203 | RT | Unit Testing | Intertie | NA | 2022-07-08 | 10 - 20 | No | INC | 13 | 44750.25 | 44750.7917
204 | RT | Unit Testing | Intertie | NA | 2022-07-09 | 10 - 20 | No | INC | 14 | 44751.25 | 44751.8333
205 | RT | Unit Testing | Intertie | NA | 2022-07-10 | 10 - 20 | No | INC | 14 | 44752.25 | 44752.8333
206 | RT | Unit Testing | Intertie | NA | 2022-07-11 | 10 - 20 | No | INC | 14 | 44753.25 | 44753.8333
207 | RT | Unit Testing | Intertie | NA | 2022-07-12 | 10 - 20 | No | INC | 13 | 44754.2917 | 44754.8333
208 | RT | Unit Testing | PGAE | Bay Area | 2022-07-06 | 92.99 | No | INC | 1 | 44748.8056 | 44748.8368
209 | RT | Unit Testing | PGAE | Sierra | 2022-07-19 | 160 | No | DEC | 1 | 44761.8715 | 44761.8924
210 | RT | Unit Testing | SCE | NA | 2022-07-20 | 45 | No | DEC | 1 | 44762.8194 | 44762.8333
211 | RT | Unit Testing | SCE | NA | 2022-07-20 | 45 - 55 | No | INC | 1 | 44762.809 | 44762.8403
212 | RT | Unit Testing | SDGE | San Diego-IV | 2022-07-20 | 41.03 | No | INC | 1 | 44762.8924 | 44762.9236
213 | RT | Voltage Support | PGAE | Fresno | 2022-07-04 | 83 | No | INC | 5 | 44746.4896 | 44746.6667
214 | RT | Voltage Support | PGAE | Sierra | 2022-07-02 | 20 | No | INC | 10 | 44744.3264 | 44744.7083
215 | RT | Voltage Support | PGAE | Sierra | 2022-07-03 | 20 | No | INC | 15 | 44745.3854 | 44746
216 | RT | Voltage Support | PGAE | Sierra | 2022-07-04 | 20 | No | INC | 18 | 44746 | 44746.75