## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report April 15, 2022
Chart 1: Table of Exceptional Dispatches for Period 01/February/2022 - 28/February/2022
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Bridging Schedules | PGAE | Big Creek-Ventura | 2022-03-27 | 62 | No | INC | 3 | 44647.8958 | 44648
2 | RT | Bridging Schedules | PGAE | NA | 2022-03-27 | 62 | No | INC | 2 | 44647.9167 | 44648
3 | RT | Conditions beyond the control of the CAISO | PGAE | Big Creek-Ventura | 2022-03-26 | 62 | No | INC | 19 | 44646.2361 | 44647
4 | RT | Conditions beyond the control of the CAISO | PGAE | Big Creek-Ventura | 2022-03-27 | 62 | No | INC | 13 | 44647.375 | 44647.8958
5 | RT | Conditions beyond the control of the CAISO | PGAE | NA | 2022-03-26 | 62 - 65 | No | INC | 12 | 44646.5 | 44647
6 | RT | Conditions beyond the control of the CAISO | PGAE | NA | 2022-03-27 | 62 - 65 | Yes | INC | 22 | 44647 | 44647.8958
7 | RT | Fast Start Unit Management | PGAE | Bay Area | 2022-03-28 | 0 | No | INC | 2 | 44648.4549 | 44648.5
8 | RT | Fast Start Unit Management | SCE | LA Basin | 2022-03-29 | 0 | No | INC | 1 | 44649.4479 | 44649.4792
9 | RT | Incomplete or Inaccurate Transmission | PGAE | Bay Area | 2022-03-08 | 400 | No | DEC | 4 | 44628.5278 | 44628.6562
10 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2022-03-19 | 54 | No | INC | 9 | 44639.5417 | 44639.9167
11 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2022-03-20 | 54 | No | INC | 15 | 44640.25 | 44640.875
12 | RT | Load Forecast Uncertainty | PGAE | Stockton | 2022-03-19 | 88.8 | No | INC | 11 | 44639.5417 | 44640
13 | RT | Load Forecast Uncertainty | PGAE | Stockton | 2022-03-20 | 88.8 | No | INC | 21 | 44640 | 44640.875
14 | RT | Load Forecast Uncertainty | PGAE | NA | 2022-03-28 | 400 | No | INC | 1 | 44648.3438 | 44648.3854
15 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-03-19 | 133 | No | DEC | 6 | 44639.75 | 44640
16 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-03-19 | 46 - 147.1 | No | INC | 10 | 44639.3542 | 44639.75
17 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-03-20 | 133 | No | DEC | 8 | 44640 | 44640.3333
18 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-03-28 | 96 - 100 | No | INC | 1 | 44648.3438 | 44648.3576
19 | RT | Load Forecast Uncertainty | SCE | NA | 2022-03-19 | 200 | No | INC | 2 | 44639.4444 | 44639.5104
20 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2022-03-19 | 21 - 290 | No | INC | 2 | 44639.375 | 44639.4583
21 | RT | Other Reliability Requirement | SCE | LA Basin | 2022-03-19 | 288 | No | INC | 1 | 44639.441 | 44639.4479
22 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-05 | 46 | No | DEC | 2 | 44625.625 | 44625.7083
23 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-05 | 46 | No | INC | 6 | 44625.375 | 44625.625
24 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-17 | 20 | No | DEC | 1 | 44637.5 | 44637.5417
25 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-17 | 20 - 23 | No | INC | 11 | 44637.5417 | 44638
26 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-18 | 23 | No | INC | 24 | 44638 | 44639
27 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-19 | 15 | No | INC | 13 | 44639.3993 | 44639.9167
28 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-20 | 370.1 | No | INC | 8 | 44640.0278 | 44640.3333
29 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-21 | 23 | No | INC | 12 | 44641.4167 | 44641.9167
30 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-22 | 20.1 | No | DEC | 3 | 44642.75 | 44642.875
31 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-22 | 20.1 - 350 | No | INC | 15 | 44642.2917 | 44642.9167
32 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-23 | 20.1 | No | INC | 8 | 44643.5139 | 44643.8333
33 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-30 | 20 | No | INC | 9 | 44650.5833 | 44650.9375
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-05 | 15 - 30 | No | INC | 17 | 44625.309 | 44626
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-06 | 15 | No | DEC | 8 | 44626 | 44626.2951
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-06 | 30 | No | INC | 17 | 44626.2951 | 44627
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-07 | 15 | No | DEC | 2 | 44627.9201 | 44628
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-07 | 15 - 60 | No | INC | 24 | 44627 | 44628
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-08 | 15 | No | DEC | 7 | 44628 | 44628.2882
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-08 | 15 - 30 | No | INC | 21 | 44628 | 44628.8542
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-09 | 15 - 30 | No | INC | 17 | 44629.3299 | 44630
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-10 | 30 | No | DEC | 4 | 44630.7083 | 44630.875
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-10 | 15 - 30 | No | INC | 24 | 44630 | 44631
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-11 | 15 - 30 | No | INC | 19 | 44631 | 44631.7917
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-21 | 30 | No | DEC | 2 | 44641.2639 | 44641.3438
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-21 | 45 | No | INC | 8 | 44641.2917 | 44641.6146
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-22 | 15 - 45 | No | DEC | 8 | 44642.625 | 44642.9583
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-22 | 15 - 45 | No | INC | 18 | 44642.2812 | 44643
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-23 | 30 - 45 | No | DEC | 5 | 44643.75 | 44643.9583
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-23 | 15 - 45 | No | INC | 24 | 44643 | 44644
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-24 | 15 - 30 | No | DEC | 21 | 44644.0417 | 44644.9167
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-24 | 30 - 45 | No | INC | 24 | 44644 | 44645
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-25 | 30 | No | DEC | 8 | 44645.625 | 44645.9583
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-25 | 15 - 45 | No | INC | 24 | 44645 | 44646
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-26 | 30 | No | DEC | 18 | 44646.25 | 44647
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-26 | 30 | No | INC | 18 | 44646 | 44646.75
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-27 | 14.01 - 30 | No | DEC | 22 | 44647 | 44647.9167
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-27 | 15 - 42.01 | No | INC | 24 | 44647 | 44648
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-28 | 14 - 60 | No | DEC | 8 | 44648 | 44648.3125
60 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-28 | 14 - 90 | No | INC | 24 | 44648 | 44649
61 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-29 | 60 - 75 | No | INC | 24 | 44649 | 44650
62 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-30 | 45 - 75 | No | INC | 24 | 44650 | 44651
63 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-31 | 15 - 60 | No | INC | 24 | 44651 | 44652
64 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-03-31 | 20 | No | INC | 11 | 44651.3368 | 44651.7917
65 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-03-20 | 192 | No | INC | 5 | 44640.0417 | 44640.25
66 | RT | Planned Transmission Outage | SCE | LA Basin | 2022-03-19 | 50 | No | INC | 1 | 44639.375 | 44639.4167
67 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-03-11 | 21 | No | INC | 6 | 44631.3125 | 44631.5625
68 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-03-13 | 24 | No | INC | 5 | 44633.5069 | 44633.7083
69 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-03-17 | 23 | No | INC | 13 | 44637.3854 | 44637.9167
70 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-03-28 | 24 | No | INC | 6 | 44648.5069 | 44648.7188
71 | RT | Reliability Assessment | PGAE | Bay Area | 2022-03-16 | 400 | No | DEC | 1 | 44636.3785 | 44636.4167
72 | RT | Reliability Assessment | PGAE | Bay Area | 2022-03-16 | 400 | No | INC | 4 | 44636.4167 | 44636.5729
73 | RT | Reliability Assessment | PGAE | Fresno | 2022-03-29 | 20 | No | DEC | 1 | 44649.7222 | 44649.75
74 | RT | Reliability Assessment | PGAE | Fresno | 2022-03-29 | 20 | No | INC | 1 | 44649.75 | 44649.7917
75 | RT | Reliability Assessment | PGAE | Humboldt | 2022-03-21 | 30 | No | INC | 3 | 44641.6007 | 44641.7188
76 | RT | Reliability Assessment | PGAE | NCNB | 2022-03-28 | 40 | No | DEC | 5 | 44648.2986 | 44648.5
77 | RT | Reliability Assessment | PGAE | Sierra | 2022-03-27 | 40.01 | No | DEC | 16 | 44647.2465 | 44647.875
78 | RT | Reliability Assessment | PGAE | Sierra | 2022-03-27 | 40.01 | No | INC | 13 | 44647.25 | 44647.7917
79 | RT | Reliability Assessment | PGAE | NA | 2022-03-03 | 44597 | No | DEC | 1 | 44623.4236 | 44623.4583
80 | RT | Reliability Assessment | PGAE | NA | 2022-03-28 | 20 | No | INC | 7 | 44648.4653 | 44648.75
81 | RT | Reliability Assessment | SCE | NA | 2022-03-01 | 411 | No | DEC | 5 | 44621.7639 | 44621.9583
82 | RT | Reliability Assessment | SCE | NA | 2022-03-03 | 0 | No | DEC | 1 | 44623.5417 | 44623.5833
83 | RT | Reliability Assessment | SCE | NA | 2022-03-03 | 415 | No | INC | 3 | 44623.8958 | 44624
84 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-03-19 | 450 | No | DEC | 3 | 44639.9097 | 44640
85 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-03-19 | 21 - 300 | No | INC | 15 | 44639.3576 | 44639.9792
86 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-03-20 | 450 | No | DEC | 2 | 44640 | 44640.0625
87 | RT | Software Limitation | PGAE | Big Creek-Ventura | 2022-03-28 | 0 | No | INC | 2 | 44648.125 | 44648.191
88 | RT | Software Limitation | PGAE | Fresno | 2022-03-29 | 0 | No | DEC | 1 | 44649.875 | 44649.9167
89 | RT | Software Limitation | PGAE | NA | 2022-03-28 | 0 | No | INC | 2 | 44648.0903 | 44648.1562
90 | RT | Software Limitation | SCE | LA Basin | 2022-03-27 | 38.85 | No | DEC | 1 | 44647.7917 | 44647.809
91 | RT | Software Limitation | SCE | LA Basin | 2022-03-27 | 5 - 44.6 | No | INC | 1 | 44647.7743 | 44647.809
92 | RT | Software Limitation | SDGE | San Diego-IV | 2022-03-27 | 50 - 110.35 | No | INC | 1 | 44647.7743 | 44647.809
93 | RT | Unit Testing | PGAE | Fresno | 2022-03-29 | 66 | No | INC | 1 | 44649.8125 | 44649.8333
94 | RT | Unit Testing | PGAE | Sierra | 2022-03-16 | 16 | No | INC | 1 | 44636.1458 | 44636.1771
95 | RT | Unit Testing | PGAE | Sierra | 2022-03-22 | 46 | No | INC | 1 | 44642.8125 | 44642.8333
96 | RT | Unit Testing | PGAE | NA | 2022-03-15 | 125 - 250 | No | INC | 2 | 44635.5833 | 44635.6354
97 | RT | Unit Testing | PGAE | NA | 2022-03-22 | 490 | No | DEC | 1 | 44642.8056 | 44642.8333
98 | RT | Unit Testing | PGAE | NA | 2022-03-23 | 5 | No | INC | 2 | 44643.7465 | 44643.7917
99 | RT | Unit Testing | SCE | Big Creek-Ventura | 2022-03-15 | 11 | No | INC | 1 | 44635.7639 | 44635.7917
100 | RT | Unit Testing | SCE | LA Basin | 2022-03-02 | 29.57 | No | INC | 1 | 44622.7812 | 44622.809
101 | RT | Unit Testing | SCE | LA Basin | 2022-03-11 | 47 | No | INC | 1 | 44631.7743 | 44631.8021
102 | RT | Unit Testing | SCE | LA Basin | 2022-03-22 | 49 | No | INC | 1 | 44642.8542 | 44642.8819
103 | RT | Unit Testing | SDGE | San Diego-IV | 2022-03-02 | 41.5 | No | INC | 1 | 44622.8021 | 44622.8333
104 | RT | Voltage Support | PGAE | Humboldt | 2022-03-01 | 30 - 45 | No | INC | 24 | 44621 | 44622
105 | RT | Voltage Support | PGAE | Humboldt | 2022-03-02 | 30 - 45 | No | INC | 24 | 44622 | 44623
106 | RT | Voltage Support | PGAE | Humboldt | 2022-03-03 | 30 - 45 | No | INC | 24 | 44623 | 44624
107 | RT | Voltage Support | PGAE | Humboldt | 2022-03-04 | 30 - 45 | No | INC | 24 | 44624 | 44625
108 | RT | Voltage Support | PGAE | Humboldt | 2022-03-05 | 30 | No | INC | 8 | 44625 | 44625.3229
109 | RT | Voltage Support | PGAE | Humboldt | 2022-03-08 | 14 - 30 | No | INC | 4 | 44628.8542 | 44629
110 | RT | Voltage Support | PGAE | Humboldt | 2022-03-09 | 30 - 45 | No | INC | 21 | 44629 | 44629.875
111 | RT | Voltage Support | PGAE | Humboldt | 2022-03-11 | 15 | No | INC | 2 | 44631.9201 | 44632
112 | RT | Voltage Support | PGAE | Humboldt | 2022-03-12 | 15 | No | DEC | 19 | 44632 | 44632.7847
113 | RT | Voltage Support | PGAE | Humboldt | 2022-03-12 | 15 - 30 | No | INC | 13 | 44632.4583 | 44633
114 | RT | Voltage Support | PGAE | Humboldt | 2022-03-13 | 30 | No | INC | 23 | 44633 | 44634
115 | RT | Voltage Support | PGAE | Humboldt | 2022-03-14 | 30 | No | DEC | 5 | 44634.7083 | 44634.9167
116 | RT | Voltage Support | PGAE | Humboldt | 2022-03-14 | 30 | No | INC | 24 | 44634 | 44635
117 | RT | Voltage Support | PGAE | Humboldt | 2022-03-15 | 15 - 30 | No | INC | 24 | 44635 | 44636
118 | RT | Voltage Support | PGAE | Humboldt | 2022-03-16 | 15 - 30 | No | INC | 24 | 44636 | 44637
119 | RT | Voltage Support | PGAE | Humboldt | 2022-03-17 | 15 - 30 | No | DEC | 20 | 44637.1667 | 44638
120 | RT | Voltage Support | PGAE | Humboldt | 2022-03-17 | 30 | No | INC | 24 | 44637 | 44638
121 | RT | Voltage Support | PGAE | Humboldt | 2022-03-18 | 15 | No | DEC | 23 | 44638 | 44638.9583
122 | RT | Voltage Support | PGAE | Humboldt | 2022-03-18 | 15 - 30 | No | INC | 24 | 44638 | 44639
123 | RT | Voltage Support | PGAE | Humboldt | 2022-03-19 | 30 | No | INC | 24 | 44639 | 44640
124 | RT | Voltage Support | PGAE | Humboldt | 2022-03-20 | 30 | No | INC | 24 | 44640 | 44641
125 | RT | Voltage Support | PGAE | Humboldt | 2022-03-21 | 14.01 - 30 | No | DEC | 18 | 44641.25 | 44642
126 | RT | Voltage Support | PGAE | Humboldt | 2022-03-21 | 30 | No | INC | 22 | 44641 | 44641.9167
127 | RT | Voltage Support | PGAE | Humboldt | 2022-03-22 | 14.01 | No | DEC | 7 | 44642 | 44642.2812
128 | RT | Voltage Support | PGAE | Sierra | 2022-03-03 | 20 | No | INC | 2 | 44623.8125 | 44623.875
129 | RT | Voltage Support | PGAE | Sierra | 2022-03-04 | 40 | No | DEC | 1 | 44624.2361 | 44624.25
130 | RT | Voltage Support | PGAE | Sierra | 2022-03-04 | 20 - 40 | No | INC | 6 | 44624.25 | 44624.4792
131 | RT | Voltage Support | PGAE | Sierra | 2022-03-05 | 40 | No | DEC | 1 | 44625.2396 | 44625.25
132 | RT | Voltage Support | PGAE | Sierra | 2022-03-05 | 20 - 40 | No | INC | 18 | 44625.25 | 44626
133 | RT | Voltage Support | PGAE | Sierra | 2022-03-06 | 40 | No | DEC | 19 | 44626.2396 | 44627
134 | RT | Voltage Support | PGAE | Sierra | 2022-03-06 | 20 - 40 | No | INC | 21 | 44626 | 44626.875
135 | RT | Voltage Support | PGAE | Sierra | 2022-03-07 | 40 | No | DEC | 7 | 44627 | 44627.2917
136 | RT | Voltage Support | PGAE | Sierra | 2022-03-09 | 20 | No | INC | 6 | 44629.7882 | 44630
137 | RT | Voltage Support | PGAE | Sierra | 2022-03-10 | 20 | Yes | INC | 7 | 44630 | 44630.2917
138 | RT | Voltage Support | PGAE | Sierra | 2022-03-12 | 20 | No | INC | 12 | 44632.5139 | 44633
139 | RT | Voltage Support | PGAE | Sierra | 2022-03-13 | 20 - 42 | No | INC | 23 | 44633 | 44634
140 | RT | Voltage Support | PGAE | Sierra | 2022-03-14 | 20 | No | INC | 9 | 44634 | 44634.3542
141 | RT | Voltage Support | PGAE | Sierra | 2022-03-19 | 20 | No | DEC | 2 | 44639.875 | 44639.9583
142 | RT | Voltage Support | PGAE | Sierra | 2022-03-19 | 20 | No | INC | 5 | 44639.8299 | 44640
143 | RT | Voltage Support | PGAE | Sierra | 2022-03-20 | 20 | No | DEC | 2 | 44640.875 | 44640.9583
144 | RT | Voltage Support | PGAE | Sierra | 2022-03-20 | 20 | No | INC | 24 | 44640 | 44641
145 | RT | Voltage Support | PGAE | Sierra | 2022-03-21 | 20 | No | INC | 7 | 44641 | 44641.2917
146 | RT | Voltage Support | PGAE | Sierra | 2022-03-26 | 40 | No | DEC | 2 | 44646.7917 | 44646.875
147 | RT | Voltage Support | PGAE | Sierra | 2022-03-26 | 40 | No | INC | 13 | 44646.25 | 44646.7917
148 | RT | Voltage Support | PGAE | Sierra | 2022-03-27 | 20 | No | DEC | 3 | 44647.875 | 44648
149 | RT | Voltage Support | PGAE | Sierra | 2022-03-28 | 20 | Yes | INC | 6 | 44648 | 44648.25