## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report May 15, 2023
Chart 1: Table of Exceptional Dispatches for Period 01/March/2023 - 31/March/2023
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Conditions beyond the control of the CAISO | PGAE | Fresno | 2023-03-01 | 23 - 75 | No | INC | 3 | 44986.5382 | 44986.625
2 | RT | Conditions beyond the control of the CAISO | PGAE | Fresno | 2023-03-06 | 83 - 250 | No | INC | 3 | 44991.6597 | 44991.75
3 | RT | Conditions beyond the control of the CAISO | PGAE | Fresno | 2023-03-15 | 0 | No | INC | 1 | 45000.7014 | 45000.7431
4 | RT | Conditions beyond the control of the CAISO | PGAE | Humboldt | 2023-03-06 | 30 - 60 | No | DEC | 17 | 44991.2743 | 44991.9583
5 | RT | Conditions beyond the control of the CAISO | PGAE | Humboldt | 2023-03-06 | 30 - 60 | No | INC | 17 | 44991.309 | 44992
6 | RT | Conditions beyond the control of the CAISO | PGAE | Humboldt | 2023-03-07 | 30 - 45 | No | INC | 8 | 44992 | 44992.3229
7 | RT | Conditions beyond the control of the CAISO | PGAE | NA | 2023-03-01 | 49 - 465 | No | INC | 3 | 44986.5382 | 44986.625
8 | RT | Conditions beyond the control of the CAISO | SCE | LA Basin | 2023-03-01 | 480 | No | INC | 1 | 44986.5382 | 44986.5486
9 | RT | Conditions beyond the control of the CAISO | SCE | LA Basin | 2023-03-06 | 190 | No | INC | 4 | 44991.6667 | 44991.8333
10 | RT | Conditions beyond the control of the CAISO | SDGE | NA | 2023-03-10 | 0 | No | DEC | 1 | 44995.5243 | 44995.5625
11 | RT | Conditions beyond the control of the CAISO | NA | Bay Area | 2023-03-01 | 0 | No | INC | 3 | 44986.4757 | 44986.5625
12 | RT | Conditions beyond the control of the CAISO | NA | NA | 2023-03-01 | 0 | No | INC | 1 | 44986.5347 | 44986.5625
13 | RT | Fast Start Unit Management | PGAE | Bay Area | 2023-03-07 | 0 | No | INC | 1 | 44992.0556 | 44992.0972
14 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-03-11 | 0 | No | INC | 1 | 44996.6771 | 44996.6979
15 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-03-17 | 0 | No | INC | 1 | 45002.9028 | 45002.9444
16 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-03-24 | 0 | No | INC | 1 | 45009.3507 | 45009.3924
17 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-03-28 | 0 | No | INC | 1 | 45013.4931 | 45013.5347
18 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-03-30 | 0 | No | INC | 1 | 45015.0312 | 45015.0729
19 | RT | Incomplete or Inaccurate Transmission | PGAE | Bay Area | 2023-03-12 | 450 | No | DEC | 2 | 44997.2708 | 44997.3333
20 | RT | Incomplete or Inaccurate Transmission | PGAE | Bay Area | 2023-03-12 | 450 | No | INC | 1 | 44997.3333 | 44997.375
21 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2023-03-04 | 30 | No | INC | 13 | 44989.4861 | 44990
22 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2023-03-05 | 30 | No | DEC | 5 | 44990.7083 | 44990.9167
23 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2023-03-05 | 30 - 60 | No | INC | 24 | 44990 | 44991
24 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2023-03-06 | 30 | No | DEC | 7 | 44991 | 44991.2917
25 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2023-03-06 | 45 - 60 | No | INC | 8 | 44991 | 44991.3229
26 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2023-03-07 | 30 - 60 | No | INC | 17 | 44992.3125 | 44993
27 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2023-03-08 | 30 - 45 | No | DEC | 24 | 44993 | 44994
28 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2023-03-08 | 30 - 45 | No | INC | 19 | 44993 | 44993.7604
29 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2023-03-09 | 15 - 45 | No | DEC | 23 | 44994 | 44994.9583
30 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2023-03-09 | 30 - 45 | No | INC | 2 | 44994.9167 | 44995
31 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2023-03-10 | 15 | No | DEC | 3 | 44995.1146 | 44995.2292
32 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2023-03-10 | 30 | No | INC | 3 | 44995 | 44995.1146
33 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2023-03-28 | 30 | No | DEC | 1 | 45013.75 | 45013.7812
34 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2023-03-28 | 30 | No | INC | 1 | 45013.7292 | 45013.75
35 | RT | Incomplete or Inaccurate Transmission | PGAE | Stockton | 2023-03-20 | 60 | No | DEC | 4 | 45005.5278 | 45005.6771
36 | RT | Incomplete or Inaccurate Transmission | SDGE | San Diego-IV | 2023-03-29 | 15 | No | DEC | 3 | 45014.559 | 45014.6667
37 | RT | Incomplete or Inaccurate Transmission | SDGE | San Diego-IV | 2023-03-29 | 15 | No | INC | 2 | 45014.6667 | 45014.75
38 | RT | Load Forecast Uncertainty | PGAE | Fresno | 2023-03-09 | 83 - 407 | No | INC | 4 | 44994.6146 | 44994.75
39 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2023-03-01 | 0 | No | INC | 1 | 44986.5521 | 44986.5729
40 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2023-03-04 | 225 | No | INC | 12 | 44989.3333 | 44989.8333
41 | RT | Market Disruption | PGAE | Fresno | 2023-03-07 | 83 - 150 | No | INC | 1 | 44992.0972 | 44992.125
42 | RT | Other Reliability Requirement | PGAE | Humboldt | 2023-03-09 | 45 - 60 | No | INC | 3 | 44994.8785 | 44995
43 | RT | Other Reliability Requirement | PGAE | Humboldt | 2023-03-10 | 15 | No | DEC | 2 | 44995.2188 | 44995.2778
44 | RT | Other Reliability Requirement | PGAE | Humboldt | 2023-03-10 | 30 - 75 | No | INC | 11 | 44995 | 44995.4271
45 | RT | Other Reliability Requirement | SCE | LA Basin | 2023-03-04 | 98 | No | INC | 1 | 44989.6007 | 44989.625
46 | RT | Other Reliability Requirement | SCE | LA Basin | 2023-03-07 | 46 | No | INC | 2 | 44992.1007 | 44992.1458
47 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-03-30 | 80 | No | DEC | 1 | 45015.7917 | 45015.8333
48 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-03-30 | 80 | No | INC | 6 | 45015.5556 | 45015.7917
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-01 | 30 - 60 | No | INC | 15 | 44986 | 44986.6042
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-15 | 15 | No | DEC | 3 | 45000.8958 | 45001
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-15 | 15 | No | INC | 17 | 45000.3056 | 45001
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-16 | 15 - 30 | No | DEC | 24 | 45001 | 45002
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-16 | 15 - 30 | No | INC | 24 | 45001 | 45001.9688
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-17 | 15 | No | DEC | 24 | 45002 | 45003
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-17 | 15 | No | INC | 21 | 45002 | 45002.875
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-18 | 15 - 30 | No | DEC | 20 | 45003 | 45003.8333
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-18 | 30 | No | INC | 17 | 45003.2917 | 45004
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-19 | 30 | No | INC | 7 | 45004 | 45004.2812
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-20 | 15 - 45 | No | DEC | 4 | 45005.75 | 45005.9062
60 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-20 | 15 - 45 | No | INC | 13 | 45005.2118 | 45005.75
61 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-21 | 15 - 30 | No | DEC | 6 | 45006.7083 | 45006.9583
62 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-21 | 15 - 30 | No | INC | 16 | 45006.3715 | 45007
63 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-22 | 15 - 30 | No | DEC | 21 | 45007.125 | 45008
64 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-22 | 15 - 30 | No | INC | 24 | 45007 | 45008
65 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-23 | 15 | No | DEC | 24 | 45008 | 45009
66 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-23 | 15 - 30 | No | INC | 24 | 45008 | 45009
67 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-24 | 15 | No | DEC | 6 | 45009 | 45009.2431
68 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-24 | 30 | No | INC | 19 | 45009.2431 | 45010
69 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-25 | 15 | No | DEC | 21 | 45010.1562 | 45011
70 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-25 | 15 - 30 | No | INC | 18 | 45010 | 45010.75
71 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-26 | 15 | No | DEC | 19 | 45011 | 45011.7917
72 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-26 | 15 | No | INC | 9 | 45011.375 | 45011.75
73 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-03-30 | 15 | No | DEC | 1 | 45015.8993 | 45015.9028
74 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-03-02 | 20 | No | INC | 11 | 44987.4271 | 44987.8854
75 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-03-07 | 50 | No | INC | 1 | 44992.3889 | 44992.4271
76 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-03-08 | 45 - 47 | No | INC | 12 | 44993.3333 | 44993.8333
77 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-03-13 | 20 | No | INC | 17 | 44998.3229 | 44999
78 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-03-14 | 20 | No | DEC | 2 | 44999.875 | 44999.9583
79 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-03-14 | 20 | No | INC | 24 | 44999 | 45000
80 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-03-15 | 20 | No | DEC | 1 | 45000.875 | 45000.9167
81 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-03-15 | 20 | No | INC | 24 | 45000 | 45001
82 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-03-16 | 20 | Yes | DEC | 1 | 45001.2083 | 45001.25
83 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-03-16 | 20 | Yes | INC | 8 | 45001 | 45001.3125
84 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-03-28 | 21 - 70 | No | DEC | 13 | 45013.4861 | 45014
85 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-03-29 | 21 | No | DEC | 8 | 45014 | 45014.3021
86 | RT | Planned Transmission Outage | PGAE | NA | 2023-03-02 | 0 | No | DEC | 1 | 44987.316 | 44987.3264
87 | RT | Planned Transmission Outage | PGAE | NA | 2023-03-08 | 100 | No | DEC | 2 | 44993.559 | 44993.625
88 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2023-03-13 | 60 | No | DEC | 1 | 44998.5 | 44998.5417
89 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2023-03-13 | 60 - 70 | Yes | INC | 6 | 44998.3438 | 44998.5833
90 | RT | Planned Transmission Outage | SCE | LA Basin | 2023-03-15 | 133 - 140 | No | INC | 7 | 45000.4167 | 45000.7083
91 | RT | Planned Transmission Outage | SCE | LA Basin | 2023-03-27 | 46 | No | INC | 17 | 45012.2917 | 45013
92 | RT | Planned Transmission Outage | SCE | LA Basin | 2023-03-28 | 46 | Yes | DEC | 2 | 45013.25 | 45013.3333
93 | RT | Planned Transmission Outage | SCE | LA Basin | 2023-03-28 | 46 | Yes | INC | 15 | 45013 | 45013.5938
94 | RT | Planned Transmission Outage | SCE | NA | 2023-03-20 | 200 | No | DEC | 1 | 45005.2917 | 45005.3333
95 | RT | Planned Transmission Outage | SCE | NA | 2023-03-21 | 200 | No | DEC | 1 | 45006.2917 | 45006.3333
96 | RT | Planned Transmission Outage | SCE | NA | 2023-03-30 | 125 | No | DEC | 1 | 45015.3507 | 45015.375
97 | RT | Planned Transmission Outage | SCE | NA | 2023-03-30 | 0 - 125 | No | INC | 6 | 45015.375 | 45015.6042
98 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-03-07 | 39 - 45 | No | INC | 15 | 44992.3368 | 44992.9583
99 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-03-08 | 37 | No | INC | 13 | 44993.2917 | 44993.8333
100 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-03-13 | 37 | No | INC | 6 | 44998.3646 | 44998.6042
101 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-03-24 | 37 | No | INC | 10 | 45009.3785 | 45009.7917
102 | RT | Ramping Capacity | PGAE | Fresno | 2023-03-01 | 23 | No | INC | 3 | 44986.6076 | 44986.7083
103 | RT | Ramping Capacity | PGAE | NA | 2023-03-01 | 49 | No | INC | 3 | 44986.6076 | 44986.7083
104 | RT | Reliability Assessment | PGAE | Bay Area | 2023-03-12 | 450 | No | DEC | 2 | 44997.25 | 44997.3333
105 | RT | Reliability Assessment | PGAE | Bay Area | 2023-03-12 | 450 - 550 | No | INC | 8 | 44997.3333 | 44997.6667
106 | RT | Reliability Assessment | PGAE | Fresno | 2023-03-21 | 45056 | No | INC | 8 | 45006.4722 | 45006.7917
107 | RT | Reliability Assessment | PGAE | Fresno | 2023-03-23 | 10 | No | DEC | 1 | 45008.5104 | 45008.5521
108 | RT | Reliability Assessment | PGAE | Humboldt | 2023-03-20 | 15 - 30 | No | DEC | 3 | 45005.8924 | 45006
109 | RT | Reliability Assessment | PGAE | Humboldt | 2023-03-20 | 15 | No | INC | 1 | 45005.9583 | 45006
110 | RT | Reliability Assessment | PGAE | Humboldt | 2023-03-21 | 30 | No | DEC | 1 | 45006 | 45006.0417
111 | RT | Reliability Assessment | PGAE | Humboldt | 2023-03-21 | 15 - 30 | No | INC | 14 | 45006 | 45006.5521
112 | RT | Reliability Assessment | PGAE | Humboldt | 2023-03-24 | 15 | No | INC | 16 | 45009.3542 | 45010
113 | RT | Reliability Assessment | PGAE | Humboldt | 2023-03-25 | 15 | No | INC | 4 | 45010 | 45010.1562
114 | RT | Reliability Assessment | PGAE | Humboldt | 2023-03-28 | 30 | No | DEC | 6 | 45013.7639 | 45014
115 | RT | Reliability Assessment | PGAE | Humboldt | 2023-03-29 | 30 | No | DEC | 6 | 45014.7083 | 45014.9583
116 | RT | Reliability Assessment | PGAE | Humboldt | 2023-03-29 | 30 | No | INC | 24 | 45014 | 45015
117 | RT | Reliability Assessment | PGAE | Humboldt | 2023-03-30 | 15 - 30 | No | DEC | 19 | 45015.2083 | 45016
118 | RT | Reliability Assessment | PGAE | Humboldt | 2023-03-30 | 30 | No | INC | 24 | 45015 | 45016
119 | RT | Reliability Assessment | PGAE | Sierra | 2023-03-14 | 50 - 70 | No | DEC | 12 | 44999.5382 | 45000
120 | RT | Reliability Assessment | PGAE | Sierra | 2023-03-14 | 20 - 33 | No | INC | 6 | 44999.5451 | 44999.7917
121 | RT | Reliability Assessment | PGAE | Sierra | 2023-03-15 | 50 | No | DEC | 16 | 45000 | 45000.6667
122 | RT | Reliability Assessment | SCE | LA Basin | 2023-03-28 | 0 | No | INC | 1 | 45013.5347 | 45013.5764
123 | RT | Reliability Assessment | NA | NA | 2023-03-29 | 10 | No | INC | 4 | 45014.8438 | 45015
124 | RT | Reliability Assessment | NA | NA | 2023-03-30 | 10 | No | INC | 24 | 45015 | 45016
125 | RT | Software Limitation | PGAE | Bay Area | 2023-03-12 | 0 | No | INC | 2 | 44997.9097 | 44997.9722
126 | RT | Software Limitation | PGAE | NA | 2023-03-07 | 0 | No | INC | 2 | 44992.1424 | 44992.2118
127 | RT | Software Limitation | SCE | LA Basin | 2023-03-13 | 0 | No | INC | 6 | 44998.75 | 44999
128 | RT | Software Limitation | SCE | LA Basin | 2023-03-14 | 0 | No | INC | 12 | 44999 | 44999.4618
129 | RT | Software Limitation | SDGE | San Diego-IV | 2023-03-07 | 0 | No | DEC | 2 | 44992.2604 | 44992.3333
130 | RT | Software Limitation | SDGE | San Diego-IV | 2023-03-07 | 0 | No | INC | 6 | 44992.2292 | 44992.4688
131 | RT | Software Limitation | NA | NA | 2023-03-28 | 10 | No | INC | 2 | 45013.9514 | 45014
132 | RT | Software Limitation | NA | NA | 2023-03-29 | 10 | No | INC | 21 | 45014 | 45014.8438
133 | RT | Unit Testing | PGAE | Bay Area | 2023-03-04 | 191.9 | No | INC | 1 | 44989.7188 | 44989.75
134 | RT | Unit Testing | PGAE | Fresno | 2023-03-03 | -305 | No | DEC | 2 | 44988.316 | 44988.375
135 | RT | Unit Testing | SCE | Big Creek-Ventura | 2023-03-01 | 4.53 | No | DEC | 1 | 44986.2639 | 44986.2917
136 | RT | Unit Testing | SCE | Big Creek-Ventura | 2023-03-02 | 30 | No | INC | 1 | 44987.9965 | 44988
137 | RT | Unit Testing | SCE | Big Creek-Ventura | 2023-03-23 | 0 | No | DEC | 1 | 45008.4375 | 45008.4792
138 | RT | Unit Testing | SCE | LA Basin | 2023-03-07 | 133 | No | INC | 2 | 44992.5417 | 44992.625
139 | RT | Unit Testing | SCE | LA Basin | 2023-03-11 | 5 | No | INC | 1 | 44996.5556 | 44996.5868
140 | RT | Unit Testing | SCE | NA | 2023-03-07 | 2 | No | DEC | 1 | 44992.5729 | 44992.5938
141 | RT | Unit Testing | SCE | NA | 2023-03-22 | 78 | No | INC | 1 | 45007.6493 | 45007.6771
142 | RT | Unplanned Outage | PGAE | Humboldt | 2023-03-11 | 30 - 60 | No | INC | 2 | 44996.7396 | 44996.8229
143 | RT | Unplanned Outage | PGAE | Humboldt | 2023-03-27 | 30 | No | DEC | 5 | 45012.7917 | 45012.9653
144 | RT | Unplanned Outage | PGAE | Humboldt | 2023-03-27 | 60 | No | INC | 1 | 45012.9653 | 45013
145 | RT | Unplanned Outage | PGAE | Humboldt | 2023-03-28 | 45 | No | DEC | 1 | 45013.3125 | 45013.3333
146 | RT | Unplanned Outage | PGAE | Humboldt | 2023-03-28 | 30 - 60 | No | INC | 18 | 45013 | 45013.7292
147 | RT | Voltage Support | PGAE | Fresno | 2023-03-01 | -305 | No | DEC | 3 | 44986.0521 | 44986.1667
148 | RT | Voltage Support | PGAE | Fresno | 2023-03-01 | 83 | No | INC | 2 | 44986.1771 | 44986.25
149 | RT | Voltage Support | PGAE | Fresno | 2023-03-04 | -305 | No | DEC | 23 | 44989.0729 | 44990
150 | RT | Voltage Support | PGAE | Fresno | 2023-03-05 | -305 | No | DEC | 24 | 44990 | 44991
151 | RT | Voltage Support | PGAE | Fresno | 2023-03-06 | -305 | No | DEC | 6 | 44991 | 44991.2396
152 | RT | Voltage Support | PGAE | Fresno | 2023-03-09 | -315 | No | DEC | 3 | 44994.0938 | 44994.1875
153 | RT | Voltage Support | PGAE | Fresno | 2023-03-11 | -315 | No | DEC | 24 | 44996 | 44997
154 | RT | Voltage Support | PGAE | Fresno | 2023-03-12 | -315 | No | DEC | 23 | 44997 | 44998
155 | RT | Voltage Support | PGAE | Fresno | 2023-03-13 | -15 | No | DEC | 24 | 44998 | 44999
156 | RT | Voltage Support | PGAE | Fresno | 2023-03-14 | -330 | No | DEC | 7 | 44999 | 44999.2812
157 | RT | Voltage Support | PGAE | Fresno | 2023-03-15 | -10 | No | DEC | 24 | 45000 | 45001
158 | RT | Voltage Support | PGAE | Fresno | 2023-03-16 | -320 | No | DEC | 5 | 45001 | 45001.2083
159 | RT | Voltage Support | PGAE | Fresno | 2023-03-16 | 83 | Yes | INC | 1 | 45001.2188 | 45001.25
160 | RT | Voltage Support | PGAE | Fresno | 2023-03-18 | 83 | No | INC | 23 | 45003.0417 | 45004
161 | RT | Voltage Support | PGAE | Fresno | 2023-03-19 | 83 | No | INC | 24 | 45004 | 45005
162 | RT | Voltage Support | PGAE | Fresno | 2023-03-20 | 83 | Yes | INC | 24 | 45005 | 45006
163 | RT | Voltage Support | PGAE | Fresno | 2023-03-21 | 83 | No | INC | 24 | 45006 | 45007
164 | RT | Voltage Support | PGAE | Fresno | 2023-03-22 | 83 | No | INC | 6 | 45007 | 45007.2292
165 | RT | Voltage Support | PGAE | Fresno | 2023-03-23 | 83 | Yes | INC | 24 | 45008 | 45009
166 | RT | Voltage Support | PGAE | Fresno | 2023-03-24 | 83 | No | DEC | 1 | 45009.9896 | 45010
167 | RT | Voltage Support | PGAE | Fresno | 2023-03-24 | 83 | Yes | INC | 5 | 45009 | 45009.2083
168 | RT | Voltage Support | PGAE | Fresno | 2023-03-25 | -392 | No | DEC | 24 | 45010 | 45011
169 | RT | Voltage Support | PGAE | Fresno | 2023-03-25 | 83 | Yes | INC | 6 | 45010 | 45010.25
170 | RT | Voltage Support | PGAE | Fresno | 2023-03-26 | -309 | No | DEC | 9 | 45011 | 45011.375
171 | RT | Voltage Support | PGAE | Fresno | 2023-03-26 | 83 | No | INC | 3 | 45011.8958 | 45012
172 | RT | Voltage Support | PGAE | Fresno | 2023-03-27 | 83 | No | DEC | 1 | 45012.9965 | 45013
173 | RT | Voltage Support | PGAE | Fresno | 2023-03-27 | 83 | No | INC | 5 | 45012 | 45012.2083
174 | RT | Voltage Support | PGAE | Fresno | 2023-03-28 | 83 | No | INC | 24 | 45013 | 45014
175 | RT | Voltage Support | PGAE | Fresno | 2023-03-29 | -309 | No | DEC | 2 | 45014.9514 | 45015
176 | RT | Voltage Support | PGAE | Fresno | 2023-03-29 | 83 | Yes | INC | 7 | 45014 | 45014.2917
177 | RT | Voltage Support | PGAE | Fresno | 2023-03-30 | -4 | No | DEC | 24 | 45015 | 45016
178 | RT | Voltage Support | PGAE | Humboldt | 2023-03-01 | 30 | No | DEC | 4 | 44986.7083 | 44986.875
179 | RT | Voltage Support | PGAE | Humboldt | 2023-03-01 | 30 | No | INC | 10 | 44986.6042 | 44987
180 | RT | Voltage Support | PGAE | Humboldt | 2023-03-02 | 15 - 30 | No | INC | 24 | 44987 | 44988
181 | RT | Voltage Support | PGAE | Humboldt | 2023-03-03 | 15 | No | DEC | 4 | 44988.7083 | 44988.875
182 | RT | Voltage Support | PGAE | Humboldt | 2023-03-03 | 15 - 60 | No | INC | 24 | 44988 | 44989
183 | RT | Voltage Support | PGAE | Humboldt | 2023-03-04 | 15 - 60 | No | DEC | 7 | 44989 | 44989.2917
184 | RT | Voltage Support | PGAE | Humboldt | 2023-03-04 | 15 - 60 | No | INC | 24 | 44989 | 44990
185 | RT | Voltage Support | PGAE | Humboldt | 2023-03-05 | 45 - 60 | No | INC | 22 | 44990 | 44990.9167
186 | RT | Voltage Support | PGAE | Humboldt | 2023-03-11 | 15 - 30 | No | INC | 5 | 44996.8125 | 44997
187 | RT | Voltage Support | PGAE | Humboldt | 2023-03-12 | 15 | No | DEC | 7 | 44997.625 | 44997.9167
188 | RT | Voltage Support | PGAE | Humboldt | 2023-03-12 | 15 - 30 | No | INC | 23 | 44997 | 44998
189 | RT | Voltage Support | PGAE | Humboldt | 2023-03-13 | 30 | No | DEC | 18 | 44998.2083 | 44998.9583
190 | RT | Voltage Support | PGAE | Humboldt | 2023-03-13 | 30 - 45 | No | INC | 23 | 44998.0625 | 44999
191 | RT | Voltage Support | PGAE | Humboldt | 2023-03-14 | 30 | No | DEC | 23 | 44999 | 44999.9583
192 | RT | Voltage Support | PGAE | Humboldt | 2023-03-14 | 30 | No | INC | 1 | 44999.9583 | 45000
193 | RT | Voltage Support | PGAE | Humboldt | 2023-03-15 | 30 | No | DEC | 17 | 45000.2083 | 45000.8958
194 | RT | Voltage Support | PGAE | Humboldt | 2023-03-15 | 30 | No | INC | 17 | 45000 | 45000.7083
195 | RT | Voltage Support | PGAE | Humboldt | 2023-03-19 | 15 - 30 | No | DEC | 9 | 45004.5833 | 45004.9583
196 | RT | Voltage Support | PGAE | Humboldt | 2023-03-19 | 15 - 30 | No | INC | 18 | 45004.2812 | 45005
197 | RT | Voltage Support | PGAE | Humboldt | 2023-03-20 | 15 | No | DEC | 4 | 45005.0521 | 45005.2118
198 | RT | Voltage Support | PGAE | Humboldt | 2023-03-20 | 30 | No | INC | 2 | 45005 | 45005.0521
199 | RT | Voltage Support | PGAE | Humboldt | 2023-03-26 | 15 | No | DEC | 5 | 45011.7917 | 45012
200 | RT | Voltage Support | PGAE | Humboldt | 2023-03-27 | 15 - 30 | No | DEC | 20 | 45012 | 45012.8021
201 | RT | Voltage Support | PGAE | Humboldt | 2023-03-27 | 30 | No | INC | 9 | 45012.3819 | 45012.75
202 | RT | Voltage Support | PGAE | Sierra | 2023-03-01 | 20 | No | INC | 6 | 44986.0521 | 44986.2917
203 | RT | Voltage Support | PGAE | Sierra | 2023-03-30 | 20 | No | INC | 8 | 45015.5938 | 45015.9167
204 | RT | Voltage Support | SDGE | San Diego-IV | 2023-03-27 | 21 | No | INC | 7 | 45012.4722 | 45012.7396