## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report July 15, 2022
Chart 1: Table of Exceptional Dispatches for Period 01/May/2022 - 31/May/2022
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Bridging Schedules | PGAE | Fresno | 2022-05-23 | 10 | No | INC | 1 | 44704.7292 | 44704.7396
2 | RT | Conditions beyond the control of the CAISO | SCE | Big Creek-Ventura | 2022-05-20 | 0 | No | INC | 2 | 44701.5035 | 44701.5625
3 | RT | Fast Start Unit Management | PGAE | Bay Area | 2022-05-11 | 0 | No | INC | 2 | 44692.5104 | 44692.5556
4 | RT | Fast Start Unit Management | PGAE | Sierra | 2022-05-06 | 20 | No | DEC | 4 | 44687.75 | 44687.9167
5 | RT | Fast Start Unit Management | PGAE | Sierra | 2022-05-06 | 20 | No | INC | 15 | 44687.3229 | 44687.9167
6 | RT | Incomplete or Inaccurate Transmission | PGAE | Bay Area | 2022-05-15 | 450 - 500 | No | DEC | 4 | 44696.8403 | 44697
7 | RT | Incomplete or Inaccurate Transmission | PGAE | Bay Area | 2022-05-16 | 475 | No | DEC | 6 | 44697.7812 | 44698
8 | RT | Incomplete or Inaccurate Transmission | PGAE | Bay Area | 2022-05-16 | 460 | No | INC | 3 | 44697 | 44697.125
9 | RT | Incomplete or Inaccurate Transmission | PGAE | Bay Area | 2022-05-17 | 475 | No | DEC | 5 | 44698.7812 | 44698.9583
10 | RT | Incomplete or Inaccurate Transmission | PGAE | Bay Area | 2022-05-17 | 425 - 475 | No | INC | 24 | 44698 | 44699
11 | RT | Incomplete or Inaccurate Transmission | PGAE | Bay Area | 2022-05-18 | 425 | No | INC | 1 | 44699 | 44699.0417
12 | RT | Incomplete or Inaccurate Transmission | PGAE | Fresno | 2022-05-14 | 10 - 20 | No | DEC | 1 | 44695.6979 | 44695.7188
13 | RT | Incomplete or Inaccurate Transmission | PGAE | Kern | 2022-05-30 | 47 | No | INC | 4 | 44711.8646 | 44712
14 | RT | Load Forecast Uncertainty | PGAE | NA | 2022-05-26 | 62 | No | INC | 24 | 44707 | 44708
15 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-05-25 | 20 | No | INC | 9 | 44706.625 | 44707
16 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-05-26 | 20 | No | INC | 24 | 44707 | 44708
17 | RT | Market Disruption | SCE | LA Basin | 2022-05-02 | 96 | No | DEC | 1 | 44683.7917 | 44683.8125
18 | RT | Market Disruption | SCE | LA Basin | 2022-05-02 | 95 - 96 | No | INC | 2 | 44683.7778 | 44683.8333
19 | RT | Other Reliability Requirement | PGAE | Sierra | 2022-05-06 | 39 | No | DEC | 1 | 44687.2743 | 44687.3021
20 | RT | Other Reliability Requirement | PGAE | NA | 2022-05-15 | 165 | No | INC | 1 | 44696.441 | 44696.4514
21 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2022-05-15 | 550 | No | INC | 1 | 44696.441 | 44696.4514
22 | RT | Other Reliability Requirement | SCE | LA Basin | 2022-05-15 | 95 - 100 | No | INC | 2 | 44696.4444 | 44696.5
23 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-05-15 | 48 - 300 | No | INC | 2 | 44696.4444 | 44696.5
24 | RT | Planned Transmission Outage | Intertie | NA | 2022-05-12 | 0 | No | DEC | 2 | 44693.3472 | 44693.4167
25 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-05-21 | 55 | No | INC | 2 | 44702.6944 | 44702.7604
26 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-05-23 | 15 | No | INC | 8 | 44704.4722 | 44704.7917
27 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-05-24 | 15 | No | INC | 10 | 44705.375 | 44705.7917
28 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-05-25 | 15 | No | INC | 12 | 44706.3472 | 44706.8333
29 | RT | Planned Transmission Outage | PGAE | Fresno | 2022-05-14 | 20 | No | DEC | 1 | 44695.6979 | 44695.7049
30 | RT | Planned Transmission Outage | PGAE | Fresno | 2022-05-19 | 200 | No | INC | 1 | 44700.9826 | 44701
31 | RT | Planned Transmission Outage | PGAE | Fresno | 2022-05-20 | 200 | No | INC | 3 | 44701 | 44701.1042
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-01 | 15 | No | DEC | 24 | 44682 | 44683
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-01 | 15 | No | INC | 24 | 44682 | 44682.9896
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-02 | 15 | No | DEC | 7 | 44683 | 44683.2708
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-02 | 15 - 30 | No | INC | 18 | 44683.25 | 44684
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-03 | 15 - 30 | No | DEC | 6 | 44684.75 | 44685
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-03 | 15 - 30 | No | INC | 24 | 44684 | 44685
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-04 | 15 | No | DEC | 24 | 44685 | 44686
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-04 | 15 | No | INC | 10 | 44685 | 44685.4167
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-05 | 15 - 30 | No | DEC | 24 | 44686 | 44687
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-05 | 30 | No | INC | 11 | 44686.3056 | 44686.75
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-06 | 15 | No | DEC | 24 | 44687 | 44688
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-06 | 15 | No | INC | 17 | 44687.309 | 44688
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-07 | 15 | No | DEC | 23 | 44688 | 44688.9583
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-07 | 15 | No | INC | 24 | 44688 | 44689
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-08 | 15 | No | DEC | 7 | 44689.7083 | 44690
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-08 | 15 | No | INC | 24 | 44689 | 44690
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-09 | 15 | No | DEC | 6 | 44690 | 44690.2257
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-09 | 15 - 45 | No | INC | 24 | 44690 | 44691
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-10 | 45 | No | INC | 24 | 44691 | 44692
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-11 | 30 - 45 | No | INC | 24 | 44692 | 44693
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-12 | 15 | No | DEC | 17 | 44693.3125 | 44694
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-12 | 15 - 30 | No | INC | 24 | 44693 | 44694
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-13 | 15 - 30 | No | DEC | 23 | 44694 | 44694.9583
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-13 | 15 - 30 | No | INC | 24 | 44694 | 44695
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-14 | 30 | No | DEC | 6 | 44695.7083 | 44695.9583
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-14 | 30 | No | INC | 24 | 44695 | 44696
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-15 | 15 | No | DEC | 2 | 44696.9167 | 44697
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-15 | 30 | No | INC | 22 | 44696 | 44696.9167
60 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-16 | 15 - 28 | No | DEC | 23 | 44697 | 44697.9583
61 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-16 | 16 - 28 | No | INC | 17 | 44697.309 | 44698
62 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-17 | 14 - 32 | No | DEC | 19 | 44698.125 | 44698.9167
63 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-17 | 14 - 45 | No | INC | 24 | 44698 | 44699
64 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-18 | 32 - 45 | No | DEC | 3 | 44699.75 | 44699.875
65 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-18 | 16 - 60 | No | INC | 24 | 44699 | 44700
66 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-19 | 30 - 32 | No | INC | 24 | 44700 | 44701
67 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-20 | 15 - 32 | No | DEC | 6 | 44701.75 | 44702
68 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-20 | 30 - 32 | No | INC | 19 | 44701 | 44701.7917
69 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-21 | 32 | No | DEC | 7 | 44702 | 44702.2917
70 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-21 | 15 - 48 | No | INC | 14 | 44702 | 44702.5833
71 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-22 | 15 - 28 | No | DEC | 17 | 44703.309 | 44704
72 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-22 | 28 - 30 | No | INC | 17 | 44703.3299 | 44704
73 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-23 | 14 - 30 | No | DEC | 21 | 44704.0833 | 44704.9583
74 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-23 | 14 - 30 | No | INC | 24 | 44704 | 44705
75 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-24 | 28 | No | DEC | 4 | 44705.6667 | 44705.8333
76 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-24 | 14 - 28 | No | INC | 24 | 44705 | 44706
77 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-25 | 14 - 45 | No | DEC | 18 | 44706.1875 | 44706.9167
78 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-25 | 28 - 45 | No | INC | 24 | 44706 | 44707
79 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-26 | 14 - 28 | No | DEC | 18 | 44707.1875 | 44707.9167
80 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-26 | 28 - 42 | No | INC | 24 | 44707 | 44708
81 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-27 | 14 | No | DEC | 5 | 44708.125 | 44708.309
82 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-27 | 28 - 30 | No | INC | 24 | 44708 | 44709
83 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-28 | 15 | No | DEC | 1 | 44709.9792 | 44710
84 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-28 | 15 - 30 | No | INC | 24 | 44709 | 44710
85 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-29 | 15 | No | DEC | 24 | 44710 | 44711
86 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-29 | 14 - 30 | No | INC | 24 | 44710 | 44711
87 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-30 | 15 | No | DEC | 24 | 44711 | 44712
88 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-30 | 15 - 30 | No | INC | 24 | 44711 | 44712
89 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-31 | 15 - 30 | No | DEC | 22 | 44712 | 44712.9167
90 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-31 | 15 - 30 | No | INC | 24 | 44712 | 44713
91 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-05-17 | 12 - 19 | No | DEC | 1 | 44698.7847 | 44698.8229
92 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-05-19 | 20 | No | INC | 13 | 44700.3194 | 44700.8333
93 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-03 | 45 | No | DEC | 1 | 44684.9965 | 44685
94 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-04 | 45 | No | DEC | 3 | 44685.2083 | 44685.3333
95 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-04 | 45 | No | INC | 10 | 44685 | 44685.4167
96 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-05 | 45 | No | DEC | 5 | 44686.625 | 44686.8056
97 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-05 | 45 - 80 | No | INC | 10 | 44686.4688 | 44686.875
98 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-06 | 52 | No | DEC | 4 | 44687.7083 | 44687.875
99 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-06 | 50 - 55 | No | INC | 8 | 44687.4132 | 44687.7083
100 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-07 | 14 - 65 | No | DEC | 10 | 44688.4861 | 44688.8819
101 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-07 | 5 - 75 | No | INC | 15 | 44688.3819 | 44689
102 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-08 | 0 - 72 | No | DEC | 22 | 44689 | 44689.9167
103 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-08 | 50 - 70 | No | INC | 18 | 44689.0833 | 44689.8333
104 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-12 | 75 | No | INC | 8 | 44693.6042 | 44693.9167
105 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-13 | 55 | No | DEC | 1 | 44694.9792 | 44695
106 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-14 | 55 - 65 | No | DEC | 1 | 44695.2083 | 44695.25
107 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-14 | 55 | No | INC | 5 | 44695 | 44695.2083
108 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-16 | 48 | No | DEC | 1 | 44697.7986 | 44697.8333
109 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-16 | 48 | No | INC | 4 | 44697.8333 | 44698
110 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-17 | 48 | No | INC | 2 | 44698 | 44698.0625
111 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-19 | 50 | No | DEC | 6 | 44700.7083 | 44700.9583
112 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-19 | 50 | No | INC | 1 | 44700.7014 | 44700.7083
113 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-20 | 44 | No | DEC | 5 | 44701.7083 | 44701.9167
114 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-20 | 44 | No | INC | 6 | 44701.4618 | 44701.7083
115 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-21 | 50 | No | DEC | 3 | 44702.7083 | 44702.8021
116 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-21 | 50 | No | INC | 9 | 44702.3403 | 44702.7083
117 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-23 | 60 | No | DEC | 3 | 44704.6667 | 44704.7917
118 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-23 | 5 - 60 | No | INC | 9 | 44704.2951 | 44704.6667
119 | RT | Planned Transmission Outage | SCE | NA | 2022-05-03 | 240 | No | DEC | 1 | 44684.5 | 44684.5417
120 | RT | Planned Transmission Outage | SCE | NA | 2022-05-06 | 0.5 | No | DEC | 1 | 44687.5208 | 44687.5417
121 | RT | Planned Transmission Outage | SCE | NA | 2022-05-06 | 0.5 | No | INC | 1 | 44687.5208 | 44687.5417
122 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-05-03 | 110 - 316.5 | No | INC | 12 | 44684.2465 | 44684.7292
123 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-05-04 | 106 - 316 | No | INC | 13 | 44685.25 | 44685.7708
124 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-05-05 | 110 | No | DEC | 1 | 44686.7917 | 44686.8125
125 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-05-05 | 110 - 316 | No | INC | 13 | 44686.25 | 44686.7917
126 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-05-12 | 24 - 300 | No | INC | 13 | 44693.3438 | 44693.875
127 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-05-13 | 310 | No | INC | 8 | 44694.3333 | 44694.6667
128 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-05-14 | 50 - 310 | No | INC | 12 | 44695.2917 | 44695.7917
129 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-05-15 | 100 - 520 | No | INC | 4 | 44696.3542 | 44696.5
130 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-05-31 | 24 | No | INC | 10 | 44712.4167 | 44712.8333
131 | RT | Pump Management | PGAE | Fresno | 2022-05-29 | -325 | No | INC | 1 | 44710.2708 | 44710.3125
132 | RT | Ramping Capacity | PGAE | Fresno | 2022-05-27 | 0 | No | INC | 1 | 44708.7188 | 44708.7604
133 | RT | Ramping Capacity | SCE | LA Basin | 2022-05-24 | 65 | No | INC | 1 | 44705.8125 | 44705.8542
134 | RT | Ramping Capacity | SCE | LA Basin | 2022-05-25 | 194 | No | DEC | 3 | 44706.75 | 44706.875
135 | RT | Ramping Capacity | SCE | LA Basin | 2022-05-25 | 190 - 194 | No | INC | 6 | 44706.6667 | 44706.9167
136 | RT | Reliability Assessment | Intertie | NA | 2022-05-21 | 30 | No | DEC | 1 | 44702.3611 | 44702.3958
137 | RT | Reliability Assessment | PGAE | Bay Area | 2022-05-25 | 15 | No | INC | 1 | 44706.3403 | 44706.3472
138 | RT | Reliability Assessment | PGAE | Fresno | 2022-05-11 | 60 - 70 | No | DEC | 4 | 44692.8125 | 44692.9583
139 | RT | Reliability Assessment | PGAE | Fresno | 2022-05-12 | 70 | No | DEC | 3 | 44693.8021 | 44693.9167
140 | RT | Reliability Assessment | PGAE | Fresno | 2022-05-13 | 0 | No | DEC | 2 | 44694.6944 | 44694.75
141 | RT | Reliability Assessment | PGAE | Fresno | 2022-05-14 | 10 - 20 | No | DEC | 3 | 44695.7049 | 44695.7917
142 | RT | Reliability Assessment | PGAE | Fresno | 2022-05-14 | 10 | No | INC | 1 | 44695.75 | 44695.7917
143 | RT | Reliability Assessment | PGAE | Fresno | 2022-05-24 | 6 | No | DEC | 1 | 44705.4583 | 44705.5
144 | RT | Reliability Assessment | PGAE | Fresno | 2022-05-31 | 0 | No | INC | 8 | 44712.3958 | 44712.7083
145 | RT | Reliability Assessment | PGAE | Humboldt | 2022-05-21 | 32 | No | DEC | 4 | 44702.75 | 44702.9167
146 | RT | Reliability Assessment | PGAE | Humboldt | 2022-05-21 | 32 - 48 | No | INC | 12 | 44702.5069 | 44703
147 | RT | Reliability Assessment | PGAE | Humboldt | 2022-05-22 | 14 | No | DEC | 5 | 44703.7083 | 44703.9062
148 | RT | Reliability Assessment | PGAE | Humboldt | 2022-05-22 | 14 | No | INC | 17 | 44703 | 44703.7083
149 | RT | Reliability Assessment | PGAE | Kern | 2022-05-06 | 32 | No | INC | 4 | 44687.8403 | 44688
150 | RT | Reliability Assessment | PGAE | Kern | 2022-05-07 | 20 - 32 | Yes | INC | 5 | 44688.7083 | 44688.9167
151 | RT | Reliability Assessment | PGAE | Kern | 2022-05-13 | 20 - 32 | No | INC | 5 | 44694.75 | 44694.9583
152 | RT | Reliability Assessment | PGAE | Kern | 2022-05-14 | 20 - 49 | No | INC | 6 | 44695.75 | 44696
153 | RT | Reliability Assessment | PGAE | Kern | 2022-05-16 | 32 | No | INC | 7 | 44697.7396 | 44698
154 | RT | Reliability Assessment | PGAE | Kern | 2022-05-17 | 32 - 47 | Yes | INC | 24 | 44698 | 44699
155 | RT | Reliability Assessment | PGAE | Kern | 2022-05-18 | 20 - 32 | No | DEC | 4 | 44699.75 | 44699.9167
156 | RT | Reliability Assessment | PGAE | Kern | 2022-05-18 | 20 - 47 | No | INC | 24 | 44699 | 44700
157 | RT | Reliability Assessment | PGAE | Kern | 2022-05-19 | 20 - 47 | No | INC | 24 | 44700 | 44701
158 | RT | Reliability Assessment | PGAE | Kern | 2022-05-20 | 32 - 47 | Yes | INC | 3 | 44701 | 44701.125
159 | RT | Reliability Assessment | PGAE | Kern | 2022-05-21 | 32 | No | INC | 1 | 44702.9167 | 44702.9583
160 | RT | Reliability Assessment | PGAE | Kern | 2022-05-22 | 20 - 32 | No | INC | 5 | 44703.7188 | 44703.9167
161 | RT | Reliability Assessment | PGAE | Kern | 2022-05-23 | 32 - 47 | No | INC | 7 | 44704.7083 | 44705
162 | RT | Reliability Assessment | PGAE | Kern | 2022-05-24 | 47 | No | DEC | 4 | 44705.75 | 44705.9167
163 | RT | Reliability Assessment | PGAE | Kern | 2022-05-24 | 47 | No | INC | 24 | 44705 | 44706
164 | RT | Reliability Assessment | PGAE | Kern | 2022-05-25 | 32 - 47 | Yes | DEC | 5 | 44706.75 | 44706.9583
165 | RT | Reliability Assessment | PGAE | Kern | 2022-05-25 | 32 - 47 | Yes | INC | 24 | 44706 | 44707
166 | RT | Reliability Assessment | PGAE | Kern | 2022-05-26 | 32 - 47 | Yes | INC | 24 | 44707 | 44708
167 | RT | Reliability Assessment | PGAE | Kern | 2022-05-27 | 45 - 47 | No | INC | 24 | 44708 | 44709
168 | RT | Reliability Assessment | PGAE | Kern | 2022-05-28 | 32 | No | INC | 2 | 44709.9167 | 44710
169 | RT | Reliability Assessment | PGAE | Kern | 2022-05-31 | 47 | No | INC | 6 | 44712.75 | 44713
170 | RT | Reliability Assessment | PGAE | NCNB | 2022-05-28 | 50 | No | DEC | 7 | 44709.4826 | 44709.7708
171 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-01 | 14 | No | DEC | 6 | 44682.4792 | 44682.6979
172 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-01 | 50 - 55 | No | INC | 6 | 44682.4653 | 44682.7083
173 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-17 | 45 | No | DEC | 3 | 44698.7917 | 44698.9167
174 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-17 | 45 | No | INC | 5 | 44698.7569 | 44698.9583
175 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-18 | 42 - 50 | No | DEC | 17 | 44699.3125 | 44700
176 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-18 | 42 - 50 | No | INC | 4 | 44699.375 | 44699.5417
177 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-19 | 47 | No | INC | 2 | 44700 | 44700.0521
178 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-24 | 0 - 90 | No | DEC | 3 | 44705.6493 | 44705.7604
179 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-24 | 10 - 36 | No | INC | 3 | 44705.6562 | 44705.7604
180 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-26 | 25 - 55 | No | DEC | 6 | 44707.6042 | 44707.8333
181 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-26 | 15 - 25 | No | INC | 4 | 44707.6007 | 44707.75
182 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-27 | 40 | No | DEC | 2 | 44708.5035 | 44708.5833
183 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2022-05-06 | 55 | No | DEC | 2 | 44687.4583 | 44687.5104
184 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2022-05-20 | 55 - 60 | No | DEC | 5 | 44701.4618 | 44701.6667
185 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2022-05-20 | 55 | No | INC | 3 | 44701.6667 | 44701.7917
186 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-05-21 | 40 | No | DEC | 2 | 44702.3646 | 44702.4375
187 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-05-21 | 50 | No | INC | 9 | 44702.4444 | 44702.7917
188 | RT | Software Limitation | PGAE | Fresno | 2022-05-15 | 0 | No | INC | 1 | 44696.4444 | 44696.4826
189 | RT | Software Limitation | PGAE | NA | 2022-05-11 | 0 - 250 | No | DEC | 2 | 44692.6111 | 44692.6875
190 | RT | Software Limitation | SCE | LA Basin | 2022-05-13 | 0 | No | INC | 5 | 44694.2049 | 44694.375
191 | RT | Software Limitation | SCE | LA Basin | 2022-05-15 | 5 | No | INC | 1 | 44696.4444 | 44696.4826
192 | RT | Software Limitation | SCE | NA | 2022-05-11 | 0 | No | DEC | 2 | 44692.6076 | 44692.6701
193 | RT | Software Limitation | SCE | NA | 2022-05-22 | 0 | No | DEC | 1 | 44703.2743 | 44703.2882
194 | RT | Software Limitation | SCE | NA | 2022-05-22 | 0 | No | INC | 1 | 44703.2743 | 44703.2882
195 | RT | Software Limitation | SDGE | San Diego-IV | 2022-05-22 | 0 | No | INC | 1 | 44703.5521 | 44703.5625
196 | RT | Software Limitation | SDGE | NA | 2022-05-11 | 0 | No | DEC | 1 | 44692.6285 | 44692.6701
197 | RT | Unit Testing | PGAE | Bay Area | 2022-05-02 | 150 - 200 | No | INC | 5 | 44683.3924 | 44683.5833
198 | RT | Unit Testing | PGAE | Bay Area | 2022-05-21 | 157.27 | No | INC | 1 | 44702.8924 | 44702.9201
199 | RT | Unit Testing | PGAE | Fresno | 2022-05-18 | 279 | No | INC | 2 | 44699.8299 | 44699.8958
200 | RT | Unit Testing | PGAE | NA | 2022-05-13 | 495 - 496 | No | DEC | 1 | 44694.8056 | 44694.8333
201 | RT | Unit Testing | SCE | Big Creek-Ventura | 2022-05-13 | 11 | No | INC | 1 | 44694.7986 | 44694.8333
202 | RT | Unit Testing | SCE | LA Basin | 2022-05-04 | 30 | No | INC | 3 | 44685.6667 | 44685.7708
203 | RT | Unit Testing | SCE | LA Basin | 2022-05-13 | 10.82 | No | DEC | 1 | 44694.75 | 44694.7535
204 | RT | Unit Testing | SCE | LA Basin | 2022-05-13 | 10.82 | No | INC | 1 | 44694.7257 | 44694.75
205 | RT | Unit Testing | SCE | LA Basin | 2022-05-18 | -29.67 | No | INC | 1 | 44699.3646 | 44699.3958
206 | RT | Unit Testing | SCE | LA Basin | 2022-05-19 | 20 | No | INC | 1 | 44700.3472 | 44700.375
207 | RT | Unit Testing | SDGE | San Diego-IV | 2022-05-04 | 588.21 | No | INC | 1 | 44685.5833 | 44685.625
208 | RT | Voltage Support | PGAE | Sierra | 2022-05-10 | 20 | No | INC | 24 | 44691.0035 | 44692
209 | RT | Voltage Support | PGAE | Sierra | 2022-05-11 | 20 | Yes | INC | 24 | 44692 | 44693
210 | RT | Voltage Support | PGAE | Sierra | 2022-05-12 | 20 | Yes | INC | 18 | 44693 | 44693.75