## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for October 2022
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Bridging Schedules | SCE | NA | 2022-10-24 | 200 | No | DEC | 1 | 44858.6667 | 44858.7083 | 11.1864 | -0.002 | 0 | 442.4093 | 0 | 0 | 0 | 0 | 0 | 0
2 | RT | Bridging Schedules | SCE | NA | 2022-10-24 | 200 | No | INC | 8 | 44858.3333 | 44858.6667 | 169.5125 | 111982.74 | 0 | -1276.0046 | 0 | 0 | 0 | 0 | 0 | 0
3 | RT | Fast Start Unit Management | SCE | LA Basin | 2022-10-09 | 0 | No | INC | 2 | 44843.9062 | 44843.9688 | -90.94 | 0 | 0 | 0 | -90.94 | 0 | 0 | 0 | 0 | 0
4 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-10-05 | 10 | Yes | INC | 1 | 44839.9583 | 44840 | 0 | 3683.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-10-06 | 10 | Yes | INC | 1 | 44840.9583 | 44841 | 0 | 7965.42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | RT | Market Disruption | PGAE | Bay Area | 2022-10-31 | 150 | No | INC | 1 | 44865.8785 | 44865.8958 | 61.5625 | 0 | 0 | -3769.8752 | 61.5625 | -3769.8752 | 0 | 0 | 0 | 0
7 | RT | Market Disruption | PGAE | NA | 2022-10-10 | 205 | No | DEC | 2 | 44844.816 | 44844.875 | 293.1371 | -1889.3882 | 0 | -24165.8386 | 0 | 0 | 0 | 0 | 0 | 0
8 | RT | Market Disruption | SDGE | San Diego-IV | 2022-10-31 | 150 | No | INC | 1 | 44865.8785 | 44865.8958 | 52.125 | 0 | 0 | -3155.8821 | 52.125 | -3155.8821 | 0 | 0 | 0 | 0
9 | RT | Other Reliability Requirement | PGAE | Bay Area | 2022-10-31 | 120 | No | INC | 1 | 44865.8958 | 44865.9201 | 17.7529 | 8168.7083 | 0 | -1047.0716 | -6.3842 | 0 | 355.6619 | 0 | 0 | 0
10 | RT | Other Reliability Requirement | PGAE | Fresno | 2022-10-22 | 20 | No | DEC | 1 | 44856.3785 | 44856.4062 | 16.165 | 0 | 0 | -970.1744 | 0 | 0 | 0 | 0 | 0 | 0
11 | RT | Other Reliability Requirement | PGAE | Fresno | 2022-10-22 | 20 | No | INC | 1 | 44856.3785 | 44856.4062 | 12.4077 | 424.6725 | 0 | -765.7351 | 0 | 0 | 0 | 0 | 0 | 0
12 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-10-06 | 22 | No | INC | 2 | 44840.9306 | 44841 | 18.5619 | 0 | 0 | -3205.2933 | 0 | 0 | 0 | 0 | 0 | 0
13 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-10-07 | 22 | No | INC | 2 | 44841 | 44841.0833 | 77.1883 | 0 | 0 | -5861.2627 | 0 | 0 | 0 | 0 | 0 | 0
14 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-10-17 | 400 | No | DEC | 4 | 44851.5208 | 44851.6667 | 6.3616 | 0 | 0 | -1502.5345 | -8.9775 | 0 | 806.0156 | 0 | -10401.1698 | 0
15 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-10-19 | 425 | No | DEC | 9 | 44853.3229 | 44853.6875 | -4.338 | 0 | 0 | 1055.3566 | -41.1947 | 0 | 3610.5309 | 0 | -3604.3828 | 0
16 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-10-28 | 0 | No | DEC | 2 | 44862.9375 | 44863 | -0.04875 | 0 | 0 | 3.2644 | 0 | 0 | 0 | 0 | 0 | 0
17 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-10-29 | 0 | No | DEC | 12 | 44863 | 44863.5 | -0.79167 | 0 | 0 | 51.1838 | 0 | 0 | 0 | 0 | -174.9397 | 0
18 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-01 | 30 | No | INC | 24 | 44835 | 44836 | -0.26156 | 58467.18 | 0 | 11.1164 | -0.43254 | 0 | 17.8653 | 0 | 0 | 0
19 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-02 | 30 | No | INC | 24 | 44836 | 44837 | 0 | 52951.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-03 | 15 - 30 | No | DEC | 15 | 44837.3507 | 44837.9583 | 6.2326 | -35513.3317 | 547.0333 | -410.8358 | 0 | 0 | 0 | 0 | 0 | 0
21 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-03 | 15 - 30 | No | INC | 24 | 44837 | 44838 | 5.8711 | 29785.17 | 0 | -351.9602 | 0 | 0 | 0 | 0 | 0 | 0
22 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-04 | 30 | No | DEC | 9 | 44838.5833 | 44838.9583 | 0.19639 | -37979.6001 | 0 | -55.9478 | 0 | 0 | 0 | 0 | 0 | 0
23 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-04 | 30 | No | INC | 24 | 44838 | 44839 | 18.1483 | 47435.8275 | 0 | -965.3953 | 0 | 0 | 0 | 0 | 0 | 0
24 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-05 | 15 - 30 | No | DEC | 18 | 44839.2083 | 44839.9583 | -8.2008 | -33600.9855 | 0 | 711.1603 | 0 | 0 | 0 | 0 | 0 | 0
25 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-05 | 15 - 30 | No | INC | 24 | 44839 | 44840 | 0.67792 | 44415.72 | 0 | -28.0347 | 0 | 0 | 0 | 0 | 0 | 0
26 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-06 | 15 - 30 | No | INC | 24 | 44840 | 44841 | -7.839 | 73828.8 | 0 | 746.3531 | -1.8785 | 0 | 206.4359 | 0 | -128.0283 | 0
27 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-07 | 30 | No | DEC | 12 | 44841.5 | 44842 | -19.4654 | -7236.3679 | 0 | 2234.5781 | -1.6669 | 0 | 130.988 | 0 | -1874.7623 | 0
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-07 | 15 - 30 | No | INC | 12 | 44841 | 44841.5 | 6.7821 | 34086.42 | 0 | -541.1183 | 0 | 0 | 0 | 0 | 0 | 0
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-08 | 15 - 30 | No | DEC | 22 | 44842 | 44842.9167 | 4.2534 | 1300.46 | 0 | -442.5123 | 0 | 0 | 0 | 0 | -427.5068 | 0
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-08 | 15 - 30 | No | INC | 24 | 44842 | 44843 | -17.9886 | 33486.845 | 0 | 1331.6788 | -1.5878 | 0 | 113.7421 | 0 | -50.6597 | 0
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-09 | 15 - 45 | No | DEC | 24 | 44843 | 44844 | -0.74383 | -216.7433 | 0 | -15.3048 | 0 | 0 | 0 | 0 | -27.817 | 0
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-09 | 15 - 45 | No | INC | 24 | 44843 | 44844 | 8.5148 | 22758.05 | 0 | -430.8757 | 0 | 0 | 0 | 0 | 0 | 0
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-10 | 15 - 30 | No | DEC | 24 | 44844 | 44845 | -0.74083 | -1461.8568 | 0 | 203.5784 | -0.7276 | 0 | 196.4033 | 0 | -423.6524 | 0
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-10 | 15 - 45 | No | INC | 24 | 44844 | 44845 | 6.8431 | 34137.075 | 0 | 267.7941 | 0 | 0 | 0 | 0 | 0 | 0
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-11 | 15 - 45 | No | DEC | 22 | 44845 | 44845.9167 | -2.0337 | -80983.3215 | 0 | 245.2179 | 0 | 0 | 0 | 0 | -870.997 | 0
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-11 | 15 - 45 | No | INC | 24 | 44845 | 44846 | 0.0052789 | 29172.37 | 0 | 18.4626 | 0 | 0 | 0 | 0 | 0 | 0
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-12 | 15 - 45 | No | DEC | 9 | 44846.625 | 44847 | -8.6071 | -39659.7627 | 0 | 899.1197 | 0 | 0 | 0 | 0 | -536.0179 | 0
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-12 | 15 - 45 | No | INC | 24 | 44846 | 44847 | 0.37588 | 65124.43 | 0 | -27.9857 | 0 | 0 | 0 | 0 | 0 | 0
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-13 | 15 - 60 | No | DEC | 22 | 44847 | 44847.9167 | -0.8275 | -33510.1749 | 0 | 84.1941 | 0 | 0 | 0 | 0 | -1052.302 | 0
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-13 | 15 - 60 | No | INC | 24 | 44847 | 44848 | 3.7974 | 81344.4425 | 0 | -580.9016 | 0 | 0 | 0 | 0 | 0 | 0
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-14 | 15 - 60 | No | DEC | 8 | 44848.625 | 44848.9583 | -0.38542 | -39021.627 | 0 | 78.8345 | 0 | 0 | 0 | 0 | -440.8737 | 0
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-14 | 15 - 60 | No | INC | 24 | 44848 | 44849 | 5.087 | 75043.3075 | 0 | -422.8131 | 0 | 0 | 0 | 0 | 0 | 0
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-15 | 15 | No | DEC | 6 | 44849.75 | 44850 | 0.96554 | 0 | 0 | -78.3969 | 0 | 0 | 0 | 0 | -332.8584 | 0
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-15 | 15 - 45 | No | INC | 24 | 44849 | 44850 | -3.5404 | 71342.32 | 0 | 272.0441 | 0 | 0 | 0 | 0 | 0 | 0
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-16 | 15 - 30 | No | DEC | 22 | 44850.0417 | 44850.9583 | -3.7208 | 5414.3725 | 0 | 103.7034 | 0 | 0 | 0 | 0 | 0 | 0
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-16 | 15 - 30 | No | INC | 24 | 44850 | 44851 | 12.1633 | 26753.37 | 0 | -1158.4923 | 0 | 0 | 0 | 0 | 0 | 0
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-17 | 15 - 30 | No | DEC | 20 | 44851.1667 | 44852 | 0.55215 | 0 | 0 | -27.7081 | -0.62177 | 0 | 53.7328 | 0 | -1362.7647 | 0
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-17 | 15 - 45 | No | INC | 24 | 44851 | 44852 | 6.6373 | 38537.5925 | 0 | -628.3399 | 0 | 0 | 0 | 0 | 0 | 0
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-18 | 15 - 45 | No | DEC | 23 | 44852 | 44852.9583 | -1.3558 | -69983.247 | 0 | 151.8311 | 0 | 0 | 0 | 0 | -1473.6494 | 0
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-18 | 15 - 45 | No | INC | 24 | 44852 | 44853 | -0.59581 | 58404.36 | 0 | 50.8956 | 0 | 0 | 0 | 0 | 0 | 0
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-19 | 15 - 45 | No | DEC | 18 | 44853.25 | 44854 | -7.0822 | -70683.231 | 0 | 491.5478 | -0.635 | 0 | 40.8247 | 0 | -1205.5836 | 0
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-19 | 15 - 45 | No | INC | 14 | 44853 | 44853.5833 | 0.67792 | 42186.87 | 0 | -46.2586 | 0 | 0 | 0 | 0 | 0 | 0
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-20 | 15 - 30 | No | DEC | 24 | 44854 | 44855 | 2.6685 | -160857.3288 | 0 | -138.3625 | 0 | 0 | 0 | 0 | -2056.4025 | 0
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-21 | 15 - 30 | No | DEC | 24 | 44855 | 44856 | -6.1145 | -2219.3516 | 0 | 432.7743 | -0.29104 | 0 | 24.1535 | 0 | -310.9317 | 0
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-21 | 30 | No | INC | 21 | 44855 | 44855.8438 | -1.2299 | 64587.49 | 0 | 83.225 | -0.8125 | 0 | 53.6335 | 0 | -27.1152 | 0
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-22 | 15 | No | DEC | 24 | 44856 | 44857 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1327.1803 | 0
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-23 | 15 - 30 | No | DEC | 23 | 44857 | 44857.9583 | -0.66469 | -13450.032 | 0 | 70.6675 | 0 | 0 | 0 | 0 | -1231.6526 | 0
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-23 | 30 | No | INC | 16 | 44857.3576 | 44858 | 4.1747 | 10971.09 | 0 | -285.4437 | 0 | 0 | 0 | 0 | -30.5836 | 0
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-24 | 15 - 30 | No | DEC | 17 | 44858.309 | 44859 | -1.1154 | -26514.3683 | 0 | -280.7956 | 0 | 0 | 0 | 0 | -954.4892 | 0
60 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-24 | 30 | No | INC | 24 | 44858 | 44859 | -0.016522 | 38258.16 | 0 | 0.98503 | 0 | 0 | 0 | 0 | 0 | 0
61 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-25 | 15 | No | DEC | 21 | 44859 | 44859.875 | 3.726 | 3736.8175 | 0 | -312.0448 | 0 | 0 | 0 | 0 | 0 | 0
62 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-25 | 30 | No | INC | 24 | 44859 | 44860 | 0 | 55189.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
63 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-26 | 30 - 45 | No | INC | 24 | 44860 | 44861 | -0.62458 | 62179.315 | 0 | -32.4813 | -1.8008 | 0 | 88.0298 | 0 | -22.066 | 0
64 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-27 | 15 | No | DEC | 6 | 44861.7188 | 44861.9375 | -0.27979 | 0 | 988.93 | 18.8429 | 0 | 0 | 0 | 0 | 0 | 0
65 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-27 | 30 - 45 | No | INC | 24 | 44861 | 44862 | -0.12458 | 60656.565 | 0 | 13.5353 | -1.3008 | 0 | 84.8371 | 0 | -16.5382 | 0
66 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-28 | 15 | No | DEC | 13 | 44862.2708 | 44862.7812 | 3.835 | 0 | 850.4251 | -307.55 | 0 | 0 | 0 | 0 | 0 | 0
67 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-28 | 30 | No | INC | 24 | 44862 | 44863 | 0 | 59298.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
68 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-29 | 30 | No | DEC | 9 | 44863.625 | 44864 | -3.2827 | -37465.7265 | 800.1183 | 257.3732 | 0 | 0 | 0 | 0 | -730.6617 | 0
69 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-29 | 30 | No | INC | 16 | 44863 | 44863.6667 | 7.67 | 45912.7725 | 942.9965 | -593.2548 | 0 | 0 | 0 | 0 | 0 | 0
70 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-30 | 30 | No | INC | 24 | 44864 | 44865 | -2.6989 | 78707.61 | 0 | 29.985 | 0 | 0 | 0 | 0 | -1.1911 | 0
71 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-31 | 14 | No | DEC | 4 | 44865.8333 | 44866 | -3.3896 | 285.1725 | 0 | 178.1353 | 0 | 0 | 0 | 0 | 0 | 0
72 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-10-31 | 15 - 30 | No | INC | 24 | 44865 | 44866 | 1.5387 | 68441.4 | 0 | -224.7173 | -2.0404 | 0 | 118.509 | 0 | -33.8783 | 0
73 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-10-18 | 55 | No | DEC | 1 | 44852.9757 | 44853 | -5.2692 | 0 | 0 | -79.3592 | 0.7725 | 12.6207 | -0.94961 | 0 | -0.052384 | 0
74 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-10-19 | 55 | No | DEC | 16 | 44853 | 44853.6667 | -21.9164 | 0 | 0 | -312.8492 | -3.8333 | 0 | 10.0671 | 0 | -78.9053 | 0
75 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-10-20 | 57 - 70 | No | DEC | 14 | 44854.2847 | 44854.8333 | 1.0436 | 0 | 0 | 68.8359 | -17.3642 | 0 | 1139.9642 | 0 | -41419.1354 | 0
76 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-10-20 | 65 | No | INC | 1 | 44854.4583 | 44854.5 | -3.3528 | 0 | 0 | -50.5063 | 0 | 0 | 0 | 0 | 0 | 0
77 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-10-21 | 57 - 65 | No | DEC | 14 | 44855.3333 | 44855.9167 | -32.9223 | 0 | 0 | -15.4621 | -8.5 | 0 | 440.0732 | 0 | -34783.1861 | 0
78 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-10-21 | 57 - 60 | No | INC | 1 | 44855.6667 | 44855.7083 | -1.7648 | 0 | 0 | 26.8824 | 0 | 0 | 0 | 0 | 0 | 0
79 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-10-25 | 54 - 65 | No | DEC | 11 | 44859.4167 | 44859.8542 | -44.108 | 0 | 0 | 2586.9437 | -79.4067 | 0 | 4366.2864 | 0 | -44230.8545 | 0
80 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-10-30 | 45 | No | DEC | 6 | 44864.2986 | 44864.5417 | -15.3333 | 0 | 0 | 2056.256 | -27.4167 | 0 | 2205.2547 | 0 | -13056.5909 | 0
81 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-10-01 | 20 | No | DEC | 3 | 44835.75 | 44835.875 | -10.3602 | -4657.9008 | 0 | 2477.9842 | -5.2533 | 0 | 1065.0847 | 0 | -853.0984 | 0
82 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-10-01 | 20 - 40 | No | INC | 5 | 44835.7153 | 44835.9167 | 14.3092 | -4383.9067 | 0 | -335.2215 | 1.0029 | -482.0247 | 1027.0748 | 0 | -539.9986 | 0
83 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-10-02 | 0 | No | DEC | 1 | 44836.7743 | 44836.8125 | -23.69 | 0 | 0 | 2048.0857 | -23.69 | 0 | 2048.0857 | 0 | -1767.1791 | 0
84 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-10-05 | 6 | No | DEC | 2 | 44839.8438 | 44839.9167 | -5.125 | 0 | 0 | -1745.5201 | -5 | 0 | -1685.4569 | 0 | 0 | 0
85 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-10-14 | 20 - 42 | No | INC | 6 | 44848.3333 | 44848.5833 | 19.3033 | 22566.225 | 523.5709 | -1171.5176 | 0 | 0 | 0 | 0 | 0 | 0
86 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-10-25 | 20 - 45 | No | DEC | 12 | 44859.3333 | 44859.8229 | 4.6483 | 0 | 0 | -287.6399 | 14.5833 | -876.5052 | 0 | 0 | -119.1711 | 0
87 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-10-25 | 20 - 45 | No | INC | 10 | 44859.2917 | 44859.7083 | 31.726 | 1711.965 | 0 | -2864.3107 | 0 | 0 | 0 | 0 | -1181.1226 | 0
88 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-10-03 | 89 | No | DEC | 1 | 44837.3229 | 44837.3333 | 0.25208 | 0 | 0 | -10.6816 | 0 | 0 | 0 | 0 | 0 | 0
89 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-10-03 | 89 | No | INC | 1 | 44837.3333 | 44837.375 | 31.0296 | 6645.82 | 2160.1033 | -1991.2098 | 0 | 0 | 0 | 0 | -0.58567 | 0
90 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-10-04 | 89 | No | DEC | 1 | 44838.3299 | 44838.3333 | 7.4062 | 0 | 0 | -373.5473 | 0 | 0 | 0 | 0 | 0 | 0
91 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-10-04 | 89 | No | INC | 1 | 44838.3333 | 44838.375 | 5.8385 | 15107.89 | 0 | -280.9801 | 0 | 0 | 0 | 0 | 0 | 0
92 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-10-05 | 25 - 88.8 | No | INC | 8 | 44839.0556 | 44839.375 | 11.8075 | 29612.24 | 0 | -832.7598 | 12.4983 | -846.1979 | 0 | 0 | -6802.3337 | 0
93 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-10-06 | 25 - 89 | No | INC | 13 | 44840.066 | 44840.5833 | 218.1068 | 28967.325 | 0 | -15588.8185 | 93.8375 | -7264.7925 | 0 | 0 | -5377.7038 | 0
94 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-10-07 | 89 | No | INC | 3 | 44841.4271 | 44841.5417 | 5.3504 | 21561.7025 | 0 | -405.8955 | 0 | 0 | 0 | 0 | -4.1001e-05 | 0
95 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-10-08 | 88.8 - 250 | No | INC | 17 | 44842.2708 | 44842.9583 | 224.8208 | 172662.455 | 7351.26 | -8986.3015 | 25.6708 | -612.5305 | 0 | 0 | -5430.2912 | 0
96 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-10-27 | 30 - 60 | No | INC | 2 | 44861.3021 | 44861.3854 | 3.3942 | 0 | 0 | -143.6469 | 27.4594 | -1883.9101 | 0 | 0 | -4475.7401 | 0
97 | RT | Planned Transmission Outage | PGAE | NA | 2022-10-28 | 19 | No | INC | 15 | 44862.3785 | 44863 | -1.9837 | 0 | 0 | 143.2745 | -0.25 | 0 | 19.7105 | 0 | -17.3142 | 0
98 | RT | Planned Transmission Outage | PGAE | NA | 2022-10-29 | 19 | No | INC | 2 | 44863 | 44863.0625 | 0.28708 | 0 | 0 | -24.1133 | 0 | 0 | 0 | 0 | 0 | 0
99 | RT | Planned Transmission Outage | PGAE | NA | 2022-10-31 | 17 | No | DEC | 1 | 44865.2431 | 44865.2708 | -1.0495 | 0 | 0 | 72.6834 | -0.89583 | 0 | 61.3305 | 0 | -57.5532 | 0
100 | RT | Planned Transmission Outage | SCE | NA | 2022-10-05 | 460 | No | DEC | 1 | 44839.7083 | 44839.7292 | -31.2898 | 0 | 0 | -16572.2492 | 0 | 0 | 0 | 0 | 0 | 0
101 | RT | Planned Transmission Outage | SCE | NA | 2022-10-05 | 460 | No | INC | 3 | 44839.6076 | 44839.7083 | -3.3833 | 28363.3592 | 0 | 460.8865 | 0 | 0 | 0 | 0 | 0 | 0
102 | RT | Ramping Capacity | PGAE | NCNB | 2022-10-20 | 67 - 70 | No | DEC | 1 | 44854.2812 | 44854.3125 | -17.5 | 0 | 0 | 616.5341 | -15 | 0 | 652.0737 | 0 | -876.2047 | 0
103 | RT | Ramping Capacity | SCE | LA Basin | 2022-10-03 | 194 | No | INC | 5 | 44837.6979 | 44837.875 | -20.9716 | 0 | 0 | 1662.5549 | 0 | 0 | 0 | 0 | 0 | 0
104 | RT | Ramping Capacity | SCE | LA Basin | 2022-10-05 | 194 | No | INC | 5 | 44839.6667 | 44839.875 | -227.6316 | 0 | 0 | 19812.0808 | 0 | 0 | 0 | 0 | 0 | 0
105 | RT | Reliability Assessment | PGAE | Bay Area | 2022-10-06 | 22 | No | INC | 5 | 44840.4688 | 44840.6667 | 16.6711 | 0 | 0 | -5966.2859 | 1.8333 | -639.9115 | 0 | 0 | 0 | 0
106 | RT | Reliability Assessment | PGAE | Fresno | 2022-10-26 | 325 | No | DEC | 1 | 44860.7535 | 44860.7917 | -7.8974 | 0 | 0 | 95.3133 | -13.9425 | 0 | 180.8669 | 0 | 0 | 0
107 | RT | Reliability Assessment | PGAE | Fresno | 2022-10-26 | 325 | No | INC | 2 | 44860.7535 | 44860.8333 | 48.026 | 4633.1058 | 0 | -1435.1458 | 6.25 | -88.25 | 0 | 0 | 0 | 0
108 | RT | Reliability Assessment | PGAE | NCNB | 2022-10-07 | 30 - 63 | No | DEC | 11 | 44841.3958 | 44841.8333 | 198.3349 | 0 | 0 | -1124.4527 | -17.9208 | 0 | -268.8125 | 0 | 0 | 0
109 | RT | Reliability Assessment | PGAE | NCNB | 2022-10-10 | 60 - 65 | No | DEC | 6 | 44844.7708 | 44845 | -15.225 | 0 | 0 | -320.1503 | -17.6146 | 0 | -264.2188 | 0 | 0 | 0
110 | RT | Reliability Assessment | PGAE | NCNB | 2022-10-11 | 65 - 70 | No | DEC | 1 | 44845 | 44845.0417 | 3.3958 | 0 | 0 | 45.965 | 0 | 0 | 0 | 0 | 0 | 0
111 | RT | Reliability Assessment | PGAE | NCNB | 2022-10-22 | 67 - 70 | No | DEC | 12 | 44856.3646 | 44856.8333 | -14.7654 | 0 | 0 | -173.9178 | -6 | 0 | -90 | 0 | 0 | 0
112 | RT | Reliability Assessment | PGAE | NCNB | 2022-10-22 | 77 - 80 | No | INC | 12 | 44856.3646 | 44856.8333 | 6.2325 | 0 | 0 | 122.3713 | 0 | 0 | 0 | 0 | 0 | 0
113 | RT | Reliability Assessment | PGAE | Sierra | 2022-10-02 | 20 | No | INC | 4 | 44836.7153 | 44836.875 | 23.6058 | 0 | 0 | -1948.3572 | 0 | 0 | 0 | 0 | 0 | 0
114 | RT | Reliability Assessment | PGAE | Sierra | 2022-10-05 | 20 | No | DEC | 2 | 44839.75 | 44839.8333 | 1.875 | 0 | 221.7728 | -198.0285 | 0 | 0 | 0 | 0 | 0 | 0
115 | RT | Reliability Assessment | PGAE | Sierra | 2022-10-05 | 20 | No | INC | 1 | 44839.7326 | 44839.75 | 0 | -1.3042 | 46.2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0
116 | RT | Reliability Assessment | PGAE | Sierra | 2022-10-06 | 20 | No | DEC | 1 | 44840.75 | 44840.7917 | 2.9975 | 0 | 0 | -313.9424 | 0 | 0 | 0 | 0 | 0 | 0
117 | RT | Reliability Assessment | PGAE | Sierra | 2022-10-06 | 20 | No | INC | 7 | 44840.6562 | 44840.9167 | -1.4748 | 7425.86 | 0 | 292.4311 | 0 | 0 | 0 | 0 | 0 | 0
118 | RT | Reliability Assessment | PGAE | Sierra | 2022-10-07 | 20 | No | INC | 3 | 44841.7882 | 44841.875 | -5.0864 | 0 | 0 | 438.5043 | 0 | 0 | 0 | 0 | 0 | 0
119 | RT | Reliability Assessment | PGAE | Sierra | 2022-10-08 | 20 | No | INC | 2 | 44842.8299 | 44842.875 | 0.8075 | 3773.93 | 0 | -136.7677 | 0 | 0 | 0 | 0 | 0 | 0
120 | RT | Reliability Assessment | PGAE | Sierra | 2022-10-13 | 20 | No | INC | 6 | 44847.684 | 44847.9167 | -64.4024 | 21009.6925 | 536.402 | 5298.6429 | 0 | 0 | 0 | 0 | 0 | 0
121 | RT | Reliability Assessment | PGAE | Sierra | 2022-10-14 | 42 | No | INC | 10 | 44848.5069 | 44848.9167 | -0.5 | 59173.6567 | 1372.9193 | 31.3954 | 0 | 0 | 0 | 0 | 0 | 0
122 | RT | Reliability Assessment | PGAE | Stockton | 2022-10-06 | 191.1 | No | DEC | 4 | 44840.7604 | 44840.9167 | -15.3091 | -10470.2829 | 0 | 1061.3174 | -14.6439 | 0 | 1003.38 | 0 | 0 | 0
123 | RT | Reliability Assessment | PGAE | Stockton | 2022-10-06 | 15 - 25 | No | INC | 5 | 44840.7188 | 44840.9167 | 45.4154 | 0 | 0 | -5835.1497 | 36.2917 | -4954.1752 | 0 | 0 | 0 | 0
124 | RT | Reliability Assessment | PGAE | Stockton | 2022-10-07 | 200 | No | DEC | 4 | 44841.6875 | 44841.8333 | -15.2185 | -10458.2515 | 0 | 807.0173 | -0.92833 | 0 | 61.892 | 0 | 0 | 0
125 | RT | Reliability Assessment | SCE | NA | 2022-10-05 | 460 | No | DEC | 2 | 44839.7118 | 44839.7917 | -144.698 | 0 | 0 | -26465.3284 | -22.035 | 0 | -2420.8044 | 0 | 0 | 0
126 | RT | Reliability Assessment | SCE | NA | 2022-10-17 | 25 | No | DEC | 5 | 44851.7083 | 44851.9167 | -25.1546 | 0 | 0 | 2076.555 | 0 | 0 | 0 | 0 | 0 | 0
127 | RT | Reliability Assessment | SCE | NA | 2022-10-17 | 25 | No | INC | 18 | 44851.2847 | 44852 | -178.2932 | 0 | 0 | 14470.493 | -117.6988 | 0 | 9662.8137 | 0 | 0 | 0
128 | RT | Reliability Assessment | SCE | NA | 2022-10-18 | 25 | No | INC | 12 | 44852 | 44852.5 | -237.5893 | 0 | 0 | 15266.4524 | -139.3792 | 0 | 10643.7101 | 0 | 0 | 0
129 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-10-18 | 25 | No | DEC | 2 | 44852.75 | 44852.8333 | -42.5775 | 0 | 0 | 3891.6771 | 0 | 0 | 0 | 0 | 0 | 0
130 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-10-18 | 25 | No | INC | 16 | 44852.3542 | 44853 | 28.4281 | 0 | 0 | 294.4298 | 49.4792 | -205.5387 | 0 | 0 | 0 | 0
131 | RT | Software Limitation | PGAE | Bay Area | 2022-10-06 | 22 | No | INC | 1 | 44840.6736 | 44840.7083 | 0.23698 | 0 | 0 | -24.2785 | 0 | 0 | 0 | 0 | 0 | 0
132 | RT | Software Limitation | PGAE | Bay Area | 2022-10-31 | 0 - 198 | No | INC | 3 | 44865.8785 | 44865.9722 | 66.6611 | 35008.75 | 0 | -9610.8857 | -90 | 0 | 0 | 0 | 0 | 0
133 | RT | Software Limitation | PGAE | Fresno | 2022-10-09 | 83 | No | DEC | 2 | 44843.75 | 44843.8333 | -51.234 | 0 | 0 | 4153.3814 | 0 | 0 | 0 | 0 | 0 | 0
134 | RT | Software Limitation | PGAE | Fresno | 2022-10-09 | 83 | No | INC | 2 | 44843.6979 | 44843.75 | 36.7242 | 12501.19 | 0 | -2943.2875 | 0 | 0 | 0 | 0 | 0 | 0
135 | RT | Software Limitation | PGAE | Fresno | 2022-10-31 | 398 - 404 | No | INC | 1 | 44865.875 | 44865.8854 | -13.4633 | 986.935 | 0 | 776.7733 | 0 | 0 | 0 | 0 | 0 | 0
136 | RT | Software Limitation | PGAE | Stockton | 2022-10-06 | 0 | No | INC | 1 | 44840.941 | 44840.9826 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
137 | RT | Software Limitation | PGAE | NA | 2022-10-09 | 200 | No | DEC | 1 | 44843.7083 | 44843.75 | 42.1008 | -7159.4352 | 561.1075 | -2530.3376 | 0 | 0 | 0 | 0 | 0 | 0
138 | RT | Software Limitation | PGAE | NA | 2022-10-09 | 200 | No | INC | 1 | 44843.6944 | 44843.7083 | 31.7321 | 0 | 0 | -2756.067 | 0 | 0 | 0 | 0 | 0 | 0
139 | RT | Software Limitation | PGAE | NA | 2022-10-31 | 0 - 200 | No | DEC | 3 | 44865.8785 | 44865.9896 | -77.1677 | -26379.027 | 0 | 3257.5276 | -19.2552 | -269.7541 | 0 | 0 | 0 | 0
140 | RT | Software Limitation | SCE | LA Basin | 2022-10-09 | 5 - 90.58 | No | INC | 1 | 44843.8333 | 44843.8715 | 241.928 | 35376.4034 | 0 | -19765.3857 | 0.087188 | -8.5444 | 0 | 0 | 0 | 0
141 | RT | Software Limitation | SCE | LA Basin | 2022-10-16 | 0 - 90.58 | No | INC | 5 | 44850.8264 | 44851 | 239.6391 | 20693.2575 | 0 | -25479.6523 | -0.72104 | -10.0658 | 0 | 0 | 0 | 0
142 | RT | Software Limitation | SCE | LA Basin | 2022-10-17 | 0 | No | INC | 1 | 44851 | 44851.0139 | -1.6667 | 114.2525 | 0 | 0 | -1.6667 | 0 | 0 | 0 | 0 | 0
143 | RT | Unit Testing | PGAE | NA | 2022-10-20 | 234 | No | INC | 3 | 44854.3403 | 44854.4583 | 40.1042 | 0 | 0 | -3900.4436 | 27.1372 | -1916.7255 | 0 | 0 | 0 | 0
144 | RT | Unit Testing | SCE | Big Creek-Ventura | 2022-10-04 | 127 | No | INC | 1 | 44838.0174 | 44838.0451 | 71.4375 | 0 | 0 | -4855.8451 | 72.7604 | -4944.0985 | 0 | 0 | 0 | 0
145 | RT | Unit Testing | SCE | Big Creek-Ventura | 2022-10-05 | 19.27 | No | INC | 1 | 44839.3125 | 44839.3403 | 12.4341 | 0 | 0 | -796.4437 | 2.5145 | -159.2205 | 0 | 0 | 0 | 0
146 | RT | Unit Testing | SCE | Big Creek-Ventura | 2022-10-15 | 127 | No | INC | 1 | 44849.3229 | 44849.3507 | 132.2618 | 0 | 0 | -6335.3486 | 130.4489 | -6260.7795 | 0 | 0 | 0 | 0
147 | RT | Unit Testing | SCE | LA Basin | 2022-10-04 | 459.83 | No | DEC | 1 | 44838.5278 | 44838.5556 | 0.50266 | -10591.4492 | 0 | 5.833 | 7.4157 | -354.631 | 0 | 0 | 0 | 0
148 | RT | Unit Testing | SCE | LA Basin | 2022-10-04 | 48.24 - 49.65 | No | INC | 1 | 44838.566 | 44838.5972 | 62.7328 | 0 | 0 | -24394.9997 | 63.1705 | -24423.3679 | 0 | 0 | 0 | 0
149 | RT | Unit Testing | SCE | NA | 2022-10-05 | 17 | No | DEC | 1 | 44839.7188 | 44839.75 | -4.0729 | 0 | 0 | 390.0323 | 2.8333 | -201.8417 | 0 | 0 | 0 | 0
150 | RT | Unit Testing | SDGE | NA | 2022-10-31 | 1 | No | INC | 1 | 44865.625 | 44865.6667 | 0.18301 | 0 | 0 | -0.065884 | 0 | 0 | 0 | 0 | 0 | 0
151 | RT | Unplanned Outage | PGAE | Fresno | 2022-10-16 | 83 - 140 | No | INC | 1 | 44850.8333 | 44850.875 | 43.1584 | 0 | 0 | -3135.3238 | 7.5631 | -542.6275 | 0 | -295.9641 | 0 | 0
152 | RT | Unplanned Outage | PGAE | Fresno | 2022-10-29 | 404 - 407 | No | INC | 1 | 44863.8507 | 44863.8542 | -3.3839 | 1151.4258 | 0 | 195.4092 | 2.4102 | -139.1823 | 0 | -4.9283 | 0 | 0
153 | RT | Unplanned Outage | PGAE | NA | 2022-10-16 | 196 | No | DEC | 1 | 44850.8438 | 44850.8854 | -15.4907 | 0 | 0 | 1187.3546 | 0 | 0 | 0 | 0 | 0 | 0
154 | RT | Unplanned Outage | PGAE | NA | 2022-10-16 | 417 | No | INC | 1 | 44850.8299 | 44850.8438 | 41.235 | -6911.18 | 0 | -2819.3584 | 49.735 | -3400.5286 | 0 | 0 | 0 | 0
155 | RT | Unplanned Outage | SDGE | San Diego-IV | 2022-10-16 | 400 | No | INC | 1 | 44850.8403 | 44850.8819 | 152.65 | 13264.1667 | 0 | -9878.6633 | 152.75 | -9916.7588 | 0 | 0 | 0 | 0
156 | RT | Voltage Support | PGAE | Fresno | 2022-10-02 | -340 | No | DEC | 3 | 44836.2326 | 44836.3333 | -322.1375 | 0 | 0 | 25527.3423 | -20.75 | 0 | 1790.9787 | 0 | 0 | 0
157 | RT | Voltage Support | PGAE | Fresno | 2022-10-03 | -340 | No | DEC | 3 | 44837.1632 | 44837.2708 | -176.4 | 0 | 0 | 12260.846 | 0 | 0 | 0 | 0 | 0 | 0
158 | RT | Voltage Support | PGAE | Fresno | 2022-10-16 | -340 | No | DEC | 4 | 44850.2049 | 44850.3333 | -113.3333 | 0 | 0 | 13118.1149 | 0 | 0 | 0 | 0 | 0 | 0
159 | RT | Voltage Support | PGAE | Fresno | 2022-10-17 | -340 | No | DEC | 20 | 44851.1667 | 44852 | -318.2167 | 0 | 0 | 26871.3876 | 0 | 0 | 0 | 0 | 0 | 0
160 | RT | Voltage Support | PGAE | Fresno | 2022-10-17 | 0 | No | INC | 1 | 44851.9167 | 44851.9583 | -88.945 | 2755.1975 | 0 | 8640.0392 | -87.63 | 0 | 8514.3576 | 0 | -2999.7733 | 0
161 | RT | Voltage Support | PGAE | Fresno | 2022-10-18 | -340 | No | DEC | 24 | 44852 | 44853 | -901.5987 | -18505.0583 | 0 | 159604.0922 | -240 | 0 | 22957.7501 | 0 | -34582.806 | 0
162 | RT | Voltage Support | PGAE | Fresno | 2022-10-19 | -340 | No | DEC | 11 | 44853 | 44853.4375 | -220.4012 | 0 | 0 | 21766.4657 | 0 | 0 | 0 | 0 | -3040.8656 | 0
163 | RT | Voltage Support | PGAE | Fresno | 2022-10-19 | 22.37 | No | INC | 6 | 44853.066 | 44853.2917 | 27.0771 | 16763.45 | 1712.13 | -2120.7923 | 0 | 0 | 0 | 0 | 0 | 0
164 | RT | Voltage Support | PGAE | Fresno | 2022-10-20 | -340 | No | DEC | 24 | 44854.0243 | 44855 | -1972.327 | -12227.0292 | 0 | 136508.2264 | -262.0833 | 0 | 18215.9415 | 0 | -46577.5352 | 0
165 | RT | Voltage Support | PGAE | Fresno | 2022-10-20 | 0 | No | INC | 23 | 44854.0417 | 44854.9792 | -13.3333 | 0 | 0 | 920.3409 | 0 | 0 | 0 | 0 | 0 | 0
166 | RT | Voltage Support | PGAE | Fresno | 2022-10-21 | -340 | No | DEC | 24 | 44855 | 44856 | -3483.4865 | -20917.5533 | 0 | 545334.1013 | -366.5225 | 0 | 26488.3324 | 0 | -60475.0478 | 0
167 | RT | Voltage Support | PGAE | Fresno | 2022-10-22 | -340 | No | DEC | 24 | 44856 | 44857 | -3708.8242 | -20424.0833 | 0 | 1889117.727 | 0 | 0 | 0 | 0 | -46615.1355 | 0
168 | RT | Voltage Support | PGAE | Fresno | 2022-10-22 | 0 | No | INC | 1 | 44856.9167 | 44856.9375 | -13.2421 | 0 | 0 | 1136.843 | 0 | 0 | 0 | 0 | 0 | 0
169 | RT | Voltage Support | PGAE | Fresno | 2022-10-23 | -340 | No | DEC | 24 | 44857 | 44858 | -4756.6538 | -24454.0658 | 0 | 1997157.3831 | 0 | 0 | 0 | 0 | -29539.7711 | 0
170 | RT | Voltage Support | PGAE | Fresno | 2022-10-23 | 0 - 83 | No | INC | 13 | 44857.441 | 44857.9479 | 232.6619 | 10856.285 | 0 | -5277.4055 | 0 | 0 | 0 | 0 | 0 | 0
171 | RT | Voltage Support | PGAE | Fresno | 2022-10-24 | -340 | No | DEC | 24 | 44858 | 44859 | -500.0917 | -2302.85 | 0 | 33888.0813 | 0 | 0 | 0 | 0 | -3091.0202 | 0
172 | RT | Voltage Support | PGAE | Fresno | 2022-10-25 | -340 | No | DEC | 9 | 44859 | 44859.3438 | -136.8875 | 3465 | 0 | 9060.3962 | 0 | 0 | 0 | 0 | 0 | 0
173 | RT | Voltage Support | PGAE | Fresno | 2022-10-26 | -330 | No | INC | 6 | 44860.0833 | 44860.3333 | -160.9833 | 3630 | 0 | 9407.0045 | 0 | 0 | 0 | 0 | 0 | 0
174 | RT | Voltage Support | PGAE | Fresno | 2022-10-28 | -340 | No | DEC | 5 | 44862.8229 | 44863 | -260.3125 | 0 | 0 | 27878.9204 | 0 | 0 | 0 | 0 | 0 | 0
175 | RT | Voltage Support | PGAE | Fresno | 2022-10-28 | -330 | No | INC | 4 | 44862.1979 | 44862.3333 | -13.75 | 0 | 0 | 1496.8783 | 0 | 0 | 0 | 0 | 0 | 0
176 | RT | Voltage Support | PGAE | Fresno | 2022-10-29 | -340 | No | DEC | 24 | 44863 | 44864 | 5.9333 | 0 | 0 | -556.8394 | 0 | 0 | 0 | 0 | 0 | 0
177 | RT | Voltage Support | PGAE | Fresno | 2022-10-29 | 0 | No | INC | 2 | 44863.875 | 44863.9375 | -101.75 | 0 | 0 | 6911.199 | -95 | 0 | 6452.7165 | 0 | -2599.9666 | 0
178 | RT | Voltage Support | PGAE | Fresno | 2022-10-30 | -340 | No | DEC | 16 | 44864 | 44864.6667 | -27.5 | 0 | 0 | 2730.3761 | 0 | 0 | 0 | 0 | 0 | 0
179 | RT | Voltage Support | PGAE | Fresno | 2022-10-30 | -330 | No | INC | 3 | 44864.9062 | 44865 | -252.6125 | 1686.0175 | 0 | 18032.0546 | -190 | 0 | 13672.1888 | 0 | -5966.689 | 0
180 | RT | Voltage Support | PGAE | Fresno | 2022-10-31 | -330 | No | INC | 7 | 44865 | 44865.2917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
181 | RT | Voltage Support | PGAE | Humboldt | 2022-10-28 | 15 | No | DEC | 2 | 44862.7812 | 44862.8542 | 0 | 0 | 121.4893 | 0 | 0 | 0 | 0 | 0 | 0 | 0
182 | RT | Voltage Support | PGAE | Sierra | 2022-10-03 | 20 | No | INC | 1 | 44837.9896 | 44838 | -0.20177 | 0 | 24.4279 | 14.5381 | 0 | 0 | 0 | 0 | 0 | 0
183 | RT | Voltage Support | PGAE | Sierra | 2022-10-04 | 20 | Yes | INC | 7 | 44838 | 44838.2917 | 2.9819 | 23103.01 | 0 | -256.0317 | 0 | 0 | 0 | 0 | 0 | 0
184 | RT | Voltage Support | PGAE | Sierra | 2022-10-13 | 20 | No | INC | 3 | 44847.1458 | 44847.25 | 10.0167 | 8466.5925 | 720.54 | -666.6751 | 0 | 0 | 0 | 0 | 0 | 0
185 | RT | Voltage Support | PGAE | Sierra | 2022-10-15 | 20 | No | INC | 14 | 44849.1319 | 44849.6875 | -9.64 | 31134.905 | 0 | 364.9375 | 0 | 0 | 0 | 0 | 0 | 0
186 | RT | Voltage Support | PGAE | Sierra | 2022-10-16 | 20 | No | INC | 14 | 44850.0938 | 44850.6667 | -4.1333 | 49449.555 | 646.27 | -939.8237 | 0 | 0 | 0 | 0 | 0 | 0
187 | RT | Voltage Support | PGAE | Sierra | 2022-10-17 | 20 | No | INC | 5 | 44851.0903 | 44851.2917 | 10.5377 | 16483.185 | 658.77 | -689.1854 | 0 | 0 | 0 | 0 | 0 | 0
188 | RT | Voltage Support | PGAE | Sierra | 2022-10-22 | 20 | No | DEC | 4 | 44856.75 | 44856.9167 | -17.0238 | 0 | 0 | 937.7732 | 0 | 0 | 0 | 0 | 0 | 0
189 | RT | Voltage Support | PGAE | Sierra | 2022-10-22 | 20 | No | INC | 20 | 44856.1667 | 44857 | -71.8275 | 66684.8025 | 624.68 | -7888.7528 | 0 | 0 | 0 | 0 | 0 | 0
190 | RT | Voltage Support | PGAE | Sierra | 2022-10-23 | 20 | No | DEC | 3 | 44857.75 | 44857.875 | -7.7631 | 0 | 0 | 468.5497 | 0 | 0 | 0 | 0 | 0 | 0
191 | RT | Voltage Support | PGAE | Sierra | 2022-10-23 | 20 | No | INC | 24 | 44857 | 44858 | 7.0563 | 124170.35 | 0 | -14989.8247 | 0 | 0 | 0 | 0 | 0 | 0
192 | RT | Voltage Support | PGAE | Sierra | 2022-10-24 | 20 | No | INC | 24 | 44858 | 44859 | 38.7519 | 62983.4417 | 476.3008 | -3982.4434 | 0 | 0 | 0 | 0 | 0 | 0
193 | RT | Voltage Support | PGAE | Sierra | 2022-10-25 | 20 | Yes | INC | 24 | 44859 | 44860 | -1.0009 | 36353.06 | 0 | -281.7067 | 0 | 0 | 0 | 0 | 0 | 0
194 | RT | Voltage Support | PGAE | Sierra | 2022-10-26 | 45 | No | DEC | 11 | 44860.3229 | 44860.75 | 22.6018 | -888.0125 | 0 | -1964.2194 | 0 | 0 | 0 | 0 | 0 | 0
195 | RT | Voltage Support | PGAE | Sierra | 2022-10-26 | 20 - 45 | Yes | INC | 17 | 44860 | 44860.7083 | -10.89 | 24634.26 | 0 | 776.3679 | 3.75 | -160.2507 | 0 | 0 | -1891.8679 | 0
196 | RT | Voltage Support | PGAE | Sierra | 2022-10-27 | 20 | No | INC | 20 | 44861.1771 | 44862 | 2.9865 | 15976.935 | 1144.2333 | -17.9855 | 0 | 0 | 0 | 0 | 0 | 0
197 | RT | Voltage Support | PGAE | Sierra | 2022-10-28 | 20 | Yes | INC | 24 | 44862 | 44863 | -28.6938 | 24918.6 | 31.3655 | 2162.9805 | 0 | 0 | 0 | 0 | 0 | 0
198 | RT | Voltage Support | PGAE | Sierra | 2022-10-29 | 20 | Yes | INC | 24 | 44863 | 44864 | 1.4771 | 40851.3 | 531.828 | -352.9235 | 0 | 0 | 0 | 0 | 0 | 0
199 | RT | Voltage Support | PGAE | Sierra | 2022-10-30 | 20 | No | DEC | 4 | 44864.7986 | 44864.9583 | -1.348 | 0 | 0 | 94.765 | 0 | 0 | 0 | 0 | 0 | 0
200 | RT | Voltage Support | PGAE | Sierra | 2022-10-30 | 20 | No | INC | 24 | 44864 | 44865 | -7.0127 | 30013.2 | 0 | 434.8961 | 0 | 0 | 0 | 0 | 0 | 0
201 | RT | Voltage Support | PGAE | Sierra | 2022-10-31 | 20 | Yes | INC | 7 | 44865 | 44865.2917 | -16.6106 | 23343.6 | 0 | 1163.065 | 0 | 0 | 0 | 0 | 0 | 0
202 | RT | Voltage Support | PGAE | NA | 2022-10-17 | 49 | No | INC | 3 | 44851.1806 | 44851.2917 | 66.9375 | 12958.475 | 0 | -5170.6949 | 0.0041667 | -0.31612 | 0 | 0 | 0 | 0
203 | RT | Voltage Support | PGAE | NA | 2022-10-19 | 48.95 | No | DEC | 5 | 44853.0972 | 44853.2917 | 27.8571 | -43746.1092 | 0 | -1645.5416 | 0 | 0 | 0 | 0 | 0 | 0
204 | RT | Voltage Support | PGAE | NA | 2022-10-28 | 195.8 | No | DEC | 2 | 44862.9375 | 44863 | -6.7 | -2507.5375 | 0 | 6645.6322 | 0 | 0 | 0 | 0 | 0 | 0
205 | RT | Voltage Support | PGAE | NA | 2022-10-29 | 147 - 307 | No | DEC | 24 | 44863 | 44864 | 120.2599 | -60135.7414 | 0 | -8002.8739 | 0 | 0 | 0 | 0 | 0 | 0
206 | RT | Voltage Support | PGAE | NA | 2022-10-29 | 19 | No | INC | 23 | 44863.0625 | 44864 | 0.95998 | 0 | 0 | -79.1608 | 0 | 0 | 0 | 0 | 0 | 0
207 | RT | Voltage Support | PGAE | NA | 2022-10-30 | 19 - 49 | No | DEC | 18 | 44864.25 | 44865 | 50.75 | -61449.7465 | 0 | -3550.4877 | 0 | 0 | 0 | 0 | -2177.8078 | 0
208 | RT | Voltage Support | PGAE | NA | 2022-10-30 | 19 | No | INC | 6 | 44864 | 44864.25 | -0.14417 | 0 | 0 | 10.0517 | 0 | 0 | 0 | 0 | 0 | 0
209 | RT | Voltage Support | PGAE | NA | 2022-10-31 | 49 | No | DEC | 6 | 44865 | 44865.25 | -4.6083 | -113738.553 | 0 | 310.1518 | 0 | 0 | 0 | 0 | 0 | 0

## Price_Impact_A
Table 8: Price Impact Analysis Information for Pricing Node A in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2022-10-26 | 19 | 2 | 13.8871 | Yes | 12.75 | -1.1371
2 | 2022-10-26 | 19 | 3 | 60.0273 | Yes | 12.75 | -47.2773
3 | 2022-10-26 | 19 | 4 | 61.4703 | Yes | 12.75 | -48.7203
4 | 2022-10-26 | 19 | 5 | 62.0406 | Yes | 12.75 | -49.2906
5 | 2022-10-26 | 19 | 6 | 59.1545 | Yes | 12.75 | -46.4045
6 | 2022-10-26 | 19 | 7 | 14.3679 | Yes | 12.75 | -1.6179
7 | 2022-10-26 | 19 | 8 | 14.3849 | Yes | 12.75 | -1.6349
8 | 2022-10-26 | 19 | 9 | 14.3849 | Yes | 12.75 | -1.6349
9 | 2022-10-26 | 19 | 10 | 14.1543 | Yes | 12.75 | -1.4043
10 | 2022-10-26 | 19 | 11 | 14.1543 | Yes | 12.75 | -1.4043
11 | 2022-10-26 | 19 | 12 | 14.1524 | Yes | 12.75 | -1.4024
12 | 2022-10-26 | 20 | 1 | 14.4293 | Yes | 12.75 | -1.6793
13 | 2022-10-26 | 20 | 2 | 14.4062 | Yes | 12.75 | -1.6562
14 | 2022-10-26 | 20 | 3 | 21.0475 | Yes | 12.75 | -8.2975
15 | 2022-10-26 | 20 | 4 | 14.439 | Yes | 12.75 | -1.689
16 | 2022-10-26 | 20 | 5 | 14.44 | Yes | 12.75 | -1.69
17 | 2022-10-26 | 20 | 6 | 14.4417 | Yes | 12.75 | -1.6917
18 | 2022-10-26 | 20 | 7 | 14.3907 | Yes | 12.75 | -1.6407
19 | 2022-10-26 | 20 | 8 | 14.3895 | Yes | 12.75 | -1.6395
20 | 2022-10-26 | 20 | 9 | 14.3882 | Yes | 12.75 | -1.6382
21 | 2022-10-26 | 20 | 10 | 13.1531 | Yes | 12.75 | -0.40314
22 | 2022-10-26 | 20 | 11 | 14.6355 | Yes | 12.75 | -1.8855
23 | 2022-10-26 | 20 | 12 | 11.9815 | Yes | 12.75 | 0.7685
24 | 2022-10-31 | 22 | 1 | 57.6955 | Yes | 20.97 | -36.7255
25 | 2022-10-31 | 22 | 2 | 57.6955 | Yes | 20.97 | -36.7255
26 | 2022-10-31 | 22 | 3 | 57.6955 | Yes | 20.97 | -36.7255

## Price_Impact_B
Table 9: Price Impact Analysis Information for Pricing Node B in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2022-10-17 | 7 | 11 | 99.0097 | Yes | 70.05 | -28.9597
2 | 2022-10-17 | 7 | 12 | 112.8431 | Yes | 70.05 | -42.7931
3 | 2022-10-17 | 8 | 1 | 109.2236 | Yes | 86.02 | -23.2036
4 | 2022-10-17 | 8 | 2 | 109.2224 | Yes | 86.02 | -23.2024
5 | 2022-10-17 | 8 | 3 | 94 | Yes | 86.02 | -7.98
6 | 2022-10-17 | 8 | 4 | 99.2224 | Yes | 86.02 | -13.2024
7 | 2022-10-17 | 8 | 5 | 102.6974 | Yes | 86.02 | -16.6774
8 | 2022-10-17 | 8 | 6 | 94.2224 | Yes | 86.02 | -8.2024
9 | 2022-10-17 | 8 | 7 | 85.6972 | Yes | 86.02 | 0.3228
10 | 2022-10-17 | 8 | 8 | 80.2044 | Yes | 86.02 | 5.8156
11 | 2022-10-17 | 8 | 9 | 69.2981 | Yes | 86.02 | 16.7219
12 | 2022-10-17 | 8 | 10 | 65.0797 | Yes | 86.02 | 20.9403
13 | 2022-10-17 | 8 | 11 | 61.3793 | Yes | 86.02 | 24.6407
14 | 2022-10-17 | 8 | 12 | 60.4948 | Yes | 86.02 | 25.5252
15 | 2022-10-17 | 9 | 1 | 76.7408 | Yes | 86.02 | 9.2791
16 | 2022-10-17 | 9 | 2 | 73.297 | Yes | 86.02 | 12.723
17 | 2022-10-17 | 9 | 3 | 64.9011 | Yes | 86.02 | 21.1189
18 | 2022-10-17 | 9 | 4 | 56.6169 | Yes | 86.02 | 29.4031
19 | 2022-10-17 | 9 | 5 | 53.5206 | Yes | 86.02 | 32.4995
20 | 2022-10-17 | 9 | 6 | 53.0733 | Yes | 86.02 | 32.9467
21 | 2022-10-17 | 9 | 7 | 51.6579 | Yes | 86.02 | 34.3621
22 | 2022-10-17 | 9 | 8 | 47.6397 | Yes | 86.02 | 38.3803
23 | 2022-10-17 | 9 | 9 | 44.1681 | Yes | 86.02 | 41.852
24 | 2022-10-17 | 9 | 10 | 41.8884 | Yes | 86.02 | 44.1316
25 | 2022-10-17 | 9 | 11 | 41.8083 | Yes | 86.02 | 44.2117
26 | 2022-10-17 | 9 | 12 | 39.1491 | Yes | 86.02 | 46.8709
27 | 2022-10-17 | 10 | 1 | 43.6282 | Yes | 86.02 | 42.3918
28 | 2022-10-17 | 10 | 2 | 40.4191 | Yes | 86.02 | 45.6009
29 | 2022-10-17 | 10 | 3 | 38.6099 | Yes | 86.02 | 47.4102
30 | 2022-10-17 | 10 | 4 | 36.3073 | Yes | 86.02 | 49.7127
31 | 2022-10-17 | 10 | 5 | 35.9899 | Yes | 86.02 | 50.0301
32 | 2022-10-17 | 10 | 6 | 35.0095 | Yes | 86.02 | 51.0105
33 | 2022-10-17 | 10 | 7 | 31.5235 | Yes | 86.02 | 54.4965
34 | 2022-10-17 | 10 | 8 | 30.7568 | Yes | 86.02 | 55.2632
35 | 2022-10-17 | 10 | 9 | 30.72 | Yes | 86.02 | 55.3
36 | 2022-10-17 | 10 | 10 | 30.6958 | Yes | 86.02 | 55.3242
37 | 2022-10-17 | 10 | 11 | 29.7356 | Yes | 86.02 | 56.2844
38 | 2022-10-17 | 10 | 12 | 25.9212 | Yes | 86.02 | 60.0988
39 | 2022-10-17 | 11 | 1 | 32.377 | Yes | 86.02 | 53.643
40 | 2022-10-17 | 11 | 2 | 32.2921 | Yes | 86.02 | 53.7279
41 | 2022-10-17 | 11 | 3 | 30.5162 | Yes | 86.02 | 55.5038
42 | 2022-10-17 | 11 | 4 | 30.5478 | Yes | 86.02 | 55.4722
43 | 2022-10-17 | 11 | 5 | 27.3879 | Yes | 86.02 | 58.6321
44 | 2022-10-17 | 11 | 6 | 27.5817 | Yes | 86.02 | 58.4383
45 | 2022-10-17 | 11 | 7 | 26.7825 | Yes | 86.02 | 59.2375
46 | 2022-10-17 | 11 | 8 | 27.7389 | Yes | 86.02 | 58.2811
47 | 2022-10-17 | 11 | 9 | 26.3403 | Yes | 86.02 | 59.6797
48 | 2022-10-17 | 11 | 10 | 29.8114 | Yes | 86.02 | 56.2086
49 | 2022-10-17 | 11 | 11 | 25.3477 | Yes | 86.02 | 60.6723
50 | 2022-10-17 | 11 | 12 | 25.926 | Yes | 86.02 | 60.094
51 | 2022-10-17 | 12 | 1 | 33.2693 | Yes | 86.02 | 52.7507
52 | 2022-10-17 | 12 | 2 | 34.4124 | Yes | 86.02 | 51.6076
53 | 2022-10-17 | 12 | 3 | 33.8234 | Yes | 86.02 | 52.1966
54 | 2022-10-17 | 12 | 4 | 33.0191 | Yes | 86.02 | 53.0009
55 | 2022-10-17 | 12 | 5 | 33.9552 | Yes | 86.02 | 52.0648
56 | 2022-10-17 | 12 | 6 | 32.3292 | Yes | 86.02 | 53.6908
57 | 2022-10-17 | 12 | 7 | 30.3111 | Yes | 86.02 | 55.7089
58 | 2022-10-17 | 12 | 8 | 30.2954 | Yes | 86.02 | 55.7246
59 | 2022-10-17 | 12 | 9 | 34.559 | Yes | 86.02 | 51.461
60 | 2022-10-17 | 12 | 10 | 32.358 | Yes | 86.02 | 53.6619
61 | 2022-10-17 | 12 | 11 | 30.7747 | Yes | 86.02 | 55.2453
62 | 2022-10-17 | 12 | 12 | 32.8871 | Yes | 86.02 | 53.1329
63 | 2022-10-17 | 13 | 1 | 32.972 | Yes | 86.02 | 53.048
64 | 2022-10-17 | 13 | 2 | 34.0116 | Yes | 86.02 | 52.0084
65 | 2022-10-17 | 13 | 3 | 31.2599 | Yes | 86.02 | 54.7601
66 | 2022-10-17 | 13 | 4 | 31.7333 | Yes | 86.02 | 54.2867
67 | 2022-10-17 | 13 | 5 | 30.1592 | Yes | 86.02 | 55.8608
68 | 2022-10-17 | 13 | 6 | 35.0498 | Yes | 86.02 | 50.9702
69 | 2022-10-17 | 13 | 7 | 31.3312 | Yes | 86.02 | 54.6888
70 | 2022-10-17 | 13 | 8 | 31.0698 | Yes | 86.02 | 54.9502
71 | 2022-10-17 | 13 | 9 | 32.7118 | Yes | 86.02 | 53.3082
72 | 2022-10-17 | 13 | 10 | 34.6784 | Yes | 86.02 | 51.3416
73 | 2022-10-17 | 13 | 11 | 33.5401 | Yes | 86.02 | 52.4799
74 | 2022-10-17 | 13 | 12 | 32.6871 | Yes | 86.02 | 53.3329
75 | 2022-10-17 | 14 | 1 | 34.8691 | Yes | 86.02 | 51.1508
76 | 2022-10-17 | 14 | 2 | 37.7752 | Yes | 86.02 | 48.2448
77 | 2022-10-17 | 14 | 3 | 37.1252 | Yes | 86.02 | 48.8948
78 | 2022-10-17 | 14 | 4 | 40.9878 | Yes | 86.02 | 45.0322
79 | 2022-10-17 | 14 | 5 | 38.1727 | Yes | 86.02 | 47.8473
80 | 2022-10-17 | 14 | 6 | 36.0383 | Yes | 86.02 | 49.9817
81 | 2022-10-17 | 14 | 7 | 41.6059 | Yes | 86.02 | 44.4141
82 | 2022-10-17 | 14 | 8 | 41.3715 | Yes | 86.02 | 44.6485
83 | 2022-10-17 | 14 | 9 | 42.0722 | Yes | 86.02 | 43.9478
84 | 2022-10-17 | 14 | 10 | 39.4188 | Yes | 86.02 | 46.6012
85 | 2022-10-17 | 14 | 11 | 37.7851 | Yes | 86.02 | 48.2349
86 | 2022-10-17 | 14 | 12 | 36.4994 | Yes | 86.02 | 49.5206
87 | 2022-10-17 | 15 | 1 | 41.0023 | Yes | 86.02 | 45.0177
88 | 2022-10-17 | 15 | 2 | 42.1078 | Yes | 86.02 | 43.9122
89 | 2022-10-17 | 15 | 3 | 42.6781 | Yes | 86.02 | 43.3419
90 | 2022-10-17 | 15 | 4 | 43.5801 | Yes | 86.02 | 42.4399
91 | 2022-10-17 | 15 | 5 | 41.5755 | Yes | 86.02 | 44.4445
92 | 2022-10-17 | 15 | 6 | 41.9696 | Yes | 86.02 | 44.0504
93 | 2022-10-17 | 15 | 7 | 41.3267 | Yes | 86.02 | 44.6933
94 | 2022-10-17 | 15 | 8 | 42.3185 | Yes | 86.02 | 43.7015
95 | 2022-10-17 | 15 | 9 | 39.0888 | Yes | 86.02 | 46.9312
96 | 2022-10-17 | 15 | 10 | 40.4641 | Yes | 86.02 | 45.5559
97 | 2022-10-17 | 15 | 11 | 40.868 | Yes | 86.02 | 45.152
98 | 2022-10-17 | 15 | 12 | 39.8632 | Yes | 86.02 | 46.1568
99 | 2022-10-17 | 16 | 1 | 37.5406 | Yes | 86.02 | 48.4794
100 | 2022-10-17 | 16 | 2 | 36.4412 | Yes | 86.02 | 49.5788
101 | 2022-10-17 | 16 | 3 | 38.5838 | Yes | 86.02 | 47.4363
102 | 2022-10-17 | 16 | 4 | 37.1842 | Yes | 86.02 | 48.8358
103 | 2022-10-17 | 16 | 5 | 42.2449 | Yes | 86.02 | 43.7751
104 | 2022-10-17 | 16 | 6 | 40.5025 | Yes | 86.02 | 45.5175
105 | 2022-10-17 | 16 | 7 | 40.5025 | Yes | 86.02 | 45.5175
106 | 2022-10-17 | 16 | 8 | 51.2828 | Yes | 86.02 | 34.7372
107 | 2022-10-17 | 16 | 9 | 49.0495 | Yes | 86.02 | 36.9705
108 | 2022-10-17 | 16 | 10 | 47.8652 | Yes | 86.02 | 38.1548
109 | 2022-10-17 | 16 | 11 | 44.2923 | Yes | 86.02 | 41.7277
110 | 2022-10-17 | 16 | 12 | 42.4965 | Yes | 86.02 | 43.5235
111 | 2022-10-17 | 17 | 1 | 49.0848 | Yes | 86.02 | 36.9352
112 | 2022-10-17 | 17 | 2 | 47.0936 | Yes | 86.02 | 38.9263
113 | 2022-10-17 | 17 | 3 | 49.1155 | Yes | 86.02 | 36.9045
114 | 2022-10-17 | 17 | 4 | 52.327 | Yes | 86.02 | 33.693
115 | 2022-10-17 | 17 | 5 | 53.5352 | Yes | 86.02 | 32.4848
116 | 2022-10-17 | 17 | 6 | 55.5185 | Yes | 86.02 | 30.5015
117 | 2022-10-17 | 17 | 7 | 57.2257 | Yes | 86.02 | 28.7943
118 | 2022-10-17 | 17 | 8 | 66.5377 | Yes | 86.02 | 19.4823
119 | 2022-10-17 | 17 | 9 | 74.9607 | Yes | 86.02 | 11.0593
120 | 2022-10-17 | 17 | 10 | 83.5054 | Yes | 86.02 | 2.5145
121 | 2022-10-17 | 17 | 11 | 86.3513 | Yes | 86.02 | -0.33129
122 | 2022-10-17 | 17 | 12 | 86.9275 | Yes | 86.02 | -0.90752
123 | 2022-10-17 | 18 | 1 | 64.1258 | Yes | 84.1 | 19.9742
124 | 2022-10-17 | 18 | 2 | 62.3458 | Yes | 84.1 | 21.7542
125 | 2022-10-17 | 18 | 3 | 64.1527 | Yes | 84.1 | 19.9473
126 | 2022-10-17 | 18 | 4 | 66.8983 | Yes | 84.1 | 17.2017
127 | 2022-10-17 | 18 | 5 | 72.0503 | Yes | 84.1 | 12.0497
128 | 2022-10-17 | 18 | 6 | 79.1591 | Yes | 84.1 | 4.9409
129 | 2022-10-17 | 18 | 7 | 84.1 | Yes | 84.1 | 0
130 | 2022-10-17 | 18 | 8 | 85.1143 | Yes | 84.1 | -1.0143
131 | 2022-10-17 | 18 | 9 | 87.8663 | Yes | 84.1 | -3.7663
132 | 2022-10-17 | 18 | 10 | 97.2447 | Yes | 84.1 | -13.1448
133 | 2022-10-17 | 18 | 11 | 96.9901 | Yes | 84.1 | -12.8901
134 | 2022-10-17 | 18 | 12 | 96.4194 | Yes | 84.1 | -12.3194
135 | 2022-10-17 | 19 | 1 | 84.6 | Yes | 84.1 | -0.5
136 | 2022-10-17 | 19 | 2 | 81.0028 | Yes | 84.1 | 3.0972
137 | 2022-10-17 | 19 | 3 | 84.1 | Yes | 84.1 | 0
138 | 2022-10-17 | 19 | 4 | 84.36 | Yes | 84.1 | -0.26
139 | 2022-10-17 | 19 | 5 | 84.66 | Yes | 84.1 | -0.56
140 | 2022-10-17 | 19 | 6 | 84.6596 | Yes | 84.1 | -0.5596
141 | 2022-10-17 | 19 | 7 | 87.51 | Yes | 84.1 | -3.41
142 | 2022-10-17 | 19 | 8 | 88 | Yes | 84.1 | -3.9
143 | 2022-10-17 | 19 | 9 | 88.02 | Yes | 84.1 | -3.92
144 | 2022-10-17 | 19 | 10 | 85.0713 | Yes | 84.1 | -0.97125
145 | 2022-10-17 | 19 | 11 | 84.9216 | Yes | 84.1 | -0.82164
146 | 2022-10-17 | 19 | 12 | 85.0713 | Yes | 84.1 | -0.97125
147 | 2022-10-17 | 20 | 1 | 87.0421 | Yes | 84.1 | -2.9421
148 | 2022-10-17 | 20 | 2 | 87.0421 | Yes | 84.1 | -2.9421
149 | 2022-10-17 | 20 | 3 | 85.3822 | Yes | 84.1 | -1.2822
150 | 2022-10-17 | 20 | 4 | 85.2348 | Yes | 84.1 | -1.1348
151 | 2022-10-17 | 20 | 5 | 85.1925 | Yes | 84.1 | -1.0925
152 | 2022-10-17 | 20 | 6 | 85.2348 | Yes | 84.1 | -1.1348
153 | 2022-10-17 | 20 | 7 | 84.9069 | Yes | 84.1 | -0.80687
154 | 2022-10-17 | 20 | 8 | 84.3382 | Yes | 84.1 | -0.23823
155 | 2022-10-17 | 20 | 9 | 83.9185 | Yes | 84.1 | 0.18155
156 | 2022-10-17 | 20 | 10 | 83.9956 | Yes | 84.1 | 0.10443
157 | 2022-10-17 | 20 | 11 | 83.7484 | Yes | 84.1 | 0.35157
158 | 2022-10-17 | 20 | 12 | 80.6753 | Yes | 84.1 | 3.4247
159 | 2022-10-17 | 21 | 1 | 87.5471 | Yes | 84.1 | -3.4471
160 | 2022-10-17 | 21 | 2 | 87.4477 | Yes | 84.1 | -3.3477
161 | 2022-10-17 | 21 | 3 | 85.7453 | Yes | 84.1 | -1.6453
162 | 2022-10-17 | 21 | 4 | 85.2848 | Yes | 84.1 | -1.1848
163 | 2022-10-17 | 21 | 5 | 85.2495 | Yes | 84.1 | -1.1495
164 | 2022-10-17 | 21 | 6 | 85.2495 | Yes | 84.1 | -1.1495
165 | 2022-10-17 | 21 | 7 | 84.8857 | Yes | 84.1 | -0.7857
166 | 2022-10-17 | 21 | 8 | 84.286 | Yes | 84.1 | -0.18598
167 | 2022-10-17 | 21 | 9 | 80.447 | Yes | 84.1 | 3.653
168 | 2022-10-17 | 21 | 10 | 74.5146 | Yes | 84.1 | 9.5854
169 | 2022-10-17 | 21 | 11 | 73.7165 | Yes | 84.1 | 10.3835
170 | 2022-10-17 | 21 | 12 | 74.2738 | Yes | 84.1 | 9.8262
171 | 2022-10-17 | 22 | 1 | 87.9979 | Yes | 84.1 | -3.8979
172 | 2022-10-17 | 22 | 2 | 89.3479 | Yes | 84.1 | -5.2479
173 | 2022-10-17 | 22 | 3 | 92.1432 | Yes | 84.1 | -8.0432
174 | 2022-10-17 | 22 | 4 | 91.223 | Yes | 84.1 | -7.123
175 | 2022-10-17 | 22 | 5 | 91.7008 | Yes | 84.1 | -7.6008
176 | 2022-10-17 | 22 | 6 | 90.2107 | Yes | 84.1 | -6.1107
177 | 2022-10-17 | 22 | 7 | 87.6645 | Yes | 84.1 | -3.5645
178 | 2022-10-17 | 22 | 8 | 84.8606 | Yes | 84.1 | -0.76055
179 | 2022-10-17 | 22 | 9 | 83.8824 | Yes | 84.1 | 0.21761
180 | 2022-10-17 | 22 | 10 | 84.2284 | Yes | 84.1 | -0.12842
181 | 2022-10-17 | 22 | 11 | 82.3038 | Yes | 84.1 | 1.7962
182 | 2022-10-17 | 22 | 12 | 82.3035 | Yes | 84.1 | 1.7965
183 | 2022-10-17 | 23 | 1 | 89.897 | Yes | 86.02 | -3.8771
184 | 2022-10-17 | 23 | 2 | 89.6327 | Yes | 86.02 | -3.6127
185 | 2022-10-17 | 23 | 3 | 87.6146 | Yes | 86.02 | -1.5946
186 | 2022-10-17 | 23 | 4 | 85.9168 | Yes | 86.02 | 0.10318
187 | 2022-10-17 | 23 | 5 | 85.2973 | Yes | 86.02 | 0.72275
188 | 2022-10-17 | 23 | 6 | 86.02 | Yes | 86.02 | 0
189 | 2022-10-17 | 23 | 7 | 85.96 | Yes | 86.02 | 0.06
190 | 2022-10-17 | 23 | 8 | 85.7608 | Yes | 86.02 | 0.25917
191 | 2022-10-17 | 23 | 9 | 79.7392 | Yes | 86.02 | 6.2808
192 | 2022-10-17 | 23 | 10 | 79.9437 | Yes | 86.02 | 6.0763
193 | 2022-10-17 | 23 | 11 | 79.7087 | Yes | 86.02 | 6.3113
194 | 2022-10-17 | 23 | 12 | 78.4553 | Yes | 86.02 | 7.5647
195 | 2022-10-17 | 24 | 1 | 85.5666 | Yes | 86.02 | 0.4534
196 | 2022-10-17 | 24 | 2 | 85.7885 | Yes | 86.02 | 0.23146
197 | 2022-10-17 | 24 | 3 | 82.182 | Yes | 86.02 | 3.838
198 | 2022-10-17 | 24 | 4 | 84.2593 | Yes | 86.02 | 1.7607
199 | 2022-10-17 | 24 | 5 | 84.2593 | Yes | 86.02 | 1.7607
200 | 2022-10-17 | 24 | 6 | 80.7202 | Yes | 86.02 | 5.2998
201 | 2022-10-17 | 24 | 7 | 81.1643 | Yes | 86.02 | 4.8557
202 | 2022-10-17 | 24 | 8 | 79.4453 | Yes | 86.02 | 6.5747
203 | 2022-10-17 | 24 | 9 | 76.9481 | Yes | 86.02 | 9.0719
204 | 2022-10-17 | 24 | 10 | 60.9261 | Yes | 86.02 | 25.0939
205 | 2022-10-17 | 24 | 11 | 64.0015 | Yes | 86.02 | 22.0185
206 | 2022-10-17 | 24 | 12 | 67.5387 | Yes | 86.02 | 18.4813
207 | 2022-10-18 | 1 | 2 | 103.1681 | Yes | 75.69 | -27.4781
208 | 2022-10-18 | 1 | 3 | 98.3683 | Yes | 75.69 | -22.6783
209 | 2022-10-18 | 1 | 4 | 96.6475 | Yes | 75.69 | -20.9575
210 | 2022-10-18 | 1 | 5 | 94.4161 | Yes | 75.69 | -18.7261
211 | 2022-10-18 | 1 | 6 | 96.8756 | Yes | 75.69 | -21.1856
212 | 2022-10-18 | 1 | 7 | 94.5534 | Yes | 75.69 | -18.8634
213 | 2022-10-18 | 1 | 8 | 89.4737 | Yes | 75.69 | -13.7837
214 | 2022-10-18 | 1 | 9 | 90.1209 | Yes | 75.69 | -14.4309
215 | 2022-10-18 | 1 | 10 | 78.0662 | Yes | 75.69 | -2.3762
216 | 2022-10-18 | 1 | 11 | 82.4965 | Yes | 75.69 | -6.8065
217 | 2022-10-18 | 1 | 12 | 77.4533 | Yes | 75.69 | -1.7633
218 | 2022-10-18 | 2 | 1 | 92.5124 | Yes | 75.69 | -16.8224
219 | 2022-10-18 | 2 | 2 | 87.5124 | Yes | 75.69 | -11.8224
220 | 2022-10-18 | 2 | 3 | 87.5076 | Yes | 75.69 | -11.8176
221 | 2022-10-18 | 2 | 4 | 87.9685 | Yes | 75.69 | -12.2785
222 | 2022-10-18 | 2 | 5 | 89.9976 | Yes | 75.69 | -14.3077
223 | 2022-10-18 | 2 | 6 | 86.7959 | Yes | 75.69 | -11.1059
224 | 2022-10-18 | 2 | 7 | 87.5101 | Yes | 75.69 | -11.8201
225 | 2022-10-18 | 2 | 8 | 87.4433 | Yes | 75.69 | -11.7533
226 | 2022-10-18 | 2 | 9 | 87.1098 | Yes | 75.69 | -11.4198
227 | 2022-10-18 | 2 | 10 | 87.1075 | Yes | 75.69 | -11.4175
228 | 2022-10-18 | 2 | 11 | 86.0262 | Yes | 75.69 | -10.3362
229 | 2022-10-18 | 2 | 12 | 82.5683 | Yes | 75.69 | -6.8783
230 | 2022-10-18 | 3 | 1 | 81.6413 | Yes | 75.69 | -5.9513
231 | 2022-10-18 | 3 | 2 | 82.3933 | Yes | 75.69 | -6.7033
232 | 2022-10-18 | 3 | 3 | 77.7855 | Yes | 75.69 | -2.0955
233 | 2022-10-18 | 3 | 4 | 77.5331 | Yes | 75.69 | -1.8431
234 | 2022-10-18 | 3 | 5 | 77.5331 | Yes | 75.69 | -1.8431
235 | 2022-10-18 | 3 | 6 | 77.7855 | Yes | 75.69 | -2.0955
236 | 2022-10-18 | 3 | 7 | 77.7855 | Yes | 75.69 | -2.0955
237 | 2022-10-18 | 3 | 8 | 77.9989 | Yes | 75.69 | -2.3088
238 | 2022-10-18 | 3 | 9 | 77.8835 | Yes | 75.69 | -2.1935
239 | 2022-10-18 | 3 | 10 | 75.68 | Yes | 75.69 | 0.00995
240 | 2022-10-18 | 3 | 11 | 75.02 | Yes | 75.69 | 0.66995
241 | 2022-10-18 | 3 | 12 | 75.69 | Yes | 75.69 | 0
242 | 2022-10-18 | 4 | 1 | 75 | Yes | 75.69 | 0.69
243 | 2022-10-18 | 4 | 2 | 75.69 | Yes | 75.69 | 0
244 | 2022-10-18 | 4 | 3 | 75 | Yes | 75.69 | 0.69
245 | 2022-10-18 | 4 | 4 | 75 | Yes | 75.69 | 0.69
246 | 2022-10-18 | 4 | 5 | 75.69 | Yes | 75.69 | 0
247 | 2022-10-18 | 4 | 6 | 77.3674 | Yes | 75.69 | -1.6774
248 | 2022-10-18 | 4 | 7 | 75.68 | Yes | 75.69 | 0.01
249 | 2022-10-18 | 4 | 8 | 75.68 | Yes | 75.69 | 0.01
250 | 2022-10-18 | 4 | 9 | 75.68 | Yes | 75.69 | 0.01
251 | 2022-10-18 | 4 | 10 | 75 | Yes | 75.69 | 0.69
252 | 2022-10-18 | 4 | 11 | 75 | Yes | 75.69 | 0.69
253 | 2022-10-18 | 4 | 12 | 74.4842 | Yes | 75.69 | 1.2058
254 | 2022-10-18 | 5 | 1 | 75.68 | Yes | 75.69 | 0.01
255 | 2022-10-18 | 5 | 2 | 75.68 | Yes | 75.69 | 0.01
256 | 2022-10-18 | 5 | 3 | 76.6649 | Yes | 75.69 | -0.9749
257 | 2022-10-18 | 5 | 4 | 79.6719 | Yes | 75.69 | -3.9819
258 | 2022-10-18 | 5 | 5 | 82.7739 | Yes | 75.69 | -7.0839
259 | 2022-10-18 | 5 | 6 | 83.0611 | Yes | 75.69 | -7.3711
260 | 2022-10-18 | 5 | 7 | 85.2871 | Yes | 75.69 | -9.5971
261 | 2022-10-18 | 5 | 8 | 83.2632 | Yes | 75.69 | -7.5732
262 | 2022-10-18 | 5 | 9 | 94.7687 | Yes | 75.69 | -19.0787
263 | 2022-10-18 | 5 | 10 | 94.6355 | Yes | 75.69 | -18.9455
264 | 2022-10-18 | 5 | 11 | 95.5852 | Yes | 75.69 | -19.8952
265 | 2022-10-18 | 5 | 12 | 91.3333 | Yes | 75.69 | -15.6433
266 | 2022-10-18 | 6 | 1 | 94.1036 | Yes | 75.69 | -18.4136
267 | 2022-10-18 | 6 | 2 | 85.8324 | Yes | 75.69 | -10.1424
268 | 2022-10-18 | 6 | 3 | 83.1786 | Yes | 75.69 | -7.4886
269 | 2022-10-18 | 6 | 4 | 80 | Yes | 75.69 | -4.31
270 | 2022-10-18 | 6 | 5 | 83.9912 | Yes | 75.69 | -8.3012
271 | 2022-10-18 | 6 | 6 | 90.1336 | Yes | 75.69 | -14.4436
272 | 2022-10-18 | 6 | 7 | 84.1363 | Yes | 75.69 | -8.4463
273 | 2022-10-18 | 6 | 8 | 89.8334 | Yes | 75.69 | -14.1434
274 | 2022-10-18 | 6 | 9 | 94.4456 | Yes | 75.69 | -18.7556
275 | 2022-10-18 | 6 | 10 | 109.8374 | Yes | 75.69 | -34.1474
276 | 2022-10-18 | 6 | 11 | 109.8346 | Yes | 75.69 | -34.1446
277 | 2022-10-18 | 6 | 12 | 109.8346 | Yes | 75.69 | -34.1446
278 | 2022-10-18 | 7 | 1 | 82.55 | Yes | 75.69 | -6.86
279 | 2022-10-18 | 7 | 2 | 80.5 | Yes | 75.69 | -4.81
280 | 2022-10-18 | 7 | 3 | 77.98 | Yes | 75.69 | -2.29
281 | 2022-10-18 | 7 | 4 | 79.56 | Yes | 75.69 | -3.87
282 | 2022-10-18 | 7 | 5 | 82.2485 | Yes | 75.69 | -6.5585
283 | 2022-10-18 | 7 | 6 | 88.8646 | Yes | 75.69 | -13.1746
284 | 2022-10-18 | 7 | 7 | 110 | Yes | 75.69 | -34.31
285 | 2022-10-18 | 7 | 8 | 112.2 | Yes | 75.69 | -36.51
286 | 2022-10-18 | 7 | 9 | 115.4636 | Yes | 75.69 | -39.7736
287 | 2022-10-18 | 7 | 10 | 121 | Yes | 75.69 | -45.31
288 | 2022-10-18 | 7 | 11 | 125.0024 | Yes | 75.69 | -49.3124
289 | 2022-10-18 | 7 | 12 | 137.7288 | Yes | 75.69 | -62.0388
290 | 2022-10-18 | 8 | 1 | 119.1024 | Yes | 94.88 | -24.2224
291 | 2022-10-18 | 8 | 2 | 117.6308 | Yes | 94.88 | -22.7508
292 | 2022-10-18 | 8 | 3 | 98.6574 | Yes | 94.88 | -3.7774
293 | 2022-10-18 | 8 | 4 | 97.7313 | Yes | 94.88 | -2.8513
294 | 2022-10-18 | 8 | 5 | 83.7291 | Yes | 94.88 | 11.1509
295 | 2022-10-18 | 8 | 6 | 79.95 | Yes | 94.88 | 14.93
296 | 2022-10-18 | 8 | 7 | 87 | Yes | 94.88 | 7.88
297 | 2022-10-18 | 8 | 8 | 70.9312 | Yes | 94.88 | 23.9488
298 | 2022-10-18 | 8 | 9 | 66.7109 | Yes | 94.88 | 28.1691
299 | 2022-10-18 | 8 | 10 | 58.2957 | Yes | 94.88 | 36.5843
300 | 2022-10-18 | 8 | 11 | 57.6954 | Yes | 94.88 | 37.1846
301 | 2022-10-18 | 8 | 12 | 57.9796 | Yes | 94.88 | 36.9004
302 | 2022-10-18 | 9 | 1 | 64.2449 | Yes | 94.88 | 30.6351
303 | 2022-10-18 | 9 | 2 | 65.3482 | Yes | 94.88 | 29.5318
304 | 2022-10-18 | 9 | 3 | 61.44 | Yes | 94.88 | 33.44
305 | 2022-10-18 | 9 | 4 | 58.3922 | Yes | 94.88 | 36.4878
306 | 2022-10-18 | 9 | 5 | 55.0214 | Yes | 94.88 | 39.8586
307 | 2022-10-18 | 9 | 6 | 55.9483 | Yes | 94.88 | 38.9317
308 | 2022-10-18 | 9 | 7 | 53.3573 | Yes | 94.88 | 41.5227
309 | 2022-10-18 | 9 | 8 | 52.5861 | Yes | 94.88 | 42.2939
310 | 2022-10-18 | 9 | 9 | 47.7683 | Yes | 94.88 | 47.1117
311 | 2022-10-18 | 9 | 10 | 41.1546 | Yes | 94.88 | 53.7254
312 | 2022-10-18 | 9 | 11 | 40.7546 | Yes | 94.88 | 54.1254
313 | 2022-10-18 | 9 | 12 | 36.8995 | Yes | 94.88 | 57.9805
314 | 2022-10-18 | 10 | 1 | 50.6475 | Yes | 94.88 | 44.2325
315 | 2022-10-18 | 10 | 2 | 50.8659 | Yes | 94.88 | 44.0141
316 | 2022-10-18 | 10 | 3 | 43.6003 | Yes | 94.88 | 51.2797
317 | 2022-10-18 | 10 | 4 | 43.0214 | Yes | 94.88 | 51.8586
318 | 2022-10-18 | 10 | 5 | 42.9517 | Yes | 94.88 | 51.9283
319 | 2022-10-18 | 10 | 6 | 41.4149 | Yes | 94.88 | 53.4651
320 | 2022-10-18 | 10 | 7 | 45.7485 | Yes | 94.88 | 49.1315
321 | 2022-10-18 | 10 | 8 | 44.6821 | Yes | 94.88 | 50.1979
322 | 2022-10-18 | 10 | 9 | 44.1106 | Yes | 94.88 | 50.7694
323 | 2022-10-18 | 10 | 10 | 39.3154 | Yes | 94.88 | 55.5646
324 | 2022-10-18 | 10 | 11 | 39.1983 | Yes | 94.88 | 55.6817
325 | 2022-10-18 | 10 | 12 | 37.8491 | Yes | 94.88 | 57.0309
326 | 2022-10-18 | 11 | 1 | 42.904 | Yes | 94.88 | 51.976
327 | 2022-10-18 | 11 | 2 | 42.585 | Yes | 94.88 | 52.295
328 | 2022-10-18 | 11 | 3 | 42.9372 | Yes | 94.88 | 51.9428
329 | 2022-10-18 | 11 | 4 | 43.5913 | Yes | 94.88 | 51.2887
330 | 2022-10-18 | 11 | 5 | 42.6901 | Yes | 94.88 | 52.1899
331 | 2022-10-18 | 11 | 6 | 41.873 | Yes | 94.88 | 53.007
332 | 2022-10-18 | 11 | 7 | 41.1466 | Yes | 94.88 | 53.7334
333 | 2022-10-18 | 11 | 8 | 41.8061 | Yes | 94.88 | 53.0739
334 | 2022-10-18 | 11 | 9 | 42.3843 | Yes | 94.88 | 52.4957
335 | 2022-10-18 | 11 | 10 | 42.6 | Yes | 94.88 | 52.28
336 | 2022-10-18 | 11 | 11 | 41.5471 | Yes | 94.88 | 53.3329
337 | 2022-10-18 | 11 | 12 | 42.9898 | Yes | 94.88 | 51.8903
338 | 2022-10-18 | 12 | 1 | 41.1711 | Yes | 94.88 | 53.7089
339 | 2022-10-18 | 12 | 2 | 42.1509 | Yes | 94.88 | 52.7291
340 | 2022-10-18 | 12 | 3 | 41.6222 | Yes | 94.88 | 53.2578
341 | 2022-10-18 | 12 | 4 | 47.3492 | Yes | 94.88 | 47.5308
342 | 2022-10-18 | 12 | 5 | 48.935 | Yes | 94.88 | 45.945
343 | 2022-10-18 | 12 | 6 | 48.5757 | Yes | 94.88 | 46.3043
344 | 2022-10-18 | 12 | 7 | 47.2489 | Yes | 94.88 | 47.6311
345 | 2022-10-18 | 12 | 8 | 48.4881 | Yes | 94.88 | 46.3919
346 | 2022-10-18 | 12 | 9 | 47.3237 | Yes | 94.88 | 47.5563
347 | 2022-10-18 | 12 | 10 | 48.6837 | Yes | 94.88 | 46.1964
348 | 2022-10-18 | 12 | 11 | 48.6898 | Yes | 94.88 | 46.1902
349 | 2022-10-18 | 12 | 12 | 49.033 | Yes | 94.88 | 45.847

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
NONTMOD | 1 | 8958.3333 | 1251.3416 | 7706.9917
TMODEL5 | 1 | 1029.99 | 1084.3406 | -54.3506
Total | 2 | 9988.3233 | 2335.6822 | 7652.6411