## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for April 2022
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Incomplete or Inaccurate Transmission | PGAE | Fresno | 2022-04-01 | 20 | No | DEC | 1 | 44652.3715 | 44652.375 | -0.9649 | 0 | 0 | -144.8058 | -1.8008 | 0 | -270.2583 | 0 | 0 | 0
2 | RT | Incomplete or Inaccurate Transmission | PGAE | Fresno | 2022-04-01 | 20 | No | INC | 1 | 44652.375 | 44652.3958 | -1.1414 | 0 | 0 | -11.4191 | 0 | 0 | 0 | 0 | 0 | 0
3 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2022-04-06 | 411 - 450 | No | DEC | 4 | 44657.7674 | 44657.9167 | -31.1697 | -16974.2997 | 0 | 1883.4682 | -15.22 | 0 | 1026.2803 | 0 | -1479.9317 | 0
4 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2022-04-07 | 54 | No | DEC | 3 | 44658.7604 | 44658.875 | -108.7909 | -6432.3153 | 0 | 10130.5294 | 0 | 0 | 0 | 0 | 0 | 0
5 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2022-04-08 | 54 | No | INC | 4 | 44659.7188 | 44659.875 | -1.951 | 53700.26 | 0 | 251.9244 | 0 | 0 | 0 | 0 | 0 | 0
6 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-04-18 | 46 - 100 | No | INC | 1 | 44669.6493 | 44669.6667 | 97.622 | 7570.1575 | 0 | -6035.6547 | 0.99583 | -61.5768 | 0 | -17.1055 | 0 | 0
7 | RT | Load Forecast Uncertainty | SCE | NA | 2022-04-18 | 200 | No | INC | 5 | 44669.6667 | 44669.875 | -17.8004 | 91011.0875 | 0 | 1368.6432 | 0 | 0 | 0 | 0 | 0 | 0
8 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2022-04-07 | 24 | No | DEC | 3 | 44658.75 | 44658.875 | -61.2336 | 0 | 0 | 4908.6051 | 0 | 0 | 0 | 0 | 0 | 0
9 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-04-02 | 20 | No | INC | 15 | 44653.2917 | 44653.9167 | 351.6875 | 0 | 0 | -4255.8815 | 0 | 0 | 0 | 0 | 0 | 0
10 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-04-03 | 15 | No | INC | 12 | 44654.125 | 44654.6146 | 66.3667 | 0 | 0 | -3254.634 | 0 | 0 | 0 | 0 | 0 | 0
11 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-01 | 15 - 60 | No | INC | 24 | 44652 | 44653 | -29.6296 | 96596.81 | 907.7009 | 589.1273 | 0 | 0 | 0 | 0 | -32.5086 | 0
12 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-02 | 15 | No | DEC | 4 | 44653.2083 | 44653.3542 | -0.38042 | 0 | 0 | -23.826 | 0 | 0 | 0 | 0 | 0 | 0
13 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-02 | 15 - 45 | No | INC | 20 | 44653 | 44653.8333 | -0.50458 | 56978.92 | 0 | 60.3706 | 0.45833 | -0.36097 | 0 | 0 | -840.6982 | 0
14 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-06 | 15 | No | DEC | 2 | 44657.8958 | 44657.9583 | 0 | -3601.4346 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-06 | 15 | No | INC | 1 | 44657.9583 | 44658 | -0.22597 | 1130.17 | 0 | 15.0261 | 0 | 0 | 0 | 0 | 0 | 0
16 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-07 | 15 - 30 | No | DEC | 24 | 44658.0208 | 44659 | -5.4649 | -13272.2402 | 0 | 723.649 | 0 | 0 | 0 | 0 | 0 | 0
17 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-07 | 15 - 30 | No | INC | 24 | 44658 | 44659 | 8.5085 | 36568.35 | 0 | -479.7879 | 0 | 0 | 0 | 0 | 0 | 0
18 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-08 | 15 | No | DEC | 21 | 44659 | 44659.875 | -0.31854 | -1561.6725 | 0 | -108.1906 | 0 | 0 | 0 | 0 | 0 | 0
19 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-08 | 15 - 30 | No | INC | 24 | 44659 | 44660 | 5.4629 | 46820.3925 | 0 | -390.3358 | 0 | 0 | 0 | 0 | -2.3578 | 0
20 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-09 | 15 | No | DEC | 2 | 44660.75 | 44660.8333 | 0.67792 | -1954.9848 | 0 | -47.7984 | 0 | 0 | 0 | 0 | 0 | 0
21 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-09 | 15 - 30 | No | INC | 24 | 44660 | 44661 | 4.9764 | 50171.4 | 0 | -589.393 | 0 | 0 | 0 | 0 | -6.0992 | 0
22 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-10 | 14.01 - 30 | No | DEC | 24 | 44661 | 44662 | 1.3719 | 1027.168 | 296.38 | -135.4219 | 0 | 0 | 0 | 0 | 0 | 0
23 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-10 | 14.01 - 45 | No | INC | 24 | 44661 | 44662 | -1.1589 | 7432.8058 | 1079.67 | 56.3295 | 0 | 0 | 0 | 0 | 0 | 0
24 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-11 | 30 - 45 | No | DEC | 20 | 44662.1354 | 44662.9583 | 13.7802 | -34836.2039 | 0 | -1075.2555 | 0 | 0 | 0 | 0 | 0 | 0
25 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-11 | 30 - 45 | No | INC | 24 | 44662 | 44663 | 38.7612 | 49878.05 | 0 | -2980.0252 | 0 | 0 | 0 | 0 | 0 | 0
26 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-12 | 15 - 30 | No | DEC | 16 | 44663.2917 | 44663.9583 | 9.8482 | -11963.2635 | 0 | -740.7966 | 0 | 0 | 0 | 0 | 0 | 0
27 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-12 | 15 - 45 | No | INC | 24 | 44663 | 44664 | -8.8972 | 86058.005 | 0 | 494.7937 | 0 | 0 | 0 | 0 | 0 | 0
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-13 | 28 - 30 | No | DEC | 24 | 44664 | 44665 | 21.2579 | -3598.962 | 0 | -1962.5216 | 0 | 0 | 0 | 0 | 0 | 0
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-13 | 30 | No | INC | 18 | 44664 | 44664.75 | -18.6242 | 73334.635 | 0 | -51.3776 | 0 | 0 | 0 | 0 | -122.0919 | 0
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-14 | 14 - 28 | No | DEC | 24 | 44665 | 44666 | 14.8196 | -27890.7147 | 0 | -1188.6004 | 0 | 0 | 0 | 0 | 0 | 0
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-14 | 14 - 28 | No | INC | 23 | 44665.0451 | 44666 | 7.1878 | 68308.0625 | 0 | -961.539 | 0 | 0 | 0 | 0 | 0 | 0
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-15 | 28 - 30 | No | DEC | 6 | 44666.75 | 44667 | 0.90389 | -12541.0064 | 0 | 7.1779 | 0 | 0 | 0 | 0 | 0 | 0
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-15 | 28 - 45 | No | INC | 24 | 44666 | 44667 | -14.6042 | 97500.485 | 0 | 159.2331 | 0 | 0 | 0 | 0 | -32.5762 | 0
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-16 | 15 - 30 | No | DEC | 6 | 44667 | 44667.25 | -3.4554 | -9219.1902 | 0 | 273.7172 | 0 | 0 | 0 | 0 | 0 | 0
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-16 | 15 - 30 | No | INC | 24 | 44667 | 44668 | 0.64569 | 39901.23 | 0 | -258.8458 | 0 | 0 | 0 | 0 | -85.4199 | 0
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-17 | 15 | No | DEC | 3 | 44668.8125 | 44668.9167 | 6.3929 | -2385.729 | 506.4671 | -558.5852 | 0 | 0 | 0 | 0 | 0 | 0
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-17 | 14 - 28 | No | INC | 24 | 44668 | 44669 | -6.75 | 50520.1775 | 0 | 275.1778 | 0 | 0 | 0 | 0 | -238.0399 | 0
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-18 | 15 - 45 | No | DEC | 23 | 44669 | 44669.9583 | 10.89 | -6591.6206 | 0 | -710.0533 | 0 | 0 | 0 | 0 | 0 | 0
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-18 | 15 - 45 | No | INC | 24 | 44669 | 44670 | -0.19167 | 60173.595 | 0 | 116.9507 | 0 | 0 | 0 | 0 | 0 | 0
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-19 | 30 | No | DEC | 4 | 44670.75 | 44670.9167 | 1.8078 | -6267.1776 | 0 | -127.8273 | 0 | 0 | 0 | 0 | 0 | 0
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-19 | 15 - 30 | No | INC | 24 | 44670 | 44671 | -6.949 | 77008.555 | 0 | 347.4002 | 0 | 0 | 0 | 0 | 0 | 0
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-20 | 15 - 30 | No | DEC | 23 | 44671.0104 | 44671.9583 | 6.2681 | 2697.9194 | 0 | -420.4788 | 0 | 0 | 0 | 0 | 0 | 0
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-20 | 15 - 30 | No | INC | 24 | 44671 | 44672 | -11.155 | 61116.48 | 0 | 180.8902 | 0 | 0 | 0 | 0 | 0 | 0
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-21 | 15 - 30 | No | DEC | 24 | 44672.0312 | 44673 | -4.5194 | -19982.6555 | 0 | 315.4407 | 0 | 0 | 0 | 0 | 0 | 0
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-21 | 15 - 30 | No | INC | 18 | 44672 | 44672.75 | 7.8142 | 51733.325 | 0 | -476.5607 | 0 | 0 | 0 | 0 | 0 | 0
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-22 | 15 - 30 | No | INC | 20 | 44673 | 44673.8333 | -7.3083 | 52157.52 | 0 | 280.2688 | 0 | 0 | 0 | 0 | 0 | 0
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-24 | 15 | No | DEC | 1 | 44675.9653 | 44676 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-24 | 30 | No | INC | 1 | 44675.9653 | 44676 | 0 | 3498.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-25 | 15 - 45 | No | DEC | 24 | 44676 | 44677 | -9.0721 | -22866.4569 | 0 | 683.8711 | 0 | 0 | 0 | 0 | 0 | 0
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-25 | 30 - 45 | No | INC | 17 | 44676 | 44676.7083 | -18.4952 | 69766.61 | 0 | 1392.0192 | 0 | 0 | 0 | 0 | 0 | 0
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-26 | 15 - 45 | No | DEC | 23 | 44677 | 44677.9583 | -4.2183 | -17745.0975 | 0 | 284.4765 | 0 | 0 | 0 | 0 | 0 | 0
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-26 | 30 | No | INC | 17 | 44677.3125 | 44678 | 2.8652 | 39848.85 | 0 | -337.735 | 0 | 0 | 0 | 0 | -97.7517 | 0
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-27 | 30 | No | DEC | 19 | 44678.2083 | 44679 | -4.9142 | -20515.6263 | 0 | 339.1179 | 0 | 0 | 0 | 0 | 0 | 0
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-27 | 30 | No | INC | 24 | 44678 | 44679 | -12.0263 | 65472.09 | 0 | 62.9357 | 0 | 0 | 0 | 0 | -104.0289 | 0
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-28 | 15 - 30 | No | DEC | 8 | 44679 | 44679.3021 | -5.7162 | 1626.35 | 0 | 398.3228 | 0 | 0 | 0 | 0 | 0 | 0
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-28 | 30 | No | INC | 24 | 44679 | 44680 | -15.5498 | 88148.41 | 0 | -68.3416 | 0 | 0 | 0 | 0 | -196.1058 | 0
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-29 | 30 | No | DEC | 6 | 44680.75 | 44681 | 0.67792 | 0 | 0 | -26.7143 | 0 | 0 | 0 | 0 | 0 | 0
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-29 | 15 - 30 | No | INC | 24 | 44680 | 44681 | -19.1158 | 83060.1 | 0 | 185.9292 | 0 | 0 | 0 | 0 | 0 | 0
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-30 | 15 - 30 | No | DEC | 24 | 44681 | 44682 | 0.46813 | -7625.2834 | 0 | 3.4429 | 0 | 0 | 0 | 0 | 0 | 0
60 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-30 | 15 - 30 | No | INC | 24 | 44681 | 44682 | -4.2486 | 35552.155 | 954.85 | 9.6193 | 0.5625 | -1.8963 | 0 | 0 | -212.3135 | 0
61 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-06 | 30 - 47 | No | DEC | 1 | 44657.8403 | 44657.875 | 25.2179 | -1059.8167 | 0 | -1352.3265 | 12.7083 | -672.4217 | 0 | 0 | -179.5164 | 0
62 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-06 | 47 | No | INC | 3 | 44657.875 | 44658 | -0.35 | 9538.35 | 0 | 20.1693 | 0 | 0 | 0 | 0 | -1014.314 | 0
63 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-07 | 20 - 47 | No | INC | 13 | 44658 | 44658.5417 | -12.6108 | 29600 | 665.9 | 727.8857 | 0 | 0 | 0 | 0 | -409.9064 | 0
64 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-08 | 20 | No | DEC | 1 | 44659.7917 | 44659.8333 | -4.9458 | 0 | 47.7298 | 294.786 | 0 | 0 | 0 | 0 | 0 | 0
65 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-08 | 20 - 40 | No | INC | 13 | 44659.4583 | 44660 | -57.7275 | 59014.5158 | 1610.6848 | 2494.275 | 0 | 0 | 0 | 0 | 0 | 0
66 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-09 | 40 | No | INC | 22 | 44660 | 44660.9167 | -0.58333 | 92989.82 | 0 | -221.4734 | 0 | 0 | 0 | 0 | 0 | 0
67 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-10 | 20 | No | DEC | 2 | 44661.8854 | 44661.9583 | 1.9833 | 0 | 0 | -149.195 | 0 | 0 | 0 | 0 | 0 | 0
68 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-10 | 20 | No | INC | 1 | 44661.9583 | 44662 | 0 | 3285.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
69 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-11 | 20 | No | INC | 21 | 44662 | 44662.875 | -56.8898 | 68452.0833 | 0 | 1358.4539 | 0 | 0 | 0 | 0 | 0 | 0
70 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-14 | 20 | No | INC | 8 | 44665.434 | 44665.7292 | -13.284 | -292.0375 | 0 | 108.7363 | 0 | 0 | 0 | 0 | 0 | 0
71 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-23 | 20 | No | DEC | 5 | 44674.75 | 44674.9583 | -43.1635 | 0 | 0 | 2946.8959 | 0 | 0 | 0 | 0 | 0 | 0
72 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-23 | 20 - 40 | No | INC | 16 | 44674.3333 | 44675 | -14.8271 | 3435.7 | 0 | -148.7808 | 0 | 0 | 0 | 0 | -12270.1876 | 0
73 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-24 | 20 - 40 | No | INC | 17 | 44675 | 44675.7083 | 52.8768 | 24049.9 | 0 | -3676.2088 | 0 | 0 | 0 | 0 | 0 | 0
74 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-26 | 20 - 40 | No | INC | 14 | 44677.2743 | 44677.8333 | 3.731 | 42967.2283 | 534.4529 | -200.697 | 0 | 0 | 0 | 0 | -860.3391 | 0
75 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-04-14 | 35 - 50 | No | DEC | 20 | 44665.191 | 44666 | 42.9143 | 0 | 0 | -4657.7129 | -16.5433 | 0 | 1335.6964 | 0 | -18174.4001 | 0
76 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-04-14 | 35 - 50 | No | INC | 19 | 44665.2083 | 44666 | 36.0435 | 0 | 0 | -1915.7257 | 0 | 0 | 0 | 0 | 0 | 0
77 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-04-15 | 7 - 60 | No | DEC | 23 | 44666 | 44666.9583 | -41.2773 | 0 | 0 | 2638.1455 | -38.5567 | 0 | 2608.6218 | 0 | -11966.5212 | 0
78 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-04-15 | 14 - 71 | No | INC | 23 | 44666.0417 | 44667 | 51.6978 | 0 | 0 | -2778.3362 | -4.2665 | 0 | 269.7427 | 0 | -497.5192 | 0
79 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-04-19 | 38 | No | DEC | 4 | 44670.7049 | 44670.8542 | -66.1487 | 0 | 0 | 3446.5928 | -21 | 0 | 1817.3286 | 0 | -749.2005 | 0
80 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-04-22 | 50 | No | DEC | 3 | 44673.8125 | 44673.9167 | -17.5261 | 0 | 0 | 1142.1411 | -8.73 | 0 | 569.9755 | 0 | -3039.7065 | 0
81 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-04-22 | 50 | No | INC | 11 | 44673.3611 | 44673.7917 | -47.9904 | 0 | 0 | 1025.5032 | 0 | 0 | 0 | 0 | 0 | 0
82 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-04-23 | 50 | No | DEC | 2 | 44674.8056 | 44674.875 | -9.3642 | 0 | 0 | 675.4707 | -9.465 | 0 | 682.2137 | 0 | -2474.0626 | 0
83 | RT | Planned Transmission Outage | PGAE | NA | 2022-04-02 | 36 | No | INC | 4 | 44653.1458 | 44653.2917 | -19.8285 | 0 | 0 | 944.5293 | 0 | 0 | 0 | 0 | 0 | 0
84 | RT | Planned Transmission Outage | PGAE | NA | 2022-04-25 | 29 - 30 | No | DEC | 16 | 44676.2743 | 44676.9167 | -7.3741 | 0 | 0 | 639.3154 | -7.4082 | 0 | 641.9764 | 0 | -542.777 | 0
85 | RT | Planned Transmission Outage | PGAE | NA | 2022-04-25 | 29 | No | INC | 1 | 44676.9167 | 44676.9583 | -1.3687 | 0 | 0 | 137.6595 | 0 | 0 | 0 | 0 | 0 | 0
86 | RT | Planned Transmission Outage | PGAE | NA | 2022-04-26 | 30.68 | No | DEC | 1 | 44677.8333 | 44677.875 | -2.0598 | 0 | 0 | 179.2106 | 0 | 0 | 0 | 0 | -26.6918 | 0
87 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2022-04-02 | 100 - 400.1 | No | INC | 12 | 44653.5 | 44654 | 1491.4987 | 340832.4225 | 156236.48 | -64259.5454 | 263.6737 | -18678.7723 | 0 | 0 | -1004.4718 | 0
88 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2022-04-03 | 100 - 400.1 | No | INC | 14 | 44654 | 44654.5833 | -25.522 | 82794.38 | 0 | -304.8061 | 6.8167 | -487.528 | 0 | 0 | 0 | 0
89 | RT | Planned Transmission Outage | SCE | Fresno | 2022-04-18 | 30 | No | DEC | 1 | 44669.3507 | 44669.3854 | -5.5973 | 0 | 0 | 490.6814 | -25.5046 | 0 | 568.9991 | 0 | -909.2141 | 0
90 | RT | Planned Transmission Outage | SCE | NA | 2022-04-11 | 4.2 - 9.1 | No | DEC | 5 | 44662.809 | 44663 | -8.6428 | 0 | 0 | 635.7047 | -7.4957 | 0 | 537.9083 | 0 | -2362.9897 | 0
91 | RT | Planned Transmission Outage | SCE | NA | 2022-04-12 | 4.2 - 9.1 | No | DEC | 4 | 44663 | 44663.1562 | 0.43947 | 0 | 0 | 179.2215 | 0 | 0 | 0 | 0 | -1018.2823 | 0
92 | RT | Planned Transmission Outage | SCE | NA | 2022-04-18 | 200 | No | INC | 9 | 44669.2917 | 44669.6667 | -28.824 | 171300.61 | 101203.6 | 2905.0802 | 0 | 0 | 0 | 0 | 0 | 0
93 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-13 | 24 | No | INC | 5 | 44664.559 | 44664.75 | -210.9538 | 49583.9917 | 239.3533 | 15412.5203 | 0 | 0 | 0 | 0 | 0 | 0
94 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-19 | 110 | No | DEC | 3 | 44670.7083 | 44670.8333 | -12.4195 | -59390.7241 | 0 | 2142.2874 | 0 | 0 | 0 | 0 | 0 | 0
95 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-19 | 24 - 110 | No | INC | 8 | 44670.3958 | 44670.7083 | -273.9333 | 47873.3325 | 0 | 26795.4894 | 0 | 0 | 0 | 0 | -967.3806 | 0
96 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-21 | 422 | No | INC | 2 | 44672.25 | 44672.3333 | -6.7917 | 17227.05 | 0 | 417.4441 | 0 | 0 | 0 | 0 | -16832.4477 | 0
97 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-22 | 422 | No | INC | 2 | 44673.25 | 44673.3333 | -125.306 | 33333.3 | 2470.2578 | 8579.8555 | 0 | 0 | 0 | 0 | -6273.4077 | 0
98 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-23 | 100 - 200 | No | INC | 15 | 44674.2569 | 44674.875 | 145.985 | 108725.5358 | 655.2385 | -4309.5677 | 122.062 | -3628.3018 | 0 | 0 | -136091.9838 | 0
99 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-25 | 24 - 72 | No | DEC | 14 | 44676.25 | 44676.8333 | -10.6018 | -951.75 | 0 | 926.2971 | 0 | 0 | 0 | 0 | 0 | 0
100 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-25 | 24 - 72 | No | INC | 10 | 44676.2917 | 44676.7083 | 10.5901 | 34720.95 | 907.2533 | -537.999 | 0 | 0 | 0 | 0 | -169.3055 | 0
101 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-26 | 24 - 300 | No | INC | 7 | 44677.25 | 44677.5417 | -17.4356 | 54519.1775 | 714.56 | -5323.4714 | 109.599 | -5973.8994 | 0 | 0 | -33977.2181 | 0
102 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-27 | 24 | No | INC | 2 | 44678.2882 | 44678.3542 | -144.3694 | 19511.5951 | 1176.5945 | 13638.2641 | 0 | 0 | 0 | 0 | 0 | 0
103 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-28 | 24 | No | INC | 12 | 44679.25 | 44679.75 | -80.0823 | 45812.76 | 694.3292 | 7312.829 | 0 | 0 | 0 | 0 | 0 | 0
104 | RT | Reliability Assessment | PGAE | Bay Area | 2022-04-07 | 72 - 77 | No | DEC | 3 | 44658.7812 | 44658.875 | -55.02 | -2750 | 0 | 4222.1019 | -4.2533 | 0 | 368.3812 | 0 | 0 | 0
105 | RT | Reliability Assessment | PGAE | Bay Area | 2022-04-07 | 77 | No | INC | 1 | 44658.875 | 44658.9167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
106 | RT | Reliability Assessment | PGAE | Fresno | 2022-04-01 | 25 | No | DEC | 1 | 44652.7396 | 44652.75 | -4.5145 | 0 | 0 | -47.0697 | -4.1824 | 0 | -43.6463 | 0 | 0 | 0
107 | RT | Reliability Assessment | PGAE | Fresno | 2022-04-01 | 20 - 25 | No | INC | 10 | 44652.3854 | 44652.7917 | -7.0649 | 0 | 0 | 44.9328 | 0 | 0 | 0 | 0 | 0 | 0
108 | RT | Reliability Assessment | PGAE | Humboldt | 2022-04-21 | 30 | No | DEC | 5 | 44672.7917 | 44673 | 0 | -5779.704 | 0 | 16.5709 | 0 | 0 | 0 | 0 | 0 | 0
109 | RT | Reliability Assessment | PGAE | Humboldt | 2022-04-22 | 15 | No | DEC | 4 | 44673.8368 | 44674 | -4.1333 | 858.56 | 0 | 274.7656 | 0 | 0 | 0 | 0 | 0 | 0
110 | RT | Reliability Assessment | PGAE | Humboldt | 2022-04-22 | 15 - 30 | No | INC | 24 | 44673 | 44674 | -7.2425 | 56557.64 | 0 | 275.5449 | 0 | 0 | 0 | 0 | 0 | 0
111 | RT | Reliability Assessment | PGAE | Humboldt | 2022-04-23 | 15 | No | DEC | 24 | 44674 | 44675 | -0.062917 | 0 | 0 | 3.9196 | 0 | 0 | 0 | 0 | 0 | 0
112 | RT | Reliability Assessment | PGAE | Humboldt | 2022-04-23 | 15 | No | INC | 24 | 44674 | 44675 | -0.96948 | 25931.01 | 0 | 30.9622 | 0 | 0 | 0 | 0 | 0 | 0
113 | RT | Reliability Assessment | PGAE | Humboldt | 2022-04-24 | 15 - 62 | No | DEC | 22 | 44675 | 44675.9167 | 3.0405 | -32554.1954 | 0 | -653.6372 | -6.1514 | 0 | 138.59 | 0 | 0 | 0
114 | RT | Reliability Assessment | PGAE | Humboldt | 2022-04-24 | 15 - 62 | No | INC | 17 | 44675.2917 | 44676 | 12.0423 | 24078.77 | 0 | -475.157 | 0 | 0 | 0 | 0 | 0 | 0
115 | RT | Reliability Assessment | PGAE | Humboldt | 2022-04-25 | 45 - 62 | No | INC | 1 | 44676 | 44676.0417 | -8.3517 | 3395.72 | 0 | 645.5729 | 0 | 0 | 0 | 0 | 0 | 0
116 | RT | Reliability Assessment | PGAE | Kern | 2022-04-08 | 32 | No | INC | 3 | 44659.875 | 44660 | -0.30417 | 8486.19 | 7326.9 | 20.4433 | 0 | 0 | 0 | 0 | 0 | 0
117 | RT | Reliability Assessment | PGAE | Kern | 2022-04-09 | 32 | Yes | INC | 1 | 44660 | 44660.0417 | -0.18417 | 2824.7 | 0 | 10.1031 | 0 | 0 | 0 | 0 | 0 | 0
118 | RT | Reliability Assessment | PGAE | Stockton | 2022-04-07 | 58 - 65 | No | DEC | 11 | 44658.5521 | 44659 | -120.6086 | 0 | 0 | -935.4921 | -18.915 | 0 | 94.575 | 0 | 0 | 0
119 | RT | Reliability Assessment | PGAE | Stockton | 2022-04-08 | 60 - 65 | No | DEC | 24 | 44659 | 44659.9792 | -210.679 | 0 | 0 | -20319.7711 | -37.1583 | 0 | -5612.4782 | 0 | 0 | 0
120 | RT | Reliability Assessment | PGAE | Stockton | 2022-04-15 | 15 | No | DEC | 1 | 44666.5729 | 44666.5938 | -14.5765 | 0 | 0 | 992.0036 | -12.3158 | 0 | 836.3467 | 0 | 0 | 0
121 | RT | Reliability Assessment | PGAE | Stockton | 2022-04-15 | 71 | No | INC | 3 | 44666.4583 | 44666.5833 | 19.9822 | 0 | 0 | -1757.2644 | -3.3527 | 0 | 186.8919 | 0 | 0 | 0
122 | RT | Reliability Assessment | PGAE | NA | 2022-04-03 | 35 - 38 | No | INC | 8 | 44654.6667 | 44655 | 4.0479 | 0 | 0 | -203.0384 | 0 | 0 | 0 | 0 | 0 | 0
123 | RT | Reliability Assessment | PGAE | NA | 2022-04-04 | 38 - 40 | No | INC | 24 | 44655 | 44656 | -2.5165 | 0 | 0 | -254.6462 | 0 | 0 | 0 | 0 | 0 | 0
124 | RT | Reliability Assessment | PGAE | NA | 2022-04-05 | 40 | No | INC | 24 | 44656 | 44657 | -28.9159 | 0 | 0 | 1477.0724 | 0 | 0 | 0 | 0 | 0 | 0
125 | RT | Reliability Assessment | PGAE | NA | 2022-04-06 | 40 | No | INC | 10 | 44657 | 44657.4167 | 35.4502 | 0 | 0 | -2175.2177 | 0 | 0 | 0 | 0 | 0 | 0
126 | RT | Reliability Assessment | PGAE | NA | 2022-04-08 | 7 | No | DEC | 5 | 44659.5486 | 44659.7292 | -2.5645 | 0 | 0 | 39.2074 | -3.038 | 0 | 1.1544 | 0 | 0 | 0
127 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2022-04-19 | 63 | No | DEC | 1 | 44670.5764 | 44670.5833 | -0.12838 | 0 | 0 | 5.5632 | 0 | 0 | 0 | 0 | 0 | 0
128 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2022-04-19 | 63 | No | INC | 6 | 44670.5833 | 44670.8333 | 7.4987 | 0 | 0 | -465.7221 | 0 | 0 | 0 | 0 | 0 | 0
129 | RT | Reliability Assessment | SCE | NA | 2022-04-02 | 0 | No | DEC | 1 | 44653.7882 | 44653.7917 | -2.3599 | 0 | 0 | 98.6671 | -0.415 | 0 | 0.1577 | 0 | 0 | 0
130 | RT | Reliability Assessment | SCE | NA | 2022-04-02 | 0 | No | INC | 1 | 44653.7882 | 44653.809 | -1.8879 | 0 | 0 | 75.3833 | 0 | 0 | 0 | 0 | 0 | 0
131 | RT | Software Limitation | PGAE | Bay Area | 2022-04-25 | 0 | No | INC | 1 | 44676.2188 | 44676.2604 | -23.5 | 0 | 0 | 976.995 | -23.5 | 0 | 976.995 | 0 | 0 | 0
132 | RT | Software Limitation | PGAE | NA | 2022-04-20 | 10 | No | DEC | 6 | 44671.7465 | 44671.9583 | -3.6171 | 0 | 0 | -45.9662 | -4.35 | 0 | 1.653 | 0 | 0 | 0
133 | RT | Software Limitation | PGAE | NA | 2022-04-20 | 10 | No | INC | 1 | 44671.9583 | 44672 | -0.77917 | 0 | 0 | 61.0611 | 0 | 0 | 0 | 0 | 0 | 0
134 | RT | Software Limitation | PGAE | NA | 2022-04-21 | 10 | No | INC | 6 | 44672 | 44672.2292 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
135 | RT | Software Limitation | SCE | LA Basin | 2022-04-04 | 0 | No | INC | 2 | 44655.0243 | 44655.0694 | -30.16 | 1774.8792 | 0 | 0 | -30.16 | 0 | 0 | 0 | 0 | 0
136 | RT | Software Limitation | SCE | NA | 2022-04-15 | 13 | No | DEC | 5 | 44666.5278 | 44666.7188 | -87.6678 | 0 | 0 | -184.2951 | 3.25 | 0.0325 | 0 | 0 | 0 | 0
137 | RT | Unit Testing | PGAE | Bay Area | 2022-04-19 | 299 | No | INC | 1 | 44670.8333 | 44670.875 | 0.77604 | -17342.85 | 0 | -56.417 | 4.0156 | -421.4398 | 0 | 0 | 0 | 0
138 | RT | Unit Testing | PGAE | Fresno | 2022-04-14 | 10 | No | INC | 1 | 44665.6528 | 44665.6771 | 6.2005 | 0 | 0 | -224.7449 | 4.25 | -115.5659 | 0 | 0 | 0 | 0
139 | RT | Unit Testing | SCE | Big Creek-Ventura | 2022-04-02 | 741 | No | INC | 3 | 44653.9132 | 44654 | 1391.5196 | 108146.8083 | 0 | -61872.3008 | 245.4862 | -18399.3885 | 0 | 0 | 0 | 0
140 | RT | Unit Testing | SCE | Big Creek-Ventura | 2022-04-03 | 100 - 741.27 | No | INC | 20 | 44654 | 44654.8333 | 299.7984 | 8025.7475 | 0 | -10892.7048 | 68.0982 | -4828.6642 | 0 | 0 | 0 | 0
141 | RT | Unit Testing | SCE | Big Creek-Ventura | 2022-04-22 | 50 - 750 | No | INC | 13 | 44673.0521 | 44673.5729 | 658.0177 | 16145.94 | 0 | -33664.0683 | 335.4958 | -31395.8937 | 0 | 0 | 0 | 0
142 | RT | Unit Testing | SCE | Fresno | 2022-04-08 | 45 | No | INC | 1 | 44659.8229 | 44659.8438 | 19.5517 | 0 | 0 | -1362.6877 | 3.4812 | -305.405 | 0 | 0 | 0 | 0
143 | RT | Unit Testing | SCE | LA Basin | 2022-04-07 | 20 - 326 | No | INC | 14 | 44658.4167 | 44659 | -139.6052 | 0 | 0 | 14489.66 | 2.6086 | -237.4074 | 0 | 0 | 0 | 0
144 | RT | Unit Testing | SCE | LA Basin | 2022-04-08 | 20 - 326 | No | INC | 23 | 44659 | 44659.9479 | -195.4119 | 7116.3275 | 0 | 15518.0479 | 30.1402 | -2645.5037 | 0 | 0 | 0 | 0
145 | RT | Unit Testing | SCE | LA Basin | 2022-04-09 | 194 - 334 | No | INC | 4 | 44660.7083 | 44660.8542 | 93.8861 | 0 | 0 | -8712.7923 | 97.1362 | -8571.3018 | 0 | 0 | 0 | 0
146 | RT | Unit Testing | SCE | LA Basin | 2022-04-22 | 40 - 130 | No | INC | 24 | 44673 | 44674 | 19.0776 | 223361.325 | 0 | -978.4615 | 0 | 0 | 0 | 0 | 0 | 0
147 | RT | Unit Testing | SCE | LA Basin | 2022-04-23 | 130 | No | INC | 2 | 44674 | 44674.0521 | 40.3374 | 4264.5 | 0 | -2112.7667 | 0 | 0 | 0 | 0 | 0 | 0
148 | RT | Unit Testing | SCE | LA Basin | 2022-04-26 | 114 | No | INC | 1 | 44677.2674 | 44677.2882 | 13.2494 | 0 | 0 | -1366.0643 | 15.7494 | -1559.1881 | 0 | 0 | 0 | 0
149 | RT | Unit Testing | SCE | LA Basin | 2022-04-28 | 7.6 - 36 | No | INC | 7 | 44679.5347 | 44679.8125 | -17.377 | 0 | 0 | 1381.2278 | 5.2685 | -89.862 | 0 | 0 | 0 | 0
150 | RT | Unit Testing | SCE | LA Basin | 2022-04-29 | 36 | No | INC | 2 | 44680.3333 | 44680.3958 | 0.070161 | 0 | 0 | -141.2856 | 1.039 | -181.4449 | 0 | 0 | 0 | 0
151 | RT | Unit Testing | SDGE | San Diego-IV | 2022-04-13 | 45.72 | No | INC | 1 | 44664.9306 | 44664.9583 | 30.0639 | 7728.4783 | 0 | -2690.428 | 0 | 0 | 0 | 0 | 0 | 0
152 | RT | Voltage Support | PGAE | Humboldt | 2022-04-02 | 15 | No | DEC | 3 | 44653.8958 | 44654 | -4.0675 | 268.77 | 0 | 177.4731 | 0 | 0 | 0 | 0 | 0 | 0
153 | RT | Voltage Support | PGAE | Humboldt | 2022-04-02 | 30 | No | INC | 4 | 44653.8333 | 44654 | -0.21667 | 10481.9875 | 0 | 9.4357 | 0 | 0 | 0 | 0 | 0 | 0
154 | RT | Voltage Support | PGAE | Humboldt | 2022-04-03 | 15 | No | DEC | 19 | 44654 | 44654.7674 | -1.0564 | 0 | 0 | 6.7236 | 0 | 0 | 0 | 0 | 0 | 0
155 | RT | Voltage Support | PGAE | Humboldt | 2022-04-03 | 15 - 30 | No | INC | 24 | 44654 | 44655 | -1.9739 | 37627.56 | 0 | -496.4831 | 0.45833 | -3.2662 | 0 | 0 | -280.3059 | 0
156 | RT | Voltage Support | PGAE | Humboldt | 2022-04-04 | 15 - 30 | No | INC | 24 | 44655 | 44656 | 0.31208 | 60473.01 | 0 | -10.7345 | 0.66667 | -9.2627 | 0 | 0 | -3.8373 | 0
157 | RT | Voltage Support | PGAE | Humboldt | 2022-04-05 | 15 | No | DEC | 2 | 44656.9167 | 44657 | -0.065833 | 271.955 | 0 | 3.991 | 0 | 0 | 0 | 0 | 0 | 0
158 | RT | Voltage Support | PGAE | Humboldt | 2022-04-05 | 30 | No | INC | 24 | 44656 | 44657 | -25.7708 | 76147.4 | 0 | 28.7363 | 0 | 0 | 0 | 0 | -213.0024 | 0
159 | RT | Voltage Support | PGAE | Humboldt | 2022-04-06 | 15 - 30 | No | DEC | 23 | 44657 | 44657.9583 | 3.6602 | -12073.833 | 0 | -181.3506 | 0 | 0 | 0 | 0 | 0 | 0
160 | RT | Voltage Support | PGAE | Humboldt | 2022-04-06 | 15 - 30 | No | INC | 24 | 44657 | 44658 | -6.2301 | 45771.66 | 0 | -103.946 | 0 | 0 | 0 | 0 | -2.2459 | 0
161 | RT | Voltage Support | PGAE | Humboldt | 2022-04-07 | 30 | No | INC | 1 | 44658 | 44658.0208 | -0.065833 | 580.45 | 0 | 3.8701 | 0 | 0 | 0 | 0 | 0 | 0
162 | RT | Voltage Support | PGAE | Sierra | 2022-04-01 | 20 | No | DEC | 1 | 44652.2083 | 44652.25 | -24.4667 | 0 | 0 | 1302.7714 | 0 | 0 | 0 | 0 | 0 | 0
163 | RT | Voltage Support | PGAE | Sierra | 2022-04-01 | 20 | No | INC | 7 | 44652 | 44652.2917 | -25.0766 | 3054.45 | 0 | 964.0383 | 0 | 0 | 0 | 0 | 0 | 0
164 | RT | Voltage Support | PGAE | Sierra | 2022-04-02 | 20 | No | INC | 9 | 44653.4167 | 44653.7917 | 5 | 27377.55 | 606.29 | -0.00195 | 0 | 0 | 0 | 0 | 0 | 0
165 | RT | Voltage Support | PGAE | Sierra | 2022-04-03 | 20 | Yes | INC | 11 | 44654.3333 | 44654.7917 | 16.1819 | 34221.9375 | 553.44 | -146.7883 | 0 | 0 | 0 | 0 | 0 | 0
166 | RT | Voltage Support | PGAE | Sierra | 2022-04-08 | 40 | No | INC | 1 | 44659.9583 | 44659.9618 | 0 | 346.7742 | 54.6063 | 0 | 0 | 0 | 0 | 0 | 0 | 0
167 | RT | Voltage Support | PGAE | Sierra | 2022-04-09 | 20 - 40 | No | INC | 13 | 44660.4826 | 44661 | -30.045 | 46853.62 | 645.29 | 2205.0003 | 0 | 0 | 0 | 0 | 0 | 0
168 | RT | Voltage Support | PGAE | Sierra | 2022-04-10 | 20 | No | DEC | 2 | 44661.75 | 44661.8333 | -18.1125 | 0 | 0 | 1224.8823 | 0 | 0 | 0 | 0 | 0 | 0
169 | RT | Voltage Support | PGAE | Sierra | 2022-04-10 | 20 - 40 | No | INC | 24 | 44661 | 44662 | 6.2867 | 88020.345 | 470.524 | -755.2195 | 0 | 0 | 0 | 0 | 0 | 0
170 | RT | Voltage Support | PGAE | Sierra | 2022-04-11 | 20 | Yes | INC | 7 | 44662 | 44662.2917 | -24.2056 | 22999.9 | 0 | 1702.9279 | 0 | 0 | 0 | 0 | 0 | 0
171 | RT | Voltage Support | PGAE | Sierra | 2022-04-15 | 20 | No | INC | 3 | 44666.625 | 44666.75 | -0.4575 | 10682.1 | 714.9 | 286.6508 | 0 | 0 | 0 | 0 | 0 | 0
172 | RT | Voltage Support | PGAE | Sierra | 2022-04-17 | 20 | No | DEC | 5 | 44668.75 | 44668.9583 | -89.0367 | 0 | 0 | 6143.5503 | 0 | 0 | 0 | 0 | 0 | 0
173 | RT | Voltage Support | PGAE | Sierra | 2022-04-17 | 20 | No | INC | 15 | 44668.3958 | 44669 | 9.6328 | 11562.135 | 0 | 156.9109 | 0 | 0 | 0 | 0 | 0 | 0
174 | RT | Voltage Support | PGAE | Sierra | 2022-04-18 | 20 | No | INC | 7 | 44669 | 44669.2917 | -29.9 | 24903.06 | 0 | 2041.8548 | 0 | 0 | 0 | 0 | 0 | 0
175 | RT | Voltage Support | PGAE | Sierra | 2022-04-20 | 20 | No | INC | 2 | 44671.3333 | 44671.4167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
176 | RT | Voltage Support | PGAE | Sierra | 2022-04-23 | 42 | No | INC | 9 | 44674.625 | 44675 | 0.017083 | 52096.86 | 1919.76 | 0.17423 | 0 | 0 | 0 | 0 | 0 | 0
177 | RT | Voltage Support | PGAE | Sierra | 2022-04-24 | 20 | No | DEC | 3 | 44675.8333 | 44675.9583 | 1.9833 | 0 | 382.4514 | -162.02 | 0 | 0 | 0 | 0 | 0 | 0
178 | RT | Voltage Support | PGAE | Sierra | 2022-04-24 | 20 - 42 | No | INC | 24 | 44675 | 44676 | -7.2258 | 101840.88 | 127.4838 | 410.9704 | 0 | 0 | 0 | 0 | 0 | 0
179 | RT | Voltage Support | PGAE | Sierra | 2022-04-25 | 20 | No | INC | 7 | 44676 | 44676.2917 | -27.9042 | 24049.9 | 0 | 1938.199 | 0 | 0 | 0 | 0 | 0 | 0
180 | RT | Voltage Support | PGAE | Sierra | 2022-04-26 | 20 | No | INC | 4 | 44677.8333 | 44678 | -21.3142 | 10378.97 | 164.4471 | 1479.4618 | 0 | 0 | 0 | 0 | 0 | 0
181 | RT | Voltage Support | PGAE | Sierra | 2022-04-27 | 20 - 40 | No | INC | 24 | 44678 | 44679 | 4.9458 | 25012.4 | 0 | -640.6097 | 0 | 0 | 0 | 0 | 0 | 0
182 | RT | Voltage Support | PGAE | Sierra | 2022-04-28 | 20 | No | DEC | 5 | 44679.75 | 44679.9583 | -9.5602 | 0 | 0 | 470.2861 | 0 | 0 | 0 | 0 | 0 | 0
183 | RT | Voltage Support | PGAE | Sierra | 2022-04-28 | 20 - 40 | No | INC | 24 | 44679 | 44680 | 123.801 | 22566.22 | 0 | -9752.0788 | 0 | 0 | 0 | 0 | 0 | 0
184 | RT | Voltage Support | PGAE | Sierra | 2022-04-29 | 20 | No | DEC | 5 | 44680.75 | 44680.9583 | -45.2033 | 0 | 521.037 | 3170.2147 | 0 | 0 | 0 | 0 | 0 | 0
185 | RT | Voltage Support | PGAE | Sierra | 2022-04-29 | 20 | No | INC | 24 | 44680 | 44680.9792 | 20.6 | 22365.5317 | 156.3111 | -1316.081 | 0 | 0 | 0 | 0 | 0 | 0
186 | RT | Voltage Support | PGAE | NA | 2022-04-09 | 0.1 | No | DEC | 4 | 44660.5208 | 44660.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
187 | RT | Voltage Support | PGAE | NA | 2022-04-16 | 49 | No | DEC | 2 | 44667.875 | 44667.9583 | 50.6304 | -2571.155 | 0 | -3214.2508 | 0 | 0 | 0 | 0 | 0 | 0
188 | RT | Voltage Support | PGAE | NA | 2022-04-16 | 49 | No | INC | 1 | 44667.9583 | 44668 | 6.58 | 5142.31 | 647.744 | -344.0264 | 0 | 0 | 0 | 0 | -0.0078326 | 0
189 | RT | Voltage Support | PGAE | NA | 2022-04-17 | 49 | No | DEC | 4 | 44668.7917 | 44668.9583 | -12.0144 | 0 | 0 | 742.5846 | 0 | 0 | 0 | 0 | 0 | 0
190 | RT | Voltage Support | PGAE | NA | 2022-04-17 | 49 | No | INC | 24 | 44668 | 44669 | 5.4346 | 92561.58 | 0 | -628.9446 | 0 | 0 | 0 | 0 | -40.2673 | 0
191 | RT | Voltage Support | PGAE | NA | 2022-04-18 | 103 | No | DEC | 2 | 44669.2083 | 44669.2917 | -69.0805 | -13014.9285 | 0 | 4612.6904 | 0 | 0 | 0 | 0 | 0 | 0
192 | RT | Voltage Support | PGAE | NA | 2022-04-18 | 49 - 103 | No | INC | 5 | 44669 | 44669.2083 | 45.7046 | 28282.705 | 0 | -2683.0079 | 0 | 0 | 0 | 0 | -44.3334 | 0

## Price_Impact_A
Table 8: Price Impact Analysis Information for Pricing Node A in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2022-04-06 | 21 | 3 | 58.0904 | Yes | 67.65 | 9.5596
2 | 2022-04-06 | 21 | 4 | 57.8502 | Yes | 67.65 | 9.7998
3 | 2022-04-06 | 21 | 5 | 55.1939 | Yes | 67.65 | 12.4561
4 | 2022-04-06 | 21 | 6 | 54.3136 | Yes | 67.65 | 13.3364
5 | 2022-04-06 | 21 | 7 | 51.9053 | Yes | 67.65 | 15.7447
6 | 2022-04-06 | 21 | 8 | 51.4928 | Yes | 67.65 | 16.1572
7 | 2022-04-06 | 21 | 9 | 52.864 | Yes | 67.65 | 14.786
8 | 2022-04-06 | 21 | 10 | 51.904 | Yes | 67.65 | 15.746
9 | 2022-04-06 | 21 | 11 | 50.7256 | Yes | 67.65 | 16.9244
10 | 2022-04-06 | 21 | 12 | 51.6715 | Yes | 67.65 | 15.9785
11 | 2022-04-06 | 22 | 1 | 60.9066 | Yes | 67.36 | 6.4534
12 | 2022-04-06 | 22 | 2 | 60.212 | Yes | 67.36 | 7.1479
13 | 2022-04-06 | 22 | 3 | 59.9101 | Yes | 67.36 | 7.4499
14 | 2022-04-06 | 22 | 4 | 60.1003 | Yes | 67.36 | 7.2597
15 | 2022-04-06 | 22 | 5 | 60.1062 | Yes | 67.36 | 7.2538
16 | 2022-04-06 | 22 | 6 | 59.6518 | Yes | 67.36 | 7.7082
17 | 2022-04-06 | 22 | 7 | 59.358 | Yes | 67.36 | 8.0021
18 | 2022-04-06 | 22 | 8 | 58.5491 | Yes | 67.36 | 8.8109
19 | 2022-04-06 | 22 | 9 | 57.1229 | Yes | 67.36 | 10.2371
20 | 2022-04-06 | 22 | 10 | 55.4668 | Yes | 67.36 | 11.8932
21 | 2022-04-06 | 22 | 11 | 54.0261 | Yes | 67.36 | 13.3339
22 | 2022-04-06 | 22 | 12 | 53.4513 | Yes | 67.36 | 13.9087
23 | 2022-04-06 | 23 | 1 | 41.0671 | Yes | 67.65 | 26.583
24 | 2022-04-06 | 23 | 2 | 41.067 | Yes | 67.65 | 26.583
25 | 2022-04-06 | 23 | 3 | 41.068 | Yes | 67.65 | 26.582
26 | 2022-04-06 | 23 | 4 | 41.0698 | Yes | 67.65 | 26.5802
27 | 2022-04-06 | 23 | 5 | 41.0737 | Yes | 67.65 | 26.5763
28 | 2022-04-06 | 23 | 6 | 41.0879 | Yes | 67.65 | 26.5621
29 | 2022-04-06 | 23 | 7 | 41.0546 | Yes | 67.65 | 26.5954
30 | 2022-04-06 | 23 | 8 | 41.066 | Yes | 67.65 | 26.584
31 | 2022-04-06 | 23 | 9 | 41.0515 | Yes | 67.65 | 26.5985
32 | 2022-04-06 | 23 | 10 | 41.0569 | Yes | 67.65 | 26.5931
33 | 2022-04-06 | 23 | 11 | 41.0532 | Yes | 67.65 | 26.5968
34 | 2022-04-06 | 23 | 12 | 41.0575 | Yes | 67.65 | 26.5925
35 | 2022-04-06 | 24 | 1 | 66.5019 | Yes | 65.68 | -0.82187
36 | 2022-04-06 | 24 | 2 | 66.2277 | Yes | 65.68 | -0.54771
37 | 2022-04-06 | 24 | 3 | 65.494 | Yes | 65.68 | 0.18601
38 | 2022-04-06 | 24 | 4 | 61.847 | Yes | 65.68 | 3.833
39 | 2022-04-06 | 24 | 5 | 60.9652 | Yes | 65.68 | 4.7148
40 | 2022-04-06 | 24 | 6 | 59.7431 | Yes | 65.68 | 5.9369
41 | 2022-04-06 | 24 | 7 | 58.243 | Yes | 65.68 | 7.437
42 | 2022-04-06 | 24 | 8 | 56.9577 | Yes | 65.68 | 8.7223
43 | 2022-04-06 | 24 | 9 | 52.3149 | Yes | 65.68 | 13.3651
44 | 2022-04-06 | 24 | 10 | 51.5649 | Yes | 65.68 | 14.1151
45 | 2022-04-06 | 24 | 11 | 51.4578 | Yes | 65.68 | 14.2222
46 | 2022-04-06 | 24 | 12 | 51.6148 | Yes | 65.68 | 14.0652
47 | 2022-04-07 | 1 | 1 | 56.8768 | Yes | 67.59 | 10.7132
48 | 2022-04-07 | 1 | 2 | 62.0516 | Yes | 67.59 | 5.5384
49 | 2022-04-07 | 1 | 3 | 66.1327 | Yes | 67.59 | 1.4573
50 | 2022-04-07 | 1 | 4 | 66.121 | Yes | 67.59 | 1.469
51 | 2022-04-07 | 1 | 5 | 58.1167 | Yes | 67.59 | 9.4733
52 | 2022-04-07 | 1 | 6 | 61.4844 | Yes | 67.59 | 6.1056
53 | 2022-04-07 | 1 | 7 | 60.4604 | Yes | 67.59 | 7.1296
54 | 2022-04-07 | 1 | 8 | 59.1787 | Yes | 67.59 | 8.4113
55 | 2022-04-07 | 1 | 9 | 58.8178 | Yes | 67.59 | 8.7722
56 | 2022-04-07 | 1 | 10 | 58.6266 | Yes | 67.59 | 8.9634
57 | 2022-04-07 | 1 | 11 | 56.9011 | Yes | 67.59 | 10.6889
58 | 2022-04-07 | 1 | 12 | 56.7267 | Yes | 67.59 | 10.8633
59 | 2022-04-07 | 2 | 1 | 65.5255 | Yes | 67.59 | 2.0645
60 | 2022-04-07 | 2 | 2 | 62.0653 | Yes | 67.59 | 5.5247
61 | 2022-04-07 | 2 | 3 | 61.9765 | Yes | 67.59 | 5.6135
62 | 2022-04-07 | 2 | 4 | 61.1396 | Yes | 67.59 | 6.4504
63 | 2022-04-07 | 2 | 5 | 60.0908 | Yes | 67.59 | 7.4992
64 | 2022-04-07 | 2 | 6 | 61.2413 | Yes | 67.59 | 6.3487
65 | 2022-04-07 | 2 | 7 | 59.9074 | Yes | 67.59 | 7.6826
66 | 2022-04-07 | 2 | 8 | 59.9648 | Yes | 67.59 | 7.6252
67 | 2022-04-07 | 2 | 9 | 59.9249 | Yes | 67.59 | 7.6651
68 | 2022-04-07 | 2 | 10 | 58.2159 | Yes | 67.59 | 9.3742
69 | 2022-04-07 | 2 | 11 | 56.5242 | Yes | 67.59 | 11.0658
70 | 2022-04-07 | 2 | 12 | 55.8647 | Yes | 67.59 | 11.7253
71 | 2022-04-23 | 9 | 1 | -2e-05 | Yes | 72.06 | 72.06
72 | 2022-04-23 | 9 | 2 | 35.6589 | Yes | 72.06 | 36.4011
73 | 2022-04-23 | 9 | 3 | 29.6938 | Yes | 72.06 | 42.3662
74 | 2022-04-23 | 9 | 4 | 25.4231 | Yes | 72.06 | 46.6369
75 | 2022-04-23 | 9 | 5 | 41.3584 | Yes | 72.06 | 30.7016
76 | 2022-04-23 | 9 | 6 | 41.9247 | Yes | 72.06 | 30.1353
77 | 2022-04-23 | 9 | 7 | -0.01039 | Yes | 72.06 | 72.0704
78 | 2022-04-23 | 9 | 8 | -0.0108 | Yes | 72.06 | 72.0708
79 | 2022-04-23 | 9 | 9 | -0.0109 | Yes | 72.06 | 72.0709
80 | 2022-04-23 | 9 | 10 | 3.086 | Yes | 72.06 | 68.974
81 | 2022-04-23 | 9 | 11 | 2.8066 | Yes | 72.06 | 69.2534
82 | 2022-04-23 | 9 | 12 | -7e-05 | Yes | 72.06 | 72.0601
83 | 2022-04-23 | 10 | 1 | -0.01104 | Yes | 72.06 | 72.071
84 | 2022-04-23 | 10 | 2 | -0.01084 | Yes | 72.06 | 72.0708
85 | 2022-04-23 | 10 | 3 | -0.01116 | Yes | 72.06 | 72.0712
86 | 2022-04-23 | 10 | 4 | -0.01087 | Yes | 72.06 | 72.0709
87 | 2022-04-23 | 10 | 5 | -0.0109 | Yes | 72.06 | 72.0709
88 | 2022-04-23 | 10 | 6 | -0.0109 | Yes | 72.06 | 72.0709
89 | 2022-04-23 | 10 | 7 | 6.6723 | Yes | 72.06 | 65.3877
90 | 2022-04-23 | 10 | 8 | -0.00441 | Yes | 72.06 | 72.0644
91 | 2022-04-23 | 10 | 9 | 2.9906 | Yes | 72.06 | 69.0694
92 | 2022-04-23 | 10 | 10 | -0.01133 | Yes | 72.06 | 72.0713
93 | 2022-04-23 | 10 | 11 | -0.27736 | Yes | 72.06 | 72.3374
94 | 2022-04-23 | 10 | 12 | -3.0475 | Yes | 72.06 | 75.1075
95 | 2022-04-23 | 11 | 1 | -6.6727 | Yes | 72.06 | 78.7327
96 | 2022-04-23 | 11 | 2 | -6.6727 | Yes | 72.06 | 78.7327
97 | 2022-04-23 | 11 | 3 | -6.6727 | Yes | 72.06 | 78.7327
98 | 2022-04-23 | 11 | 4 | -6.6165 | Yes | 72.06 | 78.6765
99 | 2022-04-23 | 11 | 5 | -9.1381 | Yes | 72.06 | 81.1981
100 | 2022-04-23 | 11 | 6 | -9.2784 | Yes | 72.06 | 81.3384
101 | 2022-04-23 | 11 | 7 | -9.3627 | Yes | 72.06 | 81.4227
102 | 2022-04-23 | 11 | 8 | -9.7614 | Yes | 72.06 | 81.8214
103 | 2022-04-23 | 11 | 9 | -10.7259 | Yes | 72.06 | 82.7859
104 | 2022-04-23 | 11 | 10 | -10.5086 | Yes | 72.06 | 82.5686
105 | 2022-04-23 | 11 | 11 | -10.6717 | Yes | 72.06 | 82.7317
106 | 2022-04-23 | 11 | 12 | -10.7133 | Yes | 72.06 | 82.7733
107 | 2022-04-23 | 12 | 1 | -10.138 | Yes | 73.91 | 84.0481
108 | 2022-04-23 | 12 | 2 | -9.2025 | Yes | 73.91 | 83.1125
109 | 2022-04-23 | 12 | 3 | -9.2121 | Yes | 73.91 | 83.1221
110 | 2022-04-23 | 12 | 4 | -10.7033 | Yes | 73.91 | 84.6133
111 | 2022-04-23 | 12 | 5 | -10.6738 | Yes | 73.91 | 84.5838
112 | 2022-04-23 | 12 | 6 | -10.7035 | Yes | 73.91 | 84.6135
113 | 2022-04-23 | 12 | 7 | -10.7079 | Yes | 73.91 | 84.6179
114 | 2022-04-23 | 12 | 8 | -10.7821 | Yes | 73.91 | 84.6921
115 | 2022-04-23 | 12 | 9 | -10.8167 | Yes | 73.91 | 84.7267
116 | 2022-04-23 | 12 | 10 | -10.7985 | Yes | 73.91 | 84.7084
117 | 2022-04-23 | 12 | 11 | -10.7985 | Yes | 73.91 | 84.7084
118 | 2022-04-23 | 12 | 12 | -10.7985 | Yes | 73.91 | 84.7084
119 | 2022-04-23 | 13 | 1 | -10.718 | Yes | 73.91 | 84.628
120 | 2022-04-23 | 13 | 2 | -10.7439 | Yes | 73.91 | 84.6539
121 | 2022-04-23 | 13 | 3 | -10.718 | Yes | 73.91 | 84.628
122 | 2022-04-23 | 13 | 4 | -10.7309 | Yes | 73.91 | 84.6409
123 | 2022-04-23 | 13 | 5 | -10.7309 | Yes | 73.91 | 84.6409
124 | 2022-04-23 | 13 | 6 | -10.731 | Yes | 73.91 | 84.641
125 | 2022-04-23 | 13 | 7 | -10.7183 | Yes | 73.91 | 84.6283
126 | 2022-04-23 | 13 | 8 | -10.4244 | Yes | 73.91 | 84.3344
127 | 2022-04-23 | 13 | 9 | -10.6136 | Yes | 73.91 | 84.5236
128 | 2022-04-23 | 13 | 10 | -10.5546 | Yes | 73.91 | 84.4646
129 | 2022-04-23 | 13 | 11 | -10.5967 | Yes | 73.91 | 84.5067
130 | 2022-04-23 | 13 | 12 | -10.5967 | Yes | 73.91 | 84.5067
131 | 2022-04-23 | 14 | 1 | -10.6888 | Yes | 73.91 | 84.5988
132 | 2022-04-23 | 14 | 2 | -10.7576 | Yes | 73.91 | 84.6676
133 | 2022-04-23 | 14 | 3 | -10.7576 | Yes | 73.91 | 84.6676
134 | 2022-04-23 | 14 | 4 | -10.7615 | Yes | 73.91 | 84.6715
135 | 2022-04-23 | 14 | 5 | -10.7615 | Yes | 73.91 | 84.6715
136 | 2022-04-23 | 14 | 6 | -10.7615 | Yes | 73.91 | 84.6715
137 | 2022-04-23 | 14 | 7 | -10.7471 | Yes | 73.91 | 84.6571
138 | 2022-04-23 | 14 | 8 | -10.6629 | Yes | 73.91 | 84.5729
139 | 2022-04-23 | 14 | 9 | -10.6627 | Yes | 73.91 | 84.5727
140 | 2022-04-23 | 14 | 10 | -10.6738 | Yes | 73.91 | 84.5838
141 | 2022-04-23 | 14 | 11 | -10.6703 | Yes | 73.91 | 84.5803
142 | 2022-04-23 | 14 | 12 | -10.6738 | Yes | 73.91 | 84.5838
143 | 2022-04-23 | 15 | 1 | -10.6503 | Yes | 74.23 | 84.8803
144 | 2022-04-23 | 15 | 2 | -10.6491 | Yes | 74.23 | 84.8791
145 | 2022-04-23 | 15 | 3 | -10.5905 | Yes | 74.23 | 84.8205
146 | 2022-04-23 | 15 | 4 | -10.6447 | Yes | 74.23 | 84.8747
147 | 2022-04-23 | 15 | 5 | -10.664 | Yes | 74.23 | 84.894
148 | 2022-04-23 | 15 | 6 | -10.6647 | Yes | 74.23 | 84.8947
149 | 2022-04-23 | 15 | 7 | -10.5946 | Yes | 74.23 | 84.8246
150 | 2022-04-23 | 15 | 8 | -10.5946 | Yes | 74.23 | 84.8246
151 | 2022-04-23 | 15 | 9 | -10.6213 | Yes | 74.23 | 84.8513
152 | 2022-04-23 | 15 | 10 | -10.6412 | Yes | 74.23 | 84.8712
153 | 2022-04-23 | 15 | 11 | -10.7131 | Yes | 74.23 | 84.9431
154 | 2022-04-23 | 15 | 12 | -10.7131 | Yes | 74.23 | 84.9431
155 | 2022-04-23 | 16 | 1 | -10.1744 | Yes | 74.54 | 84.7144
156 | 2022-04-23 | 16 | 2 | -10.208 | Yes | 74.54 | 84.748
157 | 2022-04-23 | 16 | 3 | -10.1722 | Yes | 74.54 | 84.7121
158 | 2022-04-23 | 16 | 4 | -10.2121 | Yes | 74.54 | 84.7521
159 | 2022-04-23 | 16 | 5 | -9.8118 | Yes | 74.54 | 84.3518
160 | 2022-04-23 | 16 | 6 | -185.366 | Yes | 74.54 | 259.906
161 | 2022-04-23 | 16 | 7 | -185.4287 | Yes | 74.54 | 259.9687
162 | 2022-04-23 | 16 | 8 | -10.0703 | Yes | 74.54 | 84.6103
163 | 2022-04-23 | 16 | 9 | -10.0493 | Yes | 74.54 | 84.5893
164 | 2022-04-23 | 16 | 10 | -10.1442 | Yes | 74.54 | 84.6842
165 | 2022-04-23 | 16 | 11 | -10.1445 | Yes | 74.54 | 84.6845
166 | 2022-04-23 | 16 | 12 | -10.2505 | Yes | 74.54 | 84.7905
167 | 2022-04-24 | 6 | 6 | 106.8687 | Yes | 72.06 | -34.8087
168 | 2022-04-24 | 6 | 7 | 106.6729 | Yes | 72.06 | -34.6129
169 | 2022-04-24 | 6 | 8 | 106.356 | Yes | 72.06 | -34.2959
170 | 2022-04-24 | 6 | 9 | 106.8332 | Yes | 72.06 | -34.7732
171 | 2022-04-24 | 6 | 10 | 101.9865 | Yes | 72.06 | -29.9265
172 | 2022-04-24 | 6 | 11 | 107.4801 | Yes | 72.06 | -35.4201
173 | 2022-04-24 | 6 | 12 | 114.6194 | Yes | 72.06 | -42.5594
174 | 2022-04-24 | 7 | 1 | 108.9349 | Yes | 72.06 | -36.8749
175 | 2022-04-24 | 7 | 2 | 108.9349 | Yes | 72.06 | -36.8749
176 | 2022-04-24 | 7 | 3 | 101.5705 | Yes | 72.06 | -29.5105
177 | 2022-04-24 | 7 | 4 | 107.6275 | Yes | 72.06 | -35.5675
178 | 2022-04-24 | 7 | 5 | 101.3144 | Yes | 72.06 | -29.2544
179 | 2022-04-24 | 7 | 6 | 94.3508 | Yes | 72.06 | -22.2907
180 | 2022-04-24 | 7 | 7 | 79.2408 | Yes | 72.06 | -7.1808
181 | 2022-04-24 | 7 | 8 | 69.1349 | Yes | 72.06 | 2.9251
182 | 2022-04-24 | 7 | 9 | 61.9562 | Yes | 72.06 | 10.1038
183 | 2022-04-24 | 7 | 10 | 62.0857 | Yes | 72.06 | 9.9743
184 | 2022-04-24 | 7 | 11 | 57.5871 | Yes | 72.06 | 14.4729
185 | 2022-04-24 | 7 | 12 | 63.9739 | Yes | 72.06 | 8.0861
186 | 2022-04-24 | 8 | 1 | 65.4843 | Yes | 72.06 | 6.5758
187 | 2022-04-24 | 8 | 2 | 79.5839 | Yes | 72.06 | -7.5239
188 | 2022-04-24 | 8 | 3 | 89.8547 | Yes | 72.06 | -17.7947
189 | 2022-04-24 | 8 | 4 | 65.4763 | Yes | 72.06 | 6.5837
190 | 2022-04-24 | 8 | 5 | 64.5591 | Yes | 72.06 | 7.5009
191 | 2022-04-24 | 8 | 6 | 63.9005 | Yes | 72.06 | 8.1595
192 | 2022-04-24 | 8 | 7 | 102.149 | Yes | 72.06 | -30.089
193 | 2022-04-24 | 8 | 8 | 63.3326 | Yes | 72.06 | 8.7274
194 | 2022-04-24 | 8 | 9 | 55.5323 | Yes | 72.06 | 16.5277
195 | 2022-04-24 | 8 | 10 | 16.2989 | Yes | 72.06 | 55.7611
196 | 2022-04-24 | 8 | 11 | 9.0729 | Yes | 72.06 | 62.9871
197 | 2022-04-24 | 8 | 12 | 9.3845 | Yes | 72.06 | 62.6755
198 | 2022-04-24 | 9 | 1 | 23.342 | Yes | 72.06 | 48.718
199 | 2022-04-24 | 9 | 2 | 27.0188 | Yes | 72.06 | 45.0412
200 | 2022-04-24 | 9 | 3 | 56.0595 | Yes | 72.06 | 16.0005
201 | 2022-04-24 | 9 | 4 | 70.1634 | Yes | 72.06 | 1.8966
202 | 2022-04-24 | 9 | 5 | 41.1904 | Yes | 72.06 | 30.8696
203 | 2022-04-24 | 9 | 6 | 7.8098 | Yes | 72.06 | 64.2502
204 | 2022-04-24 | 9 | 7 | 7.3123 | Yes | 72.06 | 64.7477
205 | 2022-04-24 | 9 | 8 | 5.0065 | Yes | 72.06 | 67.0535
206 | 2022-04-24 | 9 | 9 | 3.8941 | Yes | 72.06 | 68.1659
207 | 2022-04-24 | 9 | 10 | 4.8357 | Yes | 72.06 | 67.2242
208 | 2022-04-24 | 9 | 11 | 15.7076 | Yes | 72.06 | 56.3524
209 | 2022-04-24 | 9 | 12 | 13.91 | Yes | 72.06 | 58.15
210 | 2022-04-26 | 15 | 7 | 52.2031 | Yes | 75.15 | 22.9469
211 | 2022-04-26 | 15 | 8 | 53.2152 | Yes | 75.15 | 21.9348
212 | 2022-04-26 | 15 | 9 | 57.0249 | Yes | 75.15 | 18.1251
213 | 2022-04-26 | 15 | 10 | 61.0739 | Yes | 75.15 | 14.0761
214 | 2022-04-26 | 15 | 11 | 58.8128 | Yes | 75.15 | 16.3372
215 | 2022-04-26 | 15 | 12 | 56.4615 | Yes | 75.15 | 18.6885
216 | 2022-04-26 | 16 | 1 | 54.9224 | Yes | 75.15 | 20.2276
217 | 2022-04-26 | 16 | 2 | 54.9224 | Yes | 75.15 | 20.2276
218 | 2022-04-26 | 16 | 3 | 62.9685 | Yes | 75.15 | 12.1815
219 | 2022-04-26 | 16 | 4 | 61.0277 | Yes | 75.15 | 14.1223
220 | 2022-04-26 | 16 | 5 | 54.9224 | Yes | 75.15 | 20.2276
221 | 2022-04-26 | 16 | 6 | 57.7944 | Yes | 75.15 | 17.3556
222 | 2022-04-26 | 16 | 7 | 54.9224 | Yes | 75.15 | 20.2276
223 | 2022-04-26 | 16 | 8 | 56.7904 | Yes | 75.15 | 18.3596
224 | 2022-04-26 | 16 | 9 | 61.7159 | Yes | 75.15 | 13.4341
225 | 2022-04-26 | 16 | 10 | 67.8056 | Yes | 75.15 | 7.3444
226 | 2022-04-26 | 16 | 11 | 77.8041 | Yes | 75.15 | -2.654
227 | 2022-04-26 | 16 | 12 | 68.7816 | Yes | 75.15 | 6.3684
228 | 2022-04-26 | 17 | 1 | 65.9825 | Yes | 75.15 | 9.1675
229 | 2022-04-26 | 17 | 2 | 55.9703 | Yes | 75.15 | 19.1797
230 | 2022-04-26 | 17 | 3 | 67.6688 | Yes | 75.15 | 7.4812
231 | 2022-04-26 | 17 | 4 | 60.4595 | Yes | 75.15 | 14.6905
232 | 2022-04-26 | 17 | 5 | 73.9401 | Yes | 75.15 | 1.2099
233 | 2022-04-26 | 17 | 6 | 68.7965 | Yes | 75.15 | 6.3535
234 | 2022-04-26 | 17 | 7 | 71.3011 | Yes | 75.15 | 3.8489
235 | 2022-04-26 | 17 | 8 | 73.6307 | Yes | 75.15 | 1.5193
236 | 2022-04-26 | 17 | 9 | 78.4078 | Yes | 75.15 | -3.2578
237 | 2022-04-26 | 17 | 10 | 78.2709 | Yes | 75.15 | -3.1209
238 | 2022-04-26 | 17 | 11 | 75.9472 | Yes | 75.15 | -0.79721
239 | 2022-04-26 | 17 | 12 | 78.8363 | Yes | 75.15 | -3.6862
240 | 2022-04-26 | 18 | 1 | 66.5664 | Yes | 75.15 | 8.5836
241 | 2022-04-26 | 18 | 2 | 66.776 | Yes | 75.15 | 8.374
242 | 2022-04-26 | 18 | 3 | 68.0834 | Yes | 75.15 | 7.0666
243 | 2022-04-26 | 18 | 4 | 65.7054 | Yes | 75.15 | 9.4446
244 | 2022-04-26 | 18 | 5 | 66.291 | Yes | 75.15 | 8.859
245 | 2022-04-26 | 18 | 6 | 69.5772 | Yes | 75.15 | 5.5728
246 | 2022-04-26 | 18 | 7 | 65 | Yes | 75.15 | 10.15
247 | 2022-04-26 | 18 | 8 | 56.73 | Yes | 75.15 | 18.42
248 | 2022-04-26 | 18 | 9 | 65 | Yes | 75.15 | 10.15
249 | 2022-04-26 | 18 | 10 | 58.6 | Yes | 75.15 | 16.55
250 | 2022-04-26 | 18 | 11 | 57.9734 | Yes | 75.15 | 17.1765
251 | 2022-04-26 | 18 | 12 | 58.9021 | Yes | 75.15 | 16.2479
252 | 2022-04-26 | 19 | 1 | 56.88 | Yes | 75.15 | 18.27
253 | 2022-04-26 | 19 | 2 | 56.73 | Yes | 75.15 | 18.42
254 | 2022-04-26 | 19 | 3 | 56.73 | Yes | 75.15 | 18.42
255 | 2022-04-26 | 19 | 4 | 60.9464 | Yes | 75.15 | 14.2036
256 | 2022-04-26 | 19 | 5 | 64.0277 | Yes | 75.15 | 11.1223
257 | 2022-04-26 | 19 | 6 | 65.3781 | Yes | 75.15 | 9.7719
258 | 2022-04-26 | 19 | 7 | 67.7764 | Yes | 75.15 | 7.3736
259 | 2022-04-26 | 19 | 8 | 70.2212 | Yes | 75.15 | 4.9288
260 | 2022-04-26 | 19 | 9 | 77.3164 | Yes | 75.15 | -2.1664

## Price_Impact_B
Table 9: Price Impact Analysis Information for Pricing Node B in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2022-04-09 | 18 | 1 | 2.6421 | Yes | 80.26 | 77.6179
2 | 2022-04-09 | 18 | 2 | 2.7227 | Yes | 80.26 | 77.5373
3 | 2022-04-09 | 18 | 3 | 3.3191 | Yes | 80.26 | 76.9409
4 | 2022-04-09 | 18 | 4 | 7.8907 | Yes | 80.26 | 72.3693
5 | 2022-04-09 | 18 | 5 | 31.1811 | Yes | 80.26 | 49.0789
6 | 2022-04-09 | 18 | 6 | 38.0825 | Yes | 80.26 | 42.1775
7 | 2022-04-09 | 18 | 7 | 38.5955 | Yes | 80.26 | 41.6645
8 | 2022-04-09 | 18 | 8 | 42.537 | Yes | 80.26 | 37.723
9 | 2022-04-09 | 18 | 9 | 47.9214 | Yes | 80.26 | 32.3386
10 | 2022-04-09 | 18 | 10 | 50.7884 | Yes | 80.26 | 29.4716
11 | 2022-04-09 | 18 | 11 | 51.826 | Yes | 80.26 | 28.434
12 | 2022-04-09 | 18 | 12 | 52.9231 | Yes | 80.26 | 27.3369
13 | 2022-04-09 | 19 | 1 | 38.9548 | Yes | 80.26 | 41.3052
14 | 2022-04-09 | 19 | 2 | 38.2986 | Yes | 80.26 | 41.9614
15 | 2022-04-09 | 19 | 3 | 38.0902 | Yes | 80.26 | 42.1698
16 | 2022-04-09 | 19 | 4 | 42.8854 | Yes | 80.26 | 37.3747
17 | 2022-04-09 | 19 | 5 | 47.2776 | Yes | 80.26 | 32.9824
18 | 2022-04-09 | 19 | 6 | 49.4988 | Yes | 80.26 | 30.7613
19 | 2022-04-09 | 19 | 7 | 49.944 | Yes | 80.26 | 30.316
20 | 2022-04-09 | 19 | 8 | 62.0781 | Yes | 80.26 | 18.1819
21 | 2022-04-09 | 19 | 9 | 67.0018 | Yes | 80.26 | 13.2582
22 | 2022-04-09 | 19 | 10 | 62.8718 | Yes | 80.42 | 17.5482
23 | 2022-04-09 | 19 | 11 | 67.499 | Yes | 80.42 | 12.921
24 | 2022-04-09 | 19 | 12 | 68.494 | Yes | 80.42 | 11.926
25 | 2022-04-09 | 20 | 1 | 61.752 | Yes | 80.42 | 18.668
26 | 2022-04-09 | 20 | 2 | 61.6814 | Yes | 80.42 | 18.7386
27 | 2022-04-09 | 20 | 3 | 62.9294 | Yes | 80.42 | 17.4906
28 | 2022-04-09 | 20 | 4 | 65.5604 | Yes | 80.42 | 14.8596
29 | 2022-04-09 | 20 | 5 | 68.2479 | Yes | 80.42 | 12.1721
30 | 2022-04-09 | 20 | 6 | 69.4618 | Yes | 80.42 | 10.9582
31 | 2022-04-09 | 20 | 7 | 70.0871 | Yes | 80.42 | 10.3329
32 | 2022-04-09 | 20 | 8 | 69.7215 | Yes | 80.42 | 10.6985
33 | 2022-04-09 | 20 | 9 | 66.8581 | Yes | 80.42 | 13.5619
34 | 2022-04-09 | 20 | 10 | 69.3255 | Yes | 80.42 | 11.0945
35 | 2022-04-09 | 20 | 11 | 64.4051 | Yes | 80.42 | 16.0149
36 | 2022-04-09 | 20 | 12 | 63.4474 | Yes | 80.42 | 16.9727
37 | 2022-04-09 | 21 | 1 | 61.6823 | Yes | 80.42 | 18.7377
38 | 2022-04-09 | 21 | 2 | 59.6483 | Yes | 80.42 | 20.7717
39 | 2022-04-09 | 21 | 3 | 58.6606 | Yes | 80.42 | 21.7594
40 | 2022-04-09 | 21 | 4 | 59.9458 | Yes | 80.42 | 20.4742
41 | 2022-04-09 | 21 | 5 | 58.7966 | Yes | 80.42 | 21.6234
42 | 2022-04-09 | 21 | 6 | 57.4567 | Yes | 80.42 | 22.9632

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
TMODEL5 | 3 | 2055.7133 | 307.0895 | 1748.6238
TMODEL7 | 1 | 5245.34 | 1455.1607 | 3790.1793
Total | 4 | 7301.0533 | 1762.2502 | 5538.8031