## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for December 2020
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Conditions beyond the control of the CAISO | SCE | LA Basin | 2020-12-23 | 132.76 - 194 | No | INC | 13 | 44188.3333 | 44188.875 | -495.7247 | 327771.1575 | 7029.6 | 21326.4796 | 56.5025 | -857.2524 | 0 | -81544.1175 | 0 | 0
2 | RT | Fast Start Unit Management | PGAE | Fresno | 2020-12-20 | 0 | No | DEC | 1 | 44185.4201 | 44185.441 | -2.6133 | 0 | 0 | 24.2956 | -2.6333 | 0 | 0.553 | 0 | 0 | 0
3 | RT | Fast Start Unit Management | SCE | LA Basin | 2020-12-20 | 0 | No | INC | 1 | 44185.4306 | 44185.4722 | -25.9 | 1099.5583 | 0 | 0 | -51.8 | 0 | 0 | 0 | 0 | 0
4 | RT | Incomplete or Inaccurate Transmission | PGAE | NCNB | 2020-12-02 | 85 | No | INC | 5 | 44167.7361 | 44167.9062 | 23.3489 | 0 | 0 | -135.44 | 11.81 | 134.5367 | 0 | 0 | -254.445 | 0
5 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2020-12-13 | 130 - 251 | No | DEC | 7 | 44178.5451 | 44178.8333 | -667.7448 | -9196.1025 | 0 | 25578.665 | 0 | 0 | 0 | 0 | 0 | 0
6 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2020-12-13 | 251 | No | INC | 2 | 44178.5764 | 44178.625 | 105.8146 | 0 | 0 | -5590.4846 | 34.8491 | -814.23 | 0 | -74.57 | 0 | 0
7 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2020-12-28 | 98 | No | INC | 2 | 44193.5 | 44193.5521 | 0.175 | 8991 | 9018.2474 | -23.0322 | 0 | 0 | 0 | 0 | 0 | 0
8 | RT | Market Disruption | Intertie | NA | 2020-12-09 | 1 | No | INC | 1 | 44174.1667 | 44174.2083 | 1 | 0 | 0 | -27.2989 | 0 | 0 | 0 | 0 | 0 | 0
9 | RT | Other Reliability Requirement | PGAE | Bay Area | 2020-12-13 | 120 - 200 | No | INC | 3 | 44178.5382 | 44178.625 | 2.0346 | 49967.0775 | 0 | 691.6134 | -133.6393 | -1220.3067 | 3053.0651 | -46.7887 | 0 | 0
10 | RT | Other Reliability Requirement | PGAE | Fresno | 2020-12-13 | 97 - 113 | No | INC | 2 | 44178.5521 | 44178.625 | 55.6142 | 15929.2125 | 0 | -3186.612 | 41.1203 | -830.9258 | 0 | -1603.3797 | 0 | 0
11 | RT | Other Reliability Requirement | PGAE | NA | 2020-12-13 | 0 - 350 | No | DEC | 4 | 44178.316 | 44178.4688 | -327.2924 | 0 | 0 | 11121.1118 | -698.2748 | 0 | 11134.4206 | 0 | 0 | 0
12 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2020-12-21 | 27.49 | No | INC | 3 | 44186.7917 | 44186.9167 | 0 | 3305.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | RT | Other Reliability Requirement | SCE | LA Basin | 2020-12-03 | 20 | No | INC | 4 | 44168.5347 | 44168.6667 | -29.0983 | 24476.1667 | 383.7721 | 1391.1947 | 0 | 0 | 0 | 0 | 0 | 0
14 | RT | Other Reliability Requirement | SCE | LA Basin | 2020-12-13 | 0 - 335 | No | INC | 15 | 44178.3021 | 44178.9167 | -932.6202 | 294918.5658 | 83313 | 37407.0966 | 239.6052 | -2879.6774 | 0 | -399532.1203 | 0 | 0
15 | RT | Other Reliability Requirement | SCE | NA | 2020-12-31 | 475 | No | INC | 3 | 44196.75 | 44196.8542 | -33.2121 | 0 | 0 | 1169.8494 | 0 | 0 | 0 | 0 | 0 | 0
16 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2020-12-03 | 100 - 161 | No | DEC | 6 | 44168.625 | 44168.875 | -280.9933 | 463.1675 | 0 | 14712.2464 | 0 | 0 | 0 | 0 | 0 | 0
17 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2020-12-03 | 24 - 161 | No | INC | 12 | 44168.4792 | 44168.9583 | 19.5567 | 55502.305 | 0 | 895.9956 | 148.3257 | -2021.2993 | 0 | -3735.6503 | 0 | 0
18 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2020-12-13 | 161 | No | INC | 9 | 44178.3194 | 44178.6667 | 155.8667 | 22875.84 | 0 | 712.537 | 0 | 0 | 0 | 0 | 0 | 0
19 | RT | Planned Transmission Outage | PGAE | Bay Area | 2020-12-16 | 400 - 450 | No | DEC | 9 | 44181.4444 | 44181.8125 | -368.3592 | 0 | 0 | 11089.5651 | -237.8529 | 0 | 3928.6346 | 0 | -37131.2447 | 0
20 | RT | Planned Transmission Outage | PGAE | Bay Area | 2020-12-17 | 450 | No | INC | 7 | 44182.2674 | 44182.5312 | 2.5006 | 0 | 0 | -143.1406 | 0 | 0 | 0 | 0 | 0 | 0
21 | RT | Planned Transmission Outage | PGAE | Fresno | 2020-12-09 | 8 | No | DEC | 5 | 44174.4375 | 44174.625 | -8.2829 | 0 | 0 | 27.4622 | -13.6342 | 0 | 2.0457 | 0 | -521.2535 | 0
22 | RT | Planned Transmission Outage | PGAE | Fresno | 2020-12-09 | 8 | No | INC | 2 | 44174.625 | 44174.7083 | -1.9969 | 0 | 0 | 60.04 | 0 | 0 | 0 | 0 | 0 | 0
23 | RT | Planned Transmission Outage | PGAE | Fresno | 2020-12-11 | 0 - 2 | No | DEC | 9 | 44176.3229 | 44176.6667 | -5.3966 | 0 | 0 | 218.9499 | -6.0611 | 0 | 106.5793 | 0 | -2785.7997 | 0
24 | RT | Planned Transmission Outage | PGAE | Fresno | 2020-12-11 | 2 | No | INC | 1 | 44176.3229 | 44176.3333 | -0.24408 | 0 | 0 | 9.9908 | 0 | 0 | 0 | 0 | 0 | 0
25 | RT | Planned Transmission Outage | PGAE | Fresno | 2020-12-12 | 1 - 2 | No | DEC | 8 | 44177.3333 | 44177.6667 | -5.0764 | 0 | 0 | 180.1551 | -7.7142 | 0 | 133.4884 | 0 | -1452.4846 | 0
26 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-01 | 14 | No | DEC | 17 | 44166.2917 | 44167 | 3.726 | 2424.9225 | 0 | -129.0556 | 0 | 0 | 0 | 0 | 0 | 0
27 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-01 | 14 - 48 | No | INC | 18 | 44166.25 | 44167 | 12.01 | 40663.7075 | 0 | -1227.0841 | 0 | 0 | 0 | 0 | 0 | 0
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-02 | 14 - 30 | No | DEC | 24 | 44167 | 44168 | -5.0749 | -19152.5577 | 0 | 209.325 | 0 | 0 | 0 | 0 | 0 | 0
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-02 | 28 - 30 | No | INC | 24 | 44167 | 44168 | 6.5337 | 29541.28 | 0 | -219.7396 | 0 | 0 | 0 | 0 | 0 | 0
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-03 | 28 | No | DEC | 10 | 44168.5833 | 44169 | -0.73771 | -11279.5962 | 0 | 46.1544 | 0 | 0 | 0 | 0 | 0 | 0
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-03 | 14 - 28 | No | INC | 24 | 44168 | 44169 | 4.5356 | 28098.6725 | 0 | -172.0311 | 0 | 0 | 0 | 0 | 0 | 0
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-04 | 14 - 28 | No | DEC | 24 | 44169 | 44170 | -3.6155 | -6878.8647 | 0 | 253.3342 | 0 | 0 | 0 | 0 | 0 | 0
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-04 | 14 - 28 | No | INC | 24 | 44169 | 44170 | -0.31365 | 25218.5925 | 0 | 44.923 | 0 | 0 | 0 | 0 | 0 | 0
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-05 | 15 | No | DEC | 3 | 44170.7708 | 44170.8854 | -0.23646 | 7723.9525 | 0 | 8.7656 | 0 | 0 | 0 | 0 | 0 | 0
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-05 | 15 - 30 | No | INC | 24 | 44170 | 44171 | 2.6357 | 49327.7225 | 0 | -76.5149 | 0 | 0 | 0 | 0 | 0 | 0
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-06 | 30 - 45 | No | INC | 24 | 44171 | 44172 | 0.74208 | 36513.13 | 0 | 106.3118 | 0 | 0 | 0 | 0 | 0 | 0
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-07 | 14 - 45 | No | DEC | 18 | 44172.2083 | 44172.9583 | -6.3617 | -19556.7141 | 424.1207 | 434.4361 | 0 | 0 | 0 | 0 | 0 | 0
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-07 | 14 - 45 | No | INC | 24 | 44172 | 44173 | 12.6164 | 13165.825 | 484.7093 | -562.6283 | 0 | 0 | 0 | 0 | 0 | 0
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-08 | 14 - 45 | No | INC | 24 | 44173 | 44174 | 0 | 49273.0833 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-09 | 14 - 56 | No | DEC | 16 | 44174.25 | 44174.9167 | 10.2943 | -8378.4325 | 0 | -590.1317 | 0 | 0 | 0 | 0 | 0 | 0
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-09 | 14 - 56 | No | INC | 24 | 44174 | 44175 | 30.0844 | 28070.68 | 0 | -985.9227 | 0 | 0 | 0 | 0 | 0 | 0
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-10 | 30 - 60 | No | INC | 24 | 44175 | 44176 | -7.6302 | 44016.615 | 666.4497 | -50.971 | 0 | 0 | 0 | 0 | 0 | 0
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-11 | 30 | No | INC | 13 | 44176 | 44176.5208 | 0 | 21709.485 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-14 | 32 - 48 | No | DEC | 7 | 44179.6667 | 44179.9583 | 5.1601 | 0 | 0 | -142.2399 | 0 | 0 | 0 | 0 | -267.1378 | 0
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-14 | 32 - 64 | No | INC | 17 | 44179.2951 | 44180 | 35.1811 | 25379.8608 | 0 | -1447.0027 | -4.1887 | 0 | 72.9641 | 0 | -49.0244 | 0
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-15 | 64 | No | DEC | 6 | 44180.7083 | 44180.9583 | 1.7105 | 184.995 | 0 | -86.0666 | -3.1018 | 0 | 38.248 | 0 | -317.603 | 0
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-15 | 28 - 48 | No | INC | 16 | 44180 | 44180.6562 | 6.1329 | 40699.2075 | 0 | -197.3363 | 0 | 0 | 0 | 0 | 0 | 0
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-16 | 30 - 60 | No | DEC | 5 | 44181.7292 | 44181.9167 | 2.6929 | 0 | 0 | -126.8373 | -7.0115 | 0 | 0 | 0 | -1390.2117 | 0
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-16 | 60 | No | INC | 1 | 44181.9167 | 44181.9583 | 1.3558 | 741.04 | 0 | -47.7296 | 0 | 0 | 0 | 0 | 0 | 0
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-17 | 28 - 42 | No | INC | 18 | 44182.2604 | 44183 | 5.7644 | 44066.875 | 0 | -297.3794 | 0 | 0 | 0 | 0 | 0 | 0
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-18 | 15 - 60 | No | DEC | 14 | 44183.2604 | 44183.8125 | 4.1332 | -4370.4894 | 0 | -136.8107 | 0 | 0 | 0 | 0 | -419.1195 | 0
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-18 | 30 - 60 | No | INC | 16 | 44183 | 44183.6667 | 7.6267 | 34835.7775 | 0 | -422.3531 | -1.7736 | 0 | 15.9457 | 0 | -3.453 | 0
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-19 | 28 | No | INC | 13 | 44184.375 | 44184.9167 | -3.42 | 8772.84 | 0 | -8.3663 | 0 | 0 | 0 | 0 | 0 | 0
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-24 | 15 - 45 | No | INC | 5 | 44189.3542 | 44189.5417 | 6.3402 | 7750.5325 | 0 | -300.0606 | 0 | 0 | 0 | 0 | 0 | 0
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-27 | 30 | No | DEC | 3 | 44192.625 | 44192.7292 | 0.67792 | 0 | 0 | -15.6904 | 0 | 0 | 0 | 0 | 0 | 0
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-27 | 30 - 60 | No | INC | 11 | 44192.2847 | 44192.7292 | 20.7595 | 24748.075 | 0 | -853.9909 | 0 | 0 | 0 | 0 | 0 | 0
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-30 | 15 | No | DEC | 6 | 44195.6667 | 44195.9167 | 1.3558 | 0 | 0 | -38.2821 | 0 | 0 | 0 | 0 | 0 | 0
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-30 | 15 - 60 | No | INC | 17 | 44195.309 | 44196 | 12.5619 | 42581.0608 | 0 | -386.8074 | 0 | 0 | 0 | 0 | 0 | 0
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-31 | 15 | No | DEC | 8 | 44196.6979 | 44197 | -3.4129 | 1092.285 | 0 | 131.0246 | -1.5769 | 0 | 0 | 0 | -48.58 | 0
60 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-12-31 | 15 - 30 | No | INC | 24 | 44196 | 44197 | 2.0418 | 20025.225 | 0 | -740.4839 | -1.9552 | 0 | 17.2851 | 0 | -12.2079 | 0
61 | RT | Planned Transmission Outage | PGAE | Sierra | 2020-12-01 | 20 | No | INC | 19 | 44166.2396 | 44167 | -35.46 | 9370.9804 | 445.44 | 544.8251 | 0 | 0 | 0 | 0 | 0 | 0
62 | RT | Planned Transmission Outage | PGAE | Sierra | 2020-12-03 | 40 | No | INC | 17 | 44168.2917 | 44169 | -36.0333 | 35926.61 | 0 | 1555.9055 | 0 | 0 | 0 | 0 | 0 | 0
63 | RT | Planned Transmission Outage | PGAE | Sierra | 2020-12-07 | 40 | No | DEC | 14 | 44172.25 | 44172.8333 | -32.2 | 0 | 0 | 1329.3738 | 0 | 0 | 0 | 0 | 0 | 0
64 | RT | Planned Transmission Outage | PGAE | Sierra | 2020-12-07 | 40 | No | INC | 11 | 44172.2083 | 44172.6667 | -0.78083 | 0 | 0 | -44.4269 | 0 | 0 | 0 | 0 | 0 | 0
65 | RT | Planned Transmission Outage | PGAE | Sierra | 2020-12-10 | 20 | No | INC | 7 | 44175.6111 | 44175.8958 | 0 | 10937.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
66 | RT | Planned Transmission Outage | PGAE | Sierra | 2020-12-11 | 20 | No | DEC | 4 | 44176.6667 | 44176.8333 | 6.9 | 0 | 0 | -349.3385 | 0 | 0 | 0 | 0 | 0 | 0
67 | RT | Planned Transmission Outage | PGAE | Sierra | 2020-12-11 | 20 | No | INC | 5 | 44176.4896 | 44176.6667 | 6.7833 | 0 | 0 | -280.0119 | 0 | 0 | 0 | 0 | 0 | 0
68 | RT | Planned Transmission Outage | PGAE | Sierra | 2020-12-14 | 1 - 10 | No | INC | 1 | 44179.3958 | 44179.4375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
69 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2020-12-19 | 100 - 401 | No | INC | 16 | 44184.3333 | 44185 | 12.2973 | 237199.91 | 87998.6 | 105.0456 | 15.005 | -90.985 | 0 | 0 | -3781.277 | 0
70 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2020-12-20 | 100 - 401 | No | INC | 16 | 44185 | 44185.6667 | 39.079 | 244476.075 | 0 | -1869.9121 | 1.8186 | -15.2299 | 0 | 0 | -2530.2511 | 0
71 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-12-01 | 47 - 194 | No | INC | 8 | 44166.4271 | 44166.7604 | -144.5146 | 5677.68 | 0 | 26694.6821 | 2.9272 | -80.7375 | 0 | 0 | -44666.1723 | 0
72 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-12-02 | 194 | No | INC | 1 | 44167.6667 | 44167.6875 | 5.4263 | 1722.705 | 0 | -182.2077 | 10.9267 | -182.2077 | 0 | 0 | -10191.2436 | 0
73 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-12-03 | 20 | No | INC | 1 | 44168.5312 | 44168.5521 | -9.6667 | 2451.8333 | 40.3971 | 479.0259 | 0 | 0 | 0 | 0 | 0 | 0
74 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-12-22 | 96 - 98 | No | INC | 6 | 44187.5347 | 44187.75 | -118.2233 | 34674.52 | 5983.5325 | 4080.3474 | 119.452 | -1210.1131 | 0 | 0 | -3879.8294 | 0
75 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-12-28 | 98 | No | INC | 12 | 44193.5312 | 44194 | -573.1049 | 175760.37 | 28858.3916 | 30878.9127 | 0 | 0 | 0 | 0 | 0 | 0
76 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-12-29 | 98 - 300 | No | INC | 24 | 44194 | 44195 | -904.251 | 418721.6099 | 0 | 32044.897 | 105.6603 | -2151.9365 | 0 | 0 | -3414.8448 | 0
77 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-12-30 | 250 | No | DEC | 10 | 44195 | 44195.4028 | -112.4044 | 0 | 0 | 3462.18 | 50 | -1658.4613 | 0 | 0 | -45.0256 | 0
78 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-12-30 | 100 - 300 | No | INC | 22 | 44195 | 44195.9167 | 72.6412 | 193785.4 | 0 | 1631.9499 | 382.2986 | -9959.0527 | 0 | 0 | -12128.3932 | 0
79 | RT | Planned Transmission Outage | SCE | NA | 2020-12-02 | 30 - 39 | No | DEC | 9 | 44167.6493 | 44168 | 5.3067 | 0 | 0 | 789.3757 | 0 | 0 | 0 | 0 | -874.784 | 0
80 | RT | Planned Transmission Outage | SCE | NA | 2020-12-03 | 30 - 45 | No | DEC | 24 | 44168 | 44169 | 6.4111 | 0 | 0 | 552.7036 | -22.2222 | 0 | -526.6842 | 0 | -7149.237 | 0
81 | RT | Planned Transmission Outage | SCE | NA | 2020-12-04 | 39 | No | DEC | 4 | 44169 | 44169.1458 | 7.5833 | 0 | 0 | -266.4086 | 0 | 0 | 0 | 0 | -908.8012 | 0
82 | RT | Planned Transmission Outage | SCE | NA | 2020-12-22 | 0 | No | DEC | 3 | 44187.5347 | 44187.625 | -18.0018 | 0 | 0 | -951.0412 | -18.0022 | 0 | -1056.9022 | 0 | 0 | 0
83 | RT | Planned Transmission Outage | SCE | NA | 2020-12-29 | 0 | No | DEC | 7 | 44194.375 | 44194.6667 | -42.2576 | 0 | 0 | 674.3409 | -41.8349 | 0 | 169.9611 | 0 | -16660.3658 | 0
84 | RT | Reliability Assessment | PGAE | Fresno | 2020-12-29 | 5 - 15 | No | DEC | 4 | 44194.5278 | 44194.6667 | -150.9321 | 0 | 0 | -2511.9567 | -305.034 | 0 | -1861.746 | 0 | 0 | 0
85 | RT | Reliability Assessment | PGAE | Fresno | 2020-12-29 | 10 - 15 | No | INC | 1 | 44194.6319 | 44194.6667 | 4.1445 | 0 | 0 | -73.893 | 0 | 0 | 0 | 0 | 0 | 0
86 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-01 | 14 | No | DEC | 7 | 44166.0208 | 44166.2917 | -4.0675 | 186.5325 | 0 | 159.4926 | 0 | 0 | 0 | 0 | 0 | 0
87 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-01 | 28 - 30 | No | INC | 1 | 44166 | 44166.0208 | 0.21552 | 1119.19 | 0 | -6.2889 | 0 | 0 | 0 | 0 | 0 | 0
88 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-11 | 14 | No | DEC | 2 | 44176.9479 | 44177 | -0.15083 | 700.305 | 0 | 6.1779 | 0 | 0 | 0 | 0 | 0 | 0
89 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-11 | 14 - 30 | No | INC | 19 | 44176.2396 | 44177 | -3.2791 | 47620.7825 | 0 | 311.377 | 0 | 0 | 0 | 0 | 0 | 0
90 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-12 | 14 | No | DEC | 24 | 44177 | 44178 | -9.5575 | 17255.93 | 0 | 329.4081 | 0 | 0 | 0 | 0 | 0 | 0
91 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-12 | 14 | No | INC | 24 | 44177 | 44178 | 0.72771 | 19924.45 | 0 | -58.501 | 0 | 0 | 0 | 0 | 0 | 0
92 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-13 | 14 | No | DEC | 22 | 44178 | 44178.9167 | 7.7935 | -2120.6493 | 0 | -302.0711 | 0 | 0 | 0 | 0 | 0 | 0
93 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-13 | 14 - 30 | No | INC | 24 | 44178 | 44179 | 8.6202 | 20813.875 | 0 | -359.3158 | 0 | 0 | 0 | 0 | 0 | 0
94 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-14 | 14 - 30 | No | INC | 8 | 44179 | 44179.3125 | 3.9729 | 10317.985 | 0 | -200.4947 | 0 | 0 | 0 | 0 | 0 | 0
95 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-15 | 30 - 45 | No | DEC | 4 | 44180.8715 | 44181 | 2.4552 | 184.995 | 0 | -73.7619 | 0 | 0 | 0 | 0 | -72.0626 | 0
96 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-15 | 30 | No | INC | 1 | 44180.9583 | 44181 | 0 | 1479.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
97 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-16 | 30 | No | DEC | 8 | 44181.625 | 44181.9583 | 6.1225 | -87.4328 | 0 | -248.6303 | -7.0115 | 0 | 0 | 0 | -1390.2117 | 0
98 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-16 | 15 - 30 | No | INC | 24 | 44181 | 44182 | 3.9233 | 31679.4775 | 0 | -200.7719 | 0 | 0 | 0 | 0 | 0 | 0
99 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-17 | 14 | No | DEC | 4 | 44182.1146 | 44182.2708 | 1.5134 | 183.6125 | 0 | -51.5056 | 0 | 0 | 0 | 0 | 0 | 0
100 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-17 | 30 | No | INC | 8 | 44182 | 44182.3333 | -0.10229 | 13770.9375 | 0 | 3.0574 | 0 | 0 | 0 | 0 | 0 | 0
101 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-18 | 30 - 45 | No | DEC | 5 | 44183.7917 | 44184 | 4.3363 | -3062.9763 | 0 | -154.6476 | 0 | 0 | 0 | 0 | -33.9954 | 0
102 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-18 | 30 | No | INC | 1 | 44183.9583 | 44184 | 0 | 1451.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
103 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-19 | 15 | No | DEC | 9 | 44184.0208 | 44184.3611 | 0.5675 | 0 | 0 | -19.3456 | 0 | 0 | 0 | 0 | 0 | 0
104 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-19 | 15 - 45 | No | INC | 24 | 44184 | 44185 | -4.1183 | 27232.135 | 0 | -18.9691 | 0 | 0 | 0 | 0 | 0 | 0
105 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-20 | 14 | No | DEC | 18 | 44185 | 44185.7292 | 0.88333 | 0 | 0 | -143.9359 | 0 | 0 | 0 | 0 | 0 | 0
106 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-20 | 14 - 28 | No | INC | 8 | 44185.6979 | 44186 | 11.2767 | 6762.325 | 0 | -493.5033 | 0 | 0 | 0 | 0 | 0 | 0
107 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-21 | 14 - 28 | No | DEC | 9 | 44186.625 | 44187 | -6.7792 | -11816.2659 | 0 | 247.4075 | 0 | 0 | 0 | 0 | 0 | 0
108 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-21 | 14 - 28 | No | INC | 24 | 44186 | 44186.9792 | -0.11313 | 17911.115 | 0 | 3.6698 | 0 | 0 | 0 | 0 | 0 | 0
109 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-22 | 14 | No | DEC | 24 | 44187 | 44188 | -0.065833 | 61.4908 | 0 | 2.7406 | 0 | 0 | 0 | 0 | 0 | 0
110 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-22 | 14 - 28 | No | INC | 18 | 44187.2743 | 44188 | 10.9467 | 19922.0675 | 0 | -829.4133 | 0 | 0 | 0 | 0 | 0 | 0
111 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-23 | 14 - 30 | No | DEC | 24 | 44188 | 44189 | -2.551 | -7930.767 | 0 | -24.595 | 0 | 0 | 0 | 0 | 0 | 0
112 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-23 | 14 - 30 | No | INC | 24 | 44188 | 44189 | -2.7142 | 16262.2575 | 0 | 14.0883 | 0 | 0 | 0 | 0 | 0 | 0
113 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-24 | 15 | No | DEC | 24 | 44189 | 44190 | 2.2051 | 369.0725 | 0 | -145.1673 | 0 | 0 | 0 | 0 | 0 | 0
114 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-24 | 14 - 30 | No | INC | 24 | 44189 | 44189.9792 | -10.3008 | 10518.61 | 0 | 444.7889 | 0 | 0 | 0 | 0 | 0 | 0
115 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-25 | 14 | No | DEC | 24 | 44190 | 44191 | -4.4458 | 181.97 | 0 | 134.6835 | 0 | 0 | 0 | 0 | 0 | 0
116 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-25 | 28 | No | INC | 7 | 44190.7153 | 44190.9688 | 6.6187 | 4003.34 | 0 | -269.3208 | 0 | 0 | 0 | 0 | 0 | 0
117 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-26 | 14 - 15 | No | DEC | 24 | 44191 | 44192 | -8.7025 | 181.97 | 0 | 155.834 | 0 | 0 | 0 | 0 | 0 | 0
118 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-26 | 14 - 30 | No | INC | 11 | 44191.5 | 44191.9479 | 4.3487 | 3457.43 | 0 | -252.7218 | 0 | 0 | 0 | 0 | 0 | 0
119 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-27 | 15 - 30 | No | DEC | 19 | 44192 | 44192.7917 | 4.4625 | 363.9425 | 0 | -189.2658 | 0 | 0 | 0 | 0 | 0 | 0
120 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-27 | 14 - 45 | No | INC | 7 | 44192.7153 | 44193 | 1.2358 | 13708.5017 | 0 | -59.3663 | 0 | 0 | 0 | 0 | 0 | 0
121 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-28 | 14 | No | DEC | 6 | 44193.0417 | 44193.2882 | -1.0543 | 181.97 | 0 | 37.7142 | 0 | 0 | 0 | 0 | 0 | 0
122 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-28 | 14 - 42 | No | INC | 24 | 44193 | 44194 | 109.7162 | 30207.22 | 0 | -4394.8616 | 0 | 0 | 0 | 0 | 0 | 0
123 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-29 | 30 | No | INC | 24 | 44194 | 44195 | -2.6058 | 17372.88 | 0 | 18.803 | 0 | 0 | 0 | 0 | 0 | 0
124 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-30 | 15 | No | DEC | 20 | 44195 | 44195.8333 | 1.6006 | 0 | 0 | -53.743 | 0 | 0 | 0 | 0 | 0 | 0
125 | RT | Reliability Assessment | PGAE | Humboldt | 2020-12-30 | 15 - 60 | No | INC | 14 | 44195.2743 | 44195.8333 | 11.4598 | 34040.45 | 0 | -438.2184 | 0 | 0 | 0 | 0 | 0 | 0
126 | RT | Reliability Assessment | PGAE | NCNB | 2020-12-26 | 50 - 75 | No | DEC | 2 | 44191.625 | 44191.7083 | 3.3021 | 0 | 0 | 0.19699 | 0 | 0 | 0 | 0 | 0 | 0
127 | RT | Reliability Assessment | PGAE | NCNB | 2020-12-26 | 50 - 75 | No | INC | 2 | 44191.5417 | 44191.625 | -41.2479 | 0 | 0 | -44.677 | 0 | 0 | 0 | 0 | 0 | 0
128 | RT | Reliability Assessment | PGAE | Sierra | 2020-12-05 | 20 | No | INC | 1 | 44170.7292 | 44170.7708 | -16.8775 | 842.915 | 0 | 603.5611 | 0 | 0 | 0 | 0 | 0 | 0
129 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2020-12-29 | 30 | No | INC | 5 | 44194.3056 | 44194.5 | -37.7083 | 0 | 0 | 1114.7411 | 0 | 0 | 0 | 0 | 0 | 0
130 | RT | Reliability Assessment | SCE | NA | 2020-12-03 | 470 | No | DEC | 3 | 44168.7153 | 44168.8333 | -166.9395 | 0 | 0 | 6958.2997 | 0 | 0 | 0 | 0 | 0 | 0
131 | RT | Reliability Assessment | SCE | NA | 2020-12-04 | 470 | No | DEC | 4 | 44169.7361 | 44169.875 | -120.3327 | 0 | 0 | 5534.1719 | -5 | 0 | 112.5 | 0 | 0 | 0
132 | RT | Reliability Assessment | SCE | NA | 2020-12-04 | 470 | No | INC | 1 | 44169.875 | 44169.9167 | -6.3075 | 6441.85 | 0 | 325.4375 | 0 | 0 | 0 | 0 | 0 | 0
133 | RT | Reliability Assessment | SCE | NA | 2020-12-08 | 1 | No | DEC | 1 | 44173.3542 | 44173.3958 | -10.2617 | 0 | 0 | -348.3194 | -4.6068 | 0 | -0.019915 | 0 | 0 | 0
134 | RT | Reliability Assessment | SCE | NA | 2020-12-10 | 480 | No | INC | 9 | 44175.2847 | 44175.625 | 27.0029 | 44639.665 | 0 | -283.5692 | 0 | 0 | 0 | 0 | 0 | 0
135 | RT | Reliability Assessment | SCE | NA | 2020-12-14 | 450 | No | DEC | 4 | 44179.7083 | 44179.875 | -119.7645 | 0 | 0 | 5005.4064 | 0 | 0 | 0 | 0 | 0 | 0
136 | RT | Reliability Assessment | SCE | NA | 2020-12-14 | 450 | No | INC | 8 | 44179.7014 | 44180 | -61.2923 | 12729.3183 | 0 | 2546.2945 | 0 | 0 | 0 | 0 | 0 | 0
137 | RT | Reliability Assessment | SCE | NA | 2020-12-15 | 470 | No | DEC | 21 | 44180 | 44180.875 | -104.9033 | -8624.85 | 0 | 4299.8877 | -0.83333 | 0 | 20.7625 | 0 | 0 | 0
138 | RT | Reliability Assessment | SCE | NA | 2020-12-15 | 470 | No | INC | 21 | 44180.125 | 44181 | 49.8131 | 14782.3805 | 0 | -1580.6239 | 0 | 0 | 0 | 0 | 0 | 0
139 | RT | Reliability Assessment | SCE | NA | 2020-12-16 | 470 | No | DEC | 14 | 44181.25 | 44181.8333 | -103.1523 | -4748.5104 | 0 | 4654.7836 | 0 | 0 | 0 | 0 | 0 | 0
140 | RT | Reliability Assessment | SCE | NA | 2020-12-16 | 470 | No | INC | 24 | 44181 | 44182 | -156.1111 | 16128.9 | 0 | 7065.5257 | 0 | 0 | 0 | 0 | 0 | 0
141 | RT | Reliability Assessment | SCE | NA | 2020-12-18 | 450 | No | DEC | 4 | 44183.7465 | 44183.875 | -79.0551 | -3058.4352 | 0 | 2911.4204 | 0 | 0 | 0 | 0 | 0 | 0
142 | RT | Reliability Assessment | SCE | NA | 2020-12-18 | 450 | No | INC | 3 | 44183.875 | 44184 | -111.28 | 8234.1808 | 0 | 3665.918 | 0 | 0 | 0 | 0 | 0 | 0
143 | RT | Reliability Assessment | SCE | NA | 2020-12-19 | 450 - 475 | No | INC | 24 | 44184 | 44185 | 0.23656 | -26621.443 | 0 | 101.0167 | 0 | 0 | 0 | 0 | 0 | 0
144 | RT | Reliability Assessment | SCE | NA | 2020-12-20 | 470 - 475 | No | INC | 6 | 44185.7708 | 44186 | 14.8859 | 7230.5044 | 0 | -336.6471 | -2.5 | 0 | 44.875 | 0 | 0 | 0
145 | RT | Reliability Assessment | SCE | NA | 2020-12-21 | 470 - 475 | No | INC | 1 | 44186.2917 | 44186.3333 | 91.5666 | 9016.606 | 0 | -2384.7694 | 0 | 0 | 0 | 0 | 0 | 0
146 | RT | Reliability Assessment | SCE | NA | 2020-12-22 | 450 | No | INC | 3 | 44187.8819 | 44188 | -23.7606 | 12438.9917 | 0 | 730.1777 | 0 | 0 | 0 | 0 | 0 | 0
147 | RT | Reliability Assessment | SCE | NA | 2020-12-23 | 425 - 450 | No | DEC | 18 | 44188.25 | 44189 | -28.1425 | -3158.7378 | 0 | 934.9642 | -57.2917 | 0 | 981.1198 | 0 | 0 | 0
148 | RT | Reliability Assessment | SCE | NA | 2020-12-23 | 425 - 450 | No | INC | 23 | 44188 | 44188.9583 | 9.7577 | 13238.225 | 0 | -359.0383 | 0 | 0 | 0 | 0 | 0 | 0
149 | RT | Reliability Assessment | SCE | NA | 2020-12-24 | 425 - 450 | No | DEC | 18 | 44189.25 | 44190 | -2.7854 | -4033.989 | 0 | 80.6676 | -10 | 0 | 170.1 | 0 | 0 | 0
150 | RT | Reliability Assessment | SCE | NA | 2020-12-24 | 425 - 450 | No | INC | 23 | 44189 | 44189.9583 | 1.1607 | 28764.1732 | 0 | -264.5236 | -12.9167 | 0 | 219.7125 | 0 | 0 | 0
151 | RT | Reliability Assessment | SCE | NA | 2020-12-25 | 430 - 460 | No | DEC | 23 | 44190 | 44190.9583 | -6.7736 | 0 | 0 | 97.3949 | 0 | 0 | 0 | 0 | 0 | 0
152 | RT | Reliability Assessment | SCE | NA | 2020-12-25 | 460 | No | INC | 24 | 44190.0347 | 44191 | -150.6998 | 28324.6093 | 0 | 4508.0464 | 0 | 0 | 0 | 0 | 0 | 0
153 | RT | Reliability Assessment | SCE | NA | 2020-12-26 | 460 | No | DEC | 19 | 44191.2083 | 44192 | -12.9142 | 0 | 0 | 418.941 | 0 | 0 | 0 | 0 | 0 | 0
154 | RT | Reliability Assessment | SCE | NA | 2020-12-26 | 460 | No | INC | 23 | 44191 | 44191.9583 | 7.0176 | 35625.5624 | 0 | -883.9769 | 0 | 0 | 0 | 0 | 0 | 0
155 | RT | Reliability Assessment | SCE | NA | 2020-12-27 | 450 | No | DEC | 3 | 44192.6667 | 44192.7917 | -88.6812 | 0 | 0 | 2959.3884 | 0 | 0 | 0 | 0 | 0 | 0
156 | RT | Reliability Assessment | SCE | NA | 2020-12-27 | 450 - 474 | No | INC | 24 | 44192 | 44193 | -90.2802 | 42431.4747 | 0 | 2460.8748 | 0 | 0 | 0 | 0 | 0 | 0
157 | RT | Reliability Assessment | SCE | NA | 2020-12-28 | 474 | No | INC | 1 | 44193 | 44193.0208 | -5.9975 | 0 | 0 | 178.0308 | 0 | 0 | 0 | 0 | 0 | 0
158 | RT | Reliability Assessment | SCE | NA | 2020-12-31 | 475 - 480 | No | INC | 6 | 44196.7326 | 44196.9583 | -36.8613 | 15724.61 | 0 | 1290.1667 | 0 | 0 | 0 | 0 | 0 | 0
159 | RT | Software Limitation | SCE | LA Basin | 2020-12-13 | 38.85 | No | INC | 1 | 44178.3056 | 44178.3299 | 6.475 | 1537.1417 | 0 | -155.1533 | 0 | 0 | 0 | 0 | 0 | 0
160 | RT | Software Limitation | SDGE | San Diego-IV | 2020-12-01 | 0 | No | INC | 2 | 44166.7847 | 44166.8438 | 65.4242 | 0 | 0 | -3867.2736 | 123.4933 | -3704.7999 | 0 | 0 | 0 | 0
161 | RT | Software Limitation | SDGE | San Diego-IV | 2020-12-06 | 0 | No | INC | 2 | 44171.9236 | 44172 | 13.1924 | 0 | 0 | -456.2487 | 0 | 0 | 0 | 0 | 0 | 0
162 | RT | Software Limitation | SDGE | San Diego-IV | 2020-12-07 | 0 | No | INC | 7 | 44172 | 44172.2604 | -24.655 | 0 | 0 | 870.4105 | 0 | 0 | 0 | 0 | 0 | 0
163 | RT | Software Limitation | SDGE | San Diego-IV | 2020-12-11 | -5 | No | DEC | 4 | 44176.4167 | 44176.559 | -1.1979 | 0 | 0 | 23.3347 | 0 | 0 | 0 | 0 | 0 | 0
164 | RT | Software Limitation | SDGE | San Diego-IV | 2020-12-11 | 0 | No | INC | 18 | 44176.2674 | 44177 | 22.189 | 0 | 0 | -791.6161 | 5.7292 | -143.2292 | 0 | 0 | 0 | 0
165 | RT | Software Limitation | SDGE | San Diego-IV | 2020-12-12 | -25 | No | DEC | 5 | 44177.0625 | 44177.2396 | 7.1228 | 0 | 0 | -253.4199 | 0 | 0 | 0 | 0 | 0 | 0
166 | RT | Software Limitation | SDGE | San Diego-IV | 2020-12-12 | 0 - 350 | No | INC | 24 | 44177 | 44178 | 44.8697 | 0 | 0 | -7397.2638 | 108.5938 | -2355.0709 | 0 | 0 | 0 | 0
167 | RT | Software Limitation | SDGE | San Diego-IV | 2020-12-13 | -25 | No | DEC | 18 | 44178.1875 | 44178.934 | 61.78 | 0 | 0 | -1931.0755 | 0 | 0 | 0 | 0 | 0 | 0
168 | RT | Software Limitation | SDGE | San Diego-IV | 2020-12-13 | 0 | No | INC | 24 | 44178 | 44179 | -8.9375 | 0 | 0 | 286.5685 | 0 | 0 | 0 | 0 | 0 | 0
169 | RT | Software Limitation | SDGE | San Diego-IV | 2020-12-14 | -25 | No | DEC | 19 | 44179.2188 | 44180 | 37.5611 | 0 | 0 | -80.5864 | 0 | 0 | 0 | 0 | 0 | 0
170 | RT | Software Limitation | SDGE | San Diego-IV | 2020-12-14 | 0 | No | INC | 6 | 44179 | 44179.2188 | -10.3091 | 0 | 0 | 321.1879 | 0 | 0 | 0 | 0 | 0 | 0
171 | RT | Unit Testing | Intertie | NA | 2020-12-01 | 50 | No | INC | 24 | 44166 | 44167 | 2434.3723 | 0 | 0 | -77230.7841 | 4868.7447 | -77230.7841 | 0 | 0 | 0 | 0
172 | RT | Unit Testing | Intertie | NA | 2020-12-02 | 50 | No | INC | 24 | 44167 | 44168 | 2952.604 | 0 | 0 | -78608.2887 | 5899.9998 | -78601.4658 | 0 | 0 | 0 | 0
173 | RT | Unit Testing | Intertie | NA | 2020-12-03 | 50 - 300 | No | INC | 24 | 44168 | 44169 | 8896.8749 | 0 | 0 | -282153.4723 | 17793.7499 | -282153.4723 | 0 | 0 | 0 | 0
174 | RT | Unit Testing | Intertie | NA | 2020-12-04 | 40 - 300 | No | INC | 24 | 44169 | 44170 | 8032.9166 | 0 | 0 | -254251.1001 | 16060.2082 | -254104.5772 | 0 | 0 | 0 | 0
175 | RT | Unit Testing | Intertie | NA | 2020-12-05 | 50 | No | INC | 24 | 44170 | 44171 | 2899.3791 | 0 | 0 | -73820.6637 | 5798.7374 | -73820.3518 | 0 | 0 | 0 | 0
176 | RT | Unit Testing | Intertie | NA | 2020-12-06 | 50 - 51 | No | INC | 24 | 44171 | 44172 | 1774.3541 | 0 | 0 | -41505.0528 | 3547.9791 | -41495.0492 | 0 | 0 | 0 | 0
177 | RT | Unit Testing | Intertie | NA | 2020-12-07 | 50 - 86 | No | INC | 24 | 44172 | 44173 | 2613.5208 | 0 | 0 | -70018.2431 | 5225.1874 | -70015.8141 | 0 | 0 | 0 | 0
178 | RT | Unit Testing | Intertie | NA | 2020-12-08 | 10 - 188 | No | INC | 24 | 44173 | 44174 | 2820.1628 | 0 | 0 | -66098.4139 | 5631.284 | -66032.1961 | 0 | 0 | 0 | 0
179 | RT | Unit Testing | Intertie | NA | 2020-12-09 | 20 - 62 | No | INC | 24 | 44174 | 44175 | 1344.7188 | 0 | 0 | -29774.4291 | 2686.4167 | -29738.9407 | 0 | 0 | 0 | 0
180 | RT | Unit Testing | Intertie | NA | 2020-12-10 | 0 - 169 | No | INC | 24 | 44175 | 44176 | 2653.0028 | 0 | 0 | -66629.3981 | 7950.3521 | -66603.8798 | 0 | 0 | 0 | 0
181 | RT | Unit Testing | Intertie | NA | 2020-12-11 | 5 - 165 | No | INC | 24 | 44176 | 44177 | 2474.1354 | 0 | 0 | -53733.1783 | 4943.375 | -53726.7647 | 0 | 0 | 0 | 0
182 | RT | Unit Testing | Intertie | NA | 2020-12-12 | 11 - 128 | No | INC | 24 | 44177 | 44178 | 2335.7073 | 0 | 0 | -41886.7121 | 4664.0604 | -41880.629 | 0 | 0 | 0 | 0
183 | RT | Unit Testing | Intertie | NA | 2020-12-13 | 10 - 100 | No | INC | 24 | 44178 | 44179 | 3100.1958 | 0 | 0 | -67806.8414 | 5493.0207 | -59350.6645 | 0 | 0 | 0 | 0
184 | RT | Unit Testing | Intertie | NA | 2020-12-14 | 10 - 100 | No | INC | 24 | 44179 | 44180 | 3140.8061 | 0 | 0 | -71225.3302 | 6278.4164 | -71221.1437 | 0 | 0 | 0 | 0
185 | RT | Unit Testing | Intertie | NA | 2020-12-15 | 20 - 99 | No | INC | 15 | 44180 | 44180.625 | 1317.046 | 0 | 0 | -26359.9694 | 2631.1128 | -26363.5721 | 0 | 0 | 0 | 0
186 | RT | Unit Testing | Intertie | NA | 2020-12-16 | 20 - 63 | No | INC | 23 | 44181 | 44181.9583 | 945.2029 | 0 | 0 | -16337.4872 | 1889.4791 | -16353.6757 | 0 | 0 | 0 | 0
187 | RT | Unit Testing | Intertie | NA | 2020-12-17 | 20 - 50 | No | INC | 9 | 44182.2917 | 44182.6667 | 383.5625 | 0 | 0 | -8333.8747 | 765.8958 | -8316.3323 | 0 | 0 | 0 | 0
188 | RT | Unit Testing | PGAE | NA | 2020-12-17 | 55 | No | INC | 1 | 44182.3438 | 44182.3646 | 1.55 | 0 | 0 | -86.1645 | 3.0677 | -86.1645 | 0 | 0 | 0 | 0
189 | RT | Unit Testing | SCE | LA Basin | 2020-12-09 | 96 | No | INC | 1 | 44174.816 | 44174.8333 | 21.2392 | 0 | 0 | -1205.4954 | 37.0601 | -1123.2719 | 0 | 0 | 0 | 0
190 | RT | Unit Testing | SCE | LA Basin | 2020-12-19 | 39 | No | INC | 1 | 44184.8854 | 44184.9167 | -7.1531 | 1987.8525 | 0 | 284.5316 | 0.070312 | 0 | 0 | 0 | 0 | 0
191 | RT | Unit Testing | SCE | NA | 2020-12-02 | 280 - 380 | No | INC | 7 | 44167.4583 | 44167.75 | 304.7824 | -71139.215 | 0 | -10748.3836 | 551.65 | -10031.2656 | 0 | 0 | 0 | 0
192 | RT | Unit Testing | SCE | NA | 2020-12-09 | 225 | No | INC | 1 | 44174.441 | 44174.4583 | 17.8906 | 0 | 0 | -602.5562 | 35.625 | -602.5562 | 0 | 0 | 0 | 0
193 | RT | Unit Testing | SDGE | San Diego-IV | 2020-12-04 | 105.5 | No | INC | 1 | 44169.6667 | 44169.6944 | 50.8835 | 0 | 0 | -2627.9654 | 86.692 | -2578.3111 | 0 | 0 | 0 | 0
194 | RT | Unit Testing | SDGE | San Diego-IV | 2020-12-12 | 125 | No | INC | 1 | 44177.0035 | 44177.0278 | 64.3229 | 0 | 0 | -2159.7584 | 104.6875 | -2159.7584 | 0 | 0 | 0 | 0
195 | RT | Unit Testing | SDGE | San Diego-IV | 2020-12-25 | 160 | No | INC | 4 | 44190.8646 | 44191 | 326.6667 | 0 | 0 | -8752.9651 | 0 | 0 | 0 | 0 | 0 | 0
196 | RT | Unit Testing | SDGE | San Diego-IV | 2020-12-26 | 230 | No | INC | 2 | 44191.0139 | 44191.0625 | 62.9167 | 0 | 0 | -1749.2315 | 96.9085 | -1442.1436 | 0 | 0 | 0 | 0
197 | RT | Unit Testing | SDGE | San Diego-IV | 2020-12-28 | 245 | No | INC | 3 | 44193.1979 | 44193.3125 | 192.9375 | 0 | 0 | -7964.2789 | 261.76 | -5496.9275 | 0 | 0 | 0 | 0
198 | RT | Unplanned Outage | PGAE | Bay Area | 2020-12-02 | 175 | No | INC | 8 | 44167.6146 | 44167.9167 | 34.1175 | 127947.5925 | 36717.9 | -810.818 | 0 | 0 | 0 | 0 | 0 | 0
199 | RT | Unplanned Outage | PGAE | Bay Area | 2020-12-13 | 175 - 330 | No | DEC | 4 | 44178.3264 | 44178.4583 | 494.9968 | -3272.3183 | 0 | -82131.8423 | -327.9638 | 0 | 4329.8306 | 0 | 0 | 0
200 | RT | Unplanned Outage | SCE | LA Basin | 2020-12-02 | 20 - 194 | No | INC | 10 | 44167.5 | 44167.9167 | 84.1026 | 32731.395 | 0 | -2688.4915 | 2.761 | -54.4349 | 0 | -6547.2236 | -5394.0396 | 0
201 | RT | Unplanned Outage | SCE | LA Basin | 2020-12-13 | 130 - 251 | No | DEC | 7 | 44178.5486 | 44178.8333 | -681.7902 | 0 | 0 | 25581.4486 | -100.2177 | 0 | 433.3178 | 0 | 0 | 0
202 | RT | Unplanned Outage | SCE | LA Basin | 2020-12-13 | 0 - 263 | No | INC | 9 | 44178.316 | 44178.6875 | 1101.0313 | 123914.38 | 0 | -20053.218 | 453.7667 | -5834.9956 | 0 | -10626.1612 | 0 | 0
203 | RT | Unplanned Outage | SDGE | San Diego-IV | 2020-12-13 | 497 | No | INC | 1 | 44178.3056 | 44178.3333 | 65.9488 | 0 | 0 | -1807.949 | 130.2583 | -1870.4242 | 0 | -535.8273 | 0 | 0
204 | RT | Voltage Support | PGAE | NA | 2020-12-13 | 307 | No | DEC | 23 | 44178.0382 | 44178.9583 | 196.9496 | -1493.6042 | 0 | -6270.9767 | 1.12 | -27.1155 | 0 | 0 | -1.7133 | 0
205 | RT | Voltage Support | PGAE | NA | 2020-12-13 | 307 | No | INC | 23 | 44178.0417 | 44179 | -66.9408 | 20067.26 | 0 | -439.3043 | 0 | 0 | 0 | 0 | -29.8895 | 0
206 | RT | Voltage Support | PGAE | NA | 2020-12-14 | 48.95 - 307 | No | DEC | 18 | 44179.25 | 44180 | -2.3356 | -4592.0112 | 0 | 52.2861 | 0 | 0 | 0 | 0 | 0 | 0
207 | RT | Voltage Support | PGAE | NA | 2020-12-14 | 62 - 307 | No | INC | 7 | 44179 | 44179.2917 | -266.0818 | 77329.96 | 0 | 7907.8196 | 0 | 0 | 0 | 0 | -5.0944 | 0
208 | RT | Voltage Support | PGAE | NA | 2020-12-15 | 48.95 | No | DEC | 2 | 44180.2083 | 44180.2917 | 16.7083 | 0 | 0 | -694.5117 | 0 | 0 | 0 | 0 | 0 | 0
209 | RT | Voltage Support | PGAE | NA | 2020-12-15 | 48.95 | No | INC | 5 | 44180 | 44180.2083 | -88.3217 | 15148.6025 | 0 | 2917.971 | 0 | 0 | 0 | 0 | 0 | 0
210 | RT | Voltage Support | PGAE | NA | 2020-12-21 | 49 | No | DEC | 1 | 44186.25 | 44186.2917 | -4.4876 | -6731.0208 | 0 | 154.1182 | 0 | 0 | 0 | 0 | 0 | 0
211 | RT | Voltage Support | PGAE | NA | 2020-12-21 | 49 | No | INC | 6 | 44186.0104 | 44186.25 | 22.2816 | 14918.95 | 0 | -659.2967 | 0 | 0 | 0 | 0 | 0 | 0
212 | RT | Voltage Support | PGAE | NA | 2020-12-22 | 49 | No | INC | 4 | 44187.0903 | 44187.25 | 19.7646 | 3937.71 | 0 | -525.247 | 0 | 0 | 0 | 0 | 0 | 0
213 | RT | Voltage Support | PGAE | Sierra | 2020-12-02 | 45 | No | DEC | 13 | 44167.25 | 44167.7917 | -9.9884 | 0 | 0 | 425.945 | 0 | 0 | 0 | 0 | 0 | 0
214 | RT | Voltage Support | PGAE | Sierra | 2020-12-02 | 20 - 45 | No | INC | 23 | 44167.066 | 44168 | -1.25 | 36708.68 | 438.44 | 147.9928 | 0 | 0 | 0 | 0 | 0 | 0
215 | RT | Voltage Support | PGAE | Sierra | 2020-12-03 | 20 | No | INC | 24 | 44168 | 44169 | -16.1 | 17132 | 285.0521 | 721.0918 | 0 | 0 | 0 | 0 | 0 | 0
216 | RT | Voltage Support | PGAE | Sierra | 2020-12-04 | 20 | No | INC | 6 | 44169 | 44169.25 | 0 | 10161.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
217 | RT | Voltage Support | PGAE | Sierra | 2020-12-09 | 20 | No | INC | 1 | 44174.7708 | 44174.7917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
218 | RT | Voltage Support | PGAE | Sierra | 2020-12-22 | 20 | No | INC | 4 | 44187.0903 | 44187.25 | 1.6667 | 6638.25 | 441.94 | -43.1547 | 0 | 0 | 0 | 0 | 0 | 0
219 | RT | Voltage Support | PGAE | Sierra | 2020-12-28 | 20 | No | INC | 1 | 44193.2396 | 44193.25 | 5 | 433.9575 | 0 | -170.4729 | 0 | 0 | 0 | 0 | 0 | 0
220 | RT | Voltage Support | PGAE | Sierra | 2020-12-31 | 20 | No | INC | 10 | 44196.559 | 44196.9583 | -47.6408 | 16579.4 | 437.94 | 1539.5981 | 0 | 0 | 0 | 0 | 0 | 0
221 | RT | Voltage Support | SDGE | San Diego-IV | 2020-12-14 | 0 | No | INC | 4 | 44179.4479 | 44179.5833 | -2.3608 | 0 | 0 | 20.8372 | -4.8572 | 0 | 0 | 0 | 0 | 0

## Price_Impact_A
Table 8: Price Impact Analysis Information for Pricing Node A in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2020-12-16 | 11 | 9 | 31.8781 | Yes | 29.91 | -1.9681
2 | 2020-12-16 | 11 | 10 | 32.3406 | Yes | 29.91 | -2.4306
3 | 2020-12-16 | 11 | 11 | 32.1496 | Yes | 29.91 | -2.2396
4 | 2020-12-16 | 11 | 12 | 32.1332 | Yes | 29.91 | -2.2233
5 | 2020-12-16 | 12 | 1 | 35.7464 | Yes | 29.91 | -5.8364
6 | 2020-12-16 | 12 | 2 | 33.7238 | Yes | 29.91 | -3.8138
7 | 2020-12-16 | 12 | 3 | 33.5574 | Yes | 29.91 | -3.6474
8 | 2020-12-16 | 12 | 4 | 33.2181 | Yes | 29.91 | -3.3081
9 | 2020-12-16 | 12 | 5 | 32.0194 | Yes | 29.91 | -2.1094
10 | 2020-12-16 | 12 | 6 | 32.5232 | Yes | 29.91 | -2.6132
11 | 2020-12-16 | 12 | 7 | 32.0118 | Yes | 29.91 | -2.1018
12 | 2020-12-16 | 12 | 8 | 31.679 | Yes | 29.91 | -1.769
13 | 2020-12-16 | 12 | 9 | 31.3525 | Yes | 29.91 | -1.4425
14 | 2020-12-16 | 12 | 10 | 31.3172 | Yes | 29.91 | -1.4072
15 | 2020-12-16 | 12 | 11 | 31.3172 | Yes | 29.91 | -1.4072
16 | 2020-12-16 | 12 | 12 | 31.4918 | Yes | 29.91 | -1.5818
17 | 2020-12-16 | 13 | 1 | 31.3775 | Yes | 29.91 | -1.4675
18 | 2020-12-16 | 13 | 2 | 32.2311 | Yes | 29.91 | -2.3211
19 | 2020-12-16 | 13 | 3 | 31.5066 | Yes | 29.91 | -1.5966
20 | 2020-12-16 | 13 | 4 | 31.2662 | Yes | 29.91 | -1.3562
21 | 2020-12-16 | 13 | 5 | 31.1337 | Yes | 29.91 | -1.2237
22 | 2020-12-16 | 13 | 6 | 31.0108 | Yes | 29.91 | -1.1008
23 | 2020-12-16 | 13 | 7 | 30.955 | Yes | 29.91 | -1.045
24 | 2020-12-16 | 13 | 8 | 30.7986 | Yes | 29.91 | -0.88857
25 | 2020-12-16 | 13 | 9 | 30.7903 | Yes | 29.91 | -0.88033
26 | 2020-12-16 | 13 | 10 | 30.8486 | Yes | 29.91 | -0.93858
27 | 2020-12-16 | 13 | 11 | 30.8486 | Yes | 29.91 | -0.93858
28 | 2020-12-16 | 13 | 12 | 30.818 | Yes | 29.91 | -0.90805
29 | 2020-12-16 | 14 | 1 | 31.2662 | Yes | 29.91 | -1.3562
30 | 2020-12-16 | 14 | 2 | 30.8389 | Yes | 29.91 | -0.92888
31 | 2020-12-16 | 14 | 3 | 29.9325 | Yes | 29.91 | -0.02255
32 | 2020-12-16 | 14 | 4 | 29.2493 | Yes | 29.91 | 0.66066
33 | 2020-12-16 | 14 | 5 | 29.6331 | Yes | 29.91 | 0.27695
34 | 2020-12-16 | 14 | 6 | 30.7218 | Yes | 29.91 | -0.81176
35 | 2020-12-16 | 14 | 7 | 30.3921 | Yes | 29.91 | -0.48205
36 | 2020-12-16 | 14 | 8 | 30.2125 | Yes | 29.91 | -0.30252
37 | 2020-12-16 | 14 | 9 | 30.5567 | Yes | 29.91 | -0.64671
38 | 2020-12-16 | 14 | 10 | 30.1663 | Yes | 29.91 | -0.25634
39 | 2020-12-16 | 14 | 11 | 28.8621 | Yes | 29.91 | 1.0479
40 | 2020-12-16 | 14 | 12 | 27.7511 | Yes | 29.91 | 2.1589
41 | 2020-12-16 | 15 | 1 | 27.2702 | Yes | 29.91 | 2.6398
42 | 2020-12-16 | 15 | 2 | 27.525 | Yes | 29.91 | 2.385
43 | 2020-12-16 | 15 | 3 | 28.0567 | Yes | 29.91 | 1.8533
44 | 2020-12-16 | 15 | 4 | 30.8929 | Yes | 29.91 | -0.98294
45 | 2020-12-16 | 15 | 5 | 32.2734 | Yes | 29.91 | -2.3634
46 | 2020-12-16 | 15 | 6 | 33.5487 | Yes | 29.91 | -3.6387
47 | 2020-12-16 | 15 | 7 | 31.0062 | Yes | 29.91 | -1.0962
48 | 2020-12-16 | 15 | 8 | 30.8539 | Yes | 29.91 | -0.94389
49 | 2020-12-16 | 15 | 9 | 32.378 | Yes | 29.91 | -2.468
50 | 2020-12-16 | 15 | 10 | 31.0785 | Yes | 29.91 | -1.1685
51 | 2020-12-16 | 15 | 11 | 30.9221 | Yes | 29.91 | -1.0121
52 | 2020-12-16 | 15 | 12 | 32.9929 | Yes | 29.91 | -3.0829
53 | 2020-12-16 | 16 | 1 | 35.9597 | Yes | 29.91 | -6.0497
54 | 2020-12-16 | 16 | 2 | 36.4737 | Yes | 29.91 | -6.5637
55 | 2020-12-16 | 16 | 3 | 47.8096 | Yes | 29.91 | -17.8996
56 | 2020-12-16 | 16 | 4 | 57.9224 | Yes | 29.91 | -28.0124
57 | 2020-12-16 | 16 | 5 | 49.6526 | Yes | 29.91 | -19.7426
58 | 2020-12-16 | 16 | 6 | 54.0821 | Yes | 29.91 | -24.172
59 | 2020-12-16 | 16 | 7 | 46.0171 | Yes | 29.91 | -16.1071
60 | 2020-12-16 | 16 | 8 | 51.0941 | Yes | 29.91 | -21.1841
61 | 2020-12-16 | 16 | 9 | 55.8714 | Yes | 29.91 | -25.9614
62 | 2020-12-16 | 16 | 10 | 56.4272 | Yes | 29.91 | -26.5172
63 | 2020-12-16 | 16 | 11 | 61.3326 | Yes | 29.91 | -31.4226
64 | 2020-12-16 | 16 | 12 | 65.2798 | Yes | 29.91 | -35.3698
65 | 2020-12-16 | 17 | 1 | 50.9975 | Yes | 29.91 | -21.0875
66 | 2020-12-16 | 17 | 2 | 50.9158 | Yes | 29.91 | -21.0058
67 | 2020-12-16 | 17 | 3 | 53.1091 | Yes | 29.91 | -23.1991
68 | 2020-12-16 | 17 | 4 | 51.4306 | Yes | 29.91 | -21.5206
69 | 2020-12-16 | 17 | 5 | 54.2584 | Yes | 29.91 | -24.3483
70 | 2020-12-16 | 17 | 6 | 59.1945 | Yes | 29.91 | -29.2845
71 | 2020-12-16 | 17 | 7 | 53.3963 | Yes | 29.91 | -23.4862
72 | 2020-12-16 | 17 | 8 | 59.1157 | Yes | 29.91 | -29.2057
73 | 2020-12-16 | 17 | 9 | 61.4573 | Yes | 29.91 | -31.5473
74 | 2020-12-16 | 17 | 10 | 63.5207 | Yes | 29.91 | -33.6107
75 | 2020-12-16 | 17 | 11 | 66.2412 | Yes | 29.91 | -36.3312
76 | 2020-12-16 | 17 | 12 | 65.3394 | Yes | 29.91 | -35.4294
77 | 2020-12-16 | 18 | 1 | 67.2978 | Yes | 28.22 | -39.0778
78 | 2020-12-16 | 18 | 2 | 60.3591 | Yes | 28.22 | -32.1391
79 | 2020-12-16 | 18 | 3 | 61.6328 | Yes | 28.22 | -33.4128
80 | 2020-12-16 | 18 | 4 | 62.8444 | Yes | 28.22 | -34.6244
81 | 2020-12-16 | 18 | 5 | 64.9632 | Yes | 28.22 | -36.7432
82 | 2020-12-16 | 18 | 6 | 66.3893 | Yes | 28.22 | -38.1693
83 | 2020-12-16 | 18 | 7 | 63.7834 | Yes | 28.22 | -35.5634
84 | 2020-12-16 | 18 | 8 | 60.8747 | Yes | 28.22 | -32.6547
85 | 2020-12-16 | 18 | 9 | 60.8676 | Yes | 28.22 | -32.6476
86 | 2020-12-16 | 18 | 10 | 63.7685 | Yes | 28.22 | -35.5485
87 | 2020-12-16 | 18 | 11 | 61.7054 | Yes | 28.22 | -33.4854
88 | 2020-12-16 | 18 | 12 | 61.7054 | Yes | 28.22 | -33.4854
89 | 2020-12-16 | 19 | 1 | 58.3667 | Yes | 28.22 | -30.1467
90 | 2020-12-16 | 19 | 2 | 54.4508 | Yes | 28.22 | -26.2308
91 | 2020-12-16 | 19 | 3 | 54.4508 | Yes | 28.22 | -26.2308
92 | 2020-12-16 | 19 | 4 | 56.5375 | Yes | 28.22 | -28.3175
93 | 2020-12-16 | 19 | 5 | 58.3702 | Yes | 28.22 | -30.1502
94 | 2020-12-16 | 19 | 6 | 54.3252 | Yes | 28.22 | -26.1052

## Price_Impact_B
Table 9: Price Impact Analysis Information for Pricing Node B in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2020-12-02 | 14 | 2 | 20.3724 | Yes | 33.01 | 12.6376
2 | 2020-12-02 | 14 | 3 | 20.7479 | Yes | 33.01 | 12.2621
3 | 2020-12-02 | 14 | 4 | 20.7865 | Yes | 33.01 | 12.2235
4 | 2020-12-02 | 14 | 5 | 20.0856 | Yes | 33.01 | 12.9244
5 | 2020-12-02 | 14 | 6 | 19.8811 | Yes | 33.01 | 13.1289
6 | 2020-12-02 | 14 | 7 | 20.1023 | Yes | 33.01 | 12.9077
7 | 2020-12-02 | 14 | 8 | 20.1034 | Yes | 33.01 | 12.9066
8 | 2020-12-02 | 14 | 9 | 20.1045 | Yes | 33.01 | 12.9055
9 | 2020-12-02 | 14 | 10 | 20.2663 | Yes | 33.01 | 12.7437
10 | 2020-12-02 | 14 | 11 | 20.3529 | Yes | 33.01 | 12.6571
11 | 2020-12-02 | 14 | 12 | 20.1652 | Yes | 33.01 | 12.8448
12 | 2020-12-02 | 15 | 1 | 19.1165 | Yes | 33.01 | 13.8935
13 | 2020-12-02 | 15 | 2 | 18.931 | Yes | 33.01 | 14.079
14 | 2020-12-02 | 15 | 3 | 19.7865 | Yes | 33.01 | 13.2235
15 | 2020-12-02 | 15 | 4 | 17.791 | Yes | 33.01 | 15.219
16 | 2020-12-02 | 15 | 5 | 18.2371 | Yes | 33.01 | 14.7729
17 | 2020-12-02 | 15 | 6 | 18.1425 | Yes | 33.01 | 14.8675
18 | 2020-12-02 | 15 | 7 | 20.8345 | Yes | 33.01 | 12.1755
19 | 2020-12-02 | 15 | 8 | 21.3572 | Yes | 33.01 | 11.6528
20 | 2020-12-02 | 15 | 9 | 22.2724 | Yes | 33.01 | 10.7376
21 | 2020-12-02 | 15 | 10 | 21.621 | Yes | 33.01 | 11.389
22 | 2020-12-02 | 15 | 11 | 22.4869 | Yes | 33.01 | 10.5231
23 | 2020-12-02 | 15 | 12 | 23.8801 | Yes | 33.01 | 9.1299
24 | 2020-12-02 | 16 | 1 | 22.565 | Yes | 33.01 | 10.445
25 | 2020-12-02 | 16 | 2 | 22.1905 | Yes | 33.01 | 10.8195
26 | 2020-12-02 | 16 | 3 | 23.4706 | Yes | 33.01 | 9.5394
27 | 2020-12-02 | 16 | 4 | 24.6103 | Yes | 33.01 | 8.3997
28 | 2020-12-02 | 16 | 5 | 25.9478 | Yes | 33.01 | 7.0622
29 | 2020-12-02 | 16 | 6 | 27.4705 | Yes | 33.01 | 5.5395
30 | 2020-12-02 | 16 | 7 | 28.4772 | Yes | 33.01 | 4.5328
31 | 2020-12-02 | 16 | 8 | 29.7163 | Yes | 33.01 | 3.2937
32 | 2020-12-02 | 16 | 9 | 31.3226 | Yes | 33.01 | 1.6874
33 | 2020-12-02 | 16 | 10 | 32.1591 | Yes | 33.01 | 0.85089
34 | 2020-12-02 | 16 | 11 | 38.3735 | Yes | 33.01 | -5.3635
35 | 2020-12-02 | 16 | 12 | 37.3966 | Yes | 33.01 | -4.3866
36 | 2020-12-02 | 17 | 1 | 30.2913 | Yes | 31.59 | 1.2987
37 | 2020-12-02 | 17 | 2 | 28.7476 | Yes | 31.59 | 2.8424
38 | 2020-12-02 | 17 | 3 | 31.3638 | Yes | 31.59 | 0.22623
39 | 2020-12-02 | 17 | 4 | 33.8287 | Yes | 31.59 | -2.2387
40 | 2020-12-02 | 17 | 5 | 37.3883 | Yes | 31.59 | -5.7983
41 | 2020-12-02 | 17 | 6 | 39.6942 | Yes | 31.59 | -8.1042
42 | 2020-12-02 | 17 | 7 | 42.3111 | Yes | 31.59 | -10.7211
43 | 2020-12-02 | 17 | 8 | 43.1369 | Yes | 31.59 | -11.5469
44 | 2020-12-02 | 17 | 9 | 38.398 | Yes | 31.59 | -6.808
45 | 2020-12-02 | 17 | 10 | 48.336 | Yes | 31.59 | -16.746
46 | 2020-12-02 | 17 | 11 | 51.5715 | Yes | 31.59 | -19.9815
47 | 2020-12-02 | 17 | 12 | 52.9044 | Yes | 31.59 | -21.3144
48 | 2020-12-02 | 18 | 1 | 34.0384 | Yes | 31.59 | -2.4484
49 | 2020-12-02 | 18 | 2 | 34.883 | Yes | 31.59 | -3.293
50 | 2020-12-02 | 18 | 3 | 34.4198 | Yes | 31.59 | -2.8298
51 | 2020-12-02 | 18 | 4 | 31.3791 | Yes | 31.59 | 0.21087
52 | 2020-12-02 | 18 | 5 | 33.3241 | Yes | 31.59 | -1.7341
53 | 2020-12-02 | 18 | 6 | 34.7083 | Yes | 31.59 | -3.1183
54 | 2020-12-02 | 18 | 7 | 34.4126 | Yes | 31.59 | -2.8226
55 | 2020-12-02 | 18 | 8 | 34.4903 | Yes | 31.59 | -2.9003
56 | 2020-12-02 | 18 | 9 | 34.0985 | Yes | 31.59 | -2.5085
57 | 2020-12-02 | 18 | 10 | 34.1677 | Yes | 31.59 | -2.5777
58 | 2020-12-02 | 18 | 11 | 33.9373 | Yes | 31.59 | -2.3473
59 | 2020-12-02 | 18 | 12 | 30.8757 | Yes | 31.59 | 0.71433

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
NONTMOD | 0 | 0 | 0 | 0
Total | 0 | 0 | 0 | 0