## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for February 2022
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Fast Start Unit Management | PGAE | Bay Area | 2022-02-23 | 0 | No | INC | 1 | 44615.8542 | 44615.8854 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | RT | Market Disruption | PGAE | Bay Area | 2022-02-23 | 500 | No | DEC | 1 | 44615.7083 | 44615.7118 | 0.37187 | 0 | 0 | -19.5716 | 0 | 0 | 0 | 0 | 0 | 0
3 | RT | Market Disruption | PGAE | Bay Area | 2022-02-23 | 201 - 500 | No | INC | 2 | 44615.684 | 44615.7292 | -34.0098 | 12040.46 | 0 | 1242.5521 | 0.34546 | -9.3133 | 0 | 0 | 0 | 0
4 | RT | Market Disruption | PGAE | NA | 2022-02-10 | 615 | No | INC | 3 | 44602.7396 | 44602.8333 | 105.9815 | 2058.0725 | 0 | -4120.2223 | 85.7637 | -3316.7271 | 0 | -512.861 | 0 | 0
5 | RT | Market Disruption | PGAE | NA | 2022-02-23 | 306 | No | DEC | 1 | 44615.7083 | 44615.7292 | -10.375 | -3042.9825 | 0 | 459.1569 | 0 | 0 | 0 | 0 | 0 | 0
6 | RT | Market Disruption | PGAE | NA | 2022-02-23 | 306 | No | INC | 1 | 44615.691 | 44615.7083 | 9.2812 | 0 | 0 | -699.1844 | 0 | 0 | 0 | 0 | 0 | 0
7 | RT | Market Disruption | SCE | LA Basin | 2022-02-23 | 674 | No | DEC | 1 | 44615.7083 | 44615.7292 | -27.4458 | 0 | 0 | 1346.5198 | 0 | 0 | 0 | 0 | 0 | 0
8 | RT | Market Disruption | SCE | LA Basin | 2022-02-23 | 15 - 674 | No | INC | 5 | 44615.6875 | 44615.8611 | 135.5392 | 61734.6392 | 0 | -8974.5275 | 166.0524 | -9224.4387 | 0 | -39.0575 | 0 | 0
9 | RT | Market Disruption | SDGE | San Diego-IV | 2022-02-23 | 400 - 500 | No | DEC | 1 | 44615.691 | 44615.7153 | -64.6984 | 0 | 0 | 1613.7148 | 0.32986 | -14.8304 | 0 | 0 | 0 | 0
10 | RT | Market Disruption | SDGE | San Diego-IV | 2022-02-23 | 95 - 400 | No | INC | 2 | 44615.6875 | 44615.7361 | 101.4838 | 10352.6333 | 0 | -5513.887 | 54.1606 | -2567.8876 | 0 | -849.8595 | 0 | 0
11 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-03 | 23 | No | INC | 4 | 44595.75 | 44595.9167 | 4.5871 | 13078.3125 | 0 | -318.3803 | 0 | 0 | 0 | 0 | 0 | 0
12 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-07 | 15 - 27 | No | INC | 12 | 44599.2708 | 44599.7708 | 138.215 | 0 | 0 | -3954.4915 | 3.3333 | -187.7442 | 0 | 0 | -9508.6582 | 0
13 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-09 | 23 | No | INC | 5 | 44601.7465 | 44601.9167 | 0.64583 | 10720 | 0 | -45.387 | 0 | 0 | 0 | 0 | 0 | 0
14 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-11 | 20 | No | INC | 8 | 44603.6111 | 44603.9167 | 5.1264 | 18700 | 790 | -97.8311 | 0 | 0 | 0 | 0 | 0 | 0
15 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-12 | 20 | No | INC | 6 | 44604.7708 | 44605 | 1.9167 | 13640 | 790 | -75.2711 | 0 | 0 | 0 | 0 | 0 | 0
16 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-13 | 20 | Yes | INC | 21 | 44605 | 44605.875 | 5.1681 | 8266.6667 | 790 | -185.8405 | 0 | 0 | 0 | 0 | 0 | 0
17 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-15 | 23 | No | INC | 4 | 44607.7708 | 44607.9167 | 11.5 | 9170 | 170.1538 | -1332.3764 | 0 | 0 | 0 | 0 | 0 | 0
18 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-17 | 20 | No | DEC | 12 | 44609.4028 | 44609.8958 | 22 | 0 | 0 | -824.4637 | 0 | 0 | 0 | 0 | 0 | 0
19 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-17 | 380 | No | INC | 11 | 44609.2917 | 44609.75 | -123.6019 | 241773.4 | 0 | 3258.6097 | 0 | 0 | 0 | 0 | 0 | 0
20 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-18 | 20 - 22 | No | INC | 16 | 44610.3507 | 44611 | 7.0833 | 0 | 0 | 218.0523 | 0 | 0 | 0 | 0 | 0 | 0
21 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-19 | 20 | No | INC | 1 | 44611.9583 | 44612 | 0.040278 | 2780 | 0 | -2.5616 | 0 | 0 | 0 | 0 | 0 | 0
22 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-20 | 20 | No | INC | 6 | 44612.4201 | 44612.6667 | 3.25 | 16507.5 | 0 | -27.6009 | 0 | 0 | 0 | 0 | 0 | 0
23 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-24 | 20 | No | DEC | 2 | 44616.25 | 44616.3333 | 0.95833 | 0 | 0 | -103.9113 | 0 | 0 | 0 | 0 | 0 | 0
24 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-24 | 20 | No | INC | 6 | 44616 | 44616.25 | 5.0313 | 12192 | 0 | -556.9048 | 0 | 0 | 0 | 0 | 0 | 0
25 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-25 | 20 | No | DEC | 1 | 44617.6111 | 44617.625 | 0.71875 | 0 | 0 | -23.2405 | 0 | 0 | 0 | 0 | 0 | 0
26 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-25 | 20 | No | INC | 9 | 44617.625 | 44618 | -2.2917 | 28467 | 0 | 20.5862 | 0 | 0 | 0 | 0 | 0 | 0
27 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-02-26 | 20 | No | INC | 16 | 44618.3438 | 44619 | 1.4217 | 45375.75 | 1596.78 | -37.767 | 0 | 0 | 0 | 0 | 0 | 0
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-01 | 15 | No | DEC | 6 | 44593 | 44593.2292 | 0.67792 | 0 | 0 | -36.6546 | 0 | 0 | 0 | 0 | 0 | 0
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-01 | 15 - 30 | No | INC | 10 | 44593 | 44593.3958 | -0.20979 | 4432.68 | 0 | 8.5836 | 0 | 0 | 0 | 0 | 0 | 0
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-03 | 15 - 30 | No | DEC | 16 | 44595.3507 | 44596 | 4.2683 | -28327.7176 | 955.19 | -41.2639 | 0 | 0 | 0 | 0 | 0 | 0
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-03 | 30 | No | INC | 17 | 44595.3125 | 44596 | -1.0848 | 21464.49 | 0 | 9.3625 | 0 | 0 | 0 | 0 | 0 | 0
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-04 | 15 | No | DEC | 24 | 44596 | 44597 | -4.3621 | -4423.0704 | 0 | 129.1132 | 0 | 0 | 0 | 0 | 0 | 0
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-04 | 15 - 45 | No | INC | 24 | 44596 | 44597 | -25.3375 | 60491.515 | 0 | 869.2724 | 0 | 0 | 0 | 0 | -12.5729 | 0
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-05 | 15 | No | DEC | 24 | 44597 | 44598 | 7.4069 | -16787.4243 | 896.979 | -548.6512 | 0 | 0 | 0 | 0 | 0 | 0
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-05 | 15 | No | INC | 24 | 44597 | 44598 | -1.9063 | 13929.86 | 53.551 | -3.5668 | 0 | 0 | 0 | 0 | -73.5015 | 0
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-06 | 15 | No | DEC | 22 | 44598 | 44598.9167 | -0.57208 | -11854.2996 | 0 | 64.5975 | 0 | 0 | 0 | 0 | 0 | 0
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-06 | 15 | No | INC | 24 | 44598 | 44599 | 0.63232 | 10944.89 | 0 | -38.8219 | 0 | 0 | 0 | 0 | -136.0952 | 0
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-07 | 15 | No | DEC | 21 | 44599.1562 | 44600 | 1.7752 | 0 | 543.2286 | -319.1991 | 0 | 0 | 0 | 0 | 0 | 0
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-07 | 15 - 30 | No | INC | 24 | 44599 | 44600 | 8.6577 | 43282.065 | 407.4214 | -1151.0696 | 0 | 0 | 0 | 0 | 0 | 0
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-08 | 15 | No | DEC | 8 | 44600 | 44600.2951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-08 | 15 - 45 | No | INC | 24 | 44600 | 44601 | -2.1148 | 39736.9425 | 0 | -204.7005 | 0 | 0 | 0 | 0 | -21.0591 | 0
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-09 | 15 | No | DEC | 7 | 44601.0104 | 44601.2951 | -4.0675 | 219.0925 | 0 | 168.8738 | 0 | 0 | 0 | 0 | 0 | 0
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-09 | 15 - 30 | No | INC | 24 | 44601 | 44602 | 15.4283 | 46228.5175 | 0 | -833.455 | 0 | 0 | 0 | 0 | -0.10749 | 0
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-10 | 15 - 30 | No | INC | 24 | 44602 | 44603 | -9.1017 | 40516.08 | 0 | 69.5352 | 0 | 0 | 0 | 0 | -3.9136 | 0
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-11 | 15 | No | DEC | 10 | 44603.6042 | 44604 | -4.0675 | 208.945 | 0 | 87.5984 | 0 | 0 | 0 | 0 | 0 | 0
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-11 | 15 - 30 | No | INC | 24 | 44603 | 44604 | 2.4854 | 34894.055 | 0 | -48.1142 | 0 | 0 | 0 | 0 | -3.8302 | 0
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-12 | 15 | No | DEC | 24 | 44604 | 44605 | -5.5717 | -17523.4527 | 0 | 275.7319 | 0 | 0 | 0 | 0 | 0 | 0
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-12 | 15 | No | INC | 24 | 44604 | 44605 | -3.6453 | 13875.23 | 0 | 55.5474 | 0 | 0 | 0 | 0 | -35.3358 | 0
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-13 | 15 | No | DEC | 24 | 44605 | 44606 | -0.96177 | 0 | 0 | 5.3134 | 0 | 0 | 0 | 0 | 0 | 0
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-13 | 15 | No | INC | 22 | 44605 | 44605.9167 | 7.0882 | 8365.9475 | 876.72 | -278.4473 | 0 | 0 | 0 | 0 | -1.1926 | 0
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-14 | 15 | No | DEC | 8 | 44606 | 44606.3021 | 3.9729 | 0 | 0 | -180.1862 | 0 | 0 | 0 | 0 | 0 | 0
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-16 | 15 | No | DEC | 10 | 44608.3958 | 44608.8021 | -0.83344 | 0 | 0 | -4.1435 | 0 | 0 | 0 | 0 | 0 | 0
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-16 | 15 - 30 | No | INC | 15 | 44608.2535 | 44608.8646 | 25.4029 | 24554.015 | 0 | -927.9565 | 0 | 0 | 0 | 0 | -70.179 | 0
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-23 | 30 | No | INC | 16 | 44615.3715 | 44616 | 2.5133 | 35735.9158 | 0 | -146.8837 | 0 | 0 | 0 | 0 | 0 | 0
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-24 | 15 - 30 | No | DEC | 21 | 44616.125 | 44617 | 10.5758 | 6572.5263 | 395.8972 | -710.9044 | 0 | 0 | 0 | 0 | 0 | 0
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-24 | 30 | No | INC | 24 | 44616 | 44617 | -7.8217 | 34941.435 | 0 | 343.5316 | 0 | 0 | 0 | 0 | 0 | 0
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-25 | 15 - 30 | No | DEC | 24 | 44617 | 44618 | -4.634 | -59592.9036 | 0 | 123.1537 | 0 | 0 | 0 | 0 | 0 | 0
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-25 | 15 - 30 | No | INC | 16 | 44617 | 44617.6667 | -11.699 | 14294.98 | 0 | 478.9167 | 0 | 0 | 0 | 0 | 0 | 0
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-26 | 15 | No | DEC | 24 | 44618 | 44619 | -2.2071 | -1024.4532 | 0 | 99.3609 | 0 | 0 | 0 | 0 | 0 | 0
60 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-26 | 15 | No | INC | 14 | 44618.3542 | 44618.9167 | 0.59671 | 12768.57 | 0 | -42.3841 | 0.033346 | -1.1943 | 0 | 0 | -0.84418 | 0
61 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-27 | 15 | No | DEC | 11 | 44619 | 44619.4583 | -0.01125 | 0 | 0 | -2.1097 | 0 | 0 | 0 | 0 | 0 | 0
62 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-02-27 | 15 | No | INC | 3 | 44619.4583 | 44619.5625 | -0.46167 | 0 | 0 | 5.3844 | 0 | 0 | 0 | 0 | -5.4998 | 0
63 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-02-19 | 44642 | No | INC | 7 | 44611.1875 | 44611.4792 | 5.0676 | 0 | 0 | -2616.8679 | 5.0425 | -2616.0898 | 0 | 0 | 0 | 0
64 | RT | Planned Transmission Outage | PGAE | NA | 2022-02-24 | 43 | No | INC | 11 | 44616 | 44616.4375 | 3.0507 | 0 | 0 | -627.8323 | 0 | 0 | 0 | 0 | 0 | 0
65 | RT | Planned Transmission Outage | SCE | LA Basin | 2022-02-04 | 46 | No | INC | 2 | 44596.3611 | 44596.4167 | 26.8196 | 4232.46 | 423.984 | -552.2305 | 0.2475 | -5.1039 | 0 | 0 | -19.4329 | 0
66 | RT | Planned Transmission Outage | SCE | LA Basin | 2022-02-18 | 46 | Yes | INC | 5 | 44610.3507 | 44610.5312 | 53.8572 | 18678.65 | 985.3124 | -220.0976 | 0.66375 | -2.5853 | 0 | 0 | -176.0283 | 0
67 | RT | Planned Transmission Outage | SCE | NA | 2022-02-03 | 20 | No | DEC | 1 | 44595.3438 | 44595.375 | -8.4269 | 0 | 0 | 307.2711 | -12.4698 | 0 | -518.8552 | 0 | -134.0389 | 0
68 | RT | Planned Transmission Outage | SCE | NA | 2022-02-23 | 190 | No | DEC | 2 | 44615.816 | 44615.8611 | -19.3686 | -2436.9891 | 0 | 1282.0413 | -19.6809 | 0 | 1303.926 | 0 | -541.3767 | 0
69 | RT | Planned Transmission Outage | SCE | NA | 2022-02-23 | 250 - 325 | No | INC | 4 | 44615.8611 | 44616 | 18.8855 | -4420.8312 | 0 | -1420.5778 | 0 | 0 | 0 | 0 | -199.7447 | 0
70 | RT | Planned Transmission Outage | SCE | NA | 2022-02-24 | 325 | No | INC | 10 | 44616 | 44616.4062 | 25.8504 | 22594.8875 | 0 | -772.7385 | 0 | 0 | 0 | 0 | 0 | 0
71 | RT | Planned Transmission Outage | SCE | NA | 2022-02-25 | 330 | No | INC | 12 | 44617.2465 | 44617.7292 | 19.4622 | 0 | 0 | 617.9111 | 0 | 0 | 0 | 0 | 0 | 0
72 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-02-25 | 44 | No | INC | 2 | 44617.8472 | 44617.9167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
73 | RT | Reliability Assessment | PGAE | Fresno | 2022-02-08 | 5 | No | DEC | 2 | 44600.3403 | 44600.4062 | -72.6558 | 0 | 0 | 73.6708 | -72.2599 | 0 | -27.2044 | 0 | 0 | 0
74 | RT | Reliability Assessment | PGAE | Fresno | 2022-02-21 | 5 | No | DEC | 1 | 44613.3472 | 44613.375 | -29.0167 | 0 | 0 | -93.6308 | -28.1666 | 0 | -133.7521 | 0 | 0 | 0
75 | RT | Reliability Assessment | PGAE | Humboldt | 2022-02-06 | 15 | No | DEC | 2 | 44598.9167 | 44598.9688 | -0.047292 | 0 | 0 | 2.8545 | 0 | 0 | 0 | 0 | 0 | 0
76 | RT | Reliability Assessment | PGAE | Humboldt | 2022-02-14 | 30 | No | INC | 1 | 44606.2847 | 44606.3125 | 8.0404 | 0 | 0 | -354.5349 | 0 | 0 | 0 | 0 | 0 | 0
77 | RT | Reliability Assessment | PGAE | Humboldt | 2022-02-15 | 15 | No | DEC | 21 | 44607 | 44607.8646 | -7.9296 | 640.4925 | 0 | 247.5559 | 0 | 0 | 0 | 0 | 0 | 0
78 | RT | Reliability Assessment | PGAE | Humboldt | 2022-02-15 | 15 - 30 | No | INC | 14 | 44607.3056 | 44607.8542 | 8.143 | 18787.685 | 0 | -732.9455 | 0 | 0 | 0 | 0 | 0 | 0
79 | RT | Reliability Assessment | PGAE | Sierra | 2022-02-02 | 40 | No | INC | 9 | 44594.3368 | 44594.7083 | 28.0833 | 33112.4875 | 0 | -1115.7813 | 0 | 0 | 0 | 0 | 0 | 0
80 | RT | Reliability Assessment | PGAE | NA | 2022-02-14 | 38 | No | INC | 8 | 44606.6667 | 44607 | 15.1735 | 0 | 0 | -537.3272 | 0 | 0 | 0 | 0 | 0 | 0
81 | RT | Reliability Assessment | PGAE | NA | 2022-02-15 | 38 | No | INC | 24 | 44607 | 44608 | 16.6322 | 0 | 0 | -116.7827 | 0 | 0 | 0 | 0 | 0 | 0
82 | RT | Reliability Assessment | PGAE | NA | 2022-02-16 | 38 | No | INC | 10 | 44608 | 44608.4167 | -1.3191 | 0 | 0 | 379.2158 | 0 | 0 | 0 | 0 | 0 | 0
83 | RT | Reliability Assessment | PGAE | NA | 2022-02-20 | 35 - 43 | No | INC | 24 | 44612.0382 | 44613 | -7.5478 | 0 | 0 | 225.2794 | 0 | 0 | 0 | 0 | 0 | 0
84 | RT | Reliability Assessment | PGAE | NA | 2022-02-21 | 43 | No | INC | 24 | 44613 | 44614 | -3.0618 | 0 | 0 | 79.9067 | 0 | 0 | 0 | 0 | 0 | 0
85 | RT | Reliability Assessment | PGAE | NA | 2022-02-22 | 43 | No | INC | 24 | 44614 | 44615 | -37.1183 | 0 | 0 | 2074.7357 | 0 | 0 | 0 | 0 | 0 | 0
86 | RT | Reliability Assessment | PGAE | NA | 2022-02-23 | 43 | No | INC | 24 | 44615 | 44616 | 11.7297 | 0 | 0 | -1020.8444 | 0 | 0 | 0 | 0 | 0 | 0
87 | RT | Reliability Assessment | SCE | NA | 2022-02-08 | 50 | No | DEC | 2 | 44600.4236 | 44600.4792 | -83.7397 | 0 | 0 | -7.4976 | -84.1434 | 0 | -7.49 | 0 | 0 | 0
88 | RT | Reliability Assessment | SCE | NA | 2022-02-08 | 50 | No | INC | 2 | 44600.4167 | 44600.4792 | -12.394 | 0 | 0 | 0.39298 | -9.8703 | 0 | 0.36253 | 0 | 0 | 0
89 | RT | Software Limitation | PGAE | Bay Area | 2022-02-23 | 0 | No | INC | 1 | 44615.8854 | 44615.8993 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
90 | RT | Software Limitation | PGAE | NA | 2022-02-11 | 20 | No | DEC | 1 | 44603.9583 | 44604 | 7.625 | 0 | 0 | -284.4198 | 0 | 0 | 0 | 0 | 0 | 0
91 | RT | Software Limitation | PGAE | NA | 2022-02-12 | 20 | No | DEC | 1 | 44604 | 44604.0312 | 0.087292 | 0 | 0 | -3.799 | 0 | 0 | 0 | 0 | 0 | 0
92 | RT | Unit Testing | SCE | LA Basin | 2022-02-02 | 29.57 | No | INC | 1 | 44594.8472 | 44594.875 | 19.269 | 6179.7667 | 0 | -1461.9905 | 9.0356 | -715.4048 | 0 | 0 | 0 | 0
93 | RT | Unit Testing | SCE | LA Basin | 2022-02-08 | 48 | No | INC | 6 | 44600.7639 | 44601 | 25.3 | 0 | 0 | -1061.673 | 0 | 0 | 0 | 0 | 0 | 0
94 | RT | Voltage Support | PGAE | Humboldt | 2022-02-01 | 15 | No | DEC | 15 | 44593.3958 | 44594 | -0.76479 | 492.52 | 0 | -99.0891 | 0 | 0 | 0 | 0 | 0 | 0
95 | RT | Voltage Support | PGAE | Humboldt | 2022-02-01 | 15 - 30 | No | INC | 19 | 44593.2292 | 44594 | -1.0565 | 34968.92 | 0 | 23.1944 | 0 | 0 | 0 | 0 | 0 | 0
96 | RT | Voltage Support | PGAE | Humboldt | 2022-02-02 | 15 - 45 | No | DEC | 22 | 44594 | 44594.9167 | -0.19812 | 0 | 0 | 66.4461 | 0 | 0 | 0 | 0 | 0 | 0
97 | RT | Voltage Support | PGAE | Humboldt | 2022-02-02 | 15 - 45 | No | INC | 24 | 44594 | 44595 | 9.0554 | 38251.6525 | 0 | -488.1939 | 0 | 0 | 0 | 0 | -3.6064 | 0
98 | RT | Voltage Support | PGAE | Humboldt | 2022-02-03 | 30 | No | INC | 8 | 44595 | 44595.3125 | 2.2142 | 17792.9325 | 0 | -196.1149 | 0 | 0 | 0 | 0 | 0 | 0
99 | RT | Voltage Support | PGAE | Humboldt | 2022-02-14 | 15 | No | DEC | 1 | 44606.9792 | 44607 | -4.0675 | 204.045 | 0 | 144.4963 | 0 | 0 | 0 | 0 | 0 | 0
100 | RT | Voltage Support | PGAE | Humboldt | 2022-02-14 | 30 | No | INC | 17 | 44606.3021 | 44606.9792 | -1.0783 | 13058.88 | 0 | -166.7026 | 0 | 0 | 0 | 0 | -27.4655 | 0
101 | RT | Voltage Support | PGAE | Humboldt | 2022-02-15 | 15 | No | DEC | 4 | 44607.8472 | 44608 | -3.4554 | 355.8292 | 0 | 116.2242 | 0 | 0 | 0 | 0 | 0 | 0
102 | RT | Voltage Support | PGAE | Humboldt | 2022-02-15 | 15 | No | INC | 3 | 44607.875 | 44608 | -0.16948 | 2561.94 | 0 | 5.9185 | 0 | 0 | 0 | 0 | 0 | 0
103 | RT | Voltage Support | PGAE | Humboldt | 2022-02-16 | 15 | No | DEC | 24 | 44608 | 44608.9792 | -0.47063 | 0 | 0 | 8.413 | 0 | 0 | 0 | 0 | 0 | 0
104 | RT | Voltage Support | PGAE | Humboldt | 2022-02-16 | 15 | No | INC | 4 | 44608.8646 | 44609 | -4.0675 | 3153.7125 | 0 | 197.3008 | 0 | 0 | 0 | 0 | 0 | 0
105 | RT | Voltage Support | PGAE | Humboldt | 2022-02-17 | 14 | No | DEC | 10 | 44609.3403 | 44609.7396 | 8.7105 | -295.77 | 412.6815 | -237.2369 | 0 | 0 | 0 | 0 | 0 | 0
106 | RT | Voltage Support | PGAE | Humboldt | 2022-02-17 | 14 - 30 | No | INC | 24 | 44609 | 44610 | 15.1615 | 32386.94 | 534.0585 | -884.4281 | 0 | 0 | 0 | 0 | 0 | 0
107 | RT | Voltage Support | PGAE | Humboldt | 2022-02-18 | 15 | No | DEC | 6 | 44610.0417 | 44610.2674 | -4.0675 | 226.3875 | 0 | 176.1093 | 0 | 0 | 0 | 0 | 0 | 0
108 | RT | Voltage Support | PGAE | Humboldt | 2022-02-18 | 15 - 30 | No | INC | 24 | 44610 | 44611 | 14.0065 | 30788.7 | 0 | -618.0684 | 0 | 0 | 0 | 0 | 0 | 0
109 | RT | Voltage Support | PGAE | Humboldt | 2022-02-19 | 15 | No | DEC | 3 | 44611.875 | 44612 | -4.1333 | 454.165 | 0 | 207.2906 | 0 | 0 | 0 | 0 | 0 | 0
110 | RT | Voltage Support | PGAE | Humboldt | 2022-02-19 | 15 - 30 | No | INC | 24 | 44611 | 44612 | -3.9396 | 40874.61 | 0 | -120.3627 | 0 | 0 | 0 | 0 | -36.1607 | 0
111 | RT | Voltage Support | PGAE | Humboldt | 2022-02-20 | 15 | No | DEC | 24 | 44612 | 44613 | 0.28625 | 0 | 0 | -76.0452 | 0 | 0 | 0 | 0 | 0 | 0
112 | RT | Voltage Support | PGAE | Humboldt | 2022-02-20 | 15 | No | INC | 24 | 44612 | 44613 | -1.5902 | 17258.08 | 0 | -54.5078 | 0 | 0 | 0 | 0 | -19.8825 | 0
113 | RT | Voltage Support | PGAE | Humboldt | 2022-02-21 | 15 | No | DEC | 24 | 44613 | 44614 | -0.3325 | 0 | 0 | -57.3845 | 0 | 0 | 0 | 0 | 0 | 0
114 | RT | Voltage Support | PGAE | Humboldt | 2022-02-21 | 15 | No | INC | 24 | 44613 | 44614 | -1.7859 | 15441.44 | 0 | 8.105 | 0 | 0 | 0 | 0 | -0.61433 | 0
115 | RT | Voltage Support | PGAE | Humboldt | 2022-02-22 | 14 - 15 | No | DEC | 24 | 44614 | 44615 | 8.8129 | 227.0825 | 0 | -586.7315 | 0 | 0 | 0 | 0 | 0 | 0
116 | RT | Voltage Support | PGAE | Humboldt | 2022-02-22 | 14 - 28 | No | INC | 18 | 44614.2882 | 44615 | 11.778 | 18847.695 | 947.61 | -594.897 | 0 | 0 | 0 | 0 | 0 | 0
117 | RT | Voltage Support | PGAE | Humboldt | 2022-02-23 | 14 | No | DEC | 15 | 44615 | 44615.625 | 7.9359 | 4873.075 | 0 | -3707.0128 | 0 | 0 | 0 | 0 | 0 | 0
118 | RT | Voltage Support | PGAE | Humboldt | 2022-02-27 | 15 | No | INC | 7 | 44619.7188 | 44620 | 1.0921 | 6384.285 | 0 | -65.4738 | 0 | 0 | 0 | 0 | 0 | 0
119 | RT | Voltage Support | PGAE | Humboldt | 2022-02-28 | 15 - 45 | No | INC | 24 | 44620 | 44621 | -5.6592 | 39251.53 | 0 | -363.7261 | 0 | 0 | 0 | 0 | -79.0309 | 0
120 | RT | Voltage Support | PGAE | Sierra | 2022-02-03 | 20 | No | DEC | 13 | 44595.3056 | 44595.8333 | -46.2875 | 0 | 0 | 3097.5779 | 0 | 0 | 0 | 0 | 0 | 0
121 | RT | Voltage Support | PGAE | Sierra | 2022-02-03 | 20 | No | INC | 10 | 44595.3125 | 44595.7083 | -8.095 | 23048.9 | 0 | 510.3042 | 0 | 0 | 0 | 0 | 0 | 0
122 | RT | Voltage Support | PGAE | Sierra | 2022-02-04 | 40 | No | INC | 14 | 44596.2917 | 44596.875 | -4.0833 | 52047.24 | 0 | -113.6457 | 0 | 0 | 0 | 0 | 0 | 0
123 | RT | Voltage Support | PGAE | Sierra | 2022-02-05 | 40 | No | DEC | 1 | 44597.2396 | 44597.25 | 1.9583 | 0 | 0 | -89.3426 | 0 | 0 | 0 | 0 | 0 | 0
124 | RT | Voltage Support | PGAE | Sierra | 2022-02-05 | 40 | No | INC | 15 | 44597.25 | 44597.875 | -2.6692 | 54214.8 | 0 | -13.2713 | 0 | 0 | 0 | 0 | 0 | 0
125 | RT | Voltage Support | PGAE | Sierra | 2022-02-06 | 45 | No | DEC | 1 | 44598.2396 | 44598.25 | 1.9583 | 0 | 0 | -91.3735 | 0 | 0 | 0 | 0 | 0 | 0
126 | RT | Voltage Support | PGAE | Sierra | 2022-02-06 | 45 | No | INC | 15 | 44598.25 | 44598.875 | -1 | 54214.8 | 0 | 23.6535 | 0 | 0 | 0 | 0 | 0 | 0
127 | RT | Voltage Support | PGAE | Sierra | 2022-02-08 | 40 | No | DEC | 1 | 44600.2431 | 44600.25 | 1.9583 | 0 | 0 | -86.9977 | 0 | 0 | 0 | 0 | 0 | 0
128 | RT | Voltage Support | PGAE | Sierra | 2022-02-08 | 40 | No | INC | 1 | 44600.25 | 44600.2917 | -0.14583 | 3308.03 | 0 | 6.9387 | 0 | 0 | 0 | 0 | 0 | 0
129 | RT | Voltage Support | PGAE | Sierra | 2022-02-10 | 40 | No | DEC | 1 | 44602.2361 | 44602.25 | 1.9583 | 0 | 0 | -83.7147 | 0 | 0 | 0 | 0 | 0 | 0
130 | RT | Voltage Support | PGAE | Sierra | 2022-02-10 | 40 | No | INC | 8 | 44602.25 | 44602.5833 | -8.9733 | 25132.24 | 0 | 207.2401 | 0 | 0 | 0 | 0 | 0 | 0
131 | RT | Voltage Support | PGAE | Sierra | 2022-02-12 | 40 | No | INC | 11 | 44604.25 | 44604.7083 | -4.2292 | 33635.58 | 0 | 104.7663 | 0 | 0 | 0 | 0 | 0 | 0
132 | RT | Voltage Support | PGAE | Sierra | 2022-02-13 | 40 | No | DEC | 18 | 44605.2396 | 44605.9583 | 3.9167 | 0 | 0 | -174.8928 | 0 | 0 | 0 | 0 | 0 | 0
133 | RT | Voltage Support | PGAE | Sierra | 2022-02-13 | 20 - 40 | No | INC | 24 | 44605.0208 | 44606 | -2.2667 | 77001.5625 | 0 | -39.2877 | 0 | 0 | 0 | 0 | 0 | 0
134 | RT | Voltage Support | PGAE | Sierra | 2022-02-14 | 20 | No | INC | 9 | 44606 | 44606.375 | -19.8667 | 0 | 0 | 733.4766 | 0 | 0 | 0 | 0 | 0 | 0
135 | RT | Voltage Support | PGAE | Sierra | 2022-02-16 | 20 | No | INC | 6 | 44608.4583 | 44608.7083 | 1.2 | 14300 | 490.69 | 1081.2769 | 0 | 0 | 0 | 0 | 0 | 0
136 | RT | Voltage Support | PGAE | Sierra | 2022-02-20 | 40 | No | DEC | 1 | 44612.2396 | 44612.25 | 1.375 | 0 | 0 | -47.247 | 0 | 0 | 0 | 0 | 0 | 0
137 | RT | Voltage Support | PGAE | Sierra | 2022-02-20 | 20 - 40 | No | INC | 18 | 44612.25 | 44613 | -25.905 | 69947.3333 | 0 | 673.4913 | 0 | 0 | 0 | 0 | 0 | 0
138 | RT | Voltage Support | PGAE | Sierra | 2022-02-21 | 20 | No | INC | 24 | 44613 | 44614 | -144.4183 | 66161.7 | 0 | 6094.8433 | 0 | 0 | 0 | 0 | 0 | 0
139 | RT | Voltage Support | PGAE | Sierra | 2022-02-22 | 20 | No | INC | 7 | 44614 | 44614.2917 | -21.0723 | 3.13 | 0 | 1163.9301 | 0 | 0 | 0 | 0 | 0 | 0
140 | RT | Voltage Support | PGAE | Sierra | 2022-02-24 | 20 | No | DEC | 1 | 44616.875 | 44616.9167 | 1.2058 | 0 | 34.8812 | -104.8497 | 0 | 0 | 0 | 0 | 0 | 0
141 | RT | Voltage Support | PGAE | Sierra | 2022-02-24 | 20 | No | INC | 14 | 44616.2917 | 44616.875 | -36.4 | 39999.87 | 488.337 | 1792.315 | 0 | 0 | 0 | 0 | 0 | 0
142 | RT | Voltage Support | PGAE | Sierra | 2022-02-25 | 20 | No | INC | 10 | 44617.3229 | 44617.7083 | 3.1 | 26449.47 | 534.69 | -48.5659 | 0 | 0 | 0 | 0 | 0 | 0
143 | RT | Voltage Support | PGAE | Sierra | 2022-02-26 | 40 | No | INC | 11 | 44618.25 | 44618.7083 | -5.9542 | 37986.63 | 0 | 112.167 | 0 | 0 | 0 | 0 | 0 | 0
144 | RT | Voltage Support | PGAE | Sierra | 2022-02-27 | 40 | No | INC | 15 | 44619.25 | 44619.875 | -3.5 | 51799.95 | 0 | 58.0428 | 0 | 0 | 0 | 0 | 0 | 0

## Price_Impact_A
Table 8: Price Impact Analysis Information for Pricing Node A in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2022-02-10 | 19 | 4 | 37.3033 | Yes | 51.19 | 13.8867
2 | 2022-02-10 | 19 | 5 | 37.4524 | Yes | 51.19 | 13.7376
3 | 2022-02-10 | 19 | 6 | 37.5432 | Yes | 51.19 | 13.6468
4 | 2022-02-10 | 19 | 7 | 37.1638 | Yes | 51.19 | 14.0262
5 | 2022-02-10 | 19 | 8 | 37.3722 | Yes | 51.19 | 13.8178
6 | 2022-02-10 | 19 | 9 | 37.2153 | Yes | 51.19 | 13.9747
7 | 2022-02-10 | 19 | 10 | 36.7811 | Yes | 51.19 | 14.4088
8 | 2022-02-10 | 19 | 11 | 36.8559 | Yes | 51.19 | 14.3341
9 | 2022-02-10 | 19 | 12 | 36.8804 | Yes | 51.19 | 14.3096
10 | 2022-02-10 | 20 | 1 | 44.4117 | Yes | 51.19 | 6.7783
11 | 2022-02-10 | 20 | 2 | 43.2527 | Yes | 51.19 | 7.9373
12 | 2022-02-10 | 20 | 3 | 43.0369 | Yes | 51.19 | 8.1531
13 | 2022-02-10 | 20 | 4 | 42.383 | Yes | 51.19 | 8.807
14 | 2022-02-10 | 20 | 5 | 42.3817 | Yes | 51.19 | 8.8083
15 | 2022-02-10 | 20 | 6 | 42.6678 | Yes | 51.19 | 8.5222
16 | 2022-02-10 | 20 | 7 | 38.8668 | Yes | 51.19 | 12.3232
17 | 2022-02-10 | 20 | 8 | 38.6156 | Yes | 51.19 | 12.5744
18 | 2022-02-10 | 20 | 9 | 38.5341 | Yes | 51.19 | 12.6559
19 | 2022-02-10 | 20 | 10 | 38.3539 | Yes | 51.19 | 12.8361
20 | 2022-02-10 | 20 | 11 | 37.7867 | Yes | 51.19 | 13.4033
21 | 2022-02-10 | 20 | 12 | 37.2796 | Yes | 51.19 | 13.9103

## Price_Impact_B
Table 9: Price Impact Analysis Information for Pricing Node B in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2022-02-23 | 18 | 10 | 68.7003 | Yes | 104.62 | 35.9197
2 | 2022-02-23 | 18 | 11 | 69.3175 | Yes | 104.62 | 35.3025
3 | 2022-02-23 | 18 | 12 | 66.608 | Yes | 104.62 | 38.0121
4 | 2022-02-23 | 19 | 1 | 66.0913 | Yes | 104.62 | 38.5287
5 | 2022-02-23 | 19 | 2 | 68.0444 | Yes | 104.62 | 36.5756
6 | 2022-02-23 | 19 | 3 | 68.0444 | Yes | 104.62 | 36.5756
7 | 2022-02-23 | 19 | 4 | 64.9671 | Yes | 104.62 | 39.6529
8 | 2022-02-23 | 19 | 5 | 64.9372 | Yes | 104.62 | 39.6828
9 | 2022-02-23 | 19 | 6 | 64.1616 | Yes | 104.62 | 40.4584
10 | 2022-02-23 | 19 | 7 | 64.4938 | Yes | 104.62 | 40.1262

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
NONTMOD | 0 | 0 | 0 | 0
Total | 0 | 0 | 0 | 0