## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for January 2022
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Incomplete or Inaccurate Transmission | PGAE | NCNB | 2022-01-18 | 60 | No | DEC | 2 | 44579.3611 | 44579.4062 | -12.8333 | 0 | 0 | 416.243 | -17.125 | 0 | 533.5978 | 0 | -876.8217 | 0
2 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-01-28 | 46 | No | INC | 2 | 44589.7083 | 44589.7917 | -10.3317 | 7874.61 | 0 | 1036.3024 | 0.105 | -5.9976 | 0 | -0.46725 | 0 | 0
3 | RT | Market Disruption | PGAE | Bay Area | 2022-01-14 | 295 | No | DEC | 1 | 44575.0035 | 44575.0417 | -12.3885 | -4269.0783 | 0 | 494.8031 | 0 | 0 | 0 | 0 | 0 | 0
4 | RT | Market Disruption | PGAE | Bay Area | 2022-01-14 | 585 | No | INC | 1 | 44575.0069 | 44575.0417 | -12.5738 | 3056.405 | 0 | 488.5254 | 0 | 0 | 0 | 0 | 0 | 0
5 | RT | Market Disruption | PGAE | Bay Area | 2022-01-28 | 120 | No | INC | 2 | 44589.7083 | 44589.7917 | 24.6125 | 22419.06 | 0 | -254.3684 | 0 | 0 | 0 | 0 | 0 | 0
6 | RT | Market Disruption | SCE | LA Basin | 2022-01-28 | 46 - 49 | No | INC | 2 | 44589.7083 | 44589.7917 | -125.2323 | 35806.145 | 0 | 7575.946 | 1.02 | -60.961 | 0 | -1.7504 | 0 | 0
7 | RT | Market Disruption | SDGE | San Diego-IV | 2022-01-28 | 50 | No | INC | 2 | 44589.7118 | 44589.7917 | 39.9668 | 29948.1 | 0 | -2556.8677 | 0 | 0 | 0 | 0 | 0 | 0
8 | RT | Other Reliability Requirement | PGAE | Fresno | 2022-01-28 | 0 | No | DEC | 2 | 44589.75 | 44589.8333 | -6.7125 | 0 | 0 | 176.1656 | -8.055 | 0 | 250.9938 | 0 | 0 | 0
9 | RT | Other Reliability Requirement | PGAE | Fresno | 2022-01-28 | 0 | No | INC | 7 | 44589.7326 | 44590 | -2.685 | 0 | 0 | 156.0655 | 0 | 0 | 0 | 0 | 0 | 0
10 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-01-28 | 0 | No | DEC | 4 | 44589.7153 | 44589.875 | -150.8552 | 0 | 0 | 7156.8891 | -41.027 | 0 | 2107.871 | 0 | 0 | 0
11 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-01-28 | 0 | No | INC | 3 | 44589.875 | 44590 | 13.2309 | 0 | 0 | -1056.5946 | -20.0204 | 0 | 1021.0426 | 0 | 0 | 0
12 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-01-29 | 0 | No | DEC | 5 | 44590.7083 | 44590.9167 | -3.0671 | 0 | 0 | 203.0805 | 0 | 0 | 0 | 0 | 0 | 0
13 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-01-29 | 0 | No | INC | 15 | 44590.3924 | 44591 | 3.0713 | 0 | 0 | 4.4079 | 0 | 0 | 0 | 0 | 0 | 0
14 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-01-30 | 0 | No | DEC | 17 | 44591.2917 | 44592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-01-30 | 0 | No | INC | 24 | 44591 | 44592 | -6.4567 | 0 | 0 | 529.398 | 0 | 0 | 0 | 0 | 0 | 0
16 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-01-31 | 0 | No | INC | 11 | 44592 | 44592.4375 | -1.2106 | 0 | 0 | 59.0698 | 0 | 0 | 0 | 0 | 0 | 0
17 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-01-31 | 23 | No | INC | 3 | 44592.7292 | 44592.8542 | 0 | 17910 | 838.6154 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-10 | 15 | No | DEC | 2 | 44571.9167 | 44572 | -1.1192 | -3941.5465 | 944.99 | 42.8039 | 0 | 0 | 0 | 0 | 0 | 0
19 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-10 | 15 | No | INC | 1 | 44571.9583 | 44572 | -0.67792 | 932.11 | 0 | 34.2256 | 0 | 0 | 0 | 0 | 0 | 0
20 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-11 | 15 | No | DEC | 24 | 44572 | 44573 | -0.3175 | 0 | 0 | 0.90314 | 0 | 0 | 0 | 0 | 0 | 0
21 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-11 | 15 - 30 | No | INC | 24 | 44572 | 44573 | 6.0496 | 37860.4 | 0 | -298.6836 | 0 | 0 | 0 | 0 | -4.9994 | 0
22 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-12 | 15 - 30 | No | DEC | 24 | 44573 | 44574 | -5.4233 | -21728.1827 | 0 | 268.7299 | 0 | 0 | 0 | 0 | 0 | 0
23 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-12 | 15 - 45 | No | INC | 24 | 44573 | 44574 | -5.2171 | 37486.26 | 0 | 204.2636 | 0 | 0 | 0 | 0 | 0 | 0
24 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-13 | 15 | No | DEC | 20 | 44574 | 44574.8333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-13 | 15 - 30 | No | INC | 24 | 44574 | 44575 | 1.1954 | 35851.8567 | 0 | -83.4954 | 0 | 0 | 0 | 0 | 0 | 0
26 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-14 | 15 | No | INC | 2 | 44575 | 44575.0729 | -0.16948 | 1680.54 | 0 | 5.3849 | 0 | 0 | 0 | 0 | 0 | 0
27 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-18 | 15 | No | DEC | 8 | 44579.0208 | 44579.3542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-18 | 30 - 45 | No | INC | 17 | 44579.2917 | 44580 | -0.12167 | 74165.82 | 0 | -939.4412 | 0 | 0 | 0 | 0 | -2.271 | 0
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-19 | 15 - 45 | No | DEC | 19 | 44580.1458 | 44580.9167 | 1.01e-07 | -4174.0085 | 0 | 32.4681 | 0 | 0 | 0 | 0 | 0 | 0
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-19 | 30 - 45 | No | INC | 24 | 44580 | 44581 | -5.2246 | 65672.9125 | 0 | 40.3563 | 0 | 0 | 0 | 0 | -7.8102 | 0
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-20 | 15 - 45 | No | INC | 24 | 44581 | 44582 | -24.0069 | 91381.97 | 0 | -254.1569 | 0 | 0 | 0 | 0 | -5.7061 | 0
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-21 | 15 - 45 | No | INC | 24 | 44582 | 44583 | -4.4417 | 79560.6025 | 0 | -133.9626 | 0 | 0 | 0 | 0 | 0 | 0
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-22 | 15 - 45 | No | INC | 24 | 44583 | 44584 | -4.2481 | 60528.21 | 0 | 32.3345 | 1 | -3.6851 | 0 | 0 | -65.4017 | 0
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-23 | 30 | No | DEC | 4 | 44584.7083 | 44584.875 | -0.67792 | -4088.8371 | 0 | 36.1447 | 0 | 0 | 0 | 0 | 0 | 0
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-23 | 15 - 30 | No | INC | 24 | 44584 | 44585 | 11.3173 | 43110.04 | 0 | -883.2247 | 0 | 0 | 0 | 0 | -24.6998 | 0
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-24 | 15 | No | DEC | 6 | 44585.0104 | 44585.2361 | -4.0675 | 0 | 0 | 185.3483 | 0 | 0 | 0 | 0 | 0 | 0
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-24 | 30 - 45 | No | INC | 24 | 44585 | 44586 | 22.0358 | 59874.8975 | 0 | -1065.0803 | 0.75 | -4.0501 | 0 | 0 | -7.9274 | 0
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-25 | 15 | No | DEC | 4 | 44586.0729 | 44586.2292 | -3.7368 | 219.285 | 0 | 144.4871 | -0.3175 | 0 | 12.277 | 0 | -96.5997 | 0
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-25 | 30 - 45 | No | INC | 24 | 44586 | 44587 | -26.3059 | 91660.5225 | 0 | 147.8168 | -2.791 | 0 | 104.0735 | 0 | -49.2148 | 0
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-26 | 30 - 45 | No | INC | 24 | 44587 | 44588 | -7.7585 | 82986.12 | 0 | -310.8983 | 0 | 0 | 0 | 0 | 0 | 0
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-27 | 15 | No | DEC | 7 | 44588.7083 | 44589 | 0.67792 | 0 | 0 | -31.8033 | 0 | 0 | 0 | 0 | 0 | 0
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-27 | 15 - 45 | No | INC | 24 | 44588 | 44589 | -27.5494 | 70448.55 | 0 | 525.1633 | 0 | 0 | 0 | 0 | 0 | 0
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-28 | 15 | No | DEC | 22 | 44589 | 44589.9167 | -0.047292 | 0 | 0 | 0.78697 | 0 | 0 | 0 | 0 | 0 | 0
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-28 | 15 - 30 | No | INC | 24 | 44589 | 44590 | 10.7521 | 36537.9825 | 0 | -603.8895 | 0 | 0 | 0 | 0 | 0 | 0
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-29 | 15 - 30 | No | INC | 24 | 44590 | 44591 | -0.16042 | 41252.015 | 0 | 16.9909 | 0 | 0 | 0 | 0 | 0 | 0
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-30 | 30 | No | INC | 24 | 44591 | 44592 | 2.1008 | 46590.48 | 0 | -78.6049 | 0 | 0 | 0 | 0 | -13.0894 | 0
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-31 | 15 - 60 | No | DEC | 19 | 44592.2083 | 44593 | 21.4338 | -8231.2659 | 0 | -1090.5494 | 0 | 0 | 0 | 0 | 0 | 0
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-01-31 | 15 - 60 | No | INC | 24 | 44592 | 44593 | -5.0279 | 32971.3367 | 0 | 290.7354 | 0 | 0 | 0 | 0 | 0 | 0
49 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-01-01 | 18 - 44 | No | DEC | 21 | 44562.125 | 44563 | 6.4499 | 0 | 0 | -635.662 | -0.010417 | 0 | 0.73271 | 0 | -566.9111 | 0
50 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-01-01 | 18 - 44 | No | INC | 24 | 44562 | 44563 | 10.3122 | 0 | 0 | -681.8932 | 0 | 0 | 0 | 0 | 0 | 0
51 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-01-02 | 18 - 44 | No | DEC | 14 | 44563.125 | 44563.6979 | 1.3283 | 0 | 0 | -18.6078 | 0 | 0 | 0 | 0 | 0 | 0
52 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-01-02 | 18 - 44 | No | INC | 15 | 44563 | 44563.625 | 14.7496 | 0 | 0 | -875.2055 | 0 | 0 | 0 | 0 | 0 | 0
53 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-01-28 | 40 | No | DEC | 11 | 44589.309 | 44589.75 | -3.4772 | -208.3333 | 0 | 41.179 | 0 | 0 | 0 | 0 | 0 | 0
54 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-01-28 | 40 | No | INC | 11 | 44589.3333 | 44589.7917 | 11.9625 | 2500 | 0 | -465.5473 | 15 | -626.9492 | 0 | 0 | -2610.4072 | 0
55 | RT | Planned Transmission Outage | SCE | NA | 2022-01-27 | 200 | No | INC | 8 | 44588.6667 | 44589 | -150.9447 | 162774.815 | 40857.59 | 7113.3516 | 0 | 0 | 0 | 0 | 0 | 0
56 | RT | Planned Transmission Outage | SCE | NA | 2022-01-28 | 200 | No | DEC | 8 | 44589.625 | 44589.9583 | 115.6133 | -2019.9675 | 0 | -12927.0096 | 0 | 0 | 0 | 0 | 0 | 0
57 | RT | Planned Transmission Outage | SCE | NA | 2022-01-28 | 200 | No | INC | 15 | 44589.375 | 44590 | 134.7983 | 126832.8625 | 0 | -5517.979 | 0 | 0 | 0 | 0 | 0 | 0
58 | RT | Planned Transmission Outage | SCE | NA | 2022-01-29 | 200 | No | DEC | 14 | 44590.2083 | 44590.7917 | -11.0164 | -409.125 | 0 | 498.247 | 0 | 0 | 0 | 0 | 0 | 0
59 | RT | Planned Transmission Outage | SCE | NA | 2022-01-29 | 200 | No | INC | 24 | 44590 | 44591 | 11.9885 | 75725.35 | 0 | -655.4112 | 0 | 0 | 0 | 0 | 0 | 0
60 | RT | Planned Transmission Outage | SCE | NA | 2022-01-31 | 200 | No | DEC | 5 | 44592.6667 | 44592.875 | -22.9584 | 0 | 0 | 1137.3328 | 0 | 0 | 0 | 0 | 0 | 0
61 | RT | Planned Transmission Outage | SCE | NA | 2022-01-31 | 200 | No | INC | 9 | 44592.625 | 44593 | -18.845 | 1794.4 | 0 | 942.8262 | 0 | 0 | 0 | 0 | 0 | 0
62 | RT | Ramping Capacity | SCE | LA Basin | 2022-01-02 | 194 | No | INC | 5 | 44563.7292 | 44563.9167 | -80.0649 | 0 | 0 | 5580.4921 | 6.7251 | -625.2179 | 0 | 0 | 0 | 0
63 | RT | Ramping Capacity | SDGE | San Diego-IV | 2022-01-27 | 24 | No | DEC | 5 | 44588.6632 | 44588.8333 | 175.5198 | -22882.16 | 0 | -8616.5944 | 0 | 0 | 0 | 0 | 0 | 0
64 | RT | Reliability Assessment | PGAE | Bay Area | 2022-01-05 | 580 | No | DEC | 1 | 44566.1146 | 44566.125 | 180.4814 | 0 | 0 | -7207.895 | 0 | 0 | 0 | 0 | 0 | 0
65 | RT | Reliability Assessment | PGAE | Fresno | 2022-01-23 | 20 | No | DEC | 5 | 44584.4861 | 44584.6667 | -19.652 | 0 | 0 | -8576.2146 | -17.3504 | 0 | -7792.1726 | 0 | 0 | 0
66 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-01 | 15 - 30 | No | INC | 24 | 44562 | 44563 | -0.47208 | 36706.51 | 0 | -282.4531 | 0 | 0 | 0 | 0 | 0 | 0
67 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-02 | 14 - 45 | No | INC | 24 | 44563 | 44564 | 41.421 | 51850.6158 | 1273.8133 | -3286.4631 | 0 | 0 | 0 | 0 | 0 | 0
68 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-03 | 45 | No | DEC | 1 | 44564.6771 | 44564.6875 | 0 | 300.8725 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
69 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-03 | 15 - 45 | No | INC | 16 | 44564 | 44564.6667 | 14.2143 | 24170.1992 | 0 | -1063.7807 | 0 | 0 | 0 | 0 | 0 | 0
70 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-07 | 30 | No | INC | 1 | 44568.2812 | 44568.3021 | 3.9235 | 725.765 | 0 | -199.1017 | 0 | 0 | 0 | 0 | 0 | 0
71 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-08 | 15 | No | DEC | 1 | 44569.6667 | 44569.6944 | 0.67792 | 0 | 0 | -28.9188 | 0 | 0 | 0 | 0 | 0 | 0
72 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-08 | 15 - 30 | No | INC | 12 | 44569.4167 | 44569.8958 | 2.6403 | 9554.085 | 0 | -191.7696 | 0 | 0 | 0 | 0 | 0 | 0
73 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-13 | 15 | No | DEC | 4 | 44574.8403 | 44575 | 0 | -242.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-14 | 15 - 30 | No | DEC | 21 | 44575 | 44575.875 | 3.9729 | -7551.9078 | 0 | -156.2511 | 0 | 0 | 0 | 0 | 0 | 0
75 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-14 | 15 - 30 | No | INC | 22 | 44575.0625 | 44575.9479 | -3.757 | 6709.4325 | 0 | -44.1034 | 0 | 0 | 0 | 0 | 0 | 0
76 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-16 | 15 | No | INC | 3 | 44577.9028 | 44578 | -0.065833 | 3001.39 | 0 | 3.6926 | 0 | 0 | 0 | 0 | 0 | 0
77 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-17 | 15 | No | DEC | 10 | 44578.3438 | 44578.7604 | 3.835 | 0 | 600.3492 | -189.3564 | 0 | 0 | 0 | 0 | 0 | 0
78 | RT | Reliability Assessment | PGAE | Humboldt | 2022-01-17 | 15 - 30 | No | INC | 24 | 44578 | 44579 | 6.5529 | 36964.42 | 0 | -397.1622 | 0 | 0 | 0 | 0 | 0 | 0
79 | RT | Reliability Assessment | PGAE | NA | 2022-01-02 | 0 | No | INC | 1 | 44563.3993 | 44563.441 | -18.11 | 3183.9317 | 935.3 | 97.4291 | -16.3167 | 0 | -29.0792 | 0 | 0 | 0
80 | RT | Reliability Assessment | SCE | LA Basin | 2022-01-04 | 19 | No | INC | 2 | 44565.6667 | 44565.75 | 21.1421 | 0 | 0 | -1495.3867 | 0 | 0 | 0 | 0 | 0 | 0
81 | RT | Reliability Assessment | SCE | NA | 2022-01-10 | 25 | No | INC | 1 | 44571.3889 | 44571.4167 | -0.06625 | 0 | 0 | 2.7183 | 0 | 0 | 0 | 0 | 0 | 0
82 | RT | Reliability Assessment | SCE | NA | 2022-01-12 | 195 | No | DEC | 1 | 44573.4549 | 44573.4792 | -26.7079 | 0 | 0 | 47.6529 | -25.6419 | 0 | 9.7439 | 0 | 0 | 0
83 | RT | Reliability Assessment | SCE | NA | 2022-01-13 | 75 - 250 | No | INC | 1 | 44574.3993 | 44574.4201 | 12.1108 | 0 | 0 | -4.6829 | -1.0583 | 0 | -0.19842 | 0 | 0 | 0
84 | RT | Software Limitation | PGAE | Bay Area | 2022-01-05 | 580 | No | DEC | 1 | 44566.0764 | 44566.1076 | 334.5553 | -18972.3567 | 0 | -16318.8034 | 0 | 0 | 0 | 0 | 0 | 0
85 | RT | Software Limitation | PGAE | Bay Area | 2022-01-18 | 235 | No | INC | 3 | 44579.6528 | 44579.7396 | -1.5 | 0 | 0 | 76.7415 | 0 | 0 | 0 | 0 | 0 | 0
86 | RT | Software Limitation | SDGE | San Diego-IV | 2022-01-27 | 0 | No | INC | 1 | 44588.8507 | 44588.8889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
87 | RT | Unit Testing | Intertie | NA | 2022-01-06 | 40 | No | INC | 1 | 44567.0833 | 44567.125 | 40 | 0 | 0 | -1803.5476 | 40 | -1803.5476 | 0 | 0 | 0 | 0
88 | RT | Unit Testing | PGAE | Sierra | 2022-01-11 | 16 | No | DEC | 1 | 44572.6007 | 44572.6042 | -0.014167 | 0 | 0 | 0.29562 | 0 | 0 | 0 | 0 | 0 | 0
89 | RT | Unit Testing | PGAE | Sierra | 2022-01-11 | 32 | No | INC | 1 | 44572.6042 | 44572.6319 | 0.13149 | 0 | 0 | -317.6072 | 7.4417 | -430.426 | 0 | 0 | 0 | 0
90 | RT | Unit Testing | PGAE | Sierra | 2022-01-14 | 33 | No | INC | 1 | 44575.6111 | 44575.6215 | 7.4641 | 0 | 0 | -436.6073 | 7.6875 | -444.645 | 0 | 0 | 0 | 0
91 | RT | Unit Testing | PGAE | Stockton | 2022-01-07 | 65 | No | INC | 1 | 44568.0556 | 44568.0833 | 33.25 | 0 | 0 | -2911.1272 | 26.625 | -2653.4475 | 0 | 0 | 0 | 0
92 | RT | Unit Testing | PGAE | NA | 2022-01-28 | 39.5 | No | INC | 1 | 44589.1944 | 44589.2188 | 18.0129 | -2.14 | 0 | -1649.8041 | 18.0129 | -1649.8041 | 0 | 0 | 0 | 0
93 | RT | Unit Testing | SCE | LA Basin | 2022-01-06 | 96 | No | INC | 1 | 44567.9444 | 44567.9722 | 54.4938 | 3297.9867 | 0 | -3332.8369 | 27.1125 | -1977.2674 | 0 | 0 | 0 | 0
94 | RT | Voltage Support | PGAE | Fresno | 2022-01-01 | -320 | No | DEC | 6 | 44562.125 | 44562.375 | -74.9833 | 0 | 0 | 4965.032 | 0 | 0 | 0 | 0 | 0 | 0
95 | RT | Voltage Support | PGAE | Fresno | 2022-01-02 | -320 | No | DEC | 8 | 44563.0764 | 44563.375 | -133.3333 | 0 | 0 | 9590.3605 | 0 | 0 | 0 | 0 | 0 | 0
96 | RT | Voltage Support | PGAE | Humboldt | 2022-01-03 | 15 - 45 | No | DEC | 8 | 44564.6667 | 44565 | -27.2659 | 771.2694 | 0 | 1868.1432 | 0 | 0 | 0 | 0 | 0 | 0
97 | RT | Voltage Support | PGAE | Humboldt | 2022-01-03 | 30 - 45 | No | INC | 17 | 44564.3299 | 44565 | 7.712 | 55059.8433 | 0 | -486.0724 | 0 | 0 | 0 | 0 | 0 | 0
98 | RT | Voltage Support | PGAE | Humboldt | 2022-01-04 | 15 - 30 | No | DEC | 11 | 44565.5208 | 44565.9583 | 4.0928 | -20765.0206 | 0 | -178.9259 | 0 | 0 | 0 | 0 | 0 | 0
99 | RT | Voltage Support | PGAE | Humboldt | 2022-01-04 | 15 - 30 | No | INC | 24 | 44565 | 44566 | -1.2946 | 29990.2525 | 0 | 16.2302 | 0 | 0 | 0 | 0 | 0 | 0
100 | RT | Voltage Support | PGAE | Humboldt | 2022-01-05 | 15 | No | DEC | 21 | 44566.0625 | 44566.9167 | 13.2673 | -11251.6916 | 398.64 | -551.8482 | 0 | 0 | 0 | 0 | 0 | 0
101 | RT | Voltage Support | PGAE | Humboldt | 2022-01-05 | 15 - 30 | No | INC | 24 | 44566 | 44567 | 15.3185 | 25289.6725 | 548.13 | -828.3881 | 0 | 0 | 0 | 0 | 0 | 0
102 | RT | Voltage Support | PGAE | Humboldt | 2022-01-06 | 15 | No | DEC | 22 | 44567 | 44567.9167 | 6.8347 | 4477.7025 | 0 | -349.2705 | 0 | 0 | 0 | 0 | 0 | 0
103 | RT | Voltage Support | PGAE | Humboldt | 2022-01-06 | 15 | No | INC | 15 | 44567.375 | 44568 | 7.3229 | 19154.565 | 947.31 | -368.3333 | 0 | 0 | 0 | 0 | 0 | 0
104 | RT | Voltage Support | PGAE | Humboldt | 2022-01-07 | 15 - 30 | No | INC | 24 | 44568 | 44569 | 3.9235 | 39675.12 | 0 | -199.1017 | 0 | 0 | 0 | 0 | 0 | 0
105 | RT | Voltage Support | PGAE | Humboldt | 2022-01-08 | 15 - 30 | No | INC | 24 | 44569 | 44570 | -4.7551 | 15923.475 | 0 | 206.4007 | 0 | 0 | 0 | 0 | 0 | 0
106 | RT | Voltage Support | PGAE | Humboldt | 2022-01-09 | 30 | No | INC | 24 | 44570 | 44571 | 3.6146 | 23535.5675 | 0 | -318.9315 | 0 | 0 | 0 | 0 | -93.639 | 0
107 | RT | Voltage Support | PGAE | Humboldt | 2022-01-10 | 45 | No | DEC | 6 | 44571.6667 | 44571.9167 | 1e-09 | -4348.4208 | 0 | 14.3836 | 0 | 0 | 0 | 0 | 0 | 0
108 | RT | Voltage Support | PGAE | Humboldt | 2022-01-10 | 30 - 45 | No | INC | 16 | 44571 | 44571.6667 | 4.6465 | 35187.0025 | 0 | -297.7121 | 0 | 0 | 0 | 0 | 0 | 0
109 | RT | Voltage Support | PGAE | Humboldt | 2022-01-14 | 15 | No | DEC | 2 | 44575.934 | 44576 | -4.1333 | 559.1192 | 0 | 199.7484 | 0 | 0 | 0 | 0 | 0 | 0
110 | RT | Voltage Support | PGAE | Humboldt | 2022-01-15 | 15 | No | DEC | 22 | 44576 | 44576.9167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
111 | RT | Voltage Support | PGAE | Humboldt | 2022-01-15 | 15 | No | INC | 15 | 44576.3924 | 44577 | 12.6156 | 13506.2925 | 945.55 | -767.3949 | 0 | 0 | 0 | 0 | 0 | 0
112 | RT | Voltage Support | PGAE | Humboldt | 2022-01-16 | 15 - 30 | No | INC | 22 | 44577 | 44577.9167 | 6.4929 | 33410.17 | 0 | -264.417 | 0 | 0 | 0 | 0 | 0 | 0
113 | RT | Voltage Support | PGAE | Humboldt | 2022-01-17 | 15 | No | DEC | 7 | 44578.7431 | 44579 | 0 | 0 | 370.2153 | 0 | 0 | 0 | 0 | 0 | 0 | 0
114 | RT | Voltage Support | PGAE | Humboldt | 2022-01-17 | 15 | No | INC | 1 | 44578.9826 | 44579 | -0.065833 | 789.8375 | 0 | 2.6064 | 0 | 0 | 0 | 0 | 0 | 0
115 | RT | Voltage Support | PGAE | Humboldt | 2022-01-18 | 15 | No | DEC | 1 | 44579 | 44579.0208 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
116 | RT | Voltage Support | PGAE | Humboldt | 2022-01-18 | 15 | No | INC | 7 | 44579 | 44579.2917 | -4.0675 | 6871.62 | 0 | 179.9722 | 0 | 0 | 0 | 0 | 0 | 0
117 | RT | Voltage Support | PGAE | Sierra | 2022-01-03 | 20 | No | DEC | 1 | 44564.875 | 44564.9167 | -4.9167 | 0 | 0 | 335.5811 | 0 | 0 | 0 | 0 | 0 | 0
118 | RT | Voltage Support | PGAE | Sierra | 2022-01-03 | 20 | No | INC | 5 | 44564.7917 | 44565 | -44.0742 | 5920.72 | 0 | 2848.0168 | 0 | 0 | 0 | 0 | 0 | 0
119 | RT | Voltage Support | PGAE | Sierra | 2022-01-04 | 20 - 40 | No | DEC | 19 | 44565.2083 | 44566 | -31.5858 | 0 | 0 | 1689.6527 | 0 | 0 | 0 | 0 | 0 | 0
120 | RT | Voltage Support | PGAE | Sierra | 2022-01-04 | 20 - 40 | No | INC | 21 | 44565 | 44565.875 | -32.5067 | 4373.435 | 0 | 1774.8927 | 0 | 0 | 0 | 0 | 0 | 0
121 | RT | Voltage Support | PGAE | Sierra | 2022-01-05 | 20 | No | DEC | 5 | 44566.7708 | 44566.9583 | -96.7575 | 0 | 0 | 5289.8629 | 0 | 0 | 0 | 0 | 0 | 0
122 | RT | Voltage Support | PGAE | Sierra | 2022-01-05 | 20 | No | INC | 24 | 44566 | 44567 | -24.2729 | 4661.14 | 0 | 1289.4846 | 0 | 0 | 0 | 0 | 0 | 0
123 | RT | Voltage Support | PGAE | Sierra | 2022-01-06 | 20 | No | INC | 6 | 44567 | 44567.25 | -12.9667 | 0 | 0 | 603.3685 | 0 | 0 | 0 | 0 | 0 | 0
124 | RT | Voltage Support | PGAE | Sierra | 2022-01-16 | 20 | No | INC | 5 | 44577.1076 | 44577.2917 | 5.8333 | 2280.57 | 0 | -251.392 | 0 | 0 | 0 | 0 | 0 | 0
125 | RT | Voltage Support | PGAE | Sierra | 2022-01-17 | 20 | No | INC | 6 | 44578.0799 | 44578.2917 | -22 | 1551.6333 | 0 | 1052.6754 | 0 | 0 | 0 | 0 | 0 | 0
126 | RT | Voltage Support | PGAE | Sierra | 2022-01-22 | 20 | No | INC | 13 | 44583.4861 | 44584 | -110.8333 | 21836.475 | 0 | 5588.4073 | 0 | 0 | 0 | 0 | 0 | 0
127 | RT | Voltage Support | PGAE | Sierra | 2022-01-23 | 20 | No | DEC | 4 | 44584.6667 | 44584.8333 | -87.7167 | 0 | 0 | 3967.6842 | 0 | 0 | 0 | 0 | 0 | 0
128 | RT | Voltage Support | PGAE | Sierra | 2022-01-23 | 20 | No | INC | 24 | 44584 | 44585 | -80.345 | 32262.9 | 0 | 3812.7997 | 0 | 0 | 0 | 0 | 0 | 0
129 | RT | Voltage Support | PGAE | Sierra | 2022-01-24 | 20 | No | INC | 7 | 44585 | 44585.2917 | -25.6517 | 2360.7 | 0 | 1226.8471 | 0 | 0 | 0 | 0 | 0 | 0
130 | RT | Voltage Support | PGAE | Sierra | 2022-01-28 | 20 | No | DEC | 1 | 44589.875 | 44589.9167 | 13.4833 | 0 | 0 | -783.134 | 0 | 0 | 0 | 0 | 0 | 0
131 | RT | Voltage Support | PGAE | Sierra | 2022-01-28 | 20 | No | INC | 5 | 44589.7917 | 44590 | -29.1589 | 5000 | 0 | 1524.7168 | 0 | 0 | 0 | 0 | 0 | 0
132 | RT | Voltage Support | PGAE | Sierra | 2022-01-29 | 20 | No | INC | 12 | 44590 | 44590.5 | -6.0667 | 15900 | 0 | 289.1929 | 0 | 0 | 0 | 0 | 0 | 0
133 | RT | Voltage Support | PGAE | NA | 2022-01-22 | 50 | No | INC | 6 | 44583.0764 | 44583.2917 | -1.8629 | 15713.855 | 0 | 15.8446 | 0 | 0 | 0 | 0 | 0 | 0

## Price_Impact_A
Table 8: Price Impact Analysis Information for Pricing Node A in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2022-01-07 | 2 | 5 | 44.969 | Yes | 250 | 205.031
2 | 2022-01-07 | 2 | 6 | 44.8763 | Yes | 250 | 205.1237
3 | 2022-01-07 | 2 | 7 | 44.8564 | Yes | 250 | 205.1436
4 | 2022-01-07 | 2 | 8 | 44.5617 | Yes | 250 | 205.4383
5 | 2022-01-07 | 2 | 9 | 44.5291 | Yes | 250 | 205.4709
6 | 2022-01-07 | 2 | 10 | 39.1358 | Yes | 250 | 210.8642
7 | 2022-01-07 | 2 | 11 | 38.9871 | Yes | 250 | 211.0129
8 | 2022-01-07 | 2 | 12 | 38.775 | Yes | 250 | 211.225

## Price_Impact_B
Table 9: Price Impact Analysis Information for Pricing Node B in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2022-01-06 | 23 | 9 | 49.717 | Yes | 64.05 | 14.333
2 | 2022-01-06 | 23 | 10 | 49.3742 | Yes | 64.05 | 14.6758
3 | 2022-01-06 | 23 | 11 | 49.4453 | Yes | 64.05 | 14.6047
4 | 2022-01-06 | 23 | 12 | 49.3742 | Yes | 64.05 | 14.6758
5 | 2022-01-06 | 24 | 1 | 49.571 | Yes | 64.05 | 14.479
6 | 2022-01-06 | 24 | 2 | 49.571 | Yes | 64.05 | 14.479
7 | 2022-01-06 | 24 | 3 | 49.4553 | Yes | 64.05 | 14.5947
8 | 2022-01-06 | 24 | 4 | 49.1701 | Yes | 64.05 | 14.8799
9 | 2022-01-28 | 18 | 2 | 114.4203 | Yes | 62.58 | -51.8403
10 | 2022-01-28 | 18 | 3 | 114.4203 | Yes | 62.58 | -51.8403
11 | 2022-01-28 | 18 | 4 | 65.0904 | Yes | 62.58 | -2.5104
12 | 2022-01-28 | 18 | 5 | 63.57 | Yes | 62.58 | -0.99
13 | 2022-01-28 | 18 | 6 | 62.58 | Yes | 62.58 | 0
14 | 2022-01-28 | 18 | 7 | 56.3592 | Yes | 62.58 | 6.2208
15 | 2022-01-28 | 18 | 8 | 56.3592 | Yes | 62.58 | 6.2208
16 | 2022-01-28 | 18 | 9 | 62.58 | Yes | 62.58 | 0
17 | 2022-01-28 | 18 | 10 | 62.2626 | Yes | 62.58 | 0.31742
18 | 2022-01-28 | 18 | 11 | 61.7 | Yes | 62.58 | 0.88
19 | 2022-01-28 | 18 | 12 | 59.4 | Yes | 62.58 | 3.18
20 | 2022-01-28 | 19 | 1 | 56.6092 | Yes | 62.58 | 5.9708
21 | 2022-01-28 | 19 | 2 | 57.2168 | Yes | 62.58 | 5.3632
22 | 2022-01-28 | 19 | 3 | 56.3094 | Yes | 62.58 | 6.2706
23 | 2022-01-28 | 19 | 4 | 55.9586 | Yes | 62.58 | 6.6214
24 | 2022-01-28 | 19 | 5 | 52.7912 | Yes | 62.58 | 9.7888
25 | 2022-01-28 | 19 | 6 | 52.5906 | Yes | 62.58 | 9.9894
26 | 2022-01-28 | 19 | 7 | 52.5935 | Yes | 62.58 | 9.9865
27 | 2022-01-28 | 19 | 8 | 51.1336 | Yes | 62.58 | 11.4464
28 | 2022-01-28 | 19 | 9 | 52.7936 | Yes | 62.58 | 9.7864
29 | 2022-01-28 | 19 | 10 | 52.7809 | Yes | 62.58 | 9.7991
30 | 2022-01-28 | 19 | 11 | 52.7002 | Yes | 62.58 | 9.8798
31 | 2022-01-28 | 19 | 12 | 52.8557 | Yes | 62.58 | 9.7243

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
NONTMOD | 0 | 0 | 0 | 0
Total | 0 | 0 | 0 | 0