## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for January 2023
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Bridging Schedules | SCE | LA Basin | 2023-01-28 | 132.76 | No | INC | 2 | 44954.6042 | 44954.6667 | 132.0926 | 18226.61 | 2379.1518 | -398.9035 | 0 | 0 | 0 | 0 | 0 | 0
2 | RT | Bridging Schedules | SCE | NA | 2023-01-10 | 125 | No | INC | 2 | 44936.9167 | 44937 | -142 | 44636.92 | 0 | 18517.0276 | 0 | 0 | 0 | 0 | 0 | 0
3 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-11 | 125 | No | DEC | 8 | 44937.5833 | 44937.9167 | -264.497 | 0 | 0 | 37798.8913 | 0 | 0 | 0 | 0 | 0 | 0
4 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-11 | 125 | No | INC | 15 | 44937.4028 | 44938 | -112.923 | 0 | 0 | 15240.6454 | 0 | 0 | 0 | 0 | 0 | 0
5 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-12 | 125 | No | DEC | 24 | 44938 | 44939 | -104.8957 | -54957.11 | 0 | 11376.8497 | 0 | 0 | 0 | 0 | 0 | 0
6 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-12 | 125 | No | INC | 3 | 44938.4583 | 44938.5833 | 3.6554 | 0 | 0 | 73.4452 | 0 | 0 | 0 | 0 | 0 | 0
7 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-13 | 125 | No | DEC | 24 | 44939 | 44940 | -53.8093 | 0 | 0 | 8159.8291 | 0 | 0 | 0 | 0 | 0 | 0
8 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-14 | 125 | No | DEC | 24 | 44940 | 44941 | -50.9655 | 7637.86 | 0 | 9236.754 | 0 | 0 | 0 | 0 | 0 | 0
9 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-15 | 125 | No | DEC | 24 | 44941 | 44942 | -22.468 | 11077.29 | 0 | 3401.3 | 0 | 0 | 0 | 0 | 0 | 0
10 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-15 | 125 | No | INC | 5 | 44941.375 | 44941.5833 | 1.5266 | 0 | 0 | -125.4386 | 0 | 0 | 0 | 0 | 0 | 0
11 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-16 | 125 | No | DEC | 24 | 44942 | 44942.9722 | -8.4302 | 6338.085 | 0 | 1433.4829 | 0 | 0 | 0 | 0 | 0 | 0
12 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-16 | 125 | No | INC | 5 | 44942.4167 | 44942.625 | -2.0558 | 0 | 0 | 265.8383 | 0 | 0 | 0 | 0 | 0 | 0
13 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-17 | 125 | No | DEC | 24 | 44943 | 44944 | -40.1479 | -6536.3101 | 0 | 4898.9708 | 0 | 0 | 0 | 0 | 0 | 0
14 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-17 | 125 | No | INC | 6 | 44943.375 | 44943.625 | -2.9351 | 0 | 0 | 341.7282 | 0 | 0 | 0 | 0 | 0 | 0
15 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-18 | 125 | No | DEC | 24 | 44944 | 44945 | -30.7879 | 18171.4275 | 0 | 10316.64 | 0 | 0 | 0 | 0 | 0 | 0
16 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-18 | 125 | No | INC | 5 | 44944.375 | 44944.5833 | 4.4109 | 0 | 0 | -512.4014 | 0 | 0 | 0 | 0 | 0 | 0
17 | RT | Fast Start Unit Management | PGAE | Fresno | 2023-01-05 | 0 | No | INC | 1 | 44931.0972 | 44931.1389 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | RT | Fast Start Unit Management | PGAE | Fresno | 2023-01-23 | 0 | No | INC | 1 | 44949.0208 | 44949.0417 | -12.72 | 1747.54 | 0 | 0 | -12.72 | 0 | 0 | 0 | 0 | 0
19 | RT | Fast Start Unit Management | PGAE | Fresno | 2023-01-24 | 0 | No | INC | 1 | 44950.2049 | 44950.2465 | -20.8867 | 5482.7892 | 0 | 0 | -20.8867 | 0 | 0 | 0 | 0 | 0
20 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2023-01-30 | 54 | No | INC | 11 | 44956.5417 | 44957 | -0.91792 | 142981.68 | 32260.7 | 193.4552 | 0 | 0 | 0 | 0 | 0 | 0
21 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-01-01 | 150 - 194 | No | INC | 4 | 44927.6979 | 44927.8333 | 124.9662 | 0 | 0 | -18255.8711 | 131.3794 | -19111.3869 | 0 | -62937.4944 | 0 | 0
22 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-01-30 | 20 - 98 | No | INC | 12 | 44956.5 | 44957 | -146.6237 | 294313.5 | 87717.01 | 16338.9963 | 0 | 0 | 0 | 0 | 0 | 0
23 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-01-31 | 20 | No | INC | 24 | 44957 | 44958 | 226.0989 | 236850 | 0 | -20483.1093 | 0 | 0 | 0 | 0 | 0 | 0
24 | RT | Load Forecast Uncertainty | SCE | NA | 2023-01-19 | 125 | No | DEC | 24 | 44945 | 44946 | -6.5778 | 7069.5825 | 0 | 1399.0069 | 0 | 0 | 0 | 0 | 0 | 0
25 | RT | Load Forecast Uncertainty | SCE | NA | 2023-01-19 | 125 | No | INC | 5 | 44945.4167 | 44945.625 | -1.0342 | 0 | 0 | 194.1824 | 0 | 0 | 0 | 0 | 0 | 0
26 | RT | Planned Transmission Outage | PGAE | Fresno | 2023-01-28 | -330 | No | DEC | 2 | 44954.9167 | 44955 | 3.9417 | 0 | 0 | -433.0848 | 0 | 0 | 0 | 0 | 0 | 0
27 | RT | Planned Transmission Outage | PGAE | Fresno | 2023-01-29 | -330 | No | DEC | 7 | 44955 | 44955.2708 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-01-26 | 14 - 15 | No | DEC | 14 | 44952.4167 | 44953 | -11.0983 | -11800.5425 | 0 | 543.5878 | 0 | 0 | 0 | 0 | 0 | 0
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-01-27 | 15 | No | DEC | 22 | 44953 | 44953.9167 | -3.0106 | 0 | 0 | 24.0863 | 0 | 0 | 0 | 0 | 0 | 0
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-01-27 | 15 - 30 | No | INC | 17 | 44953.2951 | 44954 | -2.069 | 42391.0375 | 0 | -176.613 | 0 | 0 | 0 | 0 | 0 | 0
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-01-28 | 15 - 30 | No | INC | 24 | 44954 | 44955 | 2.971 | 55036.915 | 0 | -431.6182 | 0 | 0 | 0 | 0 | 0 | 0
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-01-29 | 15 | No | DEC | 4 | 44955.8715 | 44956 | -13.356 | 4664.1367 | 0 | 1642.5295 | 0 | 0 | 0 | 0 | 0 | 0
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-01-29 | 30 - 60 | No | INC | 24 | 44955 | 44956 | 7.2123 | 100745.43 | 0 | -926.4926 | 0 | 0 | 0 | 0 | 0 | 0
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-01-30 | 15 - 60 | No | DEC | 24 | 44956 | 44957 | 6.7402 | 4942.3034 | 0 | 645.0487 | 0 | 0 | 0 | 0 | 0 | 0
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-01-30 | 15 - 60 | No | INC | 16 | 44956 | 44956.6667 | 8.4715 | 98413.4375 | 0 | -977.9767 | 0 | 0 | 0 | 0 | 0 | 0
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-01-31 | 15 - 30 | No | DEC | 24 | 44957 | 44958 | 11.377 | -44666.7888 | 0 | -1099.1398 | 0 | 0 | 0 | 0 | 0 | 0
37 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-01-17 | 50 | No | INC | 1 | 44943.3333 | 44943.3438 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
38 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-01-20 | 75 | No | INC | 4 | 44946.3472 | 44946.5 | -0.42313 | 0 | 0 | -7.1448 | 0 | 0 | 0 | 0 | 0 | 0
39 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-01-24 | 30 | No | DEC | 4 | 44950.7917 | 44950.9583 | -9.8787 | 0 | 0 | 1446.1806 | -4.14 | 0 | 738.7919 | 0 | -13390.8789 | 0
40 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-01-30 | 70 - 72 | No | DEC | 17 | 44956.3021 | 44957 | -43.6611 | 0 | 0 | -13088.6295 | -12.3266 | 0 | 3879.5472 | 0 | -7304.1299 | 0
41 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-01-31 | 70 - 72 | No | DEC | 19 | 44957 | 44957.7917 | -19.2121 | 0 | 0 | -58.8023 | -8.8333 | 0 | -122.2029 | 0 | -1773.6475 | 0
42 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-01-31 | 70 | No | INC | 16 | 44957 | 44957.6667 | -28.5342 | 0 | 0 | -390.4626 | 0 | 0 | 0 | 0 | 0 | 0
43 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-17 | 20 | No | DEC | 11 | 44943.375 | 44943.8333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-17 | 20 | No | INC | 9 | 44943.3299 | 44943.6667 | -0.38583 | 0 | 0 | 54.8264 | 0 | 0 | 0 | 0 | 0 | 0
45 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-18 | 20 | No | DEC | 4 | 44944.6667 | 44944.8333 | -16.2025 | 0 | 0 | 2542.2707 | 0 | 0 | 0 | 0 | 0 | 0
46 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-18 | 20 - 42 | No | INC | 8 | 44944.3646 | 44944.6667 | 15.9658 | 15752.925 | 1439.82 | -2196.5492 | 0 | 0 | 0 | 0 | 0 | 0
47 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-23 | 20 | No | DEC | 8 | 44949.6667 | 44950 | 1.5329 | 0 | 0 | -236.4681 | 0 | 0 | 0 | 0 | 0 | 0
48 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-23 | 20 | No | INC | 8 | 44949.3507 | 44949.6667 | -22.6333 | 0 | 0 | 2402.6413 | 0 | 0 | 0 | 0 | 0 | 0
49 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-24 | 20 | No | DEC | 23 | 44950 | 44950.9583 | 66.3392 | 0 | 0 | -10117.4026 | 0 | 0 | 0 | 0 | 0 | 0
50 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-24 | 20 | No | INC | 16 | 44950.3542 | 44951 | -0.43417 | 3121.85 | 0 | -19.345 | 0 | 0 | 0 | 0 | 0 | 0
51 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-25 | 20 | No | DEC | 17 | 44951.2083 | 44951.9167 | -30.0175 | 0 | 0 | 3850.992 | 0 | 0 | 0 | 0 | 0 | 0
52 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-25 | 20 | No | INC | 24 | 44951 | 44952 | 20.666 | 0 | 0 | -4348.5816 | 0 | 0 | 0 | 0 | 0 | 0
53 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-26 | 20 | No | INC | 24 | 44952 | 44953 | -27.0508 | -30.22 | 0 | 3917.4694 | 0 | 0 | 0 | 0 | 0 | 0
54 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-27 | 20 | No | INC | 10 | 44953 | 44953.4167 | -23.23 | 0 | 0 | 2042.5064 | 0 | 0 | 0 | 0 | 0 | 0
55 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-30 | 0 | No | DEC | 8 | 44956.6979 | 44957 | -10.5 | -43588.6375 | 0 | 1714.0305 | -10.5 | 0 | 1714.0305 | 0 | -49283.7849 | 0
56 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-30 | 42 | No | INC | 8 | 44956.3715 | 44956.6979 | -1.25 | 0 | 0 | 138.9695 | 0 | 0 | 0 | 0 | 0 | 0
57 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-31 | 0 - 20 | No | DEC | 19 | 44957 | 44957.7917 | -26.3067 | 0 | 0 | 3312.4202 | 0 | 0 | 0 | 0 | -29175.9205 | 0
58 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-31 | 0 - 20 | No | INC | 10 | 44957.25 | 44957.6667 | -2.8983 | 0 | 0 | 264.3795 | 0 | 0 | 0 | 0 | 0 | 0
59 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-01-14 | 37 | No | INC | 1 | 44940.3021 | 44940.3333 | 18.495 | 0 | 0 | -2348.8596 | 0.0575 | -7.3156 | 0 | 0 | -13.8453 | 0
60 | RT | Pump Management | PGAE | Fresno | 2023-01-02 | 0 | No | INC | 1 | 44928.9167 | 44928.9583 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | RT | Ramping Capacity | PGAE | Fresno | 2023-01-24 | 0 | No | INC | 3 | 44950.2049 | 44950.3299 | -20.4167 | 4531.58 | 0 | 0 | -20.4167 | 0 | 0 | 0 | 0 | 0
62 | RT | Ramping Capacity | SCE | LA Basin | 2023-01-04 | 194 | No | INC | 18 | 44930.1667 | 44930.9167 | -0.11042 | 0 | 0 | 18.751 | 0 | 0 | 0 | 0 | 0 | 0
63 | RT | Ramping Capacity | SCE | LA Basin | 2023-01-05 | 190 - 194 | No | INC | 16 | 44931.2708 | 44931.9167 | -32.6196 | 0 | 0 | 6343.4443 | 5.6733 | -1215.9825 | 0 | 0 | 0 | 0
64 | RT | Reliability Assessment | PGAE | Fresno | 2023-01-10 | 83 | No | INC | 2 | 44936.441 | 44936.5 | 12.0812 | 6168.355 | 0 | -3718.6561 | 0 | 0 | 0 | 0 | 0 | 0
65 | RT | Reliability Assessment | PGAE | Fresno | 2023-01-26 | 23 | No | INC | 1 | 44952.7396 | 44952.7708 | 12.49 | 7413.9675 | 1690.5825 | -1522.0924 | 0 | 0 | 0 | 0 | 0 | 0
66 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-01 | 15 | No | DEC | 24 | 44927 | 44928 | 1.3998 | 29847.7725 | 0 | -61.5477 | 0 | 0 | 0 | 0 | 0 | 0
67 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-01 | 15 | No | INC | 24 | 44927 | 44928 | 3.726 | 58037.4375 | 0 | -503.2822 | 0 | 0 | 0 | 0 | 0 | 0
68 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-02 | 15 | No | DEC | 24 | 44928 | 44929 | 7.1483 | -33248.603 | 0 | -2594.8167 | 0 | 0 | 0 | 0 | 0 | 0
69 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-02 | 15 | No | INC | 15 | 44928 | 44928.625 | 10.9904 | 53615.5075 | 0 | -3121.8488 | 0 | 0 | 0 | 0 | 0 | 0
70 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-03 | 15 | No | DEC | 24 | 44929 | 44930 | -25.5292 | -40476.7936 | 0 | 3706.2179 | 0 | 0 | 0 | 0 | 0 | 0
71 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-04 | 15 - 45 | No | DEC | 23 | 44930 | 44930.9583 | -2.3371 | -58231.5752 | 0 | 850.55 | 0 | 0 | 0 | 0 | 0 | 0
72 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-04 | 15 - 56 | No | INC | 24 | 44930 | 44931 | 9.7236 | 112838.22 | 0 | -1649.4865 | 0 | 0 | 0 | 0 | 0 | 0
73 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-05 | 30 - 60 | No | DEC | 19 | 44931.1667 | 44931.9583 | 6.9515 | -107017.5501 | 0 | -1390.8686 | -1.7998 | 0 | 87.5239 | 0 | 0 | 0
74 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-05 | 30 - 56 | No | INC | 24 | 44931 | 44932 | 6.0709 | 154130.5175 | 0 | -1408.7394 | -2.0638 | 0 | 100.3602 | 0 | 0 | 0
75 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-06 | 45 | No | DEC | 10 | 44932.5833 | 44933 | -1.1213 | -32647.1289 | 0 | 179.111 | 0 | 0 | 0 | 0 | 0 | 0
76 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-06 | 30 - 45 | No | INC | 24 | 44932 | 44933 | 2.3275 | 173497.9575 | 0 | -553.4601 | -3.16 | 0 | 138.6924 | 0 | 0 | 0
77 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-07 | 30 - 45 | No | INC | 24 | 44933 | 44934 | 2.3275 | 202315.72 | 0 | -808.5619 | -2.7367 | 0 | 124.0531 | 0 | 0 | 0
78 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-08 | 30 - 45 | No | INC | 24 | 44934 | 44935 | -1.2037 | 203564.565 | 0 | -132.0544 | -3.1217 | 0 | 141.5052 | 0 | 0 | 0
79 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-09 | 30 - 45 | No | DEC | 15 | 44935.25 | 44935.875 | 1.5595 | -62181.5919 | 0 | -297.1918 | -1.2242 | 0 | 55.4915 | 0 | 0 | 0
80 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-09 | 30 - 45 | No | INC | 24 | 44935 | 44936 | -5.2939 | 97411.31 | 0 | -17.8142 | -3.41 | 0 | 154.5753 | 0 | 0 | 0
81 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-10 | 30 - 60 | No | INC | 24 | 44936 | 44937 | -2.3344 | 270117.81 | 0 | -129.6895 | -6.9823 | 0 | 325.1653 | 0 | 0 | 0
82 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-11 | 30 - 45 | No | INC | 24 | 44937 | 44938 | 5.0863 | 290824.955 | 0 | -1156.8139 | -4.2258 | 0 | 208.8407 | 0 | 0 | 0
83 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-12 | 45 | No | DEC | 1 | 44938.7083 | 44938.75 | 1.5904 | 0 | 0 | -207.0004 | 0 | 0 | 0 | 0 | 0 | 0
84 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-12 | 30 - 45 | No | INC | 24 | 44938 | 44939 | -6.9917 | 272226.05 | 0 | 597.6024 | -4.1725 | 0 | 204.4942 | 0 | 0 | 0
85 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-13 | 30 - 45 | No | INC | 24 | 44939 | 44940 | -5.3642 | 406130.355 | 0 | 345.4135 | -3.16 | 0 | 211.7832 | 0 | 0 | 0
86 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-14 | 30 - 45 | No | INC | 24 | 44940 | 44941 | -4.8746 | 231567.4975 | 0 | 394.1813 | -1.8663 | 0 | 80.2674 | 0 | 0 | 0
87 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-15 | 30 - 45 | No | INC | 24 | 44941 | 44942 | -8.5612 | 145099.9925 | 0 | 504.6328 | -4.2804 | 0 | 184.1007 | 0 | 0 | 0
88 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-16 | 30 - 45 | No | INC | 19 | 44942 | 44942.7708 | 9.6436 | 115290.2608 | 0 | -1369.6477 | 0 | 0 | 0 | 0 | 0 | 0
89 | RT | Reliability Assessment | PGAE | Sierra | 2023-01-05 | 44 - 48.9 | No | DEC | 6 | 44931.7778 | 44932 | -7.4735 | 0 | 0 | -178.4318 | -9.075 | 0 | 3.63 | 0 | 0 | 0
90 | RT | Reliability Assessment | PGAE | Sierra | 2023-01-06 | 43 - 44 | No | INC | 18 | 44932 | 44932.7292 | -58.2479 | 0 | 0 | 1846.0825 | -46 | 0 | 18.4 | 0 | 0 | 0
91 | RT | Reliability Assessment | SCE | NA | 2023-01-04 | 125 | No | INC | 16 | 44930.3333 | 44931 | -12.8224 | 596623.97 | 113993.34 | 2623.4189 | 0 | 0 | 0 | 0 | 0 | 0
92 | RT | Reliability Assessment | SCE | NA | 2023-01-05 | 125 | No | DEC | 24 | 44931 | 44932 | 0.51474 | -51487.3674 | 0 | 155.3008 | 0 | 0 | 0 | 0 | 0 | 0
93 | RT | Reliability Assessment | SCE | NA | 2023-01-06 | 125 | No | DEC | 24 | 44932 | 44933 | 18.4486 | 21026.2875 | 0 | -2697.7783 | 0 | 0 | 0 | 0 | 0 | 0
94 | RT | Reliability Assessment | SCE | NA | 2023-01-06 | 125 | No | INC | 6 | 44932.375 | 44932.625 | 15.5822 | 19952.865 | 0 | -1204.1054 | 0 | 0 | 0 | 0 | 0 | 0
95 | RT | Reliability Assessment | SCE | NA | 2023-01-07 | 125 | No | DEC | 12 | 44933.0035 | 44933.5 | 12.7679 | 3006.1575 | 0 | -1144.8328 | 0 | 0 | 0 | 0 | 0 | 0
96 | RT | Reliability Assessment | SCE | NA | 2023-01-08 | 0 | No | DEC | 1 | 44934.5729 | 44934.5903 | -38.3369 | 0 | 0 | -347.5597 | -34.352 | 0 | -318.3225 | 0 | 0 | 0
97 | RT | Reliability Assessment | SCE | NA | 2023-01-09 | 10 | No | INC | 1 | 44935.6736 | 44935.6979 | -11.3791 | 0 | 0 | 1763.24 | 0 | 0 | 0 | 0 | 0 | 0
98 | RT | Reliability Assessment | SCE | NA | 2023-01-11 | 0 - 125 | No | DEC | 14 | 44937.25 | 44937.8333 | -202.2917 | 0 | 0 | 33861.4141 | 0 | 0 | 0 | 0 | 0 | 0
99 | RT | Reliability Assessment | SCE | NA | 2023-01-11 | 0 - 125 | No | INC | 23 | 44937 | 44937.9375 | -306.9404 | 137800.86 | 0 | 42363.8978 | 13.8554 | -2024.8699 | 0 | 0 | 0 | 0
100 | RT | Reliability Assessment | SCE | NA | 2023-01-22 | 375 - 440 | No | DEC | 5 | 44948.8125 | 44949 | -69.1466 | -79067.6425 | 0 | 7783.4495 | -26.0122 | 0 | 2014.9839 | 0 | 0 | 0
101 | RT | Reliability Assessment | SCE | NA | 2023-01-22 | 475 | No | INC | 2 | 44948.7535 | 44948.8125 | -201.3608 | -4867.995 | 0 | 25530.5299 | -5.7817 | 0 | 0 | 0 | 0 | 0
102 | RT | Reliability Assessment | SCE | NA | 2023-01-23 | 375 - 390 | No | DEC | 7 | 44949 | 44949.2917 | -78.0024 | 0 | 0 | 10868.6031 | -47.4197 | 0 | 5539.3761 | 0 | 0 | 0
103 | RT | Reliability Assessment | SCE | NA | 2023-01-23 | 390 | No | INC | 1 | 44949.2917 | 44949.3333 | -29.7238 | 0 | 0 | 4729.086 | 0 | 0 | 0 | 0 | 0 | 0
104 | RT | Reliability Assessment | SCE | NA | 2023-01-31 | 380 - 390 | No | DEC | 8 | 44957.6979 | 44958 | -62.0309 | 7201.7258 | 0 | 4201.5143 | -60.5942 | 0 | 3678.3414 | 0 | 0 | 0
105 | RT | Reliability Assessment | SDGE | San Diego-IV | 2023-01-11 | -60 | No | DEC | 1 | 44937.6111 | 44937.6354 | 19.8861 | 0 | 0 | -3021.0934 | 3.3333 | -485.0667 | 0 | 0 | 0 | 0
106 | RT | Reliability Assessment | SDGE | NA | 2023-01-04 | 50 | No | DEC | 1 | 44930.4792 | 44930.5 | -68.5549 | 0 | 0 | 1765.7133 | -43.265 | 0 | 17.306 | 0 | 0 | 0
107 | RT | Software Limitation | PGAE | Fresno | 2023-01-12 | 200 | No | INC | 1 | 44938.7812 | 44938.7847 | -15.1146 | 1055.4733 | 0 | 1709.4691 | -12.8646 | 0 | 1387.4948 | 0 | 0 | 0
108 | RT | Software Limitation | PGAE | Fresno | 2023-01-14 | 83 | No | INC | 1 | 44940.7917 | 44940.8125 | 0.87481 | 6168.355 | 0 | -120.6406 | 0 | 0 | 0 | 0 | 0 | 0
109 | RT | Software Limitation | PGAE | Fresno | 2023-01-22 | 25.44 | No | INC | 1 | 44948.7986 | 44948.8368 | 17.5465 | 5403.782 | 0 | -2930.5095 | 0 | 0 | 0 | 0 | 0 | 0
110 | RT | Software Limitation | PGAE | Fresno | 2023-01-24 | 14 - 35 | No | INC | 1 | 44950.0903 | 44950.1285 | 49.953 | 23439.3505 | 0 | -7983.0812 | 0 | 0 | 0 | 0 | 0 | 0
111 | RT | Software Limitation | PGAE | Fresno | 2023-01-29 | 0 | No | INC | 4 | 44955.4479 | 44955.5938 | 13.75 | 0 | 0 | -1563.6237 | 0 | 0 | 0 | 0 | 0 | 0
112 | RT | Software Limitation | SCE | Big Creek-Ventura | 2023-01-31 | 0 | No | INC | 1 | 44957.1146 | 44957.1562 | -8 | 968.685 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0
113 | RT | Software Limitation | SCE | LA Basin | 2023-01-12 | 500 | No | DEC | 2 | 44938.7778 | 44938.8333 | 29.6465 | 0 | 0 | -4333.7077 | 31.7209 | -4877.8447 | 0 | 0 | 0 | 0
114 | RT | Software Limitation | SCE | LA Basin | 2023-01-18 | 0 | No | INC | 13 | 44944.1771 | 44944.7083 | -5 | 2568.76 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0
115 | RT | Software Limitation | SDGE | San Diego-IV | 2023-01-24 | 30 | No | INC | 1 | 44950.0903 | 44950.1285 | 20.1083 | 12061.7911 | 0 | -3202.5637 | 0 | 0 | 0 | 0 | 0 | 0
116 | RT | Unit Testing | PGAE | Bay Area | 2023-01-04 | 615 | No | INC | 1 | 44930.0174 | 44930.0382 | 18.2107 | -44216.7625 | 0 | -4325.3395 | 18.1159 | -4308.1477 | 0 | 0 | 0 | 0
117 | RT | Unit Testing | PGAE | Bay Area | 2023-01-10 | 0 - 529.51 | No | INC | 12 | 44936.0104 | 44936.4722 | 34.28 | 5274.415 | 0 | -7876.7638 | -5.745 | -3672.2071 | 0 | 0 | 0 | 0
118 | RT | Unit Testing | PGAE | Fresno | 2023-01-05 | 68 | No | INC | 1 | 44931.0486 | 44931.0729 | 0.94511 | 122.86 | 0 | -309.7205 | 0.972 | -313.7422 | 0 | 0 | 0 | 0
119 | RT | Unit Testing | PGAE | Fresno | 2023-01-11 | 59 | No | INC | 1 | 44937.3021 | 44937.3299 | 28.2708 | 0 | 0 | -5445.75 | 28.8854 | -5550.0336 | 0 | 0 | 0 | 0
120 | RT | Unit Testing | PGAE | Fresno | 2023-01-21 | 404 | No | INC | 1 | 44947.2674 | 44947.2986 | 132.2542 | 0 | 0 | -28741.8449 | 13 | -12142.65 | 0 | 0 | 0 | 0
121 | RT | Unit Testing | PGAE | NA | 2023-01-04 | 49.76 - 621 | No | INC | 2 | 44930.1354 | 44930.2188 | 44.4172 | -24722.855 | 0 | -9048.0565 | 46.0682 | -9336.3715 | 0 | 0 | 0 | 0
122 | RT | Unit Testing | PGAE | NA | 2023-01-05 | 244 | No | DEC | 1 | 44931.9896 | 44932 | 0.93 | 0 | 0 | -300.1854 | 0.93 | -300.1854 | 0 | 0 | 0 | 0
123 | RT | Unit Testing | PGAE | NA | 2023-01-06 | 244 | No | DEC | 1 | 44932 | 44932.0104 | 1 | 0 | 0 | -271.33 | 1 | -271.33 | 0 | 0 | 0 | 0
124 | RT | Unit Testing | PGAE | NA | 2023-01-06 | 55.18 | No | INC | 1 | 44932.191 | 44932.2188 | 5.9799 | 0 | 0 | -882.8115 | 6.1271 | -904.7827 | 0 | 0 | 0 | 0
125 | RT | Unit Testing | PGAE | NA | 2023-01-10 | 458.3 | No | DEC | 1 | 44936.6493 | 44936.6806 | -7.1307 | 0 | 0 | 937.868 | -2.3167 | 0 | 295.0671 | 0 | 0 | 0
126 | RT | Unit Testing | PGAE | NA | 2023-01-19 | 49.76 | No | INC | 1 | 44945.3646 | 44945.3924 | 31.32 | 0 | 0 | -4514.649 | 8.1135 | -1091.2631 | 0 | 0 | 0 | 0
127 | RT | Unit Testing | SCE | Big Creek-Ventura | 2023-01-06 | 46.27 | No | INC | 1 | 44932.7222 | 44932.7535 | 22.7919 | 33361.4903 | 0 | -3597.8782 | 0 | 0 | 0 | 0 | 0 | 0
128 | RT | Unit Testing | SCE | Big Creek-Ventura | 2023-01-11 | 99.41 | No | INC | 1 | 44937.2222 | 44937.25 | 23.3052 | 0 | 0 | -3711.5398 | 23.2593 | -3704.8986 | 0 | 0 | 0 | 0
129 | RT | Unit Testing | SCE | Big Creek-Ventura | 2023-01-13 | 4.76 | No | INC | 1 | 44939.6389 | 44939.6667 | 2.8658 | 0 | 0 | -449.6633 | 3.0742 | -485.9768 | 0 | 0 | 0 | 0
130 | RT | Unit Testing | SCE | Big Creek-Ventura | 2023-01-31 | 43.5 | No | INC | 1 | 44957.0347 | 44957.066 | 24.4521 | 10978.43 | 0 | -3223.3215 | 15.4052 | -2032.3401 | 0 | 0 | 0 | 0
131 | RT | Unit Testing | SCE | LA Basin | 2023-01-04 | 368.1 | No | DEC | 1 | 44930.4306 | 44930.4583 | 53.7992 | -34503.03 | 0 | -9238.9307 | 53.7992 | -9238.9307 | 0 | 0 | 0 | 0
132 | RT | Unit Testing | SCE | LA Basin | 2023-01-12 | 43 - 556.7 | No | INC | 12 | 44938.0208 | 44938.4931 | 160.0203 | -5999.721 | 0 | -19158.2045 | 134.501 | -18406.1363 | 0 | 0 | 0 | 0
133 | RT | Unit Testing | SCE | San Diego-IV | 2023-01-05 | 2 | No | INC | 1 | 44931.9479 | 44931.9618 | 0.29548 | 0 | 0 | -38.0362 | 0.29833 | -38.4033 | 0 | 0 | 0 | 0
134 | RT | Unit Testing | SCE | San Diego-IV | 2023-01-10 | 3.4 | No | DEC | 1 | 44936.2917 | 44936.3021 | 0.81284 | 0 | 0 | -130.9212 | 0.81458 | -131.2078 | 0 | 0 | 0 | 0
135 | RT | Unit Testing | SCE | San Diego-IV | 2023-01-10 | 0 - 3.4 | No | INC | 6 | 44936.0521 | 44936.2917 | 4.7029 | 0 | 0 | -589.9745 | 4.7125 | -601.1543 | 0.041 | 0 | 0 | 0
136 | RT | Unit Testing | SCE | San Diego-IV | 2023-01-28 | 4 | No | INC | 1 | 44954.9722 | 44955 | 2.5365 | 0 | 0 | -235.055 | 2.5368 | -235.0708 | 0 | 0 | 0 | 0
137 | RT | Unit Testing | SCE | NA | 2023-01-07 | 39.88 | No | INC | 1 | 44933.3021 | 44933.3299 | 25.3362 | 0 | 0 | -3274.5978 | 25.3304 | -3273.9361 | 0 | 0 | 0 | 0
138 | RT | Unit Testing | SCE | NA | 2023-01-18 | 25 | No | INC | 1 | 44944.7188 | 44944.7465 | 4.7396 | 0 | 0 | -924.1259 | 5 | -972.2209 | 0 | 0 | 0 | 0
139 | RT | Unit Testing | SDGE | San Diego-IV | 2023-01-11 | 247.4 | No | INC | 1 | 44937.6354 | 44937.6597 | 33.7467 | 0 | 0 | -5981.7958 | 34.1112 | -6042.1257 | 0 | 0 | 0 | 0
140 | RT | Unit Testing | SDGE | San Diego-IV | 2023-01-12 | 263.93 | No | INC | 1 | 44938.0625 | 44938.0903 | 19.3192 | -20995.0933 | 0 | -4483.3989 | 19.3192 | -4483.3989 | 0 | 0 | 0 | 0
141 | RT | Unit Testing | SDGE | San Diego-IV | 2023-01-14 | 7.5 | No | INC | 1 | 44940.934 | 44940.9549 | 4.396 | 0 | 0 | -588.7096 | 4.2969 | -575.1443 | 0 | 0 | 0 | 0
142 | RT | Unplanned Outage | PGAE | Stockton | 2023-01-19 | 65 | No | DEC | 4 | 44945.7049 | 44945.8333 | -3.4736 | 0 | 0 | 453.4935 | 0 | 0 | 0 | 0 | 0 | 0
143 | RT | Unplanned Outage | SDGE | San Diego-IV | 2023-01-01 | 155 | No | INC | 9 | 44927.3229 | 44927.6667 | -14.6667 | 206005.3875 | 24035.18 | 1527.9897 | 0 | 0 | 0 | 0 | 0 | 0
144 | RT | Voltage Support | PGAE | Bay Area | 2023-01-25 | 142 | No | INC | 5 | 44951.4167 | 44951.625 | -3.5375 | 122535.25 | 0 | 197.1106 | 0 | 0 | 0 | 0 | 0 | 0
145 | RT | Voltage Support | PGAE | Bay Area | 2023-01-26 | 141.02 | No | INC | 5 | 44952.4167 | 44952.625 | -163.818 | 106275.9 | 0 | 8217.6333 | 0 | 0 | 0 | 0 | 0 | 0
146 | RT | Voltage Support | PGAE | Fresno | 2023-01-01 | -330 | No | DEC | 14 | 44927 | 44927.5833 | -434.6708 | 0 | 0 | 51258.2397 | 0 | 0 | 0 | 0 | 0 | 0
147 | RT | Voltage Support | PGAE | Fresno | 2023-01-01 | 83 - 85 | Yes | INC | 7 | 44927.6597 | 44927.9167 | 115.3958 | 66353.7475 | 0 | -15805.6332 | 1.2917 | -140.1768 | 0 | 0 | -540.4258 | 0
148 | RT | Voltage Support | PGAE | Fresno | 2023-01-02 | -330 | No | DEC | 24 | 44928 | 44929 | 14.6458 | 0 | 0 | -2143.1102 | 0 | 0 | 0 | 0 | 0 | 0
149 | RT | Voltage Support | PGAE | Fresno | 2023-01-03 | -20 | No | DEC | 24 | 44929 | 44930 | 4.0417 | 0 | 0 | -795.378 | 0 | 0 | 0 | 0 | 0 | 0
150 | RT | Voltage Support | PGAE | Fresno | 2023-01-04 | -20 | No | DEC | 24 | 44930 | 44931 | 9.4167 | 0 | 0 | -1536.0553 | 0 | 0 | 0 | 0 | 0 | 0
151 | RT | Voltage Support | PGAE | Fresno | 2023-01-04 | 83 | Yes | INC | 12 | 44930.2188 | 44930.7083 | -70.1533 | 85973.1158 | 0 | 12157.7157 | 0 | 0 | 0 | 0 | 0 | 0
152 | RT | Voltage Support | PGAE | Fresno | 2023-01-05 | -330 | No | DEC | 15 | 44931 | 44931.625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
153 | RT | Voltage Support | PGAE | Fresno | 2023-01-06 | -330 | No | DEC | 15 | 44932.0208 | 44932.625 | -279.975 | 4537.5 | 0 | 45429.0813 | -20.75 | 0 | 3390.8873 | 0 | 0 | 0
154 | RT | Voltage Support | PGAE | Fresno | 2023-01-07 | -330 | No | DEC | 24 | 44933.0312 | 44934 | 21.6958 | 0 | 0 | -3201.4455 | 0 | 0 | 0 | 0 | 0 | 0
155 | RT | Voltage Support | PGAE | Fresno | 2023-01-07 | 0 | No | INC | 1 | 44933.8958 | 44933.9375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
156 | RT | Voltage Support | PGAE | Fresno | 2023-01-08 | -330 | No | DEC | 15 | 44934 | 44934.625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
157 | RT | Voltage Support | PGAE | Fresno | 2023-01-09 | -330 | No | DEC | 24 | 44935.0208 | 44936 | -11.3375 | 0 | 0 | 1425.0554 | 0 | 0 | 0 | 0 | 0 | 0
158 | RT | Voltage Support | PGAE | Fresno | 2023-01-09 | 0 | No | INC | 1 | 44935 | 44935.0417 | -95 | 0 | 0 | 12311.5475 | -95 | 0 | 12311.5475 | 0 | -5193.9477 | 0
159 | RT | Voltage Support | PGAE | Fresno | 2023-01-10 | -330 | No | DEC | 24 | 44936 | 44937 | -145.1302 | 0 | 0 | 21098.9451 | 0 | 0 | 0 | 0 | 0 | 0
160 | RT | Voltage Support | PGAE | Fresno | 2023-01-11 | -330 | No | DEC | 10 | 44937 | 44937.4167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
161 | RT | Voltage Support | PGAE | Fresno | 2023-01-11 | 0 | No | INC | 1 | 44937.9792 | 44938 | -174.3 | 3166.42 | 0 | 23039.5698 | -174.3 | 0 | 23039.5698 | 0 | -10479.285 | 0
162 | RT | Voltage Support | PGAE | Fresno | 2023-01-12 | -330 | No | DEC | 24 | 44938 | 44939 | -222.7708 | 0 | 0 | 35040.2365 | 0 | 0 | 0 | 0 | 0 | 0
163 | RT | Voltage Support | PGAE | Fresno | 2023-01-12 | 0 | No | INC | 1 | 44938 | 44938.0208 | -89.3 | 3166.42 | 0 | 13650.362 | -89.3 | 0 | 13650.362 | 0 | -7130.3871 | 0
164 | RT | Voltage Support | PGAE | Fresno | 2023-01-13 | -330 | No | DEC | 6 | 44939 | 44939.2292 | -165 | 0 | 0 | 29640.3495 | 0 | 0 | 0 | 0 | 0 | 0
165 | RT | Voltage Support | PGAE | Fresno | 2023-01-14 | -330 | No | DEC | 15 | 44940.0104 | 44940.625 | 16.2667 | 0 | 0 | -2282.9284 | 0 | 0 | 0 | 0 | 0 | 0
166 | RT | Voltage Support | PGAE | Fresno | 2023-01-15 | -330 | No | DEC | 15 | 44941.0312 | 44941.625 | -148.925 | 0 | 0 | 20227.0391 | 0 | 0 | 0 | 0 | 0 | 0
167 | RT | Voltage Support | PGAE | Fresno | 2023-01-16 | -330 | No | DEC | 6 | 44942.0208 | 44942.25 | 10.85 | 0 | 0 | -1360.7289 | 0 | 0 | 0 | 0 | 0 | 0
168 | RT | Voltage Support | PGAE | Fresno | 2023-01-17 | -330 | No | DEC | 24 | 44943.0208 | 44944 | 7.9708 | 0 | 0 | -1328.5021 | 0 | 0 | 0 | 0 | 0 | 0
169 | RT | Voltage Support | PGAE | Fresno | 2023-01-18 | -330 | No | DEC | 24 | 44944 | 44945 | -73.125 | 0 | 0 | 11869.8685 | 0 | 0 | 0 | 0 | 0 | 0
170 | RT | Voltage Support | PGAE | Fresno | 2023-01-19 | -330 | No | DEC | 24 | 44945 | 44946 | 3.975 | 0 | 0 | -830.6609 | 0 | 0 | 0 | 0 | 0 | 0
171 | RT | Voltage Support | PGAE | Fresno | 2023-01-20 | -330 | No | DEC | 24 | 44946 | 44947 | -71.875 | 0 | 0 | 14059.9613 | 0 | 0 | 0 | 0 | 0 | 0
172 | RT | Voltage Support | PGAE | Fresno | 2023-01-20 | 0 | No | INC | 2 | 44946.875 | 44946.9375 | -203.5 | 3084.1775 | 0 | 33881.4449 | -203.5 | 0 | 33881.4449 | 0 | -17932.5852 | 0
173 | RT | Voltage Support | PGAE | Fresno | 2023-01-21 | -330 | No | DEC | 24 | 44947 | 44948 | -376.2208 | 0 | 0 | 52608.4224 | 0 | 0 | 0 | 0 | 0 | 0
174 | RT | Voltage Support | PGAE | Fresno | 2023-01-21 | -413 | Yes | INC | 8 | 44947.6215 | 44947.9167 | -275.2196 | 15420.8875 | 0 | 30672.242 | -265.885 | 0 | 30434.6242 | 0 | -11599.8154 | 0
175 | RT | Voltage Support | PGAE | Fresno | 2023-01-22 | -330 | No | DEC | 17 | 44948 | 44948.6875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
176 | RT | Voltage Support | PGAE | Fresno | 2023-01-22 | -330 | No | INC | 1 | 44948.6458 | 44948.6667 | -13.75 | 0 | 0 | 1722.1194 | 0 | 0 | 0 | 0 | 0 | 0
177 | RT | Voltage Support | PGAE | Fresno | 2023-01-23 | -330 | No | DEC | 5 | 44949.0312 | 44949.2292 | -71.6542 | 0 | 0 | 11288.2071 | 0 | 0 | 0 | 0 | 0 | 0
178 | RT | Voltage Support | PGAE | Fresno | 2023-01-24 | -330 | No | DEC | 2 | 44950.1215 | 44950.1875 | -187.1708 | 0 | 0 | 33745.6805 | 0 | 0 | 0 | 0 | 0 | 0
179 | RT | Voltage Support | PGAE | Fresno | 2023-01-26 | -330 | No | DEC | 24 | 44952.0312 | 44953 | -148.7167 | 0 | 0 | 19316.2305 | 0 | 0 | 0 | 0 | 0 | 0
180 | RT | Voltage Support | PGAE | Fresno | 2023-01-26 | 23 | No | INC | 6 | 44952.7569 | 44953 | 0.045833 | 31782.3217 | 1314.8975 | -5.5073 | 0 | 0 | 0 | 0 | -143.0577 | 0
181 | RT | Voltage Support | PGAE | Fresno | 2023-01-27 | -330 | No | DEC | 6 | 44953 | 44953.2292 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
182 | RT | Voltage Support | PGAE | Fresno | 2023-01-27 | 23 | No | INC | 10 | 44953 | 44953.4167 | -0.21792 | 31355.25 | 0 | 0.8683 | 0 | 0 | 0 | 0 | -109.6968 | 0
183 | RT | Voltage Support | PGAE | Fresno | 2023-01-28 | -330 | No | DEC | 9 | 44954.0069 | 44954.375 | -242.1708 | 0 | 0 | 23871.9058 | 0 | 0 | 0 | 0 | 0 | 0
184 | RT | Voltage Support | PGAE | Fresno | 2023-01-28 | 21 - 83 | Yes | INC | 17 | 44954.0069 | 44954.7083 | 12.1277 | 34808.7625 | 0 | -1145.6341 | 0.14438 | -13.3208 | 0 | 0 | -145.2045 | 0
185 | RT | Voltage Support | PGAE | Fresno | 2023-01-29 | -330 | No | DEC | 23 | 44955.0417 | 44956 | 20 | 0 | 0 | -2447.6405 | 0 | 0 | 0 | 0 | 0 | 0
186 | RT | Voltage Support | PGAE | Fresno | 2023-01-29 | -413 | No | INC | 11 | 44955.5729 | 44956 | -13.6029 | 9252.5325 | 0 | 1074.6617 | 0 | 0 | 0 | 0 | 0 | 0
187 | RT | Voltage Support | PGAE | Fresno | 2023-01-30 | -330 | No | DEC | 5 | 44956 | 44956.2083 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
188 | RT | Voltage Support | PGAE | Fresno | 2023-01-31 | -330 | No | DEC | 4 | 44957.0312 | 44957.1979 | 10.85 | 0 | 0 | -1373.2681 | 0 | 0 | 0 | 0 | 0 | 0
189 | RT | Voltage Support | PGAE | Humboldt | 2023-01-16 | 15 - 30 | No | DEC | 6 | 44942.7708 | 44943 | -3.8461 | 2961.215 | 0 | 633.3367 | 0 | 0 | 0 | 0 | 0 | 0
190 | RT | Voltage Support | PGAE | Humboldt | 2023-01-16 | 15 - 45 | No | INC | 18 | 44942.2674 | 44943 | 8.2745 | 57052.82 | 0 | -1371.5765 | 0 | 0 | 0 | 0 | 0 | 0
191 | RT | Voltage Support | PGAE | Humboldt | 2023-01-17 | 15 - 30 | No | DEC | 24 | 44943 | 44944 | 5.5575 | 19745.7796 | 0 | -2352.2629 | 0 | 0 | 0 | 0 | 0 | 0
192 | RT | Voltage Support | PGAE | Humboldt | 2023-01-17 | 15 - 30 | No | INC | 24 | 44943 | 44944 | 3.3654 | 78176.315 | 0 | -1154.2214 | 0 | 0 | 0 | 0 | 0 | 0
193 | RT | Voltage Support | PGAE | Humboldt | 2023-01-18 | 15 | No | DEC | 24 | 44944 | 44945 | 0.67792 | 0 | 0 | -123.3551 | 0 | 0 | 0 | 0 | 0 | 0
194 | RT | Voltage Support | PGAE | Humboldt | 2023-01-18 | 15 - 30 | No | INC | 24 | 44944 | 44945 | 7.9746 | 123977.62 | 0 | -1244.5668 | 0 | 0 | 0 | 0 | 0 | 0
195 | RT | Voltage Support | PGAE | Humboldt | 2023-01-19 | 15 | No | DEC | 24 | 44945 | 44946 | -4.1333 | 0 | 0 | 764.968 | 0 | 0 | 0 | 0 | 0 | 0
196 | RT | Voltage Support | PGAE | Humboldt | 2023-01-19 | 15 - 32 | No | INC | 24 | 44945 | 44946 | 6.6846 | 108278.115 | 0 | -1062.2204 | 0 | 0 | 0 | 0 | 0 | 0
197 | RT | Voltage Support | PGAE | Humboldt | 2023-01-20 | 15 - 30 | No | DEC | 23 | 44946 | 44946.9583 | 1.3558 | -26372.7684 | 0 | -163.4917 | 0 | 0 | 0 | 0 | 0 | 0
198 | RT | Voltage Support | PGAE | Humboldt | 2023-01-20 | 15 - 30 | No | INC | 24 | 44946 | 44947 | 4.0587 | 49834.67 | 0 | -563.893 | 0 | 0 | 0 | 0 | 0 | 0
199 | RT | Voltage Support | PGAE | Humboldt | 2023-01-21 | 15 | No | DEC | 15 | 44947.4062 | 44948 | -4.775 | 9399.0225 | 0 | 594.8566 | 0 | 0 | 0 | 0 | 0 | 0
200 | RT | Voltage Support | PGAE | Humboldt | 2023-01-21 | 15 - 30 | No | INC | 24 | 44947 | 44948 | -0.40729 | 79062.4375 | 0 | 85.1837 | 0 | 0 | 0 | 0 | 0 | 0
201 | RT | Voltage Support | PGAE | Humboldt | 2023-01-22 | 15 | No | DEC | 24 | 44948 | 44949 | -8.9083 | 29855.7175 | 0 | 1195.69 | 0 | 0 | 0 | 0 | 0 | 0
202 | RT | Voltage Support | PGAE | Humboldt | 2023-01-22 | 15 | No | INC | 24 | 44948 | 44949 | -0.34146 | 68004.7875 | 0 | 53.0791 | 0 | 0 | 0 | 0 | 0 | 0
203 | RT | Voltage Support | PGAE | Humboldt | 2023-01-23 | 15 - 30 | No | DEC | 24 | 44949 | 44950 | -2.4037 | -92039.7396 | 0 | 317.1929 | 0 | 0 | 0 | 0 | 0 | 0
204 | RT | Voltage Support | PGAE | Humboldt | 2023-01-23 | 15 - 30 | No | INC | 16 | 44949 | 44949.6667 | 1.0583 | 46442.26 | 0 | -59.4706 | 0 | 0 | 0 | 0 | -0.050941 | 0
205 | RT | Voltage Support | PGAE | Humboldt | 2023-01-24 | 15 - 30 | No | DEC | 24 | 44950 | 44951 | -2.8175 | -90181.8909 | 0 | 418.4849 | 0 | 0 | 0 | 0 | 0 | 0
206 | RT | Voltage Support | PGAE | Humboldt | 2023-01-24 | 30 | No | INC | 16 | 44950.3333 | 44951 | -0.21167 | 41842.44 | 0 | 9.622 | 0 | 0 | 0 | 0 | 0 | 0
207 | RT | Voltage Support | PGAE | Humboldt | 2023-01-25 | 15 - 45 | No | DEC | 22 | 44951 | 44951.9167 | 6.0818 | -30061.6779 | 0 | -1218.7154 | 0 | 0 | 0 | 0 | 0 | 0
208 | RT | Voltage Support | PGAE | Humboldt | 2023-01-25 | 30 - 45 | No | INC | 24 | 44951 | 44952 | 8.8198 | 132350.195 | 0 | -1861.2399 | 0 | 0 | 0 | 0 | 0 | 0
209 | RT | Voltage Support | PGAE | Humboldt | 2023-01-26 | 14 - 30 | No | INC | 24 | 44952 | 44953 | -9.8742 | 99438.825 | 0 | 436.4345 | 0 | 0 | 0 | 0 | 0 | 0
210 | RT | Voltage Support | PGAE | Humboldt | 2023-01-27 | 15 | No | INC | 7 | 44953 | 44953.2917 | 0 | 9083.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
211 | RT | Voltage Support | PGAE | Kern | 2023-01-01 | 32 | Yes | INC | 24 | 44927 | 44928 | 64 | 110906.74 | 0 | -7253.6861 | 0 | 0 | 0 | 0 | 0 | 0
212 | RT | Voltage Support | PGAE | Kern | 2023-01-02 | 32 | No | INC | 7 | 44928 | 44928.2917 | 13.9958 | 55453.37 | 0 | -3411.8091 | 0 | 0 | 0 | 0 | 0 | 0
213 | RT | Voltage Support | PGAE | Kern | 2023-01-14 | 32 | Yes | INC | 4 | 44940.2292 | 44940.3958 | 0.22083 | 31844.56 | 15040.32 | -25.9492 | 0 | 0 | 0 | 0 | 0 | 0
214 | RT | Voltage Support | PGAE | Kern | 2023-01-21 | 32 | Yes | INC | 20 | 44947.2014 | 44948 | 3.3875 | 155295.21 | 26535.4993 | -385.9356 | 0 | 0 | 0 | 0 | 0 | 0
215 | RT | Voltage Support | PGAE | Kern | 2023-01-22 | 32 | No | INC | 24 | 44948 | 44949 | -6.1836 | 337878.98 | 0 | 1000.5251 | 0 | 0 | 0 | 0 | 0 | 0
216 | RT | Voltage Support | PGAE | Kern | 2023-01-23 | 32 - 38 | No | INC | 24 | 44949 | 44950 | -36.0983 | 341062.628 | 0 | 6314.4899 | 0.072917 | -9.4299 | 0 | 0 | -236.5589 | 0
217 | RT | Voltage Support | PGAE | Kern | 2023-01-24 | 32 - 37 | Yes | INC | 7 | 44950 | 44950.2917 | -12.89 | 116003.23 | 0 | 2531.8885 | 0 | 0 | 0 | 0 | 0 | 0
218 | RT | Voltage Support | PGAE | Kern | 2023-01-26 | 32.01 | No | INC | 6 | 44952.7812 | 44953 | 5.0079 | 41546.682 | 14134.98 | -584.8614 | 0 | 0 | 0 | 0 | -0.66104 | 0
219 | RT | Voltage Support | PGAE | Kern | 2023-01-27 | 32.01 | No | INC | 7 | 44953 | 44953.2917 | -2.6968 | 30332.008 | 0 | 287.6551 | 0 | 0 | 0 | 0 | 0 | 0
220 | RT | Voltage Support | PGAE | Kern | 2023-01-28 | 32 | No | INC | 22 | 44954.1146 | 44955 | 3.2042 | 124044.6125 | 11587.25 | -299.902 | 0 | 0 | 0 | 0 | 0 | 0
221 | RT | Voltage Support | PGAE | Kern | 2023-01-29 | 32 | No | INC | 24 | 44955 | 44956 | -34.1917 | 140457.36 | 0 | 4449.8303 | 0 | 0 | 0 | 0 | 0 | 0
222 | RT | Voltage Support | PGAE | Kern | 2023-01-30 | 32 | No | INC | 7 | 44956 | 44956.2917 | -0.41667 | 40966.73 | 0 | 69.1996 | 0 | 0 | 0 | 0 | 0 | 0
223 | RT | Voltage Support | PGAE | Sierra | 2023-01-01 | 20 | No | DEC | 1 | 44927.875 | 44927.9167 | 4.8485 | 0 | 0 | -696.854 | 0 | 0 | 0 | 0 | 0 | 0
224 | RT | Voltage Support | PGAE | Sierra | 2023-01-01 | 20 | No | INC | 6 | 44927.7569 | 44928 | -34.6581 | 12996.2167 | 0 | 4422.524 | 0 | 0 | 0 | 0 | 0 | 0
225 | RT | Voltage Support | PGAE | Sierra | 2023-01-02 | 20 | No | DEC | 3 | 44928.875 | 44929 | 5.08 | 0 | 0 | -935.7591 | 0 | 0 | 0 | 0 | 0 | 0
226 | RT | Voltage Support | PGAE | Sierra | 2023-01-02 | 20 | No | INC | 24 | 44928 | 44929 | 26.7408 | 51400.275 | 0 | -4308.1035 | 0 | 0 | 0 | 0 | 0 | 0
227 | RT | Voltage Support | PGAE | Sierra | 2023-01-03 | 20 | Yes | DEC | 24 | 44929 | 44930 | -9.1338 | 0 | 0 | 2118.2432 | 0 | 0 | 0 | 0 | 0 | 0
228 | RT | Voltage Support | PGAE | Sierra | 2023-01-03 | 20 | Yes | INC | 18 | 44929.125 | 44929.875 | 9.3463 | 11492.7 | 0 | -2374.3006 | 0 | 0 | 0 | 0 | 0 | 0
229 | RT | Voltage Support | PGAE | Sierra | 2023-01-04 | 20 | No | INC | 24 | 44930 | 44931 | 1.8952 | 99207.54 | 0 | -894.0637 | 0 | 0 | 0 | 0 | 0 | 0
230 | RT | Voltage Support | PGAE | Sierra | 2023-01-05 | 20 | No | DEC | 17 | 44931.2083 | 44931.9167 | 33.584 | 0 | 0 | -6836.6586 | 0 | 0 | 0 | 0 | 0 | 0
231 | RT | Voltage Support | PGAE | Sierra | 2023-01-05 | 20 | No | INC | 24 | 44931 | 44932 | -20.2485 | 48219.29 | 0 | 2608.5576 | 0 | 0 | 0 | 0 | 0 | 0
232 | RT | Voltage Support | PGAE | Sierra | 2023-01-06 | 20 | No | DEC | 1 | 44932.2083 | 44932.25 | 1.965 | -6250.97 | 0 | -302.525 | 0 | 0 | 0 | 0 | 0 | 0
233 | RT | Voltage Support | PGAE | Sierra | 2023-01-06 | 20 | No | INC | 8 | 44932 | 44932.3333 | -9.6342 | 15701.3625 | 1129.72 | 1122.7958 | 0 | 0 | 0 | 0 | 0 | 0
234 | RT | Voltage Support | PGAE | Sierra | 2023-01-14 | 20 | No | INC | 10 | 44940.0278 | 44940.4167 | 38.4344 | 25155.8 | 0 | -7243.5682 | 0 | 0 | 0 | 0 | 0 | 0
235 | RT | Voltage Support | PGAE | Sierra | 2023-01-18 | 20 | No | DEC | 18 | 44944.2083 | 44944.9583 | -10.8686 | 1.56 | 0 | 1594.2695 | 0 | 0 | 0 | 0 | 0 | 0
236 | RT | Voltage Support | PGAE | Sierra | 2023-01-18 | 20 | No | INC | 24 | 44944 | 44945 | 8.9627 | 6337.44 | 0 | -2076.3595 | 0 | 0 | 0 | 0 | 0 | 0
237 | RT | Voltage Support | PGAE | Sierra | 2023-01-19 | 20 | No | DEC | 17 | 44945.2083 | 44945.9167 | -62.6675 | 0 | 0 | 8860.0413 | 0 | 0 | 0 | 0 | 0 | 0
238 | RT | Voltage Support | PGAE | Sierra | 2023-01-19 | 20 | No | INC | 24 | 44945 | 44946 | 0.684 | -100 | 0 | -151.2286 | 0 | 0 | 0 | 0 | 0 | 0
239 | RT | Voltage Support | PGAE | Sierra | 2023-01-20 | 20 | No | DEC | 19 | 44946.2083 | 44947 | -37.5575 | 0 | 0 | 4612.2406 | 0 | 0 | 0 | 0 | 0 | 0
240 | RT | Voltage Support | PGAE | Sierra | 2023-01-20 | 20 | No | INC | 21 | 44946 | 44946.875 | -45.6311 | -9.36 | 0 | 5666.9163 | 0 | 0 | 0 | 0 | 0 | 0
241 | RT | Voltage Support | PGAE | Sierra | 2023-01-21 | 20 | No | DEC | 23 | 44947 | 44947.9583 | -71.4774 | 0 | 0 | 8104.2616 | 0 | 0 | 0 | 0 | 0 | 0
242 | RT | Voltage Support | PGAE | Sierra | 2023-01-21 | 20 | No | INC | 23 | 44947.0417 | 44948 | -32.4728 | 14929.575 | 0 | 3698.9808 | 0 | 0 | 0 | 0 | 0 | 0
243 | RT | Voltage Support | PGAE | Sierra | 2023-01-22 | 20 | No | DEC | 6 | 44948.7083 | 44948.9583 | -33.6828 | 0 | 0 | 3855.3938 | 0 | 0 | 0 | 0 | 0 | 0
244 | RT | Voltage Support | PGAE | Sierra | 2023-01-22 | 20 | No | INC | 24 | 44948 | 44949 | -9.65 | 17915.49 | 0 | 994.3795 | 0 | 0 | 0 | 0 | 0 | 0
245 | RT | Voltage Support | PGAE | Sierra | 2023-01-23 | 20 | No | DEC | 1 | 44949.2083 | 44949.25 | 8.3721 | 0 | 0 | -1169.0649 | 0 | 0 | 0 | 0 | 0 | 0
246 | RT | Voltage Support | PGAE | Sierra | 2023-01-23 | 20 | No | INC | 7 | 44949 | 44949.2917 | -15.2275 | 4777.46 | 0 | 1640.8224 | 0 | 0 | 0 | 0 | 0 | 0
247 | RT | Voltage Support | PGAE | Sierra | 2023-01-27 | 42 | No | INC | 4 | 44953.8646 | 44954 | 0 | 19982.105 | 891.3171 | 0 | 0 | 0 | 0 | 0 | 0 | 0
248 | RT | Voltage Support | PGAE | Sierra | 2023-01-28 | 20 - 42 | Yes | INC | 24 | 44954 | 44955 | 2.5 | 63278.3 | 0 | -239.6317 | 0 | 0 | 0 | 0 | 0 | 0
249 | RT | Voltage Support | PGAE | Sierra | 2023-01-29 | 20 - 42 | No | INC | 24 | 44955 | 44956 | 19.5733 | 62051.4 | 0 | -2469.657 | 0 | 0 | 0 | 0 | 0 | 0
250 | RT | Voltage Support | PGAE | Sierra | 2023-01-30 | 20 | No | DEC | 1 | 44956.875 | 44956.9167 | 1.9875 | 0 | 0 | -288.9792 | 0 | 0 | 0 | 0 | 0 | 0
251 | RT | Voltage Support | PGAE | Sierra | 2023-01-30 | 20 - 42 | No | INC | 24 | 44956 | 44957 | 27.8404 | 861.825 | 47.8641 | -4432.7788 | 0 | 0 | 0 | 0 | 0 | 0
252 | RT | Voltage Support | PGAE | Sierra | 2023-01-31 | 20 | No | DEC | 1 | 44957.2083 | 44957.25 | 0.43125 | 0 | 0 | -50.6956 | 0 | 0 | 0 | 0 | 0 | 0
253 | RT | Voltage Support | PGAE | Sierra | 2023-01-31 | 20 | No | INC | 5 | 44957 | 44957.2083 | -0.28292 | 0 | 0 | 30.3067 | 0 | 0 | 0 | 0 | 0 | 0

## Price_Impact_A
Table 9: Price Impact Analysis Information for Pricing Node B in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2023-01-01 | 16 | 11 | 107.8169 | Yes | 291.08 | 183.2631
2 | 2023-01-01 | 16 | 12 | 112.9507 | Yes | 291.08 | 178.1293
3 | 2023-01-01 | 17 | 1 | 93.963 | Yes | 291.08 | 197.117
4 | 2023-01-01 | 17 | 2 | 96.9864 | Yes | 291.08 | 194.0936
5 | 2023-01-01 | 17 | 3 | 105.0865 | Yes | 291.08 | 185.9935
6 | 2023-01-01 | 17 | 4 | 109.0392 | Yes | 291.08 | 182.0408
7 | 2023-01-01 | 17 | 5 | 116.5806 | Yes | 291.08 | 174.4994
8 | 2023-01-01 | 17 | 6 | 125.5916 | Yes | 291.08 | 165.4884
9 | 2023-01-01 | 17 | 7 | 134.8021 | Yes | 291.08 | 156.2779
10 | 2023-01-01 | 17 | 8 | 145.1483 | Yes | 291.08 | 145.9317
11 | 2023-01-01 | 17 | 9 | 178.6994 | Yes | 291.08 | 112.3806
12 | 2023-01-01 | 17 | 10 | 185.4608 | Yes | 291.08 | 105.6192
13 | 2023-01-01 | 17 | 11 | 196.6339 | Yes | 291.08 | 94.4461
14 | 2023-01-01 | 17 | 12 | 197.2072 | Yes | 291.08 | 93.8728
15 | 2023-01-01 | 18 | 1 | 143.5691 | Yes | 291.08 | 147.5109
16 | 2023-01-01 | 18 | 2 | 142.2364 | Yes | 291.08 | 148.8436
17 | 2023-01-01 | 18 | 3 | 136.7155 | Yes | 291.08 | 154.3645
18 | 2023-01-01 | 18 | 4 | 135.7194 | Yes | 291.08 | 155.3606
19 | 2023-01-01 | 18 | 5 | 137.2081 | Yes | 291.08 | 153.8718
20 | 2023-01-01 | 18 | 6 | 138.0893 | Yes | 291.08 | 152.9906
21 | 2023-01-01 | 18 | 7 | 141.1218 | Yes | 291.08 | 149.9582
22 | 2023-01-01 | 18 | 8 | 142.3241 | Yes | 291.08 | 148.7559
23 | 2023-01-01 | 18 | 9 | 137.5224 | Yes | 291.08 | 153.5575
24 | 2023-01-01 | 18 | 10 | 135.9147 | Yes | 291.08 | 155.1653
25 | 2023-01-01 | 18 | 11 | 135.8738 | Yes | 291.08 | 155.2062
26 | 2023-01-01 | 18 | 12 | 131.4766 | Yes | 291.08 | 159.6034
27 | 2023-01-01 | 19 | 1 | 126.3651 | Yes | 291.08 | 164.7149
28 | 2023-01-01 | 19 | 2 | 126.3651 | Yes | 291.08 | 164.7149
29 | 2023-01-01 | 19 | 3 | 126.3651 | Yes | 291.08 | 164.7149
30 | 2023-01-01 | 19 | 4 | 127.0864 | Yes | 291.08 | 163.9936
31 | 2023-01-01 | 19 | 5 | 126.276 | Yes | 291.08 | 164.804
32 | 2023-01-01 | 19 | 6 | 126.276 | Yes | 291.08 | 164.804
33 | 2023-01-01 | 19 | 7 | 125.7016 | Yes | 291.08 | 165.3784
34 | 2023-01-01 | 19 | 8 | 122.7227 | Yes | 291.08 | 168.3573
35 | 2023-01-01 | 19 | 9 | 123.0466 | Yes | 291.08 | 168.0334
36 | 2023-01-01 | 19 | 10 | 123.5767 | Yes | 291.08 | 167.5033
37 | 2023-01-01 | 19 | 11 | 122.4512 | Yes | 291.08 | 168.6288
38 | 2023-01-01 | 19 | 12 | 121.6025 | Yes | 291.08 | 169.4775
39 | 2023-01-01 | 20 | 1 | 132.3082 | Yes | 291.08 | 158.7717
40 | 2023-01-01 | 20 | 2 | 133.6737 | Yes | 291.08 | 157.4063
41 | 2023-01-01 | 20 | 3 | 132.8293 | Yes | 291.08 | 158.2507
42 | 2023-01-01 | 20 | 4 | 131.0318 | Yes | 291.08 | 160.0481
43 | 2023-01-01 | 20 | 5 | 129.8972 | Yes | 291.08 | 161.1828
44 | 2023-01-01 | 20 | 6 | 127.9553 | Yes | 291.08 | 163.1247
45 | 2023-01-01 | 20 | 7 | 127.721 | Yes | 291.08 | 163.359
46 | 2023-01-01 | 20 | 8 | 127.3276 | Yes | 291.08 | 163.7524
47 | 2023-01-01 | 20 | 9 | 127.3195 | Yes | 291.08 | 163.7605
48 | 2023-01-01 | 20 | 10 | 131.4011 | Yes | 291.08 | 159.6789
49 | 2023-01-01 | 20 | 11 | 131.4011 | Yes | 291.08 | 159.6789
50 | 2023-01-01 | 20 | 12 | 132.7287 | Yes | 291.08 | 158.3513
51 | 2023-01-01 | 21 | 1 | 139.3366 | Yes | 291.08 | 151.7433
52 | 2023-01-01 | 21 | 2 | 139.3454 | Yes | 291.08 | 151.7346
53 | 2023-01-01 | 21 | 3 | 139.3366 | Yes | 291.08 | 151.7433
54 | 2023-01-01 | 21 | 4 | 136.4732 | Yes | 291.08 | 154.6068
55 | 2023-01-01 | 21 | 5 | 134.0948 | Yes | 291.08 | 156.9852
56 | 2023-01-01 | 21 | 6 | 134.0948 | Yes | 291.08 | 156.9852
57 | 2023-01-01 | 21 | 7 | 134.2245 | Yes | 291.08 | 156.8555
58 | 2023-01-01 | 21 | 8 | 134.4826 | Yes | 291.08 | 156.5975
59 | 2023-01-01 | 21 | 9 | 134.2245 | Yes | 291.08 | 156.8555
60 | 2023-01-01 | 21 | 10 | 135.518 | Yes | 291.08 | 155.562
61 | 2023-01-01 | 21 | 11 | 138.7859 | Yes | 291.08 | 152.2941
62 | 2023-01-01 | 21 | 12 | 138.8926 | Yes | 291.08 | 152.1874

## Price_Impact_B
Table 8: Price Impact Analysis Information for Pricing Node A in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2023-01-04 | 11 | 5 | 144.2752 | Yes | 226.22 | 81.9448
2 | 2023-01-04 | 11 | 6 | 143.3988 | Yes | 226.22 | 82.8212
3 | 2023-01-04 | 11 | 7 | 147.0864 | Yes | 226.22 | 79.1336
4 | 2023-01-04 | 11 | 8 | 139.0284 | Yes | 226.22 | 87.1916
5 | 2023-01-04 | 11 | 9 | 144.2776 | Yes | 226.22 | 81.9424
6 | 2023-01-04 | 11 | 10 | 145.1055 | Yes | 226.22 | 81.1145
7 | 2023-01-04 | 11 | 11 | 145.1055 | Yes | 226.22 | 81.1145
8 | 2023-01-04 | 11 | 12 | 142.32 | Yes | 226.22 | 83.9
9 | 2023-01-12 | 1 | 7 | 136.271 | Yes | 175.59 | 39.319
10 | 2023-01-12 | 1 | 8 | 136.2706 | Yes | 175.59 | 39.3194
11 | 2023-01-12 | 1 | 9 | 142.08 | Yes | 175.59 | 33.51
12 | 2023-01-12 | 1 | 10 | 138.393 | Yes | 175.59 | 37.197
13 | 2023-01-12 | 1 | 11 | 135.2585 | Yes | 135.96 | 0.70155
14 | 2023-01-12 | 1 | 12 | 132.6808 | Yes | 135.96 | 3.2792
15 | 2023-01-12 | 2 | 1 | 144.7167 | Yes | 175.59 | 30.8733
16 | 2023-01-12 | 2 | 2 | 142.7838 | Yes | 175.59 | 32.8062
17 | 2023-01-12 | 19 | 9 | 138.2192 | Yes | 198.6 | 60.3808
18 | 2023-01-12 | 19 | 10 | 143.0999 | Yes | 198.6 | 55.5001
19 | 2023-01-12 | 19 | 11 | 143.0999 | Yes | 143.1 | 9e-05
20 | 2023-01-12 | 19 | 12 | 143.1 | Yes | 143.1 | 0
21 | 2023-01-12 | 20 | 1 | 156.5785 | Yes | 198.6 | 42.0215
22 | 2023-01-12 | 20 | 2 | 158.3583 | Yes | 198.6 | 40.2417
23 | 2023-01-12 | 20 | 3 | 158.3583 | Yes | 198.6 | 40.2417
24 | 2023-01-12 | 20 | 4 | 163.1512 | Yes | 198.6 | 35.4488
25 | 2023-01-12 | 20 | 5 | 165.3782 | Yes | 198.6 | 33.2218
26 | 2023-01-12 | 20 | 6 | 163.7964 | Yes | 198.6 | 34.8036
27 | 2023-01-12 | 20 | 7 | 158.7647 | Yes | 198.6 | 39.8353
28 | 2023-01-12 | 20 | 8 | 159.4977 | Yes | 198.6 | 39.1023
29 | 2023-01-12 | 20 | 9 | 161.3313 | Yes | 198.6 | 37.2687
30 | 2023-01-12 | 20 | 10 | 163.4841 | Yes | 198.6 | 35.1159
31 | 2023-01-12 | 20 | 11 | 144.103 | Yes | 143.3 | -0.80298
32 | 2023-01-12 | 20 | 12 | 134.6424 | Yes | 134.28 | -0.36239

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
NONTMOD | 1 | 766.6667 | 485.0667 | 281.6
Total | 1 | 766.6667 | 485.0667 | 281.6