## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for June 2022
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Bridging Schedules | SCE | LA Basin | 2022-06-23 | 10 | No | INC | 1 | 44735.9583 | 44736 | 0 | 7844.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | RT | Bridging Schedules | SCE | LA Basin | 2022-06-27 | 10 | No | INC | 1 | 44739.9583 | 44740 | 0 | 3451.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | RT | Bridging Schedules | SDGE | San Diego-IV | 2022-06-30 | 155 | No | INC | 4 | 44742.0833 | 44742.25 | -73.2478 | 55707.125 | 0 | 3583.5706 | 0 | 0 | 0 | 0 | 0 | 0
4 | RT | Conditions beyond the control of the CAISO | SCE | LA Basin | 2022-06-22 | 172 - 178 | No | INC | 5 | 44734.7083 | 44734.9167 | -37.3996 | 0 | 0 | 3310.8643 | 0 | 0 | 0 | -16845.1768 | 0 | 0
5 | RT | Fast Start Unit Management | PGAE | Bay Area | 2022-06-13 | 0 | No | INC | 2 | 44725.3021 | 44725.3681 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | RT | Fast Start Unit Management | PGAE | Bay Area | 2022-06-15 | 0 | No | INC | 1 | 44727.6806 | 44727.7222 | -80 | 7279.6125 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | 0
7 | RT | Fast Start Unit Management | PGAE | Bay Area | 2022-06-24 | 0 | No | INC | 1 | 44736.0521 | 44736.0938 | -60 | 4036.97 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | 0
8 | RT | Incomplete or Inaccurate Transmission | PGAE | Bay Area | 2022-06-28 | 80 | No | INC | 8 | 44740.6632 | 44740.9583 | -17.3558 | 3700 | 0 | 1115.9303 | 0 | 0 | 0 | 0 | 0 | 0
9 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2022-06-01 | 100 | No | DEC | 4 | 44713.8229 | 44713.9583 | 13.9781 | 0 | 0 | 2100.0274 | -0.8125 | 0 | -122.1348 | 0 | 0 | 0
10 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2022-06-02 | 105 | No | DEC | 6 | 44714.7674 | 44715 | -7.248 | 0 | 0 | 535.7777 | -4.9692 | 0 | 383.0093 | 0 | 0 | 0
11 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2022-06-28 | 20 - 42 | No | DEC | 8 | 44740.6319 | 44740.9583 | 36.581 | -283.3333 | 0 | -2927.3225 | 0 | 0 | 0 | 0 | 0 | 0
12 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2022-06-28 | 42 | No | INC | 8 | 44740.625 | 44740.9583 | 1.5123 | 35695.14 | 0 | -145.6713 | 0 | 0 | 0 | 0 | 0 | 0
13 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2022-06-29 | 20 - 45 | No | DEC | 6 | 44741.7083 | 44741.9583 | -32.9098 | 0 | 0 | 1976.0501 | 5 | -154.0493 | 0 | 0 | -198.8055 | 0
14 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2022-06-29 | 20 - 42 | No | INC | 8 | 44741.625 | 44741.9583 | 0.23073 | 48107.6 | 1706.4533 | 209.9749 | 0 | 0 | 0 | 0 | 0 | 0
15 | RT | Load Forecast Uncertainty | PGAE | Fresno | 2022-06-02 | 100 | No | INC | 2 | 44714.2917 | 44714.3438 | 5.1352 | 19786.9092 | 0 | 756.2221 | 5.3243 | -175.3411 | 0 | -852.4869 | 0 | 0
16 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-06-09 | 100 | No | INC | 9 | 44721.625 | 44722 | 518.9083 | 34241 | 0 | -50913.3666 | 0 | 0 | 0 | 0 | 0 | 0
17 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-06-10 | 50 - 410 | No | INC | 11 | 44722.5417 | 44723 | -455.2827 | 415153.4675 | 167372.11 | 62737.955 | 34.9896 | -2810.4928 | 0 | -37.2867 | 0 | 0
18 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-06-27 | 50 | No | DEC | 9 | 44739.625 | 44740 | -140.714 | -24557.76 | 138534.66 | 19832.5535 | 0 | 0 | 0 | 0 | 0 | 0
19 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2022-06-28 | 100 | No | INC | 9 | 44740.625 | 44741 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-06-23 | 20 | No | INC | 24 | 44735 | 44736 | 170.0337 | 129793.885 | 0 | -12350.5137 | 0 | 0 | 0 | 0 | 0 | 0
21 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-06-26 | 10 | No | INC | 10 | 44738.2083 | 44738.625 | 1.4583 | 34518.8 | 0 | -144.4487 | 0 | 0 | 0 | 0 | 0 | 0
22 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-06-27 | 130 | No | DEC | 9 | 44739.6458 | 44740 | -50.9201 | -20729.1204 | 82317 | 3147.8893 | 0 | 0 | 0 | 0 | 0 | 0
23 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-06-27 | 70 | No | INC | 10 | 44739.5833 | 44740 | 14.1509 | 85939.8075 | 110512.476 | -1245.8628 | 1.8955 | -161.4036 | 0 | 0 | 0 | 0
24 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-06-28 | 10 - 70 | No | INC | 18 | 44740.25 | 44741 | 154.8355 | 250221.665 | 0 | -13602.5146 | 0 | 0 | 0 | 0 | 0 | 0
25 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-06-29 | 20 - 70 | No | INC | 24 | 44741 | 44742 | 19.872 | 378993.515 | 0 | -1379.3408 | 0 | 0 | 0 | 0 | 0 | 0
26 | RT | Market Disruption | PGAE | Bay Area | 2022-06-07 | 290 | No | DEC | 1 | 44719.9653 | 44719.9688 | -13.9327 | 0 | 0 | 873.6137 | -11.5744 | 0 | 725.7429 | 0 | 0 | 0
27 | RT | Market Disruption | PGAE | Fresno | 2022-06-07 | 83 | No | INC | 1 | 44719.9618 | 44720 | 16.6 | 12803.2942 | 0 | -1196.4018 | 0 | 0 | 0 | 0 | 0 | 0
28 | RT | Market Disruption | PGAE | NA | 2022-06-07 | 0 - 305 | No | DEC | 2 | 44719.9514 | 44720 | -9.1886 | 0 | 0 | 525.0773 | -11.6233 | 0 | 684.6098 | 0 | 0 | 0
29 | RT | Market Disruption | PGAE | NA | 2022-06-07 | 0 | No | INC | 1 | 44719.9583 | 44720 | -44.8483 | 11695.1625 | 0 | -52.0158 | -45.9167 | 0 | 0 | 0 | 0 | 0
30 | RT | Market Disruption | PGAE | NA | 2022-06-08 | 305 | No | DEC | 4 | 44720 | 44720.1354 | 49.0086 | 0 | 0 | -5807.4931 | 0 | 0 | 0 | 0 | 0 | 0
31 | RT | Market Disruption | PGAE | NA | 2022-06-08 | 0 | No | INC | 3 | 44720 | 44720.1215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | RT | Market Disruption | SCE | LA Basin | 2022-06-07 | 0 - 290 | No | DEC | 1 | 44719.9514 | 44719.9618 | 52.2467 | 0 | 0 | -3891.0257 | 0 | 0 | 0 | 0 | 0 | 0
33 | RT | Market Disruption | SCE | LA Basin | 2022-06-07 | 0 | No | INC | 1 | 44719.9583 | 44720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 | RT | Market Disruption | SCE | LA Basin | 2022-06-08 | 0 | No | INC | 4 | 44720 | 44720.1632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | RT | Market Disruption | SCE | NA | 2022-06-23 | -200 | No | DEC | 1 | 44735.2743 | 44735.3125 | -1.9609 | 0 | 0 | -1834.3293 | -9.2117 | 0 | -1381.7501 | 0 | 0 | 0
36 | RT | Market Disruption | SDGE | San Diego-IV | 2022-06-07 | 331 | No | DEC | 1 | 44719.9514 | 44719.9618 | -1.6391 | 0 | 0 | 128.9765 | -4.488 | 0 | 311.6473 | 0 | 0 | 0
37 | RT | Other Reliability Requirement | PGAE | Fresno | 2022-06-04 | 404 | No | INC | 1 | 44716.9201 | 44716.9271 | -30.7769 | 2327.8717 | 0 | 3154.1103 | 0 | 0 | 0 | 0 | 0 | 0
38 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-06-01 | 15 | No | INC | 13 | 44713.3993 | 44713.9167 | 185.609 | 0 | 0 | -14243.9951 | 0 | 0 | 0 | 0 | 0 | 0
39 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-06-03 | 15 | No | INC | 7 | 44715.625 | 44715.9167 | 105.3792 | 0 | 0 | -8061.8559 | 0 | 0 | 0 | 0 | 0 | 0
40 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-06-05 | 20 | No | INC | 3 | 44717.4792 | 44717.5938 | 55.4125 | 0 | 0 | -15.34 | 0 | 0 | 0 | 0 | 0 | 0
41 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-06-11 | 20 | No | INC | 4 | 44723.8125 | 44723.9479 | 65.4634 | 11825 | 805.93 | -9251.5892 | 0 | 0 | 0 | 0 | 0 | 0
42 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-06-23 | 20 | No | DEC | 7 | 44735.5833 | 44735.875 | 3.6067 | 0 | 0 | -419.6933 | 0 | 0 | 0 | 0 | 0 | 0
43 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-06-23 | 20 | No | INC | 9 | 44735.5451 | 44735.9167 | 41.5958 | 0 | 0 | -4063.8453 | 0 | 0 | 0 | 0 | 0 | 0
44 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-06-24 | 20 | No | DEC | 1 | 44736.7778 | 44736.7917 | 0.98958 | 0 | 0 | -171.8229 | 0 | 0 | 0 | 0 | 0 | 0
45 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-06-24 | 20 | No | INC | 4 | 44736.7917 | 44736.9583 | 92.5521 | 0 | 0 | -11146.2013 | 0 | 0 | 0 | 0 | 0 | 0
46 | RT | Planned Transmission Outage | PGAE | Fresno | 2022-06-13 | 83 | No | INC | 1 | 44725.184 | 44725.2083 | 0 | 8147.5508 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | RT | Planned Transmission Outage | PGAE | Fresno | 2022-06-27 | 120 - 250 | No | INC | 2 | 44739.941 | 44740 | 102.1198 | 19786.9092 | 0 | -6821.7087 | 61.5 | -4041.4655 | 0 | 0 | -1638.5264 | 0
48 | RT | Planned Transmission Outage | PGAE | Fresno | 2022-06-28 | 83 - 320 | No | INC | 24 | 44740 | 44741 | -63.0378 | 80311.5725 | 0 | 4591.6402 | 47.5 | -3590.6693 | 0 | 0 | -10860.3538 | 0
49 | RT | Planned Transmission Outage | PGAE | Fresno | 2022-06-29 | 83 | No | INC | 3 | 44741 | 44741.125 | 36.7475 | 41901.69 | 0 | -3505.7903 | 0 | 0 | 0 | 0 | 0 | 0
50 | RT | Planned Transmission Outage | PGAE | Fresno | 2022-06-30 | 83 | No | INC | 6 | 44742.0174 | 44742.2396 | 2.3965 | 74491.8935 | 0 | 8786.869 | 0 | 0 | 0 | 0 | 0 | 0
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-01 | 30 - 45 | No | DEC | 4 | 44713.75 | 44713.9167 | 2.8017 | -1063.9929 | 0 | -125.2684 | 0 | 0 | 0 | 0 | 0 | 0
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-01 | 30 - 60 | No | INC | 24 | 44713 | 44714 | -5.3857 | 91007.1542 | 0 | 495.0773 | -2.0976 | 0 | 158.2696 | 0 | -185.8857 | 0
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-02 | 30 - 60 | No | INC | 24 | 44714 | 44715 | -14.295 | 129722.75 | 0 | 763.9283 | -3.1089 | 0 | 325.8638 | 0 | -155.0423 | 0
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-03 | 15 - 45 | No | INC | 24 | 44715 | 44716 | -13.254 | 147681.05 | 0 | 1093.583 | -2.2894 | 0 | 186.722 | 0 | -233.6773 | 0
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-04 | 30 | No | DEC | 6 | 44716.5417 | 44716.7917 | 0.64134 | 0 | 0 | -28.1605 | 0 | 0 | 0 | 0 | -98.3586 | 0
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-04 | 15 - 30 | No | INC | 24 | 44716 | 44717 | 7.5433 | 39615.08 | 0 | -486.1717 | 0 | 0 | 0 | 0 | -500.2616 | 0
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-05 | 15 | No | DEC | 23 | 44717.0104 | 44717.9583 | -2.8968 | 366.8075 | 0 | -807.531 | -1.1245 | 0 | 156.7533 | 0 | -620.2771 | 0
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-05 | 15 - 30 | No | INC | 24 | 44717 | 44718 | 1.5424 | 64802.4583 | 0 | -2823.9726 | -2.146 | 0 | 297.8597 | 0 | -614.2 | 0
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-06 | 15 | No | DEC | 8 | 44718 | 44718.3125 | 0.496 | 0 | 0 | -38.2673 | 0 | 0 | 0 | 0 | -157.0734 | 0
60 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-06 | 30 | No | INC | 24 | 44718 | 44719 | 5.4518 | 78863.39 | 0 | -13.8832 | 0.82344 | 0.0090964 | 0 | 0 | -104.1993 | 0
61 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-07 | 28 - 42 | No | INC | 24 | 44719 | 44720 | 4.2967 | 111719.58 | 0 | -129.1729 | 0 | 0 | 0 | 0 | -81.0032 | 0
62 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-08 | 28 - 48 | No | INC | 24 | 44720 | 44721 | 216.079 | 121696.7125 | 0 | -16339.7681 | 4.25 | -86.9083 | 0 | 0 | -48.5634 | 0
63 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-09 | 28 - 45 | No | DEC | 6 | 44721.625 | 44721.875 | -7.2136 | 2825.83 | 0 | 553.0708 | -3.743 | 0 | 406.1207 | 0 | -697.5578 | 0
64 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-09 | 28 - 45 | No | INC | 24 | 44721 | 44722 | -8.8717 | 131198.8375 | 0 | 1313.6357 | -2.0841 | 0 | 350.6857 | 0 | -171.7621 | 0
65 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-10 | 15 - 60 | No | DEC | 10 | 44722.5417 | 44722.9271 | 1.1175 | -33669.9105 | 0 | 712.532 | -1.3119 | 0 | 225.479 | 0 | -4189.0379 | 0
66 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-10 | 30 - 60 | No | INC | 18 | 44722 | 44722.75 | 11.868 | 68051.41 | 0 | -2689.7768 | -1.3321 | 0 | 137.165 | 0 | -63.9196 | 0
67 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-14 | 30 | No | DEC | 8 | 44726.625 | 44726.9583 | -0.0334 | -18853.8381 | 1558.5189 | 448.5252 | 0 | 0 | 0 | 0 | -1860.7901 | 0
68 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-14 | 30 | No | INC | 18 | 44726.2708 | 44727 | -1.1085 | 47307.55 | 222.6456 | 69.2899 | -0.60854 | 0 | 69.7676 | 0 | -1072.1111 | 0
69 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-15 | 30 | No | DEC | 4 | 44727.75 | 44727.9167 | 1.2862 | -6356.5824 | 0 | -117.452 | 0 | 0 | 0 | 0 | -2075.8928 | 0
70 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-15 | 30 | No | INC | 24 | 44727 | 44728 | -1.8951 | 83521.415 | 0 | -57.0674 | -2.54 | 0 | 162.587 | 0 | -92.2542 | 0
71 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-16 | 30 - 45 | No | INC | 24 | 44728 | 44729 | 4.3225 | 120337.68 | 0 | -5.7009 | 1.296 | -1.139 | 0 | 0 | -48.8695 | 0
72 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-17 | 30 - 45 | No | INC | 24 | 44729 | 44730 | 0 | 134782.08 | 0 | 0 | 0 | 0 | 0 | 0 | -54.8631 | 0
73 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-18 | 14 | No | DEC | 5 | 44730.7083 | 44730.8924 | -0.75667 | 0 | 0 | -22.424 | 0 | 0 | 0 | 0 | 0 | 0
74 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-18 | 14 - 45 | No | INC | 24 | 44730 | 44731 | -7.3065 | 71247.4 | 0 | -173.809 | 0 | 0 | 0 | 0 | -257.1567 | 0
75 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-19 | 14 - 28 | No | INC | 19 | 44731 | 44731.7604 | -1.3242 | 33161.24 | 0 | 9.7512 | 0 | 0 | 0 | 0 | 0 | 0
76 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-25 | 30 | No | DEC | 4 | 44737.8507 | 44738 | -1.3558 | -7823.4442 | 0 | 124.0637 | 0 | 0 | 0 | 0 | 0 | 0
77 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-25 | 15 | No | INC | 1 | 44737.9861 | 44738 | 0 | 822.9133 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
78 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-26 | 15 - 45 | No | DEC | 14 | 44738.3333 | 44738.9167 | -8.8506 | -12121.9613 | 0 | 212.7792 | -1.4187 | 0 | 31.9644 | 0 | 0 | 0
79 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-26 | 15 - 45 | No | INC | 24 | 44738 | 44739 | -1.8221 | 21190.0325 | 0 | -12.0271 | 0 | 0 | 0 | 0 | -0.20195 | 0
80 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-27 | 30 - 45 | No | DEC | 17 | 44739.2917 | 44740 | -7.8054 | -47945.5005 | 0 | 400.0507 | 0 | 0 | 0 | 0 | -653.293 | 0
81 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-27 | 15 - 45 | No | INC | 24 | 44739 | 44740 | 35.6725 | 35796.84 | 991.49 | -1515.3555 | 0.64917 | -5.738 | 0 | 0 | -8.8878 | 0
82 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-28 | 30 | No | DEC | 22 | 44740 | 44740.9167 | -2.0433 | -7129.416 | 0 | -18.4076 | 0 | 0 | 0 | 0 | 0 | 0
83 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-28 | 30 - 45 | No | INC | 24 | 44740 | 44741 | 15.8494 | 86878.93 | 0 | -726.2007 | 0 | 0 | 0 | 0 | -64.2993 | 0
84 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-29 | 30 - 45 | No | DEC | 4 | 44741.75 | 44741.9167 | 3.5713 | 1282.53 | 0 | 74.3026 | 0 | 0 | 0 | 0 | 0 | 0
85 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-29 | 30 - 45 | No | INC | 24 | 44741 | 44742 | -1.3754 | 83364.27 | 0 | 22.1872 | 0 | 0 | 0 | 0 | 0 | 0
86 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-06-30 | 30 - 45 | No | INC | 24 | 44742 | 44743 | -4.3917 | 89154.275 | 0 | 2276.2534 | 0 | 0 | 0 | 0 | -62.4202 | 0
87 | RT | Planned Transmission Outage | PGAE | Kern | 2022-06-01 | 32 - 52 | Yes | INC | 6 | 44713.75 | 44714 | 83.6004 | 41434.12 | 6496.4638 | -7540.2824 | 1.8167 | -140.2471 | 0 | 0 | -244.3452 | 0
88 | RT | Planned Transmission Outage | PGAE | Kern | 2022-06-05 | 47 | No | INC | 4 | 44717.8542 | 44718 | 80.9292 | 0 | 0 | -12451.0406 | 0 | 0 | 0 | 0 | 0 | 0
89 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-06-18 | 8 - 64 | No | DEC | 19 | 44730.2083 | 44731 | -50.8106 | 0 | 0 | 1760.3245 | -19.0525 | 0 | 1323.6333 | 0 | -14807.9804 | 0
90 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-06-18 | 15 | No | INC | 7 | 44730.3611 | 44730.6146 | 0.42292 | 0 | 0 | -14.9259 | 0 | 0 | 0 | 0 | -21.383 | 0
91 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-06-19 | 10 - 53 | No | DEC | 21 | 44731 | 44731.8542 | 11.9814 | 0 | 0 | -214.1284 | -1.2925 | 0 | -17.43 | 0 | -32755.4163 | 0
92 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-06-01 | 47 | No | DEC | 4 | 44713.7812 | 44713.9167 | 7.144 | -1013.795 | 0 | -593.1357 | 6.4708 | -520.5574 | 0 | 0 | -59.295 | 0
93 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-06-01 | 20 - 47 | No | INC | 5 | 44713.7917 | 44714 | -13.955 | 21295.395 | 0 | 994.682 | 0 | 0 | 0 | 0 | -979.2507 | 0
94 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-06-09 | 20 | No | DEC | 1 | 44721.6979 | 44721.7292 | -3.5542 | 0 | 0 | 303.5946 | 0 | 0 | 0 | 0 | 0 | 0
95 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-06-09 | 20 | No | INC | 1 | 44721.6979 | 44721.7292 | 5.0725 | 3150 | 0 | -548.9243 | 0 | 0 | 0 | 0 | 0 | 0
96 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-06-13 | 89 | No | INC | 3 | 44725.8542 | 44725.9792 | 0 | 27773.76 | 17107.4314 | 0 | 0 | 0 | 0 | 0 | 0 | 0
97 | RT | Planned Transmission Outage | PGAE | NA | 2022-06-02 | 43 - 45 | No | DEC | 4 | 44714.7292 | 44714.875 | -1.9063 | 0 | 0 | -0.30787 | -2.75 | 0 | -0.4467 | 0 | 0 | 0
98 | RT | Planned Transmission Outage | PGAE | NA | 2022-06-03 | 40 | No | DEC | 5 | 44715.75 | 44715.9583 | -0.059053 | 0 | 0 | 9.9274 | -1.905 | 0 | 112.9807 | 0 | 0 | 0
99 | RT | Planned Transmission Outage | PGAE | NA | 2022-06-03 | 40 | No | INC | 7 | 44715.7257 | 44716 | 6.1108 | 0 | 0 | 48.5539 | -1.905 | 0 | 145.7066 | 0 | 0 | 0
100 | RT | Planned Transmission Outage | SCE | Fresno | 2022-06-21 | 75 | No | DEC | 1 | 44733.4097 | 44733.4479 | -21.5085 | 0 | 0 | 555.7845 | -17.4527 | 0 | 357.9645 | 0 | 0 | 0
101 | RT | Planned Transmission Outage | SCE | NA | 2022-06-24 | 0 - 40 | No | DEC | 3 | 44736.8819 | 44737 | -18.6797 | 0 | 0 | -4093.5276 | -8.775 | 0 | -2212.9374 | 0 | 0 | 0
102 | RT | Planned Transmission Outage | SCE | NA | 2022-06-25 | 40 | No | DEC | 17 | 44737 | 44737.7083 | -223.585 | 0 | 0 | -123897.1637 | 0 | 0 | 0 | 0 | 0 | 0
103 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-06-24 | 37 | No | INC | 2 | 44736.9132 | 44736.9583 | 25.5183 | 0 | 0 | -1948.8376 | 0 | 0 | 0 | 0 | 0 | 0
104 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-06-30 | 290 | No | INC | 11 | 44742.25 | 44742.7083 | -173.3516 | 209084.85 | 0 | 7516.5362 | 0.625 | -17.5645 | 0 | 0 | -3031.2155 | 0
105 | RT | Pump Management | PGAE | Fresno | 2022-06-18 | -297 | No | DEC | 1 | 44730.9792 | 44731 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
106 | RT | Ramping Capacity | PGAE | Bay Area | 2022-06-21 | 555 - 565 | No | DEC | 3 | 44733.8229 | 44733.9167 | 0.20486 | 0 | 0 | 26.8344 | 0 | 0 | 0 | 0 | 0 | 0
107 | RT | Ramping Capacity | PGAE | Bay Area | 2022-06-21 | 590 | No | INC | 1 | 44733.7847 | 44733.8229 | -0.083333 | 0 | 0 | 29.3703 | 0 | 0 | 0 | 0 | 0 | 0
108 | RT | Ramping Capacity | PGAE | Kern | 2022-06-08 | 32 | No | DEC | 6 | 44720.75 | 44721 | 7.6602 | 0 | 0 | -722.9628 | 0 | 0 | 0 | 0 | 0 | 0
109 | RT | Ramping Capacity | PGAE | Kern | 2022-06-08 | 32 | No | INC | 2 | 44720.6667 | 44720.75 | 9.5417 | 18540.32 | 0 | -805.9058 | 0 | 0 | 0 | 0 | 0 | 0
110 | RT | Ramping Capacity | PGAE | Kern | 2022-06-09 | 32 | No | INC | 2 | 44721 | 44721.0833 | 18.2187 | 4553.88 | 0 | -1970.0927 | 0 | 0 | 0 | 0 | 0 | 0
111 | RT | Ramping Capacity | PGAE | NA | 2022-06-22 | 49 - 307 | No | DEC | 6 | 44734.6667 | 44734.9167 | -240.2256 | 16448.8383 | 0 | 13328.0707 | 0 | 0 | 0 | 0 | 0 | 0
112 | RT | Ramping Capacity | PGAE | NA | 2022-06-22 | 49 - 307 | No | INC | 3 | 44734.625 | 44734.75 | 27.2875 | 22508.9368 | 1942.056 | -3814.4016 | 0 | 0 | 0 | 0 | 0 | 0
113 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-06-10 | 400.1 | No | INC | 7 | 44722.625 | 44722.9167 | 43.4052 | 182949.105 | 0 | -4660.5855 | 108.5137 | -12089.4117 | 0 | 0 | 0 | 0
114 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-06-28 | 401 | No | INC | 4 | 44740.6667 | 44740.8333 | 9.0608 | 137950.105 | 0 | -902.1068 | 0.43125 | -43.6425 | 0 | 0 | 0 | 0
115 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2022-06-29 | 401 | No | INC | 4 | 44741.6667 | 44741.8333 | 115.5404 | 129995.625 | 0 | -8723.7576 | 0.43125 | -41.0895 | 0 | 0 | 0 | 0
116 | RT | Ramping Capacity | SCE | LA Basin | 2022-06-04 | 150 - 180 | No | INC | 3 | 44716.7396 | 44716.8333 | -3.403 | 58419.235 | 0 | 260.2221 | 0 | 0 | 0 | 0 | 0 | 0
117 | RT | Ramping Capacity | SCE | LA Basin | 2022-06-10 | 65 - 194 | No | INC | 8 | 44722.5833 | 44722.9167 | -1115.6469 | 11404.2 | 0 | 108052.6361 | 19.5115 | -2223.1707 | 0 | 0 | 0 | 0
118 | RT | Ramping Capacity | SCE | LA Basin | 2022-06-11 | 190 - 194 | No | INC | 3 | 44723.7292 | 44723.8333 | 86.058 | 0 | 0 | -10549.7036 | 6.9267 | -762.3213 | 0 | 0 | 0 | 0
119 | RT | Ramping Capacity | SCE | LA Basin | 2022-06-21 | 194 | No | INC | 6 | 44733.6667 | 44733.9167 | -272.6169 | 0 | 0 | 22992.853 | 0 | 0 | 0 | 0 | 0 | 0
120 | RT | Ramping Capacity | SCE | LA Basin | 2022-06-22 | 194 | No | DEC | 4 | 44734.7083 | 44734.875 | -27.0602 | 0 | 0 | 1791.0212 | 0 | 0 | 0 | 0 | 0 | 0
121 | RT | Ramping Capacity | SCE | LA Basin | 2022-06-22 | 65 - 194 | No | INC | 8 | 44734.5833 | 44734.9167 | -513.0551 | 8537.71 | 0 | 37080.4743 | 1.1836 | -111.2509 | 0 | 0 | 0 | 0
122 | RT | Ramping Capacity | SCE | LA Basin | 2022-06-23 | 190 | No | DEC | 3 | 44735.75 | 44735.875 | -39.0818 | 0 | 0 | 2470.5482 | 0 | 0 | 0 | 0 | 0 | 0
123 | RT | Ramping Capacity | SCE | LA Basin | 2022-06-23 | 65 - 194 | No | INC | 7 | 44735.625 | 44735.9167 | -515.4912 | 92628.12 | 0 | 46906.4837 | 0.1475 | -14.5951 | 0 | 0 | 0 | 0
124 | RT | Ramping Capacity | SCE | LA Basin | 2022-06-27 | 240 | No | DEC | 4 | 44739.7604 | 44739.9167 | -124.9689 | -19412.1837 | 102896.25 | 10633.7417 | 0 | 0 | 0 | 0 | 0 | 0
125 | RT | Ramping Capacity | SCE | LA Basin | 2022-06-27 | 240 | No | INC | 4 | 44739.7604 | 44739.9167 | 106.9006 | 66858.8925 | 18418.746 | -10408.9476 | 6.9875 | -624.2046 | 0 | 0 | 0 | 0
126 | RT | Ramping Capacity | SCE | LA Basin | 2022-06-28 | 65 - 241 | No | INC | 4 | 44740.6667 | 44740.8333 | -493.546 | 159724.04 | 0 | 44183.2438 | 35.4943 | -3471.2559 | 0 | 0 | 0 | 0
127 | RT | Ramping Capacity | SCE | LA Basin | 2022-06-29 | 65 - 241 | No | INC | 4 | 44741.6667 | 44741.8333 | -500.5671 | 129978.0701 | 0 | 41795.8287 | 43.8808 | -4252.2858 | 0 | 0 | 0 | 0
128 | RT | Ramping Capacity | SCE | LA Basin | 2022-06-30 | 190 - 194 | No | INC | 7 | 44742.7049 | 44742.9583 | -435.9952 | 0 | 0 | 41053.4725 | 23.9094 | -2083.3305 | 0 | 0 | 0 | 0
129 | RT | Reliability Assessment | PGAE | Bay Area | 2022-06-06 | 22 | No | INC | 4 | 44718.8056 | 44718.9583 | 83.2438 | 0 | 0 | -14440.5067 | 0 | 0 | 0 | 0 | 0 | 0
130 | RT | Reliability Assessment | PGAE | Bay Area | 2022-06-13 | 190 | No | INC | 3 | 44725.1215 | 44725.2083 | 495.2624 | 124134.4 | 0 | -103313.1656 | 0 | 0 | 0 | 0 | 0 | 0
131 | RT | Reliability Assessment | PGAE | Bay Area | 2022-06-21 | 120 | No | INC | 5 | 44733.8194 | 44734 | 303.6537 | 175853.1667 | 50509.2671 | -46999.0784 | 0 | 0 | 0 | 0 | 0 | 0
132 | RT | Reliability Assessment | PGAE | Bay Area | 2022-06-22 | 60 | No | DEC | 5 | 44734.6667 | 44734.875 | -2.4375 | -78119.2257 | 0 | 206.5883 | 0 | 0 | 0 | 0 | 0 | 0
133 | RT | Reliability Assessment | PGAE | Bay Area | 2022-06-22 | 60 - 120 | No | INC | 23 | 44734 | 44734.9583 | -133.5894 | 134736.7158 | 0 | 8318.2766 | -15.9021 | 0 | 1498.2943 | 0 | 0 | 0
134 | RT | Reliability Assessment | PGAE | Fresno | 2022-06-13 | 83 | No | INC | 2 | 44725.1215 | 44725.1979 | 27.6667 | 17459.0375 | 0 | -2267.5494 | 0 | 0 | 0 | 0 | 0 | 0
135 | RT | Reliability Assessment | PGAE | Fresno | 2022-06-14 | 65 - 80 | No | DEC | 9 | 44726.3924 | 44726.75 | -22.2287 | 0 | 0 | -188.9201 | -1.2742 | 0 | -12.8181 | 0 | 0 | 0
136 | RT | Reliability Assessment | PGAE | Fresno | 2022-06-14 | 65 | No | INC | 2 | 44726.75 | 44726.8333 | -4.8239 | 0 | 0 | -336.4637 | 0 | 0 | 0 | 0 | 0 | 0
137 | RT | Reliability Assessment | PGAE | Fresno | 2022-06-16 | 30 - 45 | No | INC | 5 | 44728.3472 | 44728.5417 | -6.6667 | 0 | 0 | 48.5284 | -14.8958 | 0 | 49.8737 | 0 | 0 | 0
138 | RT | Reliability Assessment | PGAE | Fresno | 2022-06-21 | 0 | No | DEC | 2 | 44733.7257 | 44733.7917 | -139.4238 | 0 | 0 | -12675.012 | -138.1375 | 0 | -4641.447 | 0 | 0 | 0
139 | RT | Reliability Assessment | PGAE | Fresno | 2022-06-22 | 50 | No | DEC | 6 | 44734.6806 | 44734.9167 | -15.4425 | 0 | 0 | -65.2799 | -15.4425 | 0 | 138.5181 | 0 | 0 | 0
140 | RT | Reliability Assessment | PGAE | Fresno | 2022-06-24 | 0 | No | DEC | 2 | 44736.6528 | 44736.7083 | -119.235 | 0 | 0 | 105.8303 | -118.23 | 0 | 44.9274 | 0 | 0 | 0
141 | RT | Reliability Assessment | PGAE | Fresno | 2022-06-26 | 150 | No | INC | 2 | 44738.9236 | 44739 | 43.1677 | 6983.615 | 0 | -3567.7232 | 27.81 | -2421.6967 | 0 | 0 | 0 | 0
142 | RT | Reliability Assessment | PGAE | Fresno | 2022-06-27 | 150 | No | INC | 2 | 44739 | 44739.0833 | 3.1507 | 27934.46 | 0 | -358.4733 | 0 | 0 | 0 | 0 | 0 | 0
143 | RT | Reliability Assessment | PGAE | Fresno | 2022-06-30 | 85 | No | INC | 1 | 44742.9965 | 44743 | 23.2848 | 0 | 0 | -1959.4009 | 0 | 0 | 0 | 0 | 0 | 0
144 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-10 | 15 - 45 | No | DEC | 2 | 44722.9167 | 44723 | 9.2353 | -90.2979 | 0 | -758.2013 | 0 | 0 | 0 | 0 | -325.064 | 0
145 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-10 | 45 | No | INC | 1 | 44722.9583 | 44723 | -3.8175 | 4730.8425 | 0 | 371.8293 | 0 | 0 | 0 | 0 | 0 | 0
146 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-11 | 15 - 16 | No | DEC | 24 | 44723 | 44724 | -2.8876 | 13137.7375 | 0 | -516.8914 | -0.061875 | 0 | 1.7412 | 0 | 0 | 0
147 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-11 | 16 - 45 | No | INC | 24 | 44723 | 44724 | -7.8778 | 87327.305 | 0 | 608.3037 | -3.8252 | 0 | 107.6414 | 0 | 0 | 0
148 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-12 | 16 | No | DEC | 24 | 44724 | 44725 | -3.9576 | -19633.3248 | 0 | 328.4605 | 0 | 0 | 0 | 0 | 0 | 0
149 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-12 | 16 | No | INC | 10 | 44724 | 44724.4167 | 0.0675 | 0 | 0 | -14.0374 | 0 | 0 | 0 | 0 | 0 | 0
150 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-13 | 16 | No | DEC | 8 | 44725 | 44725.316 | 0.0028125 | 0 | 0 | -0.013058 | 0 | 0 | 0 | 0 | 0 | 0
151 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-13 | 30 | No | INC | 17 | 44725.316 | 44726 | 3.5005 | 21638.68 | 0 | -17.8754 | 0.50052 | -14.0847 | 0 | 0 | 0 | 0
152 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-14 | 30 | No | INC | 7 | 44726 | 44726.2917 | 0 | 10682.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
153 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-19 | 14 | No | DEC | 5 | 44731.8229 | 44732 | -3.9462 | 328.3275 | 0 | 311.1255 | 0 | 0 | 0 | 0 | 0 | 0
154 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-19 | 14 - 28 | No | INC | 7 | 44731.7431 | 44732 | -0.63333 | 9083.7892 | 0 | 36.5026 | 0 | 0 | 0 | 0 | 0 | 0
155 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-20 | 14 - 30 | No | DEC | 22 | 44732 | 44732.9167 | 30.2854 | -5742.575 | 0 | -2596.0981 | 0 | 0 | 0 | 0 | 0 | 0
156 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-20 | 14 - 70 | No | INC | 24 | 44732 | 44733 | -55.9667 | 12367.0675 | 0 | 3264.9228 | 0 | 0 | 0 | 0 | 0 | 0
157 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-21 | 30 | No | DEC | 11 | 44733.5 | 44733.9583 | 5.2617 | -7962.9743 | 0 | -366.3738 | 0 | 0 | 0 | 0 | 0 | 0
158 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-21 | 30 | No | INC | 24 | 44733 | 44734 | -3.3404 | 19699.67 | 0 | 71.4939 | 0 | 0 | 0 | 0 | 0 | 0
159 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-22 | 15 - 30 | No | DEC | 11 | 44734.5382 | 44734.9583 | -26.6331 | -53348.1689 | 0 | 1107.0424 | -1.6607 | 0 | 38.8777 | 0 | 0 | 0
160 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-22 | 15 - 30 | No | INC | 24 | 44734 | 44735 | -10.486 | 41392.6925 | 0 | 660.7303 | -0.42562 | 0 | 9.9639 | 0 | 0 | 0
161 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-23 | 28 | No | DEC | 7 | 44735.625 | 44735.9167 | -18.2415 | -4283.3817 | 0 | 1109.6573 | 0 | 0 | 0 | 0 | 0 | 0
162 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-23 | 28 - 30 | No | INC | 24 | 44735 | 44736 | 2.9552 | 19253.5183 | 0 | -452.4177 | 0 | 0 | 0 | 0 | 0 | 0
163 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-24 | 30 | No | DEC | 11 | 44736.5 | 44736.9583 | -9.624 | -30792.772 | 0 | 1379.9879 | 0 | 0 | 0 | 0 | 0 | 0
164 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-24 | 30 | No | INC | 24 | 44736 | 44737 | -4.2808 | 52696.4617 | 0 | 72.6885 | 0 | 0 | 0 | 0 | 0 | 0
165 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-25 | 30 | No | DEC | 10 | 44737.5 | 44737.9167 | -1.3558 | -32058.3546 | 0 | 99.3751 | 0 | 0 | 0 | 0 | 0 | 0
166 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-25 | 30 | No | INC | 24 | 44737 | 44738 | -1.27 | 43202.95 | 0 | 26.7993 | 0 | 0 | 0 | 0 | 0 | 0
167 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-26 | 45 | No | DEC | 1 | 44738.9097 | 44738.9167 | -0.062917 | 0 | 0 | -61.225 | -1.4187 | 0 | 31.9644 | 0 | 0 | 0
168 | RT | Reliability Assessment | PGAE | Humboldt | 2022-06-26 | 45 | No | INC | 1 | 44738.9167 | 44738.9583 | -3.7827 | 1851.565 | 0 | 57.0621 | -4.54 | 0 | 102.2862 | 0 | 0 | 0
169 | RT | Reliability Assessment | PGAE | Kern | 2022-06-02 | 32 - 47 | Yes | INC | 8 | 44714.6667 | 44715 | 375.5935 | 97785.6901 | 14426.7114 | -28303.3217 | 0 | 0 | 0 | 0 | 0 | 0
170 | RT | Reliability Assessment | PGAE | Kern | 2022-06-03 | 32 - 47 | Yes | INC | 24 | 44715 | 44716 | 38.7292 | 122564.2692 | 21192.87 | -3311.9358 | 0 | 0 | 0 | 0 | 0 | 0
171 | RT | Reliability Assessment | PGAE | Kern | 2022-06-04 | 32 - 47 | Yes | INC | 23 | 44716 | 44716.9583 | 16.3457 | 29913.1032 | 3733.98 | -1324.5075 | 0 | 0 | 0 | 0 | 0 | 0
172 | RT | Reliability Assessment | PGAE | Kern | 2022-06-05 | 32 | No | INC | 6 | 44717.7083 | 44717.9583 | 21.4045 | 26775.18 | 4290.9792 | -5160.1988 | 0 | 0 | 0 | 0 | 0 | 0
173 | RT | Reliability Assessment | PGAE | Kern | 2022-06-06 | 20 - 50 | No | INC | 7 | 44718.7083 | 44719 | 207.3992 | 34771.3675 | 7798.5938 | -25030.2616 | 0 | 0 | 0 | 0 | 0 | 0
174 | RT | Reliability Assessment | PGAE | Kern | 2022-06-07 | 32 | No | DEC | 4 | 44719.75 | 44719.9167 | 12.8695 | 0 | 0 | -940.3953 | 0 | 0 | 0 | 0 | 0 | 0
175 | RT | Reliability Assessment | PGAE | Kern | 2022-06-07 | 20 - 47 | No | INC | 24 | 44719 | 44720 | 70.5148 | 58397.685 | 5239.4829 | -5407.4392 | 0 | 0 | 0 | 0 | 0 | 0
176 | RT | Reliability Assessment | PGAE | Kern | 2022-06-08 | 32 - 47 | No | DEC | 5 | 44720.75 | 44720.9583 | 200.2494 | 0 | 0 | -25462.0272 | 0 | 0 | 0 | 0 | 0 | 0
177 | RT | Reliability Assessment | PGAE | Kern | 2022-06-08 | 32 - 47 | No | INC | 24 | 44720 | 44721 | 126.1873 | 24395.95 | 0 | -11159.8737 | 51.0337 | -4774.4422 | 0 | 0 | 0 | 0
178 | RT | Reliability Assessment | PGAE | Kern | 2022-06-09 | 32 - 52 | Yes | INC | 24 | 44721 | 44722 | 23.3716 | 36810.2452 | 2200.32 | -2415.902 | 1.5274 | -178.0696 | 0 | 0 | 0 | 0
179 | RT | Reliability Assessment | PGAE | Kern | 2022-06-10 | 32 - 47 | No | DEC | 8 | 44722.6667 | 44723 | 21.0875 | -17958.4065 | 2216.7164 | -1719.6022 | 0 | 0 | 0 | 0 | 0 | 0
180 | RT | Reliability Assessment | PGAE | Kern | 2022-06-10 | 32 - 52 | No | INC | 24 | 44722 | 44723 | 55.2126 | 101888.6475 | 4804.9627 | -4850.6301 | 2.2917 | -298.7797 | 0 | 0 | 0 | 0
181 | RT | Reliability Assessment | PGAE | Kern | 2022-06-11 | 23 - 49 | No | DEC | 6 | 44723.6667 | 44723.9167 | 3.9647 | -18544.83 | 3115.95 | -308.9129 | 0 | 0 | 0 | 0 | 0 | 0
182 | RT | Reliability Assessment | PGAE | Kern | 2022-06-11 | 23 - 49 | No | INC | 24 | 44723 | 44724 | 82.0878 | 124883.9802 | 2771.26 | -6388.1182 | 4.2561 | -440.4592 | 0 | 0 | 0 | 0
183 | RT | Reliability Assessment | PGAE | Kern | 2022-06-12 | 32 | No | DEC | 3 | 44724.7917 | 44724.9167 | 3.4867 | 0 | 0 | -273.7571 | 0 | 0 | 0 | 0 | 0 | 0
184 | RT | Reliability Assessment | PGAE | Kern | 2022-06-12 | 23 - 49 | Yes | INC | 24 | 44724 | 44725 | 274.1284 | 115064.3935 | 8817.32 | -22001.0817 | 0 | 0 | 0 | 0 | 0 | 0
185 | RT | Reliability Assessment | PGAE | Kern | 2022-06-13 | 23 - 47 | Yes | INC | 23 | 44725 | 44725.9583 | 117.8192 | 63376.0698 | 4568.2255 | -13332.0037 | 0 | 0 | 0 | 0 | 0 | 0
186 | RT | Reliability Assessment | PGAE | Kern | 2022-06-14 | 20 - 47 | No | INC | 9 | 44726.625 | 44727 | 116.605 | 92422.4251 | 8815.77 | -11362.8737 | 0 | 0 | 0 | 0 | 0 | 0
187 | RT | Reliability Assessment | PGAE | Kern | 2022-06-15 | 47 | No | DEC | 3 | 44727.7917 | 44727.9167 | 1.2146 | 0 | 0 | -116.6084 | 0 | 0 | 0 | 0 | 0 | 0
188 | RT | Reliability Assessment | PGAE | Kern | 2022-06-15 | 5 - 47 | No | INC | 24 | 44727.0104 | 44728 | 156.3684 | 43252.0075 | 4177.34 | -14256.3026 | 6.1771 | -546.095 | 0 | 0 | 0 | 0
189 | RT | Reliability Assessment | PGAE | Kern | 2022-06-16 | 32 - 47 | Yes | INC | 24 | 44728 | 44729 | 308.0704 | 45895.71 | 3421.57 | -23402.2363 | 0 | 0 | 0 | 0 | 0 | 0
190 | RT | Reliability Assessment | PGAE | Kern | 2022-06-17 | 47 | No | DEC | 3 | 44729.7917 | 44729.9167 | -7.6406 | 0 | 0 | 505.2889 | 0 | 0 | 0 | 0 | 0 | 0
191 | RT | Reliability Assessment | PGAE | Kern | 2022-06-17 | 20 - 49 | No | INC | 8 | 44729.6667 | 44730 | 182.1152 | 26932.36 | 3810.85 | -7575.9764 | 9.9583 | -894.6567 | 0 | 0 | 0 | 0
192 | RT | Reliability Assessment | PGAE | Kern | 2022-06-18 | 47 | No | INC | 4 | 44730.75 | 44730.9167 | -1.7917 | 7204.59 | 0 | -200.1487 | 0 | 0 | 0 | 0 | 0 | 0
193 | RT | Reliability Assessment | PGAE | Kern | 2022-06-19 | 47 - 49 | No | INC | 4 | 44731.75 | 44731.9167 | 94.5631 | 24896.36 | 3599.6612 | -4752.6542 | 6.9396 | -579.9157 | 0 | 0 | 0 | 0
194 | RT | Reliability Assessment | PGAE | Kern | 2022-06-21 | 32 | No | DEC | 5 | 44733.5 | 44733.7083 | 0.95125 | 0 | 0 | 32.5776 | 0 | 0 | 0 | 0 | 0 | 0
195 | RT | Reliability Assessment | PGAE | Kern | 2022-06-21 | 20 - 32 | No | INC | 8 | 44733.4167 | 44733.75 | -3.3802 | 22026.86 | 4103.31 | 217.142 | 0 | 0 | 0 | 0 | 0 | 0
196 | RT | Reliability Assessment | PGAE | Kern | 2022-06-23 | 32 | No | DEC | 2 | 44735.8611 | 44735.9167 | -4.8094 | 0 | 0 | 287.6221 | -4.9104 | 0 | 295.9654 | 0 | 0 | 0
197 | RT | Reliability Assessment | PGAE | Kern | 2022-06-24 | 32 | No | INC | 6 | 44736.75 | 44737 | 1.1125 | 20205.62 | 8505.25 | -147.9292 | 0 | 0 | 0 | 0 | 0 | 0
198 | RT | Reliability Assessment | PGAE | Kern | 2022-06-25 | 20 - 47 | No | INC | 24 | 44737 | 44738 | -4.1483 | 33605.815 | 15147.9773 | 297.3714 | 0.0041667 | -0.32492 | 0 | 0 | 0 | 0
199 | RT | Reliability Assessment | PGAE | Kern | 2022-06-26 | 32 | No | DEC | 6 | 44738.6667 | 44738.9167 | -9.4123 | 0 | 0 | 5455.1684 | 0 | 0 | 0 | 0 | 0 | 0
200 | RT | Reliability Assessment | PGAE | Kern | 2022-06-26 | 20 - 51 | No | INC | 24 | 44738 | 44739 | 225.5754 | 5180.7 | 492.6214 | -18696.187 | 134.2531 | -11058.7653 | 0 | 0 | 0 | 0
201 | RT | Reliability Assessment | PGAE | Kern | 2022-06-27 | 32 - 51 | No | INC | 24 | 44739 | 44740 | 11.3579 | 8161.1675 | 632.6173 | -670.172 | 0 | 0 | 0 | 0 | 0 | 0
202 | RT | Reliability Assessment | PGAE | Kern | 2022-06-28 | 47 - 52 | No | INC | 24 | 44740 | 44741 | 70.0167 | 64921.72 | 8715.1718 | -6501.7445 | 0.64398 | -54.3061 | 0 | 0 | 0 | 0
203 | RT | Reliability Assessment | PGAE | Kern | 2022-06-29 | 48 - 52 | No | INC | 9 | 44741.625 | 44742 | -28.3542 | 120123.67 | 26706.0009 | 1762.715 | 0.17187 | -15.0478 | 0 | 0 | 0 | 0
204 | RT | Reliability Assessment | PGAE | Kern | 2022-06-30 | 24 - 45 | No | INC | 4 | 44742.6667 | 44742.8229 | -1.049 | 18786.9375 | 6653.8043 | 57.9165 | 0.29667 | -24.7667 | 0 | 0 | 0 | 0
205 | RT | Reliability Assessment | PGAE | NCNB | 2022-06-09 | 45 - 60 | No | DEC | 7 | 44721.7153 | 44722 | -31.3766 | 0 | 0 | -5547.4063 | -40.5658 | 0 | -608.4875 | 0 | 0 | 0
206 | RT | Reliability Assessment | PGAE | NCNB | 2022-06-10 | 45 - 70 | No | DEC | 24 | 44722 | 44723 | 30.964 | 0 | 0 | -1818.5954 | -28.0492 | 0 | -420.7375 | 0 | 0 | 0
207 | RT | Reliability Assessment | PGAE | NCNB | 2022-06-10 | 68 - 70 | No | INC | 7 | 44722.6667 | 44722.9583 | 13.3773 | 0 | 0 | -214.7408 | -9.55 | -0.45 | -78 | 0 | 0 | 0
208 | RT | Reliability Assessment | PGAE | NCNB | 2022-06-11 | 58 - 70 | No | DEC | 24 | 44723 | 44724 | 49.5636 | 0 | 0 | -4382.07 | -21.8333 | 0 | -327.5 | 0 | 0 | 0
209 | RT | Reliability Assessment | PGAE | NCNB | 2022-06-12 | 65 - 70 | No | DEC | 3 | 44724 | 44724.1042 | 16.6567 | 0 | 0 | -806.8882 | 0 | 0 | 0 | 0 | 0 | 0
210 | RT | Reliability Assessment | PGAE | NCNB | 2022-06-13 | 65 | No | DEC | 2 | 44725.9167 | 44725.9792 | -7.3917 | 0 | 0 | -123.617 | -7.4958 | 0 | -112.4375 | 0 | 0 | 0
211 | RT | Reliability Assessment | PGAE | NCNB | 2022-06-14 | 65 | No | DEC | 3 | 44726.0035 | 44726.125 | -7.2188 | 0 | 0 | -119.4525 | -7.3333 | 0 | -110 | 0 | 0 | 0
212 | RT | Reliability Assessment | PGAE | NCNB | 2022-06-21 | 66 - 75 | No | DEC | 7 | 44733.7222 | 44734 | -0.031563 | 0 | 0 | -3663.44 | -13.7295 | 12.5 | -218.4422 | 0 | 0 | 0
213 | RT | Reliability Assessment | PGAE | NCNB | 2022-06-22 | 66 - 75 | No | DEC | 5 | 44734 | 44734.1875 | 1.1677 | 0 | 0 | -710.6559 | -7.3854 | 0 | -110.7813 | 0 | 0 | 0
214 | RT | Reliability Assessment | PGAE | NCNB | 2022-06-22 | 75 | No | INC | 1 | 44734.1667 | 44734.1875 | -1.7396 | 0 | 0 | 116.7331 | 0 | 0 | 0 | 0 | 0 | 0
215 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-02 | 40 - 42 | No | INC | 4 | 44714.75 | 44714.9167 | -0.086667 | 42571.44 | 7750.45 | 4.0982 | 0 | 0 | 0 | 0 | 0 | 0
216 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-03 | 42 | Yes | INC | 4 | 44715.75 | 44715.9167 | -0.12333 | 28380.64 | 1919.76 | 19.369 | 0 | 0 | 0 | 0 | 0 | 0
217 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-06 | 20 | No | DEC | 4 | 44718.75 | 44718.9167 | 30.1611 | 0 | 0 | -8073.2686 | 0 | 0 | 0 | 0 | 0 | 0
218 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-06 | 20 | No | INC | 1 | 44718.7326 | 44718.75 | -1.9496 | 0 | 0 | 182.7977 | 0 | 0 | 0 | 0 | 0 | 0
219 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-07 | 20 | No | DEC | 3 | 44719.75 | 44719.875 | 10.3753 | 0 | 0 | -1325.9499 | 0 | 0 | 0 | 0 | 0 | 0
220 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-07 | 20 | No | INC | 1 | 44719.7292 | 44719.75 | 3.8683 | 0 | 0 | -240.601 | 0 | 0 | 0 | 0 | 0 | 0
221 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-08 | 20 | Yes | DEC | 3 | 44720.75 | 44720.875 | 34.3471 | -2123.5 | 0 | -4348.6888 | 0 | 0 | 0 | 0 | 0 | 0
222 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-08 | 20 - 42 | No | INC | 7 | 44720.6667 | 44720.9583 | 4.48 | 75778.18 | 2645.88 | -774.3512 | 0 | 0 | 0 | 0 | 0 | 0
223 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-09 | 20 | No | DEC | 6 | 44721.7153 | 44721.9583 | -89.6244 | 0 | 0 | 8520.416 | 0 | 0 | 0 | 0 | 0 | 0
224 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-09 | 20 - 42 | No | INC | 7 | 44721.7153 | 44722 | -66.7017 | 61543.925 | 1919.76 | 5643.0295 | 0 | 0 | 0 | 0 | 0 | 0
225 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-10 | 20 | No | DEC | 6 | 44722.6667 | 44722.9167 | -8.2162 | 0 | 0 | 659.7938 | 0 | 0 | 0 | 0 | 0 | 0
226 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-10 | 20 - 42 | No | INC | 12 | 44722.5104 | 44723 | 29.3964 | 68793.56 | 122.9006 | -3956.199 | 0 | 0 | 0 | 0 | 0 | 0
227 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-11 | 20 | No | DEC | 5 | 44723.75 | 44723.9583 | 6.8862 | 0 | 0 | -1311.7371 | 0 | 0 | 0 | 0 | 0 | 0
228 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-11 | 20 - 42 | No | INC | 24 | 44723 | 44724 | 20.2609 | 123020.6133 | 6825.2269 | -2650.451 | 0 | 0 | 0 | 0 | 0 | 0
229 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-12 | 20 | No | INC | 5 | 44724 | 44724.1979 | 8.1616 | 19000 | 0 | -1666.9702 | 0 | 0 | 0 | 0 | 0 | 0
230 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-14 | 42 | No | INC | 4 | 44726.7778 | 44726.9167 | 11.25 | 23061.5 | 1828.3429 | -2600.5816 | 0 | 0 | 0 | 0 | 0 | 0
231 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-16 | 20 | Yes | DEC | 4 | 44728.75 | 44728.9167 | -84.7742 | 0 | 0 | 6196.3352 | 0 | 0 | 0 | 0 | 0 | 0
232 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-16 | 20 | Yes | INC | 1 | 44728.9167 | 44728.9583 | -19.5367 | 0 | 0 | 1449.8053 | 0 | 0 | 0 | 0 | 0 | 0
233 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-21 | 20 | No | INC | 2 | 44733.6562 | 44733.7083 | -4.0908 | 0 | 0 | 214.6008 | 0 | 0 | 0 | 0 | 0 | 0
234 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-22 | 20 | No | DEC | 2 | 44734.7917 | 44734.875 | -87.2202 | 0 | 0 | 6263.4269 | 0 | 0 | 0 | 0 | 0 | 0
235 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-22 | 20 - 48 | No | INC | 12 | 44734.5104 | 44735 | -26.1937 | 82588.11 | 1741.1777 | 2005.1527 | 0 | 0 | 0 | 0 | 0 | 0
236 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-23 | 40 | No | DEC | 4 | 44735.75 | 44735.9167 | 7.6995 | 0 | 398.2688 | -2437.8314 | 0 | 0 | 0 | 0 | 0 | 0
237 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-23 | 20 - 42 | No | INC | 12 | 44735.4965 | 44735.9583 | -49.0095 | 51966.495 | 2188.8354 | 2936.1312 | 3.3333 | -288.4 | 0 | 0 | 0 | 0
238 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-24 | 20 | No | DEC | 2 | 44736.7917 | 44736.875 | -0.56667 | 0 | 0 | -34.9341 | 0 | 0 | 0 | 0 | 0 | 0
239 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-24 | 10 - 42 | No | INC | 11 | 44736.5764 | 44737 | 0.51102 | 100142.69 | 1717.68 | -1196.4243 | 8.2952 | -1085.6524 | 0 | 0 | 0 | 0
240 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-25 | 0 - 47 | No | DEC | 6 | 44737.6667 | 44737.9167 | -25.4564 | -62.1075 | 0 | 2671.8403 | -23.4231 | -527.715 | 2960.1056 | 0 | 0 | 0
241 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-25 | 20 - 47 | Yes | INC | 24 | 44737 | 44738 | 74.8225 | 78323.05 | 3016.7657 | -9170.3974 | 9 | -703.62 | 0 | 0 | 0 | 0
242 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-26 | 20 - 47 | No | DEC | 6 | 44738.6667 | 44738.9167 | -2.7576 | 0 | 0 | -125.6849 | 0 | 0 | 0 | 0 | 0 | 0
243 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-26 | 20 - 47 | No | INC | 24 | 44738 | 44739 | 22.2055 | 72040.5 | 0 | -1611.5827 | 10.4385 | -812.3452 | 0 | 0 | 0 | 0
244 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-27 | 20 - 42 | Yes | DEC | 4 | 44739.75 | 44739.9167 | 41.4388 | -1147.76 | 0 | -7921.7052 | 0 | 0 | 0 | 0 | 0 | 0
245 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-27 | 20 - 47 | Yes | INC | 23 | 44739 | 44739.9583 | -1.7283 | 48600.78 | 0 | 37.1594 | 0 | 0 | 0 | 0 | 0 | 0
246 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-29 | 20 - 38 | No | DEC | 3 | 44741.8333 | 44741.9583 | -4.0609 | 0 | 0 | -779.105 | -6.1667 | 0 | -404.3509 | 0 | 0 | 0
247 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-29 | 20 - 38 | No | INC | 6 | 44741.7604 | 44742 | -14.6379 | 8250 | 0 | 1110.0145 | 0 | 0 | 0 | 0 | 0 | 0
248 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-30 | 20 | No | DEC | 5 | 44742.75 | 44742.9583 | -4.9036 | 0 | 0 | 358.4737 | 0 | 0 | 0 | 0 | 0 | 0
249 | RT | Reliability Assessment | PGAE | Sierra | 2022-06-30 | 20 - 42 | Yes | INC | 24 | 44742 | 44743 | -24.6233 | 18265.0625 | 4945.61 | 1325.4885 | 0 | 0 | 0 | 0 | 0 | 0
250 | RT | Reliability Assessment | PGAE | Stockton | 2022-06-13 | 191.2 | No | INC | 6 | 44725.1285 | 44725.375 | 26.276 | 70384.4602 | 67415.43 | -2955.4588 | 0 | 0 | 0 | 0 | 0 | 0
251 | RT | Reliability Assessment | PGAE | Stockton | 2022-06-22 | 20 | No | INC | 9 | 44734.5243 | 44734.875 | -7.375 | 15747.4167 | 0 | 550.7189 | 0 | 0 | 0 | 0 | 0 | 0
252 | RT | Reliability Assessment | PGAE | NA | 2022-06-04 | 0 | No | DEC | 1 | 44716.3819 | 44716.4062 | -3.0667 | 0 | 0 | -0.030989 | -3.0667 | 0 | -0.030989 | 0 | 0 | 0
253 | RT | Reliability Assessment | PGAE | NA | 2022-06-09 | 32 | No | DEC | 6 | 44721.75 | 44722 | 0.0020833 | 0 | 0 | -0.61712 | 0 | 0 | 0 | 0 | 0 | 0
254 | RT | Reliability Assessment | PGAE | NA | 2022-06-09 | 34 - 48 | No | INC | 7 | 44721.7083 | 44722 | -42.4567 | 29729.91 | 4247.63 | 3924.0539 | 0 | 0 | 0 | 0 | 0 | 0
255 | RT | Reliability Assessment | PGAE | NA | 2022-06-10 | 32 | No | DEC | 22 | 44722 | 44722.9167 | 5.5263 | 0 | 0 | -426.2681 | 0 | 0 | 0 | 0 | 0 | 0
256 | RT | Reliability Assessment | PGAE | NA | 2022-06-10 | 32 - 48 | No | INC | 24 | 44722 | 44723 | 6.6002 | 26584.11 | 0 | -435.1607 | 0.3125 | -34.6603 | 0 | 0 | 0 | 0
257 | RT | Reliability Assessment | PGAE | NA | 2022-06-11 | 32 - 46 | Yes | INC | 24 | 44723 | 44724 | -1.5083 | 44141.9625 | 3925.57 | 33.2432 | 0.28865 | -29.4404 | 0 | 0 | 0 | 0
258 | RT | Reliability Assessment | PGAE | NA | 2022-06-12 | 45 - 46 | Yes | INC | 24 | 44724 | 44725 | 0.035418 | 30408.9075 | 3925.57 | -24.1857 | 0.61458 | -64.2272 | 0 | 0 | 0 | 0
259 | RT | Reliability Assessment | PGAE | NA | 2022-06-13 | 45 | No | INC | 2 | 44725 | 44725.0833 | -0.052083 | 7847.46 | 0 | 4.122 | 0 | 0 | 0 | 0 | 0 | 0
260 | RT | Reliability Assessment | PGAE | NA | 2022-06-16 | 32 | Yes | INC | 8 | 44728.6667 | 44729 | -11.6377 | 27372.56 | 3421.57 | 1133.7547 | 0 | 0 | 0 | 0 | 0 | 0
261 | RT | Reliability Assessment | PGAE | NA | 2022-06-17 | 32 | Yes | INC | 8 | 44729.6667 | 44730 | 21.871 | 27660.24 | 3459.04 | -1490.0766 | 0 | 0 | 0 | 0 | 0 | 0
262 | RT | Reliability Assessment | PGAE | NA | 2022-06-21 | 90 | No | INC | 1 | 44733.6562 | 44733.6979 | 7.7317 | 0 | 0 | -1037.2034 | 0 | 0 | 0 | 0 | 0 | 0
263 | RT | Reliability Assessment | PGAE | NA | 2022-06-28 | 47 - 48 | Yes | INC | 9 | 44740.625 | 44741 | -52.9681 | 58427.425 | 17015.92 | 3595.0748 | 0.0125 | -0.80443 | 0 | 0 | 0 | 0
264 | RT | Reliability Assessment | PGAE | NA | 2022-06-29 | 48 | No | INC | 9 | 44741.625 | 44742 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
265 | RT | Reliability Assessment | PGAE | NA | 2022-06-30 | 45 | No | INC | 3 | 44742.7083 | 44742.8229 | -15.7646 | 8698.415 | 4123.295 | 1476.3883 | 0 | 0 | 0 | 0 | 0 | 0
266 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2022-06-13 | 0 | No | INC | 2 | 44725.8403 | 44725.8854 | -0.0033333 | 408.8899 | 0 | 0.31417 | -0.0033333 | 0 | 0.31417 | 0 | 0 | 0
267 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-06-22 | 0 | No | INC | 1 | 44734.1319 | 44734.1667 | 17.5 | 0 | 0 | -1211.3171 | 15 | -1072.1986 | 0 | 0 | 0 | 0
268 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-06-26 | 0 | No | INC | 1 | 44738.2049 | 44738.2396 | 0.75321 | 0 | 0 | -40.358 | 0 | 0 | 0 | 0 | 0 | 0
269 | RT | Reverse Commitment Instruction | PGAE | Kern | 2022-06-22 | 0 | No | INC | 8 | 44734.7049 | 44735 | -6.9 | 0 | 0 | 10.602 | -6.9 | 0 | 10.602 | 0 | 0 | 0
270 | RT | Software Limitation | PGAE | Fresno | 2022-06-13 | 66 | No | INC | 2 | 44725.9375 | 44726 | 2.4605 | 0 | 0 | -173.1651 | 0 | 0 | 0 | 0 | 0 | 0
271 | RT | Software Limitation | PGAE | Fresno | 2022-06-14 | 66 - 92 | No | INC | 3 | 44726 | 44726.125 | 29.7347 | 0 | 0 | -5757.6344 | 0 | 0 | 0 | 0 | 0 | 0
272 | RT | Software Limitation | PGAE | Fresno | 2022-06-15 | 83 | No | INC | 1 | 44727.9896 | 44728 | 22.9111 | 0 | 0 | -2126.482 | 0 | 0 | 0 | 0 | 0 | 0
273 | RT | Software Limitation | PGAE | Fresno | 2022-06-16 | 83 | No | INC | 1 | 44728 | 44728.0104 | 27.5021 | 0 | 0 | -2350.4902 | 0 | 0 | 0 | 0 | 0 | 0
274 | RT | Software Limitation | PGAE | Fresno | 2022-06-22 | 83 | No | DEC | 1 | 44734.8021 | 44734.8125 | -1.6379 | 0 | 0 | 135.0384 | 0 | 0 | 0 | 0 | 0 | 0
275 | RT | Software Limitation | PGAE | Fresno | 2022-06-22 | 83 - 400 | No | INC | 4 | 44734.2569 | 44734.3958 | 504.2584 | 188557.6059 | 0 | -42528.622 | 546.8083 | -46161.2144 | 0 | -31087.5041 | 0 | 0
276 | RT | Software Limitation | PGAE | Kern | 2022-06-03 | 0 | No | INC | 3 | 44715.4583 | 44715.5799 | -14.7917 | 1777.185 | 0 | -0.015533 | -14.7917 | 0 | -0.015533 | 0 | 0 | 0
277 | RT | Software Limitation | PGAE | Sierra | 2022-06-14 | 40 | No | INC | 1 | 44726.0417 | 44726.0833 | -2.7862 | 0 | 0 | 148.838 | 0 | 0 | 0 | 0 | 0 | 0
278 | RT | Software Limitation | PGAE | Stockton | 2022-06-14 | 40 | No | INC | 1 | 44726.0417 | 44726.0833 | 36.8649 | 0 | 0 | -3401.6368 | 39.482 | -3651.039 | 0 | -2041.2363 | 0 | 0
279 | RT | Software Limitation | PGAE | NA | 2022-06-15 | 460 | No | DEC | 1 | 44727.0069 | 44727.0417 | 26.0224 | 0 | 0 | -1832.7375 | 0 | 0 | 0 | 0 | 0 | 0
280 | RT | Software Limitation | SCE | Big Creek-Ventura | 2022-06-14 | 0 | No | DEC | 3 | 44726.125 | 44726.25 | -0.25 | 0 | 0 | 0 | -0.25 | 0 | 0 | 0 | 0 | 0
281 | RT | Software Limitation | SCE | Big Creek-Ventura | 2022-06-27 | 0 | No | DEC | 15 | 44739 | 44739.625 | -8.3333 | 0 | 0 | 553.4504 | 0 | 0 | 0 | 0 | 0 | 0
282 | RT | Software Limitation | SCE | Big Creek-Ventura | 2022-06-27 | 0 | No | INC | 10 | 44739.5833 | 44740 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
283 | RT | Software Limitation | SCE | LA Basin | 2022-06-04 | 5 - 97.32 | No | INC | 1 | 44716.9201 | 44716.9549 | 129.6074 | 21809.6254 | 0 | -11196.8034 | 17.5157 | -1611.593 | 0 | 0 | 0 | 0
284 | RT | Software Limitation | SCE | LA Basin | 2022-06-05 | 0 | No | INC | 1 | 44717.0139 | 44717.0417 | -30.6692 | 2800.0733 | 0 | 0 | -30.6692 | 0 | 0 | 0 | 0 | 0
285 | RT | Software Limitation | SCE | LA Basin | 2022-06-22 | 100 | No | INC | 3 | 44734.2569 | 44734.3646 | 251.6436 | 56183.9667 | 0 | -16497.8947 | 178.7682 | -12225.1369 | 0 | -4350.8385 | 0 | 0
286 | RT | Software Limitation | SCE | LA Basin | 2022-06-27 | 0 | No | DEC | 16 | 44739 | 44739.6458 | -5.5833 | 0 | 0 | 359.1346 | 0 | 0 | 0 | 0 | 0 | 0
287 | RT | Software Limitation | SCE | NA | 2022-06-13 | 0 - 3 | No | DEC | 2 | 44725.9479 | 44726 | -116.0475 | 0 | 0 | 111.6546 | -115.0175 | 0 | 0 | 0 | 0 | 0
288 | RT | Software Limitation | SCE | NA | 2022-06-13 | 70 | No | INC | 2 | 44725.9549 | 44726 | -25.4972 | 0 | 0 | 2356.6647 | -0.9775 | 0 | 0 | 0 | 0 | 0
289 | RT | Software Limitation | SCE | NA | 2022-06-14 | 0 - 3 | No | DEC | 3 | 44726 | 44726.125 | -1.9132 | 0 | 0 | 120.0587 | 0 | 0 | 0 | 0 | 0 | 0
290 | RT | Software Limitation | SCE | NA | 2022-06-14 | 70 | No | INC | 3 | 44726 | 44726.125 | -0.86581 | 0 | 0 | -98.8179 | 0 | 0 | 0 | 0 | 0 | 0
291 | RT | Software Limitation | SDGE | San Diego-IV | 2022-06-07 | 331 | No | DEC | 1 | 44719.9896 | 44720 | -0.33333 | 0 | 0 | 19.7695 | 0 | 0 | 0 | 0 | 0 | 0
292 | RT | Software Limitation | SDGE | San Diego-IV | 2022-06-08 | 331 | No | DEC | 4 | 44720 | 44720.1354 | 63.5958 | 0 | 0 | -6619.9492 | 0 | 0 | 0 | 0 | 0 | 0
293 | RT | Unit Testing | Intertie | NA | 2022-06-23 | 20 | No | INC | 14 | 44735.2083 | 44735.7917 | 279.5833 | 0 | 0 | -14403.2042 | 279.5833 | -14403.2042 | 0 | 0 | 0 | 0
294 | RT | Unit Testing | Intertie | NA | 2022-06-24 | 20 | No | INC | 15 | 44736.2083 | 44736.8333 | 299.5833 | 0 | 0 | -14806.7485 | 299.5833 | -14806.7485 | 0 | 0 | 0 | 0
295 | RT | Unit Testing | Intertie | NA | 2022-06-25 | 20 | No | INC | 15 | 44737.2083 | 44737.8333 | 299.5833 | 0 | 0 | -13348.0755 | 299.5833 | -13348.0755 | 0 | 0 | 0 | 0
296 | RT | Unit Testing | Intertie | NA | 2022-06-27 | 20 | No | INC | 15 | 44739.2083 | 44739.8333 | 299.5833 | 0 | 0 | -17669.1151 | 299.5833 | -17669.1151 | 0 | 0 | 0 | 0
297 | RT | Unit Testing | Intertie | NA | 2022-06-28 | 20 | No | INC | 14 | 44740.2083 | 44740.7917 | 279.5833 | 0 | 0 | -15378.796 | 279.5833 | -15378.796 | 0 | 0 | 0 | 0
298 | RT | Unit Testing | Intertie | NA | 2022-06-29 | 20 | No | INC | 14 | 44741.2083 | 44741.7917 | 279.5833 | 0 | 0 | -17892.6636 | 279.5833 | -17892.6636 | 0 | 0 | 0 | 0
299 | RT | Unit Testing | Intertie | NA | 2022-06-30 | 20 | No | INC | 14 | 44742.2083 | 44742.7917 | 279.5833 | 0 | 0 | -15665.5346 | 279.5833 | -15665.5346 | 0 | 0 | 0 | 0
300 | RT | Unit Testing | PGAE | Bay Area | 2022-06-01 | 250 | No | INC | 5 | 44713.8299 | 44714 | 134.143 | 48649.0125 | 0 | -12040.0859 | 0 | 0 | 0 | 0 | 0 | 0
301 | RT | Unit Testing | PGAE | Bay Area | 2022-06-02 | 250 | No | INC | 3 | 44714.8819 | 44714.9688 | 102.9363 | 0 | 0 | -7564.0589 | 56.0764 | -4476.5768 | 0 | 0 | 0 | 0
302 | RT | Unit Testing | PGAE | Bay Area | 2022-06-07 | 605 | No | INC | 2 | 44719.9132 | 44719.9792 | 26.3302 | 82787.862 | 0 | -3440.3964 | 33.5979 | -3941.0357 | 0 | 0 | 0 | 0
303 | RT | Unit Testing | PGAE | Bay Area | 2022-06-28 | 510 | No | INC | 1 | 44740.9618 | 44741 | 58.575 | -22423.7788 | 0 | -3643.4485 | 5.0206 | -315.6432 | 0 | 0 | 0 | 0
304 | RT | Unit Testing | PGAE | Bay Area | 2022-06-29 | 510 | No | INC | 1 | 44741 | 44741.0312 | 0 | -2812.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
305 | RT | Unit Testing | PGAE | Fresno | 2022-06-03 | 407 | No | INC | 1 | 44715.8438 | 44715.875 | 121.3229 | 0 | 0 | -99037.6832 | 107.6638 | -97686.5729 | 0 | 0 | 0 | 0
306 | RT | Unit Testing | SCE | LA Basin | 2022-06-02 | 10 - 20 | No | INC | 5 | 44714.7917 | 44715 | -12.7383 | 0 | 8041.754 | 1477.2548 | 0 | 0 | 0 | 0 | 0 | 0
307 | RT | Unit Testing | SCE | LA Basin | 2022-06-03 | 10 - 70 | No | INC | 24 | 44715 | 44716 | 33.6842 | 51447.4025 | 97236.048 | -2249.4245 | 0 | 0 | 0 | 0 | 0 | 0
308 | RT | Unit Testing | SCE | LA Basin | 2022-06-04 | 10 - 480 | No | INC | 24 | 44716 | 44717 | 507.3743 | 671857.365 | 194563 | -32332.4525 | 153.4508 | -16997.749 | 0 | 0 | 0 | 0
309 | RT | Unit Testing | SCE | LA Basin | 2022-06-23 | 26 | No | INC | 1 | 44735.8403 | 44735.8715 | 14.8615 | 8194.285 | 0 | -1395.0523 | 0.45833 | -48.225 | 0 | 0 | 0 | 0
310 | RT | Unit Testing | SCE | NA | 2022-06-08 | 80 | No | INC | 1 | 44720.8542 | 44720.875 | 27.0833 | 0 | 0 | -2895.0904 | 22.9167 | -2431.4173 | 0 | 0 | 0 | 0
311 | RT | Unit Testing | SCE | NA | 2022-06-30 | -36 | No | DEC | 1 | 44742.3924 | 44742.4236 | 5.375 | 0 | 0 | -223.0161 | 5.875 | -242.5605 | 0 | 0 | 0 | 0
312 | RT | Unit Testing | SDGE | San Diego-IV | 2022-06-12 | 235 | No | INC | 1 | 44724.9583 | 44725 | 107.6458 | 0 | 0 | -7598.2947 | 13.3333 | -933.6 | 0 | 0 | 0 | 0
313 | RT | Unplanned Outage | PGAE | NCNB | 2022-06-16 | 44 - 63 | No | DEC | 15 | 44728.2465 | 44728.8333 | -58.0377 | 0 | 0 | -1019.8791 | -74.8233 | 0 | -1122.35 | 0 | 0 | 0
314 | RT | Unplanned Outage | PGAE | NA | 2022-06-16 | 48 | No | INC | 2 | 44728.25 | 44728.3021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
315 | RT | Voltage Support | PGAE | Humboldt | 2022-06-23 | 15 | No | DEC | 1 | 44735.9549 | 44735.9583 | 2.0337 | 0 | 0 | -118.9702 | 0 | 0 | 0 | 0 | 0 | 0
316 | RT | Voltage Support | PGAE | Humboldt | 2022-06-23 | 30 - 45 | No | INC | 1 | 44735.9583 | 44736 | -12.8708 | 7463.4425 | 0 | 886.3175 | 0 | 0 | 0 | 0 | 0 | 0
317 | RT | Voltage Support | PGAE | Humboldt | 2022-06-24 | 30 - 45 | No | INC | 4 | 44736 | 44736.1458 | -3.7183 | 14154.0083 | 0 | 223.2404 | 0 | 0 | 0 | 0 | 0 | 0
318 | RT | Voltage Support | PGAE | Sierra | 2022-06-20 | 20 | No | DEC | 1 | 44732.8958 | 44732.9167 | -1.3658 | 0 | 0 | 101.1558 | 0 | 0 | 0 | 0 | 0 | 0
319 | RT | Voltage Support | PGAE | NA | 2022-06-26 | 0.15 | No | INC | 18 | 44738.25 | 44739 | -0.00625 | 0 | 0 | 0.38247 | 0 | 0 | 0 | 0 | 0 | 0
320 | RT | Voltage Support | PGAE | NA | 2022-06-27 | 0.15 | No | INC | 18 | 44739 | 44739.75 | -0.00625 | 0 | 0 | 0.48749 | 0 | 0 | 0 | 0 | 0 | 0

## Price_Impact_A
Table 8: Price Impact Analysis Information for Pricing Node A in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2022-06-22 | 7 | 3 | 69.9295 | Yes | 168.86 | 98.9305
2 | 2022-06-22 | 7 | 4 | 69.9295 | Yes | 168.86 | 98.9305
3 | 2022-06-22 | 7 | 5 | 76.2737 | Yes | 168.86 | 92.5863
4 | 2022-06-22 | 7 | 6 | 67.7035 | Yes | 168.86 | 101.1565
5 | 2022-06-22 | 7 | 7 | 49.6005 | Yes | 168.86 | 119.2595
6 | 2022-06-22 | 7 | 8 | 49.0587 | Yes | 168.86 | 119.8013
7 | 2022-06-22 | 7 | 9 | 47.8627 | Yes | 168.86 | 120.9973
8 | 2022-06-22 | 7 | 10 | 40.7616 | Yes | 168.86 | 128.0984
9 | 2022-06-22 | 7 | 11 | 40.1321 | Yes | 168.86 | 128.7279
10 | 2022-06-22 | 7 | 12 | 51.3082 | Yes | 168.86 | 117.5518
11 | 2022-06-22 | 8 | 1 | 81.3497 | Yes | 168.86 | 87.5103
12 | 2022-06-22 | 8 | 2 | 99.9114 | Yes | 168.86 | 68.9486
13 | 2022-06-22 | 8 | 3 | 86.7501 | Yes | 168.86 | 82.1099
14 | 2022-06-22 | 8 | 4 | 77.9329 | Yes | 168.86 | 90.9271
15 | 2022-06-22 | 8 | 5 | 88.2562 | Yes | 168.86 | 80.6038
16 | 2022-06-22 | 8 | 6 | 88.4186 | Yes | 168.86 | 80.4414
17 | 2022-06-22 | 8 | 7 | 90.1776 | Yes | 168.86 | 78.6824
18 | 2022-06-22 | 8 | 8 | 92.6377 | Yes | 168.86 | 76.2223
19 | 2022-06-22 | 8 | 9 | 94.6536 | Yes | 168.86 | 74.2064
20 | 2022-06-22 | 8 | 10 | 91.5594 | Yes | 168.86 | 77.3006
21 | 2022-06-22 | 8 | 11 | 68.0853 | Yes | 168.86 | 100.7747
22 | 2022-06-22 | 8 | 12 | 67.6795 | Yes | 168.86 | 101.1805
23 | 2022-06-22 | 9 | 1 | 96.2539 | Yes | 168.86 | 72.6061
24 | 2022-06-22 | 9 | 2 | 26.484 | Yes | 168.86 | 142.376
25 | 2022-06-22 | 9 | 3 | 43.0934 | Yes | 168.86 | 125.7666
26 | 2022-06-22 | 9 | 4 | 20.0527 | Yes | 168.86 | 148.8073
27 | 2022-06-22 | 9 | 5 | 15.1446 | Yes | 168.86 | 153.7155
28 | 2022-06-22 | 9 | 6 | 0.60762 | Yes | 168.86 | 168.2524
29 | 2022-06-22 | 9 | 7 | 69.443 | Yes | 168.86 | 99.417
30 | 2022-06-22 | 9 | 8 | 71.8324 | Yes | 168.86 | 97.0276
31 | 2022-06-22 | 9 | 9 | 51.9262 | Yes | 168.86 | 116.9338
32 | 2022-06-22 | 9 | 10 | 59.7743 | Yes | 168.86 | 109.0858
33 | 2022-06-22 | 9 | 11 | 77.0048 | Yes | 168.86 | 91.8552
34 | 2022-06-22 | 9 | 12 | 76.0428 | Yes | 168.86 | 92.8172
35 | 2022-06-22 | 10 | 1 | 57.892 | Yes | 168.86 | 110.968
36 | 2022-06-22 | 10 | 2 | 54.4807 | Yes | 168.86 | 114.3793
37 | 2022-06-22 | 10 | 3 | 55.8866 | Yes | 168.86 | 112.9734
38 | 2022-06-22 | 10 | 4 | 93.035 | Yes | 168.86 | 75.825
39 | 2022-06-22 | 10 | 5 | 100.7544 | Yes | 168.86 | 68.1056
40 | 2022-06-22 | 10 | 6 | 92.796 | Yes | 168.86 | 76.064
41 | 2022-06-26 | 23 | 3 | 85.3963 | Yes | 87.08 | 1.6837
42 | 2022-06-26 | 23 | 4 | 84.9494 | Yes | 87.08 | 2.1306
43 | 2022-06-26 | 23 | 5 | 76.2073 | Yes | 87.08 | 10.8727
44 | 2022-06-26 | 23 | 6 | 71.8257 | Yes | 87.08 | 15.2543
45 | 2022-06-26 | 23 | 7 | 88.9456 | Yes | 87.08 | -1.8656
46 | 2022-06-26 | 23 | 8 | 84.9441 | Yes | 87.08 | 2.1359
47 | 2022-06-26 | 23 | 9 | 85.1146 | Yes | 87.08 | 1.9654
48 | 2022-06-26 | 23 | 10 | 74.1232 | Yes | 87.08 | 12.9568
49 | 2022-06-26 | 23 | 11 | 74.1817 | Yes | 87.08 | 12.8983
50 | 2022-06-26 | 23 | 12 | 74.1935 | Yes | 87.08 | 12.8865
51 | 2022-06-26 | 24 | 1 | 67.2874 | Yes | 87.08 | 19.7926
52 | 2022-06-26 | 24 | 2 | 66.4566 | Yes | 87.08 | 20.6234
53 | 2022-06-26 | 24 | 3 | 66.7318 | Yes | 87.08 | 20.3482
54 | 2022-06-26 | 24 | 4 | 85.2847 | Yes | 87.08 | 1.7953
55 | 2022-06-26 | 24 | 5 | 74.8637 | Yes | 87.08 | 12.2163
56 | 2022-06-26 | 24 | 6 | 72.9931 | Yes | 87.08 | 14.0869
57 | 2022-06-26 | 24 | 7 | 85.4355 | Yes | 87.08 | 1.6445
58 | 2022-06-26 | 24 | 8 | 75.1589 | Yes | 87.08 | 11.9211
59 | 2022-06-26 | 24 | 9 | 75.1051 | Yes | 87.08 | 11.9749
60 | 2022-06-26 | 24 | 10 | 71.0393 | Yes | 87.08 | 16.0407
61 | 2022-06-26 | 24 | 11 | 71.1235 | Yes | 87.08 | 15.9565
62 | 2022-06-26 | 24 | 12 | 85.6789 | Yes | 87.08 | 1.4011
63 | 2022-06-27 | 1 | 1 | 113.1282 | Yes | 87.08 | -26.0482
64 | 2022-06-27 | 1 | 2 | 113.2758 | Yes | 87.08 | -26.1958
65 | 2022-06-27 | 1 | 3 | 113.4612 | Yes | 87.08 | -26.3812
66 | 2022-06-27 | 1 | 4 | 117.5646 | Yes | 87.08 | -30.4846
67 | 2022-06-27 | 1 | 5 | 117.0901 | Yes | 87.08 | -30.01
68 | 2022-06-27 | 1 | 6 | 116.7475 | Yes | 87.08 | -29.6675
69 | 2022-06-27 | 1 | 7 | 57.3837 | Yes | 87.08 | 29.6963
70 | 2022-06-27 | 1 | 8 | 57.3744 | Yes | 87.08 | 29.7056
71 | 2022-06-27 | 1 | 9 | 56.4522 | Yes | 87.08 | 30.6278
72 | 2022-06-27 | 1 | 10 | 57.4857 | Yes | 87.08 | 29.5943
73 | 2022-06-27 | 1 | 11 | 56.534 | Yes | 87.08 | 30.546
74 | 2022-06-27 | 1 | 12 | 57.5123 | Yes | 87.08 | 29.5677
75 | 2022-06-27 | 2 | 1 | 58.5329 | Yes | 87.08 | 28.5471
76 | 2022-06-27 | 2 | 2 | 57.206 | Yes | 87.08 | 29.874
77 | 2022-06-27 | 2 | 3 | 59.2898 | Yes | 87.08 | 27.7902
78 | 2022-06-27 | 2 | 4 | 62.2313 | Yes | 87.08 | 24.8487
79 | 2022-06-27 | 2 | 5 | 62.2745 | Yes | 87.08 | 24.8055
80 | 2022-06-27 | 2 | 6 | 60.6943 | Yes | 87.08 | 26.3857
81 | 2022-06-27 | 2 | 7 | 60.5329 | Yes | 87.08 | 26.5471
82 | 2022-06-27 | 2 | 8 | 60.5585 | Yes | 87.08 | 26.5215
83 | 2022-06-27 | 2 | 9 | 60.2757 | Yes | 87.08 | 26.8043
84 | 2022-06-27 | 2 | 10 | 59.0996 | Yes | 87.08 | 27.9805
85 | 2022-06-27 | 2 | 11 | 58.7856 | Yes | 87.08 | 28.2944
86 | 2022-06-27 | 2 | 12 | 56.9268 | Yes | 87.08 | 30.1532
87 | 2022-06-27 | 23 | 8 | 173.8707 | Yes | 93.79 | -80.0807
88 | 2022-06-27 | 23 | 9 | 129.1831 | Yes | 93.79 | -35.3931
89 | 2022-06-27 | 23 | 10 | 67.3801 | Yes | 93.79 | 26.4099
90 | 2022-06-27 | 23 | 11 | 63.2622 | Yes | 93.79 | 30.5278
91 | 2022-06-27 | 23 | 12 | 62.2362 | Yes | 93.79 | 31.5538
92 | 2022-06-27 | 24 | 1 | 77.2349 | Yes | 93.79 | 16.5551
93 | 2022-06-27 | 24 | 2 | 71.54 | Yes | 93.79 | 22.25
94 | 2022-06-27 | 24 | 3 | 72.5529 | Yes | 93.79 | 21.2371
95 | 2022-06-27 | 24 | 4 | 71.5517 | Yes | 93.79 | 22.2383
96 | 2022-06-27 | 24 | 5 | 72.3038 | Yes | 93.79 | 21.4862
97 | 2022-06-27 | 24 | 6 | 72.2908 | Yes | 93.79 | 21.4992
98 | 2022-06-27 | 24 | 7 | 68.1479 | Yes | 93.79 | 25.6421
99 | 2022-06-27 | 24 | 8 | 64.4105 | Yes | 87.08 | 22.6695
100 | 2022-06-27 | 24 | 9 | 64.4105 | Yes | 87.08 | 22.6695
101 | 2022-06-27 | 24 | 10 | 61.8106 | Yes | 112.71 | 50.8994
102 | 2022-06-27 | 24 | 11 | 60.9013 | Yes | 112.71 | 51.8087
103 | 2022-06-27 | 24 | 12 | 60.088 | Yes | 112.71 | 52.622
104 | 2022-06-28 | 1 | 1 | 79.5171 | Yes | 84.96 | 5.4429
105 | 2022-06-28 | 1 | 2 | 77.2366 | Yes | 84.96 | 7.7234
106 | 2022-06-28 | 1 | 3 | 76.7295 | Yes | 84.96 | 8.2305
107 | 2022-06-28 | 1 | 4 | 86.0296 | Yes | 84.96 | -1.0696
108 | 2022-06-28 | 1 | 5 | 79.7261 | Yes | 88.35 | 8.6239
109 | 2022-06-28 | 1 | 6 | 76.5353 | Yes | 88.35 | 11.8147
110 | 2022-06-28 | 1 | 7 | 108.2438 | Yes | 88.35 | -19.8939
111 | 2022-06-28 | 1 | 8 | 95.4357 | Yes | 88.35 | -7.0857
112 | 2022-06-28 | 1 | 9 | 77.815 | Yes | 88.35 | 10.535
113 | 2022-06-28 | 1 | 10 | 72.5013 | Yes | 88.35 | 15.8487
114 | 2022-06-28 | 1 | 11 | 71.2024 | Yes | 88.35 | 17.1476
115 | 2022-06-28 | 1 | 12 | 70.9895 | Yes | 88.35 | 17.3605
116 | 2022-06-28 | 2 | 1 | 85.6296 | Yes | 88.35 | 2.7204
117 | 2022-06-28 | 2 | 2 | 85.9368 | Yes | 88.35 | 2.4132
118 | 2022-06-28 | 2 | 3 | 76.741 | Yes | 88.35 | 11.609
119 | 2022-06-28 | 2 | 4 | 75.8103 | Yes | 88.35 | 12.5397
120 | 2022-06-28 | 2 | 5 | 73.0227 | Yes | 88.35 | 15.3273
121 | 2022-06-28 | 2 | 6 | 77.5507 | Yes | 88.35 | 10.7993
122 | 2022-06-28 | 2 | 7 | 107.633 | Yes | 88.35 | -19.283
123 | 2022-06-28 | 2 | 8 | 99.3118 | Yes | 88.35 | -10.9618
124 | 2022-06-28 | 2 | 9 | 107.3427 | Yes | 88.35 | -18.9927
125 | 2022-06-28 | 2 | 10 | 74.4329 | Yes | 88.35 | 13.9171
126 | 2022-06-28 | 2 | 11 | 72.6088 | Yes | 88.35 | 15.7412
127 | 2022-06-28 | 2 | 12 | 72.6389 | Yes | 88.35 | 15.7111
128 | 2022-06-28 | 3 | 1 | 75.7088 | Yes | 88.35 | 12.6412
129 | 2022-06-28 | 3 | 2 | 72.3327 | Yes | 88.35 | 16.0173
130 | 2022-06-28 | 3 | 3 | 70.2657 | Yes | 88.35 | 18.0843
131 | 2022-06-28 | 3 | 4 | 70.2948 | Yes | 88.35 | 18.0552
132 | 2022-06-28 | 3 | 5 | 68.3863 | Yes | 88.35 | 19.9637
133 | 2022-06-28 | 3 | 6 | 72.9759 | Yes | 88.35 | 15.3741
134 | 2022-06-28 | 3 | 7 | 73.0053 | Yes | 88.35 | 15.3447
135 | 2022-06-28 | 3 | 8 | 69.5306 | Yes | 88.35 | 18.8194
136 | 2022-06-28 | 3 | 9 | 69.5309 | Yes | 88.35 | 18.8191
137 | 2022-06-28 | 3 | 10 | 71.8103 | Yes | 88.35 | 16.5397
138 | 2022-06-28 | 3 | 11 | 71.5478 | Yes | 88.35 | 16.8022
139 | 2022-06-28 | 3 | 12 | 71.9918 | Yes | 88.35 | 16.3582
140 | 2022-06-28 | 4 | 1 | 73.7468 | Yes | 88.35 | 14.6031
141 | 2022-06-28 | 4 | 2 | 71.6519 | Yes | 88.35 | 16.6981
142 | 2022-06-28 | 4 | 3 | 71.5955 | Yes | 88.35 | 16.7545
143 | 2022-06-28 | 4 | 4 | 72.2459 | Yes | 84.96 | 12.7141
144 | 2022-06-28 | 4 | 5 | 72.2323 | Yes | 84.96 | 12.7277
145 | 2022-06-28 | 4 | 6 | 75.1396 | Yes | 84.96 | 9.8204
146 | 2022-06-28 | 4 | 7 | 74.9843 | Yes | 84.96 | 9.9757
147 | 2022-06-28 | 4 | 8 | 74.9846 | Yes | 84.96 | 9.9754
148 | 2022-06-28 | 4 | 9 | 76.3766 | Yes | 84.96 | 8.5834
149 | 2022-06-28 | 4 | 10 | 76.2554 | Yes | 84.96 | 8.7046
150 | 2022-06-28 | 4 | 11 | 76.2554 | Yes | 84.96 | 8.7046
151 | 2022-06-28 | 4 | 12 | 76.2554 | Yes | 84.96 | 8.7046
152 | 2022-06-28 | 5 | 1 | 68.7373 | Yes | 65.66 | -3.0773
153 | 2022-06-28 | 5 | 2 | 73.502 | Yes | 65.66 | -7.8421
154 | 2022-06-28 | 5 | 3 | 72.0521 | Yes | 65.66 | -6.3921
155 | 2022-06-28 | 5 | 4 | 69.9402 | Yes | 65.66 | -4.2802
156 | 2022-06-28 | 5 | 5 | 71.0083 | Yes | 65.66 | -5.3483
157 | 2022-06-28 | 5 | 6 | 71.6487 | Yes | 65.66 | -5.9887
158 | 2022-06-28 | 5 | 7 | 106.7266 | Yes | 65.66 | -41.0666
159 | 2022-06-28 | 5 | 8 | 106.85 | Yes | 65.66 | -41.19
160 | 2022-06-28 | 5 | 9 | 107.2502 | Yes | 65.66 | -41.5902
161 | 2022-06-30 | 24 | 12 | 84.1494 | Yes | 59.03 | -25.1194

## Price_Impact_B
Table 9: Price Impact Analysis Information for Pricing Node B in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2022-06-04 | 19 | 1 | 51.5234 | Yes | 102.64 | 51.1166
2 | 2022-06-04 | 19 | 2 | 50.312 | Yes | 102.64 | 52.328
3 | 2022-06-04 | 19 | 3 | 54.467 | Yes | 102.64 | 48.173
4 | 2022-06-04 | 19 | 4 | 65.6336 | Yes | 102.64 | 37.0064
5 | 2022-06-04 | 19 | 5 | 64.4066 | Yes | 102.64 | 38.2334
6 | 2022-06-04 | 19 | 6 | 69.4956 | Yes | 102.64 | 33.1444
7 | 2022-06-04 | 20 | 4 | 69.9729 | Yes | 102.64 | 32.6671
8 | 2022-06-04 | 20 | 5 | 68.716 | Yes | 102.64 | 33.924
9 | 2022-06-04 | 20 | 6 | 71.3047 | Yes | 102.64 | 31.3353
10 | 2022-06-04 | 20 | 7 | 71.6681 | Yes | 102.64 | 30.9719
11 | 2022-06-04 | 20 | 8 | 72.8393 | Yes | 102.64 | 29.8007
12 | 2022-06-04 | 20 | 9 | 74.219 | Yes | 102.64 | 28.421
13 | 2022-06-04 | 20 | 10 | 71.7327 | Yes | 102.64 | 30.9073
14 | 2022-06-04 | 20 | 11 | 74.2424 | Yes | 102.64 | 28.3976
15 | 2022-06-04 | 20 | 12 | 74.2424 | Yes | 102.64 | 28.3976
16 | 2022-06-28 | 17 | 9 | 63.6084 | Yes | 96.82 | 33.2116
17 | 2022-06-28 | 17 | 10 | 63.4098 | Yes | 96.82 | 33.4102
18 | 2022-06-28 | 17 | 11 | 65.0921 | Yes | 96.82 | 31.7279
19 | 2022-06-28 | 17 | 12 | 62.3017 | Yes | 96.82 | 34.5183
20 | 2022-06-28 | 18 | 1 | 54.8904 | Yes | 96.82 | 41.9296
21 | 2022-06-28 | 18 | 2 | 54.9483 | Yes | 96.82 | 41.8717
22 | 2022-06-28 | 18 | 3 | 54.9809 | Yes | 96.82 | 41.8391
23 | 2022-06-28 | 18 | 4 | 54.6214 | Yes | 96.82 | 42.1986
24 | 2022-06-28 | 18 | 5 | 57.4592 | Yes | 96.82 | 39.3608
25 | 2022-06-28 | 18 | 6 | 56.6744 | Yes | 96.82 | 40.1456
26 | 2022-06-28 | 18 | 7 | 57.8159 | Yes | 96.82 | 39.0041
27 | 2022-06-28 | 18 | 8 | 58.9143 | Yes | 96.82 | 37.9057
28 | 2022-06-28 | 18 | 9 | 60.7596 | Yes | 96.82 | 36.0604
29 | 2022-06-28 | 18 | 10 | 60.0142 | Yes | 96.82 | 36.8058
30 | 2022-06-28 | 18 | 11 | 63.6762 | Yes | 96.82 | 33.1438
31 | 2022-06-28 | 18 | 12 | 63.6613 | Yes | 96.82 | 33.1587
32 | 2022-06-28 | 19 | 1 | 61.1863 | Yes | 96.82 | 35.6337
33 | 2022-06-28 | 19 | 2 | 61.0806 | Yes | 96.82 | 35.7394
34 | 2022-06-28 | 19 | 3 | 61.4906 | Yes | 96.82 | 35.3294
35 | 2022-06-28 | 19 | 4 | 62.2253 | Yes | 96.82 | 34.5947
36 | 2022-06-28 | 19 | 5 | 65.2152 | Yes | 96.82 | 31.6048
37 | 2022-06-28 | 19 | 6 | 67.5825 | Yes | 96.82 | 29.2375
38 | 2022-06-28 | 19 | 7 | 71.1674 | Yes | 96.82 | 25.6526
39 | 2022-06-28 | 19 | 8 | 83.9945 | Yes | 96.82 | 12.8255
40 | 2022-06-28 | 19 | 9 | 87.192 | Yes | 96.82 | 9.628
41 | 2022-06-28 | 19 | 10 | 93.3497 | Yes | 96.82 | 3.4703
42 | 2022-06-28 | 19 | 11 | 101.8917 | Yes | 96.82 | -5.0717
43 | 2022-06-28 | 19 | 12 | 102.9702 | Yes | 96.82 | -6.1502
44 | 2022-06-28 | 20 | 1 | 82.9366 | Yes | 96.82 | 13.8834
45 | 2022-06-28 | 20 | 2 | 93.4733 | Yes | 96.82 | 3.3467
46 | 2022-06-28 | 20 | 3 | 94.0603 | Yes | 96.82 | 2.7597
47 | 2022-06-28 | 20 | 4 | 95.3666 | Yes | 96.82 | 1.4534
48 | 2022-06-28 | 20 | 5 | 96.0684 | Yes | 96.82 | 0.75161
49 | 2022-06-28 | 20 | 6 | 96.8944 | Yes | 96.82 | -0.0744
50 | 2022-06-28 | 20 | 7 | 93.5639 | Yes | 96.82 | 3.2561
51 | 2022-06-28 | 20 | 8 | 96.0828 | Yes | 96.82 | 0.73724
52 | 2022-06-28 | 20 | 9 | 94.4459 | Yes | 96.82 | 2.3741
53 | 2022-06-28 | 20 | 10 | 90.3356 | Yes | 96.82 | 6.4844
54 | 2022-06-28 | 20 | 11 | 89.8266 | Yes | 96.82 | 6.9934
55 | 2022-06-28 | 20 | 12 | 90.432 | Yes | 96.82 | 6.388
56 | 2022-06-29 | 17 | 11 | 64.429 | Yes | 95.78 | 31.351
57 | 2022-06-29 | 17 | 12 | 64.999 | Yes | 95.78 | 30.781
58 | 2022-06-29 | 18 | 1 | 61.1827 | Yes | 95.78 | 34.5973
59 | 2022-06-29 | 18 | 2 | 59.8064 | Yes | 95.78 | 35.9736
60 | 2022-06-29 | 18 | 3 | 59.2228 | Yes | 95.78 | 36.5572
61 | 2022-06-29 | 18 | 4 | 59.3613 | Yes | 95.78 | 36.4187
62 | 2022-06-29 | 18 | 5 | 61.5445 | Yes | 95.78 | 34.2355
63 | 2022-06-29 | 18 | 6 | 62.1528 | Yes | 96.84 | 34.6872
64 | 2022-06-29 | 18 | 7 | 63.2886 | Yes | 96.84 | 33.5514
65 | 2022-06-29 | 18 | 8 | 64.5425 | Yes | 96.84 | 32.2975
66 | 2022-06-29 | 18 | 9 | 66.7341 | Yes | 96.84 | 30.1059
67 | 2022-06-29 | 18 | 10 | 67.8835 | Yes | 96.84 | 28.9565
68 | 2022-06-29 | 18 | 11 | 70.2533 | Yes | 96.84 | 26.5867
69 | 2022-06-29 | 18 | 12 | 70.1683 | Yes | 95.78 | 25.6118
70 | 2022-06-29 | 19 | 1 | 57.3985 | Yes | 95.78 | 38.3815
71 | 2022-06-29 | 19 | 2 | 57.8411 | Yes | 95.78 | 37.9389
72 | 2022-06-29 | 19 | 3 | 57.8936 | Yes | 95.78 | 37.8864
73 | 2022-06-29 | 19 | 4 | 60.0273 | Yes | 96.84 | 36.8127
74 | 2022-06-29 | 19 | 5 | 61.6171 | Yes | 95.78 | 34.1629
75 | 2022-06-29 | 19 | 6 | 64.5683 | Yes | 95.78 | 31.2117
76 | 2022-06-29 | 19 | 7 | 63.9076 | Yes | 96.84 | 32.9325
77 | 2022-06-29 | 19 | 8 | 70.7548 | Yes | 95.78 | 25.0252
78 | 2022-06-29 | 19 | 9 | 77.5615 | Yes | 95.78 | 18.2185
79 | 2022-06-29 | 19 | 10 | 82.4235 | Yes | 95.78 | 13.3565
80 | 2022-06-29 | 19 | 11 | 96.7873 | Yes | 95.78 | -1.0072
81 | 2022-06-29 | 19 | 12 | 100.6261 | Yes | 95.78 | -4.8461
82 | 2022-06-29 | 20 | 1 | 95.109 | Yes | 95.78 | 0.67101
83 | 2022-06-29 | 20 | 2 | 81.8782 | Yes | 95.78 | 13.9018
84 | 2022-06-29 | 20 | 3 | 85.5311 | Yes | 95.78 | 10.2489
85 | 2022-06-29 | 20 | 4 | 85.4232 | Yes | 95.78 | 10.3568
86 | 2022-06-29 | 20 | 5 | 89.3738 | Yes | 95.78 | 6.4062
87 | 2022-06-29 | 20 | 6 | 94.6633 | Yes | 95.78 | 1.1167
88 | 2022-06-29 | 20 | 7 | 86.6465 | Yes | 95.78 | 9.1335
89 | 2022-06-29 | 20 | 8 | 95.8404 | Yes | 95.78 | -0.06043
90 | 2022-06-29 | 20 | 9 | 96.7233 | Yes | 95.78 | -0.94332
91 | 2022-06-29 | 20 | 10 | 98.0326 | Yes | 95.78 | -2.2526
92 | 2022-06-29 | 20 | 11 | 102.6093 | Yes | 95.78 | -6.8293
93 | 2022-06-29 | 20 | 12 | 99.1618 | Yes | 95.78 | -3.3818

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
NONTMOD | 15 | 194607.6525 | 19117.1757 | 175490.4768
TMODEL5 | 2 | 781.3321 | 242.2652 | 539.0669
| 17 | 195388.9847 | 19359.4409 | 176029.5438