## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for March 2022
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Bridging Schedules | PGAE | Big Creek-Ventura | 2022-03-27 | 62 | No | INC | 3 | 44647.8958 | 44648 | 15.5 | 5080.8225 | 0 | -718.0153 | 0 | 0 | 0 | 0 | 0 | 0
2 | RT | Bridging Schedules | PGAE | NA | 2022-03-27 | 62 | No | INC | 2 | 44647.9167 | 44648 | 108.5 | 1709.825 | 0 | -4981.3442 | 0 | 0 | 0 | 0 | 0 | 0
3 | RT | Conditions beyond the control of the CAISO | PGAE | Big Creek-Ventura | 2022-03-26 | 62 | No | INC | 19 | 44646.2361 | 44647 | -801.0007 | 124197.8833 | 0 | 43269.1273 | 0 | 0 | 0 | 0 | 0 | 0
4 | RT | Conditions beyond the control of the CAISO | PGAE | Big Creek-Ventura | 2022-03-27 | 62 | No | INC | 13 | 44647.375 | 44647.8958 | -202.6762 | 84680.375 | 0 | 9607.6008 | 0 | 0 | 0 | 0 | 0 | 0
5 | RT | Conditions beyond the control of the CAISO | PGAE | NA | 2022-03-26 | 62 - 65 | No | INC | 12 | 44646.5 | 44647 | -871.1582 | 190223.21 | 92817.3 | 47363.3117 | 0 | 0 | 0 | 0 | 0 | 0
6 | RT | Conditions beyond the control of the CAISO | PGAE | NA | 2022-03-27 | 62 - 65 | Yes | INC | 22 | 44647 | 44647.8958 | -860.1778 | 422655.74 | 0 | 42021.1068 | 0 | 0 | 0 | 0 | 0 | 0
7 | RT | Fast Start Unit Management | PGAE | Bay Area | 2022-03-28 | 0 | No | INC | 2 | 44648.4549 | 44648.5 | -90 | 0 | 0 | 0 | -90 | 0 | 0 | 0 | 0 | 0
8 | RT | Fast Start Unit Management | SCE | LA Basin | 2022-03-29 | 0 | No | INC | 1 | 44649.4479 | 44649.4792 | -3.8375 | 0 | 0 | 0 | -3.8375 | 0 | 0 | 0 | 0 | 0
9 | RT | Incomplete or Inaccurate Transmission | PGAE | Bay Area | 2022-03-08 | 400 | No | DEC | 4 | 44628.5278 | 44628.6562 | -175.2943 | 0 | 0 | -4594.9994 | -30.5219 | 0 | 1563.4332 | 0 | -1923.7346 | 0
10 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2022-03-19 | 54 | No | INC | 9 | 44639.5417 | 44639.9167 | 1.1214 | 37174.395 | 10095 | 419.5583 | 0 | 0 | 0 | 0 | 0 | 0
11 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2022-03-20 | 54 | No | INC | 15 | 44640.25 | 44640.875 | -0.34865 | 61855.5375 | 10095 | -779.2113 | 0 | 0 | 0 | 0 | 0 | 0
12 | RT | Load Forecast Uncertainty | PGAE | Stockton | 2022-03-19 | 88.8 | No | INC | 11 | 44639.5417 | 44640 | 52.9017 | 72416.37 | 26998.53 | -8574.9384 | 0 | 0 | 0 | 0 | 0 | 0
13 | RT | Load Forecast Uncertainty | PGAE | Stockton | 2022-03-20 | 88.8 | No | INC | 21 | 44640 | 44640.875 | -13.3706 | 102265.195 | 0 | -7531.9072 | 0 | 0 | 0 | 0 | 0 | 0
14 | RT | Load Forecast Uncertainty | PGAE | NA | 2022-03-28 | 400 | No | INC | 1 | 44648.3438 | 44648.3854 | 202.3765 | 12283.9425 | 0 | -118053.8646 | 69.6598 | -67615.3438 | 0 | 0 | 0 | 0
15 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-03-19 | 133 | No | DEC | 6 | 44639.75 | 44640 | 70.8305 | 0 | 0 | -5687.3553 | 0 | 0 | 0 | 0 | 0 | 0
16 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-03-19 | 46 - 147.1 | No | INC | 10 | 44639.3542 | 44639.75 | 934.2144 | 129041.5067 | 0 | -51795.4802 | 0.55876 | -18.3284 | 0 | -373.3751 | -33.6193 | 0
17 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-03-20 | 133 | No | DEC | 8 | 44640 | 44640.3333 | 63.0347 | 0 | 0 | -3430.3604 | 0 | 0 | 0 | 0 | 0 | 0
18 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-03-28 | 96 - 100 | No | INC | 1 | 44648.3438 | 44648.3576 | -97.0024 | 4796.4675 | 0 | 89591.4415 | 0 | 0 | 0 | 0 | 0 | 0
19 | RT | Load Forecast Uncertainty | SCE | NA | 2022-03-19 | 200 | No | INC | 2 | 44639.4444 | 44639.5104 | 49.1083 | 0 | 0 | -303.8201 | 0 | 0 | 0 | 0 | 0 | 0
20 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2022-03-19 | 21 - 290 | No | INC | 2 | 44639.375 | 44639.4583 | 294.2483 | 1304.29 | 0 | -88472.5038 | 0 | 0 | 0 | 0 | 0 | 0
21 | RT | Other Reliability Requirement | SCE | LA Basin | 2022-03-19 | 288 | No | INC | 1 | 44639.441 | 44639.4479 | -17.7734 | 2661.8833 | 0 | 597.9279 | -2.7193 | 0 | 112.1639 | 0 | 0 | 0
22 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-05 | 46 | No | DEC | 2 | 44625.625 | 44625.7083 | -10.9112 | 0 | 0 | 208.1275 | 0 | 0 | 0 | 0 | 0 | 0
23 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-05 | 46 | No | INC | 6 | 44625.375 | 44625.625 | 272.2204 | 0 | 0 | -8896.9545 | 0 | 0 | 0 | 0 | 0 | 0
24 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-17 | 20 | No | DEC | 1 | 44637.5 | 44637.5417 | 0.95833 | 0 | 0 | -45.464 | 0 | 0 | 0 | 0 | 0 | 0
25 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-17 | 20 - 23 | No | INC | 11 | 44637.5417 | 44638 | 113.0833 | 0 | 0 | -3717.5486 | 3 | -159.333 | 0 | 0 | 0 | 0
26 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-18 | 23 | No | INC | 24 | 44638 | 44639 | 263.4167 | 0 | 0 | -23603.9162 | 31.8913 | -2949.3398 | 0 | 0 | -16.8797 | 0
27 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-19 | 15 | No | INC | 13 | 44639.3993 | 44639.9167 | 186.1242 | 0 | 0 | -40487.4617 | 0 | 0 | 0 | 0 | 0 | 0
28 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-20 | 370.1 | No | INC | 8 | 44640.0278 | 44640.3333 | 166.7301 | 149598.99 | 0 | -32452.9197 | 0 | 0 | 0 | 0 | -0.040708 | 0
29 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-21 | 23 | No | INC | 12 | 44641.4167 | 44641.9167 | 108.0833 | 20139 | 0 | -2358.1673 | 9.7917 | -212.8867 | 0 | 0 | -47.2545 | 0
30 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-22 | 20.1 | No | DEC | 3 | 44642.75 | 44642.875 | 1.75 | 0 | 0 | -119.9047 | 0 | 0 | 0 | 0 | 0 | 0
31 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-22 | 20.1 - 350 | No | INC | 15 | 44642.2917 | 44642.9167 | -30.1372 | 37024.9075 | 0 | 926.4047 | 0 | 0 | 0 | 0 | 0 | 0
32 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-23 | 20.1 | No | INC | 8 | 44643.5139 | 44643.8333 | -13.5325 | 19580 | 1230.6173 | 2981.5938 | 0 | 0 | 0 | 0 | 0 | 0
33 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-03-30 | 20 | No | INC | 9 | 44650.5833 | 44650.9375 | -10.75 | 21899.23 | 0 | -18.4347 | 0 | 0 | 0 | 0 | 0 | 0
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-05 | 15 - 30 | No | INC | 17 | 44625.309 | 44626 | -1.5876 | 23193.795 | 0 | -219.2965 | 0.39583 | 0.0041908 | 0 | 0 | -38.3893 | 0
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-06 | 15 | No | DEC | 8 | 44626 | 44626.2951 | -4.0675 | 246.7425 | 0 | 241.2609 | 0 | 0 | 0 | 0 | 0 | 0
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-06 | 30 | No | INC | 17 | 44626.2951 | 44627 | 8.5671 | 10116.4425 | 0 | -288.9709 | 0.16667 | -2.6349 | 0 | 0 | -182.221 | 0
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-07 | 15 | No | DEC | 2 | 44627.9201 | 44628 | -0.75667 | 657.98 | 0 | 45.6264 | 0 | 0 | 0 | 0 | 0 | 0
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-07 | 15 - 60 | No | INC | 24 | 44627 | 44628 | 7.6494 | 41617.235 | 946.24 | -485.2072 | 2.3218 | -3.583 | 0 | 0 | -495.6273 | 0
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-08 | 15 | No | DEC | 7 | 44628 | 44628.2882 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-08 | 15 - 30 | No | INC | 21 | 44628 | 44628.8542 | 21.0754 | 49300.5 | 0 | -941.0957 | 0 | 0 | 0 | 0 | 0 | 0
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-09 | 15 - 30 | No | INC | 17 | 44629.3299 | 44630 | 11.6811 | 24597.895 | 0 | -803.3626 | 0 | 0 | 0 | 0 | -28.0854 | 0
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-10 | 30 | No | DEC | 4 | 44630.7083 | 44630.875 | 6.9004 | -836.4902 | 0 | -285.9416 | 0 | 0 | 0 | 0 | 0 | 0
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-10 | 15 - 30 | No | INC | 24 | 44630 | 44631 | -0.66542 | 50515.295 | 0 | -313.9948 | 0 | 0 | 0 | 0 | -63.2275 | 0
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-11 | 15 - 30 | No | INC | 19 | 44631 | 44631.7917 | -2.8748 | 37158.41 | 0 | -365.1758 | 0 | 0 | 0 | 0 | -65.5357 | 0
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-21 | 30 | No | DEC | 2 | 44641.2639 | 44641.3438 | 3.0124 | -313.3783 | 0 | -199.0509 | 0 | 0 | 0 | 0 | 0 | 0
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-21 | 45 | No | INC | 8 | 44641.2917 | 44641.6146 | -6.3112 | 20918.03 | 0 | -338.8096 | 0 | 0 | 0 | 0 | 0 | 0
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-22 | 15 - 45 | No | DEC | 8 | 44642.625 | 44642.9583 | -2.9221 | -11089.3566 | 0 | -29.8088 | 0 | 0 | 0 | 0 | 0 | 0
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-22 | 15 - 45 | No | INC | 18 | 44642.2812 | 44643 | -0.58131 | 32135.715 | 0 | -48.9739 | 0.4625 | -24.2723 | 0 | 0 | -1.8651 | 0
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-23 | 30 - 45 | No | DEC | 5 | 44643.75 | 44643.9583 | -14.5504 | -7524.8369 | 0 | -887.4194 | -4.789 | 0 | 290.398 | 0 | -631.1047 | 0
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-23 | 15 - 45 | No | INC | 24 | 44643 | 44644 | -14.7702 | 44688.375 | 0 | -210.0489 | 0 | 0 | 0 | 0 | -8.4097 | 0
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-24 | 15 - 30 | No | DEC | 21 | 44644.0417 | 44644.9167 | -3.3158 | -8522.0485 | 0 | 205.5031 | -0.29104 | 0 | 14.8732 | 0 | -790.5184 | 0
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-24 | 30 - 45 | No | INC | 24 | 44644 | 44645 | 9.3986 | 47008.76 | 0 | -1403.3223 | -1.3921 | 0 | 31.6027 | 0 | -0.77188 | 0
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-25 | 30 | No | DEC | 8 | 44645.625 | 44645.9583 | -1.0891 | -15120.6012 | 0 | 301.0335 | 0 | 0 | 0 | 0 | 0 | 0
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-25 | 15 - 45 | No | INC | 24 | 44645 | 44646 | 7.5929 | 51459.2125 | 0 | -300.2273 | -1.2144 | 0 | 29.422 | 0 | -3.681 | 0
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-26 | 30 | No | DEC | 18 | 44646.25 | 44647 | -32.7627 | -9756.2511 | 0 | 1767.5027 | -3.67 | 0 | 211.8662 | 0 | -82.9877 | 0
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-26 | 30 | No | INC | 18 | 44646 | 44646.75 | 0.50917 | 25606.5 | 0 | -75.4003 | 0 | 0 | 0 | 0 | -112.4865 | 0
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-27 | 14.01 - 30 | No | DEC | 22 | 44647 | 44647.9167 | -13.8343 | 5377.365 | 0 | 669.2819 | 0 | 0 | 0 | 0 | -536.1372 | 0
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-27 | 15 - 42.01 | No | INC | 24 | 44647 | 44648 | -4.3161 | 10242.6 | 0 | 74.1174 | -0.28396 | -0.064675 | 17.229 | 0 | -9.9751 | 0
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-28 | 14 - 60 | No | DEC | 8 | 44648 | 44648.3125 | 1.3558 | -1791.6282 | 0 | -48.1085 | 0 | 0 | 0 | 0 | 0 | 0
60 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-28 | 14 - 90 | No | INC | 24 | 44648 | 44649 | 18.3498 | 60132.7353 | 0 | -1547.4226 | 0 | 0 | 0 | 0 | 0 | 0
61 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-29 | 60 - 75 | No | INC | 24 | 44649 | 44650 | -1.8815 | 92647.8075 | 0 | -278.7483 | 1.6667 | -7.6828 | 0 | 0 | -370.771 | 0
62 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-30 | 45 - 75 | No | INC | 24 | 44650 | 44651 | -19.8796 | 89599.9351 | 0 | 180.652 | 0 | 0 | 0 | 0 | -221.8576 | 0
63 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-03-31 | 15 - 60 | No | INC | 24 | 44651 | 44652 | 34.4017 | 75826.8575 | 945.14 | -2042.1699 | 0 | 0 | 0 | 0 | -1.7061 | 0
64 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-03-31 | 20 | No | INC | 11 | 44651.3368 | 44651.7917 | -16.6692 | -2.8692 | 0 | 832.9848 | 0 | 0 | 0 | 0 | 0 | 0
65 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-03-20 | 192 | No | INC | 5 | 44640.0417 | 44640.25 | 117.6731 | 54650.3125 | 0 | -10203.0296 | 0 | 0 | 0 | 0 | -11.0412 | 0
66 | RT | Planned Transmission Outage | SCE | LA Basin | 2022-03-19 | 50 | No | INC | 1 | 44639.375 | 44639.4167 | 85.2023 | 4908.68 | 0 | -37403.2136 | 0 | 0 | 0 | 0 | -33.6193 | 0
67 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-03-11 | 21 | No | INC | 6 | 44631.3125 | 44631.5625 | 17.625 | 15856.3925 | 125.33 | -92.5404 | 0 | 0 | 0 | 0 | 0 | 0
68 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-03-13 | 24 | No | INC | 5 | 44633.5069 | 44633.7083 | -29.5386 | 0 | 0 | -446.8466 | 0 | 0 | 0 | 0 | 0 | 0
69 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-03-17 | 23 | No | INC | 13 | 44637.3854 | 44637.9167 | -113.2519 | 48340.84 | 408.6486 | 3889.4095 | 0 | 0 | 0 | 0 | -2.7392 | 0
70 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-03-28 | 24 | No | INC | 6 | 44648.5069 | 44648.7188 | 35.7924 | 762.525 | 0 | -3959.9134 | 0 | 0 | 0 | 0 | 0 | 0
71 | RT | Reliability Assessment | PGAE | Bay Area | 2022-03-16 | 400 | No | DEC | 1 | 44636.3785 | 44636.4167 | -44.5114 | 0 | 0 | 463.3963 | -2.28 | 0 | 54.745 | 0 | 0 | 0
72 | RT | Reliability Assessment | PGAE | Bay Area | 2022-03-16 | 400 | No | INC | 4 | 44636.4167 | 44636.5729 | -13.0808 | 7469.73 | 0 | 284.9609 | 0 | 0 | 0 | 0 | 0 | 0
73 | RT | Reliability Assessment | PGAE | Fresno | 2022-03-29 | 20 | No | DEC | 1 | 44649.7222 | 44649.75 | -26.1721 | 0 | 0 | -623.208 | -26.1729 | 0 | -539.5542 | 0 | 0 | 0
74 | RT | Reliability Assessment | PGAE | Fresno | 2022-03-29 | 20 | No | INC | 1 | 44649.75 | 44649.7917 | -9.5449 | 0 | 0 | 258.8508 | -2.4075 | 0 | -24.075 | 0 | 0 | 0
75 | RT | Reliability Assessment | PGAE | Humboldt | 2022-03-21 | 30 | No | INC | 3 | 44641.6007 | 44641.7188 | -21.82 | 9087.9633 | 0 | 20.5113 | 0 | 0 | 0 | 0 | 0 | 0
76 | RT | Reliability Assessment | PGAE | NCNB | 2022-03-28 | 40 | No | DEC | 5 | 44648.2986 | 44648.5 | -19.6542 | 0 | 0 | -486.3218 | -22.7958 | 0 | -341.9375 | 0 | 0 | 0
77 | RT | Reliability Assessment | PGAE | Sierra | 2022-03-27 | 40.01 | No | DEC | 16 | 44647.2465 | 44647.875 | 3.4271 | 0 | 0 | -222.3406 | 0 | 0 | 0 | 0 | 0 | 0
78 | RT | Reliability Assessment | PGAE | Sierra | 2022-03-27 | 40.01 | No | INC | 13 | 44647.25 | 44647.7917 | -2.0233 | 48406.28 | 0 | -8.242 | 0 | 0 | 0 | 0 | 0 | 0
79 | RT | Reliability Assessment | PGAE | NA | 2022-03-03 | 44597 | No | DEC | 1 | 44623.4236 | 44623.4583 | -21.5138 | 0 | 0 | -572.6354 | -18.7895 | 0 | -224.0925 | 0 | 0 | 0
80 | RT | Reliability Assessment | PGAE | NA | 2022-03-28 | 20 | No | INC | 7 | 44648.4653 | 44648.75 | -19.5405 | 0 | 0 | 898.0841 | -2.265 | 0 | -22.7859 | 0 | 0 | 0
81 | RT | Reliability Assessment | SCE | NA | 2022-03-01 | 411 | No | DEC | 5 | 44621.7639 | 44621.9583 | -77.734 | -13148.7232 | 0 | 3141.0988 | -42.0433 | 0 | 1774.3956 | 0 | 0 | 0
82 | RT | Reliability Assessment | SCE | NA | 2022-03-03 | 0 | No | DEC | 1 | 44623.5417 | 44623.5833 | 1.3237 | 0 | 0 | -2.0399 | 0 | 0 | 0 | 0 | 0 | 0
83 | RT | Reliability Assessment | SCE | NA | 2022-03-03 | 415 | No | INC | 3 | 44623.8958 | 44624 | 1.8892 | 41088.5325 | 0 | -40.576 | 0 | 0 | 0 | 0 | 0 | 0
84 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-03-19 | 450 | No | DEC | 3 | 44639.9097 | 44640 | -66.1704 | 0 | 0 | 12292.9849 | -39.1777 | 0 | 1645.6624 | 0 | 0 | 0
85 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-03-19 | 21 - 300 | No | INC | 15 | 44639.3576 | 44639.9792 | 108.8907 | 181047.78 | 1342.1317 | -53745.8642 | -59.654 | -250.1488 | 3567.1147 | 0 | 0 | 0
86 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-03-20 | 450 | No | DEC | 2 | 44640 | 44640.0625 | -0.041667 | 0 | 0 | 2.7497 | 0 | 0 | 0 | 0 | 0 | 0
87 | RT | Software Limitation | PGAE | Big Creek-Ventura | 2022-03-28 | 0 | No | INC | 2 | 44648.125 | 44648.191 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
88 | RT | Software Limitation | PGAE | Fresno | 2022-03-29 | 0 | No | DEC | 1 | 44649.875 | 44649.9167 | -48.6026 | 0 | 0 | 1323.5004 | -48.8125 | 0 | 1331.605 | 0 | 0 | 0
89 | RT | Software Limitation | PGAE | NA | 2022-03-28 | 0 | No | INC | 2 | 44648.0903 | 44648.1562 | -34.875 | 2279.7667 | 0 | 0 | -34.875 | 0 | 0 | 0 | 0 | 0
90 | RT | Software Limitation | SCE | LA Basin | 2022-03-27 | 38.85 | No | DEC | 1 | 44647.7917 | 44647.809 | 1.9167 | 1189.8219 | 0 | -119.4334 | 0 | 0 | 0 | 0 | 0 | 0
91 | RT | Software Limitation | SCE | LA Basin | 2022-03-27 | 5 - 44.6 | No | INC | 1 | 44647.7743 | 44647.809 | 56.8981 | 7847.0348 | 0 | -11233.3752 | 3.7503 | -296.976 | 0 | 0 | 0 | 0
92 | RT | Software Limitation | SDGE | San Diego-IV | 2022-03-27 | 50 - 110.35 | No | INC | 1 | 44647.7743 | 44647.809 | 36.1407 | 4693.7751 | 0 | -6667.5249 | 0 | 0 | 0 | 0 | 0 | 0
93 | RT | Unit Testing | PGAE | Fresno | 2022-03-29 | 66 | No | INC | 1 | 44649.8125 | 44649.8333 | 24.75 | 0 | 0 | -1118.4948 | 27.5 | -1240.7437 | 0 | 0 | 0 | 0
94 | RT | Unit Testing | PGAE | Sierra | 2022-03-16 | 16 | No | INC | 1 | 44636.1458 | 44636.1771 | 7.3333 | 0 | 0 | -458.3589 | 7.4765 | -462.0495 | 0 | 0 | 0 | 0
95 | RT | Unit Testing | PGAE | Sierra | 2022-03-22 | 46 | No | INC | 1 | 44642.8125 | 44642.8333 | 10.1813 | 0 | 0 | -785.3227 | 11.2791 | -840.4054 | 0 | 0 | 0 | 0
96 | RT | Unit Testing | PGAE | NA | 2022-03-15 | 125 - 250 | No | INC | 2 | 44635.5833 | 44635.6354 | 91.02 | 0 | 0 | -6577.2295 | 86.3246 | -6571.8935 | 0 | 0 | 0 | 0
97 | RT | Unit Testing | PGAE | NA | 2022-03-22 | 490 | No | DEC | 1 | 44642.8056 | 44642.8333 | -26.0482 | 0 | 0 | 1334.1285 | 0 | 0 | 0 | 0 | 0 | 0
98 | RT | Unit Testing | PGAE | NA | 2022-03-23 | 5 | No | INC | 2 | 44643.7465 | 44643.7917 | 5.4583 | 0 | 0 | 933.6402 | -4.9333 | -4.7657 | 0 | 0 | 0 | 0
99 | RT | Unit Testing | SCE | Big Creek-Ventura | 2022-03-15 | 11 | No | INC | 1 | 44635.7639 | 44635.7917 | 6.9792 | 0 | 0 | -285.3796 | 7.1042 | -290.8702 | 0 | 0 | 0 | 0
100 | RT | Unit Testing | SCE | LA Basin | 2022-03-02 | 29.57 | No | INC | 1 | 44622.7812 | 44622.809 | 14.3406 | 7213.86 | 0 | -749.9527 | 6.8137 | -419.0125 | 0 | 0 | 0 | 0
101 | RT | Unit Testing | SCE | LA Basin | 2022-03-11 | 47 | No | INC | 1 | 44631.7743 | 44631.8021 | 30.4813 | 5177.5 | 0 | -2202.012 | 17.1479 | -1246.2328 | 0 | 0 | 0 | 0
102 | RT | Unit Testing | SCE | LA Basin | 2022-03-22 | 49 | No | INC | 1 | 44642.8542 | 44642.8819 | 18.9833 | 6129 | 0 | -1280.3411 | 13.5146 | -967.9599 | 0 | 0 | 0 | 0
103 | RT | Unit Testing | SDGE | San Diego-IV | 2022-03-02 | 41.5 | No | INC | 1 | 44622.8021 | 44622.8333 | -8.3015 | 7549.4475 | 0 | 357.5776 | 0 | 0 | 0 | 0 | 0 | 0
104 | RT | Voltage Support | PGAE | Humboldt | 2022-03-01 | 30 - 45 | No | INC | 24 | 44621 | 44622 | 1.8213 | 39619.535 | 0 | -162.2479 | 0 | 0 | 0 | 0 | -12.8834 | 0
105 | RT | Voltage Support | PGAE | Humboldt | 2022-03-02 | 30 - 45 | No | INC | 24 | 44622 | 44623 | -3.9385 | 67586.4 | 0 | 110.3464 | 0 | 0 | 0 | 0 | 0 | 0
106 | RT | Voltage Support | PGAE | Humboldt | 2022-03-03 | 30 - 45 | No | INC | 24 | 44623 | 44624 | 4.54 | 58871.6625 | 0 | -196.4877 | 0.1875 | -1.1295 | 0 | 0 | -2.1705 | 0
107 | RT | Voltage Support | PGAE | Humboldt | 2022-03-04 | 30 - 45 | No | INC | 24 | 44624 | 44625 | -2.5235 | 59076.9 | 0 | -871.9136 | 0 | 0 | 0 | 0 | 0 | 0
108 | RT | Voltage Support | PGAE | Humboldt | 2022-03-05 | 30 | No | INC | 8 | 44625 | 44625.3229 | 0.25458 | 7649.0175 | 0 | -27.8476 | 0 | 0 | 0 | 0 | 0 | 0
109 | RT | Voltage Support | PGAE | Humboldt | 2022-03-08 | 14 - 30 | No | INC | 4 | 44628.8542 | 44629 | 9.0077 | 5916.06 | 0 | -511.0826 | 0 | 0 | 0 | 0 | 0 | 0
110 | RT | Voltage Support | PGAE | Humboldt | 2022-03-09 | 30 - 45 | No | INC | 21 | 44629 | 44629.875 | -17.8496 | 37014.09 | 0 | 429.6554 | 0 | 0 | 0 | 0 | -77.3926 | 0
111 | RT | Voltage Support | PGAE | Humboldt | 2022-03-11 | 15 | No | INC | 2 | 44631.9201 | 44632 | -4.1333 | 2399.8133 | 0 | 260.1879 | 0 | 0 | 0 | 0 | 0 | 0
112 | RT | Voltage Support | PGAE | Humboldt | 2022-03-12 | 15 | No | DEC | 19 | 44632 | 44632.7847 | 3.8523 | 776.2333 | 0 | -255.3214 | 0 | 0 | 0 | 0 | 0 | 0
113 | RT | Voltage Support | PGAE | Humboldt | 2022-03-12 | 15 - 30 | No | INC | 13 | 44632.4583 | 44633 | -1.7621 | 6675.6067 | 0 | -27.8814 | 0 | 0 | 0 | 0 | -6.3609 | 0
114 | RT | Voltage Support | PGAE | Humboldt | 2022-03-13 | 30 | No | INC | 23 | 44633 | 44634 | -1.6729 | 21424.04 | 0 | -36.8224 | 0 | 0 | 0 | 0 | -399.6102 | 0
115 | RT | Voltage Support | PGAE | Humboldt | 2022-03-14 | 30 | No | DEC | 5 | 44634.7083 | 44634.9167 | -1.0583 | -4190.6352 | 0 | 37.6632 | 0 | 0 | 0 | 0 | 0 | 0
116 | RT | Voltage Support | PGAE | Humboldt | 2022-03-14 | 30 | No | INC | 24 | 44634 | 44635 | -5.1025 | 13972.2 | 0 | 29.7261 | 0 | 0 | 0 | 0 | 0 | 0
117 | RT | Voltage Support | PGAE | Humboldt | 2022-03-15 | 15 - 30 | No | INC | 24 | 44635 | 44636 | -4.0845 | 35063.74 | 944.21 | -241.1607 | 0 | 0 | 0 | 0 | -76.9605 | 0
118 | RT | Voltage Support | PGAE | Humboldt | 2022-03-16 | 15 - 30 | No | INC | 24 | 44636 | 44637 | 1.7534 | 34291.26 | 943.9 | -363.6799 | 0.16667 | -2.1049 | 0 | 0 | -140.2761 | 0
119 | RT | Voltage Support | PGAE | Humboldt | 2022-03-17 | 15 - 30 | No | DEC | 20 | 44637.1667 | 44638 | 3.4437 | -12627.774 | 944.08 | -52.9324 | 0 | 0 | 0 | 0 | 0 | 0
120 | RT | Voltage Support | PGAE | Humboldt | 2022-03-17 | 30 | No | INC | 24 | 44637 | 44638 | 2.1508 | 33770.6775 | 0 | -133.9176 | 0 | 0 | 0 | 0 | 0 | 0
121 | RT | Voltage Support | PGAE | Humboldt | 2022-03-18 | 15 | No | DEC | 23 | 44638 | 44638.9583 | -0.026562 | -3134.5185 | 944.15 | -6615.7808 | 0 | 0 | 0 | 0 | 0 | 0
122 | RT | Voltage Support | PGAE | Humboldt | 2022-03-18 | 15 - 30 | No | INC | 24 | 44638 | 44639 | -8.5633 | 20021.29 | 0 | 515.2646 | 0 | 0 | 0 | 0 | 0 | 0
123 | RT | Voltage Support | PGAE | Humboldt | 2022-03-19 | 30 | No | INC | 24 | 44639 | 44640 | -28.7346 | 64634.3125 | 0 | 13420.0036 | 0 | 0 | 0 | 0 | 0 | 0
124 | RT | Voltage Support | PGAE | Humboldt | 2022-03-20 | 30 | No | INC | 24 | 44640 | 44641 | -1.0583 | 45126.48 | 0 | -10.7578 | 0 | 0 | 0 | 0 | -271.2807 | 0
125 | RT | Voltage Support | PGAE | Humboldt | 2022-03-21 | 14.01 - 30 | No | DEC | 18 | 44641.25 | 44642 | -2.7775 | 470.065 | 0 | 162.049 | 0 | 0 | 0 | 0 | 0 | 0
126 | RT | Voltage Support | PGAE | Humboldt | 2022-03-21 | 30 | No | INC | 22 | 44641 | 44641.9167 | -2.1167 | 25853.6867 | 0 | 15.3865 | 0 | 0 | 0 | 0 | 0 | 0
127 | RT | Voltage Support | PGAE | Humboldt | 2022-03-22 | 14.01 | No | DEC | 7 | 44642 | 44642.2812 | -0.047292 | 0 | 708.4125 | 2.264 | 0 | 0 | 0 | 0 | 0 | 0
128 | RT | Voltage Support | PGAE | Sierra | 2022-03-03 | 20 | No | INC | 2 | 44623.8125 | 44623.875 | -30.3883 | 4211.37 | 239.1646 | 1564.8737 | 0 | 0 | 0 | 0 | 0 | 0
129 | RT | Voltage Support | PGAE | Sierra | 2022-03-04 | 40 | No | DEC | 1 | 44624.2361 | 44624.25 | 1.9583 | 0 | 0 | -82.1483 | 0 | 0 | 0 | 0 | 0 | 0
130 | RT | Voltage Support | PGAE | Sierra | 2022-03-04 | 20 - 40 | No | INC | 6 | 44624.25 | 44624.4792 | 57.4833 | 21371.745 | 0 | -3951.149 | 0 | 0 | 0 | 0 | 0 | 0
131 | RT | Voltage Support | PGAE | Sierra | 2022-03-05 | 40 | No | DEC | 1 | 44625.2396 | 44625.25 | 1.8854 | 0 | 0 | -73.8754 | 0 | 0 | 0 | 0 | 0 | 0
132 | RT | Voltage Support | PGAE | Sierra | 2022-03-05 | 20 - 40 | No | INC | 18 | 44625.25 | 44626 | -36.7723 | 74778.2125 | 0 | 1278.4314 | 0 | 0 | 0 | 0 | 0 | 0
133 | RT | Voltage Support | PGAE | Sierra | 2022-03-06 | 40 | No | DEC | 19 | 44626.2396 | 44627 | 4.5544 | 0 | 0 | -241.3864 | 0 | 0 | 0 | 0 | 0 | 0
134 | RT | Voltage Support | PGAE | Sierra | 2022-03-06 | 20 - 40 | No | INC | 21 | 44626 | 44626.875 | -104.4754 | 97093.95 | 0 | 4692.1473 | 0 | 0 | 0 | 0 | 0 | 0
135 | RT | Voltage Support | PGAE | Sierra | 2022-03-07 | 40 | No | DEC | 7 | 44627 | 44627.2917 | 0.40583 | 0 | 0 | -16.3622 | 0 | 0 | 0 | 0 | 0 | 0
136 | RT | Voltage Support | PGAE | Sierra | 2022-03-09 | 20 | No | INC | 6 | 44629.7882 | 44630 | -31.3848 | 5833.3333 | 0 | 1859.5106 | 0 | 0 | 0 | 0 | 0 | 0
137 | RT | Voltage Support | PGAE | Sierra | 2022-03-10 | 20 | Yes | INC | 7 | 44630 | 44630.2917 | -32.9492 | 2776.33 | 0 | 1656.4659 | 0 | 0 | 0 | 0 | 0 | 0
138 | RT | Voltage Support | PGAE | Sierra | 2022-03-12 | 20 | No | INC | 12 | 44632.5139 | 44633 | 13.0083 | 19281.15 | 507.19 | -225.3701 | 0 | 0 | 0 | 0 | 0 | 0
139 | RT | Voltage Support | PGAE | Sierra | 2022-03-13 | 20 - 42 | No | INC | 23 | 44633 | 44634 | -14.8633 | 84003.6083 | 4863.4147 | 706.5104 | 0 | 0 | 0 | 0 | 0 | 0
140 | RT | Voltage Support | PGAE | Sierra | 2022-03-14 | 20 | No | INC | 9 | 44634 | 44634.3542 | -40.5667 | 6886.125 | 0 | 2032.2033 | 0 | 0 | 0 | 0 | 0 | 0
141 | RT | Voltage Support | PGAE | Sierra | 2022-03-19 | 20 | No | DEC | 2 | 44639.875 | 44639.9583 | 3.1333 | 0 | 0 | -2557.9946 | 0 | 0 | 0 | 0 | 0 | 0
142 | RT | Voltage Support | PGAE | Sierra | 2022-03-19 | 20 | No | INC | 5 | 44639.8299 | 44640 | -4.2 | 2524.7842 | 0 | -149.9947 | 0 | 0 | 0 | 0 | 0 | 0
143 | RT | Voltage Support | PGAE | Sierra | 2022-03-20 | 20 | No | DEC | 2 | 44640.875 | 44640.9583 | -30.8958 | 0 | 0 | 1468.1346 | 0 | 0 | 0 | 0 | 0 | 0
144 | RT | Voltage Support | PGAE | Sierra | 2022-03-20 | 20 | No | INC | 24 | 44640 | 44641 | 9.5978 | 46611.4 | 0 | -11920.3848 | 0 | 0 | 0 | 0 | 0 | 0
145 | RT | Voltage Support | PGAE | Sierra | 2022-03-21 | 20 | No | INC | 7 | 44641 | 44641.2917 | -13.0283 | 2330.57 | 0 | 598.9305 | 0 | 0 | 0 | 0 | 0 | 0
146 | RT | Voltage Support | PGAE | Sierra | 2022-03-26 | 40 | No | DEC | 2 | 44646.7917 | 44646.875 | 1.9583 | 0 | 0 | -117.8128 | 0 | 0 | 0 | 0 | 0 | 0
147 | RT | Voltage Support | PGAE | Sierra | 2022-03-26 | 40 | No | INC | 13 | 44646.25 | 44646.7917 | -13.4167 | 48406.28 | 0 | 295.6253 | 0 | 0 | 0 | 0 | 0 | 0
148 | RT | Voltage Support | PGAE | Sierra | 2022-03-27 | 20 | No | DEC | 3 | 44647.875 | 44648 | -3.3633 | 0 | 0 | 195.5914 | 0 | 0 | 0 | 0 | 0 | 0
149 | RT | Voltage Support | PGAE | Sierra | 2022-03-28 | 20 | Yes | INC | 6 | 44648 | 44648.25 | -0.31667 | 0 | 0 | 19.6983 | 0 | 0 | 0 | 0 | 0 | 0

## Price_Impact_A
Table 8: Price Impact Analysis Information for Pricing Node A in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2022-03-28 | 9 | 9 | 677.1742 | Yes | 52.32 | -624.8542
2 | 2022-03-28 | 9 | 10 | 571.0814 | Yes | 52.32 | -518.7614
3 | 2022-03-28 | 9 | 11 | 618.2651 | Yes | 52.32 | -565.9451
4 | 2022-03-28 | 9 | 12 | 66.6354 | Yes | 52.32 | -14.3154
5 | 2022-03-28 | 10 | 1 | 112.4653 | Yes | 52.32 | -60.1453
6 | 2022-03-28 | 10 | 2 | 75.2656 | Yes | 52.32 | -22.9456
7 | 2022-03-28 | 10 | 3 | 67.4192 | Yes | 52.32 | -15.0992

## Price_Impact_B
Table 9: Price Impact Analysis Information for Pricing Node B in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2022-03-01 | 19 | 5 | 41.06 | Yes | 45.66 | 4.6
2 | 2022-03-01 | 19 | 6 | 38.78 | Yes | 45.66 | 6.88
3 | 2022-03-01 | 19 | 7 | 37.95 | Yes | 45.66 | 7.71
4 | 2022-03-01 | 19 | 8 | 37.79 | Yes | 45.66 | 7.87
5 | 2022-03-01 | 19 | 9 | 37.79 | Yes | 45.66 | 7.87
6 | 2022-03-01 | 19 | 10 | 38.32 | Yes | 45.66 | 7.34
7 | 2022-03-01 | 19 | 11 | 37.3 | Yes | 45.66 | 8.36
8 | 2022-03-01 | 19 | 12 | 37.2 | Yes | 45.66 | 8.46
9 | 2022-03-01 | 20 | 1 | 38.78 | Yes | 45.66 | 6.88
10 | 2022-03-01 | 20 | 2 | 38.29 | Yes | 45.66 | 7.37
11 | 2022-03-01 | 20 | 3 | 37.91 | Yes | 45.66 | 7.75
12 | 2022-03-01 | 20 | 4 | 40.66 | Yes | 45.66 | 5
13 | 2022-03-01 | 20 | 5 | 39.19 | Yes | 45.66 | 6.47
14 | 2022-03-01 | 20 | 6 | 39.59 | Yes | 45.66 | 6.07
15 | 2022-03-01 | 20 | 7 | 39.42 | Yes | 45.66 | 6.24
16 | 2022-03-01 | 20 | 8 | 39.06 | Yes | 45.66 | 6.6
17 | 2022-03-01 | 20 | 9 | 38.56 | Yes | 45.66 | 7.1
18 | 2022-03-01 | 20 | 10 | 38.6 | Yes | 45.66 | 7.06
19 | 2022-03-01 | 20 | 11 | 38.49 | Yes | 45.66 | 7.17
20 | 2022-03-01 | 20 | 12 | 38.22 | Yes | 45.66 | 7.44
21 | 2022-03-01 | 21 | 1 | 40.5 | Yes | 45.66 | 5.16
22 | 2022-03-01 | 21 | 2 | 41.94 | Yes | 45.66 | 3.72
23 | 2022-03-01 | 21 | 3 | 41.26 | Yes | 45.66 | 4.4
24 | 2022-03-01 | 21 | 4 | 41.31 | Yes | 45.66 | 4.35
25 | 2022-03-01 | 21 | 5 | 41.22 | Yes | 45.66 | 4.44
26 | 2022-03-01 | 21 | 6 | 41.22 | Yes | 45.66 | 4.44
27 | 2022-03-01 | 21 | 7 | 43.6 | Yes | 45.66 | 2.06
28 | 2022-03-01 | 21 | 8 | 42.93 | Yes | 45.66 | 2.73
29 | 2022-03-01 | 21 | 9 | 42.25 | Yes | 45.66 | 3.41
30 | 2022-03-01 | 21 | 10 | 42.27 | Yes | 45.66 | 3.39
31 | 2022-03-01 | 21 | 11 | 40.68 | Yes | 45.66 | 4.98
32 | 2022-03-01 | 21 | 12 | 42.27 | Yes | 45.66 | 3.39
33 | 2022-03-01 | 22 | 1 | 54.79 | Yes | 45.66 | -9.13
34 | 2022-03-01 | 22 | 2 | 53.94 | Yes | 45.66 | -8.28
35 | 2022-03-01 | 22 | 3 | 53.21 | Yes | 45.66 | -7.55
36 | 2022-03-01 | 22 | 4 | 58.99 | Yes | 45.66 | -13.33
37 | 2022-03-01 | 22 | 5 | 52.46 | Yes | 45.66 | -6.8
38 | 2022-03-01 | 22 | 6 | 50.2 | Yes | 45.66 | -4.54
39 | 2022-03-01 | 22 | 7 | 45.24 | Yes | 45.66 | 0.42
40 | 2022-03-01 | 22 | 8 | 43.82 | Yes | 45.66 | 1.84
41 | 2022-03-01 | 22 | 9 | 43.11 | Yes | 45.66 | 2.55
42 | 2022-03-01 | 22 | 10 | 41.98 | Yes | 45.66 | 3.68
43 | 2022-03-01 | 22 | 11 | 40.91 | Yes | 45.66 | 4.75
44 | 2022-03-01 | 22 | 12 | 40.65 | Yes | 45.66 | 5.01
45 | 2022-03-01 | 23 | 2 | 45.35 | Yes | 45.66 | 0.31
46 | 2022-03-01 | 23 | 3 | 44.91 | Yes | 45.66 | 0.75
47 | 2022-03-01 | 23 | 4 | 43.56 | Yes | 45.66 | 2.1
48 | 2022-03-01 | 23 | 5 | 42.73 | Yes | 45.66 | 2.93
49 | 2022-03-01 | 23 | 6 | 40.19 | Yes | 45.66 | 5.47
50 | 2022-03-01 | 23 | 7 | 40.68 | Yes | 45.66 | 4.98
51 | 2022-03-01 | 23 | 8 | 40.52 | Yes | 45.66 | 5.14
52 | 2022-03-01 | 23 | 9 | 39.93 | Yes | 45.66 | 5.73
53 | 2022-03-01 | 23 | 10 | 39.55 | Yes | 45.66 | 6.11
54 | 2022-03-01 | 23 | 11 | 38.61 | Yes | 45.66 | 7.05
55 | 2022-03-01 | 23 | 12 | 40 | Yes | 45.66 | 5.66
56 | 2022-03-03 | 22 | 7 | 38.48 | Yes | 47.52 | 9.04
57 | 2022-03-03 | 22 | 8 | 38.42 | Yes | 47.52 | 9.1
58 | 2022-03-03 | 22 | 9 | 37.74 | Yes | 47.52 | 9.78
59 | 2022-03-03 | 22 | 10 | 37.89 | Yes | 47.52 | 9.63
60 | 2022-03-03 | 22 | 11 | 37.1 | Yes | 47.52 | 10.42
61 | 2022-03-03 | 22 | 12 | 37.95 | Yes | 47.52 | 9.57
62 | 2022-03-03 | 23 | 1 | 38.19 | Yes | 47.52 | 9.33
63 | 2022-03-03 | 23 | 2 | 38.38 | Yes | 47.52 | 9.14
64 | 2022-03-03 | 23 | 3 | 38.64 | Yes | 47.52 | 8.88
65 | 2022-03-03 | 23 | 4 | 38.73 | Yes | 47.52 | 8.79
66 | 2022-03-03 | 23 | 5 | 38.83 | Yes | 47.52 | 8.69
67 | 2022-03-03 | 23 | 6 | 38.68 | Yes | 47.52 | 8.84
68 | 2022-03-03 | 23 | 7 | 38.12 | Yes | 47.52 | 9.4
69 | 2022-03-03 | 23 | 8 | 37.51 | Yes | 47.52 | 10.01
70 | 2022-03-03 | 23 | 9 | 37.45 | Yes | 47.52 | 10.07
71 | 2022-03-03 | 23 | 10 | 40.03 | Yes | 47.52 | 7.49
72 | 2022-03-03 | 23 | 11 | 36.16 | Yes | 47.52 | 11.36
73 | 2022-03-03 | 23 | 12 | 39.11 | Yes | 47.52 | 8.41
74 | 2022-03-03 | 24 | 1 | 37.53 | Yes | 47.52 | 9.99
75 | 2022-03-03 | 24 | 2 | 35.16 | Yes | 47.52 | 12.36
76 | 2022-03-03 | 24 | 3 | 34.4 | Yes | 47.52 | 13.12
77 | 2022-03-03 | 24 | 4 | 34.82 | Yes | 47.52 | 12.7
78 | 2022-03-03 | 24 | 5 | 34.21 | Yes | 47.52 | 13.31
79 | 2022-03-03 | 24 | 6 | 33.72 | Yes | 47.52 | 13.8
80 | 2022-03-03 | 24 | 7 | 33.16 | Yes | 47.52 | 14.36
81 | 2022-03-03 | 24 | 8 | 33.04 | Yes | 47.52 | 14.48
82 | 2022-03-03 | 24 | 9 | 32.5 | Yes | 47.52 | 15.02

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
NONTMOD | 6 | 4145.1089 | 71.0202 | 4074.0888
Total | 6 | 4145.1089 | 71.0202 | 4074.0888