## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for May 2020
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Bridging Schedules | PGAE | Fresno | 2020-05-15 | -305 | No | DEC | 1 | 43966 | 43966.0417 | -12.5833 | 0 | 0 | 260.3122 | 0 | 0 | 0 | 0 | 0 | 0
2 | RT | Fast Start Unit Management | SCE | Big Creek-Ventura | 2020-05-09 | 0 | No | INC | 1 | 43960.2917 | 43960.3333 | -11.775 | 0 | 0 | 0 | -23.55 | 0 | 0 | 0 | 0 | 0
3 | RT | Fast Start Unit Management | SCE | LA Basin | 2020-05-02 | 0 | No | INC | 1 | 43953.9583 | 43954 | -23.45 | 347.9 | 10.195 | 0 | -46.9 | 0 | 0 | 0 | 0 | 0
4 | RT | Fast Start Unit Management | SCE | LA Basin | 2020-05-03 | 0 | No | INC | 2 | 43954.3333 | 43954.3785 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | RT | Fast Start Unit Management | SCE | LA Basin | 2020-05-09 | 0 | No | INC | 22 | 43960.1042 | 43960.9965 | -125.9292 | 3367.2383 | 0 | 0 | -251.8583 | 0 | 0 | 0 | 0 | 0
6 | RT | Fast Start Unit Management | SCE | LA Basin | 2020-05-14 | 0 | No | INC | 2 | 43965.1042 | 43965.1493 | -69.015 | 2512.0625 | 0 | 0 | -138.03 | 0 | 0 | 0 | 0 | 0
7 | RT | Fast Start Unit Management | SCE | LA Basin | 2020-05-22 | 0 | No | INC | 1 | 43973.2396 | 43973.2812 | -23.45 | 382.2625 | 0 | 0 | -46.9 | 0 | 0 | 0 | 0 | 0
8 | RT | Fast Start Unit Management | SCE | LA Basin | 2020-05-24 | 0 | No | INC | 1 | 43975.0174 | 43975.059 | -26.1858 | 466.7733 | 0 | 0 | -52.3717 | 0 | 0 | 0 | 0 | 0
9 | RT | Intertie Emergency Assistance | Intertie | NA | 2020-05-29 | 45 | No | DEC | 1 | 43980.7083 | 43980.75 | 50 | 0 | 0 | -39712.8028 | 5.4167 | -3554.6347 | 0 | -6132.9934 | 0 | 0
10 | RT | Load Forecast Uncertainty | PGAE | Fresno | 2020-05-16 | 83 | No | DEC | 2 | 43967.75 | 43967.8333 | 38.36 | 0 | 0 | -1053.9837 | 0 | 0 | 0 | 0 | 0 | 0
11 | RT | Load Forecast Uncertainty | PGAE | Fresno | 2020-05-16 | 83 | No | INC | 2 | 43967.7118 | 43967.7917 | 7.6129 | 11966.6 | 0 | -922.4962 | 0 | 0 | 0 | 0 | 0 | 0
12 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2020-05-06 | 50 | No | INC | 8 | 43957.6667 | 43958 | 278.4321 | 110157.355 | 83917.89 | -7790.0186 | 258.5026 | -4345.8395 | 0 | 0 | 0 | 0
13 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2020-05-07 | 50 | No | INC | 24 | 43958 | 43959 | 30.5792 | 58941.745 | 0 | -1701.05 | 0 | 0 | 0 | 0 | 0 | 0
14 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2020-05-26 | 50 | No | INC | 17 | 43977.2917 | 43978 | 39.7829 | 49680.74 | 82669.55 | -1023.3028 | 0 | 0 | 0 | 0 | 0 | 0
15 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2020-05-27 | 50 | No | INC | 24 | 43978 | 43979 | 27.6906 | 79577.725 | 0 | -667.8427 | 0 | 0 | 0 | 0 | 0 | 0
16 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2020-05-28 | 50 | No | INC | 24 | 43979 | 43980 | 341.5223 | 77032.7 | 0 | -1306.6115 | 34.1681 | -1275.7879 | 0 | 0 | 0 | 0
17 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2020-05-01 | 20 | No | DEC | 1 | 43952.7083 | 43952.7292 | 1.7354 | 0 | 0 | -6.4606 | 0 | 0 | 0 | 0 | 0 | 0
18 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2020-05-01 | 20 | Yes | INC | 3 | 43952.6215 | 43952.7292 | -56.3296 | 315.2083 | 272.3426 | 42.6486 | 0 | 0 | 0 | 0 | 0 | 0
19 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2020-05-06 | 10 - 98 | No | INC | 17 | 43957.2917 | 43958 | 44.1575 | 96966.6325 | 24239.05 | -14647.4604 | 0.0033333 | -0.2066 | 0 | 0 | 0 | 0
20 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2020-05-07 | 10 | No | DEC | 7 | 43958 | 43958.2917 | 1.6667 | 0 | 0 | -35.1775 | 0 | 0 | 0 | 0 | 0 | 0
21 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2020-05-07 | 10 - 130 | No | INC | 24 | 43958 | 43959 | -3.5125 | 121680.89 | 92050.79 | -232.982 | 0 | 0 | 0 | 0 | 0 | 0
22 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2020-05-08 | 130 | No | INC | 4 | 43959 | 43959.1667 | 5.4167 | 0 | 0 | -132.4223 | 0 | 0 | 0 | 0 | 0 | 0
23 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2020-05-25 | 288.88 | No | INC | 4 | 43976.6667 | 43976.8333 | -72.4367 | 46864.4 | 19037.4124 | 2984.439 | 0 | 0 | 0 | 0 | 0 | 0
24 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2020-05-26 | 130 | No | INC | 4 | 43977.8333 | 43978 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2020-05-27 | 10 - 70 | No | INC | 12 | 43978.5 | 43979 | 1.9846 | 45154.2292 | 0 | -194.7142 | 0 | 0 | 0 | 0 | 0 | 0
26 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2020-05-28 | 10 - 70 | Yes | INC | 24 | 43979 | 43980 | 59.8771 | 167300.955 | 0 | -3299.6245 | 66.5 | -1257.295 | 0 | 0 | 0 | 0
27 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2020-05-06 | 24 | No | DEC | 3 | 43957.7083 | 43957.8333 | 2.0454 | -20135.8926 | 0 | 6036.0279 | 0 | 0 | 0 | 0 | 0 | 0
28 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2020-05-07 | 24 | No | DEC | 3 | 43958.7083 | 43958.8333 | 26.4712 | -29825.9736 | 0 | -844.3531 | 0 | 0 | 0 | 0 | 0 | 0
29 | RT | Other Reliability Requirement | Intertie | NA | 2020-05-27 | 117 | No | INC | 1 | 43978.8333 | 43978.875 | 12.5 | 0 | 0 | -113.7472 | 12.5 | -113.7472 | 0 | -1123.7527 | 0 | 0
30 | RT | Other Reliability Requirement | PGAE | Bay Area | 2020-05-21 | 233 | No | INC | 1 | 43972.1736 | 43972.1979 | 57.4108 | 0 | 0 | -980.1805 | 60.8125 | -448.6854 | 0 | -264.683 | 0 | 0
31 | RT | Other Reliability Requirement | PGAE | Fresno | 2020-05-26 | 83 | No | DEC | 1 | 43977.8924 | 43977.8993 | -24.368 | 0 | 0 | 626.0755 | -26.6886 | 0 | 661.8413 | 0 | 0 | 0
32 | RT | Other Reliability Requirement | PGAE | Sierra | 2020-05-21 | 150 | No | INC | 1 | 43972.1771 | 43972.1979 | 45.3854 | 0 | 0 | -662.7428 | 71.9063 | -504.393 | 0 | -677.6539 | 0 | 0
33 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2020-05-21 | 560 | No | INC | 1 | 43972.1771 | 43972.1979 | 26.982 | 0 | 0 | -357.657 | 48.4688 | -318.1388 | 0 | -74.9509 | 0 | 0
34 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2020-05-26 | 400.1 | No | INC | 9 | 43977.5417 | 43977.9167 | -497.2308 | 154889 | 0 | 50382.604 | 0 | 0 | 0 | -840.3656 | 0 | 0
35 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2020-05-27 | 400.2 | No | INC | 7 | 43978.5833 | 43978.875 | -60.7671 | 137566.745 | 0 | 2980.5996 | 0.023958 | -0.33243 | 0 | -222.2454 | 0 | 0
36 | RT | Other Reliability Requirement | SCE | LA Basin | 2020-05-26 | 190 | No | INC | 7 | 43977.5625 | 43977.8333 | -20.8241 | 0 | 0 | 3682.4737 | 3.7408 | -36.1385 | 0 | -4121.9592 | 0 | 0
37 | RT | Other Reliability Requirement | SCE | LA Basin | 2020-05-27 | 190 - 240.1 | No | INC | 7 | 43978.5833 | 43978.875 | -12.0879 | 58641.2042 | 0 | 393.8178 | 0.1 | -1.7869 | 0 | -7314.0747 | 0 | 0
38 | RT | Planned Transmission Outage | PGAE | Bay Area | 2020-05-20 | 180 | No | INC | 9 | 43971.375 | 43971.75 | 0 | 47798.19 | 7630.878 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | RT | Planned Transmission Outage | PGAE | Bay Area | 2020-05-31 | 20 - 95 | No | INC | 2 | 43982.1979 | 43982.2708 | 62.379 | 4077.81 | 658.41 | -798.7959 | 82.3984 | -524.7656 | 0 | 0 | -1948.4603 | 0
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-04 | 45 - 75 | No | INC | 12 | 43955.5208 | 43956 | 29.868 | 35268.8475 | 0 | -782.5505 | 0 | 0 | 0 | 0 | 0 | 0
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-05 | 45 - 60 | No | INC | 24 | 43956 | 43957 | -2.4533 | 37210.3725 | 0 | 19.8455 | 0 | 0 | 0 | 0 | -0.80442 | 0
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-06 | 42 - 60 | No | INC | 20 | 43957 | 43957.8021 | -55.7735 | 32245.475 | 0 | 1035.5341 | 0 | 0 | 0 | 0 | 0 | 0
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-11 | 14 | No | DEC | 2 | 43962.2708 | 43962.3229 | -0.18917 | 0 | 0 | 1.5149 | 0 | 0 | 0 | 0 | 0 | 0
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-11 | 30 | No | INC | 19 | 43962.2431 | 43963 | 26.2696 | 21569.9683 | 0 | -657.0255 | 0.43611 | -1.3572 | 0 | 0 | 0 | 0
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-12 | 15 - 30 | No | INC | 24 | 43963 | 43964 | -1.3841 | 36954.93 | 0 | -21.7281 | 0 | 0 | 0 | 0 | 0 | 0
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-13 | 15 - 30 | No | INC | 24 | 43964 | 43965 | -4.7858 | 34201.095 | 0 | -73.1265 | 0 | 0 | 0 | 0 | -204.0962 | 0
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-14 | 30 - 45 | No | INC | 24 | 43965 | 43966 | 0.48938 | 39659.7975 | 0 | -5.5788 | 0.25 | 0 | 0 | 0 | 0 | 0
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-15 | 15 | No | DEC | 9 | 43966 | 43966.3472 | -0.19826 | 0 | 0 | 2.8244 | 0 | 0 | 0 | 0 | 0 | 0
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-15 | 30 | No | INC | 24 | 43966 | 43967 | -1.9323 | 30628.5 | 0 | 16.6713 | 1.8936 | 0.0048036 | 0 | 0 | -212.559 | 0
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-16 | 30 - 45 | No | INC | 20 | 43967 | 43967.8333 | -2.0415 | 14382.3425 | 0 | -63.8196 | 0 | 0 | 0 | 0 | -4.7998 | 0
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-17 | 45 | No | INC | 10 | 43968.3021 | 43968.6875 | 11.7738 | 10293.2725 | 0 | -159.4646 | 2.1492 | -2.9803 | 0 | 0 | -66.5974 | 0
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-24 | 15 | No | DEC | 9 | 43975.625 | 43976 | -0.037708 | 0 | 0 | -0.37016 | 0 | 0 | 0 | 0 | 0 | 0
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-24 | 15 | No | INC | 8 | 43975.3299 | 43975.625 | 0.53917 | -46.7767 | 0 | 3.6462 | 0.74444 | 0.0041346 | 0 | 0 | -56.7109 | 0
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-26 | 15 - 45 | No | DEC | 16 | 43977.2361 | 43977.875 | -17.7957 | -3178.7759 | 0 | 1879.8119 | -9.908 | 0 | 349.7452 | 0 | -1148.5245 | 0
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-26 | 30 - 60 | No | INC | 17 | 43977.3229 | 43978 | 14.0778 | 19786.77 | 0 | 86.9466 | -22.9735 | -3.0455 | 463.2622 | 0 | -293.4291 | 0
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-27 | 15 - 30 | No | DEC | 19 | 43978.1354 | 43978.9167 | -1.6998 | -8742.7791 | 0 | 138.1429 | -0.29104 | 0 | 0 | 0 | -1903.2203 | 0
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-27 | 30 - 60 | No | INC | 24 | 43978 | 43979 | -1.5814 | 22980.87 | 0 | 41.2254 | -14.077 | -33.7385 | 169.0244 | 0 | -66.9507 | 0
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-28 | 30 | No | INC | 24 | 43979 | 43980 | 3.8988 | 32581.45 | 0 | -58.9994 | -1.27 | 0 | 18.2758 | 0 | -39.9753 | 0
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-29 | 30 | No | DEC | 7 | 43980.5417 | 43980.8194 | -0.35724 | -2384.8616 | 0 | 16.3229 | 0 | 0 | 0 | 0 | 0 | 0
60 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-05-29 | 30 | No | INC | 20 | 43980 | 43980.8194 | 0.67792 | 17904.26 | 0 | -15.96 | 0 | 0 | 0 | 0 | -35.0486 | 0
61 | RT | Planned Transmission Outage | PGAE | NCNB | 2020-05-11 | 50 - 70 | No | INC | 12 | 43962.4132 | 43962.875 | -16.0391 | 0 | 0 | -9.1605 | -57.2384 | 0 | -45.6097 | 0 | -42.5878 | 0
62 | RT | Planned Transmission Outage | PGAE | NCNB | 2020-05-27 | 0 | No | DEC | 5 | 43978.6979 | 43978.875 | -46.2083 | 0 | 0 | 10121.8361 | -90 | 0 | 10125.5897 | 0 | -144251.5438 | 0
63 | RT | Planned Transmission Outage | PGAE | Stockton | 2020-05-08 | 110 | No | DEC | 1 | 43959.6667 | 43959.6771 | -24.4742 | 0 | 0 | 399.9273 | 0 | 0 | 0 | 0 | 0 | 0
64 | RT | Planned Transmission Outage | PGAE | Stockton | 2020-05-08 | 110 - 144 | No | INC | 5 | 43959.6389 | 43959.8333 | -22.9154 | 457.0425 | 0 | 649.5434 | 30.7778 | -297.21 | 0 | 0 | -842.8772 | 0
65 | RT | Planned Transmission Outage | PGAE | Stockton | 2020-05-26 | 90 - 235 | No | INC | 4 | 43977.3125 | 43977.4583 | 87.5771 | 10737.3 | 3540.6107 | -1654.0823 | 16.8175 | -160.0351 | 0 | 0 | -110.8858 | 0
66 | RT | Planned Transmission Outage | PGAE | Stockton | 2020-05-27 | 225 | No | DEC | 6 | 43978.6979 | 43978.9167 | -12.0665 | 0 | 0 | 481.7367 | 0 | 0 | 0 | 0 | 0 | 0
67 | RT | Planned Transmission Outage | PGAE | Stockton | 2020-05-27 | 250 | No | INC | 3 | 43978.6042 | 43978.6979 | 5.7794 | 0 | 0 | -586.9308 | 0 | 0 | 0 | 0 | 0 | 0
68 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-05-21 | 46 | No | INC | 3 | 43972.8854 | 43973 | -28.6061 | 12451.5075 | 166.7642 | 696.2901 | 0 | 0 | 0 | 0 | -4.8552 | 0
69 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-05-22 | 46 | No | INC | 10 | 43973 | 43973.3854 | -2.1651 | 40225.88 | 0 | -0.022084 | 0 | 0 | 0 | 0 | -108.5637 | 0
70 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-05-29 | 65 - 190 | No | INC | 6 | 43980.6701 | 43980.9167 | -164.5885 | 31398.2908 | 33990.6654 | -111284.1294 | -164.1646 | 0 | 4575.2783 | 0 | -2779.1969 | 0
71 | RT | Planned Transmission Outage | SCE | NA | 2020-05-22 | 0 | No | DEC | 4 | 43973.3368 | 43973.4688 | -338.5294 | -8.46 | 0 | -9658.5374 | -701.728 | 0 | -10763.832 | 0 | -860.4362 | 0
72 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2020-05-28 | 155 | No | INC | 3 | 43979.4375 | 43979.5417 | -2.302 | 11026.875 | 4150 | 74.7097 | 0 | 0 | 0 | 0 | 0 | 0
73 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2020-05-29 | 24 | No | DEC | 3 | 43980.7917 | 43980.9167 | 6.9126 | 0 | 0 | -194.6335 | 0 | 0 | 0 | 0 | 0 | 0
74 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2020-05-29 | 24 - 50 | No | INC | 6 | 43980.6979 | 43980.9167 | 159.6504 | 40520.9683 | 0 | 24618.914 | 0 | 0 | 0 | 0 | 0 | 0
75 | RT | Pump Management | PGAE | Fresno | 2020-05-02 | -310 | No | INC | 1 | 43953.0035 | 43953.0417 | -232.5 | 0 | 0 | 3615.4441 | 0 | 0 | 0 | 0 | 0 | 0
76 | RT | Pump Management | PGAE | Fresno | 2020-05-12 | -305 | No | DEC | 1 | 43963 | 43963.0417 | 0.145 | 0 | 0 | -3.4579 | 0 | 0 | 0 | 0 | 0 | 0
77 | RT | Pump Management | PGAE | Fresno | 2020-05-23 | -298 | No | DEC | 2 | 43974.5799 | 43974.625 | -179.3729 | 0 | 0 | -1.9361 | 0 | 0 | 0 | 0 | 0 | 0
78 | RT | Ramping Capacity | SCE | LA Basin | 2020-05-25 | 289 - 300 | No | INC | 6 | 43976.6667 | 43976.9167 | -5.4604 | 20466.075 | 0 | -1329.8561 | 39.8179 | -2182.0549 | 0 | 0 | 0 | 0
79 | RT | Ramping Capacity | SCE | LA Basin | 2020-05-26 | 96 | No | INC | 8 | 43977.5868 | 43977.9167 | 44.6444 | 19609.475 | 4801.3745 | -5887.0548 | 57.6038 | -5231.7402 | 0 | 0 | 0 | 0
80 | RT | Reliability Assessment | PGAE | Bay Area | 2020-05-17 | 140 | No | INC | 5 | 43968.4965 | 43968.6667 | -26.0873 | 16951.48 | 0 | 492.3025 | 0 | 0 | 0 | 0 | 0 | 0
81 | RT | Reliability Assessment | PGAE | Bay Area | 2020-05-26 | 500 | No | DEC | 3 | 43977.7326 | 43977.8333 | 135.0893 | 139.49 | 0 | -7407.0503 | 71.2802 | -669.7109 | 0 | 0 | 0 | 0
82 | RT | Reliability Assessment | PGAE | Fresno | 2020-05-26 | 60 | No | DEC | 3 | 43977.7153 | 43977.8333 | -12.5946 | 0 | 0 | 52.7664 | -23.3333 | 0 | 0 | 0 | 0 | 0
83 | RT | Reliability Assessment | PGAE | Fresno | 2020-05-26 | 10 | No | INC | 1 | 43977.5069 | 43977.5417 | -7.0084 | 0 | 0 | 2.5277 | -13.0207 | 0 | 2.5277 | 0 | 0 | 0
84 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-01 | 15 | No | DEC | 8 | 43952 | 43952.3333 | 1.4031 | 0 | 0 | -24.3158 | 0 | 0 | 0 | 0 | 0 | 0
85 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-01 | 14 - 32 | No | INC | 19 | 43952.2326 | 43953 | 11.6627 | 16089.95 | 0 | -314.0876 | 0 | 0 | 0 | 0 | 0 | 0
86 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-02 | 14 | No | DEC | 24 | 43953 | 43954 | -2.8022 | 0 | 0 | 37.4571 | 0 | 0 | 0 | 0 | 0 | 0
87 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-02 | 14 - 28 | No | INC | 24 | 43953 | 43954 | 9.8987 | 10883.7125 | 0 | -28.7118 | 0.33104 | -1.6916 | 0 | 0 | 0 | 0
88 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-03 | 14 | No | DEC | 18 | 43954.2604 | 43955 | 3.8074 | 0 | 0 | -66.6547 | 0 | 0 | 0 | 0 | 0 | 0
89 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-03 | 14 - 28 | No | INC | 24 | 43954 | 43955 | 6.7299 | 9919.3125 | 0 | -172.7539 | 0 | 0 | 0 | 0 | 0 | 0
90 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-04 | 14 | No | DEC | 8 | 43955 | 43955.3299 | -0.5675 | 0 | 0 | 2.8743 | 0 | 0 | 0 | 0 | 0 | 0
91 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-04 | 28 - 65 | No | INC | 13 | 43955 | 43955.5208 | 38.3248 | 17496.635 | 0 | -729.297 | 0 | 0 | 0 | 0 | 0 | 0
92 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-06 | 42 | No | INC | 6 | 43957.7882 | 43958 | -35.7477 | 6396.6633 | 0 | 906.0746 | 0 | 0 | 0 | 0 | 0 | 0
93 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-07 | 30 - 45 | No | INC | 24 | 43958 | 43959 | -4.633 | 19033.8125 | 0 | 39.1576 | 0 | 0 | 0 | 0 | 0 | 0
94 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-08 | 15 - 45 | No | INC | 24 | 43959 | 43960 | 8.1798 | 16315.6525 | 890.38 | -230.9791 | 0 | 0 | 0 | 0 | 0 | 0
95 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-09 | 14 | No | DEC | 14 | 43960.3333 | 43960.9167 | -27.8583 | 0 | 0 | 699.576 | 0 | 0 | 0 | 0 | 0 | 0
96 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-09 | 14 - 30 | No | INC | 24 | 43960 | 43961 | -1.7643 | 13615.4325 | 0 | 6.5965 | 0 | 0 | 0 | 0 | 0 | 0
97 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-10 | 14 | No | DEC | 24 | 43961.0208 | 43962 | -32.111 | 0 | 0 | 678.2379 | 0 | 0 | 0 | 0 | 0 | 0
98 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-10 | 14 - 30 | No | INC | 24 | 43961 | 43962 | -0.42329 | 4684.88 | 889.7 | -136.2471 | 0 | 0 | 0 | 0 | 0 | 0
99 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-11 | 14 | No | DEC | 8 | 43962 | 43962.3229 | -0.75667 | 0 | 0 | 8.2355 | 0 | 0 | 0 | 0 | 0 | 0
100 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-16 | 45 | No | INC | 3 | 43967.9132 | 43968 | 0 | 2350.0625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
101 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-17 | 30 - 60 | No | INC | 24 | 43968 | 43969 | 2.7904 | 18142.4925 | 0 | -16.1394 | 1.3992 | -2.9803 | 0 | 0 | -4.8647 | 0
102 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-18 | 14 - 15 | No | DEC | 23 | 43969.0625 | 43970 | 5.8371 | 0 | 0 | -107.215 | 0 | 0 | 0 | 0 | 0 | 0
103 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-18 | 15 - 30 | No | INC | 24 | 43969 | 43970 | 15.9574 | 17625.36 | 0 | -286.1692 | 0 | 0 | 0 | 0 | 0 | 0
104 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-19 | 14 - 16 | No | DEC | 23 | 43970 | 43970.9583 | 9.6381 | -48.57 | 0 | -105.9792 | 1.2917 | -7.2 | 0 | 0 | 0 | 0
105 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-19 | 15 - 30 | No | INC | 24 | 43970 | 43971 | 3.2458 | 16902.36 | 0 | -65.6221 | 0 | 0 | 0 | 0 | 0 | 0
106 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-20 | 15 | No | DEC | 24 | 43971.0104 | 43972 | -0.03375 | 0 | 0 | -11.0364 | 0 | 0 | 0 | 0 | 0 | 0
107 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-20 | 15 - 30 | No | INC | 24 | 43971 | 43972 | 3.4044 | 14314.4025 | 0 | -96.2912 | 1.1667 | -3.6433 | 0 | 0 | 0 | 0
108 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-21 | 15 | No | DEC | 18 | 43972.2812 | 43973 | -0.13875 | 0 | 0 | 2.0746 | 0.47083 | -2.6487 | 0 | 0 | 0 | 0
109 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-21 | 15 - 30 | No | INC | 24 | 43972 | 43973 | -1.5413 | 18046.76 | 0 | -15.787 | 0.5 | -2.74 | 0 | 0 | 0 | 0
110 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-22 | 15 | No | DEC | 1 | 43973 | 43973.0312 | 0.12833 | 0 | 0 | -4.6572 | 0 | 0 | 0 | 0 | 0 | 0
111 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-22 | 30 | No | INC | 24 | 43973 | 43974 | -1.7152 | 13674.73 | 0 | -12.4151 | 0 | 0 | 0 | 0 | 0 | 0
112 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-23 | 14 | No | DEC | 20 | 43974.1146 | 43974.9167 | -4.9289 | 233.8875 | 0 | 6.8124 | 0 | 0 | 0 | 0 | 0 | 0
113 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-23 | 14 - 30 | No | INC | 17 | 43974 | 43974.7083 | 0.64083 | 6455.2075 | 0 | -37.4605 | 0 | 0 | 0 | 0 | 0 | 0
114 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-25 | 15 | No | DEC | 9 | 43976.5833 | 43976.9583 | 1.3558 | 0 | 0 | -32.7857 | 0 | 0 | 0 | 0 | 0 | 0
115 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-25 | 15 | No | INC | 17 | 43976.3229 | 43977 | 0.99833 | 1122.64 | 0 | -19.4181 | 0.22917 | 0 | 0 | 0 | 0 | 0
116 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-26 | 15 | No | DEC | 6 | 43977 | 43977.25 | 0.67792 | 0 | 0 | -18.808 | 0 | 0 | 0 | 0 | 0 | 0
117 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-29 | 30 | No | DEC | 9 | 43980.5417 | 43980.9167 | -0.069617 | -2601.6672 | 0 | 9.6607 | 0 | 0 | 0 | 0 | 0 | 0
118 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-29 | 30 | No | INC | 18 | 43980.2708 | 43981 | 0.67792 | 11262.365 | 0 | -15.96 | 0 | 0 | 0 | 0 | 0 | 0
119 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-30 | 15 | No | DEC | 7 | 43981.2292 | 43981.4826 | 4.3315 | 0 | 0 | -93.1133 | 0 | 0 | 0 | 0 | 0 | 0
120 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-30 | 15 - 30 | No | INC | 24 | 43981 | 43982 | 5.3894 | 21089.35 | 0 | -162.7714 | 0.33333 | -1.7467 | 0 | 0 | 0 | 0
121 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-31 | 15 | No | DEC | 23 | 43982.0417 | 43983 | -1.5821 | 0 | 0 | 18.7174 | 0 | 0 | 0 | 0 | 0 | 0
122 | RT | Reliability Assessment | PGAE | Humboldt | 2020-05-31 | 15 - 30 | No | INC | 24 | 43982 | 43983 | 1.9005 | 16175.32 | 0 | -24.1455 | -1.1552 | 0 | 5.4503 | 0 | 0 | 0
123 | RT | Reliability Assessment | PGAE | Kern | 2020-05-27 | 32 | No | INC | 8 | 43978.5833 | 43978.9167 | -1.299 | 9539.04 | 4545.6188 | 25.0839 | 0 | 0 | 0 | 0 | 0 | 0
124 | RT | Reliability Assessment | PGAE | Kern | 2020-05-28 | 44 - 45 | No | INC | 6 | 43979.7535 | 43979.9792 | 10.0189 | 6267.555 | 4371.6919 | -314.2278 | 3.125 | -39.1161 | 0 | 0 | 0 | 0
125 | RT | Reliability Assessment | PGAE | NCNB | 2020-05-08 | 40 - 60 | No | INC | 5 | 43959.5451 | 43959.7292 | -0.0825 | 0 | 0 | -4.3485 | 0 | 0 | 0 | 0 | 0 | 0
126 | RT | Reliability Assessment | PGAE | NCNB | 2020-05-10 | 40 - 60 | No | INC | 12 | 43961.4896 | 43961.9896 | -6.9426 | 0 | 0 | -171.0173 | -42.42 | 0 | -68.0841 | 0 | 0 | 0
127 | RT | Reliability Assessment | PGAE | NCNB | 2020-05-27 | 22 - 60 | No | DEC | 4 | 43978.6181 | 43978.7812 | -94.874 | 0 | 0 | 130.82 | -190.7506 | 0 | -766.0645 | 0 | 0 | 0
128 | RT | Reliability Assessment | PGAE | NCNB | 2020-05-27 | 60 | No | INC | 1 | 43978.6181 | 43978.6458 | -9.9177 | 0 | 0 | 113.5019 | -18.225 | 0 | -90.122 | 0 | 0 | 0
129 | RT | Reliability Assessment | PGAE | Sierra | 2020-05-01 | 20 | No | INC | 1 | 43952.875 | 43952.9167 | 5.2151 | 0 | 77.65 | -107.8629 | 0 | 0 | 0 | 0 | 0 | 0
130 | RT | Reliability Assessment | PGAE | Sierra | 2020-05-03 | 20 | No | INC | 2 | 43954.941 | 43954.9896 | 10 | 1538.985 | 0 | -181.8791 | 0 | 0 | 0 | 0 | 0 | 0
131 | RT | Reliability Assessment | PGAE | Sierra | 2020-05-07 | 20 - 47 | No | DEC | 1 | 43958.7917 | 43958.8333 | -9.6706 | 0 | 15 | 398.7025 | 0 | 0 | 0 | 0 | 0 | 0
132 | RT | Reliability Assessment | PGAE | Sierra | 2020-05-07 | 20 - 48 | No | INC | 16 | 43958.3333 | 43959 | -15.2889 | 21875.4515 | 1562.5903 | 461.9918 | 0.60212 | -21.9306 | 0 | 0 | 0 | 0
133 | RT | Reliability Assessment | PGAE | Sierra | 2020-05-08 | 20 | No | INC | 2 | 43959 | 43959.0833 | 0.11615 | 2900.66 | 0 | -13.4386 | 0 | 0 | 0 | 0 | 0 | 0
134 | RT | Reliability Assessment | PGAE | Sierra | 2020-05-09 | 20 | No | INC | 5 | 43960.7188 | 43960.9167 | -42.0779 | 2804.66 | 0 | 895.1593 | 0 | 0 | 0 | 0 | 0 | 0
135 | RT | Reliability Assessment | PGAE | Sierra | 2020-05-25 | 20 | No | DEC | 4 | 43976.75 | 43976.9167 | 1.6336 | 0 | 0 | -62.0086 | 0 | 0 | 0 | 0 | 0 | 0
136 | RT | Reliability Assessment | PGAE | Sierra | 2020-05-25 | 20 | No | INC | 8 | 43976.6771 | 43977 | 91.7414 | 2721.48 | 0 | -3684.1311 | 0 | 0 | 0 | 0 | 0 | 0
137 | RT | Reliability Assessment | PGAE | Sierra | 2020-05-26 | 20 - 45 | No | DEC | 3 | 43977.75 | 43977.875 | 6.7552 | 0 | 0 | -1570.3689 | 0 | 0 | 0 | 0 | 0 | 0
138 | RT | Reliability Assessment | PGAE | Sierra | 2020-05-26 | 20 - 46.5 | Yes | INC | 24 | 43977 | 43978 | 46.6933 | 5442.9602 | 0 | -4658.1266 | 0 | 0 | 0 | 0 | 0 | 0
139 | RT | Reliability Assessment | PGAE | Sierra | 2020-05-27 | 20 - 47 | No | DEC | 5 | 43978.6667 | 43978.875 | 60.3052 | 0 | 0 | -3347.7808 | 0.033333 | -0.46745 | 0 | 0 | 0 | 0
140 | RT | Reliability Assessment | PGAE | Sierra | 2020-05-27 | 20 - 50 | Yes | INC | 24 | 43978 | 43979 | 198.7029 | 8468.4801 | 0 | -16333.872 | 60.1834 | -9138.0282 | 0 | 0 | 0 | 0
141 | RT | Reliability Assessment | PGAE | Sierra | 2020-05-28 | 20 - 47 | No | DEC | 4 | 43979.7083 | 43979.875 | 28.4988 | 0 | 0 | -2151.9988 | 63 | -1276.2225 | 0 | 0 | 0 | 0
142 | RT | Reliability Assessment | PGAE | Sierra | 2020-05-28 | 20 - 60 | No | INC | 24 | 43979 | 43980 | 413.5987 | 9933.02 | 0 | -8128.4371 | 107.4043 | -1637.028 | 0 | 0 | 0 | 0
143 | RT | Reliability Assessment | PGAE | Sierra | 2020-05-29 | 20 - 47 | No | INC | 23 | 43980 | 43980.9583 | 44.671 | 15273.63 | 353.2167 | -5847.8097 | 0 | 0 | 0 | 0 | 0 | 0
144 | RT | Reliability Assessment | PGAE | Stockton | 2020-05-08 | 60 | No | DEC | 3 | 43959.75 | 43959.8542 | -0.6725 | 0 | 0 | -109.7305 | 0 | 0 | 0 | 0 | 0 | 0
145 | RT | Reliability Assessment | PGAE | Stockton | 2020-05-08 | 60 | No | INC | 10 | 43959.3542 | 43959.75 | -23.8875 | 0 | 0 | -199.9583 | -23.2183 | 0 | 116.0917 | 0 | 0 | 0
146 | RT | Reliability Assessment | PGAE | Stockton | 2020-05-09 | 60 | No | DEC | 4 | 43960.7083 | 43960.875 | -1.5021 | 0 | 0 | -63.5756 | -5 | 0 | 14.375 | 0 | 0 | 0
147 | RT | Reliability Assessment | PGAE | Stockton | 2020-05-09 | 60 | No | INC | 17 | 43960.2917 | 43961 | -50.206 | 0 | 0 | 289.185 | 0 | 0 | 0 | 0 | 0 | 0
148 | RT | Reliability Assessment | PGAE | Stockton | 2020-05-10 | 60 | No | INC | 1 | 43961 | 43961.0208 | 3.3333 | 0 | 0 | -66.631 | 0 | 0 | 0 | 0 | 0 | 0
149 | RT | Reliability Assessment | PGAE | NA | 2020-05-22 | 35 | No | DEC | 1 | 43973.7083 | 43973.75 | 2.477 | 0 | 0 | -26.9634 | 0 | 0 | 0 | 0 | 0 | 0
150 | RT | Reliability Assessment | PGAE | NA | 2020-05-22 | 35 | No | INC | 8 | 43973.4062 | 43973.7083 | 16.4339 | 0 | 0 | 105.3556 | 0 | 0 | 0 | 0 | 0 | 0
151 | RT | Reliability Assessment | PGAE | NA | 2020-05-23 | 30 | No | DEC | 5 | 43974.5764 | 43974.75 | -30.1439 | 0 | 0 | -3604.834 | 0 | 0 | 0 | 0 | 0 | 0
152 | RT | Reliability Assessment | PGAE | NA | 2020-05-23 | 30 | No | INC | 1 | 43974.75 | 43974.7917 | 0.46542 | 0 | 0 | 69.8187 | 0 | 0 | 0 | 0 | 0 | 0
153 | RT | Reliability Assessment | SCE | LA Basin | 2020-05-06 | 48 | No | INC | 2 | 43957.5972 | 43957.6562 | 20.8149 | 1394.085 | 233.7419 | -673.5731 | 38.9271 | -610.68 | 0 | 0 | 0 | 0
154 | RT | Reliability Assessment | SCE | NA | 2020-05-07 | 375 - 405 | No | DEC | 6 | 43958.75 | 43959 | 11.8685 | -33217.961 | 33117.9075 | -183.5655 | -40.7292 | 0 | 543.4646 | 0 | 0 | 0
155 | RT | Reliability Assessment | SCE | NA | 2020-05-08 | 375 | No | INC | 1 | 43959 | 43959.0417 | 24.4506 | 0 | 0 | -599.2179 | 0 | 0 | 0 | 0 | 0 | 0
156 | RT | Reliability Assessment | SCE | NA | 2020-05-13 | 56 | No | INC | 10 | 43964.4132 | 43964.7917 | 52.8127 | 0 | 0 | 5.1431 | -0.745 | 0 | -0.003725 | 0 | 0 | 0
157 | RT | Reliability Assessment | SCE | NA | 2020-05-26 | 375 | No | DEC | 8 | 43977.684 | 43978 | 68.9415 | -28571.9525 | 0 | -1101.6484 | -22.6546 | 0 | 311.9536 | 0 | 0 | 0
158 | RT | Reliability Assessment | SCE | NA | 2020-05-27 | 405 - 410 | No | DEC | 8 | 43978.6667 | 43979 | -112.9308 | -31944.7823 | 0 | 2701.6132 | 0 | 0 | 0 | 0 | 0 | 0
159 | RT | Reliability Assessment | SCE | NA | 2020-05-27 | 375 - 410 | No | INC | 16 | 43978 | 43978.6667 | 27.2629 | 131.6622 | 0 | -1068.1945 | 0 | 0 | 0 | 0 | 0 | 0
160 | RT | Reliability Assessment | SCE | NA | 2020-05-28 | 405 - 475 | No | DEC | 3 | 43979 | 43979.125 | -14.5952 | -1350.6175 | 0 | 373.9125 | 0 | 0 | 0 | 0 | 0 | 0
161 | RT | Reliability Assessment | SCE | NA | 2020-05-28 | 475 | No | INC | 17 | 43979.125 | 43979.8333 | 137.3481 | 4852.3525 | 0 | -3792.2488 | 0 | 0 | 0 | 0 | 0 | 0
162 | RT | Reliability Assessment | SCE | NA | 2020-05-29 | 430 | No | DEC | 3 | 43980.8646 | 43980.9583 | -21.5422 | 0 | 0 | 508.505 | 0 | 0 | 0 | 0 | 0 | 0
163 | RT | Reliability Assessment | SCE | NA | 2020-05-29 | 430 - 475 | No | INC | 6 | 43980.75 | 43981 | -42.3858 | 0 | 0 | 1002.7144 | -11.8927 | 0 | 154.2484 | 0 | 0 | 0
164 | RT | Reliability Assessment | SCE | NA | 2020-05-30 | 30 | No | DEC | 8 | 43981.4653 | 43981.7604 | -49.4062 | 0 | 0 | -6103.3787 | -55.427 | 0 | -2259.8809 | 0 | 0 | 0
165 | RT | Reliability Assessment | SCE | NA | 2020-05-30 | 430 | No | INC | 1 | 43981 | 43981.0417 | 4.5292 | 0 | 0 | -69.3251 | 0 | 0 | 0 | 0 | 0 | 0
166 | RT | Software Limitation | PGAE | Bay Area | 2020-05-16 | 0 | No | INC | 2 | 43967.8542 | 43967.8993 | -30 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | 0
167 | RT | Software Limitation | PGAE | Fresno | 2020-05-11 | -307 | No | DEC | 1 | 43962 | 43962.0417 | -228.75 | 0 | 0 | 3284.7119 | 0 | 0 | 0 | 0 | 0 | 0
168 | RT | Software Limitation | PGAE | Fresno | 2020-05-19 | -299 | No | DEC | 1 | 43970.9965 | 43971 | 0.0052083 | 0 | 0 | -0.013425 | 0 | 0 | 0 | 0 | 0 | 0
169 | RT | Software Limitation | PGAE | Fresno | 2020-05-20 | -299 | No | INC | 1 | 43971 | 43971.0417 | -236.7135 | 0 | 0 | 2382.4564 | 0 | 0 | 0 | 0 | 0 | 0
170 | RT | Software Limitation | PGAE | NA | 2020-05-28 | 0 | No | DEC | 4 | 43979.5521 | 43979.7188 | 6.9818 | 0 | 0 | -113.0853 | -125.9896 | 0 | 0 | 0 | 0 | 0
171 | RT | Software Limitation | SCE | Big Creek-Ventura | 2020-05-06 | 400 | No | INC | 4 | 43957.7083 | 43957.875 | -0.092592 | 48385.0075 | 16783.578 | -135.4614 | 24.8531 | -427.9494 | 0 | 0 | 0 | 0
172 | RT | Software Limitation | SCE | Big Creek-Ventura | 2020-05-17 | 0 | No | INC | 24 | 43968 | 43968.9792 | -23.55 | 389.555 | 0 | 0 | -47.1 | 0 | 0 | 0 | 0 | 0
173 | RT | Software Limitation | SCE | Big Creek-Ventura | 2020-05-27 | 0 | No | INC | 1 | 43978.9826 | 43979 | -19.625 | 757.2208 | 0 | 0 | -39.25 | 0 | 0 | 0 | 0 | 0
174 | RT | Software Limitation | SCE | Big Creek-Ventura | 2020-05-28 | 0 - 401 | No | INC | 18 | 43979 | 43979.7396 | 33.0265 | 45856.0175 | 0 | -1503.7193 | 10.6181 | -1275.7879 | 0 | 0 | 0 | 0
175 | RT | Software Limitation | SCE | LA Basin | 2020-05-05 | 0 | No | INC | 2 | 43956.0833 | 43956.1285 | 0 | 0 | 0 | 0 | -11.395 | 0 | 0 | 0 | 0 | 0
176 | RT | Software Limitation | SCE | LA Basin | 2020-05-06 | 65 | No | INC | 5 | 43957.6667 | 43957.875 | 51.9658 | 15602.59 | 908.004 | -9616.2241 | 0.0033333 | -0.2066 | 0 | 0 | 0 | 0
177 | RT | Software Limitation | SCE | LA Basin | 2020-05-07 | 210 | No | DEC | 2 | 43958.6285 | 43958.7083 | 78.8009 | -1806.425 | 0 | -1822.9923 | 134.5397 | -1731.5257 | 0 | 0 | 0 | 0
178 | RT | Software Limitation | SCE | LA Basin | 2020-05-14 | 0 | No | INC | 1 | 43965.9653 | 43966 | -26.5592 | 709.3867 | 25.5173 | 0 | -53.1183 | 0 | 0 | 0 | 0 | 0
179 | RT | Software Limitation | SCE | LA Basin | 2020-05-15 | 0 | No | INC | 1 | 43966 | 43966.0069 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
180 | RT | Software Limitation | SCE | LA Basin | 2020-05-17 | 0 | No | INC | 2 | 43968 | 43968.0451 | -7.8167 | 258.7533 | 0 | 0 | -15.6333 | 0 | 0 | 0 | 0 | 0
181 | RT | Software Limitation | SCE | LA Basin | 2020-05-27 | 0 | No | INC | 1 | 43978.9826 | 43979 | -38.2458 | 1478.8542 | 0 | 0 | -76.4917 | 0 | 0 | 0 | 0 | 0
182 | RT | Software Limitation | SCE | LA Basin | 2020-05-28 | 0 - 241 | No | INC | 20 | 43979 | 43979.8333 | 73.064 | 45619.4 | 0 | -4214.6192 | 74.25 | -1865.8752 | 0 | 0 | 0 | 0
183 | RT | Software Limitation | SCE | LA Basin | 2020-05-30 | 0 | No | INC | 1 | 43981.9861 | 43982 | 0 | 0 | 0 | 0 | -15.6333 | 0 | 0 | 0 | 0 | 0
184 | RT | Software Limitation | SCE | LA Basin | 2020-05-31 | 0 | No | INC | 1 | 43982 | 43982.0382 | -11.725 | 0 | 0 | 0 | -23.45 | 0 | 0 | 0 | 0 | 0
185 | RT | Software Limitation | SCE | NA | 2020-05-19 | 55 | No | INC | 6 | 43970.4722 | 43970.7083 | 121.5046 | 0 | 0 | -83.5849 | 0 | 0 | 0 | 0 | 0 | 0
186 | RT | Software Limitation | SCE | NA | 2020-05-20 | 55 | No | INC | 10 | 43971.3715 | 43971.75 | -10.7282 | 0 | 0 | -4.3123 | 0 | 0 | 0 | 0 | 0 | 0
187 | RT | Software Limitation | SCE | NA | 2020-05-26 | 125 | No | DEC | 1 | 43977.6319 | 43977.6667 | 110.1627 | 0 | 0 | -3603.0313 | 0 | 0 | 0 | 0 | 0 | 0
188 | RT | Unit Testing | PGAE | Bay Area | 2020-05-16 | 150 | No | INC | 1 | 43967.8021 | 43967.8299 | -0.25 | 10636.2733 | 0 | 97.5878 | 0 | 0 | 0 | 0 | 0 | 0
189 | RT | Unit Testing | PGAE | Bay Area | 2020-05-21 | 45 | No | INC | 1 | 43972.9826 | 43973 | 18.0729 | 0 | 0 | -433.056 | 19.4792 | -451.7219 | 0 | 0 | 0 | 0
190 | RT | Unit Testing | PGAE | Bay Area | 2020-05-22 | 45 - 46.5 | No | INC | 24 | 43973 | 43974 | 31.0937 | 298.0925 | 0 | -1032.2166 | 46.3542 | -870.7005 | 0 | 0 | 0 | 0
191 | RT | Unit Testing | PGAE | Bay Area | 2020-05-23 | 46.5 | Yes | INC | 3 | 43974 | 43974.1042 | -12.1354 | 549.175 | 0 | 0.054697 | 0 | 0 | 0 | 0 | 0 | 0
192 | RT | Unit Testing | PGAE | Bay Area | 2020-05-28 | 120 | No | INC | 2 | 43979.0521 | 43979.0972 | 6 | 13277.0025 | 12633.6233 | -26.4492 | 0 | 0 | 0 | 0 | 0 | 0
193 | RT | Unit Testing | PGAE | NA | 2020-05-15 | 102 | No | INC | 1 | 43966.9306 | 43966.9583 | 32.1667 | -940.285 | 0 | -752.2902 | 4.4467 | -64.1876 | 0 | 0 | 0 | 0
194 | RT | Unit Testing | PGAE | NA | 2020-05-27 | 175 - 240 | No | INC | 3 | 43978.5451 | 43978.6458 | 51.6667 | 1713.61 | 0 | -4771.0323 | 4.9479 | -314.3882 | 0 | 0 | 0 | 0
195 | RT | Unit Testing | SCE | Big Creek-Ventura | 2020-05-06 | 73 - 750 | No | INC | 4 | 43957.7951 | 43957.9479 | 271.0983 | 33622.005 | 0 | -7769.1966 | 244.0573 | -4029.7732 | 0 | 0 | 0 | 0
196 | RT | Unit Testing | SCE | Big Creek-Ventura | 2020-05-07 | 65 - 73 | No | INC | 24 | 43958 | 43959 | 29.4911 | 0 | 0 | -920.5798 | 0 | 0 | 0 | 0 | 0 | 0
197 | RT | Unit Testing | SCE | Big Creek-Ventura | 2020-05-08 | 65 | No | INC | 7 | 43959 | 43959.2917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
198 | RT | Unit Testing | SCE | LA Basin | 2020-05-22 | 245 | No | INC | 1 | 43973.6493 | 43973.6771 | 3.7141 | 739.0033 | 0 | 0.036559 | 0 | 0 | 0 | 0 | 0 | 0
199 | RT | Unit Testing | SCE | LA Basin | 2020-05-24 | 10 | No | INC | 20 | 43975.1667 | 43976 | 15.7737 | 0 | 0 | -74.2244 | 0 | 0 | 0 | 0 | 0 | 0
200 | RT | Unit Testing | SCE | LA Basin | 2020-05-25 | 10 - 130 | No | INC | 24 | 43976 | 43977 | 620.232 | 0 | 0 | -19148.8353 | 37.8025 | -655.7512 | 0 | 0 | 0 | 0
201 | RT | Unit Testing | SCE | LA Basin | 2020-05-26 | 10 - 70 | No | INC | 24 | 43977 | 43978 | 51.88 | 36508.935 | 10310.32 | -6024.9242 | 57.6038 | -5231.7402 | 0 | 0 | 0 | 0
202 | RT | Unit Testing | SCE | LA Basin | 2020-05-27 | 10 - 475 | No | INC | 16 | 43978 | 43978.6354 | 167.152 | 117879.8375 | 74888.95 | -6446.216 | 219.426 | -5984.1366 | 0 | 0 | 0 | 0
203 | RT | Unit Testing | SCE | LA Basin | 2020-05-28 | 332 | No | INC | 1 | 43979.7708 | 43979.7917 | -2.4726 | 0 | 0 | 235.1114 | 0 | 0 | 0 | 0 | 0 | 0
204 | RT | Unit Testing | SDGE | San Diego-IV | 2020-05-01 | 492 | No | INC | 1 | 43952 | 43952.0208 | -2.1042 | 0 | 0 | 28.7915 | 0 | 0 | 0 | 0 | 0 | 0
205 | RT | Unit Testing | SDGE | San Diego-IV | 2020-05-06 | 10 | No | INC | 1 | 43957.6875 | 43957.6979 | 2.0803 | 0 | 0 | -73.991 | 1.8209 | -67.8642 | 0 | 0 | 0 | 0
206 | RT | Unit Testing | SDGE | San Diego-IV | 2020-05-15 | 105.5 | No | INC | 1 | 43966.8924 | 43966.9028 | 19.0521 | 0 | 0 | -454.5529 | 38.1042 | -454.5529 | 0 | 0 | 0 | 0
207 | RT | Unit Testing | SDGE | San Diego-IV | 2020-05-22 | 2 | No | INC | 1 | 43973.6771 | 43973.684 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
208 | RT | Unplanned Outage | PGAE | Bay Area | 2020-05-01 | 140 | No | DEC | 1 | 43952.4479 | 43952.4549 | -6.0867 | 0 | 0 | -4.8461 | 0 | 0 | 0 | 0 | 0 | 0
209 | RT | Unplanned Outage | PGAE | Fresno | 2020-05-01 | 4 | No | INC | 2 | 43952.4375 | 43952.5 | -41.9633 | 1.53 | 0 | -182.9995 | -22.795 | 0 | -0.09835 | 0 | 0 | 0
210 | RT | Unplanned Outage | PGAE | NA | 2020-05-01 | 0 | No | DEC | 2 | 43952.4306 | 43952.5 | -2.9515 | 0 | 0 | 2.4145 | -45.5417 | 0 | 0 | 0 | 0 | 0
211 | RT | Unplanned Outage | PGAE | NA | 2020-05-01 | 400 | No | INC | 1 | 43952.434 | 43952.4583 | -7.8654 | 0 | 0 | -506.0729 | 0 | 0 | 0 | 0 | 0 | 0
212 | RT | Unplanned Outage | SCE | NA | 2020-05-01 | 0 | No | DEC | 2 | 43952.4306 | 43952.5 | -0.8975 | 0 | 0 | -336.6176 | -151.475 | 0 | 0 | 0 | 0 | 0
213 | RT | Unplanned Outage | SCE | NA | 2020-05-01 | 0 | No | INC | 2 | 43952.4375 | 43952.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
214 | RT | Unplanned Outage | SDGE | San Diego-IV | 2020-05-31 | 30 - 37 | No | INC | 5 | 43982.8229 | 43983 | 15.95 | 8047.2625 | 463 | -497.4817 | 0.0875 | -0.55715 | 0 | -6.3012 | 0 | 0
215 | RT | Voltage Support | PGAE | Fresno | 2020-05-27 | 45 | No | INC | 3 | 43978.8403 | 43978.9583 | 9.7708 | 7266.0233 | 367.3936 | -313.1815 | 29.8958 | -445.3237 | 0 | 0 | -156.9775 | 0
216 | RT | Voltage Support | PGAE | Humboldt | 2020-05-16 | 14 - 42 | No | INC | 12 | 43967.1458 | 43967.625 | -1.658 | 15933.475 | 0 | 22.4386 | -8.3706 | 0 | 48.8305 | 0 | -10.6058 | 0
217 | RT | Voltage Support | PGAE | Sierra | 2020-05-04 | 20 | No | INC | 16 | 43955.3368 | 43956 | -10.7046 | 18467.82 | 251.3158 | 208.7015 | 0 | 0 | 0 | 0 | 0 | 0
218 | RT | Voltage Support | PGAE | Sierra | 2020-05-05 | 20 | Yes | INC | 1 | 43956 | 43956.0417 | 18.2433 | 1344.73 | 0 | -1201.9362 | 0 | 0 | 0 | 0 | 0 | 0
219 | RT | Voltage Support | PGAE | Sierra | 2020-05-08 | 20 - 47 | No | INC | 16 | 43959.3542 | 43959.9896 | 3.7046 | 15228.4652 | 0 | -232.444 | 6.8283 | -92.7686 | 0 | 0 | -1185.5741 | 0
220 | RT | Voltage Support | PGAE | Sierra | 2020-05-09 | 20 | No | INC | 2 | 43960.9167 | 43961 | 5 | 1402.33 | 0 | -114.1162 | 0 | 0 | 0 | 0 | 0 | 0

## Price_Impact_A
Table 8: Price Impact Analysis Information for Pricing Node A in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2020-05-08 | 14 | 2 | -13.9058 | Yes | -14 | -0.09417
2 | 2020-05-08 | 14 | 3 | 18.0078 | Yes | -14 | -32.0078
3 | 2020-05-08 | 14 | 4 | -13.9761 | Yes | -14 | -0.02394
4 | 2020-05-08 | 14 | 5 | -13.9816 | Yes | -14 | -0.0184
5 | 2020-05-08 | 14 | 6 | -13.9858 | Yes | -14 | -0.01424
6 | 2020-05-08 | 14 | 7 | -13.9904 | Yes | -14 | -0.00961
7 | 2020-05-08 | 14 | 8 | -13.9904 | Yes | -14 | -0.00961
8 | 2020-05-08 | 14 | 9 | -13.9903 | Yes | -14 | -0.00966
9 | 2020-05-08 | 14 | 10 | -13.9934 | Yes | -14 | -0.00655
10 | 2020-05-08 | 14 | 11 | -13.9936 | Yes | -14 | -0.00644
11 | 2020-05-08 | 14 | 12 | -13.9936 | Yes | -14 | -0.00643
12 | 2020-05-08 | 15 | 1 | -13.4267 | Yes | -14 | -0.57331
13 | 2020-05-08 | 15 | 2 | -13.9492 | Yes | -14 | -0.0508
14 | 2020-05-08 | 15 | 3 | -13.9523 | Yes | -14 | -0.0477
15 | 2020-05-08 | 15 | 4 | -13.9424 | Yes | -14 | -0.05763
16 | 2020-05-08 | 15 | 5 | -13.9382 | Yes | -14 | -0.06184
17 | 2020-05-08 | 15 | 6 | -13.9096 | Yes | -14 | -0.09035
18 | 2020-05-08 | 15 | 7 | -13.9957 | Yes | -14 | -0.00425
19 | 2020-05-08 | 15 | 8 | -13.9957 | Yes | -14 | -0.00425
20 | 2020-05-08 | 15 | 9 | -13.9957 | Yes | -14 | -0.00425
21 | 2020-05-08 | 15 | 10 | -13.9979 | Yes | -14 | -0.00213
22 | 2020-05-08 | 15 | 11 | -13.9978 | Yes | -14 | -0.00216
23 | 2020-05-08 | 15 | 12 | -13.9979 | Yes | -14 | -0.00213
24 | 2020-05-08 | 16 | 1 | -14.3776 | Yes | -14 | 0.37762
25 | 2020-05-08 | 16 | 2 | -14.3725 | Yes | -14 | 0.37252
26 | 2020-05-08 | 16 | 3 | -14.3722 | Yes | -14 | 0.37225
27 | 2020-05-08 | 16 | 4 | -14.375 | Yes | -14 | 0.37504
28 | 2020-05-08 | 16 | 5 | -14.3721 | Yes | -14 | 0.37211
29 | 2020-05-08 | 16 | 6 | -14.3717 | Yes | -14 | 0.37168
30 | 2020-05-08 | 16 | 7 | -14.1299 | Yes | -14 | 0.12986
31 | 2020-05-08 | 16 | 8 | -14.3635 | Yes | -14 | 0.36348
32 | 2020-05-08 | 16 | 9 | -14.3701 | Yes | -14 | 0.37005
33 | 2020-05-08 | 16 | 10 | -14.3705 | Yes | -14 | 0.37049
34 | 2020-05-08 | 16 | 11 | -14.3705 | Yes | -14 | 0.37054
35 | 2020-05-08 | 16 | 12 | -13.9958 | Yes | -14 | -0.00421
36 | 2020-05-08 | 17 | 1 | -13.9968 | Yes | -14 | -0.00323
37 | 2020-05-08 | 17 | 2 | -13.9967 | Yes | -14 | -0.00327
38 | 2020-05-08 | 17 | 3 | -13.9969 | Yes | -14 | -0.0031
39 | 2020-05-08 | 17 | 4 | -13.9984 | Yes | -14 | -0.0016
40 | 2020-05-08 | 17 | 5 | -13.9983 | Yes | -14 | -0.00172
41 | 2020-05-08 | 17 | 6 | -13.9981 | Yes | -14 | -0.00189
42 | 2020-05-08 | 17 | 7 | -13.9962 | Yes | -14 | -0.00377
43 | 2020-05-08 | 17 | 8 | -13.996 | Yes | -14 | -0.00405
44 | 2020-05-08 | 17 | 9 | -13.9958 | Yes | -14 | -0.00423
45 | 2020-05-08 | 17 | 10 | -13.9979 | Yes | -14 | -0.00205
46 | 2020-05-08 | 17 | 11 | -13.9979 | Yes | -14 | -0.00205
47 | 2020-05-08 | 17 | 12 | -13.998 | Yes | -14 | -0.00198
48 | 2020-05-08 | 18 | 1 | -14 | Yes | -14 | 0
49 | 2020-05-08 | 18 | 2 | -14 | Yes | -14 | 0
50 | 2020-05-08 | 18 | 3 | -14 | Yes | -14 | 0
51 | 2020-05-08 | 18 | 4 | -14.0045 | Yes | -14 | 0.00449
52 | 2020-05-08 | 18 | 5 | -13.9379 | Yes | -14 | -0.06209
53 | 2020-05-08 | 18 | 6 | -14.0046 | Yes | -14 | 0.00455
54 | 2020-05-10 | 12 | 10 | -3.21 | Yes | -3.21 | 3e-05
55 | 2020-05-10 | 12 | 11 | -3.2053 | Yes | -3.21 | -0.00468
56 | 2020-05-10 | 12 | 12 | 3.8473 | Yes | -3.21 | -7.0573
57 | 2020-05-10 | 13 | 1 | -3.1894 | Yes | -3.21 | -0.02059
58 | 2020-05-10 | 13 | 2 | -3.2001 | Yes | -3.21 | -0.00994
59 | 2020-05-10 | 13 | 3 | -3.2001 | Yes | -3.21 | -0.00989
60 | 2020-05-10 | 13 | 4 | -3.2001 | Yes | -3.21 | -0.00988
61 | 2020-05-10 | 13 | 5 | -3.2001 | Yes | -3.21 | -0.00988
62 | 2020-05-10 | 13 | 6 | -3.2001 | Yes | -3.21 | -0.00994
63 | 2020-05-10 | 13 | 7 | -3.2001 | Yes | -3.21 | -0.00994
64 | 2020-05-10 | 13 | 8 | -3.2001 | Yes | -3.21 | -0.00994
65 | 2020-05-10 | 13 | 9 | -3.2001 | Yes | -3.21 | -0.00994
66 | 2020-05-10 | 13 | 10 | -3.2001 | Yes | -3.21 | -0.00988
67 | 2020-05-10 | 13 | 11 | -3.2001 | Yes | -3.21 | -0.00994
68 | 2020-05-10 | 13 | 12 | -3.2001 | Yes | -3.21 | -0.00988
69 | 2020-05-10 | 14 | 1 | -3.2001 | Yes | -3.21 | -0.00994
70 | 2020-05-10 | 14 | 2 | -3.2001 | Yes | -3.21 | -0.00994
71 | 2020-05-10 | 14 | 3 | -3.2 | Yes | -3.21 | -0.00998
72 | 2020-05-10 | 14 | 4 | -3.2001 | Yes | -3.21 | -0.00988
73 | 2020-05-10 | 14 | 5 | -3.2001 | Yes | -3.21 | -0.00994
74 | 2020-05-10 | 14 | 6 | -3.2001 | Yes | -3.21 | -0.00994
75 | 2020-05-10 | 14 | 7 | -3.2001 | Yes | -3.21 | -0.00994
76 | 2020-05-10 | 14 | 8 | -3.2001 | Yes | -3.21 | -0.00994
77 | 2020-05-10 | 14 | 9 | -3.1726 | Yes | -3.21 | -0.03739
78 | 2020-05-10 | 14 | 10 | -3.1486 | Yes | -3.21 | -0.0614
79 | 2020-05-10 | 14 | 11 | -3.2 | Yes | -3.21 | -0.00998
80 | 2020-05-10 | 14 | 12 | -3.2001 | Yes | -3.21 | -0.00989
81 | 2020-05-10 | 15 | 1 | -3.2001 | Yes | -3.21 | -0.00988
82 | 2020-05-10 | 15 | 2 | -3.2001 | Yes | -3.21 | -0.00988
83 | 2020-05-10 | 15 | 3 | -3.2 | Yes | -3.21 | -0.00998
84 | 2020-05-10 | 15 | 4 | -3.2001 | Yes | -3.21 | -0.00988
85 | 2020-05-10 | 15 | 5 | -3.2001 | Yes | -3.21 | -0.00994
86 | 2020-05-10 | 15 | 6 | -3.2 | Yes | -3.21 | -0.00997
87 | 2020-05-10 | 15 | 7 | -3.2001 | Yes | -3.21 | -0.00988
88 | 2020-05-10 | 15 | 8 | -3.2001 | Yes | -3.21 | -0.00988
89 | 2020-05-10 | 15 | 9 | -3.2001 | Yes | -3.21 | -0.00994
90 | 2020-05-10 | 15 | 10 | -3.1285 | Yes | -3.21 | -0.08153
91 | 2020-05-10 | 15 | 11 | -3.1496 | Yes | -3.21 | -0.06037
92 | 2020-05-10 | 15 | 12 | -3.1496 | Yes | -3.21 | -0.06037
93 | 2020-05-10 | 16 | 1 | -3.2001 | Yes | -3.21 | -0.00994
94 | 2020-05-10 | 16 | 2 | -3.2001 | Yes | -3.21 | -0.00994
95 | 2020-05-10 | 16 | 3 | -3.1378 | Yes | -3.21 | -0.07219
96 | 2020-05-10 | 16 | 4 | -3.2001 | Yes | -3.21 | -0.00994
97 | 2020-05-10 | 16 | 5 | -3.1286 | Yes | -3.21 | -0.08139
98 | 2020-05-10 | 16 | 6 | -3.1209 | Yes | -3.21 | -0.08912
99 | 2020-05-10 | 16 | 7 | -3.1216 | Yes | -3.21 | -0.08842
100 | 2020-05-10 | 16 | 8 | -3.1092 | Yes | -3.21 | -0.10084
101 | 2020-05-10 | 16 | 9 | -3.1075 | Yes | -3.21 | -0.10252
102 | 2020-05-10 | 16 | 10 | -3.0936 | Yes | -3.21 | -0.11635
103 | 2020-05-10 | 16 | 11 | -3.1126 | Yes | -3.21 | -0.09744
104 | 2020-05-10 | 16 | 12 | -3.1235 | Yes | -3.21 | -0.08648
105 | 2020-05-10 | 17 | 1 | -3.21 | Yes | -3.21 | 2e-05
106 | 2020-05-10 | 17 | 2 | -3.21 | Yes | -3.21 | 5e-05
107 | 2020-05-10 | 17 | 3 | -3.21 | Yes | -3.21 | 5e-05
108 | 2020-05-10 | 17 | 4 | -3.21 | Yes | -3.21 | 3e-05
109 | 2020-05-10 | 17 | 5 | -3.21 | Yes | -3.21 | 3e-05
110 | 2020-05-10 | 17 | 6 | -3.21 | Yes | -3.21 | 3e-05
111 | 2020-05-10 | 17 | 7 | -3.21 | Yes | -3.21 | 3e-05
112 | 2020-05-10 | 17 | 8 | -3.21 | Yes | -3.21 | 3e-05
113 | 2020-05-10 | 17 | 9 | -3.21 | Yes | -3.21 | 3e-05
114 | 2020-05-10 | 17 | 10 | -3.21 | Yes | -3.21 | 3e-05
115 | 2020-05-10 | 17 | 11 | -3.21 | Yes | -3.21 | 0
116 | 2020-05-10 | 17 | 12 | -3.21 | Yes | -3.21 | 2e-05
117 | 2020-05-10 | 18 | 1 | -3.2001 | Yes | -3.21 | -0.00988
118 | 2020-05-10 | 18 | 2 | -3.2001 | Yes | -3.21 | -0.00988
119 | 2020-05-10 | 18 | 3 | -3.2001 | Yes | -3.21 | -0.00988
120 | 2020-05-10 | 18 | 4 | -3.2001 | Yes | -3.21 | -0.00994
121 | 2020-05-10 | 18 | 5 | -3.1192 | Yes | -3.21 | -0.09078
122 | 2020-05-10 | 18 | 6 | -3.1115 | Yes | -3.21 | -0.09851
123 | 2020-05-10 | 18 | 7 | -3.1057 | Yes | -3.21 | -0.10428
124 | 2020-05-10 | 18 | 8 | -3.0918 | Yes | -3.21 | -0.11825
125 | 2020-05-10 | 18 | 9 | -3.0893 | Yes | -3.21 | -0.12066
126 | 2020-05-10 | 18 | 10 | -3.0906 | Yes | -3.21 | -0.11939
127 | 2020-05-10 | 18 | 11 | -3.0845 | Yes | -3.21 | -0.1255
128 | 2020-05-10 | 18 | 12 | -3.1537 | Yes | -3.21 | -0.05631
129 | 2020-05-10 | 19 | 1 | 14.4776 | Yes | -3.21 | -17.6876
130 | 2020-05-10 | 19 | 2 | 14.2023 | Yes | -3.21 | -17.4123
131 | 2020-05-10 | 19 | 3 | 15.0409 | Yes | -3.21 | -18.2509
132 | 2020-05-10 | 19 | 4 | 15.3934 | Yes | -3.21 | -18.6034
133 | 2020-05-10 | 19 | 5 | 17.7969 | Yes | -3.21 | -21.0069
134 | 2020-05-10 | 19 | 6 | 24.0509 | Yes | -3.21 | -27.2609
135 | 2020-05-10 | 19 | 7 | 19.9842 | Yes | -3.21 | -23.1942
136 | 2020-05-10 | 19 | 8 | 20.6513 | Yes | -3.21 | -23.8613
137 | 2020-05-10 | 19 | 9 | 21.4886 | Yes | -3.21 | -24.6986
138 | 2020-05-10 | 19 | 10 | 25.2741 | Yes | -3.21 | -28.4841
139 | 2020-05-10 | 19 | 11 | 25.2173 | Yes | -3.21 | -28.4273
140 | 2020-05-10 | 19 | 12 | 25.2765 | Yes | -3.21 | -28.4865
141 | 2020-05-10 | 20 | 1 | 19.2042 | Yes | -3.21 | -22.4142
142 | 2020-05-10 | 20 | 2 | 16.4424 | Yes | -3.21 | -19.6524
143 | 2020-05-10 | 20 | 3 | 22.9811 | Yes | -3.21 | -26.1911
144 | 2020-05-10 | 20 | 4 | 24.7041 | Yes | -3.21 | -27.9141
145 | 2020-05-10 | 20 | 5 | 30.4547 | Yes | -3.21 | -33.6647
146 | 2020-05-10 | 20 | 6 | 31.6853 | Yes | -3.21 | -34.8953
147 | 2020-05-10 | 20 | 7 | 31.2248 | Yes | -3.21 | -34.4348
148 | 2020-05-10 | 20 | 8 | 31.2248 | Yes | -3.21 | -34.4348
149 | 2020-05-10 | 20 | 9 | 36.6814 | Yes | -3.21 | -39.8914
150 | 2020-05-10 | 20 | 10 | 31.4726 | Yes | -3.21 | -34.6826
151 | 2020-05-10 | 20 | 11 | 30.4097 | Yes | -3.21 | -33.6197
152 | 2020-05-10 | 20 | 12 | 28.9768 | Yes | -3.21 | -32.1868
153 | 2020-05-10 | 21 | 1 | 29.4667 | Yes | -3.21 | -32.6767
154 | 2020-05-10 | 21 | 2 | 30.2088 | Yes | -3.21 | -33.4188
155 | 2020-05-10 | 21 | 3 | 28.9799 | Yes | -3.21 | -32.1899
156 | 2020-05-10 | 21 | 4 | 31.9923 | Yes | -3.21 | -35.2023
157 | 2020-05-10 | 21 | 5 | 27.3139 | Yes | -3.21 | -30.5239
158 | 2020-05-10 | 21 | 6 | 26.1436 | Yes | -3.21 | -29.3536
159 | 2020-05-10 | 21 | 7 | 21.8293 | Yes | -3.21 | -25.0393
160 | 2020-05-10 | 21 | 8 | 17.8657 | Yes | -3.21 | -21.0757
161 | 2020-05-10 | 21 | 9 | 16.7336 | Yes | -3.21 | -19.9436
162 | 2020-05-10 | 21 | 10 | 20.2668 | Yes | -3.21 | -23.4768
163 | 2020-05-10 | 21 | 11 | 20.32 | Yes | -3.21 | -23.53
164 | 2020-05-10 | 21 | 12 | 21.5467 | Yes | -3.21 | -24.7567
165 | 2020-05-10 | 22 | 1 | 23.4112 | Yes | -3.21 | -26.6212
166 | 2020-05-10 | 22 | 2 | 23.2421 | Yes | -3.21 | -26.4521
167 | 2020-05-10 | 22 | 3 | 20.3783 | Yes | -3.21 | -23.5883
168 | 2020-05-10 | 22 | 4 | 21 | Yes | -3.21 | -24.21
169 | 2020-05-10 | 22 | 5 | 21 | Yes | -3.21 | -24.21
170 | 2020-05-10 | 22 | 6 | 19.1206 | Yes | -3.21 | -22.3306
171 | 2020-05-10 | 22 | 7 | 23.4212 | Yes | -3.21 | -26.6312
172 | 2020-05-10 | 22 | 8 | 21.6217 | Yes | -3.21 | -24.8317
173 | 2020-05-10 | 22 | 9 | 19.9988 | Yes | -3.21 | -23.2088
174 | 2020-05-10 | 22 | 10 | 19.1206 | Yes | -3.21 | -22.3306
175 | 2020-05-10 | 22 | 11 | 18.71 | Yes | -3.21 | -21.92
176 | 2020-05-10 | 22 | 12 | 18 | Yes | -3.21 | -21.21
177 | 2020-05-10 | 23 | 1 | 25.0121 | Yes | -3.21 | -28.2221
178 | 2020-05-10 | 23 | 2 | 29.3721 | Yes | -3.21 | -32.5821
179 | 2020-05-10 | 23 | 3 | 28.363 | Yes | -3.21 | -31.573
180 | 2020-05-10 | 23 | 4 | 29.0005 | Yes | -3.21 | -32.2105
181 | 2020-05-10 | 23 | 5 | 25.9772 | Yes | -3.21 | -29.1871
182 | 2020-05-10 | 23 | 6 | 25.6504 | Yes | -3.21 | -28.8604
183 | 2020-05-10 | 23 | 7 | 25.13 | Yes | -3.21 | -28.34
184 | 2020-05-10 | 23 | 8 | 19.3467 | Yes | -3.21 | -22.5567
185 | 2020-05-10 | 23 | 9 | 18.8507 | Yes | -3.21 | -22.0607
186 | 2020-05-10 | 23 | 10 | 18 | Yes | -3.21 | -21.21
187 | 2020-05-10 | 23 | 11 | 18 | Yes | -3.21 | -21.21
188 | 2020-05-10 | 23 | 12 | 16.3803 | Yes | -3.21 | -19.5903
189 | 2020-05-10 | 24 | 1 | 18.4654 | Yes | -3.21 | -21.6754
190 | 2020-05-10 | 24 | 2 | 17.5582 | Yes | -3.21 | -20.7682
191 | 2020-05-10 | 24 | 3 | 17.5582 | Yes | -3.21 | -20.7682
192 | 2020-05-10 | 24 | 4 | 16.3803 | Yes | -3.21 | -19.5903
193 | 2020-05-10 | 24 | 5 | -2.991 | Yes | -3.21 | -0.219
194 | 2020-05-10 | 24 | 6 | -3.0011 | Yes | -3.21 | -0.20892
195 | 2020-05-10 | 24 | 7 | -3.0073 | Yes | -3.21 | -0.2027
196 | 2020-05-10 | 24 | 8 | -3.0142 | Yes | -3.21 | -0.19584
197 | 2020-05-10 | 24 | 9 | -3.0272 | Yes | -3.21 | -0.18284
198 | 2020-05-11 | 10 | 12 | 15.436 | Yes | -3.21 | -18.646
199 | 2020-05-11 | 11 | 1 | -3.1825 | Yes | -3.21 | -0.02753
200 | 2020-05-11 | 11 | 2 | -3.1482 | Yes | -3.21 | -0.06182
201 | 2020-05-11 | 11 | 3 | -3.1543 | Yes | -3.21 | -0.05567
202 | 2020-05-11 | 11 | 4 | -3.1556 | Yes | -3.21 | -0.05443
203 | 2020-05-11 | 11 | 5 | -3.1593 | Yes | -3.21 | -0.05068
204 | 2020-05-11 | 11 | 6 | -3.1567 | Yes | -3.21 | -0.05334
205 | 2020-05-11 | 11 | 7 | -3.1557 | Yes | -3.21 | -0.05434
206 | 2020-05-11 | 11 | 8 | -3.1529 | Yes | -3.21 | -0.05707
207 | 2020-05-11 | 11 | 9 | -3.1569 | Yes | -3.21 | -0.05309
208 | 2020-05-11 | 11 | 10 | -3.1578 | Yes | -3.21 | -0.05223
209 | 2020-05-11 | 11 | 11 | -3.1578 | Yes | -3.21 | -0.05223
210 | 2020-05-11 | 11 | 12 | -3.1618 | Yes | -3.21 | -0.04825
211 | 2020-05-11 | 12 | 1 | -3.1132 | Yes | -3.21 | -0.09684
212 | 2020-05-11 | 12 | 2 | -3.1045 | Yes | -3.21 | -0.10547
213 | 2020-05-11 | 12 | 3 | -3.1087 | Yes | -3.21 | -0.10128
214 | 2020-05-11 | 12 | 4 | -3.1041 | Yes | -3.21 | -0.10593
215 | 2020-05-11 | 12 | 5 | -3.1039 | Yes | -3.21 | -0.10608
216 | 2020-05-11 | 12 | 6 | -3.1111 | Yes | -3.21 | -0.09887
217 | 2020-05-11 | 12 | 7 | -3.1021 | Yes | -3.21 | -0.10792
218 | 2020-05-11 | 12 | 8 | -3.1028 | Yes | -3.21 | -0.10716
219 | 2020-05-11 | 12 | 9 | -3.102 | Yes | -3.21 | -0.10796
220 | 2020-05-11 | 12 | 10 | -3.0765 | Yes | -3.21 | -0.13349
221 | 2020-05-11 | 12 | 11 | -3.0807 | Yes | -3.21 | -0.12932
222 | 2020-05-11 | 12 | 12 | -3.089 | Yes | -3.21 | -0.12103
223 | 2020-05-11 | 13 | 1 | -3.1566 | Yes | -3.21 | -0.05336
224 | 2020-05-11 | 13 | 2 | -3.1619 | Yes | -3.21 | -0.0481
225 | 2020-05-11 | 13 | 3 | -3.1596 | Yes | -3.21 | -0.05042
226 | 2020-05-11 | 13 | 4 | -3.1601 | Yes | -3.21 | -0.04987
227 | 2020-05-11 | 13 | 5 | -3.1592 | Yes | -3.21 | -0.05084
228 | 2020-05-11 | 13 | 6 | -3.1573 | Yes | -3.21 | -0.05268
229 | 2020-05-11 | 13 | 7 | -3.1598 | Yes | -3.21 | -0.05022
230 | 2020-05-11 | 13 | 8 | -3.1675 | Yes | -3.21 | -0.04247
231 | 2020-05-11 | 13 | 9 | -3.1678 | Yes | -3.21 | -0.04216
232 | 2020-05-11 | 13 | 10 | -3.1803 | Yes | -3.21 | -0.02969
233 | 2020-05-11 | 13 | 11 | -3.1791 | Yes | -3.21 | -0.03085
234 | 2020-05-11 | 13 | 12 | -3.1814 | Yes | -3.21 | -0.02855
235 | 2020-05-11 | 14 | 1 | -3.1884 | Yes | -3.21 | -0.02162
236 | 2020-05-11 | 14 | 2 | -3.1881 | Yes | -3.21 | -0.02192
237 | 2020-05-11 | 14 | 3 | -3.1856 | Yes | -3.21 | -0.02436
238 | 2020-05-11 | 14 | 4 | -3.1794 | Yes | -3.21 | -0.03057
239 | 2020-05-11 | 14 | 5 | -3.1753 | Yes | -3.21 | -0.03466
240 | 2020-05-11 | 14 | 6 | -3.1786 | Yes | -3.21 | -0.03137
241 | 2020-05-11 | 14 | 7 | -3.1769 | Yes | -3.21 | -0.03308
242 | 2020-05-11 | 14 | 8 | -3.1767 | Yes | -3.21 | -0.03326
243 | 2020-05-11 | 14 | 9 | -3.1705 | Yes | -3.21 | -0.03952
244 | 2020-05-11 | 14 | 10 | -3.1797 | Yes | -3.21 | -0.03035
245 | 2020-05-11 | 14 | 11 | -3.1793 | Yes | -3.21 | -0.03065
246 | 2020-05-11 | 14 | 12 | -3.1792 | Yes | -3.21 | -0.03081
247 | 2020-05-11 | 15 | 1 | -3.1791 | Yes | -3.21 | -0.03092
248 | 2020-05-11 | 15 | 2 | -3.1786 | Yes | -3.21 | -0.03143
249 | 2020-05-11 | 15 | 3 | -3.1789 | Yes | -3.21 | -0.0311
250 | 2020-05-11 | 15 | 4 | -3.1794 | Yes | -3.21 | -0.03056
251 | 2020-05-11 | 15 | 5 | -3.1739 | Yes | -3.21 | -0.03612
252 | 2020-05-11 | 15 | 6 | -3.1718 | Yes | -3.21 | -0.03818
253 | 2020-05-11 | 15 | 7 | -3.1743 | Yes | -3.21 | -0.03567
254 | 2020-05-11 | 15 | 8 | -3.1724 | Yes | -3.21 | -0.03758
255 | 2020-05-11 | 15 | 9 | -3.1669 | Yes | -3.21 | -0.04307
256 | 2020-05-11 | 15 | 10 | -3.1669 | Yes | -3.21 | -0.04309
257 | 2020-05-11 | 15 | 11 | -3.1689 | Yes | -3.21 | -0.04113
258 | 2020-05-11 | 15 | 12 | -2.9677 | Yes | -3.21 | -0.24232
259 | 2020-05-11 | 16 | 1 | -1.6156 | Yes | -3.21 | -1.5944
260 | 2020-05-11 | 16 | 2 | -1.6388 | Yes | -3.21 | -1.5712
261 | 2020-05-11 | 16 | 3 | -1.5894 | Yes | -3.21 | -1.6206
262 | 2020-05-11 | 16 | 4 | -2.9839 | Yes | -3.21 | -0.2261
263 | 2020-05-11 | 16 | 5 | -2.9713 | Yes | -3.21 | -0.23866
264 | 2020-05-11 | 16 | 6 | -2.964 | Yes | -3.21 | -0.24598
265 | 2020-05-11 | 16 | 7 | -2.9694 | Yes | -3.21 | -0.24056
266 | 2020-05-11 | 16 | 8 | -2.9804 | Yes | -3.21 | -0.22964
267 | 2020-05-11 | 16 | 9 | -2.9811 | Yes | -3.21 | -0.22889
268 | 2020-05-11 | 16 | 10 | -2.9532 | Yes | -3.21 | -0.2568
269 | 2020-05-11 | 16 | 11 | -2.9477 | Yes | -3.21 | -0.2623
270 | 2020-05-11 | 16 | 12 | -2.984 | Yes | -3.21 | -0.22599
271 | 2020-05-11 | 17 | 1 | -2.9823 | Yes | -3.21 | -0.22769
272 | 2020-05-11 | 17 | 2 | -2.92 | Yes | -3.21 | -0.28996
273 | 2020-05-11 | 17 | 3 | -2.989 | Yes | -3.21 | -0.22099
274 | 2020-05-11 | 17 | 4 | -3.0273 | Yes | -3.21 | -0.18272
275 | 2020-05-11 | 17 | 5 | -3.0147 | Yes | -3.21 | -0.19531
276 | 2020-05-11 | 17 | 6 | -3.0095 | Yes | -3.21 | -0.20051
277 | 2020-05-11 | 17 | 7 | -3.0093 | Yes | -3.21 | -0.20075
278 | 2020-05-11 | 17 | 8 | -2.9846 | Yes | -3.21 | -0.2254
279 | 2020-05-11 | 17 | 9 | -2.9542 | Yes | -3.21 | -0.25576
280 | 2020-05-11 | 17 | 10 | -2.9583 | Yes | -3.21 | -0.25166
281 | 2020-05-11 | 17 | 11 | -2.9814 | Yes | -3.21 | -0.22861
282 | 2020-05-11 | 17 | 12 | -3.0359 | Yes | -3.21 | -0.1741
283 | 2020-05-11 | 18 | 1 | -3.127 | Yes | -3.21 | -0.08298
284 | 2020-05-11 | 18 | 2 | -3.1275 | Yes | -3.21 | -0.08247
285 | 2020-05-11 | 18 | 3 | -3.1249 | Yes | -3.21 | -0.08509
286 | 2020-05-11 | 18 | 4 | -3.1126 | Yes | -3.21 | -0.09742
287 | 2020-05-11 | 18 | 5 | -3.1096 | Yes | -3.21 | -0.10036
288 | 2020-05-11 | 18 | 6 | -3.1082 | Yes | -3.21 | -0.10179
289 | 2020-05-11 | 18 | 7 | -2.9814 | Yes | -3.21 | -0.22863
290 | 2020-05-11 | 18 | 8 | -2.9809 | Yes | -3.21 | -0.22912
291 | 2020-05-11 | 18 | 9 | -2.9813 | Yes | -3.21 | -0.22871
292 | 2020-05-11 | 18 | 10 | -2.9297 | Yes | -3.21 | -0.28034
293 | 2020-05-11 | 18 | 11 | -2.9297 | Yes | -3.21 | -0.28033
294 | 2020-05-11 | 18 | 12 | -2.9731 | Yes | -3.21 | -0.23689
295 | 2020-05-11 | 19 | 1 | -3.028 | Yes | -3.21 | -0.18195
296 | 2020-05-11 | 19 | 2 | -3.0307 | Yes | -3.21 | -0.17925
297 | 2020-05-11 | 19 | 3 | -3.025 | Yes | -3.21 | -0.18499
298 | 2020-05-11 | 19 | 4 | -3.0048 | Yes | -3.21 | -0.2052
299 | 2020-05-11 | 19 | 5 | -2.9718 | Yes | -3.21 | -0.23823
300 | 2020-05-11 | 19 | 6 | -2.9736 | Yes | -3.21 | -0.23638
301 | 2020-05-11 | 19 | 7 | -2.9999 | Yes | -3.21 | -0.21013
302 | 2020-05-11 | 19 | 8 | -2.876 | Yes | -3.21 | -0.33399
303 | 2020-05-11 | 19 | 9 | -2.8759 | Yes | -3.21 | -0.33409
304 | 2020-05-11 | 19 | 10 | -2.826 | Yes | -3.21 | -0.38397
305 | 2020-05-11 | 19 | 11 | -2.5557 | Yes | -3.21 | -0.6543
306 | 2020-05-11 | 19 | 12 | -2.3943 | Yes | -3.21 | -0.81573
307 | 2020-05-11 | 20 | 1 | 24.6811 | Yes | -3.21 | -27.8911
308 | 2020-05-11 | 20 | 2 | 25.68 | Yes | -3.21 | -28.89
309 | 2020-05-11 | 20 | 3 | 29.5758 | Yes | -3.21 | -32.7858
310 | 2020-05-11 | 20 | 4 | 31.8911 | Yes | -3.21 | -35.1011
311 | 2020-05-11 | 20 | 5 | 34.6905 | Yes | -3.21 | -37.9005
312 | 2020-05-11 | 20 | 6 | 37.885 | Yes | -3.21 | -41.095
313 | 2020-05-11 | 20 | 7 | -3.1217 | Yes | -3.21 | -0.08826
314 | 2020-05-11 | 20 | 8 | -3.1136 | Yes | -3.21 | -0.09645
315 | 2020-05-11 | 20 | 9 | -3.1136 | Yes | -3.21 | -0.09645
316 | 2020-05-11 | 20 | 10 | -3.1142 | Yes | -3.21 | -0.0958
317 | 2020-05-11 | 20 | 11 | -3.1021 | Yes | -3.21 | -0.10785
318 | 2020-05-11 | 20 | 12 | -3.0987 | Yes | -3.21 | -0.11132
319 | 2020-05-11 | 21 | 1 | -3.1362 | Yes | -3.21 | -0.07379
320 | 2020-05-11 | 21 | 2 | -3.1341 | Yes | -3.21 | -0.07594
321 | 2020-05-11 | 21 | 3 | -3.1341 | Yes | -3.21 | -0.07594
322 | 2020-05-11 | 21 | 4 | -2.9373 | Yes | -3.21 | -0.27265
323 | 2020-05-11 | 21 | 5 | -3.0765 | Yes | -3.21 | -0.13346
324 | 2020-05-11 | 21 | 6 | -3.0894 | Yes | -3.21 | -0.12057
325 | 2020-05-11 | 21 | 7 | -3.1309 | Yes | -3.21 | -0.0791
326 | 2020-05-11 | 21 | 8 | -3.1301 | Yes | -3.21 | -0.07991
327 | 2020-05-11 | 21 | 9 | -3.1316 | Yes | -3.21 | -0.07842
328 | 2020-05-11 | 21 | 10 | -3.1437 | Yes | -3.21 | -0.0663
329 | 2020-05-11 | 21 | 11 | -3.1426 | Yes | -3.21 | -0.06744
330 | 2020-05-11 | 21 | 12 | -3.1441 | Yes | -3.21 | -0.06585
331 | 2020-05-27 | 15 | 11 | 342.343 | Yes | -9.21 | -351.553
332 | 2020-05-27 | 15 | 12 | 321.2045 | Yes | -9.21 | -330.4145
333 | 2020-05-27 | 16 | 1 | 246.0439 | Yes | -9.21 | -255.2539
334 | 2020-05-27 | 16 | 2 | 246.2567 | Yes | -9.21 | -255.4667
335 | 2020-05-27 | 16 | 3 | 246.1652 | Yes | -9.21 | -255.3752
336 | 2020-05-27 | 16 | 4 | 261.8241 | Yes | -9.21 | -271.0341
337 | 2020-05-27 | 16 | 5 | 259.6663 | Yes | -9.21 | -268.8763
338 | 2020-05-27 | 16 | 6 | 220.2118 | Yes | -9.21 | -229.4218
339 | 2020-05-27 | 16 | 7 | 265.0673 | Yes | -9.21 | -274.2773
340 | 2020-05-27 | 16 | 8 | 264.1369 | Yes | -9.21 | -273.3469
341 | 2020-05-27 | 16 | 9 | 304.042 | Yes | -9.21 | -313.252
342 | 2020-05-27 | 16 | 10 | 317.316 | Yes | -9.21 | -326.526
343 | 2020-05-27 | 16 | 11 | 371.7792 | Yes | -9.21 | -380.9892
344 | 2020-05-27 | 16 | 12 | 268.8175 | Yes | -9.21 | -278.0275
345 | 2020-05-27 | 17 | 1 | -9.1832 | Yes | -9.21 | -0.02679
346 | 2020-05-27 | 17 | 2 | -9.1844 | Yes | -9.21 | -0.02565
347 | 2020-05-27 | 17 | 3 | -9.1845 | Yes | -9.21 | -0.02554
348 | 2020-05-27 | 17 | 4 | -9.1862 | Yes | -9.21 | -0.02375
349 | 2020-05-27 | 17 | 5 | -9.1859 | Yes | -9.21 | -0.02408
350 | 2020-05-27 | 17 | 6 | -9.1848 | Yes | -9.21 | -0.0252
351 | 2020-05-27 | 17 | 7 | 83.6963 | Yes | -9.21 | -92.9063
352 | 2020-05-27 | 17 | 8 | 76.8752 | Yes | -9.21 | -86.0852
353 | 2020-05-27 | 17 | 9 | 87.2813 | Yes | -9.21 | -96.4913
354 | 2020-05-27 | 17 | 10 | 259.8338 | Yes | -9.21 | -269.0437
355 | 2020-05-27 | 17 | 11 | 307.0432 | Yes | -9.21 | -316.2532
356 | 2020-05-27 | 17 | 12 | 490.7427 | Yes | -9.21 | -499.9527
357 | 2020-05-27 | 18 | 1 | 380.4931 | Yes | -9.21 | -389.7031
358 | 2020-05-27 | 18 | 2 | 388.615 | Yes | -9.21 | -397.825
359 | 2020-05-27 | 18 | 3 | 393.2091 | Yes | -9.21 | -402.4191
360 | 2020-05-27 | 18 | 4 | 538.9219 | Yes | -9.21 | -548.1319
361 | 2020-05-27 | 18 | 5 | 620.261 | Yes | -9.21 | -629.471
362 | 2020-05-27 | 18 | 6 | 373.9949 | Yes | -9.21 | -383.2049
363 | 2020-05-27 | 18 | 7 | 651.7203 | Yes | -14.21 | -665.9303
364 | 2020-05-27 | 18 | 8 | 639.0371 | Yes | -14.21 | -653.2471
365 | 2020-05-27 | 18 | 9 | 565.827 | Yes | -14.21 | -580.037

## Price_Impact_B
Table 9: Price Impact Analysis Information for Pricing Node B in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2020-05-27 | 15 | 2 | 22.0173 | Yes | 68 | 45.9827
2 | 2020-05-27 | 15 | 3 | 21.7379 | Yes | 68 | 46.2621
3 | 2020-05-27 | 15 | 4 | 17.692 | Yes | 68 | 50.308
4 | 2020-05-27 | 15 | 5 | 18.2613 | Yes | 68 | 49.7387
5 | 2020-05-27 | 15 | 6 | 18.4923 | Yes | 68 | 49.5077
6 | 2020-05-27 | 15 | 7 | 22.4573 | Yes | 68 | 45.5427
7 | 2020-05-27 | 15 | 8 | 22.3151 | Yes | 68 | 45.6849
8 | 2020-05-27 | 15 | 9 | 23.1547 | Yes | 68 | 44.8453
9 | 2020-05-27 | 15 | 10 | 23.2039 | Yes | 68 | 44.7961
10 | 2020-05-27 | 15 | 11 | 25.7667 | Yes | 68 | 42.2333
11 | 2020-05-27 | 15 | 12 | 26.6712 | Yes | 68 | 41.3288
12 | 2020-05-27 | 16 | 1 | 23.2853 | Yes | 68 | 44.7147
13 | 2020-05-27 | 16 | 2 | 23.1739 | Yes | 68 | 44.8261
14 | 2020-05-27 | 16 | 3 | 23.2247 | Yes | 68 | 44.7753
15 | 2020-05-27 | 16 | 4 | 29.6044 | Yes | 68 | 38.3956
16 | 2020-05-27 | 16 | 5 | 31.1891 | Yes | 68 | 36.8109
17 | 2020-05-27 | 16 | 6 | 34.7839 | Yes | 68 | 33.2161
18 | 2020-05-27 | 16 | 7 | 31.9925 | Yes | 68 | 36.0075
19 | 2020-05-27 | 16 | 8 | 31.5819 | Yes | 68 | 36.4181
20 | 2020-05-27 | 16 | 9 | 63.6188 | Yes | 68 | 4.3812
21 | 2020-05-27 | 16 | 10 | 53.2794 | Yes | 68 | 14.7206
22 | 2020-05-27 | 16 | 11 | 44.0091 | Yes | 68 | 23.9909
23 | 2020-05-27 | 16 | 12 | 33.0246 | Yes | 68 | 34.9754
24 | 2020-05-27 | 17 | 1 | 28.0914 | Yes | 39.83 | 11.7386
25 | 2020-05-27 | 17 | 2 | 25.5117 | Yes | 39.83 | 14.3183
26 | 2020-05-27 | 17 | 3 | 24.6284 | Yes | 68 | 43.3716
27 | 2020-05-27 | 17 | 4 | 21.7958 | Yes | 68 | 46.2042
28 | 2020-05-27 | 17 | 5 | 22.7138 | Yes | 68 | 45.2862
29 | 2020-05-27 | 17 | 6 | 24.5645 | Yes | 39.83 | 15.2655
30 | 2020-05-27 | 17 | 7 | 26.8071 | Yes | 39.83 | 13.0229
31 | 2020-05-27 | 17 | 8 | 27.9617 | Yes | 39.83 | 11.8683
32 | 2020-05-27 | 17 | 9 | 28.7468 | Yes | 39.83 | 11.0832
33 | 2020-05-27 | 17 | 10 | 26.1181 | Yes | 39.83 | 13.7119
34 | 2020-05-27 | 17 | 11 | 28.8072 | Yes | 68 | 39.1928
35 | 2020-05-27 | 17 | 12 | 26.4286 | Yes | 68 | 41.5714
36 | 2020-05-27 | 18 | 1 | 20.9795 | Yes | 68 | 47.0205
37 | 2020-05-27 | 18 | 2 | 21.7445 | Yes | 68 | 46.2555
38 | 2020-05-27 | 18 | 3 | 22.2194 | Yes | 68 | 45.7806
39 | 2020-05-27 | 18 | 4 | 24.2324 | Yes | 68 | 43.7676
40 | 2020-05-27 | 18 | 5 | 24.9182 | Yes | 68 | 43.0818
41 | 2020-05-27 | 18 | 6 | 26.7418 | Yes | 68 | 41.2582
42 | 2020-05-27 | 18 | 7 | 29.0378 | Yes | 68 | 38.9622
43 | 2020-05-27 | 18 | 8 | 34.9464 | Yes | 68 | 33.0536
44 | 2020-05-27 | 18 | 9 | 33.6487 | Yes | 68 | 34.3513
45 | 2020-05-27 | 18 | 10 | 29.5625 | Yes | 68 | 38.4375
46 | 2020-05-27 | 18 | 11 | 34.0786 | Yes | 68 | 33.9214
47 | 2020-05-27 | 18 | 12 | 38.3683 | Yes | 68 | 29.6317
48 | 2020-05-27 | 19 | 1 | 29.0473 | Yes | 68 | 38.9527
49 | 2020-05-27 | 19 | 2 | 24.5125 | Yes | 68 | 43.4875
50 | 2020-05-27 | 19 | 3 | 25.5687 | Yes | 68 | 42.4314
51 | 2020-05-27 | 19 | 4 | 25.2805 | Yes | 39.83 | 14.5495
52 | 2020-05-27 | 19 | 5 | 28.6384 | Yes | 39.83 | 11.1916
53 | 2020-05-27 | 19 | 6 | 29.0731 | Yes | 39.83 | 10.7569
54 | 2020-05-27 | 19 | 7 | 29.0435 | Yes | 39.83 | 10.7865
55 | 2020-05-27 | 19 | 8 | 31.7589 | Yes | 39.83 | 8.0711
56 | 2020-05-27 | 19 | 9 | 37.7106 | Yes | 39.83 | 2.1194
57 | 2020-05-27 | 19 | 10 | 39.5242 | Yes | 39.83 | 0.30579
58 | 2020-05-27 | 19 | 11 | 42.5539 | Yes | 39.83 | -2.7239
59 | 2020-05-27 | 19 | 12 | 48.0615 | Yes | 39.83 | -8.2315
60 | 2020-05-27 | 20 | 1 | 39.1673 | Yes | 39.83 | 0.66271
61 | 2020-05-27 | 20 | 2 | 34.9943 | Yes | 39.83 | 4.8357
62 | 2020-05-27 | 20 | 3 | 37.3641 | Yes | 39.83 | 2.4659
63 | 2020-05-27 | 20 | 4 | 34.9009 | Yes | 39.83 | 4.9291
64 | 2020-05-27 | 20 | 5 | 36.4242 | Yes | 39.83 | 3.4058
65 | 2020-05-27 | 20 | 6 | 39.7341 | Yes | 39.83 | 0.09595
66 | 2020-05-27 | 20 | 7 | 37.8413 | Yes | 39.83 | 1.9887
67 | 2020-05-27 | 20 | 8 | 37.889 | Yes | 39.83 | 1.941
68 | 2020-05-27 | 20 | 9 | 37.5132 | Yes | 39.83 | 2.3168
69 | 2020-05-27 | 20 | 10 | 36.1005 | Yes | 39.83 | 3.7295
70 | 2020-05-27 | 20 | 11 | 34.8148 | Yes | 39.83 | 5.0152
71 | 2020-05-27 | 20 | 12 | 32.4206 | Yes | 39.83 | 7.4094
72 | 2020-05-27 | 21 | 1 | 29.9425 | Yes | 39.83 | 9.8875
73 | 2020-05-27 | 21 | 2 | 29.2609 | Yes | 39.83 | 10.5691
74 | 2020-05-27 | 21 | 3 | 29.0767 | Yes | 39.83 | 10.7533
75 | 2020-05-27 | 21 | 4 | 28.3986 | Yes | 39.83 | 11.4314
76 | 2020-05-27 | 21 | 5 | 28.578 | Yes | 39.83 | 11.252
77 | 2020-05-27 | 21 | 6 | 28.4236 | Yes | 39.83 | 11.4064
78 | 2020-05-27 | 21 | 7 | 28.7123 | Yes | 39.83 | 11.1177
79 | 2020-05-27 | 21 | 8 | 28.951 | Yes | 39.83 | 10.879
80 | 2020-05-27 | 21 | 9 | 28.8416 | Yes | 39.83 | 10.9884
81 | 2020-05-27 | 21 | 10 | 27.4981 | Yes | 39.83 | 12.3319
82 | 2020-05-27 | 21 | 11 | 26.5174 | Yes | 39.83 | 13.3126
83 | 2020-05-27 | 21 | 12 | 26.744 | Yes | 39.83 | 13.086
84 | 2020-05-28 | 16 | 9 | 21.0427 | Yes | 68.13 | 47.0873
85 | 2020-05-28 | 16 | 10 | 21.83 | Yes | 68.13 | 46.3
86 | 2020-05-28 | 16 | 11 | 22.6585 | Yes | 68.13 | 45.4715
87 | 2020-05-28 | 16 | 12 | 21.7992 | Yes | 68.13 | 46.3308
88 | 2020-05-28 | 17 | 1 | 20.198 | Yes | 68.13 | 47.932
89 | 2020-05-28 | 17 | 2 | 20.3826 | Yes | 68.13 | 47.7474
90 | 2020-05-28 | 17 | 3 | 20.5197 | Yes | 68.13 | 47.6103
91 | 2020-05-28 | 17 | 4 | 20.3591 | Yes | 68.13 | 47.7709
92 | 2020-05-28 | 17 | 5 | 21.2768 | Yes | 68.13 | 46.8532
93 | 2020-05-28 | 17 | 6 | 21.7071 | Yes | 68.13 | 46.4229
94 | 2020-05-28 | 17 | 7 | 22.8503 | Yes | 68.13 | 45.2797
95 | 2020-05-28 | 17 | 8 | 22.3319 | Yes | 68.13 | 45.7981
96 | 2020-05-28 | 17 | 9 | 21.509 | Yes | 68.13 | 46.621
97 | 2020-05-28 | 17 | 10 | 21.9382 | Yes | 68.13 | 46.1918
98 | 2020-05-28 | 17 | 11 | 22.2204 | Yes | 68.13 | 45.9096
99 | 2020-05-28 | 17 | 12 | 21.5639 | Yes | 68.13 | 46.5661
100 | 2020-05-28 | 18 | 1 | 21.5039 | Yes | 68.13 | 46.6261
101 | 2020-05-28 | 18 | 2 | 21.458 | Yes | 68.13 | 46.672
102 | 2020-05-28 | 18 | 3 | 21.9948 | Yes | 68.13 | 46.1352
103 | 2020-05-28 | 18 | 4 | 22.5303 | Yes | 68.13 | 45.5997
104 | 2020-05-28 | 18 | 5 | 23.5808 | Yes | 39.56 | 15.9792
105 | 2020-05-28 | 18 | 6 | 24.3226 | Yes | 39.56 | 15.2374
106 | 2020-05-28 | 18 | 7 | 24.6147 | Yes | 39.56 | 14.9453
107 | 2020-05-28 | 18 | 8 | 27.5229 | Yes | 39.56 | 12.0371
108 | 2020-05-28 | 18 | 9 | 25.0117 | Yes | 39.56 | 14.5483

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
NONTMOD | 6 | 49253.11 | 5667.7 | 43585.41
Total | 6 | 49253.11 | 5667.7 | 43585.41