## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for May 2022
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Bridging Schedules | PGAE | Fresno | 2022-05-23 | 10 | No | INC | 1 | 44704.7292 | 44704.7396 | -0.33333 | 0 | 0 | 57.97 | 0 | 0 | 0 | 0 | 0 | 0
2 | RT | Conditions beyond the control of the CAISO | SCE | Big Creek-Ventura | 2022-05-20 | 0 | No | INC | 2 | 44701.5035 | 44701.5625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | RT | Fast Start Unit Management | PGAE | Bay Area | 2022-05-11 | 0 | No | INC | 2 | 44692.5104 | 44692.5556 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | RT | Fast Start Unit Management | PGAE | Sierra | 2022-05-06 | 20 | No | DEC | 4 | 44687.75 | 44687.9167 | -22.1531 | 0 | 0 | 1869.7633 | 0 | 0 | 0 | 0 | 0 | 0
5 | RT | Fast Start Unit Management | PGAE | Sierra | 2022-05-06 | 20 | No | INC | 15 | 44687.3229 | 44687.9167 | -14.31 | 55265.2733 | 0 | 349.0474 | 0 | 0 | 0 | 0 | 0 | 0
6 | RT | Incomplete or Inaccurate Transmission | PGAE | Bay Area | 2022-05-15 | 450 - 500 | No | DEC | 4 | 44696.8403 | 44697 | -93.8383 | 0 | 0 | 8223.1574 | -58.8542 | 0 | 5640.6296 | 0 | -3904.6297 | 0
7 | RT | Incomplete or Inaccurate Transmission | PGAE | Bay Area | 2022-05-16 | 475 | No | DEC | 6 | 44697.7812 | 44698 | -131.3942 | -12475.6848 | 0 | 10091.1411 | -41.5938 | 0 | 4343.4962 | 0 | -13651.7207 | 0
8 | RT | Incomplete or Inaccurate Transmission | PGAE | Bay Area | 2022-05-16 | 460 | No | INC | 3 | 44697 | 44697.125 | -67.9362 | 0 | 0 | 4205.6046 | 0 | 0 | 0 | 0 | 0 | 0
9 | RT | Incomplete or Inaccurate Transmission | PGAE | Bay Area | 2022-05-17 | 475 | No | DEC | 5 | 44698.7812 | 44698.9583 | -41.1379 | 0 | 0 | 38961.192 | -41.375 | 0 | 38890.6656 | 0 | -45924.7617 | 0
10 | RT | Incomplete or Inaccurate Transmission | PGAE | Bay Area | 2022-05-17 | 425 - 475 | No | INC | 24 | 44698 | 44699 | -26.3496 | -12232.81 | 0 | 2172.4718 | -36.6458 | 0 | 3106.1173 | 0 | -437.3224 | 0
11 | RT | Incomplete or Inaccurate Transmission | PGAE | Bay Area | 2022-05-18 | 425 | No | INC | 1 | 44699 | 44699.0417 | 35.836 | -9615.96 | 0 | -2664.686 | 0 | 0 | 0 | 0 | 0 | 0
12 | RT | Incomplete or Inaccurate Transmission | PGAE | Fresno | 2022-05-14 | 10 - 20 | No | DEC | 1 | 44695.6979 | 44695.7188 | -12.8751 | 0 | 0 | -1930.6623 | -9.5975 | 0 | -1438.9188 | 0 | 0 | 0
13 | RT | Incomplete or Inaccurate Transmission | PGAE | Kern | 2022-05-30 | 47 | No | INC | 4 | 44711.8646 | 44712 | 7.5708 | 9478.9575 | 160.684 | -528.4811 | 0.019247 | -1.7265 | 0 | 0 | -27.0843 | 0
14 | RT | Load Forecast Uncertainty | PGAE | NA | 2022-05-26 | 62 | No | INC | 24 | 44707 | 44708 | -439.6311 | 258487.68 | 0 | 37590.7974 | 0 | 0 | 0 | 0 | 0 | 0
15 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-05-25 | 20 | No | INC | 9 | 44706.625 | 44707 | 221.1675 | 26229 | 0 | -19215.8296 | 0 | 0 | 0 | 0 | 0 | 0
16 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-05-26 | 20 | No | INC | 24 | 44707 | 44708 | -173.5408 | 96177.62 | 0 | 16437.226 | 0 | 0 | 0 | 0 | 0 | 0
17 | RT | Market Disruption | SCE | LA Basin | 2022-05-02 | 96 | No | DEC | 1 | 44683.7917 | 44683.8125 | -28.8745 | 0 | 0 | 2377.1995 | 0 | 0 | 0 | 0 | 0 | 0
18 | RT | Market Disruption | SCE | LA Basin | 2022-05-02 | 95 - 96 | No | INC | 2 | 44683.7778 | 44683.8333 | 160.9733 | 21508.425 | 0 | -10963.9943 | 92.9475 | -6453.3065 | 0 | -990.6637 | 0 | 0
19 | RT | Other Reliability Requirement | PGAE | Sierra | 2022-05-06 | 39 | No | DEC | 1 | 44687.2743 | 44687.3021 | -5.6853 | 0 | 0 | -1405.95 | -2.4479 | 0 | -768.9841 | 0 | 0 | 0
20 | RT | Other Reliability Requirement | PGAE | NA | 2022-05-15 | 165 | No | INC | 1 | 44696.441 | 44696.4514 | 21.8458 | 0 | 0 | -628.8498 | 21.8458 | -628.8498 | 0 | -1855.1307 | 0 | 0
21 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2022-05-15 | 550 | No | INC | 1 | 44696.441 | 44696.4514 | -8.3976 | 0 | 0 | 216.4342 | 17.3352 | -446.785 | 0 | -1169.8089 | 0 | 0
22 | RT | Other Reliability Requirement | SCE | LA Basin | 2022-05-15 | 95 - 100 | No | INC | 2 | 44696.4444 | 44696.5 | 217.6232 | 57627.8708 | 0 | -5027.852 | 161.7823 | -3935.9551 | 0 | -10528.4171 | 0 | 0
23 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-05-15 | 48 - 300 | No | INC | 2 | 44696.4444 | 44696.5 | 189.8232 | 29411.595 | 0 | -5366.5311 | 127.8005 | -3816.1912 | 0 | -2944.8565 | 0 | 0
24 | RT | Planned Transmission Outage | Intertie | NA | 2022-05-12 | 0 | No | DEC | 2 | 44693.3472 | 44693.4167 | -19.9715 | 0 | 0 | -7550.4428 | -20.5239 | 0 | -7572.3202 | 0 | -13.7523 | 0
25 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-05-21 | 55 | No | INC | 2 | 44702.6944 | 44702.7604 | -1.3808 | 9786.3717 | 1161.0408 | -37.3994 | 0 | 0 | 0 | 0 | -19.8064 | 0
26 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-05-23 | 15 | No | INC | 8 | 44704.4722 | 44704.7917 | 115.5125 | 0 | 0 | -9126.3723 | 0 | 0 | 0 | 0 | 0 | 0
27 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-05-24 | 15 | No | INC | 10 | 44705.375 | 44705.7917 | 150.6285 | 0 | 0 | -16033.5369 | 0 | 0 | 0 | 0 | 0 | 0
28 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-05-25 | 15 | No | INC | 12 | 44706.3472 | 44706.8333 | 5.6223 | 0 | 0 | -84.6345 | 0 | 0 | 0 | 0 | 0 | 0
29 | RT | Planned Transmission Outage | PGAE | Fresno | 2022-05-14 | 20 | No | DEC | 1 | 44695.6979 | 44695.7049 | -1.6014 | 0 | 0 | 98.8417 | 0 | 0 | 0 | 0 | 0 | 0
30 | RT | Planned Transmission Outage | PGAE | Fresno | 2022-05-19 | 200 | No | INC | 1 | 44700.9826 | 44701 | -0.66667 | 0 | 0 | 64.4455 | 1.2456 | -123.4096 | 0 | 0 | 0 | 0
31 | RT | Planned Transmission Outage | PGAE | Fresno | 2022-05-20 | 200 | No | INC | 3 | 44701 | 44701.1042 | 38.5937 | 34918.075 | 0 | -3166.239 | 29.25 | -2674.3496 | 0 | 0 | -3852.1481 | 0
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-01 | 15 | No | DEC | 24 | 44682 | 44683 | -1.1754 | 0 | 0 | 3.5748 | 0 | 0 | 0 | 0 | 0 | 0
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-01 | 15 | No | INC | 24 | 44682 | 44682.9896 | -3.9808 | 30029.2625 | 0 | 23.2388 | 0 | 0 | 0 | 0 | -380.4124 | 0
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-02 | 15 | No | DEC | 7 | 44683 | 44683.2708 | 3.8001 | 0 | 0 | -306.5454 | 0 | 0 | 0 | 0 | 0 | 0
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-02 | 15 - 30 | No | INC | 18 | 44683.25 | 44684 | -0.86073 | 50575.6 | 973.39 | -379.4074 | 0 | 0 | 0 | 0 | -19.9851 | 0
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-03 | 15 - 30 | No | DEC | 6 | 44684.75 | 44685 | -8.7662 | -24428.2625 | 0 | 726.0093 | 0 | 0 | 0 | 0 | 0 | 0
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-03 | 15 - 30 | No | INC | 24 | 44684 | 44685 | -7.2539 | 49525.8 | 0 | 113.1281 | 0 | 0 | 0 | 0 | -0.81073 | 0
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-04 | 15 | No | DEC | 24 | 44685 | 44686 | 3.6602 | 4301.67 | 0 | -492.9464 | 0 | 0 | 0 | 0 | 0 | 0
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-04 | 15 | No | INC | 10 | 44685 | 44685.4167 | -0.16948 | 14339 | 0 | 9.8427 | 0 | 0 | 0 | 0 | 0 | 0
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-05 | 15 - 30 | No | DEC | 24 | 44686 | 44687 | -5.4892 | -8225.4744 | 0 | 492.6725 | 0 | 0 | 0 | 0 | 0 | 0
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-05 | 30 | No | INC | 11 | 44686.3056 | 44686.75 | 8.0404 | 14965.9 | 0 | -427.7707 | 0 | 0 | 0 | 0 | 0 | 0
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-06 | 15 | No | DEC | 24 | 44687 | 44688 | -6.4494 | -30257.7252 | 66.8666 | 731.2095 | 0 | 0 | 0 | 0 | 0 | 0
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-06 | 15 | No | INC | 17 | 44687.309 | 44688 | 4.9092 | 16554.2625 | 913.8434 | -463.4072 | 0 | 0 | 0 | 0 | 0 | 0
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-07 | 15 | No | DEC | 23 | 44688 | 44688.9583 | -1.8 | -24045.3612 | 0 | 94.5471 | 0 | 0 | 0 | 0 | 0 | 0
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-07 | 15 | No | INC | 24 | 44688 | 44689 | -0.47974 | 30149.6 | 0 | 19.1553 | 0 | 0 | 0 | 0 | -429.2866 | 0
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-08 | 15 | No | DEC | 7 | 44689.7083 | 44690 | -0.52917 | 0 | 450.7587 | 5.7553 | 0 | 0 | 0 | 0 | 0 | 0
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-08 | 15 | No | INC | 24 | 44689 | 44690 | 13.1404 | 32787.69 | 531.2513 | -706.8781 | 0 | 0 | 0 | 0 | -189.6845 | 0
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-09 | 15 | No | DEC | 6 | 44690 | 44690.2257 | 1.3558 | 0 | 0 | -91.4408 | 0 | 0 | 0 | 0 | 0 | 0
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-09 | 15 - 45 | No | INC | 24 | 44690 | 44691 | 4.7839 | 84418.88 | 0 | -1123.742 | 0 | 0 | 0 | 0 | -777.2077 | 0
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-10 | 45 | No | INC | 24 | 44691 | 44692 | -13.4858 | 103129.92 | 0 | 83.0973 | 0 | 0 | 0 | 0 | -116.3666 | 0
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-11 | 30 - 45 | No | INC | 24 | 44692 | 44693 | -0.31354 | 85627.4575 | 0 | -137.5292 | 0 | 0 | 0 | 0 | -2.9799 | 0
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-12 | 15 | No | DEC | 17 | 44693.3125 | 44694 | 10.0567 | -359.33 | 979.5 | -654.9019 | 0 | 0 | 0 | 0 | 0 | 0
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-12 | 15 - 30 | No | INC | 24 | 44693 | 44694 | -8.155 | 66476.05 | 0 | 338.0531 | 0 | 0 | 0 | 0 | -1.6512 | 0
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-13 | 15 - 30 | No | DEC | 23 | 44694 | 44694.9583 | -1.3558 | -24731.3772 | 0 | 111.6016 | 0 | 0 | 0 | 0 | 0 | 0
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-13 | 15 - 30 | No | INC | 24 | 44694 | 44695 | 1.7625 | 43033.61 | 0 | -25.0084 | 0.45833 | -8.4317 | 0 | 0 | -7.0489 | 0
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-14 | 30 | No | DEC | 6 | 44695.7083 | 44695.9583 | 2.9081 | -12874.0932 | 0 | -141.2438 | 0 | 0 | 0 | 0 | 0 | 0
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-14 | 30 | No | INC | 24 | 44695 | 44696 | 0.635 | 51777.9 | 0 | -22.7706 | 0 | 0 | 0 | 0 | 0 | 0
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-15 | 15 | No | DEC | 2 | 44696.9167 | 44697 | -4.8818 | 719.135 | 0 | 473.9879 | 0 | 0 | 0 | 0 | 0 | 0
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-15 | 30 | No | INC | 22 | 44696 | 44696.9167 | -0.28781 | 44586.51 | 0 | -51.8844 | 0 | 0 | 0 | 0 | -11.8642 | 0
60 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-16 | 15 - 28 | No | DEC | 23 | 44697 | 44697.9583 | 2.9825 | -8802.6372 | 0 | -103.9113 | 0 | 0 | 0 | 0 | 0 | 0
61 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-16 | 16 - 28 | No | INC | 17 | 44697.309 | 44698 | -15.0537 | 34518.545 | 0 | -14.5249 | 0 | 0 | 0 | 0 | 0 | 0
62 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-17 | 14 - 32 | No | DEC | 19 | 44698.125 | 44698.9167 | 11.8954 | -8198.1999 | 0 | -4890.5271 | 0 | 0 | 0 | 0 | 0 | 0
63 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-17 | 14 - 45 | No | INC | 24 | 44698 | 44699 | 2.5913 | 57261.0625 | 0 | -273.8934 | 0.9775 | -48.918 | 0 | 0 | -2.3231 | 0
64 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-18 | 32 - 45 | No | DEC | 3 | 44699.75 | 44699.875 | 4.3937 | 239.13 | 0 | -455.8874 | 0 | 0 | 0 | 0 | 0 | 0
65 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-18 | 16 - 60 | No | INC | 24 | 44699 | 44700 | -22.376 | 87967.6975 | 0 | 1512.3713 | 0 | 0 | 0 | 0 | 0 | 0
66 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-19 | 30 - 32 | No | INC | 24 | 44700 | 44701 | 20.2756 | 112650.92 | 0 | -2433.1263 | 0 | 0 | 0 | 0 | -74.0592 | 0
67 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-20 | 15 - 32 | No | DEC | 6 | 44701.75 | 44702 | -4.2627 | -18962.5509 | 0 | 288.4771 | 0 | 0 | 0 | 0 | 0 | 0
68 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-20 | 30 - 32 | No | INC | 19 | 44701 | 44701.7917 | -0.65646 | 79208.14 | 0 | 138.6534 | 0 | 0 | 0 | 0 | -133.7986 | 0
69 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-21 | 32 | No | DEC | 7 | 44702 | 44702.2917 | 0 | -11874.7188 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
70 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-21 | 15 - 48 | No | INC | 14 | 44702 | 44702.5833 | 16.2338 | 32071.4875 | 0 | -445.3387 | 4.3697 | -117.9449 | 0 | 0 | -36.7991 | 0
71 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-22 | 15 - 28 | No | DEC | 17 | 44703.309 | 44704 | 25.1011 | -775.4165 | 163.6917 | -1640.2364 | 2.4342 | -206.5194 | 0 | 0 | -7.339 | 0
72 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-22 | 28 - 30 | No | INC | 17 | 44703.3299 | 44704 | 13.5079 | 15469.71 | 818.4583 | 16.595 | 1.3909 | 3.1848 | 0 | 0 | -198.7893 | 0
73 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-23 | 14 - 30 | No | DEC | 21 | 44704.0833 | 44704.9583 | -2.4121 | -6785.5536 | 0 | 250.2537 | 0 | 0 | 0 | 0 | 0 | 0
74 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-23 | 14 - 30 | No | INC | 24 | 44704 | 44705 | 4.2477 | 43013.445 | 0 | -300.6015 | 0 | 0 | 0 | 0 | 0 | 0
75 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-24 | 28 | No | DEC | 4 | 44705.6667 | 44705.8333 | 0 | -8402.73 | 0 | 101.1137 | 0 | 0 | 0 | 0 | 0 | 0
76 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-24 | 14 - 28 | No | INC | 24 | 44705 | 44706 | 3.5858 | 58323.045 | 0 | -161.8928 | 0 | 0 | 0 | 0 | 0 | 0
77 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-25 | 14 - 45 | No | DEC | 18 | 44706.1875 | 44706.9167 | -15.7743 | -12537.1791 | 0 | 2821.8689 | 0 | 0 | 0 | 0 | -1285.2167 | 0
78 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-25 | 28 - 45 | No | INC | 24 | 44706 | 44707 | -5.7635 | 74173.995 | 0 | 2035.9855 | 1.135 | -22.8572 | 0 | 0 | -5.5355 | 0
79 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-26 | 14 - 28 | No | DEC | 18 | 44707.1875 | 44707.9167 | -1.3558 | -6715.926 | 0 | 148.2735 | 0 | 0 | 0 | 0 | 0 | 0
80 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-26 | 28 - 42 | No | INC | 24 | 44707 | 44708 | 2.4004 | 94620.8575 | 0 | -214.2942 | 0 | 0 | 0 | 0 | 0 | 0
81 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-27 | 14 | No | DEC | 5 | 44708.125 | 44708.309 | -4.0675 | 399.1275 | 0 | 245.4935 | 0 | 0 | 0 | 0 | 0 | 0
82 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-27 | 28 - 30 | No | INC | 24 | 44708 | 44709 | -11.1644 | 102575.7675 | 0 | -1026.4667 | 0.45833 | -12.0459 | 0 | 0 | -77.9336 | 0
83 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-28 | 15 | No | DEC | 1 | 44709.9792 | 44710 | 0.67792 | 0 | 0 | -55.9125 | 0 | 0 | 0 | 0 | 0 | 0
84 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-28 | 15 - 30 | No | INC | 24 | 44709 | 44710 | -8.85 | 89739.295 | 0 | -8.3102 | 0 | 0 | 0 | 0 | -432.6572 | 0
85 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-29 | 15 | No | DEC | 24 | 44710 | 44711 | -3.0085 | 0 | 0 | 359.533 | 0 | 0 | 0 | 0 | 0 | 0
86 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-29 | 14 - 30 | No | INC | 24 | 44710 | 44711 | 8.9757 | 35066.24 | 0 | -38.3862 | 0.66885 | 0.0078716 | 0 | 0 | -361.8105 | 0
87 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-30 | 15 | No | DEC | 24 | 44711 | 44712 | 1.8938 | 0 | 0 | -133.2915 | 0 | 0 | 0 | 0 | 0 | 0
88 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-30 | 15 - 30 | No | INC | 24 | 44711 | 44712 | 3.6082 | 49771.4425 | 0 | -374.685 | 0 | 0 | 0 | 0 | -945.3788 | 0
89 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-31 | 15 - 30 | No | DEC | 22 | 44712 | 44712.9167 | -0.7075 | -2966.7771 | 0 | 163.5324 | 0 | 0 | 0 | 0 | 0 | 0
90 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-05-31 | 15 - 30 | No | INC | 24 | 44712 | 44713 | 9.4608 | 70509.4625 | 0 | -613.9787 | 0 | 0 | 0 | 0 | 0 | 0
91 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-05-17 | 12 - 19 | No | DEC | 1 | 44698.7847 | 44698.8229 | -3.359 | 0 | 0 | 3084.5558 | -4.6615 | 0 | 3963.5323 | 0 | -4078.821 | 0
92 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-05-19 | 20 | No | INC | 13 | 44700.3194 | 44700.8333 | -7.1725 | 50225 | 690.6841 | 2233.2305 | 0 | 0 | 0 | 0 | 0 | 0
93 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-03 | 45 | No | DEC | 1 | 44684.9965 | 44685 | -3.0845 | 0 | 0 | -287.8086 | -3.2125 | 0 | -312.4762 | 0 | 0 | 0
94 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-04 | 45 | No | DEC | 3 | 44685.2083 | 44685.3333 | 4.205 | 0 | 0 | -355.4586 | 0 | 0 | 0 | 0 | -6166.0894 | 0
95 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-04 | 45 | No | INC | 10 | 44685 | 44685.4167 | 5.364 | 0 | 0 | -385.2068 | 0 | 0 | 0 | 0 | 0 | 0
96 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-05 | 45 | No | DEC | 5 | 44686.625 | 44686.8056 | -0.32115 | 0 | 0 | 16.7011 | 0 | 0 | 0 | 0 | -3960.3166 | 0
97 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-05 | 45 - 80 | No | INC | 10 | 44686.4688 | 44686.875 | -4.1185 | 0 | 0 | -515.2336 | -7.2157 | 0 | 530.2028 | 0 | -1114.1478 | 0
98 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-06 | 52 | No | DEC | 4 | 44687.7083 | 44687.875 | -6.9729 | 0 | 0 | 29.9694 | 0 | 0 | 0 | 0 | -5134.7947 | 0
99 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-06 | 50 - 55 | No | INC | 8 | 44687.4132 | 44687.7083 | 15.0055 | 0 | 0 | -864.7621 | -1.1567 | 0 | -48.1929 | 0 | -11.1216 | 0
100 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-07 | 14 - 65 | No | DEC | 10 | 44688.4861 | 44688.8819 | 13.959 | 0 | 0 | -1325.4217 | -2.1969 | 0 | -329.8531 | 0 | -4006.0826 | 0
101 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-07 | 5 - 75 | No | INC | 15 | 44688.3819 | 44689 | 22.0335 | 0 | 0 | 983.7277 | -19.5312 | 0 | -2181.897 | 0 | -207.584 | 0
102 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-08 | 0 - 72 | No | DEC | 22 | 44689 | 44689.9167 | 6.1268 | 0 | 0 | 864.8755 | -2.3291 | 0 | -338.6993 | 0 | -6748.4761 | 0
103 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-08 | 50 - 70 | No | INC | 18 | 44689.0833 | 44689.8333 | 9.819 | 0 | 0 | 2660.4249 | -0.82917 | 0 | -84.4326 | 0 | -0.065943 | 0
104 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-12 | 75 | No | INC | 8 | 44693.6042 | 44693.9167 | 20.312 | 0 | 0 | -1033.8105 | 0 | 0 | 0 | 0 | 0 | 0
105 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-13 | 55 | No | DEC | 1 | 44694.9792 | 44695 | -7.1933 | 0 | 0 | 464.1419 | -8 | 0 | 512.1908 | 0 | -510.5534 | 0
106 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-14 | 55 - 65 | No | DEC | 1 | 44695.2083 | 44695.25 | 0.013646 | 0 | 0 | -1.0056 | 0 | 0 | 0 | 0 | 0 | 0
107 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-14 | 55 | No | INC | 5 | 44695 | 44695.2083 | -1.64 | 0 | 0 | 112.5024 | 0 | 0 | 0 | 0 | 0 | 0
108 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-16 | 48 | No | DEC | 1 | 44697.7986 | 44697.8333 | -7.3907 | 0 | 0 | -539.8244 | -2.1117 | 0 | 261.9613 | 0 | -219.7279 | 0
109 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-16 | 48 | No | INC | 4 | 44697.8333 | 44698 | 2.455 | 0 | 0 | -130.4681 | 0 | 0 | 0 | 0 | 0 | 0
110 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-17 | 48 | No | INC | 2 | 44698 | 44698.0625 | 2.2983 | 0 | 0 | -45.9667 | 0 | 0 | 0 | 0 | 0 | 0
111 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-19 | 50 | No | DEC | 6 | 44700.7083 | 44700.9583 | -11.3047 | 0 | 0 | 897.5612 | -11 | 0 | 803.0224 | 0 | -21327.5915 | 0
112 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-19 | 50 | No | INC | 1 | 44700.7014 | 44700.7083 | -3.6667 | 0 | 0 | 300.7277 | -3.6667 | 0 | 300.7277 | 0 | -264.061 | 0
113 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-20 | 44 | No | DEC | 5 | 44701.7083 | 44701.9167 | -12.9262 | 0 | 0 | -1842.6037 | -0.00017262 | 0 | 0.016744 | 0 | -8842.7683 | 0
114 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-20 | 44 | No | INC | 6 | 44701.4618 | 44701.7083 | 10.8827 | 0 | 0 | -433.8178 | 0 | 0 | 0 | 0 | 0 | 0
115 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-21 | 50 | No | DEC | 3 | 44702.7083 | 44702.8021 | 4.8568 | 0 | 0 | -371.3029 | 0 | 0 | 0 | 0 | -8736.4119 | 0
116 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-21 | 50 | No | INC | 9 | 44702.3403 | 44702.7083 | -9.1738 | 0 | 0 | 315.0315 | 0 | 0 | 0 | 0 | 0 | 0
117 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-23 | 60 | No | DEC | 3 | 44704.6667 | 44704.7917 | -0.16904 | 0 | 0 | 11.3814 | 0 | 0 | 0 | 0 | -6289.1243 | 0
118 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-05-23 | 5 - 60 | No | INC | 9 | 44704.2951 | 44704.6667 | -7.4104 | 0 | 0 | 354.304 | -7.8333 | 0 | 399.6249 | 0 | -184.2182 | 0
119 | RT | Planned Transmission Outage | SCE | NA | 2022-05-03 | 240 | No | DEC | 1 | 44684.5 | 44684.5417 | -57.0634 | 0 | 0 | -568.2496 | -21.5633 | 0 | -214.1049 | 0 | -2.829 | 0
120 | RT | Planned Transmission Outage | SCE | NA | 2022-05-06 | 0.5 | No | DEC | 1 | 44687.5208 | 44687.5417 | -50.1303 | 0 | 0 | -302.8891 | 0 | 0 | 0 | 0 | 0 | 0
121 | RT | Planned Transmission Outage | SCE | NA | 2022-05-06 | 0.5 | No | INC | 1 | 44687.5208 | 44687.5417 | -20.0817 | 0 | 0 | 6.0009 | -20.2621 | 0 | 4.2219 | 0 | 0 | 0
122 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-05-03 | 110 - 316.5 | No | INC | 12 | 44684.2465 | 44684.7292 | 439.3105 | 86733.1275 | 524.0825 | -17411.1582 | 451.7951 | -15346.6204 | 0 | 0 | -98546.8329 | 0
123 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-05-04 | 106 - 316 | No | INC | 13 | 44685.25 | 44685.7708 | 513.3854 | 137186.97 | 1746 | -35658.2597 | 673.3222 | -41889.9448 | 0 | 0 | -69526.4469 | 0
124 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-05-05 | 110 | No | DEC | 1 | 44686.7917 | 44686.8125 | -21.25 | 2251.53 | 0 | 2159.1717 | 0 | 0 | 0 | 0 | 0 | 0
125 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-05-05 | 110 - 316 | No | INC | 13 | 44686.25 | 44686.7917 | -119.0758 | 141281.835 | 2112.2348 | 2995.1042 | 0 | 0 | 0 | 0 | -88785.3337 | 0
126 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-05-12 | 24 - 300 | No | INC | 13 | 44693.3438 | 44693.875 | 547.8828 | 591846.665 | 74979.3508 | -15551.4018 | 585.9117 | -26863.2401 | 0 | 0 | -80704.3291 | 0
127 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-05-13 | 310 | No | INC | 8 | 44694.3333 | 44694.6667 | -247.808 | 138198 | 0 | 13811.5086 | 0 | 0 | 0 | 0 | 0 | 0
128 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-05-14 | 50 - 310 | No | INC | 12 | 44695.2917 | 44695.7917 | -272.5287 | 275595.2733 | 772.4458 | 17617.6479 | 68.2708 | -3742.5631 | 0 | 0 | -17876.1136 | 0
129 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-05-15 | 100 - 520 | No | INC | 4 | 44696.3542 | 44696.5 | 183.4661 | 38253.435 | 0 | -4524.191 | 151.5321 | -3887.971 | 0 | 0 | -32598.2271 | 0
130 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-05-31 | 24 | No | INC | 10 | 44712.4167 | 44712.8333 | -88.7931 | 103835.5325 | 784.7777 | 8296.7845 | 0 | 0 | 0 | 0 | 0 | 0
131 | RT | Pump Management | PGAE | Fresno | 2022-05-29 | -325 | No | INC | 1 | 44710.2708 | 44710.3125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
132 | RT | Ramping Capacity | PGAE | Fresno | 2022-05-27 | 0 | No | INC | 1 | 44708.7188 | 44708.7604 | 14.3229 | 0 | 0 | -1467.5313 | 0 | 0 | 0 | 0 | 0 | 0
133 | RT | Ramping Capacity | SCE | LA Basin | 2022-05-24 | 65 | No | INC | 1 | 44705.8125 | 44705.8542 | -47.765 | 0 | 0 | 7804.9945 | 0 | 0 | 0 | 0 | 0 | 0
134 | RT | Ramping Capacity | SCE | LA Basin | 2022-05-25 | 194 | No | DEC | 3 | 44706.75 | 44706.875 | -95.8486 | 0 | 0 | 12722.1349 | 0 | 0 | 0 | 0 | 0 | 0
135 | RT | Ramping Capacity | SCE | LA Basin | 2022-05-25 | 190 - 194 | No | INC | 6 | 44706.6667 | 44706.9167 | -161.2968 | 32786.25 | 0 | 20894.1803 | 2.3116 | -268.7957 | 0 | 0 | 0 | 0
136 | RT | Reliability Assessment | Intertie | NA | 2022-05-21 | 30 | No | DEC | 1 | 44702.3611 | 44702.3958 | -27.2558 | 0 | 0 | -7058.8155 | -26.7217 | 0 | -6934.2613 | 0 | 0 | 0
137 | RT | Reliability Assessment | PGAE | Bay Area | 2022-05-25 | 15 | No | INC | 1 | 44706.3403 | 44706.3472 | 1.75 | 0 | 0 | -56.0395 | 1.75 | -56.0395 | 0 | 0 | 0 | 0
138 | RT | Reliability Assessment | PGAE | Fresno | 2022-05-11 | 60 - 70 | No | DEC | 4 | 44692.8125 | 44692.9583 | -4.316 | 0 | 0 | -458.5266 | -10.36 | 0 | 0 | 0 | 0 | 0
139 | RT | Reliability Assessment | PGAE | Fresno | 2022-05-12 | 70 | No | DEC | 3 | 44693.8021 | 44693.9167 | -7.3446 | 0 | 0 | 4.5285 | -7.2929 | 0 | 0 | 0 | 0 | 0
140 | RT | Reliability Assessment | PGAE | Fresno | 2022-05-13 | 0 | No | DEC | 2 | 44694.6944 | 44694.75 | -19.4725 | 0 | 0 | -194.0714 | -10.1317 | 0 | -517.2281 | 0 | 0 | 0
141 | RT | Reliability Assessment | PGAE | Fresno | 2022-05-14 | 10 - 20 | No | DEC | 3 | 44695.7049 | 44695.7917 | -12.2684 | 0 | 0 | -2490.6982 | -8.2925 | 0 | -1243.5008 | 0 | 0 | 0
142 | RT | Reliability Assessment | PGAE | Fresno | 2022-05-14 | 10 | No | INC | 1 | 44695.75 | 44695.7917 | 0.58927 | 0 | 0 | -45.1398 | 0 | 0 | 0 | 0 | 0 | 0
143 | RT | Reliability Assessment | PGAE | Fresno | 2022-05-24 | 6 | No | DEC | 1 | 44705.4583 | 44705.5 | -3.4516 | 0 | 0 | -29.7139 | -2.3587 | 0 | -5.5268 | 0 | 0 | 0
144 | RT | Reliability Assessment | PGAE | Fresno | 2022-05-31 | 0 | No | INC | 8 | 44712.3958 | 44712.7083 | 102.6042 | 0 | 0 | -1445.623 | 0 | 0 | 0 | 0 | 0 | 0
145 | RT | Reliability Assessment | PGAE | Humboldt | 2022-05-21 | 32 | No | DEC | 4 | 44702.75 | 44702.9167 | -0.81194 | -16589.5776 | 0 | 95.2938 | 0 | 0 | 0 | 0 | 0 | 0
146 | RT | Reliability Assessment | PGAE | Humboldt | 2022-05-21 | 32 - 48 | No | INC | 12 | 44702.5069 | 44703 | -7.0508 | 35593.0242 | 0 | 330.3333 | 2.4349 | -66.0433 | 0 | 0 | -11.6334 | 0
147 | RT | Reliability Assessment | PGAE | Humboldt | 2022-05-22 | 14 | No | DEC | 5 | 44703.7083 | 44703.9062 | 8.2283 | -7352.9964 | 0 | -821.3814 | 1.955 | -205.4329 | 0 | 0 | 0 | 0
148 | RT | Reliability Assessment | PGAE | Humboldt | 2022-05-22 | 14 | No | INC | 17 | 44703 | 44703.7083 | 4.5042 | 19620.25 | 0 | 7.0544 | 0 | 0 | 0 | 0 | 0 | 0
149 | RT | Reliability Assessment | PGAE | Kern | 2022-05-06 | 32 | No | INC | 4 | 44687.8403 | 44688 | 1.1411 | 16976.0317 | 9709.4404 | -147.7761 | 0 | 0 | 0 | 0 | 0 | 0
150 | RT | Reliability Assessment | PGAE | Kern | 2022-05-07 | 20 - 32 | Yes | INC | 5 | 44688.7083 | 44688.9167 | -6.0479 | 48680.1 | 22717.1869 | 614.5177 | 0 | 0 | 0 | 0 | 0 | 0
151 | RT | Reliability Assessment | PGAE | Kern | 2022-05-13 | 20 - 32 | No | INC | 5 | 44694.75 | 44694.9583 | -20.8325 | 27062.7 | 6847.2952 | 1614.4542 | 0 | 0 | 0 | 0 | 0 | 0
152 | RT | Reliability Assessment | PGAE | Kern | 2022-05-14 | 20 - 49 | No | INC | 6 | 44695.75 | 44696 | 32.0317 | 32020.19 | 7252.46 | -2843.3931 | 1.6667 | -149.3833 | 0 | 0 | 0 | 0
153 | RT | Reliability Assessment | PGAE | Kern | 2022-05-16 | 32 | No | INC | 7 | 44697.7396 | 44698 | 25.7701 | 42809.0624 | 7573.34 | -2026.1842 | 0 | 0 | 0 | 0 | 0 | 0
154 | RT | Reliability Assessment | PGAE | Kern | 2022-05-17 | 32 - 47 | Yes | INC | 24 | 44698 | 44699 | 70.2182 | 110873.1851 | 19146.4435 | -15835.4648 | 0 | 0 | 0 | 0 | 0 | 0
155 | RT | Reliability Assessment | PGAE | Kern | 2022-05-18 | 20 - 32 | No | DEC | 4 | 44699.75 | 44699.9167 | 15.3977 | -9532.2708 | 2444.01 | -3883.1595 | 0 | 0 | 0 | 0 | 0 | 0
156 | RT | Reliability Assessment | PGAE | Kern | 2022-05-18 | 20 - 47 | No | INC | 24 | 44699 | 44700 | 100.0896 | 117933.9943 | 9933.54 | -11750.849 | 0 | 0 | 0 | 0 | 0 | 0
157 | RT | Reliability Assessment | PGAE | Kern | 2022-05-19 | 20 - 47 | No | INC | 24 | 44700 | 44701 | 107.136 | 142136.3513 | 16013.14 | -53938.6201 | 0.35 | -36.0639 | 0 | 0 | 0 | 0
158 | RT | Reliability Assessment | PGAE | Kern | 2022-05-20 | 32 - 47 | Yes | INC | 3 | 44701 | 44701.125 | 24.5758 | 38269.843 | 0 | -1915.5365 | 0 | 0 | 0 | 0 | 0 | 0
159 | RT | Reliability Assessment | PGAE | Kern | 2022-05-21 | 32 | No | INC | 1 | 44702.9167 | 44702.9583 | -0.027083 | 3575.13 | 0 | 19.255 | 0 | 0 | 0 | 0 | 0 | 0
160 | RT | Reliability Assessment | PGAE | Kern | 2022-05-22 | 20 - 32 | No | INC | 5 | 44703.7188 | 44703.9167 | -4.33 | 59679.105 | 15250.667 | 878.2554 | 0 | 0 | 0 | 0 | 0 | 0
161 | RT | Reliability Assessment | PGAE | Kern | 2022-05-23 | 32 - 47 | No | INC | 7 | 44704.7083 | 44705 | 117.5589 | 31985.27 | 5271.9404 | -9560.4057 | 0 | 0 | 0 | 0 | 0 | 0
162 | RT | Reliability Assessment | PGAE | Kern | 2022-05-24 | 47 | No | DEC | 4 | 44705.75 | 44705.9167 | 4.4997 | 0 | 0 | -399.9019 | 0 | 0 | 0 | 0 | 0 | 0
163 | RT | Reliability Assessment | PGAE | Kern | 2022-05-24 | 47 | No | INC | 24 | 44705 | 44706 | 50.1276 | 52660.425 | 10831.2167 | -3924.3264 | 0.025 | -2.4598 | 0 | 0 | 0 | 0
164 | RT | Reliability Assessment | PGAE | Kern | 2022-05-25 | 32 - 47 | Yes | DEC | 5 | 44706.75 | 44706.9583 | 9.9741 | 0 | 0 | -963.4663 | 0 | 0 | 0 | 0 | 0 | 0
165 | RT | Reliability Assessment | PGAE | Kern | 2022-05-25 | 32 - 47 | Yes | INC | 24 | 44706 | 44707 | 66.846 | 45209.9342 | 5258.8281 | -4281.0122 | 0.375 | -40.1686 | 0 | 0 | 0 | 0
166 | RT | Reliability Assessment | PGAE | Kern | 2022-05-26 | 32 - 47 | Yes | INC | 24 | 44707 | 44708 | 94.1447 | 209399.875 | 32490.5464 | -8731.3055 | 1.6255 | -210.274 | 0 | 0 | 0 | 0
167 | RT | Reliability Assessment | PGAE | Kern | 2022-05-27 | 45 - 47 | No | INC | 24 | 44708 | 44709 | 373.975 | 50896.81 | 5464.8416 | -32740.6846 | 0 | 0 | 0 | 0 | 0 | 0
168 | RT | Reliability Assessment | PGAE | Kern | 2022-05-28 | 32 | No | INC | 2 | 44709.9167 | 44710 | 82.0271 | 2045.645 | 0 | -6445.8751 | 0 | 0 | 0 | 0 | 0 | 0
169 | RT | Reliability Assessment | PGAE | Kern | 2022-05-31 | 47 | No | INC | 6 | 44712.75 | 44713 | 66.9434 | 13103.77 | 0 | -5199.807 | 0 | 0 | 0 | 0 | 0 | 0
170 | RT | Reliability Assessment | PGAE | NCNB | 2022-05-28 | 50 | No | DEC | 7 | 44709.4826 | 44709.7708 | -79.6092 | 0 | 0 | -1279.7591 | -82.3917 | 0 | -1235.875 | 0 | 0 | 0
171 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-01 | 14 | No | DEC | 6 | 44682.4792 | 44682.6979 | -1.8786 | 0 | 0 | -299.927 | -2.654 | 0 | -398.5929 | 0 | 0 | 0
172 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-01 | 50 - 55 | No | INC | 6 | 44682.4653 | 44682.7083 | 85.0868 | 0 | 0 | 9562.2962 | 0 | 0 | 0 | 0 | 0 | 0
173 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-17 | 45 | No | DEC | 3 | 44698.7917 | 44698.9167 | -0.23146 | 0 | 0 | 16.6682 | 0 | 0 | 0 | 0 | 0 | 0
174 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-17 | 45 | No | INC | 5 | 44698.7569 | 44698.9583 | -6.6693 | 0 | 0 | -24.0589 | 0 | 0 | 0 | 0 | 0 | 0
175 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-18 | 42 - 50 | No | DEC | 17 | 44699.3125 | 44700 | -119.2171 | 0 | 0 | -16946.9206 | -35 | 0 | 35 | 0 | 0 | 0
176 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-18 | 42 - 50 | No | INC | 4 | 44699.375 | 44699.5417 | -7.7225 | 0 | 0 | -1122.3505 | 0 | 0 | 0 | 0 | 0 | 0
177 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-19 | 47 | No | INC | 2 | 44700 | 44700.0521 | 1.3709 | 0 | 0 | -106.2987 | 0 | 0 | 0 | 0 | 0 | 0
178 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-24 | 0 - 90 | No | DEC | 3 | 44705.6493 | 44705.7604 | 19.5716 | -7359.6913 | 0 | -6355.9546 | -26.483 | 0 | -869.5818 | 0 | 0 | 0
179 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-24 | 10 - 36 | No | INC | 3 | 44705.6562 | 44705.7604 | 15.0341 | 0 | 0 | -3565.7251 | 8.0083 | -2579.5908 | 0 | 0 | 0 | 0
180 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-26 | 25 - 55 | No | DEC | 6 | 44707.6042 | 44707.8333 | -7.6943 | 0 | 0 | -2672.8457 | -13.8646 | 0 | -2079.6875 | 0 | 0 | 0
181 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-26 | 15 - 25 | No | INC | 4 | 44707.6007 | 44707.75 | -6.1919 | 0 | 0 | -735.2113 | -12.1325 | 0 | 0.040975 | 0 | 0 | 0
182 | RT | Reliability Assessment | PGAE | Stockton | 2022-05-27 | 40 | No | DEC | 2 | 44708.5035 | 44708.5833 | -6.3698 | 0 | 0 | 30.3631 | -2 | 0 | -0.014097 | 0 | 0 | 0
183 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2022-05-06 | 55 | No | DEC | 2 | 44687.4583 | 44687.5104 | -2.2042 | 0 | 0 | -151.4213 | -5.4025 | 0 | -1483.969 | 0 | 0 | 0
184 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2022-05-20 | 55 - 60 | No | DEC | 5 | 44701.4618 | 44701.6667 | -7.4601 | 0 | 0 | -2830.3934 | -6.9467 | 0 | -2791.2992 | 0 | 0 | 0
185 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2022-05-20 | 55 | No | INC | 3 | 44701.6667 | 44701.7917 | 7.3632 | 0 | 0 | 1003.019 | 0 | 0 | 0 | 0 | 0 | 0
186 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-05-21 | 40 | No | DEC | 2 | 44702.3646 | 44702.4375 | -18.6998 | 0 | 0 | -3855.4856 | -43.4417 | 0 | -390.975 | 0 | 0 | 0
187 | RT | Reliability Assessment | SDGE | San Diego-IV | 2022-05-21 | 50 | No | INC | 9 | 44702.4444 | 44702.7917 | 38.5314 | 110354.425 | 193.16 | -3540.5939 | 0 | 0 | 0 | 0 | 0 | 0
188 | RT | Software Limitation | PGAE | Fresno | 2022-05-15 | 0 | No | INC | 1 | 44696.4444 | 44696.4826 | 0 | 56.3109 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
189 | RT | Software Limitation | PGAE | NA | 2022-05-11 | 0 - 250 | No | DEC | 2 | 44692.6111 | 44692.6875 | -3.1446 | 0 | 0 | -77.4775 | -1.025 | 0 | -17.1005 | 0 | 0 | 0
190 | RT | Software Limitation | SCE | LA Basin | 2022-05-13 | 0 | No | INC | 5 | 44694.2049 | 44694.375 | -11.4583 | 0 | 0 | 0 | -11.4583 | 0 | 0 | 0 | 0 | 0
191 | RT | Software Limitation | SCE | LA Basin | 2022-05-15 | 5 | No | INC | 1 | 44696.4444 | 44696.4826 | 1.1625 | 198.8325 | 0 | -38.34 | 0 | 0 | 0 | 0 | 0 | 0
192 | RT | Software Limitation | SCE | NA | 2022-05-11 | 0 | No | DEC | 2 | 44692.6076 | 44692.6701 | -44.2277 | 0 | 0 | 130.999 | -18.8793 | 0 | -138.292 | 0 | 0 | 0
193 | RT | Software Limitation | SCE | NA | 2022-05-22 | 0 | No | DEC | 1 | 44703.2743 | 44703.2882 | -6.9427 | 0 | 0 | -69.8325 | -7.9561 | 0 | 3.0233 | 0 | 0 | 0
194 | RT | Software Limitation | SCE | NA | 2022-05-22 | 0 | No | INC | 1 | 44703.2743 | 44703.2882 | 6.7865 | 0 | 0 | -271.0153 | 0 | 0 | 0 | 0 | 0 | 0
195 | RT | Software Limitation | SDGE | San Diego-IV | 2022-05-22 | 0 | No | INC | 1 | 44703.5521 | 44703.5625 | 0.35907 | 0 | 0 | 0.047085 | 0 | 0 | 0 | 0 | 0 | 0
196 | RT | Software Limitation | SDGE | NA | 2022-05-11 | 0 | No | DEC | 1 | 44692.6285 | 44692.6701 | -12.3178 | 0 | 0 | -105.3834 | -17.2162 | 0 | -80.6672 | 0 | 0 | 0
197 | RT | Unit Testing | PGAE | Bay Area | 2022-05-02 | 150 - 200 | No | INC | 5 | 44683.3924 | 44683.5833 | 128.8542 | 43288.96 | 6453.1556 | -5266.4229 | 37.7083 | -2664.4708 | 0 | 0 | 0 | 0
198 | RT | Unit Testing | PGAE | Bay Area | 2022-05-21 | 157.27 | No | INC | 1 | 44702.8924 | 44702.9201 | 30.9119 | 0 | 0 | -2488.5007 | 26.9271 | -2199.6377 | 0 | 0 | 0 | 0
199 | RT | Unit Testing | PGAE | Fresno | 2022-05-18 | 279 | No | INC | 2 | 44699.8299 | 44699.8958 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
200 | RT | Unit Testing | PGAE | NA | 2022-05-13 | 495 - 496 | No | DEC | 1 | 44694.8056 | 44694.8333 | -22.3785 | 0 | 0 | 1825.1148 | -19.2111 | 0 | 1562.245 | 0 | 0 | 0
201 | RT | Unit Testing | SCE | Big Creek-Ventura | 2022-05-13 | 11 | No | INC | 1 | 44694.7986 | 44694.8333 | 6.2583 | 0 | 0 | -561.4616 | 0 | 0 | 0 | 0 | 0 | 0
202 | RT | Unit Testing | SCE | LA Basin | 2022-05-04 | 30 | No | INC | 3 | 44685.6667 | 44685.7708 | -20.7928 | 0 | 0 | 1231.1047 | 0.067585 | -13.5265 | 0 | 0 | 0 | 0
203 | RT | Unit Testing | SCE | LA Basin | 2022-05-13 | 10.82 | No | DEC | 1 | 44694.75 | 44694.7535 | 0.52938 | 0 | 0 | -41.3384 | 0 | 0 | 0 | 0 | 0 | 0
204 | RT | Unit Testing | SCE | LA Basin | 2022-05-13 | 10.82 | No | INC | 1 | 44694.7257 | 44694.75 | 5.4612 | 0 | 0 | -420.1691 | 5.2973 | -397.1006 | 0 | 0 | 0 | 0
205 | RT | Unit Testing | SCE | LA Basin | 2022-05-18 | -29.67 | No | INC | 1 | 44699.3646 | 44699.3958 | 16.5439 | 0 | 0 | -1225.2427 | 16.1492 | -1198.096 | 0 | 0 | 0 | 0
206 | RT | Unit Testing | SCE | LA Basin | 2022-05-19 | 20 | No | INC | 1 | 44700.3472 | 44700.375 | 23.8466 | 0 | 0 | -922.6528 | 23.2389 | -907.6051 | 0 | 0 | 0 | 0
207 | RT | Unit Testing | SDGE | San Diego-IV | 2022-05-04 | 588.21 | No | INC | 1 | 44685.5833 | 44685.625 | 14.4232 | -24419.31 | 0 | -1753.8873 | 24.0398 | -2219.8343 | 0 | 0 | 0 | 0
208 | RT | Voltage Support | PGAE | Sierra | 2022-05-10 | 20 | No | INC | 24 | 44691.0035 | 44692 | -79.2573 | 52504.79 | 664.7948 | 4476.3324 | 0 | 0 | 0 | 0 | 0 | 0
209 | RT | Voltage Support | PGAE | Sierra | 2022-05-11 | 20 | Yes | INC | 24 | 44692 | 44693 | -18.5669 | 56237.0267 | 624.9214 | 1001.1152 | 0 | 0 | 0 | 0 | 0 | 0
210 | RT | Voltage Support | PGAE | Sierra | 2022-05-12 | 20 | Yes | INC | 18 | 44693 | 44693.75 | 2.8325 | 66641.36 | 0 | -237.6805 | 0 | 0 | 0 | 0 | 0 | 0

## Price_Impact_A
Table 8: Price Impact Analysis Information for Pricing Node A in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2022-05-15 | 21 | 3 | 103.3322 | Yes | 69.02 | -34.3122
2 | 2022-05-15 | 21 | 4 | 104.2135 | Yes | 69.02 | -35.1935
3 | 2022-05-15 | 21 | 5 | 99.5212 | Yes | 69.02 | -30.5012
4 | 2022-05-15 | 21 | 6 | 110.6686 | Yes | 69.02 | -41.6486
5 | 2022-05-15 | 21 | 7 | 90.7358 | Yes | 69.02 | -21.7158
6 | 2022-05-15 | 21 | 8 | 91.0058 | Yes | 69.02 | -21.9858
7 | 2022-05-15 | 21 | 9 | 91.2198 | Yes | 69.02 | -22.1998
8 | 2022-05-15 | 21 | 10 | 89.3237 | Yes | 69.02 | -20.3037
9 | 2022-05-15 | 21 | 11 | 88.708 | Yes | 69.02 | -19.688
10 | 2022-05-15 | 21 | 12 | 87.7419 | Yes | 69.02 | -18.7219
11 | 2022-05-15 | 22 | 1 | 93.0232 | Yes | 69.87 | -23.1532
12 | 2022-05-15 | 22 | 2 | 84.0414 | Yes | 69.87 | -14.1714
13 | 2022-05-15 | 22 | 3 | 82.8157 | Yes | 69.87 | -12.9457
14 | 2022-05-15 | 22 | 4 | 99.9194 | Yes | 69.87 | -30.0494
15 | 2022-05-15 | 22 | 5 | 85.4611 | Yes | 69.87 | -15.5911
16 | 2022-05-15 | 22 | 6 | 84.3556 | Yes | 69.87 | -14.4856
17 | 2022-05-15 | 22 | 7 | 85.6954 | Yes | 69.87 | -15.8254
18 | 2022-05-15 | 22 | 8 | 84.8348 | Yes | 69.87 | -14.9648
19 | 2022-05-15 | 22 | 9 | 85.5078 | Yes | 69.87 | -15.6378
20 | 2022-05-15 | 22 | 10 | 83.8091 | Yes | 69.87 | -13.9391
21 | 2022-05-15 | 22 | 11 | 77.7181 | Yes | 69.87 | -7.8481
22 | 2022-05-15 | 22 | 12 | 70.0949 | Yes | 69.87 | -0.22487
23 | 2022-05-15 | 23 | 1 | 74.1927 | Yes | 70.42 | -3.7727
24 | 2022-05-15 | 23 | 2 | 78.2146 | Yes | 70.42 | -7.7946
25 | 2022-05-15 | 23 | 3 | 78.6183 | Yes | 70.42 | -8.1983
26 | 2022-05-15 | 23 | 4 | 78.5989 | Yes | 70.42 | -8.1789
27 | 2022-05-15 | 23 | 5 | 76.2432 | Yes | 70.42 | -5.8232
28 | 2022-05-15 | 23 | 6 | 77.2664 | Yes | 70.42 | -6.8464
29 | 2022-05-15 | 23 | 7 | 70.2246 | Yes | 70.42 | 0.19536
30 | 2022-05-15 | 23 | 8 | 69.4805 | Yes | 70.42 | 0.93952
31 | 2022-05-15 | 23 | 9 | 65.8815 | Yes | 70.42 | 4.5385
32 | 2022-05-15 | 23 | 10 | 64.4355 | Yes | 70.42 | 5.9845
33 | 2022-05-15 | 23 | 11 | 63.1065 | Yes | 70.42 | 7.3135
34 | 2022-05-15 | 23 | 12 | 61.2281 | Yes | 70.42 | 9.1919
35 | 2022-05-15 | 24 | 1 | 76.4253 | Yes | 70.42 | -6.0053
36 | 2022-05-15 | 24 | 2 | 76.4382 | Yes | 70.42 | -6.0182
37 | 2022-05-15 | 24 | 3 | 69.8927 | Yes | 70.42 | 0.52735
38 | 2022-05-15 | 24 | 4 | 69.8271 | Yes | 70.42 | 0.59289
39 | 2022-05-15 | 24 | 5 | 66.4159 | Yes | 70.42 | 4.0041
40 | 2022-05-15 | 24 | 6 | 62.5635 | Yes | 70.42 | 7.8565
41 | 2022-05-15 | 24 | 7 | 61.4935 | Yes | 70.42 | 8.9266
42 | 2022-05-15 | 24 | 8 | 59.697 | Yes | 70.42 | 10.723
43 | 2022-05-15 | 24 | 9 | 59.697 | Yes | 70.42 | 10.723
44 | 2022-05-15 | 24 | 10 | 57.6301 | Yes | 70.42 | 12.7899
45 | 2022-05-15 | 24 | 11 | 57.1632 | Yes | 70.42 | 13.2568
46 | 2022-05-15 | 24 | 12 | 52.8269 | Yes | 70.42 | 17.5931
47 | 2022-05-16 | 1 | 1 | 66.7095 | Yes | 67.43 | 0.72047
48 | 2022-05-16 | 1 | 2 | 63.6304 | Yes | 67.43 | 3.7996
49 | 2022-05-16 | 1 | 3 | 63.629 | Yes | 67.43 | 3.8009
50 | 2022-05-16 | 1 | 4 | 57.9724 | Yes | 67.43 | 9.4576
51 | 2022-05-16 | 1 | 5 | 61.5857 | Yes | 67.43 | 5.8443
52 | 2022-05-16 | 1 | 6 | 61.1206 | Yes | 67.43 | 6.3094
53 | 2022-05-16 | 1 | 7 | 60.7056 | Yes | 67.43 | 6.7244
54 | 2022-05-16 | 1 | 8 | 59.8635 | Yes | 67.43 | 7.5665
55 | 2022-05-16 | 1 | 9 | 59.1174 | Yes | 67.43 | 8.3126
56 | 2022-05-16 | 1 | 10 | 61.2923 | Yes | 67.43 | 6.1377
57 | 2022-05-16 | 1 | 11 | 59.9154 | Yes | 67.43 | 7.5146
58 | 2022-05-16 | 1 | 12 | 55.9857 | Yes | 67.43 | 11.4443
59 | 2022-05-16 | 2 | 1 | 61.3233 | Yes | 67.43 | 6.1067
60 | 2022-05-16 | 2 | 2 | 60.9208 | Yes | 67.43 | 6.5092
61 | 2022-05-16 | 2 | 3 | 62.5622 | Yes | 67.43 | 4.8678
62 | 2022-05-16 | 2 | 4 | 62.3962 | Yes | 67.43 | 5.0338
63 | 2022-05-16 | 2 | 5 | 61.4258 | Yes | 67.43 | 6.0042
64 | 2022-05-16 | 2 | 6 | 59.4288 | Yes | 67.43 | 8.0012
65 | 2022-05-16 | 2 | 7 | 57.709 | Yes | 67.43 | 9.721
66 | 2022-05-16 | 2 | 8 | 58.2877 | Yes | 67.43 | 9.1423
67 | 2022-05-16 | 2 | 9 | 58.5733 | Yes | 67.43 | 8.8567
68 | 2022-05-16 | 2 | 10 | 55.2493 | Yes | 67.43 | 12.1806
69 | 2022-05-16 | 2 | 11 | 54.7241 | Yes | 67.43 | 12.7059
70 | 2022-05-16 | 2 | 12 | 52.3529 | Yes | 67.43 | 15.0771
71 | 2022-05-16 | 3 | 1 | 54.1954 | Yes | 67.43 | 13.2346
72 | 2022-05-16 | 3 | 2 | 54.2221 | Yes | 67.43 | 13.2079
73 | 2022-05-16 | 3 | 3 | 54.563 | Yes | 67.43 | 12.867
74 | 2022-05-16 | 3 | 4 | 49.7779 | Yes | 67.43 | 17.6521
75 | 2022-05-16 | 3 | 5 | 55.017 | Yes | 67.43 | 12.413
76 | 2022-05-16 | 3 | 6 | 54.8235 | Yes | 67.43 | 12.6065
77 | 2022-05-16 | 19 | 10 | 89.7549 | Yes | 67.4 | -22.3549
78 | 2022-05-16 | 19 | 11 | 100.694 | Yes | 67.4 | -33.294
79 | 2022-05-16 | 19 | 12 | 105.1197 | Yes | 67.4 | -37.7197
80 | 2022-05-16 | 20 | 1 | 97.8965 | Yes | 67.69 | -30.2065
81 | 2022-05-16 | 20 | 2 | 99.342 | Yes | 67.69 | -31.652
82 | 2022-05-16 | 20 | 3 | 126.7734 | Yes | 67.69 | -59.0834
83 | 2022-05-16 | 20 | 4 | 136.1677 | Yes | 67.69 | -68.4777
84 | 2022-05-16 | 20 | 5 | 124.3503 | Yes | 67.69 | -56.6602
85 | 2022-05-16 | 20 | 6 | 108.233 | Yes | 67.69 | -40.543
86 | 2022-05-16 | 20 | 7 | 102.8418 | Yes | 67.69 | -35.1518
87 | 2022-05-16 | 20 | 8 | 104.6572 | Yes | 67.69 | -36.9671
88 | 2022-05-16 | 20 | 9 | 108.0955 | Yes | 67.69 | -40.4055
89 | 2022-05-16 | 20 | 10 | 112.6423 | Yes | 67.69 | -44.9523
90 | 2022-05-16 | 20 | 11 | 113.7601 | Yes | 67.69 | -46.0701
91 | 2022-05-16 | 20 | 12 | 100.4248 | Yes | 67.69 | -32.7348
92 | 2022-05-16 | 21 | 1 | 108.5584 | Yes | 67.43 | -41.1284
93 | 2022-05-16 | 21 | 2 | 104.9601 | Yes | 67.43 | -37.5301
94 | 2022-05-16 | 21 | 3 | 98.9746 | Yes | 67.43 | -31.5447
95 | 2022-05-16 | 21 | 4 | 100.9269 | Yes | 67.43 | -33.4969
96 | 2022-05-16 | 21 | 5 | 97.7155 | Yes | 67.43 | -30.2855
97 | 2022-05-16 | 21 | 6 | 102.5833 | Yes | 67.43 | -35.1534
98 | 2022-05-16 | 21 | 7 | 100.3079 | Yes | 67.43 | -32.8779
99 | 2022-05-16 | 21 | 8 | 97.4191 | Yes | 67.43 | -29.9891
100 | 2022-05-16 | 21 | 9 | 98.0465 | Yes | 67.43 | -30.6165
101 | 2022-05-16 | 21 | 10 | 96.9778 | Yes | 67.43 | -29.5478
102 | 2022-05-16 | 21 | 11 | 99.7338 | Yes | 67.43 | -32.3038
103 | 2022-05-16 | 21 | 12 | 97.4411 | Yes | 67.43 | -30.0111
104 | 2022-05-16 | 22 | 1 | 90.7049 | Yes | 67.43 | -23.275
105 | 2022-05-16 | 22 | 2 | 84.8007 | Yes | 67.43 | -17.3707
106 | 2022-05-16 | 22 | 3 | 83.1371 | Yes | 67.43 | -15.7071
107 | 2022-05-16 | 22 | 4 | 90.0728 | Yes | 67.43 | -22.6428
108 | 2022-05-16 | 22 | 5 | 85.9732 | Yes | 67.43 | -18.5432
109 | 2022-05-16 | 22 | 6 | 85.8575 | Yes | 67.43 | -18.4275
110 | 2022-05-16 | 22 | 7 | 85.4959 | Yes | 67.43 | -18.0659
111 | 2022-05-16 | 22 | 8 | 82.933 | Yes | 67.43 | -15.503
112 | 2022-05-16 | 22 | 9 | 82.7993 | Yes | 67.43 | -15.3693
113 | 2022-05-16 | 22 | 10 | 77.5294 | Yes | 67.43 | -10.0994
114 | 2022-05-16 | 22 | 11 | 76.8188 | Yes | 67.43 | -9.3888
115 | 2022-05-16 | 22 | 12 | 73.6523 | Yes | 67.43 | -6.2223
116 | 2022-05-16 | 23 | 1 | 77.9862 | Yes | 67.43 | -10.5562
117 | 2022-05-16 | 23 | 2 | 78.8879 | Yes | 67.43 | -11.4579
118 | 2022-05-16 | 23 | 3 | 78.8879 | Yes | 67.43 | -11.4579
119 | 2022-05-16 | 23 | 4 | 74.8546 | Yes | 67.43 | -7.4246
120 | 2022-05-16 | 23 | 5 | 71.7389 | Yes | 67.43 | -4.3089
121 | 2022-05-16 | 23 | 6 | 69.3596 | Yes | 67.43 | -1.9296
122 | 2022-05-16 | 23 | 7 | 66.4731 | Yes | 67.43 | 0.95688
123 | 2022-05-16 | 23 | 8 | 65.4343 | Yes | 67.43 | 1.9957
124 | 2022-05-16 | 23 | 9 | 64.1264 | Yes | 67.43 | 3.3036
125 | 2022-05-16 | 23 | 10 | 62.5956 | Yes | 67.43 | 4.8344
126 | 2022-05-16 | 23 | 11 | 61.5376 | Yes | 67.43 | 5.8924
127 | 2022-05-16 | 23 | 12 | 60.9824 | Yes | 67.43 | 6.4476
128 | 2022-05-16 | 24 | 1 | 65.353 | Yes | 67.43 | 2.077
129 | 2022-05-16 | 24 | 2 | 64.2581 | Yes | 67.43 | 3.1719
130 | 2022-05-16 | 24 | 3 | 63.2118 | Yes | 67.43 | 4.2182
131 | 2022-05-16 | 24 | 4 | 62.3242 | Yes | 67.43 | 5.1058
132 | 2022-05-16 | 24 | 5 | 62.3242 | Yes | 67.43 | 5.1058
133 | 2022-05-16 | 24 | 6 | 61.4963 | Yes | 67.43 | 5.9337
134 | 2022-05-17 | 19 | 10 | 117.8723 | Yes | 68.87 | -49.0023
135 | 2022-05-17 | 19 | 11 | 117.8723 | Yes | 68.87 | -49.0023
136 | 2022-05-17 | 19 | 12 | 117.8723 | Yes | 68.87 | -49.0023
137 | 2022-05-17 | 20 | 1 | 97.7618 | Yes | 70.01 | -27.7518
138 | 2022-05-17 | 20 | 2 | 97.7618 | Yes | 70.01 | -27.7518
139 | 2022-05-17 | 20 | 3 | 97.7618 | Yes | 70.01 | -27.7518
140 | 2022-05-17 | 20 | 4 | 107.9153 | Yes | 70.01 | -37.9053
141 | 2022-05-17 | 20 | 5 | 107.9153 | Yes | 70.01 | -37.9053
142 | 2022-05-17 | 20 | 6 | 107.9153 | Yes | 70.01 | -37.9053
143 | 2022-05-17 | 20 | 7 | 191.4155 | Yes | 70.01 | -121.4055
144 | 2022-05-17 | 20 | 8 | 191.4155 | Yes | 70.01 | -121.4055
145 | 2022-05-17 | 20 | 9 | 191.4155 | Yes | 70.01 | -121.4055
146 | 2022-05-17 | 20 | 10 | 191.6667 | Yes | 70.01 | -121.6567
147 | 2022-05-17 | 20 | 11 | 191.6667 | Yes | 70.01 | -121.6567
148 | 2022-05-17 | 20 | 12 | 191.6667 | Yes | 70.01 | -121.6567
149 | 2022-05-17 | 21 | 1 | 181.1985 | Yes | 70.77 | -110.4285
150 | 2022-05-17 | 21 | 2 | 181.1985 | Yes | 70.77 | -110.4285
151 | 2022-05-17 | 21 | 3 | 181.1985 | Yes | 70.77 | -110.4285
152 | 2022-05-17 | 21 | 4 | 136.673 | Yes | 70.77 | -65.903
153 | 2022-05-17 | 21 | 5 | 136.673 | Yes | 70.77 | -65.903
154 | 2022-05-17 | 21 | 6 | 136.673 | Yes | 70.77 | -65.903
155 | 2022-05-17 | 21 | 7 | 169.1116 | Yes | 70.77 | -98.3416
156 | 2022-05-17 | 21 | 8 | 169.1116 | Yes | 70.77 | -98.3416
157 | 2022-05-17 | 21 | 9 | 169.1116 | Yes | 70.77 | -98.3416
158 | 2022-05-17 | 21 | 10 | 118.6177 | Yes | 70.77 | -47.8477
159 | 2022-05-17 | 21 | 11 | 118.6177 | Yes | 70.77 | -47.8477
160 | 2022-05-17 | 21 | 12 | 118.6177 | Yes | 70.77 | -47.8477
161 | 2022-05-17 | 22 | 1 | 118.9715 | Yes | 72.15 | -46.8215
162 | 2022-05-17 | 22 | 2 | 118.9715 | Yes | 72.15 | -46.8215
163 | 2022-05-17 | 22 | 3 | 118.9715 | Yes | 72.15 | -46.8215
164 | 2022-05-17 | 22 | 4 | 111.4537 | Yes | 72.15 | -39.3037
165 | 2022-05-17 | 22 | 5 | 111.4537 | Yes | 72.15 | -39.3037
166 | 2022-05-17 | 22 | 6 | 111.4537 | Yes | 72.15 | -39.3037
167 | 2022-05-17 | 22 | 7 | 101.2196 | Yes | 72.15 | -29.0696
168 | 2022-05-17 | 22 | 8 | 101.2196 | Yes | 72.15 | -29.0696
169 | 2022-05-17 | 22 | 9 | 101.2196 | Yes | 72.15 | -29.0696
170 | 2022-05-17 | 22 | 10 | 83.1136 | Yes | 72.15 | -10.9636
171 | 2022-05-17 | 22 | 11 | 83.1136 | Yes | 72.15 | -10.9636
172 | 2022-05-17 | 22 | 12 | 83.1136 | Yes | 72.15 | -10.9636
173 | 2022-05-17 | 23 | 1 | 123.6823 | Yes | 72.53 | -51.1523
174 | 2022-05-17 | 23 | 2 | 123.6823 | Yes | 72.53 | -51.1523
175 | 2022-05-17 | 23 | 3 | 123.6823 | Yes | 72.53 | -51.1523
176 | 2022-05-17 | 23 | 4 | 106.1958 | Yes | 72.53 | -33.6658
177 | 2022-05-17 | 23 | 5 | 106.1958 | Yes | 72.53 | -33.6658
178 | 2022-05-17 | 23 | 6 | 106.1958 | Yes | 72.53 | -33.6658
179 | 2022-05-17 | 23 | 7 | 85.1911 | Yes | 72.53 | -12.6611
180 | 2022-05-17 | 23 | 8 | 85.1911 | Yes | 72.53 | -12.6611
181 | 2022-05-17 | 23 | 9 | 85.1911 | Yes | 72.53 | -12.6611
182 | 2022-05-17 | 23 | 10 | 78.1523 | Yes | 72.53 | -5.6223
183 | 2022-05-17 | 23 | 11 | 78.1523 | Yes | 72.53 | -5.6223
184 | 2022-05-17 | 23 | 12 | 78.1523 | Yes | 72.53 | -5.6223
185 | 2022-05-17 | 24 | 1 | 82.2273 | Yes | 72.53 | -9.6973
186 | 2022-05-17 | 24 | 2 | 82.2273 | Yes | 72.53 | -9.6973
187 | 2022-05-17 | 24 | 3 | 82.2273 | Yes | 72.53 | -9.6973
188 | 2022-05-17 | 24 | 4 | 86.3077 | Yes | 72.53 | -13.7777
189 | 2022-05-17 | 24 | 5 | 86.3077 | Yes | 72.53 | -13.7777
190 | 2022-05-17 | 24 | 6 | 86.3077 | Yes | 72.53 | -13.7777
191 | 2022-05-17 | 24 | 7 | 83.3557 | Yes | 72.53 | -10.8257
192 | 2022-05-17 | 24 | 8 | 83.3557 | Yes | 72.53 | -10.8257
193 | 2022-05-17 | 24 | 9 | 83.3557 | Yes | 72.53 | -10.8257
194 | 2022-05-17 | 24 | 10 | 72.7174 | Yes | 72.53 | -0.18738
195 | 2022-05-17 | 24 | 11 | 72.7174 | Yes | 72.53 | -0.18738
196 | 2022-05-17 | 24 | 12 | 72.7174 | Yes | 72.53 | -0.18738
197 | 2022-05-18 | 1 | 1 | 79.7882 | Yes | 74.93 | -4.8582
198 | 2022-05-18 | 1 | 2 | 79.7882 | Yes | 74.93 | -4.8582
199 | 2022-05-18 | 1 | 3 | 79.7882 | Yes | 74.93 | -4.8582

## Price_Impact_B
Table 9: Price Impact Analysis Information for Pricing Node B in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2022-05-02 | 19 | 9 | 69.4617 | Yes | 107.82 | 38.3583
2 | 2022-05-02 | 19 | 10 | 71.7036 | Yes | 107.82 | 36.1164
3 | 2022-05-02 | 19 | 11 | 75.6456 | Yes | 107.82 | 32.1744
4 | 2022-05-02 | 19 | 12 | 85.1342 | Yes | 107.82 | 22.6857
5 | 2022-05-02 | 20 | 1 | 85.1342 | Yes | 107.82 | 22.6857
6 | 2022-05-02 | 20 | 2 | 85.1342 | Yes | 107.82 | 22.6857
7 | 2022-05-02 | 20 | 3 | 71.9696 | Yes | 107.82 | 35.8504
8 | 2022-05-02 | 20 | 4 | 62.1875 | Yes | 107.82 | 45.6325
9 | 2022-05-02 | 20 | 5 | 67.0169 | Yes | 107.82 | 40.8031
10 | 2022-05-02 | 20 | 6 | 68.6921 | Yes | 107.82 | 39.1279
11 | 2022-05-02 | 20 | 7 | 70.0276 | Yes | 107.82 | 37.7924
12 | 2022-05-02 | 20 | 8 | 68.6155 | Yes | 107.82 | 39.2045
13 | 2022-05-02 | 20 | 9 | 70.5841 | Yes | 107.82 | 37.2359
14 | 2022-05-02 | 20 | 10 | 74.4178 | Yes | 107.82 | 33.4022
15 | 2022-05-02 | 20 | 11 | 75.9726 | Yes | 107.82 | 31.8474
16 | 2022-05-02 | 20 | 12 | 79.8883 | Yes | 107.82 | 27.9317

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
NONTMOD | 7 | 10781.8205 | 143.092 | 10638.7285
TMODEL5 | 3 | 211.387 | 15.4527 | 195.9343
TMODEL7 | 6 | 49855.8668 | 34534.8329 | 15321.0339
| 16 | 60849.0743 | 34693.3776 | 26155.6967