## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for October 2021
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Bridging Schedules | PGAE | NA | 2021-10-01 | 50 | No | INC | 3 | 44470.6215 | 44470.7083 | -53.0821 | 12305.3067 | 1609.5644 | 2934.2242 | 0 | 0 | 0 | 0 | 0 | 0
2 | RT | Fast Start Unit Management | PGAE | Bay Area | 2021-10-10 | 0 | No | INC | 2 | 44479.75 | 44479.7951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | RT | Fast Start Unit Management | PGAE | Fresno | 2021-10-01 | 0 | No | INC | 17 | 44470.3264 | 44471 | -11.6667 | 3500.3792 | 0 | 0 | -11.6667 | 0 | 0 | 0 | 0 | 0
4 | RT | Fast Start Unit Management | PGAE | Fresno | 2021-10-02 | 0 | No | INC | 8 | 44471 | 44471.3333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | RT | Fast Start Unit Management | SCE | LA Basin | 2021-10-01 | 0 | No | INC | 17 | 44470.3264 | 44471 | -0.83333 | 44.185 | 0 | 0 | -0.83333 | 0 | 0 | 0 | 0 | 0
6 | RT | Fast Start Unit Management | SCE | LA Basin | 2021-10-02 | 0 | No | INC | 8 | 44471 | 44471.3333 | 0.83333 | 0 | 0 | -44.8394 | 0 | 0 | 0 | 0 | 0 | 0
7 | RT | Fast Start Unit Management | SCE | LA Basin | 2021-10-21 | 0 | No | INC | 2 | 44490.4757 | 44490.5208 | -11.385 | 0 | 0 | 0 | -11.385 | 0 | 0 | 0 | 0 | 0
8 | RT | Fast Start Unit Management | SDGE | San Diego-IV | 2021-10-10 | 0 | No | INC | 1 | 44479.75 | 44479.7917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-10-03 | 15 | No | DEC | 10 | 44472.5833 | 44473 | 2.3002 | -9021.1131 | 0 | -85.4479 | 0 | 0 | 0 | 0 | 0 | 0
10 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-10-03 | 15 | No | INC | 7 | 44472.2917 | 44472.5833 | 10.5826 | 7419.555 | 0 | -727.7207 | 0 | 0 | 0 | 0 | 0 | 0
11 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-10-04 | 15 | No | DEC | 3 | 44473 | 44473.0938 | -0.72521 | 0 | 0 | 53.1374 | 0 | 0 | 0 | 0 | 0 | 0
12 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-10-07 | 15 | No | DEC | 3 | 44476.1042 | 44476.2083 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2021-10-25 | 35 | No | DEC | 10 | 44494.4097 | 44494.7917 | -1.5998 | 0 | 0 | 62.2003 | 0 | 0 | 0 | 0 | -361.7245 | 0
14 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2021-10-25 | 35 | No | INC | 7 | 44494.4167 | 44494.7083 | -4.3525 | 0 | 0 | 244.4729 | -0.9025 | 0 | 69.4757 | 0 | -9.4525 | 0
15 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2021-10-28 | 440 - 475 | No | INC | 2 | 44497.9236 | 44497.9896 | -6.1957 | 3493.7444 | 0 | 350.724 | 0 | 0 | 0 | 0 | 0 | 0
16 | RT | Market Disruption | PGAE | Bay Area | 2021-10-01 | 375 | No | INC | 1 | 44470 | 44470.0035 | -14.0833 | 0 | 0 | 793.0325 | -14.0833 | 0 | 793.0325 | 0 | 0 | 0
17 | RT | Market Disruption | SCE | LA Basin | 2021-10-01 | 290 | No | DEC | 1 | 44470 | 44470.0035 | -6.8534 | 0 | 0 | 253.927 | -21.6667 | 0 | 1113.5867 | 0 | 0 | 0
18 | RT | Market Disruption | SDGE | San Diego-IV | 2021-10-01 | 295 | No | DEC | 1 | 44470 | 44470.0035 | -16.4896 | 0 | 0 | 748.413 | -16.5833 | 0 | 753.7125 | 0 | 0 | 0
19 | RT | Planned Transmission Outage | PGAE | Bay Area | 2021-10-02 | 140 | No | INC | 13 | 44471.0833 | 44471.625 | -140.8588 | 180655.06 | 0 | 4890.0951 | 0 | 0 | 0 | 0 | 0 | 0
20 | RT | Planned Transmission Outage | PGAE | Bay Area | 2021-10-12 | 300 | No | DEC | 4 | 44481.8056 | 44481.9583 | -131.4342 | -20908.9524 | 0 | 11071.2803 | -120.6025 | 0 | 8238.1417 | 0 | -29585.5802 | 0
21 | RT | Planned Transmission Outage | PGAE | Bay Area | 2021-10-12 | 300 | No | INC | 1 | 44481.9583 | 44482 | -7.8835 | 0 | 0 | 658.7907 | 0 | 0 | 0 | 0 | 0 | 0
22 | RT | Planned Transmission Outage | PGAE | Bay Area | 2021-10-13 | 300 | No | DEC | 5 | 44482.125 | 44482.3333 | 1.6517 | -3676.5624 | 0 | -107.5537 | 0 | 0 | 0 | 0 | -13852.9213 | 0
23 | RT | Planned Transmission Outage | PGAE | Bay Area | 2021-10-13 | 300 | No | INC | 9 | 44482 | 44482.375 | -23.0575 | 2518.04 | 0 | 2244.233 | 0 | 0 | 0 | 0 | 0 | 0
24 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-01 | 30 - 45 | No | INC | 24 | 44470 | 44471 | 4.3242 | 99854.875 | 0 | -3031.2637 | -1.3335 | 0 | 62.5068 | 0 | -17.7992 | 0
25 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-02 | 30 | No | INC | 24 | 44471 | 44472 | 1.4417 | 63827.1975 | 0 | -172.0101 | 0 | 0 | 0 | 0 | 0 | 0
26 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-04 | 15 - 45 | No | DEC | 19 | 44473.2257 | 44474 | 7.967 | -6987.1164 | 975.1765 | -657.4771 | 0 | 0 | 0 | 0 | 0 | 0
27 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-04 | 45 | No | INC | 8 | 44473.25 | 44473.5833 | 35.7745 | 14268.4375 | 719.3925 | -3262.7746 | 0 | 0 | 0 | 0 | 0 | 0
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-05 | 30 - 45 | No | INC | 24 | 44474 | 44475 | -0.15083 | 109524.3775 | 0 | 8.2186 | 0 | 0 | 0 | 0 | 0 | 0
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-06 | 15 | No | DEC | 23 | 44475.0625 | 44476 | -9.4908 | -4784.2843 | 0 | 669.8896 | 0 | 0 | 0 | 0 | 0 | 0
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-06 | 15 - 30 | No | INC | 24 | 44475 | 44476 | -4.1992 | 32603.2625 | 0 | 237.5334 | 0 | 0 | 0 | 0 | 0 | 0
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-07 | 15 | No | DEC | 3 | 44476 | 44476.1042 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-07 | 15 - 60 | No | INC | 24 | 44476 | 44477 | 17.0592 | 53757.635 | 0 | -1076.7407 | -3.7571 | 0 | 246.6551 | 0 | -89.8 | 0
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-08 | 45 - 60 | No | INC | 24 | 44477 | 44478 | 8.4542 | 71309.4875 | 0 | -495.978 | 0 | 0 | 0 | 0 | 0 | 0
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-09 | 45 | No | INC | 24 | 44478 | 44479 | -1.27 | 55598.16 | 0 | -42.7809 | 0 | 0 | 0 | 0 | -58.3321 | 0
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-10 | 30 - 45 | No | INC | 24 | 44479 | 44480 | -2.525 | 28667.715 | 0 | 206.6333 | 0 | 0 | 0 | 0 | -14.7693 | 0
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-11 | 30 | No | INC | 9 | 44480 | 44480.3542 | 3.9256 | 9845.465 | 0 | -253.6545 | 0 | 0 | 0 | 0 | 0 | 0
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-15 | 45 | No | DEC | 7 | 44484.3819 | 44484.6562 | -0.71833 | 0 | 0 | 35.2233 | 0 | 0 | 0 | 0 | 0 | 0
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-15 | 45 | No | INC | 2 | 44484.3125 | 44484.3958 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-16 | 15 - 30 | No | DEC | 9 | 44485.625 | 44486 | -0.98254 | -16861.4826 | 403.3705 | 127.2309 | -1.561 | 0 | 122.5473 | 0 | -230.3542 | 0
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-16 | 30 | No | INC | 18 | 44485.2604 | 44486 | 13.6752 | 29708.2825 | 1714.3247 | -1081.7728 | 0 | 0 | 0 | 0 | 0 | 0
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-17 | 15 | No | DEC | 11 | 44486 | 44486.4583 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -407.4381 | 0
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-17 | 30 | No | INC | 24 | 44486 | 44487 | -1.5079 | 43313.01 | 0 | -9.003 | 0 | 0 | 0 | 0 | 0 | 0
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-18 | 30 | No | DEC | 1 | 44487.25 | 44487.2917 | 0.67792 | 0 | 0 | -34.6357 | 0 | 0 | 0 | 0 | 0 | 0
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-18 | 30 | No | INC | 6 | 44487 | 44487.25 | 0 | 6663.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-20 | 15 | No | DEC | 13 | 44489.2708 | 44489.7812 | -0.67792 | -55350.054 | 0 | 33.4966 | 0 | 0 | 0 | 0 | 0 | 0
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-30 | 14 | No | DEC | 14 | 44499.4167 | 44500 | -3.1697 | -8920.1755 | 756.0158 | 5.8082 | 0 | 0 | 0 | 0 | 0 | 0
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-30 | 14 | No | INC | 3 | 44499.3229 | 44499.4167 | 10.0753 | 1133.15 | 100.8021 | -706.1471 | 0 | 0 | 0 | 0 | 0 | 0
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-31 | 14 | No | DEC | 21 | 44500 | 44500.875 | -1.6617 | -2407.2672 | 0 | 83.3747 | 0 | 0 | 0 | 0 | 0 | 0
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-10-31 | 14 | No | INC | 3 | 44500.875 | 44501 | -0.22597 | 3399.45 | 0 | 14.0853 | 0 | 0 | 0 | 0 | 0 | 0
50 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-10-07 | 20 | No | INC | 14 | 44476.4375 | 44477 | -17.9148 | 73443.65 | 1238.9 | 750.1365 | 0 | 0 | 0 | 0 | 0 | 0
51 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-10-08 | 20 | No | INC | 24 | 44477 | 44478 | 86.5142 | 140739.36 | 0 | -16537.2435 | 0 | 0 | 0 | 0 | 0 | 0
52 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-10-09 | 20 | No | INC | 24 | 44478 | 44479 | -63.2483 | 143889.6 | 0 | 2822.2906 | 0 | 0 | 0 | 0 | 0 | 0
53 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-10-10 | 20 | No | INC | 20 | 44479 | 44479.8021 | -4.8458 | 108666.625 | 0 | -6065.0341 | -2.25 | 0 | 159.5619 | 0 | -0.28183 | 0
54 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-10-12 | 20 | No | INC | 16 | 44481.3021 | 44481.9375 | 0 | 44285.2375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
55 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-10-13 | 20 | No | INC | 14 | 44482.4271 | 44483 | -19.9219 | 8711.85 | 0 | 1723.7218 | -19.9219 | 0 | 1723.7218 | 0 | -324.4641 | 0
56 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-10-14 | 20 | Yes | INC | 7 | 44483 | 44483.2917 | 0 | 14457.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
57 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-10-15 | 20 | No | DEC | 5 | 44484.3125 | 44484.5 | -69.7792 | 0 | 0 | 4229.4505 | 0 | 0 | 0 | 0 | 0 | 0
58 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-10-15 | 20 | No | INC | 1 | 44484.5 | 44484.5208 | -1.0925 | 0 | 0 | 73.9212 | 0 | 0 | 0 | 0 | 0 | 0
59 | RT | Planned Transmission Outage | PGAE | Stockton | 2021-10-16 | 88.8 | No | INC | 4 | 44485.5 | 44485.6667 | -0.30371 | 27026 | 0 | 19.9775 | 0 | 0 | 0 | 0 | 0 | 0
60 | RT | Planned Transmission Outage | PGAE | Stockton | 2021-10-30 | 40 - 65 | No | DEC | 14 | 44499.2674 | 44499.8333 | -241.7094 | 0 | 0 | -4898.5514 | -50.6667 | 0 | 2384.0142 | 0 | -1721.5045 | 0
61 | RT | Planned Transmission Outage | PGAE | Stockton | 2021-10-30 | 40 - 65 | No | INC | 9 | 44499.375 | 44499.75 | -40.1323 | 0 | 0 | -12517.8919 | -0.625 | 0 | -64.9277 | 0 | 0 | 0
62 | RT | Planned Transmission Outage | PGAE | Stockton | 2021-10-31 | 55 - 75 | No | DEC | 17 | 44500.3056 | 44501 | -405.4873 | 0 | 0 | 346.4435 | -37.2365 | 0 | 1609.2045 | 0 | -1601.4878 | 0
63 | RT | Planned Transmission Outage | PGAE | Stockton | 2021-10-31 | 65 | No | INC | 7 | 44500.375 | 44500.6667 | -17.659 | 0 | 0 | -1730.9001 | 0 | 0 | 0 | 0 | 0 | 0
64 | RT | Planned Transmission Outage | PGAE | NA | 2021-10-14 | 10 | No | DEC | 2 | 44483.8403 | 44483.8958 | -2.8731 | 0 | 0 | 214.2071 | -3.5492 | 0 | 265.7968 | 0 | -384.1978 | 0
65 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2021-10-08 | 36.88 | No | INC | 3 | 44477.816 | 44477.9167 | 10.4493 | 9247.9275 | 0 | -566.7695 | 0 | 0 | 0 | 0 | 0 | 0
66 | RT | Reliability Assessment | PGAE | Bay Area | 2021-10-12 | 300 | No | DEC | 1 | 44481.8229 | 44481.8646 | -54.776 | 0 | 0 | 3982.3889 | -52.5 | 0 | 2604.7733 | 0 | 0 | 0
67 | RT | Reliability Assessment | PGAE | Humboldt | 2021-10-11 | 45 | No | INC | 16 | 44480.3368 | 44481 | 7.2073 | 36100.1908 | 0 | -1340.504 | 0 | 0 | 0 | 0 | 0 | 0
68 | RT | Reliability Assessment | PGAE | Humboldt | 2021-10-12 | 15 - 45 | No | DEC | 5 | 44481.7083 | 44481.9167 | 1.7133 | 954.9029 | 0 | -88.2164 | 0 | 0 | 0 | 0 | 0 | 0
69 | RT | Reliability Assessment | PGAE | Humboldt | 2021-10-12 | 15 - 60 | No | INC | 24 | 44481 | 44482 | 5.0777 | 43286.075 | 0 | -358.7578 | 0 | 0 | 0 | 0 | 0 | 0
70 | RT | Reliability Assessment | PGAE | Humboldt | 2021-10-13 | 15 - 30 | No | INC | 24 | 44482 | 44483 | -4.9188 | 86373.615 | 0 | 180.7607 | 0 | 0 | 0 | 0 | 0 | 0
71 | RT | Reliability Assessment | PGAE | Humboldt | 2021-10-14 | 45 | No | DEC | 15 | 44483.3333 | 44483.9583 | 2.3942 | 0 | 0 | -179.6418 | 0 | 0 | 0 | 0 | 0 | 0
72 | RT | Reliability Assessment | PGAE | Humboldt | 2021-10-14 | 30 - 45 | No | INC | 24 | 44483 | 44484 | 7.9931 | 11150.7 | 0 | -863.5785 | 0 | 0 | 0 | 0 | 0 | 0
73 | RT | Reliability Assessment | PGAE | Humboldt | 2021-10-15 | 30 - 45 | No | DEC | 17 | 44484.25 | 44484.9583 | -3.8533 | -9056.0148 | 0 | 193.6413 | 0 | 0 | 0 | 0 | 0 | 0
74 | RT | Reliability Assessment | PGAE | Humboldt | 2021-10-15 | 30 - 45 | No | INC | 24 | 44484 | 44485 | 0 | 14957.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
75 | RT | Reliability Assessment | PGAE | Humboldt | 2021-10-16 | 30 | No | INC | 7 | 44485 | 44485.2708 | 0 | 7218.835 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
76 | RT | Reliability Assessment | PGAE | Sierra | 2021-10-01 | 40 | No | DEC | 1 | 44470.9444 | 44470.9583 | 1.9583 | 0 | 0 | -120.8667 | 0 | 0 | 0 | 0 | 0 | 0
77 | RT | Reliability Assessment | PGAE | Sierra | 2021-10-01 | 20 - 40 | No | INC | 10 | 44470.6215 | 44471 | -56.6919 | 24971.38 | 926.0187 | 3702.8795 | 0 | 0 | 0 | 0 | 0 | 0
78 | RT | Reliability Assessment | PGAE | Sierra | 2021-10-15 | 0 | No | DEC | 1 | 44484.4792 | 44484.5208 | -5 | -1781.25 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0
79 | RT | Reliability Assessment | SCE | NA | 2021-10-19 | 450 | No | DEC | 1 | 44488.2917 | 44488.3021 | -6.3433 | 912.59 | 0 | -1353.8078 | -1.3284 | 0 | 76.3222 | 0 | 0 | 0
80 | RT | Software Limitation | PGAE | Bay Area | 2021-10-15 | 0 - 150 | No | INC | 4 | 44484.7431 | 44484.875 | 83.0942 | 61053.0772 | 0 | -28468.9416 | -253.97 | 0 | 808.3042 | 0 | 0 | 0
81 | RT | Software Limitation | PGAE | Fresno | 2021-10-01 | 35 - 83 | No | INC | 14 | 44470.0521 | 44470.625 | -35.8262 | 23163.4417 | 0 | -4256.8777 | 0 | 0 | 0 | 0 | 0 | 0
82 | RT | Software Limitation | PGAE | Fresno | 2021-10-15 | 35 - 49.94 | No | INC | 1 | 44484.7431 | 44484.7812 | 33.3102 | 7084.98 | 0 | -2804.8476 | 0.91442 | -104.2618 | 0 | 0 | 0 | 0
83 | RT | Software Limitation | PGAE | Fresno | 2021-10-23 | 0 | No | DEC | 1 | 44492.9306 | 44492.9583 | -22 | -233.465 | 0 | 820.9266 | -24 | 0 | 934.4317 | 0 | 0 | 0
84 | RT | Software Limitation | PGAE | Fresno | 2021-10-23 | 0 | No | INC | 1 | 44492.9583 | 44493 | -4 | 0 | 0 | 273.3562 | 0 | 0 | 0 | 0 | 0 | 0
85 | RT | Software Limitation | SCE | LA Basin | 2021-10-01 | 0 - 5.75 | No | INC | 3 | 44470.0521 | 44470.1667 | 0.0625 | 176.74 | 0 | -80.5204 | -1.2184 | -1.6878 | 0 | -1.4127 | 0 | 0
86 | RT | Software Limitation | SCE | LA Basin | 2021-10-15 | 0 - 90.58 | No | INC | 5 | 44484.7431 | 44484.9201 | 181.0773 | 19252.3661 | 0 | -14604.49 | 0 | 0 | 0 | 0 | 0 | 0
87 | RT | Software Limitation | SCE | NA | 2021-10-01 | 0 | No | DEC | 1 | 44470.2292 | 44470.25 | -302.5 | 1.25 | 0 | 16821.5691 | -84.8333 | 0 | 508.565 | 0 | 0 | 0
88 | RT | Software Limitation | SDGE | San Diego-IV | 2021-10-15 | 0 | No | INC | 1 | 44484.9965 | 44485 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
89 | RT | Software Limitation | SDGE | San Diego-IV | 2021-10-16 | 0 | No | INC | 1 | 44485 | 44485.0347 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
90 | RT | Software Limitation | SDGE | San Diego-IV | 2021-10-28 | 225 | No | INC | 5 | 44497 | 44497.2083 | 0.44006 | 68646.45 | 0 | -26.079 | 0 | 0 | 0 | 0 | 0 | 0
91 | RT | Unit Testing | Intertie | NA | 2021-10-02 | 2 | No | INC | 1 | 44471.6875 | 44471.7083 | 0.57292 | 0 | 0 | -39.0437 | 1 | -72.0219 | 0 | 0 | 0 | 0
92 | RT | Unit Testing | Intertie | NA | 2021-10-05 | 22 - 180 | No | INC | 10 | 44474.3333 | 44474.75 | 37.7089 | 0 | 0 | -2215.4353 | 32.4422 | -1948.8715 | 0 | 0 | 0 | 0
93 | RT | Unit Testing | Intertie | NA | 2021-10-06 | 73 - 158 | No | INC | 6 | 44475.3333 | 44475.5625 | 688.0625 | 0 | 0 | -17452.9527 | 684.5208 | -17354.441 | 0 | 0 | 0 | 0
94 | RT | Unit Testing | Intertie | NA | 2021-10-07 | 3 - 60 | No | INC | 7 | 44476.5 | 44476.7917 | 185.8708 | 0 | 0 | -7891.9857 | 183.3792 | -7817.3078 | 0 | 0 | 0 | 0
95 | RT | Unit Testing | Intertie | NA | 2021-10-08 | 20 - 120 | No | INC | 11 | 44477.375 | 44477.8333 | 18.4256 | 0 | 0 | -426.1289 | 18.4256 | -426.1289 | 0 | 0 | 0 | 0
96 | RT | Unit Testing | Intertie | NA | 2021-10-11 | 70 - 150 | No | INC | 12 | 44480.25 | 44480.75 | 809.3261 | 0 | 0 | -21833.1392 | 809.3261 | -21833.1392 | 0 | 0 | 0 | 0
97 | RT | Unit Testing | Intertie | NA | 2021-10-12 | 0 - 140 | No | INC | 11 | 44481.3333 | 44481.7917 | 982.6429 | 0 | 0 | -10354.5759 | 976.6404 | -10333.2212 | 0 | 0 | 0 | 0
98 | RT | Unit Testing | Intertie | NA | 2021-10-13 | 35 - 140 | No | INC | 12 | 44482.2917 | 44482.7917 | 673.7502 | 0 | 0 | -7592.4985 | 660.7344 | -7374.2885 | 0 | 0 | 0 | 0
99 | RT | Unit Testing | Intertie | NA | 2021-10-15 | 100 | No | INC | 11 | 44484.3333 | 44484.7917 | 1021.5643 | 0 | 0 | -19531.0136 | 1021.5643 | -19531.0136 | 0 | 0 | 0 | 0
100 | RT | Unit Testing | Intertie | NA | 2021-10-16 | 100 | No | INC | 11 | 44485.3333 | 44485.7917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
101 | RT | Unit Testing | Intertie | NA | 2021-10-17 | 100 | No | INC | 11 | 44486.3333 | 44486.7917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
102 | RT | Unit Testing | Intertie | NA | 2021-10-18 | 100 | No | INC | 10 | 44487.3333 | 44487.75 | 887.5 | 0 | 0 | -27024.9367 | 887.5 | -27024.9367 | 0 | 0 | 0 | 0
103 | RT | Unit Testing | Intertie | NA | 2021-10-19 | 40 - 140 | No | INC | 11 | 44488.2917 | 44488.75 | 1363.4167 | 0 | 0 | -23428.0242 | 1360.7292 | -23304.5348 | 0 | 0 | 0 | 0
104 | RT | Unit Testing | Intertie | NA | 2021-10-20 | 140 | No | INC | 11 | 44489.2917 | 44489.75 | 1312.6459 | 0 | 0 | -47902.1733 | 1312.6459 | -47902.1733 | 0 | 0 | 0 | 0
105 | RT | Unit Testing | Intertie | NA | 2021-10-21 | 25 - 149.3 | No | INC | 11 | 44490.2917 | 44490.75 | 1146.8729 | 0 | 0 | -46090.0184 | 1144.6479 | -45981.52 | 0 | 0 | 0 | 0
106 | RT | Unit Testing | Intertie | NA | 2021-10-22 | 39.6 - 149.3 | No | INC | 11 | 44491.2917 | 44491.75 | 1344.5563 | 0 | 0 | -43688.83 | 1340.4271 | -43526.4201 | 0 | 0 | 0 | 0
107 | RT | Unit Testing | Intertie | NA | 2021-10-23 | 50 - 150 | No | INC | 10 | 44492.2917 | 44492.7083 | 1189.6583 | 0 | 0 | -19279.9527 | 1187.275 | -19193.1654 | 0 | 0 | 0 | 0
108 | RT | Unit Testing | Intertie | NA | 2021-10-24 | 7 - 136 | No | INC | 11 | 44493.2917 | 44493.75 | 1154.8042 | 0 | 0 | -29822.4972 | 1151.4792 | -29677.8985 | 0 | 0 | 0 | 0
109 | RT | Unit Testing | Intertie | NA | 2021-10-25 | 15 - 125 | No | INC | 11 | 44494.2917 | 44494.75 | 679.8583 | 0 | 0 | -34697.2779 | 671.3042 | -34231.0958 | 0 | 0 | 0 | 0
110 | RT | Unit Testing | Intertie | NA | 2021-10-26 | 25 - 153.35 | Yes | INC | 17 | 44495.2917 | 44496 | 1367.2142 | 0 | 0 | -21570.6212 | 1364.0812 | -21485.4361 | 0 | 0 | 0 | 0
111 | RT | Unit Testing | Intertie | NA | 2021-10-27 | 25 - 100 | No | INC | 11 | 44496.2917 | 44496.75 | 983.8646 | 0 | 0 | -28557.0198 | 981.8229 | -28452.2767 | 0 | 0 | 0 | 0
112 | RT | Unit Testing | Intertie | NA | 2021-10-28 | 25 - 150 | Yes | INC | 24 | 44497 | 44498 | 1213.4709 | 0 | 0 | -57611.232 | 1213.9917 | -57648.763 | 0 | 0 | 0 | 0
113 | RT | Unit Testing | Intertie | NA | 2021-10-29 | 25 - 145 | No | INC | 24 | 44498 | 44499 | 1282.8166 | 0 | 0 | -61588.2807 | 1280.3875 | -61459.1018 | 0 | 0 | 0 | 0
114 | RT | Unit Testing | Intertie | NA | 2021-10-30 | 22 - 150 | Yes | INC | 24 | 44499 | 44500 | 1122.3594 | 0 | 0 | -22536.8671 | 1119.9427 | -22424.6934 | 0 | 0 | 0 | 0
115 | RT | Unit Testing | Intertie | NA | 2021-10-31 | 25 - 150 | Yes | INC | 24 | 44500 | 44501 | 107.0104 | 0 | 0 | -5550.3459 | 104.1146 | -5408.7152 | 0 | 0 | 0 | 0
116 | RT | Unit Testing | PGAE | Bay Area | 2021-10-19 | 286 | No | DEC | 2 | 44488.4792 | 44488.5417 | -7.356 | -39353.5595 | 0 | 388.785 | 0 | 0 | 0 | 0 | 0 | 0
117 | RT | Unit Testing | PGAE | Bay Area | 2021-10-22 | 552 - 631 | No | INC | 6 | 44491.1076 | 44491.3264 | 56.3811 | 0 | 0 | -3790.1595 | 53.2836 | -3629.2616 | 0 | 0 | 0 | 0
118 | RT | Unit Testing | PGAE | Humboldt | 2021-10-08 | 30 | No | INC | 5 | 44477.4028 | 44477.5833 | 7.8333 | 9091.24 | 0 | -501.383 | 0 | 0 | 0 | 0 | 0 | 0
119 | RT | Unit Testing | PGAE | Sierra | 2021-10-22 | 46 | No | INC | 1 | 44491.0521 | 44491.0833 | 18.8292 | 0 | 0 | -1526.104 | 18.8292 | -1526.104 | 0 | 0 | 0 | 0
120 | RT | Unit Testing | PGAE | NA | 2021-10-20 | 175 - 620 | No | INC | 4 | 44489.5833 | 44489.75 | 635.2639 | 2942.59 | 0 | -43859.934 | 4.825 | -393.1637 | 0.42498 | 0 | 0 | 0
121 | RT | Unit Testing | PGAE | NA | 2021-10-29 | 75 | No | INC | 2 | 44498.3819 | 44498.4583 | 79.4296 | 0 | 0 | -3550.6611 | 2.1708 | -153.9555 | 0 | 0 | 0 | 0
122 | RT | Unit Testing | SCE | LA Basin | 2021-10-12 | 49 | No | INC | 9 | 44481.559 | 44481.9167 | 23.1167 | 0 | 0 | -1596.0216 | 16.075 | -1469.64 | 0 | 0 | 0 | 0
123 | RT | Unit Testing | SCE | NA | 2021-10-19 | 100 - 132 | No | INC | 8 | 44488.4062 | 44488.7083 | 1470.7175 | 0 | 0 | -9904.7228 | 1468.1251 | -9884.8274 | 0 | 0 | 0 | 0
124 | RT | Unit Testing | SCE | NA | 2021-10-20 | 98 - 130 | No | INC | 8 | 44489.3403 | 44489.6667 | 1683.1392 | 0 | 0 | -52090.1613 | 1676.1956 | -51850.2075 | 0 | 0 | 0 | 0
125 | RT | Unit Testing | SCE | NA | 2021-10-28 | 132 | No | INC | 9 | 44497.3681 | 44497.7292 | 1082.125 | 0 | 0 | -50402.0185 | 1082.125 | -50402.0185 | 0 | 0 | 0 | 0
126 | RT | Unit Testing | SCE | NA | 2021-10-29 | 132 | No | INC | 8 | 44498.3785 | 44498.6979 | 972.125 | 0 | 0 | -44093.9118 | 972.125 | -44093.9118 | 0 | 0 | 0 | 0
127 | RT | Unit Testing | SCE | NA | 2021-10-30 | 132 | No | INC | 8 | 44499.3681 | 44499.6875 | 1005.125 | 0 | 0 | -16600.0759 | 1005.125 | -16600.0759 | 0 | 0 | 0 | 0
128 | RT | Unit Testing | SCE | NA | 2021-10-31 | 132 | No | INC | 8 | 44500.3785 | 44500.6875 | 972.125 | 0 | 0 | -12137.3363 | 972.125 | -12137.3363 | 0 | 0 | 0 | 0
129 | RT | Voltage Support | PGAE | Bay Area | 2021-10-24 | 20 | No | INC | 6 | 44493.1979 | 44493.4167 | 50.9614 | 26793.7 | 2068.6286 | -4236.398 | 0 | 0 | 0 | 0 | 0 | 0
130 | RT | Voltage Support | PGAE | Bay Area | 2021-10-30 | 140 - 141.02 | No | DEC | 2 | 44499.9479 | 44500 | -39.658 | -26602.0854 | 0 | 2027.9377 | -25.4315 | 0 | 1292.544 | 0 | -0.42479 | 0
131 | RT | Voltage Support | PGAE | Bay Area | 2021-10-30 | 140 - 141.02 | No | INC | 14 | 44499.0833 | 44499.6667 | -301.4807 | 378319.92 | 0 | 10607.3921 | 0 | 0 | 0 | 0 | 0 | 0
132 | RT | Voltage Support | PGAE | Bay Area | 2021-10-31 | 140 - 141.02 | No | DEC | 2 | 44500 | 44500.0833 | -94.9431 | -21213.378 | 0 | 5252.4602 | -78.03 | 0 | 4374.384 | 0 | -86.4931 | 0
133 | RT | Voltage Support | PGAE | Bay Area | 2021-10-31 | 140 - 141.02 | No | INC | 15 | 44500.0417 | 44500.6667 | 74.6842 | 245345.77 | 0 | -4554.0314 | 0 | 0 | 0 | 0 | 0 | 0
134 | RT | Voltage Support | PGAE | Fresno | 2021-10-17 | -317 | No | DEC | 5 | 44486.1667 | 44486.375 | 19.5 | 0 | 0 | -1212.6239 | 0 | 0 | 0 | 0 | 0 | 0
135 | RT | Voltage Support | PGAE | Fresno | 2021-10-18 | -317 | No | DEC | 5 | 44487.0208 | 44487.2292 | 10.5667 | 0 | 0 | -515.5203 | 0 | 0 | 0 | 0 | 0 | 0
136 | RT | Voltage Support | PGAE | Fresno | 2021-10-22 | -315 | No | DEC | 4 | 44491.1354 | 44491.2917 | -150.3917 | 0 | 0 | 7389.7729 | 0 | 0 | 0 | 0 | 0 | 0
137 | RT | Voltage Support | PGAE | Fresno | 2021-10-24 | 83 | No | INC | 8 | 44493.0799 | 44493.3958 | 221.7573 | 85945.7075 | 0 | -14818.543 | 0 | 0 | 0 | 0 | 0 | 0
138 | RT | Voltage Support | PGAE | Fresno | 2021-10-25 | -308 | No | DEC | 6 | 44494.0521 | 44494.2917 | -150.2208 | 0 | 0 | 10191.4416 | 0 | 0 | 0 | 0 | 0 | 0
139 | RT | Voltage Support | PGAE | Fresno | 2021-10-26 | -308 | No | DEC | 5 | 44495.0556 | 44495.2292 | -128.75 | 0 | 0 | 7567.6446 | 0 | 0 | 0 | 0 | 0 | 0
140 | RT | Voltage Support | PGAE | Fresno | 2021-10-27 | -310 | No | DEC | 6 | 44496.0174 | 44496.2292 | -254.525 | 0 | 0 | 16513.1471 | 0 | 0 | 0 | 0 | 0 | 0
141 | RT | Voltage Support | PGAE | Fresno | 2021-10-28 | 83 | No | INC | 5 | 44497.0417 | 44497.25 | 93.616 | 37503.6 | 0 | -5968.1914 | 0 | 0 | 0 | 0 | 0 | 0
142 | RT | Voltage Support | PGAE | Fresno | 2021-10-29 | -310 | No | DEC | 5 | 44498.0417 | 44498.2292 | 4.6 | 0 | 0 | -276.596 | 0 | 0 | 0 | 0 | 0 | 0
143 | RT | Voltage Support | PGAE | Fresno | 2021-10-30 | -310 | No | DEC | 20 | 44499.1771 | 44500 | 10.3333 | 0 | 0 | -566.461 | 0 | 0 | 0 | 0 | 0 | 0
144 | RT | Voltage Support | PGAE | Fresno | 2021-10-31 | -310 | No | DEC | 11 | 44500 | 44500.4583 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
145 | RT | Voltage Support | PGAE | Humboldt | 2021-10-17 | 30 | No | INC | 13 | 44486.4583 | 44487 | 1.1752 | 16381.2025 | 0 | -134.8898 | 0.19826 | -6.9611 | 0 | 0 | -8.2509 | 0
146 | RT | Voltage Support | PGAE | Humboldt | 2021-10-18 | 15 - 30 | No | DEC | 18 | 44487.25 | 44488 | -10.8453 | -66951.0678 | 0 | 643.8024 | 0 | 0 | 0 | 0 | 0 | 0
147 | RT | Voltage Support | PGAE | Humboldt | 2021-10-18 | 15 - 30 | No | INC | 24 | 44487 | 44488 | -0.22597 | 14437.67 | 0 | 13.8502 | 0 | 0 | 0 | 0 | 0 | 0
148 | RT | Voltage Support | PGAE | Humboldt | 2021-10-19 | 15 - 30 | No | DEC | 23 | 44488 | 44488.9583 | -0.67792 | -22882.5132 | 0 | 47.1538 | 0 | 0 | 0 | 0 | 0 | 0
149 | RT | Voltage Support | PGAE | Humboldt | 2021-10-19 | 15 - 30 | No | INC | 24 | 44488 | 44489 | 5.1028 | 16403.3275 | 0 | -349.1071 | 0 | 0 | 0 | 0 | 0 | 0
150 | RT | Voltage Support | PGAE | Humboldt | 2021-10-20 | 15 | No | DEC | 20 | 44489.1979 | 44490 | -6.7792 | -16623.2125 | 0 | 389.1964 | 0 | 0 | 0 | 0 | 0 | 0
151 | RT | Voltage Support | PGAE | Humboldt | 2021-10-20 | 15 - 30 | No | INC | 24 | 44489 | 44490 | -0.29181 | 13977.9525 | 0 | 19.2575 | 0 | 0 | 0 | 0 | 0 | 0
152 | RT | Voltage Support | PGAE | Humboldt | 2021-10-21 | 15 - 30 | No | DEC | 22 | 44490 | 44490.9167 | 0.58333 | -82466.1456 | 0 | 42.8536 | 0 | 0 | 0 | 0 | 0 | 0
153 | RT | Voltage Support | PGAE | Humboldt | 2021-10-21 | 15 - 30 | No | INC | 24 | 44490 | 44491 | -0.22597 | 11040.9 | 0 | 15.9759 | 0 | 0 | 0 | 0 | 0 | 0
154 | RT | Voltage Support | PGAE | Humboldt | 2021-10-22 | 15 | No | DEC | 3 | 44491.9062 | 44492 | -4.0675 | 275.89 | 0 | 209.824 | 0 | 0 | 0 | 0 | 0 | 0
155 | RT | Voltage Support | PGAE | Humboldt | 2021-10-22 | 15 - 30 | No | INC | 24 | 44491 | 44492 | -0.065833 | 39452.48 | 0 | 3.3493 | 0 | 0 | 0 | 0 | 0 | 0
156 | RT | Voltage Support | PGAE | Humboldt | 2021-10-23 | 15 | No | DEC | 24 | 44492 | 44492.9896 | -1.0886 | 6640.38 | 0 | -44.1126 | 0 | 0 | 0 | 0 | 0 | 0
157 | RT | Voltage Support | PGAE | Humboldt | 2021-10-23 | 15 | No | INC | 24 | 44492 | 44493 | -0.55312 | 29881.71 | 0 | -30.157 | 0 | 0 | 0 | 0 | 0 | 0
158 | RT | Voltage Support | PGAE | Humboldt | 2021-10-24 | 15 | No | DEC | 14 | 44493.4236 | 44494 | -2.1874 | -9261.8221 | 0 | 119.2782 | 0 | 0 | 0 | 0 | 0 | 0
159 | RT | Voltage Support | PGAE | Humboldt | 2021-10-24 | 15 | No | INC | 24 | 44493 | 44494 | -0.22597 | 15494.22 | 0 | 14.5507 | 0 | 0 | 0 | 0 | 0 | 0
160 | RT | Voltage Support | PGAE | Humboldt | 2021-10-25 | 15 | No | DEC | 24 | 44494 | 44495 | 0 | -4426.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
161 | RT | Voltage Support | PGAE | Humboldt | 2021-10-25 | 15 | No | INC | 24 | 44494 | 44495 | 0 | 21027.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
162 | RT | Voltage Support | PGAE | Humboldt | 2021-10-26 | 15 | No | DEC | 24 | 44495 | 44496 | -0.3175 | 0 | 0 | 3.7555 | 0 | 0 | 0 | 0 | 0 | 0
163 | RT | Voltage Support | PGAE | Humboldt | 2021-10-26 | 15 | No | INC | 24 | 44495 | 44496 | -0.3175 | 28463.52 | 0 | 4.2121 | 0 | 0 | 0 | 0 | 0 | 0
164 | RT | Voltage Support | PGAE | Humboldt | 2021-10-27 | 15 - 30 | No | DEC | 24 | 44496 | 44497 | -9.7297 | -34216.5816 | 0 | 231.1208 | 0 | 0 | 0 | 0 | 0 | 0
165 | RT | Voltage Support | PGAE | Humboldt | 2021-10-27 | 15 - 30 | No | INC | 24 | 44496 | 44497 | -5.8577 | 28837.1375 | 0 | -42.8237 | 0 | 0 | 0 | 0 | 0 | 0
166 | RT | Voltage Support | PGAE | Humboldt | 2021-10-28 | 15 - 30 | No | DEC | 21 | 44497 | 44497.875 | -2.0633 | -6121.8753 | 0 | 50.9404 | 0 | 0 | 0 | 0 | 0 | 0
167 | RT | Voltage Support | PGAE | Humboldt | 2021-10-28 | 15 - 30 | No | INC | 24 | 44497 | 44498 | 5.3023 | 24454.605 | 0 | -390.196 | 0 | 0 | 0 | 0 | 0 | 0
168 | RT | Voltage Support | PGAE | Humboldt | 2021-10-29 | 15 - 30 | No | DEC | 19 | 44498.2083 | 44499 | 2.8902 | -48370.4819 | 530.7477 | -292.0836 | 0 | 0 | 0 | 0 | 0 | 0
169 | RT | Voltage Support | PGAE | Humboldt | 2021-10-29 | 15 - 30 | No | INC | 24 | 44498 | 44498.9792 | -0.96972 | 18696.975 | 410.9014 | 51.3359 | 0 | 0 | 0 | 0 | 0 | 0
170 | RT | Voltage Support | PGAE | Humboldt | 2021-10-30 | 15 | No | DEC | 11 | 44499 | 44499.4583 | -2.7746 | -12228.1029 | 0 | 105.9398 | 0 | 0 | 0 | 0 | 0 | 0
171 | RT | Voltage Support | PGAE | Humboldt | 2021-10-30 | 15 | No | INC | 12 | 44499.4583 | 44499.9583 | -3.395 | 15108.6667 | 0 | -2.7888 | 0 | 0 | 0 | 0 | 0 | 0
172 | RT | Voltage Support | PGAE | Sierra | 2021-10-04 | 20 - 42 | Yes | INC | 1 | 44473.9583 | 44474 | -9.2 | 10108.2202 | 371.2258 | 664.8631 | 0 | 0 | 0 | 0 | 0 | 0
173 | RT | Voltage Support | PGAE | Sierra | 2021-10-05 | 20 - 40 | No | INC | 24 | 44474 | 44475 | -80.265 | 75651.355 | 0 | 4920.4656 | 0 | 0 | 0 | 0 | 0 | 0
174 | RT | Voltage Support | PGAE | Sierra | 2021-10-06 | 20 | Yes | INC | 24 | 44475 | 44476 | 3.3508 | 48388.785 | 1894.35 | -422.2646 | 0 | 0 | 0 | 0 | 0 | 0
175 | RT | Voltage Support | PGAE | Sierra | 2021-10-07 | 20 | No | INC | 10 | 44476 | 44476.4167 | 5.5435 | 50960.9 | 0 | -1418.8427 | 0 | 0 | 0 | 0 | 0 | 0
176 | RT | Voltage Support | PGAE | Sierra | 2021-10-09 | 0 - 42 | No | INC | 20 | 44478.2049 | 44479 | -10 | 61146.48 | 2241.36 | 314.8142 | 0 | 0 | 0 | 0 | 0 | 0
177 | RT | Voltage Support | PGAE | Sierra | 2021-10-10 | 20 - 42 | No | INC | 24 | 44479 | 44480 | -12.25 | 142653.435 | 0 | -125.6327 | 0 | 0 | 0 | 0 | 0 | 0
178 | RT | Voltage Support | PGAE | Sierra | 2021-10-11 | 20 - 42 | No | INC | 24 | 44480 | 44481 | 88.2831 | 202783.045 | 0 | -10348.9923 | 0 | 0 | 0 | 0 | 0 | 0
179 | RT | Voltage Support | PGAE | Sierra | 2021-10-12 | 20 - 42 | No | INC | 24 | 44481 | 44482 | 22.4504 | 191430.9083 | 4981.47 | -2837.3109 | -6.9 | 0 | 690.3511 | 0 | -214.9712 | 0
180 | RT | Voltage Support | PGAE | Sierra | 2021-10-13 | 20 - 42 | No | INC | 24 | 44482 | 44483 | -65.9608 | 156138.31 | 0 | 2638.9993 | 0 | 0 | 0 | 0 | 0 | 0
181 | RT | Voltage Support | PGAE | Sierra | 2021-10-14 | 20 | No | INC | 24 | 44483 | 44484 | 21.7221 | 21685.875 | 1204.9 | -1408.0726 | 0 | 0 | 0 | 0 | 0 | 0
182 | RT | Voltage Support | PGAE | Sierra | 2021-10-15 | 20 | No | DEC | 1 | 44484.25 | 44484.2917 | -15.1342 | 0 | 0 | 1007.7169 | 0 | 0 | 0 | 0 | 0 | 0
183 | RT | Voltage Support | PGAE | Sierra | 2021-10-15 | 20 - 42 | No | INC | 24 | 44484 | 44485 | -19.4488 | 78427.51 | 6730.58 | 162.9384 | 0 | 0 | 0 | 0 | 0 | 0
184 | RT | Voltage Support | PGAE | Sierra | 2021-10-16 | 20 - 40 | No | DEC | 22 | 44485 | 44485.9167 | -74.7275 | 0 | 0 | 4999.928 | 0 | 0 | 0 | 0 | 0 | 0
185 | RT | Voltage Support | PGAE | Sierra | 2021-10-16 | 20 - 42 | No | INC | 24 | 44485 | 44486 | -16.955 | 99370.5325 | 2798.02 | 651.9337 | 0 | 0 | 0 | 0 | 0 | 0
186 | RT | Voltage Support | PGAE | Sierra | 2021-10-17 | 20 - 42 | No | INC | 24 | 44486 | 44487 | -33.7812 | 166500.15 | 0 | -2738.2912 | 0 | 0 | 0 | 0 | 0 | 0
187 | RT | Voltage Support | PGAE | Sierra | 2021-10-18 | 20 - 42 | Yes | INC | 24 | 44487 | 44488 | -11.3125 | 70298.155 | 587.21 | 344.3534 | 0 | 0 | 0 | 0 | 0 | 0
188 | RT | Voltage Support | PGAE | Sierra | 2021-10-19 | 20 | Yes | DEC | 19 | 44488.2083 | 44489 | -17.6662 | 0 | 0 | 908.8389 | 0 | 0 | 0 | 0 | 0 | 0
189 | RT | Voltage Support | PGAE | Sierra | 2021-10-19 | 20 - 42 | No | INC | 24 | 44488 | 44489 | -20.6625 | 22576.135 | 2241.36 | 1442.4676 | 0 | 0 | 0 | 0 | 0 | 0
190 | RT | Voltage Support | PGAE | Sierra | 2021-10-20 | 20 | No | DEC | 7 | 44489.25 | 44489.5208 | -33.135 | 0 | 0 | 1887.8795 | 0 | 0 | 0 | 0 | 0 | 0
191 | RT | Voltage Support | PGAE | Sierra | 2021-10-20 | 20 - 42 | No | INC | 24 | 44489 | 44490 | -5.4109 | 56089.305 | 1188.9 | 397.9307 | 0 | 0 | 0 | 0 | 0 | 0
192 | RT | Voltage Support | PGAE | Sierra | 2021-10-21 | 20 | No | INC | 24 | 44490 | 44491 | 4.7625 | 22404.9 | 0 | -271.1728 | 0 | 0 | 0 | 0 | 0 | 0
193 | RT | Voltage Support | PGAE | Sierra | 2021-10-22 | 20 | No | DEC | 1 | 44491.25 | 44491.2917 | -14.2 | 0 | 0 | 777.8757 | 0 | 0 | 0 | 0 | 0 | 0
194 | RT | Voltage Support | PGAE | Sierra | 2021-10-22 | 20 | Yes | INC | 24 | 44491 | 44492 | -11.8413 | 19933.9 | 0 | 661.5225 | 0 | 0 | 0 | 0 | 0 | 0
195 | RT | Voltage Support | PGAE | Sierra | 2021-10-23 | 20 | No | DEC | 15 | 44492.2917 | 44492.9167 | -52.0173 | 0 | 0 | 2588.1423 | 0 | 0 | 0 | 0 | 0 | 0
196 | RT | Voltage Support | PGAE | Sierra | 2021-10-23 | 20 | No | INC | 24 | 44492 | 44493 | 45.0733 | 64002.825 | 550.66 | -5267.2762 | 0 | 0 | 0 | 0 | 0 | 0
197 | RT | Voltage Support | PGAE | Sierra | 2021-10-24 | 20 - 30 | No | DEC | 21 | 44493.0694 | 44493.9167 | -40.0157 | 0 | 0 | 2433.8896 | -9.8417 | 0 | 558.1138 | 0 | -1033.4068 | 0
198 | RT | Voltage Support | PGAE | Sierra | 2021-10-24 | 20 - 42 | Yes | INC | 24 | 44493 | 44494 | -38.2005 | 165185.91 | 2241.36 | 1108.869 | 0 | 0 | 0 | 0 | 0 | 0
199 | RT | Voltage Support | PGAE | Sierra | 2021-10-25 | 20 - 35 | No | DEC | 14 | 44494.2917 | 44494.875 | -2.1727 | 0 | 0 | -181.7124 | 0 | 0 | 0 | 0 | 0 | 0
200 | RT | Voltage Support | PGAE | Sierra | 2021-10-25 | 20 - 42 | No | INC | 24 | 44494 | 44495 | -3.5101 | 201249.3603 | 0 | 139.0156 | 3.75 | -146.8542 | 0 | 0 | -1518.5869 | 0
201 | RT | Voltage Support | PGAE | Sierra | 2021-10-26 | 40 | No | DEC | 19 | 44495.2083 | 44496 | 119.1692 | 383.945 | 4605.76 | -6593.7175 | 0 | 0 | 0 | 0 | 0 | 0
202 | RT | Voltage Support | PGAE | Sierra | 2021-10-26 | 40 - 42 | No | INC | 24 | 44495 | 44496 | 0 | 148651.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
203 | RT | Voltage Support | PGAE | Sierra | 2021-10-27 | 40 | No | DEC | 8 | 44496 | 44496.3333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
204 | RT | Voltage Support | PGAE | Sierra | 2021-10-27 | 42 | No | INC | 8 | 44496 | 44496.3333 | 0 | 41584.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
205 | RT | Voltage Support | PGAE | Sierra | 2021-10-28 | 20 | No | DEC | 13 | 44497.25 | 44497.7917 | -15.7425 | 0 | 100.4 | 648.1752 | 0 | 0 | 0 | 0 | 0 | 0
206 | RT | Voltage Support | PGAE | Sierra | 2021-10-28 | 20 | No | INC | 21 | 44497.1632 | 44498 | -22.9308 | 14558.605 | 514.55 | 1836.5474 | 0 | 0 | 0 | 0 | 0 | 0
207 | RT | Voltage Support | PGAE | Sierra | 2021-10-29 | 20 | No | INC | 24 | 44498 | 44499 | -49.7625 | 68894.475 | 0 | 3183.001 | 0 | 0 | 0 | 0 | 0 | 0
208 | RT | Voltage Support | PGAE | Sierra | 2021-10-30 | 20 | No | DEC | 15 | 44499.2917 | 44499.9167 | -105.4913 | 0 | 0 | 6032.9962 | 0 | 0 | 0 | 0 | 0 | 0
209 | RT | Voltage Support | PGAE | Sierra | 2021-10-30 | 20 | No | INC | 24 | 44499 | 44500 | 19.6846 | 2828.95 | 0 | -952.0851 | 0 | 0 | 0 | 0 | 0 | 0
210 | RT | Voltage Support | PGAE | Sierra | 2021-10-31 | 20 | No | DEC | 21 | 44500.0417 | 44500.9167 | -27.1332 | 0 | 0 | 1347.0004 | 0 | 0 | 0 | 0 | 0 | 0
211 | RT | Voltage Support | PGAE | Sierra | 2021-10-31 | 20 - 42 | No | INC | 24 | 44500 | 44501 | 0.75508 | 101716.695 | 2528.76 | -218.6533 | 0 | 0 | 0 | 0 | 0 | 0
212 | RT | Voltage Support | PGAE | NA | 2021-10-24 | 49 - 150 | No | INC | 8 | 44493.1111 | 44493.4167 | 148.9865 | 55575.125 | 0 | -9108.1381 | 3.8562 | -198.6781 | 0 | 0 | -48.7684 | 0

## Price_Impact_A
Table 8: Price Impact Analysis Information for Pricing Node A in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2021-10-12 | 20 | 5 | 85.5336 | Yes | 44.78 | -40.7535
2 | 2021-10-12 | 20 | 6 | 96.7649 | Yes | 44.78 | -51.9849
3 | 2021-10-12 | 20 | 7 | 81.5388 | Yes | 44.78 | -36.7588
4 | 2021-10-12 | 20 | 8 | 78.1892 | Yes | 44.78 | -33.4092
5 | 2021-10-12 | 20 | 9 | 78.1937 | Yes | 44.78 | -33.4137
6 | 2021-10-12 | 20 | 10 | 606.5726 | Yes | 44.78 | -561.7926
7 | 2021-10-12 | 20 | 11 | 605.5077 | Yes | 44.78 | -560.7277
8 | 2021-10-12 | 20 | 12 | 603.8873 | Yes | 44.78 | -559.1073
9 | 2021-10-12 | 21 | 1 | 595.7003 | Yes | 44.78 | -550.9203
10 | 2021-10-12 | 21 | 2 | 597.6108 | Yes | 44.78 | -552.8308
11 | 2021-10-12 | 21 | 3 | 597.2245 | Yes | 44.78 | -552.4445
12 | 2021-10-12 | 21 | 4 | 596.326 | Yes | 44.78 | -551.546
13 | 2021-10-12 | 21 | 5 | 593.7073 | Yes | 44.78 | -548.9273
14 | 2021-10-12 | 21 | 6 | 593.7979 | Yes | 44.78 | -549.0179
15 | 2021-10-12 | 21 | 7 | 534.4267 | Yes | 44.78 | -489.6467
16 | 2021-10-12 | 21 | 8 | 542.9172 | Yes | 44.78 | -498.1372
17 | 2021-10-12 | 21 | 9 | 452.7689 | Yes | 44.78 | -407.9889
18 | 2021-10-12 | 21 | 10 | 68.0675 | Yes | 44.78 | -23.2875
19 | 2021-10-12 | 21 | 11 | 71.8735 | Yes | 44.78 | -27.0935
20 | 2021-10-12 | 21 | 12 | 68.2556 | Yes | 44.78 | -23.4756
21 | 2021-10-12 | 22 | 1 | 466.7205 | Yes | 44.78 | -421.9405
22 | 2021-10-12 | 22 | 2 | 505.2335 | Yes | 44.78 | -460.4535
23 | 2021-10-12 | 22 | 3 | 512.2721 | Yes | 44.78 | -467.4921
24 | 2021-10-12 | 22 | 4 | 437.3944 | Yes | 44.78 | -392.6144
25 | 2021-10-12 | 22 | 5 | 431.2067 | Yes | 44.78 | -386.4267
26 | 2021-10-12 | 22 | 6 | 393.4071 | Yes | 44.78 | -348.6271
27 | 2021-10-12 | 22 | 7 | 401.5014 | Yes | 44.78 | -356.7215
28 | 2021-10-12 | 22 | 8 | 376.2716 | Yes | 44.78 | -331.4916
29 | 2021-10-12 | 22 | 9 | 368.7665 | Yes | 44.78 | -323.9865
30 | 2021-10-12 | 22 | 10 | 62.7852 | Yes | 44.78 | -18.0053
31 | 2021-10-12 | 22 | 11 | 62.5524 | Yes | 44.78 | -17.7724
32 | 2021-10-12 | 22 | 12 | 62.5524 | Yes | 44.78 | -17.7724
33 | 2021-10-13 | 4 | 4 | 52.4386 | Yes | 44.92 | -7.5186
34 | 2021-10-13 | 4 | 5 | 52.3419 | Yes | 44.92 | -7.4219
35 | 2021-10-13 | 4 | 6 | 53.2165 | Yes | 44.92 | -8.2965
36 | 2021-10-13 | 4 | 7 | 53.1238 | Yes | 44.92 | -8.2038
37 | 2021-10-13 | 4 | 8 | 55.2296 | Yes | 44.92 | -10.3096
38 | 2021-10-13 | 4 | 9 | 55.2104 | Yes | 44.92 | -10.2904
39 | 2021-10-13 | 4 | 10 | 56.4424 | Yes | 44.92 | -11.5224
40 | 2021-10-13 | 4 | 11 | 57.0662 | Yes | 44.92 | -12.1462
41 | 2021-10-13 | 4 | 12 | 57.1761 | Yes | 44.92 | -12.2561
42 | 2021-10-13 | 5 | 1 | 56.3321 | Yes | 44.92 | -11.4121
43 | 2021-10-13 | 5 | 2 | 56.2655 | Yes | 44.92 | -11.3455
44 | 2021-10-13 | 5 | 3 | 57.6198 | Yes | 44.92 | -12.6998
45 | 2021-10-13 | 5 | 4 | 57.1571 | Yes | 44.92 | -12.2371
46 | 2021-10-13 | 5 | 5 | 59.0315 | Yes | 44.92 | -14.1115
47 | 2021-10-13 | 5 | 6 | 60.0567 | Yes | 44.92 | -15.1367
48 | 2021-10-13 | 5 | 7 | 60.6637 | Yes | 44.92 | -15.7437
49 | 2021-10-13 | 5 | 8 | 65.2159 | Yes | 44.92 | -20.2959
50 | 2021-10-13 | 5 | 9 | 73.8059 | Yes | 44.92 | -28.8859
51 | 2021-10-13 | 5 | 10 | 71.5426 | Yes | 44.92 | -26.6226
52 | 2021-10-13 | 5 | 11 | 67.3927 | Yes | 44.92 | -22.4727
53 | 2021-10-13 | 5 | 12 | 71.505 | Yes | 44.92 | -26.585
54 | 2021-10-13 | 6 | 1 | 67.3967 | Yes | 44.92 | -22.4767
55 | 2021-10-13 | 6 | 2 | 70.5125 | Yes | 44.92 | -25.5925
56 | 2021-10-13 | 6 | 3 | 73.3393 | Yes | 44.92 | -28.4193
57 | 2021-10-13 | 6 | 4 | 70.7892 | Yes | 44.92 | -25.8692
58 | 2021-10-13 | 6 | 5 | 73.7236 | Yes | 44.92 | -28.8036
59 | 2021-10-13 | 6 | 6 | 75.5515 | Yes | 44.92 | -30.6315
60 | 2021-10-13 | 6 | 7 | 71.0793 | Yes | 44.92 | -26.1593
61 | 2021-10-13 | 6 | 8 | 75.6669 | Yes | 44.92 | -30.7469
62 | 2021-10-13 | 6 | 9 | 80.3255 | Yes | 44.92 | -35.4055
63 | 2021-10-13 | 6 | 10 | 82.3241 | Yes | 44.92 | -37.4041
64 | 2021-10-13 | 6 | 11 | 83.4494 | Yes | 44.92 | -38.5294
65 | 2021-10-13 | 6 | 12 | 78.1402 | Yes | 44.92 | -33.2202
66 | 2021-10-13 | 7 | 1 | 57.144 | Yes | 44.92 | -12.224
67 | 2021-10-13 | 7 | 2 | 63.4388 | Yes | 44.92 | -18.5188
68 | 2021-10-13 | 7 | 3 | 64.1705 | Yes | 44.92 | -19.2505
69 | 2021-10-13 | 7 | 4 | 67.1029 | Yes | 44.92 | -22.1829
70 | 2021-10-13 | 7 | 5 | 75.5875 | Yes | 44.92 | -30.6675
71 | 2021-10-13 | 7 | 6 | 81.6296 | Yes | 44.92 | -36.7096
72 | 2021-10-13 | 7 | 7 | 80 | Yes | 44.92 | -35.08
73 | 2021-10-13 | 7 | 8 | 80 | Yes | 44.92 | -35.08
74 | 2021-10-13 | 7 | 9 | 80 | Yes | 44.92 | -35.08
75 | 2021-10-13 | 7 | 10 | 80 | Yes | 44.92 | -35.08
76 | 2021-10-13 | 7 | 11 | 79.1919 | Yes | 44.92 | -34.2719
77 | 2021-10-13 | 7 | 12 | 80.3656 | Yes | 44.92 | -35.4456
78 | 2021-10-13 | 8 | 1 | 76.0961 | Yes | 44.92 | -31.1761
79 | 2021-10-13 | 8 | 2 | 82.0139 | Yes | 44.92 | -37.0939
80 | 2021-10-13 | 8 | 3 | 83.4046 | Yes | 44.92 | -38.4846
81 | 2021-10-13 | 8 | 4 | 81.5483 | Yes | 44.92 | -36.6283
82 | 2021-10-13 | 8 | 5 | 79.6209 | Yes | 44.92 | -34.7009
83 | 2021-10-13 | 8 | 6 | 67.6319 | Yes | 44.92 | -22.7119
84 | 2021-10-13 | 8 | 7 | 95.88 | Yes | 44.92 | -50.96
85 | 2021-10-13 | 8 | 8 | 68.2414 | Yes | 44.92 | -23.3214
86 | 2021-10-13 | 8 | 9 | 58.5646 | Yes | 44.92 | -13.6446
87 | 2021-10-13 | 8 | 10 | 61.6891 | Yes | 44.92 | -16.7691
88 | 2021-10-13 | 8 | 11 | 534.4206 | Yes | 44.92 | -489.5006
89 | 2021-10-13 | 8 | 12 | 432.9165 | Yes | 44.92 | -387.9965
90 | 2021-10-13 | 9 | 1 | 589.6562 | Yes | 44.92 | -544.7362
91 | 2021-10-13 | 9 | 2 | 677.5232 | Yes | 44.92 | -632.6032
92 | 2021-10-13 | 9 | 3 | 680.5554 | Yes | 44.92 | -635.6354

## Price_Impact_B
Table 9: Price Impact Analysis Information for Pricing Node B in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2021-10-19 | 8 | 3 | 57.4528 | Yes | 58.81 | 1.3572
2 | 2021-10-28 | 23 | 10 | 55.6281 | Yes | 64.79 | 9.1619
3 | 2021-10-28 | 23 | 11 | 54.6242 | Yes | 64.79 | 10.1658
4 | 2021-10-28 | 23 | 12 | 53.669 | Yes | 64.79 | 11.121
5 | 2021-10-28 | 24 | 1 | 54.0038 | Yes | 64.79 | 10.7862
6 | 2021-10-28 | 24 | 2 | 55.0047 | Yes | 64.79 | 9.7853
7 | 2021-10-28 | 24 | 3 | 56.9018 | Yes | 64.79 | 7.8882
8 | 2021-10-28 | 24 | 4 | 55.9936 | Yes | 64.79 | 8.7964
9 | 2021-10-28 | 24 | 7 | 52.6431 | Yes | 64.79 | 12.1469
10 | 2021-10-28 | 24 | 8 | 52.2253 | Yes | 64.79 | 12.5647
11 | 2021-10-28 | 24 | 9 | 52.0313 | Yes | 64.79 | 12.7587

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
NONTMOD | 0 | 0 | 0 | 0
Total | 0 | 0 | 0 | 0