## Revision_History
FNM Scope for FNM DB22M10
(Production 10/5/2022)
Revision History
Effective Date | Version | Description
2022-08-11 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
2022-09-30 | 2 | Add additional information
California ISO – Public

## NRI
I. NRI Projects
No | PTO | Resource ID | Project Name / Description | Project Key | Capacity (MW) | POD | Additional Information
1 | IID | SIGHEB_6_HE2SCEDYN | Heber 2 | 22DYN22052 | 26 | Mirage 230kV Bus | New Dynamic resource
2 | NVE | HOOV_2_ANAPT | Hoover Anaheim | 22PSEUDO22248 | 40.4 |  | New Pseudo resource
3 | NVE | HOOVER_2_SCEPT | Hoover SCE | 22PSEUDO22254 | 287.13 |  | New Pseudo resource
4 | NVE | HOOVER_2_MWDPT | Hoover MWD | 22PSEUDO22867 | 249.95 |  | New Pseudo resource
5 | NVE | HOOVER_2_VEAPT | Hoover VEA | 22PSEUDO22868 | 17.67 |  | New Pseudo resource
6 | SCE | CLAP_GW2BT1_LOAD | Gaskell West 2 CLAP | 22CLAP23215 | 1.2 |  | New Custom LAP resource
7 | SCE | OASIS_6_AR8SR2 | Arrache 8083 II | 22GEN20769 | 1.5 | Antelope 66 kV Bus | New Solar resource
8 | SCE | OASIS_6_AR8SR3 | Arrache 8083 III | 22GEN20770 | 1.5 | Antelope 66 kV Bus | New Solar resource
9 | SCE | WSTWND_2_M89WD2 | Mojave 89 Wind | 22GEN22620 | 82.7 | Vincent 230kV Bus | New Wind/Wind Repower resource
10 | SCE | GASKW1_2_GW2SR1 | Gaskell West 2a | 22GEN23222 | 16 | Whirlwind 230kV Bus | New Solar resource
11 | SCE | GASKW1_2_GW2SR2 | Gaskell West 2b | 22GEN23223 | 29 | Whirlwind 230kV Bus | New Solar resource
12 | SCE | WSTWND_2_M89BT2 | Mojave 89 BESS 2B | 22NGR22750 | 70.6 | Vincent 230kV Bus | New Storage resource
13 | SCE | GASKW1_2_GW2BT1 | Gaskell West 2 BESS | 22NGR23153 | 20 | Whirlwind 230kV Bus | New Non-Generation resource
14 | SCE | DSFLWR_2_W9CSB1 | Willy 9 Chap 1 | 22NGR23162 | 102 | Whirlwind 230kV Bus | New Non-Generation resource
15 | SCE | DSFLWR_2_W9CSB2 | Willy 9 Chap 2 | 22NGR23163 | 72 | Whirlwind 230kV Bus | New Non-Generation resource
16 | SDGE | MURRAY_6_ESMBT1 | EnerSmart Murray 1 | 21NGR19940 | 3 | Murray 69 kV Bus | New Non-Generation resource
17 | SDGE | MURRAY_6_ESMBT2 | EnerSmart Murray 2 | 21NGR19943 | 3 | Murray 69 kV Bus | New Non-Generation resource
18 | SDGE | MURRAY_6_ESMBT3 | EnerSmart Murray 3 | 21NGR19944 | 3 | Murray 69 kV Bus | New Non-Generation resource
19 | SDGE | MURRAY_6_ESMBT4 | EnerSmart Murray 4 | 21NGR19945 | 3 | Murray 69 kV Bus | New Non-Generation resource
20 | SDGE | MURRAY_6_ESMBT5 | EnerSmart Murray 5 | 21NGR19947 | 3 | Murray 69 kV Bus | New Non-Generation resource
21 | SDGE | MURRAY_6_ESMBT6 | EnerSmart Murray 6 | 21NGR19948 | 3 | Murray 69 kV Bus | New Non-Generation resource
22 | SDGE | MURRAY_6_ESMBT7 | EnerSmart Murray 7 | 21NGR19950 | 3 | Murray 69 kV Bus | New Non-Generation resource
23 |  |  | Alta I (IDG030A) | 21RIG18976 | 150 |  | RIG Reconfiguration
24 |  |  | Alta II & III (IDG043A) | 21RIG18977 | 150 |  | RIG Reconfiguration
25 |  |  | Alta IV & V (IDG023A) | 21RIG18978 | 150 |  | RIG Reconfiguration
26 |  |  | Alta X (IRG126) | 21RIG18979 | 137.4 |  | RIG Reconfiguration
27 |  |  | Alta XI (IRG127) | 21RIG18980 | 89.4 |  | RIG Reconfiguration
28 |  |  | Mojave 89 and 90 | 22RIG21710 | 82.6 |  | RIG Reconfiguration
29 |  |  | KES Kingsburg Cogen (IRG039) | 22RIG22227 | 34.5 |  | RIG Reconfiguration
30 |  |  | SMPRIP_1_SMPSON (IRG189) | 22RIG22228 | 46.05 |  | RIG Reconfiguration
31 |  |  | CUMBIA_1_SOLAR | 22RIG22549 | 20 |  | RIG Reconfiguration
32 |  |  | California Flats South | 22RIG22563 | 50 |  | RIG Reconfiguration
33 |  |  | ESCO_6_GLMQF | 22RIG22685 | 49.9 |  | RIG Reconfiguration
34 |  |  | New-Indy Oxnard | 22RIG22707 | 29 |  | RIG Reconfiguration
35 |  |  | Calipatria Solar, LLC | 22RIG22751 | 20 |  | RIG Reconfiguration
36 |  |  | Burney Forest | 22RIG22763 | 29 |  | RIG Reconfiguration
37 |  |  | Saticoy NERC | 22RIG22772 | 100 |  | RIG Reconfiguration
38 |  |  | Johanna 1 NERC | 22RIG22783 | 10 |  | RIG Reconfiguration
39 |  |  | Johanna 2 NERC | 22RIG22784 | 10 |  | RIG Reconfiguration
40 |  |  | Midway 1 Solar | 22RIG22804 | 50 |  | RIG Reconfiguration
41 |  |  | Rosamond Solar One | 22RIG22805 | 20 |  | RIG Reconfiguration
42 |  |  | Rosamond Solar Two | 22RIG22809 | 20 |  | RIG Reconfiguration
43 |  |  | Five Points Solar | 22RIG22810 | 60 |  | RIG Reconfiguration
44 |  |  | Friant Hydro NERC | 22RIG22811 | 25 |  | RIG Reconfiguration
45 |  |  | RIG Reconfiguration Project for Miguel BESS | 22RIG22845 | 1.6 |  | RIG Reconfiguration
46 |  |  | RIG Reconfiguration Project for ELCAJN6UNITA1 | 22RIG22846 | 48 |  | RIG Reconfiguration
47 |  |  | RIG Reconfiguration Project for MRGT6MMAREF | 22RIG22847 | 47 |  | RIG Reconfiguration
48 |  |  | RIG Reconfiguration Project for MRGT6MEF2 | 22RIG22848 | 47 |  | RIG Reconfiguration
49 |  |  | RIG Reconfiguration Project for MRGT6TGEBT1 | 22RIG22849 | 30 |  | RIG Reconfiguration
50 |  |  | Edom Hills Wind Farm | 22RIG22851 | 20 |  | RIG Reconfiguration
51 |  |  | Blackwell | 22RIG22869 | 20 |  | RIG Reconfiguration
52 |  |  | Cal Flats North NERC | 22RIG22876 | 130 |  | RIG Reconfiguration
53 |  |  | Coronal Lost Hills, LLC | 22RIG22877 | 20 |  | RIG Reconfiguration
54 |  |  | Wildcat BESS NERC | 22RIG22999 | 3 |  | RIG Reconfiguration
55 |  |  | Henrietta D BESS NERC | 22RIG23045 | 10 |  | RIG Reconfiguration
56 |  |  | Isabella Hydro Dam | 22RIG23129 | 11.9 |  | RIG Reconfiguration
57 |  |  | Kern Canyon Powerhouse RIG Reconfiguration | 22RIG23150 | 10.6 |  | RIG Reconfiguration
58 |  |  | Humboldt Sawmill RIG Reconfiguration 2022 | 22RIG23151 | 28.8 |  | RIG Reconfiguration
59 |  |  | OXGEN | 22RIG23152 | 47.7 |  | RIG Reconfiguration
60 |  |  | Honey Lake RIG Reconfiguration | 22RIG23171 | 35.5 |  | RIG Reconfiguration
61 |  |  | Rising tree Wind Farm I LLC | 22RIG23216 | 79 |  | RIG Reconfiguration
62 |  |  | Rising tree Wind Farm II LLC | 22RIG23217 | 20 |  | RIG Reconfiguration
63 |  |  | Rising tree Wind Farm III LLC | 22RIG23218 | 79 |  | RIG Reconfiguration

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | PGAE | 17TRANS6452 | Rio Oso: Rebuild Substation | ET3942
2 | PGAE | 17TRANS6452 | Rio Oso: Rebuild Substation | ET3943
3 | PGAE | 18TRANS6558 | Lake Alpaugh Battery Storage Generation Interconnection Project | ET3430
4 | PGAE | 19TRANS8687 | Gates 500 kV Bank 11 Replacement | ET3991
5 | PGAE | 19TRANS8690 | Bellota-Warnerville 230 kV Line Reconductoring | ET3995
6 | PGAE | 19TRANS8808 | Westlands Solar Blue (Q1139) | ET4034
7 | PGAE | 19TRANS8808 | Westlands Solar Blue (Q1139) | ET4253
8 | PGAE | 19TRANS9262 | Hummingbird Energy Storage | ET4140
9 | PGAE | 19TRANS9262 | Hummingbird Energy Storage | ET4141
10 | PGAE | 19TRANS9560 | North Central Valley (Q1109) Generation Interconnection Project | ET4162
11 | PGAE | 19TRANS9560 | North Central Valley (Q1109) Generation Interconnection Project | ET4163
12 | PGAE | 21TRANS16167 | Palermo ¿ Wyandotte 115 kV Line Section Reconductoring Project | ET4613
13 | PGAE | 21TRANS18874 | CRAG VIEW-CASCADE 115KV NERC PROJECT | ET4697
14 | PGAE | 22TRANS23219 | Tidewater-Sobrante 230 kV Structure Replacement Project | ET5113
15 | SCE | 20TRANS14482 | Quartz Solar Farm No.8 - TOT749/Q1198 | ET4510
16 | SCE | 20TRANS14482 | Quartz Solar Farm No.8 - TOT749/Q1198 | ET4511

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | APS | Add MOBT breaker to West Wing station (WW). | 22EMS23911
2 | AVA_BA | Import attached csv in MAGE to update AVA''s MVA limits for DB116 | 22EMS23726
3 | BANC_BA | Update terminals sequence numbers for MID transformers per BANC''s approval | 22EMS23926
4 | BANC_BA | Transmission Line - Updated MID Load measurement ICCP IDs in ICCP Measurement Report. | 22EMS23929
5 | BANC_BA | Transformer - Updated MID Load measurement ICCP IDs in ICCP Measurement Report. | 22EMS23930
6 | BPAT_BA | Generator - BPA Dynamic generator model mapping | 22EMS23489
7 | BPAT_BA | Contingency Definition - BPA Contingency List | 22EMS23490
8 | BPAT_BA | RAS - Local BPA RAS at Big Eddy update a limit for Bank #1 from 320MVA to 334 MVA from DSO 327 and 341. | 22EMS23931
9 | BPAT_TOP | Transmission Line - Update Item Number 6.23 | 22EMS23418
10 | CHPD_BA | Generator - Dynamics data update from periodic MOD-026/27 testing - Gen RDFID f9ffb757-0f50-4f61-a8dc-c9ed6e488dae from RC_Resource_07282022.xlsx reference | 22EMS23811
11 | CHPD_BA | Generator - Dynamics data update from periodic MOD-027 testing - Gen RDFID | 22EMS23947
12 | CHPD_TOP | N_WENATC, WALLA_C | 22EMS23303
13 | HHWP_TOP | Transmission Line - INTKEP model being provided per request for model updates submitted 6/8/2022. | 22EMS23654
14 | HHWP_TOP | Update 36964_WRNRVLLE_115_36998_MW_TAP _115_BR_8 _1 line rating and update the line name | 22EMS23716
15 | IID_TOP | Substation\Load - Requested updated PSLF basecase by Jamil Morrar to review any modeling issues they may encounter in our area. | 22EMS23924
16 | IPCO_BA | Generator - IRO 010 Item 6.25 dynamic model data | 22EMS23297
17 | IPCO_BA | Substation\Load - Move BECE load from BEJN to T061 at BECE | 22EMS23539
18 | IPCO_BA | Transmission Line - Move zbr line to SCSR from OCHD to MNJ1 | 22EMS23540
19 | IPCO_BA | Generator - Move generator SCSR to 138kV | 22EMS23541
20 | IPCO_BA | Substation\Load - Remove 062_LD | 22EMS23542
21 | IPCO_BA | Transformer - Add transformer T131 | 22EMS23543
22 | IPCO_BA | Substation\Load - Add 69kV tapped station and switches | 22EMS23544
23 | IPCO_BA | Breaker(s)\ Disconnect(s) - Add switches | 22EMS23545
24 | IPCO_BA | Breaker(s)\ Disconnect(s) - Add switches | 22EMS23546
25 | IPCO_BA | Breaker(s)\ Disconnect(s) - Add switches 062B, 062C, 063B, 063D, 065D, 065X, 065Y | 22EMS23547
26 | IPCO_BA | Substation\Load - Add 138kv tap station and switches | 22EMS23548
27 | IPCO_BA | Breaker(s)\ Disconnect(s) - Add 131Z breaker and 131X switch | 22EMS23549
28 | IPCO_BA | Transmission Line - Remove LYPK-MNJ1 line | 22EMS23550
29 | IPCO_BA | Transmission Line - Add ORTP-LYPK 138kV line | 22EMS23551
30 | IPCO_BA | Transmission Line - Add ORTP-MNJ1 138kV line | 22EMS23552
31 | IPCO_BA | Transmission Line - Add BECE-BEJN 69kV line | 22EMS23553
32 | IPCO_BA | Transmission Line - Add OCHD-ORTP 138kV line | 22EMS23554
33 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 22EMS23555
34 | IPCO_BA | - CIM export of IPCO_BA FNM. | 22EMS23556
35 | IPCO_BA | Generator - IRO 010 Item 6.25 dynamic model data | 22EMS23901
36 | NEVP_BA | H ALLEN | 22EMS23986
37 | NEVP_TOP | Generator - RESOURCE ID FOR STARPEAK 2 | 22EMS23211
38 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM measurement names for breakers and line flows at substation | 22EMS23534
39 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM measurement names for breakers and line flows at substation | 22EMS23535
40 | NWMT_TOP | RAS - Apex Solar RAS status ICCP | 22EMS23351
41 | NWMT_TOP | Transmission Line - Missoula City work; Clearwater wind pseudo tie | 22EMS23559
42 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update SCADA mapping for CB 11U7 (New OBJ ID = W042_DIXONVI1_CAP_11U7) | 22EMS23298
43 | PAC_TOP | Transformer - Added new breaker bay, XFMR, and line to SNOWGOOS | 22EMS23299
44 | PAC_TOP | Transmission Line - Added CB 1L404, MOAB 1L682, switches AS 1L756, 1L757, 1L758 and 2 branches to KLAMATHF | 22EMS23300
45 | PNM_BA | Substation\Load - Added Customer Feeder 3 | 22EMS23352
46 | PNM_BA | Substation\Load - Added Customer Feeder 2 | 22EMS23353
47 | PNM_BA | Substation\Load - Added Customer Feeder 1 | 22EMS23354
48 | PNM_BA | Transmission Line - Added HNRN-RTSN2 115Kv | 22EMS23355
49 | PNM_BA | Transmission Line - Added HNRN-RTSN1 115Kv | 22EMS23356
50 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 79065 | 22EMS23357
51 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 76865 | 22EMS23358
52 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 73565 | 22EMS23359
53 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 70265 | 22EMS23360
54 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 82361 | 22EMS23361
55 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 82363 | 22EMS23362
56 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 82365 | 22EMS23363
57 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 83461 | 22EMS23364
58 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 84563 | 22EMS23365
59 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 80161 | 22EMS23366
60 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 80162 | 22EMS23367
61 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 80163 | 22EMS23368
62 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 81261 | 22EMS23369
63 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 81262 | 22EMS23370
64 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 81263 | 22EMS23371
65 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 76861 | 22EMS23372
66 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 76862 | 22EMS23373
67 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 76863 | 22EMS23374
68 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 77961 | 22EMS23375
69 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 77962 | 22EMS23376
70 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 77963 | 22EMS23377
71 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 79061 | 22EMS23378
72 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 79062 | 22EMS23379
73 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 79063 | 22EMS23380
74 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 73561 | 22EMS23381
75 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 73562 | 22EMS23382
76 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 73563 | 22EMS23383
77 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 74661 | 22EMS23384
78 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 74662 | 22EMS23385
79 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 74663 | 22EMS23386
80 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 75761 | 22EMS23387
81 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 75762 | 22EMS23388
82 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 75763 | 22EMS23389
83 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 70261 | 22EMS23390
84 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 70262 | 22EMS23391
85 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 70263 | 22EMS23392
86 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 71361 | 22EMS23393
87 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 71362 | 22EMS23394
88 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 71363 | 22EMS23395
89 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 72461 | 22EMS23396
90 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 72462 | 22EMS23397
91 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 72463 | 22EMS23398
92 | PNM_BA | Substation\Load - Added Customer Feeder 3 | 22EMS23441
93 | PNM_BA | Substation\Load - Added Customer Feeder 2 | 22EMS23442
94 | PNM_BA | Substation\Load - Added Customer Feeder 1 | 22EMS23443
95 | PNM_BA | Transmission Line - Added HNRN-RTSN2 115Kv | 22EMS23444
96 | PNM_BA | Transmission Line - Added HNRN-RTSN1 115Kv | 22EMS23445
97 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 79065 | 22EMS23446
98 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 76865 | 22EMS23447
99 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 73565 | 22EMS23448
100 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 70265 | 22EMS23449
101 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 82361 | 22EMS23450
102 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 82363 | 22EMS23451
103 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 82365 | 22EMS23452
104 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 83461 | 22EMS23453
105 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 84563 | 22EMS23454
106 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 80161 | 22EMS23455
107 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 80162 | 22EMS23456
108 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 80163 | 22EMS23457
109 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 81261 | 22EMS23458
110 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 81262 | 22EMS23459
111 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 81263 | 22EMS23460
112 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 76861 | 22EMS23461
113 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 76862 | 22EMS23462
114 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 76863 | 22EMS23463
115 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 77961 | 22EMS23464
116 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 77962 | 22EMS23465
117 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 77963 | 22EMS23466
118 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 79061 | 22EMS23467
119 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 79062 | 22EMS23468
120 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 79063 | 22EMS23469
121 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 73561 | 22EMS23470
122 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 73562 | 22EMS23471
123 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 73563 | 22EMS23472
124 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 74661 | 22EMS23473
125 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 74662 | 22EMS23474
126 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 74663 | 22EMS23475
127 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 75761 | 22EMS23476
128 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 75762 | 22EMS23477
129 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 75763 | 22EMS23478
130 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 70261 | 22EMS23479
131 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 70262 | 22EMS23480
132 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 70263 | 22EMS23481
133 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 71361 | 22EMS23482
134 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 71362 | 22EMS23483
135 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 71363 | 22EMS23484
136 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 72461 | 22EMS23485
137 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 72462 | 22EMS23486
138 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 72463 | 22EMS23487
139 | PSE | Update Impedances of Talbot - Maple Hill tie lines | 22EMS23817
140 | SMUD_TOP | Load shed RAS point | 22EMS24011
141 | SNPD_TOP | Substation\Load - Updated UFLS model | 22EMS22693
142 | SNPD_TOP | Shoofly Install\ Removal - Install a shoo-fly to bypass Fifty Second Substation | 22EMS23180
143 | SNPD_TOP | Shoofly Install\ Removal - Install a shoo-fly to bypass Gibson Substation | 22EMS23181
144 | SNPD_TOP | Shoofly Install\ Removal - Install a shoo-fly to bypass Fifty Second Substation. Updated ICCP data to meet BPA's character limit | 22EMS23202
145 | SPP_RC | WACM MT-ELBRT: Model missing load MTE_PUMP (PMAX 255), bus, and two switches between the pre-existing generators at the station. | 22EMS23777
146 | SPP_RC | JOU Template - WAPA DSW''s internal Hoover Share MRID: HOOVER_2_HYDR | 22EMS23975
147 | TEPC_TOP | Generator - Updates to MW and Mvar limits for various generators | 22EMS23492
148 | TEPC_TOP | Generator - Assignment of keys to Iron Horse Battery and Prairie Fire Solar | 22EMS23493
149 | TEPC_TOP | Transformer - Addition of T8 transformer with SCADA assignments, to be in service in november | 22EMS23494
150 | TEPC_TOP | Transmission Line - Updates for MVA limits, resistance, reactance, and charging values for various lines, reassigned some SCADA keys for consistency | 22EMS23495
151 | TEPC_TOP | Breaker(s)\ Disconnect(s) - Addition of new Sonoran breakers and 47kv distribution as equivalent load | 22EMS23864
152 | TEPC_TOP | Transformer - Addition of new Pinal West transformer and relevant breakers/disconnects | 22EMS23865
153 | TPWR_BA | Substation, Generator, Breaker - Remove RD Smith generator from TPWR BA | 22EMS23685
154 | TPWR_BA | Substation\Load - Remove RD Smith generator from TPWR BA | 22EMS23686
155 | WALC | MEAD SS - Model clean up | 22EMS23502
156 | WALC | This project is accompanying 22EMS23502 to update the MEAD 345 kV modeling per the May SPP submitted model. | 22EMS23934
157 | WASN | U450, LLL | 22EMS23207