## Revision_History
FNM Scope for FNM DB22M11
(Production 11/16/2022)
Revision History
Effective Date | Version | Description
2022-09-15 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
2022-11-14 | 2 | Add additional information
California ISO – Public

## NRI
I. NRI Projects
No | PTO | Resource ID | Project Name / Description | Project Key | Capacity (MW) | POD | Additional Information
1 | PGAE | KNTSTH_6_WALSR1 | Westlands Almond | 15AS884078 | 20 | KENT SW STA 70KV BUS | New Solar resource
2 | PGAE | VISTRA_5_PLABT1 | Plano Storage 1 | 22NGR22249 | 100.4 | MOSSLD 500 KV BUS | New Storage resource
3 | PGAE | VISTRA_5_PLABT2 | Plano Storage 2 | 22NGR22250 | 100.4 | MOSSLD 500 KV BUS | New Storage resource
4 | SCE | CMBLND_2_DS2BT1 | Daggett Solar 2 a BESS | 22NGR22031 | 52 | COOL WATER 230 KV BUS | New Non-Generation resource
5 | SCE | CMBLND_2_DS2BT2 | Daggett Solar 2 b BESS | 22NGR22033 | 33 | COOL WATER 230 KV BUS | New Non-Generation resource
6 | SCE | CMBLND_2_DS2BT3 | Daggett Solar 2 c BESS | 22NGR22035 | 46 | COOL WATER 230 KV BUS | New Non-Generation resource
7 | SCE | CMBLND_2_DS2SR1 | Daggett Solar 2 a PV | 22GEN22030 | 65 | COOL WATER 230 KV BUS | New Solar resource
8 | SCE | CMBLND_2_DS2SR2 | Daggett Solar 2 b PV | 22GEN22032 | 65 | COOL WATER 230 KV BUS | New Solar resource
9 | SCE | CMBLND_2_DS2SR3 | Daggett Solar 2 c PV | 22GEN22034 | 52 | COOL WATER 230 KV BUS | New Solar resource
10 | SCE | DELSUR_6_HORSR1 | Horn | 22GEN21516 | 1.5 | Antelope 66 kV Bus | New Solar resource
11 | SCE | KRAMER_1_R2BX2 | Resurgence 2 BESS | 22NGR23050 | 40 | Kramer 115 kV Bus | New Aggregate Non-Generation resource; child resources: KRAMER_1_R2BBT1: 20 MW KRAMER_1_R2BBT2: 20 MW
12 | SCE | KRAMER_1_R2PX2 | Resurgence 2 PV | 22GEN23049 | 48 | Kramer 115 kV Bus | New Aggregate Solar resource; child resources: KRAMER_1_R2PSR1: 24 MW KRAMER_1_R2PSR2: 24 MW
13 | SCE | MARVEL_2_MARBT3 | Marvel 2 | 22NGR22669 | 75 | DEVERS 230KV BUS | New Non-Generation resource
14 | SCE | MARVEL_2_MARBX2 | Marvel | 16AS0071 | 325 | DEVERS 230KV BUS | New Aggregate Non-Generation resource; child resources: MARVEL_2_MARBT1: 162.5 MW MARVEL_2_MARBT2: 162.5 MW
15 | SCE | MESAS_2_YORBT1 | Yorktown 1 BESS | 19NGR10050 | 3 | MESA 230KV BUS | New Non-Generation resource
16 | SCE | OASIS_6_AR4SR1 | Arrache 4006 I | 22GEN21452 | 1 | Antelope 66 kV Bus | New Solar resource
17 | SCE | OASIS_6_AR4SR2 | Arrache 4006 II | 22GEN21453 | 1 | Antelope 66 kV Bus | New Solar resource
18 | SCE | OASIS_6_AR4SR3 | Arrache 4013 | 22GEN21454 | 1.5 | Antelope 66 kV Bus | New Solar resource
19 | SCE | OASIS_6_MA4SR1 | Ma 4035 | 22GEN22229 | 1.5 | Antelope 66 kV Bus | New Solar resource
20 | SCE | OASIS_6_VINSR1 | Vinam | 22GEN21525 | 1.5 | Antelope 66 kV Bus | New Solar resource
21 | SDGE | WESCAN_2_BDSBT1 | Bateria Del Sur | 18AS2040 | 131 | Imperial Valley 230 KV BUS | New Storage resource
22 |  |  | Stateline Solar | 22RIG22562 | 340 |  | RIG Reconfiguration
23 |  |  | Black Diamond ES | 22RIG22695 | 200 |  | RIG Reconfiguration
24 |  |  | Ridgetop 1 | 22RIG23157 | 48.03 |  | RIG Reconfiguration
25 |  |  | Acorns BESS | 22RIG23158 | 2 |  | RIG Reconfiguration
26 |  |  | Adams East NERC BAL003 2 0 | 22RIG23168 | 19 |  | RIG Reconfiguration
27 |  |  | Edwards Sanborn BESS | 22RIG23174 | 800 |  | RIG Reconfiguration
28 |  |  | KRAMER LUZ 9 | 22RIG23175 | 80 |  | RIG Reconfiguration
29 |  |  | COACHELLA 1 | 22RIG23184 | 61 |  | RIG Reconfiguration
30 |  |  | Painted_Hills | 22RIG23185 | 41.6 |  | RIG Reconfiguration
31 |  |  | SAN GORGONIO WESTWINDS | 22RIG23186 | 140 |  | RIG Reconfiguration
32 |  |  | Old_River_One | 22RIG23187 | 21 |  | RIG Reconfiguration
33 |  |  | Corcoran_City | 22RIG23188 | 10.6 |  | RIG Reconfiguration
34 |  |  | Kansas_Solar | 22RIG23189 | 20 |  | RIG Reconfiguration
35 |  |  | West_Antelope | 22RIG23190 | 20 |  | RIG Reconfiguration
36 |  |  | Corcoran Irrigation District Solar | 22RIG23191 | 19.8 |  | RIG Reconfiguration
37 |  |  | Kent South Solar | 22RIG23192 | 20 |  | RIG Reconfiguration
38 |  |  | Goose_Lake | 22RIG23193 | 12 |  | RIG Reconfiguration
39 |  |  | Maricopa_West | 22RIG23194 | 19 |  | RIG Reconfiguration
40 |  |  | SAN_GORGONIO_WESTWINDS | 22RIG23196 | 43.4 |  | RIG Reconfiguration
41 |  |  | Camelot NERC | 22RIG23203 | 45 |  | RIG Reconfiguration
42 |  |  | Columbia2 NERC | 22RIG23204 | 15 |  | RIG Reconfiguration
43 |  |  | Blast_Sub_ | 22RIG23405 | 49 |  | RIG Reconfiguration
44 |  | HOOVER_2_HYDR | Hoover Hydro RIG | 22RIG23501 | 317.24 |  | RIG Reconfiguration

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | PGAE | 16TRANS6361 | Northern Orchard Solar Generation Interconnection (Q946) | ET4243
2 | PGAE | 18TRANS8163 | Gates Cluster 8 RAS-08 | ET3859
3 | PGAE | 18TRANS8322 | Ignacio Mare Island 115kV - Highway Sub to Cordelia Sub NERC Project | ET3896
4 | PGAE | 18TRANS8322 | Ignacio Mare Island 115kV - Highway Sub to Cordelia Sub NERC Project | ET4586
5 | PGAE | 19TRANS8642 | Los Banos - Padre Flat Switching Station 230 kV Line No. 1 Reconductoring Project. Cluster 8 Shared Network Upgrade | ET3954
6 | PGAE | 19TRANS8838 | Tesla 230 kV Bus Series reactor | ET4065
7 | PGAE | 19TRANS8838 | Tesla 230 kV Bus Series reactor | ET4066
8 | PGAE | 20TRANS14540 | Angela Generation Interconnection (Q1443) Project | ET4560
9 | PGAE | 20TRANS14540 | Angela Generation Interconnection (Q1443) Project | ET4561
10 | PGAE | 22TRANS23598 | WATSON_1_CICCOG Gen Removal | ET5122
11 | PGAE | 22TRANS23599 | GWFPW1_6_UNIT Gen Removal | ET5123
12 | PGAE | 22TRANS23600 | GWFPW2_1_UNIT 1 Gen Removal | ET5124
13 | PGAE | 22TRANS23601 | GWFPW3_1_UNIT 1 Gen Removal | ET5125
14 | PGAE | 22TRANS23602 | GWFPW4_6_UNIT 1 Gen Removal | ET5126
15 | PGAE | 22TRANS23603 | GWFPW5_6_UNIT 1 Gen Removal | ET5127
16 | PGAE | 22TRANS23604 | GWFPWR_6_UNIT Gen Removal | ET5128
17 | PGAE | 22TRANS23605 | IBMCTL_1_UNIT Gen Removal | ET5129
18 | SCE | 20TRANS14106 | SCE Centralized Remedial Action Scheme (CRAS) | ET4484

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | PACE | Lakeside 1 RAS Update | 22EMS22782
2 | AVA_BA | - ICCP mapping to AVA CIM model | 22EMS23807
3 | AVA_BA | - Note: the ratings in this submittal are FALL = High1/High2, and WINTER = High3/High4 | 22EMS23808
4 | BANC_BA | Substation\Load - Updated MID Load measurement ICCP IDs in ICCP Measurement Report. | 22EMS23823
5 | BANC_BA | Substation\Load - Added 2 analog measurements at CODONI station. | 22EMS23824
6 | BANC_BA | Breaker(s)\ Disconnect(s) - Remove all pseudo disconnects associated with new CODONI station | 22EMS23825
7 | BANC_BA | Transmission Line - Removed this AC Line because CODONI substation is now energized | 22EMS23826
8 | BCHA_RC | Substation\Load - CIM 15 model | 22EMS23832
9 | BCHA_RC | Equipment Type - Updated ICCP | 22EMS23833
10 | BPAT_TOP | Transmission Line - Remove T-090 and T-091 at the COLV_IND tap that will cause COLV_IND tap removal and OKAN_EOMK_1115 (EASTOMAK - SANDFLAT 1 115) line rating to change. | 22EMS23766
11 | BPAT_TOP | Substation\Load - Remove T-090 and T-091 at the COLV_IND tap that will cause COLV_IND tap removal and OKAN_EOMK_1115 (EASTOMAK - SANDFLAT 1 115) line rating to change. | 22EMS23767
12 | BPAT_TOP | Transmission Line - Due to the limiting rating switch removal the line rating for BREW_TWSP_1115 (BREWSTER - PATEROS 1 115kV) will changed. | 22EMS23768
13 | BPAT_TOP | Transmission Line - Update Item Number 6.23 | 22EMS23773
14 | BPAT_BA | Generator - Change generator to a laod due to insignificant Pmax. | 22EMS23869
15 | BPAT_BA | Breaker(s)\ Disconnect(s) - Updated Switches/PCBs. | 22EMS23870
16 | BPAT_BA | Breaker(s)\ Disconnect(s) - Updated Switches/PCBs. | 22EMS23871
17 | BPAT_BA | Breaker(s)\ Disconnect(s) - Updated Switches/PCBs. | 22EMS23872
18 | BPAT_BA | Breaker(s)\ Disconnect(s) - Updated Switches/PCBs. | 22EMS23873
19 | BPAT_BA | Breaker(s)\ Disconnect(s) - Updated Switches/PCBs. | 22EMS23874
20 | BPAT_BA | Breaker(s)\ Disconnect(s) - Updated Switches/PCBs. | 22EMS23875
21 | BPAT_BA | Breaker(s)\ Disconnect(s) - Updated Switches/PCBs. | 22EMS23876
22 | BPAT_BA | Breaker(s)\ Disconnect(s) - Updated Switches/PCBs names to match SCADA. | 22EMS23877
23 | BPAT_BA | Breaker(s)\ Disconnect(s) - Updated Switches/PCBs names to match SCADA. | 22EMS23878
24 | BPAT_BA | Breaker(s)\ Disconnect(s) - Updated Switches/PCBs names to match SCADA. | 22EMS23879
25 | BPAT_BA | Breaker(s)\ Disconnect(s) - Updated Switches/PCBs names to match SCADA. | 22EMS23880
26 | BPAT_BA | Breaker(s)\ Disconnect(s) - Updated Switches/PCBs names to match SCADA. | 22EMS23881
27 | BPAT_BA | Breaker(s)\ Disconnect(s) - Updated Switches/PCBs names to match SCADA. | 22EMS23882
28 | BPAT_BA | Breaker(s)\ Disconnect(s) - Updated Switches/PCBs names to match SCADA. | 22EMS23883
29 | BPAT_BA | Breaker(s)\ Disconnect(s) - Updated Switches/PCBs names to match SCADA. | 22EMS23884
30 | BPAT_BA | Breaker(s)\ Disconnect(s) - Updated Switches/PCBs names to match SCADA. | 22EMS23885
31 | BPAT_BA | Breaker(s)\ Disconnect(s) - Updated Switches/PCBs names to match SCADA. | 22EMS23886
32 | BPAT_BA | Breaker(s)\ Disconnect(s) - Added missing switches to match SCADA. | 22EMS23887
33 | BPAT_BA | Breaker(s)\ Disconnect(s) - Updated Switches/PCBs names. | 22EMS23888
34 | BPAT_BA | Breaker(s)\ Disconnect(s) - New bay addition. | 22EMS23889
35 | BPAT_BA | Contingency Definition - BPA Contingency List | 22EMS23890
36 | IPCO_BA | Transmission Line - Relocated new 69kV FTLD substation COTP and NWPM | 22EMS23857
37 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removed MPSN_HUMBOLDT switch on MPSN-HMBT line | 22EMS23858
38 | IPCO_BA | Transmission Line - Remove MPSN-HMBT line | 22EMS23859
39 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 22EMS23860
40 | IPCO_BA | - CIM export of IPCO_BA FNM. | 22EMS23861
41 | LDWP_BA | Substation\Load - Update CAS Sta Serv and VIC Bank K | 22EMS23866
42 | LDWP_BA | Transmission Line - Update INT-GON Ratings, HSK-OLV Ratings and GRA-HAR Impedances | 22EMS23867
43 | LDWP_BA | Substation\Load - Update Measurments | 22EMS23868
44 | SCL_BA | Substation\Load - RDSMITH will no longer be part of the SCL_BA footprint starting on 9/1. The generation plant will join BPAT_BA's footprint on that date. BPA has included a duplicated RDSMITH substation in their latest CIM model update so it can be double modeled and transfered between BA footprints through WebOMS outage cards. | 22EMS23722
45 | SRP_BA | Transmission Line - Please remove ICCP "W073$MICROMIL_L_69_QNCRK_MW" on instead use "W073$MICROMIL_L_69_QC_DIR1_MW" Please remove ICCP "W073$MICROMIL_L_69_QNCRK_MV" on instead use "W073$MICROMIL_L_69_QC_DIR1_MV" | 22EMS23891
46 | SRP_BA | Transmission Line - Please remove ICCP "W073$SILVERKG_S500_CORND_MW" on instead use "W073$SILVERKG_S500_CORND_MW" Please remove ICCP "W073$SILVERKG_S500_CORND_MV" on instead use "W073$SILVERKG_S500_CORND_MV" | 22EMS23892
47 | SRP_BA | Breaker(s)\ Disconnect(s) - Updated switch 656 and 657 to Normally Closed | 22EMS23893
48 | SRP_BA | Breaker(s)\ Disconnect(s) - Please remove ICCP "W073$CORONADO_DGD500_821G_ST" on breaker 821 and instead use "W073$CORONADO_DMO500_821_ST" | 22EMS23894
49 | SRP_BA | Substation\Load - New substation | 22EMS23895
50 | PGE_BA | Breaker(s)\ Disconnect(s) - Update the PGE line switch names to the format of SW_xxxxx | 22EMS23755
51 | PGE_BA | Substation\Load - Split the Sbus into B52 and B54 in FNM | 22EMS23756
52 | PGE_BA | Substation\Load - Split the Sbus into B60 and B61 in FNM | 22EMS23757
53 | PGE_BA | Substation\Load - Update the naming convention from BOIS to CSCD | 22EMS23758
54 | PGE_BA | Substation\Load - Update the naming convention from SCPP to SCPS | 22EMS23759
55 | PGE_BA | Substation\Load - Update the naming convention from BRVT to BVRT | 22EMS23760
56 | PGE_BA | Substation\Load - Update the naming convention from RBSS to RDBT | 22EMS23761
57 | PGE_BA | Substation\Load - Map SCADA points on Orenco new 115kV and include associated ICCP points | 22EMS23762
58 | PGE_BA | - List of ICCP points mapping | 22EMS23763
59 | PGE_BA | - Model Difference report | 22EMS23764
60 | PGE_BA | - Model Updates for PGE: CIMxml model file | 22EMS23765
61 | IID | Update IID model with AC Lines and Impedance updates | 22EMS23928
62 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removed ICCP ID | 22EMS23834
63 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removed ICCP ID | 22EMS23835
64 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Added/Removed ICCP ID | 22EMS23836
65 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removed ICCP ID | 22EMS23837
66 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removed ICCP ID | 22EMS23838
67 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removed ICCP ID | 22EMS23839
68 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removed ICCP ID | 22EMS23840
69 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removed ICCP ID | 22EMS23841
70 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removed ICCP ID | 22EMS23842
71 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removed ICCP ID | 22EMS23843
72 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Renamed ICCP object names/CIM Measurement names | 22EMS23844
73 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Renamed ICCP object names/CIM Measurement names | 22EMS23845
74 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Renamed ICCP object names/CIM Measurement names | 22EMS23846
75 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Renamed ICCP object names/CIM Measurement names | 22EMS23847
76 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Renamed ICCP object names/CIM Measurement names | 22EMS23848
77 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Renamed ICCP object names/CIM Measurement names | 22EMS23849
78 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Renamed ICCP object names/CIM Measurement names | 22EMS23850
79 | NEVP_TOP | Shoofly Install\ Removal - Shooflys have been modeled for future work at substation | 22EMS23851
80 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removal of EIM switches used to fold in Thunder Mountain substation | 22EMS23852
81 | NEVP_TOP | Substation\Load - Removal of NC Tap from model, was previously replaced by WASSUK sub | 22EMS23853
82 | NEVP_TOP | Generator - Adding BESS unit to Arrow Canyon project at H Allen | 22EMS23854
83 | NEVP_TOP | Generator - New generator at new sub | 22EMS23855
84 | NEVP_TOP | Substation\Load - New substation at current sub Eagle | 22EMS23856
85 | GCPD_TOP | Transmission Line - Multiple transmission lines need to have updated System Operating Limits. | 22EMS23769
86 | GCPD_TOP | Transmission Line - Line section COLU_LARS_1230_AA does not exist and should be removed from the model. | 22EMS23770
87 | GCPD_TOP | Substation\Load - Switch GB1090 needs to be added to the ROYAL oneline. The ROYAL oneline needs to be updated to match the provided picture. | 22EMS23771
88 | PNM_BA | - Updated ICCP-OPENENT-SCADA Cross Reference List | 22EMS23789
89 | PNM_BA | Breaker(s)\ Disconnect(s) - Update equipment type from Breaker to Disconnect, 50763 | 22EMS23919
90 | PNM_BA | Breaker(s)\ Disconnect(s) - Update equipment type from Breaker to Disconnect, 50761 | 22EMS23920
91 | PNM_BA | Breaker(s)\ Disconnect(s) - Update equipment type from Breaker to Disconnect, 56963 | 22EMS23921
92 | PNM_BA | Breaker(s)\ Disconnect(s) - Update equipment type from Breaker to Disconnect, 56961 | 22EMS23922
93 | PNM_BA | Breaker(s)\ Disconnect(s) - Remove HOD 52663 | 22EMS23923
94 | AVA_BA | Contingency Definition - Complete refresh of AVA contingencies. All Contingencies defined as "Remove" were pulled from previous submittal. "New" Contingencies replace, update, and add on to AVA's existing list. Enough drift was observed that a complete refresh feels appropriate for accuracy. | 22EMS23812
95 | EPEC | Move PhaseTapChangerLinear to the other winding for the phase shifter at ARROYOWC to match the SPP Model | 22EMS23996
96 | BPA | FINLEY_B, HOMESTED | 22EMS24006
97 | IPCO_BA | Generator - IRO 010 Item 6.25 dynamic model data | 22EMS24062
98 | NEVP_TOP | Update impedance values for XF#1 at W TRACY station | 22EMS24088
99 | NWMT | Update Rimrock BNK-3 and BNK-4 impedances with impedances in the attached script. | 22EMS24105
100 | BPAT_BA | Transmission Line - Update Item Number 6.23 | 22EMS24037
101 | PAC_TOP | Substation\Load - Update scheduled load MW and MVAR | 22EMS23991
102 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update SCADA key mapping for CB 43 and line measurements. Update scheduled load MW and MVAR | 22EMS23992
103 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update device naming for 6 devices | 22EMS23993
104 | PAC_TOP | Substation\Load - Update scheduled load MW and MVAR | 22EMS23987
105 | PAC_TOP | Substation\Load - Update scheduled load MW and MVAR | 22EMS23988
106 | PAC_TOP | Substation\Load - Update scheduled load MW and MVAR | 22EMS23990
107 | PAC_TOP | Substation\Load - Update scheduled load MW and MVAR | 22EMS23989
108 | PNM_BA | Breaker(s)\ Disconnect(s) - 807V L9 HNRN-RTSN1 KVOLTS | 22EMS24049
109 | PNM_BA | Breaker(s)\ Disconnect(s) - 807Q L9 HNRN-RTSN1 MVAR | 22EMS24050
110 | PNM_BA | Breaker(s)\ Disconnect(s) - 807LP L9 HNRN-RTSN1 MW | 22EMS24051
111 | PNM_BA | Breaker(s)\ Disconnect(s) - 675V L3 HNRN-RTSN2 KVOLTS | 22EMS24052
112 | PNM_BA | Breaker(s)\ Disconnect(s) - 675Q L3 HNRN-RTSN2 MVAR | 22EMS24053
113 | PNM_BA | Breaker(s)\ Disconnect(s) - 675LP L3 HNRN-RTSN2 MW | 22EMS24054
114 | PNM_BA | Breaker(s)\ Disconnect(s) - 7086V HU VOLTS | 22EMS24055
115 | PNM_BA | Breaker(s)\ Disconnect(s) - Added HOD 68663 | 22EMS24056
116 | PNM_BA | Breaker(s)\ Disconnect(s) - Added HOD 80763 | 22EMS24057
117 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 79665 | 22EMS24058
118 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOD 67565 | 22EMS24059
119 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 80762 | 22EMS24060
120 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 68662 | 22EMS24061
121 | AVA_BA | - ICCP mapping to AVA CIM model | 22EMS24148
122 | AVA_BA | - Note: the ratings in this submittal are SPRING = High1/High2, and WINTER = High3/High4 | 22EMS24149
123 | SPP_RC | Add HOGBACK2 Station in regards to CIDI #00254692 | 22EMS24344
124 | SPP_RC | Add ICCP for Ault station in WACM | 22EMS24346
125 | PNM | Update the Impedance values on the PICACHO- FRONT_TS Line. | 22EMS24361
126 | BCHA_RC | Transmission Line - Add line section | 22EMS24190
127 | BCHA_RC | Substation\Load - Delete substation | 22EMS24191
128 | BCHA_RC | Substation\Load - Add new substation | 22EMS24192
129 | BCHA_RC | Equipment Type - Updated ICCP | 22EMS24193
130 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed LINK CAP_GRP_6_SEC1 and SEC2. Moved LINK ABUS_B331_B336 above B2157 | 22EMS24141
131 | BPAT_BA | Breaker(s)\ Disconnect(s) - Fixed switch types to match BPA SCADA. | 22EMS24142
132 | BPAT_BA | Breaker(s)\ Disconnect(s) - Added jumpers to by-pass the station for Snohomish PUD and temp jumpers: DSC JMP_1A Now Closed; Future Open. DSC JMP_1B Now Open; Future Closed. | 22EMS24143
133 | BPAT_BA | Breaker(s)\ Disconnect(s) - Added new series caps at WAUTOMA to SCHULTZ 500kV line. | 22EMS24144
134 | BPAT_BA | Breaker(s)\ Disconnect(s) - New bays and temp jumpers for future reconfiguarations. Now: DSC JMP_2A Closed, DSC JMP_2B Open; Future: DSC JMP_2A Open, DSC JMP_2B Closed. Now: DSC JMP_1B Closed, DSC JMP_1A Open; Future: DSC JMP_1B Open, DSC JMP_1A Closed. | 22EMS24145
135 | BPAT_BA | Generator - Pmax will increase to 8 MW. | 22EMS24146
136 | BPAT_BA | Contingency Definition - BPA Contingency List | 22EMS24147
137 | SCL | Please update the SCL George XFMR impedances to clear DC solutions in market. | 22EMS24417
138 | IPCO_BA | We are upgrading a transformer at one of our generator plants with an in-service date of 11/11. The MVA rating, MVA operational limits, as well as resistance/reactance values will change as a result. | 22EMS24433
139 | TEP | Various model corrections | 22EMS24459