## Revision_History
FNM Scope for FNM DB23M1
(Production 1/12/2023)
Revision History
Effective Date | Version | Description
2022-10-27 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
2023-01-10 | 2 | Add additional information
California ISO – Public

## NRI
I. NRI Projects
No | PTO | Resource ID | Project Name / Description | Project Key | Capacity (MW) | POD | Additional Information
1 | PGAE | NORCNV_1_NCVBT1 | North Central Valley | 15AS881748 | 132 | BELLOTA 115kv BUS | New Non-Generation resource
2 | PGAE | PROXSR_2_PROSR1 | Proxima Solar | 16AS0147 | 120 | Quinto 230kV Switching Station | New Solar resource
3 | PGAE | FORKBU_6_UNIT | Forks of Butte Hydro Project | 22CONV21021 | 14.4 |  | Existing QF resource
4 | PGAE | PROXSR_2_PS1SR2 | Proxima Solar 1B | 22GEN23904 | 70 | QUINTO SW 230 kv BUS | New Solar resource
5 | PGAE | FIFTHS_2_FSSR1 | Fifth Standard Solar | 22GEN23968 | 150 | GATES 230kv Bus | New Solar resource
6 | PGAE | VISTRA_5_PLABT3 | Plano Storage 3 | 22NGR22251 | 74.6 | MOSS LANDING 500 KV BUS | New Storage resource
7 | PGAE | PROXSR_2_PS1BT1 | Proxima Solar BESS 1A | 22NGR23644 | 40 | QUINTO SW 230 kv BUS | New Storage resource
8 | PGAE | PROXSR_2_PS1BT2 | Proxima Solar BESS 1B | 22NGR23903 | 32 | QUINTO SW 230 kv BUS | New Storage resource
9 | PGAE | PROXSR_2_PS2BT3 | Proxima Solar BESS 2 | 22NGR23905 | 90 | QUINTO SW 230 kv BUS | New Storage resource
10 | PGAE | FIFTHS_2_FSSBT | Fifth Standard Solar BESS | 22NGR23967 | 137 | Gates 230kv Bus | New Non-Generation resource
11 | SCE | SEAWND_2_AMWWD1 | Alta Mesa Wind | 21GEN15703 | 27 | Devers 230kV Bus | New Wind/Wind Repower resource
12 | SCE | PANERO_2_MWPWD1 | Mesa Wind Project | 21GEN16652 | 30 | Devers 230kV Bus | New Wind/Wind Repower resource
13 | SCE | VALLEY_5_PENCT1 | Pechanga CHP | 21GEN20526 | 4.6 | VALLEY 500 Kv Bus | New Conventional resource
14 | SCE | GOLETA_2_PAIBT2 | PAINTER BESS | 21NGR20464 | 10 | GOLETA 230 kv Bus | New Non-Generation resource
15 | SCE | DELAMO_2_ALASB2 | BCE Los Alamitos 2 | 22GEN23166 | 10 | Del Amo 230kV Bus | New Non-Generation resource
16 | SCE | OBERON_5_O1SSX2 | Oberon 1A Solar | 22GEN23698 | 125 | REDBLUFF 500 KV Bus | New Aggregate Solar resource; child resources: OBERON_5_O1SSR1: 25 MW OBERON_5_O1SSR2: 100 MW
17 | SCE | OBERON_5_O1SSR3 | Oberon 1B Solar | 22GEN23699 | 100 | REDBLUFF 500 KV Bus | New Solar resource
18 | SCE | OBERON_5_O2SSR4 | Oberon 2A Solar | 22GEN23701 | 125 | REDBLUFF 500 KV Bus | New Solar resource
19 | SCE | OBERON_5_O2SSR5 | Oberon 2B Solar | 22GEN23702 | 125 | REDBLUFF 500 KV Bus | New Solar resource
20 | SCE | LCKHT1_2_LH1SR1 | Lockhart Solar 1 PV | 22GEN23959 | 85 | Kramer 230kV Bus | New Solar resource
21 | SCE | GOLETA_2_G1ACB1 | Goleta Energy Center 1a | 22GEN23976 | 35 | Goleta 230kV Bus | New Conventional resource
22 | SCE | GOLETA_2_G1BCB2 | Goleta Energy Center 1b | 22GEN23977 | 35 | Goleta 230kV Bus | New Conventional resource
23 | SCE | SAUGUS_2_SPESBT1 | Santa Paula Energy Storage | 22NGR21613 | 30 | PARDEE 230 KV BUS | New Storage resource
24 | SCE | BARRE_2_ALASB1 | BCE Los Alamitos 1 | 22NGR23164 | 10 | Barre 230kV Bus | New Non-Generation resource
25 | SCE | OBERON_5_O1BBX2 | Oberon 1 BESS | 22NGR23700 | 125 | REDBLUFF 500 KV Bus | New Aggregate Non-Generation resource; child resources: OBERON_5_O1BBT1: 62.5 MW OBERON_5_O1BBT2: 62.5 MW
26 | SCE | OBERON_5_O2BBX2 | Oberon 2 BESS | 22NGR23703 | 125 | REDBLUFF 500 KV Bus | New Aggregate Non-Generation resource; child resources: OBERON_5_O2BBT3: 62.5 MW OBERON_5_O2BBT4: 62.5 MW
27 | SCE | JOANEC_2_ST3BT3 | Santa Ana Storage 3 | 22NGR23741 | 40 | JOHANNA 230 KV Bus | New Non-Generation resource
28 | SCE | STANTN_2_SBEBX2 | Stanton Battery Energy Storage | 22NGR24013 | 68.8 | BARRE 230kV Bus | New Aggregate Non-Generation resource; child resources: STANTN_2_SBEBT3: 34.4 MW STANTN_2_SBEBT4: 34.4 MW
29 | SDGE | JVREPK_1_KSOSB1 | Kettle Solar One | 18AS1979 | 90 | 13844 (East County - Boulevard East) 138kV Line | New Non-Generation resource
30 |  |  | Quinto Solar | 22RIG23638 | 108 |  | RIG Reconfiguration
31 |  |  | Alamo NERC | 22RIG23640 | 20.57 |  | RIG Reconfiguration
32 |  |  | Catalina NERC | 22RIG23641 | 18.4 |  | RIG Reconfiguration
33 |  |  | Move RIG points to Centralized RIG | 22RIG23646 | 1.6 |  | RIG Reconfiguration
34 |  |  | Alta 8 | 22RIG23658 | 150 |  | RIG Reconfiguration
35 |  |  | Coram Tehachapi Wind | 22RIG23659 | 16.9 |  | RIG Reconfiguration
36 |  |  | Silver State Solar | 22RIG23660 | 250 |  | RIG Reconfiguration
37 |  |  | Whitney Solar | 22RIG23661 | 22 |  | RIG Reconfiguration
38 |  |  | West Side Solar | 22RIG23662 | 20 |  | RIG Reconfiguration
39 |  |  | ROSAMOND 1 | 22RIG23745 | 59.4 |  | RIG Reconfiguration
40 |  |  | ROSAMOND 2 | 22RIG23746 | 59.4 |  | RIG Reconfiguration
41 |  |  | GREENLEAF ENERGY UNIT 2; Unit 1; RIG Updates | 22RIG24035 | 47 |  | RIG Reconfiguration
42 |  |  | Pacific Wind Project | 22RIG24073 | 140 |  | RIG Reconfiguration

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | GLW | 22TRANS21353 | Trout Canyon 230kV SS | ET5112
2 | PGAE | 19TRANS10562 | Gates Substation Sec E 230 kV BAAH | ET4279
3 | PGAE | 21TRANS18562 | Perry Bank No. 1 Installation (Cambria Removal) | ET4680
4 | PGAE | 21TRANS18562 | Perry Bank No. 1 Installation (Cambria Removal) | ET4681
5 | PGAE | 21TRANS18562 | Perry Bank No. 1 Installation (Cambria Removal) | ET4682
6 | SCE | 22TRANS22433 | Victory Pass Solar (TOT7620/Q1200) | ET5089
7 | SCE | 22TRANS22433 | Victory Pass Solar (TOT7620/Q1200) | ET5090
8 | SDGE | 21TRANS19289 | Descanso Bank 30 and Yard expansion | ET4737
9 | SDGE | 21TRANS20259 | Kyocera (KA) | ET4814
10 | SDGE | 22TRANS22173 | Q1531 Bateria Del Sur | ET5065

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | AVA_BA | Contingency Definition - Original submittal of contingencies for DB117 was missing equipment due to scripting bug. This is a fixed, complete refresh of AVA contingencies. All Contingencies defined as "Remove" were pulled from previous submittal. "New" Contingencies replace, update, and add on to AVA's existing list. Enough drift was observed that a complete refresh feels appropriate for accuracy. | 22EMS24534
2 | AVRN_BA | Remove extra breakers at ROCKCREK and JUNPCYN1. | 22EMS24362
3 | AVRN_BA | AVRN Model Updates to support the WEIM integration. | 22EMS24624
4 | AZPS_BA | Contingency Definition - Added contingencies "AP1 CVN-PR_1 345", "AP1 CH-CVN_1 345", and "AP1 CVN-OHACO_1 345"; Deleted contingency "AP1 CH-PR_1 345" | 22EMS24254
5 | AZPS_BA | Contingency Definition - Added contingencies "AP1 AVY - RY_1 230" and "AP1 AVY-SCW_1 230"; Removed contingency "AP1 SCW-RY_1 230" | 22EMS24255
6 | AZPS_BA | Contingency Definition - Added contingencies "AP1 NGILAA 500-230 BK 7" and "AP1 NGILA - OD_1 230" | 22EMS24256
7 | AZPS_BA | Contingency Definition - Added contingencies "AP1 FDM-STS 230 1", "AP1 PV-STS 230 1", "AP1 PV-STS 230 2", and "AP1 RUN-STS 230 1"; Deleted contingencies "AP1 PV-RUN_1_230" and "AP1 FDM-PV_1 230" | 22EMS24257
8 | AZPS_BA | Transmission Line - Updated the ratings and impedances of multiple 69KV lines | 22EMS24258
9 | AZPS_BA | Transformer - Updated the ratings and impedances of multiple transformers | 22EMS24259
10 | AZPS_BA | Generator - Added resource IDs to 69KV generators GEN1 A & GEN2 A | 22EMS24260
11 | AZPS_BA | Substation\Load - Added the 230KV portion with line NG-OD | 22EMS24261
12 | AZPS_BA | Substation\Load - Added the 230KV portion with 34.5KV/230KV/500KV transformer XFMR7 A and 230KV line NG-OD | 22EMS24262
13 | AZPS_BA | Substation\Load - Added the 34.5KV portion with line BW-CRS | 22EMS24263
14 | AZPS_BA | Substation\Load - Added the 12KV portion with transformer XFMR3 A, feeders 1, 4, & 5 | 22EMS24264
15 | AZPS_BA | Substation\Load - Added the 34.5KV portion with lines BW-CRS & HGX-BWTP | 22EMS24265
16 | AZPS_BA | Substation\Load - Added the 12KV portion with transformer XFMR1 A feeder 2 | 22EMS24266
17 | AZPS_BA | Generator - Added resource ID to 12KV generator FHS1 A | 22EMS24267
18 | AZPS_BA | Substation\Load - Removed removed extraneous 12KV & 115KV busbars, switching fields, feeders, and transformers | 22EMS24268
19 | AZPS_BA | Breaker(s)\ Disconnect(s) - Renamed 69KV switch WPK to HUB | 22EMS24269
20 | AZPS_BA | Substation\Load - Added the 12KV portion with transformer XFMR3 A feeder 2 | 22EMS24270
21 | AZPS_BA | Breaker(s)\ Disconnect(s) - Renamed 69KV switch QS to CKD | 22EMS24271
22 | AZPS_BA | Breaker(s)\ Disconnect(s) - Renamed 69KV switch VE to CKD | 22EMS24272
23 | AZPS_BA | Transmission Line - Replaced 69KV line CTTIE-CT with CTTIECKD | 22EMS24273
24 | AZPS_BA | Substation\Load - Added the 69KV portion with lines CTTIE-CT & CTTIECKD | 22EMS24274
25 | AZPS_BA | Substation\Load - Added the 12KV portion with transformer XFMR3 A feeders 2 & 4 | 22EMS24275
26 | AZPS_BA | Breaker(s)\ Disconnect(s) - Renamed 69KV switches CQ, DRK-CQ, & WM-CQ to SDT, DRK-SDT, & WM-SDT resp. | 22EMS24276
27 | AZPS_BA | Transmission Line - Added 69KV line RG-SDT | 22EMS24277
28 | AZPS_BA | Transmission Line - Replaced 69KV line SUM-CQ with RG-SDT | 22EMS24278
29 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added transition modeling for the addition of 345KV line PR-CVN | 22EMS24279
30 | AZPS_BA | Transmission Line - Added 69KV lines BNG-WMT, NAD-BNG, & WM-BNG | 22EMS24280
31 | AZPS_BA | Substation\Load - Added the 21KV portion with transformer XFMR7 A & feeder 9 | 22EMS24281
32 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Renamed 345KV shunt reactor RPX RE A to PNT RE A | 22EMS24282
33 | AZPS_BA | Transmission Line - Replaced 345KV line FC-RPX with FC-PNTX | 22EMS24283
34 | AZPS_BA | Breaker(s)\ Disconnect(s) - Renamed 345KV switches RPX, RPX RE, & ST4-RPX to PNTX, PNTX RE, & ST4-PNTX resp. | 22EMS24284
35 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added transition modeling for the replacement of 230KV line PV-RUN with PV-STS1 | 22EMS24285
36 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added transition modeling for the replacement of 230KV line PV-FDM with PV-STS2 | 22EMS24286
37 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added transition modeling for the replacement of 69KV line PV-STS with PV-TTH | 22EMS24287
38 | AZPS_BA | Transmission Line - Renamed 69KV line PV-PM to PV-PM1 | 22EMS24288
39 | AZPS_BA | Breaker(s)\ Disconnect(s) - Renamed 69KV switches PM, PM-T11, & T3-PM to PM L1, PM1-T11, & T3-PM1 resp. | 22EMS24289
40 | AZPS_BA | Transmission Line - Renamed 69KV line PV-PM to PV-PM1 | 22EMS24290
41 | AZPS_BA | Breaker(s)\ Disconnect(s) - Renamed 69KV switches PV & BBS-PCK to PV L1 & BBUSCBUS resp. | 22EMS24291
42 | AZPS_BA | Substation\Load - Added the 69KV portion with lines FRN-MMRT & MMRT-TB | 22EMS24292
43 | AZPS_BA | Substation\Load - Added the 12KV portion with transformer XFMR3 A and feeder 4 | 22EMS24293
44 | AZPS_BA | Transmission Line - Replaced 69KV line K685-BZ with K685-HUB | 22EMS24294
45 | AZPS_BA | Substation\Load - Added the 69KV portion with lines BZ-HUB & K685-HUB | 22EMS24295
46 | AZPS_BA | Substation\Load - Added the 12KV portion with transformer XFMR30 A and feeder 23 | 22EMS24296
47 | AZPS_BA | Transmission Line - Replaced 69KV line TB-FRN with FRN-MMRT | 22EMS24297
48 | AZPS_BA | Transmission Line - Replaced 69KV line FDMTPFDM with FDMT2WPK | 22EMS24298
49 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added transition modeling for the 230KV line STS-FDM | 22EMS24299
50 | AZPS_BA | Transmission Line - Replaced 69KV line FDMTPFDM with FDM-WPK | 22EMS24300
51 | AZPS_BA | Breaker(s)\ Disconnect(s) - Renamed 69KV switch T3-RUN to T3-WLS | 22EMS24301
52 | AZPS_BA | Transmission Line - Replaced 69KV line K685-BK with BZ-HUB | 22EMS24302
53 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Added 69KV, 21.6 MVAR shunt capacitor CB1 A | 22EMS24303
54 | AZPS_BA | Substation\Load - Added the 12KV portion with transformers XFMR20 A & XFMR30 A, feeders 23, 24, & 25 | 22EMS24304
55 | AZPS_BA | Transmission Line - Replaced 69KV line RUN-BRD with BRD-SAR | 22EMS24305
56 | AZPS_BA | Breaker(s)\ Disconnect(s) - Renamed 69KV switches RUN & T7-RUN to SAR & T7-SAR, resp. | 22EMS24306
57 | AZPS_BA | Substation\Load - Added the 230KV portion with lines RY-AVY & SCW-AVY | 22EMS24307
58 | AZPS_BA | Transformer - Added transformer XFMR1 A with feeders 3 & 5 | 22EMS24308
59 | AZPS_BA | Transmission Line - Replaced 69KV line PYR-PNR with PNR-AVYT | 22EMS24309
60 | AZPS_BA | Substation\Load - Added the 69KV portion with lines PNR-AVYT & PYR-AVYT | 22EMS24310
61 | AZPS_BA | Substation\Load - Added the 345KV portion with lines CH-CVN & PR-CVN | 22EMS24311
62 | AZPS_BA | Transmission Line - Removed 69KV line SUM-CQ | 22EMS24312
63 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added transition modeling for the addition of 345KV line CH-CVN | 22EMS24313
64 | AZPS_BA | Substation\Load - Added the 69KV portion with lines BNG-WMT, NAD-BNG, & WM-BNG | 22EMS24314
65 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added 230KV switches AES & AES-NWB | 22EMS24315
66 | AZPS_BA | Breaker(s)\ Disconnect(s) - Renamed 230KV switch NEB-2327 to NEB-AES | 22EMS24316
67 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Added 69KV series device ¿FDM SD¿ | 22EMS24317
68 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Removed 69KV shunt capacitor CB3 A | 22EMS24318
69 | AZPS_BA | Transmission Line - Added 69KV lines FDM-WPK & FDMT2WPK | 22EMS24319
70 | AZPS_BA | Breaker(s)\ Disconnect(s) - Renamed 69KV switches LR & CB3 to HUB & FDM resp. | 22EMS24320
71 | AZPS_BA | Transmission Line - Replaced 69KV line TB-FRN with MMRT-TB | 22EMS24321
72 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Changed the MVAR rating of 69KV shunt capacitor CB152 A to 1.8 MVAR | 22EMS24322
73 | AZPS_BA | Substation\Load - Added the 230KV portion with lines PV-STS1, PV-STS2, STS-FDM, & STS-RUN | 22EMS24323
74 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added transition modeling for the addition of transformers XFMR12 A & XFMR9 A | 22EMS24324
75 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added transition modeling for the addition of 69KV capacitor banks 25 & 26 | 22EMS24325
76 | AZPS_BA | Breaker(s)\ Disconnect(s) - Renamed 230KV switches RY, RY-621, & RY-SBUS to AVY, AVY-621, & AVY-SBUS resp. | 22EMS24326
77 | AZPS_BA | Transmission Line - Replaced 69KV line RUN-SAR with BRD-SAR | 22EMS24327
78 | AZPS_BA | Breaker(s)\ Disconnect(s) - Renamed 69KV switch RUN to BRD | 22EMS24328
79 | AZPS_BA | Transmission Line - Replaced 230KV line RY-SCW with RY-AVY | 22EMS24329
80 | AZPS_BA | Breaker(s)\ Disconnect(s) - Renamed 230KV switches 321-SCW, SCW, & SCW-1121 to 321-AVY, AVY, & AVY-1121, resp. | 22EMS24330
81 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added transition modeling for the replacement of 230KV line PV-RUN with STS-RUN | 22EMS24331
82 | AZPS_BA | Transformer - Added transformers XFMR12 A & XFMR9 A | 22EMS24332
83 | AZPS_BA | Transmission Line - Removed 69KV lines RUN-BRD & RUN-SAR | 22EMS24333
84 | AZPS_BA | Breaker(s)\ Disconnect(s) - Renamed 69KV switches BRD, SAR, T1-BRD, & T10-SAR to XFMR9L, XFMR12L, T1-T9, & T10-T12 resp. | 22EMS24334
85 | AZPS_BA | Transmission Line - Replaced 69KV line PYR-PNR with PYR-AVYT | 22EMS24335
86 | AZPS_BA | Substation\Load - Added the 12KV portion with transformers XFMR20 A & XFMR30 A, feeders 13, 14, 23, & 24 | 22EMS24336
87 | AZPS_BA | Generator - Updated dyd entry | 22EMS24421
88 | AZPS_BA | Generator - Updated dyd entry | 22EMS24422
89 | AZPS_BA | Generator - Updated dyd entry | 22EMS24423
90 | AZPS_BA | Southpoint ICCP SP_2_SPCTMSG | 22EMS24781
91 | BANC_BA | Substation\Load - Updated and Removed Analog and Digital ICCP Measurements from the ICCP Measurement Reports | 22EMS24198
92 | BANC_BA | Breaker(s)\ Disconnect(s) - Remove disconnect 6103C from model | 22EMS24199
93 | BANC_BA | Breaker(s)\ Disconnect(s) - Updated psuedo disconnect normal statuses | 22EMS24200
94 | BANC_BA | Transmission Line - Updated Winter Line ratings. | 22EMS24201
95 | BANC_BA | Transformer - Updated terminal sequence numbers per CAISO request | 22EMS24202
96 | BANC_BA | Transmission Line - Updated Analog linkages due to line cutover. | 22EMS24203
97 | BPAT_TOP | Transmission Line - Update Item Number 6.23 | 22EMS24424
98 | BPAT_TOP | Correct alias names at SHEPDSSC and SHEPDSCC in BPA. | 22EMS24571
99 | CHPD_BA | Substation\Load - Removing Olds Station load | 22EMS24150
100 | CHPD_BA | Breaker(s)\ Disconnect(s) - Removing circuit switcher 6-750 | 22EMS24151
101 | EPEC | EPEC CIM Detailed Model | 22EMS24620
102 | GCPD_TOP | Transmission Line - Updated Voltage SOL - Requested by CAISO | 22EMS24425
103 | IID_TOP | Update Mandrapa to Westside Canal Switchyard | 22EMS24572
104 | IPCO_BA | Generator - IRO 010 Item 6.25 dynamic model data for LGPR_2_G012 | 22EMS24139
105 | IPCO_BA | Generator - IRO 010 Item 6.25 dynamic model data for LGPR_2_G011 | 22EMS24140
106 | IPCO_BA | Transmission Line - Updated line segment (was BUHL-RKJN_A, now FIJN-RKJN_A) | 22EMS24205
107 | IPCO_BA | Transmission Line - Updated line segment (was RCDD-BUHL_A, now RCDD-FIJN_A) | 22EMS24206
108 | IPCO_BA | Transmission Line - Addition of BUHL-PGJN_A line segment | 22EMS24207
109 | IPCO_BA | Transmission Line - Addition of WELS-WWEL1_B line segment | 22EMS24208
110 | IPCO_BA | Transmission Line - Addition of FIJN-PGJN_A line segment | 22EMS24209
111 | IPCO_BA | Substation\Load - Addition of FIJN (junction) | 22EMS24210
112 | IPCO_BA | Substation\Load - Addition of PGJN (junction) | 22EMS24211
113 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of 056T0, 055T9 | 22EMS24212
114 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of 057T1, 057T2, 057T0 | 22EMS24213
115 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of 132Z, 101Z, 103X, 132X | 22EMS24214
116 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of 042Z, 045Z | 22EMS24215
117 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of 021X, 021Z, 021Y | 22EMS24216
118 | IPCO_BA | Breaker(s)\ Disconnect(s) - Additon of 043X, 053Y | 22EMS24217
119 | IPCO_BA | Generator - Addition - Two (2) new battery storage/generation units at HMWY | 22EMS24218
120 | IPCO_BA | Generator - Addition - New battery storage/generation at WESR | 22EMS24219
121 | IPCO_BA | Generator - Addition - New battery storage/generation at ELMR | 22EMS24220
122 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 22EMS24221
123 | IPCO_BA | - CIM export of IPCO_BA FNM. | 22EMS24222
124 | LDWP_BA | Substation\Load - Update CASPP U7 and HSK Bank G/H Topology | 22EMS24369
125 | LDWP_BA | Transmission Line - Add future HSK-SYL Line 2 | 22EMS24370
126 | LDWP_BA | Substation\Load - Update Measurments | 22EMS24371
127 | NEVP_TOP | Transmission Line - Addtion of ICCP object ID for EIM breakers; Added transmission line to model | 22EMS24223
128 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removal of ICCP object ID | 22EMS24224
129 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removal of ICCP object ID | 22EMS24225
130 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removal of ICCP object ID | 22EMS24226
131 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removal of ICCP object ID | 22EMS24227
132 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removal of ICCP object ID | 22EMS24228
133 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removal of ICCP object ID | 22EMS24229
134 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removal of ICCP object ID | 22EMS24230
135 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removal of ICCP object ID | 22EMS24231
136 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removal of ICCP object ID | 22EMS24232
137 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removal of ICCP object ID | 22EMS24233
138 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removal of ICCP object ID | 22EMS24234
139 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removal of ICCP object ID | 22EMS24235
140 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removal of ICCP object ID | 22EMS24236
141 | NEVP_TOP | Shoofly Install\ Removal - Addition of shoofly points in model/ICCP fo work at Eagle substation. | 22EMS24682
142 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Addition of modelling switches to enable/disable shooflys at Eagle substation | 22EMS24683
143 | NEVP_TOP | Default status change for H ALLEN | 22MRKT24565
144 | NWMT_TOP | Transformer - Added APEX generator; added/updated switches devices; updated numerous transformers | 22EMS24342
145 | PAC_TOP | Breaker(s)\ Disconnect(s) - Replace MOAB 89L1 with SW 89-1 | 22EMS24373
146 | PAC_TOP | Breaker(s)\ Disconnect(s) - Updated topology | 22EMS24374
147 | PAC_TOP | Breaker(s)\ Disconnect(s) - Add disconnect 34 | 22EMS24375
148 | PAC_TOP | Substation\Load - Add SCADA measurements to three auxiliary loads. | 22EMS24376
149 | PAC_TOP | Breaker(s)\ Disconnect(s) - Swap positions of switches J1447 and J1448 | 22EMS24377
150 | PAC_TOP | Substation\Load - Remove 12.5kV elements and replace distribution XFMR with load. Add 4 switches. | 22EMS24378
151 | PAC_TOP | Substation\Load - Remove 12.5kV elements and replace distribution XFMR with load. Add 4 switches. | 22EMS24379
152 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state for MO 11C17 to Closed | 22EMS24380
153 | PAC_TOP | Breaker(s)\ Disconnect(s) - Add SW J2019 | 22EMS24381
154 | PAC_TOP | Substation\Load - Add MW and MVAR SCADA measurements to Load DRYCREEK 138 LD T1 | 22EMS24382
155 | PAC_TOP | Transmission Line - Update SCADA keys for Horseshoe branch | 22EMS24383
156 | PAC_TOP | Transmission Line - Add branch to ROCKSPRI for removal of PALISADY | 22EMS24384
157 | PAC_TOP | Substation\Load - Remove Station | 22EMS24385
158 | PAC_TOP | Substation\Load - Add new station | 22EMS24386
159 | PAC_TOP | Substation\Load - Add 1 TR and load | 22EMS24387
160 | PAC_TOP | Generator - Add new station and generation (200 MW) | 22EMS24388
161 | PAC_TOP | Transmission Line - Add 4 breakers, 6 Switches, 1 MOAB, and 1 branch to Appaloosa solar. Updated names for switches 352BD & 352LD to 352A & 342A respectively | 22EMS24389
162 | PGE_BA | Transmission Line - Map branch measurements on COVE_RDBT_V1666 & V2667 | 22EMS24165
163 | PGE_BA | Shunt Cap\Reactor\ SVD¿s - Map MVar measurement on the CAP bank | 22EMS24166
164 | PGE_BA | Breaker(s)\ Disconnect(s) - Update B110 SCADA to RTU2 at Leland | 22EMS24167
165 | PGE_BA | Substation\Load - Orenco sub RTU update and clean up | 22EMS24168
166 | PGE_BA | Substation\Load - Clean up the Rivergate double modeling | 22EMS24169
167 | PGE_BA | Substation\Load - Emergency add mobile 6 attached to Eagel Creek for Boring-Rivergate line | 22EMS24170
168 | PGE_BA | Substation\Load - Split the Sbus into B51, B52, B54 and B58 | 22EMS24171
169 | PGE_BA | Substation\Load - Split the Sbus into B63 and B64 in FNM | 22EMS24172
170 | PGE_BA | Substation\Load - Split the Sbus into B52 and B51 in FNM | 22EMS24173
171 | PGE_BA | Substation\Load - Split the Sbus into B52 and B51 in FNM | 22EMS24174
172 | PGE_BA | Breaker(s)\ Disconnect(s) - Update Kelly Point RTU at Rivergate | 22EMS24175
173 | PGE_BA | Breaker(s)\ Disconnect(s) - Add SW_11695 for Canemah-Carver 115kV line at Clackmas tap | 22EMS24176
174 | PGE_BA | Substation\Load - Remove BHRP station | 22EMS24177
175 | PGE_BA | Breaker(s)\ Disconnect(s) - Remove SW_11515 in the model | 22EMS24178
176 | PGE_BA | Substation\Load - Remove BKWD 57kV, BKWD1 tap station and LS_5731 line switch | 22EMS24179
177 | PGE_BA | - CA defination update | 22EMS24180
178 | PGE_BA | - List of ICCP points mapping | 22EMS24181
179 | PGE_BA | - Model Difference report | 22EMS24182
180 | PGE_BA | - Model Updates for PGE: CIMxml model file | 22EMS24183
181 | PNM_BA | - Updated ICCP-OPENENT-SCADA Cross Reference List | 22EMS24195
182 | PNM_BA | Update R, X for 115kv Pic Fro - | 22EMS24366
183 | SNPD_TOP | Shoofly Install\ Removal - Install a shoo-fly to bypass Wallace River Substation | 22EMS24086
184 | SNPD_TOP | Shoofly Install\ Removal - Installing a shoo-fly to bypass Lake Serene | 22EMS24418
185 | SNPD_TOP | Shoofly Install\ Removal - Installing a shoo-fly to bypass Mariner | 22EMS24419
186 | SNPD_TOP | Shoofly Install\ Removal - Installing a shoo-fly to bypass Mountlake | 22EMS24420
187 | SPP_RC | Add a missing unit in the RED_TAIL Station. | 22EMS24529
188 | SRP_BA | Transformer - Updated Rating on BRG T 69/230 5 | 22EMS24237
189 | SRP_BA | Contingency Definition - Updated Contingency 972 | 22EMS24238
190 | SRP_BA | Transmission Line - Updated Impedances of branch PRS_PPR_69_1 | 22EMS24239
191 | SRP_BA | Transmission Line - Updated Impedances of branch HAA__RDHK_500_1 | 22EMS24240
192 | SRP_BA | Transmission Line - Updated Impedances of branch HOD_PPR_69_1 | 22EMS24241
193 | SRP_BA | Transmission Line - Updated Impedances of branch HAA__AVSE_500_1 | 22EMS24242
194 | SRP_BA | Transmission Line - Updated Impedances of branch CEM__HOR___69_1 | 22EMS24243
195 | SRP_BA | Transmission Line - Updated Impedances of branch ROH__SYY___69_1 | 22EMS24244
196 | SRP_BA | Transmission Line - Updated Impedances of branch HOR__IN____69_1 | 22EMS24245
197 | SRP_BA | Transmission Line - Updated Impedances of branch HAA__RDHK_500_2 | 22EMS24246
198 | SRP_BA | Transmission Line - Updated Impedances of branch PCL__DBN__230_1 | 22EMS24247
199 | SRP_BA | Breaker(s)\ Disconnect(s) - Added Breakers and Disconnects at Jojoba Substation in preparation for a new generating faciilty. | 22EMS24248
200 | TEP | Update the DEMOSSPT station to connect the DMPGT transformer in between switches 120B and 122A until the 138 kV switchyard is removed from the TEP CIM model. | 22EMS24574
201 | TEP | Update normal switch statuses and add pseudo load disconnect at West Wing per TEP feedback | 22EMS24916
202 | TEPC_TOP | Transmission Line - Updated transmission line and transformer ratings for accuracy | 22EMS24249
203 | TEPC_TOP | Substation\Load - New tie line made for SUT1 SRP owned load in Springerville, added load for abandoned Irv 152L line | 22EMS24250
204 | TEPC_TOP | Transformer - Winchester-Redhorse line changed to transformer for accuracy | 22EMS24251
205 | TEPC_TOP | Substation\Load - Resolved hanging busbars in various stations | 22EMS24252
206 | TEPC_TOP | Generator - Updated Pmin, Pmax, Qmin, Qmax for generators in multiple stations for accuracy | 22EMS24253
207 | WALC | WALC CIM Detailed Model | 22EMS24621
208 | WALC | AIRPORT TA, ED_4, GREEN_AE, NEWPORT, RIVIERA, THREEPNT, VALEN_SW | 22EMS24819