## Instruction
Generator Resource Data Template (GRDT) - FOR NEW RESOURCE IMPLEMENTATION
Version GRDT.12.0
BIOM
Instructions:
Complete the yellow highlighted fields in these spreadsheet tabs: RESOURCE, RAMPRATE, HEATRATE, and STARTUP.
Gray-shaded fields will be filled in by the CAISO.
Refer to the GRDT and IRDT Definitions document for descriptions of data fields.
available here.
Version | Effective Date | Description of Change
2.1 | 2009-04-01 | Initial creation of new market Generator Resource Data Template
3.0 | 12/7/2010 | Add new columns and tabs to accommodate Multi Stage Generator modeling:
New fields:
RESOURCE tab: MSG_YN, SUPPLIED_CONFIG_YN, STARTUP_RAMP_TIME
New tabs:
MSG_CONFIG
TRANSITION
CONFIG_RAMP
CONFIG_HEAT
CONFIG_STRT
CONFIG_REG
CONFIG_RREG
CONFIG_ROPR
4.0 | 6/14/2011 | Changes for independendent election of registered and proxy cost options:
RESOURCE tab:
Remove COST_BASIS_TYPE
Add ML_COST_BASIS_TYPE and SU_COST_BASIS_TYPE
Changes for previous project implementations: AS HASP, PDR
New fields:
RESOURCE tab:
Add CERT_DAM, CERT_RTM, HR_PRE_DISP
5.0 | October 2011 | Changes for Fall Release 2011:
RESOURCE tab:
Add DISCRETE_DISP (for Demand Response)
Add MIN_DWN_TM_GP, MIN_DWN_TM_PG (for Grouping Constraints)
6.5 | Fall Release 2012 | Changes for Fall Release 2012:
RESOURCE tab:
Add new fields: NGR, REM, MIN_CONT_ENERGY_LIMIT, MAX_CONT_ENERGY_LIMIT, CURT_ENERGY_LIMIT,
ENERGY_EFFIC, CHP, RMTG_MAX_ON_PEAK, RMTG_ON_PEAK_EXPIRE_DT, RMTG_MAX_OFF_PEAK,
RMTG_OFF_PEAK_EXPIRE_DT, GHG_EMISSION_RATE, GHG_COMPLIANCE_OBLIG
MSG_CONFIG tab:
Add new field: STARTUP_HEAT_INPUT
7.0 | Spring Release 2013 | Changes for Spring Release 2013:
RESOURCE tab:
Remove field: CERT_REG
Add new fields: CERT_REG_DOWN, CERT_REG_UP
MSG_CONFIG tab:
Remove field: CERT_REG
Add new fields: CERT_REG_DOWN, CERT_REG_UP
8.0 | Spring Release 2014 | Changes for Spring Release 2014:
Add new columns:
RESOURCE tab:
Remove fields: RA Flag, RA Capacity
Add new fields: CERT_BLKSTRT, ADDER_AMT, VER_YN, FORECAST_SELECTION
STARTUP tab: Start_Up MMA
MSG_CONFIG tab:
Remove field: Default RA Provider
Add new fields: ADDER_AMT, RA_RANGE_MIN, RA_RANGE_MAX
TRANSITION tab:
Remove field: Default RA Path Sequence
CONFIG_STRT tab: Start_Up MMA
9.1 | Fall Release 2014 | Changes for EIM 2014:
Add new columns:
RESOURCE tab:
Add new fields: EIM_PARTICIPATING, BAA
Add new tab:
GEN_RES_AGGR: Contains resource ID, name, and Pmax, of child units belonging to aggregate resources - Read-only
10.0 | Fall Release 2015 | Changes:
RESOURCE tab:
Add new field: GHG_COST
MSG_CONFIG tab:
Add new field: STARTUP_YN
11.0 | Fall Release 2016 | Changes:
RESOURCE tab:
Remove fields: GHG_COST, MOO_FLAG, STRANDED_LOAD
Add field: OPER_MAINT_ADDER_TYPE
MSG_CONFIG tab:
Remove field: STARTUP_HEAT_INPUT
TRANSITION tab:
Remove fields: Max Transition Cost, Transition Fuel, Transition Energy
Add fields: Transition Midpoint MW, Transition Midpoint Time
12.0 | Spring Release 2018 | Changes:
RESOURCE tab:
Add fields: ELECTRIC_REGN, POWER_PRICE_HUB, MKT_MAX_STRT, COM_MW
RAMPRATE tab:
Add field: Market Ramp Rate
REG RAMP tab:
Add field: Market Regulation Ramp Rate
OP RES RAMP tab:
Add field: Market Operating Res Ramp Rate
MSG_CONFIG tab:
Add field: IMPLIED_STRTS
TRANSITION tab:
Add fields: Market Max Daily Transitions, Implied Starts
CONFIG_RAMP tab:
Add field: Market Ramp Rate
CONFIG_RREG tab:
Add field: Market Regulation Ramp Rate
CONFIG_ROPR tab:
Add field: Market Operating Res Ramp Rate

## Definition
For data definitions and related business rules, please refer to the CAISO website at the following location:
www.caiso.com
www.caiso.com/1f94/1f94cd5447620.html

## Code
Air Quality Managment District
Code | Description | Fuel Type | Description | Prime Mover Technology | Description
AMAD | Amador | BGAS | Bio Gas (Landfill, Sewage, Digester, etc.) | CCYC | Combined Cycle
ANTV | Antelope Valley | BIOM | Biomass | GTUR | Gas Turbine
BUTT | Butte | COAL | Coal | HYDR | Hydro Turbine
CALA | Calaveras | DDR | Dispatchable Demand Response | OTHR | Other
COLU | Colusa | DIST | Distillate | PHOT | Photovoltaic
ELDO | El Dorado | GAS | Natural Gas | PTUR | Hydro Pump-Turbine
FRVR | Feather River | GEOT | Geothermal | PUMP | Pump
GBUN | Great Basin Unified | HRCV | Heat Recovery | RECP | Reciprocating Engine
GLEN | Glenn | LESR | Limited Energy Storage Resource | STUR | Steam Turbine
IMPE | Imperial | NUCL | Nuclear | SYNC | Synchronous Condenser
KERN | Kern | OIL | Oil | WIND | Wind Turbine
LAKE | Lake | OTHR | Other
LASS | Lassen | SOLR | solar
MARI | Mariposa | WAST | Waste to Energy
MBUN | Monterey Bay Unified | WATR | Water
MEND | Mendocino | WIND | Wind
MODO | Modoc
MOJD | Mojave Desert
NCUN | North Coast Unified
NSER | Northern Sierra
NSON | Northern Sonoma
OTHR | Other Region
PLAC | Placer
SACM | Sacramento Metro
SBRB | Santa Barbara
SCOA | South Coast
SDIE | San Diego
SFBA | San Francisco Bay Area
SHAS | Shasta
SISK | Siskiyou
SJVU | San Joaquin Valley Unified
SLUO | San Luis Obispo
TEHA | Tehama
TUOL | Tuolumne
VENT | Ventura
YOSO | Yolo/Solano

## RESOURCE
PGA Name | Scheduling Coordinator ID | Resource ID | Resource Name | Resource Type | Aggregate? | Energy Type | Fuel Type | Prime Mover Technology | Generator Type | Fuel Region | Electric Region | Power Price HUB | Air Quality Managment District | Maximum Generation Capacity | Minimum Generation Capacity | Minimum Dispatchable Level | Minimum On Time | Maximum On Time | Minimum Off Time | Maximum Startups Per Day | Market Maximum Startups Per Day | Minimum Load Cost | Minimum Load Cost Basis | Startup Cost Basis | Maximum Pump Capacity | Pumping Minimum Cost | Pumping Factor | Pump Maximum Daily Startups | Pump Minimum Up Time | Pump Minimum Down Time | Gen-to-Pump Minimum Down Time | Pump-to-Gen Minimum Down Time | Pump Maximum Shutdown Cost | Pump Shutdown Time | Variable Cost Option | Negotiated Rate Option | LMP Option | Reserve Capacity: Spin | Reserve Capacity: Non-Spin | Certified PIRP | Must Offer Obligation Qualified | Startup Code Type | Participating Generator Agreement Flag | Commercial Operation for Market MW | Constrained Output Generator Flag | Certified for Black Start | Certified for DA Market | Certified for RT Market | Certified for RUC? | Market Power Mitigation Participation Flag | Certified for AS: Regulation Down | Certified for AS: Regulation Up | Certified for AS: Spin | Certified for AS DAM: Non-Spin | Certified for AS RTM: Non-Spin | MSS Load Following Down | MSS Load Following Up | FERC Qualifying Facility Flag | Use Limit | Operating Maintenance Cost | Operating and Maintenance Adder Type | Priority Type | Dispatchable | Discrete Dispatch | RMR | Maximum Ramp Rate | Price Setter - DAM | Price Setter - RTM | Multi Stage Generator Flag | Startup Ramp Time | Supplied Configuration Flag | Hourly Pre-Dispatch | Non-Generator Resource | Regulation Energy Management | Minimum Continuous Energy Limit | Maximum Continuous Energy Limit | Curtailment Energy Limit | Energy Efficiency | Combined Heat and Power Resource | RMTG Max On Peak | RMTmax On Peak Expiration Date | RMT Max Off Peak | RMT Off Peak Expiration Date | Green House Gas Emission Rate | Green House Gas Compliance Obligation | Min Load Major Maintenance Adder | Variable Energy Resource Flag | Forecast Selection | Energy Imbalance Market Participating Flag | Balancing Authority Area | Comment
Name on the Agreement with ISO | SC_ID | ISO-defined resource ID | RES_NAME | RES_TYPE | AGGREGATE_YN | ENERGY_TYPE | FUEL_TYPE | GEN_TECH_TYPE | GEN_TYPE | FUEL_REGN_TYPE | ELECTRIC_REGN | POWER_PRICE_HUB | AQM_DIST_TYPE | MAX_GEN | MIN_GEN | MIN_DISP_LEVEL | MIN_ON | MAX_ON | MIN_OFF | MAX_STRT | MKT_MAX_STRT | MIN_LOAD_COST | ML_COST_BASIS_TYPE Registered (REGC) or Proxy (PRXC) | SU_COST_BASIS_TYPE Registered (REGC) or Proxy (PRXC) | MAX_PUMP | MIN_PUMP_CST | PUMPING_FACTOR | PUMP_MAX_STRT | PUMP_MIN_UP_TM | PUMP_MIN_DWN_TM | MIN_DWN_TM_GP | MIN_DWN_TM_PG | MAX_PUMP_SD_CST | PUMP_SHTDWN_TM | COST_RANK_LMPM | NEGO_RANK_LMPM | PRC_RANK_LMPM | RSRV_CAP_SPIN | RSRV_CAP_NSPIN | CERT_PIRP | MOO_QUALIFIED | STARTUP_CD_TYPE | PGA_PART | COM_MW | COG | CERT_BLKSTRT | CERT_DAM | CERT_RTM | CERT_RUC | LMPM | CERT_REG_DOWN | CERT_REG_UP | CERT_SPIN | CERT_NSPIN_DAM | CERT_NSPIN_RTM | MSS_LD_FLNG_DWN | MSS_LD_FLNG_UP | QF | USE_LIMIT | OPER_MAINT_COST | OPER_MAINT_ADDER_TYPE | PRIOR_TYPE | DISP | DISCRETE_DISP | RMR | MAX_RR | PRC_SET_DAM | PRC_SET_RTM | MSG_YN | STARTUP_RAMP_TIME | SUPPLY_CONFIG_YN | HR_PRE_DISP | NGR | REM | MIN_CONT_ENERGY_LIMIT | MAX_CONT_ENERGY_LIMIT | CURT_ENERGY_LIMIT | ENERGY_EFFIC | CHP | RMTG_MAX_ON_PEAK | RMTG_ON_PEAK_EXPIR_DT | RMTG_MAX_OFF_PEAK | RMTG_OFF_PEAK_EXPIR_DT | GHG_EMISSION_RATE | GHG_COMPLIANCE_OBLIG | ADDER_AMT | VER_YN | FORECAST_SELECTION | EIM_PARTICIPATING | BAA
Name on Agreement | SCID | Resource ID | Facility Name | GEN | N |  | BIOM |  | T | FRCISO | ERCISOW | [11 empty] | PRXC | PRXC | [10 empty] | 1 | 2 | 3 | [9 empty] | Y | Y | Y | Y | N | N | N | N | N |  |  | N | N |  | D |  | N |  | N |  | Y | Y | N
Note on H3: CAISO: See Code tab for options. Should match Agreement Schedule 1
Note on I3: CAISO: See Code tab for options. Should match Agreement Schedule 1
Note on N3: CAISO: See list on Code tab
Note on Q3: CAISO: Usually same as MIN_GEN. If this is different, a forbidden region must be defined.
Note on T3: CAISO: Must be greater than or equal to the startup time in segment 1 of STARTUP tab
Note on U3: CAISO: Must be 1 or greater

## RAMPRATE
Resource ID | Segment Type | Segment Number | Operating Level | Worst Operational Ramp Rate | Best Operational Ramp Rate | Market Ramp Rate | Comment
Resource ID - RESOURCE Cell C3 | RAMP | 1
Resource ID - RESOURCE Cell C3 | RAMP | 2
Note on D2: CAISO: Value for segment 1 = MIN_GEN
Note on E2: CAISO: - Must be > 0 - Must be <= Best Operational Ramp Rate for the same point
Note on F2: CAISO: - Must be 0.1 or greater - Must be >= Worst Operational Ramp Rate for the same point
Note on C3: CAISO: Must be at least two segments
Note on D3: CAISO: Value in highest segment must equal MAX_GEN (Pmin); up to 5 segments allowed
Note on E3: CAISO: - Must be > 0 - Must be <= Best Operational Ramp Rate for the same point
Note on F3: CAISO: - Must be 0.1 or greater - Must be >= Worst Operational Ramp Rate for the same point

## HEATRATE
Resource ID | Segment Type | Segment Number | Heat Rate Operating Level | Heat Rate | Heat Emission Rate | Average Cost | Comment
Resource ID - RESOURCE Cell C3 | HEAT | 1 |  |  |  | 0
Resource ID - RESOURCE Cell C3 | HEAT | 2 |  |  |  | 0
Note on D2: CAISO: Value for segment 1 = MIN_GEN
Note on C3: CAISO: Must be at least two segments
Note on D3: CAISO: Value in highest segment must equal MAX_GEN (Pmax); up to 11 segments allowed

## STARTUP
Resource ID | Segment Type | Segment Number | Registered Cooling Time | Start-Up Time | Start-Up Cost | Start-Up Aux | Start-Up Fuel | Comment
Resource ID - RESOURCE Cell C3 | STRT | 1 | 0 | 0 | 0
Note on C2: CAISO: Up to 3 segments allowed - 1 for hot start, 2 for warm start, 3 for cold start
Note on D2: CAISO: Value in segment 1 must be 0

## FORBIDDEN OPR REGION
Resource ID | Segment Type | Segment Number | Worst Operating Res Ramp Rate | Best Operating Res Ramp Rate | Comment

## REGULATION
Resource ID | Segment Type | Segment Number | Lower MW for Regulation | Higher MW for Regulation | Comment

## REG RAMP
Resource ID | Segment Type | Segment Number | Worst Regulation Ramp Rate | Best Regulation Ramp Rate | Comment

## OP RES RAMP
Resource ID | Segment Type | Segment Number | Worst Operating Res Ramp Rate | Best Operating Res Ramp Rate | Comment