## Load Forecast Error
Hour-Ahead Solar Forecast Error by Clearness Index (CI)
Technology | Persistent* | Hour | 0<=CI<0.2 | 0.2<=CI<0.5 | 0.5<=CI<0.8 | 0.8<=CI<=1
Large PV (PV) | T-1 | Hour12-16 | 3.47% | 6.871% | 5.627% | 2.346%
Large Solar Thermal (ST) | T-1 | Hour12-16 | 6.007% | 10.87% | 10.79% | 2.982%
Distribute PV (DG) | T-1 | Hour12-16 | 2.162% | 4.685% | 3.917% | 1.829%
Customer Side PV (CPV) | T-1 | Hour12-16 | 1.569% | 3.273% | 3.134% | 1.581%
* Using the aggregated hourly profile (T-1) persistent forecast for CI to estimate the Solar forecast error.
Hour-Ahead Wind Forecast Error by Season
Technology | Persistent** | Hour | Spring | Summer | Fall | Winter
Wind | T-1 | All | 3.981% | 3.75% | 3.162% | 3.085%
**Using aggregated hourly profile (T-1) persistent forecast for wind production to estimate the wind forecast error.
Load Forecast Error By Season
Season | Spring | Summer | Fall | Winter
Hour-Ahead Load Forecast Error (MW) | 545.18 | 636.03 | 539.69 | 681.86
Real Time Load Forecast Error (MW) | 216.05 | 288.03 | 277.38 | 230.96

## Renewable Portfolio in Step 1
33% Envi- Environment Constraint Case MW in Step 1
Technology | MW | Note
Large PV (PV) | 2315 | New
Large Solar Thermal (ST) | 1540.7 | Existing and New
Distribute PV (DG) | 9074 | New
Customer Side PV (CPV) | 1749.3 | New
Out of Statae PV | 340 | New
Out Of State ST | 400 | New
Wind | 8392 | Existing and New

## Wind Profiles
Wind Profiles
ProfileName | MW | 33% Envi | Included in Step 1
Alberta_W2 | 450 | RECS | No
Montana_W | 300 | 60-minute schedule | No
Northwest_W1 | 420 | 15-minute schedule | Yes
Northwest_W4 | 204 | 15-minute schedule | Yes
Palm_Springs_W1 | 107 | Dynamic (in-state) | Yes
Palm_Springs_W2 | 77 | Dynamic (in-state) | Yes
San_Bernardino-Lucerne_W1 | 120 | Dynamic (in-state) | Yes
San_Diego_South_W1 | 379 | Dynamic (in-state) | Yes
Solano_W3 | 297 | Dynamic (in-state) | Yes
Tehachapi_W1 | 710 | Dynamic (in-state) | Yes
Tehachapi_W2 | 750 | Dynamic (in-state) | Yes
Tehachapi_W3 | 750 | Dynamic (in-state) | Yes
Tehachapi_W4 | 764 | Dynamic (in-state) | Yes
Tehachapi_W6 | 477.6 | Dynamic (in-state) | Yes
Utah_W1 | 90 | RECS | No
CA_In-State-Existing | 3036 | Dynamic (in-state) | Yes
Out-State-Existing (use Montana Profile) | 300 | Dynamic (Out-State) | Yes

## Solar Profiles
Solar Profiles
Profile Name | Size MW | Tech | 33% Envi | Included in Step1
2_PV_1 | 290 | PV | Dynamic (Out-State) | Yes
2_PV_2 | 50 | PV | Dynamic (Out-State) | Yes
3_PV_1 | 150 | PV | Dynamic (in-state) | Yes
3_PV_2 | 400 | PV | Dynamic (in-state) | Yes
3_PV_3 | 350 | PV | Dynamic (in-state) | Yes
6_PV_4 | 15.3 | PV | Dynamic (in-state) | Yes
11_PV_1 | 50 | PV | Dynamic (in-state) | Yes
15_PV_1 | 300 | PV | Dynamic (in-state) | Yes
15_PV_2 | 250 | PV | Dynamic (in-state) | Yes
22_PV_1 | 400 | PV | Dynamic (in-state) | Yes
22_PV_2 | 400 | PV | Dynamic (in-state) | Yes
2_ST_1 | 200 | ST | Dynamic (Out-State) | Yes
2_ST_2 | 200 | ST | Dynamic (Out-State) | Yes
6_ST_2 | 92.7 | ST | Dynamic (in-state) | Yes
7_ST_1 | 62 | ST | Dynamic (in-state) | Yes
11_ST_1 | 150 | ST | Dynamic (in-state) | Yes
14_ST_3 | 275 | ST | Dynamic (in-state) | Yes
15_ST_1 | 250 | ST | Dynamic (in-state) | Yes
15_ST_2 | 242 | ST | Dynamic (in-state) | Yes
1_LG_1 | 406.5 | DG | Dynamic (in-state) | Yes
1_LG_2 | 461.9 | DG | Dynamic (in-state) | Yes
1_LG_3 | 418.9 | DG | Dynamic (in-state) | Yes
1_LG_4 | 530.1 | DG | Dynamic (in-state) | Yes
1_LG_5 | 387.9 | DG | Dynamic (in-state) | Yes
1_LG_6 | 174.1 | DG | Dynamic (in-state) | Yes
1_LG_7 | 457.4 | DG | Dynamic (in-state) | Yes
1_LR_1 | 165.2 | DG | Dynamic (in-state) | Yes
1_LR_2 | 544.8 | DG | Dynamic (in-state) | Yes
2_LG_2 | 48.1 | DG | Dynamic (in-state) | Yes
2_LG_3 | 367.6 | DG | Dynamic (in-state) | Yes
2_LG_4 | 433 | DG | Dynamic (in-state) | Yes
2_LR_1 | 115.4 | DG | Dynamic (in-state) | Yes
2_LR_2 | 380 | DG | Dynamic (in-state) | Yes
3_LG_1 | 88.5 | DG | Dynamic (in-state) | Yes
3_LG_2 | 59.6 | DG | Dynamic (in-state) | Yes
3_LG_3 | 356.6 | DG | Dynamic (in-state) | Yes
3_LG_4 | 302 | DG | Dynamic (in-state) | Yes
3_LR_1 | 212.2 | DG | Dynamic (in-state) | Yes
3_LR_2 | 341.2 | DG | Dynamic (in-state) | Yes
3_LR_3 | 358.6 | DG | Dynamic (in-state) | Yes
4_LG_1 | 151.2 | DG | Dynamic (in-state) | Yes
4_LG_2 | 424.7 | DG | Dynamic (in-state) | Yes
4_LG_3 | 335 | DG | Dynamic (in-state) | Yes
4_LR_1 | 430 | DG | Dynamic (in-state) | Yes
4_LR_2 | 261.4 | DG | Dynamic (in-state) | Yes
4_LR_3 | 453.9 | DG | Dynamic (in-state) | Yes
4_LR_4 | 408.2 | DG | Dynamic (in-state) | Yes
1_DS_1 | 349.856 | CPV | Dynamic (in-state) | Yes
1_DS_2 | 349.856 | CPV | Dynamic (in-state) | Yes
3_DS_1 | 349.856 | CPV | Dynamic (in-state) | Yes
4_DS_1 | 349.856 | CPV | Dynamic (in-state) | Yes
4_DS_2 | 349.856 | CPV | Dynamic (in-state) | Yes
Existing | 469 | ST | Dynamic (in-state) | Yes