## Load Forecast Error
Hour-Ahead Solar Forecast Error by Clearness Index (CI)
Technology | Persistent* | Hour | 0<=CI<0.2 | 0.2<=CI<0.5 | 0.5<=CI<0.8 | 0.8<=CI<=1
Large PV (PV) | T-1 | Hour12-16 | 3.47% | 6.871% | 5.627% | 2.346%
Large Solar Thermal (ST) | T-1 | Hour12-16 | 6.007% | 10.87% | 10.79% | 2.982%
Distribute PV (DG) | T-1 | Hour12-16 | 2.162% | 4.685% | 3.917% | 1.829%
Customer Side PV (CPV) | T-1 | Hour12-16 | 1.569% | 3.273% | 3.134% | 1.581%
* Using the aggregated hourly profile (T-1) persistent forecast for CI to estimate the Solar forecast error.
Hour-Ahead Wind Forecast Error by Season
Technology | Persistent** | Hour | Spring | Summer | Fall | Winter
Wind | T-1 | All | 3.981% | 3.75% | 3.162% | 3.085%
**Using aggregated hourly profile (T-1) persistent forecast for wind production to estimate the wind forecast error.
Load Forecast Error By Season
Season | Spring | Summer | Fall | Winter
Hour-Ahead Load Forecast Error (MW) | 545.18 | 636.03 | 539.69 | 681.86
Real Time Load Forecast Error (MW) | 216.05 | 288.03 | 277.38 | 230.96

## Renewable Portfolio in Step 1
33% Base- Trajectory Case MW in Step 1
Technology | MW | Note
Large PV (PV) | 3526.8 | New
Large Solar Thermal (ST) | 4058 | Existing and New
Distribute PV (DG) | 1045 | New
Customer Side PV (CPV) | 1749.3 | New
Out of Statae PV | 340 | New
Out Of State ST | 400 | New
Wind | 9435.5 | Existing and New

## Wind Profiles
Wind Profiles
ProfileName | MW | 33%Base | Included in Step 1
Alberta_W1 | 436 | RECS | No
Alberta_W2 | 450 | RECS | No
Colorado_W1 | 420 | 60-minute schedule | No
Imperial_W2 | 179 | Dynamic (in-state) | Yes
Montana_W | 300 | 60-minute schedule | No
Mountain_Pass_W | 178.1 | Dynamic (in-state) | Yes
Northwest_W1 | 420 | 15-minute schedule | Yes
Northwest_W2 (former Oregon_W) | 750 | 60-minute schedule | No
Northwest_W3 (former Washington_W) | 539 | 60-minute schedule | No
Northwest_W4 | 204 | 15-minute schedule | Yes
Northwest_W5 | 442 | Dynamic (Out-State) | Yes
Palm_Springs_W2 | 77 | Dynamic (in-state) | Yes
San_Bernardino-Lucerne_W1 | 120 | Dynamic (in-state) | Yes
San_Diego_South_W1 | 379 | Dynamic (in-state) | Yes
Solano_W1 | 657.4 | Dynamic (in-state) | Yes
Solano_W2 | 469 | Dynamic (in-state) | Yes
Tehachapi_W1 | 710 | Dynamic (in-state) | Yes
Tehachapi_W2 | 750 | Dynamic (in-state) | Yes
Tehachapi_W3 | 750 | Dynamic (in-state) | Yes
Tehachapi_W4 | 764 | Dynamic (in-state) | Yes
Utah_W2 | 103.5 | RECS | No
Wyoming_W1 | 96 | RECS | No
CA_In-State-Existing | 3036 | Dynamic (in-state) | Yes
Out-State-Existing (use Montana Profile) | 300 | Dynamic (Out-State) | Yes

## Solar Profiles
Solar Profiles
Profile Name | Size MW | Tech | 33% Base | Included in Step1
2_PV_1 | 290 | PV | Dynamic (Out-State) | Yes
2_PV_2 | 50 | PV | Dynamic (Out-State) | Yes
3_PV_1 | 150 | PV | Dynamic (in-state) | Yes
3_PV_2 | 400 | PV | Dynamic (in-state) | Yes
3_PV_3 | 350 | PV | Dynamic (in-state) | Yes
6_PV_2 | 55.8 | PV | Dynamic (in-state) | Yes
9_PV_1 | 300 | PV | Dynamic (in-state) | Yes
11_PV_1 | 50 | PV | Dynamic (in-state) | Yes
11_PV_2 | 232 | PV | Dynamic (in-state) | Yes
14_PV_1 | 75 | PV | Dynamic (in-state) | Yes
15_PV_1 | 300 | PV | Dynamic (in-state) | Yes
15_PV_2 | 250 | PV | Dynamic (in-state) | Yes
20_PV_1 | 341 | PV | Dynamic (in-state) | Yes
20_PV_2 | 341 | PV | Dynamic (in-state) | Yes
20_PV_3 | 341 | PV | Dynamic (in-state) | Yes
20_PV_4 | 341 | PV | Dynamic (in-state) | Yes
2_ST_1 | 200 | ST | Dynamic (Out-State) | Yes
2_ST_2 | 200 | ST | Dynamic (Out-State) | Yes
6_ST_1 | 300 | ST | Dynamic (in-state) | Yes
7_ST_1 | 62 | ST | Dynamic (in-state) | Yes
9_ST_1 | 110 | ST | Dynamic (in-state) | Yes
9_ST_2 | 300 | ST | Dynamic (in-state) | Yes
11_ST_1 | 150 | ST | Dynamic (in-state) | Yes
11_ST_2 | 370 | ST | Dynamic (in-state) | Yes
14_ST_1 | 250 | ST | Dynamic (in-state) | Yes
14_ST_2 | 250 | ST | Dynamic (in-state) | Yes
14_ST_4 | 400 | ST | Dynamic (in-state) | Yes
14_ST_5 | 400 | ST | Dynamic (in-state) | Yes
14_ST_6 | 400 | ST | Dynamic (in-state) | Yes
15_ST_1 | 250 | ST | Dynamic (in-state) | Yes
15_ST_2 | 242 | ST | Dynamic (in-state) | Yes
20_ST_1 | 105 | ST | Dynamic (in-state) | Yes
1_LG_1 | 406.5 | DG | Dynamic (in-state) | Yes
2_LG_1 | 120 | DG | Dynamic (in-state) | Yes
3_LG_1 | 88.5 | DG | Dynamic (in-state) | Yes
4_LR_1 | 430 | DG | Dynamic (in-state) | Yes
1_DS_1 | 349.856 | CPV | Dynamic (in-state) | Yes
1_DS_2 | 349.856 | CPV | Dynamic (in-state) | Yes
3_DS_1 | 349.856 | CPV | Dynamic (in-state) | Yes
4_DS_1 | 349.856 | CPV | Dynamic (in-state) | Yes
4_DS_2 | 349.856 | CPV | Dynamic (in-state) | Yes
Existing | 469 | ST | Dynamic (in-state) | Yes