## User guide
Description
The data contains import limits and resulting WEIM transfers that incurred following an upward flexible ramping sufficiency test or bid range capacity test failure during February 2022.
Notes
•Data only contains upward results from final test at T-40 (RTBS_3).
•Intervals with known invalid test failures were removed from the data. These can occur because of a market disruption, software defect, or other error.
•Intervals with missing data were removed.
•In some cases the import limit after failing the test (from the greater of the base transfer or last 15-minute interval transfer) is at or beyond the normal limit from the sum of individual WEIM transfer system resources. In these cases the import limit imposed after failing the test is not relevant, so these intervals were removed.
Variables
| Market: | 15-mintue market (FMM) or 5-minute market (RTD).
| Date: | Market/test date.
| Hour: | Market/test hour.
| Market interval: | Market interval.
| Test interval | Test interval.
| BAA: | Balancing authority area.
| Direction | Direction (only upward included).
| Sufficiency test status: | Sufficiency test status, pass or fail.
| Capacity test status: | Capacity test status, pass or fail.
| RSE imposed import limit: | Import limit imposed after failing either the flex ramp sufficiency or capacity tests, set by the greater of the base EIM transfer or last 15-minute market transfer. (positive is on import side, negative is on export side).
| Market net WEIM import: | 15-minute or 5-minute market net WEIM import (positive is a net import, negative is a net export).
| Base net import: | Base (bilateral) net import (positive is a net import, negative is a net export).
| RSE imposed import limit (no base): | Incremental import limit, RSE imposed import limit above base schedules (greater of zero or the last 15-minute market transfer minus base).
| Market net EIM import (no base): | Incremental 15-minute or 5-minute market net WEIM import above base schedules (positive is a net import, negative is a net export).
| DISCLAIMER: | With California ISO's approval, DMM is releasing this data in response to market participant requests submitted in the California ISO's WEIM Resource Sufficiency Evaluation Enhancements stakeholder initiative. The California ISO does not warrant the accuracy or completeness of this data. This data cannot be republished without obtaining prior written consent of the California ISO. CAISO - Public

## February 2022
Market | Date | Hour | Market interval | Test interval | BAA | Direction | Sufficiency test status | Capacity test status | RSE imposed import limit | Market net WEIM import | Base (bilateral) net import | RSE imposed import limit (no base) | Market net WEIM import (no base)
FMM | 2022-02-07 | 8 | 1 | 1 | AZPS | UP | FAIL | PASS | -293.8839 | -541.6534 | -697.3333 | 403.4494 | 155.6799
FMM | 2022-02-07 | 8 | 2 | 2 | AZPS | UP | FAIL | PASS | -541.6534 | -541.6534 | -803 | 261.3466 | 261.3466
FMM | 2022-02-24 | 7 | 1 | 1 | AZPS | UP | FAIL | PASS | -491.8364 | -906.4726 | -891.5 | 399.6636 | -14.9726
FMM | 2022-02-24 | 8 | 1 | 1 | AZPS | UP | FAIL | PASS | -974.8695 | -1410.7682 | -1460.6667 | 485.7971 | 49.8985
FMM | 2022-02-25 | 9 | 1 | 1 | AZPS | UP | FAIL | PASS | -2005.5747 | -2005.5747 | -2151.1667 | 145.5919 | 145.5919
FMM | 2022-02-25 | 7 | 4 | 4 | BCHA | UP | FAIL | PASS | -227 | -277 | -227 | 0 | -50
FMM | 2022-02-08 | 8 | 1 | 1 | IPCO | UP | FAIL | PASS | 178.3333 | 178.3357 | 178.3333 | 0 | 0.002366
FMM | 2022-02-08 | 8 | 2 | 2 | IPCO | UP | FAIL | PASS | 195 | 195.0024 | 195 | 0 | 0.0024024
FMM | 2022-02-08 | 8 | 3 | 3 | IPCO | UP | FAIL | PASS | 195.0024 | 195.0048 | 195 | 0.0024024 | 0.0048223
FMM | 2022-02-25 | 7 | 2 | 2 | IPCO | UP | PASS | FAIL | 135 | 83.1109 | 135 | 0 | -51.8891
FMM | 2022-02-25 | 7 | 3 | 3 | IPCO | UP | PASS | FAIL | 135 | 101.1584 | 135 | 0 | -33.8416
FMM | 2022-02-25 | 7 | 4 | 4 | IPCO | UP | PASS | FAIL | 149.8333 | 137.6896 | 149.8333 | 0 | -12.1437
FMM | 2022-02-25 | 8 | 1 | 1 | IPCO | UP | FAIL | PASS | 209.1667 | 186.8095 | 209.1667 | 0 | -22.3572
FMM | 2022-02-25 | 8 | 2 | 2 | IPCO | UP | FAIL | PASS | 224 | 221.2241 | 224 | 0 | -2.7759
FMM | 2022-02-25 | 8 | 3 | 3 | IPCO | UP | FAIL | PASS | 224 | 224.0001 | 224 | 0 | 0.00012976
FMM | 2022-02-03 | 9 | 1 | 1 | NEVP | UP | FAIL | PASS | 153.3333 | 153.3357 | 153.3333 | 0 | 0.0023279
FMM | 2022-02-03 | 9 | 2 | 2 | NEVP | UP | FAIL | PASS | 163 | 163.0023 | 163 | 0 | 0.0023381
FMM | 2022-02-07 | 16 | 4 | 4 | NEVP | UP | FAIL | PASS | 226.6046 | 193.3258 | 133.6667 | 92.9379 | 59.6591
FMM | 2022-02-10 | 9 | 1 | 1 | NEVP | UP | FAIL | PASS | 297.013 | 297.0135 | 193.6667 | 103.3463 | 103.3468
FMM | 2022-02-14 | 8 | 1 | 1 | NEVP | UP | FAIL | PASS | 213.3333 | 213.3181 | 213.3333 | 0 | -0.015212
FMM | 2022-02-15 | 16 | 4 | 4 | NEVP | UP | FAIL | PASS | 266.1667 | 184.0657 | 266.1667 | 0 | -82.1009
FMM | 2022-02-16 | 9 | 1 | 1 | NEVP | UP | FAIL | PASS | 318.8735 | 318.8758 | 252.3333 | 66.5401 | 66.5425
FMM | 2022-02-18 | 10 | 2 | 2 | NEVP | UP | FAIL | PASS | -219.8243 | -219.8241 | -291 | 71.1757 | 71.1759
FMM | 2022-02-18 | 11 | 1 | 1 | NEVP | UP | FAIL | PASS | -331 | -330.9976 | -331 | 0 | 0.0024137
FMM | 2022-02-19 | 8 | 1 | 1 | NEVP | UP | FAIL | PASS | 438.6767 | 438.6767 | 372.25 | 66.4267 | 66.4267
FMM | 2022-02-19 | 17 | 4 | 4 | NEVP | UP | FAIL | PASS | 325.8333 | 258.9799 | 325.8333 | 0 | -66.8534
FMM | 2022-02-21 | 9 | 1 | 1 | NEVP | UP | FAIL | PASS | -46.1667 | -46.1643 | -46.1667 | 0 | 0.002335
FMM | 2022-02-24 | 4 | 2 | 2 | NEVP | UP | FAIL | PASS | -127.8333 | -227.3624 | -128 | 0.16667 | -99.3624
FMM | 2022-02-24 | 4 | 3 | 3 | NEVP | UP | FAIL | PASS | -128 | -127.9978 | -128 | 0 | 0.0022269
FMM | 2022-02-24 | 4 | 4 | 4 | NEVP | UP | FAIL | PASS | -127.8333 | -127.8492 | -127.8333 | 0 | -0.015826
FMM | 2022-02-24 | 8 | 1 | 1 | NEVP | UP | FAIL | PASS | -180.3333 | -288.022 | -180.3333 | 0 | -107.6886
FMM | 2022-02-24 | 23 | 1 | 1 | NEVP | UP | FAIL | PASS | -130.1667 | -130.1825 | -130.1667 | 0 | -0.015806
FMM | 2022-02-24 | 23 | 2 | 2 | NEVP | UP | FAIL | PASS | -120 | -119.9993 | -120 | 0 | 0.00066696
FMM | 2022-02-28 | 16 | 4 | 4 | NEVP | UP | FAIL | PASS | 34.6667 | -25.8926 | 34.6667 | 0 | -60.5593
FMM | 2022-02-03 | 20 | 1 | 1 | NWMT | UP | FAIL | PASS | 65.6311 | 51.5036 | 37 | 28.6311 | 14.5036
FMM | 2022-02-03 | 20 | 2 | 2 | NWMT | UP | FAIL | PASS | 51.5036 | 23.1248 | 33 | 18.5036 | -9.8752
FMM | 2022-02-03 | 20 | 3 | 3 | NWMT | UP | FAIL | PASS | 62 | 62.0007 | 62 | 0 | 0.00066962
FMM | 2022-02-03 | 20 | 4 | 4 | NWMT | UP | FAIL | PASS | 73.8333 | 39.0547 | 73.8333 | 0 | -34.7787
FMM | 2022-02-22 | 15 | 3 | 3 | NWMT | UP | PASS | FAIL | 397.3515 | 394.524 | 349 | 48.3515 | 45.524
FMM | 2022-02-22 | 15 | 4 | 4 | NWMT | UP | PASS | FAIL | 394.524 | 394.5241 | 339 | 55.524 | 55.5241
FMM | 2022-02-17 | 8 | 1 | 1 | PACE | UP | FAIL | PASS | 221.6739 | 70.5188 | -98.6667 | 320.3405 | 169.1854
FMM | 2022-02-01 | 22 | 1 | 1 | PACW | UP | PASS | FAIL | -1426.1667 | -1464.4028 | -1426.1667 | 0 | -38.2362
FMM | 2022-02-01 | 22 | 2 | 2 | PACW | UP | PASS | FAIL | -1442 | -1441.9992 | -1442 | 0 | 0.00076334
FMM | 2022-02-03 | 5 | 4 | 4 | PACW | UP | FAIL | PASS | -787.9659 | -1030.0367 | -810.9167 | 22.9508 | -219.12
FMM | 2022-02-06 | 7 | 4 | 4 | PACW | UP | PASS | FAIL | -284.909 | -325.7076 | -507.5833 | 222.6743 | 181.8757
FMM | 2022-02-22 | 18 | 4 | 4 | PGE | UP | FAIL | PASS | -183.2893 | -183.3046 | -188.1667 | 4.8774 | 4.8621
RTD | 2022-02-07 | 8 | 1 | 1 | AZPS | UP | FAIL | PASS | -293.8839 | -293.8839 | -566 | 272.1161 | 272.1161
RTD | 2022-02-07 | 8 | 2 | 1 | AZPS | UP | FAIL | PASS | -293.8839 | -331.1358 | -723 | 429.1161 | 391.8642
RTD | 2022-02-07 | 8 | 3 | 1 | AZPS | UP | FAIL | PASS | -293.8839 | -328.1491 | -803 | 509.1161 | 474.8509
RTD | 2022-02-07 | 8 | 4 | 2 | AZPS | UP | FAIL | PASS | -541.6534 | -541.6534 | -803 | 261.3466 | 261.3466
RTD | 2022-02-07 | 8 | 5 | 2 | AZPS | UP | FAIL | PASS | -541.6534 | -541.6534 | -803 | 261.3466 | 261.3466
RTD | 2022-02-07 | 8 | 6 | 2 | AZPS | UP | FAIL | PASS | -541.6534 | -541.6534 | -803 | 261.3466 | 261.3466
RTD | 2022-02-24 | 7 | 1 | 1 | AZPS | UP | FAIL | PASS | -491.8364 | -658.4972 | -703.625 | 211.7886 | 45.1278
RTD | 2022-02-24 | 7 | 2 | 1 | AZPS | UP | FAIL | PASS | -491.8364 | -567.9252 | -728.875 | 237.0386 | 160.9498
RTD | 2022-02-24 | 7 | 3 | 1 | AZPS | UP | FAIL | PASS | -491.8364 | -563.8693 | -738 | 246.1636 | 174.1307
RTD | 2022-02-24 | 8 | 1 | 1 | AZPS | UP | FAIL | PASS | -974.8695 | -974.8688 | -1137 | 162.1305 | 162.1312
RTD | 2022-02-24 | 8 | 2 | 1 | AZPS | UP | FAIL | PASS | -974.8695 | -1098.4811 | -1297 | 322.1305 | 198.5189
RTD | 2022-02-24 | 8 | 3 | 1 | AZPS | UP | FAIL | PASS | -974.8695 | -1215.2434 | -1380 | 405.1305 | 164.7566
RTD | 2022-02-25 | 9 | 1 | 1 | AZPS | UP | FAIL | PASS | -2005.5747 | -2005.5739 | -2072.375 | 66.8003 | 66.8011
RTD | 2022-02-25 | 9 | 2 | 1 | AZPS | UP | FAIL | PASS | -2005.5747 | -2005.5739 | -2167.125 | 161.5503 | 161.5511
RTD | 2022-02-25 | 9 | 3 | 1 | AZPS | UP | FAIL | PASS | -2005.5747 | -2005.5747 | -2214 | 208.4253 | 208.4253
RTD | 2022-02-25 | 7 | 10 | 4 | BCHA | UP | FAIL | PASS | -250 | -250 | -250 | 0 | 1.6338e-06
RTD | 2022-02-25 | 7 | 11 | 4 | BCHA | UP | FAIL | PASS | -233 | -233 | -233 | 0 | 1.8732e-06
RTD | 2022-02-25 | 7 | 12 | 4 | BCHA | UP | FAIL | PASS | -198 | -245.0798 | -198 | 0 | -47.0798
RTD | 2022-02-08 | 8 | 1 | 1 | IPCO | UP | FAIL | PASS | 162.6303 | 162.6311 | 157.5 | 5.1303 | 5.1311
RTD | 2022-02-08 | 8 | 2 | 1 | IPCO | UP | FAIL | PASS | 182.5 | 182.5008 | 182.5 | 0 | 0.0008004
RTD | 2022-02-08 | 8 | 3 | 1 | IPCO | UP | FAIL | PASS | 195 | 195.0008 | 195 | 0 | 0.00080351
RTD | 2022-02-08 | 8 | 4 | 2 | IPCO | UP | FAIL | PASS | 195 | 195.0008 | 195 | 0 | 0.00080486
RTD | 2022-02-08 | 8 | 5 | 2 | IPCO | UP | FAIL | PASS | 195 | 195.0008 | 195 | 0 | 0.00080512
RTD | 2022-02-08 | 8 | 6 | 2 | IPCO | UP | FAIL | PASS | 195 | 195.0008 | 195 | 0 | 0.00080558
RTD | 2022-02-08 | 8 | 7 | 3 | IPCO | UP | FAIL | PASS | 195.0024 | 195.0032 | 195 | 0.0024024 | 0.0032099
RTD | 2022-02-08 | 8 | 8 | 3 | IPCO | UP | FAIL | PASS | 195.0024 | 195.0032 | 195 | 0.0024024 | 0.0032119
RTD | 2022-02-08 | 8 | 9 | 3 | IPCO | UP | FAIL | PASS | 195.0024 | 195.0032 | 195 | 0.0024024 | 0.0032141
RTD | 2022-02-25 | 7 | 4 | 2 | IPCO | UP | PASS | FAIL | 135 | 127.6465 | 135 | 0 | -7.3535
RTD | 2022-02-25 | 7 | 5 | 2 | IPCO | UP | PASS | FAIL | 135 | 119.001 | 135 | 0 | -15.999
RTD | 2022-02-25 | 7 | 6 | 2 | IPCO | UP | PASS | FAIL | 135 | 119.001 | 135 | 0 | -15.999
RTD | 2022-02-25 | 7 | 7 | 3 | IPCO | UP | PASS | FAIL | 135 | 119.001 | 135 | 0 | -15.999
RTD | 2022-02-25 | 7 | 8 | 3 | IPCO | UP | PASS | FAIL | 135 | 119.001 | 135 | 0 | -15.999
RTD | 2022-02-25 | 7 | 9 | 3 | IPCO | UP | PASS | FAIL | 135 | 119.001 | 135 | 0 | -15.999
RTD | 2022-02-25 | 7 | 10 | 4 | IPCO | UP | PASS | FAIL | 135 | 120.6102 | 135 | 0 | -14.3898
RTD | 2022-02-25 | 7 | 11 | 4 | IPCO | UP | PASS | FAIL | 146.125 | 137.7345 | 146.125 | 0 | -8.3905
RTD | 2022-02-25 | 7 | 12 | 4 | IPCO | UP | PASS | FAIL | 168.375 | 157.8902 | 168.375 | 0 | -10.4848
RTD | 2022-02-25 | 8 | 1 | 1 | IPCO | UP | FAIL | PASS | 190.625 | 190.625 | 190.625 | 0 | 1.4221e-05
RTD | 2022-02-25 | 8 | 2 | 1 | IPCO | UP | FAIL | PASS | 212.875 | 212.875 | 212.875 | 0 | 1.066e-05
RTD | 2022-02-25 | 8 | 3 | 1 | IPCO | UP | FAIL | PASS | 224 | 224 | 224 | 0 | 2.0275e-05
RTD | 2022-02-25 | 8 | 4 | 2 | IPCO | UP | FAIL | PASS | 224 | 224 | 224 | 0 | 1.3062e-05
RTD | 2022-02-25 | 8 | 5 | 2 | IPCO | UP | FAIL | PASS | 224 | 224 | 224 | 0 | 1.5663e-05
RTD | 2022-02-25 | 8 | 6 | 2 | IPCO | UP | FAIL | PASS | 224 | 224 | 224 | 0 | 1.7205e-05
RTD | 2022-02-25 | 8 | 7 | 3 | IPCO | UP | FAIL | PASS | 224 | 224 | 224 | 0 | 1.7655e-05
RTD | 2022-02-25 | 8 | 8 | 3 | IPCO | UP | FAIL | PASS | 224 | 224 | 224 | 0 | 1.343e-05
RTD | 2022-02-25 | 8 | 9 | 3 | IPCO | UP | FAIL | PASS | 224 | 224 | 224 | 0 | 1.8452e-05
RTD | 2022-02-03 | 9 | 1 | 1 | NEVP | UP | FAIL | PASS | 141.25 | 73.7548 | 141.25 | 0 | -67.4952
RTD | 2022-02-03 | 9 | 2 | 1 | NEVP | UP | FAIL | PASS | 155.75 | 138.4567 | 155.75 | 0 | -17.2933
RTD | 2022-02-03 | 9 | 3 | 1 | NEVP | UP | FAIL | PASS | 172 | 172.0008 | 172 | 0 | 0.000783
RTD | 2022-02-03 | 9 | 4 | 2 | NEVP | UP | FAIL | PASS | 172 | 172.0008 | 172 | 0 | 0.00078755
RTD | 2022-02-03 | 9 | 5 | 2 | NEVP | UP | FAIL | PASS | 171 | 171.0008 | 171 | 0 | 0.00078857
RTD | 2022-02-03 | 9 | 6 | 2 | NEVP | UP | FAIL | PASS | 168.75 | 44.063 | 168.75 | 0 | -124.687
RTD | 2022-02-07 | 16 | 10 | 4 | NEVP | UP | FAIL | PASS | 226.6046 | 161.49 | 87 | 139.6046 | 74.49
RTD | 2022-02-07 | 16 | 11 | 4 | NEVP | UP | FAIL | PASS | 226.6046 | 114.3284 | 122 | 104.6046 | -7.6716
RTD | 2022-02-07 | 16 | 12 | 4 | NEVP | UP | FAIL | PASS | 226.6046 | 99.1876 | 192 | 34.6046 | -92.8124
RTD | 2022-02-10 | 9 | 1 | 1 | NEVP | UP | FAIL | PASS | 297.013 | 297.0138 | 202 | 95.013 | 95.0138
RTD | 2022-02-10 | 9 | 2 | 1 | NEVP | UP | FAIL | PASS | 297.013 | 274.5161 | 192 | 105.013 | 82.5161
RTD | 2022-02-10 | 9 | 3 | 1 | NEVP | UP | FAIL | PASS | 297.013 | 280.6918 | 187 | 110.013 | 93.6918
RTD | 2022-02-14 | 8 | 1 | 1 | NEVP | UP | FAIL | PASS | 220 | 220.0008 | 220 | 0 | 0.00080192
RTD | 2022-02-14 | 8 | 2 | 1 | NEVP | UP | FAIL | PASS | 212.0996 | 198.5972 | 212 | 0.099579 | -13.4028
RTD | 2022-02-14 | 8 | 3 | 1 | NEVP | UP | FAIL | PASS | 212.0996 | 183.0319 | 208 | 4.0996 | -24.9681
RTD | 2022-02-15 | 16 | 10 | 4 | NEVP | UP | FAIL | PASS | 247 | 224.5016 | 247 | 0 | -22.4984
RTD | 2022-02-15 | 16 | 11 | 4 | NEVP | UP | FAIL | PASS | 261.375 | 261.375 | 261.375 | 0 | 1.825e-05
RTD | 2022-02-15 | 16 | 12 | 4 | NEVP | UP | FAIL | PASS | 290.125 | 290.125 | 290.125 | 0 | 1.8222e-05
RTD | 2022-02-16 | 9 | 1 | 1 | NEVP | UP | FAIL | PASS | 318.8735 | 258.0943 | 290.25 | 28.6235 | -32.1557
RTD | 2022-02-16 | 9 | 2 | 1 | NEVP | UP | FAIL | PASS | 318.8735 | 165.4793 | 244.75 | 74.1235 | -79.2707
RTD | 2022-02-16 | 9 | 3 | 1 | NEVP | UP | FAIL | PASS | 318.8735 | 70.3775 | 222 | 96.8735 | -151.6225
RTD | 2022-02-18 | 10 | 4 | 2 | NEVP | UP | FAIL | PASS | -219.8243 | -219.8235 | -291 | 71.1757 | 71.1765
RTD | 2022-02-18 | 10 | 5 | 2 | NEVP | UP | FAIL | PASS | -219.8243 | -219.8235 | -291 | 71.1757 | 71.1765
RTD | 2022-02-18 | 10 | 6 | 2 | NEVP | UP | FAIL | PASS | -219.8243 | -219.8235 | -291 | 71.1757 | 71.1765
RTD | 2022-02-18 | 11 | 1 | 1 | NEVP | UP | FAIL | PASS | -321 | -358.7015 | -321 | 0 | -37.7015
RTD | 2022-02-18 | 11 | 2 | 1 | NEVP | UP | FAIL | PASS | -333 | -332.9992 | -333 | 0 | 0.00081085
RTD | 2022-02-18 | 11 | 3 | 1 | NEVP | UP | FAIL | PASS | -339 | -338.9992 | -339 | 0 | 0.00081325
RTD | 2022-02-19 | 8 | 1 | 1 | NEVP | UP | FAIL | PASS | 438.6767 | 438.6774 | 377.375 | 61.3017 | 61.3024
RTD | 2022-02-19 | 8 | 2 | 1 | NEVP | UP | FAIL | PASS | 438.6767 | 438.6774 | 325.125 | 113.5517 | 113.5524
RTD | 2022-02-19 | 8 | 3 | 1 | NEVP | UP | FAIL | PASS | 438.6767 | 438.6774 | 305 | 133.6767 | 133.6774
RTD | 2022-02-19 | 17 | 10 | 4 | NEVP | UP | FAIL | PASS | 276.1749 | 219.5459 | 232 | 44.1749 | -12.4541
RTD | 2022-02-19 | 17 | 11 | 4 | NEVP | UP | FAIL | PASS | 276.1749 | 264.8754 | 264.875 | 11.2999 | 0.00044767
RTD | 2022-02-19 | 17 | 12 | 4 | NEVP | UP | FAIL | PASS | 330.625 | 315.2861 | 330.625 | 0 | -15.3389
RTD | 2022-02-21 | 9 | 1 | 1 | NEVP | UP | FAIL | PASS | -52.3544 | -205.1459 | -55.125 | 2.7706 | -150.0209
RTD | 2022-02-21 | 9 | 2 | 1 | NEVP | UP | FAIL | PASS | -44.375 | -334.8288 | -44.375 | 0 | -290.4538
RTD | 2022-02-21 | 9 | 3 | 1 | NEVP | UP | FAIL | PASS | -39 | -416.2779 | -39 | 0 | -377.2779
RTD | 2022-02-24 | 4 | 1 | 1 | NEVP | UP | FAIL | PASS | -127.1667 | -267.1929 | -127.625 | 0.45833 | -139.5679
RTD | 2022-02-24 | 4 | 2 | 1 | NEVP | UP | FAIL | PASS | -127.1667 | -374.8551 | -127.875 | 0.70833 | -246.9801
RTD | 2022-02-24 | 4 | 3 | 1 | NEVP | UP | FAIL | PASS | -127.1667 | -370.6214 | -128 | 0.83333 | -242.6214
RTD | 2022-02-24 | 4 | 4 | 2 | NEVP | UP | FAIL | PASS | -127.8333 | -273.2118 | -128 | 0.16667 | -145.2118
RTD | 2022-02-24 | 4 | 5 | 2 | NEVP | UP | FAIL | PASS | -127.8333 | -169.9129 | -128 | 0.16667 | -41.9129
RTD | 2022-02-24 | 4 | 6 | 2 | NEVP | UP | FAIL | PASS | -127.8333 | -171.4273 | -128 | 0.16667 | -43.4273
RTD | 2022-02-24 | 4 | 7 | 3 | NEVP | UP | FAIL | PASS | -128 | -180.9104 | -128 | 0 | -52.9104
RTD | 2022-02-24 | 4 | 8 | 3 | NEVP | UP | FAIL | PASS | -128 | -176.9988 | -128 | 0 | -48.9988
RTD | 2022-02-24 | 4 | 9 | 3 | NEVP | UP | FAIL | PASS | -128 | -165.8671 | -128 | 0 | -37.8671
RTD | 2022-02-24 | 4 | 10 | 4 | NEVP | UP | FAIL | PASS | -127.9978 | -170.0968 | -128 | 0.0022269 | -42.0968
RTD | 2022-02-24 | 4 | 11 | 4 | NEVP | UP | FAIL | PASS | -127.875 | -139.8873 | -127.875 | 0 | -12.0123
RTD | 2022-02-24 | 4 | 12 | 4 | NEVP | UP | FAIL | PASS | -127.625 | -135.8283 | -127.625 | 0 | -8.2033
RTD | 2022-02-24 | 8 | 1 | 1 | NEVP | UP | FAIL | PASS | -180.75 | -348.647 | -180.75 | 0 | -167.897
RTD | 2022-02-24 | 8 | 2 | 1 | NEVP | UP | FAIL | PASS | -180.25 | -359.609 | -180.25 | 0 | -179.359
RTD | 2022-02-24 | 8 | 3 | 1 | NEVP | UP | FAIL | PASS | -180 | -375.6775 | -180 | 0 | -195.6775
RTD | 2022-02-24 | 23 | 1 | 1 | NEVP | UP | FAIL | PASS | -142.875 | -267.9295 | -142.875 | 0 | -125.0545
RTD | 2022-02-24 | 23 | 2 | 1 | NEVP | UP | FAIL | PASS | -127.625 | -197.9333 | -127.625 | 0 | -70.3083
RTD | 2022-02-24 | 23 | 3 | 1 | NEVP | UP | FAIL | PASS | -120 | -184.1946 | -120 | 0 | -64.1946
RTD | 2022-02-24 | 23 | 4 | 2 | NEVP | UP | FAIL | PASS | -120 | -181.9667 | -120 | 0 | -61.9667
RTD | 2022-02-24 | 23 | 5 | 2 | NEVP | UP | FAIL | PASS | -120 | -188.5587 | -120 | 0 | -68.5587
RTD | 2022-02-24 | 23 | 6 | 2 | NEVP | UP | FAIL | PASS | -120 | -193.5232 | -120 | 0 | -73.5232
RTD | 2022-02-28 | 16 | 10 | 4 | NEVP | UP | FAIL | PASS | 1 | -438.9005 | 1 | 0 | -439.9005
RTD | 2022-02-28 | 16 | 11 | 4 | NEVP | UP | FAIL | PASS | 25.125 | -360.666 | 25.125 | 0 | -385.791
RTD | 2022-02-28 | 16 | 12 | 4 | NEVP | UP | FAIL | PASS | 73.375 | -16.046 | 73.375 | 0 | -89.421
RTD | 2022-02-03 | 20 | 1 | 1 | NWMT | UP | FAIL | PASS | 65.6311 | 51.7083 | 60.875 | 4.7561 | -9.1667
RTD | 2022-02-03 | 20 | 2 | 1 | NWMT | UP | FAIL | PASS | 65.6311 | 35.3786 | 62.125 | 3.5061 | -26.7464
RTD | 2022-02-03 | 20 | 3 | 1 | NWMT | UP | FAIL | PASS | 65.6311 | 40.1649 | 62 | 3.6311 | -21.8351
RTD | 2022-02-03 | 20 | 4 | 2 | NWMT | UP | FAIL | PASS | 62 | 44.3686 | 62 | 0 | -17.6314
RTD | 2022-02-03 | 20 | 5 | 2 | NWMT | UP | FAIL | PASS | 62 | 33.0175 | 62 | 0 | -28.9825
RTD | 2022-02-03 | 20 | 6 | 2 | NWMT | UP | FAIL | PASS | 62 | 22.3877 | 62 | 0 | -39.6123
RTD | 2022-02-03 | 20 | 7 | 3 | NWMT | UP | FAIL | PASS | 62 | -0.38759 | 62 | 0 | -62.3876
RTD | 2022-02-03 | 20 | 8 | 3 | NWMT | UP | FAIL | PASS | 62 | 1.973 | 62 | 0 | -60.027
RTD | 2022-02-03 | 20 | 9 | 3 | NWMT | UP | FAIL | PASS | 62 | -3.5808 | 62 | 0 | -65.5808
RTD | 2022-02-03 | 20 | 10 | 4 | NWMT | UP | FAIL | PASS | 62.0007 | -3.7656 | 62 | 0.00066962 | -65.7656
RTD | 2022-02-03 | 20 | 11 | 4 | NWMT | UP | FAIL | PASS | 64.75 | -5.8797 | 64.75 | 0 | -70.6297
RTD | 2022-02-03 | 20 | 12 | 4 | NWMT | UP | FAIL | PASS | 94.75 | 14.6859 | 94.75 | 0 | -80.0641
RTD | 2022-02-22 | 15 | 7 | 3 | NWMT | UP | PASS | FAIL | 397.3515 | 386.8125 | 349 | 48.3515 | 37.8125
RTD | 2022-02-22 | 15 | 8 | 3 | NWMT | UP | PASS | FAIL | 397.3515 | 384.6924 | 349 | 48.3515 | 35.6924
RTD | 2022-02-22 | 15 | 9 | 3 | NWMT | UP | PASS | FAIL | 397.3515 | 384.241 | 349 | 48.3515 | 35.241
RTD | 2022-02-22 | 15 | 10 | 4 | NWMT | UP | PASS | FAIL | 394.524 | 384.0005 | 349 | 45.524 | 35.0005
RTD | 2022-02-22 | 15 | 11 | 4 | NWMT | UP | PASS | FAIL | 394.524 | 376.3254 | 348.375 | 46.149 | 27.9504
RTD | 2022-02-22 | 15 | 12 | 4 | NWMT | UP | PASS | FAIL | 394.524 | 372.3723 | 347.125 | 47.399 | 25.2473
RTD | 2022-02-17 | 8 | 1 | 1 | PACE | UP | FAIL | PASS | 221.6739 | 218.6759 | 55.875 | 165.7989 | 162.8009
RTD | 2022-02-17 | 8 | 2 | 1 | PACE | UP | FAIL | PASS | 221.6739 | 184.4369 | -143.375 | 365.0489 | 327.8119
RTD | 2022-02-17 | 8 | 3 | 1 | PACE | UP | FAIL | PASS | 221.6739 | 107.0795 | -243 | 464.6739 | 350.0795
RTD | 2022-02-01 | 22 | 1 | 1 | PACW | UP | PASS | FAIL | -1253.75 | -1475.5292 | -1253.75 | 0 | -221.7792
RTD | 2022-02-01 | 22 | 2 | 1 | PACW | UP | PASS | FAIL | -1271.25 | -1401.4917 | -1271.25 | 0 | -130.2417
RTD | 2022-02-01 | 22 | 3 | 1 | PACW | UP | PASS | FAIL | -1280 | -1348.3225 | -1280 | 0 | -68.3225
RTD | 2022-02-01 | 22 | 4 | 2 | PACW | UP | PASS | FAIL | -1280 | -1310.1016 | -1280 | 0 | -30.1016
RTD | 2022-02-01 | 22 | 5 | 2 | PACW | UP | PASS | FAIL | -1280 | -1345.405 | -1280 | 0 | -65.405
RTD | 2022-02-01 | 22 | 6 | 2 | PACW | UP | PASS | FAIL | -1280 | -1304.102 | -1280 | 0 | -24.102
RTD | 2022-02-03 | 5 | 10 | 4 | PACW | UP | FAIL | PASS | -787.9659 | -1089.0354 | -869 | 81.0341 | -220.0354
RTD | 2022-02-03 | 5 | 11 | 4 | PACW | UP | FAIL | PASS | -787.9659 | -1090.3912 | -859 | 71.0341 | -231.3912
RTD | 2022-02-03 | 5 | 12 | 4 | PACW | UP | FAIL | PASS | -787.9659 | -1238.5819 | -812.125 | 24.1591 | -426.4569
RTD | 2022-02-06 | 7 | 10 | 4 | PACW | UP | PASS | FAIL | -284.909 | -308.4616 | -522 | 237.091 | 213.5384
RTD | 2022-02-06 | 7 | 11 | 4 | PACW | UP | PASS | FAIL | -284.909 | -318.9004 | -514.125 | 229.216 | 195.2246
RTD | 2022-02-06 | 7 | 12 | 4 | PACW | UP | PASS | FAIL | -284.909 | -346.87 | -498.375 | 213.466 | 151.505
RTD | 2022-02-22 | 18 | 10 | 4 | PGE | UP | FAIL | PASS | -183.2893 | -183.2893 | -196 | 12.7107 | 12.7107
RTD | 2022-02-22 | 18 | 11 | 4 | PGE | UP | FAIL | PASS | -183.2893 | -183.2885 | -190.125 | 6.8357 | 6.8365
RTD | 2022-02-22 | 18 | 12 | 4 | PGE | UP | FAIL | PASS | -178.375 | -178.3742 | -178.375 | 0 | 0.00078788