## User guide
Description
The data contains import limits and resulting WEIM transfers that incurred following an upward flexible ramping sufficiency test or bid range capacity test failure during May 2022.
NOTICE
As part of Resource Sufficiency Evaluation Enhancements Phase 1 implementation, the California ISO is now posting additional data surrounding resource sufficiency evaluation performance. DMM will no longer post this data set following the month of June 2022.
Data on resource sufficiency evaluation imposed net transfer limits (including any base EIM transfer) can be found on OASIS at Energy → Energy Imbalance Market → Net EIM Transfer Limit.
Data on dynamic market net EIM exports (without any base EIM transfer) can be found on OASIS at Energy → Energy Imbalance Market → EIM Transfer.
Data Notes
•Data only contains upward results from final test at T-40 (RTBS_3).
•Intervals with known invalid test failures were removed from the data. These can occur because of a market disruption, software defect, or other error.
•Intervals with missing data were removed.
•In some cases the import limit after failing the test (from the greater of the base transfer or last 15-minute interval transfer) is at or beyond the normal limit from the sum of individual WEIM transfer system resources. In these cases the import limit imposed after failing the test is not relevant, so these intervals were removed.
Variables
| Market: | 15-mintue market (FMM) or 5-minute market (RTD).
| Date: | Market/test date.
| Hour: | Market/test hour.
| Market interval: | Market interval.
| Test interval | Test interval.
| BAA: | Balancing authority area.
| Direction | Direction (only upward included).
| Sufficiency test status: | Sufficiency test status, pass or fail.
| Capacity test status: | Capacity test status, pass or fail.
| RSE imposed import limit: | Import limit imposed after failing either the flex ramp sufficiency or capacity tests, set by the greater of the base WEIM transfer or last 15-minute market transfer. (positive is on import side, negative is on export side).
| Market net EIM import: | 15-minute or 5-minute market net WEIM import (positive is a net import, negative is a net export).
| Base net import: | Base (bilateral) net import (positive is a net import, negative is a net export).
| RSE imposed import limit (no base): | Incremental import limit, RSE imposed import limit above base schedules (greater of zero or the last 15-minute market transfer minus base).
| Market net EIM import (no base): | Incremental 15-minute or 5-minute market net WEIM import above base schedules (positive is a net import, negative is a net export).
| DISCLAIMER: | With the California ISO's approval, DMM is releasing this data in response to market participant requests submitted in the California ISO's WEIM Resource Sufficiency Evaluation Enhancements stakeholder initiative. The California ISO does not warrant the accuracy or completeness of this data. This data cannot be republished without obtaining prior written consent of the California ISO. CAISO - Public

## May 2022
Market | Date | Hour | Market interval | Test interval | BAA | Direction | Sufficiency test status | Capacity test status | RSE imposed import limit | Market net WEIM import | Base (bilateral) net import | RSE imposed import limit (no base) | Market net WEIM import (no base)
FMM | 2022-05-15 | 18 | 2 | 2 | AVA | UP | FAIL | PASS | -138.6173 | -139.555 | -214 | 75.3827 | 74.445
FMM | 2022-05-15 | 18 | 3 | 3 | AVA | UP | FAIL | PASS | -139.555 | -150.5287 | -214 | 74.445 | 63.4713
FMM | 2022-05-15 | 18 | 4 | 4 | AVA | UP | FAIL | PASS | -150.5287 | -194.372 | -218.8333 | 68.3046 | 24.4613
FMM | 2022-05-15 | 19 | 1 | 1 | AVA | UP | FAIL | PASS | -194.372 | -194.3719 | -236.5 | 42.128 | 42.1281
FMM | 2022-05-15 | 19 | 2 | 2 | AVA | UP | FAIL | PASS | -194.3719 | -194.3718 | -244 | 49.6281 | 49.6282
FMM | 2022-05-15 | 19 | 3 | 3 | AVA | UP | FAIL | PASS | -194.3718 | -194.371 | -244 | 49.6282 | 49.629
FMM | 2022-05-15 | 19 | 4 | 4 | AVA | UP | FAIL | PASS | -194.371 | -194.3702 | -229.5 | 35.129 | 35.1298
FMM | 2022-05-26 | 15 | 1 | 1 | AVA | UP | FAIL | PASS | -224.6221 | -224.622 | -243.5 | 18.8779 | 18.878
FMM | 2022-05-26 | 15 | 2 | 2 | AVA | UP | FAIL | PASS | -224.622 | -224.622 | -245 | 20.378 | 20.378
FMM | 2022-05-26 | 15 | 3 | 3 | AVA | UP | FAIL | PASS | -224.622 | -224.6219 | -245 | 20.378 | 20.3781
FMM | 2022-05-26 | 15 | 4 | 4 | AVA | UP | FAIL | PASS | -224.6219 | -224.6219 | -245.3333 | 20.7114 | 20.7115
FMM | 2022-05-26 | 17 | 1 | 1 | AVA | UP | FAIL | PASS | -238.2308 | -238.2306 | -242.1667 | 3.9359 | 3.936
FMM | 2022-05-26 | 17 | 2 | 2 | AVA | UP | FAIL | PASS | -238.2306 | -238.2298 | -241 | 2.7694 | 2.7702
FMM | 2022-05-26 | 17 | 3 | 3 | AVA | UP | FAIL | PASS | -238.2298 | -238.229 | -241 | 2.7702 | 2.771
FMM | 2022-05-26 | 17 | 4 | 4 | AVA | UP | FAIL | PASS | -232.3333 | -232.3325 | -232.3333 | 0 | 0.00082363
FMM | 2022-05-05 | 22 | 1 | 1 | BPAT | UP | FAIL | PASS | -2673.4167 | -2673.4158 | -2673.4167 | 0 | 0.00081996
FMM | 2022-05-17 | 23 | 2 | 2 | BPAT | UP | FAIL | PASS | -4318 | -4381.7522 | -4318 | 0 | -63.7522
FMM | 2022-05-18 | 3 | 1 | 1 | BPAT | UP | FAIL | PASS | -3007.75 | -3040.2661 | -3007.75 | 0 | -32.5161
FMM | 2022-05-18 | 3 | 2 | 2 | BPAT | UP | FAIL | PASS | -2747 | -2847 | -2747 | 0 | -100
FMM | 2022-05-18 | 3 | 3 | 3 | BPAT | UP | FAIL | PASS | -2781 | -2881 | -2781 | 0 | -100
FMM | 2022-05-18 | 3 | 4 | 4 | BPAT | UP | FAIL | PASS | -2839.25 | -2939.25 | -2839.25 | 0 | -100
FMM | 2022-05-18 | 4 | 2 | 2 | BPAT | UP | FAIL | PASS | -3114 | -3152.5923 | -3114 | 0 | -38.5923
FMM | 2022-05-18 | 4 | 3 | 3 | BPAT | UP | FAIL | PASS | -2986 | -3086 | -2986 | 0 | -100
FMM | 2022-05-18 | 4 | 4 | 4 | BPAT | UP | FAIL | PASS | -3045.0833 | -3145.0833 | -3045.0833 | 0 | -100
FMM | 2022-05-18 | 6 | 4 | 4 | BPAT | UP | FAIL | PASS | -3741 | -3858.5811 | -3839.4167 | 98.4167 | -19.1644
FMM | 2022-05-18 | 9 | 2 | 2 | BPAT | UP | FAIL | PASS | -5289 | -5489 | -5289 | 0 | -200
FMM | 2022-05-19 | 22 | 2 | 2 | BPAT | UP | FAIL | PASS | -5940.3059 | -5940.3059 | -5957 | 16.6941 | 16.6941
FMM | 2022-05-25 | 3 | 2 | 2 | BPAT | UP | FAIL | PASS | -1974.1629 | -1983.9989 | -2094 | 119.8371 | 110.0011
FMM | 2022-05-30 | 1 | 1 | 1 | BPAT | UP | FAIL | PASS | -4872 | -4871.9999 | -4872 | 0 | 0.00014012
FMM | 2022-05-30 | 1 | 2 | 2 | BPAT | UP | FAIL | PASS | -4854.3333 | -4854.3332 | -4854.3333 | 0 | 0.00012817
FMM | 2022-05-30 | 2 | 1 | 1 | BPAT | UP | FAIL | PASS | -4600 | -4599.9999 | -4600 | 0 | 0.00013085
FMM | 2022-05-30 | 2 | 2 | 2 | BPAT | UP | FAIL | PASS | -4532 | -4531.9999 | -4532 | 0 | 0.00013039
FMM | 2022-05-30 | 2 | 3 | 3 | BPAT | UP | FAIL | PASS | -4503 | -4502.9999 | -4503 | 0 | 0.00010261
FMM | 2022-05-30 | 2 | 4 | 4 | BPAT | UP | FAIL | PASS | -4463.3333 | -4468.5026 | -4463.3333 | 0 | -5.1693
FMM | 2022-05-30 | 10 | 2 | 2 | BPAT | UP | FAIL | PASS | -5941.3698 | -5941.3696 | -5959 | 17.6302 | 17.6304
FMM | 2022-05-30 | 10 | 3 | 3 | BPAT | UP | FAIL | PASS | -5941.3696 | -5941.3695 | -5959 | 17.6304 | 17.6305
FMM | 2022-05-30 | 10 | 4 | 4 | BPAT | UP | FAIL | PASS | -5919.8333 | -5919.8332 | -5919.8333 | 0 | 0.00012174
FMM | 2022-05-01 | 11 | 1 | 1 | NEVP | UP | FAIL | PASS | -117.7528 | -117.7525 | -160.3333 | 42.5806 | 42.5809
FMM | 2022-05-01 | 11 | 2 | 2 | NEVP | UP | FAIL | PASS | -117.7525 | -117.7501 | -177 | 59.2475 | 59.2499
FMM | 2022-05-01 | 11 | 3 | 3 | NEVP | UP | FAIL | PASS | -117.7501 | -117.7498 | -181 | 63.2499 | 63.2502
FMM | 2022-05-01 | 15 | 1 | 1 | NEVP | UP | FAIL | PASS | 59.2157 | 59.2181 | -69.5 | 128.7157 | 128.7181
FMM | 2022-05-01 | 15 | 2 | 2 | NEVP | UP | FAIL | PASS | 59.2181 | 59.2206 | -69 | 128.2181 | 128.2206
FMM | 2022-05-01 | 15 | 3 | 3 | NEVP | UP | FAIL | PASS | 59.2206 | 43.9681 | -69 | 128.2206 | 112.9681
FMM | 2022-05-01 | 15 | 4 | 4 | NEVP | UP | FAIL | PASS | 43.9681 | 43.9705 | -59.6667 | 103.6347 | 103.6371
FMM | 2022-05-03 | 14 | 4 | 4 | NEVP | UP | FAIL | PASS | -327.9164 | -327.9163 | -644.1667 | 316.2503 | 316.2503
FMM | 2022-05-05 | 9 | 1 | 1 | NEVP | UP | FAIL | PASS | 148.992 | 131.8844 | -61.1667 | 210.1587 | 193.0511
FMM | 2022-05-05 | 9 | 2 | 2 | NEVP | UP | FAIL | PASS | 131.8844 | 131.8868 | -68 | 199.8844 | 199.8868
FMM | 2022-05-12 | 14 | 2 | 2 | NEVP | UP | FAIL | PASS | 22.4499 | 22.4523 | -330 | 352.4499 | 352.4523
FMM | 2022-05-12 | 18 | 4 | 4 | NEVP | UP | FAIL | PASS | 218.9389 | 218.9393 | -100.5 | 319.4389 | 319.4393
FMM | 2022-05-15 | 8 | 1 | 1 | NEVP | UP | FAIL | PASS | 265.011 | 265.0111 | 184 | 81.011 | 81.0111
FMM | 2022-05-16 | 19 | 3 | 3 | NEVP | UP | FAIL | PASS | 567 | 566.9841 | 567 | 0 | -0.015873
FMM | 2022-05-16 | 19 | 4 | 4 | NEVP | UP | FAIL | PASS | 567 | 453.3172 | 567 | 0 | -113.6828
FMM | 2022-05-20 | 8 | 1 | 1 | NEVP | UP | FAIL | PASS | 168.8417 | 168.8426 | 159.5 | 9.3417 | 9.3426
FMM | 2022-05-21 | 10 | 2 | 2 | NEVP | UP | FAIL | PASS | -340.501 | -340.5003 | -375 | 34.499 | 34.4997
FMM | 2022-05-24 | 20 | 1 | 1 | NEVP | UP | PASS | FAIL | 476.306 | 470.2259 | 425.5 | 50.806 | 44.7259
FMM | 2022-05-24 | 20 | 2 | 2 | NEVP | UP | FAIL | PASS | 470.2259 | 470.2281 | 418 | 52.2259 | 52.2281
FMM | 2022-05-24 | 20 | 3 | 3 | NEVP | UP | FAIL | PASS | 470.2281 | 470.2301 | 418 | 52.2281 | 52.2301
FMM | 2022-05-24 | 20 | 4 | 4 | NEVP | UP | FAIL | PASS | 470.2301 | 470.2323 | 425.6667 | 44.5635 | 44.5656
FMM | 2022-05-25 | 23 | 1 | 1 | NEVP | UP | PASS | FAIL | 927.5208 | 827.9171 | 639.6667 | 287.8541 | 188.2504
FMM | 2022-05-25 | 23 | 2 | 2 | NEVP | UP | PASS | FAIL | 827.9171 | 739.8625 | 634 | 193.9171 | 105.8625
FMM | 2022-05-27 | 23 | 1 | 1 | NEVP | UP | FAIL | FAIL | 815 | 814.9841 | 815 | 0 | -0.015864
FMM | 2022-05-27 | 23 | 2 | 2 | NEVP | UP | FAIL | PASS | 826 | 826.0022 | 826 | 0 | 0.0022059
FMM | 2022-05-15 | 21 | 1 | 1 | PACE | UP | FAIL | PASS | 1257.8366 | 1231.3535 | 1113.8333 | 144.0033 | 117.5202
FMM | 2022-05-15 | 21 | 2 | 2 | PACE | UP | FAIL | PASS | 1231.3535 | 1231.354 | 1041 | 190.3535 | 190.354
FMM | 2022-05-23 | 22 | 1 | 1 | PACE | UP | FAIL | PASS | 460.6508 | 438.2825 | 342.75 | 117.9008 | 95.5325
FMM | 2022-05-23 | 23 | 1 | 1 | PACE | UP | FAIL | PASS | 340.3333 | 241.6831 | 340.3333 | 0 | -98.6502
FMM | 2022-05-06 | 12 | 1 | 1 | PACW | UP | FAIL | PASS | 506.8034 | 506.8035 | 407.3333 | 99.4701 | 99.4701
FMM | 2022-05-06 | 13 | 1 | 1 | PACW | UP | FAIL | PASS | 576.0359 | 576.0366 | 507.5 | 68.5359 | 68.5366
FMM | 2022-05-10 | 19 | 1 | 1 | PACW | UP | FAIL | PASS | 476.8662 | 347.5807 | 171.8333 | 305.0329 | 175.7474
FMM | 2022-05-10 | 19 | 2 | 2 | PACW | UP | FAIL | PASS | 347.5807 | 246.1273 | 119.3333 | 228.2474 | 126.794
FMM | 2022-05-12 | 13 | 1 | 1 | PACW | UP | PASS | FAIL | 909.9067 | 909.9067 | 717 | 192.9067 | 192.9067
FMM | 2022-05-12 | 13 | 2 | 2 | PACW | UP | PASS | FAIL | 909.9067 | 893.3692 | 709 | 200.9067 | 184.3692
FMM | 2022-05-22 | 1 | 1 | 1 | PACW | UP | PASS | FAIL | -243.8333 | -355.9176 | -243.8333 | 0 | -112.0842
FMM | 2022-05-22 | 1 | 2 | 2 | PACW | UP | PASS | FAIL | -257 | -323.8572 | -257 | 0 | -66.8572
FMM | 2022-05-23 | 1 | 1 | 1 | PACW | UP | PASS | FAIL | -223.2245 | -318.1657 | -300.1667 | 76.9421 | -17.999
FMM | 2022-05-28 | 12 | 1 | 1 | PACW | UP | PASS | FAIL | 544.7452 | 459.064 | 282.5 | 262.2452 | 176.564
FMM | 2022-05-15 | 20 | 1 | 1 | PNM | UP | FAIL | PASS | -174.6071 | -232.1567 | -260.3333 | 85.7262 | 28.1766
FMM | 2022-05-15 | 20 | 2 | 2 | PNM | UP | FAIL | PASS | -232.1567 | -239.117 | -243 | 10.8433 | 3.883
FMM | 2022-05-15 | 20 | 3 | 3 | PNM | UP | FAIL | PASS | -239.117 | -259.4111 | -243 | 3.883 | -16.4111
FMM | 2022-05-15 | 20 | 4 | 4 | PNM | UP | FAIL | PASS | -258.5 | -260.5301 | -258.5 | 0 | -2.0301
FMM | 2022-05-10 | 14 | 1 | 1 | PSEI | UP | PASS | FAIL | 1481.298 | 1396.1617 | 1359.6667 | 121.6313 | 36.495
FMM | 2022-05-01 | 17 | 1 | 1 | SRP | UP | PASS | FAIL | 1935.3335 | 1745.6669 | 695.6667 | 1239.6668 | 1050.0002
FMM | 2022-05-01 | 17 | 2 | 2 | SRP | UP | PASS | FAIL | 1745.6669 | 1698.0009 | 648 | 1097.6669 | 1050.0009
FMM | 2022-05-01 | 17 | 3 | 3 | SRP | UP | PASS | FAIL | 1698.0009 | 1698.0001 | 648 | 1050.0009 | 1050.0001
FMM | 2022-05-01 | 17 | 4 | 4 | SRP | UP | PASS | FAIL | 1698.0001 | 1698.0008 | 695.6667 | 1002.3335 | 1002.3341
FMM | 2022-05-01 | 19 | 1 | 1 | SRP | UP | PASS | FAIL | 1701.974 | 1371.8413 | 674.6667 | 1027.3074 | 697.1746
FMM | 2022-05-01 | 19 | 2 | 2 | SRP | UP | PASS | FAIL | 1371.8413 | 1156.0294 | 627 | 744.8413 | 529.0294
FMM | 2022-05-01 | 20 | 1 | 1 | SRP | UP | PASS | FAIL | 1019.2917 | 836.1829 | 605.6667 | 413.625 | 230.5163
FMM | 2022-05-01 | 20 | 2 | 2 | SRP | UP | PASS | FAIL | 836.1829 | 775.8368 | 599 | 237.1829 | 176.8368
FMM | 2022-05-01 | 21 | 1 | 1 | SRP | UP | FAIL | FAIL | 623 | 622.9841 | 623 | 0 | -0.015912
FMM | 2022-05-01 | 21 | 2 | 2 | SRP | UP | FAIL | FAIL | 628 | 628.0023 | 628 | 0 | 0.0022802
FMM | 2022-05-01 | 22 | 1 | 1 | SRP | UP | FAIL | FAIL | 840.3333 | 840.3334 | 840.3333 | 0 | 3.4575e-05
FMM | 2022-05-01 | 23 | 1 | 1 | SRP | UP | PASS | FAIL | 1083.8928 | 922.2019 | 764.3333 | 319.5595 | 157.8686
FMM | 2022-05-02 | 21 | 1 | 1 | SRP | UP | PASS | FAIL | 777.6667 | 734.4001 | 777.6667 | 0 | -43.2665
FMM | 2022-05-02 | 21 | 2 | 2 | SRP | UP | PASS | FAIL | 751 | 741.7027 | 751 | 0 | -9.2973
FMM | 2022-05-04 | 21 | 1 | 1 | SRP | UP | PASS | FAIL | 1098.6667 | 946.7206 | 1098.6667 | 0 | -151.9461
FMM | 2022-05-05 | 19 | 1 | 1 | SRP | UP | PASS | FAIL | 1359.7339 | 1218.2999 | 696.5 | 663.2339 | 521.7999
FMM | 2022-05-15 | 15 | 4 | 4 | SRP | UP | PASS | FAIL | 1879.8977 | 1771.6774 | 1061.8333 | 818.0643 | 709.8441
FMM | 2022-05-15 | 17 | 2 | 2 | SRP | UP | PASS | FAIL | 726.318 | 519.8468 | 54 | 672.318 | 465.8468
FMM | 2022-05-15 | 17 | 3 | 3 | SRP | UP | PASS | FAIL | 519.8468 | 469.3967 | 54 | 465.8468 | 415.3967
FMM | 2022-05-15 | 17 | 4 | 4 | SRP | UP | PASS | FAIL | 469.3967 | 469.3972 | 163.3333 | 306.0633 | 306.0639
FMM | 2022-05-15 | 18 | 1 | 1 | SRP | UP | PASS | FAIL | 469.3972 | 469.3979 | 286.3333 | 183.0639 | 183.0645
FMM | 2022-05-15 | 19 | 1 | 1 | SRP | UP | PASS | FAIL | 629.1858 | 629.1881 | 461.5 | 167.6858 | 167.6881
FMM | 2022-05-15 | 19 | 2 | 2 | SRP | UP | PASS | FAIL | 629.1881 | 629.1885 | 476 | 153.1881 | 153.1885
FMM | 2022-05-15 | 20 | 1 | 1 | SRP | UP | PASS | FAIL | 544.6667 | 480.1516 | 544.6667 | 0 | -64.5151
FMM | 2022-05-16 | 19 | 1 | 1 | SRP | UP | PASS | FAIL | 1280.3972 | 1171.4688 | 762.5 | 517.8972 | 408.9688
FMM | 2022-05-17 | 18 | 1 | 1 | SRP | UP | FAIL | PASS | 1992.0025 | 1900.3358 | 850.3333 | 1141.6691 | 1050.0025
FMM | 2022-05-25 | 19 | 1 | 1 | SRP | UP | PASS | FAIL | 1902.4405 | 1902.4405 | 1427.1667 | 475.2738 | 475.2738
FMM | 2022-05-25 | 21 | 1 | 1 | SRP | UP | PASS | FAIL | 1284.1667 | 1284.1512 | 1284.1667 | 0 | -0.015443
FMM | 2022-05-25 | 22 | 1 | 1 | SRP | UP | FAIL | PASS | 1354.5891 | 1354.5891 | 1277.5 | 77.0891 | 77.0891
FMM | 2022-05-25 | 21 | 1 | 1 | TEPC | UP | FAIL | PASS | 229.8333 | 229.8178 | 229.8333 | 0 | -0.015545
FMM | 2022-05-25 | 21 | 2 | 2 | TEPC | UP | FAIL | PASS | 229.8178 | 229.8184 | 221 | 8.8178 | 8.8184
FMM | 2022-05-18 | 13 | 1 | 1 | TPWR | UP | PASS | FAIL | 224.4395 | 176.8482 | 176.8333 | 47.6061 | 0.014911
FMM | 2022-05-18 | 13 | 2 | 2 | TPWR | UP | PASS | FAIL | 176.8482 | 163.0149 | 163 | 13.8482 | 0.01488
FMM | 2022-05-18 | 13 | 3 | 3 | TPWR | UP | PASS | FAIL | 165 | 163.0154 | 165 | 0 | -1.9846
FMM | 2022-05-31 | 21 | 1 | 1 | TPWR | UP | FAIL | PASS | 123.2986 | 50.8342 | -149.1667 | 272.4653 | 200.0009
FMM | 2022-05-31 | 21 | 2 | 2 | TPWR | UP | FAIL | PASS | 123 | 99.8567 | 123 | 0 | -23.1433
FMM | 2022-05-31 | 21 | 3 | 3 | TPWR | UP | FAIL | PASS | 173 | 110.872 | 173 | 0 | -62.128
FMM | 2022-05-31 | 21 | 4 | 4 | TPWR | UP | FAIL | PASS | 169.1667 | 118.7469 | 169.1667 | 0 | -50.4198
RTD | 2022-05-15 | 18 | 4 | 2 | AVA | UP | FAIL | PASS | -138.6173 | -160.0922 | -214 | 75.3827 | 53.9078
RTD | 2022-05-15 | 18 | 5 | 2 | AVA | UP | FAIL | PASS | -138.6173 | -164.8886 | -214 | 75.3827 | 49.1114
RTD | 2022-05-15 | 18 | 6 | 2 | AVA | UP | FAIL | PASS | -138.6173 | -152.6857 | -214 | 75.3827 | 61.3143
RTD | 2022-05-15 | 18 | 7 | 3 | AVA | UP | FAIL | PASS | -139.555 | -150.1253 | -214 | 74.445 | 63.8747
RTD | 2022-05-15 | 18 | 8 | 3 | AVA | UP | FAIL | PASS | -139.555 | -148.0107 | -214 | 74.445 | 65.9893
RTD | 2022-05-15 | 18 | 9 | 3 | AVA | UP | FAIL | PASS | -139.555 | -140.3251 | -214 | 74.445 | 73.6749
RTD | 2022-05-15 | 18 | 10 | 4 | AVA | UP | FAIL | PASS | -150.5287 | -192.9222 | -214 | 63.4713 | 21.0778
RTD | 2022-05-15 | 18 | 11 | 4 | AVA | UP | FAIL | PASS | -150.5287 | -193.9382 | -217.75 | 67.2213 | 23.8118
RTD | 2022-05-15 | 18 | 12 | 4 | AVA | UP | FAIL | PASS | -150.5287 | -188.5402 | -225.25 | 74.7213 | 36.7098
RTD | 2022-05-15 | 19 | 1 | 1 | AVA | UP | FAIL | PASS | -194.372 | -194.3719 | -232.75 | 38.378 | 38.3781
RTD | 2022-05-15 | 19 | 2 | 1 | AVA | UP | FAIL | PASS | -194.372 | -194.372 | -240.25 | 45.878 | 45.878
RTD | 2022-05-15 | 19 | 3 | 1 | AVA | UP | FAIL | PASS | -194.372 | -194.372 | -244 | 49.628 | 49.628
RTD | 2022-05-15 | 19 | 4 | 2 | AVA | UP | FAIL | PASS | -194.3719 | -194.3719 | -244 | 49.6281 | 49.6281
RTD | 2022-05-15 | 19 | 5 | 2 | AVA | UP | FAIL | PASS | -194.3719 | -194.3719 | -244 | 49.6281 | 49.6281
RTD | 2022-05-15 | 19 | 6 | 2 | AVA | UP | FAIL | PASS | -194.3719 | -194.3719 | -244 | 49.6281 | 49.6281
RTD | 2022-05-15 | 19 | 7 | 3 | AVA | UP | FAIL | PASS | -194.3718 | -194.3718 | -244 | 49.6282 | 49.6282
RTD | 2022-05-15 | 19 | 8 | 3 | AVA | UP | FAIL | PASS | -194.3718 | -194.3718 | -244 | 49.6282 | 49.6282
RTD | 2022-05-15 | 19 | 9 | 3 | AVA | UP | FAIL | PASS | -194.3718 | -194.3717 | -244 | 49.6282 | 49.6283
RTD | 2022-05-15 | 19 | 10 | 4 | AVA | UP | FAIL | PASS | -194.371 | -194.3709 | -244 | 49.629 | 49.6291
RTD | 2022-05-15 | 19 | 11 | 4 | AVA | UP | FAIL | PASS | -194.371 | -194.3709 | -233.25 | 38.879 | 38.8791
RTD | 2022-05-15 | 19 | 12 | 4 | AVA | UP | FAIL | PASS | -194.371 | -194.3709 | -211.75 | 17.379 | 17.3791
RTD | 2022-05-26 | 15 | 1 | 1 | AVA | UP | FAIL | PASS | -224.6221 | -224.6221 | -245.375 | 20.7529 | 20.7529
RTD | 2022-05-26 | 15 | 2 | 1 | AVA | UP | FAIL | PASS | -224.6221 | -224.6221 | -245.125 | 20.5029 | 20.5029
RTD | 2022-05-26 | 15 | 3 | 1 | AVA | UP | FAIL | PASS | -224.6221 | -224.6221 | -245 | 20.3779 | 20.3779
RTD | 2022-05-26 | 15 | 4 | 2 | AVA | UP | FAIL | PASS | -224.622 | -224.622 | -245 | 20.378 | 20.378
RTD | 2022-05-26 | 15 | 5 | 2 | AVA | UP | FAIL | PASS | -224.622 | -224.622 | -245 | 20.378 | 20.378
RTD | 2022-05-26 | 15 | 6 | 2 | AVA | UP | FAIL | PASS | -224.622 | -224.622 | -245 | 20.378 | 20.378
RTD | 2022-05-26 | 15 | 7 | 3 | AVA | UP | FAIL | PASS | -224.622 | -224.622 | -245 | 20.378 | 20.378
RTD | 2022-05-26 | 15 | 8 | 3 | AVA | UP | FAIL | PASS | -224.622 | -224.622 | -245 | 20.378 | 20.378
RTD | 2022-05-26 | 15 | 9 | 3 | AVA | UP | FAIL | PASS | -224.622 | -224.6219 | -245 | 20.378 | 20.3781
RTD | 2022-05-26 | 15 | 10 | 4 | AVA | UP | FAIL | PASS | -224.6219 | -224.6219 | -245 | 20.3781 | 20.3781
RTD | 2022-05-26 | 15 | 11 | 4 | AVA | UP | FAIL | PASS | -224.6219 | -224.6219 | -245.375 | 20.7531 | 20.7531
RTD | 2022-05-26 | 15 | 12 | 4 | AVA | UP | FAIL | PASS | -224.6219 | -224.6219 | -246.125 | 21.5031 | 21.5031
RTD | 2022-05-26 | 17 | 1 | 1 | AVA | UP | FAIL | PASS | -238.2308 | -238.2307 | -243.625 | 5.3942 | 5.3943
RTD | 2022-05-26 | 17 | 2 | 1 | AVA | UP | FAIL | PASS | -238.2308 | -238.2307 | -241.875 | 3.6442 | 3.6443
RTD | 2022-05-26 | 17 | 3 | 1 | AVA | UP | FAIL | PASS | -238.2308 | -238.2307 | -241 | 2.7692 | 2.7693
RTD | 2022-05-26 | 17 | 4 | 2 | AVA | UP | FAIL | PASS | -238.2306 | -238.2306 | -241 | 2.7694 | 2.7694
RTD | 2022-05-26 | 17 | 5 | 2 | AVA | UP | FAIL | PASS | -238.2306 | -238.2306 | -241 | 2.7694 | 2.7694
RTD | 2022-05-26 | 17 | 6 | 2 | AVA | UP | FAIL | PASS | -238.2306 | -238.2306 | -241 | 2.7694 | 2.7694
RTD | 2022-05-26 | 17 | 7 | 3 | AVA | UP | FAIL | PASS | -238.2298 | -238.2298 | -241 | 2.7702 | 2.7702
RTD | 2022-05-26 | 17 | 8 | 3 | AVA | UP | FAIL | PASS | -238.2298 | -238.2298 | -241 | 2.7702 | 2.7702
RTD | 2022-05-26 | 17 | 9 | 3 | AVA | UP | FAIL | PASS | -238.2298 | -238.2298 | -241 | 2.7702 | 2.7702
RTD | 2022-05-26 | 17 | 10 | 4 | AVA | UP | FAIL | PASS | -238.229 | -238.229 | -241 | 2.771 | 2.771
RTD | 2022-05-26 | 17 | 11 | 4 | AVA | UP | FAIL | PASS | -235 | -235.0152 | -235 | 0 | -0.015204
RTD | 2022-05-26 | 17 | 12 | 4 | AVA | UP | FAIL | PASS | -223 | -223 | -223 | 0 | 4.5057e-05
RTD | 2022-05-05 | 22 | 1 | 1 | BPAT | UP | FAIL | PASS | -2725.6216 | -2725.6216 | -2768.875 | 43.2534 | 43.2534
RTD | 2022-05-05 | 22 | 2 | 1 | BPAT | UP | FAIL | PASS | -2725.6216 | -2725.6216 | -2745.625 | 20.0034 | 20.0034
RTD | 2022-05-05 | 22 | 3 | 1 | BPAT | UP | FAIL | PASS | -2722.75 | -2722.75 | -2722.75 | 0 | 2.6044e-05
RTD | 2022-05-13 | 7 | 10 | 4 | BPAT | UP | FAIL | PASS | -4519.9924 | -4519.9924 | -4663 | 143.0076 | 143.0076
RTD | 2022-05-13 | 7 | 11 | 4 | BPAT | UP | FAIL | PASS | -4519.9924 | -4519.9924 | -4730.875 | 210.8826 | 210.8826
RTD | 2022-05-17 | 23 | 4 | 2 | BPAT | UP | FAIL | PASS | -4297.25 | -4303.9187 | -4297.25 | 0 | -6.6687
RTD | 2022-05-17 | 23 | 5 | 2 | BPAT | UP | FAIL | PASS | -4297 | -4319.7214 | -4297 | 0 | -22.7214
RTD | 2022-05-17 | 23 | 6 | 2 | BPAT | UP | FAIL | PASS | -4302 | -4339.0659 | -4302 | 0 | -37.0659
RTD | 2022-05-18 | 3 | 1 | 1 | BPAT | UP | FAIL | PASS | -2903.625 | -3003.625 | -2903.625 | 0 | -100
RTD | 2022-05-18 | 3 | 2 | 1 | BPAT | UP | FAIL | PASS | -2821.875 | -2921.875 | -2821.875 | 0 | -100
RTD | 2022-05-18 | 3 | 3 | 1 | BPAT | UP | FAIL | PASS | -2777 | -2877 | -2777 | 0 | -100
RTD | 2022-05-18 | 3 | 4 | 2 | BPAT | UP | FAIL | PASS | -2769 | -2869 | -2769 | 0 | -100
RTD | 2022-05-18 | 3 | 5 | 2 | BPAT | UP | FAIL | PASS | -2821 | -2921 | -2821 | 0 | -100
RTD | 2022-05-18 | 3 | 6 | 2 | BPAT | UP | FAIL | PASS | -2825 | -2925 | -2825 | 0 | -100
RTD | 2022-05-18 | 3 | 7 | 3 | BPAT | UP | FAIL | PASS | -2833 | -2933 | -2833 | 0 | -100
RTD | 2022-05-18 | 3 | 8 | 3 | BPAT | UP | FAIL | PASS | -2837 | -2926.0211 | -2837 | 0 | -89.0211
RTD | 2022-05-18 | 3 | 9 | 3 | BPAT | UP | FAIL | PASS | -2847 | -2932.0727 | -2847 | 0 | -85.0727
RTD | 2022-05-18 | 3 | 10 | 4 | BPAT | UP | FAIL | PASS | -2867 | -2967 | -2867 | 0 | -100
RTD | 2022-05-18 | 3 | 11 | 4 | BPAT | UP | FAIL | PASS | -2881 | -2993.75 | -2893.75 | 12.75 | -100
RTD | 2022-05-18 | 3 | 12 | 4 | BPAT | UP | FAIL | PASS | -2881 | -3025.6946 | -2925.874 | 44.874 | -99.8206
RTD | 2022-05-18 | 4 | 4 | 2 | BPAT | UP | FAIL | PASS | -2985 | -3036.2544 | -2985 | 0 | -51.2544
RTD | 2022-05-18 | 4 | 5 | 2 | BPAT | UP | FAIL | PASS | -2986 | -3007.528 | -2986 | 0 | -21.528
RTD | 2022-05-18 | 4 | 6 | 2 | BPAT | UP | FAIL | PASS | -2986 | -2988.6087 | -2986 | 0 | -2.6087
RTD | 2022-05-18 | 4 | 7 | 3 | BPAT | UP | FAIL | PASS | -2986 | -2988.6632 | -2986 | 0 | -2.6632
RTD | 2022-05-18 | 4 | 8 | 3 | BPAT | UP | FAIL | PASS | -2986 | -2986 | -2986 | 0 | 4.4177e-06
RTD | 2022-05-18 | 4 | 9 | 3 | BPAT | UP | FAIL | PASS | -2984.998 | -2984.998 | -2984.998 | 0 | 4.7246e-06
RTD | 2022-05-18 | 4 | 10 | 4 | BPAT | UP | FAIL | PASS | -2982.998 | -2982.998 | -2982.998 | 0 | 4.0965e-06
RTD | 2022-05-18 | 4 | 11 | 4 | BPAT | UP | FAIL | PASS | -3010 | -3010 | -3010 | 0 | 1.4586e-05
RTD | 2022-05-18 | 4 | 12 | 4 | BPAT | UP | FAIL | PASS | -3066.25 | -3166.25 | -3066.25 | 0 | -100
RTD | 2022-05-18 | 6 | 10 | 4 | BPAT | UP | FAIL | PASS | -3689 | -3789 | -3689 | 0 | -100
RTD | 2022-05-18 | 6 | 11 | 4 | BPAT | UP | FAIL | PASS | -3741 | -3917.2246 | -3832.25 | 91.25 | -84.9746
RTD | 2022-05-18 | 9 | 4 | 2 | BPAT | UP | FAIL | PASS | -5262 | -5455.4417 | -5262 | 0 | -193.4417
RTD | 2022-05-18 | 9 | 5 | 2 | BPAT | UP | FAIL | PASS | -5262 | -5462 | -5262 | 0 | -200
RTD | 2022-05-18 | 9 | 6 | 2 | BPAT | UP | FAIL | PASS | -5257 | -5457 | -5257 | 0 | -200
RTD | 2022-05-19 | 22 | 4 | 2 | BPAT | UP | FAIL | PASS | -5891 | -5891.0153 | -5891 | 0 | -0.015282
RTD | 2022-05-19 | 22 | 5 | 2 | BPAT | UP | FAIL | PASS | -5891 | -5891.0153 | -5891 | 0 | -0.015325
RTD | 2022-05-19 | 22 | 6 | 2 | BPAT | UP | FAIL | PASS | -5891 | -5890.9997 | -5891 | 0 | 0.0002507
RTD | 2022-05-25 | 3 | 4 | 2 | BPAT | UP | FAIL | PASS | -1974.1629 | -2068.2859 | -2104 | 129.8371 | 35.7141
RTD | 2022-05-25 | 3 | 5 | 2 | BPAT | UP | FAIL | PASS | -1974.1629 | -2049.0496 | -2104 | 129.8371 | 54.9504
RTD | 2022-05-25 | 3 | 6 | 2 | BPAT | UP | FAIL | PASS | -1974.1629 | -2018.4926 | -2104 | 129.8371 | 85.5074
RTD | 2022-05-30 | 1 | 1 | 1 | BPAT | UP | FAIL | PASS | -4833.875 | -4833.875 | -4833.875 | 0 | 1.126e-06
RTD | 2022-05-30 | 1 | 2 | 1 | BPAT | UP | FAIL | PASS | -4794.625 | -4794.625 | -4794.625 | 0 | 1.1304e-06
RTD | 2022-05-30 | 1 | 3 | 1 | BPAT | UP | FAIL | PASS | -4775 | -4869.2314 | -4775 | 0 | -94.2314
RTD | 2022-05-30 | 1 | 4 | 2 | BPAT | UP | FAIL | PASS | -4775 | -4784.2504 | -4775 | 0 | -9.2504
RTD | 2022-05-30 | 1 | 5 | 2 | BPAT | UP | FAIL | PASS | -4775 | -4786.4673 | -4775 | 0 | -11.4673
RTD | 2022-05-30 | 1 | 6 | 2 | BPAT | UP | FAIL | PASS | -4775 | -4775 | -4775 | 0 | 1.3131e-06
RTD | 2022-05-30 | 2 | 1 | 1 | BPAT | UP | FAIL | PASS | -4580 | -4664.6537 | -4580 | 0 | -84.6537
RTD | 2022-05-30 | 2 | 2 | 1 | BPAT | UP | FAIL | PASS | -4502 | -4567.3925 | -4502 | 0 | -65.3925
RTD | 2022-05-30 | 2 | 3 | 1 | BPAT | UP | FAIL | PASS | -4448 | -4526.9549 | -4448 | 0 | -78.9549
RTD | 2022-05-30 | 2 | 4 | 2 | BPAT | UP | FAIL | PASS | -4448 | -4521.2675 | -4448 | 0 | -73.2675
RTD | 2022-05-30 | 2 | 5 | 2 | BPAT | UP | FAIL | PASS | -4448 | -4517.1111 | -4448 | 0 | -69.1111
RTD | 2022-05-30 | 2 | 6 | 2 | BPAT | UP | FAIL | PASS | -4448 | -4509.5829 | -4448 | 0 | -61.5829
RTD | 2022-05-30 | 2 | 7 | 3 | BPAT | UP | FAIL | PASS | -4448 | -4508.4196 | -4448 | 0 | -60.4196
RTD | 2022-05-30 | 2 | 8 | 3 | BPAT | UP | FAIL | PASS | -4448 | -4515.8511 | -4448 | 0 | -67.8511
RTD | 2022-05-30 | 2 | 9 | 3 | BPAT | UP | FAIL | PASS | -4448 | -4515.0239 | -4448 | 0 | -67.0239
RTD | 2022-05-30 | 2 | 10 | 4 | BPAT | UP | FAIL | PASS | -4448 | -4523.783 | -4448 | 0 | -75.783
RTD | 2022-05-30 | 2 | 11 | 4 | BPAT | UP | FAIL | PASS | -4429.25 | -4520.3134 | -4429.25 | 0 | -91.0634
RTD | 2022-05-30 | 2 | 12 | 4 | BPAT | UP | FAIL | PASS | -4379.75 | -4497.3876 | -4379.75 | 0 | -117.6376
RTD | 2022-05-30 | 10 | 4 | 2 | BPAT | UP | FAIL | PASS | -5941.3698 | -5966.923 | -5959 | 17.6302 | -7.923
RTD | 2022-05-30 | 10 | 5 | 2 | BPAT | UP | FAIL | PASS | -5941.3698 | -5960.0284 | -5959 | 17.6302 | -1.0284
RTD | 2022-05-30 | 10 | 6 | 2 | BPAT | UP | FAIL | PASS | -5941.3698 | -5955.3116 | -5959 | 17.6302 | 3.6884
RTD | 2022-05-30 | 10 | 7 | 3 | BPAT | UP | FAIL | PASS | -5941.3698 | -5966.923 | -5959 | 17.6302 | -7.923
RTD | 2022-05-30 | 10 | 8 | 3 | BPAT | UP | FAIL | PASS | -5941.3696 | -5941.3696 | -5959 | 17.6304 | 17.6304
RTD | 2022-05-30 | 10 | 9 | 3 | BPAT | UP | FAIL | PASS | -5941.3696 | -5941.3696 | -5959 | 17.6304 | 17.6304
RTD | 2022-05-30 | 10 | 10 | 4 | BPAT | UP | FAIL | PASS | -5941.3695 | -5941.3695 | -5959 | 17.6305 | 17.6305
RTD | 2022-05-30 | 10 | 11 | 4 | BPAT | UP | FAIL | PASS | -5939 | -5957.4546 | -5939 | 0 | -18.4546
RTD | 2022-05-30 | 10 | 12 | 4 | BPAT | UP | FAIL | PASS | -5899 | -5955.885 | -5899 | 0 | -56.885
RTD | 2022-05-01 | 11 | 1 | 1 | NEVP | UP | FAIL | PASS | -117.7528 | -182.1844 | -137 | 19.2472 | -45.1844
RTD | 2022-05-01 | 11 | 2 | 1 | NEVP | UP | FAIL | PASS | -117.7528 | -117.7527 | -163 | 45.2472 | 45.2473
RTD | 2022-05-01 | 11 | 3 | 1 | NEVP | UP | FAIL | PASS | -117.7528 | -117.7527 | -181 | 63.2472 | 63.2473
RTD | 2022-05-01 | 11 | 4 | 2 | NEVP | UP | FAIL | PASS | -117.7525 | -143.6472 | -182.5 | 64.7475 | 38.8528
RTD | 2022-05-01 | 11 | 5 | 2 | NEVP | UP | FAIL | PASS | -117.7525 | -129.839 | -183 | 65.2475 | 53.161
RTD | 2022-05-01 | 11 | 6 | 2 | NEVP | UP | FAIL | PASS | -117.7525 | -117.7524 | -182.5 | 64.7475 | 64.7476
RTD | 2022-05-01 | 11 | 7 | 3 | NEVP | UP | FAIL | PASS | -117.7501 | -117.75 | -181.5 | 63.7499 | 63.75
RTD | 2022-05-01 | 11 | 8 | 3 | NEVP | UP | FAIL | PASS | -117.7501 | -117.75 | -181 | 63.2499 | 63.25
RTD | 2022-05-01 | 11 | 9 | 3 | NEVP | UP | FAIL | PASS | -117.7501 | -117.75 | -181 | 63.2499 | 63.25
RTD | 2022-05-01 | 15 | 1 | 1 | NEVP | UP | FAIL | PASS | 59.2157 | 59.2158 | -70.125 | 129.3407 | 129.3408
RTD | 2022-05-01 | 15 | 2 | 1 | NEVP | UP | FAIL | PASS | 59.2157 | 59.2165 | -69.375 | 128.5907 | 128.5915
RTD | 2022-05-01 | 15 | 3 | 1 | NEVP | UP | FAIL | PASS | 59.2157 | 59.2158 | -69 | 128.2157 | 128.2158
RTD | 2022-05-01 | 15 | 4 | 2 | NEVP | UP | FAIL | PASS | 59.2181 | 55.5469 | -69 | 128.2181 | 124.5469
RTD | 2022-05-01 | 15 | 5 | 2 | NEVP | UP | FAIL | PASS | 59.2181 | 54.3199 | -69 | 128.2181 | 123.3199
RTD | 2022-05-01 | 15 | 6 | 2 | NEVP | UP | FAIL | PASS | 59.2181 | 55.8463 | -69 | 128.2181 | 124.8463
RTD | 2022-05-01 | 15 | 7 | 3 | NEVP | UP | FAIL | PASS | 59.2206 | 51.632 | -69 | 128.2206 | 120.632
RTD | 2022-05-01 | 15 | 8 | 3 | NEVP | UP | FAIL | PASS | 59.2206 | 59.2206 | -69 | 128.2206 | 128.2206
RTD | 2022-05-01 | 15 | 9 | 3 | NEVP | UP | FAIL | PASS | 59.2206 | 59.2206 | -69 | 128.2206 | 128.2206
RTD | 2022-05-01 | 15 | 10 | 4 | NEVP | UP | FAIL | PASS | 43.9681 | 43.9689 | -69 | 112.9681 | 112.9689
RTD | 2022-05-01 | 15 | 11 | 4 | NEVP | UP | FAIL | PASS | 43.9681 | -4.1026 | -62 | 105.9681 | 57.8974
RTD | 2022-05-01 | 15 | 12 | 4 | NEVP | UP | FAIL | PASS | 43.9681 | 17.6789 | -48 | 91.9681 | 65.6789
RTD | 2022-05-03 | 14 | 10 | 4 | NEVP | UP | FAIL | PASS | -327.9164 | -327.9164 | -643 | 315.0836 | 315.0836
RTD | 2022-05-03 | 14 | 11 | 4 | NEVP | UP | FAIL | PASS | -327.9164 | -327.9164 | -641.875 | 313.9586 | 313.9586
RTD | 2022-05-03 | 14 | 12 | 4 | NEVP | UP | FAIL | PASS | -327.9164 | -327.9164 | -636.625 | 308.7086 | 308.7086
RTD | 2022-05-05 | 9 | 1 | 1 | NEVP | UP | FAIL | PASS | 148.992 | 148.9928 | -50.75 | 199.742 | 199.7428
RTD | 2022-05-05 | 9 | 2 | 1 | NEVP | UP | FAIL | PASS | 148.992 | 148.9928 | -62.25 | 211.242 | 211.2428
RTD | 2022-05-05 | 9 | 3 | 1 | NEVP | UP | FAIL | PASS | 148.992 | 148.9928 | -68 | 216.992 | 216.9928
RTD | 2022-05-05 | 9 | 4 | 2 | NEVP | UP | FAIL | PASS | 131.8844 | 131.8852 | -68 | 199.8844 | 199.8852
RTD | 2022-05-05 | 9 | 5 | 2 | NEVP | UP | FAIL | PASS | 131.8844 | 131.8852 | -68 | 199.8844 | 199.8852
RTD | 2022-05-05 | 9 | 6 | 2 | NEVP | UP | FAIL | PASS | 131.8844 | 131.8852 | -68 | 199.8844 | 199.8852
RTD | 2022-05-12 | 14 | 4 | 2 | NEVP | UP | FAIL | PASS | 22.4499 | 22.4507 | -323 | 345.4499 | 345.4507
RTD | 2022-05-12 | 14 | 5 | 2 | NEVP | UP | FAIL | PASS | 22.4499 | 22.4507 | -323 | 345.4499 | 345.4507
RTD | 2022-05-12 | 14 | 6 | 2 | NEVP | UP | FAIL | PASS | 22.4499 | 22.4499 | -323 | 345.4499 | 345.4499
RTD | 2022-05-12 | 18 | 10 | 4 | NEVP | UP | FAIL | PASS | 218.9389 | 64.4408 | -97 | 315.9389 | 161.4408
RTD | 2022-05-12 | 18 | 11 | 4 | NEVP | UP | FAIL | PASS | 218.9389 | 36.7461 | -99.5 | 318.4389 | 136.2461
RTD | 2022-05-12 | 18 | 12 | 4 | NEVP | UP | FAIL | PASS | 218.9389 | 150.13 | -104.5 | 323.4389 | 254.63
RTD | 2022-05-15 | 8 | 1 | 1 | NEVP | UP | FAIL | PASS | 265.011 | 265.0118 | 207.125 | 57.886 | 57.8868
RTD | 2022-05-15 | 8 | 2 | 1 | NEVP | UP | FAIL | PASS | 265.011 | 265.0118 | 176.375 | 88.636 | 88.6368
RTD | 2022-05-15 | 8 | 3 | 1 | NEVP | UP | FAIL | PASS | 265.011 | 265.0118 | 161 | 104.011 | 104.0118
RTD | 2022-05-16 | 19 | 7 | 3 | NEVP | UP | FAIL | PASS | 567 | 510.001 | 567 | 0 | -56.999
RTD | 2022-05-16 | 19 | 8 | 3 | NEVP | UP | FAIL | PASS | 567 | 564.4947 | 567 | 0 | -2.5053
RTD | 2022-05-16 | 19 | 9 | 3 | NEVP | UP | FAIL | PASS | 567 | 501.266 | 567 | 0 | -65.734
RTD | 2022-05-16 | 19 | 10 | 4 | NEVP | UP | FAIL | PASS | 567 | 499.7335 | 567 | 0 | -67.2665
RTD | 2022-05-16 | 19 | 11 | 4 | NEVP | UP | FAIL | PASS | 567 | 510.001 | 567 | 0 | -56.999
RTD | 2022-05-16 | 19 | 12 | 4 | NEVP | UP | FAIL | PASS | 566.9841 | 485.4692 | 566.248 | 0.73613 | -80.7788
RTD | 2022-05-20 | 8 | 1 | 1 | NEVP | UP | FAIL | PASS | 168.8417 | 168.8425 | 158.875 | 9.9667 | 9.9675
RTD | 2022-05-20 | 8 | 2 | 1 | NEVP | UP | FAIL | PASS | 168.8417 | 168.8425 | 159.625 | 9.2167 | 9.2175
RTD | 2022-05-20 | 8 | 3 | 1 | NEVP | UP | FAIL | PASS | 168.8417 | 168.8425 | 160 | 8.8417 | 8.8425
RTD | 2022-05-21 | 10 | 4 | 2 | NEVP | UP | FAIL | PASS | -340.501 | -340.5002 | -400 | 59.499 | 59.4998
RTD | 2022-05-21 | 10 | 5 | 2 | NEVP | UP | FAIL | PASS | -340.501 | -340.5002 | -400 | 59.499 | 59.4998
RTD | 2022-05-21 | 10 | 6 | 2 | NEVP | UP | FAIL | PASS | -340.501 | -340.5002 | -400 | 59.499 | 59.4998
RTD | 2022-05-24 | 20 | 1 | 1 | NEVP | UP | PASS | FAIL | 476.306 | 476.3067 | 434.875 | 41.431 | 41.4317
RTD | 2022-05-24 | 20 | 2 | 1 | NEVP | UP | PASS | FAIL | 476.306 | 476.3067 | 423.625 | 52.681 | 52.6817
RTD | 2022-05-24 | 20 | 3 | 1 | NEVP | UP | PASS | FAIL | 476.306 | 476.3067 | 418 | 58.306 | 58.3067
RTD | 2022-05-24 | 20 | 4 | 2 | NEVP | UP | FAIL | PASS | 470.2259 | 470.2267 | 418 | 52.2259 | 52.2267
RTD | 2022-05-24 | 20 | 5 | 2 | NEVP | UP | FAIL | PASS | 470.2259 | 470.2258 | 418 | 52.2259 | 52.2258
RTD | 2022-05-24 | 20 | 6 | 2 | NEVP | UP | FAIL | PASS | 470.2259 | 470.2267 | 418 | 52.2259 | 52.2267
RTD | 2022-05-24 | 20 | 7 | 3 | NEVP | UP | FAIL | PASS | 470.2281 | 470.2288 | 418 | 52.2281 | 52.2288
RTD | 2022-05-24 | 20 | 8 | 3 | NEVP | UP | FAIL | PASS | 470.2281 | 470.2288 | 418 | 52.2281 | 52.2288
RTD | 2022-05-24 | 20 | 9 | 3 | NEVP | UP | FAIL | PASS | 470.2281 | 470.2288 | 418 | 52.2281 | 52.2288
RTD | 2022-05-24 | 20 | 10 | 4 | NEVP | UP | FAIL | PASS | 470.2301 | 470.2309 | 418 | 52.2301 | 52.2309
RTD | 2022-05-24 | 20 | 11 | 4 | NEVP | UP | FAIL | PASS | 470.2301 | 470.2309 | 423.625 | 46.6051 | 46.6059
RTD | 2022-05-24 | 20 | 12 | 4 | NEVP | UP | FAIL | PASS | 470.2301 | 470.2309 | 434.875 | 35.3551 | 35.3559
RTD | 2022-05-25 | 23 | 1 | 1 | NEVP | UP | PASS | FAIL | 927.5208 | 927.5215 | 642.875 | 284.6458 | 284.6465
RTD | 2022-05-25 | 23 | 2 | 1 | NEVP | UP | PASS | FAIL | 927.5208 | 927.5215 | 631.375 | 296.1458 | 296.1465
RTD | 2022-05-25 | 23 | 3 | 1 | NEVP | UP | PASS | FAIL | 927.5208 | 927.5215 | 608 | 319.5208 | 319.5215
RTD | 2022-05-25 | 23 | 4 | 2 | NEVP | UP | PASS | FAIL | 827.9171 | 827.9178 | 608 | 219.9171 | 219.9178
RTD | 2022-05-25 | 23 | 5 | 2 | NEVP | UP | PASS | FAIL | 827.9171 | 827.9178 | 608 | 219.9171 | 219.9178
RTD | 2022-05-25 | 23 | 6 | 2 | NEVP | UP | PASS | FAIL | 827.9171 | 827.9178 | 608 | 219.9171 | 219.9178
RTD | 2022-05-27 | 23 | 1 | 1 | NEVP | UP | FAIL | FAIL | 801.25 | 801.2346 | 801.25 | 0 | -0.015352
RTD | 2022-05-27 | 23 | 2 | 1 | NEVP | UP | FAIL | FAIL | 817.75 | 817.7507 | 817.75 | 0 | 0.00073409
RTD | 2022-05-27 | 23 | 3 | 1 | NEVP | UP | FAIL | FAIL | 826 | 826.0007 | 826 | 0 | 0.00073537
RTD | 2022-05-27 | 23 | 4 | 2 | NEVP | UP | FAIL | PASS | 826 | 826.0007 | 826 | 0 | 0.00073338
RTD | 2022-05-27 | 23 | 5 | 2 | NEVP | UP | FAIL | PASS | 826 | 826.0007 | 826 | 0 | 0.00073288
RTD | 2022-05-27 | 23 | 6 | 2 | NEVP | UP | FAIL | PASS | 826 | 792.7645 | 826 | 0 | -33.2355
RTD | 2022-05-15 | 21 | 1 | 1 | PACE | UP | FAIL | PASS | 1257.8366 | 1217.0707 | 1181 | 76.8366 | 36.0707
RTD | 2022-05-15 | 21 | 2 | 1 | PACE | UP | FAIL | PASS | 1257.8366 | 1184.0483 | 1081.5 | 176.3366 | 102.5483
RTD | 2022-05-15 | 21 | 3 | 1 | PACE | UP | FAIL | PASS | 1257.8366 | 1111.0697 | 1042 | 215.8366 | 69.0697
RTD | 2022-05-15 | 21 | 4 | 2 | PACE | UP | FAIL | PASS | 1231.3535 | 1112.5999 | 1042 | 189.3535 | 70.5999
RTD | 2022-05-15 | 21 | 5 | 2 | PACE | UP | FAIL | PASS | 1231.3535 | 1042.0957 | 1042 | 189.3535 | 0.095657
RTD | 2022-05-15 | 21 | 6 | 2 | PACE | UP | FAIL | PASS | 1231.3535 | 1033.4928 | 1042 | 189.3535 | -8.5072
RTD | 2022-05-23 | 22 | 1 | 1 | PACE | UP | FAIL | PASS | 460.6508 | 445.0237 | 412.125 | 48.5258 | 32.8987
RTD | 2022-05-23 | 22 | 2 | 1 | PACE | UP | FAIL | PASS | 460.6508 | 393.6199 | 328.625 | 132.0258 | 64.9949
RTD | 2022-05-23 | 22 | 3 | 1 | PACE | UP | FAIL | PASS | 460.6508 | 379.5959 | 290 | 170.6508 | 89.5959
RTD | 2022-05-23 | 23 | 1 | 1 | PACE | UP | FAIL | PASS | 326 | 267.4546 | 326 | 0 | -58.5454
RTD | 2022-05-23 | 23 | 2 | 1 | PACE | UP | FAIL | PASS | 341 | 304.394 | 341 | 0 | -36.606
RTD | 2022-05-23 | 23 | 3 | 1 | PACE | UP | FAIL | PASS | 349 | 275.7481 | 349 | 0 | -73.2519
RTD | 2022-05-06 | 12 | 1 | 1 | PACW | UP | FAIL | PASS | 506.8034 | 506.8042 | 435.25 | 71.5534 | 71.5542
RTD | 2022-05-06 | 12 | 2 | 1 | PACW | UP | FAIL | PASS | 506.8034 | 506.8035 | 401.75 | 105.0534 | 105.0535
RTD | 2022-05-06 | 12 | 3 | 1 | PACW | UP | FAIL | PASS | 506.8034 | 506.8036 | 410 | 96.8034 | 96.8036
RTD | 2022-05-06 | 13 | 1 | 1 | PACW | UP | FAIL | PASS | 576.0359 | 576.0366 | 501.875 | 74.1609 | 74.1616
RTD | 2022-05-06 | 13 | 2 | 1 | PACW | UP | FAIL | PASS | 576.0359 | 475.5344 | 508.625 | 67.4109 | -33.0906
RTD | 2022-05-06 | 13 | 3 | 1 | PACW | UP | FAIL | PASS | 576.0359 | 444.5771 | 512 | 64.0359 | -67.4229
RTD | 2022-05-10 | 19 | 1 | 1 | PACW | UP | FAIL | PASS | 476.8662 | 357.2847 | 246.625 | 230.2412 | 110.6597
RTD | 2022-05-10 | 19 | 2 | 1 | PACW | UP | FAIL | PASS | 476.8662 | 467.1715 | 172.875 | 303.9912 | 294.2965
RTD | 2022-05-10 | 19 | 3 | 1 | PACW | UP | FAIL | PASS | 476.8662 | 334.7489 | 136 | 340.8662 | 198.7489
RTD | 2022-05-10 | 19 | 4 | 2 | PACW | UP | FAIL | PASS | 347.5807 | 323.7648 | 136 | 211.5807 | 187.7648
RTD | 2022-05-10 | 19 | 5 | 2 | PACW | UP | FAIL | PASS | 347.5807 | 311.9343 | 136 | 211.5807 | 175.9343
RTD | 2022-05-10 | 19 | 6 | 2 | PACW | UP | FAIL | PASS | 347.5807 | 285.5625 | 136 | 211.5807 | 149.5625
RTD | 2022-05-12 | 13 | 1 | 1 | PACW | UP | PASS | FAIL | 909.9067 | 909.9068 | 621 | 288.9067 | 288.9068
RTD | 2022-05-12 | 13 | 2 | 1 | PACW | UP | PASS | FAIL | 909.9067 | 909.9067 | 609 | 300.9067 | 300.9067
RTD | 2022-05-12 | 13 | 3 | 1 | PACW | UP | PASS | FAIL | 909.9067 | 909.9067 | 603 | 306.9067 | 306.9067
RTD | 2022-05-12 | 13 | 4 | 2 | PACW | UP | PASS | FAIL | 909.9067 | 909.9068 | 603 | 306.9067 | 306.9068
RTD | 2022-05-12 | 13 | 5 | 2 | PACW | UP | PASS | FAIL | 909.9067 | 909.9068 | 603 | 306.9067 | 306.9068
RTD | 2022-05-12 | 13 | 6 | 2 | PACW | UP | PASS | FAIL | 909.9067 | 909.9068 | 603 | 306.9067 | 306.9068
RTD | 2022-05-22 | 1 | 1 | 1 | PACW | UP | PASS | FAIL | -221.125 | -276.0889 | -221.125 | 0 | -54.9639
RTD | 2022-05-22 | 1 | 2 | 1 | PACW | UP | PASS | FAIL | -238.375 | -275.0527 | -238.375 | 0 | -36.6777
RTD | 2022-05-22 | 1 | 3 | 1 | PACW | UP | PASS | FAIL | -247 | -275.3804 | -247 | 0 | -28.3804
RTD | 2022-05-22 | 1 | 4 | 2 | PACW | UP | PASS | FAIL | -247 | -283.9878 | -247 | 0 | -36.9878
RTD | 2022-05-22 | 1 | 5 | 2 | PACW | UP | PASS | FAIL | -247 | -286.0066 | -247 | 0 | -39.0066
RTD | 2022-05-22 | 1 | 6 | 2 | PACW | UP | PASS | FAIL | -247 | -293.7792 | -247 | 0 | -46.7792
RTD | 2022-05-23 | 1 | 1 | 1 | PACW | UP | PASS | FAIL | -223.2245 | -297.4884 | -252.875 | 29.6505 | -44.6134
RTD | 2022-05-23 | 1 | 2 | 1 | PACW | UP | PASS | FAIL | -223.2245 | -301.1641 | -299.625 | 76.4005 | -1.5391
RTD | 2022-05-23 | 1 | 3 | 1 | PACW | UP | PASS | FAIL | -223.2245 | -338.1158 | -323 | 99.7755 | -15.1158
RTD | 2022-05-28 | 12 | 1 | 1 | PACW | UP | PASS | FAIL | 544.7452 | 523.6097 | 316.875 | 227.8702 | 206.7347
RTD | 2022-05-28 | 12 | 2 | 1 | PACW | UP | PASS | FAIL | 544.7452 | 544.7452 | 275.625 | 269.1202 | 269.1202
RTD | 2022-05-28 | 12 | 3 | 1 | PACW | UP | PASS | FAIL | 544.7452 | 544.7452 | 255 | 289.7452 | 289.7452
RTD | 2022-05-15 | 20 | 1 | 1 | PNM | UP | FAIL | PASS | -174.6071 | -176.1349 | -226.625 | 52.0179 | 50.4901
RTD | 2022-05-15 | 20 | 2 | 1 | PNM | UP | FAIL | PASS | -174.6071 | -193.0925 | -237.875 | 63.2679 | 44.7825
RTD | 2022-05-15 | 20 | 3 | 1 | PNM | UP | FAIL | PASS | -174.6071 | -211.6949 | -243 | 68.3929 | 31.3051
RTD | 2022-05-15 | 20 | 4 | 2 | PNM | UP | FAIL | PASS | -232.1567 | -232.1567 | -243 | 10.8433 | 10.8433
RTD | 2022-05-15 | 20 | 5 | 2 | PNM | UP | FAIL | PASS | -232.1567 | -232.1567 | -243 | 10.8433 | 10.8433
RTD | 2022-05-15 | 20 | 6 | 2 | PNM | UP | FAIL | PASS | -232.1567 | -233.1912 | -243 | 10.8433 | 9.8088
RTD | 2022-05-15 | 20 | 7 | 3 | PNM | UP | FAIL | PASS | -239.117 | -239.117 | -243 | 3.883 | 3.883
RTD | 2022-05-15 | 20 | 8 | 3 | PNM | UP | FAIL | PASS | -239.117 | -242.0758 | -243 | 3.883 | 0.9242
RTD | 2022-05-15 | 20 | 9 | 3 | PNM | UP | FAIL | PASS | -239.117 | -239.1168 | -243 | 3.883 | 3.8832
RTD | 2022-05-15 | 20 | 10 | 4 | PNM | UP | FAIL | PASS | -243 | -242.9998 | -243 | 0 | 0.00019752
RTD | 2022-05-15 | 20 | 11 | 4 | PNM | UP | FAIL | PASS | -254.875 | -265.9652 | -254.875 | 0 | -11.0902
RTD | 2022-05-15 | 20 | 12 | 4 | PNM | UP | FAIL | PASS | -259.4111 | -314.8684 | -277.25 | 17.8389 | -37.6184
RTD | 2022-05-10 | 14 | 1 | 1 | PSEI | UP | PASS | FAIL | 1481.298 | 1370.5146 | 1381.75 | 99.548 | -11.2354
RTD | 2022-05-10 | 14 | 2 | 1 | PSEI | UP | PASS | FAIL | 1481.298 | 1352.2625 | 1355.25 | 126.048 | -2.9875
RTD | 2022-05-10 | 14 | 3 | 1 | PSEI | UP | PASS | FAIL | 1481.298 | 1365.5041 | 1342 | 139.298 | 23.5041
RTD | 2022-05-01 | 17 | 1 | 1 | SRP | UP | PASS | FAIL | 1935.3335 | 1808.0001 | 758 | 1177.3335 | 1050.0001
RTD | 2022-05-01 | 17 | 2 | 1 | SRP | UP | PASS | FAIL | 1935.3335 | 1738.0001 | 688 | 1247.3335 | 1050.0001
RTD | 2022-05-01 | 17 | 3 | 1 | SRP | UP | PASS | FAIL | 1935.3335 | 1703.0001 | 653 | 1282.3335 | 1050.0001
RTD | 2022-05-01 | 17 | 4 | 2 | SRP | UP | PASS | FAIL | 1745.6669 | 1703.0001 | 653 | 1092.6669 | 1050.0001
RTD | 2022-05-01 | 17 | 5 | 2 | SRP | UP | PASS | FAIL | 1745.6669 | 1703.0001 | 653 | 1092.6669 | 1050.0001
RTD | 2022-05-01 | 17 | 6 | 2 | SRP | UP | PASS | FAIL | 1745.6669 | 1703.0001 | 653 | 1092.6669 | 1050.0001
RTD | 2022-05-01 | 17 | 7 | 3 | SRP | UP | PASS | FAIL | 1698.0009 | 1698.0009 | 653 | 1045.0009 | 1045.0009
RTD | 2022-05-01 | 17 | 8 | 3 | SRP | UP | PASS | FAIL | 1698.0009 | 1698.0009 | 653 | 1045.0009 | 1045.0009
RTD | 2022-05-01 | 17 | 9 | 3 | SRP | UP | PASS | FAIL | 1698.0009 | 1698.0009 | 653 | 1045.0009 | 1045.0009
RTD | 2022-05-01 | 17 | 10 | 4 | SRP | UP | PASS | FAIL | 1698.0001 | 1698.0002 | 653 | 1045.0001 | 1045.0002
RTD | 2022-05-01 | 17 | 11 | 4 | SRP | UP | PASS | FAIL | 1698.0001 | 1698.0002 | 685 | 1013.0001 | 1013.0002
RTD | 2022-05-01 | 17 | 12 | 4 | SRP | UP | PASS | FAIL | 1698.0001 | 1698.0003 | 748 | 950.0001 | 950.0003
RTD | 2022-05-01 | 19 | 1 | 1 | SRP | UP | PASS | FAIL | 1701.974 | 1629.9364 | 743 | 958.974 | 886.9364
RTD | 2022-05-01 | 19 | 2 | 1 | SRP | UP | PASS | FAIL | 1701.974 | 1525.6125 | 676 | 1025.974 | 849.6125
RTD | 2022-05-01 | 19 | 3 | 1 | SRP | UP | PASS | FAIL | 1701.974 | 1436.9319 | 642 | 1059.974 | 794.9319
RTD | 2022-05-01 | 19 | 4 | 2 | SRP | UP | PASS | FAIL | 1371.8413 | 1371.8413 | 642 | 729.8413 | 729.8413
RTD | 2022-05-01 | 19 | 5 | 2 | SRP | UP | PASS | FAIL | 1371.8413 | 1273.2289 | 642 | 729.8413 | 631.2289
RTD | 2022-05-01 | 19 | 6 | 2 | SRP | UP | PASS | FAIL | 1371.8413 | 1156.9092 | 642 | 729.8413 | 514.9092
RTD | 2022-05-01 | 20 | 1 | 1 | SRP | UP | PASS | FAIL | 1019.2917 | 925.4152 | 614 | 405.2917 | 311.4152
RTD | 2022-05-01 | 20 | 2 | 1 | SRP | UP | PASS | FAIL | 1019.2917 | 919.8776 | 604 | 415.2917 | 315.8776
RTD | 2022-05-01 | 20 | 3 | 1 | SRP | UP | PASS | FAIL | 1019.2917 | 890.6635 | 599 | 420.2917 | 291.6635
RTD | 2022-05-01 | 20 | 4 | 2 | SRP | UP | PASS | FAIL | 836.1829 | 820.9741 | 599 | 237.1829 | 221.9741
RTD | 2022-05-01 | 20 | 5 | 2 | SRP | UP | PASS | FAIL | 836.1829 | 771.1673 | 599 | 237.1829 | 172.1673
RTD | 2022-05-01 | 20 | 6 | 2 | SRP | UP | PASS | FAIL | 836.1829 | 746.7371 | 599 | 237.1829 | 147.7371
RTD | 2022-05-01 | 21 | 1 | 1 | SRP | UP | FAIL | FAIL | 617 | 617.0008 | 617 | 0 | 0.000775
RTD | 2022-05-01 | 21 | 2 | 1 | SRP | UP | FAIL | FAIL | 624 | 624.0008 | 624 | 0 | 0.00078057
RTD | 2022-05-01 | 21 | 3 | 1 | SRP | UP | FAIL | FAIL | 628 | 628.0008 | 628 | 0 | 0.00078181
RTD | 2022-05-01 | 21 | 4 | 2 | SRP | UP | FAIL | FAIL | 628 | 627.9847 | 628 | 0 | -0.015257
RTD | 2022-05-01 | 21 | 5 | 2 | SRP | UP | FAIL | FAIL | 628 | 627.9847 | 628 | 0 | -0.015283
RTD | 2022-05-01 | 21 | 6 | 2 | SRP | UP | FAIL | FAIL | 628 | 628 | 628 | 0 | 1.9198e-05
RTD | 2022-05-01 | 22 | 1 | 1 | SRP | UP | FAIL | FAIL | 787 | 786.9847 | 787 | 0 | -0.01528
RTD | 2022-05-01 | 22 | 2 | 1 | SRP | UP | FAIL | FAIL | 852 | 851.9847 | 852 | 0 | -0.015322
RTD | 2022-05-01 | 22 | 3 | 1 | SRP | UP | FAIL | FAIL | 884 | 884 | 884 | 0 | 1.9221e-05
RTD | 2022-05-01 | 23 | 1 | 1 | SRP | UP | PASS | FAIL | 1083.8928 | 993.5889 | 795 | 288.8928 | 198.5889
RTD | 2022-05-01 | 23 | 2 | 1 | SRP | UP | PASS | FAIL | 1083.8928 | 1001.5992 | 758 | 325.8928 | 243.5992
RTD | 2022-05-01 | 23 | 3 | 1 | SRP | UP | PASS | FAIL | 1083.8928 | 1057.2283 | 740 | 343.8928 | 317.2283
RTD | 2022-05-02 | 20 | 2 | 1 | SRP | UP | PASS | FAIL | 1113.2468 | 1088.3156 | 931 | 182.2468 | 157.3156
RTD | 2022-05-02 | 20 | 3 | 1 | SRP | UP | PASS | FAIL | 1113.2468 | 1023.3147 | 926 | 187.2468 | 97.3147
RTD | 2022-05-02 | 20 | 4 | 2 | SRP | UP | PASS | FAIL | 1091.3862 | 963.488 | 926 | 165.3862 | 37.488
RTD | 2022-05-02 | 20 | 5 | 2 | SRP | UP | PASS | FAIL | 1091.3862 | 916.8846 | 926 | 165.3862 | -9.1154
RTD | 2022-05-02 | 20 | 6 | 2 | SRP | UP | PASS | FAIL | 1091.3862 | 880.2909 | 926 | 165.3862 | -45.7091
RTD | 2022-05-02 | 21 | 1 | 1 | SRP | UP | PASS | FAIL | 862 | 842.1297 | 862 | 0 | -19.8703
RTD | 2022-05-02 | 21 | 2 | 1 | SRP | UP | PASS | FAIL | 836 | 835.9847 | 836 | 0 | -0.015335
RTD | 2022-05-02 | 21 | 3 | 1 | SRP | UP | PASS | FAIL | 824 | 824.0008 | 824 | 0 | 0.00076624
RTD | 2022-05-02 | 21 | 4 | 2 | SRP | UP | PASS | FAIL | 824 | 823.9847 | 824 | 0 | -0.015306
RTD | 2022-05-02 | 21 | 5 | 2 | SRP | UP | PASS | FAIL | 824 | 781.3333 | 824 | 0 | -42.6667
RTD | 2022-05-02 | 21 | 6 | 2 | SRP | UP | PASS | FAIL | 824 | 762.929 | 824 | 0 | -61.071
RTD | 2022-05-04 | 21 | 1 | 1 | SRP | UP | PASS | FAIL | 1062.25 | 820.4702 | 1062.25 | 0 | -241.7798
RTD | 2022-05-04 | 21 | 2 | 1 | SRP | UP | PASS | FAIL | 1062.25 | 820.4702 | 1112.75 | -50.5 | -292.2798
RTD | 2022-05-04 | 21 | 3 | 1 | SRP | UP | PASS | FAIL | 1062.25 | 820.4702 | 1137 | -74.75 | -316.5298
RTD | 2022-05-05 | 19 | 1 | 1 | SRP | UP | PASS | FAIL | 1359.7339 | 1214.1965 | 769.875 | 589.8589 | 444.3215
RTD | 2022-05-05 | 19 | 2 | 1 | SRP | UP | PASS | FAIL | 1359.7339 | 1212.0676 | 686.625 | 673.1089 | 525.4426
RTD | 2022-05-05 | 19 | 3 | 1 | SRP | UP | PASS | FAIL | 1359.7339 | 1210.3463 | 645 | 714.7339 | 565.3463
RTD | 2022-05-15 | 15 | 10 | 4 | SRP | UP | PASS | FAIL | 1879.8977 | 1879.8977 | 1112 | 767.8977 | 767.8977
RTD | 2022-05-15 | 15 | 11 | 4 | SRP | UP | PASS | FAIL | 1879.8977 | 1879.8977 | 1064.625 | 815.2727 | 815.2727
RTD | 2022-05-15 | 15 | 12 | 4 | SRP | UP | PASS | FAIL | 1879.8977 | 1879.5764 | 968.875 | 911.0227 | 910.7014
RTD | 2022-05-15 | 17 | 1 | 1 | SRP | UP | PASS | FAIL | 1319.5649 | 983.6583 | 339.125 | 980.4399 | 644.5333
RTD | 2022-05-15 | 17 | 2 | 1 | SRP | UP | PASS | FAIL | 1319.5649 | 809.1747 | 197.375 | 1122.1899 | 611.7997
RTD | 2022-05-15 | 17 | 3 | 1 | SRP | UP | PASS | FAIL | 1319.5649 | 662.0701 | 121 | 1198.5649 | 541.0701
RTD | 2022-05-15 | 17 | 4 | 2 | SRP | UP | PASS | FAIL | 726.318 | 663.4158 | 121 | 605.318 | 542.4158
RTD | 2022-05-15 | 17 | 5 | 2 | SRP | UP | PASS | FAIL | 726.318 | 652.9618 | 121 | 605.318 | 531.9618
RTD | 2022-05-15 | 17 | 6 | 2 | SRP | UP | PASS | FAIL | 726.318 | 573.2854 | 121 | 605.318 | 452.2854
RTD | 2022-05-15 | 17 | 7 | 3 | SRP | UP | PASS | FAIL | 519.8468 | 509.9335 | 121 | 398.8468 | 388.9335
RTD | 2022-05-15 | 17 | 8 | 3 | SRP | UP | PASS | FAIL | 519.8468 | 512.4228 | 121 | 398.8468 | 391.4228
RTD | 2022-05-15 | 17 | 9 | 3 | SRP | UP | PASS | FAIL | 519.8468 | 510.6087 | 121 | 398.8468 | 389.6087
RTD | 2022-05-15 | 17 | 10 | 4 | SRP | UP | PASS | FAIL | 469.3967 | 469.3816 | 121 | 348.3967 | 348.3816
RTD | 2022-05-15 | 17 | 11 | 4 | SRP | UP | PASS | FAIL | 469.3967 | 469.3816 | 146 | 323.3967 | 323.3816
RTD | 2022-05-15 | 17 | 12 | 4 | SRP | UP | PASS | FAIL | 469.3967 | 469.3974 | 221 | 248.3967 | 248.3974
RTD | 2022-05-15 | 18 | 1 | 1 | SRP | UP | PASS | FAIL | 469.3972 | 469.398 | 287 | 182.3972 | 182.398
RTD | 2022-05-15 | 18 | 2 | 1 | SRP | UP | PASS | FAIL | 469.3972 | 469.398 | 353 | 116.3972 | 116.398
RTD | 2022-05-15 | 18 | 3 | 1 | SRP | UP | PASS | FAIL | 469.3972 | 469.398 | 386 | 83.3972 | 83.398
RTD | 2022-05-15 | 19 | 1 | 1 | SRP | UP | PASS | FAIL | 629.1858 | 629.1865 | 484.125 | 145.0608 | 145.0615
RTD | 2022-05-15 | 19 | 2 | 1 | SRP | UP | PASS | FAIL | 629.1858 | 629.1865 | 523.375 | 105.8108 | 105.8115
RTD | 2022-05-15 | 19 | 3 | 1 | SRP | UP | PASS | FAIL | 629.1858 | 629.1865 | 542 | 87.1858 | 87.1865
RTD | 2022-05-15 | 19 | 4 | 2 | SRP | UP | PASS | FAIL | 629.1881 | 629.1888 | 542 | 87.1881 | 87.1888
RTD | 2022-05-15 | 19 | 5 | 2 | SRP | UP | PASS | FAIL | 629.1881 | 629.1888 | 542 | 87.1881 | 87.1888
RTD | 2022-05-15 | 19 | 6 | 2 | SRP | UP | PASS | FAIL | 629.1881 | 629.173 | 542 | 87.1881 | 87.173
RTD | 2022-05-15 | 20 | 1 | 1 | SRP | UP | PASS | FAIL | 545.75 | 375.5106 | 545.75 | 0 | -170.2394
RTD | 2022-05-15 | 20 | 2 | 1 | SRP | UP | PASS | FAIL | 548.25 | 345.8332 | 548.25 | 0 | -202.4168
RTD | 2022-05-15 | 20 | 3 | 1 | SRP | UP | PASS | FAIL | 549 | 394.0004 | 549 | 0 | -154.9996
RTD | 2022-05-16 | 19 | 1 | 1 | SRP | UP | PASS | FAIL | 1280.3972 | 1248.7946 | 765.875 | 514.5222 | 482.9196
RTD | 2022-05-16 | 19 | 2 | 1 | SRP | UP | PASS | FAIL | 1280.3972 | 1235.6121 | 761.625 | 518.7722 | 473.9871
RTD | 2022-05-16 | 19 | 3 | 1 | SRP | UP | PASS | FAIL | 1280.3972 | 1280.3972 | 760 | 520.3972 | 520.3972
RTD | 2022-05-17 | 18 | 1 | 1 | SRP | UP | FAIL | PASS | 1992.0025 | 1356.1223 | 877 | 1115.0025 | 479.1223
RTD | 2022-05-17 | 18 | 2 | 1 | SRP | UP | FAIL | PASS | 1992.0025 | 1371.827 | 845 | 1147.0025 | 526.827
RTD | 2022-05-17 | 18 | 3 | 1 | SRP | UP | FAIL | PASS | 1992.0025 | 1362.9143 | 829 | 1163.0025 | 533.9143
RTD | 2022-05-25 | 19 | 1 | 1 | SRP | UP | PASS | FAIL | 1902.4405 | 1902.4405 | 1440.625 | 461.8155 | 461.8155
RTD | 2022-05-25 | 19 | 2 | 1 | SRP | UP | PASS | FAIL | 1902.4405 | 1902.4405 | 1424.875 | 477.5655 | 477.5655
RTD | 2022-05-25 | 19 | 3 | 1 | SRP | UP | PASS | FAIL | 1902.4405 | 1902.4405 | 1416 | 486.4405 | 486.4405
RTD | 2022-05-25 | 21 | 1 | 1 | SRP | UP | PASS | FAIL | 1230.875 | 1230.8758 | 1230.875 | 0 | 0.00075329
RTD | 2022-05-25 | 21 | 2 | 1 | SRP | UP | PASS | FAIL | 1235.625 | 1235.6258 | 1235.625 | 0 | 0.00075611
RTD | 2022-05-25 | 21 | 3 | 1 | SRP | UP | PASS | FAIL | 1238 | 1238.0008 | 1238 | 0 | 0.00075595
RTD | 2022-05-25 | 22 | 1 | 1 | SRP | UP | FAIL | PASS | 1354.5891 | 1326.8249 | 1267.375 | 87.2141 | 59.4499
RTD | 2022-05-25 | 22 | 2 | 1 | SRP | UP | FAIL | PASS | 1354.5891 | 1284.1669 | 1279.125 | 75.4641 | 5.0419
RTD | 2022-05-25 | 22 | 3 | 1 | SRP | UP | FAIL | PASS | 1354.5891 | 1303.595 | 1286 | 68.5891 | 17.595
RTD | 2022-05-25 | 21 | 1 | 1 | TEPC | UP | FAIL | PASS | 233.375 | 233.3597 | 233.375 | 0 | -0.015311
RTD | 2022-05-25 | 21 | 2 | 1 | TEPC | UP | FAIL | PASS | 228.0841 | 228.0842 | 225.125 | 2.9591 | 2.9592
RTD | 2022-05-25 | 21 | 3 | 1 | TEPC | UP | FAIL | PASS | 228.0841 | 228.0842 | 221 | 7.0841 | 7.0842
RTD | 2022-05-25 | 21 | 4 | 2 | TEPC | UP | FAIL | PASS | 229.8178 | 229.8178 | 221 | 8.8178 | 8.8178
RTD | 2022-05-25 | 21 | 5 | 2 | TEPC | UP | FAIL | PASS | 229.8178 | 205.3786 | 221 | 8.8178 | -15.6214
RTD | 2022-05-25 | 21 | 6 | 2 | TEPC | UP | FAIL | PASS | 229.8178 | 193.8013 | 221 | 8.8178 | -27.1987
RTD | 2022-05-18 | 13 | 1 | 1 | TPWR | UP | PASS | FAIL | 224.4395 | 195.6399 | 195.625 | 28.8145 | 0.014922
RTD | 2022-05-18 | 13 | 2 | 1 | TPWR | UP | PASS | FAIL | 224.4395 | 175.3899 | 175.375 | 49.0645 | 0.014897
RTD | 2022-05-18 | 13 | 3 | 1 | TPWR | UP | PASS | FAIL | 224.4395 | 165.015 | 165 | 59.4395 | 0.015008
RTD | 2022-05-18 | 13 | 4 | 2 | TPWR | UP | PASS | FAIL | 176.8482 | 165.1408 | 165 | 11.8482 | 0.1408
RTD | 2022-05-18 | 13 | 5 | 2 | TPWR | UP | PASS | FAIL | 176.8482 | 176.3332 | 165 | 11.8482 | 11.3332
RTD | 2022-05-18 | 13 | 6 | 2 | TPWR | UP | PASS | FAIL | 176.8482 | 176.3332 | 165 | 11.8482 | 11.3332
RTD | 2022-05-18 | 13 | 7 | 3 | TPWR | UP | PASS | FAIL | 165 | 164.9849 | 165 | 0 | -0.015061
RTD | 2022-05-18 | 13 | 8 | 3 | TPWR | UP | PASS | FAIL | 165 | 164.985 | 165 | 0 | -0.015022
RTD | 2022-05-18 | 13 | 9 | 3 | TPWR | UP | PASS | FAIL | 165 | 164.985 | 165 | 0 | -0.01504
RTD | 2022-05-31 | 21 | 1 | 1 | TPWR | UP | FAIL | PASS | 173.75 | 121.9451 | 173.75 | 0 | -51.8049
RTD | 2022-05-31 | 21 | 2 | 1 | TPWR | UP | FAIL | PASS | 173.25 | 120.0761 | 173.25 | 0 | -53.1739
RTD | 2022-05-31 | 21 | 3 | 1 | TPWR | UP | FAIL | PASS | 173 | 119.5367 | 173 | 0 | -53.4633
RTD | 2022-05-31 | 21 | 4 | 2 | TPWR | UP | FAIL | PASS | 173 | 116.9143 | 173 | 0 | -56.0857
RTD | 2022-05-31 | 21 | 5 | 2 | TPWR | UP | FAIL | PASS | 173 | 116.029 | 173 | 0 | -56.971
RTD | 2022-05-31 | 21 | 6 | 2 | TPWR | UP | FAIL | PASS | 173 | 116.8301 | 173 | 0 | -56.1699
RTD | 2022-05-31 | 21 | 7 | 3 | TPWR | UP | FAIL | PASS | 173 | 115.8029 | 173 | 0 | -57.1971
RTD | 2022-05-31 | 21 | 8 | 3 | TPWR | UP | FAIL | PASS | 173 | 115.312 | 173 | 0 | -57.688
RTD | 2022-05-31 | 21 | 9 | 3 | TPWR | UP | FAIL | PASS | 173 | 119.1505 | 173 | 0 | -53.8495
RTD | 2022-05-31 | 21 | 10 | 4 | TPWR | UP | FAIL | PASS | 173 | 121.0863 | 173 | 0 | -51.9137
RTD | 2022-05-31 | 21 | 11 | 4 | TPWR | UP | FAIL | PASS | 170.125 | 121.1685 | 170.125 | 0 | -48.9565
RTD | 2022-05-31 | 21 | 12 | 4 | TPWR | UP | FAIL | PASS | 183.125 | 118.512 | 183.125 | 0 | -64.613