## Instructions & Definitions
| Operating Procedure | Procedure No. | 4510F
|  | Version No. | 3.3
|  | Effective Date | 2024-05-16
Reliability Demand Response Resource (RDRR) Daily Reporting Template |  | Distribution Restrictions: None
Instructions for Sheet "MW Available by Response Time"
Field | Description
[Company Name]: Day-of | In this category, report forecasted MWs both scheduled and available for the current day (Day Of).
Utility Scheduled Day-of DR MWs | Provide the MW amount the Utility is scheduling/committing by hour for the current day. The MW amount should include Utility committed DR as well as any DR that was committed from the following day per CAISO request.
Hour Ending | Align all DR MW forecasts with CAISO hour-ending scheduling convention, e.g., HE 9 is from 8 AM to 9 AM.
Total Scheduled DR MWs for Today | The aggregate total of all DR program megawatts scheduled/committed by the Utility for the current day.
Forecast of Available DR Day-of (MWs) | Provide the incremental DR MW amount that remains available by hour and by response time (and areas, where applicable) that was not already committed by the Utility that remains available to the CAISO in the current day.
[Company Name]: Day-Ahead | In this category, report forecasted MWs scheduled and available for the following day (Day-Ahead).
Utility Scheduled Day-Ahead DR MWs | The aggregate MW amount of DR the Utility is scheduling/committing by hour for the following day, i.e., the day-ahead.
Total Scheduled DR MWs for Tomorrow | The aggregate MW amount of DR the Utility is scheduling/committing by hour for the following day, i.e., the day-ahead.
Forecast of Available DR Day-Ahead | These are incremental MWs available day-ahead that are not already committed and could be made available to the CAISO upon request.
[Area specific Day-ahead MWs listed in these fields] | Provide the forecast of incremental MWs available that have not already been committed by the Utility in each area or areas.
Instructions for Sheet "MW Available by Program"
Field | Description
Event Date | Event date is the date that the actual event shall take place, not the date that the report is provided to the CAISO.
Program | All Day-Ahead Programs in the portfolio will be reflected in the report. This will allow the CAISO to view programs that are being called as well as those that are not being called.
Program Type | The program type is either Day-Ahead or Day Of.
# of Accounts | The # of accounts represents the total number of service accounts (not individual customers) that are forecasted to participate in the event (not the accounts enrolled in the program).
Trigger | The trigger defines the reason why the program is being called.
Date/Time Published | Identifies the date and time when the report is provided to the CAISO. This field will be used to determine when multiple reports are provided on the same date at different times.
HE# | The HE# reflects that Hour Ending in Pacific Daylight Time. For example, HE 12 reflect usage from 11:00 AM to 11:59 AM PDT.
Estimated Reduction | Estimated Reduction shall be provided in MW's and rounded to 1 decimal.
Critical Peak Pricing Program | Critical Peak Pricing Program Forecast is calculated as the YTD average hourly load reduction per service account multiplied by # of active service accounts. |  |  | Utility Specific Info to be completed here in the blue highlighted cells by the respective Utility, as appropriate.
Capacity Bidding Program Day-Ahead | Capacity Bidding Program Forecast is calculated as the current month's nominations by product.
Demand Bidding Program Day-Ahead | Demand Bidding Program Forecast is calculated as the YTD average load reduction for each event hour.
Demand Response Contracts Day-Ahead | Demand Response Contracts Day-Ahead Forecast is calculated as the aggregate technical potentials of all DRC accounts.
Demand Response Contracts Day Of | Demand Response Contracts Day Of Forecast is calculated as the aggregate technical potentials of all DRC accounts.

## MW Available by Response Time
| Operating Procedure |  |  |  | Procedure No. |  | 4510F
[5 empty] | Version No. |  | 3.3
[5 empty] | Effective Date |  | 2024-05-16
Reliability Demand Response Resource (RDRR) Daily Reporting Template | [5 empty] | Distribution Restrictions: None
Utility: | [Company Name] | [6 empty] | Daily Submission to the CAISO by 8:00 AM
Date/Time Published: | [Today's Day and Date]
[Company]: Day-of | For Today: Operating Day - |  |  |  | [Today's Day and Date]
Utility Scheduled Day-of DR (MWs)
Hour Ending: | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Total Scheduled DR MWs for Today:
Forecast of Available DR Day-of (MWs)
Hour Ending: | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
[Region/ Area 1]
15-minute
30-minute
1-hour
> 1-hour
Total:
[Region/ Area 2]
15-minute
30-minute
1-hour
> 1-hour
Total:
Remainder of System
15-minute
30-minute
1-hour
> 1-hour
Total:
Total Available DR All Areas:
[Company]: Day-ahead | For Tomorrow: Operating Day - |  |  |  |  | [Tomorrow's Day and Date]
Utility Scheduled Day-Ahead DR (MWs)
Hour Ending: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Total Scheduled DR MWs for Tomorrow:
Forecast of Available DR Day-ahead (MWs)
Hour Ending: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
[Region/ Area 1]
[Region/ Area 2]
Remainder of System
Total Available DR All Areas:

## MW Available by Program
| Operating Procedure |  |  |  | Procedure No. |  | 4510F
[5 empty] | Version No. |  | 3.3
[5 empty] | Effective Date |  | 2024-05-16
Reliability Demand Response Resource (RDRR) Daily Reporting Template | [5 empty] | Distribution Restrictions: None
[Company Name] Demand Response Program Forecast
Demand Response Program Forecast for CAISO
Date Reported: XXXX
Demand Response Provider: [Company]
Monthly Nominated Programs - Capacity Bidding Program (CBP) and Demand Response Contracts (DRC)
Program | Program Type | Event Limits Hour per Mo/Yr | Lead Time | Earliest Start Time | Latest End Time | Maximum Event Duration | Event Pending / Completed (Hours) | Hours Remaining | Total MW Available Per Hour
[Example] Capacity Bidding Program DA 1-4 | Day-Ahead | 24 Hrs/Mo | 3PM Day-Ahead | 11:00 | 19:00 | 4 hrs | 0 | 24 | 0
Critical Peak Pricing (CPP) and Demand Bidding Program (DBP)
Program | Program Type | Event Limits Per Year | Lead Time | Set Start Time | Set End Time | Set Event Duration | Events Pending/ Completed (Events) | Events Remaining | Total MW Available Per Hour
[Example] CPP-DA | Day-Ahead | 15 Events/Yr | 3PM Day-Ahead | 14:00 | 18:00 | 4 hrs | 0 | 15 | 0
Emergency Programs
Program | Program Type | Event Limits Hour per Mo/Yr | Lead Time | Earliest Start Time | Latest End Time | Maximum Event Duration | Season Completed (Hours) | Hours Remaining | Total MW Available Per Hour
[Example] Agricultural & Pumping Interruptible | Day Of | 1/Day 4/Wk 25/Yr | 5 Minutes | Midnight | Midnight | 6 hrs/Day 40 hrs/Mo 150 hrs/Yr | 0 | 40 | 0

## Version History
|  | Operating Procedure | Procedure No. | 4510F
|  |  | Version No. | 3.3
|  |  | Effective Date | 2024-05-16
Reliability Demand Response Resource (RDRR) Daily Reporting Template |  |  |  | Distribution Restrictions: None
Version History
Version | Change Description |  |  | Date
3 | Periodic Review: Updated year in 3rd tab; added 4th tab for version history; minor format and grammar updates, and changed publish format to Excel. |  |  | 2020-04-30
3.1 | Annual Review: Removed the year 2020 from the MW Available by Program tab; Replaced IOU with Utility throughout; Replaced ISO with CAISO throughout. |  |  | 2022-05-01
3.2 | Annual Review: Minor format/grammar edit only. |  |  | 2023-06-09
3.3 | Annual Review: Minor grammar (punctuation and capitalization) edits on Instructions & Definitions tab. |  |  | 2024-05-16