## Construction Water Use
Construction Water Use | [6 empty] | WRI Baseline |  |  |  | Scenario 1a Buildout |  |  | Scenario 1b Buildout |  |  | Regional 2 Buildout |  |  | Regional 3 Buildout
|  |  | Detailed | Detailed | Detailed | Detailed | Water Risk | Water Risk | Water Risk |  | Use in Risk | Use in Risk | Use in Risk | Use in Risk | Use in Risk | Use in Risk | Use in Risk | Use in Risk | Use in Risk | Use in Risk | Use in Risk | Use in Risk
|  |  | Buildout | Buildout | Buildout | Buildout | Low to Medium | Medium to High | High |  | Low to Medium | Medium to High | High | Low to Medium | Medium to High | High | Low to Medium | Medium to High | High | Low to Medium | Medium to High | High
|  |  | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 |  |  |  |  | Scenario 1a | Scenario 1a | Scenario 1a | Scenario 1b | Scenario 1b | Scenario 1b | Scenario 2 | Scenario 2 | Scenario 2 | Scenario 3 | Scenario 3 | Scenario 3
|  |  | (MW) | (MW) | (MW) | (MW) | (%) | (%) | (%) |  | Acre Feet | Acre Feet | Acre Feet | Acre Feet | Acre Feet | Acre Feet | Acre Feet | Acre Feet | Acre Feet | Acre Feet | Acre Feet | Acre Feet
Portfolio Composition (MW) | Physical Detail | Technology
California Solar |  | Solar
| Greater_Carrizo_Solar |  | 570 | 570 | 570 | 0 | 0% | 92% | 8% |  | 0 | 1185.616 | 103.097 | 0 | 1185.616 | 103.097 | 0 | 1185.616 | 103.097 | 0 | 0 | 0
| Greater_Imperial_Solar |  | 923.3171 | 923.3171 | 923.3171 | 512.3816 | 38% | 0% | 62% |  | 793.2605 | 0 | 1294.2671 | 793.2605 | 0 | 1294.2671 | 793.2605 | 0 | 1294.2671 | 440.2085 | 0 | 718.235
| Kramer_Inyokern_Solar |  | 375 | 375 | 375 | 375 | 39% | 61% | 0% |  | 330.6566 | 517.1809 | 0 | 330.6566 | 517.1809 | 0 | 330.6566 | 517.1809 | 0 | 330.6566 | 517.1809 | 0
| Owens_Valley_Solar |  | 578.2931 | 578.2931 | 578.2931 | 305.4414 | 87% | 0% | 13% |  | 1137.4926 | 0 | 169.9702 | 1137.4926 | 0 | 169.9702 | 1137.4926 | 0 | 169.9702 | 600.798 | 0 | 89.7744
| Riverside_East_Palm_Springs_Solar |  | 331 | 2459 | 1984 | 0 | 34% | 25% | 41% |  | 254.4417 | 187.0895 | 306.8267 | 1890.2481 | 1389.8883 | 2279.4168 | 1525.1127 | 1121.4064 | 1839.1065 | 0 | 0 | 0
| Tehachapi_Solar |  | 2500 | 2500 | 2500 | 1761 | 27% | 73% | 0% |  | 1526.1075 | 4126.1425 | 0 | 1526.1075 | 4126.1425 | 0 | 1526.1075 | 4126.1425 | 0 | 1074.9901 | 2906.4548 | 0
| Westlands_Solar |  | 2323.1374 | 873.1374 | 873.1374 | 485.8115 | 0% | 8% | 92% |  | 0 | 420.1905 | 4832.1909 | 0 | 157.9261 | 1816.1503 | 0 | 157.9261 | 1816.1503 | 0 | 87.8697 | 1010.5015
California Wind |  | Wind
| Central_Valley_North_Los_Banos_Wind |  | 150 | 150 | 150 | 150 | 0% | 100% | 0% |  | 0 | 60 | 0 | 0 | 60 | 0 | 0 | 60 | 0 | 0 | 60 | 0
| Greater_Carrizo_Wind |  | 500 | 500 | 500 | 500 | 0% | 95% | 5% |  | 0 | 190 | 10 | 0 | 190 | 10 | 0 | 190 | 10 | 0 | 190 | 10
| Greater_Imperial_Wind |  | 400 | 400 | 400 | 400 | 50% | 4% | 46% |  | 80 | 6.4 | 73.6 | 80 | 6.4 | 73.6 | 80 | 6.4 | 73.6 | 80 | 6.4 | 73.6
| Riverside_East_Palm_Springs_Wind |  | 500 | 500 | 0 | 0 | 0% | 0% | 100% |  | 0 | 0 | 200 | 0 | 0 | 200 | 0 | 0 | 0 | 0 | 0 | 0
| Solano_Wind |  | 600 | 600 | 0 | 0 | 51% | 46% | 3% |  | 122.4 | 110.4 | 7.2 | 122.4 | 110.4 | 7.2 | 0 | 0 | 0 | 0 | 0 | 0
| Tehachapi_Wind |  | 850 | 850 | 850 | 850 | 27% | 49% | 24% |  | 91.8 | 166.6 | 81.6 | 91.8 | 166.6 | 81.6 | 91.8 | 166.6 | 81.6 | 91.8 | 166.6 | 81.6
California Geothermal |  | Geothermal
| Greater_Imperial_Geothermal |  | 500 | 500 | 500 | 500 | 4% | 7% | 69% |  | 28 | 49 | 483 | 28 | 49 | 483 | 28 | 49 | 483 | 28 | 49 | 483
Southwest Solar, Existing Transmission |  | Solar | 0 | 272 | 500 | 500 | 0% | 0% | 100% |  | 0 | 0 | 0 | 0 | 0 | 1547.136 | 0 | 0 | 2844 | 0 | 0 | 2844
Southwest Solar RECs |  | REC | 1000 | 1000 | 1000 | 1000 | 0% | 0% | 100% |  | 0 | 0 | 5688 | 0 | 0 | 5688 | 0 | 0 | 5688 | 0 | 0 | 5688
SW_Solar
Northwest Wind, Existing Transmission |  | Wind | 1447.0826 | 447.0826 | 562.0826 | 317.6735 | 100% | 0% | 0% |  | 578.833 | 0 | 0 | 178.833 | 0 | 0 | 224.833 | 0 | 0 | 127.0694 | 0 | 0
Northwest Wind RECs |  | REC | 1000 | 0 | 1000 | 0 | 100% | 0% | 0% |  | 400 | 0 | 0 | 0 | 0 | 0 | 400 | 0 | 0 | 0 | 0 | 0
NW_Wind
Utah Wind, Existing Transmission |  | Wind | 603.9993 | 603.9993 | 603.9993 | 419.9819 | 0% | 99% | 1% |  | 0 | 239.1837 | 2.416 | 0 | 239.1837 | 2.416 | 0 | 239.1837 | 2.416 | 0 | 166.3128 | 1.6799
UT_Wind
Wyoming Wind, Existing Transmission |  | Wind | 500 | 500 | 500 | 500 | 0% | 86% | 14% |  | 0 | 172 | 28 | 0 | 172 | 28 | 0 | 172 | 28 | 0 | 172 | 28
Wyoming Wind, New Transmission |  | Wind | 0 | 0 | 0 | 1994.6677 | 0% | 86% | 14% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 686.1657 | 111.7014
WY_Wind
New Mexico Wind, Existing Transmission |  | Wind | 1000 | 1000 | 1000 | 1000 | 15% | 15% | 70% |  | 60 | 60 | 280 | 60 | 60 | 280 | 60 | 60 | 280 | 60 | 60 | 280
New Mexico Wind, New Transmission |  | Wind | 0 | 0 | 0 | 1961.885 | 15% | 15% | 70% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 117.7131 | 117.7131 | 549.3278
NM_Wind
| California Solar Construction Water (af/MW) | 2.2609 | [7 empty] | Total CA Solar | 4041.9589 | 6436.2193 | 6706.352 | 5677.7653 | 7376.7537 | 5662.9014 | 5312.63 | 7108.2719 | 5222.5911 | 2446.6533 | 3511.5053 | 1818.5109 | Impact of Regionalization: Difference |  |  | Impact of Regionalization: Difference
| Arizona Solar Construction Water (af/MW) | 5.688 | [7 empty] | Total CA Wind | 294.2 | 533.4 | 372.4 | 294.2 | 533.4 | 372.4 | 171.8 | 423 | 165.2 | 171.8 | 423 | 165.2 | Low to Medium | Medium to High | High | Low to Medium | Medium to High | High
| Wind (af/MW) | 0.4 | [7 empty] | Total CA Geothermal | 28 | 49 | 483 | 28 | 49 | 483 | 28 | 49 | 483 | 28 | 49 | 483 | R2 rel CP1a | R2 rel CP1a | R2 rel CP1a | R3 rel CP1a | R3 rel CP1a | R3 rel CP1a
| Geothermal (af/MW) | 1.4 | [7 empty] | Total California | 4364.1589 | 7018.6193 | 7561.752 | 5999.9653 | 7959.1537 | 6518.3014 | 5512.43 | 7580.2719 | 5870.7911 | 2646.4533 | 3983.5053 | 2466.7109 | 1148.271 | 561.6525 | -1690.9608 | -1717.7057 | -3035.114 | -5095.0411
[10 empty] | Total OOS | 1038.833 | 471.1837 | 5998.416 | 238.833 | 471.1837 | 7545.552 | 684.833 | 471.1837 | 8842.416 | 304.7825 | 1202.1916 | 9502.7091 | -354 | 0 | 2844 | -734.0505 | 731.0079 | 3504.2931