## Curtailed
Report Generated on : 10/25/2022 07:30:08 (PPT)
Trade Date: 10/25/2022
Curtailed and Non-Operational Generator AM Report
Resource ID |  | Resource Name |  |  | Outage Type | Capacity (MW) | Curtailed (MW) | Zone Name | BA
ADLIN_1_UNITS |  | GEYSERS AIDLIN AGGREGATE |  |  | Forced | 22.00 | 10.00 | PGAE Gen | CISO
ALAMIT_2_PL1X3 |  | Alamitos Energy Center Unit 7 |  |  | Forced | 674.70 | 4.70 | SCE Gen | CISO
ALAMIT_7_ES1 |  | Alamitos Energy Storage |  |  | Forced | 100.45 | 15.45 | SCE Gen | CISO
ALAMO_6_UNIT |  | ALAMO POWER PLANT |  |  | Planned | 17.00 | 17.00 | SCE Gen | CISO
ALMEGT_1_UNIT 1 |  | ALAMEDA GT UNIT 1 |  |  | Planned/Forced | 25.00 | 2.00 | PGAE South | CISO
ALMEGT_1_UNIT 2 |  | ALAMEDA GT UNIT 2 |  |  | Planned/Forced | 25.00 | 2.00 | PGAE South | CISO
ALT6DN_2_WIND7 |  | Pinyon Pines 1 |  |  | Forced | 164.31 | 164.31 | SCE Gen | CISO
ALTA3A_2_CPCE5 |  | Alta Wind 5 |  |  | Forced | 168.00 | 3.00 | SCE Gen | CISO
ALTA3A_2_CPCE8 |  | Alta Wind 8 |  |  | Planned/Forced | 150.00 | 6.00 | SCE Gen | CISO
ALTA4A_2_CPCW1 |  | Alta Wind 1 |  |  | Planned/Forced | 150.00 | 1.20 | SCE Gen | CISO
ALTA4B_2_CPCW2 |  | Alta Wind 2 |  |  | Forced | 150.00 | 3.00 | SCE Gen | CISO
ALTA4B_2_CPCW3 |  | Alta Wind 3 |  |  | Forced | 150.00 | 3.00 | SCE Gen | CISO
ALTA6B_2_WIND11 |  | Alta Wind 11 |  |  | Forced | 88.15 | 0.20 | SCE Gen | CISO
ALTA6E_2_WIND10 |  | Alta Wind 10 |  |  | Forced | 134.84 | 0.89 | SCE Gen | CISO
ARBWD_6_QF |  | Wind Resource II |  |  | Planned | 19.95 | 6.95 | SCE Gen | CISO
ARCOGN_2_UNITS |  | WATSON COGENERATION |  |  | Planned/Forced | 305.00 | 125.00 | SCE Gen | CISO
AVENAL_6_AVPARK |  | Avenal Park Solar Project |  |  | Forced | 6.00 | 6.00 | PGAE South | CISO
BARRE_6_PEAKER |  | Barre Peaker |  |  | Planned/Forced | 49.00 | 49.00 | SCE Gen | CISO
BDGRCK_1_UNITS |  | BADGER CREEK LIMITED |  |  | Planned/Forced | 48.08 | 2.08 | PGAE South | CISO
BEARDS_7_UNIT 1 |  | Beardsley Hydro |  |  | Planned | 11.50 | 11.50 | PGAE Gen | CISO
BEARMT_1_UNIT |  | Bear Mountain Limited |  |  | Planned/Forced | 49.21 | 3.21 | PGAE Gen | CISO
BELDEN_7_UNIT 1 |  | BELDEN HYDRO |  |  | Forced | 119.00 | 104.00 | PGAE Gen | CISO
BGSKYN_2_AS2SR1 |  | Antelope Solar 2 |  |  | Forced | 105.00 | 15.00 | SCE Gen | CISO
BGSKYN_2_ASPSR2 |  | Antelope Solar 2 San Pablo |  |  | Forced | 100.00 | 8.00 | SCE Gen | CISO
BGSKYN_2_BS3SR3 |  | Big Sky Solar 3 |  |  | Forced | 20.00 | 20.00 | SCE Gen | CISO
BIGCRK_2_EXESWD |  | BIG CREEK HYDRO PROJECT PSP |  |  | Planned/Forced | 820.00 | 538.00 | SCE Gen | CISO
BIGSKY_2_SOLAR3 |  | Big Sky Summer |  |  | Forced | 20.00 | 2.00 | SCE Gen | CISO
BIGSKY_2_SOLAR6 |  | Solverde 1 |  |  | Forced | 85.00 | 4.00 | SCE Gen | CISO
BIGSKY_2_SOLAR7 |  | Big Sky Solar 1 |  |  | Forced | 50.00 | 2.00 | SCE Gen | CISO
BIOMAS_1_UNIT 1 |  | WOODLAND BIOMASS |  |  | Planned | 25.50 | 25.50 | PGAE North | CISO
BISHOP_1_ALAMO |  | BISHOP CREEK PLANT 2 AND 6 |  |  | Forced | 13.40 | 11.65 | SCE Gen | CISO
BISHOP_1_UNITS |  | BISHOP CREEK PLANT 3 AND 4 |  |  | Forced | 15.80 | 12.10 | SCE Gen | CISO
BLACK_7_UNIT 1 |  | JAMES B. BLACK 1 |  |  | Planned/Forced | 85.00 | 85.00 | PGAE North | CISO
BLACK_7_UNIT 2 |  | JAMES B. BLACK 2 |  |  | Planned/Forced | 84.10 | 84.10 | PGAE North | CISO
BLM W_2_COSBT1 |  | Coso Battery Storage |  |  | Forced | 60.00 | 9.00 | SCE Gen | CISO
BLM_2_UNITS |  | BLM EAST Facility |  |  | Forced | 72.00 | 42.00 | SCE Gen | CISO
BRDSLD_2_HIWIND |  | High Winds Energy Center |  |  | Forced | 162.00 | 32.40 | PGAE Gen | CISO
BRDSLD_2_MTZUM2 |  | NextEra Energy Montezuma Wind II |  |  | Forced | 78.20 | 2.30 | PGAE Gen | CISO
BRDSLD_2_SHILO1 |  | Shiloh I Wind Project |  |  | Forced | 150.00 | 3.00 | PGAE Gen | CISO
BRDSLD_2_SHILO2 |  | SHILOH WIND PROJECT 2 |  |  | Forced | 150.00 | 12.00 | PGAE Gen | CISO
BRDSLD_2_SHLO3A |  | Shiloh III Wind Project, LLC |  |  | Forced | 102.50 | 4.10 | PGAE Gen | CISO
BREGGO_6_DEGRSL |  | Desert Green Solar Farm |  |  | Forced | 6.30 | 6.30 | SDGE Gen | CISO
BREGGO_6_SOLAR |  | NRG Borrego Solar One |  |  | Forced | 26.00 | 26.00 | SDGE Gen | CISO
BRODIE_2_WIND |  | Coram Brodie Wind Project |  |  | Forced | 102.00 | 3.00 | SCE Gen | CISO
BUCKCK_7_OAKFLT |  | Oak Flat |  |  | Forced | 1.30 | 1.30 | PGAE Gen | CISO
BUCKCK_7_PL1X2 |  | BUCKS CREEK AGGREGATE |  |  | Planned/Forced | 57.25 | 57.25 | PGAE Gen | CISO
BUCKWD_1_QF |  | Buckwind Re-powering project |  |  | Forced | 16.50 | 1.50 | SCE Gen | CISO
BUCKWD_7_WINTCV |  | Wintec Energy, Ltd. |  |  | Forced | 1.32 | 0.66 | SCE Gen | CISO
CALFTN_2_CFSBT1 |  | California Flats Solar Battery |  |  | Forced | 60.00 | 60.00 | PGAE Gen | CISO
CAMCHE_1_PL1X3 |  | CAMANCHE UNITS 1, 2 &amp; 3 AGGREGATE |  |  | Planned/Forced | 9.99 | 9.18 | PGAE Gen | CISO
CAPWD_1_QF |  | Edom Hills Wind Farm |  |  | Forced | 19.55 | 17.05 | SCE Gen | CISO
CARBOU_7_PL2X3 |  | CARIBOU PH 1 UNIT 2 &amp; 3 AGGREGATE |  |  | Forced | 49.00 | 49.00 | PGAE North | CISO
CARBOU_7_PL4X5 |  | CARIBOU PH 2 UNIT 4 &amp; 5 AGGREGATE |  |  | Forced | 120.00 | 105.00 | PGAE North | CISO
CARBOU_7_UNIT 1 |  | CARIBOU PH 1 UNIT 1 |  |  | Forced | 24.00 | 24.00 | PGAE North | CISO
CENTER_2_RHONDO |  | MWD Rio Hondo Hydroelectric Recovery Pla |  |  | Forced | 1.91 | 1.41 | SCE Gen | CISO
KYCORA_6_KMSBT1 |  | Kearny Mesa Storage |  |  | Forced | 1.00 | 0.50 | SDGE Gen | CISO
USWND2_1_WIND2 |  | Golden Hills B |  |  | Forced | 42.96 | 3.58 | PGAE Gen | CISO
LAKHDG_6_UNIT 2 |  | Lake Hodges Pumped Storage-Unit2 |  |  | Planned | 20.00 | 20.00 | SDGE Gen | CISO
LAMONT_1_SOLAR3 |  | Woodmere Solar Farm |  |  | Forced | 14.99 | 1.49 | PGAE Gen | CISO
LAMONT_1_SOLAR5 |  | Redcrest Solar Farm |  |  | Forced | 16.66 | 1.66 | PGAE Gen | CISO
LAPLMA_2_UNIT 1 |  | La Paloma Generating Plant Unit #1 |  |  | Forced | 267.00 | 15.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 2 |  | La Paloma Generating Plant Unit #2 |  |  | Forced | 266.00 | 28.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 3 |  | La Paloma Generating Plant Unit #3 |  |  | Forced | 266.00 | 14.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 4 |  | LA PALOMA GENERATING PLANT, UNIT #4 |  |  | Forced | 267.00 | 26.00 | PGAE Gen | CISO
LARKSP_6_UNIT 1 |  | LARKSPUR PEAKER UNIT 1 |  |  | Forced | 49.00 | 3.00 | SDGE Gen | CISO
LARKSP_6_UNIT 2 |  | LARKSPUR PEAKER UNIT 2 |  |  | Forced | 49.00 | 2.00 | SDGE Gen | CISO
LAROA2_2_UNITA1 |  | LR2 |  |  | Forced | 322.00 | 2.00 | SDGE Gen | CISO
LEBECS_2_UNITS |  | Pastoria Energy Facility |  |  | Forced | 799.47 | 22.47 | SCE Gen | CISO
LECEF_1_UNITS |  | LOS ESTEROS ENERGY FACILITY AGGREGATE |  |  | Forced | 309.84 | 10.84 | PGAE South | CISO
LITLRK_6_SOLAR1 |  | Lancaster Little Rock C |  |  | Forced | 5.00 | 2.00 | SCE Gen | CISO
LIVOAK_1_UNIT 1 |  | LIVE OAK LIMITED |  |  | Forced | 49.70 | 4.70 | PGAE South | CISO
LMBEPK_2_UNITA1 |  | Lambie Energy Center, Unit #1 |  |  | Forced | 47.50 | 1.50 | PGAE Gen | CISO
LMEC_1_PL1X3 |  | Los Medanos Energy Center AGGREGATE |  |  | Forced | 580.00 | 17.00 | PGAE Gen | CISO
LODI25_2_UNIT 1 |  | LODI GAS TURBINE |  |  | Forced | 25.00 | 3.00 | PGAE Gen | CISO
LODIEC_2_PL1X2 |  | Lodi Energy Center |  |  | Forced | 302.58 | 16.58 | PGAE Gen | CISO
LOWGAP_7_QFUNTS |  | Matthews Dam Hydro |  |  | Planned/Forced | 1.35 | 1.15 | PGAE North | CISO
MAGNLA_6_CERRITOS |  | Magnolia Power Plant Cerritos |  |  | Planned/Forced | 12.00 | 2.00 | SCE Gen | CISO
MAGNLA_6_COLTON |  | Magnolia Power Project |  |  | Planned/Forced | 12.00 | 2.00 | SCE Gen | CISO
MAGUND_1_BKSSR2 |  | Bakersfield Solar 1 |  |  | Forced | 5.25 | 1.25 | PGAE Gen | CISO
MALCHQ_7_UNIT 1 |  | MALACHA HYDRO L.P. |  |  | Forced | 32.50 | 32.50 | PGAE Gen | CISO
MDFKRL_2_PROJCT |  | MIDDLE FORK AND RALSTON PSP |  |  | Planned/Forced | 210.00 | 210.00 | PGAE North | CISO
METEC_2_PL1X3 |  | Metcalf Energy Center |  |  | Forced | 597.05 | 18.05 | PGAE Gen | CISO
MIRLOM_2_MLBBTB |  | Mira Loma BESS B |  |  | Planned | 10.00 | 2.00 | SCE Gen | CISO
MIRLOM_2_ONTARO |  | Ontario RT Solar |  |  | Forced | 5.50 | 5.50 | SCE Gen | CISO
MKTRCK_1_UNIT 1 |  | MCKITTRICK LIMITED |  |  | Forced | 47.49 | 7.49 | PGAE South | CISO
MNDALY_6_MCGRTH |  | McGrath Beach Peaker |  |  | Planned/Forced | 48.56 | 0.77 | SCE Gen | CISO
MONTPH_7_UNITS |  | MONTICELLO HYDRO AGGREGATE |  |  | Forced | 12.50 | 6.80 | PGAE Gen | CISO
MOORPK_2_ACOBT1 |  | Acorn I BESS |  |  | Forced | 1.95 | 1.95 | SCE Gen | CISO
MRCHNT_2_PL1X3 |  | Desert Star Energy Center |  |  | Planned | 494.58 | 494.58 | SDGE Gen | CISO
MRGT_6_TGEBT1 |  | Top Gun Energy Storage |  |  | Planned | 30.00 | 15.00 | SDGE Gen | CISO
MSOLAR_2_SOLAR3 |  | Mesquite Solar 3, LLC |  |  | Forced | 152.00 | 73.20 | SDGE Gen | CISO
MSTANG_2_SOLAR |  | Mustang |  |  | Forced | 30.00 | 5.50 | PGAE Gen | CISO
MSTANG_2_SOLAR3 |  | Mustang 3 |  |  | Forced | 40.00 | 18.24 | PGAE Gen | CISO
MTNPOS_1_UNIT |  | MT.POSO COGENERATION CO. |  |  | Planned/Forced | 46.64 | 46.64 | PGAE South | CISO
NAROW1_2_UNIT |  | NARROWS PH 1 UNIT |  |  | Forced | 12.00 | 1.70 | PGAE North | CISO
NAROW2_2_UNIT |  | Narrows Powerhouse Unit 2 |  |  | Planned/Forced | 55.00 | 55.00 | PGAE North | CISO
NCPA_7_GP2UN3 |  | NCPA GEO PLANT 2 UNIT 3 |  |  | Forced | 42.42 | 42.42 | PGAE Gen | CISO
NWCSTL_7_UNIT 1 |  | NEWCASTLE HYDRO |  |  | Forced | 12.00 | 12.00 | PGAE Gen | CISO
OAK C_7_UNIT 1 |  | OAKLAND STATION C GT UNIT 1 |  |  | Forced | 55.00 | 28.00 | PGAE South | CISO
OAK C_7_UNIT 3 |  | OAKLAND STATION C GT UNIT 3 |  |  | Forced | 55.00 | 1.00 | PGAE South | CISO
OASIS_6_SOLAR2 |  | Oasis Solar |  |  | Forced | 20.00 | 0.50 | SCE Gen | CISO
OILFLD_7_QFUNTS |  | Nacimiento Hydroelectric Plant |  |  | Forced | 3.80 | 3.80 | PGAE South | CISO
OLINDA_2_COYCRK |  | MWD Coyote Creek Hydroelectric Recovery |  |  | Forced | 3.13 | 3.13 | SCE Gen | CISO
ORLND_6_HIGHLI |  | High Line Canal Hydro |  |  | Forced | 0.50 | 0.50 | PGAE Gen | CISO
OROVIL_6_UNIT |  | Oroville Cogeneration, LP |  |  | Forced | 7.50 | 7.50 | PGAE Gen | CISO
OTMESA_2_PL1X3 |  | OTAY MESA ENERGY CENTER |  |  | Forced | 603.68 | 8.68 | SDGE Gen | CISO
OXBOW_6_DRUM |  | OXBOW HYDRO |  |  | Planned/Forced | 5.80 | 5.80 | PGAE North | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 6.80 | PGAE Gen | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 6.80 | PGAE North | CISO
PADUA_2_ONTARO |  | ONTARIO/SIERRA HYDRO PSP |  |  | Forced | 1.92 | 1.32 | SCE Gen | CISO
PALALT_7_COBUG |  | Cooperatively Owned Back Up Generator |  |  | Forced | 4.50 | 4.50 | PGAE Gen | CISO
PARDEB_6_UNITS |  | Pardee Power House |  |  | Forced | 30.00 | 10.00 | PGAE Gen | CISO
PEABDY_2_LNDFL1 |  | Potrero Hills Energy Producers |  |  | Forced | 8.00 | 2.00 | PGAE South | CISO
PINFLT_7_UNITS |  | PINE FLAT HYDRO AGGREGATE |  |  | Planned/Forced | 198.51 | 198.51 | PGAE Gen | CISO
PIOPIC_2_CTG1 |  | Pio Pico Unit 1 |  |  | Forced | 111.30 | 1.60 | SDGE Gen | CISO
PIOPIC_2_CTG2 |  | Pio Pico Unit 2 |  |  | Forced | 112.70 | 0.85 | SDGE Gen | CISO
PIOPIC_2_CTG3 |  | Pio Pico Unit 3 |  |  | Forced | 112.00 | 0.10 | SDGE Gen | CISO
PIT1_7_UNIT 1 |  | PIT PH 1 UNIT 1 |  |  | Planned/Forced | 32.00 | 32.00 | PGAE North | CISO
PIT1_7_UNIT 2 |  | PIT PH 1 UNIT 2 |  |  | Planned | 32.00 | 32.00 | PGAE North | CISO
PIT6_7_UNIT 1 |  | PIT PH 6 UNIT 1 |  |  | Forced | 39.00 | 2.84 | PGAE North | CISO
PIT6_7_UNIT 2 |  | PIT PH 6 UNIT 2 |  |  | Forced | 40.00 | 3.84 | PGAE North | CISO
PIT7_7_UNIT 1 |  | PIT PH 7 UNIT 1 |  |  | Forced | 55.70 | 1.80 | PGAE North | CISO
PIT7_7_UNIT 2 |  | PIT PH 7 UNIT 2 |  |  | Forced | 54.60 | 0.70 | PGAE North | CISO
PLAINV_6_BSOLAR |  | Western Antelope Blue Sky Ranch A |  |  | Forced | 20.00 | 1.00 | SCE Gen | CISO
PLAINV_6_NLRSR1 |  | North Lancaster Ranch |  |  | Forced | 20.00 | 7.00 | SCE Gen | CISO
PLAINV_6_SOLAR3 |  | Sierra Solar Greenworks LLC |  |  | Forced | 20.00 | 2.00 | SCE Gen | CISO
POEPH_7_UNIT 1 |  | POE HYDRO UNIT 1 |  |  | Planned/Forced | 68.00 | 68.00 | PGAE North | CISO
POEPH_7_UNIT 2 |  | POE HYDRO UNIT 2 |  |  | Forced | 68.50 | 66.50 | PGAE North | CISO
POTTER_6_UNITS |  | Potter Valley |  |  | Forced | 10.10 | 10.10 | PGAE North | CISO
CHALK_1_UNIT |  | CHALK CLIFF LIMITED |  |  | Forced | 48.67 | 2.57 | PGAE Gen | CISO
CHARMN_2_PGONG1 |  | PROCTER AND GAMBLE OXNARD I |  |  | Planned | 19.87 | 19.87 | SCE Gen | CISO
CHEVMN_2_UNITS |  | CHEVRON U.S.A. UNITS 1 &amp; 2 AGGREGATE |  |  | Forced | 124.87 | 124.87 | SCE Gen | CISO
CHINO_2_APEBT1 |  | Pomona Energy Storage |  |  | Forced | 20.00 | 0.70 | SCE Gen | CISO
CHWCHL_1_UNIT |  | CHOW 2 PEAKER PLANT |  |  | Forced | 48.60 | 3.10 | PGAE Gen | CISO
CLOVDL_1_SOLAR |  | Cloverdale Solar I |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
CLOVER_2_UNIT |  | Clover Creek |  |  | Forced | 0.99 | 0.99 | PGAE Gen | CISO
COCOPP_2_CTG3 |  | Marsh Landing 3 |  |  | Forced | 208.96 | 5.11 | PGAE South | CISO
COLEMN_2_UNIT |  | Coleman |  |  | Forced | 13.00 | 13.00 | PGAE North | CISO
COLGAT_7_UNIT 1 |  | Colgate Powerhouse Unit 1 |  |  | Forced | 176.72 | 26.72 | PGAE North | CISO
COLGAT_7_UNIT 2 |  | Colgate Powerhouse Unit 2 |  |  | Forced | 175.67 | 25.67 | PGAE North | CISO
COLUSA_2_PL1X3 |  | Colusa Generating Station |  |  | Forced | 641.00 | 296.00 | PGAE North | CISO
COLVIL_7_PL1X2 |  | COLLIERVILLE HYDRO UNIT 1 &amp; 2 AGGREGATE |  |  | Planned | 246.86 | 120.36 | PGAE Gen | CISO
CONTRL_1_CASAD2 |  | Mammoth G2 |  |  | Planned/Forced | 10.50 | 10.50 | SCE Gen | CISO
CONTRL_1_CASAD3 |  | Mammoth G3 |  |  | Forced | 14.00 | 0.80 | SCE Gen | CISO
CONTRL_1_LUNDY |  | LUNDY |  |  | Planned/Forced | 3.00 | 3.00 | SCE Gen | CISO
CONTRL_1_POOLE |  | POOLE HYDRO PLANT 1 |  |  | Forced | 10.90 | 10.30 | SCE Gen | CISO
CONTRL_1_RUSHCK |  | RUSH CREEK |  |  | Forced | 11.94 | 11.84 | SCE Gen | CISO
COVERD_2_MCKHY1 |  | Montgomery Creek Hydro |  |  | Forced | 2.80 | 2.80 | PGAE Gen | CISO
COWCRK_2_UNIT |  | Cow Creek Hydro |  |  | Forced | 2.00 | 1.54 | PGAE Gen | CISO
CRELMN_6_RAMSR3 |  | Ramona Solar Energy |  |  | Forced | 4.32 | 4.32 | SDGE Gen | CISO
CRESTA_7_PL1X2 |  | CRESTA PH UNIT 1 &amp; 2 AGGREGATE |  |  | Planned | 70.40 | 70.40 | PGAE North | CISO
CRNEVL_6_SJQN 2 |  | SAN JOAQUIN 2 |  |  | Forced | 3.20 | 3.20 | PGAE Gen | CISO
CRSTWD_6_KUMYAY |  | Kumeyaay Wind Farm |  |  | Forced | 50.00 | 2.00 | SDGE Gen | CISO
CSCCOG_1_UNIT 1 |  | SANTA CLARA CO-GEN |  |  | Forced | 7.00 | 3.50 | PGAE South | CISO
CSCGNR_1_UNIT 2 |  | GIANERA PEAKER UNIT 2 |  |  | Forced | 24.75 | 2.74 | PGAE South | CISO
DAIRLD_1_CR1BM1 |  | Clapper Rail Plant 1 |  |  | Forced | 2.00 | 1.00 | PGAE Gen | CISO
DAIRLD_1_MD2BM1 |  | Madera Digester Genset 2 |  |  | Planned | 0.80 | 0.80 | PGAE Gen | CISO
DEADCK_1_UNIT |  | DEADCK_1_UNIT |  |  | Forced | 1.96 | 1.96 | PGAE Gen | CISO
DEERCR_6_UNIT 1 |  | DEER CREEK |  |  | Forced | 7.00 | 5.03 | PGAE North | CISO
DELSUR_6_CREST |  | Delsur Aggregate Solar Resources |  |  | Forced | 10.00 | 8.50 | SCE Gen | CISO
DELSUR_6_SOLAR1 |  | Summer Solar North |  |  | Forced | 6.50 | 2.00 | SCE Gen | CISO
DELTA_2_PL1X4 |  | DELTA ENERGY CENTER AGGREGATE |  |  | Forced | 880.00 | 16.00 | PGAE Gen | CISO
DEXZEL_1_UNIT |  | Western Power and Steam Cogeneration |  |  | Forced | 17.45 | 17.45 | PGAE Gen | CISO
DIABLO_7_UNIT 2 |  | Diablo Canyon Unit 2 |  |  | Planned/Forced | 1150.00 | 1150.00 | PGAE South | CISO
DOUBLC_1_UNITS |  | DOUBLE C LIMITED |  |  | Planned/Forced | 52.23 | 1.93 | PGAE South | CISO
DRACKR_2_DSUBT1 |  | Dracker Solar Unit 1 BESS |  |  | Forced | 63.00 | 39.00 | SCE Gen | CISO
DRACKR_2_DSUBT3 |  | Dracker Solar Unit 3 BESS |  |  | Forced | 115.00 | 24.00 | SCE Gen | CISO
DRACKR_2_SOLAR1 |  | Dracker Solar Unit 1 |  |  | Forced | 110.00 | 0.80 | SCE Gen | CISO
DSRTHV_2_DH2BT1 |  | Desert Harvest BESS |  |  | Forced | 35.00 | 3.14 | SCE Gen | CISO
DSRTHV_2_DH2SR2 |  | Desert Harvest 2 |  |  | Forced | 70.00 | 3.20 | SCE Gen | CISO
DSRTSN_2_SOLAR1 |  | Desert Sunlight 300 |  |  | Forced | 300.00 | 19.00 | SCE Gen | CISO
DTCHWD_2_BT3WND |  | Brookfield Tehachapi 3 |  |  | Planned/Forced | 4.50 | 4.50 | SCE Gen | CISO
DTCHWD_2_BT4WND |  | Brookfield Tehachapi 4 |  |  | Planned/Forced | 6.52 | 6.52 | SCE Gen | CISO
DUANE_1_PL1X3 |  | DONALD VON RAESFELD POWER PROJECT |  |  | Forced | 147.80 | 12.80 | PGAE South | CISO
DUTCH1_7_UNIT 1 |  | DUTCH FLAT 1 PH |  |  | Forced | 22.00 | 3.50 | PGAE North | CISO
DVLCYN_1_UNITS |  | DEVIL CANYON HYDRO UNITS 1-4 AGGREGATE |  |  | Forced | 235.00 | 35.00 | SCE Gen | CISO
EASTWD_7_UNIT |  | EASTWOOD PUMP-GEN |  |  | Planned | 200.00 | 200.00 | SCE Gen | CISO
EDMONS_2_NSPIN |  | EDMONS_2_NSPIN |  |  | Forced | 775.80 | 60.00 | SCE Gen | CISO
ELCAJN_6_LM6K |  | El Cajon Energy Center |  |  | Forced | 48.10 | 48.10 | SDGE Gen | CISO
ELDORO_7_UNIT 1 |  | El Dorado Unit 1 |  |  | Planned | 11.00 | 11.00 | PGAE North | CISO
ELDORO_7_UNIT 2 |  | El Dorado Unit 2 |  |  | Planned | 11.00 | 11.00 | PGAE North | CISO
ELECTR_7_PL1X3 |  | ELECTRA PH UNIT 1 &amp; 2 AGGREGATE |  |  | Planned | 93.00 | 23.20 | PGAE North | CISO
ELKCRK_6_STONYG |  | STONEY GORGE HYDRO AGGREGATE |  |  | Forced | 4.90 | 4.90 | PGAE Gen | CISO
ELKHIL_2_PL1X3 |  | ELK HILLS COMBINED CYCLE (AGGREGATE) |  |  | Forced | 551.70 | 47.70 | PGAE Gen | CISO
ELKHRN_1_EESX3 |  | Elkhorn Energy Storage |  |  | Forced | 182.50 | 182.50 | PGAE Gen | CISO
ELSEGN_2_UN1011 |  | El Segundo Energy Center 5/6 |  |  | Forced | 274.31 | 0.01 | SCE Gen | CISO
ENWIND_2_WIND1 |  | Cameron Ridge |  |  | Planned | 47.10 | 19.05 | SCE Gen | CISO
ESCNDO_6_EB1BT1 |  | Escondido BESS 1 |  |  | Forced | 10.00 | 2.50 | SDGE Gen | CISO
ESCNDO_6_EB2BT2 |  | Escondido BESS 2 |  |  | Forced | 10.00 | 4.50 | SDGE Gen | CISO
ESCNDO_6_EB3BT3 |  | Escondido BESS 3 |  |  | Forced | 10.00 | 5.50 | SDGE Gen | CISO
ETIWND_2_FONTNA |  | FONTANALYTLE CREEK POWERHOUSE P |  |  | Forced | 2.56 | 2.36 | SCE Gen | CISO
USWND2_1_WIND3 |  | Golden Hills C |  |  | Forced | 46.00 | 4.60 | PGAE Gen | CISO
USWNDR_2_SMUD |  | SOLANO WIND FARM |  |  | Forced | 102.18 | 1.98 | PGAE Gen | CISO
VALLEY_5_PERRIS |  | MWD Perris Hydroelectric Recovery Plant |  |  | Forced | 7.94 | 7.94 | SCE Gen | CISO
VEDDER_1_SEKERN |  | TEXACO EXPLORATION &amp; PROD (SE KERN RIVER |  |  | Forced | 34.47 | 12.47 | PGAE Gen | CISO
VERNON_6_GONZL1 |  | H. Gonzales Unit #1 |  |  | Forced | 5.75 | 5.75 | SCE Gen | CISO
VESTAL_2_KERN |  | KERN RIVER PH 3 UNITS 1 &amp; 2 AGGREGATE |  |  | Planned/Forced | 36.80 | 36.80 | SCE Gen | CISO
VESTAL_6_QF |  | Isabella Hydro Dam 1 |  |  | Forced | 11.95 | 11.95 | SCE Gen | CISO
VILLPK_2_VALLYV |  | MWD Valley View Hydroelectric Recovery P |  |  | Forced | 4.10 | 4.10 | SCE Gen | CISO
VISTRA_5_DALBT1 |  | Dallas Energy Storage |  |  | Forced | 100.00 | 13.00 | PGAE Gen | CISO
VISTRA_5_DALBT2 |  | Dallas Energy Storage 2 |  |  | Forced | 100.00 | 13.00 | PGAE Gen | CISO
VISTRA_5_DALBT3 |  | Dallas Energy Storage 3 |  |  | Forced | 100.00 | 10.00 | PGAE Gen | CISO
VLCNTR_6_VCEBT1 |  | Valley Center Energy Storage |  |  | Forced | 54.00 | 6.00 | SDGE Gen | CISO
VOLTA_2_UNIT 1 |  | VOLTA HYDRO UNIT 1 |  |  | Forced | 9.10 | 9.10 | PGAE North | CISO
VOLTA_6_BAILCK |  | Bailey Creek Ranch |  |  | Forced | 0.63 | 0.63 | PGAE Gen | CISO
VOLTA_7_PONHY1 |  | Ponderosa Bailey Hydroelectric |  |  | Forced | 1.25 | 1.25 | PGAE Gen | CISO
WALCRK_2_CTG2 |  | Walnut Creek Energy Park Unit 2 |  |  | Forced | 96.91 | 96.91 | SCE Gen | CISO
WALNUT_7_WCOVST |  | MM West Covina - ST Unit |  |  | Forced | 6.50 | 6.50 | SCE Gen | CISO
WFRESN_1_SOLAR |  | Joya Del Sol |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
WHEATL_6_LNDFIL |  | G2 ENERGY, OSTROM ROAD LLC |  |  | Forced | 3.55 | 1.85 | PGAE Gen | CISO
WHTWTR_1_WINDA1 |  | Whitewater Hill Wind Project |  |  | Forced | 61.50 | 40.73 | SCE Gen | CISO
WISE_1_UNIT 1 |  | Wise Hydro Unit 1 |  |  | Planned | 14.50 | 14.50 | PGAE Gen | CISO
WISE_1_UNIT 2 |  | WISE HYDRO UNIT 2 |  |  | Forced | 3.20 | 3.20 | PGAE North | CISO
WISHON_6_UNITS |  | Wishon/San Joaquin #1-A AGGREGATE |  |  | Planned/Forced | 18.40 | 18.40 | PGAE Gen | CISO
WNDMAS_2_UNIT 1 |  | BUENA VISTA ENERGY, LLC |  |  | Forced | 38.00 | 38.00 | PGAE Gen | CISO
WNDSTR_2_WIND |  | Windstar |  |  | Planned/Forced | 120.00 | 4.00 | SCE Gen | CISO
WRGTSR_2_WSFSR1 |  | Wright Solar Freeman |  |  | Forced | 200.00 | 24.00 | PGAE Gen | CISO
WSENGY_1_UNIT 1 |  | Wheelabrator Shasta |  |  | Forced | 50.00 | 27.99 | PGAE North | CISO
ZOND_6_UNIT |  | ZOND WINDSYSTEMS INC. |  |  | Forced | 17.10 | 17.10 | PGAE Gen | CISO
ARLNTN_2_ASUSR1 |  | Arlington Solar Unit 1 |  |  | Forced | 131.00 | 12.00 |  | CISO
CENTPD_2_BMSSX2 |  | Blythe Mesa Solar |  |  | Forced | 223.60 | 187.79 |  | CISO
CENTPD_2_BMSX2 |  | Blythe Mesa Solar 2 BESS |  |  | Forced | 112.00 | 112.00 |  | CISO
CRIMSN_2_CRMBT1 |  | Crimson |  |  | Forced | 200.00 | 7.00 |  | CISO
CRIMSN_2_CRMBT2 |  | Crimson 2 |  |  | Forced | 150.00 | 150.00 |  | CISO
DRACKR_2_DSUBT4 |  | Dracker Solar Unit 4 BESS |  |  | Forced | 47.00 | 46.00 |  | CISO
EDWARD_2_ESSSB2 |  | Sanborn Solar 2 |  |  | Forced | 132.00 | 122.00 |  | CISO
OTAY_6_ECVBT1 |  | EnerSmart Chula Vista 1 |  |  | Forced | 3.00 | 3.00 |  | CISO
OTAY_6_ECVBT2 |  | Chula Vista 2 |  |  | Forced | 3.00 | 3.00 |  | CISO
SANBRN_2_EESSB2 |  | Edsan 2 Edwards Sanborn E1B |  |  | Forced | 166.00 | 51.00 |  | CISO
SANBRN_2_SS2SB4 |  | Sanborn Solar 2 Edwards Sanborn S4 |  |  | Forced | 36.00 | 2.00 |  | CISO
SUNCAT_2_A1ABT1 |  | Arlington Solar Unit 1A BESS |  |  | Forced | 47.00 | 45.90 |  | CISO
SUNCAT_2_A1BBT1 |  | Arlington Solar Unit 1B BESS |  |  | Forced | 63.00 | 60.30 |  | CISO
SUNCAT_2_A2ABT2 |  | Arlington Solar Unit 2A BESS |  |  | Forced | 132.00 | 14.00 |  | CISO
WISTER_2_WISSR1 |  | Wister Solar |  |  | Forced | 20.00 | 6.00 |  | CISO
ETIWND_2_RTS010 |  | SPVP010 Fontana RT Solar |  |  | Forced | 1.50 | 1.50 | SCE Gen | CISO
PWEST_1_UNIT |  | PACIFIC WEST 1 WIND GENERATION |  |  | Forced | 2.10 | 2.10 | SCE Gen | CISO
RAMON_2_SCEDYN |  | RAMON_2_SCEDYN |  |  | Forced | 106.18 | 47.18 | SCE Gen | CISO
RCKCRK_7_UNIT 1 |  | ROCK CREEK HYDRO UNIT 1 |  |  | Forced | 57.00 | 57.00 | PGAE North | CISO
RECTOR_2_KAWEAH |  | KAWEAH PH 2 &amp; 3 PSP AGGREGATE |  |  | Forced | 6.55 | 6.55 | SCE Gen | CISO
RECTOR_2_KAWH 1 |  | KAWEAH PH 1 UNIT 1 |  |  | Forced | 2.25 | 2.25 | SCE Gen | CISO
RENWD_1_QF |  | Renwind re-powering project |  |  | Forced | 10.00 | 1.00 | SCE Gen | CISO
RICHMN_7_BAYENV |  | BAY ENVIRONMENTAL (NOVE POWER) |  |  | Forced | 2.50 | 2.50 | PGAE Gen | CISO
RIOBRV_6_UNIT 1 |  | RIO BRAVO HYDRO |  |  | Forced | 14.00 | 14.00 | PGAE Gen | CISO
ROLLIN_6_UNIT |  | ROLLINS HYDRO |  |  | Planned | 13.50 | 13.50 | PGAE North | CISO
ROSMDW_2_WIND1 |  | Pacific Wind - Phase 1 |  |  | Forced | 140.00 | 12.00 | SCE Gen | CISO
ROSMND_6_SOLAR |  | Lancaster B |  |  | Forced | 3.00 | 1.50 | SCE Gen | CISO
RTREE_2_WIND2 |  | Rising Tree 2 |  |  | Forced | 19.80 | 16.30 | SCE Gen | CISO
SANLOB_1_LNDFIL |  | Cold Canyon |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
SANTFG_7_UNITS |  | GEYSERS CALISTOGA AGGREGATE |  |  | Forced | 72.00 | 6.00 | PGAE Gen | CISO
SANTGO_2_LNDFL1 |  | Bowerman Power |  |  | Forced | 19.60 | 2.60 | SCE Gen | CISO
SANWD_1_QF |  | San Gorgonio Farms Wind Farm |  |  | Forced | 31.00 | 5.00 | SCE Gen | CISO
SBERDO_2_REDLND |  | Redlands RT Solar |  |  | Forced | 2.00 | 2.00 | SCE Gen | CISO
SBERDO_2_SNTANA |  | SANTA ANA PSP |  |  | Forced | 6.95 | 6.95 | SCE Gen | CISO
SBERDO_6_MILLCK |  | MILL CREEK PSP |  |  | Forced | 3.93 | 2.73 | SCE Gen | CISO
SCEW_2_PDRP03 |  | LCR AMS Hybrid Irvine 1-W-LPIPO |  |  | Forced | 5.00 | 5.00 | SCE Gen | CISO
SCHLTE_1_PL1X3 |  | Tracy Combined Cycle Power Plant |  |  | Forced | 336.04 | 13.66 | PGAE Gen | CISO
SCHNDR_1_FIVPTS |  | Five Points Solar Station |  |  | Forced | 15.00 | 14.50 | PGAE South | CISO
SCHNDR_1_WSTSDE |  | Westside Solar Station |  |  | Forced | 15.00 | 5.00 | PGAE Gen | CISO
SENTNL_2_CTG2 |  | Sentinel Unit 2 |  |  | Forced | 104.19 | 2.04 | SCE Gen | CISO
SENTNL_2_CTG3 |  | Sentinel Unit 3 |  |  | Forced | 105.69 | 9.69 | SCE Gen | CISO
SGREGY_6_SANGER |  | Algonquin Power Sanger 2 |  |  | Forced | 48.30 | 48.30 | PGAE Gen | CISO
SIERRA_1_UNITS |  | HIGH SIERRA LIMITED |  |  | Planned/Forced | 52.43 | 2.13 | PGAE Gen | CISO
SIGHEB_6_MIRDYN |  | Heber South |  |  | Forced | 17.00 | 17.00 | SDGE Gen | CISO
SLATE_2_SLASR4 |  | SLATE_4 |  |  | Forced | 63.00 | 50.18 | PGAE Gen | CISO
SLUISP_2_UNITS |  | SAN LUIS (GIANELLI) PUMP-GEN (AGGREGATE) |  |  | Planned/Forced | 374.43 | 274.43 | PGAE Gen | CISO
SLYCRK_1_UNIT 1 |  | SLY CREEK HYDRO |  |  | Forced | 13.00 | 3.00 | PGAE North | CISO
SMPRIP_1_SMPSON |  | Ripon Cogeneration Unit 1 |  |  | Forced | 46.05 | 46.05 | PGAE Gen | CISO
SMUDGO_7_UNIT 1 |  | SONOMA POWER PLANT |  |  | Planned/Forced | 64.80 | 64.80 | PGAE Gen | CISO
SNCLRA_2_UNIT1 |  | New Indy Oxnard |  |  | Planned | 27.80 | 16.80 | SCE Gen | CISO
SNCLRA_6_PROCGN |  | Procter and Gamble Oxnard 2 |  |  | Planned | 47.90 | 47.90 | SCE Gen | CISO
SNDBAR_7_UNIT 1 |  | SANDBAR |  |  | Planned | 16.20 | 16.20 | PGAE North | CISO
SPAULD_6_UNIT 3 |  | SPAULDING HYDRO PH 3 UNIT |  |  | Planned/Forced | 6.50 | 6.50 | PGAE North | CISO
SPBURN_2_UNIT 1 |  | Burney Biomass |  |  | Forced | 22.00 | 22.00 | PGAE North | CISO
SPBURN_7_SNOWMT |  | Burney Creek Hydro |  |  | Forced | 3.00 | 3.00 | PGAE North | CISO
SPI LI_2_UNIT 1 |  | Lincoln Biomass |  |  | Planned | 17.20 | 17.20 | PGAE North | CISO
SPQUIN_6_SRPCQU |  | Quincy Biomass |  |  | Forced | 24.00 | 19.00 | PGAE North | CISO
SPRGVL_2_TULESC |  | TULE RIVER HYDRO PLANT (SCE) |  |  | Forced | 2.50 | 2.50 | SCE Gen | CISO
STANIS_7_UNIT 1 |  | STANISLAUS HYDRO |  |  | Planned | 91.00 | 91.00 | PGAE North | CISO
STIGCT_2_LODI |  | LODI STIG UNIT |  |  | Forced | 49.90 | 2.90 | PGAE Gen | CISO
STROUD_6_WWHSR1 |  | Winter Wheat Solar Farm |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
SUMWHT_6_SWSSR1 |  | Summer Wheat Solar Farm |  |  | Forced | 18.50 | 3.00 | PGAE Gen | CISO
SUNRIS_2_PL1X3 |  | Sunrise Power Project AGGREGATE II |  |  | Forced | 586.02 | 34.02 | PGAE Gen | CISO
SYCAMR_2_UNIT 4 |  | Sycamore Cogeneration Unit 4 |  |  | Forced | 76.00 | 76.00 | SCE Gen | CISO
TANHIL_6_SOLART |  | Berry Cogen 18 |  |  | Forced | 17.00 | 11.00 | PGAE South | CISO
TENGEN_2_PL1X2 |  | Placerita Canyon Cogen |  |  | Forced | 40.20 | 2.20 | SCE Gen | CISO
TIGRCK_7_UNITS |  | TIGER CREEK HYDRO AGGREGATE |  |  | Planned | 62.00 | 62.00 | PGAE North | CISO
TITANS_2_TTSSR1 |  | Titan Solar 1 Pseudo |  |  | Forced | 70.00 | 22.40 | SDGE Gen | CISO
TOADTW_6_UNIT |  | TOAD TOWN |  |  | Forced | 1.50 | 1.50 | PGAE North | CISO
TOPAZ_2_SOLAR |  | Topaz Solar Farms |  |  | Forced | 550.00 | 22.00 | PGAE South | CISO
TRNQLT_2_RETBT1 |  | RE Tranquillity BESS |  |  | Forced | 72.00 | 12.00 | PGAE Gen | CISO
TRNQLT_2_SOLAR |  | Tranquillity |  |  | Forced | 200.00 | 3.70 | PGAE Gen | CISO
TRNSWD_1_QF |  | FPL Energy C Wind |  |  | Forced | 38.97 | 29.97 | SCE Gen | CISO
ETIWND_2_RTS023 |  | SPVP023 Fontana RT Solar |  |  | Forced | 2.50 | 2.50 | SCE Gen | CISO
ETIWND_2_UNIT1 |  | ETIWND_2_UNIT1 |  |  | Planned | 33.60 | 31.60 | SCE Gen | CISO
ETIWND_6_GRPLND |  | Grapeland Peaker |  |  | Planned/Forced | 45.64 | 45.64 | SCE Gen | CISO
EXCHEC_7_UNIT 1 |  | EXCHEQUER HYDRO |  |  | Forced | 94.50 | 49.50 | PGAE South | CISO
FLOWD2_2_FPLWND |  | DIABLO WINDS |  |  | Forced | 18.00 | 1.80 | PGAE Gen | CISO
FLOWD_2_RT2WD2 |  | Ridgetop 2 |  |  | Planned | 27.39 | 27.39 | SCE Gen | CISO
FLOWD_2_WIND1 |  | Cameron Ridge 2 |  |  | Planned | 11.90 | 11.90 | SCE Gen | CISO
FMEADO_6_HELLHL |  | FMEADO_6_HELLHL |  |  | Forced | 0.60 | 0.60 | PGAE North | CISO
FMEADO_7_UNIT |  | FRENCH MEADOWS HYDRO |  |  | Forced | 16.00 | 16.00 | PGAE North | CISO
GARLND_2_GARBT1 |  | Garland B BESS |  |  | Planned/Forced | 88.00 | 23.00 | SCE Gen | CISO
GARLND_2_GASLR |  | Garland B |  |  | Planned/Forced | 180.00 | 24.40 | SCE Gen | CISO
GARNET_1_SOLAR2 |  | Garnet Solar Power Generation Station 1 |  |  | Forced | 4.00 | 3.00 | SCE Gen | CISO
GARNET_2_HYDRO |  | Whitewater Hydro |  |  | Forced | 1.00 | 1.00 | SCE Gen | CISO
GARNET_2_WIND2 |  | Karen Avenue Wind Farm |  |  | Forced | 11.70 | 3.45 | SCE Gen | CISO
GASKW1_2_GW1SR1 |  | Gaskell West 1 |  |  | Forced | 20.00 | 2.80 | SCE Gen | CISO
GATWAY_2_PL1X3 |  | GATEWAY GENERATING STATION |  |  | Forced | 585.00 | 40.00 | PGAE South | CISO
GEYS11_7_UNIT11 |  | GEYSERS UNIT 11 (HEALDSBURG) |  |  | Forced | 86.80 | 9.80 | PGAE Gen | CISO
GEYS12_7_UNIT12 |  | GEYSERS UNIT 12 (HEALDSBURG) |  |  | Forced | 57.00 | 14.00 | PGAE Gen | CISO
GEYS13_7_UNIT13 |  | GEYSERS UNIT 13 (HEALDSBURG) |  |  | Forced | 73.00 | 24.00 | PGAE Gen | CISO
GEYS14_7_UNIT14 |  | GEYSERS UNIT 14 (HEALDSBURG) |  |  | Forced | 70.00 | 12.00 | PGAE Gen | CISO
GEYS16_7_UNIT16 |  | GEYSERS UNIT 16 (HEALDSBURG) |  |  | Forced | 63.00 | 15.00 | PGAE Gen | CISO
GEYS17_7_UNIT17 |  | GEYSERS UNIT 17 (HEALDSBURG) |  |  | Forced | 75.50 | 15.50 | PGAE Gen | CISO
GEYS18_7_UNIT18 |  | GEYSERS UNIT 18 (HEALDSBURG) |  |  | Forced | 72.00 | 26.00 | PGAE Gen | CISO
GEYS20_7_UNIT20 |  | GEYSERS UNIT 20 (HEALDSBURG) |  |  | Forced | 50.00 | 12.00 | PGAE Gen | CISO
GIFFEN_6_SOLAR |  | Giffen Solar Station |  |  | Planned | 10.00 | 10.00 | PGAE South | CISO
GILROY_1_UNIT |  | GILROY COGEN AGGREGATE |  |  | Forced | 120.00 | 11.00 | PGAE South | CISO
GRIZLY_1_UNIT 1 |  | GRIZZLY HYDRO |  |  | Forced | 20.00 | 20.00 | PGAE North | CISO
GRNLF1_1_PL1X2 |  | Greenleaf 1 |  |  | Forced | 60.00 | 30.00 | PGAE Gen | CISO
GRNLF2_1_UNIT |  | GREENLEAF II COGEN |  |  | Forced | 49.20 | 49.20 | PGAE North | CISO
GRNVLY_7_SCLAND |  | SANTA CRUZ LANDFILL GENERATING PLANT |  |  | Forced | 3.04 | 2.19 | PGAE South | CISO
GRSCRK_6_BGCKWW |  | BIG CREEK WATER WORKS - CEDAR FLAT |  |  | Forced | 5.00 | 5.00 | PGAE Gen | CISO
GWFPWR_1_UNITS |  | Hanford Peaker Plant |  |  | Forced | 98.46 | 2.81 | PGAE Gen | CISO
GYS5X6_7_UNITS |  | GEYSERS UNITS 5 &amp; 6 AGGREGATE |  |  | Forced | 98.43 | 19.43 | PGAE Gen | CISO
GYS7X8_7_UNITS |  | GEYSERS UNITS 7 &amp; 8 AGGREGATE |  |  | Forced | 95.80 | 16.80 | PGAE Gen | CISO
HALSEY_6_UNIT |  | HALSEY HYDRO |  |  | Planned | 13.50 | 13.50 | PGAE Gen | CISO
HATCR2_7_UNIT |  | Hat Creek #2 |  |  | Forced | 8.50 | 8.50 | PGAE North | CISO
HAYPRS_6_HAYHD1 |  | Haypress Lower |  |  | Forced | 5.80 | 5.80 | PGAE Gen | CISO
HAYPRS_6_HAYHD2 |  | Haypress Middle |  |  | Forced | 6.70 | 6.70 | PGAE Gen | CISO
HELMPG_7_UNIT 1 |  | HELMS PUMP-GEN UNIT 1 |  |  | Forced | 407.00 | 407.00 | PGAE South | CISO
HELMPG_7_UNIT 2 |  | HELMS PUMP-GEN UNIT 2 |  |  | Planned/Forced | 407.00 | 407.00 | PGAE South | CISO
HELMPG_7_UNIT 3 |  | HELMS PUMP-GEN UNIT 3 |  |  | Forced | 404.00 | 404.00 | PGAE South | CISO
HENRTA_6_SOLAR1 |  | Lemoore 1 |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
HENRTA_6_UNITA1 |  | GWF HENRIETTA PEAKER PLANT UNIT 1 |  |  | Forced | 49.98 | 2.24 | PGAE South | CISO
HENRTA_6_UNITA2 |  | GWF HENRIETTA PEAKER PLANT UNIT 2 |  |  | Forced | 49.42 | 2.10 | PGAE South | CISO
HENRTS_1_SOLAR |  | Henrietta Solar Project |  |  | Forced | 100.00 | 2.00 | PGAE South | CISO
HIDSRT_2_UNITS |  | HIGH DESERT POWER PROJECT AGGREGATE |  |  | Forced | 830.00 | 15.00 | SCE Gen | CISO
HIGHDS_2_H5SBT1 |  | High 5 Solar BESS |  |  | Planned/Forced | 50.00 | 9.90 | SDGE Gen | CISO
HUMBPP_6_UNITS |  | Humboldt Bay Generating Station 1 |  |  | Planned | 97.62 | 16.27 | PGAE North | CISO
HYTTHM_2_UNITS |  | HYATT-THERMALITO PUMP-GEN (AGGREGATE) |  |  | Planned/Forced | 933.10 | 693.10 | PGAE Gen | CISO
INDIGO_1_UNIT 1 |  | INDIGO PEAKER UNIT 1 |  |  | Forced | 45.30 | 3.30 | SCE Gen | CISO
INDIGO_1_UNIT 2 |  | INDIGO PEAKER UNIT 2 |  |  | Forced | 45.30 | 4.30 | SCE Gen | CISO
INTKEP_2_UNITS |  | CCSF Hetch_Hetchy Hydro Aggregate |  |  | Planned/Forced | 405.00 | 314.00 | PGAE Gen | CISO
INTMNT_3_RIVERSIDE |  | IPPDYN |  |  | Forced | 136.00 | 1.00 | SCE Gen | CISO
IVSLRP_2_SOLAR1 |  | Silver Ridge Mount Signal |  |  | Forced | 200.00 | 74.00 | SDGE Gen | CISO
JAWBNE_2_NSRWND |  | North Sky River Wind Project |  |  | Forced | 160.00 | 6.40 | SCE Gen | CISO
JAWBNE_2_SRWND |  | Sky River Wind Repower A |  |  | Forced | 30.00 | 3.00 | SCE Gen | CISO
JOANEC_2_STABT1 |  | Santa Ana Storage 1 |  |  | Forced | 20.00 | 2.00 | SCE Gen | CISO
KEKAWK_6_UNIT |  | STS HYDROPOWER LTD. (KEKAWAKA) |  |  | Forced | 5.50 | 5.50 | PGAE Gen | CISO
KELSO_2_UNITS |  | Mariposa Energy |  |  | Forced | 198.03 | 0.03 | PGAE Gen | CISO
KERKH2_7_UNIT 1 |  | KERKHOFF PH 2 UNIT #1 |  |  | Planned | 153.90 | 153.90 | PGAE South | CISO
KERMAN_6_SOLAR2 |  | Fresno Solar West |  |  | Forced | 1.50 | 0.75 | PGAE South | CISO
KERNRG_1_UNITS |  | South Belridge Cogen Facility |  |  | Forced | 55.20 | 15.20 | PGAE South | CISO
KERRGN_1_UNIT 1 |  | KERN RIVER HYDRO UNITS 1-4 AGGREGATE |  |  | Forced | 25.60 | 16.85 | SCE Gen | CISO
KINGCO_1_KINGBR |  | Kingsburg Cogen |  |  | Forced | 34.50 | 34.50 | PGAE South | CISO
KNTSTH_6_SOLAR |  | Kent South |  |  | Forced | 20.00 | 1.50 | PGAE South | CISO
Count of Resource ID | Outage Type Counts
BA | Forced |  | Planned | Planned/Forced
CISO | 280 |  | 33 | 44
Grand Total | 280 |  | 33 | 44
BA | Sum of Capacity (MW) |  | Sum of Curtailed (MW)
CISO | 33868.31 |  | 12081.99
Grand Total | 33868.31 |  | 12081.99
The content of these pages is subject to change without notice. Decisions based on information contained within the California ISO web site are the visitor's sole responsibility.