## Revision_History
FNM Scope for FNM DB22M4
(Production 4/27/2022)
Revision History
Effective Date | Version | Description
2022-02-23 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
2022-04-25 | 2 | Add additional information
California ISO – Public

## NRI
I. NRI Projects
No | PTO | Resource ID | Project Name / Description | Project Key | Capacity (MW) | POD | Additional Information
1 | SCE | MTWIND_1_MVPWD1 | Mountain View Power Project I Repower | 21GEN20498 | 66.6 |  | New Wind/Wind Repower resource
2 | SCE | CENTPD_2_BMSX2 | Blythe Mesa Solar 2 BESS | 21NGR20240 | 112 | Colorado River 230kV Bus | New Non-Generation aggregate resource with two child units: CENTPD_2_BMSBT1, 56 MW; CENTPD_2_BMSBT2, 56 MW
3 | SCE | VERNON_6_MALBRG | Malburg Generating Staion Pmax Increase | 22GEN20834 | 139 |  | Existing aggregate resource, pmax increase from 134 MW to 139 MW
4 | SCE | DRACKR_2_DSUBT4 | Dracker Solar Unit 4 BESS | 22NGR20906 | 47 | Colorado River 230kV Bus | New Non-Generation resource
5 |  |  | Rio Bravo Rocklin (IRG360) | 21RIG18827 | 25 |  | RIG Reconfiguration
6 |  |  | DTE Stockton (IRG122) | 21RIG18923 | 49.9 |  | RIG Reconfiguration
7 |  |  | Chowchilla 3 Biomass (IDG013) | 21RIG19057 | 10.8 |  | RIG Reconfiguration
8 |  |  | El Nido (IDG015) | 21RIG19058 | 10.8 |  | RIG Reconfiguration
9 |  |  | Adobe Solar (IRG232) | 21RIG19136 | 20 |  | RIG Reconfiguration
10 |  |  | SEPV Mojave West (IRG267) | 21RIG19468 | 20 |  | RIG Reconfiguration
11 |  |  | Humboldt Bay Generating Station | 21RIG19964 | 163.4 |  | RIG Reconfiguration
12 |  |  | South Belridge Cogeneration | 21RIG20312 | 69.6 |  | RIG Reconfiguration
13 |  |  | Ormat Pomona | 21RIG20390 | 22.783 |  | RIG Reconfiguration
14 |  |  | Mustang 1 BESS RIG Reconfig | 21RIG20437 | 75 |  | RIG Reconfiguration
15 |  |  | Ox Mountain IDG027 | 21RIG20470 | 11 |  | RIG Reconfiguration
16 |  |  | Windstream IRG156 | 21RIG20486 | 30 |  | RIG Reconfiguration
17 |  |  | Escondido BESS IRG334 | 21RIG20555 | 30 |  | RIG Reconfiguration
18 |  |  | El Cajon BESS IRG335 | 21RIG20556 | 7.5 |  | RIG Reconfiguration
19 |  |  | Sanger 2 | 21RIG20716 | 48.3 |  | RIG Reconfiguration
20 |  |  | Walnut Creek Energy Park IRG081 | 21RIG20740 | 100.1 |  | RIG Reconfiguration
21 |  |  | Mount POSO, IDG048 | 22RIG20789 | 42.4 |  | RIG Reconfiguration
22 |  |  | Garland A IRG286 | 22RIG20791 | 20 |  | RIG Reconfiguration
23 |  |  | Garland B IRG285 | 22RIG20792 | 180 |  | RIG Reconfiguration
24 |  |  | Gaskell West IRG373 | 22RIG20793 | 20 |  | RIG Reconfiguration
25 |  |  | Arlington Valley Solar Energy II | 22RIG20794 | 127 |  | RIG Reconfiguration
26 |  |  | Centinela Solar Energy | 22RIG20795 | 170.6 |  | RIG Reconfiguration
27 |  |  | Pinyon Pines Wind I IRG063 | 22RIG20821 | 132 |  | RIG Reconfiguration
28 |  |  | Pinyon Pines Wind I IRG062 | 22RIG20822 | 132 |  | RIG Reconfiguration
29 |  |  | Cabazon Wind Partners | 22RIG20831 | 42.6 |  | RIG Reconfiguration
30 |  |  | Whitewater Hill Wind Project | 22RIG20832 | 66 |  | RIG Reconfiguration
31 |  |  | Agua Mansa Power Plant | 22RIG20854 | 43 |  | RIG Reconfiguration
32 |  |  | Little Bear Solar 1 NERC | 22RIG20907 | 40 |  | RIG Reconfiguration
33 |  |  | Little Bear Solar 3;Little Bear Solar 4;Little Bear Solar 5 NERC | 22RIG20908 | 120 |  | RIG Reconfiguration
34 |  |  | Yuba City Energy Center RIG Reconfiguration- BAL-003 Project 2022 | 22RIG20962 | 46 |  | RIG Reconfiguration
35 |  |  | Feather River Energy Center RIG Reconfiguration- BAL-003 Project 2022 | 22RIG20963 | 47 |  | RIG Reconfiguration
36 |  |  | Riverview Energy Center RIG Reconfiguration- BAL-003 Project 2022 | 22RIG20964 | 48 |  | RIG Reconfiguration
37 |  |  | Lambie Energy Center RIG Reconfiguration- BAL-003 Project 2022 | 22RIG20965 | 144 |  | RIG Reconfiguration
38 |  |  | Wolfskill Energy Center RIG Reconfiguration- BAL-003 Project 2022 | 22RIG20966 | 47 |  | RIG Reconfiguration
39 |  |  | Agnews Power Plant RIG Reconfiguration- BAL-003 Project 2022 | 22RIG20967 | 41 |  | RIG Reconfiguration
40 |  |  | Geysers DPG1 RIG Reconfiguration- BAL-003 Project 2022 | 22RIG20972 | 318 |  | RIG Reconfiguration
41 |  |  | Geysers DPG2 RIG Reconfiguration- BAL-003 Project 2022 | 22RIG20973 | 369 |  | RIG Reconfiguration
42 |  |  | Glenarm Power Plant, GT1, GT2, GT3, GT4, GT5, Add Frequ Resp Points_Glenarm GT1-GT2-GT3-GT4-GT5 01.21.22. | 22RIG20976 | 197 |  | RIG Reconfiguration
43 |  |  | Tranquillity PV IRG268 | 22RIG21050 | 144 |  | RIG Reconfiguration
44 |  |  | Nicolis and Tropico | 22RIG21299 | 34 |  | RIG Reconfiguration
45 |  |  | Maverick Solar 6, LLC | 22RIG21346 | 100 |  | RIG Reconfiguration
46 |  |  | Desert Harvest II, LLC | 22RIG21419 | 70 |  | RIG Reconfiguration
47 |  |  | Valentine Solar, LLC | 22RIG21421 | 100 |  | RIG Reconfiguration

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | PGAE | 18TRANS6562 | Oakland Clean Energy Initiative Project (OCEI) - Phase 2 | ET3435
2 | PGAE | 18TRANS6562 | Oakland Clean Energy Initiative Project (OCEI) - Phase 2 | ET4281
3 | PGAE | 18TRANS6562 | Oakland Clean Energy Initiative Project (OCEI) - Phase 2 | ET4282
4 | PGAE | 19TRANS9848 | Valley Springs Substation: Install 60/12 kV Bank | ET4308
5 | PGAE | 20TRANS14073 | Lawrence-Monta Vista 115 kV Tap Line Removal Project | ET4475
6 | PGAE | 21TRANS20301 | North Bundle N-31 | ET4845
7 | PGAE | 22TRANS20950 | Tesla-Schulte SW Sta #2 115kV Twr Repl | ET4882
8 | PGAE | 22TRANS20951 | Vasco-Herdlyn NERC Mitigation | ET4883
9 | PGAE | 22TRANS20951 | Vasco-Herdlyn NERC Mitigation | ET5035
10 | SCE | 18TRANS7198 | Peak Valley Solar Farm - Kramer Substation - Install Interconnection Facilities(TOT773, Q1204) | ET3759
11 | SCE | 18TRANS7198 | Peak Valley Solar Farm - Kramer Substation - Install Interconnection Facilities(TOT773, Q1204) | ET3760
12 | SCE | 20TRANS14478 | Marvel Battery Storage System - TOT789/Q1295 | ET4502
13 | SCE | 20TRANS14478 | Marvel Battery Storage System - TOT789/Q1295 | ET4503
14 | SCE | 22TRANS20828 | Various RAS and CRAS ICCP Removal | ET4876
15 | SCE | 22TRANS21056 | Baldy Mesa PV/BESS 100 MW(TOT851/Q1413) | ET4887
16 | SCE | 22TRANS21056 | Baldy Mesa PV/BESS 100 MW(TOT851/Q1413) | ET4888
17 | SDGE | 17TRANS6481 | TL636 Elliott to Los Coches Wood to Steel | ET3306

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | AVA_BA | - For Kendall Parra, per email request | 21EMS20733
2 | AVA_BA | - ICCP mapping to AVA CIM model | 22EMS21104
3 | AVA_BA | - AVA CIM XML model Note: the ratings in this submittal are SUMMER = High1/High2, and SPRING = High3/High4 | 22EMS21105
4 | AVA_BA | - ICCP mapping to AVA CIM model | 22EMS21828
5 | AVA_BA | - "AVA CIM XML model Note: the ratings in this submittal are SUMMER = High1/High2, and FALL = High3/High4 " | 22EMS21829
6 | AVRN_BA | Generator - Decommissioned one (2.1 MW) turbine reducing availability from 90.3 to 88.2 | 22EMS21255
7 | AVRN_BA | Generator - Availability change from 120MW to 122.4 MW | 22EMS21256
8 | AZPS_BA | Generator - Update Resource ID for SLR-9 | 22EMS21113
9 | AZPS_BA | Contingency Definition - Contingency definition updated to replace DLN752 with DLN152 | 22EMS21114
10 | AZPS_BA | Transmission Line - All line names changed, spaces were replaced with _ | 22EMS21115
11 | AZPS_BA | Breaker(s)\ Disconnect(s) - Update remove / in common name for BPU02_05X | 22EMS21116
12 | AZPS_BA | Breaker(s)\ Disconnect(s) - Update Common name BB1444DX became BB1445DX | 22EMS21117
13 | AZPS_BA | Breaker(s)\ Disconnect(s) - Update remove / in common name for CT TIE26_10 | 22EMS21118
14 | AZPS_BA | Breaker(s)\ Disconnect(s) - Update remove / in common name for GBGB04_08X | 22EMS21119
15 | AZPS_BA | Breaker(s)\ Disconnect(s) - Update remove / in common name for WMK31_30X and WMK89_49X | 22EMS21120
16 | AZPS_BA | Breaker(s)\ Disconnect(s) - Update remove / in common name for EE06_10X | 22EMS21121
17 | AZPS_BA | Breaker(s)\ Disconnect(s) - Update remove / in common name for BKK68_57X | 22EMS21122
18 | AZPS_BA | Breaker(s)\ Disconnect(s) - update common name for BUL762 (now CWBKR), BUL761(now CWBSD), BUL763(now CWLSD), RDFIDs didn't change. These common names will change again in the next model | 22EMS21123
19 | AZPS_BA | Breaker(s)\ Disconnect(s) - update common name for CW562 (now BULBKR), CW561 (now BULBSD), CW563 (now BULLSD), RDFIDs didn't change. These common names will change again in the next model | 22EMS21124
20 | AZPS_BA | Transformer - Update impedance XFMR1, XFMR4 (all 3 legs) | 22EMS21125
21 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Update CH RE A MVAR from 116 to 125 | 22EMS21126
22 | AZPS_BA | Transformer - Update impedances T GT2, XFMR4, XFMR7 | 22EMS21127
23 | AZPS_BA | Transformer - Update impedances XFMR1, XFMR3 (all 3 legs) | 22EMS21128
24 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed K2425 | 22EMS21129
25 | AZPS_BA | Transformer - Update impedances XFMR2 (69KV) | 22EMS21130
26 | AZPS_BA | Transformer - Update impedences XFMR4, XFMR8, T1AA, T2AA (all 3 legs) | 22EMS21131
27 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Updated SG RE MVAR from 117 to 125 (500KV) | 22EMS21132
28 | AZPS_BA | Transformer - Update impedances XFMR1, XFMR10, XFMR4 (all 3 legs) | 22EMS21133
29 | AZPS_BA | Transformer - Update impedances XMRR12, XFMR5, XFMR8 (69KV) | 22EMS21134
30 | AZPS_BA | Transformer - Update impedances XFMR7 (all 3 legs) | 22EMS21135
31 | AZPS_BA | Transformer - Update impedances for TCT1BST1, TCT2BST2 (all 3 legs) | 22EMS21136
32 | AZPS_BA | Transformer - Update impedances for XFMR6 (all 3 legs) | 22EMS21137
33 | AZPS_BA | Substation\Load - Added sub bewtween Bullard and Coldwater | 22EMS21138
34 | AZPS_BA | Transmission Line - Updated HH-EGL line impedances and ratings | 22EMS21139
35 | AZPS_BA | Transmission Line - Added lines GB-GBD1, GB-GBD2 (zero impedance lines connecting to new battery subs) | 22EMS21140
36 | AZPS_BA | Substation\Load - Added FDR22 | 22EMS21141
37 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Added RE6 A (500KV) | 22EMS21142
38 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added DLN152, DLN651, DLN652, DLN563, DLN451, DLN556, DLN555, DLN654, DLN658 (500KV) | 22EMS21143
39 | AZPS_BA | Transmission Line - Added line CW-GYR | 22EMS21144
40 | AZPS_BA | Transmission Line - Removed Line BUL-CW | 22EMS21145
41 | AZPS_BA | Transmission Line - Added lines CTL-HYD1, CTL-HYD2 (zero impedance lines connecting to new battery subs) | 22EMS21146
42 | AZPS_BA | Transmission Line - Added lines CCR-CCRS, CCR-PLM (zero impedance lines connecting to new battery subs) | 22EMS21147
43 | AZPS_BA | Transmission Line - Added Line GYR-BUL | 22EMS21148
44 | AZPS_BA | Transmission Line - Removed Line BUL-CW | 22EMS21149
45 | AZPS_BA | Generator - Added battery generator | 22EMS21150
46 | AZPS_BA | Substation\Load - Added Sub | 22EMS21151
47 | AZPS_BA | Generator - Added battery generator | 22EMS21152
48 | AZPS_BA | Substation\Load - Added Sub | 22EMS21153
49 | AZPS_BA | Generator - Added battery generator | 22EMS21154
50 | AZPS_BA | Substation\Load - Added Sub | 22EMS21155
51 | AZPS_BA | Generator - Added battery generator | 22EMS21156
52 | AZPS_BA | Substation\Load - Added Sub | 22EMS21157
53 | AZPS_BA | Generator - Added battery generator | 22EMS21158
54 | AZPS_BA | Substation\Load - Added Sub | 22EMS21159
55 | AZPS_BA | Generator - Added battery generator | 22EMS21160
56 | AZPS_BA | Substation\Load - Added Sub | 22EMS21161
57 | AZPS_BA | Transformer - updated impedances for XFMR4 (230KV) | 22EMS21162
58 | AZPS_BA | Transformer - Updated step size from .625 to -.625 for XFMR1, XFMR2, XFMR3 (500KV) | 22EMS21163
59 | AZPS_BA | Transformer - Updated impedances for XFRM4, XFMR7 and XFMR14 all 3 legs | 22EMS21164
60 | AZPS_BA | Substation\Load - Updated Nominal voltage from 4 to 4.16 | 22EMS21165
61 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added disconnect ICCP | 22EMS21213
62 | AZPS_BA | Breaker(s)\ Disconnect(s) - Updated ICCP_Type for Breakers and Analogs | 22EMS21214
63 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added disconnect ICCP | 22EMS21215
64 | AZPS_BA | Breaker(s)\ Disconnect(s) - Updated ICCP_Type for Breakers and Analogs | 22EMS21216
65 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added disconnect ICCP | 22EMS21217
66 | AZPS_BA | Breaker(s)\ Disconnect(s) - Updated ICCP_Type for Breakers and Analogs | 22EMS21218
67 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added disconnect ICCP | 22EMS21219
68 | AZPS_BA | Breaker(s)\ Disconnect(s) - Updated ICCP_Type for Breakers and Analogs | 22EMS21220
69 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added disconnect ICCP | 22EMS21221
70 | AZPS_BA | Breaker(s)\ Disconnect(s) - Updated ICCP_Type for Breakers and Analogs | 22EMS21222
71 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added disconnect ICCP | 22EMS21223
72 | AZPS_BA | Breaker(s)\ Disconnect(s) - Updated ICCP_Type for Breakers and Analogs | 22EMS21224
73 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added disconnect ICCP | 22EMS21225
74 | BANC_BA | Transmission Line - Updated limits for these lines. | 22EMS21189
75 | BANC_BA | Substation\Load - Update Pfixed values. | 22EMS21190
76 | BANC_BA | Transformer - Updating terminal connectivity of High/Low sides. | 22EMS21191
77 | BANC_BA | Transmission Line - Addition of new lines due to addition of Codoni. | 22EMS21192
78 | BANC_BA | Generator - Update to max operating MW for NTMR | 22EMS21193
79 | BANC_BA | Breaker(s)\ Disconnect(s) - Addition of pseudo disconnects for Codoni energization. | 22EMS21194
80 | BANC_BA | Transformer - Updating transformer and tap changer attributes. | 22EMS21195
81 | BANC_BA | Substation\Load - Changes to connectivity on 115KV/12KV side of STA and removal of loads. | 22EMS21196
82 | BANC_BA | Substation\Load - Adding brand new substation to MID subgeographical region. | 22EMS21197
83 | BANC_BA | Substation\Load - English Names and Geo coordinates | 22EMS21681
84 | BANC_BA | Transmission Line - Updated line ratings. | 22EMS21682
85 | BANC_BA | Transmission Line - Added new transmission lines for new STG station and adjoining stations. | 22EMS21683
86 | BANC_BA | Breaker(s)\ Disconnect(s) - Added new disconnects and breakers for new STG station and adjoining stations. | 22EMS21684
87 | BANC_BA | Transformer - Added new transfomers at new station STG. | 22EMS21685
88 | BANC_BA | Substation\Load - Added new substation and loads. | 22EMS21686
89 | BCHA_RC | Generator - updated operational parameter | 22EMS21171
90 | BCHA_RC | Generator - updated operational parameter | 22EMS21172
91 | BCHA_RC | Generator - updated operational parameter | 22EMS21173
92 | BCHA_RC | Generator - Added | 22EMS21174
93 | BCHA_RC | Generator - Added | 22EMS21175
94 | BCHA_RC | Generator - Added | 22EMS21176
95 | BCHA_RC | Transmission Line - Deleted | 22EMS21177
96 | BCHA_RC | Substation\Load - Added | 22EMS21178
97 | BCHA_RC | Substation\Load - Added | 22EMS21179
98 | BCHA_RC | Substation\Load - Added | 22EMS21180
99 | BCHA_RC | Transformer - Added | 22EMS21181
100 | BCHA_RC | Transmission Line - Added | 22EMS21182
101 | BCHA_RC | Transmission Line - Added | 22EMS21183
102 | BCHA_RC | Transmission Line - Added | 22EMS21184
103 | BCHA_RC | Transformer - Added | 22EMS21185
104 | BCHA_RC | Transmission Line - Added | 22EMS21186
105 | BCHA_RC | Equipment Type - Updated ICCP | 22EMS21187
106 | BCHA_RC | Transmission Line - Removal 60L70_2 | 22EMS21845
107 | BCHA_RC | Substation\Load - Removal YMR substation | 22EMS21846
108 | BCHA_RC | Generator - update generator S | 22EMS21847
109 | BCHA_RC | Generator - update generator maxQ | 22EMS21848
110 | BCHA_RC | Transformer - update transformer parameter | 22EMS21849
111 | BCHA_RC | Equipment Type - Updated ICCP | 22EMS21850
112 | BPA | Tag switch 52T2 as UCON at BLUERDGE substation in UMAT (BPA) | 22EMS21997
113 | BPAT_BA | RAS - Added future ICCP arming points for future MAUPIN RAS scheme. | 21EMS20643
114 | BPAT_BA | RAS - Added a completley new loca RAS for Valhalla. | 21EMS20644
115 | BPAT_BA | RAS - Added new gen drop for Lund Hill and Montague 2 generator to DC RAS. | 21EMS20645
116 | BPAT_BA | RAS - Added new gen drop for Lund Hill generator to AC RAS. | 21EMS20646
117 | BPAT_BA | RAS - Added a completley new loca RAS for Maupin. | 22EMS20851
118 | BPAT_BA | RAS - Added a completley new loca RAS for Maupin. | 22EMS20852
119 | BPAT_BA | Substation\Load - Corrected the model | 22EMS21237
120 | BPAT_BA | Substation\Load - Corrected the model | 22EMS21238
121 | BPAT_BA | Substation\Load - Corrected the model | 22EMS21239
122 | BPAT_BA | Substation\Load - Cleared jumpers. | 22EMS21240
123 | BPAT_BA | Substation\Load - Corrected the model | 22EMS21241
124 | BPAT_BA | Substation\Load - Inserted jumpers. | 22EMS21242
125 | BPAT_BA | Substation\Load - Corrected the model | 22EMS21243
126 | BPAT_BA | Substation\Load - Corrected the model | 22EMS21244
127 | BPAT_BA | Substation\Load - Corrected the model | 22EMS21245
128 | BPAT_BA | Substation\Load - Corrected the model | 22EMS21246
129 | BPAT_BA | Substation\Load - Remodeled 230kV bus at MAUPIN | 22EMS21247
130 | BPAT_BA | Transmission Line - Added a new tie line from MAUPIN (BPA) to new BRICKOVN (AVRN) | 22EMS21248
131 | BPAT_BA | Substation\Load - Added a new load station | 22EMS21249
132 | BPAT_BA | Contingency Definition - BPA Contingency List | 22EMS21250
133 | BPAT_BA | Substation\Load - Inserted jumpers DSC JMP_NORTH, JMP_SOUTH | 22EMS21492
134 | BPAT_TOP | Transmission Line - Update Item Number 6.23 | 22EMS21458
135 | CHPD_BA | Transmission Line - Anderson Canyon to Leavenworth #1 rating decrease due to conductor and Rocky Reach Switchyard to Rocky Reach Powerhouse line 3-4 decrease due to relay settings. | 22EMS21106
136 | GCPD_BA | Transmission Line - CAISO requested information about specific transmission lines or segments in GCPD's system. CAISO provided the uploaded spreadsheet. I have completed the spreadsheet with the information that I have available to me. | 22EMS20919
137 | IPCO_BA | Substation\Load - Addition - Distribution feeder breakers and load modeling | 22EMS21199
138 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 22EMS21200
139 | IPCO_BA | - CIM export of IPCO_BA FNM. | 22EMS21201
140 | LDWP | SCA_GS, OLY_LA,HYP_TT | 22EMS22069
141 | LDWP_BA | Transmission Line - Valley-Rinaldi Reconductor Victorville Bank K Relocation | 22EMS21251
142 | LDWP_BA | Transformer - Update Ratings for Transformers at Toluca,Valley, Olympic, Victorville | 22EMS21252
143 | LDWP_BA | Substation\Load - Update Eland 1 Measurements | 22EMS21253
144 | LDWP_BA | Substation\Load - Update Eland 1 Measurements | 22EMS21254
145 | NEVP_TOP | Shoofly Install\ Removal - Shoofy instal between 625 breaker and XFMR#3 | 22EMS21202
146 | NEVP_TOP | Transmission Line - New 120 kV line from North Star to North Truckee | 22EMS21203
147 | NEVP_TOP | Substation\Load - Uprating bus to 120 kV | 22EMS21204
148 | NEVP_TOP | Substation\Load - Uprating bus to 120 kV | 22EMS21205
149 | NEVP_TOP | Transformer - New 345kV/120kV transfromer | 22EMS21206
150 | NEVP_TOP | Substation\Load - New 120kV yard at West Tracy | 22EMS21207
151 | NEVP_TOP | Substation\Load - New 120kV/60 kV substation | 22EMS21208
152 | NEVP_TOP | Substation\Load - Removal of NC TAP; Replaced by WASSUK Switching Station | 22EMS21209
153 | NEVP_TOP | Substation\Load - Addition of Wassuk Switching Station between Fort Churchill and Thorne | 22EMS21210
154 | NWMT_BA | Breaker(s)\ Disconnect(s) - Addition of new bay at ALKALI_C; new contingency definition | 22EMS21718
155 | NWMT_BA | Breaker(s)\ Disconnect(s) - Addition of several switches at S_BUTTE and bank rating increase; new contingency definitions | 22EMS21719
156 | NWMT_TOP | Transmission Line - Updated line RXBs, Added removed switches see Description of Changes | 22EMS21170
157 | PACW | LEWISCLA 115 AS 2A7 (Internal tracking before TOP submit CIM) | 22EMS20954
158 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove SW 2G101 | 22EMS20955
159 | PAC_TOP | Substation\Load - Add 115kV ring bus and 1 Load | 22EMS20956
160 | PAC_TOP | Substation\Load - Add new substation | 22EMS20957
161 | PAC_TOP | Substation\Load - Add new substation | 22EMS20958
162 | PAC_TOP | Substation\Load - Add 1 S BUS, 2 devices (MO 3D201 and TR 3D202) and 1 load (XFMR 2) | 22EMS20959
163 | PAC_TOP | Breakers/Disconnects - Update SCADA key for MOAB 3W191 | 22EMS20960
164 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove SW 2M5 | 22EMS20961
165 | PAC_TOP | Substation\Load - Add load measurements | 22EMS21368
166 | PAC_TOP | Substation\Load - Add load measurements | 22EMS21369
167 | PAC_TOP | Breakers/Disconnects - Remove AS 2A18 | 22EMS21370
168 | PAC_TOP | Breaker(s)\ Disconnect(s) Breakers/Disconnects Substation\Load Substation\Load - Change normal state for SW 2A7 to Open | 22EMS21371
169 | PAC_TOP | Transmission Line - Remove branch RIGBY_ROBERTS_69. Update normal state for CB 71 to Open | 22EMS21372
170 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state for CB 5H30 to Open | 22EMS21373
171 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state for ABS 42A to Open | 22EMS21374
172 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal states for CB 170 and AS 170-1 to Open | 22EMS21375
173 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update device names for CB 140 and CB 143 | 22EMS21376
174 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove SW F1110 | 22EMS21377
175 | PAC_TOP | Transmission Line - Remove SW F1108 and SANDCREE_UCON_69 branch | 22EMS21378
176 | PAC_TOP | Transmission Line - Update line impedance for Pine Canyon line | 22EMS21379
177 | PAC_TOP | Transmission Line - Add Ben Lomond lines 1 and 2 measurements | 22EMS21380
178 | PAC_TOP | Substation\Load - Add MVAR load measurement | 22EMS21381
179 | PAC_TOP | Transmission Line - Add Parowan and West Cedar Line measurements. | 22EMS21382
180 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update SW names from 141A to J1945, from 139A to J1943, and 140A to J1944 | 22EMS21383
181 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove MO 123A, MO 120A, and SW 121A | 22EMS21384
182 | PGE_BA | Substation\Load - Move the Mobile 5 to Middle Grove station (less than 5MW for emergency maintenance purpose) | 22EMS21032
183 | PGE_BA | RAS - RAS screenshot | 22EMS21033
184 | PGE_BA | - List of ICCP points mapping | 22EMS21034
185 | PGE_BA | - Model Difference report | 22EMS21035
186 | PGE_BA | - Model Updates for PGE: CIMxml model file | 22EMS21036
187 | PNM_BA | Breaker(s)\ Disconnect(s) - added switch 52663 | 22EMS21107
188 | PNM_BA | Breaker(s)\ Disconnect(s) - removed a decommisioned switch 13165 | 22EMS21108
189 | PNM_BA | Transformer - Removed a decommisioned Transformer from the model | 22EMS21109
190 | PNM_BA | Generator - updated the Pmin of the unit from 0 MW to -21 MW | 22EMS21477
191 | PNM_BA | Generator - updated the Pmin of the unit from 0 MW to -150 MW | 22EMS21478
192 | PNM_BA | CIM Model Export - | 22EMS21717
193 | PNM_BA | ICCP_SCADA_Mapping_JANPA345 | 22EMS22188
194 | PSCO_TOP | West Station-Pueblo West Tap 115kV line rating update | 22EMS21633
195 | SCL | SCL RegulatingControl Updates | 22EMS21680
196 | SMUD | PLACVL_1_CHILIB convert from RTU telem to SMUD ICCP | 22EMS21538
197 | SNPD_TOP | Shoofly Install\ Removal - Install a shoofly to bypass Edgecomb Substation | 22EMS20902
198 | SNPD_TOP | Shoofly Install\ Removal - Install a shoofly to bypass Edgecomb Substation | 22EMS20949
199 | SNPD_TOP | Generator - ICCP voltage points for Jackson Unit 1 and Unit 2 | 22EMS20991
200 | SRP | Update SRP switches default status | 22EMS21632
201 | SRP_BA | Transmission Line - Added and removed contingency definitions | 22EMS21037
202 | SRP_BA | Transmission Line - Added new line limits | 22EMS21038
203 | SRP_BA | Transmission Line - Added new line limits | 22EMS21039
204 | SRP_BA | Breaker(s)\ Disconnect(s) - Updated switch name from D 69 350 to D 69 341 | 22EMS21040
205 | SRP_BA | Breaker(s)\ Disconnect(s) - Removed temporary switch | 22EMS21041
206 | SRP_BA | Breaker(s)\ Disconnect(s) - Removed temporary switch | 22EMS21042
207 | SRP_BA | Breaker(s)\ Disconnect(s) - Removed temporary switches | 22EMS21043
208 | SRP_BA | Breaker(s)\ Disconnect(s) - Removed 69kv breaker and temporary switches | 22EMS21044
209 | SRP_BA | Transmission Line - Removed 230kV line to WAPA's 230kV Navajo station | 22EMS21045
210 | SRP_BA | Breaker(s)\ Disconnect(s) - Added 69kV breakers and switches | 22EMS21046
211 | SRP_BA | Transformer - Added new transformer | 22EMS21047
212 | SRP_BA | Transmission Line - Updated line termination of 69kV line swap between Noack and Salt Gila lines. | 22EMS21048
213 | SRP_BA | Breaker(s)\ Disconnect(s) - Added breakers, disconnectors and temporary switches for 69kV bus split project | 22EMS21049
214 | SRP_BA | Transmission Line - Added Limits | 22EMS21898
215 | SRP_BA | Transmission Line - Added Limits | 22EMS21899
216 | SRP_BA | Breaker(s)\ Disconnect(s) - Deleted 69kV Temporary Switch | 22EMS21902
217 | SRP_BA | Breaker(s)\ Disconnect(s) - Deleted 69kV Temporary Switch | 22EMS21903
218 | SRP_BA | Breaker(s)\ Disconnect(s) - Deleted 69kV Breaker, Temporary Switches | 22EMS21904
219 | SRP_BA | Transformer - Added New Transformer at Bay 3 | 22EMS21905
220 | SRP_BA | Transformer - Added New Transformer at Bay 1 | 22EMS21906
221 | SRP_BA | Breaker(s)\ Disconnect(s) - Added 230kV Breakers and Switches | 22EMS21907
222 | SRP_BA | Breaker(s)\ Disconnect(s) - Added 230kV Breakers and Switches | 22EMS21908
223 | TEP | Update the non-TEP substations to be consistent with TEP ties lines. | 22EMS22114
224 | TEP | Tag the following breakers as UCON for TEPC: '_158ca412-6eef-4449-b418-14bbcad05461', '_c2e87a24-de49-4bb4-becf-1ac559910deb' | 22EMS22118
225 | TEPC_TOP | Substation\Load - Corrected for all missing tie lines to match TEP ties not previously represented (PNM SPVL_3 share, SRP SPVL_3 and SPVL_4 shares, Monsanto, Coronado-STJ, Linden, Showlow AAX, Showlow VEX, Zeniff, Boundarycone, M6-HarrisNucor, North Havasu T3, Round Valley) | 22EMS21765
226 | TEPC_TOP | Substation\Load - Replaced Navopache station and tie with load inside Springerville | 22EMS21766
227 | TEPC_TOP | Substation\Load - Corrected various transformer ratings (R, X, B, MW and voltage ratings) | 22EMS21767
228 | TEPC_TOP | Substation\Load - Update of high and low limits on various generators | 22EMS21768
229 | TEPC_TOP | Substation\Load - Assigned and corrected status and analog keys to devices that had been missing or wrong (various stations) | 22EMS21769
230 | TEPC_TOP | Substation\Load - North Havasu, Black Mesa, Hilltop stations appropriately split into TEP side and WAPA side. | 22EMS21770
231 | TSGT_TOP | Transmission Line - Multiple Ratings Updates | 22EMS20840
232 | TSGT_TOP | Breaker(s)\ Disconnect(s) - Correct status of Disc 269 to N.O. | 22EMS21003
233 | TSGT_TOP | Breaker(s)\ Disconnect(s) - Add existing CB 662 to CAISO model for accuracy | 22EMS21004
234 | TSGT_TOP | Transmission Line - Multiple Ratings Updates | 22EMS21112