## Revision_History
FNM Scope for FNM DB22M6
(Production 6/15/2022)
Revision History
Effective Date | Version | Description
2022-04-07 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
2022-06-13 | 2 | Add additional information
California ISO – Public

## NRI
I. NRI Projects
No | PTO | Resource ID | Project Name / Description | Project Key | Capacity (MW) | POD | Additional Information
1 | PGAE | SJOAQN_6_NFCBM1 | North Fork Community Power | 21GEN18529 | 2 | Helm 70 kV Bus | New Conventional resource
2 | SCE | CENTPD_2_BMSSX2 | Blythe Mesa Solar | 10AS664229 | 223.6 | Colorado River 230 kV Bus | New Non-Generation aggregate resource with two child units: CENTPD_2_BMSSR1, 111.8 MW; CENTPD_2_BMSSR2, 111.8 MW
3 | SCE | SISPRG_2_DS3SR1 | Daggett Solar 3 a PV | 21GEN19971 | 123 | Cool Water 230 kV Bus | New Solar resource
4 | SCE | SISPRG_2_DS3SR2 | Daggett Solar 3 b PV | 21GEN19973 | 110 | Cool Water 230 kV Bus | New Solar resource
5 | SCE | SISPRG_2_DS3SR3 | Daggett Solar 3 cd PV | 21GEN19975 | 50 | Cool Water 230 kV Bus | New Solar resource
6 | SCE | SISPRG_2_DS3SR4 | Daggett Solar 3 e PV | 21GEN19979 | 17 | Cool Water 230 kV Bus | New Solar resource
7 | SCE | CHINO_2_PESBT1 | Pomona Energy Storage 2 | 21NGR19884 | 20 | Chino 230 kV Bus | New Storage resource
8 | SCE | SISPRG_2_DS3BT1 | Daggett Solar 3 a BESS | 21NGR19972 | 61.5 | Cool Water 230 kV Bus | New Storage resource
9 | SCE | SISPRG_2_DS3BT2 | Daggett Solar 3 b BESS | 21NGR19974 | 60 | Cool Water 230 kV Bus | New Storage resource
10 | SCE | SISPRG_2_DS3BT3 | Daggett Solar 3 cd BESS | 21NGR19978 | 12.5 | Cool Water 230 kV Bus | New Storage resource
11 | SCE | SISPRG_2_DS3BT4 | Daggett Solar 3 e BESS | 21NGR19980 | 15 | Cool Water 230 kV Bus | New Storage resource
12 | SCE | CLAP_CRMBT2_LOAD | Crimson 2 CLAP | 22CLAP21548 | 3 |  | New Custom LAP resource
13 | SCE | CLAP_CRMBT1_LOAD | Crimson 1 CLAP | 22CLAP21549 | 3 |  | New Custom LAP resource
14 | SCE | SUNCAT_2_A2BSR2 | Arlington Solar Unit 2B | 22GEN20983 | 133 | Colorado River 230 kV Bus | New Solar resource
15 | SCE | KRAMER_1_R1PX3 | Resurgence 1 PV | 22GEN21471 | 90 | Kramer 115 kV Bus | New aggregate resource with three child units: KRAMER_1_R1PSR1, 30 MW; KRAMER_1_R1PSR2, 30 MW; KRAMER_1_R1PSR3, 30 MW
16 | SCE | SUNCAT_2_A1ABT1 | Arlington Solar Unit 1A BESS | 22NGR21315 | 47 | Colorado River 230 kV Bus | New Non-Generation resource
17 | SCE | SUNCAT_2_A1BBT1 | Arlington Solar Unit 1B BESS | 22NGR21316 | 63 | Colorado River 230 kV Bus | New Non-Generation resource
18 | SCE | SUNCAT_2_A2ABT2 | Arlington Solar Unit 2A BESS | 22NGR21317 | 132 | Colorado River 230 kV Bus | New Non-Generation resource
19 | SCE | KRAMER_1_R1BX3 | Resurgence 1 BESS | 22NGR21409 | 75 | Kramer 115 kV Bus | New aggregate resource with three child units: KRAMER_1_R1BBT1, 25 MW; KRAMER_1_R1BBT2, 25 MW; KRAMER_1_R1BBT3, 25 MW;
20 |  |  | Puente Hills RIG Upgrade IRG101 | 22RIG20859 | 50 |  | RIG Reconfiguration
21 |  |  | Calabasas RIG Upgrade IDG078 | 22RIG20860 | 6 |  | RIG Reconfiguration
22 |  |  | CALGEN_1_UNITSNavy 1, NAVYII_2_UNITSNavy 2, BLM_2_UNITSBLM East, BLM_2_UNITSBLM West | 22RIG20909 | 60 |  | RIG Reconfiguration
23 |  |  | Rio Bravo Hydro (IRG415) | 22RIG21024 | 14 |  | RIG Reconfiguration
24 |  |  | GWFPWR | 22RIG21088 | 98 |  | RIG Reconfiguration
25 |  |  | HENRTA | 22RIG21089 | 98 |  | RIG Reconfiguration
26 |  |  | MSTANG_2_SOLAR | 22RIG21275 | 100 |  | RIG Reconfiguration
27 |  |  | ESJ WIND ENERGY | 22RIG21303 | 151 |  | RIG Reconfiguration
28 |  |  | CP Kelco Cogeneration Facility | 22RIG21459 | 20 |  | RIG Reconfiguration
29 |  |  | Pacific Wind, LLC | 22RIG21571 | 140 |  | RIG Reconfiguration
30 |  |  | Catalina Solar, LLC | 22RIG21572 | 109.44 |  | RIG Reconfiguration
31 |  |  | Shiloh II Wind, LLC | 22RIG21573 | 150 |  | RIG Reconfiguration
32 |  |  | Shiloh IV Wind, LLC | 22RIG21574 | 100 |  | RIG Reconfiguration
33 |  |  | EDF LABRISA WIND, LLC | 22RIG21575 | 9 |  | RIG Reconfiguration

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | GLW | 22TRANS21353 | Trout Canyon 230kV SS | ET4941
2 | GLW | 22TRANS21353 | Trout Canyon 230kV SS | ET4942
3 | GLW | 22TRANS21353 | Trout Canyon 230kV SS | ET4943
4 | GLW | 22TRANS21353 | Trout Canyon 230kV SS | ET4944
5 | GLW | 22TRANS21353 | Trout Canyon 230kV SS | ET4945
6 | GLW | 22TRANS21353 | Trout Canyon 230kV SS | ET4946
7 | GLW | 22TRANS21353 | Trout Canyon 230kV SS | ET4947
8 | GLW | 22TRANS21353 | Trout Canyon 230kV SS | ET4948
9 | GLW | 22TRANS21353 | Trout Canyon 230kV SS | ET4949
10 | GLW | 22TRANS21353 | Trout Canyon 230kV SS | ET4950
11 | GLW | 22TRANS21353 | Trout Canyon 230kV SS | ET4951
12 | GLW | 22TRANS21353 | Trout Canyon 230kV SS | ET4952
13 | GLW | 22TRANS21353 | Trout Canyon 230kV SS | ET4953
14 | GLW | 22TRANS21353 | Trout Canyon 230kV SS | ET4954
15 | GLW | 22TRANS21353 | Trout Canyon 230kV SS | ET4955
16 | GLW | 22TRANS21353 | Trout Canyon 230kV SS | ET4956
17 | GLW | 22TRANS21353 | Trout Canyon 230kV SS | ET4984
18 | PGAE | 17TRANS6452 | Rio Oso: Rebuild Substation | ET3253
19 | PGAE | 19TRANS8498 | Scarlet Solar | ET4245
20 | PGAE | 22TRANS21598 | Dunnigan Mobile Bank PH 2 | ET4976
21 | PGAE | 22TRANS21598 | Dunnigan Mobile Bank PH 2 | ET4977
22 | PGAE | 22TRANS21598 | Dunnigan Mobile Bank PH 2 | ET4978
23 | PGAE | 22TRANS21622 | Install Bank 3 at Pueblo Substation | ET4983
24 | PGAE | 22TRANS21622 | Install Bank 3 at Pueblo Substation | ET4998
25 | PGAE | 22TRANS21753 | Drum-Higgins Span Replacement Project | ET4991
26 | SCE | 20TRANS14106 | SCE Centralized Remedial Action Scheme (CRAS) | ET4515
27 | SCE | 20TRANS14106 | SCE Centralized Remedial Action Scheme (CRAS) | ET4518
28 | SDGE | 17TRANS6484 | TL6926 Wood-to-Steel | ET3309
29 | SDGE | 21TRANS20256 | Kettner (KET) Rebuild | ET4811

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | AZPS_BA | Breaker(s)\ Disconnect(s) - Update switching field name (12KV) | 22EMS21785
2 | AZPS_BA | Breaker(s)\ Disconnect(s) - Updated some equipment/common names (12KV) | 22EMS21786
3 | AZPS_BA | Substation\Load - Updated various substation alias/English names | 22EMS21787
4 | AZPS_BA | Breaker(s)\ Disconnect(s) - Update equipment name for switches on line to Goodyear (69KV) | 22EMS21788
5 | AZPS_BA | Breaker(s)\ Disconnect(s) - Update equipment name for switches on line to Goodyear (69KV) | 22EMS21789
6 | AZPS_BA | Substation\Load - Updated nominal voltage from 12.47 to 34.5 | 22EMS21790
7 | AZPS_BA | Generator - Added Gen1 and Gen2 | 22EMS21791
8 | AZPS_BA | Substation\Load - Added 69KV substation | 22EMS21792
9 | AZPS_BA | Transmission Line - Added lines YUT-YU1, YUT-YU2 (lines to temporary summer generation) | 22EMS21793
10 | AZPS_BA | Substation\Load - Added 12KV station | 22EMS21794
11 | AZPS_BA | Transformer - Updated EBAUX, WBAUX impedances (6.9KV) | 22EMS21795
12 | AZPS_BA | Transformer - Updated XFMR1, XFMR3 step size | 22EMS21796
13 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added naSLR10, naSLR9 ficticious switching fields to indicate solar gen status (12KV) | 22EMS21797
14 | AZPS_BA | Substation\Load - Added Feeder4 | 22EMS21798
15 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added naSLR2 ficticious switching field to indicate solar gen status (12KV) | 22EMS21799
16 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added U8170 (115KV) | 22EMS21800
17 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed K8170 (115KV) | 22EMS21801
18 | AZPS_BA | Transformer - Updated XFMR1 step size | 22EMS21802
19 | AZPS_BA | Transmission Line - SL-SLX line added (69KV) | 22EMS21803
20 | AZPS_BA | Transformer - Updated XFMR1 to 3 winding | 22EMS21804
21 | AZPS_BA | Transformer - Updated T1AA A, T2AA A impedances | 22EMS21805
22 | AZPS_BA | Transformer - Updated XFMR1, XFMR10, XFMR4 high side step size | 22EMS21806
23 | AZPS_BA | Breaker(s)\ Disconnect(s) - Changed 1361 from fuse to disconnect | 22EMS21807
24 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed K6418 (69KV) | 22EMS21808
25 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Added CB22 A, CB24 A MVAR 14.2 | 22EMS21809
26 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added CB22, CB24, T13-1561, T13H, XFMRT13H | 22EMS21810
27 | AZPS_BA | Transformer - Added XFMR13 | 22EMS21811
28 | AZPS_BA | Substation\Load - Added feeder 13 | 22EMS21812
29 | AZPS_BA | Substation\Load - Added feeder 23 | 22EMS21813
30 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added naSLR13 ficticious switching field to indicate solar gen status (12KV) | 22EMS21814
31 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added naSLR1 ficticious switching field to indicate solar gen status (12KV) | 22EMS21815
32 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added naSLR13, naSLR20 ficticious switching fields to indicate solar gen status (12KV) | 22EMS21816
33 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added naSLR5, naSLR9 ficticious switching fields to indicate solar gen status (12KV) | 22EMS21817
34 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added naSLR12, naSLR4 switching field added (12KV) | 22EMS21818
35 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added naSLR1 ficticious switching field to indicate solar gen status (12KV) | 22EMS21819
36 | AZPS_BA | Generator - Updated Dcurve endpoints | 22EMS21820
37 | AZPS_BA | Transformer - Updated XFMR4 A and XFMR7 A impedances (14.4KV) | 22EMS21821
38 | AZPS_BA | Generator - Updated GT4 A, GT6 A PMAX to 104 | 22EMS21822
39 | AZPS_BA | Generator - Updated GT5 A, GT7 A PMAX to 105 | 22EMS21823
40 | AZPS_BA | Generator - Updated GT3 A PMAX to 107 | 22EMS21824
41 | AZPS_BA | Transformer - update AUX T1, AUX T2, STNAUXT1, STNAUXT2 impedances | 22EMS21825
42 | AZPS_BA | Substation\Load - remove 12KV portion of station | 22EMS21826
43 | AZPS_BA | Transformer - update transformer ratings at multiple stations | 22EMS21827
44 | BPAT_BA | Breaker(s)\ Disconnect(s) - Added new switches DSCs. | 22EMS21886
45 | BPAT_BA | RAS - BPA Western Montana Hight/Low RAS additions | 22EMS21887
46 | BPAT_BA | Generator - BPA Dynamic generator model mapping | 22EMS21888
47 | BPAT_BA | Contingency Definition - BPA Contingency List | 22EMS21889
48 | BPAT_BA | RAS - Additional load trips added to BPA Morrow Flat local RAS scheme. | 22EMS21909
49 | BPAT_BA | Substation\Load - Added new bays with PCBs and Disconnectors. | 22EMS21935
50 | BPAT_BA | Breaker(s)\ Disconnect(s) - Fixed PCB and Switch types at Fairview. | 22EMS22167
51 | BPAT_BA | Shoofly Install\ Removal - Install a shoo-fly to bypass | 22EMS22168
52 | BPAT_BA | Shoofly Install\ Removal - Install a shoo-fly to bypass | 22EMS22169
53 | BPAT_BA | Shoofly Install\ Removal - Install a shoo-fly to bypass | 22EMS22170
54 | BPAT_TOP | Transmission Line - Update Item Number 6.23 | 22EMS21783
55 | BPAT_TOP | Transmission Line - Update Item Number 6.8.1 | 22EMS22020
56 | CEN_BA | Generator - addition Generating units | 22EMS21601
57 | CEN_BA | Generator - addition Generating units | 22EMS21602
58 | CEN_BA | Generator - addition Generating units | 22EMS21603
59 | CEN_BA | Generator - addition Generating units | 22EMS21604
60 | CHPD_BA | - List of CHPD Psuedo-ties and dynamic schedules. Addition of Wanapum Dam-Rock Island Dam Encroachment ICCP Point number W021_WAN_RI_ENCROACHMENT | 22EMS21721
61 | CHPD_BA | - This submittal list to comply with IRO-010 Req. 6.16 of all CHPD's pseudo ties and jointly owned units by the owner BA. This list also contains CHPD's dynamic schedules. The only new dynamic schedule ICCP point being sent to CAISO is the W021_WAN_RI_ENCROACHMENT. Please see 2022-03-09 CHPD Dynamic Transfers.xlsx | 22EMS21722
62 | CHPD_BA | Generator - Updates to multiple CHPD generators' dynamics modeling data. Please apply .dyd file to model | 22EMS21723
63 | CHPD_BA | Generator - Updates to multiple CHPD generators' dynamics modeling data. Please apply .dyd file to model | 22EMS21724
64 | CHPD_BA | Transmission Line - Rocky Reach Switchyard to Rocky Reach Powerhouse 7-8-9 rating increase due to CT ratio increase. | 22EMS21860
65 | CHPD_BA | Transmission Line - Update: Relay setting updates for Chelan - Manson line increasing ratings for Chelan Switchyard to Chelan Substation | 22EMS21923
66 | EPEC | Model Correction: EMPIRE_W | 22EMS22230
67 | HHWP_TOP | Substation\Load - Update HHWP Substation data to include RDFID per IRO-010 6.13 | 22EMS21388
68 | IID | Update Impedance paraemters for Coachella 230/92kV banks #1 and #2 | 22EMS22223
69 | IID_BA | Generator - Add 20MW PV Gen Resrce @ 92kv KLine | 22EMS21771
70 | IID_TOP | Transmission Line - 161kV Pilot Knob-Knob "D" line derate to 147MVA | 22EMS21385
71 | IPCO_BA | Substation\Load - New distribution station (FTLD), distribution feeders and load modeling. | 22EMS21861
72 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 22EMS21862
73 | IPCO_BA | - CIM export of IPCO_BA FNM. | 22EMS21863
74 | MID_TOP | STF | 22EMS22002
75 | NEVP_TOP | Transmission Line - NEW LINE BETWEEN LARSON/MAGNOLIA | 22EMS21864
76 | NEVP_TOP | Transmission Line - NEW LINE BETWEEN PEBBLE/FORD/BURNHAM | 22EMS21865
77 | NEVP_TOP | Transmission Line - NEW LINE BETWEEN PEBBLE/FORD/BURNHAM | 22EMS21866
78 | NEVP_TOP | Transmission Line - NEW LINE BETWEEN PEBBLE/FORD/BURNHAM | 22EMS21867
79 | NEVP_TOP | Transmission Line - NEW TIE LINE BETWEEN NEVP AND IPC | 22EMS21868
80 | NEVP_TOP | Breaker(s)\ Disconnect(s) - NEW BREAKERS | 22EMS21869
81 | NEVP_TOP | Breaker(s)\ Disconnect(s) - NEW BREAKERS | 22EMS21870
82 | NEVP_TOP | Breaker(s)\ Disconnect(s) - NEW BREAKERS | 22EMS21871
83 | NEVP_TOP | Breaker(s)\ Disconnect(s) - EIM BREAKERS FOR LINE FOLD | 22EMS21872
84 | NEVP_TOP | Breaker(s)\ Disconnect(s) - EIM BREAKERS FOR LINE FOLD | 22EMS21873
85 | NEVP_TOP | Breaker(s)\ Disconnect(s) - EIM BREAKERS FOR LINE FOLD | 22EMS21874
86 | NEVP_TOP | Breaker(s)\ Disconnect(s) - EIM BREAKERS FOR LINE FOLD | 22EMS21875
87 | NEVP_TOP | Breaker(s)\ Disconnect(s) - EIM BREAKERS FOR LINE FOLD | 22EMS21876
88 | NEVP_TOP | Breaker(s)\ Disconnect(s) - EIM BREAKERS FOR LINE FOLD | 22EMS21877
89 | NEVP_TOP | Breaker(s)\ Disconnect(s) - EIM BREAKERS FOR LINE FOLD/NEW BREAKER ICCP IDS | 22EMS21878
90 | NEVP_TOP | Breaker(s)\ Disconnect(s) - EIM BREAKERS FOR LINE FOLD | 22EMS21879
91 | NEVP_TOP | Breaker(s)\ Disconnect(s) - EIM BREAKERS FOR LINE FOLD | 22EMS21880
92 | NEVP_TOP | Breaker(s)\ Disconnect(s) - EIM BREAKERS FOR LINE FOLD | 22EMS21881
93 | NEVP_TOP | Breaker(s)\ Disconnect(s) - EIM BREAKERS FOR LINE FOLD | 22EMS21882
94 | NEVP_TOP | Breaker(s)\ Disconnect(s) - EIM BREAKERS FOR LINE FOLD | 22EMS21883
95 | NEVP_TOP | Breaker(s)\ Disconnect(s) - EIM BREAKERS FOR LINE FOLD | 22EMS21884
96 | NEVP_TOP | Generator - RESOURCE ID FOR ARROW CANYON | 22EMS21885
97 | PACE | Update two DSCs to CBs per PAC 02092022 Model | 22EMS21342
98 | PACW | Default status for SW: ALDERWOO 69 MO 3P92 | 22EMS22058
99 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update name for CB from 2M76 to 2M211. Update connectivity for Crowfoot line. | 22EMS21944
100 | PAC_TOP | Breaker(s)\ Disconnect(s) - Change name of station to CEDRVLJ$. Rename 2 S-buses, 8 devices, 2 branches, 1 XFMR, and 1 load. Fix SCADA mapping for B1204 bus disc and line disc | 22EMS21945
101 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove 1 branch (PARKROSE_VERNON_115) | 22EMS21946
102 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update name for T1230 to T3 and update impedance | 22EMS21947
103 | PAC_TOP | Breaker(s)\ Disconnect(s) - Added modelling jumpers | 22EMS22166
104 | PGE_BA | Substation\Load - Double modeled the direct connection between Knott and St Johns to by-pass Northern 57kV yard. Northern 57kV will be removed later. | 22EMS21694
105 | PGE_BA | Substation\Load - Clean up the removed part of Orenco station | 22EMS21695
106 | PGE_BA | Substation\Load - Clean up the double modeling at the ESUB, Wacker and Willbridge area. | 22EMS21696
107 | PGE_BA | Substation\Load - Remove the line switch 5907 and associated tap stations | 22EMS21697
108 | PGE_BA | Breaker(s)\ Disconnect(s) - Correct the Line switch 11538 loaction on the line between STMW and WUNI at the Oak Hill station | 22EMS21698
109 | PGE_BA | Breaker(s)\ Disconnect(s) - Remove the line switch 5895 at Hillsboro T1 | 22EMS21699
110 | PGE_BA | Transmission Line - Fix the topology discrepency on Orenco station and add the 3-terminal line Butler-Orenco-Roseway 115kV line in the FNM. Refer to CIDI #00247548 | 22EMS21700
111 | PGE_BA | Breaker(s)\ Disconnect(s) - Remove line switch 5707 at Brookwood T1 | 22EMS21701
112 | PGE_BA | Breaker(s)\ Disconnect(s) - Add missed N.O. line switch 11558 at Fairview station | 22EMS21702
113 | PGE_BA | RAS - RAS screenshot | 22EMS21703
114 | PGE_BA | - List of ICCP points mapping | 22EMS21704
115 | PGE_BA | - Model Difference report | 22EMS21705
116 | PGE_BA | - Model Updates for PGE: CIMxml model file | 22EMS21706
117 | PGE_TOP | Default breaker statues for CB W402_ORNC MRHL DIS PSD001_MRHL | 22EMS22564
118 | PSE | Moving the connection for two JOU tie lines to fix issues identified in CIDI ticket 244907 | 22EMS22226
119 | PSEI_BA | - ICCP list | 22EMS21386
120 | PSEI_BA | - full CIM model | 22EMS21387
121 | SCL_BA | Generator - Modified gen voltage control bus from low-side to high-side of step-up transformers. Various MVA season ratings updates. | 22EMS22115
122 | SRP_BA | Contingency Definition - Added Contingency Definitions | 22EMS21896
123 | SRP_BA | Contingency Definition - Updated Contingency Definitions | 22EMS21897
124 | SRP_BA | Contingency Definition - Updated Contingency Definitions | 22EMS21901
125 | TPWR_BA | - TPWR Facility Ratings | 22EMS21528
126 | TPWR_BA | - TPWR Facility Ratings | 22EMS21531
127 | TPWR_BA | - | 22EMS21539
128 | TPWR_BA | - ICCP Mapping file associated with V12 CIM file | 22EMS22258
129 | TPWR_BA | - ICCP Mapping file associated with V12 CIM file | 22EMS22259
130 | TPWR_BA | - Mapped new interchange meter | 22EMS22260
131 | TPWR_BA | Transformer - NE Bank 2 ratings update | 22EMS22261
132 | TPWR_BA | Transmission Line - Update R and X to be above CAISO zbr limit: ST_PAUL_WESTROCK1 and ST_PAUL_WESTROCK2 | 22EMS22262
133 | TPWR_BA | Transmission Line - Update R and X to be above CAISO zbr limit | 22EMS22263
134 | TPWR_BA | Transmission Line - Update R and X to be above CAISO zbr limit | 22EMS22264
135 | TPWR_BA | Transformer - Rating updated | 22EMS22265
136 | TPWR_BA | Transformer - Rating updated for HIGHLAND T_UNIVERSITY T | 22EMS22266
137 | TPWR_BA | Transmission Line - Rating updated for SOUTH TACOMA_CANYON 1 | 22EMS22267
138 | WALC | Swapping lines at Sundance station. in one line diagram. | 22EMS22278
139 | WASN | Update SR flag for MELONP_2_ZBIG1 | 22EMS21725
140 | WASN_TOP | Substation\Load - update geospatial data for substations | 22EMS21297
141 | WASN_TOP | Transmission Line - update geospatial data for t-lines | 22EMS21298