## Revision_History
FNM Scope for FNM DB22M7
(Production 7/28/2022)
Revision History
Effective Date | Version | Description
2022-05-26 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
2022-07-26 | 2 | Add additional information
California ISO – Public

## NRI
I. NRI Projects
No | PTO | Resource ID | Project Name / Description | Project Key | Capacity (MW) | POD | Additional Information
1 | PGAE | SCARLT_2_SSABT1 | Scarlet Solar CA 1A | 21NGR19894 | 10 | Tranquility SW Substation 230 kV Bus | New Non-Generation resource
2 | PGAE | SCARLT_2_SSBBT1 | Scarlet Solar CA 1B | 21NGR19895 | 30 | Tranquility SW Substation 230 kV Bus | New Non-Generation resource
3 | PGAE | AGRICO_7_UNIT | Fresno EGT | 22GEN21444 | 50.6 | Kerman 70kV Bus | Existing aggregate resource, change child units
4 | PGAE | PEASE_1_TBEBT1 | Tierra Buena Energy Storage Pmax Increase | 22NGR22027 | 1 | PEASE 115KV Bus | Existing resource, EMS Pmax increase from 5 MW to 6 MW, Pmin decrease from -5 MW to -6 MW
5 | SCE | EDWARD_2_ESSSB1 | Sanborn Solar 2 Edwards 5 PMAX Increase | 22NGR21994 | 16 | Winhub 230kV Bus | Existing resource, EMS Pmax increase from 100 MW to 116 MW, Pmin decrease from -50 MW to -71.84 MW
6 | SCE | EDWARD_2_ESSSB2 | Sanborn Solar 2 Edwards 4 PMAX Increase | 22NGR21993 | 32 | Winhub 230kV Bus | Existing resource, EMS Pmax increase from 100 MW to 132 MW, Pmin decrease from -50 MW to -108.23 MW
7 | SCE | EDWARD_2_SS2BT1 | Sanborn Solar 2 EBESS 1 | 22NGR22018 | 47 | Windhub 230kV Bus | New Non-Generation resource
8 | SCE | GASKW1_2_GW3SR1 | Gaskell West 3 | 22GEN22048 | 20 | Whirlwind 230kV Bus | New Solar resource
9 | SCE | GASKW1_2_GW4SR1 | Gaskell West 4 | 22GEN22049 | 20 | Whirlwind 230kV Bus | New Solar resource
10 | SCE | GASKW1_2_GW5SR1 | Gaskell West 5 | 22GEN22050 | 20 | Whirlwind 230kV Bus | New Solar resource
11 | SCE | SANBRN_2_SS2BT3 | Sanborn Solar 2 SBESS 3 | 22NGR22019 | 169 | Windhub 230kV Bus | New Non-Generation resource
12 | SCE | SEARLS_1_TS3SR1 | Trona Solar III | 21GEN20495 | 2 | Inyokern 115 kV Bus | New Solar resource
13 | SDGE | CRELMN_6_BSPBT1 | Buckman Springs BESS | 21NGR19897 | 0.46 | Creelman 69kV Bus | New Storage resource
14 | SDGE | CRELMN_6_AABBT1 | Air Attack Base | 21NGR20431 | 0.475 | Creelman 69kV Bus | New Storage resource
15 |  |  | Bowerman Power LFG,LLC | 21RIG19965 | 20 |  | RIG Reconfiguration
16 |  |  | OGROVE_6_PL1X2 | 21RIG20230 | 98.1 |  | RIG Reconfiguration
17 |  |  | Wadham Energy LP IDG036 | 21RIG20337 | 26.5 |  | RIG Reconfiguration
18 |  |  | Midway South Solar Farm RIG Reconfig | 21RIG20721 | 20 |  | RIG Reconfiguration
19 |  |  | Victor Phelan | 22RIG20327 | 17.5 |  | RIG Reconfiguration
20 |  |  | Badger Creek 2022-1 | 22RIG21358 | 47 |  | RIG Reconfiguration
21 |  |  | Bear Mountain 2022-1 | 22RIG21359 | 47 |  | RIG Reconfiguration
22 |  |  | Chalk Cliff 2022-1 | 22RIG21360 | 47 |  | RIG Reconfiguration
23 |  |  | Double C 2022-1 | 22RIG21361 | 48 |  | RIG Reconfiguration
24 |  |  | Kern Front 2022-1 | 22RIG21362 | 48 |  | RIG Reconfiguration
25 |  |  | Live Oak 2022-1 | 22RIG21363 | 47 |  | RIG Reconfiguration
26 |  |  | McKittrick 2022-1 | 22RIG21364 | 47 |  | RIG Reconfiguration
27 |  |  | High Sierra 2022-1 | 22RIG21366 | 48 |  | RIG Reconfiguration
28 |  |  | Community Solar Rig Reconfiguration | 22RIG21410 | 15 |  | RIG Reconfiguration
29 |  |  | Midway Peaking Aggregate IDG047 BAL3 Update | 22RIG21450 | 120 |  | RIG Reconfiguration
30 |  |  | Columbia 3 | 22RIG21455 | 10 |  | RIG Reconfiguration
31 |  |  | Wright Solar | 22RIG21460 | 200 |  | RIG Reconfiguration
32 |  |  | Highlander Solar I | 22RIG21606 | 12 |  | RIG Reconfiguration
33 |  |  | Rio Bravo Solar I | 22RIG21608 | 20 |  | RIG Reconfiguration
34 |  |  | Rio Bravo Solar II | 22RIG21609 | 20 |  | RIG Reconfiguration
35 |  |  | Wildwood Solar II | 22RIG21611 | 15 |  | RIG Reconfiguration
36 |  |  | Jacumba | 22RIG21745 | 20 |  | RIG Reconfiguration
37 |  |  | Sunray 2 RIG | 22RIG21746 | 20 |  | RIG Reconfiguration
38 |  |  | Sunray 3 RIG | 22RIG21747 | 13.8 |  | RIG Reconfiguration
39 |  |  | Giffen | 22RIG21748 | 20 |  | RIG Reconfiguration
40 |  |  | Kettleman | 22RIG21749 | 20 |  | RIG Reconfiguration
41 |  |  | Westlands | 22RIG21750 | 18 |  | RIG Reconfiguration
42 |  |  | Frontier | 22RIG21752 | 20 |  | RIG Reconfiguration
43 |  |  | Bishop1Alamo Frequency Response | 22RIG21922 | 14.1 |  | RIG Reconfiguration
44 |  |  | Vestal2Kern Frequency Response | 22RIG21924 | 36.8 |  | RIG Reconfiguration
45 |  |  | Chinese Station | 22RIG22071 | 18 |  | RIG Reconfiguration
46 |  |  | SEPV Sierra HSL | 22RIG22253 | 8.5 |  | RIG Reconfiguration

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | PGAE | 17TRANS6452 | Rio Oso: Rebuild Substation | ET3941
2 | PGAE | 21TRANS15395 | Oakland C Unit 2 ES Repower Project (OCEI) | ET4573
3 | PGAE | 21TRANS15395 | Oakland C Unit 2 ES Repower Project (OCEI) | ET4574
4 | PGAE | 22TRANS20886 | Dunnigan Bank 1 Replacement | ET4881
5 | PGAE | 22TRANS22177 | MENBIO_6_UNIT Gen Removal | ET5066
6 | PGAE | 22TRANS22178 | Ashlan SPS RAS | ET5067
7 | PGAE | 22TRANS22222 | Fresno Reliability Transmission Project ¿ Special Protection Scheme | ET5069
8 | PGAE | 22TRANS22307 | Humboldt: Replace CB 172, CB 182, & CB 112 | ET5080
9 | SCE | 20TRANS14106 | SCE Centralized Remedial Action Scheme (CRAS) | ET4516
10 | SCE | 20TRANS14479 | Oberon Solar Farm - TOT190/Q1642 | ET4504
11 | SCE | 20TRANS14479 | Oberon Solar Farm - TOT190/Q1642 | ET4505
12 | SDGE | 16TRANS874141 | TL6975 Escondido to San Marcos- | ET3026
13 | SDGE | 16TRANS874141 | TL6975 Escondido to San Marcos- | ET3325
14 | SDGE | 16TRANS874141 | TL6975 Escondido to San Marcos- | ET3326
15 | SDGE | 18TRANS7902 | Q838 BLUE HORNET SOLAR Generation Interconnection | ET5068

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | AVA_BA | Breaker(s)\ Disconnect(s) - Updates to Normal switch states | 22EMS22119
2 | AVA_BA | - ICCP mapping to AVA CIM model | 22EMS22318
3 | AVA_BA | - Note: the ratings in this submittal are SUMMER = High1/High2, and FALL = High3/High4 | 22EMS22319
4 | AVA_TOP | Update IMNH line impedance at LOLO$: r = 0.00901, x = 0.085150, b = 0.17098 | 22EMS23165
5 | AZPS_BA | Generator - added dyd for new Gen1 and Gen2 | 22EMS22151
6 | AZPS_BA | Contingencies - Removal of existing contingency "AP1 PV-RUDD_1_230"; Addition of two new contingencies: "AP1 PV-RUN_1_230" and "AP1 RUN-RUDD_1_230" | 22EMS22336
7 | AZPS_BA | Substation\Load - Changed Alias from YUT to Yucca Temp | 22EMS22337
8 | AZPS_BA | Breaker(s)\ Disconnect(s) - Changed switching field from BB1445DX to BB1444DX | 22EMS22338
9 | AZPS_BA | Breaker(s)\ Disconnect(s) - Changed switching field from FLRDISC to FLR444DX | 22EMS22339
10 | AZPS_BA | Breaker(s)\ Disconnect(s) - Changed switching field from FLRDISC to FLR244DX | 22EMS22340
11 | AZPS_BA | Breaker(s)\ Disconnect(s) - Changed switching field from CN444DX BYPAS to CN444DX | 22EMS22341
12 | AZPS_BA | Breaker(s)\ Disconnect(s) - Changed switching field from VE664 to QSDISC | 22EMS22342
13 | AZPS_BA | Breaker(s)\ Disconnect(s) - Changed switching field from VE663 to QSLSD | 22EMS22343
14 | AZPS_BA | Breaker(s)\ Disconnect(s) - Changed switching field from VE661 to QSBSD | 22EMS22344
15 | AZPS_BA | Breaker(s)\ Disconnect(s) - Changed switching field from VE662 to QSBKR | 22EMS22345
16 | AZPS_BA | Breaker(s)\ Disconnect(s) - Changed switching field from VE663 to QSLSD | 22EMS22346
17 | AZPS_BA | Breaker(s)\ Disconnect(s) - Changed switching field QS661 to VEBSD | 22EMS22347
18 | AZPS_BA | Breaker(s)\ Disconnect(s) - Changed switching field QS662 to VEBKR | 22EMS22348
19 | AZPS_BA | Breaker(s)\ Disconnect(s) - Changed switching field RUN267 to T1-BRDBSD | 22EMS22349
20 | AZPS_BA | Breaker(s)\ Disconnect(s) - Changed switching field RUN265 to T1-BRDBSD | 22EMS22350
21 | AZPS_BA | Breaker(s)\ Disconnect(s) - Changed switching field RUN266 to T1-BRDBKR | 22EMS22351
22 | AZPS_BA | Breaker(s)\ Disconnect(s) - Changed switching field RUN363 to BRDLSD | 22EMS22352
23 | AZPS_BA | Breaker(s)\ Disconnect(s) - Changed switching field RUN361 to BRDBSD | 22EMS22353
24 | AZPS_BA | Breaker(s)\ Disconnect(s) - Changed switching field RUN362 to BRDBKR | 22EMS22354
25 | AZPS_BA | Breaker(s)\ Disconnect(s) - Changed switching field PM1363 to PM1563 | 22EMS22355
26 | AZPS_BA | Breaker(s)\ Disconnect(s) - Changed switching field PM1362 to PM1562 | 22EMS22356
27 | AZPS_BA | Transmission Line - Added line ED4Eloyl | 22EMS22357
28 | AZPS_BA | Transmission Line - Added line RUN-RUX | 22EMS22358
29 | AZPS_BA | Transmission Line - Added RVMF1 | 22EMS22359
30 | AZPS_BA | Transmission Line - Added lines FHS-FHS1 and FHS-FHS2 | 22EMS22360
31 | AZPS_BA | Generator - Added generator BESSFHS (consolidated values from new FHS1 and FHS2) | 22EMS22361
32 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added switching fields FHS442, FHS342, FHS242, HS642, FHS142 | 22EMS22362
33 | AZPS_BA | Generator - Added FHS2 A battery | 22EMS22363
34 | AZPS_BA | Substation\Load - Added station (new battery installation) | 22EMS22364
35 | AZPS_BA | Generator - Added FHS1 A battery | 22EMS22365
36 | AZPS_BA | Substation\Load - Added station (new battery installation) | 22EMS22366
37 | AZPS_BA | Substation\Load - Added station | 22EMS22367
38 | AZPS_BA | Substation\Load - Added station with line to Round Valley | 22EMS22368
39 | AZPS_BA | Transmission Line - Removed SLAAX1 line | 22EMS22369
40 | AZPS_BA | Substation\Load - Added new station between Calderwood and Raceway | 22EMS22370
41 | AZPS_BA | Substation\Load - Added feeder 10 | 22EMS22371
42 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added switching field STS764 | 22EMS22372
43 | AZPS_BA | Substation\Load - Added transformer equivalences | 22EMS22373
44 | AZPS_BA | Substation\Load - Removed 34.5KV portion of station | 22EMS22374
45 | AZPS_BA | Transmission Line - Added line RY-WTL | 22EMS22375
46 | AZPS_BA | Transmission Line - Removed line RY-CLW | 22EMS22376
47 | AZPS_BA | Substation\Load - Added 230KV portion of station | 22EMS22377
48 | AZPS_BA | Substation\Load - Added equivalent loads for all 69KV transformers | 22EMS22378
49 | AZPS_BA | Substation\Load - Remove 34.5KV portion of station | 22EMS22379
50 | AZPS_BA | Transmission Line - Added line PV-RUN | 22EMS22380
51 | AZPS_BA | Transmission Line - Remove line RUX-PV | 22EMS22381
52 | AZPS_BA | Breaker(s)\ Disconnect(s) - Replaced switching field PLM K7415 with PLMU7415 | 22EMS22382
53 | AZPS_BA | Transmission Line - Added line CLW-WTL | 22EMS22383
54 | AZPS_BA | Transmission Line - Remove line RY-CLW | 22EMS22384
55 | AZPS_BA | Transformer - Updated transformer impedances | 22EMS22385
56 | BANC_BA | Substation\Load - English Names and Geo coordinates | 22EMS22453
57 | BANC_BA | Breaker(s)\ Disconnect(s) - Updated Digital ICCP report for breakers B2182 and B2082 | 22EMS22454
58 | BANC_BA | Transmission Line - Updated topology of the AIR-KES AC Line. | 22EMS22455
59 | BANC_BA | Generator - Updated ReactiveCapabilityCurve name | 22EMS22456
60 | BANC_BA | Breaker(s)\ Disconnect(s) - Removed disconnects at these stations. | 22EMS22457
61 | BANC_BA | Breaker(s)\ Disconnect(s) - Updated duplicate switch names. | 22EMS22458
62 | BANC_BA | Breaker(s)\ Disconnect(s) - Updated normal statuses of breakers. | 22EMS22459
63 | BANC_BA | Breaker(s)\ Disconnect(s) - Updated RDF:IDs to change equipment type as per CIDI Ticket 248527 | 22EMS22460
64 | BANC_BA | Transmission Line - Updated summer line ratings. | 22EMS22461
65 | BANC_BA | Transmission Line - Updated line impedances. | 22EMS22462
66 | BCHA_RC | Substation\Load - Add KPS_load | 22EMS22419
67 | BCHA_RC | Transmission Line - Add 1L251_3 | 22EMS22420
68 | BCHA_RC | Transmission Line - Add 60L14_4 | 22EMS22421
69 | BCHA_RC | Substation\Load - Add TLB_load | 22EMS22422
70 | BCHA_RC | Substation\Load - Delete CAN substation | 22EMS22423
71 | BCHA_RC | Substation\Load - Add KPS substation | 22EMS22424
72 | BCHA_RC | Substation\Load - Add TLB substation | 22EMS22425
73 | BCHA_RC | Equipment Type - Updated ICCP | 22EMS22426
74 | BPAT_BA | Shoofly Install\ Removal - Added jumpers to by-pass the station. | 22EMS22473
75 | BPAT_BA | Shoofly Install\ Removal - Added jumpers to by-pass the station. | 22EMS22474
76 | BPAT_BA | Shoofly Install\ Removal - Added jumpers to by-pass the station. | 22EMS22475
77 | BPAT_BA | Shoofly Install\ Removal - Added jumpers to by-pass the station. | 22EMS22476
78 | BPAT_BA | Shoofly Install\ Removal - Added jumpers to by-pass the station. | 22EMS22477
79 | BPAT_BA | Shoofly Install\ Removal - Added jumpers to by-pass the station. | 22EMS22478
80 | BPAT_BA | Shoofly Install\ Removal - Added jumpers to by-pass the station. | 22EMS22479
81 | BPAT_BA | Contingency Definition - BPA Contingency List | 22EMS22481
82 | BPAT_BA | Breaker(s)\ Disconnect(s) - Inserted new PCBs and disconnectors. | 22EMS22785
83 | BPAT_BA | Breaker(s)\ Disconnect(s) - Inserted new disconnectors. | 22EMS22786
84 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 22EMS22787
85 | BPAT_TOP | Transmission Line - Update Item Number 6.23 | 22EMS22182
86 | BPAT_TOP | RAS - | 22EMS23182
87 | CEN_BA | Breaker(s)\ Disconnect(s) - ICCP of breakers in Tijuana Substation | 22EMS22209
88 | CEN_BA | Breaker(s)\ Disconnect(s) - Onlines diagram realated with Tijuana, MIS and PJZ substations | 22EMS22210
89 | CEN_BA | Breaker(s)\ Disconnect(s) - Update name of switches an Breaker of ACLine 93750 Tijuana to MIS (Maniobras Parque Industrial Sur) in | 22EMS22211
90 | CHPD_BA | Breaker(s)\ Disconnect(s) - Switch 6-747 removed | 22EMS22068
91 | CHPD_BA | Transmission Line - Changed line ratings from one overall rating to section based ratings. | 22EMS22149
92 | GCPD_BA | Breaker(s)\ Disconnect(s) Breaker(s)\ Disconnect(s) - GB1010, GB1020, & GB1030 at Burke are normally closed. The orientation in HANA is not correct. | 22EMS22064
93 | GCPD_BA | Breaker(s)\ Disconnect(s) Breaker(s)\ Disconnect(s) - GC80 is owned and operated by GCPD. Because GC80 is on a BPA oneline (MIDWAY), GCPD does not have the ability to submit an outage on this switch according to GCPD guidelines. Please move this switch to the WAHLUKE oneline. GC80 is normally closed (the orientation in HANA is backwards). | 22EMS22065
94 | GCPD_BA | Generator - CAISO Reliability and Market Operations team needed the information that was submitted in 2019 to be resubmitted. This was to correct an erroneous Pmin value (correct value was submitted in 2019). | 22EMS22125
95 | GCPD_BA | Substation\Load - SCADA has been added to GCPD's WARDEN substation. Please include the new telemetry points for W2RT and W31RT in the next model. | 22EMS22126
96 | GCPD_BA | Remove WILSON_C and associated AC line and line container per feedback from AVA and GCPD. | 22EMS22770
97 | IID_BA | Generator - The Project consist of a power generation system with maximum output of 20 MW generated by solar photovoltaic facilities to be located in Imperial County, California. The interconnection will be through a new 92 kV Gen-Tie line | 22EMS21634
98 | IID_BA | Generator - Update PMAX value to 18 | 22EMS22517
99 | IID_TOP | Transformer - This is to provide ratings for Branches, or XFMRS that RC doesn't currently have. I have provided a spreadsheet with El Centro Bank Ratings as requested by Jun Zhu. The BES El Centro Banks can also be found on our ratings sheet submitted a while back. | 22EMS21751
100 | IID_TOP | Substation\Load - New 20MW PV generator on K line. | 22EMS21772
101 | IPCO_BA | Generator - Addition - JKPT Solar Generation Station | 22EMS22255
102 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 22EMS22256
103 | IPCO_BA | - CIM export of IPCO_BA FNM. | 22EMS22257
104 | IPCO_BA | Transmission Line - MVA Rating update for BSCR-MORA1 line. | 22EMS22335
105 | IPCO_BA | Update the line parameter data for line BLPR-ONTO1_A and CDWL-LGSY2_A as per CIDI ticket 00252253 | 22EMS23214
106 | LDWP_BA | Substation\Load - Add CEN Capacitor, WIL Capacitor | 22EMS22440
107 | LDWP_BA | Transmission Line - Remove SCA-OLY2, PP1-OLV and PP2-OLV lines | 22EMS22441
108 | LDWP_BA | Substation\Load - Update CEN and WIL measurements | 22EMS22442
109 | NEVP_BA | Adding Psuedo switch to HUMBOLDT | 22EMS23059
110 | NEVP_BA | updating DODGEFLT and OLGHOUSE impedances | 22EMS23305
111 | NEVP_TOP | - Removed breakers and disconnects that were not needed for our model. | 22EMS22387
112 | NEVP_TOP | - Removed this station in our model. | 22EMS22388
113 | NEVP_TOP | - Removed this station in our model. | 22EMS22389
114 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated lines, breakers and disconnects at Railroad. Also note the 3805-1L was renamed to 3880B. | 22EMS22390
115 | NEVP_TOP | Transmission Line - New line between West Tracy 120 and Dove | 22EMS22391
116 | NEVP_TOP | Breaker(s)\ Disconnect(s) - New breakers at Oreana for the 1122 line | 22EMS22392
117 | NEVP_TOP | Transmission Line - Transmission line between Oreana and Panama substations | 22EMS22393
118 | NWMT | Addind ICCPs to RIMRALKA161_ | 22EMS23064
119 | NWMT_TOP | Transmission Line - See Description of Changes doc | 22EMS22472
120 | PGE_BA | Breaker(s)\ Disconnect(s) - Add line switch 11696 to Curtis-Rivergate #2 line | 22EMS22320
121 | PGE_BA | Breaker(s)\ Disconnect(s) - Permanet position change for line switch 11502 | 22EMS22321
122 | PGE_BA | Breaker(s)\ Disconnect(s) - Permanet change the default status of V270, V271, V235, V230, V231 and V265 | 22EMS22322
123 | PGE_BA | Breaker(s)\ Disconnect(s) - Change the line switch 11533 location | 22EMS22323
124 | PGE_BA | Transmission Line - Update E-St Marys line, VWR8 and VWR9 measurement mapping | 22EMS22324
125 | PGE_BA | Substation\Load - Update Bethel station SCADA points | 22EMS22325
126 | PGE_BA | Breaker(s)\ Disconnect(s) - Remove V291 and V289 at Sherwood station | 22EMS22326
127 | PGE_BA | Transmission Line - Map MVA for CRTY_DALR_V1553 | 22EMS22327
128 | PGE_BA | Transmission Line - Map MVAs for BCW1_GLDNHILS_V12174 | 22EMS22328
129 | PGE_BA | Breaker(s)\ Disconnect(s) - Add two new line switches 11703 and 11704 at St Louis | 22EMS22329
130 | PGE_BA | Substation\Load - Installing the first and fourth bay of the 115kV yard and two power transformers | 22EMS22330
131 | PGE_BA | RAS - RAS screenshot | 22EMS22331
132 | PGE_BA | - List of ICCP points mapping | 22EMS22332
133 | PGE_BA | - Model Difference report | 22EMS22333
134 | PGE_BA | - Model Updates for PGE: CIMxml model file | 22EMS22334
135 | PNM | Capture all impedance corrections provided by PNM for Four Corners, Rio Puerco, and ABO S_CO | 22EMS22932
136 | PNM_BA | Substation\Load - new ICCP point | 22EMS22074
137 | PNM_BA | Substation\Load - new ICCP point | 22EMS22075
138 | PNM_BA | Substation\Load - new ICCP point | 22EMS22076
139 | PNM_BA | Substation\Load - new ICCP point | 22EMS22077
140 | PNM_BA | Substation\Load - new ICCP point | 22EMS22078
141 | PNM_BA | Substation\Load - new ICCP point | 22EMS22079
142 | PNM_BA | Substation\Load - new ICCP point | 22EMS22080
143 | PNM_BA | Substation\Load - new ICCP point | 22EMS22081
144 | PNM_BA | Substation\Load - new ICCP point | 22EMS22082
145 | PNM_BA | Breaker(s)\ Disconnect(s) - existing ICCP point to replace outdated ICCP point | 22EMS22083
146 | PNM_BA | Breaker(s)\ Disconnect(s) - existing ICCP point to replace outdated ICCP point | 22EMS22084
147 | PNM_BA | Breaker(s)\ Disconnect(s) - existing ICCP point to replace outdated ICCP point | 22EMS22085
148 | PNM_BA | Breaker(s)\ Disconnect(s) - existing ICCP point to replace outdated ICCP point | 22EMS22086
149 | PNM_BA | Breaker(s)\ Disconnect(s) - existing ICCP point to replace outdated ICCP point | 22EMS22087
150 | PNM_BA | Breaker(s)\ Disconnect(s) - existing ICCP point to replace outdated ICCP point | 22EMS22088
151 | PNM_BA | Breaker(s)\ Disconnect(s) - existing ICCP point to replace outdated ICCP point | 22EMS22089
152 | PNM_BA | Breaker(s)\ Disconnect(s) - existing ICCP point to replace outdated ICCP point | 22EMS22090
153 | PNM_BA | Breaker(s)\ Disconnect(s) - existing ICCP point to replace outdated ICCP point | 22EMS22091
154 | PNM_BA | Breaker(s)\ Disconnect(s) - existing ICCP point to replace outdated ICCP point | 22EMS22092
155 | PNM_BA | Breaker(s)\ Disconnect(s) - existing ICCP point to replace outdated ICCP point | 22EMS22093
156 | PNM_BA | Breaker(s)\ Disconnect(s) - existing ICCP point to replace outdated ICCP point | 22EMS22094
157 | PNM_BA | Breaker(s)\ Disconnect(s) - existing ICCP point to replace outdated ICCP point | 22EMS22095
158 | PNM_BA | Breaker(s)\ Disconnect(s) - existing ICCP point to replace outdated ICCP point | 22EMS22096
159 | PNM_BA | Breaker(s)\ Disconnect(s) - existing ICCP point to replace outdated ICCP point | 22EMS22097
160 | PNM_BA | Breaker(s)\ Disconnect(s) - existing ICCP point to replace outdated ICCP point | 22EMS22098
161 | PNM_BA | Breaker(s)\ Disconnect(s) - existing ICCP point to replace outdated ICCP point | 22EMS22099
162 | PNM_BA | Breaker(s)\ Disconnect(s) - existing ICCP point to replace outdated ICCP point | 22EMS22100
163 | PNM_BA | Breaker(s)\ Disconnect(s) - Changed configured normal state of breaker 22042 to Normally Open | 22EMS22463
164 | PNM_BA | Breaker(s)\ Disconnect(s) - Added new switch 1ALL11 | 22EMS22855
165 | PNM_BA | Breaker(s)\ Disconnect(s) - Changed switch from 04168 to new name 1ALL01 | 22EMS22856
166 | PNM_BA | Breaker(s)\ Disconnect(s) - Added new switch 567_Clapham | 22EMS22857
167 | PNM_BA | Breaker(s)\ Disconnect(s) - Added new switch 467_Clapham | 22EMS22858
168 | PNM_BA | Breaker(s)\ Disconnect(s) - Changed switch from 364_Clapham to new name 562_Clapham | 22EMS22859
169 | PNM_BA | Breaker(s)\ Disconnect(s) - Changed switch from 464_Clapham to new name 462_Clapham | 22EMS22860
170 | PNM_BA | Breaker(s)\ Disconnect(s) - Removed Psuedo SW1 | 22EMS22861
171 | PNM_BA | Update R, X for FRCE-PINT1 - | 22EMS22901
172 | PNM_BA | Update R, X for ARSO-PINT1 - | 22EMS22902
173 | PNM_BA | Update R, X for PINT-RIPU1 - | 22EMS22903
174 | PNM_BA | - complete list of PNM ICCP objects | 22EMS23034
175 | PNM_BA | - Changed the ICCP object name to reflect the new line/equipment names. | 22EMS23035
176 | PNM_BA | - New CIM XML File to address mismatch in RFIDs | 22EMS23036
177 | PNM_BA | Update for dyd Mapping_Arroyo_Solar_Batt.xlsx | 22OEEMS22767
178 | PNM_BA | Update for ARAGONNE dyd Mapping 1.0.xlsx | 22OEEMS22768
179 | PSEI_BA | - ICCP list | 22EMS21830
180 | PSEI_BA | - full CIM model | 22EMS21831
181 | SNPD_TOP | Removal - Install a shoo-fly to bypass Fobes Substation | 22EMS22138
182 | SNPD_TOP | Removal - Install a shoo-fly to bypass Portage Substation | 22EMS22139
183 | SNPD_TOP | Removal - Install a shoo-fly to bypass Waterfront Substation | 22EMS22140
184 | SNPD_TOP | Shoofly Install\ Removal - Install a shoo-fly to bypass Cascade Substation | 22EMS22200
185 | SNPD_TOP | Shoofly Install\ Removal - Install a shoo-fly to bypass Cedar Valley Substation | 22EMS22201
186 | SNPD_TOP | Shoofly Install\ Removal - Install a shoo-fly to bypass Lake Chaplain Substation | 22EMS22202
187 | SNPD_TOP | Shoofly Install\ Removal - Install a shoo-fly to bypass Turners Corner Substation | 22EMS22203
188 | SPP_RC | WACM SHR Phase Shifter model issue | 22EMS22540
189 | SRP_BA | Contingency Definition - Updated Contingency Definitions | 22EMS21900
190 | SRP_BA | Substation\Load - Including Updated GIS Data Package | 22EMS22394
191 | SRP_BA | Breaker(s)\ Disconnect(s) - Update diso 339 normal open status to N.O. | 22EMS22395
192 | SRP_BA | Transmission Line - Updated Limits on branch BAT__WK____69_1 | 22EMS22396
193 | SRP_BA | Transmission Line - Updated Limits on branch ROS T 69/230 3 | 22EMS22397
194 | SRP_BA | Transmission Line - Updated Limits on branch HMY__TUN___69_1 | 22EMS22398
195 | SRP_BA | Transmission Line - Updated Limits on branch GM___WB____69_1 | 22EMS22399
196 | SRP_BA | Transmission Line - Updated Limits on branch DIR T 69/230 2 | 22EMS22400
197 | SRP_BA | Transmission Line - Updated Limits on branch DIR T 69/230 1 | 22EMS22401
198 | SRP_BA | Transmission Line - Updated Limits on branch DIR__TGS___69_1 | 22EMS22402
199 | SRP_BA | Transmission Line - Updated Limits on branch DIR__QC____69_1 | 22EMS22403
200 | SRP_BA | Transmission Line - Updated Limits on branch BW___RS____69_1 | 22EMS22404
201 | SRP_BA | Transmission Line - Updated Limits on branch AM___PK___69_1 | 22EMS22405
202 | SRP_BA | Shunt Cap\Reactor\ SVD¿s - Updated control parameter bus on TS 69C B318 and TS 69C B309 | 22EMS22406
203 | SRP_BA | Transmission Line - Updated Impedance on DIR_TGS__69_1 | 22EMS22407
204 | SRP_BA | Breaker(s)\ Disconnect(s) - Removed disconnects D 500 OJ 7 | 22EMS22408
205 | SRP_BA | Breaker(s)\ Disconnect(s) - Removed disconnects D 69 TMP 5 | 22EMS22409
206 | SRP_BA | Breaker(s)\ Disconnect(s) - Removed disconnects D 69 OJ28, TMP 11, TMP12, and OJ 27 | 22EMS22410
207 | SRP_BA | Breaker(s)\ Disconnect(s) - Removed disconnects D 69 TMP 23, 24, and 25 | 22EMS22411
208 | SRP_BA | Breaker(s)\ Disconnect(s) - Removed disconnects D 500 OJ 29, D 500 OJ 30 | 22EMS22412
209 | SRP_BA | Breaker(s)\ Disconnect(s) - Removed Breaker B 69 402S | 22EMS22413
210 | SRP_BA | Breaker(s)\ Disconnect(s) - Added OJ 21 disconnect | 22EMS22414
211 | SRP_BA | Substation\Load - Updated Abel 230kv station to include new breakers. Station is still under construction | 22EMS22415
212 | SRP_BA | Transmission Line - Updated Rudd - Palm Valley to be Rudd - Runway as APS has installed Runway substation in the middle. Updated line name and impedances. | 22EMS22416
213 | SRP_BA | Transmission Line - Changed the 345/21 unit 4 GSU to be in TEP Springerville station and added 21kv tieline between Unit 4 (SRP) and the transformer (TEP) per CAISO request. | 22EMS22417
214 | SRP_BA | Transmission Line - Added two SRP/APS Tielines to split the unit startup load into three individual loads off MOD's 920, 940, and 990. APS has made the same updates to their model per Chris Bendit | 22EMS22418
215 | SVP_TOP | Transmission Line - Add new 60kV line between Brokaw and CCA Substaions | 22EMS22446
216 | SVP_TOP | Transmission Line - Add new 60kV line between DCJ and KRS Substaions | 22EMS22447
217 | SVP_TOP | Transmission Line - Add new 60kV line between Kenneth and Parker Substaions | 22EMS22448
218 | SVP_TOP | Transmission Line - Remove 60kV line between DCJ and Brokaw Substations | 22EMS22449
219 | SVP_TOP | Transmission Line - Remove 60kV line between Parker and CCA Substations | 22EMS22450
220 | SVP_TOP | Transmission Line - Remove 60kV line between Kenneth and KRS Substations | 22EMS22451
221 | TEP | Update impedances for transformers at IRVNGTN | 22EMS22771
222 | TEP | Updating 22ND_ST transformer impedance update to a jumper values | 22EMS23413
223 | TEPC_TOP | Substation\Load - corrected R/X/B per unit paramenters for various lines | 22EMS22468
224 | TEPC_TOP | Substation\Load - added 22nd st T2 and T3 | 22EMS22469
225 | TEPC_TOP | Substation\Load - removed San Juan TEP Pseudo tie as TEP will no longer share Remade San Juan-McKinley lines at CAISO request | 22EMS22470
226 | TEPC_TOP | Substation\Load - added West Wing T8 | 22EMS22471
227 | TEPC_TOP | Breaker(s)\ Disconnect(s) - Removal of pseudoswitches that will not have measurements. Remaining pseudoswitches without measurement will have measurements added in next submission. | 22EMS22983
228 | TEPC_TOP | Generator - Correction of generator limits for MW and Mvar and MV Capability curves | 22EMS22984
229 | TEPC_TOP | Substation\Load - Topology and key assignments | 22EMS22985
230 | TEPC_TOP | Substation\Load - Topology and key assignments | 22EMS22986
231 | TEPC_TOP | Transmission Line - Correction of numerous transmission line R and X values to latest values | 22EMS22987
232 | TEPC_TOP | Substation\Load - Addition of T2 and T3 transformers to distribution | 22EMS22988
233 | TIDC_BA | Breaker(s)\ Disconnect(s) - FNM Modified for Topology changes at Geer | 22EMS21566
234 | TIDC_BA | Breaker(s)\ Disconnect(s) - Rename the following Switches: SW 501 to SW 511; SW 502 to SW 512; SW 505 to SW 513; SW 511 to SW 521; SW 512 to SW 522; SW 515 to SW 523. Removed SW 504; SW 514 | 22EMS21567
235 | TIDC_BA | Breaker(s)\ Disconnect(s) - Rename the following CBs: CB 500 to CB 510; CB 510 to CB 520; CB 520 to CB 570; CB 560 to CB 580. Added CB 560 | 22EMS21568
236 | TIDC_BA | Breaker(s)\ Disconnect(s) - Reconfigure GEER 69KV North and South BUSES to include a Transfer Bus Scheme. Added Switch 541 and 542 on the North Bus | 22EMS21569
237 | TIDC_BA | Transmission Line - Fairground - Geer (College - Geer transmission line section) reconductored to 954 ACSS | 22EMS21570
238 | TIDC_BA | Substation\Load - Corrected MVA Limits for Washington Walnut Line. | 22EMS21676