## Revision_History
FNM Scope for FNM DB23M4
(Production Week of 4/24/2023)
Revision History
Effective Date | Version | Description
2023-02-23 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
2023-04-24 | 2 | Add additional information
California ISO – Public

## NRI
I. NRI Projects
No | PTO | Resource ID | Project Name / Description | Project Key | Capacity (MW) | POD | Additional Information
1 | IID | OCOTLO_6_OCWSB1 | Ocotillo Wells Solar and BESS | 23PSEUDO25807 | 50 | Imperial Valley 230kV Bus | New Pseudo New Construction resource
2 | PGAE | LODI25_6_ERKNG1 | Enchanted Rock Lodi | 23GEN25561 | 47.97 | Industrial 60KV Bus | New Conventional resource
3 | SCE | RDWAY_1_WA2SR3 | Watts II | 22GEN21527 | 0.5 | KRAMER 115KV BUS | New Solar resource
4 | SCE | GOLETA_2_GE2BT3 | Goleta Energy Storage and Goleta Energy Storage 2 | 22NGR22769 | 60 | GOLETA 230kv Bus | New Storage resource
5 | SCE | VALLEY_5_ORTBT1 | Ortega Grid | 22NGR23132 | 20 | VALLEY 500kv Bus | New Non-Generation resource
6 | SCE | CASADB_1_CD4GT1 | Casa Diablo 4 Pmax Increase | 23GEN25657 | 0.7 | CONTROL 115Kv Bus | New Conventional resource
7 | SCE | ETIWND_2_SEPBT1 | Separator | 23NGR26004 | 100 | Etiwanda 230kV Bus | New Non-Generation resource
8 |  |  | Long Beach Generating Station CT1 Freq Response | 22RIG23909 | 252 |  | RIG Reconfiguration
9 |  |  | Windhub A RIG Update | 22RIG24750 | 20 |  | RIG Reconfiguration
10 |  |  | Sunshine Valley RIG Update | 22RIG24751 | 100 |  | RIG Reconfiguration
11 |  |  | Redwood Coast Airport Microgrid Hybrid | 22RIG24846 | 1.77 |  | RIG Reconfiguration
12 |  |  | Athos 2 | 22RIG25409 | 200 |  | RIG Reconfiguration
13 |  |  | Longboat Solar LBRIG2023 | 23RIG25612 | 20 |  | RIG Reconfiguration
14 |  |  | NCPA_2_NCPA | 23RIG25656 | 1 |  | RIG Reconfiguration

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | PGAE | 19TRANS10264 | Sandrini Solar 2 | ET4258
2 | PGAE | 19TRANS10264 | Sandrini Solar 2 | ET4259
3 | PGAE | 21TRANS16172 | Q1397 Sandrini Solar 1 | ET4620
4 | PGAE | 21TRANS19205 | Decommission Oak Park 60 kV Sub | ET4711

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | AESO_RC | AESO:LIVOCK PST step increment to be flipped | 23EMS27278
2 | AVA_BA | - ICCP mapping to AVA CIM model | 23EMS26096
3 | AVA_BA | - Note: the ratings in this submittal are SUMMER = High1/High2, and SPRING = High3/High4 | 23EMS26097
4 | AZPS_BA | Generator - Dynamics file mapping for Agave and Chevelon Butte generation resources | 23EMS26490
5 | AZPS_BA | Contingency Definition - Contingencies added for Agave generation interconnection and Mesquite solar/BESS units | 23EMS26491
6 | AZPS_BA | Transmission Line - Updated the impedance of Line_PV-PM2_69KV & Line_PV-STS_69KV | 23EMS26492
7 | AZPS_BA | Transmission Line - Updated the impedance of Line_PM-SAR_69KV | 23EMS26493
8 | AZPS_BA | Transmission Line - Updated the impedance & ratings of Line_CVN-OHX_345KV | 23EMS26494
9 | AZPS_BA | Generator - Renamed 'FHS BESSFHS 12KV' to 'FHS GEN A 12KV' (preserved the rdf:IDs) | 23EMS26495
10 | AZPS_BA | Generator - Renamed 'BESSRDR BESSRDR 12KV' to 'BESSRDR RDR A 12KV' (preserved the rdf:IDs) | 23EMS26496
11 | AZPS_BA | Generator - Removed 'BESSRDR BESS1 A 12KV' & 'BESSRDR BESS2 A 12KV' | 23EMS26497
12 | AZPS_BA | Transmission Line - Replaced Line_RDR-RDRB 12KV with Line_RDR2-RDR_12KV, Line_RDR4-RDR_12KV, & Line_RDR6-RDR_12KV | 23EMS26498
13 | AZPS_BA | Generator - Added BESS resources 'BESSCVS BESS1 A 12KV' & 'BESSCVS BESS2 A 12KV'; each has Pmin = -9.5, Pmax = 9.5 | 23EMS26499
14 | AZPS_BA | Substation\Load - Removed the transition modeling for the 345KV line to CVN | 23EMS26500
15 | AZPS_BA | Transformer - Updated the impedance of 'OHX XFMR1 A 34.5KV' | 23EMS26501
16 | AZPS_BA | Transmission Line - Removed Line_CH-PR_345KV | 23EMS26502
17 | AZPS_BA | Substation\Load - Removed the transition modeling for the 345KV line to CVN | 23EMS26503
18 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added breaker WTN562 | 23EMS26504
19 | AZPS_BA | Generator - Added generator 'Mesq SLR5 A 34.5KV'; Pmax = 60 | 23EMS26505
20 | AZPS_BA | Generator - Added BESS resource 'Mesq BESS5 A 34.5KV'; Pmin = -60, Pmax = 60 | 23EMS26506
21 | AZPS_BA | Substation\Load - Added conforming load 'Mesq Aux EQL 34.5KV' | 23EMS26507
22 | AZPS_BA | Transmission Line - Added Line_MSSXMsq1_34.5KV, Line_MSSXMsq2_34.5KV, & Line_MSSXMsq3_34.5KV | 23EMS26508
23 | AZPS_BA | Transmission Line - Added Line_RW-AGV_500KV | 23EMS26509
24 | AZPS_BA | Generator - Added 'AGV SLR A 34.5KV'; Pmax = 150 MWs | 23EMS26510
25 | AZPS_BA | Substation\Load - Added the 34.5KV and 500KV portions of the station | 23EMS26511
26 | AZPS_BA | Transformer - Updated the impedance of all legs of 'LSS XFMR10 A' | 23EMS26512
27 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed switching elements EC1161, EC1162, & EC1163 | 23EMS26513
28 | AZPS_BA | Substation\Load - Removed the 12KV portion of the station during construction | 23EMS26514
29 | AZPS_BA | Substation\Load - Added this station | 23EMS27145
30 | AZPS_BA | Substation\Load - Added this station | 23EMS27146
31 | AZPS_BA | Substation\Load - Added this station | 23EMS27147
32 | AZPS_BA | Substation\Load - Added this station | 23EMS27148
33 | AZPS_BA | Substation\Load - Added this station | 23EMS27149
34 | AZPS_BA | Substation\Load - Added this station | 23EMS27150
35 | AZPS_BA | Substation\Load - Added this station | 23EMS27151
36 | AZPS_BA | Substation\Load - Added this station | 23EMS27152
37 | AZPS_BA | Substation\Load - Added this station | 23EMS27153
38 | AZPS_BA | Substation\Load - Added this station | 23EMS27154
39 | AZPS_BA | Substation\Load - Removed this station | 23EMS27155
40 | AZPS_BA | Breaker(s)\ Disconnect(s) - Replaced SDGTPV2259 with SDGTPU2259 | 23EMS27156
41 | AZPS_BA | Generator - Added resource ID PRNX_5_PERRINRANCH to ¿PRNX WF1 A 500KV¿ | 23EMS27157
42 | AZPS_BA | Breaker(s)\ Disconnect(s) - Replaced KJK2430 & KJK2443 with KJU2430 | 23EMS27158
43 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added DW562 & DW563 | 23EMS27159
44 | AZPS_BA | Generator - Added resource ID FZ_7_WMGX to generator ¿CVS SLR A 12KV¿ | 23EMS27160
45 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed WMT762, WMT761, WMT763 & WMT1162, WMT1161, WMT1163 | 23EMS27161
46 | AZPS_BA | Transformer - Updated the impedance and rating of ¿OHX XFMR1 A 34.5KV¿ | 23EMS27162
47 | AZPS_BA | Transmission Line - Removed 'FCFCpX1', 'FCFCsX1'. 'FCFCtX1', 'FCFCpX2', 'FCFCsX2'. & 'FCFCtX2' | 23EMS27163
48 | AZPS_BA | Generator - Removed 'FC naGNst4p 20KV', FC naGNst4s 20KV'', 'FC naGNst4t 20KV', 'FC naGNst5p 20KV', FC naGNst5s 20KV'', & 'FC naGNst5t 20KV', | 23EMS27164
49 | AZPS_BA | Transformer - Updated the impedances of ¿FC T1AA A 13.8KV¿ & ¿FC T2AA A 13.8KV¿ | 23EMS27165
50 | AZPS_BA | Breaker(s)\ Disconnect(s) - Replaced CHC3441D with CHC3441F | 23EMS27166
51 | AZPS_BA | Substation\Load - Replaced 69KV conforming load 'BNG XFMR10EL 69KV' with the 12KV portion of the station | 23EMS27167
52 | AZPS_BA | Breaker(s)\ Disconnect(s) - For transition modeling, added 230KV switching fields naSFT11oDISC, naSFT14oDISC, naSFT21nDISC, naSFT24nDISC, & naSFT27nDISC | 23EMS27168
53 | AZPS_BA | Transformer - Added ¿WW XFMR21 A 230KV¿, ¿WW XFMR24 A 230KV¿, & ¿WW XFMR27 A 230KV¿ | 23EMS27169
54 | AZPS_BA | Breaker(s)\ Disconnect(s) - For transition modeling, added 69KV switching fields naSF1061DISC, naSFMCMnDISC, naSFMCMoDISC, naSFRIVnDISC, naSFRIVoDISC, naSFt11oDISC, naSFt14oDISC, naSFt21nDISC, naSFt24nDISC, & naSFt27nDISC | 23EMS27170
55 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed WW161, WW361, & WW761 | 23EMS27171
56 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added 69KV switching fields WW3062, WW3162, WW3362, WW2962, WW3762, WW2262, WW2562, WW1061, WW3061, WW3063, WW3161, WW3163, WW1861, WW2461, WW2463, WW2861, WW2863, WW3261, WW3263, WW3361, WW3363, WW3661, WW3663, WW3961, WW3963, WW2961, WW2963, WW3761, WW3 | 23EMS27172
57 | AZPS_BA | Substation\Load - Replaced conforming load WPK FDR26EFA 12KV with ¿WPK FDR26 A 12KV¿ | 23EMS27173
58 | AZPS_BA | Generator - Added resource ID FZ_7_WMGX to ¿WMGX GEN A 4KV¿ | 23EMS27174
59 | AZPS_BA | Transformer - Updated the ratings of ¿STS XFMR12 A 69KV¿ & ¿STS XFMR9 A 69KV¿ | 23EMS27175
60 | AZPS_BA | Transmission Line - Added 230KV line 'Line_WW-SCGX_230KV' | 23EMS27176
61 | AZPS_BA | Generator - Added 'SCGX WW1 A 34.5KV' with resource ID WW_2_BESS & 'SCGX WW2 A 34.5KV' with resource ID WW_2_BESS2. | 23EMS27177
62 | AZPS_BA | Substation\Load - Added station, 34.5KV and 230KV | 23EMS27178
63 | AZPS_BA | Substation\Load - Added conforming load ¿PV FDR18 A 12KV¿ | 23EMS27179
64 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added PV1842 & PV1843D | 23EMS27180
65 | AZPS_BA | Breaker(s)\ Disconnect(s) - Replaced GLTP69U6705 with GLTP69U6710 | 23EMS27181
66 | AZPS_BA | Substation\Load - Replaced 69KV conforming loads 'FAL XFMR10EL 69KV' & 'FAL XFMR20EL 69KV' with the 12KV portion of the station | 23EMS27182
67 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed BYK7418 Replaced BYV7419 with BYU7419 | 23EMS27183
68 | AZPS_BA | Substation\Load - Added conforming load ¿PNR FDR1 A 12KV¿ | 23EMS27184
69 | AZPS_BA | Breaker(s)\ Disconnect(s) - Replaced PNR141D with PNR142, PNR141D, PNR143D & PNR144DB, PNR144X BYP, PNR144DL | 23EMS27185
70 | AZPS_BA | Transformer - Updated the impedances of ¿OC AUX T1 A 4.16KV¿, ¿OC AUX T2 A 4.16KV¿, 'OC STNAUXT1 4.16KV', & 'OC STNAUXT2 4.16KV' | 23EMS27186
71 | AZPS_BA | Substation\Load - Replaced 69KV conforming loads 'MDT XFMR10EL 69KV' & 'MDT XFMR20EL 69KV' with the 12KV portion of the station | 23EMS27187
72 | AZPS_BA | Transformer - Updated the impedance of 'EN XFMR19 A 12KV' | 23EMS27188
73 | AZPS_BA | Breaker(s)\ Disconnect(s) - Replaced DUTPK6153 with DUTPU6153 | 23EMS27189
74 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added AD762 | 23EMS27190
75 | AZPS_TOP | Substation\Load - System Voltage Limits for AZPS | 23EMS25674
76 | BANC_BA | Transmission Line - Swapped ICCP Object IDs for MVAR and MW of CC1-TRY line. | 23EMS26141
77 | BANC_BA | Transmission Line - Rating changes to BET-KES line. | 23EMS26142
78 | BANC_BA | Transformer - Rating changes to PAR XFMR 1 and 2. | 23EMS26143
79 | BANC_BA | Transformer - MW and MVAR analog points moved from 69kv low side to 230kv high side of XFMR2. | 23EMS26144
80 | BCHA_RC | Generator - update generator regulation | 23EMS26126
81 | BCHA_RC | Breaker(s)\ Disconnect(s) - Add connector | 23EMS26127
82 | BCHA_RC | Breaker(s)\ Disconnect(s) - Add breaker | 23EMS26128
83 | BCHA_RC | Equipment Type - Updated ICCP | 23EMS26129
84 | BCHA_RC | VIT_BC and NLY | 23EMS27889
85 | BPAT_BA | Shunt Cap\Reactor\ SVD¿s - Added new shunt reactor and PCB/Switches. | 23EMS26208
86 | BPAT_BA | Shoofly Install\ Removal - Added shoofly for Snohomish PUD. | 23EMS26209
87 | BPAT_BA | Shoofly Install\ Removal - Added shoofly for Snohomish PUD. | 23EMS26210
88 | BPAT_BA | Breaker(s)\ Disconnect(s) - Future connection that will replace CONKELLY lines. | 23EMS26211
89 | BPAT_BA | Shoofly Install\ Removal - Added shoofly to by-pass CONKELY sub. | 23EMS26212
90 | BPAT_BA | Shoofly Install\ Removal - Added shoofly to by-pass BUCKELY sub. | 23EMS26213
91 | BPAT_BA | Shoofly Install\ Removal - Added shoofly for Snohomish PUD. | 23EMS26214
92 | BPAT_BA | Substation\Load - Split up a tap from PROSSER substaion due to HUARD_RD tap station addition. | 23EMS26215
93 | BPAT_BA | Substation\Load - Added new tap station to existing line. | 23EMS26216
94 | BPAT_BA | Substation\Load - A samll generator 2.4MW will move from SCL to BPA BA and modeled as a load with negative 2.4MW. | 23EMS26217
95 | BPAT_BA | RAS - Updated RAS | 23EMS26218
96 | BPAT_BA | RAS - Updated RAS | 23EMS26219
97 | BPAT_BA | Contingency Definition - BPA Contingency List | 23EMS26220
98 | BPAT_BA | Shunt Cap\Reactor\ SVD¿s - Added new shunt reactor and PCB/Switches. | 23EMS26228
99 | BPAT_BA | Shoofly Install\ Removal - Added shoofly for Snohomish PUD. | 23EMS26229
100 | BPAT_BA | Shoofly Install\ Removal - Added shoofly for Snohomish PUD. | 23EMS26230
101 | BPAT_BA | Breaker(s)\ Disconnect(s) - Future connection that will replace CONKELLY lines. | 23EMS26231
102 | BPAT_BA | Shoofly Install\ Removal - Added shoofly to by-pass CONKELY sub. | 23EMS26232
103 | BPAT_BA | Shoofly Install\ Removal - Added shoofly to by-pass BUCKELY sub. | 23EMS26233
104 | BPAT_BA | Shoofly Install\ Removal - Added shoofly for Snohomish PUD. | 23EMS26234
105 | BPAT_BA | Substation\Load - Split up a tap from PROSSER substaion due to HUARD_RD tap station addition. | 23EMS26235
106 | BPAT_BA | Substation\Load - Added new tap station to existing line. | 23EMS26236
107 | BPAT_BA | Substation\Load - A samll generator 2.4MW will move from SCL to BPA BA and modeled as a load with negative 2.4MW. | 23EMS26237
108 | BPAT_BA | RAS - Updated RAS | 23EMS26238
109 | BPAT_BA | RAS - Updated RAS | 23EMS26239
110 | BPAT_BA | Contingency Definition - BPA Contingency List | 23EMS26240
111 | BPAT_TOP | Transmission Line - Update Item Number 6.23 | 23EMS25710
112 | BPAT_TOP | Transmission Line - Update Item Number 6.23 | 23EMS26464
113 | CHPD_BA | Transmission Line - UPDATE - rating updates for switches in facility MK-VH and RI2-MK causing increased facility ratings. Relay setting updates caused increased rating for RR Powerhouse units 3-4. | 23EMS25962
114 | CHPD_BA | CHPD 2023-02-02 Rocky Reach-Chelan 1 change of ownership with DOPD.docx | 23EMS26146
115 | DOPD_TOP | Contingency Definition - Addition of new contingencies to be studied for equipment at or connected to the new Lincoln Rock Switchyard | 23EMS27077
116 | DOPD_TOP | Breaker(s)\ Disconnect(s) - Addition of all new breakers and disconnect switches at the new Lincoln Rock Switchyard | 23EMS27078
117 | DOPD_TOP | Substation\Load - Addition of load at Lincoln Rock Switchyard. Initial load at the switchyard will be 0 MW. | 23EMS27079
118 | DOPD_TOP | Transformer - Addition of new 230/115-kv Autotransformer T-LR-1 at Lincoln Rock Switchyard | 23EMS27080
119 | DOPD_TOP | Transmission Line - Update ratings of existing Lone Pine-Chelan 115-kV Line and transfer ownership from Chelan PUD to Douglas PUD | 23EMS27081
120 | DOPD_TOP | Transmission Line - Update ratings of existing Brays-Lone Pine 115-kV Line and transfer ownership from Chelan PUD to Douglas PUD | 23EMS27082
121 | DOPD_TOP | Transmission Line - Update ratings of existing Orondo-Brays 115-kV Line and transfer ownership from Chelan PUD to Douglas PUD | 23EMS27083
122 | DOPD_TOP | Transmission Line - Addition of new Lincoln Rock-Orondo 115-kV Line | 23EMS27084
123 | DOPD_TOP | Transmission Line - Removal of existing Douglas-Rapids 230-kV Line | 23EMS27085
124 | DOPD_TOP | Transmission Line - Addition of new Lincoln Rock-Rapids 230-kV Line | 23EMS27086
125 | DOPD_TOP | Transmission Line - Addition of new Douglas-Lincoln Rock 230-kV Line | 23EMS27087
126 | DOPD_TOP | Transmission Line - Removal of existing Douglas-Terry 115-kV Line | 23EMS27088
127 | DOPD_TOP | Transmission Line - Addition of new Lincoln Rock-Terry 115-kV Line | 23EMS27089
128 | DOPD_TOP | Transmission Line - Addition of new Douglas-Lincoln Rock 115-kV Line | 23EMS27090
129 | DOPD_TOP | Substation\Load - Addition of new Lincoln Rock Switchyard | 23EMS27091
130 | HHWP_TOP | Please update HHWP Bus IDs for Bus, Line, XFMR description fields as suggested by the attached document. | 23EMS26772
131 | IID | Need to correct Breaker Name at El Centro station | 23EMS26293
132 | IID_BA | Generator - *** V2.GEN | 23EMS25931
133 | IID_BA | Generator - *** SIG13.8AGG | 23EMS25932
134 | IID_BA | Generator - *** GEM.ORMAGG | 23EMS25933
135 | IID_BA | Generator - *** ELSTM.2AGG | 23EMS25934
136 | IID_BA | Generator - *** ELSTM.3.2 | 23EMS25935
137 | IID_BA | Generator - *** ELSTM.3.1 | 23EMS25936
138 | IID_BA | Generator - *** ELSTM.3.0 | 23EMS25937
139 | IID_BA | Generator - *** ELSTM.2AGG | 23EMS25938
140 | IID_BA | Generator - *** ELSTM.2.2 | 23EMS25939
141 | IID_BA | Generator - *** ELSTM.2.1 | 23EMS25940
142 | IID_BA | Generator - *** SOL.GEN | 23EMS25941
143 | IID_BA | Generator - *** Update Generation Unit Names: ; *** Replace Special Characters with UNDERSCORE; *** DPWR#3; | 23EMS25942
144 | IID_TOP | RAS - Addition of new generation to Path 42 RAS, Ocotillo would be the first one to come into service tentatively April 2023 and then the remaining towards the end of 2023. | 22EMS25502
145 | IID_TOP | Transmission Line - 230kV "S" line ECSS to IV upgrade project, rating for summer would be the same, but with adjusted R,X,B values. | 23EMS25970
146 | IID_TOP | Generator - Single line diagram of Ocotillo | 23EMS25971
147 | IID_TOP | Generator - PSLF attributes for Ocotillo | 23EMS25972
148 | IPCO_BA | Generator - modeled and submitted in 2022M10 network model, but now adding resource ID: HMWY_5_BSP2 | 23EMS26147
149 | IPCO_BA | Generator - modeled and submitted in 2022M10 network model, but now adding resource ID: HMWY_5_BSP1 | 23EMS26148
150 | IPCO_BA | Substation\Load - Addition of HAWK | 23EMS26149
151 | IPCO_BA | Transformer - Addition of MBE8 | 23EMS26150
152 | IPCO_BA | Transformer - Addition of T131 | 23EMS26151
153 | IPCO_BA | Transformer - Addition of T132 | 23EMS26152
154 | IPCO_BA | Transformer - Addition of MBE7 | 23EMS26153
155 | IPCO_BA | Transmission Line - Removal BCSR-MORA1 | 23EMS26154
156 | IPCO_BA | Transmission Line - Addition of HGTN-WEJN | 23EMS26155
157 | IPCO_BA | Transmission Line - Addition of HAWK-MORA | 23EMS26156
158 | IPCO_BA | Transmission Line - Addition of HGWP-HGTN | 23EMS26157
159 | IPCO_BA | Transmission Line - Addition of BSCR-HAWK | 23EMS26158
160 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update - 101Z to 131Z | 23EMS26159
161 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update - 101Zto S-1090 | 23EMS26160
162 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update - 043Z to 044Z | 23EMS26161
163 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update - 101Z to 131Z | 23EMS26162
164 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of MBE8_044A, MBE8_134Z, | 23EMS26163
165 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of 101A | 23EMS26164
166 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of 051A | 23EMS26165
167 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of MBE7_101X, 013Z | 23EMS26166
168 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of 101A, 131Z, 102A | 23EMS26167
169 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of 016A, 017A, 018A, 132Z, 015A,, 012Z, 021Z, 022Z | 23EMS26168
170 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 23EMS26169
171 | IPCO_BA | - CIM export of IPCO_BA FNM. | 23EMS26170
172 | LDWP_BA | Shunt Cap\Reactor\ SVD¿s - Add RS-E Toluca Shunt Capacitor | 23EMS26181
173 | LDWP_BA | Transformer - Delete Out of Service Sylmar Bank E | 23EMS26182
174 | LDWP_BA | Shunt Cap\Reactor\ SVD¿s - Delete Out of Service Marketplace SVC | 23EMS26183
175 | LDWP_BA | Substation\Load - Update Measurments | 23EMS26184
176 | NEVP_TOP | RAS - Updated EMS RAS details to match field | 22EMS24960
177 | NEVP_TOP | Update the Transformer bank default tap position | 23EMS26114
178 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM names and SCADA keys | 23EMS26115
179 | NEVP_TOP | Breaker(s)\ Disconnect(s) - New breakers at substation 230 kv bus | 23EMS26116
180 | NEVP_TOP | Substation\Load - New switch and load at substation | 23EMS26117
181 | NEVP_TOP | Generator - New PV/BESS generation at Crystal | 23EMS26118
182 | NEVP_TOP | Generator - New PV/BESS generation at H Allen. | 23EMS26119
183 | NEVP_TOP | Transmission Line - New transmission line HA-CRY #4 | 23EMS26120
184 | NEVP_TOP | Transmission Line - New transmission line HA-CRY #4 | 23EMS26121
185 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Added MW/MVAR for Bank addition | 23EMS27221
186 | NEVP_TOP | Breaker(s)\ Disconnect(s) - 69 kV breaker addition | 23EMS27222
187 | NEVP_TOP | Shunt Cap\Reactor\ SVD¿s - 138 kV cap addition | 23EMS27223
188 | NEVP_TOP | Shunt Cap\Reactor\ SVD¿s - 138 kV cap addition | 23EMS27224
189 | NEVP_TOP | Transmission Line - Removal of line from Tracy - Patrick, line was reterminated to West Tracy - Patrick. | 23EMS27225
190 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removal of EIM modelling switches for the retermination of the line from Tracy - Patrick to West Tracy - Patrick. | 23EMS27226
191 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removal of EIM modelling switches for installation of 2009 CB at Wild Horse substation. | 23EMS27227
192 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removal of EIM modelling switches for bus re-configuration and transmission line to North Valley Geo substation | 23EMS27228
193 | NEVP_TOP | Shoofly Install\ Removal - Removal of modeled shooflys at substation. | 23EMS27229
194 | NWMT_TOP | Substation\Load - Requested system voltage limits template | 23EMS26112
195 | NWMT_TOP | Breaker(s)\ Disconnect(s) - Laurel Auto and Rimrock Auto substation projects; misc other changes | 23EMS26206
196 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state for 43A to closed and 41A to Open | 23EMS26026
197 | PAC_TOP | Transmission Line - Cleanup double model and remap branch measurements | 23EMS26027
198 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update SCADA key mapping for CB 66 and branch measurements (no changes to ICCP to CAISO) | 23EMS26028
199 | PAC_TOP | Breaker(s)\ Disconnect(s) - Map ICCP to G711 and G761 (no changes to ICCP to CAISO) | 23EMS26029
200 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update names for TR 164I and TR 127I to CS 164I and CS 127I | 23EMS26030
201 | PAC_TOP | Breaker(s)\ Disconnect(s) - Cleanup double model | 23EMS26031
202 | PAC_TOP | Transformer - Add 6 breakers, 10 switches, and 1 new XFMR. Swap positiosn for 10H51 and 10H53 | 23EMS26032
203 | PAC_TOP | Generator - Add Bonanza Solar (12.5 MW) | 23EMS26033
204 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update name for 641A to F1055 | 23EMS26034
205 | PAC_TOP | Generator - Add Felt Creek Hydro (7.6 MW) | 23EMS26035
206 | PAC_TOP | Substation\Load - Add new station and load | 23EMS26036
207 | PAC_TOP | Substation\Load - Add 5 switches, 1 breaker, and 1 load. | 23EMS26037
208 | PAC_TOP | Substation\Load - Add 4 new breakers and 1 new load. Update device type for MO 133A and TR 133I (new RDFIDs). Update name for XFMR 1 Load | 23EMS26038
209 | PAC_TOP | Substation\Load - Add AS 141A, MO 153A, CS 154I, and new load | 23EMS26039
210 | PAC_TOP | Substation\Load - Add new station and load | 23EMS26040
211 | PAC_TOP | Generator - Add Smithfield Solar (12.5 MW) | 23EMS26041
212 | PAC_TOP | Transmission Line - Add MOABs 306A and 307A. Update Line impedances for Clover lines 1 and 2. | 23EMS26042
213 | PAC_TOP | Transformer - Update SCADA mapping for T2 | 23EMS26480
214 | PAC_TOP | Breaker(s)\ Disconnect(s) - Add SW J2033 | 23EMS26481
215 | PAC_TOP | Generator - Update name for S1322 to AS S1322. Update name for Bonanza Solar | 23EMS26482
216 | PAC_TOP | Substation\Load - Remove station | 23EMS26483
217 | PAC_TOP | Transmission Line - Update topology and line impedances | 23EMS26484
218 | PGE_BA | Breaker(s)\ Disconnect(s) - Update SW_5879 nodes and add banch 2229 | 23EMS26098
219 | PGE_BA | Generator - modify PGE gens types | 23EMS26099
220 | PGE_BA | Substation\Load - Sbus-Node reconfiguration | 23EMS26100
221 | PGE_BA | Substation\Load - Sbus-Node reconfiguration | 23EMS26101
222 | PGE_BA | Substation\Load - Sbus-Node reconfiguration | 23EMS26102
223 | PGE_BA | Substation\Load - Sbus-Node reconfiguration | 23EMS26103
224 | PGE_BA | Substation\Load - Sbus-Node reconfiguration | 23EMS26104
225 | PGE_BA | Breaker(s)\ Disconnect(s) - Map B187 SCADA key | 23EMS26105
226 | PGE_BA | Breaker(s)\ Disconnect(s) - Update K671, K670, K680 node number; map SCADA keys for 5 status points and two GENs | 23EMS26106
227 | PGE_BA | Breaker(s)\ Disconnect(s) - Update normal open for B119 and B121 | 23EMS26107
228 | PGE_BA | Breaker(s)\ Disconnect(s) - Remove 2P220 (not PGE device) | 23EMS26108
229 | PGE_BA | - List of ICCP points mapping | 23EMS26109
230 | PGE_BA | - Model Difference report | 23EMS26110
231 | PGE_BA | - Model Updates for PGE: CIMxml model file | 23EMS26111
232 | PNM_BA | Substation\Load - Added ICCP object name W075$Coralblf_Bluff1_Load_MVAR | 23EMS25722
233 | PNM_BA | Substation\Load - Added ICCP object name W075$Coralblf_Bluff1_Load_MW | 23EMS25723
234 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115_04261_Sara_2_ST | 23EMS25724
235 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115_01861_Sara_1_ST | 23EMS25725
236 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_27765_ST | 23EMS25726
237 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_28863_ST | 23EMS25727
238 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_28862_ST | 23EMS25728
239 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_28861_ST | 23EMS25729
240 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name | 23EMS25730
241 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_27761_ST | 23EMS25731
242 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_27762_ST | 23EMS25732
243 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_27763_ST | 23EMS25733
244 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 4261 | 23EMS25734
245 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 1861 | 23EMS25735
246 | PNM_BA | Substation\Load - Added Load Coralblf BLUFF 1 | 23EMS25736
247 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 27765 | 23EMS25737
248 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 28861 | 23EMS25738
249 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Breaker 28862 | 23EMS25739
250 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 28861 | 23EMS25740
251 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch EIM SW1 | 23EMS25741
252 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 27761 | 23EMS25742
253 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Breaker 27762 | 23EMS25743
254 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 27763 | 23EMS25744
255 | PNM_BA | Substation\Load - Added ICCP object name W075$Coralblf_Bluff1_Load_MVAR | 23EMS25745
256 | PNM_BA | Substation\Load - Added ICCP object name W075$Coralblf_Bluff1_Load_MW | 23EMS25746
257 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115_04261_Sara_2_ST | 23EMS25747
258 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115_01861_Sara_1_ST | 23EMS25748
259 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_27765_ST | 23EMS25749
260 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_28863_ST | 23EMS25750
261 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_28862_ST | 23EMS25751
262 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_28861_ST | 23EMS25752
263 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name | 23EMS25753
264 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_27761_ST | 23EMS25754
265 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_27762_ST | 23EMS25755
266 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_27763_ST | 23EMS25756
267 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 4261 | 23EMS25757
268 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 1861 | 23EMS25758
269 | PNM_BA | Substation\Load - Added Load Coralblf BLUFF 1 | 23EMS25759
270 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 27765 | 23EMS25760
271 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 28861 | 23EMS25761
272 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Breaker 28862 | 23EMS25762
273 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 28861 | 23EMS25763
274 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch EIM SW1 | 23EMS25764
275 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 27761 | 23EMS25765
276 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Breaker 27762 | 23EMS25766
277 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 27763 | 23EMS25767
278 | PNM_BA | Substation\Load - Added ICCP object name W075$Coralblf_Bluff1_Load_MVAR | 23EMS25768
279 | PNM_BA | Substation\Load - Added ICCP object name W075$Coralblf_Bluff1_Load_MW | 23EMS25769
280 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115_04261_Sara_2_ST | 23EMS25770
281 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115_01861_Sara_1_ST | 23EMS25771
282 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_27765_ST | 23EMS25772
283 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_28863_ST | 23EMS25773
284 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_28862_ST | 23EMS25774
285 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_28861_ST | 23EMS25775
286 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name | 23EMS25776
287 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_27761_ST | 23EMS25777
288 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_27762_ST | 23EMS25778
289 | PNM_BA | Breaker(s)\ Disconnect(s) - Added ICCP object name W075$Coralblf115kv_27763_ST | 23EMS25779
290 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 4261 | 23EMS25780
291 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 1861 | 23EMS25781
292 | PNM_BA | Substation\Load - Added Load Coralblf BLUFF 1 | 23EMS25782
293 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 27765 | 23EMS25783
294 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 28861 | 23EMS25784
295 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Breaker 28862 | 23EMS25785
296 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 28861 | 23EMS25786
297 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch EIM SW1 | 23EMS25787
298 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 27761 | 23EMS25788
299 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Breaker 27762 | 23EMS25789
300 | PNM_BA | Breaker(s)\ Disconnect(s) - Added Switch 27763 | 23EMS25790
301 | PNM_BA | Breaker(s)\ Disconnect(s) - Provided Full system model as requested per CAISO. | 23EMS25801
302 | PNM_BA | Breaker(s)\ Disconnect(s) - Resubmitted a Full system model as requested per CAISO. | 23EMS25802
303 | PNM_BA | Substation\Load - Added ICCP Object name W075$479V_WL_LINE_VOLTS | 23EMS26043
304 | PNM_BA | Substation\Load - Added ICCP Object name W075$479Q_WL_MVAR | 23EMS26044
305 | PNM_BA | Substation\Load - Added ICCP Object name W075$479P_WL_MW | 23EMS26045
306 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 52-UC | 23EMS26458
307 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 52-UB | 23EMS26459
308 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 52-UA | 23EMS26460
309 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOAB C | 23EMS26461
310 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOAB B | 23EMS26462
311 | PNM_BA | Breaker(s)\ Disconnect(s) - Added MOAB A | 23EMS26463
312 | PNM_BA | Breaker(s)\ Disconnect(s) - Added 89F6 for South Encino Solar ICCP | 23EMS26672
313 | PNM_BA | Generator - Added Encino North Solar Generation | 23EMS26673
314 | PNM_BA | Transformer - Added Encino North Solar Xfmr 115/34.5kV | 23EMS26674
315 | PNM_BA | Breaker(s)\ Disconnect(s) - Added 89F6 | 23EMS26675
316 | PNM_BA | Breaker(s)\ Disconnect(s) - Added 89F5 | 23EMS26676
317 | PNM_BA | Breaker(s)\ Disconnect(s) - Added 89F7-1 | 23EMS26677
318 | PNM_BA | Breaker(s)\ Disconnect(s) - Added PCB F7 | 23EMS26678
319 | PNM_BA | Breaker(s)\ Disconnect(s) - Added 89F7-2 | 23EMS26679
320 | PNM_BA | Transmission Line - HU 115kV - Correct the line rating, 350MVA | 23EMS26680
321 | PNM_BA | Transmission Line - HM 115kV - Correct the line rating, 141 MVA | 23EMS26681
322 | PNM_BA | Transmission Line - WD 115kV - Correct the line rating, 223 MVA | 23EMS26682
323 | PNM_BA | Substation\Load - Addition of Manzanita 46kV Substation Breakers and Disconnect | 23EMS26992
324 | PNM_BA | Generator - Updated PMIN to 0 | 23EMS27022
325 | PNM_BA | Generator - Updated PMIN to 0 | 23EMS27023
326 | PNM_BA | Generator - Updated PMIN to 0 | 23EMS27024
327 | PNM_BA | Generator - Updated PMIN to 0 | 23EMS27025
328 | PNM_BA | Generator - Updated PMIN to 0 | 23EMS27026
329 | PNM_BA | Generator - Updated PMIN to 0 | 23EMS27027
330 | PNM_BA | Generator - Updated PMIN to 0 | 23EMS27028
331 | PNM_BA | Generator - Updated PMIN to 0 | 23EMS27029
332 | PNM_BA | Generator - Updated PMIN to 0 | 23EMS27030
333 | PNM_BA | Generator - Updated PMIN to 0 | 23EMS27031
334 | PNM_BA | Generator - Updated PMIN to 0 | 23EMS27032
335 | PNM_BA | Generator - Updated PMIN to 0 | 23EMS27033
336 | PNM_BA | Generator - Updated PMIN to 0 | 23EMS27034
337 | PNM_BA | Generator - Updated PMIN to 0 | 23EMS27035
338 | PNM_BA | Generator - Updated PMIN to 0 | 23EMS27036
339 | PNM_BA | Generator - Updated PMIN to 0 | 23EMS27037
340 | PNM_BA | Breaker(s)\ Disconnect(s) - Resubmitted a Full system model as requested per CAISO. Corrected the load type from customer load to conforming load | 23EMS27038
341 | PSCO_BA | Add unit and switch telemetry at CFIF and COMA stations | 23EMS26517
342 | PSCO_BA | Add new SUN_MT_SOLAR generator t COMA substation. | 23EMS26893
343 | PSEI_BA | - ICCP list | 23EMS26179
344 | PSEI_BA | - full CIM model | 23EMS26180
345 | SNPD_TOP | Shoofly Install\ Removal - Installing a shoo-fly to bypass Casino | 22EMS24917
346 | SNPD_TOP | Shoofly Install\ Removal - Installing a shoo-fly to bypass West Monroe | 22EMS25267
347 | SNPD_TOP | Shoofly Install\ Removal - Installing a shoo-fly to bypass Thrashers Corner | 23EMS25803
348 | SNPD_TOP | Shoofly Install\ Removal - Installing a shoo-fly to bypass Brier | 23EMS25817
349 | SNPD_TOP | Substation\Load - Construction of a new ring bus substation; 5/17/2023 for Phase 1 and 7/6/2023 for Phase 2 | 23EMS25818
350 | SPP_RC | Add Wayne Station between LAR_RIVR and KEOTI at WACM | 23EMS25909
351 | SPP_RC | Add missing AC lines on the ARAP and GREE station. | 23EMS26771
352 | SPP_RC | SPP Incremental Updates for the DB120 Model. | 23EMS27478
353 | SRP_BA | Transmission Line - Updated KY2 230C B632 and KY2 230C B632 capacitor size | 23EMS26171
354 | SRP_BA | Transmission Line - Updated HOS__SK___69_1 impedances | 23EMS26172
355 | SRP_BA | Transmission Line - Updated ST___TS___69_1 impedances | 23EMS26173
356 | SRP_BA | Shoofly Install\ Removal - Removed OJ 34, OJ 35, and OJ 40 | 23EMS26174
357 | SRP_BA | Shoofly Install\ Removal - Added OJ 29 and OJ 30 | 23EMS26175
358 | SRP_BA | Substation\Load - Added new CREOSOTE Substation for new Solar Generation (Corrected Bus Voltage and limts) | 23EMS26176
359 | SRP_BA | Substation\Load - Added initial model of Scott substation - more work will be added in the next submittal | 23EMS26177
360 | SRP_BA | Shoofly Install\ Removal - Added OJ 27 and OJ 28 | 23EMS26178
361 | SRP_BA | Transmission Line - Updated Impedance on the following transmission lines. Note - these are very small changes to correct the model to be in line with our most up-to-date Transmission Model AC___PB____69_1 AF__NAF__S_69_2 AF___GN____69_1 AF___OL____69_1 AMA__ME____69_1 ANR_ | 23EMS27202
362 | SRP_BA | Substation\Load - Changed name of STOREY substation to FABLE | 23EMS27203
363 | SRP_BA | Breaker(s)\ Disconnect(s) - Corrected low limit on 500kv Bus | 23EMS27204
364 | SRP_BA | Breaker(s)\ Disconnect(s) - Updated Disconnect OJ 14 to DMO500 897 | 23EMS27205
365 | SRP_BA | Breaker(s)\ Disconnect(s) - Removed Open Jumpers 17, 18 | 23EMS27206
366 | SRP_BA | Breaker(s)\ Disconnect(s) - Removed Open Jumpers 28 | 23EMS27207
367 | SRP_BA | Breaker(s)\ Disconnect(s) - Removed Open Jumpers 26, 32, 33, 36, 37, 38 | 23EMS27208
368 | SRP_BA | Breaker(s)\ Disconnect(s) - Added breaker 692 and disconnects 693 and 694 | 23EMS27209
369 | SRP_BA | Breaker(s)\ Disconnect(s) - Added breaker 632, disonnect 631, and moved compensator KY2 230C B632, removed breaker 633 | 23EMS27210
370 | SRP_BA | Transformer - Finilized model of SCOTT Substation, added 69/230 transformers. | 23EMS27211
371 | SRP_BA | Substation\Load - Added several new bays (disonnects and breakers in 230kv bay 1, 69kv bays 0, 1 and 2), re-terminated branch #2 to knox, Added 3 new capacitors on the 69kv | 23EMS27212
372 | SRP_BA | Generator - Added Saint Hybrid Generator | 23EMS27346
373 | SRP_BA | Transmission Line - Updated Impedance on the following transmission lines. Note - these are very small changes to correct the model to be in line with our most up-to-date Transmission Model AC___PB____69_1 AF__NAF__S_69_2 AF___GN____69_1 AF___OL____69_1 AMA__ME____69_1 ANR_ | 23EMS27347
374 | SRP_BA | Substation\Load - Changed name of STOREY substation to FABLE | 23EMS27348
375 | SRP_BA | Breaker(s)\ Disconnect(s) - Corrected low limit on 500kv Bus | 23EMS27349
376 | SRP_BA | Breaker(s)\ Disconnect(s) - Updated Disconnect OJ 14 to DMO500 897 | 23EMS27350
377 | SRP_BA | Breaker(s)\ Disconnect(s) - Removed Open Jumpers 17, 18 | 23EMS27351
378 | SRP_BA | Breaker(s)\ Disconnect(s) - Removed Open Jumpers 28 | 23EMS27352
379 | SRP_BA | Breaker(s)\ Disconnect(s) - Removed Open Jumpers 26, 32, 33, 36, 37, 38 | 23EMS27353
380 | SRP_BA | Breaker(s)\ Disconnect(s) - Added breaker 692 and disconnects 693 and 694 | 23EMS27354
381 | SRP_BA | Breaker(s)\ Disconnect(s) - Added breaker 632, disonnect 631, and moved compensator KY2 230C B632, removed breaker 633 | 23EMS27355
382 | SRP_BA | Transformer - Finilized model of SCOTT Substation, added 69/230 transformers. | 23EMS27356
383 | SRP_BA | Substation\Load - Added several new bays (disonnects and breakers in 230kv bay 1, 69kv bays 0, 1 and 2), re-terminated branch #2 to knox, Added 3 new capacitors on the 69kv | 23EMS27357
384 | SRP_BA | Substation\Load - Updated the three Creosote generators to have a -92 pmin and included the list of ICCP points for the substation | 23EMS27888
385 | TEPC_TOP | Substation\Load - Modeled out 35kv for accuracy | 23EMS26122
386 | TEPC_TOP | Substation\Load - Modeled out 47kv for accuracy | 23EMS26123
387 | TEPC_TOP | Breaker(s)\ Disconnect(s) - Fixes to various breakers or disconnect device types as well as additions of more measurements and ICCPs | 23EMS26124
388 | TEPC_TOP | Substation\Load - Creation of Patriot substation, with connection to Irvington. Station in service date set for May 2023 | 23EMS26125
389 | TPWR_BA | Generator - Removal | 23EMS26465
390 | TPWR_BA | Generator - Update | 23EMS26466
391 | TPWR_BA | Breaker(s)\ Disconnect(s) - UPdate | 23EMS26467