## Revision_History
FNM Scope for FNM DB23M6
(Production 6/14/2023)
Revision History – Final Scope: 4/6/2023, Late Model Scope Change Request Deadline: 5/8/2023
Effective Date | Version | Description
2023-04-06 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
2023-06-13 | 2 | Add additional information
California ISO – Public

## NRI
I. NRI Projects
No | PTO | Resource ID | Project Name / Description | Project Key | Capacity (MW) | POD | Additional Information
1 | SCE | VICPAS_2_SLOSR1 | Sloth | 08AS670111 | 49.5 | REDBLUFF 220KV BUS | New Solar resource
2 | SCE | VICPAS_2_VPSSR1 | Victory Pass Solar | 15AS882246 | 200 | REDBLUFF 220KV BUS | New Solar resource
3 | SCE | VICPAS_2_SOCSR1 | Sol Catcher BESS PV1 | 23GEN26370 | 100 | REDBLUFF 220KV BUS | New Solar resource
4 | SCE | VICPAS_2_SOCSR2 | Sol Catcher BESS PV2 | 23GEN26372 | 93.5 | REDBLUFF 220KV BUS | New Solar resource
5 | SCE | VICPAS_2_SOCSR3 | Sol Catcher BESS PV3 | 23GEN26392 | 20 | REDBLUFF 220KV BUS | New Solar resource
6 | SCE | VICPAS_2_SOCBT1 | Sol Catcher BESS 1 | 23NGR26374 | 50 | REDBLUFF 220KV BUS | New Non-Generation resource
7 | SCE | VICPAS_2_SOCBT2 | Sol Catcher BESS 2 | 23NGR26375 | 71 | REDBLUFF 220KV BUS | New Non-Generation resource
8 | SCE | VICPAS_2_VPSBT1 | Victory Pass Solar BESS | 23NGR26377 | 50 | REDBLUFF 220KV BUS | New Non-Generation resource
9 | SCE | VICPAS_2_SLOBT1 | Sloth BESS | 23NGR26378 | 15 | REDBLUFF 220KV BUS | New Non-Generation resource
10 | SCE | HAMLIN_1_BLDSB1 | Baldy Mesa Hybrid | 23NGR26858 | 150 | ROADWAY 115kV BUS | New Non-Generation resource
11 | SDGE | MCFLND_5_MFSSR1 | McFarland Solar A PV | 23GEN26140 | 200 | IMPERIAL VALLEY 500 kV BUS | New Solar resource
12 | SDGE | ELLIOT_6_ELIBT1 | Elliott Energy Storage | 23NGR24911 | 9.75 | Elliot 69kV bus | New Non-Generation resource
13 | SDGE | MCFLND_5_MFSBT1 | McFarland Solar A BESS | 23NGR25816 | 100 | IMPERIAL VALLEY 500 kV BUS | New Non-Generation resource
14 | SDGE | MSHGTS_6_EMHBT1 | EnerSmart Mesa Heights | 23NGR25822 | 3 | MESA HEIGHTS 69 KV BUS | New Non-Generation resource
15 | SDGE | IMPBCH_6_EIBBT1 | EnerSmart Imperial Beach | 23NGR25823 | 3 | IMPERIAL BEACH 69 KV BUS | New Non-Generation resource
16 | SDGE | BLVRDE_6_BLVBT1 | Boulevard Energy Storage | 23NGR25927 | 9.75 | BOULEVARD EAST 69kV BUS | New Non-Generation resource
17 | SDGE | CLRMNT_6_CLEBT1 | Clairemont Energy Storage | 23NGR25928 | 9 | CLAIREMONT 69KV BUS | New Non-Generation resource
18 | SDGE | PARDSE_6_PESBT1 | Paradise Energy Storage | 23NGR25929 | 9.75 | PARADISE 69KV BUS | New Non-Generation resource
19 | SDGE | PALA_6_PGCBT1 | Pala Gomez Creek BESS | 23NGR25958 | 10 | PALA 69KV Bus | New Non-Generation resource
20 | SDGE | MELRSE_6_MELBT1 | Melrose BESS 1 | 23NGR25959 | 10 | MELRSE 69KV North BUS | New Non-Generation resource
21 | SDGE | MELRSE_6_MELBT2 | Melrose BESS 2 | 23NGR25960 | 10 | MELRSE 69KV South BUS | New Non-Generation resource
22 | SDGE | IMPBCH_6_EIBBT2 | EnerSmart Imperial Beach 2 | 23NGR26197 | 3 | IMPERIAL BEACH 69 KV BUS | New Non-Generation resource
23 | N/A |  | HenriettaSolar1 | 22RIG23170 | 102 |  | RIG Reconfiguration
24 | N/A |  | GSD DULLES | 22RIG23713 | 1.99 |  | RIG Reconfiguration
25 | N/A |  | Seville Solar 1 SSRIG2023 | 23RIG25611 | 20 |  | RIG Reconfiguration
26 | N/A |  | Henrietta Solar (Parrey LLC) | 23RIG25918 | 100 |  | RIG Reconfiguration
27 | N/A |  | Cabazon NERC BAL 003 | 23RIG26359 | 38.9 |  | RIG Reconfiguration
28 | N/A |  | Montezuma Wind | 23RIG26362 | 36.8 |  | RIG Reconfiguration
29 | N/A |  | Montezuma Wind II NERC BAL 003 | 23RIG26363 | 78.2 |  | RIG Reconfiguration
30 | N/A |  | North Sky River NERC BAL 003 | 23RIG26364 | 162 |  | RIG Reconfiguration
31 | N/A |  | Wind Power Partners 1993 NERC BAL 003 | 23RIG26365 | 49.5 |  | RIG Reconfiguration
32 | N/A |  | Shafter Solar NERC BAL 003 | 23RIG26366 | 20 |  | RIG Reconfiguration
33 | N/A |  | Golden Hills NERC BAL 003 | 23RIG26368 | 85.9 |  | RIG Reconfiguration
34 | N/A |  | McCoy Solar HSL Mapping | 23RIG26468 | 250 |  | RIG Reconfiguration
35 | N/A |  | Blythe Solar HSL Mapping | 23RIG26469 | 110 |  | RIG Reconfiguration
36 | N/A |  | Blythe Solar II DRACKR_2_SOLAR2 HSL Mapping | 23RIG26485 | 125 |  | RIG Reconfiguration
37 | N/A |  | Blythe Solar III DRACKR_2_DS3SR3 HSL Mapping | 23RIG26486 | 125 |  | RIG Reconfiguration
38 | N/A |  | Blythe Solar IV A DRACKR_2_DS4SR4 HSL Mapping and FR | 23RIG26487 | 62.5 |  | RIG Reconfiguration
39 | N/A |  | Blythe Solar IV B DRACKR_2_D4SR4B HSL Mapping and FR | 23RIG26488 | 62.5 |  | RIG Reconfiguration
40 | N/A |  | Commission New Plant RIG | 23RIG26542 | 13.2 |  | RIG Reconfiguration
41 | N/A |  | Sky River A JAWBNE 2 SRWWD2 HSL and NERC BAL 003 | 23RIG26571 | 29.5 |  | RIG Reconfiguration
42 | N/A |  | Sky River B JAWBNE 2 SRWIND HSL and NERC BAL 003 | 23RIG26572 | 30.2 |  | RIG Reconfiguration
43 | N/A |  | Wind Power Partners 1993 BUCKWD_1_QF HSL and NERC BAL 003 | 23RIG26579 | 49.5 |  | RIG Reconfiguration
44 | N/A |  | Wind Power Partners 1993 RENWD_1_QF HSL and NERC BAL 003 | 23RIG26580 | 49.5 |  | RIG Reconfiguration

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | PGAE | 19TRANS9366 | Sonrisa Solar PV Interconnection (Q1391) | ET4151
2 | PGAE | 19TRANS9366 | Sonrisa Solar PV Interconnection (Q1391) | ET4152
3 | PGAE | 21TRANS15397 | Janus Generation Interconnection (Q1455) Project | ET4578
4 | PGAE | 21TRANS15397 | Janus Generation Interconnection (Q1455) Project | ET4579
5 | SCE | 21TRANS19091 | Bishop RAS - Lyster Generation Addition | ET4709

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | AESO_RC | AESO Incremental Updates | 23EMS28736
2 | AVA_BA | - Submitting BES Exceptions via new template for RC0120A Item 4.10. | 23EMS26817
3 | AVA_BA | - ICCP mapping to AVA CIM model | 23EMS27070
4 | AVA_BA | - Note: the ratings in this submittal are SUMMER = High1/High2, and SPRING = High3/High4 | 23EMS27071
5 | AZPS_BA | Generator - Added generator 'Mesq SLR5 A 34.5KV'; Pmax = 60 | 23EMS26505
6 | AZPS_BA | Generator - Added BESS resource 'Mesq BESS5 A 34.5KV'; Pmin = -60, Pmax = 60 | 23EMS26506
7 | AZPS_BA | Substation\Load - Added conforming load 'Mesq Aux EQL 34.5KV' | 23EMS26507
8 | AZPS_BA | Mesq | 23EMS28924
9 | BANC_BA | Transformer - Added step up transfomer. | 23EMS27125
10 | BANC_BA | Shunt Cap\Reactor\ SVD¿s - Updated suseptance values for two Shunt devices. | 23EMS27126
11 | BANC_BA | Breaker(s)\ Disconnect(s) - Added a UCONN for new aggregated unit and new breakers. | 23EMS27127
12 | BANC_BA | Generator - Added an aggregated unit. | 23EMS27128
13 | BANC_BA | Substation\Load - Added Voltage measurements to busbars. | 23EMS27129
14 | BANC_BA | Transmission Line - Added MVAR measurements to these lines. | 23EMS27130
15 | BANC_BA | Breaker(s)\ Disconnect(s) - Removed Disconnect 3615. | 23EMS27131
16 | BANC_BA | Transformer - Renaming ICCP IDs from 69 to 230 for ELK XFMR2. | 23EMS27132
17 | BANC_BA | Breaker(s)\ Disconnect(s) - Renaming of D5505 and S5507 ICCP Object ID. | 23EMS27133
18 | BANC_BA | Transmission Line - MW and MVAR ICCP object ID rename and connection to STD-STG line. | 23EMS27134
19 | BCHA_RC | Transmission Line - Add line segment 60L61_2 | 23EMS27097
20 | BCHA_RC | Transmission Line - Add line segment 1L377_7 | 23EMS27098
21 | BCHA_RC | Substation\Load - Add a new substation DSN | 23EMS27099
22 | BCHA_RC | Equipment Type - Updated ICCP | 23EMS27100
23 | BPAT_BA | Substation\Load - New Snohomish PUD station phase 2. | 23EMS27191
24 | BPAT_BA | Substation\Load - New tab station. | 23EMS27192
25 | BPAT_BA | Substation\Load - New load station. | 23EMS27193
26 | BPAT_BA | Substation\Load - Added new disconnects. | 23EMS27194
27 | BPAT_BA | Substation\Load - New tab station. | 23EMS27195
28 | BPAT_BA | Generator - EBC generation station moves to BPA BA as a load from SCL BA. | 23EMS27196
29 | BPAT_BA | RAS - New BPA AC RAS to shed load at FRIEND station. | 23EMS27197
30 | BPAT_BA | Generator - BPA Dynamic generator model mapping | 23EMS27198
31 | BPAT_BA | Contingency Definition - BPA Contingency List | 23EMS27199
32 | BPAT_TOP | Transmission Line - Update Item Number 6.23 | 23EMS27073
33 | CHPD_BA | List of CHPD Psuedo-ties and dynamic schedules. Deletion of Morgan Stanley ICCP point W021_MS_DYNSCH_REQ and future deletion of Lone Pine ICCP point W021_LONEPINE_MW (March 2023). | 23EMS26815
34 | CHPD_BA | This submittal list to comply with IRO-010 Req. 6.16 of all CHPD's pseudo ties and jointly owned units by the owner BA. | 23EMS26816
35 | DOPD_TOP | Transmission Line - Swap the termination points on the Rapids Switchyard ring bus of the South Nile-Rapids and Rapids-Hanna-Valhalla Lines | 23EMS27092
36 | DOPD_TOP | Transmission Line - Swap the termination points on the Rapids Switchyard ring bus of the South Nile-Rapids and Rapids-Hanna-Valhalla Lines | 23EMS27093
37 | DOPD_TOP | Contingency Definition - Addition of new contingency to be studied for loss of the new Rapids-Columbia Line | 23EMS27094
38 | DOPD_TOP | Breaker(s)\ Disconnect(s) - Addition of all new breakers and disconnect switches at Rapids Switchyard for the new Rapids-Columbia Line | 23EMS27095
39 | DOPD_TOP | Transmission Line - Addition of new Rapids-Columbia 230-kV Transmission Line | 23EMS27096
40 | EPEC | EPE Incremental Updates | 23EMS27281
41 | EPE_TOP | Flip ARR PST Step Increment Value | 23EMS28118
42 | GCPD_BA | - This is a new joint dynamic schedule. | 23EMS26683
43 | GCPD_TOP | Transmission Line - A single transmission line section needs to have updated System Operating Limits. | 23EMS26927
44 | GLW | Trout Canyon-Yellowpine 230kV | 23EMS28289
45 | IID_TOP | Generator - Single line diagram for Holtville BESS | 23EMS27074
46 | IID_TOP | Generator - PSLF attributes for Holtville BESS | 23EMS27075
47 | IPCO_BA | Generator - Move BSP1 to 12.5kV | 23EMS27039
48 | IPCO_BA | Generator - Move G001 and G002 to 12.5kV | 23EMS27040
49 | IPCO_BA | Generator - Move BSP1 to 12.5kV | 23EMS27041
50 | IPCO_BA | Generator - Move BSP1 to 35kV | 23EMS27042
51 | IPCO_BA | Generator - Move TESR to 12.5kV | 23EMS27043
52 | IPCO_BA | Generator - Move SISW to 12.5kV | 23EMS27044
53 | IPCO_BA | Generator - Move SCSR to 12.5kV | 23EMS27045
54 | IPCO_BA | Generator - Move ORSR to 12.5kV | 23EMS27046
55 | IPCO_BA | Generator - Move ONSR to 12.5kV | 23EMS27047
56 | IPCO_BA | Generator - Move MRDP to 12.5 kV | 23EMS27048
57 | IPCO_BA | Generator - Move MGSR and RRSR to 12.5kV | 23EMS27049
58 | IPCO_BA | Generator - Move HLSR to 12.5kV | 23EMS27050
59 | IPCO_BA | Generator - Move GVSP to 35kV | 23EMS27051
60 | IPCO_BA | Generator - Move VASR to 12.5kV | 23EMS27052
61 | IPCO_BA | Generator - Move BKCL to 35kV | 23EMS27053
62 | IPCO_BA | Generator - Move BBWF and MDWP to 35kV | 23EMS27054
63 | IPCO_BA | Generator - Move BADM to 35kV | 23EMS27055
64 | IPCO_BA | Generator - Move ARHP and DVPR to 35kV | 23EMS27056
65 | IPCO_BA | Transformer - Removal of T062 and T061 | 23EMS27057
66 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of 131L Removal of OCHD2, OCHD6, OCHD1, OCHD9, OCHD3, OCHD7, OCHD5, OCHD8, OCHD10, and OCHD4 | 23EMS27058
67 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of 061A | 23EMS27059
68 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of 102Z, 101Z, 103Z, 132NEW, TFSNOLD, 131OLD, SHFLY, 104X, TFSNNEW, 101X, JRTPOLD, 132OLD, 131NEW, JRTPNEW, and 102X | 23EMS27060
69 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of 001Z and 002Z | 23EMS27061
70 | IPCO_BA | Transmission Line - Removal of BOBN-OCHD and ELMR-OCHD lines | 23EMS27062
71 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 23EMS27063
72 | IPCO_BA | - CIM export of IPCO_BA FNM. | 23EMS27064
73 | IPCO_TOP | - Voltage limit changes per the new format | 23EMS27066
74 | LDWP_BA | Breaker(s)\ Disconnect(s) - Add CBs and Disonnects for RS-E Toluca Shunt Reactor | 23EMS27137
75 | LDWP_BA | Shunt Cap\Reactor\ SVD¿s - Add RS-E Toluca Shunt Reactor | 23EMS27138
76 | LDWP_BA | Transmission Line - Add Tie-Line to INT U2 | 23EMS27139
77 | LDWP_BA | Transmission Line - Add Tie-Line to INT U1 | 23EMS27140
78 | LDWP_BA | Substation\Load - Update Measurments | 23EMS27141
79 | NWMT_TOP | Breaker(s)\ Disconnect(s) - Added and removed switches, added contingencies, Updated lines | 23EMS27142
80 | PAC_TOP | Shunt Cap\Reactor\ SVD¿s - Update scheduled step for shunt cap bank | 23EMS27407
81 | PAC_TOP | Shunt Cap\Reactor\ SVD¿s - Update scheduled step for shunt cap bank | 23EMS27408
82 | PAC_TOP | Shunt Cap\Reactor\ SVD¿s - Update scheduled step for shunt cap bank | 23EMS27409
83 | PAC_TOP | Shunt Cap\Reactor\ SVD¿s - Update scheduled step for shunt cap bank | 23EMS27410
84 | PAC_TOP | Shunt Cap\Reactor\ SVD¿s - Update scheduled step for shunt cap bank | 23EMS27411
85 | PAC_TOP | Shunt Cap\Reactor\ SVD¿s - Update scheduled step for 2 shunt cap banks | 23EMS27412
86 | PAC_TOP | Shunt Cap\Reactor\ SVD¿s - Update scheduled step for shunt cap bank | 23EMS27413
87 | PAC_TOP | Breaker(s)\ Disconnect(s) - Add 2 breakers and 2 switches | 23EMS27414
88 | PAC_TOP | Generator - Update MVAR measurement for generator | 23EMS27415
89 | PAC_TOP | Transmission Line - Remove 1 branch and update measurements | 23EMS27416
90 | PAC_TOP | Substation\Load - Update topology, device names, and SCADA mapping | 23EMS27417
91 | PAC_TOP | Breaker(s)\ Disconnect(s) - Add 1 breaker | 23EMS27418
92 | PAC_TOP | Generator - Update Unit MW SCADA and limits for Gen1. Update scheduled step for 3 shunt cap banks | 23EMS27419
93 | PAC_TOP | Breaker(s)\ Disconnect(s) - Add 1 switch | 23EMS27420
94 | PGE_BA | Substation\Load - Install Temp G at St Louis Substation | 23EMS26995
95 | PGE_BA | Substation\Load - Install Temp C at Glisan Substation | 23EMS26996
96 | PGE_BA | Breaker(s)\ Disconnect(s) - Clean up double models at Glisan station | 23EMS26997
97 | PGE_BA | Substation\Load - Remap KLPT voltage mapping | 23EMS26998
98 | PGE_BA | Breaker(s)\ Disconnect(s) - Remove SW_5741 and remove the Brookwood tap 2 station | 23EMS26999
99 | PGE_BA | Substation\Load - Clean up double models at RVGT, RVGS, NTRN and LS11507 | 23EMS27000
100 | PGE_BA | Transmission Line - Reconduct the topology for E-Wacker 115kV line as Harborton project phase 2 | 23EMS27001
101 | PGE_BA | Substation\Load - Remap two BUS KVs to line KVs | 23EMS27002
102 | PGE_BA | Substation\Load - Remap BUS KV to line KV | 23EMS27003
103 | PGE_BA | Substation\Load - Remap points to R2 | 23EMS27004
104 | PGE_BA | Substation\Load - Add Portland Ground Water Pumping Station Load | 23EMS27005
105 | PGE_BA | Transmission Line - Remove from side measurements on BTHL_CLVR_W1415 | 23EMS27006
106 | PGE_BA | Transformer - Remap two XFMRs measurements to 230kv | 23EMS27007
107 | PGE_BA | Breaker(s)\ Disconnect(s) - Rename ABRN_W212 to W212_ABRN and ABRN_W211 to W211_ABRN | 23EMS27008
108 | PGE_BA | Substation\Load - Rename FRDY_FYP1_W62095 to FYP1_BK8_ZBR and FRDY_WR81302 to FYP1_BK8_1302 | 23EMS27009
109 | PGE_BA | Transmission Line - Update the PGE transmission Line AAR to the latest | 23EMS27010
110 | PGE_BA | - List of ICCP points mapping | 23EMS27011
111 | PGE_BA | - Model Difference report | 23EMS27012
112 | PGE_BA | - Model Updates for PGE: CIMxml model file | 23EMS27013
113 | PSEI_BA | Transmission Line - Uprate of SBR-VJU line ratings, measurement RDFID is same. | 23EMS26723
114 | PSEI_BA | - Maintenance submittal, minor changes | 23EMS27200
115 | PSEI_BA | - Maintenance submittal, minor changes | 23EMS27201
116 | RDNG_TOP | Generator - Historical Minimum Experienced Operating Temperature data. | 23EMS26991
117 | SNPD_TOP | Transmission Line - Update 115kV line ratings | 23EMS26926
118 | SPP_RC | SPP Incremental Updates for DB121 Model | 23EMS27532
119 | SRP_BA | SRP Mesquite RAS update | 22EMS23161
120 | SVP_TOP | Transmission Line - Exisitng Line rating update | 23EMS27213
121 | SVP_TOP | Transmission Line - Exisitng Line rating update | 23EMS27214
122 | SVP_TOP | Transmission Line - Exisitng Line rating update | 23EMS27215
123 | SVP_TOP | Transmission Line - Exisitng Line rating update | 23EMS27216
124 | SVP_TOP | Transmission Line - Exisitng Line rating update | 23EMS27217
125 | SVP_TOP | Transmission Line - Exisitng Line rating update | 23EMS27218
126 | SVP_TOP | Transformer - Transformer rating limited by GS411, 413 & 415 | 23EMS27219
127 | SVP_TOP | Transformer - Transformer rating limited by GS411, 413 & 415 | 23EMS27220
128 | TEPC_TOP | Generator - Gila block 2 Unit generation limit increased | 23EMS27135
129 | TEPC_TOP | Substation\Load - Addition of misc new measurements and minor fixes on various devices. | 23EMS27136
130 | TIDC_BA | Transmission Line - Summer/Winter Limits Updated | 23EMS27143
131 | TIDC_BA | Generator - Addition of 4 Generation Units to the Marshall Substation 12kv EROCK_UNIT1 - EROCK_UNIT4, CB11 Name changed to CB4, Addition of 4 new CB's G1-G4. Addition of 12 New Switches G1A,G1B,G1C - G4A,G4B,G4C. | 23EMS27144