## Revision_History
FNM Scope for FNM DB23M7
(Production 7/26/2023)
Revision History – Final Scope: 5/25/2023, Late Model Scope Change Request Deadline: 6/19/2023
Effective Date | Version | Description
2023-05-25 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
2023-07-24 | 2 | Add additional information
California ISO – Public

## NRI
I. NRI Projects
No | PTO | Resource ID | Project Name / Description | Project Key | Capacity (MW) | POD | Additional Information
1 | PGAE | SCARLT_2_SS2SR1 | Scarlet Solar 2 PV | 22GEN25349 | 200 | Tranquility 230 KV | New Solar resource
2 | PGAE | RUSSELL_2_SOLANO1 | Solano Renewables 1 | 23GEN26922 | 230 | Birds Landing SW Station 230kV Bus | New Wind/Wind Repower aggregate resource with two child units USWNDR_2_SMUD and USWNDR_2_SMUD2
3 | SCE | POLRIS_2_ASRSR1 | Antelope Solar 2 Raceway | 22GEN24157 | 125 | Antelope 220 kV | New Solar resource
4 | SCE | POLRIS_2_ASESR1 | Antelope Solar 2 Estrella | 22GEN24159 | 56 | Antelope 220 kV Bus | New Solar resource
5 | SCE | ESNHWR_2_CS1BT3 | Carris Storage 1 | 22NGR23731 | 10 | Devers 230kv Bus | New Non-Generation resource
6 | SCE | ESNHWR_2_HDSBT2 | Hecate Energy Desert Storage 1 | 22NGR24345 | 10 |  | New Non-Generation resource
7 | SCE | POLRIS_2_ASRBT1 | Antelope Solar 2 Raceway BESS | 23NGR25613 | 80 | Antelope 220 kV Bus | New Non-Generation resource
8 | SCE | POLRIS_2_ASEBT1 | Antelope Solar 2 Estrella BESS | 23NGR25614 | 28 | Antelope 220 kV Bus | New Non-Generation resource
9 | SCE | RTEDDY_2_RWSBT2 | Rosamond West Solar Central BESS A1 | 23NGR26185 | 30 | Whirlwind 230 KV | New Non-Generation resource
10 | SCE | RTEDDY_2_RWSBT1 | Rosamond West Solar Central BESS A2 | 23NGR26186 | 30 | Whirlwind 230 KV | New Non-Generation resource
11 | SCE | RTEDDY_2_RWSBT3 | Rosamond West Solar Central BESS A3 | 23NGR26187 | 45 | Whirlwind 230 KV | New Non-Generation resource
12 | SCE | RTEDDY_2_RWSBT4 | Rosamond West Solar Central BESS B | 23NGR26188 | 30 | Whirlwind 230 KV | New Non-Generation resource
13 | SCE | RTEDDY_2_RWSBT5 | Rosamond West Solar Central BESS C | 23NGR26189 | 12 | Whirlwind 230 KV | New Non-Generation resource
14 | SCE | HAMLIN_1_BMSBT2 | Baldy Mesa SP | 23NGR26904 | 50 | ROADWAY 115kV BUS | New Non-Generation resource
15 | SCE | DMDVLY_1_UNITS | Diamond Valley Lake Pump Gen | 23NGR27905 | 21 |  | New Storage resource
16 |  |  | Astoria 2 | 22RIG22946 | 75 |  | RIG Reconfiguration
17 |  |  | Astoria 1 Rig Update | 22RIG23567 | 100 |  | RIG Reconfiguration
18 |  |  | Morelos Solar (GASNA 31P, LLC) | 23RIG25919 | 15 |  | RIG Reconfiguration
19 |  |  | Adelanto Solar | 23RIG26358 | 20 |  | RIG Reconfiguration
20 |  |  | Diablo NERC BAL 003 | 23RIG26360 | 18 |  | RIG Reconfiguration
21 |  |  | Adelanto Solar II VICTOR 1 SOLAR3 HSL and NERC BAL 003 | 23RIG26570 | 7 |  | RIG Reconfiguration
22 |  |  | Blythe 3 BESS DRACKR_2_DSUBT3 FR | 23RIG27335 | 115 |  | RIG Reconfiguration
23 |  |  | Blythe 2 BESS DRACKR_2_DSUBT2 FR | 23RIG27336 | 115 |  | RIG Reconfiguration
24 |  |  | Blythe 1 BESS DRACKR_2_DSUBT1 FR | 23RIG27337 | 63 |  | RIG Reconfiguration
25 |  |  | Cuyama Solar, LLC | 23RIG28358 | 40 |  | RIG Reconfiguration
26 |  |  | ALMEGT_1_UNIT 1 | 23RIG28464 | 25 |  | RIG Reconfiguration

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | PGAE | 20TRANS12541 | Fulton-Calistoga 60 kV Line Reinforcement Project | ET4375
2 | PGAE | 20TRANS12541 | Fulton-Calistoga 60 kV Line Reinforcement Project | ET5242
3 | PGAE | 22TRANS21008 | Greenleaf 1 (QF-C) Project | ET4886
4 | SCE | 15TRANS874077 | Upgrade Eldorado-Lugo-Mohave 500 kV T/L Series Cap and Terminal Equipment (Multiple Locations) | ET5263
5 | SCE | 15TRANS874077 | Upgrade Eldorado-Lugo-Mohave 500 kV T/L Series Cap and Terminal Equipment (Multiple Locations) | ET5264
6 | SCE | 15TRANS874077 | Upgrade Eldorado-Lugo-Mohave 500 kV T/L Series Cap and Terminal Equipment (Multiple Locations) | ET5266
7 | SCE | 20TRANS14106 | SCE Centralized Remedial Action Scheme (CRAS) | ET5170
8 | SCE | 20TRANS14106 | SCE Centralized Remedial Action Scheme (CRAS) | ET5171
9 | SCE | 20TRANS14106 | SCE Centralized Remedial Action Scheme (CRAS) | ET5267
10 | SCE | 20TRANS14106 | SCE Centralized Remedial Action Scheme (CRAS) | ET5268
11 | SCE | 22TRANS22431 | Springville 220/66 kV Transformer | ET5085
12 | SCE | 22TRANS22431 | Springville 220/66 kV Transformer | ET5086
13 | SCE | 22TRANS22431 | Springville 220/66 kV Transformer | ET5240
14 | SCE | 22TRANS22431 | Springville 220/66 kV Transformer | ET5241

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | AESO_RC | AESO Substation English Name Updates | 23EMS26391
2 | AESO_RC | AESO Incremental Updates | 23EMS28933
3 | APS | update BAGX station | 23EMS27975
4 | APS | Add CIM analogs and ICCP to the North Gila (NGILAN) side of the Hassayampa line | 23EMS28877
5 | AVA_BA | - ICCP mapping to AVA CIM model | 23EMS28664
6 | AVA_BA | - Note: the ratings in this submittal are SUMMER = High1/High2, and FALL = High3/High4 | 23EMS28665
7 | AVRN_BA | KLONDIKE:The substation name requires correction. It should read KLONDIKE III and verify ICCP | 23EMS28838
8 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added WQTAPU2432 | 23EMS28607
9 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed K2704DISC | 23EMS28608
10 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added TAU2704 | 23EMS28609
11 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added CU562 | 23EMS28610
12 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed TTK01-05X | 23EMS28611
13 | AZPS_BA | Transformer - Added WWTMP XFMR14 A 230KV & WWTMP XFMR11 A 69KV | 23EMS28612
14 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added WWTMP1962, WWTMP462, WWTMP1762, WWTMP1662, WWTMP461, WWTMP463, WWTMP1961, WWTMP1963, WWTMP1663, WWTMP661, naSFT14oDISC, WWTMP1161, WWTMP1461, WWTMP561, WWTMP563, WWTMP263, WWTMP761, WWTMP261, WWTMP1661, WWTMP2061, WWTMP1761, WWTMP1763, WWTMP1561 | 23EMS28613
15 | AZPS_BA | Substation\Load - Added | 23EMS28614
16 | AZPS_BA | Transformer - Removed WW XFMR11 A 230KV, WW XFMR14 A 230KV, WW XFMR11 A 12KV, WW XFMR21 A 230KV, WW XFMR11 A 69KV | 23EMS28615
17 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed WW1762, WW1962, WW1662, WW462, WW1663, WW1961, naSFt14oDISC, naSFt11oDISC, WW1661, naSFt21nDISC, WW463, WW461, WW2061, WW1164, WW661, WW1963, WW261, WW1561, WW263, WW561, WW761, WW563, naSFT21nDISC, WW1763, naSFT14oDISC, WW1161, naSFT11oDISC, WW1761 | 23EMS28616
18 | AZPS_BA | Transformer - Added WW XFMR21 A 69KV | 23EMS28617
19 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added WW1161, WW1164, WW4161 | 23EMS28618
20 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added WB362 & WB363 | 23EMS28619
21 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed WBRK6443 | 23EMS28620
22 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added WBRU6443 | 23EMS28621
23 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed naSF2DISC & naSF1DISC | 23EMS28622
24 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed naSF2DISC & naSF1DISC | 23EMS28623
25 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed EC762, EC361, EC763, EC761, EC861 | 23EMS28624
26 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added EC2862, EC2562, EC3062, EC2762, EC1962, EC1662, EC2262, EC1362, EC2462, EC1466, EC2066, EC2666, EC2366, EC1862, EC1562, EC1766, EC2162, EC2966, EC1465, EC1966, EC1467, EC2164, EC2464, EC1564, EC1864, EC3064, EC2065, EC2067, EC1767, EC1666, EC1664, EC1964, EC2965, EC2564, EC2864, EC2967, EC2365, EC2367, EC1765, EC2667, EC2264, EC1366, EC2561, EC2563, EC2261, EC2863, EC2761, EC2263, EC1961, EC1963, EC1661, EC1363, EC2861, EC1663, EC1361, EC1863, EC2161, EC1563, EC2764, EC2665, EC1861, EC3063, EC2461, EC2763, EC1561, EC2163, EC3061, EC2463 | 23EMS28625
27 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added COPHBKR | 23EMS28626
28 | AZPS_BA | Generator - Added COPH MCG A 12KV | 23EMS28627
29 | AZPS_BA | Substation\Load - Added | 23EMS28628
30 | AZPS_BA | Transmission Line - Removed Line_YUT-YU1_69KV & Line_YUT-YU2_69KV | 23EMS28629
31 | AZPS_BA | Shoofly Install\ Removal - Removed Line_JS-FP_TA_69KV | 23EMS28630
32 | AZPS_BA | Generator - FA GT1 A 12KV | 23EMS28631
33 | AZPS_BA | Generator - Added COPH MCG A 12KV | 23EMS28632
34 | AZPS_BA | Generator - YU GEN1 A 69KV & YU_6_TGEN2 | 23EMS28633
35 | AZPS_BA | Transmission Line - Added Line_COPH-DU_12KV, Line_COPH-ST_12KV, Line_MNMNX1_69KV, Line_PN-PNXTP_69KV, Line_WW-TMP1_69KV, Line_WW-TMP2_69KV, Line_WW-TMP3_69KV, Line_WW-TMP4_69KV, Line_WW-TMP5_69KV, Line_WW-TMP6_69KV | 23EMS28634
36 | AZPS_BA | Substation\Load - Removed | 23EMS28635
37 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added YU1862, YU1962, YU1861, YU1963, YU1961, YU1863 | 23EMS28636
38 | AZPS_BA | Transformer - Added PN XFMR1 A 12KV | 23EMS28637
39 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added PN145DX, PN145DB, PN163, PN145DL, PN145DX BYPAS, PNK7268, PN161F, PN143D, PN141D, PN144FX BYPAS | 23EMS28638
40 | AZPS_BA | Substation\Load - Added | 23EMS28639
41 | AZPS_BA | Transformer - Added CR XFMR3 A 12KV | 23EMS28640
42 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added CR442, CR443D, CR441D, CR444FX, CR263, CR343, CR261F | 23EMS28641
43 | AZPS_BA | Substation\Load - Added | 23EMS28642
44 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added MRL1042, MRL1044DX BYPAS, MRL1044DB, MRL1044DX, MRL1044DL, MRL741J, MRL1043D, MRL1041D | 23EMS28643
45 | AZPS_BA | Generator - Removed MN MNX EQG 69KV | 23EMS28644
46 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed K4879DISC | 23EMS28645
47 | AZPS_BA | Transformer - Added BH XFMR2 A 21KV | 23EMS28646
48 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added BH142, BH144FX, BH145DB, BH141D, BH113, BH145DX BYPAS, BH145DX, BH145DL, BH143D | 23EMS28647
49 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed WQTAPK2432 | 23EMS28648
50 | AZPS_BA | Modeling fixes at APS:BA | 23EMS28878
51 | AZPS_BA | Transmission Line - Removed Line_MA-AR_69KV | 23EMS29110
52 | AZPS_BA | Transmission Line - Added Line_MA-OD_69KV & Line_OD-AR_69KV | 23EMS29111
53 | AZPS_BA | Substation\Load - Removed OD XFMR4EQL 230KV & OD XFMR1EQL 230KV | 23EMS29112
54 | AZPS_BA | Transformer - Added OD XFMR4 A 69KV, OD XFMR4 A 230KV, OD XFMR4 A 12KV, & OD XFMR1 A 69KV | 23EMS29113
55 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added OD566, OD1466, OD866, OD1166, OD1062, OD962, OD266, OD162, OD662, OD1562, OD1063, OD1061, OD1167, OD1465, OD1467, OD1165, OD663, OD661, OD963, OD361, OD1563, OD961, OD267, OD461, OD163, OD1361, OD1561, OD265, OD567, OD865, OD1261, OD161, OD761, OD565, & OD867 | 23EMS29114
56 | BANC_BA | Substation\Load - Updated Voltage Limits | 23EMS28675
57 | BANC_BA | Shunt Cap\Reactor\ SVD¿s - Updated nomU for two OLN reactors | 23EMS28676
58 | BANC_BA | Breaker(s)\ Disconnect(s) - Added switch 5102 to Euerka Way Station | 23EMS28677
59 | BANC_BA | Transmission Line - Updating Line ratings | 23EMS28678
60 | BCHA_RC | Transmission Line - Remove line segment 60L32_4 | 23EMS28658
61 | BCHA_RC | Transmission Line - Remove line segment 60L85_2 | 23EMS28659
62 | BCHA_RC | Transmission Line - Add line segment 60L71_8 | 23EMS28660
63 | BCHA_RC | Transmission Line - Add line segment 60L92_2 | 23EMS28661
64 | BCHA_RC | Substation\Load - Add a new substation QBS | 23EMS28662
65 | BCHA_RC | Equipment Type - Updated ICCP | 23EMS28663
66 | BPAT_BA | Substation\Load - Voltage limit report for BPA verson 1218. | 23EMS27740
67 | BPAT_BA | - Various model changes/fixes. | 23EMS28687
68 | BPAT_BA | Generator - BPA Dynamic generator model mapping | 23EMS28688
69 | BPAT_BA | Contingency Definition - BPA Contingency List | 23EMS28689
70 | BPAT_BA | Generator - Removed G01 from GOOSE_PR due to energization push back to fall 2024. | 23EMS28797
71 | BPAT_BA | Generator - fixed BPA CIM model to have 4 ApperentPowerLimit instead of 7. | 23EMS28805
72 | BPAT_TOP | Transmission Line - Update Item Number 6.23 | 23EMS28248
73 | CEN_BA | Generator - Addition substation and generation | 23EMS28470
74 | CEN_BA | Generator - Addition substation and generation | 23EMS28471
75 | CEN_BA | Generator - Addition substation and generation | 23EMS28472
76 | CEN_BA | Generator - Addition substation and generation | 23EMS28473
77 | CEN_BA | Generator - Addition substation and generation | 23EMS28474
78 | CEN_BA | Generator - Addition substation and generation | 23EMS28475
79 | CEN_BA | Breaker(s)\ Disconnect(s) - UPDATE NORMAL OPEN STATUS OF SWITCHES | 23EMS28561
80 | CHPD_BA | Generator - Generator Owner has updated generator models for in-service generator units (Rock Island Powerhouse 1 B9 and B10) | 23EMS28193
81 | CHPD_BA | Transmission Line - see MPAI Comments | 23EMS28558
82 | CHPD_BA | Transmission Line - Remove Switches 6-908, 6-878, 6-877, and 6-98; Add Switch FOXC_JMP to replace 6-878 | 23EMS28588
83 | CHPD_BA | Transmission Line - Anderson Canyon to Leavenworth #2 rating decrease due to conductor MOT decrease from 75C to 49C | 23EMS28589
84 | CHPD_BA | - Updated CHPD's BES exception list and uploaded to RIMS. IRO-010 section 4.10 - BES Exceptions used to require BA/TOP Operating Procedure upload, now it is required in RIMS. | 23EMS28715
85 | CHPD_BA | Generator - Generator Owner has updated generator models for in-service generator unit (Rock Island Powerhouse 1 B4) | 23EMS28753
86 | DOPD_TOP | Breaker(s)\ Disconnect(s) - Addition of four disconnect switches that are currently missing from the RC's model for Lincoln Rock Switchyard | 23EMS28562
87 | EPE_TOP | EPE Incremental Updates | 23EMS28737
88 | GRID_TOP | Substation\Load - New JANPA_345 Ring-Bus | 23EMS27915
89 | IID | Update the impedance values at IID ELCNTO | 23EMS29041
90 | IID_BA | Generator - Add 31MW PV Gen Resrce | 23EMS28590
91 | IID_BA | Generator - Add 31MW PV Gen Resrce | 23EMS28591
92 | IID_TOP | Generator - dyd file for new battery coming into service. | 23EMS28904
93 | IPCO_BA | Generator - IRO 010 Item 6.25 dynamic model data | 23EMS28268
94 | IPCO_BA | Generator - Incremental dynamic data mapping update for IRO-010 Item 6.25 | 23EMS28476
95 | IPCO_BA | Generator - Remove BSP2. This unit will be constructed in the future. | 23EMS28592
96 | IPCO_BA | Transformer - Remove mobile transformers and associated disconnects at HLND and ELMR. | 23EMS28593
97 | IPCO_BA | Breaker(s)\ Disconnect(s) - All STPK disconnects were removed with station removal | 23EMS28594
98 | IPCO_BA | Substation\Load - STPK station was removed | 23EMS28595
99 | IPCO_BA | Breaker(s)\ Disconnect(s) - Remove breakers 101A and 102A because they will not be constructed until a future project. | 23EMS28596
100 | IPCO_BA | Substation\Load - Add existing BPA station RURAL to IPCO model | 23EMS28597
101 | IPCO_BA | Transformer - Add mobile transformer | 23EMS28598
102 | IPCO_BA | Transformer - Convert T061 from load to transformer | 23EMS28599
103 | IPCO_BA | Transformer - Convert T131 from load to transformer | 23EMS28600
104 | IPCO_BA | Transformer - Convert T131 from load to transformer | 23EMS28601
105 | IPCO_BA | Breaker(s)\ Disconnect(s) - Add mobile transformer disconnects | 23EMS28602
106 | IPCO_BA | Breaker(s)\ Disconnect(s) - Add new distribution feeder breakers and associated disconnects | 23EMS28603
107 | IPCO_BA | Transmission Line - Add existing BPA line RCTP-RURAL to IPCO model | 23EMS28604
108 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 23EMS28605
109 | IPCO_BA | - CIM export of IPCO_BA FNM. | 23EMS28606
110 | IPCO_BA | Fix IPCO Station Common Names | 23EMS28944
111 | IPCO_TOP | Contingency Definition - update PROD HANA contingency definition for sequence # 42040 IP1 MPSN-SHSH-TFSN 138 to MPSN-SHSH-HYDA 138 by replacing TFSN 101A with HYDA 101A. Add new contingency IP1 HYDA-TFSN 138 | 23EMS27440
112 | MID_TOP | Substation\Load - as requested by the RC, MID default voltage limits and voltage limit exceptions have been mapped to the applicable RDFIDs using the provided template | 23EMS27770
113 | NEVP_TOP | Substation\Load - Updated ICCP and model with new SCADA | 23EMS28487
114 | NEVP_TOP | Generator - Updated ICCP and model with new SCADA | 23EMS28488
115 | NEVP_TOP | Substation\Load - Added ICCP and modelled new customer | 23EMS28489
116 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated ICCP and model with new SCADA; Added new breakers for new customer | 23EMS28490
117 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated ICCP and model with new SCADA | 23EMS28491
118 | NEVP_TOP | Transmission Line - Updated ICCP and model with new SCADA | 23EMS28492
119 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated ICCP and model with new SCADA | 23EMS28493
120 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated ICCP and model with new SCADA | 23EMS28494
121 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated ICCP and model with new SCADA | 23EMS28495
122 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated ICCP and model with new SCADA | 23EMS28496
123 | NEVP_TOP | Transmission Line - Updated ICCP for transmission lines; Updated SCADA in model | 23EMS28497
124 | NEVP_TOP | Substation\Load - Updated ICCP for transformer banks; Updated SCADA in model | 23EMS28498
125 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removed ICCP for distribution breakers | 23EMS28499
126 | NEVP_TOP | Transmission Line - Added ICCP for future line; Added SCADA to model | 23EMS28500
127 | NEVP_TOP | Shunt Cap\Reactor\ SVD¿s - Added ICCP for future cap bank; Added SCADA to model | 23EMS28501
128 | NWMT_TOP | Transmission Line - see mpai comments | 23EMS28668
129 | PAC_BA | New Three Peaks RAS | 23EMS27917
130 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update names for 2 breakers | 23EMS28382
131 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update name for 1 breaker | 23EMS28383
132 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update names for 2 breakers | 23EMS28384
133 | PAC_TOP | Breaker(s)\ Disconnect(s) - Add 1 switch | 23EMS28385
134 | PAC_TOP | Breaker(s)\ Disconnect(s) - Add 1 switch | 23EMS28386
135 | PAC_TOP | Substation\Load - Add 4 breakers, 1 Load, and 2 branches to COTTONWO and SUMMITPA | 23EMS28387
136 | PAC_TOP | Substation\Load - Add 4 breakers, 1 Load, and 2 branches to SNYDERTP and MOUNTAID | 23EMS28388
137 | PAC_TOP | Breaker(s)\ Disconnect(s) - Add 2 breakers | 23EMS28389
138 | PAC_TOP | Transmission Line - Add 1 switch | 23EMS28390
139 | PAC_TOP | Transmission Line - Add 2 breakers, 8 switches, new breaker, switches, and branch to AMASA | 23EMS28391
140 | PAC_TOP | Transmission Line - Add 4 switches and 2 branches to WINDSTAR and SHIRLEYB | 23EMS28392
141 | PAC_TOP | Transmission Line - Add 3 breakers, 3 switches, branch to AMASA, and 1 Cap bank | 23EMS28393
142 | PAC_TOP | Breaker(s)\ Disconnect(s) - Add 7 breakers and 13 switches | 23EMS28394
143 | PAC_TOP | Transmission Line - Add 2 modelling jumpers and branch to CLOVER | 23EMS28395
144 | PAC_TOP | Transmission Line - Add 10 breakers, 14 switches, branches to MONA and HUNTINGT, and 2 shunt reactors | 23EMS28396
145 | PAC_TOP | Transmission Line - Add 2 modelling jumpers and branch to CLOVER | 23EMS28397
146 | PGE_BA | Generator - Information of PGE Clearwater pseudo-tie schedule | 23EMS28519
147 | PGE_BA | Breaker(s)\ Disconnect(s) - Install line switch 11741 at Willbridge tap 1 station on the ESUB-St Marys 115kV line | 23EMS28520
148 | PGE_BA | Breaker(s)\ Disconnect(s) - Install line switch 11700 at Redland tap station on the Faraday-Mcloughlin 115kV line | 23EMS28521
149 | PGE_BA | Substation\Load - Update the Shute WJ1&2 scheduled values | 23EMS28522
150 | PGE_BA | Breaker(s)\ Disconnect(s) - Remap SCADA key for BCW1_J514 | 23EMS28523
151 | PGE_BA | Substation\Load - Remove WB501, WB502, and LD_WBR5_MDGR | 23EMS28524
152 | PGE_BA | - List of ICCP points mapping | 23EMS28525
153 | PGE_BA | - Model Difference report | 23EMS28526
154 | PGE_BA | - Model Updates for PGE: CIMxml model file | 23EMS28527
155 | PNM_BA | Substation\Load - Addition of Manzanita 46kV Substation Breakers and Disconnect | 23EMS27734
156 | PNM_BA | Substation\Load - Addition of Manzanita 46kV Substation Breakers and Disconnect | 23EMS27735
157 | PNM_BA | Substation\Load - Addition of Manzanita 46kV Substation Breakers and Disconnect | 23EMS27736
158 | PNM_BA | Generator - Updated capability curve | 23EMS27738
159 | PNM_BA | Substation\Load - Added new ICCP, CS KV | 23EMS27771
160 | PNM_BA | Substation\Load - Added new ICCP, CS MVAR | 23EMS27772
161 | PNM_BA | Substation\Load - Added new ICCP, CS MW | 23EMS27773
162 | PNM_BA | Breaker(s)\ Disconnect(s) - Added new ICCP, MOD 27762 | 23EMS27774
163 | PNM_BA | Breaker(s)\ Disconnect(s) - Added HOD 66961 | 23EMS28480
164 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 66962 | 23EMS28481
165 | PNM_BA | Breaker(s)\ Disconnect(s) - Added HOD 66963 | 23EMS28482
166 | PNM_BA | Breaker(s)\ Disconnect(s) - Added HOD 68061 | 23EMS28483
167 | PNM_BA | Breaker(s)\ Disconnect(s) - Added BKR 68062 | 23EMS28484
168 | PNM_BA | Breaker(s)\ Disconnect(s) - Added HOD 68063 | 23EMS28485
169 | PNM_BA | Breaker(s)\ Disconnect(s) - Added HOD 69163 | 23EMS28486
170 | PNM_BA | Breaker(s)\ Disconnect(s) - CAISO requested Full ICCP SCDA Map | 23EMS28649
171 | PNM_BA | - CAISO requested Full ICCP SCDA Map | 23EMS28651
172 | PNM_BA | - Added new ICCP Object for the Total SOC at Arroyo Battery | 23EMS28652
173 | PNM_BA | Transmission Line - Updated MVA limits | 23EMS28716
174 | PNM_BA | Generator - BESS SOC added ICCP name | 23EMS28798
175 | PSEI_BA | - Maintenance submittal, minor changes | 23EMS28681
176 | PSEI_BA | - Maintenance submittal, minor changes | 23EMS28682
177 | RDNG_TOP | Substation\Load - The document System Voltage Limits - TOP_RDNG is RDNG's up-to-date voltage schedule. You'll notice that I uploaded two documents with the same title, the one with the updated revision block is the most up-to-date schedule | 23EMS28192
178 | SCL_BA | Transformer - MVA Limit ratings change for Bothell XMFR 61, Extreme weather template initial submission, and new voltage template initial submission | 23EMS27406
179 | SCL_BA | Substation\Load - EBC will no longer be part of the SCL_BA footprint starting on 5/1/23. The generation plant will join BPAT_BA's footprint on that date. BPA has included a duplicated EBC substation in their latest CIM model update so it can be double modeled and transfered between BA footprints through WebOMS outage cards. | 23EMS28438
180 | SNPD_TOP | Generator - Historical minimum experienced operating temperature of the Jackson generators | 23EMS27508
181 | SNPD_TOP | Substation\Load - System voltage limits using new RC template | 23EMS27533
182 | SNPD_TOP | Shoofly Install\ Removal - Install a shoo-fly at Granite Falls | 23EMS28366
183 | SPP_RC | Update of normal and emergency ratings | 23EMS28158
184 | SPP_RC | SPP_EXT | 23EMS28888
185 | SPP_RC | SPP Incremental Updates for the DB122 Model | 23EMS28940
186 | SRP | Add Missing MW telemetry for SRP 500 kV series devices | 23EMS28932
187 | SRP_BA | Generator - Update limits in Gens : CRE 34 U1, CRE 34 U2, CRE 34 U3, | 23EMS28690
188 | SRP_BA | Transmission Line - Update Device Names in few Tx Liine Names : Old Name : HOD_PPR_69_1, New Name : HOD__PPR___69_1. Old Name : CHOL_PREC_345_1, New Name : CHOL_CHEV_345_1. Old Name : PPR_SCT_69_2, New Name : PPR__SCT___69_2. Old Name : PPR_SCT_69_1, New Name : PPR__SCT___69 | 23EMS28691
189 | SRP_BA | Transmission Line - Updated Impedance on the following transmission lines. Note - these are very small changes to correct the model to be in line with our most up-to-date Transmission Modeling : HAA__NGIL_500_1, HAA__JOA__500_1, SIR__ST___230_1, HAA__MEE__500_2, GRS__JOGR_50 | 23EMS28692
190 | SRP_BA | Transformer - Aadded 230/500 transformer : SRP/HENSHAW/HEW T 69/230 1 | 23EMS28693
191 | SRP_BA | Transformer - Aadded 230/500 transformer : SRP/MORCOM/MOM T230/500 2A | 23EMS28694
192 | SRP_BA | Transformer - Aadded 12/69 transformer : SRP/MORCOM/MOM T 12/ 69 3 | 23EMS28695
193 | SRP_BA | Transformer - Aadded 12/69 transformer : SRP/KAY/KA T 12/ 69 3 | 23EMS28696
194 | SRP_BA | Transformer - Aadded 12/69 transformer : SRP/EGAN/EGN T 12/ 69 3 | 23EMS28697
195 | SRP_BA | Transformer - Aadded 12/69 transformer : SRP/BROOKS/BRS T 12/ 69 3 | 23EMS28698
196 | SRP_BA | Substation\Load - Added Load : SRP/MORCOM/MORCOM 12LD3 | 23EMS28699
197 | SRP_BA | Substation\Load - Added Load : SRP/KAY/KAY 12LD3 | 23EMS28700
198 | SRP_BA | Substation\Load - Added Load : SRP/EGAN/EGAN 12LD3 | 23EMS28701
199 | SRP_BA | Substation\Load - Added Load : SRP/BROOKS/BROOKS 12LD3 | 23EMS28702
200 | SRP_BA | Breaker(s)\ Disconnect(s) - Added Breaker and Disconnects 345 KV : AZ-TEP/PINLWTEP/B345 311C TEP, | 23EMS28703
201 | SRP_BA | Breaker(s)\ Disconnect(s) - Added Breaker and Disconnects 500 KV : CISO/HOODOWSH/B500 352 APS, | 23EMS28704
202 | SRP_BA | Breaker(s)\ Disconnect(s) - Added Breaker and Disconnects 69 KV : SRP/BROOKS/DTP 69 335, SRP/BROOKS/B 69 362, SRP/BROOKS/B 69 332, | 23EMS28705
203 | SRP_BA | Breaker(s)\ Disconnect(s) - Added Breaker and Disconnects 500 & 230 KV : SRP/BROWNING/B500 935, SRP/BROWNING/B500 932, SRP/BROWNING/B500 928, SRP/BROWNING/B500 922, SRP/BROWNING/B230 665, SRP/BROWNING/B230 662, SRP/BROWNING/B230 648, SRP/BROWNING/B230 645, SRP/BROWNING/B230 642, SRP | 23EMS28706
204 | SRP_BA | Breaker(s)\ Disconnect(s) - Added Breaker and Disconnects 69 KV : SRP/EGAN/EGN 69 1/DTP 69 335, | 23EMS28707
205 | SRP_BA | Breaker(s)\ Disconnect(s) - Added Breaker and Disconnects 230 KV : SRP/HENSHAW/B230 635, SRP/HENSHAW/B230 632, | 23EMS28708
206 | SRP_BA | Breaker(s)\ Disconnect(s) - Added Breaker and Disconnects 69 KV : SRP/KAY/DTP 69 335, | 23EMS28709
207 | SRP_BA | Breaker(s)\ Disconnect(s) - Added Breaker and Disconnects 69 KV : SRP/MORCOM/DTP 69 335, | 23EMS28710
208 | SRP_BA | Breaker(s)\ Disconnect(s) - Added Breaker and Disconnects 69 KV : SRP/NORTHERN/DTP 69 335, | 23EMS28711
209 | SRP_BA | Breaker(s)\ Disconnect(s) - Added Breaker and Disconnects 500 & 230 KV : SRP/PINLCNTL/B500 928, SRP/PINLCNTL/B230 685, SRP/PINLCNTL/B230 682, SRP/PINLCNTL/B230 655, SRP/PINLCNTL/B230 652, SRP/PINLCNTL/B230 628, SRP/PINLCNTL/B230 625, SRP/PINLCNTL/B230 622 | 23EMS28712
210 | SRP_BA | Breaker(s)\ Disconnect(s) - Added Breaker and Disconnects 69 KV : SRP/WESTWOOD/DTP 69 315 | 23EMS28713
211 | SRP_BA | Transmission Line - Added new Tx Line 69KV between SCOTT and PERALES | 23EMS28714
212 | SVP_TOP | Shunt Cap\Reactor\ SVD¿s - Remove four shunt capacitor modeled at existing Central 60 kV substation | 23EMS28788
213 | SVP_TOP | Substation\Load - Addition of conforming load T2 at existing Serra 60 kV substation | 23EMS28789
214 | SVP_TOP | Substation\Load - Addition of conforming load TQ at existing Northwest 60 kV substation | 23EMS28790
215 | SVP_TOP | Substation\Load - Addition of conforming load T3 at existing Fairview 60 kV substation | 23EMS28791
216 | SVP_TOP | Substation\Load - Addition of two conforming load TA and TB at Oaks Junction 60 kV substation | 23EMS28792
217 | SVP_TOP | Transmission Line - Addition of Oaks Junction to Kenneth 60 kV line | 23EMS28793
218 | SVP_TOP | Transmission Line - Addition of Parker to Oaks Junction 60 kV line | 23EMS28794
219 | SVP_TOP | Transmission Line - Removal of existing Parker to Kenneth 60 kV line | 23EMS28795
220 | SVP_TOP | Substation\Load - Addition of new Oaks Junction 60 kV substation | 23EMS28796
221 | TEPC_TOP | Substation\Load - Adding ICCPs, See TEP CAISO ICCP 05022023 Sheet: "Changes from Previous DB" | 23EMS28683
222 | TEPC_TOP | Generator - Pima Battery location updated to reflect recent move at DMP within 14kv bus. Added relevant 14kV devices. | 23EMS28684
223 | TEPC_TOP | Transmission Line - New Branches that represent metering points for OSO, SP, and DMP | 23EMS28685
224 | TEPC_TOP | Breaker(s)\ Disconnect(s) - Added and removed Breakers/Disconnects at DEMOSSPT, SOUTH, VAIL, EASTLOOP, and SPRNGVL | 23EMS28686