## Version_History
FNM Scope for FNM DB23M8
(Production 8/31/2023)
Revision History – Final Scope: 7/6/2023, Late Model Scope Change Request Deadline: 7/31/2023
Effective Date | Version | Description
2023-07-06 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
2023-08-30 | 2 | Add additional information
California ISO – Public

## NRI
I. NRI Projects
No | PTO | Resource ID | Project Name / Description | Project Key | Capacity (MW) | POD | Additional Information
1 | IID | VIKING_2_VSHSB1 | Vikings Solar BESS Hybrid Project | 23PSEUDO28365 | 150 | Imperial Valley 230 kV Bus | New Pseudo resource
2 | PGAE | AGRICO_7_UNIT | Fresno Cogeneration Expansion Project P-Max Increase | 23GEN26387 | 8.38 |  | Existing resource
3 | PGAE | ALPAUG_1_TUDSR1 | Tulare Dac Solar | 23GEN26872 | 3 | Alpaugh 115 KV Bus | New Solar resource
4 | PGAE | HENRTA_6_ACDSR3 | Avenal Cutoff Dac Spring Solar | 23GEN26874 | 3 | HENRIETTA 70 KV Bus | New Solar resource
5 | PGAE | LVNGST_1_WTASR1 | West Tambo Clean Power II | 23GEN28436 | 2 | Livingston 115 kV Bus | New Solar resource
6 | SCE | ECASCO_2_SJGBT1 | San Jacinto Grid | 22NGR22878 | 65 | El Casco 230 kv Bus | New Non-Generation resource
7 | SCE | RECTOR_2_VISSR1 | Visalia CSG | 23GEN26873 | 3 | Rector 230 KV Bus | New Solar resource
8 | SCE | VESTAL_2_BTNBT1 | Bottleneck Energy Storage | 23NGR25945 | 80 | Vestal 230kV Bus | New Non-Generation resource
9 | SCE | LAGBEL_2_CBPBT1 | Cald BESS Phase 1 | 23NGR26692 | 100 | LAGBEL 230KV Bus | New Non-Generation resource
10 | SCE | DYLAN_2_BMTBT1 | Beaumont Energy Storage I | 23NGR26909 | 100 | El Casco 230 kv Bus | New Non-Generation resource
11 | SCE | SANBRN_2_SS2BT4 | Sanborn Solar 2 SBESS 4 | 23NGR29155 | 47 | Winhub 230 kV Bus | New Non-Generation resource
12 | SDGE | MCFLND_5_MSBSX2 | McFarland Solar B PV | 23GEN27333 | 300 | Imperial Valley 500 kV Bus | New Aggregate Solar resource: MCFLND_5_MSBSR1, 50 MW MCFLND_5_MSBSR2, 250 MW
13 | SDGE | MCFLND_5_MSBBX2 | McFarland Solar B BESS | 23NGR27334 | 150 | Imperial Valley 500 kV Bus | New Aggregate Non-Generation resource: MCFLND_5_MSBBT1, 25 MW MCFLND_5_MSBBT2, 125 MW
14 | SDGE | PARDSE_6_PESBT1 | Paradise Energy Storage Capacity Increase | 23NGR29051 | 0.25 | PARDSE 69KV Bus | Existing resource, EMS pmax increase from 9.75 MW to 10 MW, EMS pmin drecrese from -9.75 MW to -10 MW
15 | SDGE | BLVRDE_6_BLVBT1 | Boulevard Energy Storage Capacity Increase | 23NGR29052 | 0.25 | BOULEVARD EAST 69kV BUS | Existing resource, EMS pmax increase from 9.75 MW to 10 MW
16 | SDGE | ELLIOT_6_ELIBT1 | Elliott Energy Storage Capacity Increase | 23NGR29053 | 0.25 | Elliot 12kV Bus | Existing resource, EMS pmax increase from 9.75 MW to 10 MW, EMS pmin drecrese from -9.75 MW to -10 MW
17 |  |  | Carson Cogen NERC | 22RIG22815 | 48 |  | RIG Reconfiguration
18 |  |  | High Winds NERC BAL 003 | 23RIG26361 | 162 |  | RIG Reconfiguration
19 |  |  | Vasco Winds NERC BAL 003 | 23RIG26367 | 78.2 |  | RIG Reconfiguration
20 |  |  | Windstar Energy WNDSTR 2 WIND | 23RIG26489 | 100 |  | RIG Reconfiguration

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | GLW | 22TRANS24854 | GLW-ARES POI into Gambird 230kV | ET5159
2 | GLW | 22TRANS24854 | GLW-ARES POI into Gambird 230kV | ET5160
3 | GLW | 22TRANS24854 | GLW-ARES POI into Gambird 230kV | ET5161
4 | GLW | 22TRANS24854 | GLW-ARES POI into Gambird 230kV | ET5162
5 | PGAE | 19TRANS8643 | Padre Flat Switching Station - Panoche 230 kV LineÂ No. 1 Reconductoring Project. Cluster 8 Shared Network Upgrade | ET3955
6 | PGAE | 19TRANS8690 | Bellota-Warnerville 230 kV Line Reconductoring | ET5101
7 | PGAE | 19TRANS8806 | Sand Hill C Project (Q1363) | ET4031
8 | PGAE | 19TRANS8842 | Giffen Line Reconductoring Project | ET4072
9 | PGAE | 20TRANS13762 | San Leandro U RAS Project | ET4458
10 | PGAE | 21TRANS18020 | Caballero Storage (Q1470) | ET4643
11 | PGAE | 21TRANS18020 | Caballero Storage (Q1470) | ET4644
12 | PGAE | 21TRANS18873 | Driftwood Stella Solar (Q1394) | ET4695
13 | PGAE | 21TRANS18873 | Driftwood Stella Solar (Q1394) | ET4696
14 | SCE | 21TRANS18647 | Daggett 2 (182MW) & Daggett 3 (300MW) PV/BESS | ET4688
15 | SCE | 22TRANS21056 | Baldy Mesa PV/BESS 100 MW(TOT851/Q1413) | ET4889
16 | SCE | 22TRANS23491 | Yellow Pine 2 (TOT796/Q1341) | ET5120
17 | SCE | 23TRANS28886 | Cathode-RUOES BESS Project | ET5254
18 | SCE | 23TRANS28887 | Separator - RUOES BESS Project | ET5255
19 | SCE | 23TRANS29378 | Midway-Vincent RAS Update | ET5262
20 | SDGE | 23TRANS27972 | TL695-C and CI Removal | ET5233

## EIM_RC
III. EIM/ RC Projects
No | Entity | Substation | Project Name | Project Key
1 | AESO_RC | NetApps-AA | AESO Incremental Updates for the DB123 Model | 23EMS29498
2 | AESO_RC | NetApps - SC | Update the low side XFMR impedances to 0 at the WOOLCHESTER station | 23EMS30087
3 | AVA_BA |  | - Updated contingency definitions associated with the changes in this network model submittal | 23EMS29283
4 | AVA_BA |  | - New AVA GIS Shape files associated with the new substation coordinates. | 23EMS29284
5 | AVA_BA |  | - IRO-010-6.13 tab of RC Data Gathering spreadsheet has new substation coordinates | 23EMS29285
6 | AVA_BA |  | - ICCP mapping to AVA CIM model | 23EMS29286
7 | AVA_BA |  | - Note: the ratings in this submittal are SUMMER = High1/High2, and FALL = High3/High4 | 23EMS29287
8 | AVA_BA |  | - ICCP mapping to AVA CIM model | 23EMS30000
9 | AVA_BA |  | - Note: the ratings in this submittal are FALL = High1/High2, and WINTER = High3/High4 | 23EMS30001
10 | AZPS_BA | HDW | Substation\Load - Updated: HDW to APS BA | 23EMS29301
11 | AZPS_BA | HDW | Breaker(s)\ Disconnect(s) - Added: HDW555,HDW557,HDW751,HDW653,HDW651,HDW451,HDW857, HDW556,HDW652,HDW856 | 23EMS29302
12 | AZPS_BA | TR | Shunt Cap\Reactor\ SVD¿s - Added TR CB0 A 69KV | 23EMS29303
13 | AZPS_BA | TR | Breaker(s)\ Disconnect(s) - Added TR062 and TR061 | 23EMS29304
14 | AZPS_BA | RDRX | Substation\Load - Added new generation RDRX PV A 12KV | 23EMS29305
15 | AZPS_BA | RDRX | Substation\Load - Added new substation RDRX | 23EMS29306
16 | AZPS_BA | RDR | Generator - Removed: RDR GEN2 A 12KV,RDR GEN3 A 12KV,RDR GEN1 A 12KV | 23EMS29307
17 | AZPS_BA | RDR | Breaker(s)\ Disconnect(s) - Removed: RDRP698446,RDRSS772495,RDRSS772493,RDRP698447,RDRP698448,RDRSS772494 | 23EMS29308
18 | AZPS_BA | BESSRDR | Generator - Added batteries at BESSRDR | 23EMS29309
19 | AZPS_BA | BESSRDR | Breaker(s)\ Disconnect(s) - Added BESSRDR52-2B,BESSRDR52-2A,BESSRDR52-4A | 23EMS29310
20 | AZPS_BA | BAX | Substation\Load - Added Bagdad Mining Substation | 23EMS29311
21 | AZPS_BA | BAX | Breaker(s)\ Disconnect(s) - Added: BAXAH9010S,BAXAH9009S,BAXAH9011S, BAXAH9007B | 23EMS29312
22 | AZPS_BA | TT | Breaker(s)\ Disconnect(s) - Added: TT462 | 23EMS29313
23 | AZPS_BA | WWTMP | Transformer - Deleted: WWTMP XFMR11 A 69KV,WWTMP XFMR14 A 230KV | 23EMS29314
24 | AZPS_BA | WWTMP | Breaker(s)\ Disconnect(s) - Deleted: WWTMP1762,WWTMP1662,WWTMP1962, WWTMP1161,WWTMP1963,naSFT14oDISC,WWTMP1461,WWTMP1561,WWTMP1761,WWTMP1763,WWTMP1663,WWTMP1661,WWTMP1961,WWTMP2061 | 23EMS29315
25 | AZPS_BA | WW | Breaker(s)\ Disconnect(s) - Deleted: WW1161,naSFT24nDISC,naSFMCMoDISC,naSFRIVnDISC,naSF1061DISC,naSFMCMnDISC,naSFt27nDISC,WW1164,naSFRIVoDISC,WW2625,naSFT27nDISC,WW2721,WW2627,WW2723,naSFt24nDISC | 23EMS29316
26 | AZPS_BA | WW | Breaker(s)\ Disconnect(s) - Added: WW1962, WW1762, WW2626, WW1662, WW2722, WW2061, WW262, WW1761, WW2721, WW2723, WW1763, WW1961, WW1963, WW1661, WW1561, WW2627, WW1663 AND WW4261 | 23EMS29317
27 | AZPS_BA | CHKX | Breaker(s)\ Disconnect(s) - Added disconnect CHKX861 | 23EMS29318
28 | AZPS_BA | CHKX | Generator - Added CHKX BESS3 A 500KV and CHKX SS3 A 500KV | 23EMS29319
29 | AZPS_BA | CHKX | Substation\Load - Added Chukar Substation | 23EMS29320
30 | AZPS_BA | EC | Breaker(s)\ Disconnect(s) - Removed Disconnects: EC CBS-EBSLSD, WBS-CBSBSD , CBS-EBSBSD and WBS-CBSLSD | 23EMS29321
31 | AZPS_BA | AGV | Generator - Added AGV SLR1 A 34.5KV, AGV SLR2 A 34.5KV and AGV SLR3 A 34.5KV | 23EMS29322
32 | AZPS_BA | AGV | Breaker(s)\ Disconnect(s) - Added AGV52-F2, AGV52-F1 and AGV52-F3 | 23EMS29323
33 | AZPS_BA |  | Transmission Line - Changed 500kV Line ratings from a 525kV P.U base to 500kV P.U base | 23EMS29324
34 | AZPS_BA | OD | Transformer - Added: OD XFMR4 A 69KV,OD XFMR4 A 230KV,OD XFMR4 A 12KV,OD XFMR1 A 69KV | 23EMS29325
35 | AZPS_BA | OD | Breaker(s)\ Disconnect(s) - Added: OD1062,OD662,OD266,OD1166,OD1562,OD162,OD962,OD866,OD1466,OD566, OD1361,OD1561,OD461,OD761,OD267,OD1165,OD1167,OD1061,OD1063,OD567,OD865,OD1467,OD565,OD1465,OD265,OD1563,OD161,OD163,OD867,OD661,OD1261,OD963,OD663,OD361,OD961 | 23EMS29326
36 | AZPS_BA | MFSX | Breaker(s)\ Disconnect(s) - Added MFSX89-L1 | 23EMS29327
37 | AZPS_BA | MFSX | Substation\Load - Added new substation MFSX | 23EMS29328
38 | AZPS_BA | HDW | Breaker(s)\ Disconnect(s) - Added MGCnaMCAS, MCGnaALIGN | 23EMS29329
39 | BCHA_RC | N/A | Transmission Line - Add line segment 1L377_8 | 23EMS29330
40 | BCHA_RC | N/A | Transmission Line - Add line segment 1L366_4 | 23EMS29331
41 | BCHA_RC | N/A | Transmission Line - Add line segment 60L31_9 | 23EMS29332
42 | BCHA_RC | N/A | Transmission Line - Add line segment 60L71_9 | 23EMS29333
43 | BCHA_RC | N/A | Equipment Type - Updated ICCP | 23EMS29334
44 | BCHA_RC | CKY | Generator - Update G1 parameter | 23EMS29967
45 | BCHA_RC | BAL | Transformer - Delete Transformers(T1,T2) | 23EMS29968
46 | BCHA_RC | VLG | Transformer - Delete Transformers(T1,T2) | 23EMS29969
47 | BCHA_RC | GFK10L | Substation\Load - Delete substation | 23EMS29970
48 | BCHA_RC | GFK9L | Substation\Load - Delete substation | 23EMS29971
49 | BCHA_RC | WFR | Substation\Load - Delete substation | 23EMS29972
50 | BCHA_RC | BAL | Substation\Load - Delete substation | 23EMS29973
51 | BCHA_RC | VLG | Substation\Load - Delete substation | 23EMS29974
52 | BCHA_RC | VLG | Generator - Delete Generators(G1_2,G3) | 23EMS29975
53 | BCHA_RC | 1L31_2 | TransmissionLine - Delete Transmssion line | 23EMS29976
54 | BCHA_RC | 5L18 | TransmissionLine - Add Transmssion line | 23EMS29977
55 | BCHA_RC | 5L17 | TransmissionLine - Add Transmssion line | 23EMS29978
56 | BCHA_RC | 5L16 | TransmissionLine - Add Transmssion line | 23EMS29979
57 | BCHA_RC | QBS | Transformer - Add Transformers(T1,T2) | 23EMS29980
58 | BCHA_RC | STC | Generator - Add Generators(G1,G2,G3,G4,G5,G6) | 23EMS29981
59 | BCHA_RC | STC | Transformer - Add Generator Transformers(T01,T02,T03) | 23EMS29982
60 | BCHA_RC | STC | Substation\Load - Add Substation | 23EMS29983
61 | BCHA_RC | N/A | Equipment Type - Updated ICCP | 23EMS29984
62 | BPAT_BA | CASINO | Substation\Load - Removed jumpers/shoofly. | 23EMS29421
63 | BPAT_BA | DAYMSPOK | Substation\Load - Updated switch types. | 23EMS29422
64 | BPAT_BA | GOOSE_TP | Substation\Load - Updated switch names. | 23EMS29423
65 | BPAT_BA | HEYE_MYR | Substation\Load - Clark PUD substation rebuild added 4 new PCBs causing line split in to two lines. | 23EMS29424
66 | BPAT_BA |  | Contingency Definition - BPA Contingency List | 23EMS29425
67 | BPAT_TOP | Multiple | Transmission Line - Update Item Number 6.23 | 23EMS28903
68 | BPAT_TOP | Multiple | Transmission Line - Update Item Number 6.23 | 23EMS29389
69 | CEN_BA | SMA,PSM | CENACE incorrect modeling | 23EMS29943
70 | CHPD_BA | RR_DAM | Generator - Generator Owner has updated generator models for in-service generator unit (Rocky Reach C3) | 23EMS28947
71 | EPE_TOP | Otero | Transmission Line - Update impedance for Otero to Picante Transmission Line | 23EMS29245
72 | EPE_TOP | Otero | Transmission Line - Update impedance for Otero to Amrad Transmission Line | 23EMS29246
73 | EPE_TOP | Otero | Transmission Line - Update impedance for Otero to Amrad Transmission Line | 23EMS29247
74 | EPE_TOP | Moongate | Transmission Line - Update impedance for Moongate to Jornada Transmission Line | 23EMS29248
75 | EPE_TOP | Moongate | Transmission Line - Adds Moongate 115KV ICCP points | 23EMS29249
76 | EPE_TOP | Escondido | Transmission Line - Update ratings for Escondido to Chaparral Line | 23EMS29250
77 | EPE_TOP | Escondido | Transmission Line - Update impedance for Escondido to Oro Grande Transmission Line | 23EMS29251
78 | EPE_TOP | Escondido | Transmission Line - Update impedance for Escondido to Chaparral Transmission Line | 23EMS29252
79 | EPE_TOP | Jornada | Breaker(s)\ Disconnect(s) - Addition of 8396E disconnect | 23EMS29253
80 | EPE_TOP | Sunset | Substation\Load - Removal of 14KV switchgear and load | 23EMS29254
81 | GRID_TOP | JANPA_346 | Substation\Load - Updated ICCP points name to start with "W" | 23EMS29419
82 | GRID_TOP | JANPA_345 | Substation\Load - New JANPA_345 Ring-Bus | 23EMS29420
83 | HHWP_TOP | Moccasin | Transformer - GSU replacement for Moccasin Generating Units #1 & #2 | 23EMS25973
84 | HHWP_TOP | Moccasin | Transformer - GSU replacement for Moccasin Generating Units #1 & #2 | 23EMS25974
85 | HHWP_TOP | Moccasin | Transformer - GSU replacement for Moccasin Generating Units #1 & #2 | 23EMS25975
86 | IID_TOP | ECSS | Transmission Line - updated X,R,B values for 230kV S line | 23EMS29162
87 | IID_TOP | PILOT KNOB | Transmission Line - RE-RATE ON PILOT KNOB TO KNOB LINE TO 165MVA | 23EMS29163
88 | IPCO_BA | ORSP-HAWK | Transmission Line - Update - Updated ORSP-MORA line to ORSP-HAWK | 23EMS29365
89 | IPCO_BA | BCSR-MORA1 | Transmission Line - Deleted - Removed line from BCSR to MORA | 23EMS29366
90 | IPCO_BA | MLBA, MORA, HAWK, BCSR | Breaker(s)\ Disconnect(s) - Deleted - Removed temporary disconnects and old breakers | 23EMS29367
91 | IPCO_BA | CNCL | Breaker(s)\ Disconnect(s) - Addition - New 062X disconnect | 23EMS29368
92 | IPCO_BA | HAWK | Breaker(s)\ Disconnect(s) - Addition - New 102X disconnect | 23EMS29369
93 | IPCO_BA | MLBA | Breaker(s)\ Disconnect(s) - Addition - New 012A and 011A breakers | 23EMS29370
94 | IPCO_BA | DBMS | Generator - Updated - Updating Max Operating MW | 23EMS29371
95 | IPCO_BA | HGWP | Generator - Updated - Updating min and max MVAR | 23EMS29372
96 | IPCO_BA | ALL | - All ICCP Object IDs for IPCO_BA FNM. | 23EMS29373
97 | IPCO_BA | ALL | - CIM export of IPCO_BA FNM. | 23EMS29374
98 | IPCO_TOP | Several Stations | Substation\Load - Update the IPCO Station Common Names to those found in the attached list. | 23EMS29050
99 | NEVP_TOP | W TRACY | Breaker(s)\ Disconnect(s) - Updated normal state for 120 kV bus breakers and disconnects | 23EMS29350
100 | NEVP_TOP | STEAMBT | Breaker(s)\ Disconnect(s) - Updated telemetry for PCB due to RTU replacement | 23EMS29351
101 | NEVP_TOP | BURNHAM | Breaker(s)\ Disconnect(s) - Added telemetry for new PCB | 23EMS29352
102 | NEVP_TOP | CABANDA | Breaker(s)\ Disconnect(s) - Added telemetry for new PCB | 23EMS29353
103 | NEVP_TOP | CRYSTAL | Breaker(s)\ Disconnect(s) - Added telemetry for new PCB | 23EMS29354
104 | NEVP_TOP | H ALLEN | Breaker(s)\ Disconnect(s) - Added telemetry for new PCB | 23EMS29355
105 | NEVP_TOP | HIGHLAND | Breaker(s)\ Disconnect(s) - Added telemetry for new PCB | 23EMS29356
106 | NEVP_TOP | TAM | Transmission Line - Updated telemetry for line due to RTU replacement | 23EMS29357
107 | NEVP_TOP | MAGGIECR | Transmission Line - Updated telemetry for line due to RTU replacement | 23EMS29358
108 | NEVP_TOP | MAGGIECR | Breaker(s)\ Disconnect(s) - Updated telemetry for PCB due to RTU replacement | 23EMS29359
109 | NEVP_TOP | RD GDNR | Generator - Added generator, ICCP for BESS unit | 23EMS29360
110 | NEVP_TOP | CABANA | Breaker(s)\ Disconnect(s) - Added telemetry for new PCB | 23EMS29361
111 | NEVP_TOP | H ALLEN | Transmission Line - Added telemetry for line | 23EMS29362
112 | NEVP_TOP | CRYSTAL | Transmission Line - Added telemetry for line | 23EMS29363
113 | NEVP_TOP | MAGGIECR | Shunt Cap\Reactor\ SVD¿s - Added MVAR telemetry at cap | 23EMS29364
114 | NEVP_TOP | HUMBOLDT | Breaker(s)\ Disconnect(s) - Removal of ICCP Object | 23EMS29916
115 | NEVP_TOP | TRUCKEE | Breaker(s)\ Disconnect(s) - Removal of ICCP Object | 23EMS29917
116 | NEVP_TOP | CURRY ST | Breaker(s)\ Disconnect(s) - Removal of ICCP Object | 23EMS29918
117 | NEVP_TOP | TAHO CTY | Transmission Line - Removal of ICCP Object | 23EMS29919
118 | NEVP_TOP | DOVE | Breaker(s)\ Disconnect(s) - Removal of ICCP Object | 23EMS29920
119 | NEVP_TOP | TRI CNTR | Breaker(s)\ Disconnect(s) - Removal of ICCP Object | 23EMS29921
120 | NEVP_TOP | TRI CNTR | Generator - Removal of ICCP Object | 23EMS29922
121 | NEVP_TOP | TRI CNTR | Transmission Line - Removal of ICCP Object | 23EMS29923
122 | NEVP_TOP | GONDER | Breaker(s)\ Disconnect(s) - Update to ICCP Object | 23EMS29924
123 | NEVP_TOP | GONDER | Transformer - Update to ICCP Object | 23EMS29925
124 | NEVP_TOP | GONDER | Transmission Line - Update to ICCP Object | 23EMS29926
125 | NEVP_TOP | OREANA | Breaker(s)\ Disconnect(s) - Update to CIM Measurement Name and ICCP Object | 23EMS29927
126 | NEVP_TOP | TRUCKEE | Transmission Line - Update to CIM Measurement Name | 23EMS29928
127 | NWMT | APEX_SL_1_APXS | Correction to remove extra space in APEX_SL_1_ APXS | 23EMS29585
128 | NWMT_BA | WISDOM_R, NEW_DEPT | Substation\Load - Update GIS Data for skittles map | 23EMS29494
129 | NWMT_TOP | All | Substation\Load - Voltage Limits Template | 23EMS28926
130 | NWMT_TOP | All | Transmission Line - Switch additions/removals; Clearwater gen increase; Line RXB changes | 23EMS29375
131 | NWMT_TOP | Placid Lake | Substation\Load - Voltage Limits Template | 23EMS29390
132 | NWMT_TOP | All | Breaker(s)\ Disconnect(s) - Switch additions/removals; Clearwater gen increase; Line RXB changes | 23EMS29913
133 | PAC_TOP | MILEHI | Generator - Remove Surprise Valley Gen and 69kV yard | 23EMS28948
134 | PAC_TOP | PLEASAVI | Breaker(s)\ Disconnect(s) - Remove 2 breakers | 23EMS28949
135 | PAC_TOP | SNARR | Breaker(s)\ Disconnect(s) - Remove 2 switches | 23EMS28950
136 | PAC_TOP | MILFORD | Breaker(s)\ Disconnect(s) - Update name for 1 switch | 23EMS28951
137 | PAC_TOP | JORDANEL | Breaker(s)\ Disconnect(s) - Update name for 1 breaker | 23EMS28952
138 | PAC_TOP | JORDANPA | Breaker(s)\ Disconnect(s) - Update name for 1 breaker | 23EMS28953
139 | PAC_TOP | KEARNS | Breaker(s)\ Disconnect(s) - Update name for 2 breakers | 23EMS28954
140 | PAC_TOP | MANILA | Breaker(s)\ Disconnect(s) - Update name for 1 breaker | 23EMS28955
141 | PAC_TOP | CROWFOOT | Transmission Line - Remove branch and jumpers | 23EMS28956
142 | PAC_TOP | FISHCREI | Substation\Load - Add bus voltage measurement | 23EMS28957
143 | PAC_TOP | WOGDEN | Breaker(s)\ Disconnect(s) - Add 2 breakers and update name for 1 breaker | 23EMS28958
144 | PAC_TOP | SPARCYN | Shunt Cap\Reactor\ SVD¿s - Change switch A151 to breaker, add 1 breaker, 1 switch, and 1 reactor | 23EMS28959
145 | PAC_TOP | SANDY | Substation\Load - Add bus voltage measurement | 23EMS28960
146 | PAC_TOP | WHEELON | Transmission Line - Add 4 jumpers and 2 branches to Bridgerland | 23EMS28961
147 | PAC_TOP | HONEYVIL | Transmission Line - Add two jumpers and branch to Bridgerland | 23EMS28962
148 | PAC_TOP | ROCKYPNT | Transmission Line - Add two jumpers and branch to Bridgerland | 23EMS28963
149 | PAC_TOP | TERMINAL | Transmission Line - Add 2 jumpers and branch to Ben Lomond | 23EMS28964
150 | PAC_TOP | BENLOMON | Transmission Line - Add 5 breakers, 6 switches and branches to Terminal and Bridgerland | 23EMS28965
151 | PAC_TOP | POPULUS | Transmission Line - Add 2 jumpers and 345kV branch to Bridgerland | 23EMS28966
152 | PAC_TOP | BRIDGERL | Breaker(s)\ Disconnect(s) - Add 13 new breakers, 25 switches, and 6 branches | 23EMS28967
153 | PAC_TOP | OQUIRRH | Transmission Line - Add two jumpers and branch to Clover | 23EMS28968
154 | PAC_TOP | CLOVER | Transmission Line - Add MOAB and branch to Oquirrh | 23EMS28969
155 | PAC_TOP | MONA | Breaker(s)\ Disconnect(s) - Add one jumper | 23EMS28970
156 | PAC_TOP | WCEDAR | Substation\Load - Add 1-138kV bus | 23EMS29394
157 | PAC_TOP | ROCKYPNT | Breaker(s)\ Disconnect(s) - Remove 1 switch | 23EMS29395
158 | PAC_TOP | BEARRIVE | Substation\Load - Remove 2-46kV loads and 2 switches | 23EMS29396
159 | PAC_TOP | SANTAQUI | Transmission Line - Remove 1 branch | 23EMS29397
160 | PAC_TOP | HIPLAINS | Substation\Load - Update SCADA mapping | 23EMS29398
161 | PAC_TOP | CARTER | Generator - Update capacity for LEHI gen to 23 MW | 23EMS29399
162 | PAC_TOP | VINEYARU | Substation\Load - Remove sigma from voltage measurement | 23EMS29400
163 | PAC_TOP | DANIELS | Substation\Load - Update name for all elements in station to DANIEL | 23EMS29401
164 | PAC_TOP | TESORO | Substation\Load - Add bus voltage measurement | 23EMS29402
165 | PAC_TOP | WYODAKBH | Substation\Load - Add bus voltage measurement | 23EMS29403
166 | PAC_TOP | BENLOMON | Transmission Line - Add line measurements for 345kV Terminal #3 and Bridgerland lines. Update 4 switches to Breakers. Remove 3 switches | 23EMS29404
167 | PAC_TOP | FLUX | Transmission Line - Add 3 switches and 1 new 46kV branch to TOOELE. | 23EMS29405
168 | PAC_TOP | GRANTV T | Breaker(s)\ Disconnect(s) - Remove AS E1391 and move to FLUX | 23EMS29406
169 | PAC_TOP | TOOELE | Transmission Line - Add 2 breakers, 12 switches, 1-138kV branch to Tooele, and 1-46kV branch to FLUX | 23EMS29407
170 | PAC_TOP | GRANTSVI | Substation\Load - Add 1-138kV Bus, 3 breakers, 1 Load, and branch to TOOELE | 23EMS29408
171 | PGE_BA | ORNC | Substation\Load - Rename the old WR3 to WR99 and add a new load WR3 | 23EMS29256
172 | PGE_BA | GRSH | Substation\Load - Remove the double modeling and PSD switches | 23EMS29257
173 | PGE_BA | MDWYT | Substation\Load - Remove the double modeling and PSD switches | 23EMS29258
174 | PGE_BA | CNTL | Substation\Load - Remove the double modeling and PSD switches | 23EMS29259
175 | PGE_BA | EPRT | Substation\Load - Remove the double modeling and PSD switches | 23EMS29260
176 | PGE_BA | MB7T | Substation\Load - Clean up the mobile 7 station | 23EMS29261
177 | PGE_BA | RDBT | Substation\Load - Add series reactor on each phase of the transformer tertiary windings of the 500kV Grizzly to Round Butte line | 23EMS29262
178 | PGE_BA | HRZN | Substation\Load - Reconfigure Horizon substation and add Horizon-Keeler,BPA #2 230kV line | 23EMS29263
179 | PGE_BA | PGE service territory | - List of ICCP points mapping | 23EMS29264
180 | PGE_BA | PGE service territory | - Model Difference report | 23EMS29265
181 | PGE_BA | PGE service territory | - Model Updates for PGE: CIMxml model file | 23EMS29266
182 | PSCO_TOP | PSCO | Update default switch status for 24 PSCO switches | 23EMS29281
183 | PSCO_TOP | PSCO | Update FNM model to include the missing PSCO station GATEWAYT | 23EMS29282
184 | PSEI_BA |  | - PSE's ICCP List | 23EMS29463
185 | PSEI_BA |  | - export of PSE's network model | 23EMS29464
186 | SCL_BA | CEDARFLS | Substation\Load - Rebuild of the 115kV and 26kv and 6kV busses. Gen units 5 & 6 will remain the same along with their corresponding UCON breakers. I've included "MS" switches to disconnect/connect the old/new configurations respectively when the station is generating in October. The transmission bus will be live in July to connect the transmission lines together, but nothing will be generated until October. ICCP Mapping is a incremental map for the new points. The full ICCP mapping for the SCL footprint will be uploaded to the Real-Time ICCP Points Library at a later date. | 23EMS29267
187 | SNPD_TOP | See the substations listed in the dyd file | Substation\Load - Revise UFLS model data | 23EMS29038
188 | SNPD_TOP | Jackson | Generator - Revise Jackson's LHFRT model data | 23EMS29039
189 | SNPD_TOP | Jackson | Generator - Revise Jackson's bus name to JACKSON from JACKSN | 23EMS29040
190 | SNPD_TOP | NetApps-AA | Add BEV_PARK taps per SNPD email | 23EMS29999
191 | SPP_RC |  | SPP Incremental Updates for DB123 Model | 23EMS29212
192 | SRP_BA | ABEL and DINOSAUR | Transmission Line - At ABEL and DINOSAUR, changes in status for few breakers and disconnects to be "Normaly Closed". | 23EMS29409
193 | SRP_BA | ABEL and DINOSAUR | Transmission Line - At ABEL and DINOSAUR changes in status for few breaker and disconnects to be "Normaly Closed". | 23EMS29410
194 | SRP_BA |  | Transmission Line - Updated Impedance parameters on the following transmission lines. Note - these are very small changes to correct the model to be with our most up-to-date Transmission Network Modeling : EV___OR____69_1, 115/75E3.5S_PN8, GF___MF___115_1, BRG__CLR__230_1, ROS__ST___230_1, MEE__MSQS_230_2, MEE__MSQS_230_1, AF___WG___230_1, PP___DEER_230_1, GF___TS___230_1, OR___RUD__230_2, KY2__PB___230_1, ROS__ROSW_230_1, BRG__DIR__230_1, GF___SI___230_1, GF___SM___115_1, ROS__ROSW_230_2, AF___AX___230_1, KY___SCR__230_1, GF___TS___230_2, BD___PP___230_4, KY___KNX__230_1, BD___PB___230_1, ROS__TS___230_1, BD___PP___230_2, CLR__KY___230_1, OR___RUD__230_1, | 23EMS29411
195 | SRP_BA | BROWNING | Breaker(s)\ Disconnect(s) - Added Breaker and Disconnects 230 KV and 500KV: SRP/BROWNING/D 230 669, SRP/BROWNING/D 500 TMP1, SRP/BROWNING/D 500 TMP2. | 23EMS29412
196 | SRP_BA | RUDD | Breaker(s)\ Disconnect(s) - Added Breaker and Disconnects 230 KV : SRP/RUDD/B230 692, SRP/RUDD/B230 695, SRP/RUDD/D 230 694, SRP/RUDD/D 230 691, SRP/RUDD/D 230 699, SRP/RUDD/D 230 693. | 23EMS29413
197 | SRP_BA | SCHRADER | Breaker(s)\ Disconnect(s) - Added Breaker and Disconnects 230 KV : SRP/SCHRADER/B230 625, SRP/SCHRADER/B230 618, SRP/SCHRADER/B230 615, SRP/SCHRADER/B230 622, SRP/SCHRADER/B230 612, SRP/SCHRADER/D 230 621, SRP/SCHRADER/D 230 616,SRP/SCHRADER/D 230 613,SRP/SCHRADER/D 230 617,SRP/SCHRADER/D 230 624, SRP/SCHRADER/D 230 614, SRP/SCHRADER/D 230 623. | 23EMS29414
198 | SRP_BA | SCHRADER | Transmission Line - Added new Tx Line 69KV between SCHRADER to 69KV TAP (24.5E6S_SCR_69_1) | 23EMS29415
199 | SRP_BA | SCHRADER | Transmission Line - Added new Tx Line 230KV between SCHRADER to PARLETT (PARLETT to be modeled at a later time) | 23EMS29416
200 | SRP_BA | FERRIS | Transmission Line - Added new Tx Line 69KV between FERRIS to HENSAW | 23EMS29417
201 | SRP_BA | HENSAW | Transmission Line - Added new Tx Line 69KV between HENSAW to a 69KV TAP (24.75E6S_HEW_69_1) | 23EMS29418
202 | SRP_BA | PARLETT | Substation\Load - New SRP PARLETT 230KV station, and Loads for Transformers | 23EMS29944
203 | SRP_BA | CHUKAR | Transformer - In SRP/CHUKAR 500KV station, add new Transformer 500/34.5 KV | 23EMS29945
204 | SRP_BA | CHUKAR | Breaker(s)\ Disconnect(s) - In SRP/CHUKAR 500KV station, add new Disconnect (DMO) | 23EMS29946
205 | SRP_BA | PARLETT | Shunt Cap\Reactor\ SVD¿s - Added new 230KV Shunts in new PARLETT 230KV station | 23EMS29947
206 | SRP_BA | PARLETT | Transformer - Added new 230KV Transformers (230/34.5KV and 230/12.5KV) in new PARLETT 230KV station | 23EMS29948
207 | SRP_BA | PARLETT | Breaker(s)\ Disconnect(s) - Added new 230KV Disconnects, Breakers in new PARLETT 230KV station | 23EMS29949
208 | SRP_BA | PARLETT | Transmission Line - Added two new 230KV Tx Lines between PARLETT and HENSAW stations | 23EMS29950
209 | SVP_TOP | NA-LR | Project to fix errors and missed changes for DB121 project 23EMS27213-20 | 23EMS29572
210 | TEPC_TOP | most stations | Transformer - Correction and update for most transformers in TEP, prior impedance values were copied with wrong MVA base and are now correct | 23EMS29391
211 | TEPC_TOP | DUVALCLR, IRVNGTN, FRISCO | Substation\Load - New load in Irvington for distribution level John Cannon substation, moved Cyprus load directly into Duval Clear, Frisco transformer changed representation to transformer equivalent load | 23EMS29392
212 | TEPC_TOP | various | Breaker(s)\ Disconnect(s) - Added and removed Breakers/Disconnects to reflect proper device type and fix minor topological errors | 23EMS29393