## Version_History
FNM Scope for FNM DB24M5
(Production Week of 5/13/2024)
Revision History – Final Scope: 3/13/2024, Late Model Scope Change Request Deadline: 4/8/2024
Effective Date | Version | Description
2024-03-13 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
California ISO – Public

## NRI
I. NRI Projects
No | PTO | Resource ID | Project Name | Project Key
1 | IID |  | Vikings Co-located BESS | 23PSEUDO32729
2 | IID |  | Vikings Co-located PV | 23PSEUDO32730
3 | PGAE |  | Hummingbird Energy Storage | 18AS1897
4 | PGAE |  | East Cleveland Road Solar | 23GEN25873
5 | PGAE |  | HAT CREEK BIOENERGY | 23GEN32056
6 | PGAE |  | Lara Solar 2 Hybrid | 23NGR33531
7 | SCE |  | Quartzite Solar 8 | 15AS880888
8 | SCE |  | Quartzite Solar 8 BESS | 22NGR20879
9 | NA |  | TITANS_2_TTSSR1 | 23RIG32303
10 | NA |  | Almond Solar Frequency Response RIG Reconfiguration | 23RIG32977
11 | NA |  | LTBEAR_1_LB3SR3;LTBEAR_1_LB4SR4;LTBEAR_1_LB4SR5 | 23RIG32980
12 | NA |  | Midway 3 Solar PFR RIG Reconfig | 23RIG33072
13 | NA |  | Mustang 2 Barbaro | 23RIG33248
14 | NA |  | Mustang 2 Whirlaway | 23RIG33250
15 | NA |  | Central 40 RIG Reconfiguration | 23RIG33295
16 | NA |  | Orange County Energy Storage 3 frequency response | 23RIG33532
17 | NA |  | Alamitos Energy Storage Frequency Response and HSL | 24RIG33684
18 | NA |  | Lost Hills IRG181 | 24RIG34074
19 | NA |  | BATERIA DEL SUR RIG POINT ADDITION | 24RIG34298

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | PGAE | 22TRANS22285 | Rio Dell New Business Circuit & Substation Reinforcement | ET5070
2 | PGAE | 22TRANS22285 | Rio Dell New Business Circuit & Substation Reinforcement | ET5071
3 | SDGE | 21TRANS19642 | Q1806 Captiva Energy Storage | ET4781

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | AESO_RC | AESO Incremental Updates for DB128 | 23EMS31671
2 | AVA_BA | - Updated contingency definitions associated with the changes in this network model submittal | 24EMS34122
3 | AVA_BA | - IRO-010-6.13 tab of RC Data Gathering spreadsheet has new substation coordinates | 24EMS34123
4 | AVA_BA | - AVA voltage ratings submitted per new template | 24EMS34369
5 | AVA_BA | Shunt Cap\Reactor\ SVD¿s - AVA VCC and VCR parameters per new template and review. | 24EMS34537
6 | AVA_BA | Generator - Addition of AVA Clearwater Wind generation facility | 24EMS34830
7 | AVA_BA | - ICCP mapping to AVA CIM model | 24EMS34831
8 | AVA_BA | - Note: the ratings in this submittal are SUMMER = High1/High2, and SPRING = High3/High4 | 24EMS34832
9 | AVA_TOP | Shunt Cap\Reactor\ SVD¿s - AVA VCC and VCR parameters per new template and review. | 24EMS33959
10 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Update the Base Voltage value for VCCs on the following substations: CEL, EC, FA, MDT, MU, PLK, PY, RMN, TT | 24EMS34654
11 | AZPS_BA | Contingency Definition - Updated contingency for new RAB cut-in and CIX-DLN 500kV Line | 24EMS34656
12 | AZPS_BA | Transmission Line - Updated Impedance for WMTTP-BL | 24EMS34657
13 | AZPS_BA | Transmission Line - Updated Impedance for VE-CTTIE | 24EMS34658
14 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added disconnect WW661 | 24EMS34872
15 | AZPS_BA | Breaker(s)\ Disconnect(s) - WK switching fields WK361,WK362,WK363 renamed to WK161,WK162 and WK163 | 24EMS34873
16 | AZPS_BA | Transformer - Added 69/12kV XFMR 3 A | 24EMS34874
17 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added new breakers WD342,WD562,WD442, and disconnects WD443D, WD441D, WD563, WD341D, WD641J, WD741D, WD041D, WD1541J, WD461 | 24EMS34875
18 | AZPS_BA | Transmission Line - TB-FZMCM ratings updated | 24EMS34876
19 | AZPS_BA | Transmission Line - MMRT-TB ratings updated | 24EMS34877
20 | AZPS_BA | Substation\Load - Added eqv load off of STS T10 | 24EMS34878
21 | AZPS_BA | Generator - Added new battery/solar unit | 24EMS34879
22 | AZPS_BA | Substation\Load - Added new generating station at SS4 | 24EMS34880
23 | AZPS_BA | Transmission Line - SNV-FRN ratings updated | 24EMS34881
24 | AZPS_BA | Transformer - SAR 69/12kV XMFR #19 ratings updated | 24EMS34882
25 | AZPS_BA | Breaker(s)\ Disconnect(s) - Replaced RW mod switches with disconnects for RW557, RW857,RW1051 and RW1455 | 24EMS34883
26 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added new breaker RIV362 | 24EMS34884
27 | AZPS_BA | Transmission Line - FZ-MCM ratings updated | 24EMS34885
28 | AZPS_BA | Transmission Line - FRN-MMRT ratings updated | 24EMS34886
29 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added psuedo switches based on PV status | 24EMS34887
30 | AZPS_BA | Substation\Load - Replaced BESSES with station JVX. New RDFIDs generated | 24EMS34888
31 | AZPS_BA | Breaker(s)\ Disconnect(s) - Renamed RCH1662J to RCH1662 | 24EMS34889
32 | AZPS_BA | Substation\Load - Added CLN feeder 2 | 24EMS34890
33 | AZPS_BA | Breaker(s)\ Disconnect(s) - Replaced YKK6403 with YKU6403 | 24EMS34891
34 | AZPS_BA | Breaker(s)\ Disconnect(s) - Updated normal open status for several transfer switch disconnects as per CAISO request | 24EMS34892
35 | AZPS_BA | Generator - dyd mappings | 24EMS34893
36 | AZPS_BA | Contingency Definition - Updated Contingency Definitions | 24EMS34894
37 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed GP K6555 Disconnect | 24EMS34895
38 | AZPS_BA | Transformer - Updated YMX XFMR T1 ratings | 24EMS34896
39 | AZPS_BA | Breaker(s)\ Disconnect(s) - Renamed HDW disconnects/breakers to HDW556,HDW555 and HDW557 | 24EMS34897
40 | AZPS_BA | Breaker(s)\ Disconnect(s) - Rename CRSDISC to DSN761 | 24EMS34898
41 | AZPS_BA | Breaker(s)\ Disconnect(s) - Rename CRSDISC to CRSU7280 | 24EMS34899
42 | AZPS_BA | Substation\Load - Added VS Fdr 5 load | 24EMS34900
43 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added VS542,VS543D,VS544D | 24EMS34901
44 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed disconnect MU345 | 24EMS34902
45 | AZPS_BA | Breaker(s)\ Disconnect(s) - CG-TR ratings updated | 24EMS34903
46 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added WLF1242,WLF1243 and WLF1241D | 24EMS34904
47 | AZPS_BA | Breaker(s)\ Disconnect(s) - Replaced LY1143J with LY1141D | 24EMS34905
48 | AZPS_BA | Breaker(s)\ Disconnect(s) - DGSDISC renamed to DGS241 | 24EMS34906
49 | AZPS_BA | Breaker(s)\ Disconnect(s) - CU762,CU761 and CU763 renamed to CU162,CU161 and CU163 | 24EMS34907
50 | AZPS_BA | Breaker(s)\ Disconnect(s) - WMTDISC renamed to WMTQ2521 | 24EMS34908
51 | AZPS_BA | Transmission Line - Updated SUM-WM ratings | 24EMS34909
52 | AZPS_BA | Transmission Line - Updated STRTP-TT ratings | 24EMS34910
53 | AZPS_BA | Substation\Load - Removed WWTMP | 24EMS34911
54 | AZPS_BA | Breaker(s)\ Disconnect(s) - WWBSD renamed to WW2521 | 24EMS34912
55 | AZPS_BA | Transformer - AVYT 69/12kV XMFR3 impedance and rating update | 24EMS34913
56 | AZPS_BA | Breaker(s)\ Disconnect(s) - Several 12kV feeder disconnect names were updated to include a "d" suffix. I.E AD2041 to AD2041D | 24EMS34914
57 | AZPS_TOP | Shunt Cap\Reactor\ SVD¿s - Update the Base Voltage value for VCCs on the following substations: CEL, EC, FA, MDT, MU, PLK, PY, RMN, TT | 24EMS34370
58 | AZPS_TOP | Contingency Definition - Updated contingency for new RAB cut-in and CIX-DLN 500kV Line | 24EMS34372
59 | AZPS_TOP | Transmission Line - Updated Impedance for WMTTP-BL | 24EMS34373
60 | AZPS_TOP | Transmission Line - Updated Impedance for VE-CTTIE | 24EMS34374
61 | BANC_BA | Substation\Load - Update System Voltage Limits in BANC | 24EMS34915
62 | BANC_BA | Breaker(s)\ Disconnect(s) - Removed disconnects D917 and D918. | 24EMS34916
63 | BANC_BA | Breaker(s)\ Disconnect(s) - Updated connectivity for breakers S7085 and S7087. | 24EMS34917
64 | BANC_BA | Transformer - Updated impedances, ratings and ratedS for multiple transformers in SMUD area. | 24EMS34918
65 | BCHA_RC | Transformer - JOR T1M03 deleted | 24EMS34846
66 | BCHA_RC | Substation\Load - substation QNL deleted | 24EMS34847
67 | BCHA_RC | Substation\Load - Added a new substation LGW | 24EMS34848
68 | BCHA_RC | Substation\Load - Added a new substation PGM | 24EMS34849
69 | BCHA_RC | Substation\Load - Updated ICCP mapping file | 24EMS34850
70 | BPAT_BA | Breaker(s)\ Disconnect(s) - EWEB substation rebuild. | 24EMS34840
71 | BPAT_BA | Breaker(s)\ Disconnect(s) - | 24EMS34841
72 | BPAT_BA | Breaker(s)\ Disconnect(s) - New bay and future connection. | 24EMS34842
73 | BPAT_BA | Substation\Load - New Umatilla Electric station | 24EMS34843
74 | BPAT_BA | Substation\Load - New Umatilla Electric station | 24EMS34844
75 | BPAT_BA | Contingency Definition - BPA Contingency List | 24EMS34845
76 | BPAT_BA | Shunt Cap\Reactor\ SVD¿s - New shunt reactor R1. | 24EMS35227
77 | BPAT_BA | Transmission Line - New 500kV line "LNHR_CSGP_1500_A" | 24EMS35228
78 | BPAT_BA | Transmission Line - New 500kV line "MCNY_LNHR_1500_A" | 24EMS35229
79 | BPAT_BA | Substation\Load - New 500kV substation McNary and Coyote Springs | 24EMS35230
80 | BPAT_BA | RAS - Cattle Creek RAS update due line rating update. | 24EMS35232
81 | BPAT_BA | Shunt Cap\Reactor\ SVD¿s - New shunt reactor R1. | 24EMS35234
82 | BPAT_BA | Transmission Line - New 500kV line "LNHR_CSGP_1500_A" | 24EMS35235
83 | BPAT_BA | Transmission Line - New 500kV line "MCNY_LNHR_1500_A" | 24EMS35236
84 | BPAT_BA | Substation\Load - New 500kV substation McNary and Coyote Springs | 24EMS35237
85 | BPAT_BA | RAS - Cattle Creek RAS update due line rating update. | 24EMS35239
86 | BPAT_TOP | Transmission Line - Added Cherry Grove-Heye Meyer 115kV line and Heye Meyer-119th Street 115kV line. Deleted Cherry Grove-119th Street 115kV line. Added Hooper Springs Substation. Added Benton-White Bluffs No 2 115kV line, changed the CGS Backup Bank tap to this line and deleted the Benton-451B No 1 115kV line (this is what line the CGS tap was on) and White Bluffs-451B No 1 115kV line. | 24EMS34127
87 | CEN_BA | Breaker(s)\ Disconnect(s) - UPDATE NORMAL OPEN STATUS OF SWITCHES | 24EMS34159
88 | CEN_BA | Transmission Line - UPDATE 161 kv Grid | 24EMS34976
89 | CEN_BA | Transmission Line - UPDATE 161 kv Grid | 24EMS34977
90 | CEN_BA | Transmission Line - UPDATE 161 kv Grid | 24EMS34978
91 | CEN_BA | Substation\Load - UPDATE 161 KCH Substation | 24EMS35180
92 | CEN_BA | Substation\Load - UPDATE 161 KCH Substation | 24EMS35181
93 | CEN_BA | Substation\Load - UPDATE 161 KCH Substation | 24EMS35182
94 | CHPD_BA | - CHPD identified ICCP points it was providing to the RC but the RC hadn't incorporated into the RC real-time model - this is the list of all points (including those that likely can't be implemented in the RC's model) | 24EMS34516
95 | CHPD_BA | - CHPD identified ICCP points it was providing to the RC but the RC hadn't incorporated into the RC real-time model - this is the list of points specific to the model | 24EMS34517
96 | CHPD_BA | - CHPD identified ICCP points it was providing to the RC but the RC hadn't incorporated into the RC real-time model - this is the list of points specific to the model | 24EMS34626
97 | CHPD_BA | - CHPD identified ICCP points it was providing to the RC but the RC hadn't incorporated into the RC real-time model - this is the list of points specific to the model | 24EMS34627
98 | CHPD_BA | Update ICCP and miscellaneous modeling updates from CHPD | 24EMS34681
99 | DOPD_TOP | Breaker(s)\ Disconnect(s) - Update - Make Terry Disconnect Switch 2179 a Circuit Switcher, just like 2279. | 24EMS34938
100 | DOPD_TOP | Breaker(s)\ Disconnect(s) - Removal - Remove Switch 2177 at Terry Substation. | 24EMS34939
101 | DOPD_TOP | Transmission Line - Update - The current model shows the South Nile-Rapids Line terminating at Rapids between Breakers 14172 and 14272. The line should terminate between Rapids Breakers 14172 and 14572. The current model shows the Rapids-Hanna Line terminating at Rapids be | 24EMS34940
102 | DOPD_TOP | Breaker(s)\ Disconnect(s) - Update - Rapids MOD 14177 should be changed to 14577. | 24EMS34941
103 | DOPD_TOP | Breaker(s)\ Disconnect(s) - Update - Rapids MOD 14577 should be changed to 14177. | 24EMS34942
104 | DOPD_TOP | Breaker(s)\ Disconnect(s) - Addition - Add Breaker 14982 per the provided one-line diagram (G-01-LD1-S-01 wURBN Completed.pdf) | 24EMS34943
105 | DOPD_TOP | Breaker(s)\ Disconnect(s) - Addition - Add MOD 14981 per the provided one-line diagram (G-01-LD1-S-01 wURBN Completed.pdf) | 24EMS34944
106 | DOPD_TOP | Breaker(s)\ Disconnect(s) - Addition - Add MOD 14783 per the provided one-line diagram (G-01-LD1-S-01 wURBN Completed.pdf) | 24EMS34945
107 | DOPD_TOP | Breaker(s)\ Disconnect(s) - Update - The pseudo-breakers T1_PSD, T2_PSD, T3_PSD, and T4_PSD are misnamed. T1 should become T4, T2 should become T3, T3 should become T2, and T4 should become T1. | 24EMS34946
108 | DOPD_TOP | Breaker(s)\ Disconnect(s) - Update - Move Urban Industrial Switch 181081 to the other side of the tap for T4_PSD. 181081 should be immediately adjacent to Breaker 181082. | 24EMS34947
109 | DOPD_TOP | Transmission Line - Removal of Urban Industrial Tap-Urban Industrial Line (URBNIN_URBN_TP_230_1) | 24EMS34948
110 | DOPD_TOP | Transmission Line - Removal of Urban Industrial Tap-Rapids Line (URBN_TP_RAPIDS_230_1) | 24EMS34949
111 | DOPD_TOP | Transmission Line - Removal of Lincoln Rock-Urban Industrial Tap Line (LNKNRK_URBN_TP_230_1) | 24EMS34950
112 | DOPD_TOP | Substation\Load - Removal of Urban Tap (URBN_TP) Bus in the current model | 24EMS34951
113 | DOPD_TOP | Transmission Line - Addition of new Urban Industrial-Rapids 230-kV Line | 24EMS34952
114 | DOPD_TOP | Transmission Line - Addition of new Lincoln Rock-Urban Industrial 230-kV Line | 24EMS34953
115 | EPE_TOP | Breaker(s)\ Disconnect(s) - Addition of 0388A MOD at Amrad Substation | 24EMS34824
116 | EPE_TOP | Transformer - Addition of White Sands T1 XFMR ICCP Points | 24EMS34825
117 | EPE_TOP | Substation\Load - Additon of 115kv West Side Temp Substation | 24EMS34826
118 | EPE_TOP | Generator - Additon of 10MW Chihuahuan Desert Solar Facility | 24EMS34827
119 | HHWP_TOP | ACLineSegment - PSLF Change File with updated Line Impedances and Facility Ratings | 24EMS34124
120 | HHWP_TOP | ACLineSegment - HHWP FAC-008 Summary Tables (See S-3) | 24EMS34125
121 | HHWP_TOP | ACLineSegment - All HHWP Lines Impedance Updates & Facility Ratings Verfication - Project ID: 23EMS33222 Includes Ratings Updates for Lines #7 & #8 | 24EMS34126
122 | IID_BA | Generator - Update of PMax Value | 24EMS34691
123 | IID_TOP | RAS - Addition of new generation to Path 42 RAS, Ocotillo would be the first one to come into service tentatively April 2023 and then the remaining towards the end of 2023. | 22EMS25501
124 | IID_TOP | RAS - Addition of new generation to Path 42 RAS, Ocotillo would be the first one to come into service tentatively April 2023 and then the remaining towards the end of 2023. | 22EMS25502
125 | IID_TOP | Transmission Line - The 230kV S line from ECSS to IV sub has a new rating after project completion. Please see attachment for rating. | 24EMS33960
126 | IID_TOP | Breaker(s)\ Disconnect(s) - This is phase 1 for a new breaker addition at Ramon substation to accommodate a new capacitor bank being added. | 24EMS34487
127 | IID_TOP | Shunt Cap\Reactor\ SVD¿s - Uploading requested shunt data, but it is currently labeled as VCC's and all our shunt devices are manual, could you please move to manual static capacitors? | 24EMS34535
128 | IID_TOP | Transmission Line - We currently only use nominal ratings which are continuous and emergency ratings which are 30 min. I have updated the "thermal limits" sheet with the required data per request by RC to meet the FAC-011/FAC-014. | 24EMS34536
129 | IID_TOP | Transmission Line - Updated Facility Ratings | 24EMS35249
130 | IID_TOP | Transmission Line - The updated Path 42 RAS points to include Viking capacitor Bank and Ramon capacitor Bank. I have also included the tentative updated display to the spreadsheet. The highlighted yellow indicates modified/new points. | 24EMS35292
131 | IPCO_BA | Generator - Updated American Falls Unit 1 and 3 and Shoshone Falls dynamic data models per IRO-010 item 6.25 | 24EMS34488
132 | IPCO_BA | Shunt Cap\Reactor\ SVD¿s - Update reactance and limits of C506 | 24EMS34710
133 | IPCO_BA | Transmission Line - Update name change of Transmission Line: HILL-LNDN to LNDN-HILL | 24EMS34711
134 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update name change of Breakers/Disconnects: 012F to 015F, 013F to 016F | 24EMS34712
135 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update name change of Breakers/Disconnects: 113T3_STR109 to 113T3, 113T2 to 113T2_STR109, 113T3_STR110 to 113T2_STR110 | 24EMS34713
136 | IPCO_BA | Generator - Update reactive capability curve for JKPT | 24EMS34714
137 | IPCO_BA | Transmission Line - Update ratings of Transmission Line: MNCO-SUGR | 24EMS34715
138 | IPCO_BA | Transmission Line - Removal of Transmission Line: FRSR-JKPT | 24EMS34716
139 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: 078T1, 061F | 24EMS34717
140 | IPCO_BA | Substation\Load - Removal of load: T061 | 24EMS34718
141 | IPCO_BA | Generator - Addition of reactive capability curve for PGCV | 24EMS34719
142 | IPCO_BA | Generator - Addition of reactive capability curve for CRSP | 24EMS34720
143 | IPCO_BA | Generator - Addition of reactive capability curve for LLCN | 24EMS34721
144 | IPCO_BA | Generator - Addition of reactive capability curve for SHKO | 24EMS34722
145 | IPCO_BA | Generator - Addition of reactive capability curve for CDRW | 24EMS34723
146 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breaker/Disconnect: TMP | 24EMS34724
147 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: 011D, 011X_MBE5, 012D, 012B, 011B, 011C, 012C | 24EMS34725
148 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 24EMS34726
149 | IPCO_BA | - CIM export of IPCO_BA FNM. | 24EMS34727
150 | IPCO_BA | Shunt Cap\Reactor\ SVD¿s - Update reactance and limits of C506 | 24EMS34804
151 | IPCO_BA | Transmission Line - Update name change of Transmission Line: HILL-LNDN to LNDN-HILL | 24EMS34805
152 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update name change of Breakers/Disconnects: 012F to 015F, 013F to 016F | 24EMS34806
153 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update name change of Breakers/Disconnects: 113T3_STR109 to 113T3, 113T2 to 113T2_STR109, 113T3_STR110 to 113T2_STR110 | 24EMS34807
154 | IPCO_BA | Generator - Update reactive capability curve for JKPT | 24EMS34808
155 | IPCO_BA | Transmission Line - Update ratings of Transmission Line: MNCO-SUGR | 24EMS34809
156 | IPCO_BA | Transmission Line - Removal of Transmission Line: FRSR-JKPT | 24EMS34810
157 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: 078T1, 061F | 24EMS34811
158 | IPCO_BA | Substation\Load - Removal of load: T061 | 24EMS34812
159 | IPCO_BA | Generator - Addition of reactive capability curve for PGCV | 24EMS34813
160 | IPCO_BA | Generator - Addition of reactive capability curve for CRSP | 24EMS34814
161 | IPCO_BA | Generator - Addition of reactive capability curve for LLCN | 24EMS34815
162 | IPCO_BA | Generator - Addition of reactive capability curve for SHKO | 24EMS34816
163 | IPCO_BA | Generator - Addition of reactive capability curve for CDRW | 24EMS34817
164 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breaker/Disconnect: JMPR1 | 24EMS34818
165 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: 061A, 061C, 131Z, 131X | 24EMS34819
166 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breaker/Disconnect: TMP | 24EMS34820
167 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: 011D, 011X_MBE5, 012D, 012B, 011B, 011C, 012C | 24EMS34821
168 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 24EMS34822
169 | IPCO_BA | - CIM export of IPCO_BA FNM. | 24EMS34823
170 | IPCO_BA | - Updated System Voltage Limits with exception rationale | 24EMS35069
171 | IPCO_BA | - Updated Shunt Equipment parameters | 24EMS35070
172 | LDWP_BA | Substation\Load - ICCP - Update INT, ELN, BAR, PER | 24EMS34637
173 | LDWP_BA | Generator - Dynamic Models ELAND PV,BESS | 24EMS34638
174 | LDWP_BA | Generator - Dynamic Models for INT U3,U4 | 24EMS34639
175 | LDWP_BA | Substation\Load - Dynamic Models for INT U3,U4 and ELAND PV,BESS | 24EMS34640
176 | LDWP_BA | Substation\Load - CIM File - Update INT, ELN, BAR, PER | 24EMS34641
177 | LDWP_BA | Breaker(s)\ Disconnect(s) - Update Breaker Normal Status for HSK SYL 2 and INT GON 1 | 24EMS34954
178 | LDWP_BA | Breaker(s)\ Disconnect(s) - Update Breaker Normal Status for HSK SYL 2 and INT GON 1 | 24EMS34955
179 | NEVP_TOP | Generator - Added ICCP for NDL_IPP_PV MVAR measurement | 24EMS34919
180 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM measurement names for new breakers and XFMRs | 24EMS34920
181 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM measurement names for new breakers and XFMRs | 24EMS34921
182 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM measurement names for new breakers and XFMRs | 24EMS34922
183 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM measurement names for new breakers and XFMRs | 24EMS34923
184 | NEVP_TOP | Generator - Updated pMAX for GMS_IPP_PV | 24EMS34924
185 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removed and renamed ICCP at Sub | 24EMS34925
186 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removal of old Tracy equipment (24.5 kV completely removed, 60 kV bus equipment renamed, 120 kV equipment removed) | 24EMS34926
187 | NWMT_TOP | Transmission Line - Voltage exclusions justification | 24EMS34799
188 | NWMT_TOP | Transmission Line - All of the above. | 24EMS35013
189 | NWMT_TOP | Transmission Line - Misc. system-wide changes; YCGS, RENOVA | 24EMS35015
190 | PAC_TOP | Update Amasa-Windstar 230 kV rating to 618 MVA instead of 400 MVA. | 24EMS33958
191 | PAC_TOP | Breaker(s)\ Disconnect(s) - Updated measurements for 230kV breakers and switches. | 24EMS34238
192 | PAC_TOP | Breaker(s)\ Disconnect(s) - Added 4 breakers and measurements for 2 loads. Updated load names | 24EMS34239
193 | PAC_TOP | Transmission Line - Removed CORRAL_OCHOCO_230_E line and updated measurements for line to CATALINA. | 24EMS34240
194 | PAC_TOP | Transmission Line - Removed CORRAL_OCHOCO_230_E line and updated measurements for line to CATALINA. | 24EMS34241
195 | PAC_TOP | Generator - Added new BESS generator | 24EMS34242
196 | PAC_TOP | Transmission Line - Removed 2 switches and line to UMAPINE. Updated measurements for line to PROSPECP. | 24EMS34243
197 | PAC_TOP | Transmission Line - Removed 2 switches and line to PROSPECP. Updated measurements for line to UMAPINE. | 24EMS34244
198 | PAC_TOP | Substation\Load - Added new station | 24EMS34245
199 | PAC_TOP | Breaker(s)\ Disconnect(s) - Addition of 1 switch | 24EMS34956
200 | PAC_TOP | Transmission Line - Removal and replacement of WARRENNT line with line to BENLOMON | 24EMS34957
201 | PAC_TOP | Transmission Line - Removal and replacement of WARRENNT line with line to WARREN | 24EMS34958
202 | PAC_TOP | Substation\Load - Removal of station | 24EMS34959
203 | PAC_TOP | Breaker(s)\ Disconnect(s) - Updates to device names | 24EMS34960
204 | PAC_TOP | Transmission Line - Addition of 2 lines to TERMINAL | 24EMS34961
205 | PAC_TOP | Transmission Line - Addition of 2 lines to OQUIRRH | 24EMS34962
206 | PAC_TOP | Transmission Line - Removal of 2 switches. Updates to CLOVER line measurements | 24EMS34963
207 | PAC_TOP | Transmission Line - Removal of 2 switches. Updates to CAMPWILL line measurements | 24EMS34964
208 | PAC_TOP | Transmission Line - Removal of 3 breakers, 8 switches, and 2 lines to CLOVER and CAMPWILL | 24EMS34965
209 | PAC_TOP | Transmission Line - Updates to measurements for SHIRLEYB and AMASA lines | 24EMS34966
210 | PAC_TOP | Breaker(s)\ Disconnect(s) - Addition of 2 breakers | 24EMS34967
211 | PAC_TOP | Transmission Line - Relocation of 4 switches and 1 load to new ASHTONU and SARATOTP stations. Addition of line to new ASHTONU station. | 24EMS34968
212 | PAC_TOP | Substation\Load - New Station | 24EMS34969
213 | PAC_TOP | Substation\Load - New station | 24EMS34970
214 | PAC_TOP | Generator - Updates for reaggregation of existing wind generation. Addition of Rock River wind generation (54 MW), 9 breakers, and 20 switches. | 24EMS34971
215 | PAC_TOP | Transmission Line - Addition of 1 breaker and 1 line to BDO | 24EMS34972
216 | PAC_TOP | Transmission Line - Updated impedance for line to WARREN | 24EMS34973
217 | PAC_TOP | Transmission Line - Addition of 4 breakers, 2 switches, and 1 line to PIONEER. Updated impedance for line to BDOTP | 24EMS34974
218 | PAC_TOP | Transformer - Addition of 2 transformers, 5 breakers, 9 switches, 1 shunt reactor, and 1 shunt capacitor | 24EMS34975
219 | PGE_BA | Substation\Load - Builde the new Evergreen substation | 24EMS34692
220 | PGE_BA | Substation\Load - Sbus&Node reconfiguration and SCADA points update. | 24EMS34693
221 | PGE_BA | Substation\Load - Clean up Orenco double modeling | 24EMS34694
222 | PGE_BA | Substation\Load - Install the Battery storage in 13kV level at Coffee Creek station | 24EMS34695
223 | PGE_BA | Substation\Load - Move Mobile 8 to Dayton station | 24EMS34696
224 | PGE_BA | - PGE WebOMS English name-CIM model name mapping update | 24EMS34697
225 | PGE_BA | - List of ICCP points mapping | 24EMS34698
226 | PGE_BA | - Model Difference report | 24EMS34699
227 | PGE_BA | - Model Updates for PGE: CIMMXL model file | 24EMS34700
228 | PNM | Update SVC limits with the limits provided by PNM in the attached email. | 24EMS35074
229 | PNM | Add new PNM season | 24EMS35304
230 | PNM_BA | Breaker(s)\ Disconnect(s) - Add Escalante Solar Breaker CS1 | 24EMS34489
231 | PNM_BA | Breaker(s)\ Disconnect(s) - Add Escalante Solar Breaker 52C1 | 24EMS34490
232 | PNM_BA | Breaker(s)\ Disconnect(s) - Add Escalante Solar Breaker 52F1-4 | 24EMS34491
233 | PNM_BA | Breaker(s)\ Disconnect(s) - Add Escalante Solar Switch CAP2 | 24EMS34492
234 | PNM_BA | Breaker(s)\ Disconnect(s) - Add Escalante Solar Switch CAP1 | 24EMS34493
235 | PNM_BA | Breaker(s)\ Disconnect(s) - Add Escalante Solar Switch 89C1-2 | 24EMS34494
236 | PNM_BA | Breaker(s)\ Disconnect(s) - Add Escalante Solar Switch 89C1-1 | 24EMS34495
237 | PNM_BA | Breaker(s)\ Disconnect(s) - Add Escalante Solar Switch 89-T2 | 24EMS34496
238 | PNM_BA | Breaker(s)\ Disconnect(s) - Add PEGS Breaker 52-T1 | 24EMS34497
239 | PNM_BA | Breaker(s)\ Disconnect(s) - Add PEGS Breaker 89-T1 | 24EMS34498
240 | PNM_BA | Breaker(s)\ Disconnect(s) - Add PEGS Breaker 182 | 24EMS34499
241 | PNM_BA | Breaker(s)\ Disconnect(s) - Add PEGS Switch 381 | 24EMS34500
242 | PNM_BA | Breaker(s)\ Disconnect(s) - Add PEGS Switch 185 | 24EMS34501
243 | PNM_BA | Breaker(s)\ Disconnect(s) - Add PEGS Switch 183 | 24EMS34502
244 | PNM_BA | Contingency Definition - Update Contingency for 230 PEGS Ambros line | 24EMS34503
245 | PNM_BA | Contingency Definition - Add Contingency for PEGS 230-Escalante Solar line | 24EMS34504
246 | PNM_BA | Contingency Definition - Add Escalante CAP2 | 24EMS34505
247 | PNM_BA | Shunt Cap\Reactor\ SVD¿s - Add Escalante CAP1 | 24EMS34506
248 | PNM_BA | Substation\Load - Add Escalante Solar Substation | 24EMS34507
249 | PNM_BA | Breaker(s)\ Disconnect(s) - Add Escalante Solar Breaker CS2 | 24EMS34508
250 | PNM_BA | Transformer - Add Escalante Xfmr 230_35_5 | 24EMS34509
251 | PNM_BA | Transmission Line - Addition of transmission line between Escalante Solar and PEGS 230kV sub | 24EMS34510
252 | PNM_BA | Generator - Addition of Escalante Solar, a 200 MW solar plant, to PEGS 230kV Substation. | 24EMS34511
253 | PNM_BA | Contingency Definition - Updated Line Contingency Definitions for new St Cecilia Station | 24EMS34512
254 | PNM_BA | Contingency Definition - Updated Line Contingency Definitions for new Sun Ranch Station | 24EMS34513
255 | PNM_BA | Generator - Added ICCP Object name W075$ATSO_BESS_MVAr | 24EMS35250
256 | PNM_BA | Generator - Added ICCP Object name W075$ATSO_BESS_MW | 24EMS35251
257 | PNM_BA | Generator - Added ICCP Object name W075$ATSO_PV_MVAr | 24EMS35252
258 | PNM_BA | Generator - Added ICCP Object name W075$ATSO_PV_MW | 24EMS35253
259 | PSCO_TOP | Correct 9812_2 default position at SMEL station | 24EMS34029
260 | PSEI_BA | - | 24EMS33759
261 | PSEI_BA | - | 24EMS33760
262 | PSEI_BA | Shunt Cap\Reactor\ SVD¿s - All PSE's shunt equipment is already reported, so the list is accurate. PSE does not utilize controllers for their operation; i.e. they are manually operated as needed. | 24EMS34486
263 | PSEI_BA | - PSE's cim model export | 24EMS35116
264 | PSEI_BA | - List of PSEI's ICCP IDs for PSE scada model | 24EMS35117
265 | SCL_BA | Shunt Cap\Reactor\ SVD¿s - Revised Shunt Equipment Data Template submission that includes additional details for the two transmission capacitors at BOTHELL. All other SCL shunt capacitors are located at the distribution voltage level and are operated manually. | 24EMS34367
266 | SMUD_TOP | Substation\Load - Update System Voltage Limits in BANC | 24EMS34937
267 | SNPD_TOP | Transmission Line - Update 115kV line ratings of Beverly Park - Swamp Creek and BPA Sno-King - Halls Lake #1 | 24EMS33858
268 | SNPD_TOP | Shoofly Install\ Removal - Install a shoo-fly to bypass Camano Substation. Note that this substation will be reconstructed as a 4-breaker ring bus. | 24EMS34154
269 | SNPD_TOP | Shoofly Install\ Removal - | 24EMS34828
270 | SNPD_TOP | Shoofly Install\ Removal - Install a shoo-fly at Lake Goodwin Substation | 24EMS34829
271 | SNPD_TOP | Substation\Load - Revise in-service date for Phase 2 | 24EMS35183
272 | SPP_RC | SPP Incremental Updates for DB128 | 23EMS31672
273 | SRP_BA | Transmission Line - Added Harquahala SRP Branches | 24EMS34834
274 | SRP_BA | Substation\Load - Babbitt | 24EMS34835
275 | SRP_BA | Generator - Added New HARQ SRP Assets (only new to SRP BA) | 24EMS34836
276 | SRP_BA | Transformer - Added 34.5/230kV and 12/230kV XFMRs | 24EMS34837
277 | SRP_BA | Transmission Line - Added 500kV Babbitt Branch | 24EMS34838
278 | SRP_BA | Breaker(s)\ Disconnect(s) - Added Parlett 230kV / 34.5kV / 12kV Portion | 24EMS34839
279 | SVP_TOP | Transmission Line - Exisitng Line rating update | 24EMS34361
280 | SVP_TOP | Transmission Line - Exisitng Line rating update | 24EMS34362
281 | SVP_TOP | Transmission Line - Exisitng Line rating update | 24EMS34363
282 | SVP_TOP | Transmission Line - Exisitng Line rating update | 24EMS34364
283 | TEP | Double model BX_TEP and COALMINE stations in WACM for TEP to WACM ownership transition. | 24EMS34680
284 | TEPC_TOP | Substation\Load - Devices have updated names for consistency to new internal naming standard. Also updated some loads to correctly reflect being nonconforming. | 24EMS34800
285 | TEPC_TOP | Shunt Cap\Reactor\ SVD¿s - Updates and corrections of reactive element ratings to reflect 2024 Summer PSLF case | 24EMS34801
286 | TEPC_TOP | Transmission Line - Updates and corrections of impedances and line MVA ratings to reflect 2024 Summer PSLF case | 24EMS34802
287 | TEPC_TOP | Substation\Load - Fixes to topology of distribution buses to crrrect internal estimation issues. | 24EMS34803
288 | TIDC_TOP | Shunt Cap\Reactor\ SVD¿s - No changes to existing Shunt equipment | 24EMS34622
289 | TPWR_BA | Update TPWR limits to use Summer and Spring limits. | 24EMS35207
290 | TSGT_TOP | Substation\Load - Add Valent substation and CB's | 24EMS34979
291 | TSGT_TOP | Breaker(s)\ Disconnect(s) - Add CB 286, 586, 482 and Disc 185, 283, 485, 581, 583, 585, 683 | 24EMS34983