## Trade Rules
SIBR Business Rules IST Extensions
for California ISO Nodal Market
Version 1.3.2 9/24/2008
Market | Business Rule ID | Business Rule Numbering |  |  |  | Description | Comments
|  | 11 |  |  |  | General | Constants, configurable parameters and general system requirements.
DAM | 110001 | 11 | 0 | 0 | 1 | The configurable DAM Trade Pre-Market-Close Time must be initialized to 18 hours before DAM Trade Market Start Time. | All times are relative to the trading start time or after trading close time
RTM | 110002 | 11 | 0 | 0 | 2 | The configurable RTM Trade Pre-Market-Close Time must be initialized to 135 minutes before RTM Trade Market Close Time. | Start of cyclic validation
DAM | 110003 | 11 | 0 | 0 | 3 | The configurable DAM Trade Open Time must be initialized to 7 days before DAM Trade Market Start Time.
RTM | 110004 | 11 | 0 | 0 | 4 | The configurable RTM Trade Open Time must be initialized to 1 day before RTM Trade Market Start Time.
DAM | 110005 | 11 | 0 | 0 | 5 | The configurable DAM Trade Close Time is set to 12 hours before DAM Trade Market Start Time unless a Service sets another DAM Trade Close Time. | If we need a re-open - the service has to set new close time
RTM | 110006 | 11 | 0 | 0 | 6 | The configurable RTM Trade Close Time is initialized to 45 min in advance of the Trading Hour unless a service sets another RTM Trade Market Close Time.
DAM | 110007 | 11 | 0 | 0 | 7 | The configurable DAM Trade Post Close Time must be initialized to 1 hour after DAM Trade Close Time,
RTM | 110008 | 11 | 0 | 0 | 8 | The configurable RTM Trade Post Close Time must be at 00.15 minutes after RTM Trade Close Time.
ALL | 110009 | 11 | 0 | 0 | 9 | Trade Cyclic Validation occurs after Trade Pre-Market-Close Time every 20 minutes till Trade Market Close Time. The last run has to occur immediately after Trade Close Time.
ALL | 110010 | 11 | 0 | 0 | 10 | The max length for an IST Name or a Depend On IST Name is 120 alpha-numeric characters
|  | 12 |  |  |  | Trade Identification and Content
ALL | 120001 | 12 | 0 | 0 | 1 | All Trades are broken down in hourly Trades, even if submitted as multiple hour Trades. The Rules will treat each hourly Trade independent. | BR 2, BR 32, BR 47
ALL | 120002 | 12 | 0 | 0 | 2 | A Trade may be submitted at any time. | BR 1, BR 31, BR 46
ALL | 120003 | 12 | 0 | 0 | 3 | A Trade must have exactly one Trade Identification.
ALL | 120004 | 12 | 0 | 0 | 4 | A Trade Type must be specified in the Trade Identification of a Trade. The Trade Type needs to be specified as IST, AST, or UCT.
ALL | 120005 | 12 | 0 | 0 | 5 | A Submit SC must be specified in the Trade Identification of a Trade. | BR 3, BR 33, BR 48
ALL | 120006 | 12 | 0 | 0 | 6 | A Submission Time must be specified in the Trade Identification of a Trade. | BR 3, BR 33, BR 48
ALL | 120007 | 12 | 0 | 0 | 7 | A Trade Quantity for a Trading Hour that has not yet closed must be specified in the Trade. | BR 3, BR 33, BR 48
ALL | 120008 | 12 | 0 | 0 | 8 | A To SC must be specified in the Trade Identification of a Trade | BR 3, BR 33, BR 48
ALL | 120009 | 12 | 0 | 0 | 9 | A From Scheduling Coordinator Identifier must be specified in the Trade Identification of a Trade | BR 3, BR 33, BR 48
ALL | 120010 | 12 | 0 | 0 | 10 | If the Trade Type is IST, the Trade Category must be specified as a APN, PHY, or CPT. | BR 3
ALL | 120011 | 12 | 0 | 0 | 11 | If the Trade Type is AST, the Trade Category must be specified as SRT, NRT, RUT or RDT. | BR 33
ALL | 120012 | 12 | 0 | 0 | 12 | If the Trade Type is UCT, the Trade Category is ignored. | BR 48
ALL | 120013 | 12 | 0 | 0 | 13 | If the Trade Type is IST and the Trade Category is APN, then the Trade Location must be either a registered Trading Hub or a registered Load Aggregation Point, else if the Trade Category is PHY then the Trade Location must be a registered Generating Resource | BR 3
ALL | 120014 | 12 | 0 | 0 | 14 | Any specified Trade Quantity of a Trade must be greater than zero. | BR 6, BR 36, BR 51
ALL | 120015 | 12 | 0 | 0 | 15 | The From SC and the To SC must be Active SCs for the Trade Period of the Trade. | BR 11, BR 39, BR 54
RTM + AST | 120016 | 12 | 0 | 0 | 16 | The Submission Time must not be later than the RTM Trade Market Close Time of the Trading Hour of the Trade Period of the Trade for an AST, UCT Trade or RTM IST Trade. | BR 9, BR 37, BR 52
RTM | 120017 | 12 | 0 | 0 | 17 | The Submission Time must not be earlier than the RTM Trade Market Open Time of the Trading Hour of the Trade Period of the Trade for an AST, UCT Trade or RTM IST Trade. | BR 10, BR 38, BR 53
ALL | 120018 | 12 | 0 | 0 | 18 | A Trade Time Period (Start Date/Time, End Date/Time) must be specified in the Trade Identification of a Trade. | BR 3, BR 33, BR 48
ALL | 120019 | 12 | 0 | 0 | 19 | The Submit SC in the Trade must match either the From SC or the To SC of the Trade. | BR 4, BR 34, BR 49
ALL | 120020 | 12 | 0 | 0 | 20 | The From SC of a Trade must not match the To SC of a Trade. | BR 5. BR 35, BR 50
DAM | 120021 | 12 | 0 | 0 | 21 | The Submission Time must not be later than the DAM Trade Market Close Time of the Trading Day of the Trade Period for an IST Trade. | BR 7
DAM + AST | 120022 | 12 | 0 | 0 | 22 | The Submission Time must not be earlier than the DAM Trade Market Open Time of the Trading Day of the Trade Period for an IST Trade. | BR 8
DAM + AST | 120023 | 12 | 0 | 0 | 23 | The Trade Period of a Trade must be a Trading Hour of the Trading Day.
ALL | 120024 | 12 | 0 | 0 | 24 | A Submitted Trade must be checked for Trade Content immediately after Trade Submission. Submitted Trades that pass Trade Content must become Accepted Trades. Scheduling Coordinators submitting a Accepted Trade must be notified of the Accepted status of that Trade.
ALL | 120025 | 12 | 0 | 0 | 25 | Submitted Trades that fail Trade Content must become Rejected Trades. Scheduling Coordinators submitting a Rejected Trade must be notified of the Rejected status of that Trade and of any failed Trade Content rules after Trade Content.
ALL |  | 12 | 1 |  |  | Inter-SC Trade (IST) Content
ALL | 121001 | 12 | 1 | 0 | 1 | A Trade Location needs to be specified for a Trade of Trade Type IST | BR 3
ALL | 121002 | 12 | 1 | 0 | 2 | An IST Name needs to be specified for a Trade of Trade Type IST of Trade Category PHY. No IST Name is allowed for IST of Trade Category APN. | BR 3
ALL | 121003 | 12 | 1 | 0 | 3 | A Market Type must be specified in the Trade Identification of a Trade of Trade Type IST. | BR 3
ALL | 121004 | 12 | 1 | 0 | 4 | A Depend On IST Name must be specified for a Trade of Trade Type IST and Trade Category of PHY. | BR 3
ALL | 121005 | 12 | 1 | 0 | 5 | The Market Type of a Trade must be one of the following: a) Day-Ahead Market ("DAM"), or b) Real-Time Market ("RTM").
ALL | 121006 | 12 | 1 | 0 | 6 | If the Trade Category equals a APN, the Trade Location must be a registered Trading Hub or a registered Load Aggregation Point for the duration of the Trade Period of the Trade. | BR 12
ALL | 121007 | 12 | 1 | 0 | 7 | If the Trade Category equals a PHY, the Trade Location must be a registered Generator Resource for the duration of the Trade Period of the Trade. | BR 13
ALL | 121008 | 12 | 1 | 0 | 8 | If the Trade Category equals a PHY, the Quantity of the Trade must not be greater than the registered Maximum Operating Limit for that Time Period of the Generator Resource specified as the Trade Location for that Trade. | BR 14
ALL | 121009 | 12 | 1 | 0 | 9 | If an IST Type equals a PHY and the Submission Scheduling Coordinator is the Scheduling Coordinator of the Generating Resource which is the Trade Location of the Trade, the From Scheduling Coordinator of the Trade must match the Submission Scheduling Coordinator, and the Depend On Name of that Trade must match the Trade Location | BR 15
ALL | 121010 | 12 | 1 | 0 | 10 | Any hourly quantity of a Matched, an Unmatched Trade, a Conditionally Valid, and a Conditionally Modified IST with the same attributes as a previously submitted IST should make the previously hourly submitted IST quantity of the Trade obsolete. (Query for same attributes: equal submission SC, IST Name, To-SC, From-SC, IST Type, Trade Location, Trade Period, Market Type) | BR 16
ALL | 121011 | 12 | 1 | 0 | 12 | A hourly Matched, a hourly Unmatched, a hourly Conditionally Valid, or a hourly Conditionally Modified Trade may be cancelled by the Scheduling Coordinator that submitted that Trade any time before the relevant Market closes. | BR 17
|  | 12 | 2 |  |  | IST Ancillary Service Obligations (AST) Content
ALL | 122001 | 12 | 2 | 0 | 1 | A Market Type of RTM must be specified in the Trade Identification of a Trade of Trade Type AST.
RTM | 122002 | 12 | 2 | 0 | 2 | Any trading hours in the trade that have already closed are ignored.
RTM | 122003 | 12 | 2 | 0 | 3 | Any hourly quantity of an Accepted, a Matched, or an Unmatched AST with the same attributes as a previously submitted AST should make the previously hourly submitted AST quantity obsolete. | BR 40
RTM | 122004 | 12 | 2 | 0 | 5 | An Accepted, a Matched, an Unmatched AST may be cancelled by the Scheduling Coordinator that submitted that Trade any time before the Trade Market Close time.
|  | 12 | 3 |  |  | IST Unit Commitment Cost Obligations (UCT) Content
ALL | 123001 | 12 | 3 | 0 | 1 | A Market Type of RTM must be specified in the Trade Identification of a Trade of Trade Type UCT.
RTM | 123002 | 12 | 3 | 0 | 2 | Any trading hours in the trade that have already closed are ignored.
RTM | 123003 | 12 | 3 | 0 | 3 | Any hourly quantity of an Accepted, a Matched, or an Unmatched UCT with the same attributes as a previously submitted UCT should make the previously hourly submitted UCT quantity obsolete. | BR 55
RTM | 123004 | 12 | 3 | 0 | 5 | An Accepted, Matched, or an Unmatched UCT may be cancelled by the Scheduling Coordinator that submitted that Trade any time before the Trade Market Close time.
|  | 13 |  |  |  | Trade Matching | Matching of a Trade by Trade Type
ALL | 130001 | 13 | 0 | 0 | 1 | All Accepted Trades must undergo Trade Matching for the Trading Day specified in the Trade immediately after Trade Submission. Accepted Trades that fail Trade Matching must become Unmatched Trades and Accepted Trades that pass Trade Matching must become Matched Trades.
ALL | 130002 | 13 | 0 | 0 | 2 | A Matching Trade of a canceled trade becomes Unmatched. A warning message will be sent to the From Scheduling Coordinator Identifier and the To Scheduling Coordinator Identifier of the Unmatched Trade. | Cancel rule flow only
ALL | 130003 | 13 | 0 | 0 | 3 | If the resubmitted trade does not match the previous matching trade, the previous matching trade becomes unmatched. A warning message will be sent to the From Scheduling Coordinator Identifier and the To Scheduling Coordinator Identifier of the Unmatched Trade.
|  | 13 | 1 |  |  | Inter-SC Trade (IST) Matching
ALL | 131001 | 13 | 1 | 0 | 1 | For every hour in a submitted IST, if there is no Matching set of ISTs where the To and From Scheduling Coordinator Identifiers in one Trade match the To and From Scheduling Coordinator Identifiers in the other Trade with the same MW quantity, IST Name, Depend On IST at the same Trade Location, a warning message will be sent to the From Scheduling Coordinator Identifier and the To Scheduling Coordinator Identifier of the existing Trade. | BR 18
ALL | 131002 | 13 | 1 | 0 | 2 | For every hour in a submitted IST, if there is a Matching set of ISTs where the To and From Scheduling Coordinator Identifiers in one Trade match the To and From Scheduling Coordinator Identifiers in the other Trade with the same MW quantity, IST Name, Depend On IST at the same Trade Location, a notification message will be sent to the From Scheduling Coordinator Identifier and the To Scheduling Coordinator Identifier of the existing Trade. | BR 18
|  | 13 | 2 |  |  | IST Ancillary Service Obligations (AST) Matching
ALL | 132001 | 13 | 2 | 0 | 1 | For every hour in a submitted AST, if there is no Matching set of ASTs where the To and From Scheduling Coordinator Identifiers in one Trade match the To and From Scheduling Coordinator Identifiers in the other Trade with the same MW quantity, a warning message will be sent to the From Scheduling Coordinator Identifier and the To Scheduling Coordinator Identifier of the existing Trade. | BR 41 (please see comment above)
ALL | 132002 | 13 | 2 | 0 | 2 | For every hour in a submitted AST, if there is a Matching set of ASTs where the To and From Scheduling Coordinator Identifiers in one Trade match the To and From Scheduling Coordinator Identifiers in the other Trade with the same MW quantity, a notification message will be sent to the From Scheduling Coordinator Identifier and the To Scheduling Coordinator Identifier of the Trade. (Query for same From-SC, To-SC, AST Type, Trade Period, Quantity, From_SC.) | BR 41 (please see comment above)
|  | 13 | 3 |  |  | IST Unit Commitment Cost Obligations (UCT) Matching
ALL | 133001 | 13 | 3 | 0 | 1 | For every hour in a submitted UCT, if there is no Matching set of UCTs where the To and From Scheduling Coordinator in one Trade match the To and From Scheduling Coordinator in the other Trade with the same MW quantity, a warning message will be sent to the From Scheduling Coordinator and the To Scheduling Coordinator of the existing Trade. | BR 56 (please see comment for BR 18)
ALL | 133002 | 13 | 3 | 0 | 2 | For every hour in a submitted UCT, if there is a Matching set of UCTs where the To and From Scheduling Coordinator Identifiers in one Trade match the To and From Scheduling Coordinator Identifiers in the other Trade with the same MW quantity, a notification message will be sent to the From Scheduling Coordinator Identifier and the To Scheduling Coordinator Identifier of the trade. | BR 56 (please see comment for BR 18)
|  | 14 |  |  |  | PHY Trade Cyclic Market Validation | Matching of a Trade by Trade Type
ALL | 140001 | 14 | 0 | 0 | 1 | All Matched PHYs must undergo Cyclic Market Validation. The system will evaluate PHYs based on dependency trees on a Generator Resource base. Trades that pass Cyclic Market Validation must become Conditionally Valid Trades. Trades that fail Cyclic Market Validation must become Conditionally Invalid Trades. | BR 20
|  | 14 | 1 |  |  | Inter-SC PHY Trade Cyclic Market Validation
ALL | 141001 | 14 | 1 | 0 | 1 | If a set of IST Trades of Trade Category PHY exist with Depend On IST Names that do eventually rely on itself or do not rely on a Generating Resource, such a set must be set to Conditionally Invalid and a warning message will be sent to the From Scheduling Coordinator and the To Scheduling Coordinator of the effected Trades. | BR21
DAM | 141002 | 14 | 1 | 0 | 2 | For all IST Trades of Trade Category PHY whose Depend On Name points to a Generating Resource, if the sum of all Submitted Trade Quantities of the PHYs which share the Trading Location is greater than the limit equal to the Day Ahead Total Energy Bid Quantity (including energy self-schedules) of the Generating Resource that is the specified Trading Location for the Trade Period of the Trade, these PHYs will be reduced pro-rata according to their Submitted Trade Quantity so that the sum of their reduced quantities will be equal to the limit, and for each PHY their Validated Trade Quantity will be set to their reduced quantity, their status set to Conditionally Modified and the system shall notify all SCs involved in these PHYs about the reason for the adjustments. Otherwise, Validated Trade Quantity will be set to Submitted Trade Quantity, their status set to Conditionally Valid and the system shall notify all SCs involved in these PHYs that their trades were succesfully validated | BR 22
RTM | 141003 | 14 | 1 | 0 | 3 | For all IST Trades of Trade Category PHY whose Depend On Name points to a Generating Resource, if the sum of all Submitted Trade Quantities of the PHYs which share the Trading Location is greater than the limit of higher of zero and the following: the lower of the Total Energy Bid Quantity (including energy self-schedules) and the Maximum Operating Limit (considering any capacity de-rate) of the Generating Resource that is the specified Trading Location for the Trade Period of the Real Time PHYs, minus the sum of the Validated Trade Quantities of the Valid and Modified Day Ahead PHYs whose Depend On Name points to the Generating Resource for the Trade Period of the Real Time PHYs, minus the sum of all upward Ancillary Service Day Ahead Awards of the Generating Resource for the Trade Period of the Real Time PHYs. these PHYs must be reduced pro-rata according to their Submitted Trade Quantity so that the sum of their reduced quantities will be equal to the limit, and for each PHY their Validated Trade Quantity will be set to their reduced quantity, their status set to Conditionally Modified and the system shall notify all SCs involved in these PHYs about the reason for the adjustments. Otherwise, Validated Trade Quantity will be set to Submitted Trade Quantity, these PHYs will become Conditionally Valid and the system shall notify all SCs involved in these PHYs that their trades were succesfully validated | BR 23
ALL | 141004 | 14 | 1 | 0 | 4 | For each parent PHY that has children, if the sum of the Submitted Trade Quantities of the PHYs that are parents immediate children is greater than the Validated Trade Quantity of the parent, the children PHYs will be reduced pro-rata so that the sum of the childrens reduced quantities will be equal to the parents Validated Trade Quantity, each childs Validated Trade Quantity will be set to their reduced quantity, their status set to Conditionally Modified and the system shall notify all SCs involved in these PHYs about the reason for the adjustments. Otherwise, each childs Validated Trade Quantity will be set to their Submitted Trade Quantity, their status set to Conditionally Valid and the system shall notify all SCs involved in these PHYs that their trades were succesfully validated | BR 24
|  | 15 |  |  |  | Market Close Validation
|  | 15 | 1 |  |  | IST Market Close Validation
ALL | 151001 | 15 | 1 | 0 | 1 | All Matched Trades of Trade Category APN must become Valid IST Trades. Unmatched and Conditionally Invalid IST Trades must become Invalid IST Trades. | BR 19
|  | 15 | 2 |  |  | AST Market Close Validation
ALL | 152001 | 15 | 2 | 0 | 1 | All matched AST Trades get promoted to Valid AST Trades. Unmatched AST Trades become Invalid AST Trades. | BR 42
|  | 15 | 3 |  |  | UCT Market Close Validation
ALL | 153001 | 15 | 3 | 0 | 1 | All matched UCT Trades get promoted to Valid UCT Trades. Unmatched UCT Trades become Invalid UCT Trades. | BR 57
|  | 16 |  |  |  | PHY Trade Post Market Validation
ALL | 160001 | 16 | 0 | 0 | 1 | All Trades of IST Trade Type, of Category PHY that are of status Conditionally Valid or Conditionally Modified and that pass the Trade Post Close Validation will be promoted to Valid or Modified Trades. | Figure 9 Stage 3 Validation Post Validation will run the cyclic rule flow for a last time for the applicable trades
ALL | 160002 | 16 | 0 | 0 | 2 | All remaining Unmatched Trades in the Trade Period are declared Invalid
|  | 16 | 1 |  |  | Inter-SC PHY Trade Post Market Validation
RTM | 161001 | 16 | 1 | 0 | 1 | For all IST Trades of Trade Category PHY whose Depend On Name points to a Generating Resource, if the sum of all Submitted Trade Quantities of the Real Time PHYs which share the Trading Location is greater than the difference of the HASP Energy Schedule awarded to the Trade Location Generator for the Trade Period of the PHY, and the sum of the Validated Trade Quantities of the Valid and Modified Day Ahead PHYs whose Depend On Name points to the Generating Resource that is the specified Trading Location of the Real Time Trades, these Real Time PHYs will be reduced pro-rata according to their Submitted Trade Quantity so that the sum of their reduced quantities will be equal to the HASP Energy Schedule of the Trade Location Generator, and for each PHY their Validated Trade Quantity will be set to their reduced quantity, their status set to Conditionally Modified and the system shall notify all SCs involved in these PHYs about the reason for the adjustments. | BR 26
DAM | 161002 | 16 | 1 | 0 | 2 | For all IST Trades of Trade Category PHY whose Depend On Name points to a Generating Resource, if the sum of all Submitted Trade Quantities of the PHYs which share the Trading Location is greater than the Day Ahead Energy Schedule of the Trade Location Generator for the Trade Period of the Trade, these PHYs will be reduced pro-rata according to their Submitted Trade Quantity so that the sum of their reduced quantities will be equal to the Day Ahead Energy Schedule of the Trade Location Generator, Validated Trade Quantity will be set to this reduced quantity, reduced PHYs will become Conditionally Modified and the system shall notify all SCs involved in these PHYs about the reason for the adjustments | BR 25.
DAM | 161003 | 16 | 1 | 0 | 3 | For all IST Trades of Trade Category PHY for which the Validated Trade Quantity is different from 0 and is not equal to the Day Ahead Energy Schedule of the Trade Location Generator for the Trade Period of the Trade, an IST Trade of Trade Category CPT must be generated, with the Trade Quantity set to the difference between the Validated Trade Quantity and the Day Ahead Energy Schedule of the Trade Location Generator for the Trade Period of the Trade, Trade Location set to the registered Trading Hub of the Trade Location Generator, and the system shall notify all SCs involved in these PHYs about the generation of CPTs | BR 25. 26. 27 CPT expansions
RTM | 161004 | 16 | 1 | 0 | 4 | For all Real Time IST Trades of Trade Category PHY for which the Validated Trade Quantity is different from 0 and is not equal to the HASP Energy Schedule awarded to the Trade Location Generator for the Trade Period of the Real Time PHY, an IST Trade of Trade Category CPT must be generated, with the Trade Quantity set to the difference between the Validated Trade Quantity and the HASP Energy Schedule awarded to the Trade Location Generator for the Trade Period of the Real Time PHY, Trade Location set to the registered Trading Hub of the Trade Location Generator, and the system shall notify all SCs involved in these Real Time PHYs about the generation of CPTs | BR 25. 26. 27 CPT expansions

## Terms
Name | Acronym | Definition
Accepted Trade |  | The trade status of a submitted trade after passing the contents ruleflow.
Active Trade |  | The most recently submitted and not canceled Trade that applies to a given Trading Hour.
Ancillary Service Obligation |  | The Demand for which a Scheduling Coordinator is financially responsible for Ancillary Services.
Ancillary Service Obligation Trade |  | A Trade of an Ancillary Service Obligation.
Converted Physical IST | CPT | A converted physical trade has all the attributes and relations inherited from the PHY but the quantity is the pro-rata reduced quantity of the PHY.
Conditional Modified Trade |  | A modified trade that has not yet gone through post processing
Conditional Valid Trade |  | A valid trade that has not yet gone through post processing
Counterparty |  | The other Scheduling Coordinator indicated in a Trade submitted by a Scheduling Coordinator.
DA Award |  | An Award produced by a Day-Ahead Market.
Day-Ahead Market | DAM | A Market with a Market Horizon of consecutive Trading Hours that span one or more consecutive Trading Days. This Market is conducted the day before the start of its Market Horizon. Schedules and Awards are financially binding for the first Trading Day and advisory for the remaining Trading Days in the Market Horizon.
Depend On IST Name |  | The Depend On IST Name points to the unique IST Name in the chain of PHYs
Energy Trade |  | A Trade of Energy.
IST at Aggregate Pricing Nodes | APN | Trades that do not require validation of physical delivery and are only provided at aggregated pricing points (Trading Hubs and LAPs)
From Scheduling Coordinator Identifier | From-SC | The SC that gets charged
Generating Trading Hub |  | A standard aggregation of Generators defined by the ISO.
Generating Resource |  | A Resource that produces Energy.
Hour-Ahead Market | HAM | A Market with a Market Horizon of one Trading Hours. This Market is conducted the hour before the start of its Market Horizon.
Hourly HASP Energy Schedule |  | Hour-Ahead Scheduling Process (HASP) pricing of A/S schedules
Inter-SC Trade | IST | An IST is an energy quantity (MWh) traded from exactly on SC to another SC fir a specific hour, trade place and market.
IST Name |  | A unique name to distinguish multiple ISTs of the same type at the same location for the same hour and the same market and the same pair of SCs.
Leaf Node |  | A node that has no children is called a leaf
Load Aggregation Point |  | A Load Location that is a group of Load Resources scheduled or dispatched as a single Load Resource.
Market Type |  | The market types defined are IST, AST and UCT
Matching Ancillary Service Obligation Trade |  | A Submitted Ancillary Service Obligation Trade by the Counterparty of an Ancillary Service Obligation Trade for the same Market and Trade Period with opposite Traded Ancillary Service Obligation.
Matching Energy Trade |  | A Submitted Energy Trade by the Counterparty of an Energy Trade for the same Market and Trade Period at the same Location with opposite Traded Energy.
Matched Trade |  | Term used for submitted Matching Ancillary Service, Unit Commitment Cost Obligation, or Energy Trade.
Matched Unit Commitment Obligation Trade |  | A Submitted IFM Unit Commitment Cost Obligation Trade by the Counterparty of an Energy Trade for the same Market and Trade Period at the same Location with opposite Unit Commitment Cost Obligations.
Maximum Operating Limit |  | Maximal allowed operating limit of a device
Modified Trade |  | A trade that was altered by rules
Non-Spinning Reserve Obligation Trade | NST | A Trade of a Non-Spinning Reserve Obligation.
Physical Inter-SC Trades | PHY | Physical Inter-SC trades are used to facilitate the settlement of the Seller's Choice contracts.
Pro-Rata Quantity |  | The Pro-rata Quantity is equal to the quantity that the PHY is reduced.
Qualified Self-Provision Capacity |  | The Capacity designated for RUC Self-Provision.
Regulation Down Obligation Trade | RDT | A Trade of Regulation Down Obligation.
Regulation Up Obligation Trade | RUT | A Trade of Regulation Up Obligation.
Rejected Trade |  | A trade that failed the contents rules
Root Branch |  | The common basis from where branches start.
Scheduling Coordinator | SC | A Market participant authorized by the ISO to submit Bids and Trades.
Spinning Reserve Obligation Trade | SPT | A Trade of a Spinning Reserve Obligation.
Submission Scheduling Coordinator Identification |  | The ID of the submitting SC
Submission Time |  | The time the trade is submitted. Time stamped by the system.
Submitted Trade |  | A Trade submitted to a Market.
To Scheduling Coordinator | To-SC | The SC that gets paid
Trade |  | A trade of Energy or Ancillary Service Obligation between two Scheduling Coordinators.
Trade Category |  | Trade Categories are PHY, APN, CPT for ISTs and NST, RDT, RUT, SPT for ASTs.
Trade Content |  | The determination that a Trade complies with the structural rules.
Trade Cyclic Validation |  | Validation of PHYs where
Trade Identification |  | The section of a Trade that contains information used to identify the Trade.
Trade Market Close Time |  | Trade Market close time defines the point in time when no more new trades can be submitted for a particular market.
Trade Period |  | The time period for which a Trade applies.
Trade Submission Time |  | The time when a Trade is submitted to a Market.
Trade Type |  | The type of a Trade as it pertains to the traded Commodity.
Trade Validation |  | The determination that a Trade complies with the Market rules.
Traded Ancillary Service Obligation |  | The amount of an Ancillary Service Obligation Trade.
Traded Energy Quantity |  | The amount of an Energy Trade.
Traded Non-Spinning Reserve Obligation Quantity |  | The amount of a Non-Spinning Reserve Obligation Trade.
Trade Open Service |  | A WEB service that specifies the market open time.
Trade Open Time |  | The trade open time specifies the time when trades can be submitted at the earliest.
Trade Location |  | The Trade Location is either a Generating Resource, Trading Hub or Aggregate Load Point
Trade Post Close Time |  | The Post Close Time defines the point in time when IFM or HASP invalid portions of Trades are converted into CPTs.
Trade Pre-Market-Close Time |  | The time when cyclic market evaluation occurs basically the ISO informs users about necessary PHY adjustments
Traded Regulation Down Obligation Quantity |  | The amount of a Regulation Down Obligation Trade.
Traded Regulation Up Obligation Quantity |  | The amount of a Regulation Up Obligation Trade.
Traded Spinning Reserve Obligation Quantity |  | The amount of a Spinning Reserve Obligation Trade.
Trading Day |  | A set of consecutive Trading Hours spanning a calendar day in the Market Horizon of a Day-Ahead Market. All Trading Days have 24 Trading Hours except for the Short Trading Day and the Long Trading Day.
Trading Hour |  | A clock hour in the Market Horizon of a Day-Ahead Market.
Trading Hub ID |  | A standard aggregation of Locations defined by the ISO.
Trading Interval |  | A sub-hourly time period in the Market Horizon of a Real-Time Market.
Trading Period |  | A Trading Day or a Trading Hour.
Tree Node |  | A node in a binary tree that is not a leaf
Unmatched Trade |  | A trade that has no counterpart.
Valid Trade |  | A Trade that past all necessary validation and can be published for final processing (settlement)
Validated Trade Quantity |  | Quantity less then or equal to the Submitted Trade Quantity of Physical IST trade that is backed by available Energy from a Generator which is the chosen Trade Location of the PHY