## Mth_Hour_LOLP_Updated
Supplemental data pursuant to stakeholder request. Source: E3
Note- | LOLP is dynamic and is a function of both the loads and the resources on the system. While LOLP in current model runs is concentrated in Sept, these hours may shift as other assumptions change. Some uncertainty exists in occurrence of critical days. For example, cirtical days observed in the beginning of Sept in these model runs may be observed towards the end of Aug in the future, or critical days observed towards the end of Sept may be observed in the beginning of October in the future
month | hour (std time, hour beginning) | lolp (2020) | lolp (2030)
1 | 0 | 0 | 0
1 | 1 | 0 | 0
1 | 2 | 0 | 0
1 | 3 | 0 | 0
1 | 4 | 0 | 0
1 | 5 | 0 | 0
1 | 6 | 0 | 0
1 | 7 | 0 | 0
1 | 8 | 0 | 0
1 | 9 | 0 | 0
1 | 10 | 0 | 0
1 | 11 | 0 | 0
1 | 12 | 0 | 0
1 | 13 | 0 | 0
1 | 14 | 0 | 0
1 | 15 | 0 | 0
1 | 16 | 0 | 0
1 | 17 | 0 | 0
1 | 18 | 0 | 0
1 | 19 | 0 | 0
1 | 20 | 0 | 0
1 | 21 | 0 | 0
1 | 22 | 0 | 0
1 | 23 | 0 | 0
2 | 0 | 0 | 0
2 | 1 | 0 | 0
2 | 2 | 0 | 0
2 | 3 | 0 | 0
2 | 4 | 0 | 0
2 | 5 | 0 | 0
2 | 6 | 0 | 0
2 | 7 | 0 | 0
2 | 8 | 0 | 0
2 | 9 | 0 | 0
2 | 10 | 0 | 0
2 | 11 | 0 | 0
2 | 12 | 0 | 0
2 | 13 | 0 | 0
2 | 14 | 0 | 0
2 | 15 | 0 | 0
2 | 16 | 0 | 0
2 | 17 | 0 | 0
2 | 18 | 0 | 0
2 | 19 | 0 | 0
2 | 20 | 0 | 0
2 | 21 | 0 | 0
2 | 22 | 0 | 0
2 | 23 | 0 | 0
3 | 0 | 0 | 0
3 | 1 | 0 | 0
3 | 2 | 0 | 0
3 | 3 | 0 | 0
3 | 4 | 0 | 0
3 | 5 | 0 | 0
3 | 6 | 0 | 0
3 | 7 | 0 | 0
3 | 8 | 0 | 0
3 | 9 | 0 | 0
3 | 10 | 0 | 0
3 | 11 | 0 | 0
3 | 12 | 0 | 0
3 | 13 | 0 | 0
3 | 14 | 0 | 0
3 | 15 | 0 | 0
3 | 16 | 0 | 0
3 | 17 | 0 | 0
3 | 18 | 0 | 0
3 | 19 | 0 | 0
3 | 20 | 0 | 0
3 | 21 | 0 | 0
3 | 22 | 0 | 0
3 | 23 | 0 | 0
4 | 0 | 0 | 0
4 | 1 | 0 | 0
4 | 2 | 0 | 0
4 | 3 | 0 | 0
4 | 4 | 0 | 0
4 | 5 | 0 | 0
4 | 6 | 0 | 0
4 | 7 | 0 | 0
4 | 8 | 0 | 0
4 | 9 | 0 | 0
4 | 10 | 0 | 0
4 | 11 | 0 | 0
4 | 12 | 0 | 0
4 | 13 | 0 | 0
4 | 14 | 0 | 0
4 | 15 | 0 | 0
4 | 16 | 0 | 0
4 | 17 | 0 | 0
4 | 18 | 0 | 0
4 | 19 | 0 | 0
4 | 20 | 0 | 0
4 | 21 | 0 | 0
4 | 22 | 0 | 0
4 | 23 | 0 | 0
5 | 0 | 0 | 0
5 | 1 | 0 | 0
5 | 2 | 0 | 0
5 | 3 | 0 | 0
5 | 4 | 0 | 0
5 | 5 | 0 | 0
5 | 6 | 0 | 0
5 | 7 | 0 | 0
5 | 8 | 0 | 0
5 | 9 | 0 | 0
5 | 10 | 0 | 0
5 | 11 | 0 | 0
5 | 12 | 0 | 0
5 | 13 | 0 | 0
5 | 14 | 0 | 0
5 | 15 | 0 | 0
5 | 16 | 0 | 0
5 | 17 | 0 | 0
5 | 18 | 0 | 0
5 | 19 | 0 | 0
5 | 20 | 0 | 0
5 | 21 | 0 | 0
5 | 22 | 0 | 0
5 | 23 | 0 | 0
6 | 0 | 0 | 0
6 | 1 | 0 | 0
6 | 2 | 0 | 0
6 | 3 | 0 | 0
6 | 4 | 0 | 0
6 | 5 | 0 | 0
6 | 6 | 0 | 0
6 | 7 | 0 | 0
6 | 8 | 0 | 0
6 | 9 | 0 | 0
6 | 10 | 0 | 0
6 | 11 | 0 | 0
6 | 12 | 0 | 0
6 | 13 | 0 | 0
6 | 14 | 0 | 0
6 | 15 | 0 | 0
6 | 16 | 0 | 0
6 | 17 | 0 | 0
6 | 18 | 0 | 0
6 | 19 | 0 | 0
6 | 20 | 0 | 0
6 | 21 | 0 | 0
6 | 22 | 0 | 0
6 | 23 | 0 | 0
7 | 0 | 0 | 0
7 | 1 | 0 | 0
7 | 2 | 0 | 0
7 | 3 | 0 | 0
7 | 4 | 0 | 0
7 | 5 | 0 | 0
7 | 6 | 0 | 0
7 | 7 | 0 | 0
7 | 8 | 0 | 0
7 | 9 | 0 | 0
7 | 10 | 0 | 0
7 | 11 | 0 | 0
7 | 12 | 0 | 0
7 | 13 | 0 | 0
7 | 14 | 0 | 0
7 | 15 | 0 | 0
7 | 16 | 0 | 0
7 | 17 | 0 | 0
7 | 18 | 0 | 0
7 | 19 | 0 | 0
7 | 20 | 0 | 0
7 | 21 | 0 | 0
7 | 22 | 0 | 0
7 | 23 | 0 | 0
8 | 0 | 0 | 0
8 | 1 | 0 | 0
8 | 2 | 0 | 0
8 | 3 | 0 | 0
8 | 4 | 0 | 0
8 | 5 | 0 | 0
8 | 6 | 0 | 0
8 | 7 | 0 | 0
8 | 8 | 0 | 0
8 | 9 | 0 | 0
8 | 10 | 0 | 0
8 | 11 | 0 | 0
8 | 12 | 0 | 0
8 | 13 | 0 | 0
8 | 14 | 0 | 0
8 | 15 | 0 | 0
8 | 16 | 0 | 0
8 | 17 | 0 | 0
8 | 18 | 0.00018975 | 0
8 | 19 | 4.7438e-05 | 0
8 | 20 | 0 | 0
8 | 21 | 0 | 4.7438e-05
8 | 22 | 0 | 4.7438e-05
8 | 23 | 0 | 0
9 | 0 | 0 | 0
9 | 1 | 0 | 0
9 | 2 | 0 | 0
9 | 3 | 0 | 0
9 | 4 | 0 | 0
9 | 5 | 0 | 0
9 | 6 | 0 | 0
9 | 7 | 0 | 0
9 | 8 | 0 | 0
9 | 9 | 0 | 0
9 | 10 | 0 | 0
9 | 11 | 0 | 0
9 | 12 | 0 | 0
9 | 13 | 0 | 0
9 | 14 | 0 | 0
9 | 15 | 0 | 0
9 | 16 | 9.8039e-05 | 0
9 | 17 | 0.0018137 | 0.00034314
9 | 18 | 0.0028431 | 0.0021569
9 | 19 | 0.0015686 | 0.0011765
9 | 20 | 0.00053922 | 0.0011275
9 | 21 | 9.8039e-05 | 0.0028922
9 | 22 | 0 | 0.0025
9 | 23 | 0 | 0.00019608
10 | 0 | 0 | 0
10 | 1 | 0 | 0
10 | 2 | 0 | 0
10 | 3 | 0 | 0
10 | 4 | 0 | 0
10 | 5 | 0 | 0
10 | 6 | 0 | 0
10 | 7 | 0 | 0
10 | 8 | 0 | 0
10 | 9 | 0 | 0
10 | 10 | 0 | 0
10 | 11 | 0 | 0
10 | 12 | 0 | 0
10 | 13 | 0 | 0
10 | 14 | 0 | 0
10 | 15 | 0 | 0
10 | 16 | 0 | 0
10 | 17 | 0 | 0
10 | 18 | 0 | 4.7438e-05
10 | 19 | 0 | 0
10 | 20 | 0 | 0
10 | 21 | 0 | 0
10 | 22 | 0 | 0
10 | 23 | 0 | 0
11 | 0 | 0 | 0
11 | 1 | 0 | 0
11 | 2 | 0 | 0
11 | 3 | 0 | 0
11 | 4 | 0 | 0
11 | 5 | 0 | 0
11 | 6 | 0 | 0
11 | 7 | 0 | 0
11 | 8 | 0 | 0
11 | 9 | 0 | 0
11 | 10 | 0 | 0
11 | 11 | 0 | 0
11 | 12 | 0 | 0
11 | 13 | 0 | 0
11 | 14 | 0 | 0
11 | 15 | 0 | 0
11 | 16 | 0 | 0
11 | 17 | 0 | 0
11 | 18 | 0 | 0
11 | 19 | 0 | 0
11 | 20 | 0 | 0
11 | 21 | 0 | 0
11 | 22 | 0 | 0
11 | 23 | 0 | 0
12 | 0 | 0 | 0
12 | 1 | 0 | 0
12 | 2 | 0 | 0
12 | 3 | 0 | 0
12 | 4 | 0 | 0
12 | 5 | 0 | 0
12 | 6 | 0 | 0
12 | 7 | 0 | 0
12 | 8 | 0 | 0
12 | 9 | 0 | 0
12 | 10 | 0 | 0
12 | 11 | 0 | 0
12 | 12 | 0 | 0
12 | 13 | 0 | 0
12 | 14 | 0 | 0
12 | 15 | 0 | 0
12 | 16 | 0 | 0
12 | 17 | 0 | 0
12 | 18 | 0 | 0
12 | 19 | 0 | 0
12 | 20 | 0 | 0
12 | 21 | 0 | 0
12 | 22 | 0 | 0
12 | 23 | 0 | 0